BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO.4, CHUNUKOLI, SAILASHREE VIHAR,

BHUBANESWAR-751021

Case No. 124/2025

IN THE MATTER OF:       Submission of information as per the queries raised by Hon’ble

Commission on the ARR & Tariff application of TPNODL for the FY 2026-27.

AND

IN THE MATTER OF:       TP Northern Odisha Distribution Limited (TPNODL),

Corporate Office-Januganj, Balasore-756019.

……………. Applicant

Affidavit verifying the submission of TPNODL

I, Pratap Kumar Mohanty, aged about 59 years, S/o. Late Gyanendra Prasad Mohanty, residing at Balasore, do hereby solemnly affirm and state as follows:

That, I am the Sr. General Manager (Risk, Regulatory & Legal) of TP Northern Odisha Distribution Limited- the applicant in the above matter and duly authorized to swear this affidavit on its behalf.

The submissions made in the reply to the queries raised by Hon’ble Commission on the ARR & Tariff application of TPNODL for the FY 2026-27 are based on the information and data and I believe them to be true.

Place: Balasore								DEPONENT

Date: 09.01.2026

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO.4, CHUNUKOLI, SAILASHREE VIHAR,

BHUBANESWAR-751021

Case No. 124/2025

IN THE MATTER OF:       Submission of information as per the queries raised by Hon’ble

Commission on the ARR & Tariff application of TPNODL for the FY 2026-27.

AND

IN THE MATTER OF:       TP Northern Odisha Distribution Limited (TPNODL),

Corporate Office-Januganj, Balasore-756019.

…………….Applicant

Submission of information as per the queries raised by Hon’ble Commission on the ARR & Tariff Application of TPNODL for the FY 2026-27.

THE ABOVE-NAMED APPLICANT MOST RESPECTFULLY SHOWETH:

- That, the licensee, TPNODL has submitted Aggregate Revenue Requirement (ARR) and Tariff Application for the FY 2026-27 before Hon’ble Commission. TPNODL has been directed to furnish reply to the queries raised on the ARR and Tariff application for the FY 2026-27, vide letter No. Case No.124/2025/1651 dated 26.12.2025 of Secretary, OERC.

- That, in compliance to the above letter, the required information and data as per the queries raised on the ARR filing for the FY 2026-27 are submitted attached here with for kind perusal of Hon’ble Commission.

Place:	Balasore	                                              For and On Behalf of

Date:  09.01.2026                                        TP Northern Odisha Distribution Ltd

Reply to Queries on the ARR Application of TPNODL for the FY 2026-27

- Forms T-4 and T-9 for FY 2025-26 updated till the month of December-2025 are to be submitted.

Response: Form T-4 up to Dec’ 2025 (unaudited) is enclosed as Annexure-1 and Form T-9 updated till Dec’2025 is enclosed as Annexure-2.

- Form T-6 for FY 2025-26 updated till the month of December-2025 with additional information on the amount of rebate given to all the categories of consumers and the net revenue after adjustment of such rebate.

Response: Form T-6 updated till Dec’2025(unaudited) with additional information is enclosed as Annexure-3 to this submission.

- Information regarding LT Domestic Consumers for FY 2024-25 and FY 2025-26 up to Dec-2025.

Response: The required information regarding LT Domestic Consumers for FY 2024-25 and FY 2025-26 up to Dec-2025 (unaudited) are furnished in the below table:

| LT Domestic Data FY 2024-25 (Apr-Mar) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sr. No. | SLAB | Average No. of Consumers | Consumption (MU) | Billed Amount (Rs. Crs) | Rebate (Rs. Crs) | Net Billed Amount (Rs. Crs) |
| 1 | 0-30 | 628711 | 100.006 | 45.1681 | 1.3459 | 43.8222 |
| 2 | 30-50 | 273744 | 130.355 | 47.7376 | 1.7992 | 45.9384 |
| 3 | 50-100 | 408668 | 352.626 | 135.7357 | 5.4195 | 130.3162 |
| 4 | 100-200 | 286022 | 476.697 | 205.9327 | 8.7123 | 197.2204 |
| 5 | 200-300 | 85523 | 246.498 | 115.9410 | 5.1206 | 110.8204 |
| 6 | 300-400 | 33327 | 136.096 | 68.3404 | 2.9748 | 65.3656 |
| 7 | >400 | 36337 | 268.178 | 159.2184 | 5.5309 | 153.6875 |
| 8 | Total | 1752332 | 1710.456 | 778.0739 | 30.9032 | 747.1707 |

| LT Domestic Data FY 2025-26 (Apr-Dec) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sr. No. | SLAB | Average No. of Consumers | Consumption (MU) | Billed Amount (Rs. Crs) | Rebate (Rs. Crs) | Net Billed Amount (Rs. Crs) |
| 1 | 0-30 | 549439 | 66.326 | 29.4881 | 0.9289 | 28.5592 |
| 2 | 30-50 | 271689 | 97.528 | 32.9032 | 1.4385 | 31.4647 |
| 3 | 50-100 | 443137 | 288.581 | 106.3247 | 4.8604 | 101.4643 |
| 4 | 100-200 | 338122 | 424.613 | 175.7287 | 8.5356 | 167.1931 |
| 5 | 200-300 | 106635 | 230.872 | 104.2675 | 5.2179 | 99.0496 |
| 6 | 300-400 | 41194 | 126.287 | 60.9643 | 2.9852 | 57.9791 |
| 7 | >400 | 39617 | 209.199 | 113.7734 | 4.7176 | 109.0558 |
| 8 | Total | 1789833 | 1443.406 | 623.4499 | 28.6841 | 594.7658 |

- Information regarding LT General Purpose Consumers (CD < 110 KVA) for FY 2024-25 and FY 2025-26 up to Dec-2025.

Response: The required information regarding LT General Purpose Consumers (CD < 110 KVA) for FY 2024-25 and FY 2025-26 up to Dec-2025 (unaudited) are furnished in the below table:

| LT GP Data (CD<110 KVA) FY 2024-25 (Apr-Mar) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sr. No. | SLAB | Average No. of Consumers | Consumption (MU) | Billed Amount (Rs. Crs) | Rebate (Rs. Crs) | Net Billed Amount (Rs. Crs) |
| 1 | 0-30 | 32991 | 3.689 | 3.2460 | 0.0704 | 3.1756 |
| 2 | 30-50 | 13085 | 6.236 | 4.6527 | 0.0972 | 4.5555 |
| 3 | 50-100 | 22705 | 19.76 | 12.8766 | 0.4181 | 12.4585 |
| 4 | 100-200 | 22455 | 38.13 | 24.9659 | 0.7497 | 24.2162 |
| 5 | 200-300 | 10332 | 30.059 | 20.7475 | 0.6219 | 20.1256 |
| 6 | 300-400 | 5423 | 22.315 | 15.9125 | 0.4879 | 15.4246 |
| 7 | >400 | 19359 | 364.398 | 283.4265 | 3.5405 | 279.8860 |
| 8 | Total | 126350 | 484.587 | 365.8277 | 5.9857 | 359.8420 |

| LT GP Data (CD<110 KVA) FY 2025-26 (Apr-Dec) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sr. No. | SLAB | Average No. of Consumers | Consumption (MU) | Billed Amount (Rs. Crs) | Rebate (Rs. Crs) | Net Billed Amount (Rs. Crs) |
| 1 | 0-30 | 32729 | 2.306 | 2.6601 | 0.0636 | 2.5965 |
| 2 | 30-50 | 13237 | 4.741 | 3.2624 | 0.0923 | 3.1701 |
| 3 | 50-100 | 23714 | 15.563 | 10.0076 | 0.3111 | 9.6965 |
| 4 | 100-200 | 24314 | 30.102 | 20.1949 | 0.6630 | 19.5319 |
| 5 | 200-300 | 11511 | 24.866 | 16.9156 | 0.5587 | 16.3569 |
| 6 | 300-400 | 6143 | 19.019 | 13.0836 | 0.4208 | 12.6628 |
| 7 | >400 | 21554 | 304.523 | 229.3319 | 3.3535 | 225.9784 |
| 8 | Total | 133202 | 401.120 | 295.4561 | 5.4630 | 289.9931 |

- Information regarding ToD tariff to be submitted in the following table:

Response: The required information is furnished in the below table:

| Sr. No. | Category of Consumer | No. of Consumers |  | ToD incentive amount (as rebate on EC) (Rs. In Lakh) |  | ToD Penalty amount (as surcharge on EC) (Rs. In Lakh) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | FY 2024-25 | n FY 2025-26 (Upto Dec-25) | FY 2024-25 | FY 2025-26 (upto Dec'25) | FY 2024-25 | FY 2025-26 (upto Dec'25) |
| 1 | EHT | 43 | 45 | 1167.00 | 1108.72 | 1321.94 | 1894.60 |
| 2 | HT | 844 | 886 | 365.64 | 416.11 | 368.99 | 518.84 |
| 3 | LT | - | - | 88.56 | 11.88 | 80.90 | 13.04 |
| Grand Total |  |  |  | 1621.20 | 1536.71 | 1771.82 | 2426.49 |

- The details of Rebate (in Cr.) and consumption (in MU) allowed to HT Industrial Consumers (steel plant) having CD of 1 MVA and above are to be furnished for 2025-26 (up to December 2025).

Response: No consumer availing this benefit in FY 2025-26 up to Dec-25.

- The details of energy consumed and amount received by the industries having CGP for incremental energy drawal above 80% load factor availing special tariff through tripartite agreement in FY 2024-25 and FY 2025-26 (up to December 2025) are to be furnished.

Response: The licensee has not yet entered into tripartite agreement with any consumer for extending benefit allowed under point –VI (CGP with CD above 20 MW) of the Tariff Order of Hon’ble Commission. However, under the provision of Point No-V (CGP having CD upto 20 MW) of the Tariff Order, only M/S Jindal Steel & Power Ltd. has availed this benefit in the FY 2024-25 and in FY 2025-26 two consumers M/S Jindal Steel & Power Ltd and M/s Ferro Alloys Plant (Tata Steel Ltd) availing additional load under this provision. The details as required for these consumers are furnished in the Annexure-4.

- Details of consumers who adopted the mechanisms as decided in the OERC Order dated 28.10.2025 in Case No. 53/2025 (a and b as per para 6) and impact analysis prior to this mechanism and post implementation along with estimate in reduction of open access purchase quantum of such consumers.

Response: No consumer has availed the benefit under scheme-(a) as per OERC Order dated 28.10.2025 in case No 53/2025. However, four consumers are availing the benefit under scheme- (b) as per OERC Order dated 28.10.2025 in case No 53/2025. None of the mentioned consumer availed power through Open Access. The required information is furnished in the Annexure-5.

- The details of consumers (such as Name, CD, consumption, billed amount and premium received) obtaining Green Consumer Certificate by DISCOMs are to be furnished for the FY 2024-25 and FY 2025-26 (up to December 2025).

Response: The details of energy consumed by the consumers obtaining Green Consumer certificate and the Green Energy Premium amount for FY 2024-25 and FY 2025-26 (up to Dec’25) is provided in table below. In FY 2024-25, 27 nos of consumers availed the Green Premium Tariff and FY 2025-26, 37 nos of consumers opted for this scheme.

Details of Energy Consumed (in kwh)/Premium paid by Consumers availing Green Energy in FY 2024-25 and 2025-26 (Upto Dec-25)

| Sr. No. | Name | Load in KW/KVA | Year 2024-25 |  |  | Year 2025-26 (Up to Dec'25) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Units | Billed Amount | Premium Amt (In Rs.) | Units | Billed Amount (In Rs.) | Premium Amt (In Rs.) |
| 1 | STATE BANK OF INDIA , BASTA | 15 | 22384 | 182679.06 | 4476.80 | 16620 | 135312.15 | 3324.00 |
| 2 | S.B.I. ATM | 5 | 7039 | 56934.17 | 1407.80 | 9278 | 75010.35 | 1855.60 |
| 3 | CHIEF MANAGER, SBI JALESWAR | 5 | 6643 | 53593.35 | 1328.60 | 1012 | 8342.65 | 202.40 |
| 4 | STATE BANK OF INDIA (ATM) | 5 | 1825 | 15489.35 | 365.00 | 80 | 1947.52 | 16.00 |
| 5 | JAGADISH PATTANAYAK | 5 | 2778 | 21592.79 | 555.60 | 1462 | 11571.98 | 292.40 |
| 6 | S.N.I ATM COUNTER | 5 | 6565 | 52277.97 | 1313.00 | 5015 | 40185.48 | 1002.92 |
| 7 | MANORANJAN SWAIN | 8 | 1941 | 13520.49 | 388.20 | 1062 | 7435.93 | 212.40 |
| 8 | SMT. ANUPAMA NAYAK | 5 | 2042 | 14292.93 | 408.40 | 1223 | 8487.87 | 244.60 |
| 9 | KALANDI CH. DAS | 5 | 686 | 4804.65 | 137.20 | 416 | 2593.62 | 83.20 |
| 10 | SMT MAMATARANI SWAIN | 5 | 5660 | 49956.32 | 1132.00 | 4716 | 40794.69 | 943.20 |
| 11 | SRI CHITTARANJAN SAHU | 5 | 3175 | 24865.18 | 635.00 | 274 | 3177.72 | 54.78 |
| 12 | S.B.I. ATM | 5 | 6379 | 50996.36 | 1275.80 | 2425 | 20385.20 | 485.00 |
| 13 | S.B.I. ATM | 5 | 3310 | 25987.66 | 662.00 | 2201 | 17827.39 | 440.20 |
| 14 | S.B.I. ATM COUNTER | 5 | 2045 | 16210.27 | 409.00 | 1784 | 14445.34 | 356.83 |
| 15 | AYESHA BEGAM | 5 | 3777 | 30457.41 | 755.40 | 1534 | 12251.40 | 306.80 |
| 16 | B.M. ICICI PRUDENTIAL LIFE | 22 | 2470 | 90305.01 | 494.00 | 8419 | 67562.12 | 1683.80 |
| 17 | TRIBIKRAM DAS | 15 | 8793 | 81740.23 | 1758.60 | 6814 | 54992.37 | 1362.80 |
| 18 | ASHUTOSH AGRAWALLA | 8 | 1246 | 45299.05 | 249.20 | 3461 | 28315.94 | 692.20 |
| 19 | THE REGIONAL MANAGER | 79 | 10926 | 1459395.77 | 2185.20 | 116932 | 944035.07 | 23386.40 |
| 20 | M/S. OMC SUAKATI LTD | 78 | 830 | 113270.49 | 166.00 | 4756 | 45667.89 | 951.20 |
| 21 | M/S. OMC LTD | 8 | 400 | 37467.70 | 80.00 | 3480 | 27406.96 | 696.00 |
| 22 | M/S POWER GRID CORPORATION OF INDIA | 200 | 44487 | 839511.19 | 8897.40 | 17643 | 487901.92 | 3528.60 |
| 23 | HINDUSTAN PETROLEUM LIMITED | 210 | 283362 | 2437259.80 | 56672.40 | 133008 | 1956389.76 | 26601.60 |
| 24 | POWER GRID CORP.OF INDIA | 250 | 7297 | 690458.19 | 1459.40 | 5003 | 522613.16 | 1000.60 |
| 25 | POWER GRID CORPORATION INDIA | 112 | 245858 | 3455060.25 | 49171.60 | 279740 | 2254918.62 | 55948.00 |
| 26 | JINDAL STAINLESS LTD. | 1750 | 4875060 | 36157135.21 | 975012.00 | 2434230 | 27406661.21 | 486846.00 |
| 27 | POWER GRID CORPORATION INDIA | 213 | 224222 | 7883747.58 | 44844.40 | 274055 | 3045042.66 | 54811.00 |
| 28 | DAITARY IRON ORE MINES | 2000 | 0 | 35787498.24 | 0.00 | 3200205 | 34831475.45 | 640041.00 |
| 29 | Regional Manager Gandhamardan OMC LTD. | 487 | 0 | 2716408.99 | 0.00 | 217837 | 3323241.99 | 43567.40 |
| 30 | OMC LIMITED BARBIL | 2200 | 0 | 49421730.07 | 0.00 | 3456495 | 40646864.49 | 691299.00 |
| 31 | M/S. OMC LIMITED | 900 | 0 | 6930825.98 | 0.00 | 406587 | 6127547.30 | 81317.40 |
| 32 | M/S. OMC LIMITED | 800 | 0 | 8198883.65 | 0.00 | 492355 | 7521019.04 | 98471.00 |
| 33 | M/S Odisha Mining Corporation Ltd. | 1500 | 0 | 24794915.08 | 0.00 | 1782975 | 23097552.51 | 356595.00 |
| 34 | The Regional Manager, M/S OMC Ltd. | 800 | 0 | 6781406.28 | 0.00 | 379152 | 5795417.83 | 75830.40 |
| 35 | KB IRON MINES, OMC LIMITED | 200 | 0 | 4516721.93 | 0.00 | 292442 | 3398674.40 | 58488.40 |
| 36 | M/S. OMC LIMITED, BARBIL | 1400 | 0 | 39459236.70 | 0.00 | 2075607 | 23846245.58 | 415121.40 |
| 37 | M/S OMC LIMITED, BARBIL | 500 | 0 | 6907486.39 | 0.00 | 390112 | 6319997.26 | 78022.40 |
|  | Total |  | 5781200 | 239419421.74 | 1156240.00 | 16030410 | 192149312.82 | 3206081.93 |

- Following information about HT consumer above 100 KVA and all EHT consumers are required to be submitted.

a. HT (100 KVA and above) (New Consumer for 2026-27)

b. HT (100 KVA and above) Existing Consumer

c. EHT (New Consumer for 2026-27)

d. EHT Existing Consumer

Response:

- HT (100 KVA and above) (New Consumer for 2026-27): The required information is furnished in Annexure-6

- HT (100 KVA and above) Existing Consumer: NIL

- EHT (New Consumer for 2026-27): NIL

- EHT Existing Consumer: The required information is furnished in the below table:

| Sr. No. | Name of the existing Consumer | Existing CD | Enhanced CD asked for | Likely Date of availing Enhanced load | LF of drawl for FY 2026-27 | Additional MU to be drawn on such enhancement |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | M/S. LINDE INDIA LTD | 0 | 80000 | Mar-26 | 40.00 | 280.32 |

- Details of consumers billed for Electric Vehicle Charging and Megalift to be provided along with energy consumed, respective CD, amount billed and revenue collected for the FY 2024-25 and FY 2025-26 (upto Dec-2025).

Response:  The required information is furnished in the below tables:

| Details of Energy Consumed (in KWH)/Amount Billed by EV Consumers in FY 2024-25 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl. No | NAME of Consumer | Division | Load in KW | Unit Billed | Amount Billed (In Rs.) | Amount Collected (in Rs.) |
| 1 | M/S. GENSOL ENGINEERING LIMITED, TPNOD Corporate | BED | 12 | 14597 | 72983.84 | 72983.84 |
| 2 | M/S. GENSOL ENGINEERING LIMITED, SEEC, Office | BED | 12 | 10027 | 50133.19 | 50133.19 |
| 3 | M/S. GENSOL ENGINEERING LIMITED, Office of EE, CED | BED | 12 | 9335 | 46675.70 | 46675.70 |
| 4 | M/S. TP SOLAPUR LIMITED, OT Road, Near Laxminarayan Temple | BED | 30 | 12020 | 60097.50 | 60097.50 |
| 5 | M/S. GENSOL ENGINEERING LIMITED, Office of EE Basta | BTED | 12 | 14775 | 73873.82 | 73873.82 |
| 6 | M/S. GENSOL ENGINEERING LIMITED, EE, JED Office | JED | 12 | 12552 | 62760.00 | 62760.00 |
| 7 | M/S. GENSOL ENGINEERING LIMITED, EE office BNED | BNED | 12 | 15894 | 79470.00 | 79470.00 |
| 8 | M/S. GENSOL ENGINEERING LIMITED, EE Baripada | BPED | 12 | 0 | 0.00 | 0.00 |
| 9 | M/S. GENSOL ENGINEERING LIMITED, EE BPED | BPED | 12 | 13774 | 68871.19 | 68871.19 |
| 11 | M/S. GENSOL ENGINEERING LIMITED, SEEC Office | JRED | 12 | 6638 | 33191.95 | 33191.95 |
| 12 | M/S. GENSOL ENGINEERING LIMITED, Office of EE, Keonjhar | KED | 12 | 1186 | 5928.09 | 5928.09 |
| 13 | GENSOL ENGINEERING LIMITED, SEEC Office | KED | 12 | 4938 | 24687.95 | 24687.95 |
| 14 | M/S. GENSOL ENGINEERING LIMITED, Office of EE Joda | JODA | 12 | 9705 | 48523.79 | 48523.79 |
| 15 | M/S. GENSOL ENGINEERING LIMITED, Office of EE AED | AED | 12 | 8506 | 42530.30 | 42530.30 |
| 16 | M/S. RELIANCE BP MOBILITY LIMITED | CED | 60 | 537 | 2685.00 | 2685.00 |
| 17 | M/S. GENSOL ENGINEERING LIMITED | JRED | 12 | 18 | 90.00 | 90.00 |
| 18 | M/S. RELIANCE BP MOBILITY LTD | KUED | 60 | 4660 | 23300.00 | 12999.97 |
|  | Grand Total |  |  | 139160 | 695802.32 | 685502.29 |
| Details of Energy Consumed (in KWH)/Amount Billed by EV Consumers in FY 2025-26 (Up to Dec'25) |  |  |  |  |  |  |
| Sl No | NAME of Consumer | Division | Load in KW | Unit Billed | Amount Billed (in Rs.) | Amount Collected (In Rs.) |
| 1 | M/S. RELIANCE BP MOBILITY LIMITED | CED | 60 | 20060 | 101375.96 | 101375.96 |
| 2 | M/S. GENSOL ENGINEERING LIMITED | BED | 12 | 1873 | 9365.00 | 9365.00 |
| 3 | M/S. GENSOL ENGINEERING LIMITED | BED | 12 | 1274 | 6370.00 | 6370.00 |
| 4 | M/S. GENSOL ENGINEERING LIMITED | BED | 12 | 1258 | 6290.00 | 6290.00 |
| 5 | M/S. TP SOLAPUR LIMITED | BED | 30 | 6325 | 31980.36 | 31980.36 |
| 6 | M/S. GENSOL ENGINEERING LIMITED | BTED | 12 | 2523 | 12615.00 | 12615.00 |
| 7 | M/S. GENSOL ENGINEERING LIMITED | JED | 12 | 782 | 3910.53 | 3910.53 |
| 8 | M/S. RELIANCE BP MOBILITY LIMITED EK | JED | 60 | 4958 | 25367.00 | 25367.00 |
| 9 | M/S. GENSOL ENGINEERING LIMITED | BNED | 12 | 2625 | 13125.00 | 13125.00 |
| 10 | M/S. RELIANCE BP MOBILITY LIMITED | BNED | 60 | 9612 | 49083.40 | 49083.40 |
| 11 | M/S. BHARAT PETROLEUM CORPORATION LTD | SED | 60 | 8280 | 42406.20 | 42406.20 |
| 12 | M/S. GENSOL ENGINEERING LIMITED | BPED | 12 | 0 | 0.00 | 0.00 |
| 13 | M/S. GENSOL ENGINEERING LIMITED | BPED | 12 | 1742 | 8710.00 | 8710.00 |
| 14 | M/S. GENSOL ENGINEERING LIMITED | JRED | 12 | 11 | 58.76 | 58.76 |
| 15 | M/S. GENSOL ENGINEERING LIMITED | JRED | 12 | 1014 | 5070.00 | 5070.00 |
| 16 | M/S. RELIANCE BP MOBILITY LTD | KUED | 60 | 28228 | 143249.93 | 143249.93 |
| 17 | M/S. GENSOL ENGINEERING LIMITED | KED | 12 | 628 | 3144.46 | 3144.46 |
| 18 | GENSOL ENGINEERING LIMITED | KED | 12 | 247 | 1240.85 | 1240.85 |
| 19 | M/S. GENSOL ENGINEERING LIMITED | JOED | 12 | 1366 | 6830.00 | 6830.00 |
| 20 | M/S. GENSOL ENGINEERING LIMITED | AED | 12 | 1443 | 7217.68 | 7217.68 |
| 21 | M/S. MAA TARINI EV CHARGING STATION | KED | 60 | 100 | 518.13 | 518.13 |
| 22 | M/S. BHARAT PETROLEUM CORP. LTD. | KED | 64 | 0 | 0.00 | 0.00 |
| 23 | M/S. BHARAT PETROLEUM CORP. LTD. BPCL Anand | KED | 64 | 0 | 0.00 | 0.00 |
| 24 | M/S. BHARAT PETROLEUM CORPORATION LTD LTD | SED | 60 | 31 | 162.03 | 162.03 |
| 25 | M/S. RELIANCE BP MOBILITY LTD. | SED | 60 | 0 | 0.00 | 0.00 |
| 26 | M/S. BHARAT PETROLEUM CORPARATION LTD | SED | 60 | 31 | 161.41 | 161.41 |
| 27 | M/S. LAXMINNARAYAN FUEL STATION | BSED | 60 | 0 | 0.00 | 0.00 |
| 28 | M/S. BHARAT PETROLEUM CORPORATION LTD | BTED | 60 | 219 | 1139.53 | 1139.53 |
| 29 | M/S. BHARAT PETROLEUM CORPORATION LTD | CED | 60 | 22 | 113.26 | 113.26 |
|  | Grand Total |  |  | 94651 | 479504.49 | 479504.49 |

The details of energy billed for Megalift consumers for FY 2024-25 and FY 2025-26 (up to Dec 2025) are furnished in below table:

Details of Energy Consumed (in KWH)/Billed Amount by Mega Lift Consumers in FY 2024-25

| Sl. No | NAME | CD in KW/KVA | Unit Billed (kWh) | Billed Amount (In Rs.) |
| --- | --- | --- | --- | --- |
| 1 | The Executive Engineer Mega Lift Irrigation Project, Baripada | 8319 | 354285 | 1357750 |
| 2 | EXECUTIVE ENGINEER ANANDAPUR CANAL DIVISION | 256 | 3166 | 38086 |
| 3 | MEGA LIFT PROJECT, TIKARAPADA, AT- ROUTRAPUR PH & TULASIPUR PH | 1689 | 278100 | 1092495 |
| 4 | M/S. EE MEGALIFT PROJECT BARIPADA | 1920 | 33974 | 132686 |
| 5 | E.E MEGA LIFT PROJECT, CLUSTER XI | 5092 | 723810 | 2882700 |
| 6 | MEGALIFT IRRIGATION PROJECT | 3629 | 407760 | 1577594 |
| 7 | M/s MEGALIFT IRRIGATION PROJECT | 7021 | 64320 | 254424 |
| 8 | EXECUTIVE ENGINEER MEGALIFT IRRIGATION PROJECT BHUBANESWAR | 900 | 90048 | 348370 |
| 9 | Mr. EE MEGALIFT IRRIGATION DIVISION | 4206 | 343369 | 1310480 |
| 10 | M/s MEGA LIFT IRRIGATION PROJECT | 2913 | 579270 | 2252864 |
| 11 | MEGA LIFT PROJECT | 2033 | 496512 | 2003655 |
| 12 | MEGALIFT IRRIGATION PROJECT | 3928 | 219180 | 841536 |
| 13 | ANANDAPUR CANAL DIVISION | 189 | 691 | 16015 |
| 14 | ANANDAPUR CANAL DIVISION | 189 | 505 | 10082 |
|  | TOTAL |  | 3594990 | 14118735 |

Details of Energy Consumed (in KWH)/Billed Amount by Mega Lift Consumers in FY 2025-26 (Up to Dec'25)

| Sl. No | NAME | CD in KW/KVA | Unit Billed (In Rs.) | Billed Amount (In Rs.) |
| --- | --- | --- | --- | --- |
| 1 | MEGA LIFT PROJECT | 2033 | 246285 | 985698 |
| 2 | M/s MEGA LIFT IRRIGATION PROJECT | 2913 | 520050 | 2025064 |
| 3 | ANANDAPUR CANAL DIVISION | 189 | 21597 | 130474 |
| 4 | Mr. EE MEGALIFT IRRIGATION DIVISION | 4206 | 108960 | 420465 |
| 5 | M/S. EE MEGALIFT PROJECT BARIPADA | 1920 | 38760 | 152275 |
| 6 | MEGA LIFT PROJECT, TIKARAPADA, AT- ROUTRAPUR PH & TULASIPUR PH | 1689 | 191535 | 752697 |
| 7 | EXECUTIVE ENGINEER MEGALIFT IRRIGATION PROJECT BHUBANESWAR | 900 | 33630 | 134298 |
| 8 | The Executive Engineer Mega Lift Irrigation Project, Baripada | 8319 | 326385 | 1253521 |
| 9 | MEGALIFT IRRIGATION PROJECT | 3928 | 85800 | 337489 |
| 10 | MEGALIFT IRRIGATION PROJECT | 3629 | 405690 | 1544471 |
| 11 | ANANDAPUR CANAL DIVISION | 256 | 22063 | 109104 |
| 12 | ANANDAPUR CANAL DIVISION | 189 | 11046 | 120146 |
| 13 | M/s MEGALIFT IRRIGATION PROJECT | 7021 | 187980 | 874507 |
| 14 | E.E MEGA LIFT PROJECT, CLUSTER XI | 5092 | 480600 | 1919236 |
|  | Total |  | 2680381 | 10759444 |

- Details of consumers who have availed green energy from DISCOM and revenue collected as green tariff premium for the FY 2024-25 and FY 2025-26 (upto Dec-2025).

Response: Covered under response of Query No.9.

- Details of industries (Name, CD, energy consumption, billed amount and revenue collected) who were given special tariff provision under para 312 of RST Order for FY 2025-26.

Response: No consumer availing this benefit in FY 2025-26 up to Dec-25.

- No. of consumers availing e-bill facility in the FY 2024-25 and FY 2025-26.

Response: No. of consumers availing e-bill facility in the FY 2024-25 and FY 2025-26 is furnished in the below table:

| No. of Consumers Availing e-bill Facility in the FY 2024-25 & FY 2025-26 |  |
| --- | --- |
| Year | Nos of Consumer |
| FY 2024-25 | 2148 |
| FY 2025-26 up to Dec-25 | 13016 |

- The details of component wise actual expenses on Employees cost including Pay, GP, Arrear salary, HR, pension, gratuity, leave and transfer to provident and other funds on monthly basis for FY 2024-25 shall be furnished. Similar details shall also to be furnished for actual payment made for the current FY up to the month of November, 2025.

Response: Component wise actual expenses on Employees cost month wise for FY 2024-25 and for FY 2025-26 up to November,2025 are furnished in the below table:

Component wise Actual Expenses of Employees Cost for FY 2024-25  (In Rs. Crs)

| Particulars | Total | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24 | Dec-24 | Jan-25 | Feb-25 | Mar-25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. CTC - New | 141 | 11 | 11 | 10 | 12 | 8 | 12 | 13 | 12 | 12 | 12 | 13 | 16 |
| B. NESCO - Old | 328 | 25 | 26 | 28 | 27 | 25 | 25 | 26 | 26 | 25 | 26 | 26 | 43 |
| Basic | 99 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | 8 | 8 |
| DA | 51 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | 4 |
| HRA | 18 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
| Medical | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Terminal | 115 | 10 | 11 | 10 | 9 | 9 | 10 | 9 | 9 | 9 | 9 | 9 | 9 |
| # Pension | # 106 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 | # 9 |
| # Gratuity | # 4 | # 0 | # 1 | # 1 | # 0 | # 0 | # 1 | # - | # 0 | # 0 | # - | # - | # - |
| # Leave encashment | # 4 | # 1 | # 1 | # 0 | # 0 | # 0 | # 0 | # 0 | # 0 | # 0 | # 1 | # 0 | # 0 |
| # Rehab. | # 0 | # - | # - | # - | # - | # - | # - | # - | # - | # - | # - | # - | # 0 |
| # Benevolent fund | # 0 | # - | # 0 | # - | # - | # 0 | # 0 | # - | # 0 | # - | # - | # - | # - |
| Contribution to provident fund | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |
| Wage Board | 15 | - | - | - | - | - | - | - | - | - | - | - | 15 |
| Others | 12 | -0 | 0 | 2 | 2 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 2 |
| C. Employee cost capitalized | -17 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 |
| D. Outsourcing manpower | 78 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
| A+B+C+D =Employee Cost (Cash outgo basis) | 531 | 41 | 41 | 43 | 44 | 38 | 42 | 44 | 43 | 42 | 43 | 45 | 65 |

Component wise Actual Expenses of Employees Cost for FY 2025-26 (upto Nov'25) (In Rs. Crs)

| Particulars | Total | Apr-25 | May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. CTC – New | 103 | 11 | 12 | 14 | 14 | 14 | 13 | 13 | 13 |
| B. Nesco – Old | 219 | 26 | 28 | 26 | 28 | 28 | 27 | 28 | 27 |
| Basic | 70 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | 9 |
| DA | 40 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 5 |
| HRA | 13 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
| Medical | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Terminal | 78 | 9 | 10 | 9 | 11 | 11 | 10 | 9 | 9 |
| Pension | 73 | 9 | 9 | 9 | 9 | 10 | 9 | 9 | 9 |
| Gratuity | 4 | - | - | 0 | 1 | 1 | 1 | - | 0 |
| Leave encashment | 1 | 0 | 1 | -0 | 0 | 0 | 0 | 0 | 0 |
| Rehab. | - | - | - | - | - | - | - | - | - |
| Benevolent fund | 0 | - | 0 | - | - | 0 | 0 | 0 | 0 |
| Contribution to provident fund | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Others | 6 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| C. Employee cost capitalized | -12 | -2 | -2 | -2 | -2 | -2 | -2 | -2 | -2 |
| D. Outsourcing manpower | 56 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
| A+B+C+D =Employee Cost (Cash outgo basis) | 366 | 42 | 46 | 46 | 47 | 48 | 46 | 46 | 45 |

- An amount of Rs. 89.84 crore has been shown for the FY 2026-27 under outsourced employee expenses and Rs. 8.10crore under contractual obligation (F-12). Details of such calculation indicating the number of such employees, compensation per employee and nature of work, starting from take over from NESCO year-wise till Nov-25 may be submitted. A short note on their responsibilities, duty hour and effectiveness to be furnished.

Response: The month wise details calculation of outsourced employees for FY 2026-27 and for FY 2025-26(up to Nov-25) are attached as Annexure-7(A) and Annexure-7(B) respectively and Annexure-7(C) for Calculation of Outsourced Employee starting from takeover is attached.

Under outsourced employee expenses, Licensee has projected Rs. 8.10 Lakhs towards meeting the contractual obligation (Details furnished in Form F-12). It has been inadvertently mentioned Rs. 8.10 Cr in its query instead of Rs. 8.10 Lakhs. Detailed justification towards contractual obligation furnished in the below para:

Following the takeover of the erstwhile NESCO Utility by TPNODL, the Grievance Redressal Forum (GRF), Balasore, has continued to function as per the Odisha Electricity Regulatory Commission (OERC) guidelines to address consumer grievances pertaining to electricity distribution services.

Year-wise Engagement (Post Takeover):

FY 2021–22 to Nov-25: Mr. Nirmal Kumar Das joined as President, GRF Balasore, with effect from 01.07.2021 after his retirement as General Manager (Electrical). He led the forum in establishing transparent grievance-handling mechanisms post-transition. Oversaw adjudication of consumer complaints across connection, billing, and service-related matters, ensuring compliance with OERC regulations and strengthening the institutional framework of the forum. Streamlined grievance processes for faster case redressal through regular hearings, improved documentation, and coordination with field offices for resolution.

FY 2024–25: Upon superannuation, Mr. Das was reappointed as President, GRF Balasore, on contractual basis for a period of three years w.e.f. 01.05.2024, as approved by OERC. He continues to lead the forum effectively with focus on fair hearings, consumer satisfaction, and regulatory compliance.

Roles and Responsibilities:

- Lead the proceedings of GRF to deliver impartial and fact-based decisions in accordance with OERC standards. The forum acts on complaints regarding issues like:

- Adjudicate consumer complaints related to new connections, billing disputes (excluding Section 126 cases), metering and voltage issues, and service standards.

- Ensure correct application of tariff and consumer classification as per approved tariff orders.

- Monitor timelines for complaint handling to maintain service standards and transparency. Submit regular reports and resolutions to the designated authority as per OERC norms.

Duty Hours:

The President-GRF generally operates during standard office hours on all working days, conducting scheduled hearings and case reviews at the GRF office, Balasore.

Effectiveness:

Under Mr. Das’s leadership, the GRF, Balasore, has ensured timely and equitable grievance resolution, contributing to improved consumer trust, enhanced service delivery, and stronger regulatory compliance. His administrative experience and technical expertise have significantly improved case disposal efficiency and consistency in grievance adjudication.

- The commission has stipulated that the employee per thousand consumers shall be maintained at a ratio of 1.40. The present employee per thousand consumer ratio for FY 2024-25 and 2025-26 (up to November 2025) may be submitted. It may also be explained whether excess number of employees has been recruited beyond the Commission approval over the years starting from takeover.

Response: Hon’ble Commission has stipulated the employees per thousand consumers as 1.40. The present no. of employees, no. of consumers for FY 2024-25 and 2025-26 (up to November 2025) have been furnished in the following table:

Employee Per Thousand Consumer

| Employee/'000 Consumers | FY 2024-25 | FY 2025-26 (up to Nov'25) |
| --- | --- | --- |
| Initial manpower as on 1st April | 2991 | 3117 |
| No. of Employees as on 31st March of FY /30th Nov | 3117 | 3076 |
| Average no. of Employees for the year | 3054 | 3097 |
| No. of consumer for the year (Live) | 1999491 | 2042873 |
| No. of employees per 1000 consumers | 1.53 | 1.52 |
| Total No. of consumer for the year (including PDC) | 2544455 | 2600945 |
| No. of employees per 1000 consumers | 1.20 | 1.19 |

As on 31.03 2025, TPNODL had 1845 nos of OSCR employees along with 1272 nos of CTC employees. Though Hon’ble Commission has not approved any recruitment for FY 2025-26, considering critical vacancies, succession planning and attritions 29 nos of new employees have been recruited, 14 nos of employees transferred from Tata power groups with 84 nos. of attrition/ superannuation during FY 2025-26. Considering the approved ratio by Hon’ble Commission, 41 nos of man power reduce in FY 2025-26 The actual manpower during FY 2025-26 is 3076 (as on Nov-25).

TPNODL serves a consumer base of around 2.04 million and in order to serve this vast consumer, presently 3076 nos (as on Nov’25) of manpower are working on the role of TPNODL, which is at the ratio of 1.52. In comparison to FY 2024-25, the ratio in the current FY has been reduced from 1.52 to 1.51.

The causes of the increased ratio are as follows:

83 candidates were appointed as Operation Trainee in H1 of FY 2024-25 to address the growing Union unrest under the intervention of District Administration, for which the number of recruitments during FY 24-25 went beyond the approval of Hon’ble Commission.

Details furnished in the following section:

From the Industrial relations point of view, the year FY 2023-24 & FY 2024-25 had been a tough year for TPNODL as the legacy BA employees engaged with NESCO utility before the takeover of Tata Power and post, have raised grievances related to their regularization, as they had been working with the utility for more than 10-15 years. The IR situation was alarming and even Dharna staged by Unions in front of the TPNODL Corporate Office, Balasore which lasted for more than six (6) months. It had disrupted work at few of the locations as the demand intensified. The then District Collector, Balasore called the Management and Union along with its Advisor Hon’ble MP (Lok Sabha), Balasore constituency on dated 16th August, 2022 and after a threadbare discussion Management agreed to launch Policy to provide opportunity to the qualified and long-serving employees of Business Associate working at TPNODL / NESCO. Accordingly, SANDESH was released for eligible BA employees for the post of “Operation Trainee” under CTC structure.

Again, on 29th Jan, 2024, the Unions staged Dharana/Hunger strike and continued upto 05th Feb, 2024 for early completion of recruitment. Another Union proposed a Dharana on 16th February, 2024 with similar demands to absorb BA employees having qualification of ITI and Graduation. Considering the pressing demands of the Unions and retirement of Non-Executives particularly in lineman cadre the selection process was completed and about 83 candidates were found suitable for appointment and thus has been appointed as Operation Trainee in CTC Structure in H1 of FY 2024-25. Further advertisement was also made through internal Sandesh on dated 23rd September 2024 for the BA employees having Graduate qualifications for the post of Distribution Asst. Trainee-C, against which application has been received and under process.

Due to the above-mentioned reasons, the new employees’ addition during FY 2024-25 has exceeded the approved manpower by Hon’ble Commission, which the licensee most humbly prays before Hon’ble Commission to kindly approve and the exceeded man power shall be adjusted in subsequent year(s) by the year 2028.

- Details of expenses month wise & head wise towards R & M for the FY 2024-25 and the current FY up to November 2025 may be furnished with detailed description. The R & M expenses segregating the material and labor may be submitted year-wise starting from takeover.

Response: Head-wise and month wise details of R&M expenses for FY 2024-25 (actual) and estimation for FY 2025-26 (up to Nov-25) have been furnished in Annexure-8(A) and Annexure-8(B) respectively and Summary of R & M Expenses from FY 2021-22 to FY 2023-24 is attached in Annexure-8(C).

- TPNODL to submit month wise details on the following

- The amount of loan availed towards long term and short-term loan (working capital) FY 2021-22, 2022-23, 2023-24, 2024-25 and actual up to November 2025.

- The amount of interest paid towards long term and short-term loan (working capital) FY 2021-22, 2022-23, 2023-24, 2024-25 and actual up to November 2025.

- The rate of interest towards availing long term and short-term loan (working capital) FY 2021-22, 2022-23, 2023-24, 2024-25 and actual up to November 2025.

Response: The required information towards long term and short-term loan (working capital) FY 2022-23 and 2023-24 and actual up to November’ 2025 along interest availed are furnished in Annexure-9.

- A detailed statement of utilization of Government funds received by TPNODL scheme wise and details of assets created out of them for FY 2021-22, 2022-23, 2023-24, 2024-25 and actual up to November 2025.

Response: The desired details are furnished in Annexure-10.

- A detailed statement of assets created out of Government funding and subsequently transferred to TPNODL from the date of vesting to November 2025 and detailed assets transferred by GRIDCO in the form of kind for equity contribution to TPNODL from the date of vesting to November 2025.

Response: The required details are furnished in Annexure-11.

- A detailed statement of the assets discarded/retired due to attainment of 90% of depreciation year-wise till date.

Response: The required details are furnished in Annexure-12. Keeping in view the volume of the data the details are furnished in soft only.

- A detailed statement of the assets still in use and continue to be in gross fixed asset after attainment of 90% depreciation till date.

Response: The required details are furnished in Annexure-13. Keeping in view the volume of the data the details are furnished in soft only.

- A detailed statement (with calculation) on Internal accruals generated, if any, may be furnished year wise starting from the year of vesting till the current year (up to November 2025).

Response: The required details are furnished in the below table:

Statement of Internal Accrual from the Year of Vesting till Nov’ 25

| Year | Reserve & Surplus (In Rs. Crs) |
| --- | --- |
| PAT for FY 2021-22 | 73.92 |
| PAT for FY 2022-23 | 115.67 |
| PAT for FY 2023-24 | 132.96 |
| PAT for FY 2024-25 | 157.60 |
| PAT for FY 2025-26(YTD Nov-25) | 153.53 |
| Balance as on 30th November 2024 | 633.68 |

- Head wise old fixed assets list from the date of vesting till 31.03.2025 i.e. Opening, retired assets and closing balance year wise.

Response: The required details are furnished in Annexure-14.

- Head wise old Fixed assets list as on 1.04.2025 along with the depreciation calculation may be submitted.

Response: The required details are furnished in the below table:

Head wise old Fixed assets list as on 1.04.2025 along with the depreciation calculation

| Asset Head | Dep'n Rate | Op. GFA as on 01.04.2025 | Actual Dep. YTD Nov-25 | Planned Dep. (FY 2025-26) | Planned Dep. (FY 2026-27) |
| --- | --- | --- | --- | --- | --- |
| Building | 1.80% | 5.59 | 0.07 | 0.10 | 0.10 |
| Computer Equipment | 9.00% | 0.61 | 0.03 | 0.05 | 0.04 |
| Furniture & Fixture | 4.55% | 0.25 | 0.01 | 0.01 | 0.01 |
| Meter | 3.80% | 29.22 | 0.64 | 0.96 | 0.96 |
| Network Assets & Overhead lines | 3.80% | 1,823.18 | 46.07 | 70.50 | 70.20 |
| Office Equipment | 9.00% | 0.51 | 0.03 | 0.05 | 0.05 |
| Plant & Machinery | 3.80% | 290.39 | 0.70 | 1.04 | 1.04 |
| Vehicle | 12.86% | 0.55 | 0.01 | 0.01 | 0.01 |
| Grand Total |  | 2,150.29 | 47.55 | 72.72 | 72.42 |

- Head wise new assets list (after the effective date) along with the depreciation calculation may be submitted.

Response: The required details are furnished in the below table:

| Asset Head | Depreciation Rate in % | Gross Block as on 01.04.2025 | Actual Addition YTD Nov | Actual Depreciation YTD Nov-25 | Planned Addition Dec-Mar-25 | Planned Depreciation FY 25-26 | Planned Addition FY 26-27 | Planned Depreciation FY 26-27 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Network Asset | 4.7% | 929 | 172 | 39 | 157 | 51 | 314 | 65 |
| Building | 3.3% | 0 | 0 | 0 | - | 0 | - | - |
| Sub-Total |  | 929 | 172 | 39 | 157 | 51 | 314 | 65 |
| Network Asset | 4.7% | 279 | 49 | 11 | 162 | 18 | 107 | 25 |
| Sub-Total |  | 279 | 49 | 11 | 162 | 18 | 107 | 25 |
| Meter | 20%/12% | 208 | 20 | 24 | -64 | 28 | 31 | 34 |
| Building | 3.3% | 199 | 14 | 5 | 26 | 7 | 31 | 8 |
| Computer equipment | 15.0% | 75 | 3 | 8 | 22 | 12 | 8 | 15 |
| Furniture & Fixture | 6.3% | 14 | 0 | 1 | 8 | 1 | 7 | 2 |
| Network Asset | 4.7% | 1,140 | 100 | 37 | 250 | 62 | 465 | 81 |
| Office Equipment | 6.3% | 11 | 1 | 0 | 2 | 1 | 3 | 1 |
| Software | 30.0% | 127 | 6 | 26 | 0 | 39 | 12 | 41 |
| Vehicle | 9.5% | 4 | 1 | 0 | 0 | 0 | 0 | 0 |
| Own |  | 1,570 | 124 | 76 | 308 | 123 | 526 | 149 |
| Grand Total |  | 2,986 | 365 | 151 | 563 | 220 | 979 | 273 |

- Fixed asset Register for FY 2021-22, FY 2022-23, FY 2023-24 and FY 2024-25 may be submitted (soft copy).

Response: The details of Fixed Asset Register (FAR) for FY 2021-22, FY 2022-23, FY 2023-24 & FY 2024-25 furnished in Annexure-15(A), Annexure-15(B), Annexure-15(C) & Annexure-15 (D) respectively. Keeping in view the volume of the data the details are furnished in soft only.

- A detailed category wise list of assets not in the books for which Repair and maintenance @ 3 % is claimed by the Licensee is to provided.

Response: - The required details are furnished in the below table:

| Implementing Agency | Scheme | GFA as on 31.03.2025 (in Rs. Cr.) | GFA as on 31.03.2026 (In Rs. Cr.) |
| --- | --- | --- | --- |
| OPTCL | Biju Grama Jyoti Yojana (BGJY OPTCL DTR) | 34.89 | 34.89 |
|  | Deen Dayal Upadhyaya Gram Jyoti Yojana (DDUGJY)-OPTCL | 363.67 | 363.67 |
|  | DDUGY & IPDS Metering | 102.42 | 102.42 |
|  | Integrated Power Development Scheme (IPDS) | 273.92 | 273.92 |
|  | Integrated Power Development Scheme (IPDS-IT Phase II) | 52.99 | 52.99 |
|  | Odisha Distribution System Strengthening Project (ODSSP) | 444.02 | 444.02 |
|  | Odisha Distribution System Strengthening Project (ODSSP) (Phase-IV) | - | - |
|  | Odisha Dedicated Agricultural Fishery Feeder Project (ODAFFP) | - | - |
|  | Sub -Total | 1271.91 | 1271.91 |
|  | Equity Contribution | 230.19 | 294.19 |
|  | Sub -Total after equity contribution | 1,041.72 | 977.72 |
| NTPC/PGCIL | Deen Dayal Upadhyaya Gram Jyoti Yojana (DDUGJY)-PGCIL | 1270.55 | 1270.55 |
|  | Deen Dayal Upadhyaya Gram Jyoti Yojana (DDUGJY)-NTPC | 450.22 | 450.22 |
|  | Sub -Total | 1,720.77 | 1,720.77 |
| TPNODL | SDMF-CYCLONE STRUCTURE-Grant | 40.03 | 49.44 |
|  | SDMF-FLOOD MITIGATION-Grant | 6.81 | 10.70 |
|  | ODSSP PHASE-V-Grant | 80.37 | 190.67 |
|  | BGJY on GRID | 24.18 | 61.72 |
|  | BGJY Off GRID | - | 13.99 |
|  | Sub -Total | 151.39 | 326.53 |
|  | Grand Total | 2,913.88 | 3,025.02 |

Note: - Post ARR submission, a letter bearing reference OPTCL/ODSSP/Asset Register/32/2023 dated 02.12.2025 was received from OPTCL. In response, TPNODL submitted its reply vide letter no. TPNODL/Regulatory/2025/7967 dated 16.12.2025, and the response from OPTCL is awaited.

- During FY 2025-26 the amount of capital expenditure is projected at Rs. 933.29 crore and transferred to fixed assets is projected Rs 940.75 crore (F-2). TPNODL is required to furnish the source of funds and actual expenditure head wise with description of the particular asset capitalized/transferred month wise till end of November 2025.

Response: The required details are furnished in Annexure-16	.

- The availability of fund in Employees Trust Fund as on 31.3.2025 and its pattern of investment to be submitted. Further, the actual month wise cash outflow towards terminal liability under different heads during FY 2024-25 and 2025-26 (actual up to November 2025) to be furnished.

Response: The required information is furnished in the below table:

Availability of fund in Employees Trust Fund as on 31-03-2025                             (In Rs.)

| Particulars | PF Trust | Gratuity | Pension | Rehabilitation | Total |
| --- | --- | --- | --- | --- | --- |
| A. Investment in Bonds & securities | 1,49,35,00,000 | 26,75,00,000 | 2,22,91,73,388 | 2,50,00,000 | 4,01,51,73,388 |
| Pattern of Investment |  |  |  |  |  |
| GOI | 25,60,00,000 | 1,75,00,000 | 42,35,00,000 | 50,00,000 | 70,20,00,000 |
| SGS | 44,00,00,000 | 15,00,00,000 | 65,32,30,000 | - | 1,24,32,30,000 |
| PSU | 79,75,00,000 | 10,00,00,000 | 1,15,24,43,388 | 2,00,00,000 | 2,06,99,43,388 |
| Total | 1,49,35,00,000 | 26,75,00,000 | 2,22,91,73,388 | 2,50,00,000 | 4,01,51,73,388 |
| B. Cash & Bank Balance | 38,74,88,088 | 6,86,21,133 | 17,34,41,729 | 71,86,524 | 63,67,37,474 |
| Total(A+B) | 1,88,09,88,088 | 33,61,21,133 | 2,40,26,15,117 | 3,21,86,524 | 4,65,19,10,862 |

Fund Paid by Trust to Beneficiaries (Period from 01-04-2023 to 31-03-2024)       (In Rs.)

| Month | NESCO Employees Provident Fund Trust | NESCO Employees Pension Fund Trust | NESCO Employees Gratuity Fund Trust | NESCO Employees Rehabilitation Financial Assistance Fund Trust |
| --- | --- | --- | --- | --- |
|  | PF Final settlement & Advance Paid | Commutated Pension Paid | Gratuity Paid | Rehabilitation Asst. Paid |
| April-24 | 1,60,16,153 | - | 34,99,521 | 7,50,000 |
| May-24 | 1,64,80,687 | 99,66,626 | 1,03,98,992 | - |
| June-24 | 1,33,69,251 | 77,77,056 | 1,03,41,803 | 10,00,000 |
| July-24 | 48,42,752 | 35,26,632 | 59,50,394 | 15,00,000 |
| August-24 | 1,08,73,303 | 36,45,215 | 56,22,579 | 10,00,000 |
| September-24 | 30,11,484 | 18,91,831 | 34,59,427 | 5,00,000 |
| October-24 | 40,72,324 | 9,75,414 | 18,36,210 | 5,00,000 |
| November-24 | 58,02,868 | 9,83,280 | 13,04,100 | - |
| December-24 | 69,71,530 | 8,08,256 | 37,56,420 | - |
| January-25 | 58,57,900 | - | - | - |
| February-25 | 1,02,00,401 | 25,74,227 | 21,75,272 | 5,00,000 |
| March-25 | 57,64,653 | - | 14,40,274 | - |
| TOTAL | 10,32,63,306 | 3,21,48,537 | 4,97,84,992 | 57,50,000 |

Availability of fund in Employees Trust Fund as on 30-11-2025                          (In Rs.)

| Particulars | PF Trust | Gratuity | Pension | Rehab | Total |
| --- | --- | --- | --- | --- | --- |
| A. Investment in Bonds & securities | 1,28,60,00,000 | 31,75,00,000 | 2,40,77,30,000 | 2,50,00,000 | 4,03,62,30,000 |
| Pattern of Investment |  |  |  |  |  |
| GOI | 20,60,00,000 | 1,75,00,000 | 42,35,00,000 | 50,00,000 | 65,20,00,000 |
| SGS | 39,00,00,000 | 15,00,00,000 | 65,32,30,000 | - | 1,19,32,30,000 |
| PSU | 69,00,00,000 | 15,00,00,000 | 1,33,10,00,000 | 2,00,00,000 | 2,19,10,00,000 |
| Total | 1,28,60,00,000 | 31,75,00,000 | 2,40,77,30,000 | 2,50,00,000 | 4,03,62,30,000 |
| B. Cash & Bank Balance | 40,22,32,786 | 1,93,07,316 | 7,81,06,053 | 76,60,606 | 50,73,06,761 |
| Total(A+B) | 1,68,82,32,786 | 33,68,07,316 | 2,48,58,36,053 | 3,26,60,606 | 4,54,35,36,761 |

Fund Paid by Trust to Beneficiaries (Period from 01-04-2025 to 30-11-2025)       (In Rs.)

| Month | NESCO Employees Provident Fund Trust | NESCO Employees Pension Fund Trust | NESCO Employees Gratuity Fund Trust | NESCO Employees Rehabilitation Financial Assistance Fund Trust |
| --- | --- | --- | --- | --- |
|  | PF Final settlement & Advance Paid | Commutated Pension Paid | Gratuity Paid | Rehabilitation Asst. Paid |
| April-25 | 92,50,531 | - | 7,85,083 | 10,00,000 |
| May-25 | 50,81,005 | - | - | - |
| June-25 | 1,06,30,969 | 20,15,724 | 24,30,504 | - |
| July-25 | 65,26,061 | - | 24,08,623 | - |
| August-25 | 26,08,708 | 1,44,87,647 | 3,23,93,405 | - |
| September-25 | 25,48,526 | 27,98,414 | 53,47,729 | - |
| October-25 | 37,64,900 | - | - | - |
| November-25 | 44,38,049 | 8,00,390 | 15,44,067 | - |
| TOTAL | 4,48,48,749 | 2,01,02,175 | 4,49,09,411 | 10,00,000 |

- Month wise cash flow considering the revenue items only for FY 2024-25 and 2025-26 (actual up to November 2025) to be submitted.

Response: The Month wise cash flow considering the revenue items for FY 2024-25 and 2025-26 (actual up to November 2025) are furnished in Annexure-17(A) and Annexure-17(B).

- The details of A&G expenses month wise and head wise with description may be furnished for FY 2025-26 (up to November 2025). Also, justification of rise in A&G cost projected for FY 2026-27 may be given.

Response: The month wise details of A&G expenses for FY 2025-26 (up to November 2025) is furnished in the below table:

Details of A&G Expenses for the FY 2025-26 (Till Nov-25)          (In Rs. Crs)

| Description | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24 | Grand Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Advertisement | 0.42 | 0.18 | 0.22 | 0.10 | 0.09 | 0.09 | 0.13 | 0.18 | 1.40 |
| Audit fees | 0.12 | 0.18 | 0.12 | 0.13 | 0.15 | 0.21 | 0.19 | 0.08 | 1.18 |
| Provision for Doubtful Debt | 3.52 | 3.76 | 3.80 | 3.65 | 3.96 | 0.10 | 3.57 | 3.28 | 25.64 |
| Books & Periodicals | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.01 |
| Compensation Expenses to Outsiders | 0.00 | 0.16 | 0.27 | 0.07 | 0.05 | 0.31 | - | - | 0.86 |
| Consultancy charges | 0.29 | 0.28 | 0.55 | 0.63 | 0.36 | 0.30 | 0.15 | 0.48 | 3.04 |
| Electricity Expenses | 0.49 | 0.59 | 0.63 | 0.59 | 0.64 | 0.56 | 0.56 | 0.52 | 4.59 |
| Employee welfare expense | 0.19 | 0.06 | 0.14 | 0.05 | 0.08 | 0.06 | 0.13 | 0.15 | 0.87 |
| Facility Management Expenses | 0.00 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0.00 | 0.01 | 0.06 |
| Fees & Subscription | 0.00 | 0.03 | 0.01 | 0.24 | 0.00 | 0.04 | 0.03 | 0.12 | 0.47 |
| Hire charges of vehicle | 1.08 | 1.23 | 0.86 | 1.07 | 0.72 | 0.92 | 0.95 | 1.04 | 7.85 |
| Insurance | 0.00 | 0.59 | 0.51 | 0.51 | 0.51 | 0.51 | 0.45 | 0.51 | 3.61 |
| Lease Rent | 0.26 | 0.30 | 0.29 | 0.21 | 0.35 | 0.33 | 0.31 | 0.24 | 2.29 |
| Legal expenses | 0.03 | 0.37 | 0.08 | 0.12 | 0.08 | 0.00 | 0.07 | 0.30 | 1.05 |
| Licence Fees | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.21 | 0.21 | 0.21 | 1.69 |
| Postage & Telegram | 0.00 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.08 |
| Printing & Stationary | 0.20 | 0.08 | 0.14 | 0.07 | 0.04 | 0.19 | 0.18 | 0.10 | 0.99 |
| Metering, Billing & Collection Expenses | 8.01 | 8.08 | 6.87 | 6.51 | 7.05 | 8.72 | 6.32 | 5.50 | 57.05 |
| Telephone Expenses | 0.42 | 0.36 | 0.16 | 0.24 | 0.34 | 0.19 | 0.33 | 0.12 | 2.17 |
| Travelling expenses | 0.08 | 0.06 | 0.04 | 0.04 | 0.09 | 0.11 | 0.12 | 0.09 | 0.62 |
| Others-Misc. | 0.95 | 1.21 | 1.51 | 1.24 | 0.70 | 1.18 | 0.90 | 1.01 | 8.69 |
| Loss on retirement of property, plant and equipment | - | 0.36 | 0.34 | 0.03 | 0.40 | 3.19 | 0.78 | 0.60 | 5.69 |
| Grand Total | 16.28 | 18.11 | 16.76 | 15.72 | 15.86 | 17.25 | 15.38 | 14.55 | 129.92 |

Estimation of A&G expenses during the current year as well as in the ensuing year has been envisaged on account of expenses towards meter reading, billing, collection, IT Automation, AMI operational expenses, Insurance expenses, Professional Charges, Enforcement activities, Customer Care & Call centre expenses and also compensation towards electrical accidents etc. All of these activities would contribute significantly towards reduction of AT&C losses and provide superior customer experience.

Keeping in view the need for substantial reduction of the AT&C Losses, special emphasis was required to improve the billing and collection efficiencies. The licensee has put in place new MBC contract, through reengineering of contract and modality for separated meter reading-billing and collection to increase the consumer coverage. Similarly, billing coverage & collection Efficiency have been maintained at more than 99.25% & more than 99.80% respectively. Percentage of provisional bills have been brought to 1.01% as on H1 of FY-26. Improvement in various parameters are detailed under section 2.7.1 and 2.7.2 of ARR Application FY 2026-27 (page no.36 & 37).

- The actual fund availability against Security Deposit as on 31.3.2025 and month wise additions of security deposit for FY 2025-26 (upto November 2025) along with mode of investment, pledged and free funds may be furnished.

Response: The required details are furnished in the below table:

Details of Consumer Security Deposits (In Rs. Crs)

| As at | Balance of Consumer Security Deposit | Balance of Fixed Deposit as on 31.03.2024 | FD Pledged with Banks | FD Free from Lien |
| --- | --- | --- | --- | --- |
| 31 March 2025 | 955.28 | 1,019.09 | 301.21 | 717.88 |
| 30 November 2025 | 1,096.56 | 1,074.71 | 309.49 | 765.22 |

Month wise Additions of Security Deposit for FY 2025-26 (up to Nov-2025)  (In Rs. Crs.)

| Month | Addition/(Refund) of security deposits |
| --- | --- |
| Apr-25 | 13.66 |
| May-25 | 34.01 |
| Jun-25 | -0.25 |
| Jul-25 | 4.15 |
| Aug-25 | 6.38 |
| Sep-25 | 2.26 |
| Oct-25 | 20.26 |
| Nov-25 | 60.80 |
| Total | 141.28 |

- The Licensee is required to furnish the month-wise receipts other than loan (Item wise with description of revenue and Non-Tariff Income/miscellaneous receipts) for FY 2024-25 and FY 2025-26 (up to November 2025) separately.

Response: The month-wise receipts other than loan (Item wise with description of revenue and miscellaneous receipts) for FY 2024-25 and FY 2025-26 (upto November 2025) are furnished in the Annexure-18(A) and Annexure-18(B) respectively.

- As per the Regulation 3.8.4 of the OERC (Terms and conditions for Determination of Wheeling tariff and retail Supply tariff) Regulations, 2022, for the assets of erstwhile DISCOMs, the depreciation shall be calculated on the pre-upvalued cost of assets at pre-1992 rate on the assets approved by the Commission. The details of such assets along with segregation related to assets created out of Government grants, meters and consumer contribution may be given for Old as well as new assets

Response:  The required details are furnished in the below table:

| Investment Support | Asset Head | Op. GFA as on 01.04.2025 | Dep'n Rate | Actual Dep. YTD Nov-25 | Planned Dep. (FY 2025-26) | Planned Dep. (FY 2026-27) |
| --- | --- | --- | --- | --- | --- | --- |
| Consumer Contribution | Network Assets & Overhead lines | 1,360.39 | 3.80% | 34.35 | 52.92 | 52.63 |
|  | Sub total | 1,360.39 |  | 34.35 | 52.92 | 52.63 |
| Govt Grant | Network Assets & Overhead lines | 259.46 | 3.80% | 6.57 | 9.86 | 9.86 |
|  | Sub total | 259.46 |  | 6.57 | 9.86 | 9.86 |
| Own | Building | 5.59 | 1.80% | 0.07 | 0.10 | 0.10 |
|  | Computer Equipment | 0.61 | 9.00% | 0.03 | 0.05 | 0.04 |
|  | Furniture & Fixture | 0.25 | 4.55% | 0.01 | 0.01 | 0.01 |
|  | Network Assets & Overhead lines | 203.34 | 3.80% | 5.15 | 7.71 | 7.71 |
|  | Office Equipment | 0.51 | 9.00% | 0.03 | 0.05 | 0.05 |
|  | Plant & Machinery | 290.39 | 3.80% | 0.70 | 1.04 | 1.04 |
|  | Vehicle | 0.55 | 12.86% | 0.01 | 0.01 | 0.01 |
|  | Meter | 29.22 | 3.80% | 0.64 | 0.96 | 0.96 |
|  | Sub total | 530.45 |  | 6.63 | 9.94 | 9.93 |
| Grant Total |  | 2,150.29 |  | 47.55 | 72.72 | 72.42 |

- The detailed (item wise) month wise Trial Balance for FY 2024-25 and FY 2025-26 up to Nov-25 may be submitted.

Response: The month-wise Trial Balance for FY 2024-25 and FY 2025-26 (upto November 2025) are furnished in the Annexure-19(A) and Annexure-19(B) respectively. Keeping in view the volume of the data the details are furnished in soft only.

- Total amount of legal expenses month wise for FY 2021 and FY 2025-26 up to Nov-25 may be submitted. A statement citing Legal expenses paid to whom with amount for each individual cases, mentioning won, lost or pending for the said period may be furnished.

Response: Month wise amount of legal expense for FY 2021 and FY 2025-26 up to Nov-25 are furnished in the Annexure-20(A). Further the summary of Legal expenses paid to whom with amount for each individual cases, mentioning won, lost or pending for the said period are furnished in Annexure-20(B). Keeping in view the volume of the data the details are furnished in soft only.

- Whether the Licensee as per the Regulation 3.8.2(b) has maintained a separate fund/account for depreciation on old assets and the balance available till November 2025.

Response: The details are furnished in the Annexure-21.

- Licensee to provide the details of equity contributed by GRIDCO in kind from the date of vesting till date (year wise).

Response: The details of equity contributed from the date of vesting till date are furnished in the Annexure-22.