BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO.4, CHUNUKOLI, SAILASHREE VIHAR,

CHANDRASEKHARPUR, BHUBANESWAR

IN THE MATTER OF       Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2025-26, under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022, OERC (Conduct of Business) Regulation 2004 and Vesting order dated 25.3.2021

And

IN THE MATTER OF              TP  Northern Odisha  Distribution Limited.

Registered & Corporate Office: Januganj, Balasore, Odisha-756019

Represented by its Chief Executive Officer                       ---------Applicant

And

IN THE MATTER OF            All Stake Holders

The Humble applicant, above named, most  respectfully showeth:

The present application is being filed by TP Northern Odisha Distribution Limited (TPNODL) before the Hon'ble  Commission for approval of Aggregate Revenue Requirement and Tariff proposal for the Financial Year 2025-26 under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022. The submissions of TPNODL are enclosed herewith.

DWIJADAS BASAK

CHIEF EXECUTIVE OFFICER

TP Northern Odisha Distribution Ltd

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO.4, CHUNUKOLI, SAILASHREE VIHAR,

CHANDRASEKHARPUR, BHUBANESWAR

IN THE MATTER OF      Application for approval of  Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2025-26, under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 , OERC (Conduct of Business) Regulation 2004 and Vesting order dated 25.3.2021

And

IN THE MATTER OF             TP  Northern Odisha  Distribution Limited.

Registered & Corporate Office: Januganj, Balasore, Odisha-756019

Represented by its Chief Executive Officer                  ---------Applicant

And

IN THE MATTER OF         All Stake Holders

Affidavit verifying the application of the licensee for approval of the Aggregate Revenue Requirement and Tariff Application for the FY 2025-26

I, Dwijadas Basak, S/o Dhananjoy Basak, aged about 57 years, residing at Balasore, do hereby solemnly affirm and state as follows:-

I am the Chief Executive Officer of TP Northern Odisha Distribution Limited-the applicant in the above matter and duly authorised to swear this affidavit on its behalf.

The statements made in the application along with the annexures annexed to this application are true to the best of my knowledge and the statements made are based on information and records and I believe them to be true.

Place: Balasore

Date: 29.11.2024               				                                                            DEPONENT

1. Executive Summary

TP Northern Odisha Distribution Limited (TPNODL) has been incorporated as a joint venture of the Tata Power Company Limited (51%) and Odisha Government (49%) on the Public-Private Partnership (PPP) model. TPNODL took over the licence to distribute electricity in the five districts Balasore, Mayurbhanj, Bhadrak, Keonjhar and Jajpur districts of northern Odisha, which were earlier served by erstwhile NESCO Utility, through a competitive bidding process. The business of TPNODL shall be governed by the provisions of licence issued by Hon’ble Odisha Electricity Regulatory Commission (OERC) vide Order No-OERC/Engg/06/2021/718 dated 29.06.2021 for distribution and retail supply of electricity in North Odisha.

This submission is made by TPNODL before the Hon’ble Commission in conformity with the OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 for the determination of Aggregate Annual Revenue Requirement and Retail Supply Tariff for the Financial Year 2025-26.

1.1 Background

Hon’ble OERC vide its order dated 31.03.1999 passed in Case No.24/98 under the provisions of the Orissa Electricity Reform Act, 1995, had issued Licence to North Eastern Electricity Supply Company of Orissa Ltd (the “NESCO”), Januganj, Balasore- 756019, Orissa to carry out the business of Distribution & Retail Supply in the areas of supply as mentioned in their licence No 3/99. Under the said Licence, NESCO carried out the Distribution and Retail Supply business as the Licensed Activities in its Area of Supply.

The Electricity Act, 2003 (the “Act”) came into force from 10th June 2003. Under Section 14 of the Act, any person engaged in the business of supply of electricity under the provisions of repealed laws or any Act specified in the Schedule on or before the appointed date shall be deemed to be a licensee under the Act. By virtue of this provision, NESCO became a Deemed Distribution Licensee for carrying out the Licensed Activity in its Area of Supply.

Under Section 19 of the Electricity Act, 2003 (the “Act”), Hon’ble Commission revoked license of NESCO with effect from Mar 2015 and appointed CMD, GRIDCO as the administrator under Section 20(d) of Act and vested the management and control of NESCO Utility along with their assets, interests and rights with the CMD, GRIDCO Limited.

In terms of Section 20 of Act, Hon’ble Commission initiated a transparent and competitive bidding process for selection of an investor for sale of utility of NESCO (“NESCO Utility”) and had issued the updated Request for Proposal (the “RFP”) on 31.07.2020. In response to the said RFP, one bid was received by the bid due date. After detailed evaluation by independent bid evaluation committee setup by Hon’ble OERC, The Tata Power Company Limited (the “TPCL”) was recommended as the successful bidder and Hon’ble OERC accepted the same under Section 20(1)(a) of the Act.

Hon’ble OERC issued a Letter of Intent (the “LoI”) to TPCL vide Letter No. OERC/RA/SALE of NESCO-26/2019(II)/160 dated 29.01.2021. TPCL communicated the acceptance of the LoI vide Letter No. T&D /BD/ DOM/ FY21/ OERC/ NESCO/PPP/100 dated 05.02.2021.

As per the terms of the RFP, upon completion of sale, NESCO Utility shall vest in a special purpose vehicle (the “Project SPV” or “Operating Company”) in which TPCL shall hold 51% (fifty one percent) equity shares and Government of Odisha (“GoO”) shall hold 49% (forty nine percent) equity shares through GRIDCO Limited (the “GRIDCO”).

Hon’ble OERC vide letter no. OERC/RA/SALE OF NESCO-26/2019(Vol.II)/162 dated 29.01.2021 then directed GRIDCO to incorporate the said SPV to which the utility of NESCO shall be vested and License of NESCO Utility shall be transferred. TPNODL shall be the SPV in which TPCL and GRIDCO shall hold 51% and 49% equity shares respectively after the completion of sale.

Hon’ble OERC initiated a suo-motu proceeding in Case No. 9/2021 to issue suitable directions with respect to sale of utility of NESCO under Section 20 of the Act and for vesting of utility of NESCO to the intending purchaser under Section 21 of the Act. Hon’ble OERC decided to dispose of the petition through a hearing of the concerned parties namely NESCO Utility, TPCL, GRIDCO, OPTCL and the Government of Odisha. After hearing the parties including public interveners, Hon’ble OERC issued an Order (the “Vesting Order”) on 25.03.2021 to the best interest of all the stakeholders.

The Vesting Order specified that the date of vesting of utility of NESCO to TPNODL would be 01.04.2021 (the “Effective Date”). In the said order, Hon’ble OERC directed the parties to undertake the transaction in such a manner that all the activities proposed for execution of this transaction in their submissions filed in response to suo-moto petition must be completed on or before 01.04.2021. The sale process would then be considered to be complete.

The Vesting Order also stated that upon completion of sale, the rights, powers, authorities, duties and obligations of the NESCO Utility under its licensee shall stand transferred to TPNODL as per Section 21(b) of the Act. Upon delivery of utility of NESCO to TPNODL with effect from 01.04.2021, TPNODL shall be deemed to be the Licensee. Hon’ble OERC shall then issue an order amending Licensee Conditions within 90 (ninety) days of the Effective Date. Till the time amended Licensee is granted, the provisions of the Vesting Order and the rights, powers, authorities, duties and obligations specified in the Licensee issued to NESCO vide order dated 27.10.2006 and subsequently transferred to NESCO Utility shall apply to TPNODL.

TP Northern Odisha Distribution Limited (“TPNODL”) was incorporated on 20.03.2021 as wholly owned subsidiary of GRIDCO with an authorized share capital of Rs. 1000 crores (Indian Rupee One Thousand Crores only) and paid-up capital of Rs. 5 lakhs (Indian Rupee Five lakhs only). As per the directions contained in the Vesting Order and in fulfillment of requirement under Section 20(3) of the Act, the Administrator of NESCO Utility has delivered the utility to TPNODL with effect from 01.04.2021 after completing all the modalities of the transaction.

With the delivery of utility of NESCO to TPNODL, the Licensee of NESCO Utility stood transferred to TPNODL with effect from 01.04.2021 as per the Vesting Order.

In exercise of powers conferred under the OERC (Conduct of Business Regulations), 2004 and the Vesting Order, Hon’ble OERC issued Licensee Conditions vide order no.OERC/Engg./06/2021/718  dated 29.06.2021 to TPNODL.

1.2 Basis of Preparation of ARR

TPNODL in accordance with the OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 has calculated the total expected revenue from sale of electricity as well as the total revenue requirement for the fifth year of operation FY 2025-26 and hereby submitting in the foregoing paragraphs as per the following structure.

- A statement with full details of its expected annual revenue and costs for the ensuing year FY 2025-26 for its Licensed Business along with technical, commercial performance and financial parameters in the formats prescribed by the Hon’ble Commission.

- Statement of allocation of wheeling and retail supply cost as per provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022.

- Performance of TPNODL and initiatives undertaken

- Truing-up for the FY 2023-24

- Issues pertaining to previous Financial years Tariff Orders and Truing up orders

- Compliance to directives of Hon’ble Commission

g.              Proposal for tariff rationalisation measures.

That, TPNODL has made certain assumptions while projecting its operations for the FY 2025-26. These projections are based upon the best estimates of the operations and prospective plans of the DISCOM at the time of the ARR filing. The actual ARR and the revenue figures may be different from the above estimates due to several external factors such as power purchase cost and change in consumer mix/ consumption etc.

2.  Revenue Requirement for FY 2025-26

TPNODL licensed area is spread over a geography of 27857 Sq.Km and serves the registered consumer base of 2million with a peak load of around 1400 MVA. It receives electrical power at a sub transmission voltage of 33KV from OPTCL 220/132/33 kV Grid Substations and then distributes the power at 33KV / 11KV / 440V / 230V depending on the demand of the consumers. For effective operations, the licensed area is divided into 5 circles which are further sub divided into 16 Divisions, 50 Sub-divisions & 159 Sections which manage the commercial and O&M activities in order to serve its consumers.

The following sections outline the estimation of revenue requirement for FY 2025-26.

2.1 Sales Projection

2.1 Sales Projection

For projecting the consumption of different categories, TPNODL has analyzed and relied on the past trend of consumption pattern for last ten years i.e. from FY 2014-2015 to FY 2023-24 & actual sales data for the first six months of FY 2024-25 and the load growth in pipeline.

In addition to the growth rate, actual addition/reduction of load, present trend of drawl of power through open access, additional drawl on account of special tariff for industries having CGP with CD up to 20MW, mass prawn cultivation in coastal area, water supply schemes of Govt and Irrigation schemes for farmers have also been considered for projection of sales for current and ensuring year. Based on the actual consumption for the first six months of the current financial year and keeping in view the consumption trend and seasonal impact, consumption for the current financial year has been estimated and the projection for the ensuing financial year has been done. The category-wise consumption estimated for FY 2024-25 and projected for FY 2025-26 have been depicted in following sections.

LT Category

The actual consumption in various categories under LT in FY 2023-24 and in the first six months of the current financial year FY 2024-25 alongwith the estimated consumption for FY 2024-25 and projection for FY 2025-26 are presented in the following table.

| Sl. No. | LT Category | FY 2023-24 (Actual) | FY 2024-25_H1 (Actual) | FY 2024-25 (Estimated) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 1457.31 | 1065.14 | 1801.82 | 1880.66 |
| 2 | General Purpose<100 kw | 438.03 | 262.71 | 488.63 | 544.02 |
| 3 | Specified public purpose | 42.21 | 25.14 | 49.51 | 51.01 |
| 4 | Irrigation | 56.75 | 47.26 | 106.52 | 119.81 |
| 5 | Allied Agro Activities | 45.19 | 31.37 | 66.56 | 77.09 |
| 6 | Allied Agro Industrial | 1.54 | 1.15 | 2.29 | 3.01 |
| 7 | LT Industrial | 60.17 | 31.93 | 60.71 | 65.13 |
| 8 | Public water works | 58.74 | 34.27 | 71.01 | 82.72 |
| 9 | Public Lighting | 35.44 | 24.44 | 55.69 | 63.12 |
| Total |  | 2195.38 | 1523.39 | 2702.74 | 2886.56 |

Table No- 1: LT Sales (in MUs)

The actual sales in LT in the first six months of the current FY is 1523.39 MU. Based on the actual consumption in the first six months and consumption pattern of each category, a sale of 2702.74MU has been estimated for FY 2024-25 and 2886.56MU for FY 2025-26.

Due to implementation of project Krishi  Sudhar for sanitization and arrest of theft in irrigation sector and installation of meter, a consumption of 47.26MU  has been noticed during H1 of the current financial year 2024-25 and it is expected that this growth will continue in ensuing financial year. A sales of 119.81MU has been projected under irrigation category in the ensuing FY considering a growth rate of 12%.

Due to scaling up of large-scale prawn cultivation in the coastal area, a consumption of 31.37MU and 1.15MU has been noticed in H1 of FY 2024-25 in Allied Agriculture category and Allied Agro Industrial category respectively. Considering continuance of same pattern in ensuring year, a sales of 77.09MU and 3.01MU has been projected for ensuing year 2025-26 in Allied agriculture category and Allied Agro Industrial category respectively.

A sharp rise in consumption under public water works category estimated due to implementation of Central Govt. Scheme like National Rural Drinking Water Programme (NRDWP), Jal Jeevan Mission (JJM) to provide Functional Household Tap Connection (FHTC) to every rural household.

The growth in the domestic category has been estimated at 24 % for the current financial year FY 2024-25. Facilitations through Customer care centres,  Anubhav Kendras, Call Centres  have resulted into  hassle free  onboarding process , which has helped in faster processing  of new connection applications. Moreover, many customers which were not in billing net were regularized through structured site verification and consumer indexing process through GIS. The  actual consumption of 1065.14MU in H1 of the current financial year has been considered while projecting the consumption for FY 24-25.

In the ensuing financial year, a normal growth of 4% has been considered, as the major portion of prospective consumers will be energized due to above facilitations undertaken.

In case of General-purpose category, a normal growth of 12 % for the current year FY 2024-25 has been considered and 11 % for the ensuing year FY 2025-26 has been estimated considering past trend and half yearly consumption of current year.

DISCOM has projected 7% growth in ensuing financial year in overall LT Category.

HT Category

While projecting the sales in HT Category, the consumption pattern of each HT consumer with contract demand of more than 1 MVA has been analyzed. The average sales under HT category consumers has been estimated for the ensuing financial year based on the trend of the FY 2023-24 and actual drawal in H1 of current financial year.  After reallocation of mines, the consumption under industrial category has shown considerable growth. Due to re-establishment of industries, growth in ancillary units have been noticed. The consumption in industrial category in HT in first six months of the current financial year is 307.78MU and estimated to reach 631.16MU by end of FY 24-25.  The same trend has been considered while estimating the HT Industrial consumption for the next financial year.

HT sales for current financial year 2024-25 has been estimated  to be  844.13 MU considering ongoing rural water supply schemes and mega irrigation projects of the Government, massive cultivation of prawn in coastal area and growth of its processing industries and the  upcoming HT applications in pipeline.  HT sales of 943.17 MU is projected for the ensuing financial year 2025-26 with projected  growth rate of 12% .

The summary of sales projections for HT category is given below:

Table-2: HT Sales (in MUs)

| Sl. No. | HT Category | FY 2023-24 (Actual) | FY 2024-25_H1 (Actual) | FY 2024-25 (Estimated) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- |
| 1 | Bulk Supply - Domestic | 16.84 | 9.07 | 17.99 | 18.28 |
| 2 | Irrigation Pumping & Agriculture | 2.66 | 2.01 | 3.98 | 5.48 |
| 3 | Allied agricultural activities | 18.16 | 12.59 | 23.64 | 28.35 |
| 4 | Allied Agro-Industrial Activities | 38.74 | 24.72 | 47.76 | 53.72 |
| 5 | Specfied Public Purpose | 15.75 | 12.12 | 23.45 | 31.03 |
| 6 | General Purpose >=110KVA | 60.45 | 34.84 | 66.74 | 74.94 |
| 7 | Public Water Works | 16.12 | 13.89 | 28.85 | 35.22 |
| 8 | Large Industry | 516.26 | 307.78 | 631.16 | 696.12 |
| 9 | Power Intensive Industry | 0.48 | 0.00 | 0.00 | 0.00 |
| 10 | Emerg. Supply to CGP | 0.373 | 0.542 | 0.554 | 0.036 |
| Total |  | 685.81 | 417.55 | 844.13 | 943.17 |

EHT Category:

In FY 2022-23, a substantial increase in EHT sales was noticed due to introduction of special tariff for the industries having CGP with CD up to 20MW. Consumers like, M/s. JSL, M/s.  JSPL, M/s. Visa steels, M/s. Ferro Alloys Plant, Balasore (taken over by TATA Steel Limited), and FACOR Ltd have availed this benefit in FY 22-23. However, except M/s. JSPL, all other industries have subsequently forgone the scheme due to substantial rise of special tariff from 430 paisa to 500 paisa per unit in the RST for FY 2023-24 thereby reducing the estimated EHT sales on account of Special tariff from FY 2023-24 onwards. A sales of 116.46MU has been estimated on account of special tariff in FY 2024-25. With anticipation of continuance of this provision of special tariff to industries having CGP with CD upto 20MW, a sale of 118.445 MU is projected in 2025-26.  Additional revenue on account of the provision of Special Tariff is estimated to be around Rs. 61.48 Cr in 2024-25 against forecast of Rs. 86.91 Cr and is expected to be around Rs. 62.29 Cr in 2025-26. Summary of additional sales and additional revenue on account special tariff is given below.

Table-3: Impact of Special Tariff

| Addition Consumption / Revenue due to Special Tariff |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Consumer (EHT) | Current_Year_FY.2024-25 (MU) |  |  | Ensuing_Year_FY.2025-26 (MU) |  |  | Additional Revenue (Rs. Crs.) |  |
|  | Normal (As per Trend) | Additional (Due to Special Tariff) | Total | Normal (As per Trend) | Additional (Due to Special Tariff) | Total | Current Year | Ensuing Year |
| Jindal Steel & Power Ltd | 26.251 | 116.463 | 142.714 | 26.251 | 118.445 | 144.696 | 61.48 | 62.29 |
| Total | 26.251 | 116.463 | 142.714 | 26.251 | 118.445 | 144.696 | 61.48 | 62.29 |

Some EHT consumers either enhanced or planned to enhance their loads during 24-25 and 25-26. The details of Load enhancement is given below

| Table-4: Details of Load Enhancement |  |  |
| --- | --- | --- |
| Name of Consumer | Enhanced load (KVA) | Effective Date |
| M/S TATA STEEL LTD | 40000 | Nov-24 |
| M/S. M/S JINDAL STAINLESS LIMITED | 28000 | Nov-24 |
| BALANI IRON ORE MINES, SAIL | 3000 | Nov-24 |
| M/S SHRI JAGANNATH STEELS & PWR LTD | 5000 | Oct-24 |
| DALMIA BHARAT REFRACTORIES LTD | 4000 | Feb-25 |
| JAKHAPURA TRACTION SUB-STATION | 2000 | Oct-24 |
| M/S. NEELACHAL ISPAT NIGAM LTD | 15000 | Sep-25 |
| M/S MISRILAL MINES PVT.LTD | 16000 | Jan-26 |
| TOTAL | 113000 |  |

In addition to above, based on applications in pipeline it is expected that few new Industries will start their operation in the second half of 2024-25 and in FY 2025-26.  The list of new consumers with their load is given below.

| Table-5: Details of New Consumer |  |  |
| --- | --- | --- |
| Name of Consumer | Load (KVA) | Year of Supply |
| TATA STEEL, KHANDBOND | 7000 | 24-25 |
| JINDAL Ferrous Ltd, JRED | 130000 | 25-26 |
| M/S. LINDE INDIA LTD.(NSC),Jajpur | 80000 | 25-26 |
| M/S. RUNGTA METALS PRIVATE LTD | 18000 | 25-26 |
| M/S ANAND EXPORTS(NSC), JAJPUR | 19000 | 25-26 |
| TOTAL | 254000 |  |

Consumption pattern of each existing EHT consumer had been analyzed before projecting sales in EHT category in the ensuing year 2025-26. Presently, there are 42 EHT consumers including 9 nos of Railway Traction connections. Out of the balance 33 nos, 8 no of industries are having their own CPP and 2 nos of consumers are availing power supply under emergency supply tariff category. Considering growth of the existing industries and expected energization of upcoming industries in pipeline, the EHT sales has been estimated at 3353.77 MUs for 2024-25 and projected 3759.09 MUs for ensuing year 2025-26. Growth of 12% has been considered in EHT category for the ensuing financial year 2025-26.

Table-6: EHT Sales (in MUs)

| Sl. No. | EHT Category | FY 2023-24 (Actual) | FY 2024-25_H1 (Actual) | FY 2024-25 (Projected) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- |
| 1 | General Purpose | 87.76 | 48.93 | 94.42 | 95.73 |
| 2 | Large Industry | 2035.06 | 618.42 | 1221.08 | 1342.61 |
| 3 | Railway Traction | 480.70 | 272.44 | 548.49 | 583.91 |
| 4 | Heavy Industry | 375.13 | 590.78 | 1375.39 | 1621.04 |
| 5 | Power Intensive Industry | 136.13 | 58.19 | 114.14 | 115.73 |
| 6 | Emerg. Supply to CPP | 0.3790 | 0.2210 | 0.2580 | 0.0720 |
| Total |  | 3115.17 | 1588.98 | 3353.77 | 3759.09 |

In addition to above, it is to submit that, 583.914MU sales has been estimated (considering a normal growth of 6%) under Railway traction for the ensuing financial year.

The summary of the category-wise/Voltage wise sales in MUs is given below.

Table-7: Voltage Wise Sales (in MUs)

| Sl.No. | Voltage Wise Sales | FY 2023-24 (Actual) | FY 2024-25_H1 (Actual) | FY 2024-25 (Estimated) | FY 2025-26 (Projection) | Projected Growth Rate (%) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | LT | 2195.38 | 1523.39 | 2702.74 | 2886.56 | 7% |
| 2 | HT | 685.81 | 417.55 | 844.13 | 943.17 | 12% |
| 2 | EHT | 3115.17 | 1588.98 | 3353.77 | 3759.09 | 12% |
| Total |  | 5996.36 | 3529.92 | 6900.63 | 7588.82 | 10% |

Overall growth rate of 10% in sales has been projected for the ensuing financial year.

2.2 Estimation of Power Purchase

Hon’ble Commission has fixed 10 years AT&C loss trajectory to be adopted for determination of tariff for the period FY 2021-22 to FY 2030-31 as given under section 41(a) of the Vesting order which is reproduced in the following table

Table-8: AT&C Loss Trajectory for Tariff Determination

| AT&C Loss Trajectory for Tariff Determination (%) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FY22 | FY23 | FY24 | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 |
| 19.17 | 19.17 | 17.09 | 15.00 | 13.83 | 12.76 | 11.77 | 10.85 | 10.00 | 9.50 |

It is submitted that the Hon'ble Commission has fixed the AT&C loss 13.83% (Normative loss), for the FY2025-26 for tariff determination.

TPNODL has estimated the power purchase requirement by considering the estimated sales requirement for the current financial year and projection for the ensuing year, by taking the normative loss level fixed by Hon’ble Commission.

While filing the ARR for the FY 2025-26, the Distribution loss and AT&C loss considered in the following manner.

Table-9: Performance Parameters

| Sl. No. | Particulars | FY 2023-24 (Actual) | FY 2024-25_H1 (Actual) | FY 2024-25 (Estimated)) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- |
| 1 | Input (MU) | 7047.15 | 4086.74 | 8037.07 | 8718.78 |
| 2 | Sales (MU) | 5996.36 | 3529.92 | 6900.63 | 7588.82 |
| 3 | EHT | 3115.17 | 1588.98 | 3353.77 | 3759.09 |
| 4 | HT | 685.81 | 417.55 | 844.13 | 943.17 |
| 5 | LT | 2195.38 | 1523.39 | 2702.74 | 2886.56 |
| 6 | Total | 5996.36 | 3529.92 | 6900.63 | 7588.82 |
| 7 | T&D Loss | 14.91% | 13.62% | 14.14% | 12.96% |
| 8 | Collection Efficiency | 103.76% | 96.61% | 99.00% | 99.00% |
| 9 | AT & C Loss | 11.71% | 16.55% | 15.00% | 13.83% |

2.3 Cost of Power Purchase

The power purchase as estimated for the current year will be 8037.07MU  whereas, in the ensuing FY , the requirement will be 8718.78 MU.

The power purchase expenses have been derived from the estimated input basing on the sales estimate and the targeted distribution loss (normative) . For the year FY 2024-25, energy input of 8037.07MU has been estimated based on the estimated sale of 6900.63 MU and T&D Loss of 14.14%. Power purchase of 8718.78MU has been projected based on the estimated sale of 7588.82MU and T&D Loss of 12.96% for the ensuing year corresponding to the AT&C loss - 13.83% fixed by Hon’ble Commission for the FY 2025-26 in the Vesting order.

Power purchase cost for the current year is estimated to be Rs. 3007.46Crs and for the ensuing year FY 2025-26 power purchase cost has been estimated at Rs. 3262.42Crs with BSP @ 350.00 paise p.u. and transmission charges @ 24 paise p.u. SLDC charges @ Rs. 1.5964 Crs   per annum.

Accordingly, the power purchase cost for the current year as well as the ensuing year have been worked out as follows:

Table -10: Power Purchase Cost                                        (In Rs. Crs)

| Sl. No | Particulars | Unit | Rate | FY 2024-25_H1 (Actual) | FY 2024-25 (Estimated) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Power Purchase | MU |  | 4086.74 | 8037.07 | 8718.78 |
| 2 | BSP | Rs./kwh | 3.5 | 1430.36 | 2812.97 | 3051.57 |
| 3 | Transmission Charges | Rs./kwh | 0.24 | 98.08 | 192.89 | 209.25 |
| 4 | SLDC Charges | Rs. Crs/ annum | 1.5964 | 0.7982 | 1.5964 | 1.5964 |
| 5 | Total Power purchase Cost | Rs. Crs |  | 1529.24 | 3007.46 | 3262.42 |

2.4   SMD Projection

Considering the past record and additional load growth in each category and additional load towards upcoming EHT consumers, the licensee proposes 1580 MVA as SMD for FY 2025-26, considering 70% LF with the projected input of 8718.78MU.

Table -11: SMD Projection (MVA)

| Particulars | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Input Energy (MU) | 5,575.61 | 5,439.43 | 4,941.19 | 5,327.04 | 6,473.32 | 7,047.15 | 8,037.07 | 8,718.78 |
| Maximum Demand (MVA) | 973.31 | 1,015.24 | 980.5 | 937.94 | 1,154.65 | 1,267.20 | 1,405.00 | 1580 |
| Load Factor % | 72.70% | 68.00% | 63.90% | 72.00% | 71.10% | 70.54% | 73% | 70% |

2.5 Employee Expenses

The SMD (MVA) projection for the ensuing year has been done based on load mix, consumption patterns and applications in hand.

2.5.1 Manpower Position

TPNODL inherited 2159 nos. of regular employees and 13 nos. of contractual employees from erstwhile NESCO utility as on 31.3.2021. Subsequently, it has added resources on transfer from Tata Power.

The shortage of manpower posed real challenge for seamless operation.  Further, as per manpower analysis, need was felt for creating missing bandwidths in Project Monitoring, Civil Engineering, Network Engineering & Planning, Sub-Transmission System, N/W Protection, Preventive Maintenance, Consumer care, Enforcement, Meter Management. Accordingly plans for induction of manpower were prepared. Further, the commercial organization had to be redefined upto the section level to bring in more focus on commercial activities. The Section Level which is the foundation for all Commercial and Technical activities, needed to be strengthened.  IT & OT – Competencies had to be enhanced to take care of advent of new technologies like SCADA, GIS, ADMS, Data Center, IT applications, ERP, Infrastructure Management & control.

TPNODL carried out detailed study of the existing manpower gaps across various Departments and geographies of TPNODL and worked out requirement of new expert manpower to fill up various resource gap areas like Network Planning & Engineering, Sub Transmission System management, Enforcement, Energy Audit, Safety, Projects, Civil, IT & OT and formulated a comprehensive recruitment plan.

Hon’ble Commission has permitted recruitments for FY 22-23 up to employee / consumer ratio of 1.4/ 1000 Consumers, vide its letter no OERC/RA/TPWODL-38/2021/18 dt. 17.01.2022. The relevant extract of the Order is reproduced below:

“The Commission has now allowed filling up of retirement in view of a low percentage of employees per one thousand consumers. The Commission further observes that the recruitment for the ensuing year (FY 22-23) maybe undertaken to the extent so that the number of employees per one thousand consumers including replenishment of retiring vacancies of TPWODL, TPNODL and TPSODL……… The Commission observes that the number of employees per thousand employees of TPCODL is already high relative to other Discoms and it shall be rationalized over the years to bring it to the level mentioned above. The Commission further directs the DISCOMS to file their separate manpower requirement and

Action Plan for FY 22-23 keeping in view the number of employees per thousand consumers as indicated by the Commission above. It shall be kept within 1.40.”

Further, to approve the CTC employee cost for FY 2023-24 and FY 2024-25 under para 115 of RST order FY 24-25 also,  Hon’ble Commission has considered average no. of employees keeping the no. of employees per 1000 consumers within 1.4 and allowed the new employee addition for FY 24-25. Relevant extracts of the para 115 of the RST order is reproduced hereunder

“115. For the purpose of calculation of Basic pay, the Commission has considered average      no. of employees during the FY 2023-24 and FY 2024-25. Similar methodology is also followed for calculation of CTC employee expenses considering the average no. of employee for FY 2023-24 and FY 2024-25, keeping the ratio of employees per 1000 consumers within 1.40. Accordingly, Commission approves following number of employees for the DISCOMs for FY 2024-25 for the purpose calculation of employee expenses.”

In line with the direction of Hon’ble Commission to keep the number of employees per thousand consumers within the ratio of 1.40 and in line with the new employee additions approved by the Hon’ble Commission, the recruitments have been done.

The details of recruitments planned for the current FY 24-25 and the ensuing FY 25-26 are furnished in the following table alongwith the existing manpower position starting from takeover.

Table-12: Employee Details 			                  (In Nos)

| Employees Details | Executive |  | Non-Executive |  | Total | New CTC Employee |
| --- | --- | --- | --- | --- | --- | --- |
|  | Technical (Nos) | Non-Technical (Nos) | Technical (Nos) | Non-Technical (Nos) |  |  |
| Erstwhile employees(existing) as 01-04-2021 (A) | 318 | 89 | 1444 | 308 | 2159 |  |
| Tata Power Transferred employees in FY2021-22 (B) | 32 | 18 |  |  | 50 |  |
| Newly recruited employees in FY2021-22 (C) | 208 | 104 |  |  | 312 | 312 |
| Newly recruited Trainees (D) | 108 | 54 |  |  | 162 | 162 |
| New employees resigned during FY2021-22 ( E ) | 7 |  |  |  | 7 |  |
| Retired during FY2021-22 (F) | 3 | 12 | 12 | 73 | 100 |  |
| Total As on 01-04-2022( G= (A+B+C+D-E-F)) | 656 | 253 | 1432 | 235 | 2576 | 474 |
| Tata Power Transferred employees in FY 2022-23 (H) | 7 | 4 |  |  | 11 |  |
| Recruitment in FY 2022-23 (I) | 204 | 99 |  |  | 303 | 303 |
| Recruitment of Trainees during FY 2022-23 (J) | 71 | 144 |  |  | 215 | 215 |
| New employees resigned during FY 2022-23 (K) | 20 | 19 |  |  | 39 |  |
| Retirement during FY 2022-23(L) | 6 | 2 | 85 | 12 | 105 |  |
| Total as on1-04-2023(M=(G+H+I+J-K-L)) | 912 | 479 | 1347 | 223 | 2961 | 518 |
| Tata Power Transferred employees in FY 2023-24 (N) | 12 | 9 | 0 | 0 | 21 |  |
| Recruitment in FY2023-24 (O) | 29 | 15 | 0 | 0 | 44 | 44 |
| Recruitment of Trainees during FY 2023-24(P) | 82 | 15 | 0 | 0 | 97 | 97 |
| New employees resigned during FY 2023-24(Q) | 54 | 13 | 0 | 0 | 67 |  |
| Retirement during FY 2023-24 ( R) | 5 | 6 | 35 | 19 | 65 |  |
| Total as on 1-04-2024( S= (M+N+O+P-Q-R)) | 976 | 499 | 1312 | 204 | 2991 | 141 |
| Actual for FY 2024-25 H1 |  |  |  |  |  |  |
| Tata Power Transferred Employees in H1 FY 2024-25 (N) | 9 | 1 | 0 | 0 | 10 |  |
| Recruitment in H1 FY 2024-25 (O) | 20 | 7 | 0 | 0 | 27 | 27 |
| Recruitment of Trainees during H1 FY 2024-25 (P) | 103 | 11 | 83 | 0 | 197 | 197 |
| New Employee Resigned during H1 FY 2024-25 (Q) | 44 | 9 | 0 | 0 | 53 |  |
| Retirement during H1 FY 2024-25 ( R) | 1 | 2 | 27 | 4 | 34 |  |
| Total as on 30-09-2024 (S=(N+O+P-Q-R) | 1063 | 507 | 1368 | 200 | 3138 | 224 |
| Projection for FY 2024-25 |  |  |  |  |  |  |
| Tata Power Transferred employees in FY 2024-25 (N) | 9 | 10 | 0 | 0 | 19 |  |
| Recruitment in H2 FY 2024-25 (O) | 6 | 6 | 0 | 0 | 12 | 12 |
| Recruitment of Trainees during H2 FY 2024-25(P) | 0 | 0 | 0 | 0 | 0 | 0 |
| New employees resigned during FY 2024-25(Q) | 11 | 4 | 0 | 0 | 15 |  |
| Retirement during FY 2024-25 ( R) | 2 | 2 | 3 | 2 | 9 |  |
| Total as on 1-04-2025( T= (S+N+O+P-Q-R)) | 1065 | 517 | 1365 | 198 | 3145 | 236 |
| Projection for FY 2025-26 |  |  |  |  |  |  |
| Tata Power Transferred employees in FY 2025-26 (N) | 13 | 11 | 0 | 0 | 24 |  |
| Recruitment in FY 2025-26 (O) | 13 | 7 | 0 | 0 | 20 | 20 |
| Recruitment of Trainees during FY 2025-26(P) | 50 | 10 | 65 | 0 | 125 | 125 |
| New employees resigned during FY 2025-26(Q) | 45 | 10 | 0 | 0 | 55 |  |
| Retirement during FY 2025-26 ( R) | 3 | 3 | 12 | 4 | 22 |  |
| Total as on 01-04-2026 (U=(T+N+O+P-Q-R)) | 1093 | 532 | 1418 | 194 | 3237 | 145 |

To keep the manpower cost optimized, TPNODL has recruited majorly in trainees level. Same philosophy has been extended to the ensuing year 2025-26 also.

2.5.2 Expenses Terminal Benefit Liability

TPNODL has estimated terminal benefits for the current year and ensuing year as follows-

Table-13: Terminal Benefit                                                     ( In Rs. Crs)

| Particulars | 2023-24 | 2024-25 | 2025-26 |
| --- | --- | --- | --- |
| Provident Fund | 15.27 | 16.85 | 17.55 |
| Pension | 140.69 | 145.42 | 145.42 |
| Gratuity | 12.28 | 11.83 | 10.48 |
| Rehabilitation | -0.59 | 0.40 | 0.40 |
| Leave Salary | 23.29 | 22.32 | 16.19 |
| Total | 190.94 | 196.82 | 190.04 |

2.5.3 Interest Cost on Electric Vehicle Advance Policy

OPTCL, vide its Circular No.AW/E&M-EV-1/2023(PT)/3358 dated 03rd March 2023 announced its Electric Vehicle Advance Policy (EVAP) for its employees which is in line with the guideline issued by the Finance Department, Government of Odisha (GoO) vide Memorandum No. 8524/F dated 05th April 2022. Advance will be interest free and will be granted based on eligibility and subject to availability of budget. All Executives will be eligible to purchase electric motor car/ two-wheeler and non-executives will be eligible for electric two-wheelers only. Advance amount will be 75% of cost of vehicle or repaying capacity and maximum advance limit for electric motor car is Rs. 15 lakhs and for electric two-wheeler is Rs. 2 lakh. This scheme will be in vogue till December 31, 2025 unless extended otherwise in line with the guidelines issued by the State Government vide O.M. No. 8524 dated April 05, 2022

Further, the employees’ wellbeing related policies and procedures, as and when framed/adopted by GRIDCO/ Odisha Power Transmission Corporation Limited (OPTCL) for their employees, were subsequently adopted by erstwhile NESCO utility.

TPNODL also being committed to decarbonization and promotion of National and State mandate for promoting Electric Vehicles, has adopted EV Advance Policy in line with the OPTCL and Government of Odisha Memorandum.

To facilitate eligible and interested employees to purchase EV by providing interest free recoverable advance, these vehicle loans to employees shall be interest free and the cost for the same shall need to be borne by the TPNODL.  It is estimated that 15 % of Executives and 20 % of Total Employee of erstwhile utility may avail the scheme.

The licensee had submitted before Hon’ble Commission for approval of the interest free advance towards EV in ARR for FY 24-25 under Staff Welfare Expenses, which Hon’ble Commission had approved in toto.

For FY 25-26, the licensee has considered Rs. 2Crs. towards interest cost on such advances to be extended to eligible employees under Staff Welfare and prays before Hon’ble Commission to kindly approve the same.

2.5.4 Steps taken for optimization of Employee Cost:

- To optimize the employee cost, the licensee has inducted mostly trainees. A comparative analysis of the no. of recruitments done in the first two years of operation and the percentage of trainees inducted year wise depicted in the following table

Table-14: Recruitment Details	                              (In Nos.)

| FY | Total no. of recruitment done/planned | No. of Trainees out of (b) | Percentage of trainee to total no. of recruitments |
| --- | --- | --- | --- |
| (a) | (b) | (c) | (d) |
| 2021-22 | 474 | 162 | 34% |
| 2022-23 | 518 | 215 | 42% |
| 2023-24 | 141 | 97 | 69% |

- The average salary of new joinees in executive cadre is around seventy-four thousand. The average salary of trainees is around twenty-four thousand. The licensee has tried to optimize the no. of employees vis-à-vis employee cost by inducting more number of Trainees.

An estimation of cost optimization is depicted in the following table.

Table-15:  Employee Cost Optimization                       (Rs. In Lakhs)

| Particulars | Avg. Salary (CTC) - per month | Nos. Inducted up to 2023-24 | Total Cost (Per Month) |
| --- | --- | --- | --- |
| New Joinee | 0.74 | 44 | 32.56 |
| Trainees | 0.24 | 97 | 23.28 |
| Total Cost in Rs. Lakhs |  |  | 55.84 |
| Total cost with all executive | 0.74 | 141 | 104.34 |
| Cost optimization in Rs. Lakhs |  |  | 48.50 |
| Cost optimization (%) |  |  | 46% |

- In addition to the above, the licensee has planned recruitment in a staggered manner for every financial year to optimize the employee cost.

    - Proposed Employee Cost:

TPNODL has projected Employee Cost of  Rs. 543.18 Crs in FY 2025-26 considering the following:

- 3% escalation considered on Basic Salary over FY 2024-25

- Housing Rent allowance considered at 20% of Basic Salary

- Reimbursement of Medical expenses are considered at 5% of the basic Salary.

- Nominal escalation of 10% considered for other employee allowances.

- Interest cost for providing interest free advance to eligible employee for EV under Staff welfare

- Impact of cadre restructuring

- Impact of wage revision and revision of minimum wages

Table-16: Employee Cost                        ( In Rs. Crs)

| Particulars | FY 2023-24 (Actual) | FY 2024-25 (Estimated) | FY 2025-26 (Projection) |
| --- | --- | --- | --- |
| Employee Cost | 496.09 | 531.14 | 561.36 |
| Less: Cost Capitalized | 16.70 | 16.99 | 18.18 |
| Net Employee Cost | 479.39 | 514.15 | 543.18 |

In view of the above, it is humbly submitted before Hon’ble Commission to approve the proposed employee cost of Rs. 543.18 Crs for the ensuing financial year.

2.6   Administrative and General Expenses

The A&G expenses for FY 2024-25 is estimated as Rs. 162.08 Crs. based on actual expenses till Sep, 2024.  Estimation of A&G expenses during the current year as well as in the ensuing year has been envisaged on account of expenses towards meter reading, billing, collection, IT Automation, AMI operational expenses, Insurance expenses, Professional Charges, Enforcement activities, Customer Care & Call centre expenses and also compensation towards electrical accidents etc. All of these activities would contribute significantly towards reduction of AT&C losses and provide superior customer experience.

Keeping in view the need for substantial reduction of the AT&C Losses, special emphasis was required to improve the billing and collection efficiencies. The licensee has put in place new MBC contract, through reengineering of contract and modality for separated meter reading-billing and collection to increase the consumer coverage. Similarly, billing coverage & collection Efficiency have been maintained at more than 98% & more than 97% respectively. Percentage of provisional bills have been brought to 1.41% as on H1 of FY-25. Improvement in various parameters are detailed in the following sections

2.6.1. Billing Efficiency Improvement:

The following initiatives have been undertaken for improving Billing Efficiency:

- MBC Contact Separation - Dedicated team for Reading & Billing activities for Single Phase Billing.

- 100% MRU wise Billing - Each Binder area was split into small pockets with schedule reading date range.

- AI & OCR Based Meter Reading- Integrated Mobile application to auto scan meter reading thus eliminating reading errors.

- Replacement of Meters- Focus on burnt & defective meters (2.5 Lakh meter replaced)

- Data analytics-based surveillance- Analysis of consumption patterns to pre-empt probable theft cases.

- Theft Reduction Initiatives- Energy Audit & data analytics-based enforcement drives to arrest pilferage of electricity. This resulted unauthorised load booking of 123 MW.

All the above-mentioned initiatives have helped improving billing coverage (98.59%) & slab adherence (87%) and overall Billing efficiency

2.6.2 Collection Efficiency Improvement:

Collection Efficiency improvement was driven through following initiatives:

- Separate Collection Contract – Separate team for recovery activities in order to improve collection coverage

- Strengthening the Disconnection Activities – System based tracking of defaulters & monitoring of individual disconnection through e-enabled platforms (DO App).

- Project Shikhar- Focus drive for liquidating long pending arrears

- Increase in Payment Avenues- Introduced multiple payment platforms for enabling customer to pay digitally.

- Customer Recognition Program- Special rewards for Arrear free & timely paying consumers

All the above-mentioned initiatives have helped improving digital collection to 30%, arrear recovery of ₹107 Cr., Unique collection coverage to 95% resulting improvement in overall collection efficiency.

The above-mentioned initiatives for improving Billing & Collection Efficiency have resulted in reduction in AT&C loss as depicted bellow

Further, advanced Technology adoption and analytics have been the prime focus of the licensee to provide quality customer services, manage revenue cycle processes for reduction of AT&C losses and efficiently manage to deliver reliable and quality supply in safe manner to its consumer by meeting various standards of operation.

The details of A&G expenses estimated for the FY 2024-25 and projected for the FY 2025-26 are furnished in the following table.

Table-17: Administrative & General Expenses		             (In Rs. Crs)

| Sl. No. | Particulars | FY 2023-24 (Actual) | FY 2024-25 H1 (Actual) | FY 2024-25 (Projected) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- | --- |
| 1 | Rent, Rates, Insurances | 8.69 | 5.09 | 10.58 | 12.36 |
| 2 | Communication | 2.15 | 1.60 | 3.47 | 3.60 |
| 3 | Professional Charges | 8.64 | 4.30 | 13.78 | 14.35 |
| 4 | Conveyance &Travelling | 16.24 | 7.25 | 21.30 | 19.49 |
| 5 | Spot Billing & collection Expenses | 83.79 | 45.06 | 88.67 | 106.97 |
| 6 | Others | 24.47 | 18.79 | 24.29 | 30.06 |
| 7 | Total | 143.98 | 82.09 | 162.08 | 186.82 |

# The licensee has estimated A&G expenses of Rs. 162.08 Crs in the current FY 2024-25 and Rs. 186.82 Crs for the ensuing FY 2025-26 on the basis of actual commitments and various activities planned for FY 2025-26 for reducing the AT&C loss and improve the performance standards, which may please be approved.

2.7 Repair & Maintenance Expenses

# Basing on the actual R&M expenses incurred in the first six months of the current FY and the contracts /orders issued for network maintenance, the estimated expenditure for the current year has been worked out as Rs. 272.49 and for the ensuing FY 2025-26 , Rs. 288.70 Crs. The details are furnished in the following table.

Table-18: R&M Expenses                                     ( In Rs. Crs)

| Particulars | FY 2023-24 (Actual) | FY 2024-25 H1 (Actual) | FY 2024-25 (Projected) | FY 2025-26 (Projection) |
| --- | --- | --- | --- | --- |
| Civil repairs & maintenance | 1.33 | 0.74 | 1.50 | 1.59 |
| Distribution line repairs & maintenance | 16.44 | 9.13 | 18.58 | 19.69 |
| Transformer Repair | 94.02 | 52.19 | 106.25 | 112.57 |
| Other repairs & maintenance | 129.33 | 71.79 | 146.16 | 154.85 |
| TOTAL | 241.13 | 133.84 | 272.49 | 288.70 |

It is pertinent to mention that, the entire network right from 33KV feeders to LT consumers were previously owned and maintained only by the Junior Manager (O&M) along with his team comprising of limited number of Lineman A/B/C, Helper, and Jr. Technician posted in respective sections. E&MR section was extending support to section staff for maintenance of 33/11KV primary substations. As sufficient manpower was not available, only limited corrective maintenance and restoration of power supply was in place.

# To address the above issues and for proper maintenance of network , separate AMC  has been introduced post takeover of TPNODL for 33KV and 11KV maintenance to create a culture of preventive maintenance.

Annual maintenance contracts for 33 kV network have been established with expert market agencies for all 5 circles. The network is being inspected regularly through manual patrolling as well as drone inspection in forest and inaccessible areas. Thermoscanning is done for the entire network using high power thermo scanning cameras and to identify the defects, hotspots and attend breakdowns in quick time and perform preventive maintenance activities to enhance system reliability by rectifying the probable faults even before they occur.

The Performance Based Maintenance Contract also includes 24X7 Breakdowns Crews for restoration of 33KV & 11KV feeders and substation equipment. Besides, preventive maintenance activities are being performed as per the maintenance plan and schedule prepared by TPNODL using the SAP PM system.

The Annual Maintenance Contracts for maintenance of LT, 11 KV and 33 KV infrastructure, covers  both the infrastructure in the GFA /Books of TPNODL as well as the Govt. Funded Infrastructure; the Hon’ble Commission shall appreciate that both, the Company owned Assets as well as those financed by the Government and transferred to the DISCOM to use and maintain, form part of the same Distribution Network and consequently require similar maintenance.

It is worthwhile to clarify that the Maintenance Contracts placed by the Company are for maintaining all Assets in the Network, which includes both Co. owned (reflected as Company’s GFA) as well as the Govt. funded Assets. Since these are largely labour-intensive contracts for maintenance of the entire network, the cost of such maintenance cannot be different for own and govt. funded assets.

The licensee is placing hereunder the comparative achievements in Reliability parameters in the FY 23-24.

Table-19 –Reliability Indices in three years of Operation

| FY | SAIDI | SAIFI |
| --- | --- | --- |
| 2021-22 | 455.51 | 680.00 |
| 2022-23 | 378.39 | 621.20 |
| 2023-24 | 348.95 | 576.45 |

As detailed above, System Average Interruption Duration Index has been reduced by 23.4% over the same in FY 21-22. Similarly, System Average Interruption Frequency Index has been reduced by 15%.

102 nos. of 11KV feeders have been identified as priority feeders which are supplying power to critical establishments like Health care centers, etc. and have been identified for targeted improvement of reliability. Target SAIDI reduction on these feeders has been fixed at 25% reduction through targeted maintenance activity like replacement of Jumpers and Insulators, and capex projects for reliability improvements like installation of LT switchgears, Installation of Auto-reclosures, Ring Main Units, Fault Passage Indicators.

Similar prioritization has been done in 33 KV feeders where thirty-five (35) number of feeders has been identified as priority feeders for reduction of SAIDI by 25% through targeted maintenance and Capex infusion for installation and replacement of Switchgears.

An analysis of the power supply reliability to those critical establishments in those priority 11KV feeders are furnished hereunder:

There has been 23% reduction in SAIDI, 26% reduction in SAIFI in the 11KV Priority feeders. Fault tripping have been reduced by 27% in comparison to last financial year.

The improvement in the reliability parameters in 33KV Priority feeders are furnished in the following sections

SAIDI in 33KV priority feeders is 23% lower and SAIFI 29% lower than that in non-priority feeders.

2.7.1 Circle-wise Reliability Improvement:

The Circle wise achieved SAIDI & SAIFI for the FY 2022-23 & FY 2023-24 are depicted in the below graphs.

Achieved SAIDI Circle Wise FY 2022-23 Vs FY 2023-24

Achieved SAIFI Circle Wise FY 2022-23 Vs FY 2023-24

The SAIFI and SAIDI figures of Baripada and Keonjhar Circle have increased over the figures   of FY 22-23 mainly due to shutdown of feeders that were taken for elephant movement.

2.7.2 Impact of Auto-Recloser in Reliability Improvement:

Auto-Reclosers play a significant role in improving the reliability of electrical distribution systems by facilitating Fault Detection and Isolation, Automatic Restoration, Reduced Outage Duration in the case

of Transient Fault, Improved System Reliability by limiting the Affected Area. In the Case of Permanent Fault, it helps us to identify the faulty area among the total Feeder.

Table-19: Impact Assessment Auto-recloser

| Parameters | Jan-24 | Feb-24 | Mar-24 |
| --- | --- | --- | --- |
| Total Interruption at Auto-Recloser | 305 | 278 | 758 |
| Total Sustained Interruptions | 215 | 103 | 304 |
| Affected SAIDI(Hrs) | 0.91 | 0.51 | 1.88 |
| Saved SAIDI(Hrs) | 2.73 | 1.23 | 5.1 |
| Saved SAIDI in % | 75% | 71% | 73% |

The following table depicts the saving in SAIDI achieved in Q4 month wise due to auto-recloser.

cTotal 154612 of Consumer benefited after installation of Auto-Reclosers

2.7.3  Empowering Reliability through Preventive & Predictive Maintenance Strategies:

Preventive maintenance plays most significant role in reliability improvement. TPNODL Focuses on proactively identifying and addressing potential issues before they escalate, thereby minimizing disruptions, optimizing asset performance, and ensuring consistent power supply to communities.

2.7.3.1  Project PTR Care

The licensee is having 247 nos. of PSS, 564 nos. of PTR and 3226 CKm of 33KV line.  Under Project PTR Care, in last Financial Year, Silica gel replaced in 214 nos., oil filtration/top-up carried out in 87 PTRs, PTR overhauling done in 39 PTRs, capacity of 17 nos. PTRs augmented/addition done. Below is a brief of the activities carried out.

Table-20: Status of PTR Maintenance Status of PTR Maintenance in FY24

| PTR Care |  |
| --- | --- |
| Description | Nos |
| PTR Maintenance | 515 |
| Silica Gel Replacement | 214 |
| Oil Top up/Filtration | 87 |
| Breather Replacement | 61 |
| PTR Overhauling | 39 |
| PTR Upgraded_ Opex | 17 |
| Residual Life Analysis of PTR | 548 |

Major maintenance activity done in last financial (FY 2023-24) year as below.

Table-21: Major Maintenance Activity done in FY24

| Sr. No. | List of Activity | Scheme | Total |
| --- | --- | --- | --- |
| 1 | Operation "BHOOMI"/Neutral Earthing Maintenance | PTR BACHAO | 249 |
| 2 | PTR Health Index | PTR BACHAO | 360 |
| 3 | Leakage Arrest of Oil from PTR | PTR BACHAO | 78 |
| 4 | PTR Oil DGA test | PARIKSHAN | 360 |
| 5 | PTR Preventive Maintenance | PM | 515 |
| 6 | CB LIMB/POLE REPLACEMENT 33KV | CB | 35 |
| 7 | CB LIMB/POLE REPLACEMENT 11KV | CB | 53 |
| 8 | CB MECHANISM /LUBRICATION/ Maintenance | CB | 371 |
| 9 | CB Repair- (In House) | CB | 61 |
| 10 | AB SWITCH/ISOLATOR MAINTENANCE/Repair | SWITCHYARD | 154 |
| 11 | LA INSTALLATION/Maintenance | SWITCHYARD | 1050 |
| 12 | PSS Preventive Maintenance | PM | 247 |
| 13 | PSS/Line Thermal Scanning (No's of Hot Spot Found/Rectified) | PM | 345 |
| 14 | Repair/Maintenance of BATTERY CHARGER | PM | 24 |
| 15 | Repair/Maintenance of BATTERY BANK | PM | 11 |
| 16 | Switchyard/Control Room Cleaning | MO PSS NIRMALPSS | 247 |
| 17 | Residual Life Analysis of PTR | PTR BACHAO | 548 |

2.7.3.2 SAP Based Plant Maintenance:

We had introduced SAP Based Preventive Maintenance & testing of PSS equipment’s in SAP.

Table-21: Status of SAP Based Plant Maintenance

| 33KV PSS Maintenance SAP FY24 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | M1 |  | M1 Total | M2 |  | M2 Total | M3 |  | M3 Total | Grand Total |
| Row Labels | CLOSED | OPEN |  | CLOSED | OPEN |  | CLOSED | OPEN |  |  |
| Balasore | 47 | 8 | 55 | 5 | 5 | 10 | 172 | 91 | 263 | 328 |
| Baripada | 129 | 9 | 138 | 12 | 6 | 18 | 525 | 83 | 608 | 764 |
| Bhadrak | 348 | 8 | 356 | 5 | 1 | 6 | 155 | 3 | 158 | 520 |
| Jajpur | 364 | 12 | 376 | 34 | 4 | 38 | 156 | 20 | 176 | 590 |
| Keonjhar | 71 | 31 | 102 | 4 | 11 | 15 | 116 | 42 | 158 | 275 |
| Grand Total | 959 | 68 | 1027 | 60 | 27 | 87 | 1124 | 239 | 1363 | 2477 |

To ensure proper protection system of the PSS, New Relay installation, new battery bank and charger, New CR Panel installation and LA installation and upkeep carried out. A report on the same is provided below.

| Sr. No. | KPI | FY22 | FY23 | FY24 |
| --- | --- | --- | --- | --- |
| 1 | Relay Installation Capex | NA | 201 | 182 |
| 2 | PTR Augmentation Capex | NA | 27 | 8 |
| 3 | NEW CB Installation-CB 11KV | 11 | 107 | 111 |
| 4 | NEW CB Installation-CB 33KV | 8 | 71 | 40 |
| 5 | Battery Bank | 44 | 75 | 15 |
| 6 | Battery Charger | 33 | 55 | 15 |
| 7 | PTR Earthing Capex | 10 | 98 | 36 |
| 8 | RTU Installation | NA | 26 | 39 |
| 9 | CR Panel Installation | NA | 82 | 117 |
| 10 | ISOLATOR Installation | NA | 100 | 204 |

Table-22(a): 33kv Network Protection Plan & Status

Table-22(b): Maintenance Status of PSS

| Sr. No. | Description | UOM | FY-22 | FY-23 | FY24 | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Project "NAVIKARAN" PTR Overhauling | No's | 24 | 47 | 39 |  |
| 2 | Relay Setting Coordination | % | 16 | 40 | 65 |  |
| 3 | 11KV Metering Work | No's | NA | 776 | NA | All Completed |
| 4 | 33KV Metering Work | No's | NA | 222 | NA | All Completed |
| 5 | PTR Maintenance in SAP | No's | NA | 515 | 544 |  |
| 6 | PTR Health Index | No's | NA | 285 | 360 |  |
| 7 | PTR Augmentation _Opex | No's | NA | 16 | 17 |  |
| 8 | PTR Residual Analysis (% Life) | No's | NA | NA | 548 | All Completed |

2.7.3.3   33KV Line Upkeep

Towards the 33KV line upkeep, 2720 nos. of Tilted poles & V Cross arm straightened, 4150 conductor renumbering carried out, 26121 nos. of PIN insulators replaced.

Crossing of the huge 384Mtr span of Subarnarekha River & 290 Mtr span on Budabalanga river with two interposing PC type towers at both sides of the river completed. This project has helped in providing a reliable power supply to more than 30,000 Consumers of 33/11kV Rajghat PSS, Gao Amarda PSS & Manatri.PSS.

| 33KV Line-upkeep |  |
| --- | --- |
| Description | Nos. |
| Tilted Poles & Cross arm straightened | 2720 |
| Conductor Re-Jumpering | 2857 |
| Replacement of Pin Insulators | 11737 |
| Tree Trimming (spans) | 33948 |
| Intermediate Pole Erection. (Critical) | 321 |

Table-23: Maintenance Status of 33 kV Line

2.7.4. 4.  11KV Network Upkeep

Steps taken for DSS maintenance, 11KV line maintenance and to maintain the network hygiene are briefed in the following table:

Table-24: 11KV Network Upkeep

| DSS Maintenance |  | Network Hygiene |  |  | 11KV Line Maintenance |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Tree Trimming / Vegetation Removal (Span) | 41092 |  | Pin Insulator Replaced | 39507 | Tree Trimming / Vegetation Removal (Span) | 203724 |  |
| Earthing Resistances Checked | 712 |  | HG/DD Fuse Unit | 15180 | Conductor Restringing (Kmtrs.) | 8339.2 |  |
| DTR Oil BDV Test Done | 1223 |  | Load Balancing Done | 4817 | Insulated Jumpers Instl. /Replaced | 36122 |  |
| Repair / Installation of New AB Switches | 8239 |  | LTDB & MCCB Installed | 1227 | Straightening/replacement of Cross Arms / Tilte Poles | 11300 |  |
| LA Installation | 8440 |  | LA Earthing Repaired | 993 | Installation of Interposing Poles | 4632 |  |
| Installation of LT Protection on Dist Trf: | 3296 |  | New DTR AB Switches Installed | 970 | Stay Set Installed | 4704 |  |
|  |  |  |  |  | Line A/B Switch repaired / Replaced | 6050 |  |

2.7.3.5. Project Mission 100

Further, our 11KV system network comprises of 79,411 DTRs and 41,108 Ckt Km of 11KV line. Steps taken for the upkeep of 11KV system network outlined hereunder. Under project Raksha, oil filtration/top up, HT/LT Bushing replacement, Oil leakage checking, Breather/Silica Gel replacement, repairing /new DTR Body earthing, replacement of burnt socket, augmentation of DTs has been carried out. Brief of the activities are furnished in the following table.

Table-25: Maintenance Status of DTR

| Particulars/ Description | UoM | Count |
| --- | --- | --- |
| DTR AB Switch Repaired | Nos. | 8239 |
| New DTR AB Switches Installed | Nos. | 970 |
| LA Installed | Nos. | 8440 |
| Neutral Earthing Repaired / Installed | Nos. | 10985 |
| DTR Vegetation removal | Nos. | 41092 |
| HG / DD Fuse Replaced | Nos. | 15180 |
| Socket Replaced | Nos. | 46652 |
| Kit Kat Fuse Installed | Nos. | 8955 |
| Load Balancing | Nos. | 4817 |

2.7.3. 6 Technical Loss Reduction

- Feeder length Reduction (11KV & 33KV):

In view of presence of very long length feeder network involved at the time of takeover in 2021 (Ranging from 100-350 km) ,TPNODL has been consistently working towards the length reduction with an objective to limit the 11 kv feeders to 100 km & 33KV feeders to 50 km. This was achieved by means of bifurcation of feeders, installation of link lines for a.) injection of new source b.) Balancing length across short & long length feeders based on geographical proximity. Table given below indicates the progress made in the last 3 years.

The technical loss reduction achieved during FY 22, FY 23 & FY 24 are furnished in the   following tables.

Table-26(a): TPNODL 33 KV Technical Loss Assessment FY22

| Circle | Peak load (MW) |  | Line Loss (MW) | Trf. (No Load Loss) (MW) | Trf. (Load Loss) (MW) | Distributed loss @ 7.68% (MW) | Total Loss (MW) | Annual Tech loss in % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Balasore |  | 234.76 | 12.53 | 0.39 | 0.72 | 1.05 | 14.69 | 3.59 |
| Baripada |  | 136.52 | 5.56 | 0.75 | 0.98 | 0.56 | 7.85 | 4.31 |
| Bhadrak |  | 113.69 | 6.96 | 0.29 | 0.48 | 0.59 | 8.32 | 4.24 |
| Jajpur |  | 148.76 | 8.11 | 0.45 | 0.58 | 0.70 | 9.84 | 4.0 |
| Keonjhar |  | 109.5 | 4.37 | 0.30 | 0.21 | 0.37 | 5.25 | 3.18 |
| TPNODL |  | 743.23 | 37.53 | 2.18 | 2.97 | 3.28 | 45.96 | 3.86 |

Table-26(b): TPNODL 33 KV Technical Loss Assessment FY23

| Circle | Peak load (MW) | Line Loss (MW) | Trf. (No Load Loss) (MW) | Trf. (Load Loss) (MW) | Distributed loss @ 7.68% (MW) | Total Loss (MW) | Annual Tech loss in % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Balasore | 287.16 | 12.01 | 0.52 | 0.94 | 1.03 | 14.5 | 3.26 |
| Baripada | 133.76 | 4.87 | 0.65 | 0.86 | 0.49 | 6.87 | 3.95 |
| Bhadrak | 111.05 | 5.83 | 0.32 | 0.31 | 0.50 | 6.96 | 3.7 |
| Jajpur | 164.79 | 7.67 | 0.31 | 0.39 | 0.64 | 9.01 | 3.8 |
| Keonjhar | 110.3 | 3.09 | 0.34 | 0.19 | 0.28 | 3.90 | 2.62 |
| TPNODL | 807.06 | 33.47 | 2.14 | 2.69 | 2.94 | 41.24 | 3.47 |

Table-26(c): TPNODL 33 KV Technical Loss Assessment FY24

| Circle | Peak load (MW) | Line Loss (MW) | Trf. (No Load Loss) (MW) | Trf. (Load Loss) (MW) | Distributed loss @ 7.68% (MW) | Total Loss (MW) | Annual Tech loss in % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Balasore | 291.59 | 9.73 | 0.51 | 0.83 | 0.92 | 11.98 | 2.63 |
| Baripada | 150.81 | 6.14 | 0.42 | 0.32 | 0.57 | 7.45 | 3.71 |
| Bhadrak | 127.29 | 3.98 | 0.31 | 0.38 | 0.39 | 5.06 | 3.18 |
| Jajpur | 195.47 | 7.91 | 0.31 | 0.37 | 0.72 | 9.31 | 4.43 |
| Keonjhar | 137.02 | 3.84 | 0.35 | 0.25 | 0.37 | 4.82 | 2.34 |
| TPNODL | 902.18 | 31.60 | 1.9 | 2.15 | 2.97 | 38.62 | 3.25 |

Table-27(a): TPNODL 11 KV Technical Loss Assessment FY22

| Circle | Peak load (MW) | Line Loss (MW) | Trf. (No Load Loss) (MW) | Trf. (Load Loss) (MW) | Distributed loss @ 7.68% (MW) | Total Loss (MW) | Annual Tech loss in % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Balasore | 180.07 | 13.73 | 1.29 | 2.05 | 1.31 | 18.37 | 6.26 |
| Baripada | 156.77 | 6.99 | 0.94 | 1.23 | 0.70 | 9.86 | 5.16 |
| Bhadrak | 132.57 | 6.19 | 0.79 | 0.74 | 0.59 | 8.31 | 4.66 |
| Jajpur | 160.01 | 6.22 | 1.05 | 1.35 | 0.66 | 9.28 | 3.95 |
| Keonjhar | 109.65 | 4.13 | 0.61 | 0.63 | 0.41 | 5.79 | 4.11 |
| TPNODL | 739.07 | 37.26 | 4.68 | 6.00 | 3.68 | 51.62 | 4.83 |

Table-27(b): TPNODL 11 KV Technical Loss Assessment FY23

| Circle | Peak load (MW) | Line Loss (MW) | Trf. (No Load Loss) (MW) | Trf. (Load Loss) (MW) | Distributed loss @ 7.68% (MW) | Total Loss (MW) | Annual Tech loss in % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Balasore | 234.07 | 10.56 | 0.99 | 1.57 | 1.01 | 14.14 | 4.41 |
| Baripada | 136.52 | 6.54 | 0.88 | 1.15 | 0.66 | 9.23 | 4.29 |
| Bhadrak | 132.54 | 6.16 | 0.54 | 0.92 | 0.59 | 8.21 | 4.32 |
| Jajpur | 159.12 | 4.87 | 1.34 | 1.06 | 0.56 | 7.83 | 3.35 |
| Keonjhar | 109.68 | 4.08 | 0.61 | 0.63 | 0.41 | 5.73 | 4.07 |
| TPNODL | 771.93 | 32.21 | 4.36 | 5.34 | 3.22 | 45.13 | 4.09 |

Table-27(c): TPNODL 11 KV Technical Loss Assessment FY24

| Circle | Peak load (MW) | Line Loss (MW) | Trf. (No Load Loss) (MW) | Trf. (Load Loss) (MW) | Distributed loss @ 7.68% (MW) | Total Loss (MW) | Annual Tech loss in % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Balasore | 276.87 | 9.47 | 0.99 | 1.50 | 1.00 | 12.96 | 4.34 |
| Baripada | 168.21 | 6.15 | 0.81 | 1.16 | 0.68 | 8.80 | 4.11 |
| Bhadrak | 163.45 | 7.04 | 0.82 | 1.13 | 0.75 | 9.74 | 4.6 |
| Jajpur | 167.68 | 4.09 | 1.34 | 0.98 | 0.53 | 6.94 | 4.02 |
| Keonjhar | 114.86 | 3.51 | 0.62 | 1.36 | 0.46 | 5.95 | 3.88 |
| TPNODL | 891.07 | 30.27 | 4.58 | 6.13 | 3.40 | 44.39 | 4.0 |

2.7.4 Normative R&M

Details of Government assets not in the books of TPNODL are furnished in the following table

Table-28 (a) :  Asset  Details  -Govt. Assets not in the Books of TPNODL                       ( In Rs. Crs)

| Details Assets Created by OPTCL |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | As on 31.3.2024 |  |  | As on 31.3.2025 |  |  |
| Sl. No. | Name of the Scheme | Assets Value |  | Total | Assets Value |  | Total |
|  |  | Completed | WIP |  | Completed | WIP |  |
| 1 | DDUGJY | 446.49 | - | 446.49 | 446.49 |  | 446.49 |
| 2 | IPDS | 347.86 | - | 347.86 | 347.86 |  | 347.86 |
| 3 | ODSSP | 584.71 | 330.53 | 915.24 | 749.98 | 165.27 | 915.24 |
| 4 | BGJY OPTCL DTR | 34.89 | - | 34.89 | 34.89 |  | 34.89 |
| 5 | ODAFFP | 13.10 | 40.87 | 53.97 | 33.54 | 20.44 | 53.97 |
| 6 | RGGVY | 3.51 | - | 3.51 | 3.51 |  | 3.51 |
|  | Total | 1,430.56 | 371.40 | 1,801.96 | 1,616.26 | 185.70 | 1,801.96 |
| Details of Assets Created by Agency (NTPC & PGCIL) |  |  |  |  |  |  |  |
|  | By NTPC | Completed | WIP | Total | Completed | WIP | Total |
| 1 | DDUGJY 11TH PLAN | 123.39 | - | 123.39 | 123.39 | - | 123.39 |
| 2 | DDUGJY 12TH PLAN | 326.83 | - | 326.83 | 326.83 | - | 326.83 |
|  | Total | 450.22 | - | 450.22 | 450.22 | - | 450.22 |
|  | By PGCIL |  |  |  |  |  |  |
| 1 | DDUGJY 11TH PLAN | 650.50 | - | 650.50 | 650.50 | - | 650.5 |
| 2 | DDUGJY 12TH PLAN | 620.05 | - | 620.05 | 620.05 | - | 620.05 |
|  | Total | 1,270.55 | - | 1,270.55 | 1,270.55 | - | 1270.55 |
| Details of Assets Created by Agency (TPNODL) |  |  |  |  |  |  |  |
|  | By TPNODL | Completed | WIP | Total | Completed | WIP | Total |
| 1 | SDMF-CYCLONE STRUCTURE-Grant |  |  | - | 48.12 | 5.06 | 53.18 |
| 2 | SDMF-FLOOD MITIGATION-Grant |  |  | - | 11.24 | 1.06 | 12.30 |
| 3 | ODSSP PHASE-V-Grant |  |  | - | 154.72 | 76.28 | 231.00 |
| 4 | BGJY on GRID |  |  | - | 48.58 | 12.14 | 60.72 |
| 5 | BGJY Off GRID |  |  | - | 8.20 | 23.77 | 31.97 |
|  | Total | - | - | - | 270.86 | 118.32 | 389.17 |
|  | Grand Total | 3,151.33 | 371.40 | 3,522.73 | 3,607.89 | 304.02 | 3,911.90 |
|  | Less Assets already transferred to TPNODL from ODSSP towards equity by Govt | 153.88 |  |  | 211.21 |  |  |
| Net GOVT Assets to be considered for Repair and Maintenance Expenses |  | 2,997.45 |  |  | 3,396.68 |  |  |

GFA as per the books of TPNODL and GFA of Govt. assets , which are not in the books of TPNODL are detailed in the following table

Table-28 (b) :  Asset  Details                                                ( In Rs. Crs)

| Sl. No. | Particulars | As on 31.03.2024 | Addition/Deletion During FY 2024-25 | As on 31.03.2025 |
| --- | --- | --- | --- | --- |
| 1 | GFA as per books of TPNODL excluding meter | 3,901.79 | 9,96.50 | 4,898.28 |
| 2(a) | GFA of Govt. Asset created by OPTCL not in the books of TPNODL (As above) | 3,151.33 | 456.56 | 3,607.89 |
| 2(b) | Less Assets already transferred to TPNODL from ODSSP towards equity by Govt | 153.88 | 57.33 | 211.21 |
| 2(c) | Net Govt. Assets | 2,997.45 | 399.23 | 3,396.68 |
| 3 | Grand Total(1+2 (c)) | 6,899.24 | 1,395.72 | 8,294.96 |

The projected GFA of the licensee   as on March ‘2025 is Rs.4998.28 Crs and the assets added under Govt. schemes  as on March’2025 is Rs. 3607.89Cr.

Under regulation 3.9.19 and 3.9.22 of the OERC (Terms and Conditions for Determination of Wheeling and Retail Supply Tariff) Regulation,2022-the R&M cost on the opening GFA is coming to Rs.297.68Crs ,the details of which are given in the following table.

Table-29 :  Normative R&M                             ( In Rs. Crs)

| R&M for FY 2024-25 | DISCOM's |  |  |
| --- | --- | --- | --- |
|  | DISCOM | Govt. Assets (OPTCL) | Total R&M |
| DISCOM's Gross fixed assets (GFA) as on 01.04.2025 | 4249.50 |  |  |
| Rate of R & M on GFA | 4.00% | 3.00% |  |
| R&M on GFA | 169.98 | 0.00 |  |
| Govt. (Funded/Grant) Assets as on 01.04.2025 | 648.78 | 3607.89 |  |
| Rate of R & M on Govt. (Funded/Grant) Assets | 3.00% | 3.00% |  |
| R&M on Govt. funded Assets | 19.46 | 108.24 |  |
| Total R & M | 189.44 | 108.24 | 297.68 |
| R&M for Maintenance of Micro Grids & Solar standalones |  |  | 2.43 |
| Total R&M |  |  | 300.11 |

2.7.5 O&M Cost of Standalone Micro Grids

Under BGJY off Grid House Hold electrification scheme, the un electrified tribal House Holds are being electrified through Micro Grid solar in Keonjhar & Mayurbhanj districts. A total no of 2500 nos. of un-electrified households are already been electrified through 18 nos. Micro Grids solar plant having total grid capacity of 200 KW along with 101 Km of LT network. Out of 18 nos. Solar Micro Grid 14 nos. Micro Grid having 10 KW each and rest 04 nos. having 15 KW each.

All the Villages are situated in highly remote area under Similipal reserve forest. The solar micro grid plants already completed and dedicated for public service on 26th Jan-2024. Another micro grid at Ralibeda having capacity of 20KW will be coming up by December-2024 in the district of Mayurbhanj. Total no of HHs will be electrified under the micro grid is 213. In case of Standalone solar project, 2071 nos. of HHs are electrified out of 3037 and the balance will be completed by end of 2024. Further to intimate that additional 263 solar standalone are going to be installed by the end of Dec-2024 to electrify the PVTG HHs under Keonjhar & Mayurbhanj district. After completion of the project, all solar Micro Grids and standalone would need regular de-dusting, panel cleaning, maintenance to ensure desired up-keep and performance. This would require deployment of trained manpower as well as maintenance spares. Hon’ble Commission has also stressed upon maintenance of those standalone and Micro Grids during meeting held on dated 30.10.23 on implementation of Solar Micro Grid. TPNODL has tied up with local colleges in Mayurbhanj district to provide structured training to identified local youth. Further, a local store of associated spare parts has been developed to facilitate availability of maintenance spares.

Energy Department Govt. of Odisha has also proposed that the Standalone PV cells which were earlier installed by OREDA and now in defunct conditions will also be made operational and handed over to DISCOMs for maintenance. Further, TPNODL has also installed roof top solar units on its office buildings as per CAPEX approved by Hon’ble Commission for FY23-24 which also need deployment of trained manpower and spares, consumable for regular maintenance.

Table:-30 Additional R&M Expenses for Solar Units

| Off Grid Solar Type | Implementing Agency | No. of Villages |  | No. of Units |  | HH Covered |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Keonjhar | Mayurbhanj | Keonjhar | Mayurbhanj |  |
| Stand Alone Solar | OREDA | 10 | 69 | 1078 | 2614 | 3692 |
|  | TPNODL | 10 | 38 | 681 | 2619 | 3300 |
| Micro Grid | TPNODL |  |  | 1 | 18 | 2577 |

| Unit Type | Manpower Norms | Total Manpower | Manpower Type | Cost per man-month (Rs.) | Annual Cost (In Rs .Crs) |
| --- | --- | --- | --- | --- | --- |
| Stand Alone | 1 per 2 villages | 64 | Semi-Skilled | 16,278 | 1.25 |
| Micro Grid | 1 per unit | 19 | Skilled | 18,354 | 0.42 |
| Overall | 1 for 10 Manpower | 8 | Supervisor | 25,000 | 0.24 |
| Total |  | 87 |  |  | 1.91 |
| Specialised Solar Training and Spare & Consumables |  |  |  |  | 0.52 |
| Grand Total |  |  |  |  | 2.43 |

The licensee most humbly prays that, the actual expenses incurred towards the maintenance of Solar installations may kindly be allowed in the truing up exercise on actual basis, and may be considered over and above the R&M cost approved for the corresponding financial year.

2.7.6. Proposed R&M expenses for FY 2025-26

The licensee has estimated R&M Cost of Rs. 288.70 Crs in FY 2025-26 based on the contracts already issued for maintenance of network and the critical activities planned to be carried out for improving the quality and reliability of power supply for the consumers.

Hon’ble Commission is most humbly requested to approve the R&M expenses                                Rs.288.70 Crs  along with Rs. 2.43Crs for maintenance of Solar Micro-grids for the FY 2025-26.

2.8 Provision for Bad and Doubtful Debts

The Petitioner has considered the non-collectible amount based on the collection efficiency (99%) as bad and doubtful debts while estimating the ARR for FY 2025-26. Considering the proposed collection inefficiency of 1% for FY 2025-26, provisions for bad and doubtful debts at 1% on total sales  Rs.  44.99 Crs has been considered as part of ARR for FY 2025-26.

The Petitioner humbly requests the Hon’ble Commission to consider the same to enable the Petitioner to recover its entire costs after duly considering the performance levels.

2.9 Depreciation

The capital investments to be made by TPNODL has been allowed recovery of depreciation as per para 39(g) of the Vesting order, provisions of which reproduced hereunder

"39(g) The capital investments made by TPNODL shall be allowed recovery of depreciation in line with the rates prescribed in Annexure – 3 till the time applicable regulation is notified by the Commission. The depreciation rates specified in regulations shall prevail over the rates specified in Annexure – 3 as and when applicable regulation is notified by the Commission."

OERC (Odisha Electricity Regulatory Commission (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 (herein after called “Tariff Regulation’2022”) has been notified on 20th December,2022 and published in  the Gazette of Odisha No-3538 dated 23rd December, 2022.

The provision for calculation of depreciation as envisaged in the Tariff Regulation’2022 is reproduced hereunder:

    - For the assets of erstwhile DISCOMs transferred to the new Distribution Licensees through the Vesting Orders, the depreciation shall be calculated on the pre-up valued cost of assets at pre-1992 rate on the asset base approved by the Commission.

    - For assets achieving date of commercial operation (COD)in this control period,     depreciation shall be computed in the following manner:

- The approved original cost of the project/fixed assets shall be the base value for calculation of depreciation;

- Depreciation shall be computed annually based on the straight-line method at the rates specified in the Annexure II to these Regulations:

The depreciation calculated as per the above, for the FY 2023-24 and FY 2024-25 are furnished in the following table.   Details have been submitted under 'Capitalization Summary' in the attached data sheets.

Table No.-31: Depreciation		(In Rs. Crs)

| Particulars | Depreciation Rate Pre-92 | Depreciation Rate- Under Tariff Regln’22 | 2024-25 (Estimated) | 2025-26 (Projected) |
| --- | --- | --- | --- | --- |
| Buildings | 1.80% | 3.34% | 5.11 | 6.42 |
| Network Assets & Overhead lines | 3.80% | 4.67% | 159.20 | 200.59 |
| Furniture & Fixture | 4.55% | 6.33% | 0.97 | 1.39 |
| Vehicles | 12.86% | 9.50% | 0.30 | 0.32 |
| IT Equipment |  | 15.00% | 13.14 | 18.80 |
| Software |  | 30.00% | 29.67 | 29.67 |
| Other Equipment- Office Equip etc. | 9.00% | 6.33% | 1.10 | 1.60 |
| Meter-Own Capex | 3.80% | 20.00% | 39.12 | 64.99 |
| Gross Dep'n |  |  | 248.61 | 323.78 |
| Less : Amortization on assets created out of consumer cont'bn and grant (*) Amortization on Grants on Opening Grant has not been reduced since been carved out |  |  | 108.30 | 131.49 |
| Less: Dep'n Meter-Own Capex |  |  | 39.12 | 64.99 |
| Net effect to ARR |  |  | 101.19 | 127.30 |

# 2.10 Interest Expenses

TPNODL would like to submit that the following interest expenses on loans will be incurred for smooth operation of the licensee.

# 2.10.1 Interest on Security Deposit

Section 47(4) of the Electricity Act 2003 states that “The distribution Utility shall pay interest equivalent to the bank rate or more, as may be specified by the concerned State Commission, on the security referred to in sub-section (1) and refund such security on the request of the person who gave such security.”

The OERC Distribution (Conditions of Supply) Code 2019, Regulation (57) also mandates the payment of interest on consumer security deposit, the manner in which it is to be administered and penal provisions for delay in making such payments.

Relevant extracts of Supply Code,2019 is reproduced hereunder:

## Interest on Security Deposit payable by the Licensee/supplier

57.(i)    The Licensee/supplier shall pay interest on security deposit to the consumer, at the bank rate. (SBI Base Rate as on 1st April of the relevant year) provided that

- The Commission in its tariff order for the respective financial year may direct the licensee/supplier to pay a higher rate of interest.

- The interest accruing to the credit of the consumer shall be adjusted annually in the amounts outstanding from the consumer to the licensee/supplier as on 1st May of every year and the amounts becoming due from the consumer to the licensee/supplier immediately thereafter.

- The licensee/supplier shall duly show the amounts becoming due to consumer towards interest on the security deposit in the bills raised on the consumer.

- The Licensee/supplier shall pay interest at twice the rate specified under sub- Regulation (i) above for the delay in making the adjustments for interest on security deposit.

TPNODL has calculated the interest on security deposit @ 6.75% on the closing balance of security deposit amount for FY 2024-25 based on the existing approval of Hon’ble Commission for the FY 2024-25.

(In Rs. Crs)

| SD as on 31.3.25 | Rate of Interest | Interest on SD |
| --- | --- | --- |
| 943.47 | 6.75% | 63.68 |

The interest on security deposit considered in ARR for FY 2025-26 works out to Rs. 63.68 Crs.

2.10.2 Interest on Capex loan

As per the Tariff Regulations, the provision for interest on capital loan is reproduced hereunder:

  - Interest and finance charges on Loan Capital

    - The loans arrived at in the manner indicated in these Regulations on the assets put to use, shall be considered as gross normative loan for calculation of interest on loan:

Provided that interest and finance charges on capital works in progress shall be excluded:

    - The normative loan outstanding as on 1st April shall be worked out by deducting the cumulative normative repayment as admitted by the Commission up to 31st March of the previous year.

Provided that the assets of erstwhile DISCOMs as on effective date in terms of the  provisions of Vesting Orders shall not be eligible for calculation of interest on loan.

    - The normative repayment for the year during the Control Period shall be deemed to be equal to the depreciation allowed for that year.

    - Notwithstanding any moratorium period availed by the Distribution Licensee the repayment of loan shall be considered from the first year of commercial operation of the project and shall be equal to the annual depreciation allowed.

    - The rate of interest shall be the weighted average rate of interest calculated on the basis of the actual loan portfolio at the beginning of each year applicable to the Distribution Licensee:

Provided that at the time of truing up, the weighted average rate of interest calculated on the basis of the actual loan portfolio during the year applicable to the Distribution Licensee shall be considered as the rate of interest:

Provided that in case where the Distribution Licensee avails new loans, i.e., on or after April 1, 2023, the rate of interest on loan in any case shall not exceed approved base rate of return on equity or any capping on rate of interest on such a new loan as specified by the Commission considering the market conditions. The Distribution Licensee(s) shall follow transparent mechanism to avail Loans and, to the extent possible, shall endeavour to invite open tender for availing Loans. However, they shall be required to submit due justification to the Commission for the terms and conditions of the loans raised by them including the loan sanction letter from the banks/ lending institutions, indicating the applicable rate of interest. They shall also justify the reasons for higher interest rate, if availed for the new loan.

Provided further that if there is no actual loan for a particular year but normative loan is still outstanding, the last available weighted average rate of interest for the actual loan shall be considered:

Provided also that if the Distribution Licensee does not have actual loan, then the weighted average rate of interest of the other business of the Distribution Licensee regulated by the Commission shall be considered:

Provided also that if the Distribution Licensee does not have actual loan, and the other business of the Distribution Licensee regulated by the Commission also does not have actual loan, then the weighted average rate of interest of the Distribution Licensee as a whole shall be considered:

Provided also that if the Distribution Licensee as a whole does not have actual loan, then the Base Rate plus 150 basis points at the beginning of the respective year shall be considered as the rate of interest for the purpose of allowing the interest on the normative loan.

The broad terms of loans for cost are extracted from the Term Sheet and provided below.

Table -32:   Interest on Capex Loan                              (In Rs. Crs)

| Particulars | FY 2024-25 (Estimated) | FY 2025-26 (Projected) |
| --- | --- | --- |
| Capitalisation of FA (year-wise) | 450.36 | 512.23 |
| Term Loan @ 70% | 315.25 | 358.56 |
| Equity @ 30% | 135.11 | 153.67 |
| Op. Loan | 656.68 | 880.40 |
| Additions | 315.25 | 358.56 |
| Repayment (=Dep) | 91.54 | 117.65 |
| Closing Balance | 880.40 | 1121.31 |
| Avg Balance | 768.54 | 1000.85 |
| Interest Rate | 8.50% | 8.50% |
| Gross Interest | 65.33 | 85.07 |
| Less:-Interest capitalized | 0.24 | 0.30 |
| Net Interest on TL | 65.09 | 84.78 |

2.10.3 Interest on Working Capital Loan

As per the OERC (Terms and conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022, Interest on working capital shall be allowed as follows.

## “ 3.10. Interest on Working Capital

    - The Distribution Licensee shall be allowed interest on the estimated level of working capital for the Wheeling and Retail supply business for the Financial Year. The working capital for the purpose of ARR calculation shall be computed as follows:

      - Operation and maintenance expenses for one month; plus

      - Maintenance spares @ twenty (20) % of average R&M expense for one month; plus

      - Power Purchase Cost for one (1) month

Working Capital requirement of the Distribution Licensees may be met through depreciation allowed by the Commission on the assets of erstwhile DISCOMs in a manner mentioned in the Vesting Orders and as approved by the Commission. Shortfall in meeting the working capital requirement as mentioned above shall be allowed. The interest on the working capital shall be at a rate equal to the SBI Base Rate or any replacement thereof by SBI from time to time (being in effect applicable for 1 year period) as applicable as on 1stApril of the Financial Year (for which Truing Up shall be done) plus 300 basis points or actual weighted average rate of interest towards loan for meeting working capital requirement availed by the Distribution Licensee(s), whichever is lower:

Provided that at the time of truing up for any year, the working capital requirement shall be re-calculated on the basis of the components of working capital approved by the Commission.

Provided that, the variation between the normative interest on working capital recomputed at the time of Truing-up and the actual interest on working capital incurred by the Distribution Licensee, substantiated by documentary evidence, shall be considered as an efficiency gain or efficiency loss, as the case may be, on account of controllable factors.”

Accordingly, TPNODL has derived the working capital requirement and interest there on as given below.

Table-33: Interest on Working Capital (In Rs. Crs)

| Particulars | FY 2024-25 (Estimated) | FY 2025-26 (Projected) |
| --- | --- | --- |
| O&M for 1month | 79.06 | 84.89 |
| Spares 20% of R&M of 1 month | 4.54 | 4.81 |
| 1 month power purchase cost | 250.62 | 271.87 |
| Total | 334.22 | 361.57 |
| Less: Dep on Legacy asset | 9.65 | 9.65 |
| Net W.cap requirement | 324.57 | 351.92 |
| Interest rate estimated | 8.50% | 8.50% |
| Interest on working capital (%) | 27.59 | 29.91 |
| Add: Financing Cost/LC issue charges | 4.00 | 4.00 |
| Gross Int. on Wcap | 31.59 | 33.91 |

# 2.10.4 Total Interest for Financial Year FY 2024-25 & FY 2025-26

The total interest expenses estimated for FY 2024-25 and FY 2025-26 is given in following Table:

Table-34: Summary of Interest Expenses    (In Rs. Crs)

| Interest Computation | 2024-25 (Estimated) | 2025-26 (Projected) |
| --- | --- | --- |
| Int on SD | 59.63 | 63.68 |
| Int on WC | 31.59 | 33.91 |
| Int. on Capex Loan | 65.33 | 85.07 |
| Less : Interest Capitalised | 0.24 | 0.30 |
| Int. on Capex Loan (Net) | 65.09 | 84.78 |
| Total | 156.31 | 182.37 |

The total interest chargeable to revenue proposed by TPNODL for the year FY 2025-26 is Rs.182.37 Crs.

2.11 Capital Expenditure Plan

Section 39 of the Vesting order of the licensee envisages for a comprehensive Capital expenditure plan for first five years of licensed operation. The extract of the provision is reproduced hereunder

39. Capital investment plan

  - The RFP required the bidders to provide a capital expenditure plan for first 5 (five) years of licensed operations as part of their bid.

  - In its Bid submitted in response to the RFP, TPCL committed capital expenditure of Rs. 1,270 crores (Indian Rupee One thousand two hundred and seventy crores) only for period FY 2021-22 to FY 2025-26 as follows:

Table 1: Capital Expenditure Commitment by TPCL

| Capex Commitment (INR Cr) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FY22 | FY23 | FY24 | FY25 | FY26 | Total |
| 246 | 376 | 259 | 247 | 141 | 1,270 |

(c) To allow flexibility in the capital expenditure planning, the Commission stipulates that, in the capital expenditure plan to be submitted by TPNODL as per the license conditions, the capital expenditure commitment for each year of the period FY 2021-22 to FY 2025-26 must be such that capital expenditure proposed up to a year shall be at least equal to the cumulative capital expenditure committed up to that year in the Bid submitted by TPCL. For avoidance of doubt, the minimum cumulative capital expenditure to be proposed by TPNODL for the period FY 2021-22 to FY 2025-26 must be as provided in the table below:

Table 2: TPCL Cumulative Capital Expenditure for 5 years

| Cumulative Capex Expenditure (INR Cr) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Upto 31- Mar-2022 | Upto 31- Mar-2023 | Upto 31- Mar-2024 | Upto 31- Mar-2025 | Upto 31- Mar-2026 |
| 246 | 622 | 882 | 1,129 | 1,270 |

In compliance to section 39 of the Vesting order, TPNODL has proposed Capital Expenditure plan for the FY 22, FY 23, FY 25 & FY 26 and submitted before the Hon’ble Commission. The proposal submitted by TPNODL and the Capital expenditure approved by Hon’ble Commission for the first three years of operation are furnished in the following tables:

Table-35: -Capital Expenditure Approved for FY 2021-22, FY 2022-23, FY 2023-24 & FY 2024-25

(In Rs. Crs)

| FY | Proposed DPR Cost | OERC Approved Cost |
| --- | --- | --- |
| 2021-22 | 275.4 | 258.78 |
| 2022-23 | 442.97 | 326.54 |
| 2023-24 | 452.80 | 433.10 |
| 2024-25 | 447.29 | 377.52 |
| 2025-26 | 415.65 | 323.85 |

In order to improve the reliability and reduce the losses, major interventions like Network reinforcement, Technology adoption is proposed in the plan so that equipment failure / tripping can be reduced and reliability, billing & collection efficiency can be improved. The network demands urgent refurbishment like re-conductoring of feeders, optimization of feeder length, dedicated feeders for industrial/ commercial customers, replacement of damaged / tilted poles, provision of intermediate poles, replacement of joints, enhancing system protection, replacement of sick equipment and network augmentation to improve the reliability of power supply.

Introduction of advanced technologies and analytics have been prime focus area for improving the accuracy of the meter reading, curtail tampering of the meters and providing better and effective customer services. Further Business process re-engineering required to improve the customer services. Technology adoption also planned to provide quality customer services, manage revenue cycle processes for reduction of AT&C losses and efficiently manage to deliver reliable and quality supply in safe manner to its consumer by meeting various standards of operation.

The capital investments have been proposed under the following broad cost centers that shall be aligned with multiple initiatives and schemes so as to reduce AT&C losses, improve system reliability and augment the network to support continuous load growth. Further, a need is also felt to improve the existing facilities and infrastructure to provide a better consumer experience.

With this objective of ensuring reliable power supply and ensuring best customer services to the end consumers, TPNODL formulated the capital investment plan for the FY 2025-26 under the major heads:

- Statutory Compliance/Safety

- Loss Reduction

- Reliability

- Network Optimization & Load Growth

- Technology & IT

- Civil & Administration

Table-36: Summary of Capex Proposed and Approved for FY 2025-26

| Sr. No. | Major Category | Activity | Capex Proposal of TPNODL as per BoD | Commission’s Approval FY 2025-26 |
| --- | --- | --- | --- | --- |
| 1 | Statutory & Safety | Safety HOTT & LOTO deployment | 8.00 | 6.20 |
|  |  | Fencing of Distribution Substations | 13.10 | 8.80 |
|  |  | Boundary wall work at Primary Substations | 6.78 | 6.78 |
|  |  | Fire wall for PTR between the PTRs "6Mtr*8Mtr" | 1.21 | 1.21 |
|  |  | Defective service cable replacement | 7.50 | 5.00 |
|  |  | Graval Filling and S-Yard Development in PSS | 2.32 | 2.32 |
|  |  | Sub Total: Statutory & Safety | 38.91 | 30.31 |
| 2 | Loss Reduction | Conversion of LT Bare conductor to AB Cable | 34.70 | 34.70 |
|  |  | Meters and metering equipment for energy audit | 9.18 | 9.18 |
|  |  | Equipment for Meter testing, Meter Reading, HT/LT Accucheck etc. | 0.51 | 0.51 |
|  |  | Sub Total: Loss Reduction | 44.39 | 44.39 |
| 3 | Reliability | Addition/ Upgradation of network component in 33/11kV Primary Substation | 21.95 | 15.00 |
|  |  | 33 KV Conductor upgradation | 25.25 | 20.00 |
|  |  | 11 KV Conductor upgradation | 27.04 | 20.00 |
|  |  | Refurbishment of 11KV/0.415 KV Distribution Substation (DSS) | 11.97 | 11.97 |
|  |  | Installation of Auto reclosure /Sectionalizers, RMUs | 9.52 | 9.52 |
|  |  | Installation of FPIs for O/H Lines | 2.95 | 2.95 |
|  |  | Installation of Line AB Switch/Isolator | 5.03 | 5.03 |
|  |  | Installation of Station Transformers in PSS | 0.00 | 0.00 |
|  |  | Sub Total: Reliability | 103.71 | 84.47 |
| 4 | Network Optimization & Load Growth | Augmentation of Power Transformer | 5.60 | 5.60 |
|  |  | Augmentation of Distribution Transformer | 25.02 | 15.00 |
|  |  | Conversion of 1Ph DTR to 3Ph DTR along with lines | 43.13 | 20.00 |
|  |  | Addition of LT for New connection & mitigation of over load LT feeders. | 8.97 | 5.00 |
|  |  | Addition of 11 kV Lines (O/H and U/G) along with Bay arrangement in PSS | 29.99 | 19.84 |
|  |  | Addition of 33 kV Lines (O/H and U/G) along with Bay arrangement in PSS | 25.30 | 16.85 |
|  |  | Addition New DTRs along with Associated HT/LT lines | 18.31 | 18.31 |
|  |  | Sub Total: Network Optimization & Load Growth | 156.32 | 100.61 |
| 5 | Technology & IT | Automation of conventional PSS | 12.23 | 12.23 |
|  |  | Disaster Recovery Centre- Hardware and Software | 1.75 | 1.75 |
|  |  | Data Center - Hardware and Software | 7.78 | 0.00 |
|  |  | End user IT Infrastructure | 7.24 | 7.24 |
|  |  | Strengthen Network Connectivity | 3.51 | 3.51 |
|  |  | Balance GIS mapping of 2 Circle (Baripada & Keonjhar) | 1.58 | 1.58 |
|  |  | Sub Total: Technology | 34.09 | 26.31 |
| 6 | Civil Infrastructure and Administration | Civil Infrastructure (Office Buildings, New GRF and Customer care BED, Approach Roads, Cafeteria Canteen, STS office, and others) | 27.22 | 27.22 |
|  |  | Office Administration | 2.60 | 2.12 |
|  |  | Security cameras, heavy-duty Racking system / Storage solutions for Balasore, Jajpur & Betnoti Store | 8.42 | 8.42 |
|  |  | Sub Total: Civil Infrastructure and Administration | 38.24 | 37.76 |
| Total |  |  | 415.65 | 323.85 |

The Capital Expenditure, IDC, transfer to fixed asset and the closing WIP for the current financial year and projected for the ensuing FY 2025-26 are furnished in the following tables.

Table 37: Capitalization Plan for FY 2024-25                             (In Rs. Crs)

| Description of the Project/Scheme | Closing bal. of WIP as on 31.03.2024 | Expn. During the Year | Interest During Construction | Overheads Capitalised/ Adjustments | Transfer to Fixed Assets | Closing bal. of WIP as on 31.03.2025 |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | 8 | 9 | 10 | 11 | 12 | 13 |
| Land | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Civil & Buildings | 2.21 | 44.95 | 0.00 | 1.83 | 36.69 | 12.31 |
| F&F | 0.16 | 11.22 | 0.00 | 0.00 | 7.54 | 3.84 |
| Vehicle | 0.35 | 0.03 | 0.00 | 0.00 | 0.38 | 0.00 |
| IT Equipments & Software | 4.23 | 63.61 | 0.00 | 0.00 | 56.84 | 11.00 |
| Other Equipment- other than computer | 1.43 | 7.30 | 0.00 | 0.00 | 7.85 | 0.88 |
| Network Assets- other than Own Capex | 308.70 | 542.64 | 0.00 | 0.00 | 546.13 | 305.21 |
| Network Assets - Own Capex | 139.66 | 487.92 | 0.24 | 15.16 | 459.60 | 183.37 |
| Total | 456.74 | 1157.68 | 0.2380 | 16.99 | 1115.03 | 516.61 |

Table-38: Capitalization Plan for FY 2025-26                             (In Rs. Crs)

| Description of the Project/Scheme | Closing bal. of WIP as on 31.03.25 | Expn. during the year | Interest during construction | Overheads capitalised/ Adjustments | Transfer to fixed assets | Closing bal. of WIP as on 31.03.26 |
| --- | --- | --- | --- | --- | --- | --- |
| Land | 0.00 | 0.00 |  |  | 0.00 | 0.00 |
| Civil & Buildings | 12.31 | 33.06 | 0.00 | 0.94 | 41.55 | 4.76 |
| F&F | 3.84 | 2.12 | 0.00 | 0.00 | 5.66 | 0.30 |
| Vehicle | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| IT Equipments & Software | 11.00 | 8.99 | 0.00 | 0.00 | 18.73 | 1.26 |
| Other Equipment- other than computer | 0.88 | 8.42 | 0.00 | 0.00 | 8.12 | 1.18 |
| Network Assets- other than Own Capex | 305.21 | 476.02 | 0.00 | 0.00 | 447.49 | 333.74 |
| Network Assets - Own Capex | 183.37 | 453.60 | 0.30 | 15.61 | 578.30 | 74.58 |
| Total | 516.61 | 982.21 | 0.30 | 16.56 | 1099.86 | 415.81 |

The details of capital expenditures made, IDC, transfer to asset and the work in progress for the previous year, current year actuals as well as estimation for the entire year and projection for the ensuing year have been detailed in Format Format-2.

# 2.11.1 Government Schemes & Consumer Contribution

There are several Government Schemes that are under way, many of which have been completed and shall continue further. In addition to the above, the consumer-funded assets has also been considered. The summary of the government schemes and the consumer funded that are being tracked by TPNODL are as follows

# Table-39: Status of Government Schemes/Consumer Funded for the FY 2024-25 and FY 2025-26 (In Rs. Crores)

| Sl. No. | Description of the Project/Scheme | Closing bal. of WIP as on 31.03.2024 | CURRENT YEAR (2024-25) |  |  |  |  | ENSUING YEAR (2025-26) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Expn. during the year | Interest during construction | Overheads capitalised/Adjustments | Transfer to fixed assets | Closing bal. of WIP as on 31.03.2024 | Expn. during the year | Interest during construction | Overheads capitalised/Adjustments | Transfer to fixed assets | Closing bal. of WIP as on 31.03.2025 |
| 1 | School Anganwadi-Grant | 74.05 | 1889.33 | - | - | 1764.19 | 199.19 | 49.80 | - | - | 199.19 | 49.80 |
| 2 | Strengthening of Elephant Corridor-Grant | 4167.82 | 2366.73 | - | - | 4355.60 | 2178.95 | 544.74 | - | - | 2178.95 | 544.74 |
| 3 | CAPEX Plan-GoO | 12.87 | -12.87 | - | - | 0.00 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 4 | RGGJY- Grant | 0.00 | 0.00 | - | - | 0.00 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 5 | BGJY- Grant | 6448.18 | 3086.37 | - | - | 6343.69 | 3190.86 | 797.72 | - | - | 1337.50 | 2651.08 |
| 6 | SAUBHAGYA-Grant | 0.27 | 20.81 | - | - | 0.00 | 21.08 | 5.27 | - | - | 21.08 | 5.27 |
| 7 | OPTCL-ODSSP- Grant | 190.53 | 1655.95 | - | - | 1025.21 | 821.27 | 205.32 | - | - | 821.27 | 205.32 |
| 8 | Disaster Fund-FANI- Grant | 302.62 | 10.67 | - | - | 313.29 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 9 | Disaster Fund-AMPHAN- Grant | 2005.15 | 442.21 | - | - | 2447.36 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 10 | NEW DESI- Grant | 28.05 | 1.08 | - | - | 0.00 | 29.14 | 0.00 | - | - | 29.14 | 0.00 |
| 11 | Disaster Fund- Flood- Grant | 148.00 | 66.17 | - | - | 214.17 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 12 | Disaster Fund- YAAS- Grant | 7380.72 | 1516.45 | - | - | 8897.17 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 13 | System Improvement- Grant | 0.00 | 0.00 | - | - | 0.00 | 0.00 | 0.00 | - | - | 0.00 | 0.00 |
| 14 | SDMF-CYCLONE STRUCTURE-Grant | 817.53 | 3436.87 | - | - | 0.00 | 4254.40 | 1063.60 | - | - | 0.00 | 5318.00 |
| 15 | SDMF-FLOOD MITIGATION-Grant | 124.26 | 859.74 | - | - | 0.00 | 984.00 | 246.00 | - | - | 0.00 | 1230.00 |
| 16 | ODSSP PHASE-V-Grant | 5527.49 | 12952.51 | - | - | 0.00 | 18480.00 | 4620.00 | - | - | 0.00 | 23100.00 |
| 17 | Other Miscellaneous Schemes | 0.01 | 50.50 | - | - | 0.00 | 50.51 | 191.89 | - | - | 50.51 | 191.89 |
|  | Total | 27,228 | 28,343 | - | - | 25,361 | 30,209 | 7,724 | - | - | 4,638 | 33,296 |

2.11.2 Additional Capitalization to Compensate the Contribution of GRIDCO

The capital expenditure would be required to be financed in the ratio of 70 % (Debt) and 30% (Equity) other than depreciation on existing assets (as mentioned below). Since TPNODL has the shareholding of Tata Power (51%) and GRIDCO (49%), in order to maintain 49% stake in the company, GRIDCO would be required to contribute 49% of such equity.

However instead of contributing such equity in cash, GRIDCO may like to contribute such equity in kind. It is further submitted that unless the capital expenditure resources are raised to the full in terms of Debt (but limited to 70%) and in terms of Equity, the capital expenditure would not be financed. Hence to maintain the 51% to 49% shareholding ratio between TPCL and GRIDCO in the TPNODL and also raise adequate finance, GRIDCO's share of equity which will be contributed in kind (Distribution Assets) will be capitalized over and above the amount capitalized by assets in TPNODL. Moreover, such investment should be approved with grossing up of the equity contribution of GRIDCO and the same needs to be added into the capital investment.

The treatment for contribution of GRIDCO is provided under para 71 of the Vesting Order and the relevant extracts is as given below.

TREATMENT OF EQUITY INVESTMENT FROM GRIDCO FOR FUTURE CAPITAL INVESTMENT

71. Pursuant to Clause 3.6 of the Shareholder’s Agreement, the Commission orders that in the event that assets are transferred to TPNODL in lieu of equity investment by GRIDCO, the same shall be allowed in fixed asset base for determination of tariff, after prudence check, provided that the assets transferred are distribution assets. The Commission, exercising powers conferred to it u/s 86(2) of the Act, advises the State Government to consider providing a one-time approval on transfer of its assets to TPNODL through GRIDCO in lieu of equity investment from GRIDCO as and when such transfer is necessitated.

To illustrate the grossing up concept, consider the Capital Expenditure of Rs. 100 Crore. Based on the same, the Capex/ Capitalization, Debt and Equity for the purpose of Tariff would be as provided in the table below:

# Table-40: Grossing up of GRIDCO Equity

| Sr. No. | Particulars | Units | Value |
| --- | --- | --- | --- |
| a | Capex/Capitalisation of Project | Rs Cr | 100.00 |
| b | Additional Capex/Capitalisation of Asset (in lieu of Equity investment by GRIDCO) | Rs Cr | 17.20 |
| c=a + b | Total Capex/Capitalisation to be allowed | Rs Cr | 117.20 |
| d | Equity contribution by TPC=c X 30% X 51% | Rs Cr | 17.90 |
| e | Equity contribution by GRIDCO=c X 30% X 49% | Rs Cr | 17.20 |
| f | Equity for Tariff= 30% of c | Rs Cr | 35.20 |
| g | Debt for Tariff=70% of c | Rs Cr | 82.10 |

Hence for every Rs. One crore of capex/ capitalization incurred/achieved by TPNODL after the Effective date, the Hon'ble Commission is requested to approve Rs. 1.172 crores of capex/ capitalization. Out of this, as a contribution of the share towards equity, assets worth Rs. 0.172 Crores will be brought into TPNODL by GRIDCO from the assets existing outside TPNODL but which can be used for distribution business.

2.11.3 Summary of Capitalization

The summary of the capitalization based on the above is as given in the table below

# Table-41: Summary of Capitalization                                     (In Rs. Crs)

| Particulars | FY 2024-25 | FY 2025-26 |
| --- | --- | --- |
| Own Capex | 450 | 512 |
| Government Projects | 254 | 46 |
| Consumer Funded | 293 | 401 |
| Meter & Cables | 119 | 140 |
| Total Capitalisation | 1,115 | 1,100 |

# 2.11.4 Funding of the Capital Expenditure

It is submitted that the funding of capital expenditure is being achieved in the following ways

- Government Grants

- Consumer Contribution

- Depreciation

- Debt

- Equity

2.11.5 Government Grants

For the purpose of this submission, we have considered the Government Grants that are available for the capex initiated after the Effective Date (" New Capex") i.e. for Capex of FY 2022-23 and FY 2023-24 for the purpose of claiming Repair & Maintenance.  For the initial CWIP that has been inherited on 1st April 2021, we have considered the Government funding only to the extent utilized.

2.11.6 Consumer Contribution

The Contribution from new Consumers including the Govt. Consumers and the asset upgradation/modification contributed are provided for extension of power supply to them. Such consumers either pay for the connection towards the material, labour and services from the Distribution Licensee or in case the consumer prefers to procure the material and labour on his own, then supervision charges are made applicable for providing such connection. Such contribution is termed as Consumer Contribution.

# 2.11.7 Debt or Capital loans

As per the Tariff Regulations, the Debt would constitute 70% of the Capitalization.  However, in case the loan is higher than 70% (i.e. Equity less than 30%), then such higher loan would be considered for the purpose working out the ARR

We have considered a Debt of 70% of Capitalization for the new Projects. For existing projects as on effective date, no loan has been considered as the same has not been financed by TPNODL.

# 2.11.8 Equity

On the basis of the Debt Equity Ratio of 70:30, the Equity towards the capitalization of new projects would be considered as 30% of the capitalization in the particular year.

2.11.9 Funding Pattern for FY 2024-25 and FY 2025-26

Based on the above the estimated funding is as follows:

| Particulars | FY 2024-25 | FY 2025-26 |
| --- | --- | --- |
| Capitalisation | 1115 | 1100 |
| Met Through |  |  |
| Meter & Cables-Debt | 119 | 140 |
| Consumer Contribution | 293 | 401 |
| Government Grants | 254 | 46 |
| Debt | 315 | 359 |
| Equity | 135 | 154 |

Table-42: Funding Pattern: FY 2024-25 & FY 2025-26                    (In Rs. Crs)

2.12 Return on Equity

As per para 54 (a) of the Vesting Order, the Return on Equity would be available as follows:

- Return on equity:

(a)  As per the terms of the RFP, the Commission shall allow return on equity, as per the Tariff Regulations, to TPNODL on the equity capital of Rs. 250 crores (Indian Rupee Two hundred and fifty crores) only which was the reserve price of the utility of NESCO.

Further, the Tariff Regulation, 2022 provides the following

## “ 3.2. Return on Equity

    - Return on equity on approved reserve price (INR 300 Crore for TPCODL, INR 300 Crore for TPWODL, INR 250 Crore for TPNODL and INR 200 Crore for TPSODL) for the utilities (TPCODL, TPWODL, TPNODL & TPSODL) of the erstwhile Distribution utilities as on effective date in terms of the provisions of Vesting Orders:

Return on equity shall be allowed on the approved reserve price of the utility from the effective date of operation at the rate of 16% per annum (post tax), in Indian Rupee terms on pro-rata basis as per Vesting Order.

    - Return on equity on the assets put to use after Effective Date up to date of applicability of these Regulations:

Return on equity on assets put to use after Effective Date up to date of applicability of these Regulations shall be eligible to get return as per Odisha Electricity Regulatory Commission (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and its amendments thereof.

    - Return on equity on the assets put to use under instant Regulations:

Return on equity on assets put to use under these Regulations shall be computed on the paid-up equity capital determined in accordance with these Regulations and shall be allowed at the rate of 16% per annum (post tax), in Indian Rupee terms:

Provided further that for the purpose of truing up for the Distribution Licensee, return on equity shall be allowed from the date of commercial operation on pro-rata basis based on documentary evidence provided for the assets put to use during the year in absence of which the assets shall be considered to be added in the mid of the year.

Provided further that asset funded by consumer contributions, capital subsidies/ Government grants shall not form part of the capital base for the purpose of calculation of Return on Equity.

      - The premium if any, raised by the Distribution Licensee while issuing share capital and investment of internal resources created out of free reserve, if any, shall also be reckoned as paid-up capital for the purpose of computing return on equity, provided such premium amount and internal resources are actually utilized for meeting capital expenditure, and are within the ceiling of 30% of capital cost approved by the Commission.

      - In case of foreign currency brought as capital, the Commission may consider a separate rate of return if foreign exchange variation is allowed as a pass through.

      - The tax only to the extent of the tax on return is provided as pass through.”

On the basis of the above, TPNODL has worked out the Return on Equity (RoE) for the capitalization arising out of the Capex undertaken by TPNODL after Effective Date. As considered for Depreciation and Interest on Capital Loan, we have considered that the capitalization is at the centre of the period.  The RoE workings are as follows:

Table -43: Return on Equity Calculations            (In Rs. Crs)

| Particulars | 2024-25 | 2025-26 |
| --- | --- | --- |
| Op.Balance | 586.78 | 721.89 |
| Additions | 135.11 | 153.67 |
| Closing Balance | 721.89 | 875.55 |
| Average Balance | 654.33 | 798.72 |
| RoE rate | 16% | 16% |
| Return on Equity (post-tax) | 104.69 | 127.80 |
| Total RoE | 104.69 | 127.80 |
| Return on Equity (pre-tax) | 139.91 | 170.78 |
| Income Tax | 35.21 | 42.98 |

2.13 Carrying Cost

For the ensuing year FY 2025-26, the gap(deficit) arrived at Rs. 139.11Crs. and accordingly carrying cost @ 8.5 % is Rs. 12 Crs. and the effective gap arrived at Rs. 151.11Crs.

3. Revenue and Current Year GAP

3.1 Non-Tariff Income

The licensee has relied on the quantum of actual Non-Tariff Income for the first six months of FY 2024-25 for projecting the NTI for the ensuing year. Based on the trend, the projections of the Non-Tariff Income are as given in the following Table:

Table No-44: Non –Tariff Income             (In Rs. Crs)

| Particulars | FY 2024-25 (Estimated) | FY 2025-26 (Projection) |
| --- | --- | --- |
| Recovery of meter rent | 0.00 | 0.00 |
| Overdrwal penalty | 10.70 | 10.70 |
| Reliability | 0.00 | 0.00 |
| OA - cross subsidy | 27.18 | 47.18 |
| Supervision-application fees | 0.79 | 0.79 |
| Inspection fees | 11.56 | 11.56 |
| Other | 1.61 | 1.61 |
| Pole rentals | 0.25 | 0.25 |
| Meter testing fee | 0.11 | 0.11 |
| DC,RC & Dismantle fee | 0.36 | 0.36 |
| Meter box charges | 0.01 | 0.01 |
| Service connection fees | 0.72 | 0.72 |
| Other misc operating income | 0.14 | 0.14 |
| Total | 51.83 | 71.83 |
| Interest on FD | 98.60 | 98.60 |
| Interest on Income Tax Refund | 0.00 | 0.00 |
| Ins.Claim-Recevd. | 0.26 | 0.26 |
| Delayed payment surcharge | 15.69 | 15.69 |
| Meter testing fees | 0.10 | 0.10 |
| PLM charges | 0.00 | 0.00 |
| Rent-staff quarters | 0.00 | 0.00 |
| Water rates-Staff qtr | 0.00 | 0.00 |
| Sale of tender forms | 0.16 | 0.16 |
| Other misc receipts | 0.00 | 0.00 |
| Sale proceeds-scrap | 12.17 | 9.73 |
| Total | 126.96 | 124.53 |
| Grand Total | 178.80 | 196.36 |
| Less: Rebate offered to consumers | -42.57 | -47.30 |
| Rebate on BSP prompt payment | 30.07 | 32.62 |
| Total | 166.30 | 181.69 |

TPNODL has proposed Rs. 181.69 Crs. as Non-Tariff Income for the ensuing year FY 2025-26.

## 3.2 Aggregate Revenue Requirement (ARR)

As per the Tariff Regulations, the ARR needs to be worked out for Wheeling and Retail Supply business separately. However, such segregation requires expenses separately for Wires and Retail Supply business. In addition, the O&M expenditure also needs to be segregated separately. At this point of time, TPNODL has not segregated the same. Further, even the Hon'ble Commission has approved the expenditure under various heads for both the businesses together and has approved the segregation under pre-defined ratio.

In view of the same, the licensee is placing before the Hon’ble Commission the ARR for the combined business i.e Wheeling and Retail Supply as such for the two periods on the basis of the projections so far. However, in this submission, for the purpose of working out the Wheeling Charges, we have segregated the expenditure on the basis of the ratios used by the Hon'ble Commission in the various tariff orders.

The ARR for the ensuing year FY 2025-26 is computed and presented in the following table :

Table No-44: Expenditure Details                                (In Rs. Crs)

| Sl. No. | Cost/Income Component | ARR for FY 2025-26 |
| --- | --- | --- |
| 1 | Cost of Power | 3051.57 |
| 2 | Transmission Charges | 209.25 |
| 3 | SLDC Charges | 1.60 |
|  | Total power purchase cost | 3262.42 |
|  | O&M | 0.00 |
| 4 | Employee Cost | 543.18 |
| 5 | Repair & Maintenance Cost | 288.70 |
| 6 | Administrative & General Expenses | 186.82 |
| 7 | Bad & Doubtful Debt including Rebate | 44.99 |
| 8 | Depreciation | 127.30 |
|  | Interest on Loans | 0.00 |
| 9 | for Capital loan | 84.78 |
| 10 | for Working capital | 33.91 |
| 11 | Interest on Security Deposits | 63.68 |
| 12 | Return on Equity | 127.80 |
| 13 | Tax on RoE | 42.99 |
|  | Special Appropriation | 0.00 |
| 14 | Carrying Cost | 25.55 |
| 15 | True Up of Current year GAP 1/3rd | 0.00 |
| 16 | Other, if any-Contingency Reserve | 0.00 |
|  | Grand Total | 4832.12 |
| 17 | Miscellaneous Receipt | 181.69 |
| 18 | Total Revenue Requirement | 4650.44 |

# 3.3 Revenue at Existing Tariffs

3.3.1 Revenue Projection at Existing Tariffs

The licensee has estimated the revenue from sale of power considering the sales projected for FY 2025-26 and by applying the various components of existing tariffs. As detailed out in previous sections, the licensee has adopted the approach considered by the Commission and estimated the revenue from sale of power on accrual basis. The total revenue based on the existing tariffs applicable for the projected sales is estimated at Rs. 4499.33 Crore.

The details of estimated revenue from different categories of consumers at existing tariffs are provided in Form T-7.

3.4 Summary of Annual Revenue Requirement and Revenue Gap

The summary of Annual Revenue Requirement, Revenue at Existing Tariffs and Revenue Gap for the ensuing year 2025-26 is provided below.

Table -45: Revenue Gap for FY 2025-26                 (In Rs. Crs)

| Sl. No. | Particulars | Projection for FY 25-26 |
| --- | --- | --- |
| 1 | Power Purchase cost | 3262.42 |
| 2 | Total Distribution Cost | 1557.70 |
| 3 | Less: Miscellaneous Receipt | 181.69 |
| 4 | Net Distribution Cost | 1376.01 |
| 5 | Total Special Appropriation | 11.99 |
| 6 | Total Revenue Requirement | 4650.44 |
| 7 | Revenue from Tariffs (at Existing Rate) | 4499.33 |
| 8 | (Deficit)/ Surplus at Existing Rate | (151.11) |

The revenue gap for the year 2025-26 is arrived at Rs. 151.11 Crs. considering the power purchase cost at the rate applicable for FY 2024-25 and expected revenue at the approved tariff for FY 24-25.

4.  Pre-Take Over Period Payment

In compliance to provisions under clause 52 of the vesting order of Hon’ble Commission, to ensure continuity of operation of the utility as a going concern, TPNODL is meeting liabilities pertaining to employees, consumers, suppliers and statutory payments, etc. which has been transferred to TPNODL. Further, as per clause 52(e) (iii) of the Vesting order of Hon’ble Commission dated 25.03.2021, from 1.4.2021 TPNODL is responsible to receive /pay amounts pertaining to assets and liabilities transferred to TPNODL as additional serviceable liabilities. Hon’ble Commission’s order on segregation dated 25.11.2021 under clause 10 also provides that, If any liability arises subsequently, TPNODL shall be responsible to settle the said liability and the same shall be allowed in the year in which it is discharged subject to prudence check by the Commission.

It is to submit that, to sustain the continuity of the normal business operation and to avoid discontentment amongst the consumers, employees as well as suppliers and for timely restoration of power supply to the consumers, TPNODL had to make payments against the bills for the services or supplies received by the utility on or before 31.03.2021.

In this regard, it is most humbly prayed before Hon’ble Commission that, payment made towards ASL during FY 25-26 may be considered by Hon’ble Commission on actual basis in the truing up

exercise for the corresponding financial year.

5 Truing –up for the FY 2023-24 & Issues pertaining to Previous Tariff Orders

5.1 Truing –up for the FY 2023-24

PRE –VER PERIOD PAYMENT

In compliance with the directions of Hon’ble Commission in the Vesting order, the licensee has started operation with effect from 1.4.2021.  The truing up petition for the third year of operation that is FY 2023-24, has been submitted separately before Hon’ble Commission for kind approval.  The approvals accorded by Hon’ble Commission for the FY 2023-24, the audited actual figures and truing up  considering the normative T&D loss of 16.25% is furnished in the following table.

Table No-46: Truing-up for the FY 2023-24                                    (In Rs. Crs

| Expenditure | Approval by OERC for FY 2023-24 | Actual (Audited Accounts ) | Reference from Audited Annual Accounts | True up Considering Normative T&D loss 16.25% |
| --- | --- | --- | --- | --- |
| INPUT(MU) | 7508.00 | 7047.13 |  | 7185.21 |
| Cost of power purchase | 2515.18 | 2360.75 |  | 2407.01 |
| Transmission Cost | 180.19 | 168.76 |  | 168.76 |
| SLDC Cost | 1.16 | 1.16 |  | 1.16 |
| Less : Rebate |  | (26.90) |  | (26.90) |
| Net Input -Inter-DISCOM exchange from TPCODL(MU) |  | 2.89 |  | 2.89 |
| Cost of power Net input - Inter-DISCOM exchange from TPCODL |  | 0.95 |  | 0.95 |
| Total Power purchase Cost(A) | 2,696.53 | 2,504.72 | Note-28 | 2,550.97 |
| Employee Cost | 512.79 | 526.56 | Note-29 | 479.40 |
| Repair &Maintenance Cost ( Net off Govt. Grant Amortisation) | 214.34 | 241.13 | Note-31 | 241.13 |
| Administrative & General Expenses | 120.13 | 143.96 | Note-31 | 143.96 |
| Provision for bad & doubtful debts | 35.59 | 60.78 | Note-31 | 36.76 |
| Depreciation( Net off Govt. Grant - Cons. Contbn Amortisation) | 49.83 | 78.44 | Note-4&6 | 62.06 |
| Interest on security deposits | 51.83 | 50.46 | Note-30 | 50.46 |
| Interest on working capital | 27.02 | 19.79 | Note-30 | 22.72 |
| Interest on Term Loan (normative) | 21.61 | 29.81 | Note-30 | 40.81 |
| Total Operation &Maintenance and Other Cost | 1,033.14 | 1,150.93 |  | 1,077.31 |
| Return on equity | 47.19 | - |  | 80.34 |
| Income Tax |  | 47.50 | Note-32 | 27.02 |
| Total Distribution Cost | 1,080.33 | 1,198.43 |  | 1,184.67 |
| Less Miscellaneous Receipts | 154.99 | 220.44 | Note-26.4.2 &27 | 112.49 |
| Net Distribution Cost(B) | 925.34 | 977.99 |  | 1,072.19 |
| True up of Surplus/(Losses) for FY 2022-23 | (65.59) | - | - | - |
| Carrying cost on of ASL | - | - | - | 11.27 |
| Total Revenue Requirement | 3,556.28 | 3,482.71 |  | 3,634.43 |
| Actual Revenue | 3,559.02 | 3,572.59 | Note-26.4.1 | 3,622.82 |
| SURPLUS/(DEFICIT) FY 23-24 | 2.74 | 89.88 |  | (11.61) |
| Not considered in Previous FYs |  |  |  |  |
| FY 21-22 |  |  |  |  |
| NTI Excluding Meter Rent |  |  |  | (6.52) |
| FY 22-23 |  |  |  |  |
| Employee Cost |  |  |  | (2.72) |
| R&M |  |  |  | (51.10) |
| A&G |  |  |  | (28.32) |
| Interest on SD |  |  |  | (16.13) |
| Total |  |  |  | (104.79) |
| SURPLUS/(DEFICIT) FY 23-24 with Previous FY Non-Considered cost |  |  |  | (116.40) |

5.2 Issues Pertaining to Past Tariff Orders

Hon’ble Commission had issued the Tariff Notification for FY 2024-25 on 13.02.2024 and subsequently has issued the detailed order in the matter of ARR and RST in Case No 122/2023 and Truing –up in Case No-123/2023 on 5th March 2024.

After perusing the combined order pronounced by Hon’ble Commission, it was observed that the expenditures have been severely curtailed in O&M for the FY 24-25. Similarly, the licensee had submitted before Hon’ble Commission audited financials for FY 22-23 and detailed justification against each cost component for FY 2022-23 for kind consideration by Hon’ble Commission in the truing up exercise for FY 2022-23. However, there are certain disallowances in the order of Hon’ble Commission against the actual as well as projected O&M expenses and other expenses which are likely to affect the operation of the licensee very adversely. These would compel the licensee to curtail its planned critical activities that are required to bring down the loss level and improve the performance standards.

The licensee had submitted the issues before Hon’ble Commission for reconsideration.  Hon’ble Commission has been kind enough to permit the licensee to place the issues for reconsideration before Hon’ble Commission in ARR FY 25-26 vide letter no. SECY/09-Cor-TPCODL/2023/473 dated 30.4.24, vide letter no. SECY/09-Cor-TPCODL/2023/474  dated 30.4.24, vide letter no. SECY/09-Cor-TPCODL/2023/475  dated 30.4.24 . In its order dated 22.10.24 in case no. 29 of 2024 also Hon’ble Commission has granted liberty to the licensee to raise the issues in the ARR &RST Application for the FY 2025-26. The same are placed before Hon’ble Commission under the following paragraphs for kind consideration.

5.2.1 Issues Pertaining to Truing up FY 2021-22

The Hon’ble Commission in the Tariff Order dated 13th February 2024 has approved the Truing up for FY 2020-21 and FY 2021-22 and has stipulated following with regards to True up of FY 2020-21 and FY 2021-22.

201.	The Commission now finalizes the truing up for FY 2020-21 and 2021-22 in this ARR for FY 2024-25 considering all the factors and submissions. The commission hereby directs that no further submission regarding truing up for FY 2020-21 and 2021-22 will be entertained in future.

….

205.	The Commission hereby concludes the truing up of expenses of the DISCOMs (TPCODL, TPSODL, and TPWODL & TPNODL) for the FY 2020-21 and FY 2021-22.

Though Hon’ble Commission has finalized the truing up of FY 2021-22, the Non-Tariff Income of TPNODL presented by us in our submission was proposed Rs.140.49 Crs. The issue in this re-submission of ours relates to the Non-Tariff Income wherein an additional income of Rs 6.52 Crores in the True-up for FY 2021-22 has been considered due to the consideration of Meter Rent and Delayed Payment Charges.

The Hon’ble Commission at para 203 of the Tariff Order FY 2024-25 while setting the principle for True up has stipulated that Meter Rent to be excluded from Non-Tariff Income i.e. the Discoms are allowed to retain the meter rent while claiming Non-Tariff Income. The relevant extract from the Tariff Order is as provided below.

203. The truing up exercise has been carried based on following principle along with principle of OERC’s Wheeling & RST Regulation, 2022.

…

g) Non-Tariff Income (NTI) has been allowed excluding meter rent, incentive and arrear collection and amortisation of consumer contribution and grant. (Emphasis supplied)

Further, the Tariff Regulations, 2022 stipulates the Delayed Payment Surcharge (DPS) as part of Non-Tariff Income.

While the Hon’ble Commission has approved the Non-Tariff Income of Rs.140.43 Cr as proposed by TPNODL for FY 2021-22, it is requested that the above stipulations may kindly be taken into consideration while approving the Non-Tariff Income. Accordingly, the licensee has offered meter rent for meters installed under various government schemes only amounting to Rs.14.32 Crs and also entire DPS of Rs.5.67Crs. Hon’ble Commission is requested to approve the Non-Tariff Income of Rs.133.91 Cr for FY 2021-22, detailed computation of which is provided in table below.

Table-47:  Non –Tariff Income for FY 2021-22                                    (In Rs. Crs.)

| Sl. No. | Particulars | As per Audited Accounts | Proposed Truing Up | Approved by Commission | Now Proposed |
| --- | --- | --- | --- | --- | --- |
| 1 | Amortisation of consumer contribution | 65.52 | - | 140.43 | - |
| 2 | Amortisation of Govt. Grants in capital nature | 0.20 | - |  | - |
| 3 | Amortisation of Govt. Grants in Revenue nature | 12.71 | - |  | - |
| 4 | Recovery of Meter Rent | 25.35 | 24.68 |  | 14.32 |
| 5 | Overdrawal penalty recovered | 6.52 | 6.52 |  | 6.52 |
| 6 | Incentives on arrear Collection | 16.15 | - |  | - |
| 7 | Open Access Cross Subsidy Income | 57.98 | 57.98 |  | 57.98 |
| 8 | Supervision Charges | 5.72 | 5.72 |  | 5.72 |
| 9 | Miscellaneous operating income | 3.77 | 3.77 |  | 3.77 |
| 10 | Interest income | 34.46 | 34.46 |  | 34.46 |
| 11 | Delayed payment surcharge | 5.67 | 1.89 |  | 5.67 |
| 12 | Other Income | 5.47 | 5.47 |  | 5.47 |
|  | Total | 239.52 | 140.49 | 140.43 | 133.91 |

In light of the above, it is humbly prayed that the Hon’ble Commission may kindly approve the Non-Tariff Income of Rs. 133.91 Cr that has been computed as per the Provision of the Tariff Regulations, 2022 in place of Rs. 140.43 Cr which was approved in Tariff Order dated 13th Feb 2024.

Table- 48: NTI_FY 21-22-Approved vis-à-vis- Now Proposed                 (In Rs. Crs)

| Approved in truing up FY 2021-22 | Now Proposed | Difference |
| --- | --- | --- |
| 140.43 | 133.91 | 6.52 |

5.2.2 Issues Pertaining to Truing up FY 2022-23

- Employee Expenditure:

Hon’ble Commission vide Tariff Order has approved the Employee Expenses of Rs. 417.80 Crores for FY 2022-23, against TPNODL’s claim of Rs. 440.32 Crores. TPNODL had proposed a Gross Employee Cost of Rs. 453.16 Crores and Employee Capitalization of Rs.12.85 Crores i.e. the proposed amount was Rs. 440.32 Crores in the True up Petition.

It is humbly submitted that the Odisha Electricity Regulatory Commission (Terms & Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 (“Tariff Regulations, 2022”) specifically provides for the provision of Employee Cost. That in past, Hon’ble Commission has allowed the “Outsourced Manpower Cost” under the head “Employee Cost” in Tariff Orders of the DISCOMs. The same was also allowed vide Tariff Order dated 26.03.2021 for FY 2021-22 passed by this Hon’ble Commission. Accordingly, TPNODL, in line with such prior practices has claimed the “Outsourced Manpower Cost” under the head of “Other Expenses” as per the Annual Accounts of TPNODL.

It is submitted that the Employee Expenditure as per the Annual Accounts includes the cost with Actuarial Valuation of retirement benefits for erstwhile employees. Therefore, after deducting such non-cash expenditure of Rs.19.69 Crores, the Actual Employee Cost incurred by TPNODL is Rs.433.47 Crores. Further, Hon’ble Commission has allowed Rs. 44.76 Crores towards CTC Employee Cost in place of the actual cost incurred Rs.74.85 Crores in the FY 2022-23 while computing the approved Employee Costs of Rs. 417.80 Crores. The approved Employee Cost of Rs. 417.80 Crores is significantly lower than the Actual Employee Cost of TPNODL for FY 2022-23 i.e. Rs. 433.47Crores, which requires due consideration of Hon’ble Commission.

It is pertinent that against the proposed strength of 551 Employees, TPNODL recruited only 518 employees, which is much below the approved quantum of employees. It is submitted that vide Tariff Order for FY 2022-23 dated 24.03.2022, this Hon’ble Commission had approved Rs. 44.76 Crores towards CTC Employees Cost for FY 2022-23, against the Actual Employee Cost of Rs. 74.85 Crores.

Therefore, TPNODL humbly requests this Hon’ble Commission to re-consider the Employee Expenditure as allowed vide Tariff Order and consider allowing the amount of Rs. 433.47 Crores instead of the present allowance of Rs. 417.80 Crores.

Table- 49: Employee Expenses _FY 22-23- Approved vis-à-vis- Actual      (Rs. Crs)

| Approved | Actual | Difference (Approved-Actual) |
| --- | --- | --- |
| 417.80 | 420.52 | (2.72) |

- Repair and Maintenance:

Hon’ble Commission vide the Tariff Order FY 22-23 has allowed the Repair and Maintenance (“R&M”) Expenditure of Rs. 186.43 Crores for FY 2022-23, against TPNODL’s claim of Rs. 237.53 Crores. However, Hon’ble Commission did not provide any reasoning while disallowing the said amount of Rs. 51.1 Crores towards R&M Expenditure. It is submitted that the Actual R&M Expenditure for FY 2022-23 amounts to Rs. 237.53 Crores. It is submitted that the appropriate R&M of system network is the key to supply reliable and quality power to the consumers.

It is submitted that, during the performance review for the FY 2022-23 by Hon’ble Commission and during the 34th SAC Meeting dated 24.07.2023, all the DISCOMs were advised to ensure the manning of all the Rural Sections in two-shift operation, and for Urban Sections in three-shifts operation. To ensure the same, TPNODL has been duly ensuring the manning of rural Fuse Call Centres (FCCs) for no current complaints, deploying maintenance gang for preventive maintenance of DT and 11KV network, breakdown for attending 11KV and LT breakdown in two shifts in rural areas since the commencement of its role as a utility. It is submitted that the expenditure incurred by TPNODL to maintain the 2nd shift operation in Rural Area amounts to Rs. 43.46 Crores, which accounts for a large part of the disallowance of Rs.51.1 Crores in FY 2022-23.

It is submitted that vide Order dated 24.03.2022 for FY 2022-23, this Hon’ble Commission allowed the R&M Expenditure of only Rs. 32 Crores on an ad-hoc basis towards the government funded assets. It is pertinent that based on a detailed zero-based budgeting exercise, an expenditure of Rs. 240.01 Crores was estimated towards R&M Expenditure. Further, the network area of such assets is spread upto 27,857 Sq. Kms, covering a large geographical Licenseed area of TPNODL and therefore TPNODL submits before  Hon’ble Commission to may allow the R&M Expenditure of Rs. 237.53 Crores which is towards the genuine maintenance and operation of electrical equipment in that area.

The steps undertaken to improve the reliability of power supply and the achievements so far have been detailed in the previous sections under R&M costs.

Therefore, TPNODL most humbly requests before Hon’ble Commission to re-consider the R&M Expenditure as allowed vide Tariff Order and consider allowing the amount of Rs. 237.53 Crores instead of the present allowance of Rs. 186.43 Crores.

Table- 50 :  R&M Expenses_FY 22-23_ Approved vis-à-vis- Actual                         (Rs. Crs)

| Approved | Actual | Difference (Approved-Actual) |
| --- | --- | --- |
| 186.43 | 237.53 | -51.1 |

- Administrative and General Expenditure:

Hon’ble Commission vide the Tariff Order has allowed the Administrative and General (“A&G”) Expenditure of Rs. 84.23 Crores for FY 2022-23, against TPNODL’s claim of Rs. 112.55 Crores. This approved A&G expenses.

Hon’ble Commission has allowed Rs.49.20Crores for the FY 21-22 while approving the Tariff order basing the application filed by NESCO Utility. After taking over, TPNODL filed the Annual Business Plan for FY 21-22 before Hon’ble Commission proposing A&G expenditure of Rs.139.83Crores. Considering the submission made by the licensee in the ABP application for FY 21-22, Hon’ble Commission had allowed additional 60% of the previous approval of Rs.49.20 Crores, making the total approval under A&G expenses for the FY 21-22 Rs.78.72 Crores.

This approved A&G expenses for FY 22-23 is based on the base A&G approval of Rs.78.72Crs for FY 21-22 with 7% escalation as per Tariff Regulations.

However, Hon’ble Commission has been kind enough to consider the request of the licensee and approved A&G expenditure of Rs.105.24Crs.

It is submitted certain Normal A&G Expenses may need to be controlled and therefore are controllable expenses. However, it is pertinent that the Statutory A&G Expenses are compulsory in nature and are governed by various statutes and thus are not controllable per se. Further, the MBC Expenses are dependent on the consumer base and are non-controllable without compromising on the consumer satisfaction as well as the AT&C Losses.  It will not be out of place that TPNODL has achieved AT&C loss level of 14.19%- that is achieved a reduction in AT&C of 15% in three years of operation. Therefore, TPNODL humbly submits that since the commencement of TPNODL’s role as a DISCOM, TPNODL has undertaken several measures in the area of billing and collection to improve the services to the consumers, and to reduce the AT&C Loss.

Therefore, TPNODL humbly requests this Hon’ble Commission to re-consider the A&G Expenditure as allowed vide Tariff Order and consider allowing the amount of Rs. 112.55 Crores considering Rs.105.24Crs as the base with the applicable escalation as per Tariff Regulation and approve the actual A&G expenses of Rs.112.55Crs incurred for FY 22-23.

Table- 51: A&G Expenses_FY22-23_ Approved vis-à-vis- Actual            (In Rs. Crs)

| Approved | Actual | Difference |
| --- | --- | --- |
| 84.23 | 112.55 | 28.32 |

- Interest on Security Deposit:

Hon’ble Commission vide the Tariff Order has allowed the Interest on Security Deposit of Rs. 25.83 Crores for FY 2022-23, against TPNODL’s claim of Rs. 41.96 Crores.It is humbly submitted that Hon’ble Commission vide Tariff Order dated 23.03.2023 had approved a rate of 6.75% p.a. on payment to be made towards Interest on Security Deposit in the year May 2023 to the consumers. Accordingly, the Interest on Security Deposit amounting to Rs. 41.96 Crores was booked in the Accounts for FY 2022-23. The aforementioned approach is consistent with the approach adopted in earlier years where the Interest on Security Deposits were booked in accounts in terms of the extant approved rate. That the Accounts are presented on the basis of Accrual principle as per the amount booked ensuring consistency with the Accounting Standards.

It is humbly submitted that TPNODL has been calculating its interest on Accrual Basis in line with regulatory framework and past practice. Accordingly, the Interest on Security Deposit calculated by TPNODL for FY 2022-23 is based on the interest rate of 6.75% p.a. after considering the Opening Balance of Security Deposit and Addition/ Deletion of consumers.

Therefore, TPNODL humbly requests this Hon’ble Commission to re-consider the Interest on Security Deposit as allowed vide Tariff Order and consider allowing the amount of Rs. 41.96 Crores instead of the present allowance of Rs. 25.83 Crores.

Table- 52: Interest on SD_FY 22-23_Approved vis-à-vis- Actual            (In Rs. Crs)

| Approved | Actual | Difference |
| --- | --- | --- |
| 25.83 | 41.96 | 16.13 |

5.2.3. Issues Pertaining to R&M Cost approved in RST Order FY 2024-25

# Short Allowance of R&M Cost due to exclusion of Asset having reached 10% of    their GFA from total GFA but still in operation/ use:

# While approving the R&M Cost for FY 2024-25 (Table -52, Page-114), the Hon’ble Commission has considered the GFA after excluding the Asset that have reached 10% of their GFA which is against the provisions of the Tariff Regulations,2022. Table -52 of the Tariff Order is reproduced below for ease of reference.

Table-53: - Approved R&M FY 2024-25                         (Rs. In Crs)

| R&M for FY 2024-25 | TPNODL |  |
| --- | --- | --- |
|  | Proposed | Approved |
| DISCOM's Gross fixed assets (GFA) as on 01.04.2024(pre-vesting) | 2199.41 | 1917.91 |
| DISCOM's Gross fixed assets (GFA) as on 01.04.2024(post vesting) | 1395.61 | 1146 |
| Total GFA as on 01.04.2024 | 3595.02 | 3063.91 |
| Rate of R & M on GFA | 4.50% | 4.20% |
| R&M on GFA | 161.78 | 128.68 |
| Govt. (Funded/Grant) Assets as on 01.04.2024 | 3700.07 | 3051.85 |
| Rate of R & M on Govt. (Funded/Grant) Assets | 3.00% | 3.00% |
| R&M on Govt. funded Assets | 111 | 91.56 |
| Disaster Resilient Fund | - | 10.00 |
| Additional R&M | 48.67 | - |
| Total R & M incl. Spl. R & M | 321.45 | 230.24 |

However, it is pertinent to note that the Tariff Regulations, 2022 does not allow for such exclusions of assets. The relevant extract of the Tariff Regulations, 2022 is reproduced herein below for the ready reference of this Hon’ble Commission:

“Repairs and Maintenance (R&M) Expenses

3.9.19. Repair and Maintenance expenses shall be allowed as a % of opening Gross Fixed Assets (GFA) only on assets owned by the distribution company, for each year of the Control Period as provided in the table below:

| DISCOMs | TPCODL | TPWODL | TPNODL | TPSODL |
| --- | --- | --- | --- | --- |
| FY 23-24 | 4.20% | 4.50% | 4.50% | 5.40% |
| FY 24-25 | 4.00% | 4.20% | 4.20% | 4.50% |
| FY 25-26 | 3.50% | 4.00% | 4.00% | 4.20% |
| FY 26-27 | 3.00% | 3.00% | 3.00% | 3.50% |
| FY 27-28 & onwards as per the directives of the Commission | 3.00% | 3.00% | 3.00% | 3.00% |

…..

The term GFA is defined in the Tariff Regulations, 2022 as provided below.

37) “Gross Fixed Asset” means historical cost of an asset or gross book value the company had to pay in order to possess the fixed asset or other amount substituted for historical cost in the books of account or financial statements;”.

Further, these Assets (having reached 10 % of their GFA) that have been deducted by the Hon’ble Commission for allowing normative R&M are very much in service and required to be maintained for ensuring Power Supply to the Consumers.

Moreover, such Assets are in use in field and requires maintenance.

Further, for FY 2023-24 no such Treatment was provided, i.e entire GFA was considered while approving allowable R&M Cost. The extract from Tariff Order FY 2023-24 is provided below.

Table-54:- Approved R&M FY 2023-24   (In Rs. Crs)

| R&M for FY 2023-24 | TPNODL |  |
| --- | --- | --- |
|  | Proposed | Approved |
| DISCOM's Gross fixed assets (GFA) as on 01.04.2023 (pre-vesting) |  | 2199.41 |
| DISCOM's Gross fixed assets (GFA) as on 01.04.2023(post vesting) |  | 668.61 |
| Total GFA as on 01.04.2023 | 2778.83 | 2868.02 |
| Rate of R & M on GFA | 4.50% | 4.50% |
| R&M on GFA | 125.05 | 129.06 |
| Govt. (Funded/Grant) Assets as on 01.04.2023 | 2033.26 | 1675.95 |
| Rate of R & M on Govt. (Funded/Grant) Assets | 3.00% | 3.00% |
| R&M on Govt. funded Assets | 61 | 50.28 |
| Additional R & M | 71.14 | 35 |
| Total R & M including Special R & M | 257.19 | 214.34 |

As these Assets are in use and Discom need to carry our R&M of these Assets to ensure smooth Power Supply to the Consumers and also the Tariff Regulations, 2022 stipulates allowable R&M on total GFA. Such disallowance under R&M entitlement will on the other hand encourage utilities to replace such assets when they are beyond their “depreciated life” but are still serviceable and put additional burden on consumers in terms of additional cost to replace with new assets instead of focusing on life enhancement of existing assets through R&M. We therefore request the Hon’ble Commission to kindly allow R&M on these assets

Certified copy of SRB & Associates (Statutory Auditor) for Gross Fixed Asset (GFA) as on 31.03.2024 is provided below:

Extract: Certified copy of SRB & Associates (Statutory Auditor) for Gross Fixed Asset (GFA)

Our Submission:

The Hon’ble Commission may accord approval for considering the actual cost at the time of Truing up for the FY 2024-25.

5.2.4. Consolidation of Previous FYs Disallowances

A consolidation of previous financial year’s disallowances upto FY 2022-23 are furnished in the following table

Table-55: Consolidation of previous FYs cost non considered by Hon’ble Commission                  (In Rs. Crs)

| FY | Particulars | Proposed | Approved | Actual | Difference | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | (Actual- |  |
|  |  |  |  |  | Approved) |  |
| FY 21-22 | NTI (Offered MR on Govt meters) | 140.49 | 140.43 | 133.91 | (6.52) | Offered Meter Rent on Govt. funded Meter & total DPS |
| FY 22-23 | Employee cost | 440.32 | 417.8 | 420.52 | (2.72) | Employee Cost on actual Cash outgo basis |
|  | R&M Expenses | 240.01 | 186.43 | 237.53 | (51.1) | Normative entitlement (based on actual audited GFA) |
|  | A&G Expenses | 155.18 | 84.23 | 112.55 | (28.32) | Sought 7% escalation over the previous year approved A&G expenses |
|  | Interest on SD | 26.22 | 25.83 | 41.96 | (16.13) | Actual interest cost on SD increased over proposed due to increase in rate of interest |
| Total |  |  |  |  | (104.79) |  |

6.  Performance of TPNODL in First Three and Half Years of Operation-                Initiatives Undertaken

In compliance to the vesting order of Hon’ble Commission, TPNODL started operation with effect from 01.04.2021. The overview of the network position as on 30.09.2024 has been depicted in the following table:

Table-56: Overview of the Network Position

| Particulars | As on 31.03.2021 | As on 31.03.2022 | As on 31.03.2023 | As on 31.03.2024 | As on 30.09.2024 | Growth (Nos.) w.r.t. Pre-Vesting | Growth (%) w.r.t. Pre-Vesting |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | As on 30.09.2024 | As on 30.09.2024 |
| 33KV Line (CKT Km.) | 2,868 | 2,895 | 3,024 | 3,226 | 3,494 | 626 | 21.83% |
| UG Details | 23.26 | 24.26 | 24.26 | 29.26 | 37.97 | 14.71 | 63.24% |
| 11KV Line (CKT Km.) | 37,069 | 37,591 | 40,188 | 41,108 | 42,110 | 5,041 | 13.60% |
| UG Cable (Km.) | 1768 | 1768 | 1768 | 1780.04 | 1812 | 44 | 2.49% |
| LT Line (CKT Km.) | 66,300 | 66,672 | 67,486 | 68,139 | 68,524 | 2,224 | 3.35% |
| No. of 33/11kV Sub-station (Nos.) | 217 | 236 | 244 | 247 | 248 | 31 | 14.29% |
| Power Transformers (Nos./ MVA) | 488/2211 | 524/2419 | 550/2615 | 564/2704 | 565/2720 | 77/509 | 15.78% |
| Distribution Transformers (Nos./ MVA) | 70429/2583 | 72323/2657 | 74726/2786 | 77688/2932 | 79446/3041 | 9017/458 | 12.80%/17.73% |
| Peak Demand | 1013 | 1000 | 1037 | 1189 | 1313 | 300 | 30% |
| No. of Consumers: |  |  |  |  |  |  |  |
| EHT | 36 | 37 | 41 | 42 | 42 | 6 | 16.67% |
| HT | 557 | 614 | 659 | 748 | 799 | 242 | 43.45% |
| LT | 20,07,540 | 20,88,432 | 20,40,888* | 19,53,723* | 19,81,521 | -26019 | -1.30% |
| TOTAL | 20,08,133 | 20,89,083 | 2041588 | 19,54,513 | 19,82,362 | -25,771 | -1.28% |
| Number of Employees | 2159 | 2576 | 2961 | 2991 | 3138 | 979 | 45.35% |

* Negative growth in no. of consumers is due to removal of non-existing consumers as per site verification from active directory of Billing System in FY 23 & FY 24

The performance parameters of the licensee in the first two years of operation has been depicted in the following table.

Table No.-57: TPNODL Performance Parameters

| KEY BUSINESS PARAMETERS (OVERALL) | FY 2020-21 (Actual) | FY 2021-22 (Actual) | FY 2022-23 (Actual) | FY 2023-24 (Actual) | Variance w.r.t. Pre-vesting | Variance w.r.t FY 2022-23 | As on 30.09.2024 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| INPUT (MU) | 4941.19 | 5327.04 | 6473.32 | 7047.15 | 2105.96 | 573.83 | 4086.74 |
| SALES (MU) |  |  |  |  |  |  |  |
| EHT | 1424.98 | 1676.025 | 2651.93 | 3115.17 | 1690.19 | 463.24 | 1588.98 |
| HT | 388.87 | 503.265 | 625.42 | 685.81 | 296.95 | 60.39 | 417.55 |
| LT | 2107.78 | 2167.708 | 2132.7 | 2195.38 | 87.6 | 62.68 | 1523.39 |
| Total | 3921.63 | 4346.998 | 5410.05 | 5996.36 | 2074.73 | 586.31 | 3529.92 |
| DISRIBUTION LOSS % | 20.63% | 18.40% | 16.43% | 14.91% | -5.72% | -1.52% | 13.62% |
| BILLING EFFICIENCY % | 79.37% | 81.60% | 83.57% | 85.09% | 5.72% | 1.52% | 86.38% |
| COLLECTION EFFICIENCY % | 94.28% | 86.72% | 96.05% | 100.85% | 6.57% | 4.80% | 96.61% |
| AT & C LOSS % | 25.17% | 29.23% | 19.74% | 14.22% | -10.95% | -5.52% | 17.24% |
| AT & C LOSS (Including PA) | 25.17% | 23.13% | 11.36% | 11.71% | -13.46% | 0.35% | 16.55% |

Both T&D Loss and AT&C Loss reduced by 1.52% and 5.52% (Excluding past arrear collection) respectively in FY 2023-24 with respect to FY 2022-23. Development of distribution infrastructure for improving reliability of supply needs proper planning, designing& engineering and smooth operation and condition-based maintenance.

After take over, TPNODL did a comprehensive study of the entire network. Entire HT network of TPNODL (33 & 11KV) is now 100% documented in terms of single line diagram (SLD). These SLD were prepared through a focused drive for more than 6 months where in network data was captured through the closed coordination with JE/SDOs/ Lineman.

TPNODL has also taken up several initiatives under Energy Audit, Operation & Maintenance of Distribution Networks, Commercial Services, Safety, IT & OT and HR during last three and half years of operation which are described as below:

6.1 Initiatives for Operation & Maintenance Activities

### ·                6.1.1 Operations Initiatives

TPNODL with predominant rural geography, has a vast operational area of 27,857 Sq. Km comprising of majorly bare overhead network of 33kV, 11kV and Low-tension lines which delivers power supply to approx. 2.0 Million valuable customer base. In the 3rd year operation, the entire focus was on primarily on safety & then providing reliable power supply, enhanced customer services and reducing the existing AT&C losses in a systematic manner through upgrading the existing distribution infrastructure and adoption of new technologies.

We have taken the following major safety & operational initiatives during the year 2023-24:

6.1.2 Suraksha Sambad

Field level Safety Interaction by Sr. Management team with the lineman/helper during work at site & mentoring them. This is a unique safety program that empowers employees to actively participate in a culture of safety. By fostering open communication and prioritizing respect, Suraksha Sambad aims to prevent accidents and create a workforce invested in everyone's well-being

.

6.1.3 Jeevan Ki Aur

Behavioral Based Community Intervention sessions. 1050+ Session already conducted.

6.1.4 Innovative Safety Harness integrated with Voltage Detector Helmet: Ingeniously designed technology with modern, inventive Safety Helmet & Safety Harness connected with advanced communicative snap hooks. Interlinked through a wireless communication entirely powered through Solar power.

- A very novel concept to alert & identify the safe working practices in all respects while working at height, which in turn saves the life of workmen.

- Covers intentional or unintentional mistake like unfastened harness, not wearing a helmet, or unanchored hooks etc.

6.1.5 Universal Telescopic Rod & Detachable Discharge Clamp

In “as-is” methodology, field staff use to carry 7 nos. of rods (6 discharge rod+1 neon tester rod) for creation of safety zone & making both side earthing. Team face difficulty in carrying 7 Nos. long discharge rods & neon tester. It is also very unsafe to carry on bike. Instead of these, we developed a special type of self-locking spring-controlled clamp which can be connected/disconnected in overhead bare conductor through “push & pull” mechanism with the usage of a single operating rod from the ground level. Hence, team need to carry 6 nos. of these clamps & a single operation rod for creation of safety zone. 3500 clamps already procured.

6.1.6 Helmet mounted live streaming camera

This innovative safety gear integrates a camera with the traditional helmet, providing real-time views of the work area. In our distribution network, this translates to improved safety for linemen. Supervisors can remotely assess situations, ensure proper procedures are followed, and identify potential dangers before they occur. Additionally, recorded footage can be used for training and incident review, further enhancing overall safety practices. 10 Nos. already procured.

6.1.7 Portable Pole Climber

This is an innovative initiative for Easy climbing in pole & work on sitting position with this pole climber. Ratchet type fall arrester can be attached to full body harness, Lightweight & Easy to carry in a backpack. 400 Numbers already procured.

6.1.8 Drone Based Safety Surveillance & AI Analytics

AI software for the real time Safety analytics on the live stream of multiple drones for assessing safety practices & to get immediate Safety violation alerts on the android mobile app and Web app. Any safety violation, captured & alerted, can help in taking pre-emptive action to prevent any accidents at site.

6.1.9 MO PSS NIRMAL PSS

This initiative was taken for Fastrack implementation of 5S journey to create a competitive environment at 33/11kv PSS. Out of total base of 247 PSS, 57 nos of PSS have reached at 3S level and 82 at 2S level

6.1.10 Suraksha Veer - On-the-Spot Safety Award:

This on-site safety award will be issued by Sr. Management Team for own & BA Lineman & the Loyalty point is linked to Energy Bills. Loyalty bonus can be redeemed through the energy bill.

6.1.11 Tree Free Feeder Certification

Extensive tree trimming on 11KV feeders & to make the entire feeder free from tree branch touching. Same is certified as “Tree Free” by the business associates & thereafter verified on sample basis by section/COS team. 72% of feeders were certified as tree free & next round of tree pruning activity will be done based on set frequency.

6.1.12 Drone Driven Feeder Maintenance

This drone driven feeder maintenance initiatives were taken up in 2 respect. First the aerial survey of Lines & network to capture vulnerable locations in feeders in terms of damaged/broken insulators, cross arms, jumpers, sagging, tree infringement etc. & the same methodology is particularly very useful for the network where the feeder is running through deep forest, inaccessible rural areas like paddy filed, water logged areas etc. Based on the aerial survey maintenance works are initiated. Secondly, the usage of drone fitted with thermal sensing camera to capture the hotspot in the network & taking corrective actions there off. As on date, TPNODL has completed Aerial Survey / Thermography of 236 nos. 11kV Feeders & covered approx. 2700 kms.

6.1.13 Predictive Maintenance – Ultrasound Scanning

Ultrasound Detection is conducted to predict the future failure through capturing the electrical discharges & preventive measures are initiated to mitigate the untimely break down & save the valuable assets. The objective of this Ultrasonic scanning is to identify abnormalities in the lines & network which may get converted into a potential failure and taking corrective action in advance to mitigate the same. Completed for 48 No. of feeders.

6.1.14 PTR Health Indexing

287 No’s PTR health card index is being prepared as per the testing conducted by STS Team. This project was initiated for Phasing out Sick PTR on the basis of THI (Transformer Health Indexing) formed & repair policy where more than 25years old PTR with more than 2times repaired would be diminished.

6.1.15 11KV Voltage Regulator

11KV voltage regulators are explored to improve the Voltage Level particularly for the feeders where very low voltage issues are reported. 2 Nos. of these Voltage Regulators were procured at initial phase for pilot installation, out of which:

- 1 No. was successfully installed at 11KV Dosinga Overhead feeder of Dhamara PSS at Bali Sahi location.

- The 2nd Voltage Regulator was installed and commissioned on 24th March’2023 at Pokhoria, under Jharadihi Feeder, ESO Bahalda, Rairangpur.

The installation has helped to improve the power quality, as the voltage at the receiving end is maintained constant amidst varying demand, increasing the longevity of all load equipment.

6.1.16 Deployment of Ring-Main System (N-1 redundancy) for 33 KV network:

Most of the 33kv network at the time of takeover in 2021 was observed to be installed & running under radial mode of operation. In absence of ring network/availability of 2nd source, any feeder outage/Breakdown used to result in shutdown to all the consumers connected to that feeder. To overcome the said network deficiency, the concept of Ring Main System has been introduced at 33 KV network by means of providing additional source to a network using 33kv RMU’s & additional outlets from OPTCL grid. The progress made in this regard over the last 3 years is depicted in the table below.

6.1.17 Town City Islanding Concept

Islanding capacity of town area in case of any fault in Rural area within the same feeder

- Installation of RMU/ Autorecloser in feeder at the boundary of Urban & Rural area

- Urban area will remain unaffected during fault in rural belt

- Fault restoration will be faster for rural belt too

- 16 town considered, one in each division.

The concept of “Trip Free Town” is introduced wherein specific town area is selected for drastic improvement in reliability performance. Balasore town is taken as 1st pilot project under this concept wherein N-1 provision at 33 KV and 11 KV network is considered along with 100 % LT side protection will be targeted. 5-year load growth of Balasore town is considered while designing the Network elements. Total cost of the project” Trip Free Balasore” is estimated at approx. 300 crores & is expected to span over 3 years. In 1st phase of about 70 crores is taken up in the FY-25. For balance phases, provision in the upcoming DPRs (for FY-26 & FY-27) in the upcoming DPR will be put up to honorable OERC for approval.

6.1.18 Establishment of Hands-On Technical Training (HOTT)

To enhance the technical skillset of operating staff in routine operation activities as well as in handling new technology equipment such as RMU, Auto-reclosure etc. HOTT centers at 3 Circles have been established and made operational (Balasore, Baripada & Jajpur). Training session to BA lineman & ITI students is already taken up through HOTT & 648 nos of participants have completed the training

6.1.19 Satellite PSCC

In addition to main PSCC at Kalimata Mandir, we have taken initiative to set up satellite PSCC at each division to ensure safety of 11kV hand-trips taken for LT work as well as in view of faster response & communication between PSCC & filed crew to cater vast areas across TPNODL. Set up in all16 divisions

6.1.20 Power Cable Fault Locator

TPNODL purchased the latest version of mobile Underground Power Cable Fault Locator system, deployed for cable testing, fault location, cable route tracing & identification activities of underground network for all critical & inaccessible underground cable sections across TPNODL Earlier there was no such Cable Fault Locator System resulting to very high down time for any cable fault and many cables sections are lying unattended/idle/faulty since more than 5+ years.  This Fault locator system has enabled us to locate the cable fault with minimum possible timeline which in turn will help in faster restoration & reliability improvement. We have already attended around 160+ faulty cable sections. Service extended to esteemed customer like IOCL.

6.1.21Tower Wagon

TPNODL have purchased 3 nos. tower wagon & deployed on filed for Effective Tree trimming & maintenance activities on height in a safe manner particularly on 13m long Joist pole.

6.1.22 Tower at River Crossing

Erection of PC+6 towers on both side of the river for 33KV Line overcoming the geographical barriers of line emerged in river water during flood like situation & thus, ensure uninterrupted power supply to communities during flood. Completed for 3 Nos. of river & 2 Nos. in progress

6.1.23 Mobile Transformer Trolley

We have introduced & started utilizing “TROLLEY MOUNTED Distribution Transformer” for the first time in our operational area. This mobile trolley is consisting of 400KVA Transformer & 800A LT Air Circuit Breaker fitted on Trolley. Thus, this is a transformer with LT side protection on wheel. This will surely help in reducing the downtime during DTR failure & uninterrupted supply for the consumers during longer outages for maintenance of project work. 9 Nos. of this Mobile Trolley were already procured. 1 No. of trolley in each of the 5 circles along with additional ones at few critical locations.

6.1.24 FCC App

We have introduced the FCC App which is a mobile application to resolve the No Power Supply Complaints in an effective & efficient manner. The Consumer complaints will directly be forwarded to the Area Lineman through the Call Centre Executive or Customer Care Centres in this application which will be reflected in a mobile phone of the lineman. The Area Lineman will be able to acknowledge the Calls as per availability & close the complaints, post completion of the work. The calls can also be easily transferred from one FCC Camps to another or from one section to another in case of high call volume to one lineman. Section Manager & Area Lineman will be able identify and track each complaint i.e. call landing time, attending time, closure time etc. This Application will also help the Section Managers to closely control & monitor the complaints thereby enabling us to reduce the downtime and providing faster response to our valuable consumers. We have also provided Samsung Galaxy A-13 mobile phone & SIM card to our lineman for usage of this application. Currently around 72% of No supply complaint management are routed & closed through FCC app across the organization.

6.2 Improvement through CAPEX:

The scheme wise outcome of Capital Investment has been quantified and furnished in the below table:

6.2.1 Statutory & Safety:

| Initiatives | Outcome |  |
| --- | --- | --- |
| Fencing of Distribution -substations - Target 2945 Boundary wall of Primary substation - Target 121 | -DSS Fencing: 2476 nos. completed -PSS Boundary wall: 112 (20312) running meter -To Provide Comprehensive Safety and technical training 3 No HOTT Completed, 2 WIP |  |
| Development of Training infrastructure for Safety (Practice Yard) in each division | Safety Practice Yard: Developed for all 16 Div. -Safety Training: 74,046own/ BA employees -Competency assessment: 3882 BA employees |  |
| Establishing in-house Meter Testing Lab | Meter Testing Lab. commissioned: 2nos. of 1ph & 1no. of 3ph test benches -No. of Meter tested: 20,428 -In process of NABL accreditation (Consultant hired). |  |
| Life enhancement of network and maintaining safe horizontal / vertical clearances | Interposing Pole: 2152/2940 nos. |  |
| Critical Safety & Testing equipment's for providing safe environment to workforce | Discharge Rod: 4400 nos. Neon Tester: 400 nos. Ladder: 300 nos. Fire Extinguisher: 1870 nos. |  |

6.2.2 Loss Reduction:

| Initiatives | Outcome |  |
| --- | --- | --- |
| Pilferage proofing of LT line -Conversion of LT Bare -Conductor to LTAB cable: -Target – 683.25 km | -LT Bare to LTAB cable: 827.12 km -Reduction in hooking, voltage improvement, avoidance of conductor snapping |  |
| Infrastructure for Energy Audit -100% metering at 33kV exchange level 125 nos. -100% metering for 853 11kV feeders -100% AMR – Target: 1306 -Smart Meter install on DT – Target: 17163 | -AMR Meter Installed: 1,306 nos. - DT Smart Meter: 10,467 nos. (above 63 KVA) -Accurate Energy Accounting & AT&C loss assessment up to Section & DTR level -Identification of High Loss pockets |  |
| Meter testing equipment -To check consumer meter on site -To resolve meter related complaints -To avoid human error in meter reading | -Clamp-on Meter: 130 Nos. -Accuracy Check Meter: 108 Nos. -CT/PT testing kit: 06 Nos. -Meter Reading Instruments: 160 Nos. |  |
| Health Checkup of Substations Primary Sub-station diagnosis tool kits | -DG analyzer: 03 nos. -Partial Discharge Camera: 08 nos. -Tan-Delta Test Kit: 03 nos. -CT/PT analyzer: 05 nos. PQ analyzer: 02 nos. |  |

6.2.3 Reliability:

| Initiatives | Outcome |  |
| --- | --- | --- |
| Network Protection A) Mitigation of non-functional/without VCBs - Zero transformer without breaker protection B) Primary S/Stn elements Reduction of Power Transformer outages C) Dist. transformer protection arrangement - Reduction of unwanted 11kV outages due to LV faults & transformer burning D) Line Protection -Installation of Autoreclosure, Ring Main Unit, Fault Passage Indicator, Lightning Arrestor, Faster restoration/ isolation of faulty feeders, Town/city islanding. Disaster prone network. | A) 33kV Breaker: 100 Nos. - 11kV Breaker: 136 Nos. - PTR with at least one side protected by VCBs. B) Installation of Relay-420, RTU-68, CR Panel-202 -Battery Bank – 58 & Battery Charger – 66. C) LT Air Circuit Breaker for >250kVA: 860 (72%) -MCCB for >63kVA upto 200 kVA: 1243 (33%) -Kit-kat fuse upto 63 kVA: 8227 (18%) -AB Switch: 1939 (41%).; Lightning Arrestor: 4564(48%) D) Autoreclosure/ RMUs: AR-130 Nos, RMU-175 Nos installed - Fault Passage Indicator: 1845/2505 nos. target - Lightning Arrestor: 1650/1800 nos. target |  |
| Network Refurbishment A) 33kV & 11kV line conductor upgradation B) Distribution Substation refurbishment/ revamp HT/LT protection, Fencing, LA. - Mobile Transformer Trolley | A) 33kV refurbishment: 263km (133 Ckm Achieved) 11kV refurbishment: 325km(460.46 Ckm Achieved) B) DSS Refurbished: 170/406 nos. target (289 Nos Achieved) Mobile DTR: 09/09 nos. target |  |
| N-1 redundancy A) N-1 redundancy at PSS level -Only 7 PSS having N-1 redundancy B) N-1 redundancy at PTR level -17 PSS having single PTR- non-compliance to N-1 criteria. | A) N-1 redundancy available: 28/98 PSS target -Provision for backup restoration in fault/ disaster condition B) Additional 15 New 5MVA PTR installed to ensure N-1 redundancy |  |

6.2.4 Load Growth:

| Initiatives | Outcome |  |
| --- | --- | --- |
| Reduction of Transformer Overloading No PTR above 80% of loading - 39 nos of PTRs were loaded beyond 80% | 21 nos. New 8MVA PTRs installed to augment 8 & 5 MVA, cascaded to augment 3.15MVA, cascaded to augment 1.6MVA - Loading of 36 PTR reduced below 80% |  |
| Length Reduction of long feeders -33kV lines > 50 km length: 17 identified -11kV lines > 100 km length: 54 identified | -33 kV line: WIP-9, YTS-8. -11 kV lines: Completed-10, WIP-7, YTS-37. |  |
| Network capacity enhancement -DTR augmentation: Target - 689 nos. -New DTR installation: Target - 245 nos. | -DTR augmentation: 481 Nos. -New DTR installation: 231 Nos. -Mitigate over loading of DTs -Creation of margin for future -load growth -Reduced burning of DT -Improve voltage |  |
| Installation of New/Linking Lines of 33kV: Target - 121km & 11kV: Target – 136km | -33kV new lines: 67.83 Ckm -11kV new lines: 199.77 Ckm -Creation of margin for future load growth -Balancing of load between new & old PSS |  |

6.2.5 Technology & IT

| Initiatives | Outcome |  |
| --- | --- | --- |
| Remote operation & monitoring of PSS through SCADA system | -PSS integrated with SCADA: 109 Nos. |  |
| GIS Implementation and Consumer Indexing for -Better Asset Management -Understanding the network topology -DT wise, Feeder wise accurate Energy Audit -Consumer location & its connectivity | -GIS mapping: Completed all 16 Divisions -28765 Sq km Base map a.) 2893 Ckm EHT Lines b.) 29972 Ckm HT Lines c.) 48256 Ckm LT Lines -17.83 lacs Consumer indexing |  |
| Establishment of Data Center for Enterprise & Customer application and Data Recovery Infra. | -All IT Infrastructure like Servers, Leaf & Spine Switch along with Storage established at OPTCL Data Centre, Bhubaneshwar for smooth access of Enterprise and Customer application along with GIS, AMI and MDM. |  |
| MPLS communication system for Offices & PSS | -No. of offices covered: Corporate office, Major Office (7) Circle Office (5), Division Office (16), Sub Division (41) & Section (40) -For OT communication MPLS connectivity has been established in 149 PSS. |  |
| Cyber Security for Data Centre & End User system | -Next Generation Firewall has been installed at Data Center along with Deep Security Anti-Virus. -Active Directory along with Domain joining of all users completed for unified access. -For End User system anti-virus is installed in all system with proper policies. |  |
| Launch of enterprise & customer-oriented Application | -Enterprise Application: Suraksha Prahari, Suraksha Kawach, FCC App, Connect2Resolve, Achievers Portal, SANGAM, PTL App and Knowledge management portal, BAMS, Arpan and E-Saathi -Customer application: E-collection, Samadhan Calculator, Mera MMG, Mo Bidyut, My Tapa Power, CIS Application, DO App, iCams |  |
| AI/ML Analytics dash boarding on Power BI platform Helps in taking data driven decisions improving Billing Efficiency, Collection Efficiency and AT&C loss mitigation. | -Multiple dashboard prepared for Real time monitoring & data analysis i.e. - -Consumer Consumption -Provisional Bill Frequency -Predicted Payment Defaulter -No Billed Consumer Revenue Profile -Collection Analysis and Collection Efficiency |  |

6.2.6 Civil & Administration:

| Initiatives | Outcome |  |
| --- | --- | --- |
| -Improvement of existing office Infrastructure & construction of new buildings: -Remodeling, Renovation, Rehabilitation existing structures and Construction of New Structures | Ergonomic work stations, improved office ambiance and hygiene at 5 Circle Offices, 16 Division Offices, 33 SDO, MRT Lab with office and OpCenex Enhanced Asset life for 123 Section Offices and 129 PSS buildings. Work in Progress for OpCenex Extension, new Buildings at 11 Sections as 10section Office and 1 PSS Building. Canteen: Completed 4 nos, 4 nos Work in progress. |  |
| -Infrastructure development/ improvement for Customers: -To improve access points and provide early resolution | Customer Care: 16 nos. with Consumer Friendly Infra., ergonomic counters and shaded waiting zone 137 Anubhav Kendras at various GPs for easy access |  |

6.3 Initiatives Under Commercial

6.3.1 Highest OCR Based Billing

In order to enhance the accuracy of single-phase billing, TPNODL has adopted AI & Optical Characteristic based meter reading in FY23. By multipronged approach like frequent training for meter readers, daily monitoring from field as well as from Corporate level have improved OCR based meter reading to 96% at the end of the H1 of Current financial year. With this technology driven initiative we have ensured error free billing to the consumers.

6.3.2 Lowest Provisional & Average Billing

Rigorous training, follow-ups & monitoring of meter readers performance for adhering to MRU wise meter reading schedule have led to substantial reduction in Provisional Billing to 1.41% and replacement of 2.5 lacs of defective & faulty meters have contributed in reducing the Average billing to 1.78%. At the end of the H1 of CFY we have achieved highest ever actual billing of 96.81.

Training Camp with Meter Readers

6.3.3 Caring for Customers

Team TPNODL has implemented various customer centric approaches by introducing multiple consumer connect programs at different social levels.

SAMBANDH: Customer Meet

Listening to the voice of Customers on first Wednesday of every month at Customer care centers

- H1 FY’25: 37 such meets have been conducted

JAAGRITI: Igniting Young Minds

Learning sessions at colleges to ignite young minds & also to sensitize them on Energy Conservation initiatives & create awareness on public safety & Digital services.

- H1 FY’25: 6 such sessions have been conducted

DISHA: Rural Outreach

Reaching out village areas to listen and to survey on queries as well as pain areas of customers.

- FY’25: 22 such meets have been conducted Energy Conservation

Session on energy conservation, Electrical & Road Safety at school levels to aware students about safety & basics during Summer.

- FY’25: 16 such sessions have been conducted

6.3.4 Key Customer Management

In order to enhance service experience for KCG (HT&EHT segments) customers, several initiatives have been implemented in TPNODL. Each of such accounts are managed by a dedicated Client Manager to provide a single window service. TPNODL has also introduced the formal forums i.e. Key Customer Meet, Customer visit by Senior Leadership team etc. to proactively engage with customers & listening to their voices. Such VOCs have resulted into many improvement initiatives (i.e. Quality & Reliability improvement of power supply for KCG Consumers, Dedicated Feeders etc.

6.3.5 Project LT Vijaypath 2.O:

Project LT Vijaypath was launched for touching consumer for resolution of their billing issues and ensuring collection of arrears along with current demand in the month of March’24. Team TPNODL has collected more than Rs. 400 Cr. which have helped to achieve lowest ever AT&C loss of 11.36% in the FY24

6.3.6 Focused Collection Drive

Rigorous training, follow-ups & monitoring of Bill Collector performance have resulted into significant increase (5% increase from H1 LFY) in unique collection coverage (91.36% at the end of H1-CFY). With this holistic approach towards improving consumer coverage, Arrear free consumer of TPNODL become more than 50% i.e. 10.45 lakh out of 19.8 lakh consumers by H1 CFY.

6.3.7 Digital Collection Improvement

- Awareness and repeated communication through SMS/ WhatsApp to arrear free consumers is increasing Digital payment through BBPS apps- Will further increased after Click to Pay/ QR Code in bill roll out

- D2D withdrawal in semi urban sections is increasing digital payment

- Specific visit to sections has ensured awareness among BA workforce for Digital payment

- 85% of the digital paid consumers have always make digital payment in last six months

6.3.8 “Apekhya Ru Mukti – Sanjoga Express”- Improvement in New Connection Turnaround Time:

As a customer-oriented utility company, periodical review of means and methods is essential to enhance our services to keep pace with dynamic business environment and ensure consumer experience enhanced qualitative services through innovation and process changes. By implementing such strategic Business process changes in our system in phased manner, we've successfully accelerated the consumerization process and achieved a remarkable milestone in installation of energy meters (post demand notes payment) for 95% cases within 48 hours for Balasore circle (Plans to implement in other Circle in H2 FY25).

6.4 Initiatives Under Safety

6.4.1 Initiative to Build Safety Culture at TPNODL

Safety is the core value of TPNODL. Senior leaders at TPNODL provides a strong and visible leadership to promote safety culture necessary for the systematically managing the job at site. TPNODL has put in place the Health & Safety Policy, Our Value-SCALE, Safety Principles and the Safety Code of Conduct, which are followed by all employees always.

- Apex Leadership Team (ALT): The ALT meets regularly to discuss safety-related matters, analyze trends, and identify areas for improvement. This high-level involvement demonstrates the company's commitment to safety as a strategic priority.

- Safety Apex Committee: Chaired by the CEO, this committee provides oversight and guidance to the safety management system. It reviews major safety initiatives, evaluates performance, and ensures that safety remains a top priority across the organization.

- Circle and Division Safety Committees: These committees, led by circle heads and division heads respectively, play a crucial role in driving safety implementation at the operational level. They oversee safety activities, conduct inspections, and address safety concerns specific to their respective areas.

- Senior Leadership Team (SLT): The SLT actively communicates the importance of safety in town hall meetings and participates in safety activities. Their involvement reinforces the company's commitment to safety and sets a positive example for employees.

- Safety Induction Trainings: All new employees and business associates undergo mandatory safety induction trainings to familiarize them with the company's safety policies, procedures, and emergency response plans. These trainings provide a solid foundation for safe work practices.

- Tata Power Skill Development Institute (TPSDI): The TPSDI offers a wide range of safety training programs tailored to the specific needs of business associate employees. These programs cover various safety topics, including hazard identification, risk assessment, emergency response, and personal protective equipment (PPE) usage.

- Practice Yards and Porta Cabins: TPNODL has established dedicated practice yards and porta cabins at various locations to facilitate hands-on training. These facilities provide a realistic environment for employees to practice safety skills and simulate emergency situations.

- Virtual Reality Training: The company leverages virtual reality technology to provide immersive and engaging training experiences. Through simulated scenarios, employees can learn about safety hazards, practice emergency response procedures, and develop critical thinking skills in a safe and controlled environment.

- Personal Protective Equipment (PPE): TPNODL ensures that all employees and business associates have access to the necessary PPE to protect themselves from workplace hazards. The company provides regular inspections and maintenance of PPE to ensure its effectiveness and compliance with safety standards.

- Consequence Management Policy: The company has a clear consequence management policy in place to address safety violations. This policy outlines the consequences for non-compliance with safety rules and regulations, ensuring that employees understand the importance of adhering to safety standards.

- Regular Safety Communication: Safety instructions are incorporated into all meetings, ensuring that safety messages are consistently delivered to employees at all levels. This reinforces the importance of safety and promotes a culture of awareness.

- Safety Themes and Campaigns: TPNODL conducts monthly safety themes and campaigns to raise awareness about specific safety hazards and promote safe work practices. These campaigns often involve engaging activities, contests, and rewards to encourage employee participation.

- Mass Awareness Programs: During National Electrical Safety Week, Road Safety Week, and Fire Week, TPNODL organizes mass awareness programs for employees and their families. These programs include workshops, seminars, and demonstrations to educate the community about safety hazards and prevention measures.

- Employee Empowerment: Employees are empowered to stop any unsafe work and are encouraged to report any safety hazards or concerns. This empowers employees to take ownership of their safety and contributes to a proactive safety culture.

- Incident Reporting and Investigation: TPNODL has a robust incident reporting system in place to promptly document and investigate all incidents. A team of experts is tasked with investigating incidents to identify root causes, implement corrective actions, and prevent similar occurrences.

- Incident Learning Sharing: The company ensures that lessons learned from incidents are shared with all employees and business associates. This knowledge sharing helps to prevent future incidents and fosters a culture of continuous improvement.

- Practice Yards and Porta Cabins: These facilities provide a dedicated space for business associate employees to develop their skills and practice safe work practices.

- Public Safety Awareness: TPNODL actively engages with the community through mobile vehicle demonstrations, hoarding displays, and social media campaigns to raise awareness about safety hazards and promote safe practices.

- Behavioral Based Safety (BBS): The company conducts BBS training to help employees identify and address potential safety hazards through behavioral observations. BBS fosters a culture of safety awareness and encourages employees to take proactive steps to prevent incidents.

- Suraksha Parivar: This unique safety drive involves employees and their families in various safety activities, promoting a safety culture within the workplace and beyond.

- Jeevan Ki Aur: This initiative focuses on employee well-being and mental health, recognizing that a healthy and supportive work environment is essential for promoting safety. It includes family counseling and spiritual programs to help employees cope with stress and maintain a positive mindset.

By implementing these comprehensive measures, TPNODL is committed to creating a safe and healthy working environment for all its employees and business associates. The company's dedication to safety is evident in its leadership, training initiatives, safety management practices, and community engagement efforts.

6.4.2 Safety Training Centers/Yards

13 practice yards with porta cabins installed in across 16 divisions in 16 division TPSDI training centre is installed at CED, Balasore for L1 safety training. Safety Training conducted for (Employees/BA/Public) during FY 24 and FY 25 till Aug’24 are given below:

| Sr. No. | Training Details | No. of BA Employees Covered |
| --- | --- | --- |
| 1 | Fire safety training | 2632 |
| 2 | Safety Awareness Session Participants | 21842 |
| 3 | Safety Induction Training L1 training | 13492 |
| 4 | Safety Training for line man L2 training | 215 |
| 5 | Safety Training for supervisor L3 training | 63 |
| 6 | Demonstration at site for Safety Zone Creation /Work at Height /PPEs/PTW | 13973 |
| 7 | Behavior Based Safety Training (TPNODL and BA employee) | 6953 |
| 8 | TPSDI training | 954 |
| 9 | First Aid training | 1491 |
| 10 | Grand Total | 61615 |

Table-58: Details of Safety Training Conducted in FY 2023-24

Table-59: Details of Safety Training Conducted in FY 2024-25 Till Aug’24

| Sr. No. | Training Details | No. of BA Employees Covered |
| --- | --- | --- |
| 1 | Fire safety training | 612 |
| 2 | Safety Awareness Session Participants | 9862 |
| 3 | Safety Induction Training L1 training | 4028 |
| 3 | Safety Training for line man L2 training | 271 |
| 4 | Safety Training for supervisor L3 training | 52 |
| 5 | Demonstration at site for Safety Zone Creation /Work at Height /PPEs/PTW | 8129 |
| 6 | Behavior Based Safety Training (TPNODL and BA employee) | 1523 |
| 7 | TPSDI training | 881 |
| 9 | First Aid training | 1491 |
| 10 | Grand Total | 26849 |

Initiatives are undertaken for the reduction of Electrical Accidents (Fatal/LTI etc.) for humans and animals:

6.4.3 Step taken to Reduce Electrical Accidents

- Innovative Pole Climber: This tool has been deployed in three circles, significantly improving the efficiency and safety of pole climbing tasks. Till date 400 pole climber is being deployed.

- Self-Locking Spring Controlled Clamp: This clamp has been deployed across TPNODL to address the challenge of carrying discharge rods on two-wheelers.4000 discharge clamp is deployed across the Rural FCC.

- Fall Arresters: These devices have been made mandatory for all work-at-height jobs and are deployed in all 16 divisions.

- VR Training: TPNODL has started using VR training modules to simulate common fuse call activities, providing employees with a realistic and safe learning experience.

- Surprise Night Visits and Alcohol Detection Tests: Line managers conduct surprise night visits and alcohol detection tests to ensure compliance with safety regulations and prevent accidents caused by substance abuse.

- Fire Detection and Hydrant System: A state-of-the-art fire detection and hydrant system has been installed in the Balasore store project, providing automatic fire detection and a water storage capacity of 11,200 liters.

- Suraksha Sambad: This innovative program involves TPNODL engineers visiting sites to observe work practices, rectify violations, and counsel the workforce on safety procedures.

- Regular Site Visits and Suraksha Sambad: In FY23-24, a total of 30,876 observations were reported and 9826 Suraksha Sambad sessions were conducted in FY25 till Aug’24

- JSA Application: TPNODL has developed a JSA application to create, submit, and review job safety analyses for all planned outage jobs. The company plans to expand this application to cover non-outage jobs and incorporate Last Minute Risk Assessments (LMRA).

- THSMS (Tata Health Safety Management System) audit conducted across the division level

These initiatives demonstrate TPNODL's commitment to safety and its continuous efforts to improve workplace conditions and prevent accidents.

6.4.4 Process Development for Safety

- BASCC (Business Associated Safety Code of Conduct) Tata Power engages Business Associate workforce to execute, run and maintain various operating sites and facilities across locations for various business verticals including Generation, Transmission, Distribution and Renewable must perform work in a manner consistent with Tata Power Policies, Principle, values, working standard applied to activities range from project execution, operation, and maintenance to facilities management.

- Job Safety Analysis -JSA prepared for all non-routine activities. Site specific JSA has been carried out at the site by Project Engineer /Section Manager and approved by immediate superior for all planned maintenance jobs. Every JSA must have the SLD showing the isolation points & discharge rod locations. Joint survey and risk assessment should be carried out by visiting the worksite by Operations, Projects & BA team.

- Safe zoning must be ensured before work on Electrical system of HT line and system where mandatory outage is required.

- SOP for all activities shall be reviewed to include learning, extensive awareness and monitored for its implementation.

- Work has been carried out after ensuring the control measures at site by the site supervisor as per SOP/SMP/WI/JSA. Anticipated hazards to be discussed in toolbox talk prior to start the work.

- No Supervision No Work concept to be ensured. Concerned officers shall monitor the activities of Site Supervisor deployed by the BA.

6.4.5 Training, Capability Development and Competency Development/ Behavior   Intervention

- Hands-on Technical Training Centers (HOTT): The company is establishing HOTT centers across all five circles to provide practical training to employees, improving their technical capabilities.

- Partnerships with Government ITIs: TPNODL has collaborated with government ITIs to offer classroom-based training in both technical and safety skills, ensuring a comprehensive approach to employee development.

- Mandatory SHE L1 Training: All employees are required to undergo mandatory SHE L1 training, a specialized safety training module designed to equip them with essential safety knowledge and skills.

- Supervisor Training: Project BA supervisors receive training on SOP preparation and reading of single line diagrams, enabling them to effectively manage safety procedures and technical aspects of their work.

- Competency Mapping and Development: TPNODL conducts competency mapping of BA supervisors to identify skill gaps and develop tailored training plans. This ensures that employees receive the necessary training to enhance their performance and contribute effectively to the organization.

- Behavioral Improvement: The company has implemented extensive training and interventions to address unsafe behaviors and promote a culture of safety.

- Safety Commitment Reinforcement: TPNODL regularly reinforces the importance of individual safety commitments through mass meetings, ensuring that employees understand their responsibility in maintaining a safe work environment.

- Test Before Touch: The company emphasizes the "Test Before Touch" concept to encourage employees to verify equipment and procedures before proceeding with any task.

- Alcohol Testing: Regular alcohol testing is conducted to ensure that employees are not working under the influence of alcohol, which can significantly increase the risk of accidents.

- Family Involvement: TPNODL recognizes the importance of family support in promoting safety. The company conducts Suraksha Parivaar sessions to involve family members in safety discussions and reinforce safe practices.

- Hum Surkashit Ghar Surakshit:- A special type of Awareness session organized in which Awareness created to the married couples.

6.4.6 Public Awareness

TPNODL has implemented various initiatives to raise public awareness about electrical safety   and encourage community involvement. Key measures include:

- Safety Awareness Sessions: The company has conducted safety awareness sessions at multiple fair mass gathering places and festival events to educate the public about electrical safety hazards and encourage them to report unsafe acts observed by TPNODL employees.

- Consumer Awareness Drives: TPNODL has conducted consumer awareness drives to inform the public about unsafe acts that may be performed by workmen and encourage them to report such incidents through a dedicated WhatsApp number.

- Public Safety Awareness Rallies: The company has organized 26 public safety awareness rallies to spread awareness about electrical safety best practices and encourage community participation.

- Electrical Safety Training in Schools and Colleges: TPNODL has conducted 52 electrical safety awareness training sessions in schools and colleges to educate young people about electrical safety and promote safe practices.

- Public Reporting and Recognition: The company has shared its WhatsApp number with the public to encourage them to report unsafe conditions or acts. TPNODL has also implemented a reward and recognition program to acknowledge and appreciate public contributions to safety.

- Distribution of Pamphlets and Safety Materials: TPNODL has distributed pamphlets and magnet safety badges to the public and displayed electrical safety awareness videos in rural areas to enhance awareness and promote safe practices.

Hon’ble Commission has also advised DISCOM to take necessary steps to increase public    awareness so that those public fatalities could be avoided.

The licensee has always given priority to safety, awareness and training. Extensive awareness programs through print and electronic media, through awareness vans, nukkad nataks, programs in schools, customer meets are being organised to increase public awareness.  For conducting those programs and facility management at the customer touch points, extra cost is being incurred. Some of the programs are as follows:

- E-Hakathon safety Ideation workshop Associated with Tata Sons: -it’s a journey to identify existing potential challenges in the operational safety and prioritizing them

- Tata Health and Safety Management System Certified Training Program (THSMS): Team TPNODL adopted Tata Health and Safety Management system during FY 25. As a first step, a certified 2-day Train the Trainer program was carried out for 29 nos of employees by TBEX, Tata Group during February 24. After rigorous assessment, results declared with certification of participation, Gold, Silver and Bronze categories. The trainers then carried out 16 nos of Cross division THSMS assessment PAN TPNODL and created awareness amongst the leadership teams across divisions/circles. A Third-party assessment was also carried out through M/s ACT International nominated by Tata Power during the Q2 FY 25.

6.5 Initiatives under IT & OT

Many new initiatives from IT & OT side have been taken in last three financial year i.e., FY 22 FY 23 and FY 24 and many new digital improvements and initiatives are taking place in current FY 25. To improve the reliability and quality of power, it is very much essential to strengthen IT along with Operational Technology on ADMS and management of consumers outages, integrated ADMS-GIS and data creation of pan TPNODL in GIS. Various initiatives have been taken to establish IT and OT Technologies to drive the benefits as mentioned below:

- Development of On-premises data center for hosting various applications and

creation of DR center for handling any eventualities.

- Bespoke Applications for digitalization of business processes.

- Mobile Applications for consumers and employees to stay connected all the

time for faster action and response.

Apart from the above, customer service digital Platform for TPNODL, which was envisaged for consumers has been developed as mentioned below:

- Payment Gateway – A centralized proprietary payment gateway has been established which is seamlessly integrated with all collection touch points like website, mobile app, counters, partner agencies, mobile wallets into a single repository where verification and validation of payments would be done and would be posted to the billing system.

- E-Collection App - It is the main platform for collection of Energy & non-energy Payments and is integrated with all types of payments like cash, Credit/Debit card, Cheque/DD, Wallets and UPI etc. There is a Real-time Syncing with our Billing platform which facilitates acceptance of payment on real time as soon as the bill is generated and deliver message to consumer through SMS.

- Mobile App - MY TATA POWER – In the current digital world, people uses smart phone and to provide services on their mobile phone, this app has been developed to enhance our customer’s delight. This is very convenient and beneficial to consumer in the way that they can Check their Bill and payment history, process their self-meter reading and raise their complaints. Consumers can now also recharge their prepaid accounts and also their post-paid outstanding dues. Smart-metered consumers can now view their 15-min consumption, daily consumption and monthly consumption on this platform.

- MMG 2.0 – Various field activities are carried out by our field team like installation of meters, for New Connection, meter replacement. This app facilitates the process of capturing all information on the field itself thereby providing real time update, tracking of workforce and faster services to consumers by updating the record system for correct billing.  Going forward, we will be facilitating the meter installation process through this app.

- OCR Enabled SBM Application – To achieve accurate reading and thereby billing, we have introduced OCR (Optical Character Recognition) based SBM applications to capture the meter reading and avoid any kind of manual error. With OCR, TPNODL has been able to successfully process meter readings more efficiently, leading to faster billing cycles and reduced administrative workload. This translates to improved customer service and streamlined operations. Going forward, we will be incorporating the dynamic QR code in the SBM generated bills to facilitate self-bill payment by consumer

- New Connections through MO BIDYUT - New consumer up to 5KW can apply, track & raise complain in this portal. Real time syncing available with our Billing application for smooth processing of new application. The portal is now enhanced to accept service connection requests for consumers requiring load of more than 5kW.

- FCC App (Fuse Call complaint APP) –    The launch of FCC Mobile App for TPNODL Line men has helped in providing a quick resolution of "No Power Supply" complaints by the consumer. FCC App is fully integrated with Call Centre CRM and support both English and Odia languages. The call registered at call centre gets auto forwarded to concerned FCC - lineman as mapped in the system.

- Integrated Contact Centre - Customer Service is an important function for any power utility and contact centre is very important service channels from both customer and utility perspective. Considering the importance of this function, Integrated Contact Centres (ICC) serving all four Odisha DISCOMs has been setup. The ICC is fully integrated with backend systems and equipped to cater inbound / outbound customer communications through multiple voice and non-voice channels including email, chat, WhatsApp, social media. A provision for automation of repetitive communication requirement such as call answering, ticketing, dialling and mass messaging in text, voice and email modes.

- DO App – DO (Disconnection Order) app has been launched to facilitate disconnection at site. Basic details of Consumer along with Disconnection amount can be viewed in this app. Once a physical disconnection is executed in field, the status in the app for the particular consumer can be changed. Changed status is updated in FG-CIS system online to ensure data integrity. A provision to initiate reconnection through this app will also be provided.

- Sigitek Portal – The portal has been launched to facilitate invoice processing for our Business Associates. Associates can track the status of their invoice from initiation to processing of their payments on a real time basis.

6.5.1 Initiatives in GIS

The technological framework used for gathering, organizing, processing, and visualizing geographic data is called a Geographic Information System (GIS). GIS is foundational Technology for utility whose assets are spread geographically which covers approx. 27,500 sq. km area for TPNODL. It will help us to have a full control on the assets and further to run various applications on the GIS data which in turn, enable utility to effectively maintain and restore the electricity supply. GIS plays a key role in achieving the committed targets and moreover bring business excellence and consumer delight. We have implemented GIS software and Application for pan TPNODL area. We implemented GIS in 16 Divisions and mapped 100% network of 33kv, 11kv and LV level. Till date we have mapped 17.83 lacs consumer indexing in GIS system.

GIS is used in the electrical distribution utility sector to manage and analyze geospatial data related to the distribution network. It combines geographical data with attribute data to provide a comprehensive understanding of the network infrastructure.

- Desktop Application: To perform backend activities like migration, mapping of assets, logical testing of data with respect to connectivity, mapping of Land-base, consumers, and building connectivity between DT’s and consumers respectively. Using this digitized data, we can perform numerous technical analysis, load loss analysis, dashboards, validation of connectivity and feasibility studies.

- WEB Application: This platform is based on online portal where using this application, users of the organization can view the data of all assets mapped in GIS as per ground scenario and can extract multiple types of reports by using customized tools such as Simple Search, Trace, Consumers Connected DT’s, Buffer etc., User can view the data and also share their inputs in discrepancies or new enhancements using Sketching Tool. Using Map Plot, user can download maps of required AOI in pdf format for reference.

- Mobile Application – This application allows anyone within our organization to access the complete network easily at any time and from anywhere, thereby easing the survey, planning, and updation of the network.

6.5.2 IT Integrations

- UDS – As there are 17.8 lac consumers mapped in GIS along with respective DT’s and Feeders connectivity as per ground scenario, the same data has been integrated to UDS system, where Energy Audit will be done based on the same.

- CYME – 100% Feeder wise connectivity of 33kv, 11kv and LV along all respective electric assets has been mapped in GIS along with respective attributes based on which load analysis can be performed as GIS is integrated with CYMDIST software through which NEG department will perform multiple technical analysis.

- Enforcement – Through survey process performed by GIS, consumers found from ground where theft/hooking found or premises without meters found have been shared to enforcement team for making sure necessary action is taken against the same. Mapped booked consumers as per enforcement inputs for future reference.

6.5.3 Initiatives under OT (Operation Technology)

6.5.3.1 SCADA & ADMS Implementation:

- BCC (Backup Control Centre) Setup Completion and MCC – BCC Site Switching: The BCC setup has been successfully completed, and currently working on full functionality. The MCC–BCC site switching mock drill, carried out in August 2024, was successfully executed.

- DCC (De-centralized Control Centre) Establishment: The DCC setups for Jajpur, Keonjhar, and Bhadrak have been successfully completed. All three DCCs are now operational, all the circle PSS are being controlled through the DCC/APSCC (Area Power System Control Centre).

- WEB DMD Application: Web based SCADA application WEBDMD has been deployed. Which helps various departments to monitor 33/11KV substation in real time.

- PSS and GSS SLD Integration in SCADA: All existing 254 PSS and 29 GSS SLDs have been successfully mapped in SCADA. The PSC operator can now manually update field scenarios in SCADA and create a field replica in case of non-automated PSS.

- Remotely Operated PSS: A total of 108 PSS are now being monitored and controlled remotely by the PSCC.

- Permit on all PSS: The operator can apply permit tags (PTW, hand trip, and caution order) to all PSS and update equipment and network details using information tag, OV tag, and notes.

- Circle-wise Page for PTRs: A circle-wise page has been created for OTI, WTI, and TAP position information for PTRs. Operators can now manually update all relevant information for PSS where data is not being received from the field.

6.5.4 Smart Metering

6.5.4.1 Initiatives in Advance Metering Infrastructure (AMI)

Advanced Metering Infrastructure (AMI) solution has been deployed successfully which includes, Head End System (HES), Meter Data Management (MDM), and Smart Prepaid Module (SPM), currently managing approximately 1.7 lakh live smart meters and additional 30 thousand Smart meters are in HES inventory which are in progress for installation. This achievement enables features such as switching from postpaid to prepaid, bidirectional and solar meter conversions, time synchronization, and automated bill processing, including disconnection (DC) and reconnection (RC) processes. Integrated with the Customer Information System (CIS) and the MY Tata Power app, consumers can monitor their daily consumption and balance in real-time, enhancing customer engagement and streamlining energy management.

6.5.4.2 HES System

- Integration of Multiple OEM Smart Meters with HES – Successfully integrated three-phase HPL smart meters, along with single-phase and three-phase Genus smart meters, and single-phase Linkwell meters into the Schneider HES system, which now successfully operates four different OEM smart meters.

- Integration of JIO SIM based Smart Meters with HES System: Smart meters with JIO SIMs have been successfully integrated into the HES system using an MPLS backhaul communication network. Currently, the SEIPL HES system supports two NSP providers: JIO and Airtel. Maintained approximately 94% communication efficiency for smart meters, supported by weekly reports that help sustain this performance and identify opportunities for future improvement.

- Successfully tested and implemented a new Time-of-Day (TOD) tariff slot at the 23k smart meter from the HES, compliant with OERC guidelines.

6.5.4.3 AMR System Integration with other AMI System/NFMS/CIS:

- AMR System integration with MDM – Effectively integrated various profile data of AMR/Modem meters with the MDM system, enabling users to view both smart meter and non-smart DLMS meter data within a single application.

- Automation of AMR-Based HT Meter Billing with CIS System: Necessary incorporation has been made in the Meter Data Management (MDM) and Consumer Information System (CIS) to automate AMR meter billing. This enhancement streamlines operations, improves accuracy, and reduces manual intervention for consumers.

- MDM integrated with NFMS: Meter Data Management (MDM) system has been integrated with the National Feeder Monitoring System (NFMS), allowing for the incorporation of AMR-based feeder meter data for load surveys. This integration enhances data integrity and aids in effective load monitoring.

6.5.4.4 MDM Integration with CIS System

- CIS and MDM Integration for Remote Disconnection/Reconnection - Meter Data Management (MDM) system is also integrated & tested successfully with Consumer Information System (CIS) for enabling remote disconnection and reconnection capabilities for postpaid smart meters. This achievement optimizes service management, enhances operational efficiency, and facilitates automatic reconnection of meters once consumers settle their arrears.

- Consumer Master Sync Implementation - Successfully tested the master sync between our Consumer Information System (CIS) and Meter Data Management System (MDMS), facilitating seamless integration of essential consumer attributes. This enhancement will support our business users in various operational aspects.

6.6 Initiatives under HR

Managing a workforce of about 3000 on roll employees and about 13,000 business associate’s employees requires a robust technological infrastructure as well as the introduction of software to ensure seamless integration and to support the fast-paced work environment was needed. Accordingly, SAP was introduced during the formative years and gradually many inhouse software such as Legatrix, Aagaman, Connect to Resolve, Achievers Portal, BAMS, ICAM, GRC were introduced from time to time to ensure monitoring & capturing of biometric attendance, ensuring business associate compliances, recruitment & onboarding, payroll processing etc.

Customer Centricity being the core of service-driven business the Customer Service Call Centers, Anubhav Kendra at Panchayat level, Fuse call Centers has been made operational to serve till the last rung of consumers in the remotest of areas. The establishment of OpCenEx (Operational Centre of Excellence), ComCenEX (Commercial Centre of Excellence), PSC Teams has further strengthened our commitment to bring the desired excellence in network operation and customer service. The latest addition has been the introduction of APSC (Area PSC) in Circles along with the last year addition of Centre for Maintenance and Engineering at Udyog Bhawan which will further contribute to provide better services.

In today’s technology driven era and cut-throat competition to provide reliable services the continuous up-gradation of competency is the key success factor in this continuously changing business environment and technological revolution. It has been the endeavor of TPNODL to adopt to new and cutting-edge technological adoption considering changes in business philosophy and changing organizational structure.

To drive the adoption of technology, improvements in processes etc. Learning & Development need assessment is being conducted across all positions and in certain areas innovative and new training program are designed and delivered through in-house development of training & HOTT center. Each year the newly joined Executives are being made to visit Tata Power (Delhi or Mumbai) under our Training Program to learn about the best practices which can be implemented at TPNODL. Use of online e-learning training module is being constantly encouraged across all category of employees to develop additional skill sets. Online e-learning module initially covers mostly Behavioral training, Safety, Ethics, etc. while technical training are being imparted through training centers.

Considering diverse employee demography, capability development strategy at TPNODL has been customized keeping in mind changing business demands. Various types of training is being finalized based on leadership discussions.

During last three years, TPNODL has continuously taken steps not only to improve the knowledge of employees but also to update them with the latest technologies by imparting training which is highly appreciated. In continuation to the last year initiatives, this year also steps have been taken focusing on Diversity & Inclusion through various Women empowerment & Leadership development programs, health & wellness, upskilling for the development and professional growth of employees. New Initiatives have been taken in the area of 5S, Surakasha Sambad, WLL (Women in Leadership League) etc. Following are the new programs taken up during the FY 2024-25:

- She Leads & She Rises: The goal of this training for women employees is to empower them with knowledge in areas such as Technology and Digital Literacy, Women in Leadership, Personal Development, Financial Independence, and Health and Wellness.

- Gender & Social Inclusion: Gender and Social Inclusion (GESI) training helps people understand and promote equal opportunities and treatment for all people, regardless of their gender, background, or identity. To bring equality & equity in our workplace & promote each performing person to be encouraged.

- E-Learning Portal: The objective of implementing an e-learning platform i.e. LinkedIn, Quodeck & Coursera for employees is multifaceted, aiming to enhance individual and organizational growth. Provide employees with access to a diverse range of courses and training modules to continuously develop and upgrade their skills. Foster a culture of lifelong learning, ensuring that employees stay relevant in a rapidly evolving business landscape.

- Business Etiquettes: Principle of Business etiquettes, Basic Error in Mail & presentations, managing interaction, Email Writing, creating professional workplace environment, listening skill, Presentation & communication Skills for Junior level employees.

- Tech-Skill Program: Under this program all Executive employees are imparted with Microsoft Office Suits like Advance Excel, Microsoft Word, Power Point along with email antiquates.

- 5S Training: Enhance overall workplace efficiency by instilling the principles of Sort, Set in Order, Shine, Standardize, and Sustain (5S), leading to streamlined processes and reduced waste. Increase employee productivity through organized workspaces, minimizing the time spent searching for tools, materials, or information. Create a safer work environment by eliminating clutter, reducing the risk of accidents, and promoting a culture of safety and awareness. Identify and eliminate unnecessary items and processes, resulting in cost savings through reduced material usage, improved resource allocation, and minimized downtime. Empower employees to take ownership of their workspaces, fostering a sense of responsibility, pride, and engagement in maintaining a clean and organized environment.

- Code of Conduct and Prevention of Sexual Harassment (POSH): Instil a deep understanding of ethical principles outlined in the Code of Conduct (TCOC), ensuring that employees are well-versed in the company's commitment to integrity, honesty, and transparency. Ensure that employees comprehend and adhere to the legal and regulatory requirements outlined in the TCOC, fostering a culture of compliance and responsible business practices. Educate employees about what constitutes sexual harassment, ensuring a clear understanding of unacceptable behavior and its impact on individuals and the workplace. Cultivate a workplace culture that rejects all forms of sexual harassment, promoting respect, dignity, and inclusivity for all employees.

- Felt Leadership Training: Along with our regular employees, our organization also focuses on safety of our Business Associates. For this a Felt Leadership Training programs has been designed & are being conducted across the organization.

- Managerial Effectiveness: Self-awareness (Understand your strengths, weaknesses, emotions, and the impact they have on others.), Managing self (Stay composed, adaptable, and maintain a positive attitude, especially in challenging situations), Motivating Self (Cultivate an inner drive to achieve goals and inspire excellence.), Empathy (Actively listen to your team members and understand their emotions, perspectives, and needs.), Social skills (Build and maintain strong relationships with your team and other stakeholders.) & how to manage a team by passion, understanding by resolving conflicts. This is for all the managerial level employees.

- Customer Centricity: As a service-oriented organization, our primary focus is on effectively addressing the needs of both external and internal stakeholders. To achieve this, we have organized targeted training programs that cover key areas such as Emotional Intelligence (EI) and Emotional Quotient (EQ), handling difficult customers, being assertive in challenging situations, and understanding customers' needs. These initiatives aim to enhance our efficiency and ultimately drive higher levels of customer satisfaction.

- Technical Trainings: We have selected experts, based on their experience and performance, to lead various operational training programs such as Switchgear Maintenance, RMU, FPI, Auto Reclosers, SCADA & Smart Meters, Electrical Protection Systems, and Transformers. In addition to enhancing our in-house trainers, we are also fostering stronger team bonding throughout the process.

6.6.1 Volunteering

Care for community is one of the core values of Tata Power and TPNODL also wish to initiate various community service-related initiatives in areas of education, health, livelihood, women empowerment etc. These initiatives will give opportunity to employees to contribute to society. The Tata Volunteering Week (TVW) is a biannual event that unites Tata Volunteers worldwide in small acts of volunteering, celebrated in March & September. This year 1091 employees actively participated in 23 different events collectively contributing approximately 3263 hours to deliver a range of activities which included tree plantation in schools and communities, cleanliness drives, visit to old age homes and orphanages, spending time with individuals with disabilities, blood donation camps, career counseling sessions etc. The volunteers were from the junior-most level to the senior most with each of them contributing towards the cause of society.

6.6.2 Employee Engagement

Fostering a supportive workplace and maximizing employee potential are essential strategic strengths of Tata Power. Therefore, TPNODL is dedicated to cultivating a work environment that elevates employee and associate engagement to exemplary levels. TPNODL plans to implement an engagement framework and roll out various initiatives to ensure all employees operate at peak engagement. Each year, an engagement calendar is prepared, featuring a wide range of programs designed to actively involve employees, business partners, and their families. Like in previous years, TPNODL organized celebrations for Vishwakarma, Ganesh, Diwali, and Durga Puja, alongside creative competitions like drawing, painting, and diya-making, which saw enthusiastic participation from employees. For the very time TPNODL organized a mega event “ULLAS” in line with Tata Power cultural tradition of bring the employees and families together for a fun-filled entertainment and celebrating the hard work and success. Recently, carrom and chess tournaments were concluded for employees, and Ethnic Day was celebrated with much enthusiasm. Going forward, many more activities are planned, including a family picnic, cricket matches, and other events that bring together employees and their families and create a culture of Diversity & Inclusion.

Engagement Event Count for last Two (02) FYs

6.6.13 Employee Training Plan

Employee Training conducted up to H1 FY 2024-25 and Plan for the FY 2025-26 has been   depicted in the below table:

Table No.-60 :- Training Conducted up to H1 FY 2024-25

| Types of Training | FY 2024-25 H1 |  |
| --- | --- | --- |
|  | Batches | % Coverage |
| Pehchaan (Induction) | 8 Batches | 100% |
| Pratigya (Positivity & Motivation Program) | 12 Batches | 85% |
| Prarambh (Senior Leadership Development Program) | 1 Batch | 50% |
| Prarambh (Middle Level Leadership Development Program) | 10 Batches | 100% |
| Prarambh (Executive Level Leadership Development Program) | 20 Batches | 100% |
| Prayaas (Customer Centric Program) | 2 Batches | 100% |
| Prerna (Best Practice Visit) | 9 Batches | 20% of total Executives |
| Gyankosh-LinkedIn |  | 100% |
| Safety Training Programs | 22 Batches | 100% |
| Safety Training Programs (BA) | 22 Batches | 100% |
| Women Empowerment Programs | 9 Batches | 100% |
| Health -Power Talk | 10 Batches | For All Emp |
| Functional Training | 20 Batches | 100% |
| Behavioural Training | 18 Batches | 85% |
| Organisational Training | 12 Batches | 100% |
| SAP GRC Modules & IT applications | 30 Batches | 100% |
| Tech Skills (MS Office Suit) | 26 Batches | 100% as per TNI |
| Mentor Mentee Program | 10 Group |  |
| Train the Trainer (Internal Trainer certification) | 135 Nos Emp |  |
| Inhouse Technical Training | 5 Batches | 100% |
| TPSDI | 3 Batches | 100% |
| Art of Living | 1 Batch | 50% |

Table No.-61:- Training Plan for FY 2025-26

| Types of Training | FY 2025-26 |  |
| --- | --- | --- |
|  | Batches | % Coverage |
| Pehchaan (Induction) | 6 Batches | 100% |
| Pratigya (Developing an ethical work culture) | 30 Batches | 80% |
| Prarambh (Senior Leadership Development Program) | 2 Batches | 100% |
| Prarambh (Middle Level Leadership Development Program) | 5 Batches | 100% |
| Prarambh (Executive Level Leadership Development Program) | 10 Batches | 100% |
| Prayaas (Service Excellence-Customer Interaction cycle) | 3 Batches | 100% |
| Prerna (Best Practice Visit) | 10 Batches | 10% of total Executives |
| Gyankosh (Online Portal) |  | 100% |
| Safety Training Programs (Executive) | 25 Batches | 100% |
| Safety Training Programs (BA) | 15 Batches | 50% |
| Women Empowerment Programs | 5 Batches | 100% |
| Internal Capability Building (TTT) | 2 Batches | For Non-Executives |
| Functional Training | 10 Batches | 100% |
| Behavioural Training | 30 Batches | 85% |
| Organisational Training | 2 Batches | 85% |
| SAP GRC Modules, IT related applications | As per Requirement |  |
| Power BI | 5 Batches | 5% All Executives |
| Mentor Mentee Program | 10 Group |  |
| Train the Trainer (Internal Trainer Certification) | 30 Nos Emp. |  |

6.7 Transformative CSR Initiatives by TPNODL: Empowering Communities

The Tata culture of giving back to the society flows from the tradition of nation building and community development, the seeds of which were sowed more than a century back by Jamsedji Tata, the founder of the group. Carrying forward this legacy of contributing to the society, we always place Corporate Social Responsibility at the heart of everything we do.

TPNODL are involved in a wide range of development activities to make a positive impact on the society and the community. TPNODL’s CSR activities relates to areas of Employability & employment, Entrepreneurship, Education and Essential services for those that need it the most.

6.7.1 Enhancing Employability and Facilitating Employment Opportunities

Within the domain of employability and employment, our steadfast commitment is exemplified through the establishment of four Vocational Training Centers strategically located in Chadeipahadi and Rairangpur (BARIPADA CIRCLE), Balasore (BALASORE CIRCLE), and Kapasi (JAJPUR CIRCLE). Additionally, newly established Vocational Training Center (VTC) in Turumunga, under the Keonjhar Circle, is ready to commence its first batch of training programs.

The primary objective of these Vocational Training Centers (VTCs) is to impart essential skills to the local youth and women, fostering their professional growth through comprehensive training programs. Our VTCs provide an array of free courses encompassing stitching and tailoring, computer skills, beautician courses, spoken English, and specialized employability training in collaboration with TCS.

The certifications awarded upon completion of these courses hold significant merit, being endorsed by both the National Skill Development Corporation (NSDC) and Skill India. This ensures that the skills acquired by our beneficiaries are recognized and valued on a national level.

The impact of our initiatives is tangible, with 24 candidates selected by TCS post-training, now contributing to the workforce in TCS, Kolkata. In total, we have imparted employability training to Over 2000 unemployed youth and girls, with ongoing training for 802 individuals across all four VTCs. Our efforts have resulted in the placement of 670+ candidates (33%) in esteemed organizations such as TCS, Bajaj Finance, Balaji Finance, DIC, Odisha Police, and various other companies.

As part of our broader CSR interventions for citizen welfare, specific initiatives are tailored to address the unique needs of communities. collaboration with the Gorumahisani Iron College extends to diverse programs, including Employability Training in partnership with TCS, Solar Panel Repairing and Maintenance, Tailoring & Embroidery, Sal Leaf Plate Making & Marketing, and a comprehensive Livelihood Programme for Farmers.

This multifaceted approach aims to empower individuals across various sectors, contributing to the holistic development of the community. Notably, in the Gorumahisani and Chadeipahadi areas in Rairangpur,

6.7.2 Entrepreneurship Empowerment

Within the realm of entrepreneurship, our commitment extends to fostering opportunities for Women Self Help Groups (WSHG) in the areas of Metering, Billing & Collection (MBC). This initiative operates in alignment with the comprehensive guidelines outlined by the Energy Department and Mission Shakti, under the Government of Odisha. Our engagement with WSHGs transcends MBC, encompassing a diverse array of Income Generation activities.

To ensure the optimal performance and skill set of our women members in MBC, we actively organize training and capacity-building programs. These initiatives are strategically implemented to enhance the proficiency of WSHGs, thereby fortifying their capabilities in MBC operations.

Thus far, our impact has been significant, with 307 WSHGs actively participating in these initiatives, leading to direct employment for 614 women. The tangible outcomes are reflected in the monthly incomes of individuals, ranging between 8000 to 12000.

Importantly, our approach not only uplifts the directly engaged members but also indirectly benefits non-employed WSHG members. This is achieved through a structured mechanism wherein those involved in MBC activities are obligated to contribute 10% of their monthly income to the collective well-being of the group, reinforcing a sense of shared prosperity.

6.7.3 Empowering through Education Initiatives

6.7.3.1 Women Literacy Program

In our commitment to education, we've established 40 Women Literacy Centers in the slums of Balasore, Mayurbhanj and Keonjhar, benefiting a total of 1600 women from marginalized communities with essential functional literacy skills. Our collaboration with TCS extends to providing free Odia learning software and incorporating digital and financial literacy modules into the curriculum, ensuring a comprehensive educational experience.

6.7.3.2 Digital Literacy Program Our Digital Literacy Program serves as a beacon for empowerment, providing alternative livelihood opportunities to Women Self Help Group (WSHG) and unemployed youth in JAJPUR, BALASORE, and BHADRAK CIRCLE.

With over 650 volunteers trained, reaching more than 1,00,000 citizens. This program not only facilitates digital payments but also promotes awareness about digital literacy, all while endorsing the MyTataPower app, facilitating over 50,000 digital payments.

6.7.3.3 Club Enerji Programme

Under the banner of Club Enerji, we focus on energy conservation and environmental awareness in 125 schools across all five districts. Our initiatives have educated over 40,000 students on energy conservation practices, with the noteworthy achievement of five students selected to participate in the National Urja Mela in New Delhi.

6.7.3.4 Coaching Classes Programme

Our Coaching Centres, operational in JAJPUR and BHADRAK CIRCLE, play a pivotal role in providing academic coaching to underprivileged students from Government Middle Schools and High Schools.

More than 1200 Already get benefitted from This Initiatives while over 1000 students are currently enrolled in these centers, where subjects like Mathematics, English, and Science are taught.

The coaching sessions are strategically conducted both before and after school hours within the Government School Campus, ensuring accessibility and convenience for the students. This holistic approach aims to uplift and empower the future generations through quality education.

6.7.4 Providing Essential Services and Fostering Social Impact

7.7.4.1 Essential Services

Within the realm of essential services, our focus extends to organizing health camps in the remote pockets of rural areas, ensuring that basic health services are readily accessible to the doorstep of the rural community. A standout initiative by TPNODL is our unwavering commitment to providing free health services to those in need. Operating across five different circles, our Five Mobile Health Dispensary (MHD) Teams are equipped with ambulances doctors, pharmacists, and nurses.

These dedicated teams work tirelessly, touching the lives of over 100 patients each day, totaling around 2500 patients per month. The impact is profound, with almost 2.4 Lakh beneficiaries directly get benefitted from the services rendered by our Mobile Health Units (MHU).

Beyond medical assistance, our commitment extends to community engagement through awareness campaigns on various health and sanitation issues. Actively engaging with communities, we educate them on preventative measures, fostering a culture of overall well-being.

6.7.4.2 Employee Volunteering

A cornerstone of our CSR efforts lies in the innovative Employee Volunteering Programme, a testament to our dedication to creating a positive impact on society. Our employees actively participate in various CSR activities, including Tata Volunteering Week, Company initiative volunteering and ProEngage.

Twice a year, during the months of March and September, we channel the collective energy of our workforce into Tata Volunteering Week. This platform witnesses the impressive participation of over 5500 employees, collectively contributing almost 2000+ hours to volunteering work.

Their efforts span diverse initiatives, including plantation drives, energy conservation programs in schools and colleges, visits to old age homes and orphanages, participation in sanitation programs, road rallies, and city clean-up events.

The Employee Volunteering Programme goes beyond benefiting the communities touched by these activities; it enriches the lives of our employees. Despite their demanding schedules, TPNODL employees willingly dedicate their time to contribute to the well-being of society, embodying our commitment to social responsibility and community welfare.

TPNODL's comprehensive CSR initiatives demonstrate a commitment to holistic community development, emphasizing education, employability, and essential services, all while actively involving its employees in creating a positive impact on society.

In the ensuing year, TPNODL will continue to focus on strengthening the areas mentioned above and also carve out new areas of social responsibility within 4E pillars of CSR theme in order to create positive impact in the lives of people we serve.

7. Allocation of Wheeling and Retail Supply Cost

As per OERC (Determination of Wheeling and Retail Supply Tariff) Regulation,2022, the distribution licensee shall segregate the accounts of the Licensed business into Wheeling business and Retail Supply Business within one year of notification of the regulation and till the time the Distribution licensee submits audited and certified separate accounts for Wheeling Business and Retail Supply Business , the allocation matrix provided under regulation 2.5.2 shall be applicable.

In line with the Regulation 2.5.1 and 2.5.2 of the Tariff Regulation, the DISCOM has prepared an allocation statement  apportioning  cost and revenues to Wheeling and Retail supply business and submits it for kind approval of Hon’ble Commission.

Table-62: Statement of Allocation of Wheeling and Retail Supply Cost

(Rs. In Lacs)

| Sl No. | Cost/Income Component | ARR for Ensuing FY | Assumption Ratio for consideration in Wheeling Business | Assumption Ratio for consideration in Retail Supply Business | Wheeling cost for Ensuing FY | Retail supply Cost for Ensuing FY |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Cost of Power | 305157.16 | 0% | 100% | 0.00 | 305157.16 |
| 2 | Transmission Charges | 20925.06 | 0% | 100% | 0.00 | 20925.06 |
| 3 | SLDC Charges | 160.00 | 0% | 100% | 0.00 | 160.00 |
|  | Total power purchase cost * | 326242.22 | - | - | 0.00 | 326242.22 |
|  | O&M | 0.00 |  |  |  |  |
| 4 | Employee Cost | 54318.40 | 60% | 40% | 32591.04 | 21727.36 |
| 5 | Repair & Maintenance Cost | 28869.85 | 90% | 10% | 25982.87 | 2886.99 |
| 6 | Administrative & General Expenses | 18681.83 | 50% | 50% | 9340.91 | 9340.91 |
| 7 | Bad & Doubtful Debt including Rebate | 4499.33 | 0% | 100% | 0.00 | 4499.33 |
| 8 | Depreciation | 12730.07 | 90% | 10% | 11457.07 | 1273.01 |
|  | Interest on Loans | 0.00 |  |  |  | 0.00 |
| 9 | for Capital loan | 8477.52 | 90% | 10% | 7629.76 | 847.75 |
| 10 | for Working capital | 3391.33 | 10% | 90% | 339.13 | 3052.20 |
| 11 | Interest on Security Deposits | 6368.41 | 0% | 100% | 0.00 | 6368.41 |
| 12 | Return on Equity | 12779.53 | 90% | 10% | 11501.57 | 1277.95 |
| 13 | Tax on RoE | 4298.55 | 90% | 10% | 3868.70 | 429.86 |
|  | Special Appropriation | 0.00 |  |  |  | 0.00 |
| 14 | Carrying Cost | 2555.39 | 25% | 75% | 638.85 | 1916.54 |
| 15 | True Up of Current year GAP 1/3rd | 0.00 | 25% | 75% | 0.00 | 0.00 |
| 16 | Other, if any-Contigency Reserve | 0.00 | 100% | 0% | 0.00 | 0.00 |
| 17 | Grand Total | 483212.42 |  |  | 103349.90 | 379862.52 |
| 18 | Total Misc. Receipts | 18168.91 | 10% | 90% | 1816.89 | 16352.02 |
| 19 | Total Revenue Requirement | 465043.51 |  |  | 101533.01 | 363510.50 |
| * Allocation of power purchase cost towards wheeling has been made considering 8 % loss on input after effecting EHT Sales |  |  |  |  |  |  |

8. Compliance to Directives

In compliance to the directions given under RST order FY 2024-25, the licensee had submitted pointwise compliance vide letter no. TPNODL/Regulatory/2024/4208 dated 29.6.2024 for kind perusal of Hon’ble Commission. Pointwise compliances to the directions are furnished hereunder:

- Direction under Para 260 (a)

All DISCOMs are directed: to provide the norms for engaging the outsourcing personnel through Business associates, details of number of outsourcing personnel at each division & circle level and works/responsibilities assigned to them within 30th June, 2024.

Compliance:

Hon’ble Commission has issued distribution license to TPNODL with some assigned performance

targets to be met within the stipulated timelines. TPNODL started operation with effect from 1.4.2021 in compliance to Vesting Order of Hon’ble Commission. After takeover, keeping in view the operational requirements, TPNODL has engaged various new agencies from September, 2021 for undertaking meter reading, spot billing and collection activities in every pocket of distribution area. Various collection mechanisms have also been engaged to collect the monthly revenue. Keeping in view the critical need to drastically reduce the AT&C Losses and achieve the target set by Hon’ble Commission, special emphasis was required to improve the billing and collection efficiencies.    The licensee has put in place new MBC contract, through reengineering   of contract and modality for separated meter reading-billing and collection to increase the consumer coverage. Billing coverage has increased from 73.13%  in FY 22 to 98.59%  at the end of FY24 and monthly collection coverage from 31% to 82.81%. Percentage of provisional bills have been brought down from 41.70% to 1.27%.

The norms adopted by the licensee for engaging the outsourced personnel through Business Associates for meter reading are furnished in the following table.

| Table No.:-63 Assessment for BA manpower for Meter Reading |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Section Nos | Section type | Consumer Count | Coordinator | Supervisor | Meter Reader |
| 20 | Urban | 184020 | 1 per Division | 1 for 2 Section | 5 per Section |
| 10 | Semi Urban | 138481 |  |  | 8 per Section |
| 91 | Rural | 1109840 |  |  | 8 per Section |
| 38 | Remote Rural | 402883 |  |  | 8 per Section |
| 16 Division Coordinator, 75 Supervisor, 1254 Meter Readers |  |  |  |  |  |

In 20 urban sections with consumer count 1,84,020, five-meter readers per section have been engaged.  For balance 10 Semi-Urban sections, 91nos. of Rural sections and  38  remote rural  sections, eight meter reader per section have been engaged. One supervisor for two sections and one co-ordinator per division have been engaged though Meter Reading and Billing contract. Section wise numbers detailed in the above table.

Similarly, for collection activities the numbers of bill collectors have been deployed keeping in view the consumer density/ demography of the section. Detailed norms adopted by the licensee furnished in the following table.

| Table-64 Assessment of BA Employees for Collection activities |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Section Nos | Section type | Consumer Count | Coordinator | Supervisor | Disconnection Squad | Bill Collector |
| 20 | Urban | 184020 | 1 per Division | 1 for 2 Section | 1 Skilled LM +1 Helper per Section | 4 per Section |
| 10 | Semi Urban | 138481 |  |  |  | 6 per Section |
| 91 | Rural | 1109840 |  |  |  | 7 per Section |
| 38 | Remote Rural | 402883 |  |  |  | 13 per Section |
| Total 16 Division Coordinator, 81 Supervisor, 159 skilled LM & 159 Helper, 1235 Bill collector |  |  |  |  |  |  |

It is pertinent to mention that, the entire network right from 33KV feeders to LT consumers were previously owned and maintained only by the Junior Manager (O&M) along with his team comprising of limited number of Lineman A/B/C, Helper, and Jr. Technician posted in respective sections. E&MR section was extending support to section staff for maintenance of 33/11KV primary substations. As sufficient manpower was not available, only limited corrective maintenance and restoration of power supply was in place.

# To address the above issues and for proper maintenance of network, separate AMC has been introduced post takeover of TPNODL for 33KV and 11KV maintenance to create a culture of preventive maintenance.

Annual maintenance contracts for 33 kV network have been established with expert market agencies for all 5 circles. The Performance Based Maintenance Contract also includes 24X7 Breakdowns Crews for restoration of 33KV & 11KV feeders and substation equipment. Besides, preventive maintenance activities are being performed as per the maintenance plan and schedule prepared by TPNODL using the SAP PM system.

The norm adopted by the licensee for deployment of outsourced manpower for O&M activities for all the sections, 711 Fuse Call Centres and for deployment in the division and Circle level to attend all operational issues within the PA timeline are detailed in the following table.

| Table-65 Assessment for BA manpower for O&M activities for Total 44 Nos of Urban Sections & 115 nos of Rural Section, 84 Urban FCC & 627 Rural FCC, 5 Circles, 16 Division |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Section Type | Supervisor | Fuse Call Centre (FCC) Manning -for LT No Current Complaints | Maintenance Gang -For Preventive Maintenance of DT & 11kV Network | Breakdown Gang - For attending 11kV & LT Breakdown | Customer Service Executive |
| Urban | 1/ Section | 1 SkLM + 1 Helper/Shift/FCC in 3 Shift | 3 SkLM + 3 Helpers/ Section | 1 SkLM + 1 Helper/Shift/Section in 3 Shifts | 1/ Shift/ Section in 3 Shifts |
| Rural | 1/ Section | 1 SkLM + 1 Helper/Shift/FCC in 2 Shift | 3 SkLM + 3 Helpers/ Section | 1 SkLM + 1 Helper/Shift/Section in 2 Shifts | 1/ Shift/ Section in 2 Shifts |
| Total 159 BA Supervisors, 2367 Skilled Lineman, 2367 Helpers and 362 Customer Service Executives |  |  |  |  |  |

| Location | Supervisor | PSS Operator | Maintenance Gang - For Preventive Maintenance of 33kV Network | Breakdown Gang - For attending 33kV Breakdown |
| --- | --- | --- | --- | --- |
| Circle | Nil | 1 SkLM + 1 Helper/Shift/PSS in 3 Shift | Nil | 2 SkLM + 1 Helpers/ Circle/Shift |
|  |  |  | 4 SkLM + 3 Helper/Division | Nil |
| Division | 1/Division |  |  |  |
| Total 16 BA Supervisors, 1056 Skilled Lineman, 783 Helpers |  |  |  |  |

- Direction under para 260 (b)

To carry out Energy audit for assessing LT & HT loss

Compliance:

Energy audit is considered as the key focus area by the TPNODL. In order to ensure precise and timely energy consumption measurement at various voltage levels, several initiatives have been implemented to establish robust metering infrastructure. With this objective, all the defective /faulty meters along with non-DLMS meters are replaced with DLMS meters at all the 33 kV and 11 kV Voltage level in PSS and ensured 100% metering for energy consumption measurement. TPNODL has placed a strong focus for the installation/replacement of CT and PT units in the PSS to ensure reliable voltage and current source for the metering. All these 33 kV and 11 kV feeder meters are equipped with AMRs for accurate and remotely capturing of the energy consumption on monthly basis. Furthermore, the energy audit is extended up to the DT level by installation of smart meters for the DTs with capacity 100 KVA and above.

These initiatives have enabled TPNODL to conduct energy audits across various voltage levels in accordance with the directives and notifications of the Gazette of India for Energy Audits and relevant guidelines published by the Bureau of Energy Efficiency (BEE).

The various Key Energy Audit initiatives taken by TPNODL are as follows

100% Exchange Level Metering at OPTCL GSS

The energy meters installed at the exchange points, i.e. 123 Nos. of 33 kV feeders (Including 33 kV dedicated consumers) emanating from the OPTCL GSS, are metered and their energy is monthly accounted for. To ensure 100% energy accounting at the exchange level, a dedicated metering rectification drive was undertaken to ensured resolution of any discrepancies in the metering process. This involved checking of all the meters for wiring issues, meter connections, and replacing any old or defective meters.

Table No.-66   The status of 33 kV TPNODL Feeder metering at OPTCL GSS is as follows

| Circle | TPNODL 33 kV Feeders (at OPTCL GSS) | 33 kV Feeder with Metering | % Metering |
| --- | --- | --- | --- |
| Balasore | 32 | 32 | 100% |
| Baripada | 26 | 26 | 100% |
| Bhadrak | 13 | 13 | 100% |
| Jajpur | 22 | 22 | 100% |
| Keonjhar | 30 | 30 | 100% |
| Total | 123 | 123 | 100% |

To ensure accurate energy accounting at the point of energy exchange, a monthly energy audit is performed. This audit involves analyzing the raw data files from each meter and comparing them with the data from OTPCL-installed energy meters. This process helps to identify any discrepancies or disputes in energy consumption accounting, ensuring timely payment of Bulk Power Purchase Invoices without delays.

100 % metering for 33 kV and 11 kV Feeder at TPNODL PSS

In order to ensure accurate energy measurement at various nodes of PSS level, the utility has made significant efforts to revive the 33 kV and 11 kV feeder metering at the PSS. To achieve this, a dedicate project initiated including the 828 Feeder meter replacement, installation/revival of 723 Line PTs and CTs to replace burnt and faulty metering units, shifting of meters to panels inside PSS, rectification of unsafe wiring and connections, and mapping of complete energy flow of feeders for audit purposes. The Initiatives were taken to establish robust and accurate energy measurement infrastructure.

With the aforesaid initiative’s efforts, 100 % of 33 kV and 11 kV Feeder metering is achieved. This has facilitated the audit of technical losses of network as well as identify the 11-kV high loss-making feeders to initiate loss reduction activities.

The Circle wise current status of metering is as follows

A. 100% metering for the 11 kV Feeders

| Circle | 11 kV Feeders |  |  |
| --- | --- | --- | --- |
|  | Total 11 kV Feeders | Feeder Metering | % Completion |
| Balasore | 231 | 231 | 100% |
| Baripada | 191 | 191 | 100% |
| Bhadrak | 129 | 129 | 100% |
| Jajpur | 133 | 133 | 100% |
| Keonjhar | 169 | 169 | 100% |
| Total | 853 | 853 | 100% |

B. 100 % Metering for the 33 kV Feeders PSS I/C Feeders

| Circle | 33 kV PSS Feeders |  |  |
| --- | --- | --- | --- |
|  | Total 33kV Feeders | Feeder Metering | % Completion |
| Balasore | 69 | 69 | 100% |
| Baripada | 54 | 54 | 100% |
| Bhadrak | 35 | 35 | 100% |
| Jajpur | 41 | 41 | 100% |
| Keonjhar | 48 | 48 | 100% |
| Total | 247 | 247 | 100% |

100% AMR Installation for 33 kV and 11 kV Feeders

TPNODL has implemented the initiative for the AMR installation for all the 11 kV and 33 kV feeders, at the PSS in order to capture the meter data remotely without manual intervention, so that timely and accurate energy accounting can be carried out by the organization. With this initiative, 1800 modems have been installed to fetch the accurate energy data in time bound manner. Some modems also installed for the HT and EHT consumer so that meter readings along with complete load survey can be captured remotely This has substantially curtailed the cycle time for energy meter data collection.

Table -67 Status of AMR Installation

| Circle | 11 kV Feeders |  |  | 33 kV PSS Feeders |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Total 11 kV Feeders | AMR Installed | % Completion | Total 33kV Feeders | AMR Installed | % Completion |
| Balasore | 231 | 231 | 100% | 69 | 69 | 100% |
| Baripada | 191 | 191 | 100% | 54 | 54 | 100% |
| Bhadrak | 129 | 129 | 100% | 35 | 35 | 100% |
| Jajpur | 133 | 133 | 100% | 41 | 41 | 100% |
| Keonjhar | 169 | 169 | 100% | 48 | 48 | 100% |
| Total | 853 | 853 | 100% | 247 | 247 | 100% |

With the AMR installation, it is feasible to monitor and collect the various others operational parameters viz peak loading, average voltage, power factor of the complete network system and plan the technical losses accordingly.

Energy Audit of the 33 kV Feeder Tree (33 kV GSS Level to 11 kV energy flow)

TPNODL has achieved 100% metering performance for the 11kV and 33 kV voltage level. Energy audits have been completed to compute technical losses for the 115 Nos. of 33 kV feeders at the following levels

- Energy Audit Level 1: Energy audit carried out for all 33 kV TPNODL feeders emanating from the OPTCL GSS, i.e., computation of the 33-kV line loss up to the PSS level.

- Energy Audit Level 2: Energy audit carried out for 33 kV PSS (247 Nos.), i.e., computation of the energy loss between 33 kV PSS incomer to 11 kV outgoing feeders (853 Nos.)

- Energy Audit Level 3: Energy Audit carried out between the 33 kV (115 No.) TPNODL feeders emanating from GSS to the 11 kV Feeders (853 Nos.) falling under them i.e. computation of the energy loss between 33 kV GSS energy flow to 11 kV Outgoing feeders

3. Direction under Para 260  (C)

To create robust consumer data base by introducing KYC mechanism and other method to identify genuine consumer(s) & eliminate bogus consumer(s).

Compliance:

TPNODL is obligated to serve a consumer base of around 24.58 lakhs  out of which 19.54lacs are live consumers. The consumers are utilizing electricity for various purposes starting from Kutir Jyoti and agriculture consumers to Heavy Industries. Maintenance of database for each and every consumer is most vital for the licensee. At the same time identification and mapping of the consumers with reference to the distribution network  also plays a crucial role for avoiding data  duplicacy   as well as  arrear accumulation.

The mapping of 33 kV and 11 kV feeder-wise consumers has been completed for around 20 lakh consumers, including both HT and LT consumers. The mapping  of consumers is continuously updated in coordination with the respective circle and divisional teams . Subsequently, the consumer mapping is correlated with their metering and billing data

Further, 15.73 lacs consumer mobile numbers have already been linked with the consumer accounts in the data base. No new connection is being released without authenticate identity proof  and mobile number.

For data sanitization also extensive structured efforts have been undertaken through site verification for identifying Ghost/Duplicate/Disconnected cases through deployment of External Agency and Internal Process strengthening. In addition, Artificial Intelligence based Optical Character Read (OCR) based meter reading are done for LT consumers for ensuring proper billing based on actual site data. Through system and site based verification 42,060 Extra Connections have been regularized.

4. Direction under Para 260 (d )

The Distribution Licensees shall prepare 10 years Resource Adequacy Plan covering period 2024-25 to 2033-34 in accordance with Resource Adequacy guidelines in consultation with GRIDCO & CEA to comply with requirements of Electricity Rules."

Compliance:

In compliance to the license conditions, TPNODL is preparing demand forecast Grid substation wise and already shared with the transmission utility. Some revisions have been suggested by OPTCL and we are on the job.

In coordination with OPTCL and GRIDCO and in compliance to the Resource Adequacy Guidelines of  CEA, we will prepare 10 years Resource Adequacy Plan  covering the period 2024-25 upto 2033-34.

5. Direction under Para 261

"All four (4) DISCOMs have estimated interest on long term Capital loan (debt) and Interest on Working Capital with different rate of interest varying from 8.25 % to 11.6%. The source of funding of Capital loan and rate of interest shall be submitted."

Compliance:

For availing loan, the licensee is thoroughly analyzing the quotations from several Banks  to meet the long-term  and short term loan requirements. Basing on the terms & conditions received from the banks, the Bank which quotes most competitive & lowest interest rate is finalized.

The details have been furnished before Hon’ble Commission vide letter no-TPNODL/Regulatory/2024/4208 dated 29.6.2024

6. Direction under Para 262

"The Commission had approved additional R&M of Rs. 95 Crs. (TPWODL: Rs. 60 Crs. & TPNODL: Rs. 35 Crs.) in ARR for FY 2023-24 for maintaining an inventory for materials which will be required for restoration of distribution network during natural disaster for all DISCOMs. This inventory will be used by other DISCOMs on transfer basis. In addition to above provision, the Commission approves Rs. 40 Crs. (Rs. 10 Crs for each DISCOM) in the ARR for FY 2024-25 as Disaster Resilient Fund (a Contingency Reserve Fund) to be maintained and operated by one of the DISCOMs for fast restoration of power supply during natural disasters.

The details of material bank created for meeting regular O&M activities and for meeting the contingency situation like cyclone shall be submitted by all DISCOMs. Considering high-cost involvement and susceptibility to damage/obsolence of equipment/material on storage, DISCOMs are directed to work out plan for cyclical stock build up at strategic locations along with consumption and replenishment plan for disaster mitigation. It has to be ensured that the material stock is built up ahead of expected period of cyclone and consumed on regular maintenance for optimum use of material bank so that no idle stock is maintained throughout the year under disaster mitigation."

Compliance:

TPNODL has a comprehensive Preparedness, Disaster Response / Restoration Plan & Restoration Management SOPs & Strategies before & after Cyclone.

Preparedness: A Rolling Material Bank, funded from the annual O&M budget, to ensure the availability of critical resources and equipment needed for immediate response during disasters. We conduct regular reviews of the rolling material inventory to assess its adequacy and relevance. Any necessary replenishments or updates are made based on evolving disaster management needs and technological advancements.

We have identified 163 strategic locations under different divisions and pole stock as on May’24 in those locations are furnished in the following table.

| Division | Strategic Location | Pole Stock as on May’ 2024 |
| --- | --- | --- |
| AED, Anandpur | 9 | 297 |
| KED Keonjhar | 9 | 179 |
| JED Joda | 8 | 28 |
| BED Balasore | 8 | 300 |
| CED Balasore | 11 | 407 |
| BTED Basta | 6 | 120 |
| SED Soro | 15 | 692 |
| JED Jaleswar | 9 | 526 |
| BED Baripada | 17 | 604 |
| RED Rairangpur | 13 | 407 |
| UED Udala | 5 | 70 |
| BNED Bhadrak | 16 | 835 |
| BSED Bhadrak | 8 | 377 |
| JRED Jajpur Road | 8 | 279 |
| JTED Jajpur Town | 10 | 189 |
| KUED, Kuakhia | 11 | 323 |
| Grand Total | 163 | 5633 |

Disaster Mitigtion SOP has alos been submitted before Hon’ble Commission for kind perusal.

While Hon’ble OERC has kindly allowed additional cost for keeping stock for meeting disasters, there is no mention of additional manpower required during restoration. In view of the same, it is requested that some additional O&M cost may kindly be allowed for executing restoration activities post disaster situation.

7. Direction under Para 263

The Commission observed following numbers of fatal and non-fatal accidents (human beings and animals) during the last two financial years. The number of fatal accidents is a matter of concern. The DISCOMs shall take adequate safety measures including safety awareness programs for work place safety and public safety to create an accident (fatal/non-fatal) free environment.

Compliance:

Out of the 45 nos. Human fatal cases that occurred  in FY 22-23, 39 nos are public fatalities . It is also pertinent to mention here that, out of 39 Public Fatal cases, 36 cases of are due to persons unauthorizedly /unconsciously coming in contact with live line.

However, the licensee has under taken the following initiatives to inculcate awareness both amongst the employees as well as Public to prevent such incidents:

A. Training, capability development and competency development/Behaviour intervention:

- Total 13 practice yards with porta cabins installed across 16 divisions and Safety Trainers hired to conduct across these training centre additions to that TPSDI training centre is installed at CED, Balasore for L1, L2 & L3 safety training.

- All the workmen are undergoing monthly theme-based training such as Work at height, Electrical Safety, Fire Safety Etc.

- Fire Extinguisher demonstration conduct at each office and PSS to aware TPNODL employee as well as BA employee to use Fire extinguisher.

- Basic First aid training conducted across PSS and offices

- Behaviour-based safety training and Jeevan Ki Aur a unique behavioural based i intervention provided by M/s Akaar Empowerment across TPNODL.

- Employee family awareness program such as “Hum Surakshit Ghar Surakshit” Involvement of family members of workmen to ensure abidance of safety rules while their family members are coming back at home to reinforce safe practice adoption.

B. Step change is taken to reduce accidents: -

- Innovative Pole climber Designed pole climber and implemented in 2 circles. It is easy to carry on two wheeler and replacing ladder. Because carrying ladder on two-wheeler is difficult.

- Innovative Self-locking Spring Controlled clamp used to overcome the problem of carrying 6 no. of discharge rods by two-wheeler.

- Audiovisual indicators of full body harness to detect anchoring and wearing a helmet. FBH equipped with LED to visualize of anchoring hooks and wearing a helmet. The red color LED will blink while wearing the FBH and fastening the waist strap.

- Suraksha Prahari:-  Application based software to report safety observation. 32,000+ observation reported till date.

- Drone AI: - A unique approach of safety visit in which drone is use for safety site visit finding the violation with the help of AI.

- Camera Mounted Safety Helmet: - Safety helmet is integrated with a camera with the top to supervisor the worksite.

- JSA APP: - Application based software in which JSA taken be issued, reviewed and approved

C. Process Development:

- Job Safety Analysis -JSA prepared for all non-routine activities. Site specific JSA has been carried out by Project Engineer /Section Manager and approved by immediate superior for all planned maintenance jobs. Every JSA must have the SLD showing the isolation points & discharge rod locations. Joint survey and risk assessment have been carried out by visiting the worksite by Operations, Projects & BA teams. No PTW is released without JSA.

- Safe zoning is being ensured before work on Electrical system of HT line and system and transfer of PTW at site where mandatory outage is required.

- No Supervision No Work concept is followed. Concerned officers monitor the activities of Site Supervisors deployed by the BA.

- Technical & safety competency mapping of BA supervisors is re-assessed and training is provided in addition to training on Behavior safety. Competency mapping of Project BA supervisors is carried out with development plan.

- Extensive TBT is conducted to stop unsafe acts done by workers. Test Before Touch concept is reinforced by behavioral interventions.

- Alcohol use by workmen during work had been checked using breath analyzers.

D. Public awareness:

- To aware electrical safety and observation reporting a WhatsApp number is introduced in which the unsafe acts done by workman is reported.

- For the top observer in the Public reporting WhatsApp number is being rewarded by the Senior leadership Team.

- Consumer awareness drive such as SuRaksha Bandhan a unique approach to create awareness among the public about the introduced WhatsApp number.

- 56 public safety awareness rallies conducted in FY24.

- 112 electrical safety awareness training sessions conducted at school and college level.

- Display of Public awareness video through LED van in all 5 circles.

- Sharing WhatsApp no. to the public to report unsafe condition /act in the Festive and Fair.

- Sharing pamphlet and display electrical safety awareness video in rural areas.

8. Direction under Para 264

"Low Voltage issue is one of the major concerns of the Commission in the operation of the distribution system. All four DISCOMs are directed to provide following information at all PSS level within 30th June, 2024.

- Nominal Voltage at PSS level for 33kV system and range of voltage variation.

- Nominal Voltage at PSS level for 11 kV system and range of voltage variation.

- Remedial measures taken to improve the Voltage profile at PSS level to keep the HT (33 kV & 11 kV) voltage within permissible limit so that desirable Voltage is achieved at Consumer end."

Compliance

As per the Meter data of April 24 the voltage variation range in the substations is as tabulated below

| Voltage Profile | PSS |  |  |  |
| --- | --- | --- | --- | --- |
| Total | 78 |  |  |  |
| Normal Voltage | 71 |  |  |  |
| Under Voltage | 7 |  |  |  |
| Source: First Landing PSS |  |  |  |  |
| 33kV Voltage Profile (Monthly Averages) at PSS ends : Apr, 2024 (Regulatory Limits : -9%, +6%, i.e., 30.03kV – 34.98kV) |  |  |  |  |
| Circle | 00 Hrs -06 Hrs | 06 Hrs -14 Hrs | 14 Hrs -18 Hrs | 18 Hrs -24 Hrs |
| Balasore | 31976.6 | 32267.9 | 31834.6 | 31588.3 |
| BARIPADA | 31456.1 | 31620.5 | 31191.3 | 31041.9 |
| JAJPUR | 31375.7 | 31571.4 | 31099.4 | 31032.1 |
| KEONJHAR | 32152.7 | 32206.0 | 31859.4 | 31844.0 |
| TPNODL | 31832.3 | 32017.4 | 31599.4 | 31465.4 |

Following remedial measures have been under taken for mitigation.

- 180.0 Ckm 33 KV conductor upgraded.

- 332.0 CKm 11 KV conductor upgraded.

- 36 Nos 33/11 KV substations have been added.

- 18 Nos power transformers have been upgraded.

- 15 Nos new Power transformer added on load diverted.

- 5 Nos of Voltage regulators have been installed.

- Length of 6 nos 33 KV feeder have been reduced by adding new feed.

- Length of 10 nos 11KV feeder have been reduced by adding new feed.

9. Direction under Para 265

"TPNODL has implemented standalone Solar & microgrid / Distributed generation schemes in remote & inaccessible areas of Keonjhar & Mayurbhanj District funded by Government of Odisha (instead of extending unviable distribution network to such places). The Commission is inclined to include under O&M expenses of such installations under CAPEX for continuation of benefit of such schemes to the Consumers of the locality even after the completion of warranty period of associated equipment / material. TPNODL may submit their proposal for approval of Commission. Any expenditure in this regard made by the Licensee shall be taken care during Truing up exercise."

Compliance: TPNODL has already submitted the Proposal for maintenance of Micro Grids and Standalone Solar installations before Hon’ble Commission vide letter No. TPNODL/Regulatory/2024/2457 dated 18.04.2024.

10.  Direction under Para 267

"In response to a query of an Objector, TPCODL has submitted that loss figures presented for the previous year is based on audit. TPCODL is directed to submit the actual HT loss observed in their area of operation based on the audit. Similarly, all other DISCOMs are also directed to submit their actual HT loss based on energy audit, so that Commission can use actual HT loss in the ARR for DISCOMs. The DISCOMs are also directed to intimate the status of metering of Distribution Transformers (DTRs) of capacity 100 kVA & above within 30th June, 2024".

Compliance

TPNODL is calculating the HT loss level up to 11kV based upon the load flow analysis by using CYME DIST. Based upon the study carried out for the HT losses are furnished in the following table

33kv Technical Loss Assessment

| Circle | FY 21-22 |  |  |  |  |  | FY 22-23 |  |  |  |  |  | FY 23-24 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Length (Km) | Peak Load (KVA) | Input Mus | Loss Mus | Annual Loss (%) |  | Length (Km) | Peak Load (KVA) | Input Mus | Loss Mus | Annual Loss (%) |  | Length (Km) | Peak Load (KVA) | Input Mus | Loss Mus | Annual Loss (%) |
| Balasore | 636.23 | 268772 | 971.03 | 34.88 | 3.59 |  | 660.28 | 270861.03 | 986.12 | 33.73 | 3.42 |  | 684.55 | 297819.3 | 1035.9 | 27.21 | 2.63 |
| Baripada | 673.21 | 149707.11 | 652.56 | 29.32 | 4.49 |  | 696 | 150113.27 | 657.63 | 26.98 | 4.1 |  | 717.32 | 155342.3 | 665.08 | 24.7 | 3.7 |
| Bhadrak | 368 | 126398.4 | 584.64 | 24.78 | 4.24 |  | 376 | 122923 | 499.88 | 21.52 | 4.3 |  | 362.86 | 132183.5 | 584.44 | 17.62 | 3.18 |
| Jajpur | 323.22 | 165255 | 656.06 | 30.51 | 4.65 |  | 351.51 | 178810 | 706.84 | 29.07 | 4.11 |  | 351.57 | 172851.9 | 744.32 | 32.98 | 4.43 |
| Keonjhar | 587.36 | 113767.76 | 488.39 | 15.51 | 3.18 |  | 622.16 | 116916.23 | 502.35 | 13.67 | 2.72 |  | 739.33 | 144451.1 | 555.11 | 12.97 | 2.34 |
| Total | 2588.02 | 823900.27 | 3352.68 | 135 | 4.03 |  | 2705.95 | 839623.53 | 3352.82 | 124.97 | 3.73 |  | 2855.63 | 902648.1 | 3584.85 | 115.49 | 3.26 |

11 kV Technical Loss Assessment

| Circle | FY 21-22 |  |  |  |  |  | FY 22-23 |  |  |  |  |  | FY 23-24 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Length (Km) | Peak Load(KVA) | Input Mus | Loss Mus | Annual Loss (%) |  | Length (Km) | Peak Load(KVA) | Input Mus | Loss Mus | Annual Loss (%) |  | Length (Km) | Peak Load(KVA) | Input Mus | Loss Mus | Annual Loss (%) |
| Balasore | 7326.27 | 250441.52 | 751 | 46.99 | 6.26 |  | 7429.59 | 260857.7 | 1035.73 | 45.74 | 4.42 |  | 7446.4 | 310961 | 1226.4 | 53.26 | 4.34 |
| Baripada | 10489 | 175209 | 690.78 | 31.14 | 4.51 |  | 10419 | 171099 | 674.83 | 29.33 | 4.3 |  | 10328.75 | 174980.9 | 736.79 | 30.26 | 4.11 |
| Bhadrak | 4532.54 | 146862.41 | 579.68 | 27.03 | 4.66 |  | 4556.08 | 147050.53 | 580.93 | 25.09 | 4.32 |  | 4611.33 | 171444.1 | 728.91 | 33.6 | 4.6 |
| Jajpur | 3124.51 | 177025.53 | 564.5 | 22.43 | 3.97 |  | 3131.72 | 179218.95 | 571.87 | 24.04 | 4.2 |  | 3133.00 | 173742.6 | 594.92 | 23.9 | 4.02 |
| Keonjhar | 7049.51 | 121737 | 488.26 | 20.05 | 4.11 |  | 7081 | 123449 | 503.79 | 20.6 | 4.09 |  | 7086.18 | 127598 | 507.86 | 19.57 | 3.85 |
| Total | 32521.83 | 871275.46 | 3074.22 | 147.64 | 4.7 |  | 32617.4 | 881675.18 | 3367.15 | 144.8 | 4.27 |  | 32605.66 | 958726.6 | 3794.88 | 160.59 | 4.18 |

*Those have been vetted by NIT, Rourkela.

Smart Metering for the DTs (Capacity >= 100 kVA)

Energy Accounting and loss identification at the DT level is one of the most important activity for steering the initiatives of AT&C loss reduction. In line with that, DT metering initiated by TPNODL to ensure DT wise energy measurement. It was targeted to install the smart meters on 8202 (owned by TPNODL) DTs having capacity >=100KVA.

Table-68 Smart Meter Installation Status on DTs Capacity >= 100 KVA

| Circle | Target (Annual) | Achievements | % Achievement |
| --- | --- | --- | --- |
| Balasore | 2886 | 2886 | 100% |
| Baripada | 1240 | 1240 | 100% |
| Bhadrak | 1264 | 1264 | 100% |
| Jajpur | 1635 | 1635 | 100% |
| Keonjhar | 1177 | 1177 | 100% |
| Total | 8202 | 8202 | 100% |

Currently, all 8202 DTs of capacity more than 100KVA are equipped with these smart meters and integrated with MDM.  In addition to real-time data acquisition, these smart meters are being used to monitor DT parameters remotely for driving operational and commercial excellence initiatives. GIS mappings are also integrated with the smart meters of DTs in order to provide accurate energy flow mapping up to the DT level in the GIS.

With this initiative, it is feasible to perform energy audit up to those DT level to identify the energy losses and formulate the loss mitigation plan.

9. Tariff Rationalisation Measures

# 9.1 Tariff Proposals and Rationalization Measures

# The Hon’ble Commission has taken immense steps in introducing a number of new schemes through which all the consumers across all the licensees could be able to avail reliable power supply at affordable rate. Specifically, for industries a competitive tariff in compared to industrial tariff of adjacent States.  The licensee again proposes the continuity of this scheme along with other schemes in the coming years with certain modifications wherever required. The required modification has been suggested in the foregoing paragraphs.

# During the ensuing year the licensee is proposing certain tariff rationalization measures in the following paragraph and also request Hon’ble Commission for continuation of existing benefits as the consumer is otherwise eligible.

The Licensee requests Hon’ble Commission for Continuation:

- Digital rebate to 4% for LT Domestic, LT GP single phase & Single-phase irrigation consumers

- Discount of 10 paise to Domestic Rural Consumers if consumed on actual meter reading

- Levy of CSS on RE power

- Special tariff to steel industries at 33 kV level without having CGP

- Continuity of Special tariff for industries having CGP with CD up to 20 MW to avail up to double the CD without levy of over drawal penalty. But the licensee shall have to operate within the approved SMD in such cases.In addition to this an industry availing this benefit shall not be permitted to avail the benefit of another scheme.

- Special tariff for Existing industries having CGP with CD >20 MW with minimum offtake 80% of existing CD with TPA among GRIDCO, DISCOM & Consumer with certain modifications as suggested in the proposal considering business requirement.

- Continuation Green Tariff Premium (GTP) mechanism.

Tariff Rationalization Measures (New Proposals as well as modification of existing where it is essential)

# 9.2 Additional Rebate of Rs.10/ - p.m. if opted E-Bill: (modification required)

Hon’ble Commission has introduced additional rebate of Rs.10/- p.m. for the consumers who opted E-bill in the RST order dt.13.02.2024. While implementing the order some practical challenges arises hence TPWODL has requested Hon’ble Commission for clarification. Hon’ble Commission has also pleased enough to clarify vide their letter dated 03.04.2024

Through the above clarification Hon’ble Commission has viewed that smart meters are having inbuild facility for generation of e-bill and hence by default excluded from this benefit.

In the above context it is humbly submitted that the purpose of extending E-bill rebate will not suffice through the above mechanism. Because the licensee will have to ensure serving the bill to the consumer as per the mandate of the Supply Code as quoted below, which will be definitely more costly. As per Regulation 147(i) where smart meters are available the licensee may not require go for spot billing. But as regards to serving of bill under the regulation the supply engineer has to made sufficient provision to ensure serving the bill. As per the present Distribution (Conditions of Supply) Code, 2109 vide regulation 147(i) licensees are directed serve the bill in the following manner;

“(i) It would be the duty of the engineer or his authorized agent to ensure that the bills are dispatched within ten days from the end of billing cycle and records of such dispatch are duly maintained. The licensee/supplier shall send the bills to the consumers either by post or by courier or through the messenger well before the due date to avoid any inconvenience to the consumer not covered under spot billing. The licensee/supplier may send the information on billed amount and due date of payment to the consumers through registered E-mail ID/Mobile numbers/smart meters. The mobile number of each consumer shall be collected /recorded for sending billing SMS.” (Emphasis added)

Even though, information to the extent of billed amount and due date of payment to the consumer has been mandated to send through registered E-mail Id/Mobile numbers/Smart meters etc but serving of bill to the consumer physically through courier/special messenger/spot billing has been strictly mandated. Further, the Hon’ble Commission has also directed to connect with the consumer through registered post/courier service/registered E-mail/personal service with proper acknowledgement in case of load reduction (Regulation 123) and Load Enhancement (Regulation 130). Therefore, considering the present lifestyle and technological advancement, the most powerful communication are email and mobile phone.

At present, all the licensees are spending a substantial amount on Meter Reading and Bill Distribution. In Dec-2020, the Ministry of Power (MoP) has also brought guidelines for replacement static/old meters with Smart meters in phased manner. Accordingly, across the country demand for Smart meters has been increased substantially and the licensee has also started installation of Smart meters. We have already installed/replaced around 180000 with smart meters and all the new 3-phase/1-phase connections are being provided with Smart Meters. So, consumers with smart meters can be served with E-bill without any additional cost. Going forward, all the consumers will be covered under Smart Meter fold. So, to promote installation of smart meters and reduction in Meter Reading and Bill Distribution Expenses, the licensee proposes Rs.10/ p.m. additional Rebate over and above all other rebate as the consumer is otherwise eligible may please be approved where a consumer desires/opt for E-bill instead of physical bill. If this is permitted, our MRBD cost will be zero where consumer is having smart meter.

Further, if provision of E-mail ID will be mandated the consumer can also get many information/communication from the licensee and the benefits are as under:

- Consumer will be able to get the estimate and all timely updates in her/his mail.

- No involvement of hard copy, no use of paper, system will become more Eco friendly, less carbon footprint.

- Fear of loss of physical copy shall be ruled out.

- Consumer can fetch the e-Bill details via his/her mail.

- No need of physical movement for customer which will enhance customer satisfaction.

Considering the above the licensee once again request before Hon’ble Commission to consider the e- bill rebate to both the consumer who are opting it as well as consumer having smart meter also.

# 9.3 Load factor rebate to HT & EHT industries

Load factor rebate to HT & EHT industries are continuing since long time. As per the present mechanism the following benefit is being extended

| Load Factor % | HT | EHT |
| --- | --- | --- |
| =<60% | 5.85 | 5.80 |
| >60% | 4.75 | 4.70 |

Presently, due to increases in average power purchase cost of the industries, they are pleading for enhancement of load factor incentive. Therefore, to protect the industries as well as improve industrial sales to bring equilibrium in sales mix, the licensee proposes a load factor incentive if the industry consumes more than 80% LF.

As per the prevailing tariff, EHT industries are eligible to get benefits of 10 paise per unit. To Enhance consumption under EHT category the rebate may be increased to 20 paise per unit for the consumption beyond 80% LF.

# 9.4 Enhancement of ToD benefit in solar hour

The Commercial & Industrial Consumers and Consumers provided with smart meters having MD >10KW, are eligible to get a ToD rebate of 10 paise/unit in Energy Charge during Solar Hours. The above Consumers shall pay a ToD surcharge of 20 paise/unit during Peak Hours. The ToD rebate and surcharge shall not be applicable during Normal Hours. For this purpose the hours in a day have been defined as follows:

8.00 AM to 4.00 PM - Solar Hours

After 4.00 PM upto 6.00 PM - Normal Hours

After 6.00 PM upto 12.00 Midnight - Peak Hours

After 12.00 Midnight upto 8.00 AM next day - Normal Hours

Further, overdrawal up to 120% of the CD is permitted during Normal hours only. As explained above during solar hour power is available in GRIDCO pool which can be consumed by industries if drawal beyond CD upto 120% is permitted. Hon’ble Commission may consider this aspect in the ensuing year.

# 9.5 Digital rebate if paid through Jansevakendra

Hon’ble Commission has permitted 4% rebate on the bill to the LT domestic and single-phase general-purpose category of Consumers only over and above all other rebates, if such Consumer pays the entire amount through digital mode before the due date. However, some rural, under privileged and less educated consumers are not able to pay through digital mode and always prefers to pay through cash only and some are paying through CSC, OCAC, Janseva kendra etc. In this regard licensee have already requested Hon’ble Commission for extension of rebate if they are paying through Jansevakendra, CSC,OCAC etc. While approving the same through below letter Hon’ble commission has directed DISCOMs for wide publicity.

Wide publicity will only arise if the same would be mentioned in the RST order. Therefore, Hon’ble Commission is requested to kindly consider this and may be mentioned in the RST order.

# 9.6 kVAh Billing to LT category of consumers with CD>110 kVA

Hon’ble Commission introduced kVAh billing system first time in FY 21-22 for HT & EHT consumers. However, in Para 	482 of RST Order FY 21-22, Hon’ble Commission held that “Three Part Tariff - LT consumers with connected load 110 kVA and above shall be billed with the following charges:

(a) Demand Charge (Rs./kVA)

(b) Energy Charge (kWh) (Paise/unit)

(c) Customer Service Charge (Rs./Month)

Similarly, In FY 22-23, the applicable charges were revised as follows:

“Para 181: Three Part Tariff - LT consumers with connected load 110 kVA and above

(a) Demand Charge (Rs./kVA)

(b) Energy Charge (Rs./kVAh)

(c) Customer Service Charge (Rs./Month)”

Again, In FY 23-24, the applicable charges defined as follows:

“Para 192: Three Part Tariff - LT consumers with connected load 110 kVA and above

(a) Demand Charge (Rs./kVA)

(b) Energy Charge (Rs./kVAh)

(c) Customer Service Charge (Rs./Month)”

Now, in FY 2024-25, the current applicable charges defined for LT consumers with CD >110 kVA  is as follows:

“Para 209: Three Part Tariff - LT Consumers with connected load 110 kVA and above

(a) Demand Charge (Rs./kVA)

(b) Energy Charge (Rs./kVAh)

(c) Customer Service Charge (Rs./Month)”

At the same time, in all the aforementioned Tariff years Hon’ble Commission has notified through Annexure-B, that Energy Charges for LT consumers with CD>110 kVA should be paid in Paise/kWh.

Similarly, in all the Tariff years from FY-22 to FY-25 vide Para Nos. 494, 193,204 and 222 respectively Hon’ble Commission has defined Energy Charges for other LT category of Consumers (where PWWS >=110 kVA, GP >= 110 kVA and Large Industries >= 110 kVA are included) has to pay EC on the basis of per unit.

However, as per Paras 524 (FY 21-22),226 (FY 22-23),236 (FY 23-24) and 253 (FY 24-25) of the respective Tariff Orders, Hon’ble Commission has stated that in case of any ambiguity or discrepancy, the tariff reflected in Annexure-B will be considered final.

This has created confusion for the Licensees whether to bill with kWh or kVAh especially the Energy Charges applicable to LT consumers with a CD greater than 110 kVA.

Therefore, the Licensee requests Hon’ble Commission for a suitable clarification in this regard.

# 9.7  Allocation of Green Power to Industries having CGP

Previously in RST order RE power was permitted to CGP industries with GTP of 25 paise per unit. During FY 23-24 the DISCOM has created additional revenue of around Rs.2.78 lacs out of the same through allocating RE power.

Now during current year Hon’ble vide para 241 has disallowed RE power to CGP industries. But, at the same time the Hon’ble Commission in the Bulk Supply Tariff Order for FY 24-25 vide para 328 has permitted GRIDCO to allocate RE Power to the DISCOMs in proportion to their estimated total energy requirement for FY 24-25. For  FY 24-25, Renewable Energy of 3580.62 MU is available to GRIDCO, out of total power 37540 MU which is within 10%. Also, as per RST Order, 778.60 MU RE Power has been

allocated to TPNODL against its total approved input of 8163 MU. Accordingly, GRIDCO is allocating RE Power monthly to the DISCOMs on actual basis.

Hon’ble Commission in the RST Order FY 24-25 has directed that Consumers desiring to avail 100% RE Power has to pay Green Tariff Premium (GTP) of 20 paise/unit. However, this facility is not permitted to CGP Industries. Now, some of the Consumers/Industries are requesting the DISCOM to certify the quantum of RE Power included in their monthly consumption within their Contract Demand.

In view of the above, the Licensee humbly submits before Hon’ble Commission to permit the DISCOM to intimate the quantum of RE Power included in the monthly consumption of Consumer/Industries (incl. CGP) considering the actual allocation as received from GRIDCO. However, in the case of CGP Industries, the RE Power consumed monthly from DISCOM shall not be permitted for their Renewable Purchase Obligation (RPO).

The present GTP is 20 paise per unit for those who are consuming 100% green power. But, in the case of CGP industries as we are not allowing to claim RPO, we may allocate RE power as available with DISCOM on month-to-month basis as per actual allocation by GRIDCO with GTP of 10 paise per unit. If the green power of any DISCOM remains unsold it may be permitted to be re-allocated to the desiring DISCOM.

# 9.8   Special tariff for industries those who have closed their units if reopen/starts

TPNODL has made a wide study in its area of operation and found that there are no of industries who have closed their units since long. This may be due to different reason, but resources are getting wasted because of non-operational. To start a business creating all the infrastructure is always a challenge, however, having a set up an industry can start with minimum expenditure. Specifically, with the present market condition, which is moving at a much faster pace.  If a suitable tariff structure for the closed units can be introduced, we hope some more industry can restart their units. Further, when industries run, it will create employment opportunities, GST & Income Tax also contributes towards national GDP. Further operationalization of industries will help in growth of industrialization, create employment opportunity, improvement in national GDP etc.

  - The proposal is for industries those who have closed their units in complete shape prior to take over.

  - Industries those who have arrear outstanding even after adjustment of SD has to clear it’s dues before availing the benefit.

  - The industry has to start with the load when it was closed. No load reduction is permissible before or after availing this benefit during FY 25-26.

  - The incentive may be given @ 20% on entire units consumed if achieves 60% L.F. in a month.

  - Closed Industry may be permitted at 11kV or 33kV level with minimum CD of 500 kW.

  - As this is a special scheme for the revival of the closed units it will be for the year 2025-26 only.

  - Because of closure of units no one benefits, including the Government of Odisha who will get electricity duty @8% on energy charges. So, this will offset the incentive largely so offered.

  - This incentive will be over and above all other existing rebate in the tariff

  - Industries opting this benefit shall not be eligible for open access.

  - Industry availing this benefit shall not be permitted to avail benefit of another scheme.

# 9.9 Special tariff for existing industries who have no CGP for drawl of additional power beyond CD of 10 MVA

Upon the announcement of benefit to the extent of double the CD to the consumers who are having CGP, few of the other industries those who do not have CGP has started approaching for similar type of scheme for them so that they can utilize their existing installed capacity in full, beyond CD or may add capacity in the existing premises beyond CD if permitted. In line with special tariff for industry having CGP, a special tariff for non CGP industries connected in 33 KV level or above may kindly be considered. The scheme may be as follows:

- The agreement shall be between the industry & concerned DISCOM.

- Under 33 KV level the permissible limit of drawl is 15000 KVA, but licensee has the discretion to allow beyond the limit of 15 MVA on special ground considering the adequacy of system availability. If system does not permit then the opting industry has to augment the system of supply to higher level to avail this benefit.

- Industry interested for this scheme has to ensure minimum offtake of 85% L.F. of existing CD

- Load reduction shall not be allowed during the financial year or those who have reduced their load have to restore before availing the scheme.

- The power so consumed under this agreement may be treated as surplus power of GRIDCO and this quantum shall be over and above the approved quantum in ARR including SMD.

- Interested industry has to pay a flat rate for the additional energy so consumed beyond 85% of CD.

- Consumption upto 85% LF shall be billed as per existing RST

- No demand charges for the additional quantum beyond existing CD.

- Open access shall not be permitted during this special arrangement.

- As this is a special agreement adequate Payment security mechanism shall be in place before power transaction as well as there will be no rebate on additional power. However, DPS shall be applicable if payment is not made within due date.

- Industry availing of this benefit shall not be permitted to avail benefit of another scheme.

# 9.10 Special Tariff for Industries for Temporary Business Requirement

Hon’ble Commission in the RST order dt.13.02.24 vide para 93 has addressed this issue in the following manner

“Issue of Special Tariff for Industries for Temporary Business Requirement

The DISCOMs have suggested for temporary increase in CD of Industries having CGP when some of the units of such CGP undergoes maintenance. This suggestion cannot be accepted in view of the codal provision for enhancement of Contract Demand under Regulation 127 of the Supply Code, 2019. Over and above, this will affect the power purchase planning of DISCOMs and GRIDCO.”

However, considering the present dynamic nature of power sector power purchase planning is not a big challenge, which can be managed with proper co-ordination between DISCOM and GRIDCO as well as with the intending consumer. Therefore, it is once again submitted before Hon’ble Commission to think upon and consideration with suitable terms and conditions.

Why it is suggested is being mentioned below:

Under TPNODL area there are around 12 industries having their own CGP. Some of them has single unit of generation and some are having multiple units with different capacity. To maintain the generating unit’s annual maintenance is inevitable.  Similarly, some of the other industries need power intermittently to meet seasonal requirements. For such temporary outages of their CGP and short-term business need, they approach DISCOM for power for couple of months, sometimes even for less than 15 days. They are also not willing to increase their load for such short-term need as reduction of load has certain restrictions as per the prevalent regulation.

In view of the above TPNODL submits before Hon’ble Commission to approve/permit such temporary additional load beyond CD for a short period maximum up to 3 months. In that event the industry has to bear 10% higher charges on both normal Demand and energy component. Such additional consumption will contribute towards revenue enhancement and will help to protect risk of tariff enhancement. The above temporary arrangement shall be accommodated by the licensee well within its approved/permitted SMD, without additional burden to GRIDCO.

It is relevant to mention that presently there are around 80 nos. of CGPs across 4 DISCOMs (excluding NALCO and IMFA) and their installed capacity is around (5808 MW+2609 MW+166.38 MW+934.5 MW) 9517.88 MW. Therefore, the requirement of power during annual maintenance of their units may be needed from DISCOM. If some type of arrangement in the tariff is created it will be a win-win situation for all the stake holders. The licensee is once again submitting herewith before Hon’ble Commission to consider the above proposal in the ensuing year ARR.

# 9.11 Minimum Contract Demand for the industries having CGP.

# It is to submit that there are more than 80 CGPs across the states are connected with the Transmission & Distribution network those who are primarily dependent on their own generation for their captive need. They only reserve the CD with DISCOMs and uses occasionally and some are using some extent. Most of the industries are self-dependent. Even, those who are self-dependent & drawing in case of need, in such time DISCOMs SMD shoots up and sourcing of power also became immediate challenge to GRIDCO. As they are reserving a CD and hence exercising their right of drawal without any prior intimation as well as without advance planning. DISCOMs are also facing difficulties in projecting their annual input requirement properly. Comprehensively, it is now a great challenge to attend/ face their intermittent drawal behavior with present market condition.

Further, the demand charges here in Odisha is very less i.e 250 per kVA per month as compared to other neighboring states like Jharkhand, Chhattisgarh, Maharashtra, Andhra Pradesh, DVC etc where it is more than Rs.350 per kVA per month. Further, it is not a choice but rather it is on installed capacity.

Now, with Humble submission it is submitted that the reason for minimum offtake is necessitated for survival of the subsidized segment of consumer’s whose tariff are being cross subsidized through others. Unless a suitable step is being introduced, tariff sustainability will be difficult.

Presently there are more than 80 industries across Odisha, those who have CGP. They have established their CGP considering their load and business requirement; while doing so they are also keeping CD with DISCOM for additional requirements or occasional requirement. As the power market is moving towards different dimensions on year to basis with generation mix and has business impact commensurate with changed law, DISCOM has to equip itself to satisfy the customer as per their requirement with sustainable and affordable tariff. In this process, now it is observed that to protect the interest of industrial consumers, particularly industries, having CGP is affecting the other subsidized consumers of the State.

As they are synchronized with the STU or DISCOMs network keeping a CD as per their choice and drawing power as and when required particularly in peak house or when market cost is higher. Which is not only affecting DISCOM but posing an adverse impact on the power procurement plan of GRIDCO. Because of such behavior of the industry high-cost power is being sourced which could have been better procured with competitive tariff. Similarly, commensurate with their CD and drawal behavior DISCOM is planning power requirement in its ARR and load forecasting proposal, but when it comes to the actual the scenario is just reverse. Therefore, the DISCOMs input as approved by Hon’ble Commission is not maturing. In FY 23-24 Hon’ble Commission approved 7508 MU, whereas the actual became 7047 MU i.e more than 450 MU did not mature. Under this mechanism, the industry was ensuring minimum drawal of 80% which also ceases from Nov-24 onwards.

When all the DISCOMs are serving more than 95 lakhs of other category of consumers who are being under subsidized segment it is becoming unviable to sustain with higher BSP. Therefore, Hon’be Commission is requested to think upon and adopt suitable mechanism in the tariff structure for such industries to protect the power sector distribution segment in the interest of such domestic and irrigation consumers.

Therefore, the licensee proposes the following proposal for consideration of Hon’ble Commission:

The Contract demand (CD) should not be at their choice rather it has to be minimum to the tune of highest installed capacity of the generating plant. In case of multiple generation units, the highest capacity should be considered.

# 9.12 Revision of Reconnection Charges with penalty clause

It is submitted that the reconnection charges w.e.f. 01.04.2024 is continuing since last 12 years even though BST and RST of DISCOMs have increased no of times.

Category of Consumers & Applicable Rates

| Particulars | Prior to 1st April 2012 | Continuing since 1st April 2012 | Proposed Reconnection charges |
| --- | --- | --- | --- |
| LT Single Phase Domestic Consumer | Rs.75/- | Rs.150/- | Rs.500/- |
| LT Single Phase other consumer | Rs.200/- | Rs.400/- | Rs.1000/- |
| LT 3 Phase consumers | Rs.300/- | Rs.600/- | Rs.1200/- |
| All HT & EHT consumers | Rs.1500/- | Rs.3000/- | Rs.6000/- |

Now, the biggest challenge in the field even after disconnection, consumers are not willing to reconnect power supply formally but found to be reconnected again through their own means and ways. This is not only affecting business of the licensee, at the same time risk of fatal accident cannot be ruled out. It is not possible to monitor post disconnection by 24 X 7 with the available resources as well as it is not cost effective. Therefore, it is the humble submission of the licensee to put a separate stringent punishment, a separate penalty clause may be approved to create fear among such segment of consumers. In the event of consumer found reconnected without paying formal reconnection charges shall be imposed with 10 times of the reconnection charges, apart from other action as per law.

In addition to above, upon reconnection if the consumer fails to clear its dues regularly and the licensee is disconnecting the consumers, in such case the consumer has to pay 5 times of the reconnection charges for each subsequent reconnection so made.

# 9.13 Creation of Category for Mega lift points under EHT and applicability of Demand Charges.

The licensee may have few consumers under mega lift in 132kV supply system. There is no such tariff category under EHT for such supply. The Hon’ble Commission in the RST order dt.13.02.2024 has notified tariff for Mega lift points in the following manner:

“(xxviii)The Mega Lift consumers (who are using electricity for irrigation purpose and not covered under irrigation pumping and agriculture category of the Regulation) connected either to HT or EHT system shall be treated as GP consumers and shall not pay any demand charges and shall get an additional rebate of Rs.2 per unit (kVAh) on the respective energy charges.” (Emphasis Added)

It is respectfully submitted that extending rebate of Rs.2 per unit on Energy charges may be permitted but waiver of Demand charges is a discrimination with other consumers and the licensee is heavily affected. So, it requested to kindly create separate category under EHT with demand charges of Rs.250 per kVA and energy charges under graded slab method for Mega lift points connected at HT & EHT level.

9.14 Proposal for simplification of fixed charges i.e MMFC

As per existing RST structure across the state, it is mainly 3 Part like (i) Energy Charges/unit (ii) (a) Monthly Minimum fixed charges/kW for LT consumer and (b)Demand charges/kW/KVA/Month for HT & EHT consumer and (iii) Customer service charges per month per consumer those who are paying Demand charges. It is not applicable to those who are paying MMFC.

Further, monthly minimum fixed charges in LT category for irrigation pumping and agriculture, allied agriculture activities, allied Agro industrial activities, public lighting, LT industrial [Small] & LT industrial [Medium] is charged on different rates i.e. for 1st kW @ Rs. 20-100 and subsequent additional kW/KVA or part thereof @ Rs. 10-80 depending upon the category of consumer. This seems to be complex design of levying fixed charges and needs simplification.

On overall basis, Odisha DISCOMs are recovering approximately 10% of their total revenue excluding rebate and electricity duty through demand charges/monthly minimum fixed charges. Whereas in other states these percentiles is between 15-20%.

It is pertinent to mention here that the entire operating cost of DISCOMs such as R&M, A&G, Employee cost, depreciation, financing cost, ROE are fixed almost fixed in naturet. In ideal scenario, fixed cost of distribution company should be generally recovered through demand charges/monthly minimum fixed charges levied based on sanctioned load/contract demand or maximum demand of the consumer whichever is higher. Whereas in the current tariff structure the DISCOMs are recovering hardly within 10-15% of their total fixed cost through fixed charges.

This design of tariff is leading to loading of all incremental costs on energy-related components of consumers and has increased the risk of any change in the sales mix.

In view of above, Hon’ble Commission is requested to consider a simplification of current design for levying monthly fixed charges and rationalize the rates appropriately so that risk of change in sales mix is addressed to the extent possible. Rationalization of demand charges and monthly minimum fixed

charges would also disincentives consumers who found indulging in theft of electricity at the cost of regular paying consumers.

# Other Proposals :

9.15 Uniform Tariff for a specific category of Consumer as per load instead of Voltage of Supply:

Presently few of the consumer are covered under LT & HT for Tariff purposes considering their Voltage of Supply, which creates many confusions and disparity. They are as follows:

| Category of Consumer | Voltage of Supply (LT) | Voltage of Supply (HT) |
| --- | --- | --- |
| General Purpose >= 110 kVA | Energy Charges Rs.6.20 p/u, Demand Charges Rs.200/kW & Customer Service Charges Rs.30/month | EC of Rs.5.85 p/u (up to 60% LF and Rs.4.85 p/u for >60% LF consumption), DC Rs.250/kVA & CS Charges Rs.250/month |
| General Purpose>70 kVA <= 110 kVA | No such Tariff Category | -do- |
| Irrigation Pumping and Agriculture | Rs.1.50 p/u for EC and Rs.20 p/m MMFC | Rs.1.40 p/u for EC, Demand Charges Rs.250/ kVA & CS Rs.30/-pm |
| Allied Agricultural Activities | Rs.1.60 p/u for EC and Rs.20 p/m MMFC | Rs.1.50 p/u for EC, Demand Charges Rs.250/ kVA & CS Rs.30/-pm |
| Allied Agro-Industrial Activities | Rs.3.10 p/u for EC and Rs.80 p/m MMFC | Rs.3.00 p/u for EC, Demand Charges Rs.250/kVA & CS Rs.50/-pm |
| PWWS<110 kVA | Rs.6.20 p/u EC and MMFC Rs.50/kW | - |
| PWWS>110 kVA | Rs.6.20 p/u EC, Demand charges of Rs.200/kW and CS Rs.30/pm | EC of Rs.5.85 p/u (upto 60% LF and Rs.4.85 p/u for >60% LF consumption), DC Rs.250/kVA & CS Charges Rs.250/month |
| Medium Industry >=22 kVA <110 kVA | Rs.6.20 p/u EC and MMFC Rs.100/kW | - |
| Medium Industry* | - | EC of Rs.5.85 p/u (up to 60% LF and Rs.4.85 p/u for >60% LF consumption), DC Rs.150/kVA & CS Charges Rs.250/month |

*No such limitation of load has been defined under HT.

Even though as per existing RST, irrespective of voltage of Supply, considering type of metering (LT or HT) tariff is applicable, but in practical implementation and acceptability to consumers it is becoming more cumbersome and confusing. Therefore, to avoid confusion the DISCOM proposes that upon the consumer’s contract demand/connected load and metering type (LT or HT) tariff may be fixed instead of voltage of supply. The benefits to both licensee and consumer would be as follows:

- Transformer loss can be recovered for all consumers if the meter side is HT and HT tariff for load >=70 kVA.

- LT consumers (Load <70 kVA) to be billed as per slab rate and transformer Loss will not be levied.

- There may be uniformity in tariff category and Metering side.

# 9.16 Billing with Defective Meter

As per existing regulation the licensee is permitted to raise provisional bill for maximum up to three months and during this time the defective meter has to be replaced with new meter. Thereafter, the provisional bill so raised shall be revised considering actual meter reading for consecutive six billing cycle. The extant regulation of OERC Distribution (Conditions of Supply) Code, 2019 is appended below:

“155. For the period the meter remained defective or was lost, the billing shall be done on the basis of average meter reading of the past three billing cycles immediately preceding the meter being found/reported defective. These provisional charges shall be leviable for a maximum period of three months during which time the licensee/supplier/consumer is expected to have replaced the defective meter. The provisional bill shall be revised as per the average of six consecutive billing after a new meter is installed. In no case the previous bill can be revised for more than two (2) years prior to the installation of new meter.”

With the above mechanism the licensee is facing the following difficulties in implementing the  provision

  - Consumers are not paying even the actual bill after replacement of defective meter unless the bill is revised. The licensee is helpless even collecting the actual bill from the consumer & has to wait for six consecutive billing cycle.

  - In many cases consumers are desiring to revise the bill considering past actual consumption in corresponding period, but DISCOM can not violate the provision of law.

  - Some are insisting for bill revision considering actual metering after one month’s consumption.

  - Most of the consumers are trying to control the consumption and tempted to use through other means with an intention to reduce the billing even though they have actually used during meter defective period.

With the above ground reality, the DISCOM is not able to improve the collection efficiency and has to wait for six months till bill is rectified. Even after lapse of six-month when the bill is revised with upward assessment the consumer is not willing to pay such huge amount.

The DISCOM understands the provision of prevailing regulation, however, Hon’ble Commission has the power to issue practice direction for proper billing and collection thereof till the supply code, 2019 is being amended.

Therefore, the Licensee humbly submits that, a practice direction may kindly be given in the RST order FY 25-26 for revision of the provisional bill in case of defective meter, on the following alternatives:-

- The consumer shall be billed on the basis of actual average consumption recorded during the corresponding period in the preceding year, excluding the provisional billing:

- If actual consumption recorded during the corresponding period in the preceding year is either not available or partially available, the actual average consumption of past 6 (six) billing cycles immediately preceding the date of meter being detected or reported defective, excluding the provisional billing, shall be used for billing purpose: Provided further that

- If the actual average consumption of past 6 (six) months is either not available or partially available, the average consumption for the next 3 (three) billing cycles excluding provisional billing after the installation of new meter shall be used for billing purpose.

Further, bill revision of past period beyond 2 years is not permitted due to which pre-vesting period dues are held up and consumer dissatisfaction continues. Therefore, for benefit of all the stake holders a relaxation in bill revision may kindly be extended for one more year.

# 9.17 Combined Application form replacing Form-I & Form-II

Presently, as per Regulation 3, a Domestic & GP consumer is opting Form-I for New Service Connection / Load enhancement/ Load reduction/ Reconnection /Change of Name/ Shifting/ Temporary Supply/ Conversion of Service/ Change of consumer category and Form-II is applicable to other category of consumers to the extent of New Connection/Load Reduction/Load Enhancement/Change of Name.

With this, consumers are confused about the Application form which one they must choose (Form I or Form II). Licensee is also unable to capture the detailed information about the consumer. Hence, TPNODL proposes to introduce a single application form which is beneficial for both consumers and licensee. Even though it requires amendment of Regulation, Hon’ble Commission with discretionary power may direct/allow through practice direction to adopt a common Application Form till Regulation is amended.

# 9.18 DPS on Electricity Bills

The Hon’ble Commission had discontinued the practice of levy of DPS on the Electricity Bills in the Tariff Order for FY 2023-24. The Extracts of the Tariff Order is as follows:

“87. The issue of levy of DPS to above categories of consumers was raised by DISCOMs during hearing. The Commission thoroughly scrutinized the issue. It is found that levy of DPS is acting as a hurdle for small consumers in resolving their disputed bills. The revenue impact of DPS for these small consumers is also not substantial. Therefore, in order to resolve bill disputes quickly, the Commission decides to abolish DPS for LT Domestic, LT General Purpose and HT Bulk Supply Domestic Consumers w.e.f. 01.04.2023.”

The DISCOMs have also requested in ARR of 24-25, wherein Hon’ble Commission in para 93 has addressed in following manner;

“Issue of Levy of Delay Payment Surcharge (DPS) on Electricity Bills

On the issue of levy of DPS on LT Domestic, LT General Purpose and HT Bulk Supply Domestic Consumers, it is clarified that, since FY 2023-24, this has been abolished. It is not out of place to mention here that, levy of DPS is a deterrent for defaulting Consumers who pay the bill after lapse of one month of the due date. However, from the performance of DISCOM, it is seen that the overall collection efficiency has improved significantly. The Act empowers the DISCOMs to disconnect the supply of electricity in case of non-payment of Bills. Therefore, it will not be prudent to reinforce the DPS.”

However, rescinding the levy of DPS has resulted in willful delay in payment as there is no deterrent now available. The DPS was acting as the required deterrent and the consumers will have to pay in time. In this regard, it is assured that DPS would be applicable only on the undisputed portion. Hence when the Bill gets revised due to Disputes, the DPS would be once again computed on the Un Disputed amount. Further we also note that the consumers at times are required to pay DPS as the bill delivery is delayed. Such situation arises as the Due Date is very short of 7 days. Hence in order to address this grievance of the consumer, it may be appropriate to increase the Due Date of such consumers to 30 days. In this regard, the stand of the Hon’ble Commission in Tariff Order for FY 2022-23 is relevant and presented below:

“There is a tendency among the category of LT Domestic, General Purpose and HT Bulk Supply Domestic etc. consumers who don’t pay delayed payment surcharge to be negligent towards bill payment once the due date is over. Therefore, it is directed that LT Domestic, LT General Purpose and HT Bulk Supply Domestic consumers will get 10 paise/unit rebate for prompt payment of the bill within due date. Thereafter, if the bill is paid within the next due date, there shall be no Rebate/Delayed Payment Surcharge. But if it is paid beyond the next due date then there shall be a Delayed Payment Surcharge of 1% of the billed value for each month of delay.”

The Hon’ble Commission is, therefore, requested to kindly consider re-introducing the DPS for LT Domestic, LT General Purpose and HT Bulk Supply Domestic Consumers. However, the Due Date for the payment can be extended from the normal 7 days to the next due date as made applicable in the past. But for the rebate entitlement 7 days payment may please be retain.

As of now there is no deterrent for defaulting consumers falling under such category who are not paying their electricity bills on or before due date, despite the fact that a lot of rebate mechanism exist in the Tariff Order. Discoms are putting lot of resources and effort into recovery of electricity dues which ultimately burdening the rest of consumers who are making timely payment to Discom.

In case of disconnection due to non-payment of electricity dues by due date such consumers are tend to illegally restore the supply or indulge in theft of electricity by means of hooking and others illegal practices which jeopardizing the interest of rest of consumers.

Disconnection of electricity due to non-payment requires prior notice for 15 days which again incentivize such consumers not to pay dues on due dates.

In view of above it is once again requested to Hon’ble Commission that mechanism to levy DPS for delay payment of electricity dues must be introduced so that interest of other consumers are protected. Further, incase of cheque bounce the DPS must be levied from the due date to the date till it is cleared apart from other legal action as available as per negotiable Instrument Act shall be scrupulously followed.

# 9.19 Pro rata Billing

# The attention of the Hon’ble Commission is drawn towards importance of pro-rata billing for Tariff Slab applicability in case of billing being in deviation to the monthly billing cycle. The relevant Regulation for Billing Cycle is reproduced below:

# “109(i) The meter shall normally be read on fixed date ± 3 working days for monthly billing cycle. The licensee/supplier shall issue proper photo identity cards to all meter readers and meter readers shall carry the photo identity card during the course of meter reading. (Emphasis Supplied)”

While the Discoms are working towards achieving the above norm under normal conditions, the Hon’ble Commission is cognizant of the uncontrollable climatic conditions such as Kalbaisakhi, monsoons and extremely high temperature during summer months which beset Odisha regularly, that effect normal meter reading billing cycles. While occurrence of such events result in extension of billing period beyond the + 3 working days for monthly billing cycle, processes are being put in place to ensure that subsequent month’s billing is done earlier than 30 + 3 days so as to ensure that over two billing cycles, the billing period is largely restored as per norms. The relevant Regulation with respect to pro-rata monthly billing is reproduced below:

“148. The charges payable by a consumer for supply of electrical power and other sums payable to the licensee/supplier shall be billed on pro-rata monthly basis indicating the period for which charges have been levied. When supply to a new consumer is commenced or an agreement is terminated on a day other than the first day of a month, demand charges and other charges as applicable under tariff notification shall be levied pro-rata for the number of days during the month for which supply shall have been given or agreement shall have been in force.”

(Emphasis Supplied)

The issue of Pro-rata Billing in case of deviation of billing from 30 days billing cycle was clarified by the Hon’ble Commission vide letter dated 06.06.2022, wherein pro-rata billing was denied in all cases other than in cases of commencement or termination of supply on a day other than the first day of a month. The Discoms were further directed to follow Regulation 109 (on billing cycle period).

Hon’ble Commission has also addressed this issue in RST order FY 24-25 vide para 93 as under;

- “Introduction of pro-rata Billing

The issue of introduction of pro-rata billing has been specifically clarified by the Commission in their letter No.619 dated 06.06.2022 addressed to all the DISCOMs. The Supply Code, 2019 is very specific on this matter. Unless Supply Code is amended with new procedures, pro-rata billing cannot be imposed.”

It is once again to submit that the clarification, however has not addressed the situation where the billing, for various reasons, cannot be carried within the stipulated norms as per regulation 109 of the Supply Code,2019. The relevant extract from the above referred letter is reproduced below:

“A harmonious reading of the Regulation 148 of the OERC Distribution (Conditions of Supply) Code, 2019 reveals that the prorata billing should be adopted only in cases when supply to a new consumer commenced or an agreement is terminated on a day other than first day of a month. Prorata billing should not be adopted in other cases including the case of spot billing as provided under Regulation 147 of the OERC Distribution (Conditions of Supply) Code, 2019. Regulation 109 of the OERC Distribution (Conditions of Supply) Code, 2019 shall be strictly followed by DISCOMs without any deviation.”

Considering that Billing on the fixed date every month (+ 3 days) may not be feasible for reasons as explained above, it is submitted that the Hon’ble Commission may kindly consider permitting pro-rata adjustment of Slabs limits based on actual days of billing vis a vis the standard norm of 30 days ( 365 Days/ 12 ) to ensure that the Consumers get the full slab benefit under all actual billing period scenarios (vis a vis the norm).

An illustration to demonstrate the impact on Consumer Bill, of the tariffs applied for ‘Fixed Slabs’ irrespective of the number of days of billing vis-à-vis the same tariff being applied to ‘Pro-rata Slab’ based on actual no. of days billing’ is provided below:

As can be observed from above, pro-rata billing for slab adjustment based on actual no’s of days of billing vis a vis the standard norm of 30 days is just and equitable for Consumers as it compensates the consumers for any deficit in slab benefit in a particular month (less than one month) in the subsequent month where the Billing is for more than 30 days.

It is further submitted that similar methodology of pro-rata Slab adjustment is adopted by various States.

In view of the above explained difficulties in ensuring billing all the time within the stipulated norms, the Hon’ble Commission is requested to permit pro-rata billing for any deviation from the billing cycle of 30 days as explained above.

# 9.20 Installation of Smart Meter under Capex and abolition of meter rent.

The existing arrangement of meter cost recovery through monthly meter rent is a major impediment in installing smart meters. Even consumers who are having mechanical meters are resisting for replacement of meters because of meter rent as they conceived that replacement of meter is to get meter rent which is not the correct understanding.  Through awareness events we are trying our level best but issue is not getting solved.

Whereas various regulatory framework mandating that every consumer should have smart meter so that they can get information about their electricity consumption on real time basis besides the other following benefits.

- Smart meters will make the integration easier, thereby giving thrust to Solar Generation Initiatives of Govt. (PM-Kusum, PM-Surya Ghar, Rooftop Top Solar etc.)

- With availability of real time data on energy usages, the consumers will be able to find areas of inefficiency and excess consumption thereby taking prompt action to reduce unwanted consumption for optimization of energy consumption.

- Smart meters are much more accurate than traditional meters and without any human intervention, which means consumer will receive more accurate bills and less complaints related to billing errors.

- With availability of real time data, the Discoms will be able to plan their power purchase more efficiently thereby reducing burden of excess power purchase on the consumers.

- The State will be able to the meet the target set by the Central Government in the area of Smart Meter Installation.

- Through IT and OT integration the interruption duration can be more accurately captured resulting in better measurement of Reliability Indices.

So, to ensure that the all consumers can avail the benefit of smart meters, the only feasible option is to install smart meter under Capex route and abolishing the existing method of recovering meter cost through meter rent. This will accrue dual benefit to the consumer. They will be relaxed from the burden

of monthly meter rent at the same time enjoy the benefit of smart meters. It is estimated that the impact of above changes in tariff would be negligible.

It is pertinent to mentioned here that most of the state utilities performing well in our country like in the states of Maharashtra, Gujarat, Delhi, Madhya Pradesh, Karnataka, Andhra Pradesh and Tamil Nadu   has abolished meter rent concept way back and switched to capex mode for meter cost recovery.  So it is good case to consider abolishing meter rent model in Odisha state as well.

The Hon’ble Commission has notified the OERC Distribution (Conditions of Supply) Code, 2019 in August 2019. Under regulation 97 (iv) (3), the Licensee/supplier is permitted to move on gradually towards installation/replacement of prepaid/smart/pre-paid smart meters preferably within three years. Ministry of Power, Govt. of India have issued timelines for replacement of existing meters with smart meters for all consumers as per above mentioned notification dated 17th Aug-21.

Further, Regulation113 (v) of OERC Distributions (Conditions of Supply) Code, 2019, provides as follows:

“In case the licensee/supplier replaces the meter due to technological up-gradation, the cost of the old correct meter already recovered through meter rent shall be deducted from the cost of new meter and the balanced amount may be recovered through meter rent on pro-rata basis “

In the RST order FY 24-25, Hon’ble Commission has taken a view vide para 93

“Meter Cost to be recovered under CAPEX

The Commission thoughtfully analysed the proposal. Though the proposal appears to be plausible, still it requires thorough analysis. There will be no issue as far as inclusion of meter cost in CAPEX, where the new meters will be installed. But there may be many Consumers who have already paid the meter rent in full and there may be other Consumers those who have paid the meter rent in part. In those cases, abolishing meter rent may create problem in financial adjustment. Therefore, the DISCOMs are required to file a fresh proposal by giving all the details related to meter rent, number of Consumers in different metering categories, legal implications, if any, and detail plan for implementation etc. Accordingly, the Commission will examine the proposal for recovery under CAPEX.”

Thereafter, DISCOMs have requested through common letter and presented before Hon’ble Commission for consideration. As advised a separate application is being filed for consideration of the meter cost under CAPEX mode which may kindly be heard along with ARR.

TPNODL have started installation of Smart Meter phase wise, beginning with 3 Ph category from July, 2022 and till Oct-24 more than 1.80 lakhs of smart meters has been installed.  All the new connection applications under 3 Ph category are being provided with Smart Meter only.

Furthermore, due to technological obsolescence, the old meters are required to be replaced with smart meters. While doing so, the consumers are reluctant to allow the replacement because they have paid the meter rent fully or partially and in some cases they have purchased the meters. In such scenarios, recovery of meter rent through installation of smart meters is becoming more challenging now-a-days.

It is also submitted that, the entire new connection as well as replacement of defective meter may be permitted through Smart Meters only. The Hon’ble Commission is, therefore, requested to allow the replacement of smart meters under CAPEX instead of meter rent.

# 9.21 Creation of Contingency Reserves for Assets that are not insured by Insurance Companies

The Discoms, as a mandatory risk mitigation measure, have been taking various insurances for fixed assets, inventory, cash, personnel, Directors & Officers Liability, Third Party etc. The insurance covers are obtained in a manner to optimize on the Insurance Premium while ensuring adequate risk coverage considering the probability (i.e. likelihood) and severity (i.e. consequential impact) of a Risk event. The Hon’ble Commission has been allowing the insurance premium as part of A&G Costs.

It is submitted that one of the most risk prone fixed asset, viz. overhead LT / HT/ EHT Lines, remaining uninsured due to Insurance Companies not providing insurance coverage in line with the general practice followed by Insurance companies. Discussions with various insurance companies has not elicited any positive response, with the result that the Lines remain uninsured. The issue of non-availability of insurance coverage for such assets was taken up in Board meeting/ Audit Committee meeting wherein it was advised to check what alternative practices are available / followed in Power Sector.

The Utility submits that the Distribution system is more prone to natural calamities like cyclone, flood etc., which have become an annual feature given the Phailin, Hud Hud, DAYE, Titili, FANI, AMPHAN in quick succession, for which contingency provisions should be made.

The Utility seeks reference to the National Tariff Policy, vide Clause 8.2.1 Para ‘6’ which states that, the contingency reserve should be drawn upon the prior approval of the State Commission only in the event of contingency conditions 	specified through the Regulations by the State Commission. Accordingly,

taking into consideration that, the State of Odisha is prone to natural calamities at regular intervals having witnessed in the last 100 years, 49 floods, 39 droughts and 11 cyclones, and taking into consideration the massive damage to the electrical infrastructure, it is prayed that Contingency Reserve be allowed for the Utility along with the guidelines/practice directions for use of such Contingency Reserve Fund.

Accordingly, DISCOMs have also discussed this issue with M/s. Powergrid Corporation of India Ltd. the Central Transmission Utility who had also faced similar issue and came to know that CERC has kept a provision in allowing A&G expenses where 0.9% of Gross Fixed asset is allowed to create self-insurance reserve to cover the risk of uninsured lines and cables. That reserve is allowed as a part of ARR and is solely at the disposal of the CERC.

In line with the above provision, PGCIL  has been creating a  “Self-Insurance Reserve” to cover the risk of uninsured lines and cables for any adverse eventuality and same is accounted for by the Hon’ble Central Electricity Regulatory Commission while approving the normative O&M Cost Allowance.

In view of the above critical issue of overhead lines being left uninsured, we are submitting this petition seeking approval of the Hon’ble Commission for creation of  Self-Insurance Reserve or Contingency Reserve for such assets which the Insurance Companies have not agreed to insure .

Also, the erstwhile DISCOMs namely NESCO Utility, WESCO Utility and SOUTHCO Utility have kept on proposing provision for contingency reserve @ 0.375% of Gross Fixed Assets at the beginning of the Financial Year in the ARRs for FY 2012-13 to FY 2020-21 as Investment towards Contingency Reserve relates to an emergency fund to meet the expenses towards unforeseen calamities.

Further, the Hon’ble APTEL in Judgment dated November 08, 2010 in Appeal Nos. 55, 56 & 57 of 2007 has held as under:

“23 (iii) In regard to allowing the claim in respect of larger Contingency Reserve, it has to be stated that State like Orissa which is highly prone to natural calamities like cyclone and floods every now and then, the provision of Contingency Reserve to meet such contingency is quite desirable and reasonable. It may not be correct to contend that the Contingency Reserve can be allowed only when the Regulations were framed with regard to that. This contention in this regard urged by the learned Counsel for the Appellant has been rejected by this Tribunal in the earlier Judgment dated 13.12.2006 holding that it is not a condition precedent to frame Regulations in this respect while allowing the claim for Contingency Reserve.” [Emphasis added]

Though the above Judgment was in favour of Transmission Network, similar instances can be drawn with the Distribution Licensees who maintain its fixed assets during the times of natural calamities including Cyclone, Kalbaisakhi, floods etc. & any other unforeseen incidents.

Considering the uncovered risk, more so due to Odisha being a Coastal State and prone to natural calamities, the Audit Committee of DISCOMs has advised to explore the possibility of Self Insurance by creating an appropriate & adequate reserve. Creation of such reserve basis certain norms become more relevant & essential because vide Letter No. 11896 dated 03.12.2022, the Department of Energy, Govt. of Odisha, has mentioned that NDRF/ SDRF funds are not available for repair/ replacement of Assets at 33 kV level. Further, Government funds may not be available for restoration of assets owned by the Private DISCOMs.

In case of any catastrophic event requiring replacement of LT/HT network in mass, if sufficient funding not available with DISCOMs and no support from Govt. of Odisha as mentioned in above letter, the DISCOMs will not be able to replace and restore the damaged network resulting major disruption in power supply to consumers.

In view of the above, DISCOMs propose be allowed to create a Self-Insurance Reserve for such Assets which Insurance Companies are refusing to insure (viz. overhead LT, HT, EHT Lines). The contribution to the Self-Insurance reserve would be allowed as an expenditure in ARR in lieu of Insurance Premium on such Self -Insured Assets. The accumulated fund in the Self Insurance Reserve would be utilized by the Discom only for mitigating financial impact of a Force Majeure event requiring repair/ replacement of such Self-Insured Assets, with post facto approval from the Hon’ble Commission for cost incurred.

It is requested that the Hon’ble Commission may kindly allow a gradual buildup of the Self –Insurance Reserve for about 5 years. The Reserve build –up may be reviewed at the end of initial period, unless the Government finances such Force Majeure eventualities, in which case the review could be done on an annual basis.

In case of any loss due to non-availability of insurance for lines and cables, creation of self-insurance reserve will avoid tariff shocks to consumer, service availability at war footing basis and avoidance of built-up Regulatory Assets.

Regulatory Framework and practice followed by other States

Recognizing the above difficulty in insuring certain Assets, the Hon’ble Central Electricity Regulatory Commission (herein referred as CERC) is considering contribution to Self-Insurance Reserve as a legitimate O&M expenditure while allowing Normative O&M Expenditure.

The relevant extract of the Statement of Reasons for the CERC Tariff Regulations, 2019 in this regard, is reproduced below.

“10.7.11	Further, the Commission has excluded the impact of self-insurance reserve and security expenses from O&M expenses norms for transmission system in the draft 2019 Tariff Regulations. Based on the submissions of the stakeholders, it is observed that self-insurance reserve is an efficient mechanism of self-funding of the asset replacement in case of any damage to transmission assets. further, there is sufficient check and balance mechanism for preventing use of such self-insurance funds for any other purpose. Therefore, the Commission has considered self-insurance reserve at 0.9% of the gross fixed asset value of AC transmission system for the purpose of arriving at the base value of O&M expenses for AC transmission system. The insurance expenses for HVDC systems, which is taken from external insurance companies has already been included while computing the O&M expenses for HVDC stations.” (Emphasis Supplied).

The Hon’ble Maharashtra Electricity Regulatory Commission is also allowing contribution to Contingency Reserve for meeting any such eventualities as part of Discoms ARR. The relevant extract of the MYT Regulations, 2019  is reproduced below :

“35 Contribution to Contingency Reserves

35.1       Where the Licensee has made a contribution to the Contingency Reserve, a sum not less than 0.25 per cent and not more than 0.5 per cent of the original cost of fixed assets shall be allowed annually towards such contribution in the calculation of Aggregate Revenue Requirement:

Provided that where the amount of such Contingency Reserves exceeds five (5) per cent of the original cost of fixed assets, no further contribution shall be allowed:

Provided further that such contribution shall be invested in securities authorised under the Indian Trusts Act, 1882 within a period of six months of the close of the Year:

Provided also that if the Licensee does not invest the amount of contribution to Contingency Reserves in authorised securities within a period of six months of the close of the Year, then the contribution allowed in the calculation of Aggregate Revenue Requirement shall be disallowed at the time of true-up:

Provided also that if the Licensee does not invest the amount of contribution to Contingency Reserves in authorised securities for two consecutive Years, then the contribution to Contingency Reserves shall not be allowed in the calculation of Aggregate Revenue Requirement from the subsequent Year onwards.

35.2   The Contingency Reserve shall not be drawn upon during the term of the License except to meet such charges on account of:

(a) Expenses or loss of profits arising out of accidents, strikes or circumstances which the management could not have prevented;

b) Expenses on replacement or removal of plant or works other than expenses requisite for normal maintenance or renewal;

c)Compensation payable under any law for the time being in force and for which no other provision is made:

Provided that the Distribution Licensee shall obtain the Commission's post-facto approval for drawal of Contingency Reserve by submitting the necessary justification for the drawal of Contingency Reserve along with documentary evidence.

35.3 No diminution in the value of Contingency Reserve as mentioned above shall be allowed to be adjusted as a part of Tariff.

The relevant extract from the ‘Bihar Electricity Regulatory Commission (Multiyear Distribution Tariff) Regulations 2018’ is produced below in this regard.

24. Contribution to Contingency Reserve

24.1 If the Distribution Licensee has made an appropriation to the Contingency Reserve, a sum not less than 0.25 percent and not more than 0.5 percent of the original cost of fixed assets shall be allowed annually towards such appropriation in the calculation of ARR.

Provided that where the amount of such Contingency Reserves exceeds five (5) percent of the original cost of fixed assets, no further contribution shall be allowed.

Provided further that such contribution shall be invested in securities authorised under the Indian Trusts Act, 1882 within a period of six months of the close of the Year

24.2 The Contingency Reserve shall not be drawn upon during the term of the license except to meet such charges as may be approved by the Commission, such as following:

- Expenses or loss of profits arising out of accidents, strikes or circumstances which the management could not have prevented;

- Expenses on replacement or removal of plant or works other than expenses required for normal maintenance or renewal;

- Compensation payable under any law for the time being in force and for which no other provision is made.

Provided that such drawal from contingency reserve shall be computed after making due adjustment for any other compensation that may have been received by the Licensee as part of an insurance cover.

2.4.3 No diminution in the value of contingency reserve as mentioned above shall be allowed to be adjusted as a part of tariff.

The relevant extract from the ‘West Bengal Electricity Regulatory Commission (Terms and Conditions of Tariff  ) Regulations 2011’  is produced below in this regard.

5.11 Reserve for Unforeseen Exigencies

5.11.1 The generating companies and the licensees may provide and maintain a reserve for dealing with unforeseen exigencies up to 0.25% of the value of gross fixed assets at the beginning of the year annually and the provision made for the year will be allowed in their Aggregate Revenue Requirement subject to an overall ceiling of 5% of the value of gross fixed assets at the beginning of the year. The existing amount of contingency reserve in the books of accounts of the generating companies / licensees, if any, will be considered while arriving at the overall ceiling as stated herein.

5.11.2 For failure to comply with the provisions of the regulation 5.11.1 and 5.24.1, double the amount allowed under the head reserve for unforeseen exigencies in any tariff order of a year shall be withheld from the re-determined ARR during APR of any year.

Furthermore, in the Transmission Tariff Order for FY 24-25 dated 13.02.2024, vide Para 152, the Hon’ble Commission has recorded the views/ suggestions of the Government of Odisha which is appended as under:

“Damage to Power Distribution infrastructure due to natural calamities are not covered under Insurance Schemes. Therefore, a “Contingency Reserve Fund”, preferably one fund for all DISCOMs need to be created to have a self-insurance fund to insure against probable damage to Distribution Network. The Commission may create provisions in the ARR of DISCOMs in this regard including the administration of the “Contingency Reserve Fund” under the Commission.” [Emphasis Supplied]

Referring to the above practices being followed by States like Maharashtra, Bihar and West Bengal having similar probability of Natural Calamities what is prevailing in Odisha requires similar arrangement for creation of Contingency Reserve so that in case of heavy damage to uninsured network, all four Odisha Discoms can replace such damaged network without huge Tariff shock to consumers.

Submission

Considering the uncovered risk, more so due to Odisha being a Coastal State and prone to natural calamities, our Board of Directors / Audit Committee has advised to approach this Hon’ble Commission for devising an systematic modalities for  creation of Contingency Reserve or Disaster Resilient Fund.

Creation of such reserve basis certain norms become more relevant, pruduent & essential because vide Letter No. 11896 dated 03.12.2022, the Department of Energy, Govt. of Odisha, has mentioned that NDRF/ SDRF funds are not available for repair/ replacement of Assets at 33 kV level. Further, Government funds may not be available for restoration of assets owned by the Private Discoms.

In case of any catastrophic event requiring replacement of LT/HT network in mass if sufficient funding not available with Discom and no support from Govt. of Odisha as mentioned in above letter, the Discoms will not be able to replace and restore the damaged network resulting major disruption in power supply to consumers.

In view of the above, we propose that the Discoms may be allowed to create a Contingency Reserve for such Assets which Insurance Companies are refusing to insure (viz. overhead LT, HT, and EHT Lines). The contribution to the Contingency reserve needs to be allowed as an additional expenditure in ARR. The accumulated fund in the Contingency Reserve would be utilized by the Discom only for mitigating financial impact of a Force Majeure event requiring major repair/ replacement of damaged assets on mass basis with post facto approval from the Hon’ble Commission for cost incurred.

It is requested that the Hon’ble Commission may kindly allow a gradual buildup of the Contingency Reserve for about 5 years. The Reserve build –up may be reviewed at the end of initial period ,unless the Government finances such Force Majeure eventualities, in which case the review could be done on an annual basis .

In case such contingency reserves are not  created and any catastrophic event happen and Govt. funding are not provided then there will be huge tariff shock to the Consumers on account of cost of loss on retirement of assets and cost of new Assets. Creation of such contingency reserve will not only help in avoiding tariff shock and buildup of Regulatory Assets will also ensure quick restoration of supply in the event of natural calamity.

Modalities for administration of Contingency Reserve may be decided by this Hon’ble Commission keeping in view the practices followed by other State Regulatory Commissions as referred above.

The Hon'ble Commission is requested to allow a suitable quantum towards Self Insurance/Contingency Reserves in the ARR of the Distribution Licensees in Odisha. The quantum of amount may be decided at 0.25 % of the GFA subject to a limit of 5% as stipulated in case of provisions made by the Hon’ble

Commissions of Bihar and West Bengal. On the basis of the GFA as on 31st March 2024 for the four Distribution Licensee, the estimated amount to be approved in ARR is as worked out in the table below:

|  |  |  |  |  | (Rs. Cr.) |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | DISCOM | GFA on Discom Book as on 31.03.2024 | Government Assets (Not in Discom Books) | Total | Contingency Reserve @.25% |
| 1 | TPCODL | 6063 | 2162 | 8225 | 20.56 |
| 2 | TPNODL | 4067 | 3152 | 7219 | 18.05 |
| 3 | TPSODL | 2176 | 3463 | 5639 | 14.10 |
| 4 | TPWODL | 3974 | 4322 | 8296 | 20.74 |
| 5 | TOTAL | 16280 | 13099 | 29379 | 73.45 |

In the humble submission of the DISCOM, the reserves would gradually build up and the same can be utilized to meet the expenses required to take care of the risks faced by the Distribution Licensee as such risks are not insured by the Insurance Company.

# 9.22 Approval for utilization of Consumer Security Deposit (SD) for Consumer benefit through reduction of Financing Costs allowed in Tariffs.

As part of transfer of Assets & Liabilities to the TP Discoms from the erstwhile Utilities of CESU, WESCO, SOUTHCO and NESCO, entire cash and bank balance, including Fixed Deposits, as on the Effective Date have been transferred to the respective TP Discoms.

The Fixed Deposits towards Consumer Security Deposits (CSD) and the liabilities towards such deposits as transferred in the respective Discoms Opening Balance Sheets as per on the respective Segregation Orders are as follows:

| in Rs. Crores |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Particulars | TPCODL | TPWODL | TPSODL | TPNODL | Total |
| Security Deposits from Consumers (as appearing in the Approved Opening Balance sheet of DISCOMS as on effective date) | 734.72 | 752.94 | 269.54 | 596.43 | 2353.63 |
| Security Deposits from Consumer as per Consumer Ledger (as mentioned in Carved out Order of respective DISCOMs) | 660.33 | 760.35 | 270.14 | 577.07 | 2267.89 |
| Fixed Deposits against Consumer Security Deposits as on effective date (as provided in the Carved-out Order) | 307.58 | 800.25 | 168.48 | 617.98 | 1894.29 |

In compliance to the directions of the Hon’ble Commission in the Vesting Order which have been basically reiterated in the Segregation Order, are being fully complied by the TP Discoms as is evident from the Table below:

Status of SD of all DISCOMs as on 31.03.2024

(In Rs. Crs)

| Particulars | TPCODL | TPWODL | TPSODL | TPNODL | Total |
| --- | --- | --- | --- | --- | --- |
| Consumer Security Deposit as on 31.03.2024 | 1078.70 | 1206.43 | 366.26 | 883.47 | 3534.86 |
| Fixed Deposit as on 31.03.2024 (Including interest) | 1028.27 | 1334.68 | 359.18 | 928.02 | 3650.15 |

While the Vesting Order and the Segregation Order, as mentioned in Para 3 above, stipulate that the TP Discoms shall not be allowed to liquidate the Fixed Deposits other than for the reasons they collected, we wish to make the following submissions, with respect to the same.

Any Utility’s consumers are generally sticky to it, especially in a geography where there are no competing Utilities. Cases of refund of security deposit happen generally when consumers request for voluntary disconnection (migration to another location etc.), and in any case new consumers keep getting added who provide fresh Consumer Security Deposit, with the result the CSD Balance generally keeps growing, which is the case in all the TP Discoms as is evident from the CSD Balance as at 31.03.23 vis-à-vis the Balance as on the Discoms’ respective Vesting Dates (Please refer the Balance in the Tables above).

Regulation 3.7.11 of the Odisha Electricity Regulatory Commission (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 (hereby referred as Tariff Regulations, 2022), specify the following with respect to Interest on Consumer Security Deposit

3.7.11 The Distribution Licensee(s) shall adjust interest on the amount held as security deposit (held in cash or cash equivalent) from Distribution System Users and Retail consumers at the Bank Rate as on 1stApril of the Financial Year in which the Petition is filed in their monthly bills.

Provided that Interest on security deposits, in excess of the above rate specified by the Commission shall be considered as non-Tariff income of the Licensees.

Provided further that Interest on security deposits, in deficit of the above rate specified by the Commission shall be considered as Uncontrollable Cost of the Licensees and shall accordingly be allowed in their ARR.

As can be seen from above, the Interest on Security Deposit paid/ adjusted to the Consumers, as well as the Interest earned on the CSD held in Fixed Deposits, is a mere pass-thru for the Discoms.

The security deposit received from consumer is put a sub-optimal use at present.

- Utility borrows towards capex and working capital requirement at commercially negotiated rates (~8%) from the scheduled commercial banks

- Utility parks the SDs with the same banks at a lower FD rate (~4-6%)

- Impact for Utility: Neutral.

- All interest cost (on Loans and SDs) are pass through in ARR

- Impact for Consumer: Negative.

Consumer receives interest rate at the OERC notified interest rates (6.75% for FY 2022-23) while the Utility earns an Interest Rate of 4-6% on FDs made out of the CSD received from Consumers. The difference is a pass through in ARR which adversely impacts consumer tariffs.

Interest payment on term loans by Utility at around 8% is a pass through in ARR.

As can be seen from the above, while the Utility is earning interest at 4-6% on its FDs, it is borrowing at around 8%, thereby clearly causing an additional cost burden of 2-4%.

Impact for banks: Positive.

As is evident, only the Banks are the eventual beneficiaries as they raise deposits at 4-6% and lend the same money back to the Utilities at around 8%, which is loaded on consumer as interest cost in tariff.

Proposal

Considering the significant interest rate arbitrage which is presently being borne by the Consumers through the ARR/ Tariff mechanism, it is proposed that the Utilities be permitted to utilise the Consumer Security Amount available with them in form of Fixed Deposits, in lieu of Debt for the purpose of financing planned capital expenditure / working capital. It is worthwhile to point out that with roll out of Pre-paid Smart Meters, the CSD of consumers with Smart Pre-paid meters, will in any case be liquidated and treated as advance payment towards energy bills.

Benefits

The above proposal, in case accepted by the Hon’ble Commission, shall enable a reduction of the overall interest cost for the Utility, which in turn reduces the tariff for the end consumer.

In-line with the Regulation 2.14.2 of the Tariff Regulations, 2022 relating to sharing of Gains on Refinancing of Loans, the savings in the financing/ interest costs shall be shared, 1/3rd with Consumer as reduction in his Energy Bill, 1/3rd retained as tariff balancing reserve with the residual 1/3rd retained by the Discom as its incentive for reducing financing costs for the consumers.

SOP for utilisation Security Deposits

We appreciate the sensitivity around utilisation of Consumer Security Deposits rather than maintaining the same as Fixed Deposits.

It is submitted that our Proposal, incorporating sufficient checks and balances, is a win-win for the Consumers of the Utilities. While ensuring continuity in terms of returns to Consumers (as per Rate of Return as notified by the Commission based on prevailing Bank Rates) on their Security Deposit, the proposal would not result in any enhanced risk relating to refund of CSD while allowing in a significant savings (lowering) of interest costs as part of Utilities ARR.

The CSD utilisation methodology along-with checks for prudent utilisation of the same while ensuring there is no liquidity mismatch to meet any Refund requirements, is as follows:

- 80-90% of the outstanding SDs can be utilised for funding capital expenditure. The balance 10%- 20% liquid funds to be maintained as FDs to meet any repayment requirement on termination of electricity connection.

- Only capital schemes approved by OERC at the beginning of the year can be funded by SDs

- Annual Business Plan of the respective utility, approved by Board of Directors, shall factor in funding of capital expenditure by SDs; to that extent no return / interest cost to be allowed in ARR

- Following is the Schedule of Authority proposed by the Utility for use of SDs

| Level 1 | Approval by CFO |
| --- | --- |
| Level 2 | Approval by CEO |
| Level 3 | Approval by Committee of Directors constituted by the Board (comprising of Tata Power and GRIDCO directors) |
| Level 4 | Approval by OERC |

- Half yearly statement of utilisation of SDs towards funding of capital expenditure, certified by statutory auditor, to be submitted to the Hon’ble Commission at the end of September and March quarters.

- Depreciation claimed on these assets to the extent not used in loan repayment will be used in refurbishing the SDs used

# 9.23 Realistic Assessment of Load in case of theft of electricity

# Even though Hon’ble Commission has provided separate guideline for assessment of unauthorized use in the regulation, however as per field condition while doing the assessment it is not practically feasible/ possible to adhere the provision. So, to lucidity the process it is the humble submission of the license, if a consumer found using electricity unauthorizedly, in such case the assessment must be made with LDF basis. In case of Domestic LF of 30%, for GP may be kept as 60% and in case of continuous process industries, assessment may be done with 100% LF. However, while doing the assessment, due procedure as per Electricity Act and Regulation shall be strictly observed.

# 9.24 Standard Service Connection charges

Regulation 22 (vi) of the Supply Code,2019 read with the Clause No. 256 of Tariff Order dtd. 13/02/2024, standard service connection charges are prescribed for connection up to 5 KW. Above this limit, an estimate is required to be prepared for each case followed by various procedural activities to be done by discom and applicant consumer.  This is a major inconvenience to the applicant consumers, often this activity delays the process of getting electricity connection.

Ministry of Power, Govt. of India, while prescribing Electricity (Rights of Consumers) Rules 2020 vide Rule No. 4 (13) has recognized the difficulties as said in above para and notified that :-

“For electrified areas up to 150 kW or such higher load as the Commission may specify the connection charges for new connection shall be fixed on the basis of the load, category of connection sought and average cost of connection of the distribution licensee so as to avoid site inspection and estimation of demand charges for each and every case individually. The demand charges, in such cases, may be paid at the time of application for new connection.”

Vide Letter No. TPCODL/Regulatory/2024/79/4613 dtd. 6th July’2024 an proposal for standardization of service connection charges upto 150 KW 3 phase under LT category as per the following details was submitted to Hon’ble Commission:-

Proposed service Connection Charges

| Contract Demand | Service Connection Charges (excluding GST) (In Rs.) |
| --- | --- |
| Upto 10 kW | 4500 |
| 11-20 kW | 7000 |
| 21-40 kW | 10000 |
| 41-50 kW | 19500 |
| 51-100 kW | 33000 |
| 101-150 kW | 60000 |
| Note: The above charges are calculated based on average 25 meters service length and use of armoured cable |  |

In order to ensure ease of living and ease of doing business, we humble request Hon’ble Commission to kindly issue necessary directions in the Tariff order for standardization of service connection charges so that we can be better placed in terms of service delivery to consumer for new connection and shall be at par with the Electricity (Rights of Consumer) Rules,2020.

# 9.24 Processing fee for each services as per Regulation

# Presently, the licensees are directed to serve the consumer for their different requirement apart from Billing and collection activities. Consumers also needs, Load Change (Reduction/Enhancement), attribute changes (like Change of name, Category Change, name correction, address correction /Change etc.)

# As per existing Regulation, for new connection the processing fee has been defined as Rs.50/-per application, however, there is no such charges is payable for the other services like Change of name, Category Change, name correction, address correction /Change etc. But the licensee is spending considerable amount for such services. Therefore, the DISCOM proposes, the following charges may kindly be approved for recovery of cost being incurred by utilities.

Proposed Standard Application Processing Fees

| Sr.. No. | Purpose of Application | Application Processing charges |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | LT Single Phase | LT-3 Phase, HT & EHT |  |
| 1 | Change of Category | Rs. 100/- | Rs. 1000/- |
| 2 | Load Change | Rs. 100/- | Rs. 1000/- |
| 3 | Change/correction of Name or address, Ownership change/modification excluding e-mail ID and Mobile No. | Rs. 100/- | Rs. 1000/- |

10. Formats

The following filled in formats as a part of the ARR and Tariff Application for FY 2025-26 are submitted attached as annexures.

# 10.1 Commercial/Technical Formats T-1 to T-9

# 10.2 Financial Formats F-1 to F-29 (Modified F Formats)

# 10.3 Details Performance Formats (P-1 to P-17) in Volume- II

11. Prayer

In the aforesaid facts and circumstances, the applicant most humbly prays before the Hon’ble Commission to kindly:

(1)  Take the ARR application and Tariff Petition for the FY 2025-26 on record.

(2)  Approve the Aggregate Revenue Requirement for FY 2025-26.

(3)  Bridge the Revenue Gap for the FY 2025-26 through increase in Retail Supply Tariff or reduction   in Bulk Supply Tariff (BST) wherever possible

(4)  Allow the Tariff rationalisation measures as proposed

(5)  Any other relief, order or direction which the Hon’ble Commission deems fit

Place: Balasore	                   DWIJADAS BASAK

Dated: 29.11.2024	           CHIEF EXECUTIVE OFFICER

TP Northern Odisha Distribution Limited