BEFORE THE HON’BLE

ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAWAN

PLOT NO.4, CHUNOKOLI, SHAILASHREE VIHAR, CHANDRASEKHARPUR,

BHUBANESWAR-751021

Case No. 128 of 2025

IN THE MATTER OF:

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2026-27, under Section 62 and other applicable provisions of the Electricity Act, 2003 and in conformity with the provisions of OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF: TP Western Odisha Distribution Limited

Corporate Office-Burla, Sambalpur-768017.                   ---------Applicant

Affidavit verifying the Reply to the queries of Hon’ble Commission on the Aggregate Revenue Requirement and Tariff Application for the FY 2026-27.

I, Manoj Kumar Panda, S/o. Sri Ramesh Chandra Panda, aged about 55 years, working as the Head (RA & PMAG), do hereby solemnly affirm and state as follows:

- That, I am authorized representative of the TPWODL, the Applicant in the instant case and competent to swear this affidavit for and on behalf of the licensee.

- That, I have gone through the contentions in this reply/ response and understood the contents thereof.

- That, the statements made above along with the annexures annexed to this reply are true to the best of my knowledge and the statements made are based on information and records and I believe them to be true.

Place: Sambalpur                                                                                                                          DEPONENT

Date:	                                                                                                                                    Head (RA & PMAG)

BEFORE THE HON’BLE

ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAWAN

PLOT NO.4, CHUNOKOLI, SHAILASHREE VIHAR, CHANDRASEKHARPUR,

BHUBANESWAR-751021

Case No. 128 of 2025

IN THE MATTER OF:

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2026-27, under Section 62 and other applicable provisions of the Electricity Act, 2003 and in conformity with the provisions of OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF:   TP Western Odisha Distribution Limited

Corporate Office-Burla, Sambalpur-768017.                ---------Applicant

Affidavit verifying the Reply to the queries of Hon’ble Commission on the Aggregate Revenue Requirement and Tariff Application for the FY 2026-27.

Most Respectfully Showeth,

- That, the Petitioner is the Distribution licensee in the western part of Odisha & has submitted the Aggregate Revenue Requirement (ARR) and Retail Supply Tariff Application for the FY 2026-27 on 29th November 2025 and the same has been registered as Case No. 128 of 2025.

- That, the Hon’ble Commission on preliminary scrutiny of the application, noted a list of the information which are relevant for the purpose of the scrutiny of the ARR and Tariff Application. The Hon’ble Commission vide letter no. 128/2025/1650 dt. 26.12.2025 has directed to furnish the information by 10.01.2026.

- That, the Utility submits point wise reply hereunder for perusal of the Hon’ble Commission.

Reply to Query No. 01

The detailed formats T4 & T9 for FY 2025-26 updated till December 2025 are enclosed herewith as Annexure 1 (T4) & Annexure 2 (T9) respectively.

Reply to Query No. 02

Form T6 for FY 25-26, updated till the month of Dec-25 with additional information on the amount of Rebate given to all the category of consumers and the net revenue after adjustment of such rebate is enclosed as Annexure 3 (T6).

Reply to Query No. 03

The desired details regarding LT Domestic Consumers for FY 2024-25 & FY 2025-26 up to December 2025 are enclosed as under:

FY 2024-25 –

| Sl. No. | Units(kWh) consumed per month | Average No. of Consumers | Consumption (MU) | Total Billed Amount (Rs. Cr.) a | Rebate (Rs. Cr.) b | Net Billed Amount (Rs. Cr.) c = a-b |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0-30 | 620444 | 104.27 | 61.74 | 1.00 | 60.73 |
| 2 | 30-50 | 328245 | 150.24 | 65.62 | 1.48 | 64.14 |
| 3 | 50-100 | 416381 | 345.04 | 153.16 | 3.42 | 149.74 |
| 4 | 100-200 | 304318 | 499.42 | 237.78 | 4.96 | 232.81 |
| 5 | 200-300 | 113939 | 321.21 | 164.12 | 3.20 | 160.92 |
| 6 | 300-400 | 50131 | 197.04 | 105.66 | 1.96 | 103.70 |
| 7 | >400 | 60723 | 390.97 | 222.18 | 3.87 | 218.31 |

N.B.: The slab-wise consumption is the average consumption during the Financial Year of a consumer. Similarly, the average no. of consumers as indicated in each slab have consumed within the slab. The same may vary from the actual slab-wise consumption as provided in T6 format as per original filing.

FY 2025-26 (up to Dec-25) –

| Sl. No. | Units(kWh) consumed per month | Average No. of Consumers | Consumption (MU) | Total Billed Amount (Rs. Cr.) a | Rebate (Rs. Cr.) b | Net Billed Amount (Rs. Cr.) c = a-b |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0-30 | 576519 | 71.17 | 42.57 | 0.69 | 41.88 |
| 2 | 30-50 | 320480 | 111.63 | 47.52 | 1.10 | 46.42 |
| 3 | 50-100 | 443058 | 279.85 | 123.56 | 2.78 | 120.78 |
| 4 | 100-200 | 332501 | 415.10 | 198.69 | 4.13 | 194.56 |
| 5 | 200-300 | 127484 | 273.94 | 141.05 | 2.73 | 138.32 |
| 6 | 300-400 | 55609 | 168.32 | 91.34 | 1.68 | 89.67 |
| 7 | >400 | 64401 | 343.02 | 197.85 | 3.40 | 194.45 |

N.B.: The slab-wise consumption is the average consumption during the Financial Year (up to Dec-25) of a consumer. Similarly, the average no. of consumers as indicated in each slab have consumed within the slab. The same may vary from the actual slab-wise consumption as provided in T6 format as per original filing.

Reply to Query No. 04

The desired details regarding LT General Purpose Consumers (CD<110 KVA) for FY 2024-25 & FY 2025-26 up to December 2025 are enclosed as under:

FY 2024-25 –

| Sl. No. | Units(kWh) consumed per month | Average No. of Consumers | Consumption (MU) | Total Billed Amount (Rs. Cr.) a | Rebate (Rs. Cr.) b | Net Billed Amount (Rs. Cr.) c = a-b |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0-30 | 27498 | 3.37 | 3.94 | 0.03 | 3.91 |
| 2 | 30-50 | 11430 | 5.20 | 3.94 | 0.05 | 3.89 |
| 3 | 50-100 | 20573 | 17.33 | 12.09 | 0.17 | 11.92 |
| 4 | 100-200 | 21296 | 35.32 | 24.77 | 0.35 | 24.42 |
| 5 | 200-300 | 10188 | 28.82 | 20.87 | 0.29 | 20.58 |
| 6 | 300-400 | 5429 | 21.57 | 16.16 | 0.21 | 15.94 |
| 7 | >400 | 21400 | 377.84 | 300.09 | 3.77 | 296.32 |

N.B.: The slab-wise consumption is the average consumption during the Financial Year of a consumer. Similarly, the average no. of consumers as indicated in each slab have consumed within the slab. The same may vary from the actual slab-wise consumption as provided in T6 format as per original filing.

FY 2025-26 (up to Dec-25) –

| Sl. No. | Units(kWh) consumed per month | Average No. of Consumers | Consumption (MU) | Total Billed Amount (Rs. Cr.) a | Rebate (Rs. Cr.) b | Net Billed Amount (Rs. Cr.) c = a-b |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0-30 | 26724 | 2.43 | 2.57 | 0.02 | 2.54 |
| 2 | 30-50 | 11412 | 3.92 | 2.94 | 0.04 | 2.90 |
| 3 | 50-100 | 20776 | 13.24 | 9.39 | 0.13 | 9.26 |
| 4 | 100-200 | 22344 | 27.91 | 19.67 | 0.28 | 19.39 |
| 5 | 200-300 | 11065 | 23.60 | 17.19 | 0.24 | 16.95 |
| 6 | 300-400 | 6077 | 18.28 | 13.70 | 0.18 | 13.52 |
| 7 | >400 | 23492 | 314.27 | 249.93 | 3.13 | 246.80 |

N.B.: The slab-wise consumption is the average consumption during the Financial Year (up to Dec-25) of a consumer. Similarly, the average no. of consumers as indicated in each slab have consumed within the slab. The same may vary from the actual slab-wise consumption as provided in T6 format as per original filing.

Reply to Query No. 05

Year wise category wise TOD benefit extended to eligible consumers for FY 2024-25 & FY 2025-26 (up to Dec-25) is enclosed in Annexure-4 & Annexure-5 respectively.

Reply to Query No. 06

The details of Rebate (in Cr.) allowed to the HT Industrial Consumer (Steel Plant) having CD of 1 MVA and above along with their consumption (in MU) Month-wise & Consumer-wise (up to Dec’25) is enclosed as Annexure-6.

Reply to Query No. 07

The Hon’ble Commission has approved special rebate for industries having CGP with CD above 20 MW for assured energy drawl above 80% L.F. Under this scheme, only one industry was availing intermittent surplus power of GRIDCO on day-ahead schedule basis @ Rs. 5.00 per unit during FY 2024-25. As per the terms, GRIDCO’s share was Rs. 4.55 per unit, OPTCL’s share was 24 paisa per unit and balance share was of TPWODL. The quantum of intermittent power sold including 80% guarantee for FY 2024-25 is appended below:

| FY 24-25 |  |  |
| --- | --- | --- |
| Drawal above 80% load factor MU | Demand (Rs. in Cr.) | Collection (Rs. in Cr.) |
| 664.044 | 341.951 | 341.951 |

The said scheme with an assured Load Factor (LF) of 80% was effective and was availed by industries during FY 2024–25. The continuation of the scheme for FY 2025–26 was subsequently permitted by the Hon’ble Commission at the time of pronouncement of the RST Order for FY 2025–26, with an anticipated sale of 1,900 MU under the TPA mechanism during the said year.

However, during the first and second quarters of FY 2025–26, there was no significant response from consumers for availing power under the TPA mechanism. Accordingly, after detailed consultations with all stakeholders, it was decided to reduce the assured energy drawal above 80% LF to 60% LF. In pursuance thereof, a joint petition was filed before the Hon’ble Commission, which was registered as Case No. 53 of 2025. The Hon’ble Commission, vide its Order dated 22.07.2025, approved the proposal of the DISCOMs.

Consequently, the TPA mechanism was availed by only one industry and that too for a period of one month (August 2025). The quantum of intermittent power sold, including 60% guarantee for FY 2025-26 up to Dec’25 is appended below:

| FY 25-26 up to Dec’25 |  |  |
| --- | --- | --- |
| Drawal above 60% load factor MU | Demand (Rs. in Cr.) | Collection (Rs. in Cr.) |
| 135.349 | 66.73 | 66.73 |

It is respectfully submitted that, with the objective of safeguarding the commercial interests of the DISCOMs and insulating GRIDCO from the impact of higher Bulk Supply Price (BSP), the initiative of sale of power through the Tripartite Agreement (TPA) mechanism proved to be beneficial during the initial years, namely FY 2022–23 and FY 2023–24.

However, the Hon’ble Commission, vide its RST Order dated 13.02.2024, disallowed industries having Captive Generating Plants (CGPs) from meeting their obligated quantum of renewable power through procurement from DISCOMs upon payment of premium charges over and above the applicable normal tariff. In this context, the Licensee had made several representations before the Hon’ble Commission seeking continuation of the aforesaid mechanism.

Reply to Query No. 08

Details of Consumers who adopted the mechanism as directed in the OERC order dated 28.10.2025 in Case no. 53/2025 (a and b as per para 6) and impact analysis prior to this mechanism and post implementation along with tentative reduction in Open Access purchase quantum is given below:

| Sl. No. | Name of the Industry Availed the Scheme | Contract Demand (kVA) | Category | Total Billed Units Quantum (MU) | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | M/S. SURAJ PRODUCTS LIMITED | 3800 | LARGE INDUSTRY | 7.288 | Drawal in Aug-25, Sep-25, Nov-25 & Dec-25 |
| 2 | M/S. TRL KROSAKI REFRACTORIES LTD. | 8200 | LARGE INDUSTRY | 22.957 | Drawal in Aug-25 to Dec-25 |
| 3 | M/S. JAI HANUMAN UDYOG LTD. | 1000 | LARGE INDUSTRY | 0.399 | Drawal in Oct-25 |
| 4 | M/S. CHARIOT STEEL & POWER PVT | 1000 | LARGE INDUSTRY | 0.323 | Drawal in Nov-25 |
| 5 | M/S. VEDANTA LIMITED | 300000 | POWER INTENSIVE INDUSTRY | 398.204 | Drawal in Jul-25 & Aug-25 |
| 6 | EASTERN ALLOYS (P) LTD. | 6000 | POWER INTENSIVE INDUSTRY | 11.830 | Drawal in Sep-25 to Dec-25 |
| 7 | M/S. NTPC LTD | 2223 | GENERAL PURPOSE > 110 KVA | 0.975 | Drawal in Nov-25 |
|  | Total |  |  | 441.976 |  |

It is observed that post implementation, consumer demand has shifted towards solar hours, with comparatively higher consumption during solar hours vis-à-vis non-solar hours. Earlier, the consumption pattern across the 24-hour cycle was largely uniform, however, a discernible increase in consumption during solar hours is now evident.

With regard to reduction in Open Access (OA), it is submitted that only one consumer, namely M/s Vedanta, was availing power through Open Access. Accordingly, no material or significant reduction in Open Access consumption has been observed.

Reply to Query No. 09

The details of consumer obtaining Green Consumer Certificate by TPWODL during FY 2024–25 and FY 2025–26 (up to December 2025) is enclosed as Annexure-7

Reply to Query No. 10

The Licensee projects an addition of 277 MVA of new load under the HT category (CD above 100 kVA) during the ensuing year, from various consumers.

Further, under the EHT category, an additional load of 66 MVA is estimated to be added during the ensuing year. Of the total EHT load addition, 20 MVA is expected to materialize in Q1, while the remaining 46 MVA is anticipated during Q3 and Q4 of the ensuing year.

The details of prospective new HT (100 kVA and above) and EHT consumers for FY 2026–27 are enclosed as Annexure-8. Additionally, the details of existing HT and EHT consumers who have applied for enhancement of Contract Demand, along with the probable dates of availing the enhanced load, are enclosed as Annexure-9.

Reply to Query No. 11

The details of consumer billed for EV Charging & Mega-lift along with consumption and respective Contract Demand for FY 2024-25 & FY 2025-26 (up to Dec-25) is mentioned below:

| FY | Category Name | No. of Consumers | Contracted Load (kW/ kVA) | Consumption | Amount Billed | Amount Collected |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (MU) | (Rs. Cr.) | (Rs. Cr.) |
| FY 24-25 | GENERAL PURPOSE - EV | 7 | 102 | 0.0277 | 0.015 | 0.015 |
|  | MEGA LIFT | 51 | 185968 | 122.2093 | 46.691 | 47.901 |
| FY 24-25 Total |  | 58 | 186069 | 122.2370 | 46.705 | 47.916 |

| FY | Category Name | No. of Consumers | Contracted Load (kW/ kVA) | Consumption | Amount Billed | Amount Collected |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (MU) | (Rs. Cr.) | (Rs. Cr.) |
| FY 25-26 (till Dec’25) | GENERAL PURPOSE - EV | 40 | 4573 | 0.065 | 0.037 | 0.018 |
|  | MEGA LIFT | 52 | 192368 | 105.594 | 40.678 | 36.880 |
| FY 25-26 (till Dec’25) Total |  | 92 | 196940 | 105.659 | 40.715 | 36.897 |

Reply to Query No. 12

Details of consumers who have availed green energy from DISCOM through Green Certification Mechanism for the FY 2024-25 and FY 2025-26 (up to Dec-2025) is enclosed as Annexure 7.

Reply to Query No. 13

With reference to the special tariff provision under Para 312 of the RST Order for FY 2025–26, it is submitted that no industries have opted for the said provision under PD revival during FY 2025–26.

Reply to Query No. 14

Total no. of consumers who have availed E-bill facility in FY 2024-25 & FY 2025-26

| Mar-25 | Apr-25 | May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 | Dec-25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 27986 | 32379 | 40948 | 55177 | 69755 | 75324 | 88565 | 89032 | 89005 | 90554 |

Reply to Query No. 15

The details of component wise employee expenses for FY 24-25 & FY 25-26 (up to Nov’25) is tabulated as under:

| S. No. | Account Code | Approved | Actuals | Actuals |
| --- | --- | --- | --- | --- |
|  |  | FY 24-25 (Rs. Cr.) | FY 24-25 (Rs. Cr.) | FY 25-26 up to Nov'25(Rs. Cr.) |
| 1 | Basic Pay | 106 | 126.46 | 72.07 |
| 2 | Grade Pay |  |  |  |
| 3 | Dearness Allowance | 57.24 | 60.09 | 41.34 |
| 4 | Reimbursement of House Rent | 19.08 | 18.89 | 13.18 |
| 5 | Other Allowance | 3 | 7.50 | 3.06 |
| 6 | Variable Pay | - | - |  |
| 7 | Subtotal (1 to 6) | 185.32 | 212.94 | 129.65 |
| 8 | Contractual Obligation/ Outsourced Obligation | 43.71 | 56.29 | 41.06 |
| 9 | Addnl. Emp. Cost – CTC | 130 | 129.43 | 101.60 |
| 10 | Others, if any | - |  |  |
| 11 | Total additional Employee cost | 173.71 | 185.72 | 142.66 |
| 12 | Reimbursement of Medical Expenses | 5.19 | 0.04 | 3.79 |
| 13 | Leave Travel Concession | 0.58 | 0.30 | 0.09 |
| 14 | Honorarium +Encashment of Earned Leave | - |  |  |
| 15 | Ex-gratia/Incentive | 7 | 4.91 |  |
| 16 | Miscellaneous (Largely PF Exp) | 6 | 16.23 | 14.42 |
| 17 | Total of other staff cost (12 to 16) | 18.77 | 21.48 | 18.3 |
| 18 | Staff Welfare Expenses | 10.83 | 11.33 | 5.02 |
| 19 | Terminal Benefits (Pension) | 155.12 | 131.68 | 101.66 |
| 20 | Terminal Benefits |  |  | 21.44 |
| 21 | Total (7+11+17+18+19+20) | 543.75 | 563.15 | 418.71 |
| 22 | Less :- Employee cost Capitalised | 20.09 | 20.09 | 17.11 |
| 23 | Net Employee Cost | 523.66 | 543.06 | 401.60 |

During current year, employee cost will be increased to the extent of actual expenditure towards restructuring of erstwhile executive cadre employees against which Hon’ble Commission has given approval its letter No. SECY/09-Corr.-TPCODL/2023/1331 dated 19.11.2024 for Rs. 2.89 for FY 24-25 and Rs. 3. 51 Cr. for FY 25-26. Further, due to revision & cadre rearrangement of non-executive employees w.e.f. 01.04.2020 employee cost will be increased against which the Hon’ble Commission has given approval vide letter No. SECY/09-Corr-TPCODL/2023/234 dated 03.03.2025 for Rs. 22.33 Cr. for FY 24-25 and Rs. 14.64 Cr. for FY 25-26. Apart from this, due to minimum wage revision, cost of contractual employees will be increased from July-24 onwards. However, the Hon’ble Commission has approved Rs. 50.88 Cr. for FY 25-26 without impact of wage revision.

The Licensee has also placed month wise employee expenses for the FY 2024-25 and FY 2025-26 up to Nov’25 has been provided as Annexure-10 and Annexure – 11 respectively.

Reply to Query No. 16

The Licensee has projected Rs 64.45 Cr. under Outsourced and Contractual Obligation Costs for FY 26–27 by escalating the actual cost for FY 24-25 by 7% over two years. The said amount primarily pertains to employee-related costs incurred towards contractual manpower, apprentice manpower, outsourced manpower, watch & ward services, etc. The Licensee submits that during FY 24–25, the actual expenditure under this head was Rs. 56.29 Cr. For the subsequent years FY 25–26 and FY 26–27, the Licensee has prudently considered a 7% annual escalation over the previous year’s cost. Accordingly, the projected cost for FY 26–27 works out to Rs. 64.45 Cr. The Licensee further submits that these costs are being managed efficiently and optimally.

The Licensee operates across a vast geographical area of approximately 48,373 sq. km, comprising 201 Sections, 57 Sub-Divisions, 17 Divisions, and 5 Circles, in addition to multiple stores, customer care centres, and field offices. The licensee is mandated to ensure reliable power supply, effective consumer service, and compliance with the Vesting Order and directives of the Hon’ble Commission. The Licensee continues to pursue its objective of transforming itself into a world-class, state-of-the-art DISCOM. In this regard, it is submitted that the Licensee has been consistently rated “A+” under the Integrated Rating of Power Distribution Utilities by the Ministry of Power, reflecting sound operational efficiency and governance standards. To sustain this performance and support future growth, the incurred outsourced and contractual costs are both reasonable and inevitable.

The outsourced employees are engaged with activities such as replacement of street light, switch off street light, fuse replacement, excavation and earth work such as preparing pit for erection of poles/Towers and equipment’s, lifting of poles, jungle clearance, watching  stores and works, cleaning of substation equipment’s, clearings and sweeping working floor, climbing poles/tower for cleaning insulators and painting structures, carrying ladders, helping the lineman in disconnecting lines and such other works as directed.

The Licensee has established multiple physical and digital consumer touchpoints, including Customer Care Centres, Call Centres and online service platforms. Outsourced employees are also engaged in customer care centres, call centres, enforcement as well as vigilance teams of the licensee. In call centres and customer care units, they provide frontline support, enhancing consumer experience by addressing grievances promptly and ensuring efficient service delivery. In enforcement and vigilance teams, contractual employees assist in activities such as meter inspections, preparation of inventory, document & dues verification, and detecting unauthorized connections. Outsourced manpower also takes part of activity in bill revision, data entry, consumer grievance handling, and allied support services. Involvement of outsourced employees helps in bringing flexibility and cost-effectiveness to operations. The Licensee operates a 24×7 Call Centre equipped with IVRS and integrated backend systems. Further, a 24×7 Digital Command Centre, integrated with the Call Centre, actively monitors social media platforms to enable timely intervention and grievance redressal. At present, the Licensee operates 15 dedicated Customer Care Centres, of which four centres are managed exclusively by women, and one centre is operated by Divyang (differently abled) personnel, reflecting the Licensee’s commitment to inclusivity and social responsibility. Outsourced manpower is also efficiently deployed for IT support services, including hardware, software, network connectivity, laptops, printers, and allied infrastructure. This ensures uninterrupted day-to-day operations and minimizes downtime for employees across the Licensee’s operational area. Given the extensive spread of offices and installations, watch and ward services are imperative for the safety and security of office premises, material storage yards, and stores, where valuable equipment and materials are housed. Further, in line with the Government’s objective of youth empowerment and skill development, the Licensee engages apprentices, who actively contribute to day-to-day operational activities while gaining practical exposure and training.

As regards to nature of Work of the outsourced and contractual manpower, they are engaged for carrying out the following nature of work, which is essential for the day-to-day operations of the Licensee:

- Customer Care Services

- Call Centre Operations

- Bill Revision and Billing Support Activities

- IT Support Services

- Enforcement Services (Anti-Theft, Disconnection and Field Enforcement Support)

- Watch and Ward

- Housekeeping Services

- Office Support (Office Boy)

- Pantry Services

- Helper / Support Services

- Apprentice Engagement

The standard duty hours for the above categories of outsourced and contractual manpower are 8 hr. per day, in accordance with applicable labour laws and contractual terms.

The compensation payable to contractual manpower has been considered strictly in accordance with the applicable Minimum Wages, as detailed below:

| Sl | Category | Compensation per employee* |
| --- | --- | --- |
| 1 | Un-Skilled - | ₹ 15,661.03/- per month |
| 2 | Semi-Skilled- | ₹ 17,356.33/- per month |
| 3 | Skilled - | ₹ 18,207.51/- per month |
| 4 | Highly Skilled - | ₹ 20,744.93/- per month |
| 5 | Supervisory - | ₹ 40,000.00/- per month |
| *Excluding service cost & GST |  |  |

| Year wise No. of BA employees engaged |  |
| --- | --- |
| As on Mar-22 | 1541 Nos. |
| As on Mar-23 | 1962 Nos. |
| As on Mar-24 | 1903 Nos. |
| As on Mar-25 | 1919 Nos. |

Considering the above the Licensee has computed the Outsourced & Contractual Cost for FY 24-25 as under.

| S. No. | Particulars | Nos. | Compensation per employee per month (Rs.) | Total Cost FY 24-25 (Rs. Cr.) |
| --- | --- | --- | --- | --- |
| 1 | No. of BA employees as on March'25 | 1919 |  |  |
| 2 | Bifurcation of BA employees |  |  |  |
| a | Un-Skilled | 798 | 15661.03 | 15.00 |
| b | Semi-Skilled | 462 | 17356.33 | 9.62 |
| c | Skilled | 179 | 18207.51 | 3.91 |
| d | Highly Skilled | 167 | 20744.93 | 4.16 |
| e | Supervisory | 313 | 40000.00 | 15.02 |
| 3 | Total | 1919 |  | 47.71 |
| 6 | Add: GST |  |  | 8.58 |
| 7 | Total Cost (as claimed in ARR) |  |  | 56.29 |

It is pertinent to submit that the increase in outsourcing expenses is primarily attributable to the revision of minimum wages, as notified vide Gazette Notifications dated 18.07.2024 and 30.09.2024 by the Office of the Labour Commissioner, Government of Odisha. The actual disbursement towards outsourcing expenses during FY 2024-25 was Rs. 56.29 Cr. During the current year, the actual disbursement up to November 2025 stands at Rs. 41.06 Cr. In view of the impact of the said wage revisions, the Licensee has accordingly filed the ARR with a projected outsourcing cost of Rs. 64.45 Cr. for FY 2026-27, which may kindly be considered and approved by the Hon’ble Commission.

Reply to Query No. 17

The present employee strength with respect to consumer strength for FY 24-25, FY 25-26 (up to Nov-25) is given here under. The Licensee is ensuring that the ratio of employee per 1000 consumers is well within the limit specified by the Hon’ble Commission i.e. 1.40.

| Sl. No. | Additional Information (For Total Employee Strength) | FY 24-25 | FY 25-26 |
| --- | --- | --- | --- |
|  |  |  | (Up to |
|  |  |  | Nov-25) |
| 1 | No. of employees as on 1st April of FY | 3295 | 3333 |
| 2 | No. of employees added during the year | 128 | 61 |
| 3 | Employees Retd. /Expired/Resigned during the year | 90 | 140 |
| 4 | Total Manpower as on 31st March | 3333 | 3254 |
| 5 | Avg. no. of employees for the year | 3314 | 3293.5 |
| 8 | No. of consumers as on FY (exit value) | 2166514 | 2220874 |
| 9 | No. of PD Consumers | 697608 | 709582 |
| 10 | Total Consumer Base | 2864122 | 2930456 |
| 11 | No. of employees (as on 31st March – S. No. 4) per 1000 consumers with Live + PD consumers | 1.16 | 1.11 |

Permanently Disconnected (PD) consumers are those whose electricity connections have been terminated on account of non-payment of dues, regulatory violations, or at the consumer’s own request. However, the Licensee, through continuous surveys and physical verifications, ensures regularization in cases where such consumers are found to be unauthorisedly connected and also undertakes recovery of old outstanding dues. The Licensee further ensures that such consumers are not availing power supply through other connections obtained in the names of their relatives.

As per the extant regulations, a premise having outstanding dues is not permitted to avail a duplicate connection. Similarly, a person having outstanding dues in any other DISCOM is also not entitled to a new power supply connection. In view of the above, PD consumers pose a significant risk to the business of the Distribution Licensee, necessitating continuous and stringent vigilance. Accordingly, the consumer ratio should be considered on the basis of the entire consumer base rather than only live consumers.

The commission has stipulated that the employee per thousand consumers shall be maintained at a ratio of 1.40. The present employee per thousand consumer ratios for FY 2024-25 and 2025-26 (up to November 2025) may be submitted. It may also be explained whether excess numbers of employee have been recruited beyond the Commission’s Approval over the year starting form takeover. The Licensee also submits that, it has recruited employees as per the approval of the Hon’ble Commission.

Reply to Query No. 18

Details of R&M Expenses month wise & head wise towards for FY 2024-25 and FY 2025-26 (up to Nov-25) is appended as under:

FY 2024-25 -

(Rs. Cr.)

| Sl | Particulars | Apr'24 | May'24 | June'24 | July'24 | Aug'24 | Sept'24 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 11 KV & below Network assets AMC | 12.37 | 11.42 | 12.33 | 11.58 | 11.11 | 11.12 |
| 2 | 33 KV Network asset AMC (other than Grid operation) | 5.76 | 4.19 | 8.67 | 4.85 | 5.54 | 10.62 |
| 3 | Vehicle for AMC 33kv & 11KV, forest area Tower maintenance, elephant corridor patrolling) | 2.09 | 1.57 | 1.93 | 1.85 | 1.79 | 2.39 |
| 4 | Transformer maintenance | 2.01 | 1.46 | 1.66 | 1.65 | 1.65 | 2.33 |
|  | Civil repairs & maintenance | - | - | - | - | - | 0.01 |
| 6 | Other repairs & maintenance (IT & Technical services) | 0.76 | 0.47 | 0.44 | 0.38 | 0.37 | 0.28 |
| 7 | Distribution line repairs & maintenance (Material consumption) | 2.71 | 1.40 | 0.71 | 0.83 | 1.20 | 2.37 |
| 8 | Total | 25.69 | 20.52 | 25.75 | 21.14 | 21.66 | 29.13 |

(Rs. Cr.)

| Sl | Particulars | Oct'24 | Nov'24 | Dec'24 | Jan'25 | Feb'25 | Mar'25 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 11 KV & below Network assets AMC | 11.57 | 11.56 | 11.48 | 12.30 | 12.20 | 12.29 | 141.33 |
| 2 | 33 KV Network asset AMC (other than Grid operation) | 4.44 | 7.81 | 9.34 | 4.87 | 6.95 | 9.01 | 82.05 |
| 3 | Vehicle for AMC 33kv & 11KV, forest area Tower maintenance, elephant corridor patrolling) | 1.96 | 1.73 | 2.43 | 2.00 | 2.11 | 2.65 | 24.51 |
| 4 | Transformer maintenance | 1.72 | 1.42 | 1.67 | 0.63 | 0.51 | 1.86 | 18.56 |
|  | Civil repairs & maintenance | 0.07 | - | - | - | - | - | 0.09 |
| 6 | Other repairs & maintenance (IT & Technical services) | 0.06 | 0.30 | 0.02 | 0.47 | 0.43 | 0.57 | 4.55 |
| 7 | Distribution line repairs & maintenance (Material consumption) | 2.50 | 2.66 | 4.82 | 1.45 | 2.72 | 1.64 | 25.02 |
| 8 | Total | 22.31 | 25.47 | 29.76 | 21.72 | 24.92 | 28.02 | 296.10 |

FY 2025-26 (up to Nov-25) –

(Rs. Cr.)

| Sl. | Particulars | Apr'25 | May'25 | June'25 | July'25 | Aug'25 | Sept'25 | Oct'25 | Nov'25 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 11 KV & below Network assets AMC | 12.50 | 12.43 | 12.53 | 12.48 | 12.17 | 14.55 | 12.19 | 12.37 | 101.23 |
| 2 | 33 KV Network asset AMC (other than Grid operation) | 6.01 | 8.23 | 7.46 | 6.64 | 6.35 | 8.34 | 6.96 | 7.19 | 57.17 |
| 3 | Vehicle for AMC 33kv & 11KV, forest area Tower maintenance, elephant corridor patrolling) | 2.00 | 2.13 | 2.06 | 2.02 | 2.15 | 2.66 | 2.13 | 2.18 | 17.35 |
| 4 | Transformer maintenance | 2.33 | 1.25 | 0.28 | 1.32 | 1.39 | 2.92 | 1.86 | 1.98 | 13.34 |
| 5 | Civil repairs & maintenance | - | - | 0.01 | 0.00 | - | - | 0.00 | - | 0.01 |
| 6 | Other repairs & maintenance (IT & Technical services) | 1.01 | 0.92 | 0.26 | 0.77 | 0.48 | 1.15 | 0.69 | 0.63 | 5.91 |
| 7 | Distribution line repairs & maintenance (Material consumption) | 3.11 | 1.28 | 1.05 | 1.53 | 1.97 | 1.02 | 3.29 | 1.70 | 14.94 |
| 8 | Total | 26.96 | 26.25 | 23.64 | 24.76 | 24.52 | 30.63 | 27.12 | 26.05 | 209.94 |

It is to submit that comprehensive repair and maintenance (R&M) activities are essential across various domains, including safety, system operations, distribution systems and services, centralized power system control centres, civil structures, and automation technologies. R&M expenses are primarily incurred under 33 kV and 11 kV grid substations and associated lines (including AMC and materials), safety-related works, PSCC, SCADA and GIS systems, transformer and other equipment repairs, civil works, IT-related activities, and store-related material handling.

Ageing of the distribution infrastructure is a critical factor impacting system performance. With the advancement of age, electrical equipment becomes increasingly prone to failures, thereby adversely affecting the reliability of the power distribution system. Inadequate or delayed repair and maintenance may lead to frequent failures of distribution transformers and substations, resulting in interruptions to power supply to consumers. Timely and periodic maintenance, therefore, plays a vital role in reducing outages, lowering overall costs, and improving energy efficiency. While such maintenance involves expenditure, it remains the Licensee’s obligation to ensure uninterrupted and reliable power supply to all consumers.

Further, due to the revision of minimum wages effective from 18th July 2024, involving an increase of approximately 28%, the impact on R&M expenditure has increased substantially. Accordingly, the additional burden arising from the wage revision warrants separate consideration while allowing R&M expenses for FY 2025–26.

In addition to the above, in compliance with the directions of the Hon’ble Commission, the Licensee has established more than 420 Fuse Call Centres (FCCs) across its area of supply, rendering the associated R&M expenditure unavoidable. Similarly, the continuous increase in the number of Primary Sub-Stations (PSS) has necessitated additional staffing, leading to higher contractual obligations and corresponding R&M activities. Further, with the recent increase in Megalift projects within the Licensee’s area—being executed by the Government of Odisha through the OLI Department—the associated network assets are being handed over to the Licensee, thereby shifting the R&M responsibility and financial burden to the Licensee.

As per the Annual Performance Review (APR) Order for FY 2022–23 dated 19.07.2023 and the decisions of the SAC Meeting held on 24.07.2023, the Licensee was directed to strengthen rural operational readiness by ensuring FCC manning in two shifts across rural areas to improve reliability, safety, and consumer service standards.

In TPWODL, out of the total 425 FCC locations, 324 are situated in rural areas. At the time of awarding the original AMC contracts, only single-shift manning was considered for these rural FCCs. However, in order to comply with the above directions of the Hon’ble Commission, TPWODL enhanced the manning from one shift to two shifts for all rural FCCs. This additional deployment has significantly improved network response time, outage management, supply reliability, and consumer service in rural pockets aligning with the regulatory objective of strengthening rural outreach and resolving rural complaints efficiently, thereby providing efficient service delivery.

This enhanced deployment has resulted in additional expenditure under Special R&M, which is unavoidable and directly linked to compliance with the Hon’ble Commission’s orders. Based on the average wages applicable under the AMC work orders, the financial impact of this two-shift manning arrangement amounts to approximately Rs. 3.10 Cr.

Since the expenditure has been incurred solely to meet and uplift timely resolution of consumer queries and is essential for maintaining system reliability and service quality in rural areas, TPWODL prays that the Hon’ble Commission may kindly approve the R&M cost considering the actual field reality.

The Licensee submits that regular joint patrolling with the Forest Department is being carried out across major elephant-prone zones within its command area of the Licensee which includes Sambalpur (Rairakhol, Naktideul), Bargarh West (Paikamal, Melchamunda), Sonepur and Kalahandi (Narla, Komna, Biswanathpur, Mahadevpali). These regions experience frequent elephant movement, particularly during harvesting and farming seasons, as the Licensee’s area of operation largely consists of agricultural belts in Western Odisha such as Bargarh, Bolangir, Sonepur and Kalahandi. In addition to scheduled joint patrolling, the Forest Department regularly intimates the Licensee regarding real-time wildlife movement to ensure preventive action and avoid any untoward incidents.

To safeguard both the wildlife and electrical infrastructure, the Licensee is required to deploy additional manpower, vehicles, and resources for increased patrolling and monitoring during such peak movement periods. These activities are essential for ensuring safety, reliability, and uninterrupted power supply but involve extraordinary expenditure over and above the normal network maintenance costs.

The details of R&M expenses year wise segregating the material and labour as appended below:

| Sl. | Financial Year | Total R&M Expenses (Rs. In Cr.) | Material (Rs. In Cr.) | Labour/Others (Rs. In Cr.) |
| --- | --- | --- | --- | --- |
| 1 | FY 2020-21 (3 months) | 5.75 | 5.59 | 0.16 |
| 2 | FY 2021-22 | 137.06 | 26.62 | 110.44 |
| 3 | FY 2022-23 | 249.00 | 24.79 | 224.21 |
| 4 | FY 2023-24 | 241.71 | 18.42 | 223.28 |
| 5 | FY 2024-25 | 296.10 | 25.02 | 271.09 |
| 6 | FY 2025-26 (up to Nov’25) | 209.94 | 14.94 | 195.00 |

Reply to Query No. 19

Month wise details of the amount of loan availed, amount of interest paid and rate of interest towards availing long term & Short-term loan (working capital) for FY 21-22, FY 22-23, FY 23-24, FY 24-25 and FY 25-26 (actual up to November 2025) is appended as under:

Details of Long-Term CAPEX loans & Weighted avg. Rate Interest (%) thereof - HDFC Bank

| Month | Loan availed (HDFC Bank) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Loan Availed (Rs. Cr.) | Loan Repaid (Rs. Cr) | Cumulative Loan Balance (Rs Cr.) | Int. Paid (Cr) | Wt. avg. Int. (%) |
| FY 21-22 |  |  |  |  |  |
| Apr-21 | - | - | - | - | - |
| May-21 | - | - | - | - | - |
| Jun-21 | - | - | - | - | - |
| Jul-21 | - | - | - | - | - |
| Aug-21 | - | - | - | - | - |
| Sep-21 | - | - | - | - | - |
| Oct-21 | - | - | - | - | - |
| Nov-21 | - | - | - | - | - |
| Dec-21 | - | - | - | - | - |
| Jan-22 | - | - | - | - | - |
| Feb-22 | 50 | - | 50 | 0.19 | 8.35% |
| Mar-22 | - | - | 50 | 0.28 | 8.35% |
| Total FY 21-22 |  |  |  | 0.47 |  |
| FY 22-23 |  |  |  |  |  |
| Apr-22 | - | - | 50 | 0.30 | 8.60% |
| May-22 | - | - | 50 | 0.31 | 8.60% |
| Jun-22 | 50 |  | 100 | 0.31 | 8.60% |
| Jul-22 | - | - | 100 | 0.67 | 8.60% |
| Aug-22 | 50 |  | 150 | 1.02 | 8.60% |
| Sep-22 | - | - | 150 | 1.01 | 8.60% |
| Oct-22 | - | - | 150 | 1.04 | 8.60% |
| Nov-22 | 40 | - | 190 | 1.03 | 8.60% |
| Dec-22 | - | - | 190 | 1.35 | 8.60% |
| Jan-23 | - | - | 190 | 1.41 | 8.60% |
| Feb-23 | - | - | 190 | 1.47 | 8.60% |
| Mar-23 | 35 | - | 225 | 1.31 | 8.60% |
| Total FY 22-23 |  |  |  | 11.23 |  |
| FY 23-24 |  |  |  |  |  |
| Apr-23 | - | 4.25 | 220.755 | 1.63 | 9.28% |
| May-23 | - | - | 220.755 | 1.69 | 9.28% |
| Jun-23 | - | - | 220.755 | 1.63 | 9.28% |
| Jul-23 | - | 4.25 | 216.51 | 1.67 | 9.28% |
| Aug-23 | - | - | 216.51 | 1.69 | 9.28% |
| Sep-23 | - | - | 216.51 | 1.64 | 9.28% |
| Oct-23 | - | 4.25 | 212.265 | 1.66 | 9.28% |
| Nov-23 | - | - | 212.265 | 1.61 | 9.28% |
| Dec-23 | - | - | 212.265 | 1.66 | 9.28% |
| Jan-24 | - | 4.25 | 208.02 | 1.63 | 9.28% |
| Feb-24 | - | - | 208.02 | 1.52 | 9.28% |
| Mar-24 | - | - | 208.02 | 1.45 | 9.28% |
| Total FY 23-24 |  |  |  | 19.48 |  |
| FY 24-25 |  |  |  |  |  |
| Apr-24 | - | 4.25 | 203.775 | 1.44 | 8.50% |
| May-24 | - | - | 203.775 | 1.49 | 8.50% |
| Jun-24 | - | - | 203.775 | 1.44 | 8.50% |
| Jul-24 | - | 4.25 | 199.53 | 1.45 | 8.50% |
| Aug-24 | - | - | 199.53 | 1.38 | 8.50% |
| Sep-24 | - | - | 199.53 | 1.33 | 8.50% |
| Oct-24 | - | 4.25 | 195.285 | 1.34 | 8.50% |
| Nov-24 | - | - | 195.285 | 1.30 | 8.50% |
| Dec-24 | - | - | 195.285 | 1.36 | 8.50% |
| Jan-25 | - | 4.25 | 191.04 | 1.34 | 8.50% |
| Feb-25 | - | - | 191.04 | 1.23 | 8.50% |
| Mar-25 | - | - | 191.04 | 1.30 | 8.50% |
| Total FY 24-25 |  |  |  | 16.40 |  |
| FY 25-26 |  |  |  |  |  |
| Apr-25 | - | 4.25 | 186.795 | 1.27 | 7.85% |
| May-25 | - | - | 186.795 | 1.18 | 7.85% |
| Jun-25 | - | - | 186.795 | 1.12 | 7.85% |
| Jul-25 | - | 4.25 | 182.55 | 1.11 | 7.85% |
| Aug-25 | - | - | 182.55 | 1.08 | 7.85% |
| Sep-25 | - | - | 182.55 | 1.07 | 7.85% |
| Oct-25 | - | 4.25 | 178.305 | 1.11 | 7.85% |
| Nov-25 | - | - | 178.305 | 1.03 | 7.85% |
| Total FY 25-26 (up to Nov’25) |  |  |  | 8.98 |  |

Details of Long-Term CAPEX loans & Weighted avg. Rate Interest (%) thereof - Canara Bank

| Month | Loan availed (Canara Bank) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Loan Availed (Rs. Cr.) | Loan Repaid (Rs. Cr) | Cumulative Loan Balance (Rs Cr.) | Int. Paid (Cr) | Wt. avg. Int. (%) |
| FY 23-24 |  |  |  |  |  |
| May-23 | - | - | - | - |  |
| Jun-23 | - | - | - | - |  |
| Jul-23 | - | - | - | - |  |
| Aug-23 | 50 | - | 50 | 0.01 | 9.28% |
| Sep-23 | - | - | 50 | 0.35 | 9.28% |
| Oct-23 | - | - | 50 | 0.36 | 9.28% |
| Nov-23 | - | - | 50 | 0.35 | 9.28% |
| Dec-23 | - | - | 50 | 0.36 | 9.28% |
| Jan-24 | 50 | - | 100 | 0.62 | 9.28% |
| Feb-24 | 50 | - | 150 | 0.95 | 9.28% |
| Mar-24 | 50 | - | 199.86 | 1.47 | 9.28% |
| Total FY 23-24 |  |  |  | 4.47 |  |
| FY 24-25 |  |  |  |  |  |
| Apr-24 | - | - | 199.86 | 1.42 | 8.50% |
| May-24 | - | - | 199.86 | 1.47 | 8.50% |
| Jun-24 | - | - | 199.86 | 1.42 | 8.50% |
| Jul-24 | - | - | 199.86 | 1.47 | 8.50% |
| Aug-24 | - | - | 199.86 | 1.47 | 8.50% |
| Sep-24 | - | - | 199.86 | 1.39 | 8.50% |
| Oct-24 | - | - | 199.86 | 1.43 | 8.50% |
| Nov-24 | - | - | 199.86 | 1.39 | 8.50% |
| Dec-24 | - | - | 199.86 | 1.44 | 8.50% |
| Jan-25 | - | - | 199.86 | 1.44 | 8.50% |
| Feb-25 | - | - | 199.86 | 1.35 | 8.50% |
| Mar-25 | - | - | 199.86 | 1.45 | 8.50% |
| Total FY 24-25 |  |  |  | 17.14 |  |
| FY 25-26 |  |  |  |  |  |
| Apr-25 | - | - | 199.86 | 1.41 | 7.85% |
| May-25 | - | - | 199.86 | 1.43 | 7.85% |
| Jun-25 | - | - | 199.86 | 1.32 | 7.85% |
| Jul-25 | - | - | 199.86 | 1.37 | 7.85% |
| Aug-25 | - | - | 199.86 | 1.36 | 7.85% |
| Sep-25 | - | - | 199.86 | 1.31 | 7.85% |
| Oct-25 | - | - | 199.86 | 1.36 | 7.85% |
| Nov-25 | - | 3.84 | 196.02 | 1.32 | 7.85% |
| Total FY 25-26 (up to Nov’25) |  |  |  | 10.87 |  |

Details of Long-Term CAPEX loans & Weighted avg. Rate Interest (%) thereof - Indian Bank

| Month | Loan availed (Indian Bank) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Loan Availed (Rs. Cr.) | Loan Repaid (Rs. Cr) | Cumulative Loan Balance (Rs Cr.) | Int. Paid (Cr) | Wt. avg. Int. (%) |
| FY 24-25 |  |  |  |  |  |
| Apr-24 | - | - | - | - |  |
| May-24 | 150.00 | - | 150.00 | 0.10 | 8.50% |
| Jun-24 | 40.00 | - | 190.00 | 1.23 | 8.50% |
| Jul-24 | 35.00 | - | 225.00 | 1.55 | 8.50% |
| Aug-24 | - | - | 225.00 | 1.63 | 8.50% |
| Sep-24 | - | - | 225.00 | 1.58 | 8.50% |
| Oct-24 | - | - | 225.00 | 1.63 | 8.50% |
| Nov-24 | - | - | 225.00 | 1.59 | 8.50% |
| Dec-24 | - | - | 225.00 | 1.64 | 8.50% |
| Jan-25 | - | - | 225.00 | 1.64 | 8.50% |
| Feb-25 | - | - | 225.00 | 1.50 | 8.50% |
| Mar-25 | - | - | 225.00 | 1.66 | 8.50% |
| Total FY 24-25 |  |  |  | 15.76 |  |
| FY 25-26 |  |  |  |  |  |
| Apr-25 | - | - | 224.73 | 1.61 | 7.85% |
| May-25 | - | - | 224.73 | 1.66 | 7.85% |
| Jun-25 | - | - | 224.73 | 1.61 | 7.85% |
| Jul-25 | - | - | 224.73 | 1.66 | 7.85% |
| Aug-25 | - | 2.68 | 222.05 | 1.66 | 7.85% |
| Sep-25 | - | 2.34 | 219.71 | 1.57 | 7.85% |
| Oct-25 | - | - | 219.71 | 1.61 | 7.85% |
| Nov-25 | - | 2.68 | 217.03 | 1.55 | 7.85% |
| Total FY 25-26 (up to Nov’25) |  |  |  | 12.93 |  |

Details of Long-Term CAPEX loans & Weighted avg. Rate Interest (%) thereof - Axis Bank

| Month | Loan availed (Axis Bank) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Loan Availed (Rs. Cr.) | Loan Repaid (Rs. Cr) | Cumulative Loan Balance (Rs Cr.) | Int. Paid (Cr) | Wt. avg. Int. (%) |
| FY 24-25 |  |  |  |  |  |
| Apr-24 | - | - | - | - |  |
| May-24 | - | - | - | - |  |
| Jun-24 | - | - | - | - |  |
| Jul-24 | - | - | - | - |  |
| Aug-24 | - | - | - | - |  |
| Sep-24 | - | - | - | - |  |
| Oct-24 | - | - | - | - |  |
| Nov-24 | - | - | - | - |  |
| Dec-24 | 200.00 | - | 200.00 | 1.04 | 8.50% |
| Jan-25 | - | - | 200.00 | 1.40 | 8.50% |
| Feb-25 | - | - | 200.00 | 1.26 | 8.50% |
| Mar-25 | 199.73 | - | 399.73 | 2.62 | 8.50% |
| Total FY 24-25 |  |  |  | 6.32 |  |
| FY 25-26 |  |  |  |  |  |
| Apr-25 | - | - | 398.94 | 2.62 | 7.85% |
| May-25 | - | - | 398.94 | 2.71 | 7.85% |
| Jun-25 | - | - | 398.94 | 2.44 | 7.85% |
| Jul-25 | - | - | 398.94 | 2.45 | 7.85% |
| Aug-25 | - | - | 398.94 | 2.45 | 7.85% |
| Sep-25 | - | - | 398.94 | 2.38 | 7.85% |
| Oct-25 | - | - | 398.94 | 2.45 | 7.85% |
| Nov-25 | - | - | 398.94 | 2.38 | 7.85% |
| Total FY 25-26 (up to Nov’25) |  |  |  | 19.89 |  |

Details of Long-Term CAPEX loans & Weighted avg. Rate Interest (%) thereof - Odisha Gramin Bank

| Month | Loan availed (Odisha Gramin Bank) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Loan Availed (Rs. Cr.) | Loan Repaid (Rs. Cr) | Cumulative Loan Balance (Rs Cr.) | Int. Paid (Cr) | Wt. avg. Int. (%) |
| FY 24-25 |  |  |  |  |  |
| Mar-25 | 75 | - | 75 | 0.5 | 8.50% |
| Total FY 24-25 |  |  |  | 0.5 |  |
| FY 25-26 |  |  |  |  |  |
| Apr-25 | - | - | 75.00 | 0.50 | 7.85% |
| May-25 | - | - | 75.00 | 0.50 | 7.85% |
| Jun-25 | - | - | 75.00 | 0.49 | 7.85% |
| Jul-25 | - | - | 75.00 | 0.47 | 7.85% |
| Aug-25 | - | - | 75.00 | 0.47 | 7.85% |
| Sep-25 | - | - | 75.00 | 0.47 | 7.85% |
| Oct-25 | - | - | 75.00 | 0.47 | 7.85% |
| Nov-25 | - | - | 75.00 | 0.47 | 7.85% |
| Total FY 25-26 (up to Nov’25) |  |  |  | 3.84 |  |

Working Capital Loans:

Details of Working Capital Loans & weighted avg. rate of Interest (%) Thereof for FY 22-23

| FY 22-23 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Deposit A/c No. | Original Face Value (Rs. Cr.) | Rate of Interest + 0.5% for SOD | FD Considered @97.5% (Rs. Cr.) | Weighted Interest (Rs. Cr.) |
| 1 | 365203030070980 | 0.25 | 5.75% | 0.24 | 0.014 |
| 2 | 365203030071060 | 0.5 | 5.75% | 0.49 | 0.028 |
| 3 | 365203030068903 | 0.9 | 5.75% | 0.88 | 0.050 |
| 4 | 365203030071410 | 0.95 | 5.75% | 0.93 | 0.053 |
| 5 | 365203030071411 | 1.85 | 5.75% | 1.80 | 0.104 |
| 6 | 365203030069743 | 0.7 | 6.80% | 0.68 | 0.046 |
| 7 | 365203030071252 | 1.8 | 6.80% | 1.76 | 0.119 |
| 8 | 365203030071286 | 1.8 | 6.80% | 1.76 | 0.119 |
| 9 | 365203030071287 | 1.8 | 6.80% | 1.76 | 0.119 |
| 11 | 365203030071253 | 1.8 | 6.80% | 1.76 | 0.119 |
| 12 | 365203030071301 | 1.8 | 6.80% | 1.76 | 0.119 |
| 13 | 365203030070271 | 1.11 | 6.80% | 1.08 | 0.074 |
| 14 | 365203030072154 | 176.85 | 7.30% | 172.43 | 12.587 |
| 15 | 365203030069798 | 0.9 | 7.80% | 0.88 | 0.068 |
| 16 | 365203030069810 | 0.9 | 7.80% | 0.88 | 0.068 |
| 17 | 365203030069817 | 0.9 | 7.80% | 0.88 | 0.068 |
| 18 | 365203030069827 | 0.9 | 7.80% | 0.88 | 0.068 |
| 19 | 365203030072583 | 1.98 | 7.80% | 1.93 | 0.151 |
| 20 | 365203030072585 | 1.85 | 7.80% | 1.80 | 0.141 |
| 21 | 365203030072131 | 27.55 | 8.05% | 26.86 | 2.162 |
| 22 | Total |  |  | 221.41 | 16.281 |
| 23 | Wt. avg. Interest Rate |  |  |  | 7.35% |

Details of Working Capital Loans & weighted avg. rate of Interest (%) Interest thereof for FY 23-24

| FY 23-24 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Deposit A/c No. | Value as on 31.03.24 (Rs. Cr.) | Rate of Interest + 0.5% for SOD | FD Considered @97.5% (Rs. Cr.) | Weighted Interest (Rs. Cr.) |
| 1 | 365203030070980 | 0.29 | 5.75% | 0.28 | 0.016 |
| 2 | 365203030071060 | 0.55 | 5.75% | 0.54 | 0.031 |
| 3 | 365203030068903 | 1.28 | 5.75% | 1.25 | 0.072 |
| 4 | 365203030071410 | 1.07 | 5.75% | 1.04 | 0.060 |
| 5 | 365203030071411 | 1.98 | 5.75% | 1.93 | 0.111 |
| 6 | 365203030070271 | 1.17 | 5.75% | 1.14 | 0.066 |
| 7 | 365203030069743 | 0.97 | 7.25% | 0.95 | 0.069 |
| 8 | 365203030071252 | 2.04 | 6.80% | 1.99 | 0.135 |
| 9 | 365203030071286 | 2.04 | 6.80% | 1.99 | 0.135 |
| 11 | 365203030071287 | 2.04 | 6.80% | 1.99 | 0.135 |
| 12 | 365203030071253 | 2.04 | 6.80% | 1.99 | 0.135 |
| 13 | 365203030071301 | 2.04 | 6.80% | 1.99 | 0.135 |
| 14 | 365203030072893 | 178.53 | 8.08% | 174.07 | 14.065 |
| 15 | 365203030069798 | 1.23 | 7.80% | 1.20 | 0.094 |
| 16 | 365203030069810 | 1.23 | 7.80% | 1.20 | 0.094 |
| 17 | 365203030069817 | 1.19 | 7.80% | 1.16 | 0.090 |
| 18 | 365203030069827 | 1.23 | 7.80% | 1.20 | 0.094 |
| 19 | 365203030072583 | 2.05 | 7.80% | 2.00 | 0.156 |
| 20 | 365203030072585 | 1.92 | 7.80% | 1.87 | 0.146 |
| 21 | 365203030072131 | 27.9 | 8.05% | 27.20 | 2.190 |
| 22 | Total (Rs. Cr.) |  |  | 226.97 | 18.028 |
| 23 | Wt. avg. Int. Rate |  |  |  | 7.94% |

Details of Working Capital Loans & weighted avg. rate of Interest (%) Interest Thereof for FY 24-25

| FY 24-25 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Deposit A/c No. | Value as on 31.03.2025 (Rs. Cr.) | Rate of Interest + 0.5% for SOD | FD Considered @97.5% (Rs. Cr.) | Weighted Interest (Rs. Cr.) |
| 1 | 365203030068903 | 1.38 | 6.85% | 1.35 | 0.092 |
| 2 | 365203030071410 | 1.15 | 6.75% | 1.12 | 0.075 |
| 3 | 365203030071411 | 2.15 | 6.75% | 2.10 | 0.142 |
| 4 | 365203030070271 | 1.26 | 7.75% | 1.23 | 0.095 |
| 5 | 365203030069743 | 1.04 | 7.30% | 1.02 | 0.074 |
| 6 | 365203030071252 | 2.25 | 6.85% | 2.19 | 0.150 |
| 7 | 365203030071286 | 2.24 | 6.85% | 2.19 | 0.150 |
| 8 | 365203030071287 | 2.04 | 6.85% | 1.99 | 0.136 |
| 9 | 365203030071253 | 2.25 | 6.85% | 2.19 | 0.150 |
| 10 | 365203030071301 | 2.24 | 6.85% | 2.19 | 0.150 |
| 11 | 365203030072893 | 197.87 | 8.31% | 192.93 | 16.032 |
| 12 | 365203030069798 | 1.36 | 6.85% | 1.32 | 0.091 |
| 13 | 365203030069810 | 1.36 | 6.85% | 1.32 | 0.091 |
| 14 | 365203030069817 | 1.36 | 6.85% | 1.32 | 0.091 |
| 15 | 365203030069827 | 1.36 | 6.85% | 1.32 | 0.091 |
| 16 | 365203030072583 | 2.26 | 7.25% | 2.21 | 0.160 |
| 17 | 365203030072585 | 2.12 | 7.25% | 2.06 | 0.150 |
| 18 | 365203030072131 | 30.90 | 8.21% | 30.13 | 2.474 |
| 19 | Total (Rs. Cr.) |  |  | 250.18 | 20.39 |
| 20 | Wt. avg. Interest Rate |  |  |  | 8.15% |

Details of Working Capital Loans & weighted avg. rate of Interest (%) Interest Thereof for FY 25-26 (up to Nov-25)

| FY 25-26(as on 30.11.25) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Deposit A/c No. | Value as on 31.03.2025 (Rs. Cr.) | Rate of Interest + 0.5% for SOD | FD Considered @97.5% (Rs. Cr.) | Weighted Interest (Rs. Cr.) |
| 1 | 365203230006872 | 1.38 | 5.40% | 1.35 | 0.073 |
| 2 | 365203230006870 | 1.19 | 5.40% | 1.16 | 0.062 |
| 3 | 365203230006874 | 2.15 | 5.40% | 2.10 | 0.113 |
| 4 | 365203030070271 | 1.26 | 6.65% | 1.23 | 0.082 |
| 5 | 365203030069743 | 1.04 | 7.30% | 1.02 | 0.074 |
| 6 | 365203030071252 | 2.25 | 6.65% | 2.19 | 0.146 |
| 7 | 365203030071286 | 2.24 | 6.65% | 2.19 | 0.146 |
| 8 | 365203030071287 | 2.04 | 6.65% | 1.99 | 0.132 |
| 9 | 365203030071253 | 2.25 | 6.65% | 2.19 | 0.146 |
| 10 | 365203030075180 | 2.24 | 6.65% | 2.19 | 0.145 |
| 11 | 365203030072893 | 197.87 | 6.50% | 192.93 | 12.540 |
| 12 | 365203230006871 | 1.36 | 5.40% | 1.32 | 0.072 |
| 13 | 365203230006870 | 1.36 | 5.40% | 1.32 | 0.072 |
| 14 | 365203230006868 | 1.40 | 5.40% | 1.36 | 0.074 |
| 15 | 365203230006869 | 1.36 | 5.40% | 1.32 | 0.071 |
| 16 | 365203030072583 | 2.26 | 7.25% | 2.21 | 0.160 |
| 17 | 365203030072585 | 2.12 | 7.25% | 2.06 | 0.150 |
| 18 | 365203030072131 | 30.90 | 6.35% | 30.13 | 1.913 |
| 19 | Total (Rs. Cr.) | 256.67 |  | 250.26 | 16.17 |
| 20 | Wt. avg. Interest Rate |  |  |  | 6.46% |

Reply to Query No. 20

Detailed statement of utilization of Government funds received by TPWODL (scheme-wise) and details of assets created out of them for FY 21-22, FY 22-23, FY 23-24, FY 24-25 and actual up to Nov-25 is provided as under:

| Name of Scheme | Executing Agency | Sanctioned Amt. (Rs. Cr.) | Asset Created in FY 21-22 | Asset Created in FY 22-23 | Asset Created in FY 23-24 | Asset Created in FY 24-25 | Asset Created in FY 25 up to Nov25 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) |
| ELEPHANT CORRIDOR | TPWODL | 268.24 | - | 17.23 | 59.98 | 56.67 | - |
| School Anganwadi | TPWODL | 25.00 | - | - | 0.11 | - | - |
| SDMF(Disaster) | TPWODL | 24.00 |  |  |  |  |  |
| SACI/SACE | TPWODL | 100.00 | - | 14.10 | 31.51 | 43.99 | 4.59 |
| BGJY GRID & OFF GRID | TPWODL | 2.12 | - | - | 1.86 | 0.11 | 0.13 |
| BGJY GRID & OFF GRID (INFRA) | TPWODL | 121.10 |  |  |  | 33.51 |  |
| BGJY GRID & OFF GRID-HH | TPWODL |  |  |  |  |  | 8.14 |
| ODSSP-V (CMPDP) | TPWODL | 231.00 |  |  |  | 38.25 | 32.12 |
| TOTAL |  | 771.46 | - | 31.32 | 93.47 | 172.53 | 44.98 |

Reply to Query No. 21

A detailed statement of the assets created out of Govt. funding and subsequently transferred to TPWODL from the date of vesting to till Nov’25 is tabulated below. Further the Licensee vide Letter no. TPWODL/CEO/FY 25-26/10 dated 16.12.2025 had written to OPTCL regarding clarification/ examination on certain points with w.r.t. the following table so that the record remains consistent and accurate.

| S. N. | Scheme | Status as on 31.03.2023 (Completed + WIP) received vide email dated 18.04.2023 |  |  | Status as on 31.03.2023 (Completed + WIP) as per GRIDCO MOM dated 12.10.2023 |  |  | Status as on 31.03.2024 (Completed + WIP) as per Hard Copy received from CFO, OPTCL on 07.06.2024 |  |  | Status as on 31.03.2024 as per OPTCL's letter to GRIDCO dated 10.02.2025 | Status as on 31.03.2025 as per OPTCL's letter dated 02.12.2025 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Completed | WIP | Total | Completed | WIP | Total | Completed | WIP | Total | Completed (WIP not provided) |  |
|  |  | A | B | C | A | B | C | D | E | F | G |  |
| 1 | ODSSP | 886.18 | 172.57 | 1058.75 | 899.45 | 184.47 | 1083.92 | 886.18 | 192.38 | 1078.56 | 883.09 | 1025.18 |
| 2 | DDUGJY | 373.42 | - | 373.42 | 293.39 | - | 293.39 | 373.42 | - | 373.42 | 294.15 | 285.70 |
| 3 | IPDS | 244.65 | - | 244.65 | 223.11 | - | 223.11 | 244.65 | - | 244.65 | 220.03 | 217.00 |
| 4 | IPDS IT PH-II | - | - | - |  |  |  | 54.20 | - | 54.20 |  | 57.04 |
| 5 | ODSSP-IV | - | 57.58 | 57.58 |  |  |  | - | 216.92 | 216.92 |  |  |
| 6 | SOUBHAGYA | 158.50 | - | 158.50 |  |  |  | 158.50 | - | 158.50 |  |  |
| 7 | RGGVY | 26.94 | - | 26.94 |  |  |  | 26.94 | - | 26.94 |  |  |
| 8 | BGJY OPTCL DTR | 41.08 | - | 41.08 |  |  |  | 41.08 | - | 41.08 |  |  |
| 9 | DDUGJY (11th & 12th Plan) - PGCIL |  |  |  | 685.37 | - | 685.37 |  |  |  |  |  |
| 10 | DDUGJY (11th & 12th Plan) - NTPC |  |  |  | 1442.63 | - | 1,442.63 |  |  |  |  |  |
| 11 | ODSSP (CMPDP) |  |  |  |  |  |  |  |  |  |  |  |
| 12 | BGJY (Infra) |  |  |  |  |  |  |  |  |  |  |  |
| 13 | IPDS & DDUGJY - Metering |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Total | 1730.77 | 230.15 | 1960.92 | 3543.95 | 184.47 | 3728.42 | 1784.97 | 409.30 | 2194.27 | 1397.27 | 1584.92 |

The above-mentioned Government-funded assets, though not capitalized in the books of accounts of the Licensee, are operated and maintained by the Licensee for the purpose of providing uninterrupted and reliable electricity supply to consumers across the entire licence area. Accordingly, the Licensee humbly requests the Hon’ble Commission to allow/permit R&M expenses on these assets, in accordance with the applicable norms.

The Licensee considering the statement of assets created under Govt. projects as per GRIDCO MoM & OPTCL’s statement dated 07.06.2024, the following statement has been considered by TPWODL in the ARR for FY 26-27.

| S. N. | Scheme | Claimed in ARR As on Mar-25 (Rs. Cr.) | Claimed in ARR As on Mar-26 (Rs. Cr.) |
| --- | --- | --- | --- |
| 1 | ODSSP | 742.82 | 742.82 |
| 2 | DDUGJY | 285.7 | 285.7 |
| 3 | IPDS | 214.43 | 214.43 |
| 4 | IPDS IT PH-II | 55.41 | 55.41 |
| 5 | BGJY OPTCL DTR | 33 | 33 |
| 6 | DDUGJY (11th & 12th Plan) - PGCIL | 685.37 | 685.37 |
| 7 | DDUGJY (11th & 12th Plan) - NTPC | 1,442.63 | 1,442.63 |
| 8 | ODSSP (CMPDP) | 38.25 | 97.92 |
| 9 | BGJY (Infra) | 33.51 | 75.51 |
| 10 | IPDS & DDUGJY - Metering | 117.75 | 117.75 |
|  | Total | 3649 | 3751 |

As regards to the Fair value of assets transferred by GRIDCO in the form of kind for equity contribution to TPWODL from FY 2021-22 to FY 2024-25 is tabulated below:

| Equity Contribution | ODSSP (Rs. Cr.) | BGJY (Rs. Cr.) | Total (Rs. Cr.) |
| --- | --- | --- | --- |
| 21-22 | 29.37 |  | 29.37 |
| 22-23 | 58.93 |  | 58.93 |
| 23-24 | 82.21 |  | 82.21 |
| 24-25 | 69.37 | 8.08 | 77.45 |
| Total | 239.88 | 8.08 | 247.97 |

Further the GRIDCO vide letter dated 31.12.2025 has also provided the book value/fair value of assets transferred towards GRIDCO’s equity up to 31.03.2025 under scheme ODSSP.

Reply to Query No. 22

A detailed statement of assets discarded/ retired after attainment of 90% of depreciation is tabulated as under:

| S. No. | Asset Description | Gross Block (95% dep.) (31.03.2021) | Retirement (FY 21-22) | Retirement (FY 22-23) | Retirement (FY 23-24) | Retirement (FY 24-25) | Retirement (FY 25-26) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) |
| 1 | 11 kV line | 46.78 | - | - | - | 1.08 | 0.20 |
| 2 | 33 kV line | 13.20 | - | - | - | 0.27 | 0.09 |
| 3 | 33/11 kV Substation | 4.18 | - | - | - | - | - |
| 4 | 33/0.4 kV S/s | 0.49 | - | - | - | - | - |
| 5 | 11/0.4 & 11/0.23 kV S/s | 28.42 | - | - | - | - | - |
| 6 | LT Lines | 31.26 | - | - | - | 0.18 | 0.24 |
| 7 | F&F | 1.11 | - | - | - | 0.93 | - |
| 8 | Meters | 13.71 | - | - | - | - | - |
| 9 | Service Connections | 0.37 | - | - | 0.37 | 3.76 | 1.27 |
| 10 | Vehicles | 0.24 | - | 0.20 | - | - | - |
| 11 | Office Equipment – Other | 0.83 | - | - | - | 0.96 | - |
| 12 | Office Equipment - Computers | 2.88 | - | - | 0.54 | 0.97 | 0.01 |
| 13 | Total | 143.47 | 0.00 | 0.20 | 0.91 | 8.14 | 1.81 |

Reply to Query No. 23

A detailed statement of assets still in use and continuing in gross fixed assets till 30.11.2025 after attainment of 90% of depreciation is tabulated below:

| S. No. | Asset Description | G.B. (95% dep.) (31.03. 2024)* | Add. | Ret. (FY 24-25) | G.B. (95% dep.) (31.03. 2025) | Add. | Ret. (FY 25-26) | G.B. (95% dep.) (up to Nov’25) | Assets not in use (APC start 01.04. 2025) | Assets still in use up to Nov’25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) |
| 1 | 11 kV line | 74.77 | 27.27 | 1.08 | 100.96 | 0.20 | 0.20 | 100.96 | - | 100.96 |
| 2 | 33 kV line | 19.34 | 1.54 | 0.27 | 20.62 | 0.09 | 0.09 | 20.62 | - | 20.62 |
| 3 | 33/11 kV Substation | 21.08 | 10.65 | - | 31.73 | 0.00 | - | 31.73 | 0.98 | 30.75 |
| 4 | 33/0.4 kV S/s | 0.70 | 0.07 | - | 0.77 | 0.00 | - | 0.77 | - | 0.77 |
| 5 | 11/0.4 & 11/0.23 kV S/s | 50.16 | 13.69 | - | 63.85 | 0.00 | - | 63.85 | 0.11 | 63.74 |
| 6 | LT Lines | 46.74 | 2.11 | 0.18 | 48.67 | 0.24 | 0.24 | 48.67 | - | 48.67 |
| 7 | F&F | 1.41 | 0.01 | 0.93 | 0.49 | 0.00 | - | 0.49 | - | 0.49 |
| 8 | Meters | 16.83 | 0.01 | - | 16.84 | 0.00 | - | 16.84 | - | 16.84 |
| 9 | Service Connections | 10.21 | 2.37 | 3.76 | 8.82 | 1.27 | 1.27 | 8.82 | - | 8.82 |
| 10 | Vehicles | 0.28 | 0.00 | - | 0.28 | 0.00 | - | 0.28 | - | 0.28 |
| 11 | Office Equipment - Other | 1.21 | 0.00 | 0.96 | 0.25 | 0.00 | - | 0.25 | - | 0.25 |
| 12 | Office Equipment - Computers | 2.67 | 0.08 | 0.97 | 1.79 | 0.01 | 0.01 | 1.79 | - | 1.79 |
| 13 | Total | 245.41* | 57.81 | 8.14 | 295.07 | 1.81 | 1.81 | 295.07 | 1.09 | 293.98 |

*Audited Certificate already provided to the Hon’ble Commission vide letter no TPWODL/RA/2025/090 dated 28.11.2025

Reply to Query No. 24

Detailed statement of year-wise Internal Accruals generated from FY 20-21 to FY 25-26 (up to Nov-25) is provided as under:

| Particulars | FY 20-21 | FY 21-22 | FY 22-23 | FY 23-24 | FY 24-25 | FY 25-26 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | (up to Nov-25) |
|  | Rs. Cr. | Rs. Cr. | Rs. Cr. | Rs. Cr. | Rs. Cr. | Rs. Cr. |
| ROE | 12.00 | 48.00 | 67.21 | 92.03 | 120.43 | 91.40 |
| Incentive on past Arrear Collection | 10.81 | 11.92 | 11.44 | 6.39 | 4.91 | 2.40 |
| AT&C Gain/(Loss) | (23.09) | 3.82 | 69.71 | 93.77 | 18.58 | (18.87) |
| Other including Meter Rents, Tax & Provision for Doubtful Debts | (0.74) | (0.00) | (57.28) | (117.41) | (71.19) | 0.69 |
| Internal Accrual – (Profit After Tax) | (1.02) | 63.74 | 91.08 | 74.78 | 72.74 | 75.63 |
| Cumulative Internal Accrual | (1.02) | 62.72 | 153.80 | 228.58 | 301.32 | 376.95 |

Reply to Query No. 25

Details of Head wise Old Fixed Assets from date of vesting till 31.03.2025 is provided as under:

(Rs. Cr.)

| S. No. | Asset Class Details | GB as on 31.03.22 | Retirement FY 22-23 | GB as on 31.03.23 | Retirement FY 23-24 | GB as on 31.03.24 | Retirement FY 24-25 | GB as on 31.03.25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Buildings | 16.02 | - | 16.02 | - | 16.02 |  | 16.02 |
| 2 | Lines, Cables & Network Assets | 1937.33 | 1.91 | 1935.43 | 2.54 | 1932.89 | 19.90 | 1912.99 |
| 3 | Meters | - | - | - | - | - |  | - |
| 4 | Vehicles | 0.48 | 0.20 | 0.28 | - | 0.28 |  | 0.28 |
| 5 | Furniture & Fixtures | 2.02 | - | 2.02 | - | 2.02 | 1.11 | 0.91 |
| 6 | Office Equipment | 1.95 | - | 1.95 | - | 1.95 | 1.15 | 0.80 |
| 7 | Computer & IT Equipment | 5.50 | - | 5.50 | 1.09 | 4.41 | 1.10 | 3.31 |
| 8 | Software | - | - | - | - | - |  | - |
|  | Total | 1963.31 | 2.10 | 1961.20 | 3.63 | 1957.57 | 23.26 | 1934.32 |

(Rs. Cr.)

| S. No. | Particulars | GB as on 31.03.22 | Retirement FY 22-23 | GB as on 31.03.23 | Retirement FY 23-24 | GB as on 31.03.24 | Retirement FY 24-25 | GB as on 31.03.25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Grants | 417.93 | - | 417.93 | - | 417.93 |  | 417.93 |
| 2 | CC | 824.43 | 1.91 | 822.53 | 2.54 | 819.99 | 18.37 | 801.63 |
| 3 | Own Fund | 720.94 | 0.20 | 720.74 | 1.09 | 719.65 | 4.89 | 714.76 |
| 4 | Total Legacy | 1963.31 | 2.10 | 1961.20 | 3.63 | 1957.57 | 23.26 | 1934.32 |

Reply to Query No. 26

Details of Head wise Old Fixed Assets List as on 01.04.2025 along with depreciation calculation is appended as under:

(Rs. Cr.)

| S. No. | Asset Class Details | GB as on 31.03.25 | Opening Acc. Dep. (01.04. 24) | Actual Dep. for year | Closing Acc. Dep. (31-03-25) | NB as on 31.03. 25 | Retd. | GB as on 30.11. 25 | Actual Dep. for year | Closing Acc. Dep. (30.11. 25) | NB as on 30.11 .25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Buildings | 16.02 | 6.33 | 0.29 | 6.62 | 9.40 | - | 16.02 | 0.19 | 6.81 | 9.21 |
| 2 | Lines, Cables & Network Assets | 1912.99 | 825.64 | 51.86 | 877.50 | 1035.49 | 18.27 | 1894.72 | 33.05 | 910.55 | 984.18 |
| 3 | Meters | - | - | - | - | - | - | - | - | - | - |
| 4 | Vehicles | 0.28 | 0.27 | - | 0.27 | 0.01 | - | 0.28 | - | 0.27 | 0.01 |
| 5 | Furniture & Fixtures | 0.91 | 1.77 | (1.02) | 0.75 | 0.16 | - | 0.91 | 0.01 | 0.76 | 0.15 |
| 6 | Office Equipment | 0.80 | 1.59 | (1.02) | 0.57 | 0.23 | - | 0.80 | 0.03 | 0.60 | 0.20 |
| 7 | Computer & IT Equipment | 3.31 | 3.65 | (0.86) | 2.79 | 0.52 | 0.01 | 3.30 | 0.07 | 2.86 | 0.44 |
| 8 | Software | - | - | - | - | - | - | - | - | - | - |
|  | Total | 1934.32 | 839.25 | 49.25 | 888.50 | 1045.82 | 18.28 | 1916.04 | 33.35 | 921.85 | 994.18 |

(Rs. Cr.)

| S. No. | Particulars | GB as on 31.03.25 | Opening Acc. Dep. (01.04. 24) | Actual Dep. for year | Closing Acc. Dep. (31-03-25) | NB as on 31.03. 25 | Retd. | GB as on 30.11. 25 | Actual Dep. for year | Closing Acc. Dep. (30.11. 25) | NB as on 30.11 .25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Grants | 417.93 | 139.76 | 15.73 | 155.49 | 262.44 | - | 417.93 | 10.44 | 165.93 | 252.00 |
| 2 | CC | 801.63 | 270.28 | 19.81 | 290.09 | 511.54 | 16.78 | 784.85 | 12.60 | 302.69 | 482.16 |
| 3 | Own Fund | 714.76 | 429.21 | 13.71 | 442.92 | 271.84 | 1.50 | 713.26 | 10.31 | 453.23 | 260.03 |
| 4 | Total Legacy | 1934.32 | 839.25 | 49.25 | 888.50 | 1045.82 | 18.28 | 1916.04 | 33.35 | 921.85 | 994.18 |

Reply to Query No. 27

Details of Head wise New Assets List (after the effective date) along with depreciation calculation is appended as under:                                                                                                                                   (Rs. Cr.)

| S. No. | Asset Class Details | GB as on 31.03. 22 | Add. | Ret. | GB as on 31.03. 23 | Add. | Ret. | GB as on 31.03. 24 | Add. | Ret. | GB as on 31.03. 25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Buildings | 29.48 | 76.31 | - | 105.79 | 98.49 | - | 204.28 | 87.84 |  | 292.12 |
| 2 | Lines, Cables & Network Assets | 303.55 | 425.83 | - | 729.37 | 625.92 |  | 1355.30 | 1168.50 |  | 2523.80 |
| 3 | Meters | 0.03 | 58.87 | - | 58.90 | 119.04 | 0.22 | 177.72 | 163.00 | 2.82 | 337.90 |
| 4 | Vehicles | 1.39 | 3.90 | 0.02 | 5.27 | 4.58 | 0.06 | 9.78 | 2.74 | 1.26 | 11.26 |
| 5 | Furniture & Fixtures | 1.00 | 5.80 | - | 6.80 | 9.04 | 0.08 | 15.76 | 3.33 |  | 19.09 |
| 6 | Office Equipment | 0.57 | 10.68 | - | 11.25 | 4.53 | - | 15.78 | 1.76 |  | 17.54 |
| 7 | Computer & IT Equipment | 19.73 | 29.59 | 0.01 | 49.31 | 58.26 | 0.01 | 107.56 | 17.96 | 0.27 | 125.25 |
| 8 | Software | 34.52 | 33.43 | - | 67.95 | 61.87 | - | 129.82 | 19.75 |  | 149.57 |
| 9 | Total | 390.27 | 644.41 | 0.03 | 1034.64 | 981.73 | 0.37 | 2016.00 | 1464.88 | 4.35 | 3476.53 |

(Rs. Cr.)

| S. No. | Asset Class Details | Opening Acc. Dep. (01.04. 24) | Actual Dep. for year | Closing Acc. Dep. (31-03-25) | NB as on 31.03. 25 | Add. | Retd. | GB as on 30.11. 25 | Actual Dep. for year | Closing Acc. Dep. (30.11. 25) | NB as on 30.11 .25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Buildings | 6.45 | 7.61 | 14.06 | 278.06 | 18.74 | - | 310.86 | 6.72 | 20.78 | 290.07 |
| 2 | Lines, Cables & Network Assets | 83.29 | 93.54 | 176.83 | 2346.97 | 399.45 | 1.65 | 2921.59 | 92.58 | 269.41 | 2652.18 |
| 3 | Meters | 36.17 | 43.58 | 79.75 | 258.15 | 93.08 | 3.97 | 427.01 | 32.41 | 112.16 | 314.85 |
| 4 | Vehicles | 0.98 | 0.78 | 1.76 | 9.50 | 0.97 | 0.50 | 11.73 | 0.64 | 2.40 | 9.33 |
| 5 | Furniture & Fixtures | 0.85 | 1.98 | 2.83 | 16.26 | 0.89 | - | 19.98 | 0.89 | 3.72 | 16.26 |
| 6 | Office Equipment | 1.41 | 1.13 | 2.54 | 15.00 | 0.24 | - | 17.78 | 0.81 | 3.35 | 14.43 |
| 7 | Computer & IT Equipment | 14.32 | 17.45 | 31.77 | 93.48 | 1.99 | 0.63 | 126.61 | 12.22 | 43.99 | 82.62 |
| 8 | Software | 33.93 | 43.48 | 77.41 | 72.16 | 3.16 | - | 152.74 | 27.26 | 104.67 | 48.07 |
| 9 | Total | 177.40 | 209.55 | 386.95 | 3089.58 | 518.52 | 6.76 | 3988.29 | 173.54 | 560.49 | 3427.80 |

(Rs. Cr.)

| S. No. | Particulars | GB as on 31.03. 22 | Add. | Ret. | GB as on 31.03. 23 | Add. | Ret. | GB as on 31.03. 24 | Add. | Ret. | GB as on 31.03. 25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Grants | 30.60 | 31.32 | - | 61.93 | 93.47 | - | 155.40 | 100.78 |  | 256.18 |
| 2 | CC | 211.89 | 113.48 | - | 325.38 | 171.91 | 0.20 | 497.09 | 650.97 | 1.28 | 1146.78 |
| 3 | Own Fund | 147.74 | 468.04 | 0.03 | 615.75 | 604.57 | 0.16 | 1220.16 | 578.77 | 1.66 | 1797.27 |
| 4 | Meters-Own | 0.03 | 31.56 | - | 31.59 | 111.77 | 0.01 | 143.35 | 134.36 | 1.41 | 276.30 |
| 5 | Total TPWODL | 390.27 | 644.41 | 0.03 | 1034.64 | 981.72 | 0.37 | 2016.00 | 1464.88 | 4.35 | 3476.53 |

(Rs. Cr.)

| S. No. | Particulars | Opening Acc. Dep. (01.04. 24) | Actual Dep. for year | Closing Acc. Dep. (31-03-25) | NB as on 31.03. 25 | Add. | Retd. | GB as on 30.11. 25 | Actual Dep. for year | Closing Acc. Dep. (30.11. 25) | NB as on 30.11 .25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Grants | 9.82 | 10.62 | 20.44 | 235.74 | 12.73 |  | 268.91 | 8.90 | 29.34 | 239.57 |
| 2 | CC | 53.13 | 49.39 | 102.52 | 1044.26 | 310.99 | 1.51 | 1456.26 | 46.77 | 149.29 | 1306.97 |
| 3 | Own Fund | 90.51 | 113.99 | 204.50 | 1592.77 | 115.54 | 1.21 | 1911.60 | 87.50 | 292.00 | 1619.60 |
| 4 | Meters-Own | 23.94 | 35.55 | 59.49 | 216.81 | 79.26 | 4.04 | 351.52 | 30.37 | 89.86 | 261.66 |
| 5 | Total TPWODL | 177.40 | 209.55 | 386.95 | 3089.58 | 518.52 | 6.76 | 3988.29 | 173.54 | 560.49 | 3427.80 |

Reply to Query No. 28

The details of Fixed Asset Register (FAR) item-wise for FY 21-22, FY 22-23, FY 23-24 & FY 24-25 are enclosed herewith in Soft Copy Link (Click Here) due to large volume of data.

Reply to Query No. 29

As regards to the Category wise list of Assets not in the books for which R&M @3% entitlement has been claimed by the licensee as tabulated below. Further, the Licensee vide Letter no. TPWODL/CEO/FY 25-26/10 dated 16.12.2025 had written to OPTCL regarding clarification/ examination on certain points with w.r.t. the following table so that the record remains consistent and accurate.

| S. N. | Scheme | Status as on 31.03.2023 (Completed + WIP) received vide email dated 18.04.2023 |  |  | Status as on 31.03.2023 (Completed + WIP) as per GRIDCO MOM dated 12.10.2023 |  |  | Status as on 31.03.2024 (Completed + WIP) as per Hard Copy received from CFO, OPTCL on 07.06.2024 |  |  | Status as on 31.03.2024 as per OPTCL's letter to GRIDCO dated 10.02.2025 | Status as on 31.03.2025 as per OPTCL's letter dated 02.12.2025 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Completed | WIP | Total | Completed | WIP | Total | Completed | WIP | Total | Completed (WIP not provided) |  |
|  |  | A | B | C | A | B | C | D | E | F | G |  |
| 1 | ODSSP | 886.18 | 172.57 | 1058.75 | 899.45 | 184.47 | 1083.92 | 886.18 | 192.38 | 1078.56 | 883.09 | 1025.18 |
| 2 | DDUGJY | 373.42 | - | 373.42 | 293.39 | - | 293.39 | 373.42 | - | 373.42 | 294.15 | 285.70 |
| 3 | IPDS | 244.65 | - | 244.65 | 223.11 | - | 223.11 | 244.65 | - | 244.65 | 220.03 | 217.00 |
| 4 | IPDS IT PH-II | - | - | - |  |  |  | 54.20 | - | 54.20 |  | 57.04 |
| 5 | ODSSP-IV | - | 57.58 | 57.58 |  |  |  | - | 216.92 | 216.92 |  |  |
| 6 | SOUBHAGYA | 158.50 | - | 158.50 |  |  |  | 158.50 | - | 158.50 |  |  |
| 7 | RGGVY | 26.94 | - | 26.94 |  |  |  | 26.94 | - | 26.94 |  |  |
| 8 | BGJY OPTCL DTR | 41.08 | - | 41.08 |  |  |  | 41.08 | - | 41.08 |  |  |
| 9 | DDUGJY (11th & 12th Plan) - PGCIL |  |  |  | 685.37 | - | 685.37 |  |  |  |  |  |
| 10 | DDUGJY (11th & 12th Plan) - NTPC |  |  |  | 1442.63 | - | 1,442.63 |  |  |  |  |  |
| 11 | ODSSP (CMPDP) |  |  |  |  |  |  |  |  |  |  |  |
| 12 | BGJY (Infra) |  |  |  |  |  |  |  |  |  |  |  |
| 13 | IPDS & DDUGJY - Metering |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Total | 1730.77 | 230.15 | 1960.92 | 3543.95 | 184.47 | 3728.42 | 1784.97 | 409.30 | 2194.27 | 1397.27 | 1584.92 |

The above-mentioned Government-funded assets, though not capitalized in the books of accounts of the Licensee, are operated and maintained by the Licensee for the purpose of providing uninterrupted and reliable electricity supply to consumers across the entire licence area. Accordingly, the Licensee humbly requests the Hon’ble Commission to allow/permit R&M expenses on these assets, in accordance with the applicable norms.

The Licensee considering the statement of assets created under Govt. projects as per GRIDCO MoM & OPTCL’s statement dated 07.06.2024, the following statement has been considered by TPWODL in the ARR for FY 26-27.

| S. N. | Scheme | Claimed in ARR As on Mar-25 (Rs. Cr.) | Claimed in ARR As on Mar-26 (Rs. Cr.) |
| --- | --- | --- | --- |
| 1 | ODSSP | 742.82 | 742.82 |
| 2 | DDUGJY | 285.7 | 285.7 |
| 3 | IPDS | 214.43 | 214.43 |
| 4 | IPDS IT PH-II | 55.41 | 55.41 |
| 5 | BGJY OPTCL DTR | 33 | 33 |
| 6 | DDUGJY (11th & 12th Plan) - PGCIL | 685.37 | 685.37 |
| 7 | DDUGJY (11th & 12th Plan) - NTPC | 1,442.63 | 1,442.63 |
| 8 | ODSSP (CMPDP) | 38.25 | 97.92 |
| 9 | BGJY (Infra) | 33.51 | 75.51 |
| 10 | IPDS & DDUGJY - Metering | 117.75 | 117.75 |
|  | Total | 3649 | 3751 |

Reply to Query No. 30

The Licensee has projected Rs. 1169.64 Cr. towards CAPEX and estimated Rs. 1240.10 Cr. to be capitalised by end of FY 25-26. The source of funding for the above CAPEX is as under:

| Scheme | Projected Capitalization by Mar’26 | Projected CAPEX by Mar’26 | Capitalized till Nov’25 | Balance Capitalization by Mar’26 | Source of Fund |
| --- | --- | --- | --- | --- | --- |
| Grant | 74.38 | 50.15 | 12.73 | 61.65 | Govt Grant received |
| Consumer Contribution | 490.00 | 478.20 | 310.99 | 179.01 | Consumer deposit |
| Capex | 555.72 | 528.10 | 115.54 | 440.18 | Rs. 81 Cr. through Loan from banks for FY 2025-26 and balance Rs. 35 Cr. through Equity |
| Meter | 120.00 | 113.18 | 79.26 | 40.74 | Loan from Banks |
|  | 1240.10 | 1169.64 | 518.52 | 721.58 |  |

Reply to Query No. 31

The investment position for different Trust as on 31.03.2025 & 30.11.2025 is as under:

| Sl. No. | Particulars | UoM | As on 31.03.2025 | As on 30.11.2025 |
| --- | --- | --- | --- | --- |
| 1 | Pension Fund Trust | Rs. Cr. | 204.51 | 205.01 |
| 2 | Gratuity Fund Trust | Rs. Cr. | 42.99 | 42.49 |
| 3 | Rehabilitation Assistance Fund Trust | Rs. Cr. | 0.15 | 0.15 |

The details of investment as on 31.3.2025 and 30.11.2025 is enclosed as Annexure- 12 & Annexure- 13 respectively.

Further month-wise cash outflow towards terminal liability under different heads during FY 24-25 & FY 25-26 (up to Nov’25) are as follows:

| Month | Actual Cash Outgo by Trust (FY 24-25) (Rs. Cr.) |  |  |
| --- | --- | --- | --- |
|  | Pension | Gratuity | Total |
| Apr-24 | 11.13 | 0.68 | 11.82 |
| May-24 | 10.82 | 0.97 | 11.79 |
| Jun-24 | 11.53 | 1.26 | 12.79 |
| Jul-24 | 11.18 | 0.87 | 12.05 |
| Aug-24 | 11.01 | 0.58 | 11.58 |
| Sep-24 | 10.63 | 0.24 | 10.86 |
| Oct-24 | 10.74 | 0.09 | 10.83 |
| Nov-24 | 11.46 | 0.18 | 11.64 |
| Dec-24 | 11.01 | 0.42 | 11.43 |
| Jan-25 | 10.94 | 0.41 | 11.34 |
| Feb-25 | 11.31 | 0.74 | 12.05 |
| Mar-25 | 10.74 | 0.30 | 11.04 |
| Total | 132.49 | 6.73 | 139.22 |

Similarly, the monthly cash outgo towards pension and gratuity of erstwhile employees till Nov-25 is provided below:

| Month | Actual Cash Outgo by Trust (FY 25-26) (up to Nov’25) (Rs. Cr.) |  |  |
| --- | --- | --- | --- |
|  | Pension | Gratuity | Total |
| Apr-24 | 11.22 | 0.28 | 11.50 |
| May-24 | 11.88 | 0.67 | 12.55 |
| Jun-24 | 11.56 | 1.62 | 13.18 |
| Jul-24 | 11.53 | 0.61 | 12.15 |
| Aug-24 | 12.40 | 1.31 | 13.71 |
| Sep-24 | 11.08 | 0.74 | 11.82 |
| Oct-24 | 11.78 | 0.29 | 12.07 |
| Nov-24 | 11.07 | 0.17 | 11.23 |
| Total | 92.52 | 5.69 | 98.20 |

Reply to Query No. 32

Month wise Cash Flow for FY 24-25 & FY 25-26 till Nov’25 are appended as under:

Revenue Cash Flow Statement month-wise FY 24-25:

Revenue Cash Flow Statement month-wise FY 25-26 (up to Nov’25):

Reply to Query No. 33

The details of A&G Expenses month wise and head wise for FY 25-26 up to Nov’25 is enclosed as under:                                                                                                                                                           (Rs. Cr.)

| Particulars | Apr-25 | May-25 | Jun-25 | Jul-25 | Aug-25 | Sep-25 | Oct-25 | Nov-25 | Grand Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Advertisement & Marketing Expenses | 0.25 | 0.10 | 0.10 | 0.13 | 0.05 | 0.04 | 0.04 | 0.15 | 0.85 |
| Audit Fees | 0.00 | 0.19 | 0.12 | 0.08 | 0.06 | 0.15 | 0.19 | 0.12 | 0.92 |
| Corporate social responsibility Expenses | 0.00 | 0.00 | 0.00 | 0.12 | 0.65 | 0.39 | 0.41 | 0.44 | 2.00 |
| Director's sitting fees | 0.10 | 0.07 | 0.00 | 0.09 | 0.00 | 0.03 | 0.10 | 0.06 | 0.45 |
| Electricity Consumption Expenses | 0.71 | 0.85 | 0.92 | 0.17 | 0.72 | 1.46 | 0.77 | 0.67 | 6.26 |
| Insurance Premium | 0.00 | 0.83 | 0.41 | 0.42 | 0.41 | 0.41 | 0.43 | 0.43 | 3.34 |
| Legal and professional charges | 0.40 | 0.66 | 0.95 | 0.48 | 0.54 | 0.30 | 0.67 | 0.75 | 4.74 |
| License Fees (OERC, IT, etc) | 2.15 | 1.95 | 2.56 | 1.46 | 1.41 | 3.79 | 1.67 | 1.95 | 16.92 |
| Metering, Billing and Collection Expenses (MBC) | 12.21 | 12.37 | 12.47 | 11.15 | 12.39 | 13.12 | 12.27 | 11.24 | 97.23 |
| Miscellaneous expenses | 0.14 | 1.72 | 0.04 | 2.13 | 1.97 | 2.72 | 0.00 | 2.52 | 11.24 |
| Office Expenses | 0.01 | 0.03 | 0.02 | 0.01 | 0.02 | 0.04 | 0.02 | 0.02 | 0.17 |
| Other Administrative Expenses | 0.23 | 0.01 | 0.52 | 0.19 | 0.39 | 0.00 | 0.54 | 0.36 | 2.24 |
| Rent | 0.28 | 0.24 | 0.19 | 0.30 | 0.25 | 0.31 | 0.18 | 0.42 | 2.16 |
| Telephone Expenses | 0.21 | 0.21 | 0.00 | 0.21 | 0.27 | 0.16 | 0.22 | 0.08 | 1.35 |
| Travelling Expenses | 0.42 | 1.19 | 0.70 | 0.66 | 0.50 | 0.52 | 0.86 | 0.68 | 5.54 |
| Grand Total | 17.11 | 20.40 | 19.01 | 17.59 | 19.62 | 23.43 | 18.37 | 19.88 | 155.41 |

The A&G cost of the Licensee is towards license fees, rent, rates & taxes, insurance, vehicle hire charges, consultancy charges, electricity charges, travelling & conveyance, advertisement, Meter reading billing and collection (MBC), collection cost for current including arrear, enforcement & vigilance, watch & ward, IT automation, energy audit, shifting of meters from inside to outside premises, safety and statutory requirement, audit fees and expenses, legal expenses, GIS, SCADA & data communication &maintenance cost etc.

The shift from a bimonthly to a monthly billing cycle, along with the promotion of digital payment modes, has led to an increase in Administration & General (A&G) expenses for DISCOMs. Monthly billing requires higher operational effort, including more frequent meter readings, bill processing, printing, and distribution, thereby nearly doubling the associated activities compared to the earlier bimonthly cycle.

In parallel, while digital payment systems enhance consumer convenience and improve collection efficiency, they entail substantial expenditure on IT infrastructure, payment gateway charges, cybersecurity frameworks, and customer support for digital platforms. In addition, awareness and promotional initiatives undertaken to encourage consumers to adopt digital payment options further add to A&G costs.

Although these expenditures are essential for modernizing the billing and collection mechanism, improving customer satisfaction, and strengthening cash flow management, they require prudent planning to balance cost optimization with operational efficiency. Further, physical bill delivery continues to a significant extent due to limited adoption of e-bill facilities by consumers, thereby sustaining conventional delivery-related expenses.

The transition from bimonthly to monthly billing cycle and the promotion of digital payment options have contributed to a rise in A&G expenses for DISCOMs. Monthly billing necessitates increased operational efforts, such as additional meter readings, bill generation, printing and delivery, effectively doubling the frequency of these activities compared to bimonthly billing. Similarly, the adoption of digital payment, while improving convenience and payment efficiency, involves significant investments in IT infrastructure, payment gateway fees, cybersecurity measures and customer support for digital platforms. Promotional campaigns to encourage consumers to adopt digital payment methods also add to the A&G costs. These expenses are critical for modernizing the billing process, enhancing customer satisfaction, and improving cash flow management but necessitate careful planning to optimize costs while achieving operational efficiency. Moreover, the bill delivery activity to large extent is still continuing in absence of adopting E-Bill facilities by the consumers.

The actual A&G expenditure till Nov-25 is Rs. 155.41 Cr. The Licensee estimates Rs. 254.34 Cr. in the current year against approved figure of Rs. 181.03 Cr. The reason and justification for higher A&G is as follows:

After taking over of business, TPWODL has engaged agencies on a circle-wise basis through a transparent bidding process to handle meter reading, billing, and collection activities, which constitute a significant portion of the A&G expenses. Additionally, revenue enhancement initiatives, such as engaging arrear collection agents and their associated commissions, as well as costs related to customer care, vigilance/enforcement activities, have been included under the A&G expenses. Furthermore, O&M expenditures aimed at improving reliability, adopting advanced operational technologies like SCADA, GIS, IT automation, and ensuring safety measures are also accounted for under the A&G head. In addition to above, to strengthen the activities like enforcement, customer service, meter replacement, MBC, Energy Audit, Digitalization of IT & OT Infrastructure, etc the Licensee has proposed certain additional expenditure.

The licensee has projected the A&G Expenses for FY 25-26 in accordance with Regulations 3.9.16 & 3.9.17 of the OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022.

It is worth to mention here that, the minimum wages of Unskilled, Semiskilled, Skilled and Highly Skilled categories of employees have increased vide Notifications No. 5308 dated 18.07.2024 and 6432 dated 30.09.2024 by Office of the Labour Commissioner, Govt. of Odisha. The impact on account of such wage hike has also been estimated in the current year and projection has also been made accordingly. The following table indicates the increment of Minimum wages and VDA.

| Category of Employee | Minimum Wage per day w.e.f 18.07.2024 | V.D.A per day w.e.f 01.10.2024 | Minimum Wage with VDA per day w.e.f 01.10.2024 |
| --- | --- | --- | --- |
| Unskilled | Rs. 450/- | Rs. 2/- | Rs. 452/- |
| Semi-skilled | Rs. 500/- | Rs. 2/- | Rs. 502/- |
| Skilled | Rs. 550/- | Rs. 2/- | Rs. 552/- |
| Highly Skilled | Rs. 600/- | Rs. 2/- | Rs. 602/- |

With the above revision, the employees engaged by various Business Associates for performing activities like MBC, AMC in 33 kV & 11 kV, housekeeping and other maintenance activities, etc. will get the benefit. Accordingly, the associated Cost of services provided by BAs will substantially increase.

As per the order of Labour Commissioner vide Order No. 1047 dated 21.02.2024 the employees engaged i.e. Meter Readers & Bill Collectors will be covered under “Skilled Category”.

Also, the increase in A&G expenses is primarily attributable to the rise in BA manpower costs engaged in essential field and support activities such as meter reading, billing, bill delivery, collection, recovery and housekeeping, consequent to statutory revisions in minimum wages notified by the Government of Odisha and changes in manpower categorization mandated by the Labor Department.

Revision in Minimum Wages:

The Labor & ESI Department, Government of Odisha, vide Gazette Notification No. 1367 dated 18th July 2024, revised the minimum wages payable to various categories of manpower (unskilled, semi-skilled, skilled, and highly skilled) with effect from 18th July 2024. The impact of this notification has resulted in a significant increase (around 27%) in the monthly contractual costs payable/ wages to manpower engaged in critical field and support operations across divisions.

Change in Manpower Category:

Further, the Office of the Labor Commissioner, Odisha, vide Order No. 1047 dated 21st February 2024, directed reclassification of certain categories of contractual manpower from semi-skilled to skilled, effective from 1st April 2024. This change has also contributed to escalation in the manpower-related A&G expenses. Consequently, the minimum wage rate applicable to Meter Readers increased from ₹392 per day to ₹442 per day, resulting in an approximate 13% rise in related manpower expenses, thereby contributing to the overall increase in A&G costs during FY 24-25.

The differential cost implications due to the above statutory changes (beyond the control of the Licensee) are summarized below for the kind consideration of the Hon’ble Commission:

| Implication due to change in category Effective from 18th July 2024 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S. No | Semi-Skilled Minimum Wages (Rs.) w.e.f. 01.10.2023 |  | Skilled Minimum Wages (Rs.) w.e.f. 18.07.2024 |  | Differential Amount (Rs.)/Month due to change in Category | Differential Amount (Rs.)/Month With GST@18% |
|  | Wages/ Day | Wages (CTC)/ Month | Wages/ Day | Wages (CTC)/ Month |  |  |
| 1 | 392 | 13311 | 550 | 18676 | 5365 | 6331 |

Furthermore, the Labor Commissioner of Odisha vide notification dated 21.11.2025 has passed the order maintaining no change in Variable Dearness Allowance (VDA) rates payable to eligible employees.

Since both the above notifications were issued under the statutory authority of the Labour & ESI Department, Government of Odisha, and are beyond the control of the Distribution Licensee, the resultant increase in manpower-related costs qualifies as a “Change in Law” event in line with established regulatory principles.

Furthermore, such statutory changes have been consistently held to be pass-through costs in various judicial pronouncements. The Hon’ble APTEL, in its Judgment dated 13.04.2018 in Appeal No. 210 of 2017 (TPDDL vs. DERC), recognized statutory revisions in wages and taxes as valid Change in Law events warranting pass-through in tariff. Similarly, the Hon’ble Supreme Court of India, in Energy Watchdog vs. CERC & Ors. (2017), clarified that any statutory change having an impact on the cost structure of a licensee qualifies as a Change in Law.

With the above revision, the employees engaged by various Business Associates performing activities like MBC, AMC in 33 kV & 11 kV, housekeeping and other maintenance activities, etc. will get the benefit. Accordingly, the associated Cost of services provided by BAs will substantially increase. The Hon’ble Commission is, therefore, requested to allow the additional cost incurred on account of wage revision during the current year. While projecting, the cost of MBC for ensuing year, the base after wage revision has been taken into account.

It is submitted that there has been an increase in Meter Reading, Bill Distribution, Billing, and Collection (MBC) costs due to various reasons as under:

- Transition towards advanced metering infrastructure (AMI) and smart meters, while beneficial in the long run, requires significant upfront investment in technology and training.

- Rising costs of labor, driven by inflation and increased demand for skilled personnel.

- Growing complexity of billing systems, including the need for accurate data integration and management.

- Enhancements in customer service, such as improved complaint resolution mechanisms, necessitate additional resources and technology investments.

- Implementation of robust collection strategies to minimize revenue losses from delinquent accounts.

Furthermore, it is important to highlight that from FY 2018-19 to FY 2024-25, DISCOM has witnessed a steady increase in month-wise revenue collection (LT), demonstrating improved operational efficiency, greater billing accuracy, and broader consumer outreach.

The month-wise collection trend for the LT segment is tabulated as below:

| FY | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (Rs. Cr.) |  |  |  |  |  |  |  |  |  |  |  |  |
| 18-19 | 45.6 | 40.6 | 54.0 | 53.3 | 48.9 | 46.2 | 47.9 | 43.7 | 41.0 | 43.3 | 38.0 | 202.9 | 705.4 |
| 19-20 | 35.8 | 50.3 | 58.6 | 56.8 | 49.9 | 49.4 | 55.9 | 56.5 | 57.8 | 57.3 | 61.0 | 102.1 | 691.3 |
| 20-21 | 21.4 | 57.7 | 64.3 | 60.3 | 58.8 | 62.8 | 69.6 | 83.3 | 66.6 | 93.9 | 53.7 | 220.3 | 912.5 |
| 21-22 | 49.7 | 31.2 | 91.6 | 71.6 | 75.2 | 67.0 | 56.6 | 71.4 | 98.0 | 78.9 | 87.6 | 263.0 | 1041.7 |
| 22-23 | 57.6 | 72.9 | 107.5 | 104.7 | 90.2 | 100.7 | 89.5 | 90.3 | 92.4 | 96.9 | 109.7 | 287.1 | 1299.3 |
| 23-24 | 84.9 | 88.1 | 116.8 | 124.9 | 109.8 | 105.9 | 113.5 | 108.1 | 101.0 | 95.0 | 96.9 | 231.7 | 1376.8 |
| 24-25 | 90.1 | 110.8 | 138.3 | 126.5 | 114.5 | 136.0 | 123.3 | 116.8 | 121.6 | 102.4 | 127.7 | 277.0 | 1585.1 |

Similarly, from FY 18-19 to FY 24-25, TPWODL has also experienced a steady increase in LT consumer coverage month-on-month. This growth aligns with national electrification policies aimed at providing universal access to electricity, especially in underserved rural regions. Key initiatives, such as intensified consumer outreach, last-mile connectivity, and simplified connection processes, have made it easier for households and small businesses to join the grid. The month-wise consumer coverage (MRs generated in lakhs) is tabulated below:

| FY | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MRs generated in lakhs) |  |  |  |  |  |  |  |  |  |  |  |  |
| 18-19 | 3.0 | 2.2 | 2.8 | 3.1 | 3.3 | 3.1 | 3.2 | 3.2 | 3.2 | 3.6 | 3.1 | 7.0 | 40.7 |
| 19-20 | 2.3 | 3.3 | 3.1 | 3.4 | 3.0 | 3.1 | 3.6 | 4.0 | 4.5 | 4.6 | 4.1 | 4.1 | 43.1 |
| 20-21 | 0.5 | 2.8 | 3.2 | 3.6 | 3.7 | 4.6 | 4.8 | 5.8 | 5.1 | 5.2 | 4.7 | 8.6 | 52.4 |
| 21-22 | 3.0 | 4.2 | 4.4 | 4.3 | 4.0 | 3.1 | 2.8 | 4.2 | 5.5 | 5.3 | 6.0 | 10.1 | 57.0 |
| 22-23 | 3.2 | 4.1 | 7.0 | 7.6 | 7.6 | 8.3 | 8.3 | 9.1 | 10.1 | 9.6 | 9.3 | 11.5 | 95.7 |
| 23-24 | 8.8 | 10.6 | 10.5 | 11.9 | 11.8 | 11.4 | 11.8 | 12.0 | 11.9 | 12.2 | 12.7 | 14.2 | 139.8 |
| 24-25 | 10.9 | 11.7 | 11.7 | 12.1 | 12.4 | 12.5 | 12.5 | 12.8 | 14.0 | 14.1 | 13.7 | 16.2 | 154.6 |

As can be seen from the above table, there has been an annual as well as month-wise increase in LT consumer coverage from FY 18-19 to FY 24-25 which has necessitated higher A&G expenses, which have supported the DISCOM in scaling its operations to meet new demands. The increase in LT consumer coverage reflects DISCOM’s commitment to enhancing energy access, which has, in turn, supported revenue growth and improved overall network utilization. As the consumer base has expanded, DISCOM has scaled up its infrastructure and customer service capabilities to maintain quality and reliability, positioning itself to serve an ever broadening and diverse range of consumers across its service areas.

Apart from the normal A&G expenses, due to various other initiatives and additional scope in the activities, the Licensee has claimed additional A&G expenses of Rs. 51.96 Cr.  and requests the Hon’ble Commission to approve the same.

Furthermore, the Licensee in it’s ARR application for FY 2026-27 at page no. 48 to 88 has provided detailed justification for increase in cost under A&G head which is not repeated for the sake of brevity.

As per the terms of Tariff Regulation, 2022 Hon’ble Commission approves the A&G expenditure of the Licensee wherein the provision of escalation of 7% hike over previous year approval along with additional expenses (subject to prudence check) towards improvement in performance for special measures to be undertaken are permitted. The relevant regulation is extracted below.

Regulations 3.9.16 & 3.9.17 of the OERC (Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2022 provides as under:

“3.9.16. The normal A&G Expenses for each subsequent year will be determined by escalating the approved A&G Expenses (excluding additional or special A&G expense) for the previous year, at the escalation factor of 7 % to arrive at permissible A&G expenses for each year of the Control Period.

3.9.17. The Commission, in addition to the normal A&G expenses may allow additional expenses, under this head for special measures to be undertaken by the distribution licensees which are not covered under Capital Investment plan approved by the Commission.

Provided the Commission will undertake a prudence check before allowing such expenditure.”

In its previous orders, the Hon’ble Commission has consistently considered a 7% increase over the allowable A&G expenses of the preceding year, accounting for inflation on normal A&G expenses. The Licensee has projected the A&G expenses for FY 2026-27 in accordance with the Tariff Regulations 2022 considering a 7% increase over the A&G expenses estimated for FY 2025-26. It is therefore respectfully requested that the Hon’ble Commission approve the A&G expenses for FY 2026-27, considering historical trends, the prevailing inflation scenario and the actual field conditions in a prudent manner.

Reply to Query No. 34

The actual fund availability against Security Deposit as on 31.03.2024 and month wise additions of security deposit for FY 25-26 till Nov-25 along with mode of investment, pledged and free funds is appended below:

| Sl. No. | Particulars | Amount (Rs. Cr.) |
| --- | --- | --- |
| 1 | Security Deposits Balance as on Mar-25 (As per Audited A/c) | 1309.57 |
| 2 | Security Deposits addition from Apr-25 to Nov-25 |  |
| a | Apr-25 | 4.79 |
| b | May-2 | 7.19 |
| c | Jun-25 | 14.42 |
| d | Jul-25 | 6.75 |
| e | Aug-25 | 4.34 |
| f | Sep-25 | 6.56 |
| g | Oct-25 | 6.00 |
| h | Nov-25 | 16.13 |
| 3 | Less: Refund from Apr-25 to Nov-25 | 24.00 |
| 4 | Balance as on 30th Nov 2025 | 1351.75 |

Actual fund available in the form of Fixed Deposits as on 31.03.2025 is Rs. 1475.63 Cr. out of this Rs. 246.33 Cr. is under pledge and balance is free from lien.

Similarly, actual fund available in the form of Fixed Deposits as on 30.11.2025 is Rs. 1415.35 Cr. out of this Rs. 268.06 Cr. is under pledge and balance is free from lien.

Reply to Query No. 35

Month-wise receipts (Item wise with description of revenue and miscellaneous receipts) for FY 24-25 is given below.

| Sr. No | Particulars | Apr'24 | May'24 | June'24 | July'24 | Aug'24 | Sept'24 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Meter Rent | 4.18 | 4.29 | 2.72 | 3.91 | 3.99 | 4.10 |
| 2 | Over Drawl Penalties | 0.58 | 1.24 | 1.49 | 0.61 | 1.42 | 1.10 |
| 3 | Incentive Earned on Arrear Collection as per Vesting Order | 0.34 | 0.14 | 0.13 | 0.15 | 0.20 | 0.26 |
| 4 | Application & Service Connection Charges | 0.10 | 0.09 | 0.07 | 0.07 | 0.05 | 0.06 |
| 5 | Supervision Charges | 3.64 | 3.00 | -6.64 | - | - | - |
| 6 | Reconnection Charges | - | - | - | - | - | - |
| 7 | Interest on Fixed Deposits & STDR in Banks* | 12.80 | 12.21 | 8.36 | 13.86 | 11.44 | 9.21 |
| 8 | DPS collected | 0.34 | 0.30 | 5.73 | 1.48 | 0.60 | 0.47 |
| 9 | Sale of Scrap | 0.72 | 2.52 | 1.28 | 0.00 | 0.89 | 0.00 |
| 10 | Other Miscellaneous Receipts (Other Income+ Misc. Operating Income) | 1.55 | 0.99 | 1.68 | 0.78 | 1.41 | 1.50 |
| 11 | Open Access (CSS) | 44.28 | 1.78 | 13.54 | 26.62 | 21.46 | 15.18 |
| 12 | Rebate on Power Purchase | 9.09 | 0.55 | 4.37 | 9.92 | 0.43 | 3.91 |
| Total |  | 77.62 | 27.10 | 32.73 | 57.39 | 41.89 | 35.80 |

| Sr. No | Particulars | Oct'24 | Nov'24 | Dec'24 | Jan'25 | Feb'25 | Mar'25 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Meter Rent | 4.18 | 4.27 | 4.39 | 4.47 | 4.64 | 4.82 | 49.95 |
| 2 | Over Drawl Penalties | 0.89 | 0.80 | 0.67 | 0.71 | 0.71 | 0.70 | 10.92 |
| 3 | Incentive Earned on Arrear Collection as per Vesting Order | 0.17 | 0.23 | 0.42 | 0.46 | 0.50 | 1.91 | 4.91 |
| 4 | Application & Service Connection Charges | 0.06 | 0.07 | 0.06 | 0.07 | 0.10 | 0.10 | 0.91 |
| 5 | Supervision Charges | - | - |  |  |  |  | 0.00 |
| 6 | Reconnection Charges | - | - |  |  |  |  | - |
| 7 | Interest on Fixed Deposits & STDR in Banks | 14.52 | 12.48 | 9.27 | 16.32 | 10.75 | 9.68 | 140.90 |
| 8 | DPS collected | 0.59 | 0.37 | 0.75 | 0.54 | 1.16 | 2.38 | 14.72 |
| 9 | Sale of Scrap | 0.00 | 0.15 | 1.63 | 2.52 | 2.76 | 1.02 | 13.48 |
| 10 | Other Miscellaneous Receipts (Other Income+ Misc. Operating Income) | 0.54 | 1.04 | 0.75 | 0.21 | 0.32 | 3.60 | 14.37 |
| 11 | Open Access (CSS) | 15.88 | 37.10 | 30.80 | 41.98 | 10.84 | 14.18 | 273.61 |
| 12 | Rebate on Power Purchase | 3.97 | 4.09 | 4.40 | 3.14 | 3.38 | 3.59 | 50.86 |
| Total |  | 40.79 | 60.59 | 53.14 | 70.42 | 35.17 | 42.00 | 574.63 |
| Less: Meter Rent |  |  |  |  |  |  |  | 49.95 |
| Less: Incentive on Arrear Collection |  |  |  |  |  |  |  | 4.91 |
| Less: Interest from Bank retained as per para 4.3.2 of tariff regulation 2022 |  |  |  |  |  |  |  | 17.22 |
| Net non-tariff income |  |  |  |  |  |  |  | 502.54 |

Month-wise receipts (Item wise with description of revenue and miscellaneous receipts) for FY 25-26 till Nov-25 is given below.

| Sr. No | Particulars | Apr'25 | May'25 | June'25 | July'25 | Aug'25 | Sept'25 | Oct'25 | Nov'25 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Meter Rent | 3.78 | 3.61 | 3.61 | 3.67 | 3.68 | 3.83 | 3.74 | 3.68 | 29.59 |
| 2 | Over Drawl Penalties | 0.78 | 1.39 | 1.80 | 0.70 | 1.29 | 0.72 | 1.06 | 0.78 | 8.52 |
| 3 | Incentive Earned on Arrear Collection as per Vesting Order | 0.21 | 0.15 | 0.21 | 0.20 | 0.30 | 0.22 | 0.17 | 0.93 | 2.40 |
| 4 | Application & Service Connection Charges | 0.09 | 0.10 | 0.09 | 0.06 | 0.08 | 0.06 | 0.07 | 0.07 | 0.63 |
| 5 | Supervision Charges | - | - | 2.10 | -0.01 | - | 2.35 | - | - | 4.44 |
| 6 | Reconnection Charges | - | - | - | - | - | - | - | - | 0.00 |
| 7 | Interest on Fixed Deposits & STDR in Banks | 11.90 | 11.27 | 13.64 | 8.15 | 17.46 | 10.31 | 13.48 | 14.63 | 100.83 |
| 8 | DPS collected | 0.33 | 0.25 | 4.22 | 1.51 | 0.64 | 0.83 | 0.53 | 0.65 | 8.97 |
| 9 | Sale of Scrap | 0.32 | 0.06 | -0.01 | - | 2.74 | -3.04 | 0.53 | 0.00 | 0.60 |
| 10 | Other Miscellaneous Receipts (Other Income+ Misc. Operating Income) | 0.49 | 1.84 | 2.16 | 0.22 | 1.21 | 2.66 | 0.36 | 0.37 | 9.31 |
| 11 | Open Access (CSS) | 6.69 | 21.84 | 42.82 | 63.06 | 36.51 | 32.08 | 29.00 | 28.70 | 260.70 |
| 12 | Rebate on Power Purchase | 3.86 | 4.61 | 4.52 | 4.26 | 4.03 | 4.06 | 4.31 | 3.72 | 33.37 |
| Total |  | 28.45 | 45.12 | 75.16 | 81.83 | 67.94 | 54.07 | 53.25 | 53.53 | 459.35 |
| Less: Meter Rent |  | 3.78 | 3.61 | 3.61 | 3.67 | 3.68 | 3.83 | 3.74 | 3.68 | 29.59 |
| Less: Incentive on Arrear Collection |  | 0.21 | 0.15 | 0.21 | 0.20 | 0.30 | 0.22 | 0.17 | 0.93 | 2.40 |
| Less: Interest from Bank retained as per para 4.3.2 of tariff regulation 2022 |  | 11.95 |  |  |  |  |  | 0.8 | 1.81 | 14.56 |
| Net non-tariff income |  |  |  |  |  |  |  |  |  | 412.80 |

Reply to Query No. 36

As per the Regulation 3.8.4 of OERC Tariff Regulation, 2022, for the assets of erstwhile DISCOMs, the depreciation is being calculated on pre upvalued cost of assets at pre-92 rates. The details of such assets with segregation related to assets created out of Govt. Grants, Meters and Consumer Contributions are provided in Soft Copy. (Link: Click Here)

Legacy Assets

(Rs. Cr.)

| S. No. | Particulars | GB as on 31.03.25 | Opening Acc. Dep. (01.04. 24) | Actual Dep. for year | Closing Acc. Dep. (31-03-25) | NB as on 31.03. 25 | Retd. | GB as on 30.11. 25 | Actual Dep. for year | Closing Acc. Dep. (30.11. 25) | NB as on 30.11 .25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Grants | 417.93 | 139.76 | 15.73 | 155.49 | 262.44 | - | 417.93 | 10.44 | 165.93 | 252.00 |
| 2 | CC | 801.63 | 270.28 | 19.81 | 290.09 | 511.54 | 16.78 | 784.85 | 12.60 | 302.69 | 482.16 |
| 3 | Own Fund | 714.76 | 429.21 | 13.71 | 442.92 | 271.84 | 1.50 | 713.26 | 10.31 | 453.23 | 260.03 |
| 4 | Total Legacy | 1934.32 | 839.25 | 49.25 | 888.50 | 1045.82 | 18.28 | 1916.04 | 33.35 | 921.85 | 994.18 |

New Assets:

(Rs. Cr.)

| S. No. | Particulars | Opening Acc. Dep. (01.04. 24) | Actual Dep. for year | Closing Acc. Dep. (31-03-25) | NB as on 31.03. 25 | Add. | Retd. | GB as on 30.11. 25 | Actual Dep. for year | Closing Acc. Dep. (30.11. 25) | NB as on 30.11 .25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Grants | 9.82 | 10.62 | 20.44 | 235.74 | 12.73 |  | 268.91 | 8.90 | 29.34 | 239.57 |
| 2 | CC | 53.13 | 49.39 | 102.52 | 1044.26 | 310.99 | 1.51 | 1456.26 | 46.77 | 149.29 | 1306.97 |
| 3 | Own Fund | 90.51 | 113.99 | 204.50 | 1592.77 | 115.54 | 1.21 | 1911.60 | 87.50 | 292.00 | 1619.60 |
| 4 | Meters-Own | 23.94 | 35.55 | 59.49 | 216.81 | 79.26 | 4.04 | 351.52 | 30.37 | 89.86 | 261.66 |
| 5 | Total TPWODL | 177.40 | 209.55 | 386.95 | 3089.58 | 518.52 | 6.76 | 3988.29 | 173.54 | 560.49 | 3427.80 |

Reply to Query No. 37

Detailed item wise Trial Balance for FY 2024-25 & FY 2025-26 (up to Nov’25) is enclosed as Annexure – 14 & Annexure- 15 respectively

Reply to Query No. 38

Total amount of Legal Expenses incurred by the Licensee month wise for FY 2025-26 up to Nov’25 is tabulated below. Further the details statement for the same is enclosed as Annexure-16.

| Month | Legal Expense incurred (Rs. Cr.) |
| --- | --- |
| Apr-25 | 0.07 |
| May-25 | 0.11 |
| Jun-25 | 0.20 |
| Jul-25 | 0.06 |
| Aug-25 | 0.04 |
| Sep-25 | 0.05 |
| Oct-25 | 0.02 |
| Nov-25 | 0.05 |
| Grand Total | 0.60 |

Reply to Query No. 39

Depreciation on old assets has been utilized in accordance with Para 44 of the Vesting Order and has accordingly been adjusted by the Hon’ble Commission in the Tariff Order for FY 2023-24 while determining the Working Capital requirement.

| Period | Dep. On Opening Assets | Utilised in Working Capital |
| --- | --- | --- |
| 2020-21 | 5.05 | 5.05 |
| 2021-22 | 21.48 | 21.48 |
| 2022-23 | 20.08 | 20.08 |
| 2023-24 | 19.00 | 19.00 |
| 2024-25 | 13.71 | 13.71 |
| 2025-26 (up to Nov’25) | 10.31 | 10.31 |

Reply to Query No. 40

The details of equity contributed by GRIDCO in kind from date of vesting till date is as under:

| Year Wise Equity Assets |  |
| --- | --- |
| Period | (Rs. In Cr.) |
| 31 March 2022 | 29.37 |
| 31 March 2023 | 58.93 |
| 31 March 2024 | 82.21 |
| 31 March 2025 | 77.45 |
| Total | 247.97 |

The details FAR of the same is enclosed as Soft Copy Link (Click Here).

Reply to Query No. 41

As per discussion with OERC official on 06.01.2026, TPWODL is submitting it’s revised T1 for ARR FY 2026-27 as Annexure 17.

Place:

Date:					                             			              	            DEPONENT

Encl.: All Annexures & FAR in Soft Copy (Excel Format)