Summary of objections received from various objectors against the application of NESCO for approval of Annual Revenue Requirement and determination of Retail Supply Tariff for the FY 2012-13:

- Sri Ramesh Ch. Satpathy, Secretary, National Institute of India Labour, Plot No. 302 (B), Beherasahi, Nayapalli, Bhubaneshwar.

- Rural consumers are suffering a lot due to low voltage and back out in most of the time. Licensee is taking interest in supply of quality power to the consumers.

- Consumers are not getting proper voltage, O & M of substation lines is very poor, energy audit needs to be done, losses reduction is not as per Commission’s norms. Hon’ble commission may take proper action for violation of commissions directives.

- The licensee has to produce the list of cases and FIRs filed in the different court and police stations since 2009-10 to 2011-12.

- About 120% consumers are increased in the area and similarly the revenue but manpower has not increased. Hence, licensee to induct required additional manpower for proper maintenance and loss reduction.

- The licensee has not taken any initiative to pay the compensations to consumers for non supply of power.

- Licensee has not taken any steps towards conservation of energy and implementation of Bachat Lamp Yojana.

- The licensee should produce the status report of how much lines and sub-stations were constructed with MP and MLA funds.

- Licensee has to produce the reasons for not achieving the AT&C loss reduction targets  as per their business plan and commissions directives.

- The licensee should produce the list of outstanding dues with Govt. Dept, PSU till 11.1.2012 and actions taken by the company to recover the same.

- The status report of outstanding dues of HT and EHT consumers and how much outstanding  dues are settled under one time settlement scheme.

- Sri Rajeshwar Pandey, Dy. Executive Director, Kapilash Cement Manufacturing, Works, Unit of OCL India Limited, Plot No. 1129, Mohanadi Vihar, PS-Chauliagnj, Po-Mahanadivihar, Cuttack 753 004.

- Hon’ble Commission may re-determine cross subsidy as per the ATE’s order. As per the submission of the CESU the cost of power for 132 kV is Rs 2.85 per kWh and that proposed tariff of Rs. 4.80 per kWh is above 20% and it should be within 20% limit.

- Distribution loss proposed by the licensee are very high and the same should not be allowed in the ARR. The licensee needs to initiate proper actions to limit the losses.

- TOD incentives should be increased from 10 paise to 30 paise per kWh and the TOD slot from 10 pm to 6 pm. Off peak without penalty over drawl should be increased from 20% to 30%.

- Graded slab tariff for HT/EHT consumers to be retained without any changes rather it should be reduced by 5 to 10% at every slab. i.e. from Rs. 4.70 to Rs. 4.0, Rs. 4.25 to Rs. 380, and Rs. 3.70 to Rs. 3.10 to encourage the EHT consumers.

- The demand charges are already high and the CESUs proposal to increase it further to Rs 250 per kVA is unjustified. Further any proposed increase in tariff will further make CGP power more economical compared to DSCOM power and again the growth rate of EHT consumers will go in negative direction. Hence, DISCOMs tariff should be kept at par with that of cost of CGP power or slightly be lowered by giving incentives for improving LF/p.f. and prompt payment rebate etc.

- Power factor incentive shall be considered for p.f from 95% at 0.5% discount for each 1% improvement till 97% p.f and above 97% 1% discount for each 1% improvement in p.f. This will encourage industries to invest in power capacitors and improve p.f. Penalty of 2% for each 1% reduction in pf below 95%, so that high penalty will encourage the industries to improve the power factor.

- The Climate Group Incbue Business Center, Label-3, Room No. 301, New Delhi 110 019

- The present public lighting if replaced with LED lighting the huge energy and in turn revenue will be saved as it is more energy efficient system.

- Hence, requested to adopt LED lighting for public lighting in ARR for FY 2012-13.

- To adopt policies like reduced tariff, rebate/discounts and issue directives to ULBs for adoption of LED street lighting.

- Shri Arun Kumar Sahu, Assistant Secretary Orissa Consumers’ Association, Devajyoti Upabhokta Kalyan Bhawan, Biswanath Lane, Dist. Cuttack-2.

- The application filed by the licensee is not in accordance with the law and also not tenable under law as such the same is liable to be rejected.

- Licensee has not improved on its service, efficiency and SOP and has not reduced T&D losses as per Hon’ble Commissions directives and the consumers should not be penalized. Licensee has not invested in up gradation and improvement of system & quality of service and hence should not be allowed to burden the consumers for its business profits.

- The commission has to determine licensee revenue for the purpose of fixing the tariff first but not on composite application which is confusing and contravention of law.

- The procedure/method so adopted by commission to be made simple and inexpensive.

- The licensee has failed to arrest the system loss, bad debts, expenses on telephone, A&G costs etc.

- The licensee has not given the details or calculation of the gap between revenue collection and the bill so raised for last 5 years and has kept hidden/not disclosed.

- The licensee has not paid interest on Security Deposit so made by the consumer and has not worked out the same.

- The licensee has not yet complied or submitted report of its compliance of OERC order dated 30.09.2011.

- Shri Arun Kumar Sahu, General Secretary, Federation of Consumers Organization (FOCO), Odisha, Biswanath Lane, Dist Cuttak-2.

- The application filed by the licensee is not in accordance with the law and also not tenable under law as such the same is liable to be rejected.

- Licensee has not improved on its service, efficiency and SOP and has not reduced T&D losses as per Hon’ble Commissions directives and the consumers should not be penalized. Licensee has not invested in up gradation and improvement of system & quality of service and hence should not be allowed to burden the consumers for its business profits.

- The commission has to determine licensee revenue for the purpose of fixing the tariff first but not on composite application which is confusing and contravention of law.

- The procedure/method so adopted by commission to be made simple and inexpensive.

- The licensee has failed to arrest the system loss, bad debts, expenses on telephone, A&G costs etc.

- The licensee has not given the details or calculation of the gap between revenue collection and the bill so raised for last 5 years and has kept hidden/not disclosed.

- The licensee has not paid interest on Security Deposit so made by the consumer and has not worked out the same.

- The licensee has not yet complied or submitted report of its compliance of OERC order dated 30.09.2011.

- Shri Dilip Kumar Mohapatra, Secretary, Keonjhar, Navanirman Parisad, Regd. Off. At-Chandin Chowk, Cuttack.

- The application filed by the licensee is not in accordance with the law and also not tenable under law as such the same is liable to be rejected.

- Licensee has not improved on its service, efficiency and SOP and has not reduced T&D losses as per Hon’ble Commissions directives and the consumers should not be penalized. Licensee has not invested in up gradation and improvement of system & quality of service and hence should not be allowed to burden the consumers for its business profits.

- The commission has to determine licensee revenue for the purpose of fixing the tariff first but not on composite application which is confusing and contravention of law.

- The procedure/method so adopted by commission to be made simple and inexpensive.

- The licensee has failed to arrest the system loss, bad debts, expenses on telephone, A&G costs etc.

- The licensee has not given the details or calculation of the gap between revenue collection and the bill so raised for last 5 years and has kept hidden/not disclosed.

- The licensee has not paid interest on Security Deposit so made by the consumer and has not worked out the same.

- The licensee has not yet complied or submitted report of its compliance of OERC order dated 30.09.2011.

- Mr. A.K.Sahani, B/L-108, VSS Nagar, Bhubaneshwar

- CESU has not taken any efforts to reduce the distribution loss had has further requested for revision of RST for meeting the revenue gap which may not be allowed.

- CESU has proposed various unnecessary expenses which may not be allowed as it will ultimately burden on the poor consumers.

- Hon’ble Commission may re-determine the cross subsidy and EHT tariff as the tariff for HT and EHT consumers have been increased over the time and the LT tariffs were kept unchanged upto FY 2009-10.

- BPL consumers consuming more than 30 kWh needs to be brought under domestic category. Utility should expedite the process of metering and billing such consumers and also increase its vigilance activities to crab the theft and loss of electricity. The tariff slabs in the domestic category should be carried forward and there should not be any tariff hike in the BPL category consumers tariff. Govt. should come forward to subsidies these category of consumers. MMFC of domestic and G.P consumers should not be enhanced with plea of theft of energy which could be controlled by the licensee.

- Hon’ble Commission may direct the licensee to abolish the redundant manpower and engage the appropriate manpower for betterment of the company to provide the quality and effective services.

- The license neglects the R&M of the distribution lines and substations where there are frequent interruptions. However, the licensee is projecting increasing and inflated R&M expenses  which may not be allowed. Licensee should submit the R&M schedule and expenses incurred during FY 2011-12 and proposed schedule for 2012-13. The works should audited and the report of the same should be submitted to the Commission.

- 20% over drawl over the contract demand should be allowed during the off-peak hours. Also 10 % rebate on applicable HT tariff should be allowed to the consumers who have paid for the transformers earlier and want to come under the OYT scheme with HT tariff.

- It is suggested that Hon’ble Commission may revert to the system of 2 part tariff while approving the BSP for the licensee. Further in case of statutory power cut, the restricted demand be treated as “Contract Demand” for computation of demand charges.

- Mr. Bibhu Charan Swain, Senior Consultant, M/s. Power Tech Consultants, 1-A,/6, Swati Villa, Surya Vihar, Link Road, Cuttack 753 012.

- DISCOM has not taken any efforts to reduce the distribution loss. Reduction in distribution loss will increase revenue and intern will make the licensee revenue surplus.

- No precautionary measures have been taken by the licensee to reduce illegal and unfair practices followed by the grass root level employees. Late delivery of bills, erroneous bills are served and in some cases of arrears reappear after payment of bills.

- Consumers don’t know GRF and Ombudsman as institution to address their grievances and there is no information provided by licensee to the consumers.

- The minimum charges collected by the licensee are not utilized for up gradation of substations and transformers. Licensee have not enumerated short and long term measures for system improvement work.

- The quality of the service provided by the licensee is very poor. The consumer disputes, billing problems are increasing. The fuse call centre are not functioning properly and many times the fault occurred during night time remains unattended till the morning.

- Interest on security deposit should be increased. DPS should not be applied to all categories. Many three phase consumers are not provided static meters which prevents them from availing benefits.

- Wheeling Charges and Wheeling loss is not proposed by the licensee. Without these charges no OA transactions be possible through DISCOM network. Hon’ble Commission may direct the licensee to submit these charges for the FY 2012-13.

- Licensee is not transparent in disclosing the disconnection date, time and reason for disconnection. Further meter test report is not provided to single phase consumers.

- The distribution licensee have not improved their efficiency and standard of service and not reduced losses. The licensees are taking full advantage of the cost plus tariff determination and are projecting the increasing costs without any improvements with further deterioration of performance.

- The amount not collected cannot be treated as bad and doubtful debt. Dues which are not collectable and have been written off from the books of the licensee based on audited results only may be allowed within limit of 1.5%.

- Licensee must submit authenticated data based on energy audit and with supporting printouts.

- The license is not at all concerned about demand side management of distribution system.

- Proposed to conduct energy audit and SOP audit by third party so as to assess the actual performance of the licensee.

- Shri A.P.R.Rao, on behalf of Chief Electrical Distribution Engineer, East Coast, Railway, Headquaters Building, 3rd Floor, South Block, Chandrasekharpur 751007.

- Railways is basically a public service provider and its electric operation is advantageous in many terms over the diesel railways, road transports etc. and expects low tariff. Further, submitted that the cross subsidy calculations presented in the objections shows higher than ±20% cross subsidy as per NTP.

- Railways are unable to avail the incentives on energy charges, as the traction Sub-station (TSS) load factor is low compared to other HT and EHT consumers. Further proposed traction tariff is not within 20% of the cost of supply and the tariff should be reduced in line with ATEs directives on the calculation of cross subsidy. .

- Performance of the license is not up to the level. Tariff should be linked to service levels and performance improvement improvements. CESU is not entitled for realization of higher tariff from consumers such as tariff enhancement & with drawl of incentives, TOD benefits etc.

- Licensee is not paying attention towards timely maintenance of feeders and transmission lines supplying power to railways and also there are delays in fault rectification by the licensee.

- Three DSCOMS are following one method of billing the and the other DISCOM is following other method of billing i.e in one state under OERC different licensees are following different methods . Hence, Hon’ble commission may interfere and clarify the same in the forth coming tariff order of FY 2012-13.

- To adopt monthly billing for railways and direct the licensee to take the responsibility and co-ordinate with OPTCL in maintaining the transmission line for improving the reliability of the system.

- Rajkishore Singh, At-Gopaljew  Lane, Po-Choudhury Bazar, Ps-Purighat, Cuttack.

- Hon’ble Commission may examine the authenticity of the data related to financial and performance achievement submitted by CESU.

- To consider separate tariff for rural consumers.

11) Sri Ananta Bihari Routray, Secy. Orrisa  Electrical Consumers’ Association, Sibasakti Medicine Complex, B.K.Road, Cuttack 753 001.

- The licensee has not improved its infrastructure and existing facilities are as like before for reduction of AT&C loss.

- The metering conditions are not satisfied and the declared figures of consumer metering is fabricated and far from ground reality.  Further during peak hours the supply voltage is very low. In rural sectors the duration of power cut is higher and there is no prompt restoration of power supply.

- Performance of DISCOM in billing and collection is disappointing. In case of billing related problems the consumers has to visit the office repeatedly and the action followed are very slow.

- DISCOMS are not undertaking consumer awareness activities and consumers don’t know about GRF and OMBUDSMAN system at all. Licensees are further avoiding to give information under RTI by giving plea.

12) Sri Prabhakar Dora, Consumers Counsel, At-Vidya Nagar, Co-operative Colony, 3rd line, Rayagada, Po/Ps/Dist Rayagada.

- The licensee should submit the number estimates sanctioned during 2001-02 to 2011-12 and the number of final bill issued against 12(d) of condition of Supply 2001 from 1.04.2004 to 1.04.2011.

- The licensee should submit that out of these sanctioned estimates how many estimates sanctioned under remunarativeness  Govt./Private separately and how much amount adjusted against the capital works done till date and how many not sanctioned with reason.

- The PF below which penalty is livable should be 90% as provided in regulation 77 of the distribution code and not 92% as specified in the earlier RST order. Excess penalty levied by DISCOM should be refunded.

- DISCOMs are projecting high LT sales in their ARR to project higher requirement of cross subsidy and corresponding increase in HT and EHT tariff.

- DISCOMs have totally failed to curtail LT as well as overall distribution loss. The gap between commissions approved loss and actual loss is widening and actual distribution loss is increasing. Collecting efficiency is also disappointing due to which the AT&C losses are also increasing from year to year.

- The tariff for GPS consumers availing HT supply with CD upto 70 kVA has not been provided in the RST Order for 2010-11. Such consumers are being charges at tariff applicable to LT GPS category. This is discriminatory. HT tariff for GPS category of less than 110 kVA should be provided in the RST.

- Pre-paid meters should be introduced I Govt. Consumers on first phase on trial basis.

- State Govt. to extend the benefits to a particular class of consumer (BPL) by bearing the full cross subsidies for supply of power to these subsidized group of consumers.

- DISCOM has not done energy audit so far and performance of DISCOM to reduce loss is poor. Therefore, any relook at the approved targets specified by the commission will only encourage them to be more inefficient and hence losses as determined by the Hon’ble Commission should continue and there should be no relook.

- Acceptance of actual loss data projected by DISCOMS will make tariff rise enormously and unaffordable.

- DISCOM should supply energy meters to all consumers as per the Act and collect security Deposit towards cost of meter as approved by the Commission. At present DISCOMs are not supplying the meters and forcing the consumers to purchase from market.

13) Shri Babaji Charan Sahoo,(M.D.) IDCOL, Ferro Chrome & Alloys Ltd, At. IFCAL, Colony , PO-Ferro Chrome Project, Jaipur Road, Dist. Jaipur 755 020.

- Separate tariff for peak hours may be prescribed subject to a separate tariff for off-peak hours as well.

- All off peak incentives should not be dispensed with. In such a case the gap between the peak and off peak demand will increase further.

- Guaranteed load factor concept should be only as a percentage of the billed amount as per the normal incentive tariff.

- Load factor should be calculated on the basis of actual hours of power supply.

- CESU has not succeeded in reducing the distribution losses and is lagging behind the loss reduction targets set by the commission. The approved distribution loss for FY 2011-12 was 24% and in the ensuring years ARR the licensee is projecting the same as 38%.

- Licensee has not submitted the actual energy audit data though substantial feeder metering has been completed. Hence in the absence of such data the actual and projected distribution loss cannot be substantiated and should not be accepted by the Hon’ble Commission.

- Power factor penalty should be calculated below 90% instead of 92% as this contravenes the regulation 77 of Distribution Code and the excess penalty paid during FY 2010-11 should be refunded .

- Power supply is very erratic and having frequent interruptions and the objector is required to run the DG set which incurs huge financial expenses. Hence the tariff should be linked to the quality of supply. All interruptions and statutory power cuts should not exceed 30 hrs a month.

14) Shri Amar Kumar Sahoo, S/o. Abhiram Sahoo, At-Bikash Nagar, Po/Ps. Jatani, Dist. Khurda.

- The licensee has not taken interest to provide quality power supply to the consumers. Most of the rural consumers are suffering a lot due to low voltage an black out in most of the time. O&M is poor which leads to low voltage problems to the consumers of Jatni, Khurda, Nayagarh, Balugaon and Tangi etc.

- The licensee has not completed the energy audits even after the directions of the Commission. AT&C and distribution loss are not reducing a per the directions of the Commission. Hon’ble Commission may take appropriate actions as deemed propoer for violation of the directions of the commission.

- Required manpower should be immediately engaged for proper O&M of distribution lines and substations.

- The licensee has not taken sue-motto initiatives to pay compensation to the consumers for non-supply of power by the company.

- The licensee has not introduced the Bachat Lamp Yojana to reduce the demand of the area.

- OERC should  take immediate steps either direct the Govt. to function the utility as a subsidiary company of GRDCO being 49% share holder of the erstwhile CESCO.

- The utility has to produce the status report & action taken by the utility for realization of outstanding dues pending on Govt. departments and PSU till date.

15) Shri R.P.Mahapatra, Retd. Chief Engineer  & Member (Gen. OSEB, Plot No. 775(Pt.) Lane-3, Jayadev Vihar,  Bhubaneswar 751 013.

- The licensee has failed to control the distribution losses after 12 years after privatization of the distribution sector. Further, the losses have been increasing and the gap between the actual loss and that approved by the commission has been widening from year to year.

- The licensee claims to have been completed the feeder metering by Oct 2003 and distribution transformer metering by 31 March 2004, however it has not submitted the actual energy audit data for last seven years.

- It has been observed that, only 87.75% meters of the total consumer are in working condition and the licensee has failed to provide the electricity with correct energy metering.

- The license is making the same stereo type submissions like harsh ground realities, lack of Govt. support and non-relaxation of escrow etc., to justify its non-performance year after year, thus indicating a lack of seriousness in its approach to reduce Distribution Losses.

- The licensee should indicate the collections made in the past years and projected for FY 2011-12 and FY 2012-13 for the current demand for the year and the arrears.

- The licensee should indicate the arrears collected from the consumers out of the amount written off by the State Govt. prior to 01.04.1999 without deleting the amounts from the consumer ledgers. Licensee may submit the arrear amount as on 01.04.2011 and the amount collected upto 30.09.2011 and further submit whether the balance amount of arrears are collectable or are being written off. Licensee may submit the audited data of arrears receivable.

- The RST orders of the Hon’ble Commission for the FY 2010-11 and FY 2011-12 are required to be re-determined based on the orders of the Hon’ble ATE, New Delhi in its order dated 30.05.2011 and 02.09.2011. The Hon’ble commission may determine the cross subsidy based on the principle that the such cross subsidies shall not be increased but reduced. Even though Hon’ble Commission has amended the OERC (Terms and Conditions for Determination of Tariff)Regulations, 2004 which was published in the Odisha Gazette on 10.08.2011 the same may not be taken in to consideration for determination of RST for FY 2012-13 as it is not in accordance with the provisions in the EA, 2003

- Proposal on Retail Tariff related issues:

  - The revenue deficit may be passed on to the next financial year in full or part, depending on the date when the Hon’ble HC Orissa delivers the judgment in this case.

  - Tariff for the kutir jyoti scheme should be at least 50% of the average cost of supply in accordance with the NEP & NTP. Govt. of Odisha  may give direct subsidy for reduction of burden on the kutir jyoti consumers.

  - The proposal od CESU to increase the domestic tariff to realize the full cost of supply in LT may not be possible immediately. However, the cross subsidy availed by this category of consumers may be substantially reduced.

  - The proposal to increase the MMFC for domestic and GP LT consumers is un-justified with reference to the other category of consumers.

  - Graded slab system of tariff should be provided in accordance withection 62(3) of the EA 2003. Load factor should be calculated on the basis of the maximum demand during periods other than off-peak hours with normative pf of 0.9. CESUs proposal to calculate the LF based on the number of power available is a welcome move. However, presently CESU is not exhibiting in the energy bill the max demand in “off-peak” and “other than off-peak” hours. This is resulting in contravention of the statutory provisions. A special audit may be conducted by the Hon’ble Commission.

  - There is no justification for providing depreciation under the scheme as CESU is not required to make any capital repayment. Asset value on transfer by the Govt. in future should be the depreciated value.

  - Hon’ble commission in the RST order for FY 2010-11 have determined the ‘Off-Peak” period as from 00.00 hrs to 6.00 hrs. Hon’ble Commission may direct the SLDC to submit the load and frequency profile during the day to determine the “Off-peak” period and submitted to consider the off-peak hours as 20.00 hrs to 6.00 hrs.

  - License has overstated the expenditures in many points and hence Hon’ble Commission may kindly determine the actual cost to be allowed.

- The licensee has proposed collection inefficiency as bad & doubtful debt. The licensee is not debarred from collecting the arrears in the subsequent periods. The amount not collected during the FY from the current revenue is not written off from the books of the licensee. Hon’ble Commission has also rejected such submission in RST for FY 2010-11. Hence, truing up of for bad & doubtful debts should also be made every year to take in to account only such dues which are not collectable and have been written off from books of licensee and amount of 1.5% may be allowed towards bad debt.

- Power factor incentives should be computed beyond the PF of 95% and penalty should be calculated below 90%.

- Bulk supply purchase price of licensee should have two part tariff structure.

- Separate Licensee for supply of power to EHT consumers.

16) Shri Pradip Kumar Pradhan, S/o. Purna Chandra Pradhan, Viom Networks Ltd, Odisha, Fortune Tower, 4th Floor, Module-C, Chandrasekhar Pur, Bhubanewar – 23.

- Objector  is a mobile telecom infrastructure service provider in the Orissa Telecom Circle and has obtained many LT power connections from DISCOM. In many cases the objector has constructed the 11 kV line, distribution transformer, LT line and service line which has helped the DISCOM to reduce its O&M cost, reduced interest on CAPEX and got the free assets.

- Inspite of incurring huge cost towards distribution network in rural area the power supply is irregular.

- Irregularity in power supply adds the cost towards stand by supply from DG sets, and also affects the timely powering up of Base Transceiver Stations (BTS) This is further affecting roll out of services to customers. As this falls under essential utility service continuous supply is required and  TRAI has also recommended that Dept of Telecom should address all State Governments to direct the DISCOMS to provide grid power on priority.

- Use of DG set adds the cost of O&M and makes the telecom service costly and unviable. Further, objector is being treated as commercial consumer whereas, the objector is an infrastructure service provider and TRAI has recommended to consider telecom as essential infrastructure services and requested for un-interrupted power supply.

- Considering telecom as essential service provider the objector has requested to consider separate consumer category while deriving tariff for ensuring year and not to be treated as commercial category.

- Objector pointed out the NTP provision to bring down the cross subsidy to +- 20% of average cost of supply by the end of March 2011.

- The objector prayed to consider separate category of essential services for the objector and requested tariff lower that non domestic and industrial category tariff.

*****