## Sheet4 (2) (hidden)
Tower Type | Nos. of Towers | Excavation | Excavation Total | Template Including NBs | Total Wt. Stub Fitting(In MT) | Lean(PCC) | Total PCC | Concrete(RCC) | Total RCC | Steel(In MT) | Total Steel | Shoring | Total Shoring | Welding | Total Welding | N&B in kg
DA+0 (wet) | 250 | 165.169 | 41292.25 | 2.54 | 635 | 2.328 | 582 | 16.322 | 4080.5 | 1.472 | 368 | 0 | 0 | 2200 | 550000 | 628.182 | 940.182
DA+3 , +6 (PS) | 62 | 223.949 | 13884.838 | 2.54 | 157.48 | 3.232 | 200.384 | 24.453 | 1516.086 | 1.845 | 114.39 | 200 | 12400 | 2800 | 173600 | 149.438 | 16438.18
DB+0 (Wet) | 19 | 312.122 | 5930.318 | 2.654 | 50.426 | 4.068 | 77.292 | 39.138 | 743.622 | 3.587 | 68.153 | 0 | 0 | 2615 | 49685 | 585.728 | 26357.76
DB+3, +6, +9 (PS) | 26 | 426.264 | 11082.864 | 2.654 | 69.004 | 6.407 | 166.582 | 51.897 | 1349.322 | 5.285 | 137.41 | 200 | 5200 | 5655 | 147030 | 171.602 | 4461.652
DC+0 (Wet) | 17 | 413.487 | 7029.279 | 2.654 | 45.118 | 6.205 | 105.485 | 53.645 | 911.965 | 5.437 | 92.429 | 0 | 0 | 3084 | 52428 | 1260.126 | 47884.788
DC+3, +6 (PS) | 19 | 522.728 | 9931.832 | 2.654 | 50.426 | 7.938 | 150.822 | 66.371 | 1261.049 | 7.044 | 133.836 | 200 | 3800 | 3431 | 65189 | 196.792 | 3739.048
DC+18 (wet) | 2 | 523.728 | 1047.456 | 3.654 | 7.308 | 8.938 | 17.876 | 67.371 | 134.742 | 8.044 | 16.088 | 0 | 0 | 3431 | 6862 | 196.792 | 393.584
DD+0 (Wet) | 17 | 532.275 | 9048.675 | 3.7 | 62.9 | 8.09 | 137.53 | 82.062 | 1395.054 | 6.662 | 113.254 | 0 | 0 | 4385 | 74545 | 1154.346 | 114280.254
DD+3, +6,+9 (PS) | 49 | 676.814 | 33163.886 | 3.7 | 181.3 | 10.397 | 509.453 | 102.513 | 5023.137 | 8.73 | 427.77 | 200 | 9800 | 4933 | 241717 | 441.498 | 21633.402
DD+18, +25 (Wet) | 33 | 657.12 | 21684.96 | 4.746 | 156.618 | 10.082 | 332.706 | 130.177 | 4295.841 | 7.094 | 234.102 | 0 | 0 | 8435 | 278355 | 1372.97 | 45308.01
|  |  | 154096.358 |  | 1415.58 |  | 2280.13 |  | 20711.318 |  | 1705.432 |  | 31200 |  | 1639411 |  | 281436.86
Soft/Loose soil | 30 | 154096.358 | 46228.9074 | [6 empty] | for Pile | 340 | MT |  |  |  |  | 281.4369
Dense/Compact soil | 30 | 154096.358 | 46228.9074 | [7 empty] | 2045 | [5 empty] | 337.7242
Soft/Disintegrated rock(Not requiring Blasting) | 10 | 154096.358 | 15409.6358
Hard Rock(Requiring Blasting/Using breaker machinery) | 10 | 154096.358 | 15409.6358
ps soil | 10 | 154096.358 | 15409.6358
fs soil | 10 | 154096.358 | 15409.6358
| 100 |  | 154096.358

## Cover Page
ODISHA POWER TRANSMISSION CORPORATION LIMITED
| PROVINCE | : | Odisha
| NAME OF THE CIRCLE | : | E.H.T. Construction Circle, Bhubaneswar
| NAME OF THE DIVISION | : | E.H.T. Construction Division, Cuttack.
| NAME OF THE SUB-DIVISION | : | E.H.T. Construction Sub-Division, Cuttack.
| NAME OF THE WORK | : | Construction of 400kV ACSR Quad Moose DC line from 765/400/220 kV GIS S/S, Betakholi to 400/220/33 kV AIS at Neulpoi (Approx. line length- 40 Kms.)
| MAIN HEAD OF CLASSIFICATION | :
| SUB HEAD OF CLASSIFICATION | :
| ESTIMATE NO. & DATE | : | /2025-26 dated: 12.02.2026
| AIM OF SERVICE | :
| AMOUNT | : | 3398948212
Rupees Sixteen-Hundred Twenty-One Crore Ninety-Seven Lacs Fifty-Nine Thousand Five-Hundred and Seventy
Deputy General Manager (Elect.)

## SUMMARY
SUMMARY of 400 KV TWIN MOOSE LINE
Estimate for Construction of 400 KV TWIn MOOSE LINE from Betakholi to Mendhasal in QUAD MOOSE Towers
Transmission Line portion
Sl.No. | Description | Amount (inRs.)
1 | Total Supply Cost of 400KV Transmission line | 1909883883
2 | Stock,Storage & Insurance(@3% on Sl.No-1) | 57296516.49
3 | Sub-Total(1+2) | 1967180399.49
4 | Contigency 3% on Sl.No.3 | 59015411.9847
5 | T&P cost @ 2% on Sl.No. 3 | 39343607.9898
6 | Transportation @5% on Sl.No.3 | 98359019.9745
7 | Total Supply Cost Sub-Total (Sl. No.3 to Sl. No.6) | 2163898439
8 | Transmission line erection cost | 248318729.1875
9 | Transmission line Civil works | 676831044
10 | OFDC Tree Felling Charges | 7500000
11 | Forest Diversion Fees ( @ 75,00,000 / Hectare ) | 300000000
14 | Crossing Permission Charges for NHAI, IOCL, GAIL | 2400000
15 | Inspection fees ( 400KV Line )
16 | TOTAL COST OF SUPPLY, ERECTION AND CIVIL | 3398948212.1875
| Or Say | 3398948212
(Rupees Two Hundred Seventy Six Crore Sixty lakh Lakhs Eighty Two Thousand Three Hundred Seventy Five) only
2855884822
543063390

## Supply
ODISHA POWER TRANSMISSION CORPORATION LIMITED
Estimate for Construction of 400 KV TWIn MOOSE LINE from Betakholi to Mendhasal in QUAD MOOSE Towers
(Equipment/Materials Supply Price)
PART-II SCHEDULE-2A (FOR LINE)
S. No. | ITEM CODE | SUPPLY OF FOLLOWING EQUIPMENTS (As per Technical Specification) | UNITS | QUANTITY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @9% PER UNIT | SGST @9% PER UNIT | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE FOR QUANTITY (Incl.GST) | Remarks
1 |  | 2 | 3 | 4 | 5 | 6=(5x9%) | 7=(5x9%) | 8=(5+6+7) | 9=(8x4)
Part: B |  | 400 KV KV DC Line with ACSR Quad Moose Conductor
1.9.3 | 1000000140 | TOWER STRUCTURES (MS steel) As per the guaranteed value of tower weights offered by the contractor. Any excess weight shall not be paid. | MT | 3750.7053 | 84100.02 | 7569 | 7569 | 99238.02 | 372212567 | Str RC with PV upto 30.05.2026 |  | 82451 | 2% | 84100.02
1.9.4 | 1000000138 | TOWER STRUCTURES (HT steel) As per the guaranteed value of tower weights offered by the contractor. Any excess weight shall not be paid. | MT | 10108.738 | 86700 | 7803 | 7803 | 102306 | 1034184551 | Str RC with PV upto 30.05.2026 |  | 85000 | 2% | 86700
1.9.5 | 3000004093 | Weight of different type G.I Nuts, Bolts & spring washers | MT | 732.3215 | 104040 | 9363.6 | 9363.6 | 122767.2 | 89905056 | Str RC with PV upto 30.05.2026 |  | 102000 | 2% | 104040
1.1 | 1000000632 | Weight of Templates (MS steel hot dip galvanised) including of Nut and Bolts. | MT | 50.1791 | 64986.24 | 5848.76 | 5848.76 | 76683.76 | 3847922 | Str RC with PV upto 30.05.2026 |  | 63712 | 2% | 64986.24
1.11.1 | 3000000574 | EARTHING DEVICE | Nos | 141 | 2280.98 | 205.29 | 205.29 | 2691.56 | 379510 | CD with PV upto 30.05.2026
1.11.2 | 3000003561 | DANGER BOARD | Nos | 96 | 248.6085 | 22.37 | 22.37 | 293.3485 | 28161 | CD TL 9
1.11.3 | 3000003578 | NUMBER PLATE | Nos | 96 | 135.849 | 12.23 | 12.23 | 160.309 | 15390 | CD TL 10
1.11.4 | 3000003579 | PHASE PLATE | Nos | 576 | 105.966 | 9.54 | 9.54 | 125.046 | 72026 | CD TL 11
1.11.5 | 3000003555 | ANTICLIMBING DEVICE | Nos | 96 | 4620.2415 | 415.82 | 415.82 | 5451.8815 | 523381 | CD TL 13
1.11.6 | 3000003558 | Circuit plate | Nos | 192 | 105.966 | 9.54 | 9.54 | 125.046 | 24009 | CD TL 12
2.1 | 1000000018 | ACSR Moose (54/7/3.53 mm) | Kms. | 403 | 671345.0219 | 60421.05 | 60421.05 | 792187.1219 | 319251410 | Biennial rate-1178, 26.09.2025 with PV upto 30.05.2026 | 29.05.2025 | 428317.61 | 56.74% | 671345.0219
3.2 | 3000000439 | MID SPAN JOINT | Nos. | 350 | 1110.9 | 99.98 | 99.98 | 1310.86 | 458801 | Accessories for different conductor size Sl. 37
3.3 | 3000000467 | Repair Sleeve | Nos. | 350 | 487.2945 | 43.86 | 43.86 | 575.0145 | 201255 | Accessories for different conductor size Sl. 43
3.4 | 3000004452 | Spacer for Twin Moose | set | 4789 | 464.32 | 41.79 | 41.79 | 547.9 | 2623893 | BK.Sthali approved estimate 5.6
3.5 | 3000003894 | Rigid Spacer | Nos. | 1620 | 364.65 | 32.82 | 32.82 | 430.29 | 697070 | BK.Sthali approved estimate 5.7
4.1 | 1000000466 | 400KV, 160 KN Composite Long Rod Polymer Insulator | Set | 1104 | 8950 | 805.5 | 805.5 | 10561 | 11659344 | Budgetary offer price obtained from M/s Shree Radhe
4.2 | 1000000467 | 400KV, 120 KN Composite Long Rod Polymer Insulator | Set | 741 | 7850 | 706.5 | 706.5 | 9263 | 6863883 | Budgetary offer price obtained from M/s Shree Radhe
5.1.1 | 3000004239 | Single suspension Hard wares (AGS type) fittings for pilot insulator. | set | 129 | 67330 | 6059.7 | 6059.7 | 79449.4 | 10248973 | IAC B.O.P
5.1.2 | 3000004237 | Double suspension Hard wares fittings.(AGS type) for Suspension Towers. | set | 306 | 52587 | 4732.83 | 4732.83 | 62052.66 | 18988114 | IAC B.O.P
5.1.3 | 3000004238 | Double tension Hard wares fittings suitable for Tension Towers | set | 552 | 41658 | 3749.22 | 3749.22 | 49156.44 | 27134355 | IAC B.O.P
6.1 | 1000000345 | 48 FIBRE OPGW CABLE ALONG WITH COMPLETE SET OF HARD WARE FITTINGS AND ACCESORIES | Kms. | 32.4008 | 238097.72 | 21428.79 | 21428.79 | 280955.3 | 9103185 | Telecommunication Materials Sl. 25+ Sl. No. 26
7 | 1000000075 | Supply of the GI earth wire of size 7/3.66 mm as per the technical specification as per the direction of Engineer in charge. | Kms. | 32.4008 | 32764.47 | 2948.8 | 2948.8 | 38662.07 | 1252683 | Line Materials Sl. 16
8.1 | 3000000617 | VIBRATION DAMPER | Nos. | 192 | 361.62 | 32.55 | 32.55 | 426.72 | 81930 | Accessories for different conductor size Sl. 44
8.2 | 3000001008 | FLEXIBLE EARTH BOND for 7/3.66mm earth wire | Nos. | 90 | 278.17 | 25.04 | 25.04 | 328.25 | 29543 | Accessories for different conductor size Sl. 46
8.3 | 3000000825 | SUSPENSION CLAMP for 7/3.66mm earth wire | Nos. | 51 | 465.77 | 41.92 | 41.92 | 549.61 | 28030 | Accessories for different conductor size Sl. 48
8.4 | 3000000907 | TENSION CLAMP with terminal jumper for 7/3.66mm earth wire | Nos. | 90 | 562.22 | 50.6 | 50.6 | 663.42 | 59708 | Accessories for different conductor size Sl. 50
8.5 | 3000000614 | MID SPAN JOINT | Nos. | 35 | 37.04 | 3.33 | 3.33 | 43.7 | 1530 | NEULPOI Approved estimate
8.6 | 3000004375 | Repair Sleeve for earth wire | Nos. | 35 | 37.04 | 3.33 | 3.33 | 43.7 | 1530 | NEULPOI Approved estimate
8.7 | 3000000909 | U bolt | Nos. | 51 | 100.92 | 9.08 | 9.08 | 119.08 | 6073 | RTSS-Balasore Approved Estimate
B |  | TOTAL (400 KV Quad Moose Line Supply) |  |  | TOTAL PRICE FOR 400KV QUAD MOOSE LINE SUPPLY |  |  |  | 1909883883
|  | TOTAL COST OF SUPPLY (Part A + B ) | [6 empty] | #REF!

## Erection
ODISHA POWER TRANSMISSION CORPORATION LIMITED
Estimate for Construction of 400 KV TWIn MOOSE LINE from Betakholi to Mendhasal in QUAD MOOSE Towers
SCHEDULE-2B (FOR LINE)
S. No. |  | DESCRIPTION OF ITEMS
|  | ERECTION,TESTING & COMMISSIONING OF FOLLOWING EQUIPMENTS ALONG WITH CIVIL WORKS (As per Technical Specification) | UNITS
|  |  |  | QUANTITY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @9% PER UNIT | SGST @9% PER UNIT | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE FOR QUANTITY (Incl.GST)
1 |  | 2 | 3 | 4 | 5 | 6=(5x9%) | 7=(5x9%) | 8=(5+6+7) | 9=(8x4)
Part: B |  | 400 KV KV DC Line with ACSR Quad Moose Conductor
A |  | ELECTRICAL WORKS
1.5 | 30000614 | WEIGHT OF THE STRUCTURES (MS steel including Tower stubs, cleats & Foundation Nut and Bolts) | MT | 13859.4433 | 13146.94 | 1183.22 | 1183.22 | 15513.38 | 215006810.4871 | Basudevpur approved Estimate
1.7 | 10000011 | Weight of different type G.I Nuts and Bolts | MT | 732.3215 | 13146.94 | 1183.22 | 1183.22 | 15513.38 | 11360781.168 | Derived rate
1.9 | 10000012 | WEIGHT OF Templates including of Nut and Bolts. | MT | 234.5759 | 10214.9574 | 919.35 | 919.35 | 12053.6574 | 2827497.5324 | Derived rate
1.10.1 | 30000609 | EARTHING DEVICE | Nos. | 141 | 3071.77 | 276.46 | 276.46 | 3624.69 | 511081 | RC 8.10 i
1.10.2 | 30000820 | DANGER BOARD | Nos. | 96 | 159.47 | 14.35 | 14.35 | 188.17 | 18064 | RC H11 ii
1.10.3 | 30000819 | NUMBER PLATE | Nos. | 96 | 159.47 | 14.35 | 14.35 | 188.17 | 18064 | RC H11 i
1.10.4 | 30000821 | PHASE PLATE | Nos. | 576 | 159.47 | 14.35 | 14.35 | 188.17 | 108386 | RC H11 iii
1.10.6 | 30000823 | ANTICLIMBING DEVICE | Nos. | 96 | 3441.28 | 309.72 | 309.72 | 4060.72 | 389829 | RC H11 v
1.10.7 | 10000014 | Circuit plate | Nos. | 192 | 159.47 | 14.35 | 14.35 | 188.17 | 36129 | RC H11 iv
2.1 | 10000366 | Stringing of 3 ph double ckt ACSR Twin Moose(54/7/3.53 mm) with one GI earth wire of size 7/3.66 mm and one 48 Fibre OPGW for 400kv lines | Route Kms. | 31.922 | 298478.74 | 26863.09 | 26863.09 | 352204.92 | 11243085 | RC TL 10.10 C - 10.10 Vd + BK.Sthali approved estimate 5.1
2.2 | 30000080 | Supply of all materials for continuous welding of bolts & nuts (around the bolts) up to top of tower without cross arm, including welding rods, welding generator machine (diesel engine optd.), application of required zinc rich paints around the welding portion (two coats),fuel,lubricants,T&P and labours. | Nos. | 422400 | 10.24 | 0.9216 | 0.9216 | 12.0832 | 5103944 | RC 16.20 i
3.1 | 30000885 | Erection of 48 Fibre(DWSM) OPGW fibre Optic cable along with hardware | RKM | 31.922 | 45000 | 4050 | 4050 | 53100 | 1695058 | BK.Sthali approved estimate 5.1
B |  | TOTAL OF ELECTRICAL WORKS PART-B |  |  | 400 KV QUAD MOOSE LINE ERECTION TOTAL |  |  |  | 248318729.1875
|  | TOTAL ELECTRICAL WORKS OF LINE (A + B) | [6 empty] | 248318729.1875

## Civil
ODISHA POWER TRANSMISSION CORPORATION LIMITED
Estimate for Construction of 400 KV TWIn MOOSE LINE from Betakholi to Mendhasal in QUAD MOOSE Towers
SCHEDULE-2C (FOR LINE)
S. No. |  | DESCRIPTION OF ITEMS
|  | ERECTION,TESTING & COMMISSIONING OF FOLLOWING EQUIPMENTS ALONG WITH CIVIL WORKS (As per Technical Specification) | UNITS
|  |  |  | QUANTITY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @9% PER UNIT | SGST @9% PER UNIT | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE FOR QUANTITY (Incl.GST)
1 |  | 2 | 3 | 4 | 5 | 6=(5x9%) | 7=(5x9%) | 8=(5+6+7) | 9=(8x4)
Part: B |  | 400 KV KV DC Line with ACSR Quad Moose Conductor
| 40000463 | Design of 400 kV QA type (0-2°) D/C lattice towers for ACSR Quad Moose (for Wind Zone-V) | Lot | 1 | 598000 | 53820 | 53820 | 705640 | 705640
| 40000464 | Design of 400 kV QB type (2-15°) D/C lattice towers for ACSR Quad Moose (for Wind Zone-V) | Lot | 1 | 633000 | 56970 | 56970 | 746940 | 746940
| 40000465 | Design of 400 kV QC type (15-30°) D/C lattice towers for ACSR Quad Moose (for Wind Zone-V) | Lot | 1 | 698000 | 62820 | 62820 | 823640 | 823640
| 40000466 | Design of 400 kV QD45 type (30-45°) D/C lattice towers for ACSR Quad Moose (for Wind Zone-V) | Lot | 1 | 777000 | 69930 | 69930 | 916860 | 916860
| 40000467 | Design of 400 kV QD60 type (45-60°) D/C lattice towers for ACSR Quad Moose (for Wind Zone-V) | Lot | 1 | 777000 | 69930 | 69930 | 916860 | 916860
| 40000468 | Fabrication of proto type, inspection and Type testing of proto type up to destruction and submission of the proto-corrected structural & shop drawings: QA + 9m Type, 400 kV ACSR Quad Moose | Lot | 1 | 7500000 | 675000 | 675000 | 8850000 | 8850000
| 40000469 | Fabrication of proto type, inspection and type testing of proto type up to destruction and submission of the proto-corrected structural & shop drawings: QB + 9m type, 400 kV ACSR Quad Moose | Lot | 1 | 9000000 | 810000 | 810000 | 10620000 | 10620000
| 40000470 | Fabrication of proto type, inspection and Type testing of proto type up to destruction and submission of the proto-corrected structural & shop drawings: QC + 9m Type, 400 kV ACSR Quad Moose | Lot | 1 | 10500000 | 945000 | 945000 | 12390000 | 12390000
| 40000471 | Fabrication of proto type, inspection and Type testing of proto type up to destruction and submission of the proto-corrected structural & shop drawings: QD45 + 9m Type, 400 kV ACSR Quad Moose | Lot | 1 | 12000000 | 1080000 | 1080000 | 14160000 | 14160000
| 40000472 | Fabrication of proto type, inspection and Type testing of proto type up to destruction and submission of the proto-corrected structural & shop drawings: QD60 + 9m Type, 400 kV ACSR Quad Moose | Lot | 1 | 15000000 | 1350000 | 1350000 | 17700000 | 17700000
| 40000473 | Fabrication of proto type, inspection and Type testing of proto type up to destruction and submission of the proto-corrected structural & shop drawings: QD60 + 18m Type, 400 kV ACSR Quad Moose | Lot | 1 | 15000000 | 1350000 | 1350000 | 17700000 | 17700000
| 40000474 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QA+0 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 31000 | 2790 | 2790 | 36580 | 36580
| 40000475 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QA+3 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 31000 | 2790 | 2790 | 36580 | 36580
| 40000476 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QA+6 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 31000 | 2790 | 2790 | 36580 | 36580
| 40000477 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QA+9 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 31000 | 2790 | 2790 | 36580 | 36580
| 40000478 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QA+15 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 31000 | 2790 | 2790 | 36580 | 36580
| 40000479 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QB+0 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 32000 | 2880 | 2880 | 37760 | 37760
| 40000480 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QB+3 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 32000 | 2880 | 2880 | 37760 | 37760
| 40000481 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QB+6 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 32000 | 2880 | 2880 | 37760 | 37760
| 40000482 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QB+9 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 32000 | 2880 | 2880 | 37760 | 37760
| 40000483 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QB+15 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 32000 | 2880 | 2880 | 37760 | 37760
| 40000484 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QC+0 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 36000 | 3240 | 3240 | 42480 | 42480
| 40000485 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QC+3 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 36000 | 3240 | 3240 | 42480 | 42480
| 40000486 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QC+3 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 36000 | 3240 | 3240 | 42480 | 42480
| 40000487 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QC+9 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 36000 | 3240 | 3240 | 42480 | 42480
| 40000488 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QC+15 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 36000 | 3240 | 3240 | 42480 | 42480
| 40000489 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD45+0 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000490 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD45+3 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000491 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD45+6 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000492 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD45+9 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000493 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD45+12 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000494 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+0 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000495 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+3 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000496 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+6 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000497 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+9 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000498 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+18 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000499 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+25 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000500 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+30 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
| 40000501 | Design of foundation for 400 kV multi circuit, ACSR Quad Moose, QD60+45 Lattice towers for each type of soil as per technical specification/tender document. | LS | 1 | 40000 | 3600 | 3600 | 47200 | 47200
9.1 | 30000535 | Preliminary survey :- Making walkover survey ascertaining feasible route and marking on Toposheet, preparation of route alignment map. | RKM | 31.922 | 5036 | 453.24 | 453.24 | 5942.48 | 189696 | RC 1.1
9.2 | 30000544 | Check survey including supply of all labour, T&P as per instruction of Engineer in Charge and as per the approved profile. | RKM | 31.922 | 6714.67 | 604.32 | 604.32 | 7923.31 | 252928 | RC 1.4
9.3 | 30000536 | Detail survey with Preparation of Land Schedule:- Detail survey including taking of levels, profile plotting, tower spotting , marking of tower locations at site and preparation of tower schedule incluiding showing P&T, Power lines, Railway lines and river crossing, roads & submission of route map, profile & survey report etc. The P&T lines and railway lines for a minimum distance of 8 kms on either side of alignment shall be clearly indicated. It also includes preparation of land schedule with plot No., Mouza on Revenue map indicating alignment therein duly authenticated by Revenue inspector & Tehsildar, Enumeration of trees with the help of forest officers & other prominent features required for alignment of line. The nominal span for preparing tower schedule shall be decided during detail survey and concurrence from OPTCL shall be obtained beforehand. | RKM | 31.922 | 25180.01 | 2266.2 | 2266.2 | 29712.41 | 948480 | RC 1.2+1.3 T/L
10.1 | 30000548 | Normal foundation(Boring upto 3mtr,5 mtr, 7mtr depth.) | per Loc. | 30 | 28537.34 | 2568.36 | 2568.36 | 33674.06 | 1010222 | RC 1.5.a T/L
10.2 | 30000549 | under ream pile foundation (borinf to 15.00m depth.) | per Loc. | 5 | 38609.34 | 3474.84 | 3474.84 | 45559.02 | 227795 | RC 1.5.b T/L
10.3 | 30000550 | River bed pile foundation( Boring to 30mtr depth) | per Loc. | 5 | 75540.02 | 6798.6 | 6798.6 | 89137.22 | 445686 | RC 1.5.c T/L
3.1.1 | 30000010 | Soft/Loose Soil | CUM | 12961.0194 | 233.97 | 21.06 | 21.06 | 276.09 | 3578408 | RC 2.00 i
3.1.2 | 30000552 | Dense/Compact Soil | CUM | 17249.4271 | 366.54 | 32.99 | 32.99 | 432.52 | 7460722 | RC 2.00 ii
3.1.3 | 30000553 | Soft/Disintegrated rock(not requiring blasting) | CUM | 7392.6116 | 701.88 | 63.17 | 63.17 | 828.22 | 6122709 | RC 2.00 iii
3.1.4 | 30000554 | Hard rock (requiring blasting/using breaker machinery) | CUM | 2464.2039 | 1403.75 | 126.34 | 126.34 | 1656.43 | 4081781 | RC 2.00 iv
3.1.5 | 30000555 | Fully submerged soil | CUM | 2464.2039 | 421.13 | 37.9 | 37.9 | 496.93 | 1224537 | RC 2.00 vi
3.1.6 | 40000239 | Partially sub-merged soil | CUM | 7392.6116 | 421.13 | 37.9 | 37.9 | 496.93 | 3673610 | RC 2.00 v
4 | 30000566 | Design, Engineering, Providing and laying of plain cement concrete (PCC 1:3:6) of grade M10 with approved quality coarse aggregates (Nominal size 12mm to 20mm) , fine aggregates, cement in tower foundation as blind layer inclusive of labour charges for concrete mixing & curing. This includes supply of all labourers, T&P and dewatering wherever required as per Technical specification and instruction of Engineer In charge. | CUM | 1608.05 | 6377.44 | 573.97 | 573.97 | 7525.38 | 12101187 | RC 6.2 iii
5 | 30000570 | Design, Engineering and laying of reinforced cement concrete (RCC1:1.5:3) of grade M20 for open cast foundation and pile capping, riser & tie beam for under ream / DMC (500 MM Dia) and riverbed pile (1000 MM Dia) with supply of approved quality coarse aggregates(Nominal size 12mm to 20mm), fine aggregates, cement in tower foundation and inclusive of labour charges for concrete mixing, supply and fixing of form boxes, curing, shoring, shuttering, testing of sample cement concrete cubes as per IS. The surrounding area shall be clear from materials. Damage of land if any by the contractor shall be repaired before measurement. This includes supply of all labourers, T&P, head loading of all type of Civil materials and dewatering (including Supply of all T&P, Fuel, Lubricant & electricity etc.) as per Technical specification and instruction of Engineer In charge. | CUM | 16040.8094 | 9103.72 | 819.33 | 819.33 | 10742.38 | 172316470 | RC 6.4 i
6 | 30000575 | Design, Engineering and laying of reinforced cement concrete (RCC1:1:2) of grade M25 for riverbed (1000 MM dia & 500 MM dia) pile foundation with supply of approved quality coarse aggregates(Nominal size 12mm to 20mm), fine aggregates, cement in tower foundation and inclusive of labour charges for concrete mixing, supply and fixing of form boxes, curing, shoring, shuttering, testing of sample cement concrete cubes as per IS. The surrounding area shall be clear from materials. Damage of land if any by the contractor shall be repaired before measurement. This includes supply of all labourers, T&P, head loading of all type of Civil materials and dewatering (including Supply of all T&P, Fuel, Lubricant & electricity etc.) as per Technical specification and instruction of Engineer In charge. | CUM | 5495 | 10266.65 | 924 | 924 | 12114.65 | 66570002 | RC 6.70 i
7 | 30000029 | Cutting, bending, hooking, fixing and binding in poisition of MS Rod (FE-500-TATA/ RINL/ Sail/JINDAL) as per BIS-1786 for rainforcement of foundation (Plie Riser, Cap, Tie- Beam & Open cast foundation) concrete of towers including supply of wire for binding (With supply of steel rod FE-500 as per BIS-1786 of different size(as per design). | MT | 1280.7972 | 63984.42 | 5758.6 | 5758.6 | 75501.62 | 96702263 | RC 6.5 i
8.2 | 30000058 | Boring by DMC method( 1000mm dia) & approximate length of the bore is 25 Mtrs to 30 Mtrs | mtr length | 4000 | 7475.69 | 672.81 | 672.81 | 8821.31 | 35285240 | RC 7.5 ii
8.3 | 40000001 | Supply and putting of MS Liner 8mm (or as per approved drawing)for river bed & river bank pile foundation. | MT | 942.08 | 63984.42 | 5758.6 | 5758.6 | 75501.62 | 71128566 | RC 7.60 i
11 | 30000857 | Painting of Tower Structures by applying one coat of zinc phosphate primer of ASIAN / BERGER make, 2 coats of Aluminium paint of ASIAN/BERGER make and applying one coat of black enamel paint over tower legs up to height of 1 mtr. including cost of material, consumables, T&P and as per the instruction of the Engineer in Charge (Scrapping and washing of structures are to be done prior to painting of towers) and applying | Per SQm | 480 | 146.36 | 13.17 | 13.17 | 172.7 | 82896 | RC 17.00
12.1 | 40000243 | Excavation in all type of soil including rock & back filling including supply of sand with back filling.(Dense soil) | CUM | 1800 | 366.54 | 32.99 | 32.99 | 432.52 | 778536 | RC 2.ii
12.2 | 40000039 | Lean Concrete in the ratio1:3:6(Grade M-10) including supply of sand chips etc. | CUM | 50 | 6377.44 | 573.97 | 573.97 | 7525.38 | 376269 | RC 6.2.iii
12.3 | 40000011 | PCC in the ratio 1:2:4(Grade M-15) as above. | CUM | 50 | 7723.79 | 695.14 | 695.14 | 9114.07 | 455704 | RC 6.3
12.4 | 30000849 | RR Massonary work in the ratio 1:5 with supply of boulder, cement river sand , T&P and labour etc.. | CUM | 2500 | 3805.47 | 342.49 | 342.49 | 4490.45 | 11226125 | RC 15.10 I
13 | 40000273 | PTCC approval, railway crossing has to be obtained by submitting the required doCUMents to the concerned department through OPTCL. Way-Leave blockade charges and any other charges are to be borne by the bidders. The doCUMents for PTCC clearance & Railway clearance including required drawings etc has to be submitted by the contractor within 5 months of award of contract. Beyond the above period L.D as applicable & the amount shall be deducted as specified in the specification. | LS | 1 | 200000 | 18000 | 18000 | 236000 | 236000 | BK.Sthali approved estimate 8
14 | 40000247 | NHAI, Water,Gas/Oil pipeline, Power line and other statutory/government body clearances except Forest clearance (excluding payment of statutory fees) have to be obtained by submitting the required docuemnts to the concerned departments through OPTCL. The doCUMents for above clearances including required drawings etc. have to be submitted by the contractor within 05 months of award of contract. Beyond the above period, L.D is applicable & the amount shall be deducted as specified in the specification. | LS | 1 | 1000000 | 90000 | 90000 | 1180000 | 1180000 | BK.Sthali approved estimate 9
15 | 30000883 | Forest clearances ( Stage-I & II) (excluding payment of statutory fees) has to be obtained by submitting the required docuemnts to the concerned departments through OPTCL. The doCUMents for above clearances including required drawings etc. have to be submitted by the contractor within 06 months of award of contract. The contractor have to pay the compensation towards standing trees in the non-forest land & tree felling cost in the non-forest land. Beyond the above period, L.D is applicable & the amount shall be deducted as specified in the specification. | Hectare | 40 | 200000 | 18000 | 18000 | 236000 | 9440000 | Approved estimate of Therubali-Indravati PSP
16.1 | 30000902 | Compensation for construction of Tower foudation & erection of transmission line including crops compensation & etc. (100% Bench mark cost plus other compensation) | Per location | 96 | 500000 | 45000 | 45000 | 590000 | 56640000 | BK.Sthali approved estimate 11.1
16.2 | 40000004 | Compensation for or acquisition of ROW in the land required for transmission line corridor as per the required width (15% Bench mark cost plus other compensation if any) | RKM | 31.922 | 700000 | 63000 | 63000 | 826000 | 26367572 | BK.Sthali approved estimate 11.2
|  | Total CIVIL Works (PART B) |  |  | TOTAL PRICE FOR CIVIL : 400KV QUAD MOOSE LINE |  |  |  | 676831044

## QUAD MOOSE CVL TL (hidden)
BETAKHOLI - MENDHASAL QUAD ACSR MOOSE TOWER + TWIN MOOSE LINE
CIVIL QUANTITY DETAILS OF 400KV QUAD MOOSE LINE | [11 empty] | Mahanadi River Crossing Locations at Mundali
Sl. No | TOWER TYPE |  | No.s | Classification | Excavation (CUM) | P.C.C M10 (CUM) | R.C.C. M20 (CUM) | Steel (MT) | Remarks | Sl. No | Loc NO | Type Of Tower | Pile Depth | No. Of Piles | Total Piling | Liner | Piling Volume(M25) | Pile Steel | Excavation | PCC | RCC(M20) | Steel
1 | DA+0 | 26 | 16 | WET | 248.14 | 3.06 | 25.16 | 2.281 |  | 1 |  | DC+6 | 25 | 20 | 500 | 58.88 | 392.5 | 7.85 | 85 | 11.5 | 215 | 9.5
2 | DA+0 |  | 7 | PS | 310.58 | 3.89 | 30.73 | 2.694 |  | 2 |  | DC+6 | 25 | 20 | 500 | 58.88 | 392.5 | 7.85 | 85 | 11.5 | 215 | 9.5
3 | DA+0 |  | 1 | FS | 368.44 | 4.67 | 35.91 | 3.054 |  | 3 |  | DC+6 | 25 | 20 | 500 | 58.88 | 392.5 | 7.85 | 85 | 11.5 | 215 | 9.5
4 | DA+0 |  | 1 | WBC | 451.67 | 5.79 | 43.45 | 3.698 |  | 4 |  | DA+6 | 25 | 20 | 500 | 58.88 | 392.5 | 6.75 | 75 | 10.5 | 200 | 8
5 | DA+0 |  | 1 | WFR | 194.76 | 3.36 | 27.18 | 2.433 |  | 5 |  | DA+6 | 25 | 20 | 500 | 58.88 | 392.5 | 6.75 | 75 | 10.5 | 200 | 8
6 | DA+3/6/9 | 21 | 11 | WET | 267.36 | 3.31 | 26.85 | 2.507 |  | 6 |  | DA+6 | 25 | 20 | 500 | 58.88 | 392.5 | 6.75 | 75 | 10.5 | 200 | 8
7 | DA+3/6/9 |  | 7 | PS | 333.4 | 4.2 | 32.79 | 2.956 |  | 7 |  | DA+6 | 25 | 20 | 500 | 58.88 | 392.5 | 6.75 | 75 | 10.5 | 200 | 8
8 | DA+3/6/9 |  | 1 | FS | 393.26 | 5 | 38.16 | 3.412 |  | 8 |  | DC+6 | 25 | 20 | 500 | 58.88 | 392.5 | 7.85 | 85 | 11.5 | 215 | 9.5
9 | DA+3/6/9 |  | 1 | WBC | 479.11 | 6.16 | 45.95 | 4.099 |  |  |  | 8 |  |  | 4000 | 471.04 | 3140 | 58.4 | 640 | 88 | 1660 | 70
10 | DA+3/6/9 |  | 1 | WFR | 211.82 | 3.63 | 28.99 | 2.672 | [6 empty] | Mtrs | MT | CUM | MT | CUM | CUM | CUM | MT
11 | DB+0 | 2 | 1 | WET | 544 | 7.03 | 70.69 | 6.109
12 | DB+0 |  | 1 | PS | 651.17 | 8.5 | 81.17 | 7.382
13 | DB+0 |  | 0 | FS | 754.26 | 9.91 | 93.04 | 8.355
14 | DB+0 |  | 0 | WBC | 871.53 | 11.52 | 106.55 | 9.905
15 | DB+0 |  | 0 | WFR | 462.79 | 7.49 | 72.7 | 6.657
16 | DB+3/6/9 | 0 | 0 | WET | 562.74 | 7.3 | 70.96 | 6.588
17 | DB+3/6/9 |  | 0 | PS | 672.35 | 8.79 | 83.58 | 7.655
18 | DB+3/6/9 |  | 0 | FS | 777.04 | 10.22 | 101.92 | 8.185
19 | DB+3/6/9 |  | 0 | WBC | 896 | 11.86 | 113.61 | 9.913
20 | DB+3/6/9 |  | 0 | WFR | 480.66 | 7.76 | 74.96 | 6.963
21 | DC+0 | 7 | 5 | WET | 691.89 | 9.06 | 108.83 | 7.666
22 | DC+0 |  | 2 | PS | 819.32 | 10.8 | 128.42 | 8.842
23 | DC+0 |  | 0 | FS | 943.66 | 12.51 | 147.52 | 10.15
24 | DC+0 |  | 0 | WBC | 1069.43 | 14.25 | 167.01 | 11.78
25 | DC+0 |  | 0 | WFR | 598.69 | 9.55 | 114.34 | 8.005
26 | DC+3/6/9 | 2 | 2 | WET | 729.8 | 9.58 | 101.9 | 8.959
27 | DC+3/6/9 |  | 0 | PS | 862.71 | 11.4 | 119.19 | 10.362
28 | DC+3/6/9 |  | 0 | FS | 994.91 | 13.22 | 136.27 | 11.913
29 | DC+3/6/9 |  | 0 | WBC | 1126.45 | 15.03 | 153.53 | 13.754
30 | DC+3/6/9 |  | 0 | WFR | 633.98 | 10.08 | 106.7 | 9.419
31 | DD+0 | 13 | 8 | WET | 821.46 | 10.83 | 113.85 | 10.822
32 | DD+0 |  | 4 | PS | 966.79 | 12.83 | 132.68 | 12.575
33 | DD+0 |  | 1 | FS | 1108.94 | 14.79 | 156.28 | 13.864
34 | DD+0 |  | 0 | WBC | 1247.59 | 16.71 | 174.95 | 16.191
35 | DD+0 |  | 0 | WFR | 721.6 | 11.4 | 119.19 | 11.408
36 | DD+3/6/9 | 12 | 8 | WET | 845.22 | 11.16 | 120.83 | 11.045
37 | DD+3/6/9 |  | 2 | PS | 994.91 | 13.22 | 136.27 | 13.149
38 | DD+3/6/9 |  | 1 | FS | 1141.57 | 15.24 | 160.66 | 14.489
39 | DD+3/6/9 |  | 0 | WBC | 1276.84 | 17.11 | 189.51 | 15.764
40 | DD+3/6/9 |  | 1 | WFR | 743.88 | 11.74 | 122.33 | 11.938
41
42 | DD+18 | 5 | 3 | PS | 1003.8625 | 28.125 | 197.7938 | 12.4875
43 | DD+25 |  | 2 | PS | 1408.35 | 32 | 275.17 | 21.7263
|  | 88 | 88 | TOTAL | 49284.0775 | 716.025 | 6782.5313 | 583.154
|  |  |  | SOFT & Loose | 12321.0194
|  |  |  | Dense & Compact | 17249.4271
|  |  |  | Soft Rock | 7392.6116
|  |  |  | Hard Rock | 2464.2039
|  |  |  | P S Soil | 7392.6116
|  |  |  | F S Soil | 2464.2039

## 400 KV QUAD MOOSE Structure (hidden)
BETAKHOLI - MENDHASAL QUAD ACSR MOOSE TOWER + TWIN MOOSE LINE
STRUCTURAL DETAILS OF TRANSMISSION TOWERS 400KV QUAD MOOSE
|  | STUB CLEAT (MT) |  |  | TEMPLATE (MT) |  |  |  | SUPER STRUCTURE (MT)
|  | HT | MS | N/B |  | HT | MS | N/B | MS | HT | N/B
DA TYPE ( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 51 | 0.651 | 0 | 0.011 | 5 | 0 | 1.65 | 0.05 |  |  |  | SUPPLY PORTION (MT)
DA BASIC BODY | 51 | [7 empty] | 8.845 | 7.005 | 0.685 |  | HT | MS | N/B
DA - 0 MTR BODY EXTENSION | 26 | [7 empty] | 2.111 | 1.281 | 0.108 | STUB | 115.353 | 0 | 2.416
DA - 3 MTR BODY EXTENSION | 9 | [7 empty] | 1.902 | 0.483 | 0.053 | TEMPLATE | 0 | 21.817 | 0.62
DA - 6 MTR BODY EXTENSION | 13 | [7 empty] | 3.056 | 0.894 | 0.085 | TOWER | 1622.633 | 1302.283 | 127.72
DA - 9 MTR BODY EXTENSION | 3 | [7 empty] | 3.734 | 1.497 | 0.124 | TOTAL | 1737.986 | 1324.1 | 130.756
DB TYPE( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 2 | 1.262 | 0 | 0.029 | 1 | 0 | 2.179 | 0.055 |  |  |  | STUB & TOWER ERECTION PORTION(MT)
DB BASIC BODY | 2 | [7 empty] | 7.457 | 15.906 | 1.117 |  | HT | MS | N/B
DB - 0 MTR BODY EXTENSION | 2 | [7 empty] | 2.135 | 1.265 | 0.158 | STUB | 115.353 | 0 | 2.416
DB - 3 MTR BODY EXTENSION | 0 | [7 empty] | 0.963 | 0.794 | 0.066
DB - 6 MTR BODY EXTENSION | 0 | [7 empty] | 3.254 | 1.112 | 0.099 | TOWER | 1622.633 | 1302.283 | 127.72
DB - 9 MTR BODY EXTENSION | 0 | [7 empty] | 4.012 | 1.698 | 0.158 | TOTAL | 1737.986 | 1302.283 | 130.136
DC TYPE( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 13 | 1.481 | 0 | 0.039 | 2 | 0 | 2.19 | 0.06 |  |  |  | TEMPLATE ERECTION PORTION(MT)
DC BASIC BODY | 13 | [7 empty] | 8.921 | 19.049 | 1.385 | TEMPLATE | 0 | 175.378 | 5.065
DC - 0 MTR BODY EXTENSION | 7 | [7 empty] | 1.877 | 3.95 | 0.274 |  |  |  | 180.443
DC - 3 MTR BODY EXTENSION | 0 | [7 empty] | 4.891 | 3.508 | 0.318
DC - 6 MTR BODY EXTENSION | 6 | [7 empty] | 5.558 | 1.975 | 0.293
DC - 9 MTR BODY EXTENSION | 0 | [7 empty] | 6.56 | 3.066 | 0.362
DD TYPE( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 25 | 1.978 | 0 | 0.043 | 3 | 0 | 2.336 | 0.065
DD BASIC BODY | 25 | [7 empty] | 10.551 | 23.366 | 1.632
DD - 0 MTR BODY EXTENSION | 13 | [7 empty] | 4.119 | 3.826 | 0.305
DD - 3 MTR BODY EXTENSION | 7 | [7 empty] | 3.664 | 6.853 | 0.376
DD - 6 MTR BODY EXTENSION | 5 | [7 empty] | 6.52 | 2.906 | 0.285
DD - 9 MTR BODY EXTENSION | 0 | [7 empty] | 7.971 | 4.564 | 0.433
DD TYPE ( 18 / 25 MTR) STUB | 5 | 2.185 | 0 | 0.043 | 2
DD BASIC BODY | 5 | [7 empty] | 10.551 | 23.366 | 1.632
DD - 0 MTR BODY EXTENSION | 5 | [7 empty] | 4.119 | 3.826 | 0.305
DD - 18 MTR BODY EXTENSION | 3 | [7 empty] | 17.922 | 10.122 | 0.973
DD - 25 MTR BODY EXTENSION | 2 | [7 empty] | 21.962 | 13.709 | 1.183
Suspension Tower |  | 51
Angle Tower |  | 45 | 43 |  |  | Line Length | 31.922 | Kms
Total Towers |  | 96

## 400 kV QM MC str calc (hidden)
BETAKHOLI - MENDHASAL QUAD ACSR MOOSE TOWER + TWIN MOOSE LINE
STRUCTURAL DETAILS OF TRANSMISSION TOWERS 400KV QUAD MOOSE
|  | STUB CLEAT (MT) |  |  | TEMPLATE (MT) |  |  |  | SUPER STRUCTURE (MT)
|  | HT | MS | N/B |  | HT | MS | N/B | MS | HT | N/B
DA TYPE ( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 51 | 1.069 | 0 | 0.022 | 5 | 0 | 1.65 | 0.05 |  |  |  | SUPPLY PORTION (MT)
DA BASIC BODY | 51 | [7 empty] | 8.366 | 21.177 | 1.329 |  | HT | MS | N/B | 8.845 | 1.0573 | 7.005 | 0.33078
DA - 0 MTR BODY EXTENSION | 26 | [7 empty] | 3.185 | 2.459 | 0.198 | STUB | 170.23 | 0 | 4.327 | 2.111 | 0.66279 | 1.281 | 0.52094
DA - 3 MTR BODY EXTENSION | 9 | [7 empty] | 4.738 | 3.354 | 0.283 | TEMPLATE | 0 | 21.817 | 0.62 | 1.902 | 0.40144 | 0.483 | 0.14401
DA - 6 MTR BODY EXTENSION | 13 | [7 empty] | 6.6107 | 3.5004 | 0.50556 | TOWER | 4531.5086 | 1744.5141 | 335.6676 | 3.056 |  | 0.894
DA - 9 MTR BODY EXTENSION | 3 | [7 empty] | 2.7965 | 4.611 | 0.37038 | TOTAL | 4701.7386 | 1744.5141 | 340.6146 | 3.734 |  | 1.497
DB TYPE( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 2 | 2.253 | 0 | 0.045 | 1 | 0 | 2.179 | 0.055 |  |  |  | STUB & TOWER ERECTION PORTION(MT)
DB BASIC BODY | 2 | [7 empty] | 14.182 | 44.378 | 2.928 |  | HT | MS | N/B | 7.457 | 0.52581 | 15.906 | 0.35842
DB - 0 MTR BODY EXTENSION | 2 | [7 empty] | 5.931 | 5.066 | 0.494 | STUB | 170.23 | 0 | 4.327 | 2.135 | 0.35997 | 1.265 | 0.2497
DB - 3 MTR BODY EXTENSION | 0 | [7 empty] | 4.0116 | 1.7092 | 0.28604 |  |  |  |  | 0.963 |  | 0.794
DB - 6 MTR BODY EXTENSION | 0 | [7 empty] | 7.039 | 4.354 | 0.512 | TOWER | 4531.5086 | 1744.5141 | 335.6676 | 3.254 | 0.46228 | 1.112 | 0.2554
DB - 9 MTR BODY EXTENSION | 0 | [7 empty] | 3.0047 | 5.2301 | 0.41174 | TOTAL | 4701.7386 | 1744.5141 | 339.9946 | 4.012 |  | 1.698
DC TYPE( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 13 | 2.41 | 0 | 0.055 | 2 | 0 | 2.19 | 0.06 |  |  |  | TEMPLATE ERECTION PORTION(MT)
DC BASIC BODY | 13 | [7 empty] | 14.358 | 49.48 | 3.831 | TEMPLATE | 0 | 175.378 | 5.065
DC - 0 MTR BODY EXTENSION | 7 | [7 empty] | 7.307 | 6.683 | 0.63 |  |  |  | 180.443 | 8.921 | 1.2209 | 19.049 | 2.8504
DC - 3 MTR BODY EXTENSION | 0 | [7 empty] | 7.819 | 8.503 | 0.734 |  |  |  |  | 1.877 | 0.24006 | 3.95 | 0.46454
DC - 6 MTR BODY EXTENSION | 6 | [7 empty] | 4.1625 | 6.0834 | 0.51229 |  |  |  |  | 4.891 |  | 3.508
DC - 9 MTR BODY EXTENSION | 0 | [7 empty] | 5.979 | 8.4946 | 0.72368 |  |  |  |  | 5.558 |  | 1.975
[16 empty] | 6.56 |  | 3.066
DD TYPE( 0 / 3.0 / 6.0 / 9.0 MTR) STUB | 25 | 3.195 | 0 | 0.096 | 3 | 0 | 2.336 | 0.065
DD BASIC BODY | 25 | [7 empty] | 17.207 | 65.089 | 4.938 |  |  |  |  | 10.551 | 0.61318 | 23.366 | 0.35899
DD - 0 MTR BODY EXTENSION | 13 | [7 empty] | 5.43 | 10.756 | 0.972 |  |  |  |  | 4.119 | 0.75856 | 3.826 | 0.35571
DD - 3 MTR BODY EXTENSION | 7 | [7 empty] | 5.712 | 17.245 | 1.377 |  |  |  |  | 3.664 | 0.64146 | 6.853 | 0.39739
DD - 6 MTR BODY EXTENSION | 5 | [7 empty] | 4.883 | 8.951 | 0.831 |  |  |  |  | 6.52 | 1.3352 | 2.906 | 0.32466
DD - 9 MTR BODY EXTENSION | 0 | [7 empty] | 7.265 | 12.645 | 1.195 |  |  |  |  | 7.971 | 1.0972 | 4.564 | 0.36093
DD TYPE ( 18 / 25 MTR) STUB | 5 |  |  |  | 2
DD BASIC BODY | 5 | [7 empty] | 17.207 | 65.089 | 4.1148 |  |  |  |  | 10.551 | 0.61318 | 23.366 | 0.35899
DD - 0 MTR BODY EXTENSION | 5 | [7 empty] | 5.43 | 10.756 | 0.8093 |  |  |  |  | 4.119 | 0.75856 | 3.826 | 0.35571
DD - 18 MTR BODY EXTENSION | 3 | [7 empty] | 27.9395 | 25.4712 | 2.6705 |  |  |  |  | 17.922 | 0.64146 | 10.122 | 0.39739
DD - 25 MTR BODY EXTENSION | 2 | [7 empty] | 16.4479 | 42.2262 | 2.9337 |  |  |  |  | 21.962 | 1.3352 | 13.709 | 0.32466
[17 empty] | 1.0972 |  | 0.36093
Suspension Tower |  | 51
Angle Tower |  | 45 | 43 |  |  | Line Length | 31.922 | Kms
Total Towers |  | 96

## Pandiabili Spare (hidden)
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- Design, Engineering, Supply, Erection and Commissioning of 02 Nos 400KV AIS feeder bay extension with SAS (to be integrated with the existing SAS) & its control (One dia) at 400KV Pandiabili gird sub-station for connectivity with proposed GIS S/S Berhampur at Sindhaba
SUPPLY_SUBSTATION MANDATORY SPARES
Sl. No. | SUPPLY OF MANDATORY SPARES FOR 400 KV BAY-EXTENSION AT PANDIABILI SUB-STATION | UNITS | Qty | Unit Price in Rs | Total Price in Rs excluding GST
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5
1 | 420 KV,2000-1000-500A,63KA,5CORE SINGLE PHASE CURRENT TRANSFORMER | NOS | 1 | #REF! | #REF!
2 | 420 KV,2000A,63KA,ISOLATORS
2.1 | MALE & FEMALE CONTACTS | SET | 2 | 24318.75 | 48637.5
2.2 | POWER CONTACTOR, RELAYS, MCBs, SWITCHES, FUSES, PUSH BUTTONS, RESISTORS ETC AS PER APPROVED SCHEMATIC. | SET | 1 | 17510 | 17510
2.3 | LIMIT SWITCH | SET | 2 | 3891 | 7782
2.4 | MOTOR WITH GEAR ASSEMBLY & BEVEL GEAR ASSEMBLY COMPLETE. | SET | 1 | 17510 | 17510
2.5 | AUXILIARY SWITCH CONTACTS ASSEMBLY | SET | 1 | 4864 | 4864
2.6 | EARTHING ROD & BLADE CONTACT SIDE | SET | 1 | 38910 | 38910
2.7 | HINGE PINS,TERMINAL CONNECTOR,TERMINAL PAD | SET | 1 | 10862 | 10862
3 | 420KV,4000A,63KA,SF6,CIRCUIT BREAKER
3.1 | CLOSING COIL | NOS | 10 | 1526.7 | 15267
3.2 | TRIPPING COIL | NOS | 10 | 1526.7 | 15267
3.3 | SF6 GAS FILLING DEVICE | NOS | 1 | 25441.7 | 25441.7
3.4 | SET OF GASKETS ,"O" RINGS,SEALS PER CIRCUIT BREAKER | SET | 1 | 11194.59 | 11194.59
4 | 390 KV,METAL OXIDE, 10 KA, CLASS III SURGE ARRESTOR COMPLETE WITH INSULATING BASE & SURGE MONITOR | NOS | 1 | #REF! | #REF!
5 | 400 KV Bus Post Insulators | NOS | 2 | #REF! | #REF!
A | TOTAL OF SUPPLY OF MANDATORY SPARES FOR 400 KV BAY-EXTENSION SUB-STATION |  |  |  | #REF!