## Slide 1
Connectivity arrangement of the proposed 132kV UG Cabling Work from 220/132/33kV Grid S/S Balasore to 132/33kV Grid Chandipur GSS
220/132/33 kV BALASORE SS
132/33 kV BASTA
132/33 kV Soro SS
Existing 132kV S/C
O/H Line
132/33 kV SOMNATHPUR SS
Existing 132kV S/C
O/H Line
Existing 132kV S/C
O/H Line
132/33 kV UDALA
Existing 132kV S/C
O/H Line
132/33 kV CHANDIPUR SS
BEFORE
38.8 MW
45 MW
60 MW
50 MW
11.8 MW
27 MW

## Slide 2
Connectivity arrangement of the proposed 132kV UG Cabling Work from 220/132/33kV Grid S/S Balasore to 132/33kV Grid Chandipur GSS
220/132/33 kV BALASORE SS
132/33 kV BASTA
132/33 kV Soro SS
Existing 132kV S/C
O/H Line
132/33 kV SOMNATHPUR SS
Existing 132kV S/C
O/H Line
Existing 132kV S/C
O/H Line
Proposed 132kV S/C
Line through UG Cabling
132/33 kV UDALA
Existing 132kV S/C
O/H Line
132/33 kV CHANDIPUR SS
AFTER
45 MW
38.2 MW
21.2 MW
50 MW
60.0 MW
10.0 MW
27 MW
21.2 MW