## CBA
COST BENEFIT ANALYSIS
A. BENEFITS DUE TO ADDITIONAL SALE OF ENERGY ON ACCOUNT OF CONSTRUCTION OF 132 kV Underground Cable Connectivity from 220/132/33 kV GSS, Balasore to 132/33 kV GSS, Chandipur (Approximate UG Cable Route Length: 27.00 km) with Bay extension at each GSS
1 | Power flow as per load flow study in MW | 38.2
2 | Diversity factor (DF=1.43 due DISCOM load) | 1.43
3 | Load factor (LF=0.6 due to DISCOM load) | 0.6
4 | Average power flow in MW | 16.028 | 750 | 0.9: power factor 1.3: Diversity factor
5 | Additional energy available for sale in LU | 1404.0503 |  | Due to industrial GSS 0.7 LF is considered
6 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 1361.9288 |  | TL of 3% is approved for FY 25-26
7 | Anticipated revenue at a cost of Rs.0.24/ Unit in Lakhs | 544.7715
B. BENEFITS OF THE SCHEME DUE TO REDUCTION IN LOSSES
1 | Total losses before implementation of the scheme in MW | 1090.8734
2 | Total losses after implementation of the scheme in MW | 1089.9862 |  | Loss reduction from Load flow study
3 | Total reduction in losses in MW | 0.88723
4 | Load factor | 0.6
5 | Loss load factor (0.8 LF2 + 0.2 LF) | 0.408
6 | The energy available for sale per year in LU | 31.7103
7 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 30.759
8 | Anticipated revenue due to reduction in losses in lakhs @ Rs. 0.24/Unit | 7.3822
C. CALCULATION OF REVENUE RETURN
1 | Anticipated revenue due to reduction in losses [Rs. Lakhs] | 7.3822
2 | Anticipated revenue due to sale of additional energy [Rs. Lakhs] | 544.7715
3 | Total anticipated annual revenue [Rs. Cr.] | 5.5215
4 | Estimated Cost [Rs. Cr.] | 165.66
5 | Average Annual Rate of Return in % | 3.3331

## IRR_UG_BLS_CH
Calculation of NPV and IRR : 132KV UG CABLE CONNECTIVITY FROM GSS BALASORE TO GSS CHANDIPUR
CoC (%) = | 70% | x | 0 | + | 30% | x | 0 | Average | 0 |  |  | RoI on Loan P.a |  |  | = | 0 |  | IRR = |  | IRR can't be computed due to 100% Grant | [15 empty] | (Rs. in Crores)
Particulars | Constuction Period |  |  | Benefits Period | [34 empty] | Total
Financial Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38
Cash Inflow (CI)
Grant | 49.7 | 49.7 | 66.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165.66
Loan(Principal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loan (Interest) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue | 0 | 0 | 0 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 193.2538
Salvage Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.566 | 16.566
Total (CI) - (A) | 49.7 | 49.7 | 66.26 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 5.5215 | 22.0875 | 375.4798
Cash Outflow (CO)
CWIP | 49.7 | 49.7 | 66.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165.66
IDC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loan Repayment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on Loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R&M exp. @ 3 % PC | 0 | 0 | 0 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 173.95
Total (CO) - (B) | 49.7 | 49.7 | 66.26 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 4.97 | 339.61 | IRR
Net Cash Inflow (A-B) | 0 | 0 | 0 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 0.55154 | 17.1175 | 35.8698 | #NUM!
DF @ CoC | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Net Present value(NPV) | 0 | 0 | 0 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 17.12 | 35.82
NPV at IRR | 0 | 0 | 0 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 17.12 | 35.82
**
CoC - Cost of Capital
IDC- Interest During Construction
CWIP- Capital Work in Progress
DF- Discounting Factor
IRR- Internal Rate of Return
ARR- Average Annual Rate of Return
Opening Balance |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repayment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Balance |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agerage Loan |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Data sheet
| Expenditure in Cr.: | 165.6611
| Year: | 2026-27 | 2027-28 | 2028-29
| % of Expenditure: | 30% | 30% | 40%
| Year wise expenditure: | 49.6983 | 49.6983 | 66.2644
Loan | 0% | 0 | 0 | 0
Grant | 100% | 49.7 | 49.7 | 66.26
Total | 100% | 49.7 | 49.7 | 66.26