## UG Cable Supply
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS. (Approx. Length-18.5 KMs)
C |  | 132 KV UG CABLING EQUIPMENTS / MATERIALS
SL. No. | Service Code for SAP Estimate | DESCRIPTION OF ITEMS(SCHEDULE-VIIA-Laying of 2 nos. of 132 KV UG Cable ckt. with one spare from 220/132/33kv GSS, Narendrapur to 132/33KV GIS, GSS Chhatrapur ) SUPPLY OF FOLLOWING EQUIPMENT & MATERIALS (As per Technical Specification) | UNIT OF MEASUREMENT | QTY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @ 9% PER UNIT (INTRA-STATE) | OGST @ 9% PER UNIT (INTRA-STATE) | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE FOR THE TENDER QUANTITY | REMARKS
1 |  | 2 | 3 | 4 | 5 | 6= (5x9%) | 7= (5x9%) | 8= (5+6+7) | 9= (8x4)
1 | 1000000008 | 1CX630Sq.mm 132kV XLPE UG | Km | 55.5 | 12293532.29 | 1106417.9061 | 1106417.9061 | 14506368.1022 | 805103429.6721 | PSC vide Memo No. 180/2026 dated 20.04.2026, the Committee opined accordingly.The rate is derived based on the arithmetic avera |  | 805103429.6721 | 805103429.6721 | 0 | No spare cable | 805103429.6721 | 0
2 | 3000004074 | HS IL type cable jt kit for 132 kV cable | Nos. | 120 | 245000 | 22050 | 22050 | 289100 | 34692000 | Budgetary Offer |  | 34692000 | 34692000 | 0 | 12.1 | 34692000 | 0
3 | 3000004075 | HS SB type cable jt kit for 132 kV cable | Nos. | 86 | 259000 | 23310 | 23310 | 305620 | 26283320 | Budgetary Offer |  | 26283320 | 26283320 | 0 | Cross bonded =1/KM Mid point bonding =1/2 KM | 26283320 | 0
4 | 3000004076 | OD cable to air bushing term kit | Nos. | 6 | 395828.19 | 35624.5371 | 35624.5371 | 467077.2642 | 2802463.5852 | CD SS 154 |  | 2802463.5852 | 2802463.5852 | 0 |  | 2802463.5852 | 0
5 | 3000004077 | 160 mm dia HDPE pipe PE 80-PN8 | Mtr. | 25500 | 736.91 | 66.3219 | 66.3219 | 869.5538 | 22173621.9 | Auto Nagar Tech.Sanc.Estm.-UG Cab Supply SL.No.- 5 |  | 22173621.9 | 22173621.9 | 0 |  | 22173621.9 | 0
6 | 3000000610 | 50 mm Heavy Duty GI Perforated Pipes, 3 | Nos. | 50 | 2280.98 | 205.2882 | 205.2882 | 2691.5564 | 134577.82 | CD TL-8 |  | 134577.82 | 134577.82 | 0 |  | 134577.82 | 0
7 | 3000004078 | Link Box, connectors and accessories | Lot | 1 | 1060139 | 95412.51 | 95412.51 | 1250964.02 | 1250964.02 | Auto Nagar Tech.Sanc.Estm.-UG Cab Supply SL.No.- 7 |  | 1250964.02 | 1250964.02 | 0 |  | 1250964.02 | 0
8 | 3000000100 | 1CX300 Sq.mm XLPE bonding cable | KM | 2 | 2575640 | 231807.6 | 231807.6 | 3039255.2 | 6078510.4 | CD SS 144 |  | 6078510.4 | 6078510.4 | 0 | 700 | 6078510.4 | 0
9.1 | 1000000603 | Support STR for 132 kV cable termination | MT | 1.5 | 85000 | 7650 | 7650 | 100300 | 150450 | CD Line 3 | 1.35 | 150450 | 150450 | 0 |  | 150450 | 0
9.2 | 3000004079 | GI angles/chennels for drain crossing | MT | 2.5 | 85000 | 7650 | 7650 | 100300 | 250750 | CD Line 3 |  | 250750 | 250750 | 0 |  | 250750 | 0
10.1 | 1000000604 | 48 core FO cable for 132kV UG cable. | kM | 18.5 | 80000 | 7200 | 7200 | 94400 | 1746400 | Auto Nagar Tech.Sanc.Estm.-UG Cab Supply SL.No.- 10.1 to 10.4 |  | 1746400 | 1746400 | 0 |  | 1746400 | 0
10.2 | 3000004080 | HDPE PLB duct 32/26 mm | kM | 18.5 | 60000 | 5400 | 5400 | 70800 | 1309800 |  |  | 1309800 | 1309800 | 0 |  | 1309800 | 0
10.3 | 3000004081 | ST, PC & accessories for OFC connection | Set | 20 | 6000 | 540 | 540 | 7080 | 141600 |  |  | 141600 | 141600 | 0 |  | 141600 | 0
10.4 | 1000000605 | 48 FOAC HW including HDPE pipe | KM | 0.5 | 90000 | 8100 | 8100 | 106200 | 53100 |  |  | 53100 | 53100 | 0 |  | 53100 | 0
C |  | TOTAL OF SUPPLY COMPONENT OF THE WORKS CONTRACT FOR 132 KV UG CABLE LAYING | [6 empty] | 902170987.3973 |  |  | 902170987.3973 | 902170987.3973 | 0 |  | 902170987.3973 | 0

## UG Cable Erection
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS.
PART -II |  | DESCRIPTION OF ITEMS
C | ERECTION, INSTALLATION, TESTING & COMMISSIONING OF 132 KV UG CABLE
SL. No. | Service Code for SAP Estimate | DESCRIPTION OF ITEMS(SCHEDULE-VIIA-Laying of 2 nos. of 132 KV UG Cable ckt. with one spare from 220/132/33kv GSS, Narendrapur to 132/33KV GIS, GSS Chhatrapur ) ERECTION, INSTALLATION, TESTING & COMMISSIONING OF FOLLOWING EQUIPMENT & MATERIALS (As per Technical Specification) | UNIT OF MEASUREMENT | Qty | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @ 9% PER UNIT (INTRA-STATE) | OGST @ 9% PER UNIT (INTRA-STATE) | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE ( In Rs) | REMARKS
1 |  | 2 | 3 | 4 | 5 | 6= (5x9%) | 7= (5x9%) | 8= (5+6+7) | 9= (8x4) |  |  | Auto nagar Price
1.1 | 10000170 | Laying of 132 kV, 1C X 630 mm² Cu cable | RKM | 10 | 572355 | 51511.95 | 51511.95 | 675378.9 | 6753789 | Auto nagar Tech.Sanction SL. No.- 1.1 (scalled for 03 cable run) | Rate*2 tyms | 1144710 | #REF! | 6753789 | 0 |  | 6753789 | 0
1.2 | 10000171 | 132 kV,1C X 630 mm² Cable with HDPE pipe | RKM | 5 | 127190 | 11447.1 | 11447.1 | 150084.2 | 750421 | Auto nagar Tech.Sanction SL. No.- 1.2 (scalled for 03 cable run) |  | 254380 | 3376894.5 | 750421 | 0 |  | 750421 | 0
1.3 | 10000172 | 132 kV, 1C X 630 mm² cable:HDD method | RKM | 3.5 | 3434129.97 | 309071.6973 | 309071.6973 | 4052273.3646 | 14182956.7761 | Auto nagar Tech.Sanction SL. No.- 1.3 (scalled for 03 cable run) |  | 8012969.94 | 2127443.5182 | 14182956.7761 | 0 | 55.5 | 14182956.7761 | 0
1.4 | 10000173 | 132 kV,1C X 630mm² cable with Cantiliver | RKM | 0.5 | 254642.37 | 22917.8133 | 22917.8133 | 300477.9966 | 150238.9983 | Auto nagar Tech.Sanction SL. No.- 1.4 | Rate*2 tyms | 509284.74 | #REF! | 150238.9983 | 0 |  | 150238.9983 | 0
1.5 | 10000174 | 132 kV,1C X 630 mm² SBLR | RKM | 0.5 | 572355 | 51511.95 | 51511.95 | 675378.9 | 337689.45 | Auto nagar Tech.Sanction SL. No.- 1.5 | Rate*2 tyms | 1144710 | #REF! | 337689.45 | 0 |  | 337689.45 | 0
2 | 10000175 | ST Jt kits:132 kV,1C X 630 mm² Cu Cable | NOS | 75 | 38157 | 3434.13 | 3434.13 | 45025.26 | 3376894.5 | Auto nagar Tech.Sanction SL. No.- 2 |  |  | 1180000 | 3376894.5 | 0 |  | 3376894.5 | 0
3 | 10000176 | ST Kit:132 kV,1CX630 mm² cable with LB | NOS | 45 | 40064.8497 | 3605.8365 | 3605.8365 | 47276.5226 | 2127443.5182 | Auto nagar Tech.Sanction SL. No.- 3 |  |  | 661177.6 | 2127443.5182 | 0 |  | 2127443.5182 | 0
4 | 10000177 | Outdoor kit: 132 kV, 1CX630 mm², Cable | NOS | 6 | 47696.2496 | 4292.6625 | 4292.6625 | 56281.5746 | 337689.4473 | Auto nagar Tech.Sanction SL. No.- 4 |  |  |  | 337689.4473 | 0 |  | 337689.4473 | 0
5 | 30000358 | SS Pipe earthing w/o cost of pipe& Flat | SET | 50 | 5723.55 | 515.1195 | 515.1195 | 6753.7889 | 337689.4473 | Auto nagar Tech.Sanction SL. No.- 6 | Rate*7 tyms |  | #REF! | 337689.4473 | 0 |  | 337689.4473 | 0
6 | 10000178 | Link Box, connectors & accessories | LOT | 1 | 1000000 | 90000 | 90000 | 1180000 | 1180000 | LS | Rate*2 tyms |  | #REF! | 1180000 | 0 |  | 1180000 | 0
7 | 10000179 | Erection of 300 sqmm bonding cable | Mtr | 2000 | 280.16 | 25.2144 | 25.2144 | 330.5888 | 661177.6 | Auto nagar Tech.Sanction SL. No.- 8 |  |  | 337689.4473 | 661177.6 | 0 |  | 661177.6 | 0
8.1 | 10000184 | Tubular structure for cable termination | MT | 4 | 7386.14 | 664.7526 | 664.7526 | 8715.6452 | 34862.5808 | RC-TL Pg.No.-25 SL.No.-9(i) |  |  | 483800 | 34862.5808 | 0 |  | 34862.5808 | 0
10.1 | 10000180 | Laying of 48 core fibre optic cable | KM | 10 | 41000 | 3690 | 3690 | 48380 | 483800 | Auto nagar Tech.Sanction SL. No.- 10.1 |  |  |  | 483800 | 0 |  | 483800 | 0
10.2 | 10000181 | Laying of 48C FO through HDD method | KM | 8.5 | 41000 | 3690 | 3690 | 48380 | 411230 | Auto nagar Tech.Sanction SL. No.- 10.2 |  |  |  | 411230 | 0 |  | 411230 | 0
10.3 | 10000182 | Erection of ST Connectors for OFC | SET | 20 | 5000 | 450 | 450 | 5900 | 118000 | Auto nagar Tech.Sanction SL. No.- 10.3 |  |  |  | 118000 | 0 |  | 118000 | 0
10.4 | 10000183 | Erection of end connectors for OFC | KM | 0.5 | 20000 | 1800 | 1800 | 23600 | 11800 | Auto nagar Tech.Sanction SL. No.- 10.4 |  |  |  | 11800 | 0 |  | 11800 | 0
C |  | TOTAL OF ERECTION COMPONENT OF THE WORKS CONTRACT FOR LAYING OF 132 KV UG CABLE | [6 empty] | 31255682.318 |  |  |  |  | 31255682.318 | 0 |  | 31255682.318 | 0
Note on F9: OPTCL: rate x 7times

## UG Cable-Civil
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS.
BID DOCUMENT NO:-
NOTICE INVITING TENDER (NIT) NO:-
SCHEDULE VIIC_CIVIL WORKS PRICE BREAKUP TENDER-----
Bidders Name
DESCRIPTION OF ITEMS
C |  | CIVIL WORKS FOR 132 KV UG CABLING
SL. No. | Service Code for SAP Estimate | DESCRIPTION OF ITEMS(SCHEDULE-VIIC-Laying of 02nos of 132 KV UG Cable ckt. From 220/132/33KV GSS, Narendrapur to 132/33KV GSS,Chhatrapur ) CIVIL WORK COMPONENT OF THE WORKS CONTRACT OF FOLLOWING EQUIPMENTS (As per Technical Specification) | UNIT OF MEASUREMENT | QTY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @ 9% PER UNIT (INTRA-STATE) | OGST @ 9% PER UNIT (INTRA-STATE) | TOTAL UNIT PRICE ( In Rs) | TOTAL PRICE FOR THE TENDER QUANTITY ( In Rs) | REMARKS
1 |  | 2 | 3 | 4 | 5 | 6= (5x9%) | 7= (5x9%) | 8= (5+6+7) | 9= (8x4)
1.2 | 40000259 | Excavation for 132 kV cable laying | CUM | 18500 | 366.54 | 32.9886 | 32.9886 | 432.5172 | 8001568.2 | RC-SS-Pg.No.-61 SlNo.-2.1(i) | 8001568.2 | 8001568.2 | 0 | 8001568.2 | 0
1.3 | 30000060 | Supply&spreading of loose fine riversand | M3 | 7000 | 921.19 | 82.9071 | 82.9071 | 1087.0042 | 7609029.4 | RC-SS-Pg.No.-64 SlNo.-5.2 | 7609029.4 | 7609029.4 | 0 | 7609029.4 | 0
1.4 | 40000250 | Prefabricated RCC partition slab | CUM | 320.63 | 9103.72 | 819.3348 | 819.3348 | 10742.3896 | 3444332.3774 | RC-SS-Pg.No.-63 SlNo.-3.4(i) | 3444332.3774 | 3444332.3774 | 0 | 3444332.3774 | 0
1.5 | 40000315 | Cutting/binding MS rods for cable trench | MT | 22 | 63984.42 | 5758.5978 | 5758.5978 | 75501.6156 | 1661035.5432 | RC-SS-Pg.No.-67 SlNo.-3.5(i) | 1661035.5432 | 1661035.5432 | 0 | 1661035.5432 | 0
1.6 | 40000251 | Breaking of roads for cable laying | CUM | 250 | 4152.24 | 373.7016 | 373.7016 | 4899.6432 | 1224910.8 | Auto nagar Tech.Sanction SL. No.- 1.6 | 1224910.8 | 1224910.8 | 0 | 1224910.8 | 0
1.7 | 40000257 | Reconstructing of Asphalt/Tar road | KM | 3 | 4769624.9623 | 429266.2466 | 429266.2466 | 5628157.4555 | 16884472.3665 | Auto nagar Tech.Sanction SL. No.- 1.7 | 16884472.3665 | 16884472.3665 | 0 | 16884472.3665 | 0
1.9 | 40000258 | Reconstructing of CC road/Footpath | KM | 1 | 1430887.4887 | 128779.874 | 128779.874 | 1688447.2367 | 1688447.2367 | Auto nagar Tech.Sanction SL. No.- 1.9 | 1688447.2367 | 1688447.2367 | 0 | 1688447.2367 | 0
2.1 | 10000169 | 132KV Jointing Bays | NOS | 40 | 143088.75 | 12877.9875 | 12877.9875 | 168844.725 | 6753789 | Auto nagar Tech.Sanction SL. No.- 2.1 | 6753789 | 6753789 | 0 | 6753789 | 0
2.2 | 40000252 | Cantileaver with fdn:132kV cable trmn | NOS | 15 | 230000 | 20700 | 20700 | 271400 | 4071000 | Auto nagar Tech.Sanction SL. No.- 2.2 | 4071000 | 4071000 | 0 | 4071000 | 0
2.3 | 40000253 | Supply & installation of route markers | NOS | 617 | 572.355 | 51.5119 | 51.5119 | 675.3789 | 416708.778 | Auto nagar Tech.Sanction SL. No.- 2.3 | 416708.778 | 416708.778 | 0 | 416708.778 | 0
2.4 | 40000254 | RCC Foundation for 132kV Link Box | NOS | 40 | 9539.2499 | 858.5325 | 858.5325 | 11256.3149 | 450252.5964 | Auto nagar Tech.Sanction SL. No.- 2.4 | 450252.5964 | 450252.5964 | 0 | 450252.5964 | 0
2.5 | 40000255 | Making of earth chamber | NOS | 40 | 2861.775 | 257.5597 | 257.5597 | 3376.8945 | 135075.7789 | Auto nagar Tech.Sanction SL. No.- 2.5 | 135075.7789 | 135075.7789 | 0 | 135075.7789 | 0
3 | 40000256 | Detailed survey for UG cable laying | KM | 18.5 | 23848.1248 | 2146.3312 | 2146.3312 | 28140.7873 | 520604.5646 | Auto nagar Tech.Sanction SL. No.- 3 | 520604.5646 | 520604.5646 | 0 | 520604.5646 | 0
4.1 | 30000010 | Soft/L.Soil-Excavation & BF 1.5mtr in SS | M3 | 35 | 233.97 | 21.0573 | 21.0573 | 276.0846 | 9662.961 | RC-SS-Pg.No.-61 SlNo.-2.1(i) | 9662.961 | 9662.961 | 0 | 9662.961 | 0
4.2 | 30000011 | Hard/D.soil-Excavation & BF 1.5mtr in SS | M3 | 65 | 366.54 | 32.9886 | 32.9886 | 432.5172 | 28113.618 | RC-SS-Pg.No.-61 SlNo.-2.1(ii) | 28113.618 | 28113.618 | 0 | 28113.618 | 0
4.2 | 30000566 | PCC (1:3:6) | M3 | 5 | 6377.44 | 573.9696 | 573.9696 | 7525.3792 | 37626.896 | RC-SS-Pg.No.-63 SL.No.-3.2(i) | 37626.896 | 37626.896 | 0 | 37626.896 | 0
4.3 | 30000570 | RCC(1:1.5:3) | M3 | 52 | 9103.72 | 819.3348 | 819.3348 | 10742.3896 | 558604.2592 | RC-SS-Pg.No.-63 SL.No.-3.4(i) | 558604.2592 | 558604.2592 | 0 | 558604.2592 | 0
4.4 | 30000572 | Reinforcement with supply of steel rod | MT | 2 | 63984.42 | 5758.5978 | 5758.5978 | 75501.6156 | 151003.2312 | RC-SS-Pg.No.-67 SL.No.-3.5(i) | 151003.2312 | 151003.2312 | 0 | 151003.2312 | 0
C |  | TOTAL OF CIVIL COMPONENT OF THE WORKS CONTRACT FOR 132 KV CABLE LAYING |  |  | 44797649.6965 | 4031788.4727 | 4031788.4727 | 52861226.6418 | 53646237.6072 |  | 53646237.6072 | 53646237.6072 | 0 | 53646237.6072 | 0

## Bay Exten-Supply
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS.
B |  | 132 KV BAY EXTENSION EQUIPMENTS / MATERIALS
SL. No. | Material Code for SAP Estimate | DESCRIPTION OF ITEMS(SCHEDULE-VIIA-132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS) SUPPLY OF FOLLOWING EQUIPMENT & MATERIALS (As per Technical Specification) | UOM | Qty | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @ 9% PER UNIT (INTRA-STATE) | OGST @ 9% PER UNIT (INTRA-STATE) | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE FOR THE TENDER QUANTITY
1 |  | 2 | 3 | 4 | 5 | 6= (5x9%) | 7= (5x9%) | 8= (5+6+7) | 9= (8x4)
1 | 1000000050 | 132KV CT 800-400-200/1-1-1-1A 0-2s | Nos | 6 | 232701.42 | 20943.1278 | 20943.1278 | 274587.6756 | 1647526.0536 | CD SS 24 |  | 1647526.0536 | 0 |  |  |  | 1647526.0536 | 0
2 | 1000000087 | 132 KV S/I WITHOUT EARTH SWITCH 1250 A | SET | 2 | 231941.65 | 20874.7485 | 20874.7485 | 273691.147 | 547382.294 | CD SS 11 |  | 547382.294 | 0 |  |  |  | 547382.294 | 0
3 | 1000000377 | 132 KV S/I WITH DOUBLE BREAK SI BEAM MOUNTED OF 2000 AMP | SET | 1 | 267414.29 | 24067.2861 | 24067.2861 | 315548.8622 | 315548.8622 | CD-2025-SL NO.-14 |  | 315548.8622 | 0 |  |  |  | 315548.8622 | 0
4 | 1000000083 | 132 KV D/I WITH SINGLE EARTH SWITCH 1250 A | SET | 2 | 534828.58 | 48134.5722 | 48134.5722 | 631097.7244 | 1262195.4488 | CD SS 12 |  | 1262195.4488 | 0 |  |  |  | 1262195.4488 | 0
5 | 1000000119 | 145 KV, 3 Core, Single Phase IVT | Nos | 6 | 121516.36 | 10936.4724 | 10936.4724 | 143389.3048 | 860335.8288 | CD SS 35 |  | 860335.8288 | 0 |  |  |  | 860335.8288 | 0
6 | 1000000129 | 120KV SURGE ARRESTER & SAS integration | Nos | 6 | 29179.14 | 2626.1226 | 2626.1226 | 34431.3852 | 206588.3112 | CD SS 31 |  | 206588.3112 | 0 |  |  |  | 206588.3112 | 0
7 | 3000000944 | 132 KV Bus Post Insulators | Nos | 6 | 11790.5129 | 1061.1462 | 1061.1462 | 13912.8052 | 83476.8314 | CD |  | 83476.8314 | 0 |  |  |  | 83476.8314 | 0
8 | 1000000602 | 145 kV, 3150A, 40 kA, SF6 CB | Nos | 2 | 571890.4 | 51470.136 | 51470.136 | 674830.672 | 1349661.344 | CD SS 3 |  | 1349661.344 | 0 |  |  |  | 1349661.344 | 0
9 | 3000000932 | 120 KN Antifog Disc Insulators | Nos | 180 | 720.04 | 64.8036 | 64.8036 | 849.6472 | 152936.496 | CD Accessories 54 | 189 | 152936.496 | 0 |  |  |  | 152936.496 | 0
10 | 3000000931 | 90 KN Antifog Disc Insulators | Nos | 85 | 668.53 | 60.1677 | 60.1677 | 788.8654 | 67053.559 | CD Accessories 53 | 85.05 | 67053.559 | 0 |  |  |  | 67053.559 | 0
11 | 1000000018 | ACSR MOOSE CONDUCTOR | KMS | 0.45 | 428317.61 | 38548.5849 | 38548.5849 | 505414.7798 | 227436.6509 | CD Line 19 |  | 227436.6509 | 0 | NARENDRAPUR-main bus & Reserve bus stringing completed by M/s.Sterlite |  |  | 227436.6509 | 0
12 | 1000000017 | ACSR ZEBRA CONDUCTOR | KMS | 0.45 | 363162.06 | 32684.5854 | 32684.5854 | 428531.2308 | 192839.0539 | CD Line 14 |  | 192839.0539 | 0 | CHHATRAPUR-Main & Reserve both in single zebra. |  |  | 192839.0539 | 0
13 | 3000004071 | Clamps & Connectors, Spacers etc for Bus | LOTs | 2 | 300000 | 27000 | 27000 | 354000 | 708000 | MR |  | 708000 | 0 |  |  |  | 708000 | 0
14 | 3000003561 | DANGER BOARD | Nos | 4 | 236.77 | 21.3093 | 21.3093 | 279.3886 | 1117.5544 | CD Line 9 |  | 1117.5544 | 0 |  |  |  | 1117.5544 | 0
15 | 3000000608 | Earth Conductor Earth 75x10 mm GI Flat | KMs | 0.5 | 485636.39 | 43707.2751 | 43707.2751 | 573050.9402 | 286525.4701 | 400KV-SS-28.2 |  | 286525.4701 | 0 | Each bay=30 mtr x 15 mtr.=(5x30)+(6x12)=150+72=222 mtr so 222x10% extra=222+22= 245 Mtr. 245 x 5.89=1.443 MT |  |  | 286525.4701 | 0
16 | 3000000582 | EARTHING:50X6mm GI Flat | KMs | 0.42 | 197882.4 | 17809.416 | 17809.416 | 233501.232 | 98070.5174 | 400KV-SS-28.2 |  | 98070.5174 | 0 | 2390 |  |  | 98070.5174 | 0
17 | 3000000592 | 50 MM GI PERFORATED EARTHING PIPE | Nos | 30 | 2280.98 | 205.2882 | 205.2882 | 2691.5564 | 80746.692 | CD TL-8 |  | 80746.692 | 0 | LA=6,CVT=03,CT=3,brkr.=1,column=2 |  |  | 80746.692 | 0
18 | 3000004072 | UPVC pipes for treated earth pits | LOT | 2 | 25000 | 2250 | 2250 | 29500 | 59000 | Auto nagar |  | 59000 | 0 |  |  |  | 59000 | 0
19 | 3000004065 | G.I Cable Trays(size: 450x75x2500mm) | MTRS | 150 | 744 | 66.96 | 66.96 | 877.92 | 131688 | Auto Nagar Tech Sanction estimate Sl.No.-14.1,14.2,14.3 14.4 & 14.5 |  | 131688 | 0 |  |  |  | 131688 | 0
20 | 3000004066 | G.I Cable Trays(size: 300x75x2500mm) | MTRS | 300 | 595 | 53.55 | 53.55 | 702.1 | 210630 |  |  | 210630 | 0 |  |  |  | 210630 | 0
21 | 3000004067 | G.I Cable Trays(size: 150x75x2500mm) | MTRS | 100 | 447 | 40.23 | 40.23 | 527.46 | 52746 |  |  | 52746 | 0 |  |  |  | 52746 | 0
22 | 3000003565 | Support G. I angle 50x50x6 mm for cable tray | MT | 1.5 | 93451.89 | 8410.6701 | 8410.6701 | 110273.2302 | 165409.8453 |  |  | 165409.8453 | 0 |  |  |  | 165409.8453 | 0
23 | 3000004073 | High Quality ISI mark PVC-U selfit Pipe, PVC elbow bend,PVC Tee etc suitable for under ground burrial (HARD CONDUIT INCLUDING of adequate tensile strength minimum 7kg/sqmm or better) as per TS. | LOT | 2 | 10000 | 900 | 900 | 11800 | 23600 |  |  | 23600 | 0 |  |  |  | 23600 | 0
24 | 3000001306 | BAY MARSHALLING KIOSK | Nos | 2 | 150362.04 | 13532.5836 | 13532.5836 | 177427.2072 | 354854.4144 | CD SS 76 |  | 354854.4144 | 0 |  |  |  | 354854.4144 | 0
25 | 3000001310 | SWITCHYARD AC CONSOLE FOR LIGHTING | Nos | 2 | 54087.06 | 4867.8354 | 4867.8354 | 63822.7308 | 127645.4616 | Auto nagar-SL No.19.1.8 |  | 127645.4616 | 0 |  |  |  | 127645.4616 | 0
26 | 3000000996 | CT Outdoor Console Boxes | Nos | 2 | 45108.48 | 4059.7632 | 4059.7632 | 53228.0064 | 106456.0128 | CD SS 75 |  | 106456.0128 | 0 |  |  |  | 106456.0128 | 0
27 | 3000000992 | IVT Outdoor Console Boxes | Nos | 2 | 45108.48 | 4059.7632 | 4059.7632 | 53228.0064 | 106456.0128 | CD SS 75 |  | 106456.0128 | 0 |  |  |  | 106456.0128 | 0
28 | 3000003395 | T4S - 132 KV(NOMINAL UNIT WT- 1.0 MT) | SET | 1 | 82451 | 7420.59 | 7420.59 | 97292.18 | 97292.18 |  |  | 97292.18 | 0 |  |  |  | 97292.18 | 0
29 | 3000003390 | G1 - 132 KV(NOMINAL UNIT WT- 0.62 MT) | SET | 2.48 | 82451 | 7420.59 | 7420.59 | 97292.18 | 241284.6064 |  |  | 241284.6064 | 0 |  |  |  | 241284.6064 | 0
30 | 3000003392 | G2 - 132 KV(NOMINAL UNIT WT- 0.8 MT) | SET | 1.6 | 82451 | 7420.59 | 7420.59 | 97292.18 | 155667.488 |  |  | 155667.488 | 0 |  |  |  | 155667.488 | 0
31 | 3000003398 | ISOLATORS-132KV (S/I = 0.621 MT),02 Nos. | Nos | 1.242 | 82451 | 7420.59 | 7420.59 | 97292.18 | 120836.8876 |  |  | 120836.8876 | 0 |  |  |  | 120836.8876 | 0
32 | 3000003396 | ISOLATORS-132KV (D/I = 1.2 MT),02 Nos. | Nos | 2.4 | 82451 | 7420.59 | 7420.59 | 97292.18 | 233501.232 |  |  | 233501.232 | 0 |  |  |  | 233501.232 | 0
33 | 3000003397 | CT-132 KV (0.206 MT),06 Nos. | Nos | 1.236 | 82451 | 7420.59 | 7420.59 | 97292.18 | 120253.1345 |  |  | 120253.1345 | 0 |  |  |  | 120253.1345 | 0
34 | 3000003401 | IVT-132 KV (0.225 MT),06 Nos. | Nos | 1.35 | 82451 | 7420.59 | 7420.59 | 97292.18 | 131344.443 |  |  | 131344.443 | 0 |  |  |  | 131344.443 | 0
35 | 3000003400 | Surge Arrester-132 kV (0.172 MT),06 Nos. | Nos | 1.032 | 82451 | 7420.59 | 7420.59 | 97292.18 | 100405.5298 |  |  | 100405.5298 | 0 |  |  |  | 100405.5298 | 0
36 | 3000003403 | BPI-132 KV (0.229 MT),06 Nos. | Nos | 1.374 | 82451 | 7420.59 | 7420.59 | 97292.18 | 133679.4553 |  |  | 133679.4553 | 0 |  |  |  | 133679.4553 | 0
37 | 3000004093 | Total weight of GI Nuts and bolts (incl. foundation bolts) for the above structures | MT | 1 | 102000 | 9180 | 9180 | 120360 | 120360 | CD Line 5 | 0.97 | 120360 | 0 |  |  |  | 120360 | 0
38 | 3000004051 | PVC 3.5C X 35 mm2 | MTRS | 350 | 147.505 | 13.2754 | 13.2754 | 174.0559 | 60919.565 | CD SS 127 |  | 60919.565 | 0 | 100 | 250 | 350 | 60919.565 | 0
39 | 3000004053 | PVC 4CX 6 mm2 | MTRS | 450 | 114.31 | 10.2879 | 10.2879 | 134.8858 | 60698.61 | Auto Nagar-SS-16.1.7 |  | 60698.61 | 0 | 150 | 300 | 450 | 60698.61 | 0
40 | 3000004054 | PVC 2CX 6 mm2 | MTRS | 400 | 114.31 | 10.2879 | 10.2879 | 134.8858 | 53954.32 | Auto Nagar 400KV-SS-16.1.8 |  | 53954.32 | 0 | 150 | 250 | 400 | 53954.32 | 0
41 | 3000004098 | 2 CX 2.5 mm2 | MTRS | 1000 | 78.41 | 7.0569 | 7.0569 | 92.5238 | 92523.8 | CD SS 107 |  | 92523.8 | 0 | 150 | 850 | 1000 | 92523.8 | 0
42 | 3000004056 | 4 CX 2.5 mm2 | MTRS | 2200 | 123.67 | 11.1303 | 11.1303 | 145.9306 | 321047.32 | CD SS 109 |  | 321047.32 | 0 | 700 | 1500 | 2200 | 321047.32 | 0
43 | 3000004058 | 7CX 2.5 mm2 | MTRS | 2250 | 187.2 | 16.848 | 16.848 | 220.896 | 497016 | CD SS 110 |  | 497016 | 0 | 450 | 1800 | 2250 | 497016 | 0
44 | 3000004059 | 10 CX 2.5 mm2 | MTRS | 3000 | 254.41 | 22.8969 | 22.8969 | 300.2038 | 900611.4 | CD SS 111 |  | 900611.4 | 0 | 1000 | 2000 | 3000 | 900611.4 | 0
45 | 3000004061 | 16 CX 2.5 mm2 | MTRS | 1350 | 387.033 | 34.833 | 34.833 | 456.6989 | 616543.569 | CD SS 112 |  | 616543.569 | 0 | 350 | 1000 | 1350 | 616543.569 | 0
46 | 2000000157 | SUB-STATION SWITCH YARD LIGHTING: 150Watt Flood lighting, Includes supply of LED type Fixtures & Lamps of reputed make (Philips/CGL/Bajaj/Havells/Crompton) with switch gear, GI Conduit etc. (Lighting fixtures are to be fixed rigidly on the Column at a suitable height so that the required lux can be achieved. | SET | 20 | 12000 | 1080 | 1080 | 14160 | 283200 | 400KV-SS-19.1 |  | 283200 | 0 |  |  |  | 283200 | 0
47 | 3000001452 | ACDB (Indoor Type) : Arrangemnt with Bus I & II and B/C. HAVING 400A Motorized MCCB for automatic operation in Incomers and Bus couplers with electrical interlock system. With Three Bus sections and Two nos of Bus couplers. Two bus sections shall be connected with two bus sections of the Main ACDB and the 3rd bus section shall be connected to the DG having all emergency loads. The outgoing feeders for the Main ACDB shall be appropriately designed to cater all loads having 20% spares of each rating feeder in each section. The cosntruction of the ACDB shall be as per the TS. The ACDB shall be suitable for automatic switching OFF & ON , auto start of DG set etc during power failure. Facilities for integration with SAS as per the site requirement. | Nos. | 1 | 375905.74 | 33831.5166 | 33831.5166 | 443568.7732 | 443568.7732 | CD SS 78 |  | 443568.7732 | 0 |  |  |  | 443568.7732 | 0
48 | 3000001279 | 132 KV feeder Protection Panel: Feeder-1 & 2 in one panel Numerical Distance protection relay, Backup protection, BCU and other auxiliary relays as per requirement, , 2 Nos of DCCOs. Compliant to IEC 61850-ED-2 protocol with PRP on FO. Power Supply 220V DC. SAS Compliant with the existing system | SET | 2 | 2438385.38 | 219454.6842 | 219454.6842 | 2877294.7484 | 5754589.4968 | CD SS 42 |  | 5754589.4968 | 0 |  |  |  | 5754589.4968 | 0
49 | 2000000246 | BEST QUALITY & APPROVED MAKE INSULATING MAT (Conforming to IS:15652:2006) TO BE KEPT INFRONT OF ALL PANELS, BOARDS ETC.(2000X1000X3) mm Size. Installation as per the direction of Engg-in-charge. | Nos. | 4 | 2500 | 225 | 225 | 2950 | 11800 | 400KV-SS-40 |  | 11800 | 0 |  |  |  | 11800 | 0
B |  | TOTAL OF SUPPLY COMPONENT OF THE WORKS CONTRACT FOR 132 KV BAY EXTENSION | [6 empty] | 19977024.5251 |  |  | 19977024.5251 | 0 |  |  |  | 19977024.5251 | 0

## Bay Exten-Erecn
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS.
PART -II |  | DESCRIPTION OF ITEMS | [8 empty] | 30000115
B |  | ERECTION, INSTALLATION, TESTING & COMMISSIONING OF 132 KV BAY EXTENSION
SL. No. | Service Code for SAP Estimate | DESCRIPTION OF ITEMS(SCHEDULE-VIIB-132 KV BAY EXTENSION- NARENDRAPUR & CHHATRAPUR) ERECTION, INSTALLATION, TESTING & COMMISSIONING OF FOLLOWING EQUIPMENTS (As per Technical Specification) | UNIT OF MEASUREMENT | QUANTITY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @ 9% PER UNIT (INTRA-STATE) | OGST @ 9% PER UNIT (INTRA-STATE) | TOTAL PRICE PER UNIT ( In Rs) | TOTAL PRICE ( In Rs) | Remarks
1 |  | 2 | 3 | 4 | 5 | 6= (5x9%) | 7=(5x9%) | 8=(5+6+7) | 9=(8x4)
1 | 30000121 | 145 KV,800-400-200 A,31.5 KA,4CORE SINGLE PHASE CURRENT TRANSFORMER WITH CLAMPS & CONNECTORS | NOS | 6 | 8057.6 | 725.184 | 725.184 | 9507.968 | 57047.808 | RC-2025 Pg.No.74 SL no.-10.2(f)-i |  | 57047.808 | 57047.808 | 0
2.1 | 30000113 | 132 KV S/I WITH OUT EARTH SWITCH 1250 A | SET | 2 | 14058.83 | 1265.2947 | 1265.2947 | 16589.4194 | 33178.8388 | RC-2025 Pg.No.73 SL no.-10.2(b)-i |  | 33178.8388 | 33178.8388 | 0
| 30000115 | 132 KV WITH DOUBLE BREAK BEAM MOUNTED OF 2000 AMP | SET | 1 | 12590 | 1133.1 | 1133.1 | 14856.2 | 14856.2 | RC-2025 Pg.No.74 SL no.-10.2(c)-i |  |  | 14856.2 | 0
2.3 | 30000119 | 132 KV D/I WITH SINGLE EARTH SWITCH 1250 A | SET | 2 | 24760.35 | 2228.4315 | 2228.4315 | 29217.213 | 58434.426 | RC-2025 Pg.No.74 SL no.-10.2(e)-i |  | 58434.426 | 58434.426 | 0
3 | 30000125 | 145 KV, 3CORE, SINGLE PHASE TRANSFORMER WITH CLAMPS & CONNECTORS | NOS | 6 | 8057.6 | 725.184 | 725.184 | 9507.968 | 57047.808 | RC-2025 Pg.No.74 SL no.-10.2(f)-i |  | 57047.808 | 57047.808 | 0
4 | 30000131 | 120 KV METAL OXIDE SURGE ARRESTOR, 10 KA, Class III WITH CLAMPS & CONNECTORS | NOS | 6 | 4532.4 | 407.916 | 407.916 | 5348.232 | 32089.392 | RC-2025 Pg.No.74 SL no.-10.2(g)-i |  | 32089.392 | 32089.392 | 0
5 | 30000133 | 132 KV Bus Post Insulators | NOS | 6 | 1846.53 | 166.1877 | 166.1877 | 2178.9054 | 13073.4324 | RC-2025 Pg.No.74 SL no.-10.2(h)-i |  | 13073.4324 | 13073.4324 | 0
6 | 30000111 | 145KV,3150A,40KA,SF6,CIRCUIT BREAKER WITH CLAMPS & CONNECTORS INCLUDING STRUCTURE | NOS | 2 | 50360.01 | 4532.4009 | 4532.4009 | 59424.8118 | 118849.6236 | RC-2025 Pg.No.73 SL no.-10.2(a)-i |  | 118849.6236 | 118849.6236 | 0
7.2 | 30000278 | SINGLE ACSR MOOSE CONDUCTOR | MTR | 400 | 184.65 | 16.6185 | 16.6185 | 217.887 | 87154.8 | RC-2025 Pg.No.79 SL no.-14(e)-i |  | 87154.8 | 87154.8 | 0
| 30000280 | TWIN ACSR MOOSE CONDUCTOR | MTR | 50 | 252.05 | 22.6845 | 22.6845 | 297.419 | 14870.95 | RC-2025 Pg.No.79 SL no.-14(f)-i |  | 14870.95 | 14870.95 | 0
7.3 | 30000274 | ACSR ZEBRA CONDUCTOR | MTR | 0.45 | 173.28 | 15.5952 | 15.5952 | 204.4704 | 92.0117 | RC-2025 Pg.No.79 SL no.-14 (c ) - i |  |  | 92.0117 | 0
8 | 30000820 | Danger Board | NOS | 4 | 159.47 | 14.3523 | 14.3523 | 188.1746 | 752.6984 | RC-2025 Pg.No.47 SL no.-11-ii |  | 752.6984 | 752.6984 | 0
9.1 | 30000343 | EARTHING CONDUCTOR FOR BURRIAL : 75X10 mm GI Flat for laying (spacing maximum 5m both way) and for Raiser from the burial earth mat to equipment, structure etc upto the finished level) | MTRS | 500 | 110.27 | 9.9243 | 9.9243 | 130.1186 | 65059.3 | RC-2025 Pg.No.85 SL no.-21.1(vi)-b |  | 65059.3 | 65059.3 | 0
9.2 | 30000354 | EARTHING CONDUCTOR; 50X6 mm Gl Flat for Raiser from the burial earth mat to equipment, structure, building lightning protection etc) | MTRS | 420 | 86.64 | 7.7976 | 7.7976 | 102.2352 | 42938.784 | RC-2025 Pg.No.85 SL no.-21.2(v)-b |  | 42938.784 | 42938.784 | 0
9.3 | 30000358 | EARTHING DEVICE & ASSOCIATED ACCESSORIES (50 mm heavy duty GI PERFORATED PIPE 3 mtrs long for treated earth pit) | NOS | 30 | 2993 | 269.37 | 269.37 | 3531.74 | 105952.2 | RC-2025 Pg.No.85 SL no.-21.3(ii) |  | 105952.2 | 105952.2 | 0
10 | 10000065 | Installation of GI Cable Trays including support GI angle suitable for different sections i.e. Section:1-1,2-2,3-3 & 4-4 along with its accessories as per TS. | Lot | 2 | 50000 | 4500 | 4500 | 59000 | 118000 | MR |  | 118000 | 118000 | 0
11.1 | 10000115 | BAY MARSHALLING KIOSK | NOS | 2 | 3055.17 | 274.9653 | 274.9653 | 3605.1006 | 7210.2012 | Auto Nagar SL No. 11.1 & 2 |  | 7210.2012 | 7210.2012 | 0
11.2 | 10000111 | SWITCHYARD AC CONSOLE FOR LIGHTING | NOS | 2 | 2651.33 | 238.6197 | 238.6197 | 3128.5694 | 6257.1388 |  |  | 6257.1388 | 6257.1388 | 0
11.3 | 10000116 | CT & CVT Out Door Console Boxes (HDG type) | NOS | 4 | 3055.17 | 274.9653 | 274.9653 | 3605.1006 | 14420.4024 | RC-2025 Erecn bay Exten.Pg.No.83 SL no.-18.6 |  | 14420.4024 | 14420.4024 | 0
12.6 | 30000288 | ERECTION OF SUPERSTRUCTURE: Supply of all labour, T&P and Erection of Columns, beam and equipment supporting structure Per MT. | MT | 14.71 | 5828.47 | 524.5623 | 524.5623 | 6877.5946 | 101169.4166 | RC-2025 Erecn bay Exten.Pg.No.25 SL no.-9(i) |  | 101169.4166 | 101169.4166 | 0
13.1.1 | 30000307 | PVC 3.5C X 35 mm2 | MTRS | 350 | 519.83 | 46.7847 | 46.7847 | 613.3994 | 214689.79 | Auto nagar-Bay Exten Erection SL.no.-13.1.1 |  | 214689.79 | 214689.79 | 0
13.1.2 | 30000303 | PVC 4 CX 6 mm2 | MTRS | 450 | 157.53 | 14.1777 | 14.1777 | 185.8854 | 83648.43 | RC-2025 Erecn bay Exten.Pg.No.81 SL no.-17.2(ii) |  | 83648.43 | 83648.43 | 0
13.1.3 | 10000191 | PVC 2CX 6 mm2 | MTRS | 400 | 126.02 | 11.3418 | 11.3418 | 148.7036 | 59481.44 | Auto nagar-Bay Exten Erection SL.no.-13.1.3 |  | 59481.44 | 59481.44 | 0
13.2.1 | 30000291 | 2 CX 2.5 mm2 | MTRS | 1000 | 55.14 | 4.9626 | 4.9626 | 65.0652 | 65065.2 | RC-2025 Erecn bay Exten.Pg.No.81 SL no.-17.1 |  | 65065.2 | 65065.2 | 0
13.2.2 | 30000293 | 4 CX 2.5 mm2 | MTRS | 2200 | 55.14 | 4.9626 | 4.9626 | 65.0652 | 143143.44 |  |  | 143143.44 | 143143.44 | 0
13.2.3 | 30000294 | 7CX 2.5 mm2 | MTRS | 2250 | 55.14 | 4.9626 | 4.9626 | 65.0652 | 146396.7 |  |  | 146396.7 | 146396.7 | 0
13.2.4 | 30000296 | 10 CX 2.5 mm2 | MTRS | 3000 | 63 | 5.67 | 5.67 | 74.34 | 223020 |  |  | 223020 | 223020 | 0
13.2.5 | 30000298 | 16 CX 2.5 mm2 | MTRS | 1350 | 63 | 5.67 | 5.67 | 74.34 | 100359 |  |  | 100359 | 100359 | 0
14.1 | 10000088 | Erection of SUB-STATION SWITCH YARD LIGHTING, 150Watt Flood lighting, IT INCLUDES FIXTURES & LAMPS (LED) of reputed make (Philips/CGL/Bajaj) with switch gear,GI Conduit,flexible copper wires/cable etc.(Lighting fixtures are to be fixed rigidly on the Column at a suitable height so that the required lux can be maintained). | SET | 20 | 2651.53 | 238.6377 | 238.6377 | 3128.8054 | 62576.108 | RC-2025 page-91 SL No.-32.10 |  | 62576.108 | 62576.108 | 0
15 | 10000117 | ACDB for yard kiosk | Nos. | 1 | 10474.88 | 942.7392 | 942.7392 | 12360.3584 | 12360.3584 | RC-2025 page-83 SL No.-18.3 |  |  | 12360.3584 | 0
| 10000168 | Erection of 132KV feeder Protection Panel: Feeder-1 & 2 in one panel Numerical Distance protection relay, BCPU and other auxiliary relays as per requirement compliant to IEC 61850-ED-2 protocol with PRP on FO. Power Supply 220V DC. SAS Compliant with existing system | SET | 2 | 28957.02 | 2606.1318 | 2606.1318 | 34169.2836 | 68338.5672 | RC-2025 page-83 SL No.-18.1(v) |  |  | 68338.5672 | 0
B |  | TOTAL OF ERECTION COMPONENT OF THE WORKS CONTRACT FOR 132 KV BAY EXTENSION | [6 empty] | 2127534.4654 |  |  | 2031887.3282 | 2127534.4654 | 0

## Bay Exten-civil
ODISHA POWER TRANSMISSION CORPORATION LIMITED
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS.
B |  | DESCRIPTION OF ITEMS
CIVIL WORKS FOR 132 KV BAY EXTENSION
SL. No. | Service Code for SAP Estimate | DESCRIPTION OF ITEMS(SCHEDULE-VIIC--132 KV BAY EXTENSION-NARENDRAPUR & CHHATRAPUR CIVIL WORK COMPONENT OF THE WORKS CONTRACT OF FOLLOWING EQUIPMENTS (As per Technical Specification) | UNIT OF MEASUREMENT | QTY | BASIC PRICE PER UNIT (Taxable Value) In Rs | CGST @ 9% PER UNIT (INTRA-STATE) | OGST @ 9% PER UNIT (INTRA-STATE) | TOTAL UNIT PRICE ( In Rs) | TOTAL PRICE FOR THE TENDER QUANTITY ( In Rs)
1 |  | 2 | 3 | 4 | 5 | 6= (5x9%) | 7= (5x9%) | 8= (5+6+7) | 9= (8x4)
1.1 | 30000000 | Contour survey & furnishing contour map | Sq.Mtrs | 1080 | 5.87 | 0.5283 | 0.5283 | 6.9266 | 7480.728 | RC-2025(New) SS,Pg.-59 SL.No.1/1.10 | 7480.728 | 7480.728 | 0 | 1080 | 7480.728 | 0
1.2 | 30000009 | Soft/L.Soil-Excavation & BF 1.5mtr in SS | CUM | 800 | 1170.92 | 105.3828 | 105.3828 | 1381.6856 | 1105348.48 | RC-2025(New) SS, Page 61, SL. NO-1.3(iii) | 1105348.48 | 1105348.48 | 0 | 393.75 | 1105348.48 | 0
2.1 | 40000050 | Anti-weed treatment | Sq.Mtrs | 1080 | 17.84 | 1.6056 | 1.6056 | 21.0512 | 22735.296 | Khalikote sanction Estimate 2024 civil Sl. No. 26 | 22735.296 | 22735.296 | 0 | 480 | 22735.296 | 0
4.1.1 | 30000010 | Soft/L.Soil-Excavation & BF 1.5mtr in SS | CUM | 55 | 187.16 | 16.8444 | 16.8444 | 220.8488 | 12146.684 | RC-2025(New) SS, Page 61, SL. NO-1.2(i) | 12146.684 | 12146.684 | 0 |  | 12146.684 | 0
4.1.2 | 30000011 | Hard/D.soil-Excavation & BF 1.5mtr in SS | CUM | 100 | 296.35 | 26.6715 | 26.6715 | 349.693 | 34969.3 | RC-2025(New) SS, Page 61, SL. NO-1.2(ii) | 34969.3 | 34969.3 | 0 |  | 34969.3 | 0
4.1.3 | 30000013 | Soft/DIRock(NRB)-Excavat&BF1.5mtr in SS | CUM | 50 | 662.88 | 59.6592 | 59.6592 | 782.1984 | 39109.92 | RC-2025(New) SS,Page 61, SL. NO-2.1(iv) | 39109.92 | 39109.92 | 0 |  | 39109.92 | 0
4.2 | 30000023 | M10(1:3:6)with cement and w/o rod for SS | CUM | 10 | 6058.56 | 545.2704 | 545.2704 | 7149.1008 | 71491.008 | RC-2025(New) SS, Page 63, SL. NO-3.2(i) | 71491.008 | 71491.008 | 0 |  | 71491.008 | 0
4.3 | 30000027 | M20(1:1.5:3)with cement & w/o rod for SS | CUM | 135 | 8751.26 | 787.6134 | 787.6134 | 10326.4868 | 1394075.718 | RC-2025(New) SS, Page 63, SL. NO-3.4(i) | 1394075.718 | 1394075.718 | 0 |  | 1394075.718 | 0
4.4 | 40000043 | MS bars for retaining wall | MT | 2 | 63984.42 | 5758.5978 | 5758.5978 | 75501.6156 | 151003.2312 | RC-2025(New) SS, Page 67, SL. NO-3.5(i) | 151003.2312 | 151003.2312 | 0 |  | 151003.2312 | 0
5.1.1 | 40000234 | Construction of section 1-1 cable trench | MTRS | 150 | 17788.46 | 1600.9614 | 1600.9614 | 20990.3828 | 3148557.42 | 400 KV Tech Sanction estimate-SL-4.1.1 | 3148557.42 | 3148557.42 | 0 |  | 3148557.42 | 0
5.1.2 | 40000248 | Construction of section 3-3 cable trench | MTRS | 300 | 12019.23 | 1081.7307 | 1081.7307 | 14182.6914 | 4254807.42 | 400kv-SL-4.1.3 | 4254807.42 | 4254807.42 | 0 |  | 4254807.42 | 0
5.1.3 | 40000249 | Construction of section 4-4 cable trench | MTRS | 100 | 7211.54 | 649.0386 | 649.0386 | 8509.6172 | 850961.72 | 400kv-SL-4.1.4 | 850961.72 | 850961.72 | 0 |  | 850961.72 | 0
6 | 40000029 | PCC (1:3:6) before site surfacing | CUM | 100 | 6058.56 | 545.2704 | 545.2704 | 7149.1008 | 714910.08 | RC-2025,Page-63,SL. NO.8.3(i) | 714910.08 | 714910.08 | 0 | 96 | 714910.08 | 0
7 | 30000059 | Supply & spreading of 20mm hard granite | CUM | 100 | 3316.24 | 298.4616 | 298.4616 | 3913.1632 | 391316.32 | RC-2025,Page-64,SL. NO.5.1 | 391316.32 | 391316.32 | 0 |  | 391316.32 | 0
9 | 40000071 | Storm water drain | MTRS | 100 | 11000 | 990 | 990 | 12980 | 1298000 | 400 KV Tech.sanction estimate SL.No.-11 | 1298000 | 1298000 | 0 |  | 1298000 | 0
10 | 30000879 | Switchyard fencing: Providing and fixin | MTRS | 100 | 6087 | 547.83 | 547.83 | 7182.66 | 718266 | 400 KV Tech.sanction estimate SL.No.-17 | 718266 | 718266 | 0 |  | 718266 | 0
11 | 40000158 | Color coding in Switchyard | LOT | 2 | 100000 | 9000 | 9000 | 118000 | 236000 | LS | 236000 | 236000 | 0 |  | 236000 | 0
13 | 30000574 | Breaking of existing concrete foundation | CUM | 50 | 4152.24 | 373.7016 | 373.7016 | 4899.6432 | 244982.16 | RC-2025 SS-Page No.-63 SL No.3.6 | 244982.16 | 244982.16 | 0 |  | 244982.16 | 0
B |  | TOTAL OF CIVIL COMPONENT OF THE WORKS CONTRACT FOR 132 KV BAY EXTENSION | [6 empty] | 14696161.4852 |  | 14696161.4852 | 14696161.4852 | 0 |  | 14696161.4852 | 0

## Summary
Check Point Threat Extraction Secured This Document
ODISHA POWER TRANSMISSION CORPORATION LIMITED
SUMMARY
NAME OF THE WORK:- ENGINEERING,SUPPLY,ERECTION AND COMMISSIONING OF 132 KV FEEDER BAY EXTENSION EACH AT BOTH THE END OF NARENDRAPUR GSS AND CHHATRAPUR GSS AND 132 KV UNDER GROUND CABLE CONNECTIVITY FROM 220/132/33 KV GSS NARENDRAPUR GRID TO 132/33 KV GSS CHHATRAPUR UNDER DRPS SCHEME ON TURNKEY BASIS.
Sl.No. | Description | Amount (inRs.)
1 | Total Cost of materials (a+b below) | 922148011.9224
a | Supply of 132KV UG Cable laying from Narendrapur to Chhatrapur | 902170987.3973
b | supply of 02 Nos. 132KV AIS Bay Extension at 220/132/33KV GSS, Narendrapur & Chhatrapur | 19977024.5251
2 | Stock,Storage & Insurance(@3% on Sl.No-1) | 27664440.3577
3 | Sub-Total(1+2) | 949812452.2801
4 | Contigency 3% on Sl.No.3 | 28494373.5684
5 | T&P cost @ 2% on Sl.No. 3 | 18996249.0456
6 | Transportation @5% on Sl.No.3 | 47490622.614
7 | Total Supply Cost Sub-Total (Sl. No.3 to Sl. No.6) | 1044793697.5081
8 | Total Electrical + Civil Erection cost (a+b+c+d below) | 101725615.8759
a | Erection (Electrical) of 132KV UG Cable laying from Narendrapur to Chhatrapur | 31255682.318
b | Erection (Civil) of 132KV UG Cable laying from Narendrapur to Chhatrapur | 53646237.6072
c | Erection (Electrical) 02nos 132KV AIS Bay Extension at 220/132/33KV GSS at Narendrapur & 132/33 KV GSS at Chhatrapur | 2127534.4654
d | Erection (Civil) 02nos 132 KV AIS Bay Extension at 220/132/33KV GSS at Narendrapur & 132/33 KV GSS at Chhatrapur | 14696161.4852
10 | Sub-Total (Sl. No.7 + Sl. No.8 ) | 1146519313.384
11 | Inspection fees (132/33KV GIS, GSS & UG cable, other statutory charges) | 150000
12 | TOTAL COST OF SUPPLY, ERECTION AND CIVIL | 1146669313.384
| SAY | 1146669313
Rupees One Hundred Twenty Six Crore Ten Lakh Fourty Four Thousand Nine Hundred Eighty Three only

## Sheet1
CALCULATION SHEET
Sl No. | DESCRIPTION | EXCAVATION |  | PCC |  | RCC |  | STEEL
|  | Diamension | Quantity (in Cum) | Diamension | Quantity (in Cum) | Diamension | Quantity (in Cum) | Diamension | Quantity (in Kg) |  | EXCA | PCC | RCC | STEEL
A | 220 KV
1 | P1S | 6.5x6.5x3.075 | 129.9188 | 6.35x6.35x0.075 | 3.0242 | 6.2x6.2x0.6) + (1X0.7x2.725x4) | 30.694 | (6.6x64x2.47) + (6.6X42X1.58) + (3.675X16X2.47X4) + (5.245X17X0.395X4) | 2203.1287 | 0 | 0 | 0 | 0 | 0
2 | P2A | 4.3x4.3x3.175 | 58.7057 | 4.15x4.15x0.075 | 1.2917 | (4x4x0.6) + (0.7X0.4x2.825x4) | 12.764 | (4.4x27x2X0.889X2) + (3.775X14X1.58X4) + (4.52X18X0.395X4) | 885.0136 | 0 | 0 | 0 | 0 | 0
3 | Isolator set | 1.9x1.9x1.575x6 | 34.1145 | 1.75x1.75x0.075x6 | 1.3781 | (1.6x1.6x0.3x6) + (1.525X0.6X0.6X6) | 7.902 | (1.7X9X2X0.617X2X6) + (2.175X8X6X0.889) + (2.08X10X0.395X6) | 368.67 | 0 | 0 | 0 | 0 | 0
4 | CB | 2.95X2.95X1.575X3 | 41.1193 | 2.8X2.8X0.075X3 | 1.764 | (2.65X2.65X0.3X3) + (1.735X0.7X1.2X3) | 10.6924 | (2.75X14X2X2X0.617X3) + (2.385X12X0.889X3) + (6.8X8X0.395X3) | 425.8475 | 0 | 0 | 0 | 0 | 0
5 | CT | 2.15x2.15x1.575 | 7.2804 | 1.9x1.9x0.075 | 0.27075 | (1.75x1.75X0.3) + (1.525X0.6X0.6X4) | 3.1147 | (9x2X2X1.85)+ (2.175x8x0.889X4) +(2.08x7x0.395X4) | 151.4792 | 0 | 0 | 0 | 0 | 0
6 | CVT | 1.95x1.95x1.575 | 5.9889 | 1.8x1.8x0.075 | 0.243 | (1.65x1.65x0.3) + (1.525X0.6X0.6) | 1.3657 | (1.75x9x0.617X2X2) + (2.175X8x0.889) + (2.08X7X0.395) | 60.0908 | 0 | 0 | 0 | 0 | 0
7 | IVT/PT | 2x2x1.575 | 6.3 | 1.85x1.85x0.075 | 0.25669 | (1.7x1.7x0.3) + (1.525X0.6X0.6) | 1.416 | (1.8x9x2X2x0.617)+ (2.175x8x0.889) + (2.08x7x0.395) | 61.2014 | 0 | 0 | 0 | 0 | 0
8 | LA | 1.95x1.95x1.575 | 5.9889 | 1.8x1.8x0.075 | 0.243 | (1.65x1.65x0.3) + (1.525X0.6X0.6) | 1.3657 | (1.75x9x0.617X2X2) + (2.175X8x0.889) + (2.08X7X0.395) | 60.0908 | 0 | 0 | 0 | 0 | 0
9 | BPI | 1.95x1.95x1.575 | 5.9889 | 1.8x1.8x0.075 | 0.243 | (1.65x1.65x0.3) + (1.525X0.6X0.6) | 1.3657 | (1.75x9x0.617X2X2) + (2.175X8x0.889) + (2.08X7X0.395) | 60.0908 | 0 | 0 | 0 | 0 | 0
B | 132 KV | [9 empty] | 0 | 0 | 0 | 0
1 | T1S | 4x4x1.6 | 25.6 | 3.8x3.8x0.075 | 1.083 | (3.7x3.7x0.3) + (1.575x2.6x2.6) | 14.754 | (3.6x35x2x0.889) + (1.975X8X0.889) + (10.08X7X0.395) + (7.151X7X0.395) | 285.7179 | 0 | 0 | 0 | 0 | 0
2 | T4S | 4x4x1.6 | 25.6 | 3.8x3.8x0.075 | 1.083 | (3.7x3.7x0.3) + (1.575x2.6x2.6) | 14.754 | (3.6x35x2x0.889) + (1.975X8X0.889) + (10.08X7X0.395) + (7.151X7X0.395) | 285.7179 | 1 | 25.6 | 1.083 | 14.754 | 285.7179
3 | SI | 2.6x1.1x1.225x2 | 7.007 | 2.4x0.9x0.075x2 | 0.324 | 0.8x2.3X1.5x2 | 5.52 | (1.45X4X0.889X2) + (2.98X6X0.395X2) | 24.4376 | 2 | 14.014 | 0.648 | 11.04 | 48.8752
4 | DI | 1.8x1.8x1.225x4 | 15.876 | 1.6x1.6x0.075x4 | 0.768 | (1.5x1.5x0.3x4) + (0.7x0.7X1.2x4) | 5.052 | (1.4x4x2x4x0.889) + (1.6x4x4x0.889) + (2.48x6x4x0.395) | 86.096 | 2 | 31.752 | 1.536 | 10.104 | 172.192
5 | CB | 3.6X1.4X2.05 | 10.332 | 3.4X1.2X0.1 | 0.408 | (3.3X1.1X0.45) + (1.95X0.8X0.8X2) + (1.2X0.25X0.25) | 4.2045 | (3.65X17X2X2X0.889) + (2.45X4X2X0.889) + (2.36X10X2X0.395) + (1.6X8X0.889) + (0.68X5X0.395) | 269.4404 | 2 | 20.664 | 0.816 | 8.409 | 538.8808
6 | CT | 1.6x1.6x1.225 | 3.136 | 1.4x1.4x0.075 | 0.147 | 1.3x1.3x1.5 | 2.535 | (1.2x5x2x0.617)+ (1.5x4x0.889) +(4.88x6x0.395) | 27.5676 | 6 | 18.816 | 0.882 | 15.21 | 165.4056
7 | CVT | 1.7X1.7X1.225 | 3.5402 | 1.5X1.5X0.075 | 0.16875 | (1.4X1.4X0.2) + (1.06X1.06X1.3) | 1.8527 | (1.3x5x2x0.617)+ (1.5x4x0.889) +(3.92x6x0.395) | 26.1814 | 0 | 0 | 0 | 0 | 0
8 | IVT/PT | 1.7x1.7x1.225 | 3.5402 | 1.5x1.5x0.075 | 0.16875 | 1.4x1.4x1.5 | 2.94 | (1.3x5x2x0.617)+ (1.5x4x0.889) +(5.28x6x0.395) | 29.4046 | 6 | 21.2415 | 1.0125 | 17.64 | 176.4276
9 | LA | 1.6x1.6x1.225 | 3.136 | 1.4x1.4x0.075 | 0.147 | 1.3x1.3x1.5 | 2.535 | (1.5x4x0.889) + (4.88x6x0.395) | 16.8996 | 6 | 18.816 | 0.882 | 15.21 | 101.3976
10 | BPI | 1.65x1.65x1.225 | 3.3351 | 1.45x1.45x0.075 | 0.15769 | 1.35x1.35x1.5 | 2.7338 | (1.5x4x0.889) + (5.08x6x0.395) | 17.3736 | 6 | 20.0104 | 0.94613 | 16.4025 | 104.2416
11 | WT | 1.7X1.7X1.225 | 3.5402 | 1.5X1.5X0.075 | 0.16875 | (1.4X1.4X0.2) + (1.06X1.06X1.31) | 1.8639 | (1.3X5X2X0.617) + (1.5X4X0.889) + (3.92X6X0.395) | 22.6454 | 0 | 0 | 0 | 0 | 0
C | 33 KV | [9 empty] | 0 | 0 | 0 | 0
1 | T8S | 4.3X4.3X2.575 | 47.6118 | 4.15X4.15X*0.075 | 1.2917 | (4X4X0.5) + (2.325X0.55X0.55X4) | 10.8133 | (4.3x27x2x0.889) + (4.3X21X0.889X2) + (3.175X2.46X4X4) + (3.175X1.58X4X4) + (4.6X15X0.395X4) | 681.2312 | 0 | 0 | 0 | 0 | 0
2 | T9S | 4.3X4.3X2.575 | 47.6118 | 4.15X4.15X*0.075 | 1.2917 | (4X4X0.5) + (2.325X0.55X0.55X4) | 10.8133 | (4.3x27x2x0.889) + (4.3X21X0.889X2) + (3.175X2.46X4X4) + (3.175X1.58X4X4) + (4.6X15X0.395X4) | 681.2312 | 0 | 0 | 0 | 0 | 0
3 | SI | 2.2x1.0x1.25x2 | 5.5 | 2.0x0.8x0.075x2 | 0.24 | (1.9x0.7x0.3x2) + (1.25X0.7X1.2X2) | 2.898 | (1.5X4X0.889X2) + (3.58X6X0.395X2) | 27.6372 | 0 | 0 | 0 | 0 | 0
4 | DI | 1.5x1.5x1.05X4 | 9.45 | 1.3x1.3x0.075x4 | 0.507 | (1.2x1.2x0.3x4) + (0.7x0.7X1.0x4) | 3.688 | (1.1x4x2x0.889X4) + (1.3x4x0.889X4) + (2.48x5X0.395X4) | 73.2944 | 0 | 0 | 0 | 0 | 0
5 | VCB | 2.0X2.0X1.575 | 6.3 | 1.85X1.85X0.075 | 0.25669 | (1.7X1.7X0.3) + (2.097X0.8X0.3X2) | 1.8736 | (1.8X9X2X2X0.617) + (2.747X8X0.889X2) + (2.39X9X0.395X2) | 95.9483 | 0 | 0 | 0 | 0 | 0
6 | CT | 1.65x1.65x1.575 | 4.2879 | 1.5x1.5x0.075 | 0.16875 | (1.35X1.35X0.3) + (1.525X0.5X0.5) | 0.928 | (1.45x7x2X0.617X2)+ (2.175X8x0.889) + (1.68x10x0.395) | 47.1548 | 0 | 0 | 0 | 0 | 0
7 | IVT/PT | 1.65x1.65x1.575 | 4.2879 | 1.5x1.5x0.075 | 0.16875 | (1.35X1.35X0.3) + (1.525X0.5X0.5) | 0.928 | (1.45x7x2X0.617X2)+ (2.175X8x0.889) + (1.68x10x0.395) | 47.1548 | 0 | 0 | 0 | 0 | 0
8 | BPI | 1.55x1.55x1.575 | 3.7839 | 1.4x1.4x0.075 | 0.147 | (1.25x1.25x0.3) + (1.525X0.5X0.5) | 0.85 | (1.35x7x0.617X2X2) + (2.175X8X0.889) + (2.08X10X0.395) | 47.0072 | 0 | 0 | 0 | 0 | 0
9 | NCT | 1.5X1.5x1.25 | 2.8125 | 1.35X1.35X0.075 | 0.13669 | 1.2X1.2X1.5 | 2.16 | (1.1X5X2X0.617) + (1.5X4X0.889) + (4.48X6X0.395) | 22.7386 | 0 | 0 | 0 | 0 | 0
| BMK | 0.75X0.55X1.075X2 | 0.88687 | 0.55X0.35X0.075X2 | 0.028875 | 1.1X0.45X0.25X2 | 0.2475 | (1X4X0.617X2) + (1.08X6X0.395X2) | 10.0552 | 2 | 1.7737 | 0.05775 | 0.495 | 20.1104
| AC CONSOLE | 0.75X0.55X1.075X2 | 0.88687 | 0.55X0.35X0.075X2 | 0.028875 | 1.1X0.45X0.25X2 | 0.2475 | (1X4X0.617X2) + (1.08X6X0.395X2) | 10.0552 | 2 | 1.7737 | 0.05775 | 0.495 | 20.1104
| REC BOARD | 0.75X0.55X1.075X2 | 0.88687 | 0.55X0.35X0.075X2 | 0.028875 | 1.1X0.45X0.25X2 | 0.2475 | (1X4X0.617X2) + (1.08X6X0.395X2) | 10.0552 | 2 | 1.7737 | 0.05775 | 0.495 | 20.1104
22 | [9 empty] | TOTAL | 170.9139 | 7.9789 | 110.2545 | 1653.4695
[10 empty] | 20% extra | 205.0967 | 9.5747 | 132.3054 | 1984.1634
1.9842