## Narendrapur- Chhatrapur
COST BENEFIT ANALYSIS
A. BENEFITS DUE TO SALE OF ENERGY ON ACCOUNT OF INSTALLATION OF 132KV S/C UG CABLING FROM GSS NARENDRAPUR TO GSS CHHATRAPUR WITH ONE NUMBER OF 132KV BAY EXTENSION AT BOTH ENDS, NARENDRAPUR & CHHATRAPUR. |  |  | Remarks
1 | Anticipated additional power flow (in MW) | 21.5 | 1.43 Diversity Factor
2 | Diversity factor (DF=1.43 due to normal feeder) | 1.43
3 | Load factor (LF = 0.60 due to normal feeder) | 0.6 | 8760 = 24*365
4 | Additional avg. power available for sale on account of establishment of new132kV S/C UG Cabling from 220/132/33kV Grid S/S,Narendrapur to 132/33kV Grid S/S,Chhatrapur with one number of 132KV bay extension at both ends, Narendrapur & Chhatrapur. | 9.021 | 3% T.L is approved for FY 25-26
5 | Additional energy available for sale in LU | 790.2378 | Wheeling Cost 0.255/Unit
6 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 766.5306
7 | Anticipated revenue at a cost of Rs.0.24/ Unit in Lakhs | 183.9674 | From Load Flow Analysis
B. BENEFITS OF THE SCHEME DUE TO REDUCTION IN LOSSES
1 | Total losses before implementation of the scheme in MW | 1091.9734
2 | Total losses after implementation of the scheme in MW | 1090.1238
3 | Total reduction in losses in MW | 1.8497
4 | Load factor | 0.6
5 | Loss load factor (0.8 LF2 + 0.2 LF) | 0.408
6 | The energy available for sale per year in LU | 66.1081
7 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 64.1249
8 | Anticipated revenue due to reduction in losses in lakhs @ Rs. 0.24/ Unit | 15.39
C. CALCULATION OF REVENUE RETURN
1 | Anticipated revenue due to reduction in losses [Rs. lakh] | 15.39
2 | Anticipated revenue due to sale of additional energy [Rs. lakh] | 183.9674
3 | Total anticipated annual revenue [Rs. Cr.] | 1.9936
4 | Total estimated project cost [Rs. Cr.] | 114.67
5 | Average Annual Rate of Return in % | 1.7385

## NPV & IRR
Calculation of NPV and IRR : 132KV UG Cabling from 220/132/33KV GSS Narendrapur to 132/33KV GSS Chhatrapur with one number of 132KV bay extension at both ensd, Narendrapur & Chhatrapur.
CoC (%) = | No Loan | x | 0 | + | No Equity | x | 0 | = | 0 |  |  | RoI on Loan P.a |  |  | = | 0 | IRR can't be computed due to 100% Grant. | [8 empty] | (Rs. in Crores)
Particulars | Constuction Period | [36 empty] | Total
Financial Year | 1 | 2 |  | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
Cash Inflow (CI)
Govt Grant 100% | 45.86 | 68.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 114.66
Loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0
Revenue | 0 | 0 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 69.7751
Salvage Value | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | 11.466 | 11.466
Total (CI) - (A) | 45.86 | 68.8 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 1.9936 | 13.4596 | 195.9011
Cash Outflow (CO)
CWIP | 45.86 | 68.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 114.66
IDC | 0 | 0 | 0 | 4: 0; 9: 0; 10: 0; 11: 0; 12: 0; 13: 0; 14: 0; 15: 0; 16: 0; 17: 0; 18: 0; 19: 0; 20: 0; 21: 0; 22: 0; 23: 0; 24: 0; 25: 0; 26: 0; 27: 0 | 0
Loan Repayment | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0
Interest on Loan | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0
O&M exp. @3.0 % | 0 | 0 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 120.4
Total (CO) - (B) | 45.86 | 68.8 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 3.44 | 235.06
Net Cash Inflow (B-A) | 0 | 0 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | -1.4464 | 10.0196 | -39.1589
DF @ CoC | 1 | 1 | 1 | bar: 4 to 37
Net Present value(NPV) | 0 | 0 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | 10.02 | -39.28
NPV at IRR | 0 | 0 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | -1.45 | 10.02 | -39.28
* CoC - Cost of Capital
IDC- Interest During Construction
CWIP- Capital Work in Progress
DF- Discounting Factor
IRR- Internal Rate of Return
ARR- Average Annual Rate of Return

## Expenditure
| Expenditure in Crores: | 114.67
| Year: | 2026-27 | 2027-28
| % of Expenditure: | 40% | 60%
| Year wise expenditure: | 45.868 | 68.802
Grant | 100% | 45.868 | 68.802
Total |  | 45.868 | 68.802