## ARR HTLS
COST BENEFIT ANALYSIS
A. BENEFITS DUE TO SALE OF ENERGY ON ACCOUNT OF DISMANTLING OF ACSR PANTHER CONDUCTOR AND STRINGING OF AAAC HTLS CONDUCTOR (ACSR PANTHER EQUIVALENT) IN 132KV BURLA PH-KATAPALI CKT-I & II, UNDER EHT (O&M) DIVISION, BURLA. • 132KV BURLA PH-KATAPALI CKT-I FROM LOC. NO. 1 TO LOC. NO.9 INCLUDING LILO-01 TO LILO-36- 10.995 RKM • 132KV BURLA PH-KATAPALI CKT-II FROM LOC. NO. 1A TO LOC. NO.20A INCLUDING LILO-01 TO LILO-09- 6.831 RKM |  |  | Remarks
1 | Additional Power available for sale on account of Dismantling of ACSR Panther Conductor and Stringing Of AAAC HTLS Conductor (ACSR Panther Equivalent) in 132 kV Burla PH-Katapali Ckt-I & II, under EHT (O&M) Division, Burla in MW. | 14 | 0.9 : Power Factor 0.7 Diversity Factor
2 | Load factor | 0.6 |  | IRR% | Power Flow in MW
3 | Additional energy available for sale in LU | 735.84 | 8760 = 24*365 | 46.15 | Power 40MW
4 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | 713.7648 | 3% T.L is approved for FY 20-21 | 503 | Power 146.912MW
5 | Anticipated revenue at a cost of Rs.0.24/ Unit in Lakhs | 171.3036 | Wheeling Cost 0.24/Unit | 11.0168 | Power 20MW
B. BENEFITS OF THE SCHEME DUE TO REDUCTION IN LOSSES
1 | Total losses before implementation of the scheme in MW | 1178.798 | From Load Flow Analysis
2 | Total losses after implementation of the scheme in MW | 1178.921
3 | Total reduction in losses in MW | -0.123
4 | Load factor | 0.6
5 | Loss load factor (0.8 LF2 + 0.2 LF) | 0.408
6 | The energy available for sale per year in LU | -4.3961
7 | With 3% transmission losses in the Grid, the energy available for sale per annum in LU | -4.2642
8 | Anticipated revenue due to reduction in losses in lakhs @ Rs. 0.24/Unit | -1.02
C. CALCULATION OF REVENUE RETURN
1 | Anticipated revenue due to reduction in losses [Rs.] | -1.02
2 | Anticipated revenue due to sale of additional energy [Rs.] | 171.3036
3 | Total anticipated annual revenue [Rs. Cr.] | 1.7028
4 | Estimated Cost [In Cr.] | 13.8987
5 | Average Annual Rate of Return in % | 12.2518
6 | IRR | 15.92%

## IRR HTLS
Calculation of NPV and IRR: For DISMANTLING OF ACSR PANTHER CONDUCTOR AND STRINGING OF AAAC HTLS CONDUCTOR (ACSR PANTHER EQUIVALENT) IN 132KV BURLA PH-KATAPALI CKT-I & II, UNDER EHT (O&M) DIVISION, BURLA.
CoC (%) = | 70% | x | 8.03 | + | 30% | x | 15.5 | = | 6.58 |  | RoI on Loan P.a |  |  | = | 7.75 |  | IRR = | 15.92% | [16 empty] | Rs in Lakhs
Particulars | Constuction Period |  | Benefits Period | [34 empty] | Total
Financial Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
Cash Inflow (CI)
Equity | 2.92 | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.17
Loan(Principal) | 6.81 | 2.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.73
Loan (Interest) | 0.55 | 0.78 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.33
Revenue | 0 | 0 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 59.5992
Salvage Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.523 | 1.523
Total (CI) - (A) | 10.28 | 4.95 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 1.7028 | 3.2258 | 76.3522
Cash Outflow (CO)
CWIP | 9.73 | 4.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.9
IDC | 0.55 | 0.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.33
Loan Repayment | 0 | 0 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.06
Interest on Loan | 0 | 0 | 0.85 | 0.78 | 0.7 | 0.63 | 0.56 | 0.48 | 0.41 | 0.33 | 0.26 | 0.19 | 0.11 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.34
R&M exp. @ 3 % PC | 0 | 0 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 16.1
Total (CO) - (B) | 10.28 | 4.95 | 2.2317 | 2.1617 | 2.0817 | 2.0117 | 1.9417 | 1.8617 | 1.7917 | 1.7117 | 1.6417 | 1.5717 | 1.4917 | 1.4217 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 47.73
Net Cash Inflow (A-B) | 0 | 0 | -0.52883 | -0.45883 | -0.37883 | -0.30883 | -0.23883 | -0.15883 | -0.088831 | -0.0088311 | 0.061169 | 0.13117 | 0.21117 | 0.28117 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 2.7658 | 28.6222
DF @ CoC | 1 | 0.938 | 0.88 | 0.826 | 0.775 | 0.727 | 0.682 | 0.64 | 0.601 | 0.564 | 0.529 | 0.496 | 0.465 | 0.437 | 0.41 | 0.384 | 0.361 | 0.338 | 0.318 | 0.298 | 0.28 | 0.262 | 0.246 | 0.231 | 0.217 | 0.203 | 0.191 | 0.179 | 0.168 | 0.158 | 0.148 | 0.139 | 0.13 | 0.122 | 0.115 | 0.107 | 0.101 | 14.666
Net Present value(NPV) | 0 | 0 | -0.47 | -0.38 | -0.29 | -0.22 | -0.16 | -0.1 | -0.05 | 0 | 0.03 | 0.07 | 0.1 | 0.12 | 0.51 | 0.48 | 0.45 | 0.42 | 0.4 | 0.37 | 0.35 | 0.33 | 0.31 | 0.29 | 0.27 | 0.25 | 0.24 | 0.22 | 0.21 | 0.2 | 0.18 | 0.17 | 0.16 | 0.15 | 0.14 | 0.13 | 0.28 | 5.16
NPV at IRR | 0 | 0 | -0.39 | -0.29 | -0.21 | -0.15 | -0.1 | -0.06 | -0.03 | 0 | 0.01 | 0.03 | 0.04 | 0.04 | 0.16 | 0.14 | 0.12 | 0.1 | 0.09 | 0.07 | 0.06 | 0.06 | 0.05 | 0.04 | 0.04 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
**
CoC - Cost of Capital
IDC- Interest During Construction
CWIP- Capital Work in Progress
DF- Discounting Factor
IRR- Internal Rate of Return
ARR- Average Annual Rate of Return
Opening Balance |  |  | 11.06 | 10.1383 | 9.2167 | 8.295 | 7.3733 | 6.4517 | 5.53 | 4.6083 | 3.6867 | 2.765 | 1.8433 | 0.92167
Repayment |  |  | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167 | 0.92167
Closing Balance |  |  | 10.1383 | 9.2167 | 8.295 | 7.3733 | 6.4517 | 5.53 | 4.6083 | 3.6867 | 2.765 | 1.8433 | 0.92167 | -1.5543e-15
Agerage Loan |  |  | 10.5992 | 9.6775 | 8.7558 | 7.8342 | 6.9125 | 5.9908 | 5.0692 | 4.1475 | 3.2258 | 2.3042 | 1.3825 | 0.46083
Interest |  |  | 0.85111 | 0.7771 | 0.70309 | 0.62908 | 0.55507 | 0.48106 | 0.40705 | 0.33304 | 0.25903 | 0.18502 | 0.11101 | 0.037005
|  |  | -0.0011131 | 0.0028968 | -0.0030934 | 0.00091642 | 0.0049263 | -0.0010639 | 0.0029459 | -0.0030442 | 0.00096558 | 0.0049754 | -0.0010147 | 0.0029951

## Data
| Expenditure in Lakhs: | 13.8987
| Year: | 2026 | 2027 | 2026
| % of Expenditure: | 70% | 30% | 0%
| Year wise expenditure: | 9.7291 | 4.1696 | 0 | 13.8987
Loan | 70% | 6.81 | 2.92 | 0
Equity | 30% | 2.92 | 1.25 | 0
Total | 100% | 9.73 | 4.17 | 0