TECHNICAL REPORT ON SUB-STATION ISOLATOR   UPGRADATION PROJECT

Phase–I of the State Transmission Asset Management System (STAMS) is in the final stage of implementation, with IT/Telecom infrastructure such as communication panels, VMS, and RAS commissioned at 187 Grid Substations (GSSs). To fully leverage STAMS, upgradation of non-SAS compliant substations along with modernization of primary switchyard equipment is essential.

Accordingly, a DPR has been prepared for the “Substation Primary Equipment Upgradation Scheme” covering 99 GSSs and Switching Stations, including replacement of obsolete and under-rated equipment such as Circuit Breakers, Isolators, CTs, CVTs, LAs, auxiliary systems, and cables.

Subsequently, as a cost-optimization measure, it has been decided to replace only Motorized Operating Mechanism (MOM) boxes of isolators instead of complete isolator replacement. However, considering potential damage to critical components of isolator components, 5% of the total initial isolator requirement to be procured as complete units, while the balance shall be addressed through MOM box retrofitting.

Accordingly, a separate estimate amounting to ₹30.41 Crore has been prepared segregating only the isolator requirement for procurement and installation/retrofitting of isolators and MOM boxes. The procurement shall be executed through open tender by CPC, funded through OPTCL’s own resources.

The scheme will enable seamless integration with centralized control centres under STAMS, facilitating remote operation, improved asset management, and enhanced reliability and automation of the transmission network. The estimate is based on OPTCL Cost Data for FY 2024–25 and prevailing market rates where applicable.

Chief General Manager (O&M),OPTCL