## 1. SUMMARY
S U M M A R Y | SUMMARY
Replacement/ Upgradation of Old Isolators and Mechanism Boxes in Exisiting Grid Substations of OPTCL
Sl.No. | Description | Amount (In INR)
1 | Total Cost of materials | 265048152.2683
2 | Stock,Storage & Insurance(@3% on Sl.No-1 | 7951444.568
3 | Sub-Total(1+2) | 272999596.8364
4 | Contigency 3% on Sl.No.3 | 8189987.9051
5 | Transportation @5% on Sl.No.3 | 13649979.8418
| T&P @ 2% on Sl No 03 | 5459991.9367
6 | TOTAL of ELECTRICAL WORKS (Erection Chages) | 2718548.48
7 | TOTAL of Civil Works (Erection Chages) | 1086469.58
8 | Sub-Total (3 to 7) = | 304104574.58
9 | TOTAL COST OF PROJECT | 304104575
| Total Cost In Rupees | 304104575
Rupees (Thirty Crore Fourty One Lakhs Four Thousand Five Hundred Seventy Five ) Only.

## 2. Supply
ODISHA POWER TRANSMISSION CORPORATION LIMITED
(SUPPLY SUB-STATION) |  |  | NAME OF THE WORK:- Replacement/ Upgradation of Old Isolators and Mechanism Boxes in Exisiting Grid Substations of OPTCL
Supply of Isolator & Mechanism Boxes for OPTCL Grid Substaions/ Switching Stations: 1- Supply of different types of isolators 2- Supply of Isolator & Earth S/W Mechanism Boxes for replacement of Old existing Boxes 3-Supply of Tubular & Lattice Isolator Structure
Sl. No. | SUBSTATION EQUIPMENT UPGRADATION SCHEME |  | Quantity | RUPEES IN INR |  |  |  |  | PRICE REFERENCE
| DESCRIPTION OF ITEMS SUPPLY OF FOLLOWING EQUIPMENT & MATERIALS (As per Technical Specification) | UNITS |  | UNIT PRICE | PRICE (with Price Escallation of 5%/Per year on Original Unit price) | TOTAL PRICE
TOTAL FORD Price except Entry Tax IN INR
1 | 2 | 3 | 4 | 5 | 6 | 7=4X6 | 16=4X15 |  | 8
1 | Switchgear Items
1.1 | 400 KV SI DBR WITH ONE E/S ELECTRICALLY GANGED (3150 A, 63 kA) | SET | 4 | 1148695.27 | 1539361.52 | 6157446.08 |  |  | Unit Price As per LOA Order No-SGM-CPC-I-Tender(125MVAR Bus reactor-PKG03/2019-20)-15/2019/338 Dtd 29/01/2020 of Sr.GM(CPC) for Supply Erection & Commissioning of 1X125MVAR 420KV Bus reactor at Mendhasal, Meramundali & New Duburi on Turnkey Basis.
1.2 | 220 KV SI DBR WITH ONE E/S MECHANICALLY GANGED (2000 A, 50 kA) | SET | 4 | 775865.96 | 814659.258 | 3258637.032 | #REF! |  | COST DATA 2024-25 OF OPTCL
1.3 | 220 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 50 kA) | SET | 8 | 596680.16 | 626514.168 | 5012113.344 | #REF! |  | COST DATA 2024-25 OF OPTCL
1.4 | 220 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 50 kA) - TANDEM ISOLATOR | SET | 2 | 633063.08 | 664716.234 | 1329432.468 | #REF! | 1 reactor | COST DATA 2024-25 OF OPTCL
1.5 | 220 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 50 kA) - BEAM MOUNTED ISOLATOR | SET | 1 | 633063.08 | 664716.234 | 664716.234 | #REF! |  | COST DATA 2024-25 OF OPTCL
1.6 | 220 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 50 kA) - BEAM MOUNTED ISOLATOR | SET | 1 | 833063.08 | 874716.234 | 874716.234 | #REF! |  | COST DATA 2024-25 OF OPTCL
1.7 | 220 KV DI DBR WITH E/S MECHANICALLY GANGED (2000 A, 50 kA) - BEAM MOUNTED ISOLATOR | SET | 0 |  |  | 0 | #REF!
1.8 | 132 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 40 kA) | SET | 1 | 275163.68 | 288921.864 | 288921.864 | #REF! |  | COST DATA 2024-25 OF OPTCL
1.9 | 132 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 40 kA) | SET | 12 | 231941.65 | 243538.7325 | 2922464.79 |  |  | COST DATA 2024-25 OF OPTCL
2 | 132 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 40 kA) - BEAM MOUNTED | SET | 2 | 267414.29 | 280785.0045 | 561570.009 |  |  | COST DATA 2024-25 OF OPTCL
2.1 | 132 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 40 kA) - BEAM MOUNTED | SET | 1 | 317414.29 | 333285.0045 | 333285.0045 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.2 | 132 KV DI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 40 kA) | SET | 4 | 431137.45 | 452694.3225 | 1810777.29 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.3 | 132 KV DI DBR WITH E/S MECHANICALLY GANGED (2000 A, 40 kA) | SET | 5 | 534828.58 | 561570.009 | 2807850.045 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.4 | 33 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | SET | 1 | 163696.64 | 171881.472 | 171881.472 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.5 | 33 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | SET | 17 | 113696.64 | 119381.472 | 2029485.024 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.6 | 33 KV SI DBR WITHOUT E/S MECHANICALLY GANGED ((2000 A, 31.5 kA) - BEAM MOUNTED | SET | 2 | 113696.13 | 119380.9365 | 238761.873 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.7 | 33 KV SI DBR WITH E/S MECHANICALLY GANGED ((2000 A, 31.5 kA) - BEAM MOUNTED | SET | 0 | 163696.13 | 171880.9365 | 0 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.8 | 33 KV DI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | SET | 4 | 213749.17 | 224436.6285 | 897746.514 | #REF! |  | COST DATA 2024-25 OF OPTCL
2.9 | 33 KV DI DBR WITH E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | SET | 10 | 276510.02 | 290335.521 | 2903355.21 | #REF! |  | COST DATA 2024-25 OF OPTCL
3 | Isolator MOM Box-400 KV | NOS | 71 | 64198.12 | 67408.026 | 4785969.846 |  |  | COST DATA 2024-25 OF OPTCL
3.1 | Isolator MOM Box-220 KV | NOS | 340 | 64198.12 | 67408.026 | 22918728.84 |  |  | COST DATA 2024-25 OF OPTCL
3.2 | Isolator MOM Box-132 KV | NOS | 762 | 64198.12 | 67408.026 | 51364915.812 |  |  | COST DATA 2024-25 OF OPTCL
3.3 | Isolator MOM Box-33 KV | NOS | 1040 | 64198.12 | 67408.026 | 70104347.04 |  |  | COST DATA 2024-25 OF OPTCL
3.4 | Earth switch MOM Box-400 KV | NOS | 71 | 64198.12 | 67408.026 | 4785969.846 |  |  | COST DATA 2024-25 OF OPTCL
3.5 | Earth switch MOM Box-220 KV | NOS | 139 | 64198.12 | 67408.026 | 9369715.614 |  |  | COST DATA 2024-25 OF OPTCL
3.6 | Earth switch MOM Box-132 KV | NOS | 258 | 64198.12 | 67408.026 | 17391270.708 |  |  | COST DATA 2024-25 OF OPTCL
3.7 | Earth switch MOM Box-33 KV (Without Motorised) | NOS | 338 | 30000 | 30000 | 10140000 |  |  | MARKET PRICE
3.8 | Isolator Tubular Support Structure-400 KV | NOS | 4 | 360000 | 360000 | 1440000 |  |  | MARKET PRICE
3.9 | Isolator Tubular Support Structure-220 KV | NOS | 0 | 203000 | 203000 | 0 |  |  | MARKET PRICE
4 | Isolator Tubular Support Structure-220 KV (For Tandem Isolator) | NOS | 0 | 225000 | 225000 | 0 |  |  | MARKET PRICE
4.1 | Isolator Lattice Type Support Structure-132 KV SI | NOS | 0 | 98000 | 98000 | 0 | #REF! |  | MARKET PRICE
4.2 | Isolator Lattice Type Support Structure-132 KV DI | NOS | 0 | 195000 | 195000 | 0 | #REF! |  | MARKET PRICE
4.3 | Isolator Lattice Type Support Structure-33 KV SI | NOS | 1 | 53000 | 53000 | 53000 | #REF! |  | MARKET PRICE
4.4 | Isolator Lattice Type Support Structure-33 KV DI | NOS | 0 | 105000 | 105000 | 0 | #REF! |  | MARKET PRICE
A | TOTAL COST OF SUPPLY |  |  |  |  | 224617078.1935 | #REF!
TOTAL SUPPLY | [5 empty] | 224617078.1935
SGST (9%) | [5 empty] | 20215537.0374
CGST (9%) | [5 empty] | 20215537.0374
TOTAL PROJECT SUPPLY PRICE INCLUDING TAXES | [5 empty] | 265048152.2683
Note on F10: OPTCL: Taking 5% Escalation price/per Year on Unit price for 6 Years (2020 to 2026)
Note on E15: OPTCL: Rs 2,00,000 enchanced to that of Item Sl No.1.5 taking into additional cost of Earth Switch
Note on E20: OPTCL: Rs 50,000 Enchaced to Item No 2.0 taking into account the additional cost of Earth Switch
Note on E23: OPTCL: Rs 50,000 enchanced to Item Sl No.2.5 taking into additional cost of Earth Switch
Note on E26: OPTCL: Rs 50,000 enchanced to Item Sl No.2.6 taking into additional cost of Earth Switch

## 3. Erection Equipment
ODISHA POWER TRANSMISSION CORPORATION LIMITED
(ERECTION SUB-STATION) |  |  | NAME OF THE WORK:- Replacement/ Upgradation of Old Isolators and Mechanism Boxes in Exisiting Grid Substations of OPTCL
1. Dismantling of Existing Old Isolators 2. Erection, Installation & commissioning of New Isolators
(DISMANTLLING OF OLD EQUIPMENT & ERECTION, INSTALLATION, TESTING & COMMISSIONING OF NEW EQUIPMENTS ) |  |  |  | RUPEES IN INR |  | PRICE REFERENCE
Sl. No. | DESCRIPTION OF ITEMS: DISMANTLLING OF OLD EQUIPMENT & ERECTION, INSTALLATION, TESTING & COMMISSIONING OF FOLLOWING EQUIPMENTS (As per Technical Specification) | UNIT | QUANTITY | UNIT PRICE | AMOUNT
1 | 2 | 3 | 4 | 5 | 6=4X5 | 7
1 | Switchgear Items
1.5 | 400 KV SI DBR WITH ONE E/S ELECTRICALLY GANGED (3150 A, 63 kA) | NOS | 4 | 63520.76 | 254083.04 | OPTCL RATE CONTRACT
1.6 | 220 KV SI DBR WITH ONE E/S MECHANICALLY GANGED (2000 A, 50 kA) | NOS | 4 | 57024.32 | 228097.28 | OPTCL RATE CONTRACT
1.7 | 220 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 50 kA) | NOS | 8 | 51394.08 | 411152.64 | OPTCL RATE CONTRACT
1.8 | 220 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 50 kA) - TANDEM ISOLATOR | NOS | 2 | 51394.08 | 102788.16 | OPTCL RATE CONTRACT
1.9 | 220 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 50 kA) - BEAM MOUNTED ISOLATOR | NOS | 1 | 40422.31 | 40422.31 | OPTCL RATE CONTRACT
1.1 | 220 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 50 kA) - BEAM MOUNTED ISOLATOR | NOS | 1 | 40422.31 | 40422.31 | OPTCL RATE CONTRACT
1.11 | 220 KV DI DBR WITH E/S MECHANICALLY GANGED (2000 A, 50 kA) - BEAM MOUNTED ISOLATOR | NOS | 0 | 70739.03 | 0 | OPTCL RATE CONTRACT
1.12 | 132 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 40 kA) | NOS | 1 | 24181.19 | 24181.19 | OPTCL RATE CONTRACT
1.13 | 132 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 40 kA) | NOS | 12 | 24181.19 | 290174.28 | OPTCL RATE CONTRACT
1.14 | 132 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 40 kA) - BEAM MOUNTED | NOS | 2 | 21654.8 | 43309.6 | OPTCL RATE CONTRACT
1.15 | 132 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 40 kA) - BEAM MOUNTED | NOS | 1 | 21654.8 | 21654.8 | OPTCL RATE CONTRACT
1.16 | 132 KV DI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 40 kA) | NOS | 4 | 38978.65 | 155914.6 | OPTCL RATE CONTRACT
1.17 | 132 KV DI DBR WITH E/S MECHANICALLY GANGED (2000 A, 40 kA) | NOS | 5 | 42587.79 | 212938.95 | OPTCL RATE CONTRACT
1.18 | 33 KV SI DBR WITH E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | NOS | 1 | 11549.23 | 11549.23 | OPTCL RATE CONTRACT
1.19 | 33 KV SI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | NOS | 17 | 11549.23 | 196336.91 | OPTCL RATE CONTRACT
1.2 | 33 KV SI DBR WITHOUT E/S MECHANICALLY GANGED ((2000 A, 31.5 kA) - BEAM MOUNTED | NOS | 2 | 9528.11 | 19056.22 | OPTCL RATE CONTRACT
1.21 | 33 KV SI DBR WITH E/S MECHANICALLY GANGED ((2000 A, 31.5 kA) - BEAM MOUNTED | NOS | 0 | 9528.11 | 0 | OPTCL RATE CONTRACT
1.22 | 33 KV DI DBR WITHOUT E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | NOS | 4 | 16746.38 | 66985.52 | OPTCL RATE CONTRACT
1.23 | 33 KV DI DBR WITH E/S MECHANICALLY GANGED (2000 A, 31.5 kA) | NOS | 10 | 18478.76 | 184787.6 | OPTCL RATE CONTRACT
| Total Electrical Works |  |  |  | 2303854.64
| TOTAL ERECTION_ELECTRICAL |  |  |  | 2303854.64
SGST (9%) |  |  |  |  | 207346.9176
CGST (9%) |  |  |  |  | 207346.9176
TOTAL PROJECT ERECTION PRICE INCLUDING TAXES |  |  |  |  | 2718548.4752

## 4. Erection Civil
ODISHA POWER TRANSMISSION CORPORATION LIMITED
(CIVIL ERECTION WORK ) |  |  | NAME OF THE WORK:- Replacement/ Upgradation of Old Isolators and Mechanism Boxes in Exisiting Grid Substations of OPTCL
1- Civil Erection work for Substation Equipments Foundation
Sl. No. | CIVIL ERECTION,_SUBSTATION EQUIPMENT |  |  | RUPEES IN INR
| DESCRIPTION OF ITEMS FOR CIVIL WORK: EQUIPMENT FOUNDATION | UNIT | QUANTITY | UNIT PRICE | AMOUNT | PRICE REFERENCE
1 | 2 | 3 | 4 | 5 | 6=4X5 | 7
A | CIVIL WORKS
1 | OPEN CAST & PILE FOUNDATIONS WORK FOR THE SWITCHYARD COLUMN,EQUIPMENT etc: Design, engineering, supply of all labour, T&P, material (Cement-As Per TS,MS Rod ( FE-500 as per BIS-1786), coarse and fine aggregates (Sand and Metal Chips) etc) for construction of RCC ( 1:1.5:3) & PCC (1:3:6), RCC footings of any depth, pedestal and piling as per requirement including soil investigation, excavation,concreting, shuttering, grouting, underpinning and back filling of foundations etc complete for the following switch yard gantry/ portal structures and equipment support & others as per the technical specification and approved drawings. This also includes excavation in all types of soil or rocks,back filling,and disposal of excess earth as per the direction of Engineer In charge. (a) For 400 KV,220 KV , 132 kV & 33 KV Equipment foundations.
1.1 | ISOLATOR FOUNDATION-33 KV | NOS | 1 | 34708.45 | 34708.45 | Estimation as per OPTCL R.C
1.2 | ISOLATOR FOUNDATION-400 KV | NOS | 4 | 221507.12 | 886028.48 | Estimation as per OPTCL R.C
| TOTAL OF (Civil Work: Equipment Foundation) |  |  |  | 920736.93
TOTAL ERECTION_CIVIL (SUB_STATION EQUIPMENT ERECTION ) |  |  |  |  | 920736.93
SGST (9%) |  |  |  |  | 82866.3237
CGST (9%) |  |  |  |  | 82866.3237
TOTAL CIVIL ERECTION PRICE INCLUDING TAXES |  |  |  |  | 1086469.5774