BENEFITS

1. Physical Benefits:

A. Replacement of aged, deteriorated, and underperforming isolators and mechanism boxes with new, high-reliability units.
B. Improvement in mechanical integrity and operational condition of isolators and associated operating mechanisms
C. Reduction in failures related to contact wear, misalignment, and mechanism jamming
D. Upgradation from manual to motorized mechanism boxes, enhancing operability and standardization
E. Improved safety during switching operations through robust interlocks and enclosed mechanism systems

2. Technical Benefits:

A. Enhanced reliability and availability of isolator operations under various system conditions
B. Enablement of remote operation and monitoring through motorized mechanism integration with STAMS/SAS
C. Faster and more accurate switching operations, reducing restoration time during faults
D.  Improved contact performance and current carrying capability, ensuring stable system operation
E.  Provision of real-time position indication, status feedback, and event monitoring
F.  Reduction in human intervention and associated operational errors through automated control
G. Improved system coordination and operational flexibility during maintenance and emergency conditions

3. Financial Benefits cum Cost-Benefit Analysis:

A. Reduction in operation and maintenance costs due to decreased frequency of mechanical failures and servicing
B. Lower expenditure on repair/replacement of worn-out components and emergency breakdown maintenance
C. Reduction in outage duration and associated transmission loss, leading to indirect cost savings
D. Improved utilization and extended service life of isolators and mechanism systems
E. Reduced dependency on field manpower for manual operation and maintenance
F. Long-term economic benefits through improved reliability, reduced downtime, and lower lifecycle costs of equipment