Summary of objections received from various objectors against the application of CESU for approval of Annual Revenue Requirement and determination of Retail Supply Tariff for the FY 2011-12:

- Shri Ananta Bihari Routray, Secretary, Orissa Electrical Consumers’ Association, Sibasakti Complex, B.K.Road, Cuttack – 753001

- Shri R. Ramachandra Mahapatra, C/o Dilip Kumar Ray, Jhanjirimangala, Lunia Sahi, Cuttack - 753009

- The objector stated that the distribution licensees making delays in replacing burnt transformer, attending other repair and restoration works. Licensee also not maintaining the system properly. After hike in tariff last year, no improvement in infrastructure.

- The objector pointed out that no strategy adopted by DISCOM to check power theft in rural as well as urban areas and in many cases DISCOM staff also involved in power theft. DISCOMs are not taking any steps to stop theft and ultimately all the burden due to theft is loaded on consumers.

- Metering figures quoted by the DISCOM are not correct. Number of defective meters is large in numbers. Shopkeepers and vendors consume electricity without meters and pay for average load basis.

- Billing complaints are not attended promptly. Bills are in English so illiterate consumer can not read. Previous arrears should not be loaded to consumers.

- Complaint registers are not maintained properly by licensee at section level. Trained staff should be deployed.

- No awareness about GRFs and Ombudsman system, standard of performance, so consumers are not objecting about quality and DISCOMs are enjoying monopoly.

- Shri Pawan Kuamr Gupta, New Laxmi Steel & Power Pvt. Ltd., Plot No. N-61, Bhubaneshwar.

- Shri Anil Choudhary, Director, Auro Ispat (India) Pvt. Ltd., Khuntuni, Cuttack

- Shri Prasanna Kumar Sahoo, Secretary, M/s Utkal Furnace Association, C/o IPISTEEL, 380, Bomikhal, Bhubaneshwar – 10.

- Shri Prasanna Kumar Sahoo, Chief Executive Officer, IPISTEEL Ltd., Gundhichapada, Dist Dhenkanal

- Mr. Prasanta Mallick, Chief Executive Officer, T.S.Alloys Ltd., (Earstwhile Rawmet Ferrous Industries), 2-B, Fortune Tower, Chandrasekharpur, Bhubaneshwar

- Shri Sunil Kumar Agrawal, Director, Sourav Alloy & Steel Pvt. Ltd., Bahandel, PO –Gunadei, Dist – Dhenkanal

- The steep increase in tariff for the last year 2010-11 has made severe tariff shock to Induction Furnace industries which have not been recovered from recession yet. Further increase in tariff this year, as requested by CESU, may result in closing of the industry.

- If proposed tariff is made applicable, overall cost to HT industries will rise to Rs 4.68 per kWh at 65% load factor which means 42.25% more than overall cost as per tariff for FY 200-10 & 14.70% over the inflated cost as per for approved tariff for FY 20010-11.

- Tariff for power supply at 33 KV with load factor above 50% in neighboring states is within Rs 3 per kWh including demand charges. So furnace industry in Orissa can not compete with industries in neighboring states and therefore incurring huge loss.

- Prayed to the commission that, to allow a special tariff for obector’s industry availing power at HT through shared feeder for operating Induction Furnace. This special tariff may be made applicable when unit operates with a load factor of 60% or more and for lesser LF Tariff will be the normal tariff for HT industry.

- Calculations pertaining to power factor penalty should be as per Commission’s regulations and so needs to check again.

- Considering investment of substantial amount towards provision of capacitors to improve power factor, objector requested that any provision for increase in the minimum power factor in tariff order should be avoided.

- To grant power factor incentive for improvement in power factor beyond 90%.

- Submission of DISCOM about cap on power factor incentive to maximum of 2%, disallow  drawing upto 120% of CD without penalty during off-peak hours and revision of graded slabs for incentive tariff should be rejected

- Shri Rajeshwar Pandey, Dy. Executive Derector, OCL India Limited (Kapilas Cement Works), Plot No. 1129, Mohanadi Vihar, Near Moon Hospital, Cuttack.

- Requested OERC to not to allow increase in tariff but ask CESU to take suitable measures like improvement in employee’s working, checking their performances, etc to reduce losses. Losses should be restricted to 20% in2011-12 and 15% from 2012-14 onwards. Energy Conservation ACT should be made applicable to DISCOMs also and fix the norms in consultation with Beuro of Energy Efficiency (BEE) and implement the same.

- Graded slab tariff for HT / EHT consumers should be reduced by 5% at every slab to encourage the EHT consumers to stay with CESU.

- There should not be any change in existing tariff and provide more incentives to HT and EHT category like increase in TOD discount to 20 paise per unit, PF improvement incentive form 95% - 0.5% discount for each 1% improvement in PF and from 97% - 1% discount for each 1% improvement in PF.

- No overdraw penalty should be levied if drawl is up to 30% more in off peak hours.

- The energy consumed in industrial colony limiting to maximum of 10% should be included in the last slab of 50% and billed for supply at HT and EHT.

- Not to approve ARR  as proposed, but to scrutinize thoroughly pertaining to employee cost increase without link to performance, variable pay based on performance, tariff increase etc.

- Ms. Tapaswani Sinha, Orissa Consumers’ Association, PS- Purighat, Biswanath Lane, Dist.- Cuttack.

- The licensee has not submitted the application in accordance with the law and also not tenable under the law. So it should be rejected.

- The accounts of the licensee has been audited fro the year 2009-10, the information provided is based on manipulated statements of facts / materials and accounts. So it should be out right rejected.

- The licensee has not improved its efficiency and standard of service, performance and has not reduced T&D losses etc. as directed by the Commission in tariff orders for previous orders. The licensee has not yet invested money for system improvement and up gradation to arrest T&D Loss and for uninterrupted supply. Projections for sales and purchase of power are not correct.

- The notice so published inviting objections is not confirm to the requirement of law.

- The Commission should device a simple and inexpensive procedure to enable the public to file their objections and participate effectively in tariff determination.

- The licensee has not taken concrete steps to limit losses, bad debts, telephone expenses, material costs, administrative costs, rents, taxes, legal expenses, audited fees, etc. So the Commission should scrutinize its application critically.

- Shri G.C.Das. Consulatnt, Flat No. 405, Subhadra Enclave, At- Palasuni, PO- Rasulgarh, Bhubaneshwar 10

- The minimum power consumption of a retired man’s family is about 300 units per month. So the Commission should fix the tariff as Rs 1.4 per unit for 1st 300 units and above 300 units as the Commission feel right.

- Shri Prabhakar Dora, Consumer Councle, AT- Vidya Nagar, Co-operative Colony, 3rd line, Rayagada, PO/ps/Tah/Dist Rayagada

- Sales forecast is not correct and it should be approved up to 5.5% more than that of for FY 2010-11. Similarly SMD & A&G expenses should be approved limited to the last years average.

- The DISCOMs are required to follow Section 47, 55 and 43 f the Electricity Act-2003 sincerely.

- Under R & M head, expenses claimed for RGGVY & BGJY should not be allowed as these lines are new lines and substations are under guarantee period. After the guarantee period, these expenses should be borne by REDB or Govt.

- The provision of allowing 120% drawl during off peak hours without penalty and incentive provision of the graded tariff provided to the industrial consumer for consumption of more than 50% of the load factor may be withdrawn.

- The delayed payment surcharge for single phase domestic / commercial consumer proposed should not be accepted.

- The proposal of the licensee for charging of MMFC in KVA instead of KW may be accepted provided that rate of per KVA MMFC must be less than that of KW MMFC.

- The proposal to lower the slab for application of demand charges from 110 KVA to 70 KVA should not be accepted since this will encourage consumers for lower contract demand and hence it will not be beneficial for the licensees.

- MMFC bellow below 100 KVA should be calculated on the basis of maximum demand recorded as per the earlier direction of the Commission in clause 7.5.1.3 of RST order 2005-06 should be followed strictly by the DISCOMs.

- The existing network was indexed earlier, so proposal of consumer indexing should not be allowed.

- Licensee should furnish the details on security deposit, capital works and, billing etc to the objector 15 days prior to hearing.

- It is regrettable that 100 % metering is not yet done. The Data submitted by the DISCOM need to be audited.

- Chief Electrical Distribution Engineer, East Coast Raiway, Headquarters building, 3rd floor, Soth Block, Chandrashekharpur, Bhubaneshwar

- The tariff for railway traction is required to be kept at a reasonably low rate with practically least profit component added to cost of supply.

- As per the Constitutional of India power tariff for the Railways should be reasonable and lower than the tariff charged to other bulk consumers.

- The traction tariff is above 20% of cost of supply. Hence, the existing tariff itself is on higher side. Commission may consider reducing the present tariff for Railway traction.

- There is a need to determine the cost of supply consumer wise and category wise.

- The Commission may extend 10 paise per unit off peak energy rebate to Railway traction category during the current tariff proceedings

- Commission is requested to direct licensees to take the responsibility and co-ordinate with OPTCL in maintaining the transmission lines, metering equipments for improving reliability of supply to consumers.

- Commission may issue guidelines to GRIDCO / OPTCL / DISCOMs to make availability of required good quality of power supply to Railway Traction and exempt Railway Traction category from load shedding during power deficit.

- Commission is requested to give incentive for improvement in power factor from 90% and above and decrease in ceiling limit of the low power factor penalty from existing 92% to 90%.

- Not to introduce KVAH base tariff for Railway Traction due to its load pattern

- Commission should instruct the licensees to follow and implement the Commission’s regulations strictly.

- The Commission may consider waival of security deposit to Railways or consider acceptance of letter of guarantee by RBI.

- Commission may consider Railway traction as a separate category and allow a suitable rebate on fixed charges and energy charges for the new electrification projects in the state.

- Mr. Bibhu Charan Swain, M/s Power Tech Consultants, 1-A/6, Swati Villa, Surya Vihar, Link Road, Cuttack 753012

- The quality of supply is very poor, standard of performance not met, no system improvement measures, uncertainty in restoration of power supply.

- Poor service quality, no use of energy police stations as power theft goes on increasing, non-attempting billing complaints.

- Interest on security deposit should be increased, DPS should not be applied to all categories of consumers,  loss mentioned in application is false.

- Revenue gap should be managed from other sources other than debts to minimize interest cost

- The facts and figures prescribed by the licensee should be audited

- Complaints against hooking and power theft needs to be attended carefully and promptly

- Licensee should provide information under RTI Act

- Licensee has not improved its efficiency & standard of performance, losses reduction. But taking full advantage of cost plus tariff determination approach and claiming increasing cost without any improvement.

- Licensee should submit authenticated data based on energy audit with supporting printouts.

- Power purchase cost must be calculated based on technical loss only.

- Calculation of load factor, power factor should be taken as 90% irrespective of actual value

- For determination of average cost of supply at EHT, the BSP should be considered on the basis of average cost of power procurement from different sources plus a trading margin as determined by CERC.

- The Commission should instruct the licensee to conduct energy audit and standard of performance by third party to assess actual performance of the licensee

- Sale projections should be on scientific base, need to make effort to collect arrears, O&M expenses; return on equity and bad debts should be reduced

- Tariff should be reduced instead of revising it upwards.

- Mr. Ramesh Ch. Satpathy, Plot No. 302 (B), Beherasahi, Nayapalli, Bhubaneshwar 751012

- Rural consumers are suffering a lot due to low voltage and back out in most of the time. Licensee is taking interest in supply of quality power to the consumers.

- O & M of substation lines is very poor, energy audit needs to be done, losses reduction is not as per Commission’s norms. These issues needs to be attended

- No initiative by the licensee for payment of compensation to the consumers for non-supply of power.

- Licensee has to provide valid reasons for failure in reduction of AT&C loss

- Shri Antaryami Routray, President, All Orissa Cold Storage Association, Aiginnia, Kuberapuri, Bhubaneshwar, Dist. Khurda

- Cold storage industry should be considered under Allied Agricultural Activities for tariff purpose. For year 2011-12, proposed tariff for Allied Agro Industrial Activities (under which cold storage industry considered) is Rs 3.20 per unit. It should be Rs 2.20 per unit as proposed tariff is too high to sustain the industry.

- Monthly minimum fixed charge for Allied Agro Industrial Activities should be equal to the other two agricultural categories.

- For the meters whose cost has been recovered, should not be charged rent.

- No compromise in quality supply should be allowed

- Transmission, distribution and theft have not been properly projected by the licensee in ARR.

- Dr. D.V.Ramana, Professor, Xavier Institute of Management, BBSR- 13

- No scientific method has been followed for forecasting the demand particularly for LT. For year 2011-12 sales growth rate for LT consumer should be 10%

- Distribution loss for year 2011-12 proposed is 35%, which has no proper justification

- Calculations for cost of supply and power purchase cost should be cheked carefully by the Commission

- Monitoring for provision and actual expenses on R & M is must

- A & G expenses for 2011-12 are 16% higher than that of previous year. It should be lower

- There is a huge blockage of funds towards sundry debtors which is tremendous loss of interest and results in huge loans. Proper mechanism for recovery should be developed

- Under Capex program, only Rs 156 cr loan has been availed. In future, the licensee should avail more loan under this scheme

- Licensee has calculated depreciation rate as per Companies Act. It should be ad per Pre-92

- Increasing figures against Reserve & Surplus seems to not correct as licensee is making losses in past few years

- R.P.Mahapatra, Retd. Chief Engineer & Member (Gen.) OEEB, Plot No. 775, Lane 3, Jayadev Vihar, Bhubaneshwar 13

- The steep increase in tariff for the last year 2010-11 has made severe tariff shock to many consumers

- The licensee has defaulted in reducing technical and commercial losses. Proposed hike in tariff for HT & EHT consumers has been made without taking into account the statutory provisions  relating to cross subsidy

- The licensee has not achieved the required efficiency in reducing the controllable parameters like distribution loss, revenue collection etc, due to which there is increase in tariff from year to year. Commission may determine ARR & RST for year 20111-12 assuming distribution loss of 20% or less

- Tariff determined for Allied Agro – Industrial Consumers is giving rise to difficulties in implementation of the same relating to dairy industry

- The provision of 1.5 % of the accrued revenue may be allowed towards bad debt

- The power factor incentive should be computed beyond power factor of 95 % as was existing earlier

- The demand charges may be reduced by 10% if the total period of non-availability of power supply exceeds 30 hours a month

- The off-peak hours should be determined as from 10 PM to 6 AM of next day

- The bulk supply tariff consists of  demand charge as well as energy charge

- There should be a separate licensee for supply of power to EHT consumers

- Commission should reject the submission of the licensee for changing tariff structure and the existing tariff should continue or reduced based on the statutory provisions

- Shri Satyadeep Pati, At – Grambhikash Mahuda, Berhampur, Dist. – Ganjam

- Provision for separate tariff for rural water supply systems under small “Community Water Works” scheme as adopted by several states like Andhra Pradesh and Maharastra.

- The tariff for Rural water supply scheme should be at par with Irrigation or Domestic category as per National Electricity Policy.

- Commission should undertake hearings at District Head Quarters exclusively issues on quality of service

- For effective results, Commission should conduct consumer surveys for rural areas

- Commission should plan public hearings on progress of RGGVY & BGVY programmes and issues

- Shri Karunakara Dash, AVP, Tata Tele Services Ltd., Module  - B&C, 3rd Floor, Fortune Tower, Bhubaneshwar

- Prescribing the LT tariff for the HT GPS Consumers is not justified

- All other consumers availing HT supply with CD =<70 KVA should also be billed at corresponding LT tariff.

- Commission has issued special note in the order for GPS consumers which shows undue preference to the other classes of consumers like HT industrial, Specified Public Service etc.

- A Telcom service is contribution towards trade, commerce and industry and thus deserves special consideration. So the Commission may allow the applicable industrial tariff for power supply to the BTS Towers

- Shri Balaji Charan Sahoo, M.D.,IDCOL Ferro Chrome & Alloys Ltd., At IFCAL Colony, PO- Ferro Chrome Project, Jaipur Road, Dist – Jaipur 755020

- Steep increase in tariff for 2010-11 is not on based on the principle of reduction of cross subsidy. The tariff for HT consumers should be determined by reducing cross subsidy.

- Calculations pertaining to power factor penalty should be as per Commission’s regulations and so needs to checked  again.

- To grant power factor incentive for improvement in power factor beyond 90%.

- Submission of DISCOM about cap on power factor incentive to maximum of 2%, increase in demand charges, increase in energy charges for HT consumers and revision of graded slabs for incentive tariff should be rejected.

- Incase the interruption exceeds 30 hours in a month due to any reason including statutory power cut the demand charge of Rs 200 per KVA per month should be reduced by 10 %.

- The bulk supply price should be based on two part tariff as per earlier practice

- Shri M.V.Rao, Chairman, Power Committee, UCCI, N/6, IRC Village, Nayapalli, BBSR -15, Dist Khurda

- CESU failed to perform as per bench marks fixed by the Commission. So its application should be rejected

- Not to allow past loss and bad debts claimed in ARR

- Commission should determine separate tariff fro different industry

- Commission should notify road map to reduce the cross subsidy.

- For determination of average cost of supply the Commission should consider the cost to EHT, HT and LT consumer as submitted by the DISCOMs.

- For the purpose of calculation of  load factor power percentage should be 0.9 irrespective of the actual power factor

- To grant power factor incentive for improvement in power factor beyond 90%.

- Rebate of 25 % may be allowed for EHT and HT Power Intensive Industries achieving 80 % load factor.

- Sick industries in the state may be given special consideration for revival by allowing single part tariff of Rs 2.20 per unit, waive demand charges, cross subsidy not imposed on sick industries, etc.

- Shri Deepak Kumar Agrawal, Director, Shree Maruti Steel and Casting Pvt. Ltd., Plot No. 1036, Mahanadi Vihar, Cuttack - 4

- The steep increase in tariff for the last year 2010-11 has made severe tariff shock to Induction Furnace industries which have not been recovered from recession yet. Further increase in tariff this year, as requested by CESU, may result in closing of the industry.

- If proposed tariff is made applicable, overall cost to HT industries will rise to Rs 4.68 per kWh at 65% load factor which means 42.25% more than overall cost as per tariff for FY 200-10 & 14.70% over the inflated cost as per for approved tariff for FY 20010-11.

- Tariff for power supply at 33 KV with load factor above 50% in neighbouring states is within Rs 3 per kWh including demand charges. So furnace industry in Orissa can not compete with industries in neighbouring states and therefore incurring huge loss.

- Prayed to the commission that, to allow a special tariff for obector’s industry availing power at HT through shared feeder for operating Induction Furnace. This special tariff may be made applicable when unit operates with a load factor of 60% or more and for lesser LF Tariff will be the normal tariff for HT industry.

- Calculations pertaining to power factor penalty should be as per Commission’s regulations and so needs to checked again.

- Considering investment of substantial amount towards provision of capacitors to improve power factor, objector requested that any provision for increase in the minimum power factor in tariff order should be avoided.

- To grant power factor incentive for improvement in power factor beyond 90%.

- Submission of DISCOM about cap on power factor incentive to maximum of 2%, disallow  drawing upto 120% of CD without penalty during off-peak hours and revision of graded slabs for incentive tariff should be rejected.