BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Filing No.: 02

Case No. 76 of 2017

IN THE MATTER OF :	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2018-19 under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

IN THE MATTER OF:	Compliance / Clarifications / Reply by GRIDCO to the Wanting Information / Queries raised by the Hon’ble Commission with respect to ARR & BSP Application of GRIDCO for FY 2018-19 vide Hon’ble OERC letter No.1815 dated 22.12.2017.

AND

IN THE MATTER OF :  GRIDCO Limited, Janpath, Bhubaneswar

- …….…. Applicant

The Humble Applicant above named

MOST RESPECTFULLY SHOWETH THAT

It is submitted that M/s. GRIDCO Limited (GRIDCO) filed the ARR & BSP Application for FY 2018-19 before the Hon’ble Odisha Electricity Regulatory Commission (OERC) on 30.11.2017. The said Application of GRIDCO was registered as Case No.76 of 2017 by the Hon’ble Commission.

After going through the said Application, Hon’ble OERC in their Letter No.1815 dated 22.12.2017 sought for compliance from GRIDCO on various wanting Information (W.I) / Querieson the ARR and BSP Application for FY 2018-19.

In the subsequent paragraphs, GRIDCO submits the following Replies / Compliance / Clarifications to the Queries / Issues raised and has also made all possible attempts to provide the required information as sought for by the Hon’ble Commission.

Technical

- W.I. No.1

GRIDCO is required to furnish the Plan Availability Factor (PAF) of TTPS (NTPC) and OPGC for the FY 2016-17 along with month wise PAF for the current financial year up to date. Similarly, the cumulative PAF of the Central Thermal Generating Stations for the FY 2016-17 also to be furnished.

Reply of GRIDCO:

As desired by the Hon’ble OERC, Plan Availability Factor (PAF) of TTPS (NTPC) and OPGC for the FY 2016-17 along with month wise PAF for the current financial year up to Nov’17 and also cumulative PAF of the Central Thermal Generating Stations for the FY 2016-17are furnished below for kind information of the Commission:

| FY 2016-17 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | TTPS |  | OPGC |  |
| Months | Cumulative PAF (%) | PAFM (%) | Cumulative PAF (%) | PAFM (%) |
| APR-16 | 91.73 | 91.73 | 92.48 | 92.48 |
| May -16 | 94.10 | 96.39 | 76.68 | 61.39 |
| June-16 | 92.04 | 87.85 | 79.56 | 85.40 |
| July-16 | 91.12 | 88.44 | 81.62 | 87.69 |
| Aug-16 | 90.48 | 87.95 | 82.46 | 85.77 |
| Sept-16 | 91.38 | 95.99 | 82.30 | 81.44 |
| Oct-16 | 91.49 | 92.12 | 82.56 | 84.15 |
| Nov-16 | 92.79 | 102.08 | 82.20 | 79.58 |
| Dec-16 | 91.38 | 80.30 | 83.15 | 90.67 |
| Jan-17 | 91.81 | 95.55 | 84.56 | 97.00 |
| Feb-17 | 92.60 | 101.57 | 85.57 | 96.68 |
| Mar-17 | 93.03 | 97.67 | 86.01 | 90.78 |

| FY 2017-18 |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | TTPS |  | OPGC |  |
| Months | Cumulative PAF (%) | PAFM (%) | Cumulative PAF (%) | PAFM (%) |
| APR-17 | 93.14 | 93.14 | 81.55 | 81.55 |
| May -17 | 95.71 | 98.19 | 82.06 | 82.54 |
| June-17 | 95.22 | 94.22 | 86.31 | 94.98 |
| July-17 | 95.43 | 96.43 | 86.32 | 86.33 |
| Aug-17 | 95.35 | 94.67 | 78.70 | 48.70 |
| Sept-17 | 93.33 | 83.03 | 72.02 | 37.99 |
| Oct-17 | 90.80 | 75.83 | 72.04 | 72.10 |
| Nov-17 | 91.01 | 92.53 | 69.68 | 52.84 |

| Cumulative Availbility (%) of CGSs for FY 2016-17 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Months | FSTPS-I & II | FSTPS-III | KhSTPS-I | KhSTPS-II | TSTPS-I | TSTPS-II | Barh STPS-II |
| Apr-16 | 34.84 | 97.81 | 89.68 | 97.72 | 96.32 | 96.98 | 50.85 |
| May-16 | 55.39 | 98.81 | 94.24 | 97.70 | 97.06 | 95.88 | 66.93 |
| Jun-16 | 69.20 | 99.10 | 95.52 | 97.88 | 95.49 | 93.40 | 71.59 |
| Jul-16 | 75.34 | 98.75 | 96.11 | 91.39 | 96.07 | 97.81 | 76.27 |
| Aug-16 | 79.52 | 98.39 | 95.12 | 93.01 | 95.98 | 82.00 | 77.68 |
| Sep-16 | 81.46 | 98.60 | 91.94 | 93.15 | 95.72 | 71.66 | 72.31 |
| Oct-16 | 83.20 | 98.78 | 92.65 | 93.91 | 94.53 | 77.85 | 74.53 |
| Nov-16 | 84.72 | 98.92 | 92.79 | 94.66 | 91.72 | 93.54 | 76.22 |
| Dec-16 | 85.41 | 98.91 | 93.49 | 95.20 | 87.47 | 97.85 | 77.40 |
| Jan-17 | 86.51 | 98.86 | 93.99 | 92.18 | 88.30 | 98.55 | 79.43 |
| Feb-17 | 87.52 | 98.35 | 94.40 | 91.65 | 88.01 | 93.95 | 80.96 |
| Mar-17 | 87.09 | 98.04 | 94.77 | 92.36 | 87.86 | 93.54 | 82.13 |

- W.I. No.2

In respect of Central Generating Stations (both for Thermal and Hydro), GRIDCO may submit the latest share allocation for Odisha made by the Ministry of Power along with present installed capacity. The latest monthly REA prepared by ERPC/SRPC to be furnished.

Reply of GRIDCO:

As desired by the Hon’ble Commission, a copy of the latest monthly Regional Energy Accounting (REA) for the month of November, 2017, as downloaded from the Eastern Regional Power Committee (ERPC)and Southern Regional Power Committee (SRPC) Website, is enclosed herewith for kind information (Annexure-1(Series).The REA so prepared by the ERP depicts the Station-wise details of Energy Accounting like ‘Installed Capacity, allocated share as well as the ‘Energy Drawal’ in favour of the Beneficiary States including Odisha (GRIDCO).

However, the latest share allocated from NTPC & NHPC Stations in favour of Odisha is tabulated in the following Table which may be considered as the current share allocation in favour of Odisha until the same is revised by the Government of India.

Share Allocation from CGSs in favour of Odisha (GRIDCO)

| Name of the CGSs | Installed Capacity | Share Allocation to GRIDCO out of Installed Capacity (%)(Including NVVN Thermal Power) | Total |
| --- | --- | --- | --- |
|  | (MW) |  | (MW) |
| Farakka STPS-I&II | 1600 (3X200+2X500) | 14.18 | 226.88 |
| Farakka STPS-III | 500 | 17.15 | 85.75 |
|  | (1x500) |  |  |
| KhSTPS Stg.-I | 840 | 15.77 | 132.47 |
|  | (4x210) |  |  |
| KhSTPS Stg.-II | 1500 | 2.62 | 39.30 |
|  | (3X500) |  |  |
| TSTPS Stg.-I | 1000 | 32.34 | 323.40 |
|  | (2X500) |  |  |
| TSTPS Stg.-II | 2000 | 10 | 200.00 |
|  | (4X500) |  |  |
| Barh STPS-II | 1320 | 14.79 | 195.23 |
| Sub-Total | 8760 |  | 1203.03 |
| (Central Thermal)(A) |  |  |  |
| Chukka HEP | 336 (4X84) | 15.19 | 41.01 |
|  | (ER Allocation=270) |  |  |
| Tala HEP | 1020 | 4.25 | 43.35 |
|  | (6X170) |  |  |
| Teesta HEP | 510 | 20.59 | 105.00 |
|  | (3X170) |  |  |
| Sub-Total | 1866 |  | 189.36 |
| (Central Hydro)(B) |  |  |  |
| Grand Total (A+B) | 10626 |  | 1392.39 |

3. 	W.I. No.3

The energy bills for the month of October & November, 2017in respect of all the generators (both state & central sector) supplying power to GRIDCO along with all enclosures may be submitted. Similarly, the bills for the month of Oct and Nov, 2017 in respect of PGCIL transmission charges, SOC, MOC and ULDC charges to be furnished.

Reply of GRIDCO:

It is respectfully submitted that as desired by the Hon’ble Commission, the Energy Bills in respect of various Generators (both State & Central Generators), that of PGCIL and ERLDC / ERPC Charges etcfor the months of October’17& November’17 along with all the relevant enclosures are attached herewith as Annexure-2(a) to Annexure-23 (b)as given in the Table below:

Energy Bills of Central & State Generators for October’17 & November’2017

| Stations | Energy Bill for | Annexure Nos. |
| --- | --- | --- |
| State Sector Stations |  |  |
| OHPC (All Stations) | October, 2017 | 2 (a) |
|  | November, 2017 | 2 (b) |
| Meenakshi SHEP | October, 2017 | 3 (a) |
|  | November, 2017 | 3 (b) |
| Samal SHEP | October, 2017 | 4 (a) |
|  | November, 2017 | 4 (b) |
| OPGC | October, 2017 | 5 (a) |
|  | November, 2017 | 5(b) |
| Stations | Energy Bill for | Annexure Nos. |
| NTPC-TTPS | October, 2017 | 6 (a) |
|  | November, 2017 | 6 (b) |
| Vedanta Limited | October, 2017 | 7 |
| GKEL (GMR Kamalanga Energy Ltd.) | October, 2017 | 8 (a) |
|  | November, 2017 | 8 (b) |
| Jindal India Thermal Power Ltd. (JITPL) | October, 2017 | 9 (a) |
|  | November, 2017 | 9 (b) |
| Central Sector Stations |  |  |
| Chukha | October, 2017 | 10 (a) |
|  | November, 2017 | 10 (b) |
| Tala | October, 2017 | 11 (a) |
|  | November, 2017 | 11 (b) |
| Teesta | October, 2017 | 12 (a) |
|  | November, 2017 | 12 (b) |
| FSTPS-I & II | October, 2017 | 13 (a) |
|  | November, 2017 | 13 (b) |
| FSTPS-III | October, 2017 | 14 (a) |
|  | November, 2017 | 14 (b) |
| TSTPS-I | October, 2017 | 15 (a) |
|  | November, 2017 | 15 (b) |
| TSTPS-II | October, 2017 | 16 (a) |
|  | November, 2017 | 16 (b) |
| KhSTPS-I | October, 2017 | 17 (a) |
|  | November, 2017 | 17 (b) |
| KhSTPS-II | October, 2017 | 18 (a) |
|  | November, 2017 | 18 (b) |
| Barh Stage-II | October, 2017 | 19 (a) |
|  | November, 2017 | 19 (b) |
| PGCIL Transmission Bills (PoC) | October, 2017 | 20 (a) |
|  | November, 2017 | 20 (b) |
| ERLDC Fees & Charges (SOC & MOC) | October, 2017 | 21 (a) |
|  | November, 2017 | 21 (b) |
| ER-ULDC | October, 2017 | 22 (c) |
|  | November, 2017 | 22 (d) |
| M/s. Shalivahan Green Energy Ltd. | October, 2017 | 23 (a) |
|  | November, 2017 | 23 (b) |

4. 	W.I. No.4

In the last BSP order for the FY 2017-18, the Commission had directed GRIDCO to approach the appropriate forum (Commission or Court of Law) for reduction of capital cost of Barh-II STPS through VGF or any other means or to take steps for de-allocation of state share of power from Barh-II STPS. Action taken by GRIDCO in this regard to be furnished.

Reply of GRIDCO:

It is respectfully submitted that in the absence of exit clause in the PPA and obligation to pay huge fixed cost without availing power from upcoming NTPC stations located outside the State, GRIDCO sought legal opinion and the likely implication of termination of PPAs with NTPC for Barh and other upcoming NTPC Stations located outside the State except North Karanpura. In this regard, the legal opinion furnished by Mr.R.K.Mehta, Advocate, SCI is as follows:

- In the event, a Generating Station is not commissioned within a reasonable time after execution of PPA for the project, the beneficiary/procurer must be entitled to terminate the PPA notwithstanding the fact that there is no provision under the contract for termination of PPA.

- Similar principle is applied, in case the price at which power is to be made available under the Agreement becomes unduly exorbitant, unaffordable, uneconomical and adverse to the interest of the consumers of the State.

Further, after obtaining legal opinion, the matter of review of PPA for upcoming NTPC Stations wereput forth before 168th and 169th meeting of BoD of GRIDCO held on 10.05.17 and 04.07.17 respectively. In the aforesaid meeting it was discussed that, in case of Barh-I and Barh-II, Hon’ble OERC has not allowed Fixed Cost in respect of Barh-II in the ARR of FY 2016-17 and 2017-18. Hence, it was suggested that for pursuing de-allocation, members advised to make comprehensive analysis with respect to demand and supply position and tariff of new capacity which will replace Barh-II and Barh-I keeping in view the long term implication of this proposal. Pursuant to the suggestion of BoD, GRIDCO is actively considering to appoint a consultant to do the realistic demand forecast vis-à-vis realistic availability of power based on the PPAs made by GRIDCO such that the replacement of Barh-II power could be done in a justified way. Again, the hearing for the tariff of Barh-II for the period 2014-19 has not yet been scheduled in CERC since the matter of Commercial operation date of Unit-IV which was challenged by GRIDCO is now pending before APTEL. This is to mention that GRIDCO would rightly put forth its view on capital cost during the time of hearing at CERC.

5. 	W.I. No.5

GRIDCO has proposed a drawal of 30 MU from the 10 MW Bio-mass plants of M/s. Octant Industries which is likely to be commissioned by August, 2018. The present status of this Biomass plant to be furnished. It may be clarified whether the name of the developer M/s. Octant Industries has been changed to M/s. Swarnajyoti Agrotech& Power Limited as indicated in last year submission of GRIDCO.

Reply of GRIDCO:

It is submitted that GRIDCO has proposed to procure 30 MU power during FY 2018- 19 from the upcoming 10 MW Biomass Power Plant of M/s Octant Industries located at Sambalpur district. As per the Status submitted earlier by the developer, the 10 MW Biomass Power Plant of M/s Octant Industries is to be commissioned in August 2018. So GRIDCO considered 30 MU power @ 60 % PLF from September 2018 to March 2019 (for 7 months) during FY 2018- 19 from the Biomass Unit.

As per the latest status report submitted by the Biomass developer, they are yet to get the balance financing for the project as their main lender Power Finance Corporation Ltd. did not release the same. They are arranging balance loan from possible sources. As substantial investments have been made for the project, the rest project work will be completed after arranging the balance loan amount. M/s Octant Industries has requested to extend the project commissioning period up to December 2019.

The Company is writing its name as ‘SwarnajyothiAgrotech& Power Limited’ but it is yet to adopted in the PPA with sufficient supporting documents in place of ‘Octant Industries Ltd.’. Theletter from MD, M/s SwarnajyothiAgrotech& Power Limited in this regard is enclosed herewithasAnnexure-24.

6. 	W.I. No.6

The details of power purchased from the different renewable sources to be furnished for FY 2015-16, 2016-17& FY 2017-18 (up-to-date) as per the format given below:-

| For the FY……….. |  |  |  |
| --- | --- | --- | --- |
| State Consumption during the year | ------------- MU |  |  |
|  | RPO obligation as per Regulations | Achievement during the year (audited) |  |
|  | % | MU | % |
| Renewable Power Procurement |  |  |  |
| - Solar |  |  |  |
| - Non-solar - Small hydro - Bio-mass |  |  |  |
| Total |  |  |  |

Reply of GRIDCO:

As desired by the Hon’ble Commission, the details of power purchased from the different renewable sources during FY 2015-16, FY 2016-17& FY 2017-18 (up to November 2017) along with the relevant RPO target, is enclosed herewith as Annexure-25 (Series) as per the prescribed format along with the generation details.

7. 	W.I. No.7

GRIDCO is also to furnish the actual drawal of solar energy from different sources/plants against the approved energy for the FY 2015-16, 2016-17& FY 2017-18 (up-to-date).

Reply of GRIDCO:

As desired by the Hon’ble Commission, the the actual drawal of solar firm different sources/plants for FY 2015-16,  FY 2016-17  & FY 2017-18 (up to November 2017) are enclosed herewith as Annexure-26 (Series).

8. 	W.I. No.8

As per the proposal in the ARR application of GRIDCO for FY 2018-19 for procurement of Renewable Energy, it is observed that GRIDCO may not be able to meet even 50% of the RPO fixed for the FY 2018-19. The strategic planning of GRIDCO to meet the RPO to be explained.GRIDCO also to intimate about any pending proposal for purchase of power in near future from other renewable sources such as Wind, Municipal Solid Waste (MSW) and Bagasee based co-generation etc., along with the status of PPA to that respect.

Reply of GRIDCO:

It is submitted that GRIDCO, at present, is having 215 MWof tied up Recap city (138 MW of Solar capacity and 77 MW of non- Solar capacity), out 	of which 140 MW is installed within the State and rest 75 MW is availed from outside the state.

| Technology | Installed Capacity inside State (MW) | Installed Capacity from outside (MW) |
| --- | --- | --- |
| Solar | 63 | 75 |
| Wind | - | - |
| Small Hydro | 57 | Nil |
| Biomass | 20 | Nil |
| MSW | - | - |
| Total | 140 | 75 |

Apart from the existing 138 MW Solar capacity, major MW scale Solar projects under implementation in the state are as detailed below from where GRIDCO will procure the total power:

- Implementation of 270 MW Solar PV Projects in 8 different locations (240 MW in 6 locations by M/s Essel Solar power Pvt. Ltd., 20 MW in one location by M/s IBC Ventures Pvt. Ltd. and 10 MW by M/s Jyoti Infrastructure Pvt. Ltd.) under SECI VGF Scheme Batch-IV under National Solar Mission Phase-II, which are scheduled to be commissioned by the end of FY 2017 – 18.

- Implementation of 4 MW Rooftop Solar project on the 199 nos. of non-residential Govt. buildings in Cuttack-Bhubaneswar (126 in Bhubaneswar and 73 in Cuttack), out of which 1 MW has been commissioned and rest will be completed by the 1st quarter of the FY 2018 -19.

- Implementation of 300 MW Solar Park Project in phase-1 (total to be purchased by the State) out of the sanctioned capacity of 1000 MW for which DPR has been submitted to MNRE for approval. Bidding in this respect is expected by March 2018.

- Implementation of 8 MW on the un-utilized land of OPTCL Grid Sub-stations for which DPR has been prepared. Bidding in this respect is expected by end of January 2018.

- Bidding by GRIDCO for procurement of 200 MW Solar power through e – bidding reverse auction process in line with MoP guideline dated 03.08.2017 and tender is  to be floated by January 2018.

- Implementation of 200 MW Solar PV Project by NEEPCO in Odisha, which is under discussion.

Apart from these upcoming Solar projects, GRIDCO has also executed Power Purchase Agreement / Power Sale Agreement with non- Solar power projects for a total capacity of 248.5 MW, which are expected to be available within next two years. List of the upcoming non- Solar RE projects are annexed herewithAnnexure-27.

9. 	W.I. No.9

Copy of the final judgment of APTEL dt.01.08.2017 in Appeal No.35 of 2016 and Appeal No.45 of 2016 filed by M/s GKEL and GRIDCO respectively to be furnished. In the ARR application for the FY 2018-19, GRIDCO has indicated that they are taking necessary action to challenge the said judgment before the Apex Court. The issues on which GRIDCO requires to challenge the said order to be intimated.

Reply of GRIDCO:

GRIDCO humbly submits herewith the photocopy of the final Judgment dated 1st August, 2017 in Appeal No.35 of 2016 and 45 of 2016 as Annexure-28 and Annexure-29, respectively. It is further stated that a Civil Appeal has been filed by GRIDCO before Hon’ble Supreme Court of India on 20-11-2017 vide Apex Court Diary No.37340 and 37333 of 2017 against the Hon’ble APTEL Judgment dated 1st August,2017 in Appeal No.35 and 45 of 2016.

- The issue of Time over-run allowed from 27-07-2009 to 09-02-2010 on account of initial delay in handing over of land to M/s. GKEL without impleading Government of Odisha or IDCOL and in absence of any material support furnished by M/s. GKEL is raised in Civil Appeal against Hon’ble APTEL judgment  in Appeal No.35 of 2016:

- The following issues are raised in Civil Appeal against Hon’ble APTEL Judgement  in Appeal No.45 of 2016:

- Very high Project Cost due to delay in completion of the project.

- High Project cost due to consideration of EPC completion Time line as schedule completion date.

- High Project cost due to time-over run allowed by Central Commission.

- Very High capital cost/MW.

- High rate of interest on loan and IDC.

- Cost incurred on account ofNon-EPC cost and Pre-Operative expenses.

- Very high Energy Charge rate.

- High Start-up fuel cost and related Establishment expenses.

- Refund of excess amount earned through sale of infirm power not supplied to the Appellant.

- Non-consideration of sale of infirm power prior to April-13.

10. 	W.I. No.10

In the BSP application, GRIDCO has proposed not to procure any power from the CGPs and Co-generation plants during the FY 2018-19 for State consumption, except in case of exigencies/force majeure conditions, due to adequate availability from other sources. GRIDCO to make an estimate of the quantum of surplus power available from the CGPs and Co-generation plants in the State and intimate the same.

Reply of GRIDCO:

Faced with Power deficit during the Current year (FY 2017-18), GRIDCO approached the Confederation of Captive Power Plants, Odisha (CCPPO) to make available their surplus power which could be utilized for the State consumption.

In response, Hon’ble President, CCPPO in his letter dated 14/09/2017 replied that it could be possible for the CGPs in the State to supply 100 MW of power in totality subject to fulfillment of mutually agreed terms. A copy of the said Letter dated 14.09.2017 from the CCPPO is attached herewith for kind information of the Hon’ble Commission as Annexure-30.

In this regard, GRIDCO respectfully submits that the mutually agreed terms as referred to by the CCPPO would pose difficulties to GRIDCO as far as the rates of procurement from CGPs are concerned as the earlier approved rate of 275 P/U may not be accepted by the CCPPO and any higher rates of procurement from CGPs would prove to be un-economical for GRIDCO. It is further stated that GRIDCO is not averse to meeting the power requirement of the State from any source including from the CGPs provided such procurement becomes economically viable and sustainable on the part of GRIDCO.

11. 	W.I. No.11

At Para-1.3 of its ARR application, GRIDCO has mentioned that it is forced to draw high cost central sector power that was not allowed by the Commission in the BSP order for FY 2017-18, mainly because of less drawal from the IPPs than the approved quantum. Since the approval of the Commission is an estimate, GRIDCO has to submit the month-wise actual generation of the IPPs and state share of power therefrom along with the actual drawal by GRIDCO during the period from April, 2017 upto date.

Reply by GRIDCO:

There has been substantial less supply of power particularly by the IPP of M/s. Vedanta Limited during FY: 2017-18 to GRIDCO i.e. total 596.54MU (upto Nov-17) only against estimated approved quantum of 2939MU.

The month wise details of power supplied by the IPP of M/s. Vedanta Ltd, GKEL and JITPL upto Nov-17 is enclosed herewith as Annexure-31 for necessary reference.

12. 	W.I. No.12

Further, at para 1.6 of the application, GRIDCO has indicated that one generating unit of M/s. NBVL has already been commercially operated since 30.11.2015 but it is not supplying any power to GRIDCO towards State entitlement. Similarly, one unit of M/s. Ind-Barath Energy (Utkal) Limited has been commercially operated since 20.07.2016, but no power has been drawn by GRIDCO till date. In case the IPPs (including M/s. NBVL and M/s. Ind-Barath) are not supplying the state share of power as per the agreement, action taken by GRIDCO to avail State share of power from them to be furnished. Whether the matter is taken up with the State Government or GRIDCO has gone to any court of law?

Reply of GRIDCO:

Both the IPPs i.e. NBVL and IndBarath are yet to commence supply of State share of power to GRIDCO. IndBarath had signed a Supplementary Agreement on 7th June, 2017 to supply State share of power at CTU Bus as an interim arrangement till connectivity with STU is established by the IPP. Further, IndBarath had given proposal of supplying State share of power from alternate sources connected with the STU, in order to get rid of high POC charges and GRIDCO had requested the IPP to submit the details of any such proposal.

Regarding, M/s. NBVL, in spite of separation of feeders for injection of CGP and IPP power, CESU is yet to approve the metering scheme and carry out the sealing of meters. Further, Writ Petitions are being filed by NBVL before Hon’ble High Court of Odisha against CESU (in the matter of Cross Subsidy Surcharges and inaction of CESU for non-sealing of meters) and the Hon’ble Court have passed stay orders in the said Writ Petitions.

13.	W.I. No.13

GRIDCO should furnish the details of existing/incoming IPPs to be commissioned in near future in the format given below:

| Name of IPP and Place of Installation | Status of PPA | Installed capacity with configuration (as per PPA/ MoU) | No. of units already commissioned and date of commissioning | Proposed date of commissioning of balance units | State’s share | Status of coal linkage | Status of connectivity (STU/CTU) |
| --- | --- | --- | --- | --- | --- | --- | --- |

Reply of GRIDCO:

As directed by the Hon’ble Commission, the details regarding the State share of Power in the IPPs, Status of PPA, Installed Capacity, IPPs already Commissioned / Proposed Date of Commissioning, Status of Coal Linkage and the Status of Connectivity etc. have been prepared and attached in the Annexure-32 for kind information.

14. 	W.I. No.14

GRIDCO has proposed the tariff for Teesta power station at 231 p/u. Copy of CERC order in support of this to be submitted.

Reply of GRIDCO:

It is submitted that the Hon’ble Central Electricity Regulatory Commission (CERC) has disposed of the Petition No. 234/GT/2014filed by M/s. NHPC for Truing-Up of Capital Expenditure for the Period 2009-14 and Determination of Tariff for the Period, 2014-19 in respect of Teesta-V Hydro Power Station vide CERC Order Dated 16.08.2016. Hon’ble CERC, in the afore-said Order dated 16.08.2016 has approved the Tariff for NHPC-Teesta for the period 2014-19 which is attached herewith as Annexure-33for kind appreciation of the Hon’ble Commission.

In line with the above Order, GRIDCO has considered both the ECR and the Fixed Charge Rate (FCR) (or the Capacity Charge) as equal to each other, both of which constitute the Annual Fixed Cost (AFC). As per the present billing by M/s. NHPC-TEESTA, the ECR & the Fixed Charge Rate is taken as 115.50 P/U, each.

Thus, the projected tariff of 231.00 P/U and 287.36 P/U including CS Loss & CTU Charges pertaining to NHPC (Teesta-V) for FY 2018-19 is derived as follows:

- ECR as per Current Bills of NHPC-(Teesta-V)		= 115.50 P/U

- Capacity Charge for NHPC-(Teesta-V)			= 115.50 P/U

- Total ECR & Capacity Charge					=  231.00 P/U

Total ECR & Capacity Charge (After 2.01% C.S. Loss)	=  235.74 P/U

Add CTU Charges / Transmission Charges			=    57.14 P/U

---------------------------------------------------------------------------------------------------------------

Total Projected Tariff for NHPC (Teesta-V)				=  292.88P/U

----------------------------------------------------------------------------------------------------------------

15. 	W.I. No.15

The present price of the coal and its GCV (both domestic and e-auction/imported) used in different ER- NTPC stations (including TTPS) for the period for 2016-17& 2017-18 (up to date) tobe submitted.

Reply of GRIDCO:

It is submitted that the details of coal priceandits GCV in different ER NTPC Stations (including TTPS) for the period 2016-17 and 2017-18 (till Nov’17) are attached atAnnexure-34.

16. 	W.I. No.16

The amount received by GRIDCO towards STOA charges for the FY 2016-17 and FY 2017-18 (upto date) under PGCIL Transmission Charges tobe furnished.

Reply of GRIDCO:

As desired by the Hon’ble OERC, the amount of STOA (Short-Term Open Access) Charges for FY 2016-17 & FY 2017-18 (upto Nov’17) received by GRIDCO isfurnished below for kind information of the Commission:

Amount Received by GRIDCO towards

STOA Charges for FY 2016-17

(Amount in Rupees)

| Months | Total Credit (STOA, MTOA, Bill#4) | STOA Charges received by GRIDCO |
| --- | --- | --- |
| Apr-16 | 22695233 | 22695233 |
| May-16 | 32154826 | 31562949 |
| Jun-16 | 34864662 | 34864662 |
| Jul-16 | 33654470 | 33654470 |
| Aug-16 | 32120149 | 31018825 |
| Sep-16 | 34234758 | 33202849 |
| Oct-16 | 34487260 | 34487260 |
| Nov-16 | 32942088 | 32130359 |
| Dec-16 | 30306305 | 29437206 |
| Jan-17 | 28735967 | 28735967 |
| Feb-17 | 35294253 | 35294253 |
| Mar-17 | 32638994 | 32039697 |
| Total | 38,41,28,965 | 37,91,23,730 |

Amount Received by GRIDCO towards STOA Charges for FY 2017-18(Upto Nov’17)

(Amount in Rupees)

| Months | Total Credit (STOA, MTOA, Bill#4) | STOA charges received by GRIDCO |
| --- | --- | --- |
| Apr-17 | 37533267 | 37533267 |
| May-17 | 44922525 | 44922525 |
| Jun-17 | 69931903 | 69788258 |
| Jul-17 | 43855061 | 43064935 |
| Aug-17 | 45982257 | 45982257 |
| Sep-17 | 35706038 | 35706038 |
| Oct-17 | 29654272 | 29654272 |
| Nov-17 | 31431887 | 31431887 |
| Total | 33,90,17,210 | 33,80,83,439 |

17. 	W.I. No.17

Monthly pooled cost of power purchase by GRIDCO from the month of April 2017 to November 2017 along with cumulative figure up to November 2017tobe furnished.

Reply of GRIDCO:

The relevant documents in support of the Monthly Pooled Cost of Power Purchase by GRIDCO for the period from April’17 to Novemberr’17 and the Cumulative uptoNovember’17 are attached herewith asAnnexure-35.

18. 	W.I. No.18

The following formats are not submitted along with the application. The same to be filled in and submitted to the Commission.

T – 1:	Power purchased from Generators

T – 2:	Schedule of Maintenance of Generators

T – 6:	Tariff for State Thermal Station

T – 8:	Power Purchase from Central Hydro Stations.

T – 9:	Tariff computation for central Sector Thermal stations.

T – 10: Energy Charges Rate (ECR)

T – 13: Transmission Loss for PGCIL Transmission lines

T – 19: Summary of Deviation / Unscheduled Interchange

Reply of GRIDCO:

As desired by the Hon’ble Commission, GRIDCO respectfully submits that the Technical Formats such as, T-1(Power purchased from Generators),T-2 (Schedule of Maintenance of Generators), T-6 (Tariff for State Thermal Station-TTPS),T-8 (Power Purchase from Central Hydro Stations), T-9 (Tariff Computation for Central Sector Thermal Stations), T-10 (Energy Charges Rate(ECR)), T-13 (Transmission Loss for PGCIL Transmission lines)and T–19 (Summary of Deviation / Unscheduled Interchange)are attached as Annexure-36 to Annexure-43 respectively.

Finance:

19. 	W.I. No.19

GRIDCO is to submit the Annual Report/Audited Accounts of FY 2015-16 and FY 2016-17. Along with this also submit the soft copy of respective years Trial Balance and Ledger Accounts.

Reply of GRIDCO:

It is respectfully stated that GRIDCO has already submitted its Annual Accounts for FY 2015-16 on 13.01.2017 along with GRIDCO’s Compliance to the Queries of the Hon’ble OERC on the ARR & BSP Application for FY 2017-18.  The Audit Report pertaining to the Annual Accounts for FY 2015-16 of GRIDCO was submitted on 04.12.2017 before the Hon’ble Commission.

GRIDCO humbly submits herewith the Hard Copy of the Final Annual Accounts for the year 2016-17as Annexure-44.

As desired by the Hon’ble Commission, the Soft Copies of the Ledger & Trial Balance for FY 2015-16 & FY 2016-17 are also submitted herewith for kind information and reference.

20. 	W.I. No.20

GRIDCO to furnish the actual audited information of power purchases from each source and each station wise showing unit, rate and actual cost incurred which has been reflected in the audited accounts of FY 2015-16 and FY 2016-17.

Reply of GRIDCO:

As directed by the Hon’ble Commission, the Actual Audited Information relating to Power Purchase for FY 2015-16 and the authenticated but Un-Audited Power Purchase details for FY 2016-17 from different Generators / Sources are attached herewith as Annexure-45 & Annexure-46,respectively.

21. 	W.I. No.21

GRIDCO to furnish the actual audited information sales of power to each DISCOM including Sales through trading, UI, CGP etc., showing unit, Rate and revenue income earned which has been reflected in the audited accounts of FY 2015-16 and FY 2016-17.

Reply of GRIDCO:

As desired by the Hon’ble Commission, Statements showing actual audited Information regarding sales of power for FY 2015-16 and the Authenticated but Un-audited Sale of Power for FY 2016-17 to each DISCOM including Sales through trading, UI, CGP etc., are submitted herewith as Annexure-47 & Annexure-48, respectively

22. 	W.I. No.22

GRIDCO has submitted at Para 16 (ii) of the ARR application that, outstanding with DISCOMs is Rs.2901.35 as on 31.03.2017, whereas the same has been shown as Rs.2922.46 core in OERC tariff format F-6. Such difference to be clarified.

Reply of GRIDCO:

It is submitted there is no difference in BSP Outstanding payable by the DISCOM Utilities in totality comprising year end adjustment bills and BSP bills.

In fact, total Debtors of GRIDCO is shown as Rs.3565.62 Core in the Accounts which consisted of Rs. 2922.45 Core towards BSP Outstanding of DISCOM Utilities and Rs.643.17 Core towards Year-end-Adjustment of Bills

The same is reflected in format F-6:

As per OERC Tariff Format “F-6”as follows:

Total Debtors (as per A/Cs for FY 2016-17)		= Rs.3565.62 Core

Less Provision made         					= Rs. 643.17   Core

Balance amount after provisioning Rs.2922.45 Core which is the  BSP Bills Outstanding against DISCOM Utilities .

However, the breakup of year end adjustment bill and other BSP Bills shown in the Table under Para 16 (ii) at Page-74 of the ARR has been misclassified asRs.2901.35 core and Rs. 664.27 core. This same may be read as follows:

BSP Bills as on 31.03.2017   				= Rs.2922.45 Core

Year-end-Adj. Bills       					= Rs. 643.17 Core

Total Debtors         						= Rs.3565.62 Core

23. 	W.I. No.23

GRIDCO to furnish the agreed and signed joint reconciliation statement of total receivable and payable outstanding with each DISCOM under different head as per audited accounts as on 31.03.2017.

Reply of GRIDCO:

GRIDCO respectfully submits herewith the copies of the Joint Reconciliation Statements with the 4DISCOM Utilities which are attached as Annexure-49.

In this regard, it may be stated that the 3 DISCOM Utilities, namely, WESCO Utility, NESCO Utility & SOUTHCO Utility, while signing the mutual agreed Joint Reconciliation Statement, have duly considered the Securitization Order of Hummable Commission dt.01.12.2008. The details of difference with those three Disco Utilities are as follows.

Reconciliation of Dues between GRIDCO &3 DISCOM Utilities

(Amount in Rs. Core)

| DISCOM Utility | Year-End Adjustment Bills | Rebate Disallowed | DPS considered in Securitization Dues | Others | Total |
| --- | --- | --- | --- | --- | --- |
| WESCO | 137.666 | 65.185 |  | 0.003 | 202.854 |
| NESCO | 99.163 | 38.866 | 5.666 |  | 143.695 |
| SOUTHCO | 134.154 | 13.027 | 3.500 | 0.388 | 151.069 |
| Total | 370.982 | 117.078 | 9.166 | 0.391 | 497.618 |

In case of CESU, it may be stated that the Distribution Utility has not made any accounting effect in obedience to Hon’ble OERC’sSecuritization Order Dtd.01.12.2008.However, the total difference taking into BSP outstanding and Securitized dues outstandingas on 31st Mar’2017 is coming to Rs.473.17 Crore,as detailed below:

Reconciliation of Dues between GRIDCO &CESU

(Amount in Rupees)

BSPDues						= Rs.1,45,10,780/-

Loan dues (Principal &interest)			= Rs.41,81,41,222/-

Rebate availed but not allowed			= Rs.46,38,76,562/-

Material account					= (Rs.3,23,89,226.58)

Transfer Scheme 					= Rs.386,73,26,911/-

Others              					= Rs.2,19,728/-

24. 	W.I. No.24

Cash flow statement (OERC format F-7) as submitted by GRIDCO, there is a negative closing balance of Rs. 328.41 crore of FY 2016-17. Whereas as per Balance sheet (OERC format F-15) there is a positive closing cash and bank balance of Rs.263.76 crore. GRIDCO to furnish the reason of above difference and submit the reconciliation statement of cash and bank balance  balance sheet as on 31.03.2017 and monthly cash flow statement of FY 2016-17.

Reply of GRIDCO:

It is submitted that, as per the OERC Finance Format “F-7”, there is Negative Closing Balance of Rs.328.41 Crore during FY 2016-17 which is the Secured-Overdraft as on 31.03.2017. This is shown in the Schedule No.7 of the Accounts of GRIDCO for FY 2016-17 under the head, “Short term Borrowings”.

In respect of the Hon’ble Commission’s Query it is to state that, there is a positive Closing Cash and Bank Balance of Rs.263.76 crore as per the Balance Sheet (OERC format F-15) which appears in Schedule-16 of the Accounts for FY 2016-17 under the head “Cash and Cash Equivalent”. This positive figure i.e. Rs.263.76 Crore includes, Rs.41.42 crore as Cash Balance in the Current Account and Rs.222.34 Crore as “Short Term Deposit” which includes the amount received from the Govt. of Odisha for lending to DISCOM Utilities towards CAPEX Fund. It also includes Rs.22.50 Crore provided to the Union Bank of India towards Margin Money against the Letter of Credit.

As desired by the Hon’ble Commission, a Copy of the Bank Reconciliation Statement as on 31.03.2017 and Monthly Cash Flow Statement for FY 2016-17 are attached herewith as Annexure- 50and Annexure- 51respectively.

25. 	W.I. No.25

GRIDCO to submit month wise cash flow statement for the financial year 2017-18 (upto November, 2017).

Reply of GRIDCO:

As desired by the Hon’ble Commission, the Month-wise Cash Flow Statement for FY 2017-18 (April’17 to November’17) of GRIDCO is attached herewith as Annexure-52.

26. 	W.I. No.26

GRIDCO to submit Loan outstanding position with soft copy of loan repayment schedule of all loans as on 30.11.2017. Also furnish the details of loan availed during the financial years FY 2015-16 to 2017-18 (upto November 2017) as per prescribed format below:

| Sources | Amounts | Rate of Interest | Date of Availed | Repayment period from -------to------ | Purpose |
| --- | --- | --- | --- | --- | --- |

Reply of GRIDCO:

As directed by the Hon’ble Commission, Soft Copy showing the Loan Outstanding Position of GRIDCO along with the Loan Repayment Schedule of all Loans as on 31.11.2017 is furnished herewith for kind perusal and information of the Commission. In addition, the details of Loans availed during Financial Years of FY 2015-16 to FY 2017-18 (Up to November’17) as per the OERC prescribed format is attached herewith as Annexure-53.

27. 	W.I. No.27

GRIDCO has submitted that Rs.2.77 crore of fixed assets to be added during FY 2017-18 and FY 2018-19. Out of which Rs.2.50 crore under computer head. GRIDCO to furnish the details of above capital investments. Further GRIDCO may furnish the detail fixed asset register as on 31.03.2017.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the details pertaining to Capital Expenditure (Fixed Assets Related Information) of GRIDCO for FY 2017-18 is given below:

| Capital Expenditure related information for the F.Y. - 2017-18 |  |  |  |
| --- | --- | --- | --- |
| Sl.No. | Particulars | Equipment | Amount in Rupees |
| 1 | Wizer Tech Informetics Pvt. Ltd. | Computers & Peripherals (Server) | 18,202,837.00 |
| 2 | Power Zone, BBSR | A.C. Installation | 104,150.00 |
| 3 | JTS Services,BBSR | A.C. Installation | 77,000.00 |
| 4 | Tech Solution, BBSR | Digital Xerox, Machine | 181,230.00 |
|  | Total |  | 18,565,217.00 |

It may be observed that the Capital Expenditure pertaining to Computers & Peripherals for FY 2017-18 (Upto Nov’17i.e. for eight months) is around Rs.1.82 Crore. Thus, the estimation / projection of Expenditure of Rs.2.50 Crore during FY 2018-19may be considered as realistic.

The copy of the abstract of Fixed Assets Register as on 31.03.2017 is submitted herewith as Annexure-54as per the direction of the Hon’ble Commission

28. 	W.I. No.28

GRIDCO to submit the following employee cost related information as per prescribed format given below:

| Particulars | Actual for FY 2016-17 | Actual for FY 2017-18 (Month wise till Nov.2017) |
| --- | --- | --- |
| Basic & Grade pay actual paid |  |  |
| DA paid |  |  |
| HRA Paid |  |  |
| Medical Allowance paid |  |  |
| Other |  |  |
| Total |  |  |

(in Rupees)

Obligi

Reply of GRIDCO:

Complyingto the directives of the Hon’ble Commission, the details of employee cost related information have been furnished in the Commission prescribed Format and is attached herewith as Annexure-55.

29. 	W.I. No.29

GRIDCO has claimed the employees cost considering 7th pay Commission. What action has been taken by GRIDCO till date to implement the same, give detail information on it?

Reply of GRIDCO:

It is respectfully submitted that the 7th Pay Commission shall be implemented by OPTCL as employees working GRIDCO belong to OPTCL. Presently, Negotiations are already going on for Revision of Pay of the ministerial Staff / Field Staff (Non-Executives) of GRIDCO / OPTCL i.e. 01.04.2015. Once the Pay Revision of Non-Executives are settled and finalized with the concerned Employees Unions, necessary action will be initiated by OPTCL for implementation of the recommendation of the 7th Pay Commission.

30. 	W.I. No.30

During past periods, the interest rate has been reduced consistently. What step has taken to swap high interest bearing loan? How much interest burden has reduced by swapping high interest bearing loan? GRIDCO to clarify.

Reply of GRIDCO:

GRIDCO humbly states that concerted efforts have been made to swap high interest bearing Loan with that of the low interest bearing Loan. Persistent efforts coupled with dexterous negotiations yielded fruit that resulted in considerable lowering of interest burden on the Organization. In fact, Loan with interest as high as 10.55% per annum has been swapped with lower interest @8.20% per annum. The Net annual resultant saving in interest outgo due to swapping is calculated as Rs.53.22 Crore (approx.) per annum as may be observed from the Calculation Statement which is attached herewith as Annexure-56for kind perusal and reference of the Hon’ble Commission.

General:

GRIDCO honorably submits that it craves leave to make further submissions in the matter as may be necessary in proper and just adjudication of the matter.

PRAYER

In view of the fore-going submissions, GRIDCO respectfully prays the Hon’ble Commission to consider the compliance / reply made by GRIDCO to the various queries of the Hon’ble Commission while approving the ARR & BSP of GRIDCO for FY 2018-19,for which GRIDCO, as is duty bound, shall ever pray.

By the Applicant,

Through

Bhubaneswar

January___, 2018

Director (F&CA), GRIDCO

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Filing No.: 02

Case No. 76 of 2017

IN THE MATTER OF :	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2018-19 under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

IN THE MATTER OF:	Compliance / Clarifications / Reply by GRIDCO to the Wanting Information / Queries raised by the Hon’ble Commission with respect to ARR & BSP Application of GRIDCO for FY 2018-19 vide Hon’ble OERC letter No.1815 dated 22.12.2017.

AND

IN THE MATTER OF :  GRIDCO Limited, Janpath, Bhubaneswar

- …….…. Applicant

Affidavit verifying the Application

I, Shri Bibhu Prasad Mohapatra, aged about 58 years, S/o ShriSarangdharMohapatra, Director (Finance & Corporate Affairs), GRIDCO do hereby solemnly affirm and say as follows:

I am the Director (Finance & Corporate Affairs) of GRIDCO Ltd., the Applicant in the above matter and am duly authorized to make this affidavit on its behalf.

The replies / compliance made in the foregoing paragraphs in response to Query / W.I. No. 1 to W.I. No. 30 raised by the Hon’ble OERC in the letter No.1815 dated 22.12.2017herein above are based on information and I believe them to be true.

Bhubaneswar

January_____, 2018								DEPONENT