NESCO Utility

Reply to Queries on NESCO Utility’s ARR Filing for the FY 2019-20

Reply to Technical Queries:

- Slab wise No of Consumers for domestic and general purpose consumer is attached as Annexure-T 1.

- The sales MU of LT subsidized categories (Kutir Jyoti, Domestic, Irrigation and Allied Agro) for FY.-2017-18 (actual) is 1385.222MU and for FY.2018-19(estimated) is 1680.686MU, which is increase by 21%. Similarly sale for FY.2019-20 (projected) is 2045.697MU, which is increase by 48% from FY.2017-18. So due to the high growth trend in subsidized categories the overall LT realization trend has been declined.

- Required data in prescribed format is attached as Annexure-T 3

- As on date OPTCL has issued clearance only in favour of M/S Emami Cement Ltd for 15MVA load in 132KV.

- Revenue collected from HT and EHT Consumers towards Reliability Surcharge furnished hereunder:

| Reliability Surcharge |  |  |  |
| --- | --- | --- | --- |
| Year | HT (In Rs) | EHT (In Rs) | Total (In Rs) |
| FY.2016-17 | 11141138.00 | 186451154.10 | 197592292.10 |
| FY.2017-18 | 13359308.70 | 193788638.30 | 207147947.00 |
| FY.2018-19 (Upto Nov-18) | 9192561.20 | 138191802.50 | 147384363.70 |

- Benefit allowed to HT and EHT Consumers towards TOD benefit furnished hereunder:

| TOD Benefit |  |  |  |
| --- | --- | --- | --- |
| Year | HT (In Rs) | EHT (In Rs) | Total (In Rs) |
| FY.2016-17 | 21525015.22 | 49008642.40 | 70533657.62 |
| FY.2017-18 | 22538258.95 | 76839633.80 | 99377892.75 |
| FY.2018-19 (Upto Nov-18) | 14905710.18 | 57168311.00 | 72074021.18 |

- T4 and T6 upto Dec-18 shall be submitted by 2nd week of Feb-18 after completion / processing of billing for the month of Dec-18.

FINANCE

- Employee Cost :

The month-wise component wise employee cost (cash outflow basis) for the current year FY 2018-19 upto November 2018 furnished as Annexure – F1 . The employee cost doesn’t include the terminal benefits.

- NESCO has shown probable recruitment of 596 Technical and Non-Technical Executives and Non-Executives during the FY 2019-20. This was analysed considering the probable vacancy in base level posts i.e. GET, DET, AM (HR), AM (Fin.), Jr. Accountant, OAG-III, Junior Technician during FY 2019-20. Further, it was examined that as the vacancy position is too high and it is not possible to fill up all the vacancies in a year, it was decided to fill up at least 20% of the vacancy in base level posts during FY 2019-20, the break up of which is given below:

|  | Name of the Post | Probable Vacancy (As on 31.03.2020) | Probable Recruitment during 2019-20 | Remarks |
| --- | --- | --- | --- | --- |
| Technical Executives | AM (Elect.) | 27+1=28 | 20% of 28=6 |  |
|  | JM (Elect.) | 72 | 20% of 63=13 | 12.5% vacancy i.e 9 posts are to be filled up by Non-Executives. |
| Non-Technical Executives | AM (HR) | 4 | 3 | 1/3rd vacancy i.e 1 post is to be filled up by JM (HR) |
|  | AM (Finance) | 6 | 4 | 1/3rd vacancy i.e 2 posts is to be filled up by JM (F) |
| Technical Non-Executives | Junior Technician | 2208+45=2253 | 20% of 2253=450 |  |
| Non-Technical Non-Executives | Jr. Accountant | 55 | 20% of 27=6 | 50% of the vacancy will be absorbed through departmental candidates |
|  | OAG-III | 562+8=570 | 20% of 570=114 |  |

- The justification as regards the additional A & G as estimated for the ensuing year has been explained in para 2.5 in our written submission wherein the justification and the cost benefit analysis has been explained which may kindly be referred into.

- The A & G Expenses details for the current year 2018-19 upto November 2018 furnished as Annexure – F2.

- The month wise R & M Expenses for the current year 2018-19 upto November 2018 furnished as Annexure – F2.

- We have estimated an amount of Rs. 46.29 crores as against the approval of Rs. 41.33 crores and the reason of it are attributable to the implementation of GST @ 18% and the inflationary reasons.

- The amount of capital expenditure for the FY 2018-19 has been forecasted to the tune of Rs. 639.74 crores excluding the Opening Capital Work In Progress of Rs. 394.37 crores and the details of the expenditures (schematic) and the likely transfer to the assets till the end of November ‘ 2018 are tabulated as under :

Rs. In crores

| SCHEME(*) | Expenses | Transfer to Assets |
| --- | --- | --- |
| Land & Building ; Furniture & Fixtures ; others | 0.965 | 0.643 |
| DEPOSIT WORK AND OTHERS | 87.83 | 58.55 |
| CAPEX PLAN-GoO | 5.47 | 5.47 |
| DESI | - | 27.29 |
| BIJU YOJONA | 7 | 3.5 |
| BIJU S.V.Y | 2.01 | 1 |
| IPDS | 65.27 | 43.51 |
| DDUGJY | 70.52 | 35.26 |
| RGGVY-II | 145.96 | 51.08 |
| ODSSP | 190 | 66.5 |
| SAUBHAGYA | 48.22 | 32.15 |
| ODAFF/LED VILLAGE | 16.5 | 5.55 |
| TOTAL | 639.745 | 330.503 |

- The physical form of investment of consumer security deposit since 1999-2000 and to till date in different financial instrument is furnished as Annexure – F3.

- The utility is undergoing the works of maintenance of its electrical installation through outsourcing process. With the ever increasing electrical installations under IPDS and ODSSP to  man the installations the utility has outsourced the activities. The contracts are awarded adhering the minimum wages as notified by the Govt. Besides above, the utility has engaged 732 personnel for the other office activities viz. house keeping, watch and ward, office assistance i.e. the almost the half of the existing vacancies which is bare necessary for running the office. The utility has estimated an amount of Rs. 30.68 crores for the ensuing year covering 1344 personnel. During the current year i.e. FY 2018-19 Till November’2018, the utility has expended Rs. 15.30 crores with the monthly average of Rs. 1.91 crores.

- The availability of fund in the Employees Trust Fund as on 31/03/2018 and its pattern of investment if enclosed as Annexure – F4. The actual monthwise cash outflow towards terminal liability during the FY 2017-18 and 2018-19 (upto Nov’2018) are disclosed in Annexure – F5.

- The month wise cash flow of terminal benefits is already submitted as above.  The arrear on account of terminal benefits has not been estimated by the actuary. An amount of Rs. 112.20 crores has been claimed as terminal benefits for the ensuing year which do not account for the 7th Pay implementation effect.

- The details of the cash flow considering the revenue items for the FY 2017-18 and 2018-19 (upto November ‘2018) are disclosed as Annexure – F6.

- The details of investment made out of the available funds from security deposit and terminal benefit trust are already explained in para 8 and para 10.

- In NESCO Utility around mobile based photo billing was started in 2014 taking a consumer base of around 20,000 consumers on pilot basis. After successful implementation now 16 lakh of consumers are being billed through mobile based photo billing.

Procedure:-

Sub-division wise billing input Data is being uploaded to server on 04th to 06th of each month.

Accordingly, billing data is downloaded to respective mobiles (binder wise IMIE number tagged to respective meter reader ID) within 24hour of data uploaded. And meter reader visits consumer premises with Android Mobiles & hand held printers for bill generation and delivery at the premises of the consumers on monthly basis with pre loaded NESCO billing Soft-ware.

At the premises of consumer, meter reader shall put Energy Reading (KWH), mobile number & Maximum Demand (MD) (in case of static meter) and then captures the photograph of meter showing; Meter sl. No, Energy reading, sealing of meter which should be clearly visible.

Then, Billed data are uploaded to server on real time basis and in case of billing –area is not covered within the network area of the internet service provider, the same shall be uploaded to the server soon after the meter reader enters into service coverage area.

Meter photos taken by the meter readers are being uploaded to server on same day in urban areas and within two days in rural areas.

For improving consumer coverage through online mode, we have taken following steps from 2013 onwards.

- Daily upload of spot billing data on web server to improve online collection through different mode like RCS , MPOs and other different online gateways.

- Company operated computerized collection centers have been setup at 15 locations facilitating collection from consumers.

- We have engaged 8 online collection Agencies for collection through debit cards, credit cards, netbanking and through different wallets like ICICI Bank, ATOM,  Billdesk, ITZ, OXIGEN,CSC, Paytm, Post Offices and Bharat QR..

- Spot Online Mobile Revenue Collection System has been implemented in 48 Sub-division covering  15.89 Lacs consumers in place of manual money receipt collection system.

- 220 nos. Mobile POS machine of  HDFC bank have been provided at our Division offices, Sub-division offices, collection counters and  to billing agencies for  collection of revenue through Debit / Credit Card.

- To encourage digital transaction NESCO has already on boarded on Bharat Bill Payment System (BBPS) through NPCI.

- WSHGs are being encouraged to participate in rural electricity distribution management .  21 nos. WSHGS have been engaged in 03 Sub-Divisions  for Web based Billing and collection.

- Already a training programme on metering, billing and collection (MBC) has been completed and imparted to maximum no. of technical field staff, which enables them to tackle technical difficulties in this regard. There is no scheduled ongoing training programme at present.

- In NESCO Utility, only the Khaira S/D under SED, Soro is being operated on franchisee basis and the franchisee is looking after the maintenance works of LT & 11 KV lines.

The manpower position of Khaira S/D is given below:

AM (Elect.)-1

JM (Elect.)-2 (for four sections)

L/M B-7

L/M C-8

Helper-8

JT-1

The role and responsibility of above employees are: maintenance of 33 KV line and sub-stations, SVR, handling of consumer grievances, Govt. Project works from time to time, employee establishment work deployed in the structure, furnishing the information required by the higher authority, preparation of feasibility report of all 3 ph/1 ph new connections, supervision and monitoring the works of the Khaira S/D etc.

- The performance of input based franchisee operated division is submitted  as Annexure-F7(A.) The performance of micro franchisees are attached as AnnexureF7(B).

- The Utility is yet to frame the policy in segregating the activities of the business i.e. retail supply and wheeling both in terms of personnel and assets. Without the policy framework, the utility is yet to segregate the accounts in real term.  While submitting the ARR, the utility has segregated the ARR as per the norms fixed.

- The Fixed Assets Register for the FY 2017-18 is under preparation and shall be submitted separately.

- As per the policy enumerated below. Provision for bad and doubtful debts is made on the balance of unrealised debtors as on six months prior to the Balance Sheet date :’

- In respect of HT/EHT category of consumers, analysis has been carried out on case to case basis and the amount of doubtful of recovery has been fully provided for in the accounts.

- The amount receivable from the permanently disconnected consumers as on six months prior to the Balance Sheet date has been fully provided for.

- In respect of non-government LT category of consumers, the arrears appearing as on six months prior to the Balance Sheet date after adjusting the collections made thereafter, have been fully provided for.

- Required data in prescribed format is attached as Annexure-F8

- The cash out go on outsourced engagement for the FY 2018-19 ( Actuals upto Nov’18) are already explained in para 9.

- The actual corpus fund available upto 31/03/2018 under Pension and Gratuity fund is Rs. 929.15 crores and Rs. 23.35 crores respectively.

- The actual capital expenditure and asset addition scheme wise upto Nov’2018 is already submitted at Para 7.

- The actual fund availability against Security Deposit as on 31/03/2018 and the quantum of the amount pledged are annexed as Annexure F3 which may kindly be referred into.

- The licensee has already submitted the audited accounts of the utility for the FY 2017-18 with the Hon’ble Commission vide letter no. 1274 dt. 20/11/2018.

- The monthwise receipts of Escrow relaxation for the FY 2017-18 and FY 2018-19 (upto Nov’2018) are annexed as Annexure – F9

- The transactions of BSP for the period from April’18 to Nov’18 are annexed as Annexure – F10. The BST Reconciliation upto 31/03/2018 has been carried and finally signed on 26/07/2018, the copy of which is annexed as Annexure – F11.

Authorised Officer

NESCO Utility