BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2019-20, under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

Nesco Utility (NESCO)

HQ Office Januganj, Balasore, Odisha-756019

---------Utility

The Humble applicant above named respectfully sheweth:

Authorised  Officer, NESCO

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Aggregate Revenue Requirement and Retail Supply Tariff for the financial year 2019-20 , under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

Nesco Utility (NESCO)

HQ Office Januganj, Balasore, Odisha-756019

---------Utility

Affidavit verifying the application for the Aggregate Revenue Requirement and Tariff Application

I, Bijaya Kumar Sahoo, Son of Sri Duryodhan Sahoo, aged about  59 years, residing at, Balasore, do hereby solemnly affirm and state as follows:-

I am the Authorised Officer of Administrator for Nesco Utility (NESCO), HQ. Office-Januganj, Balasore, Odisha-756019.

The statements made above along with the annexures annexed to this application are true to the best of my knowledge and the statements made are based on information and records and I believe them to be true.

Place: Bhubaneswar 							DEPONENT

Date: 30.11.2018 						Authorised Officer, NESCO

Table of Contents

1.	Executive Summary	5

2.	Revenue Requirement for FY 2019-20	9

2.1.	Data Sources	10

2.2.	Sales Forecast	11

2.3.	Power Purchase Expenses	14

2.4.	Employees Expenses	15

2.5.	Administrative and General Expenses	17

2.5.1.	Energy Audit	18

2.5.2.	Smart Metering Implementation	23

2.5.3.	AMR Installation and management expenses	23

2.5.4.	Man Power Assessment	24

2.5.5.	Media Campaigning	24

2.5.6.	Community Participation in Rural Power Distribution System of Odisha	25

2.5.7.	IT Automation	26

2.6.	Repair & Maintenance Expenses	28

2.7.	Provision for Bad and Doubtful Debts	28

2.8.	Depreciation	29

2.9.	Interest Expenses	29

2.9.2.	World Bank Loan	30

2.9.3.	Capex Loan from Govt. of Odisha	30

2.9.4.	Interest on Security Deposit	31

2.9.5.	Total Interest for Financial Year FY 2019-20	31

3.	Capital Expenditure Programme	31

3.1.1.	Deen Dayal Upadhyaya Gramya Jyoti Yojana (RAJIV GANDHI GRAMINA VIDYUTKARANA YOJANA (RGGVY- 12th Plan))	31

3.1.2.	Deen Dayal Upadhyaya Gramya Jyoti Yojana (DDUGJY)	32

3.1.3.	Capital Expenditure Programme (CAPEX)	32

3.1.4.	Integrated Power Development Scheme (IPDS)	33

3.1.5.	Biju Grama Jyoti Yojana (BGJY)	33

3.1.6.	Biju Sahanchal Vidyut karan Yojana (BSVY)	34

3.1.7.	Odisha Distribution System Strengthening Programme ( ODSSP  )	34

3.1.8.	Shifting of Lines and Transformers - School and Anganwadi Centres	35

3.1.9.	Separate Dedicated Pisciculture feeder:-	35

3.1.10.	NEW DESI Scheme(Transformers procured by OPTCL under BGJY scheme	35

3.1.11.	Strengthening of Electrical network inside Elephant Corridor	36

3.1.12.	Underground Cabling System at Baripada Ratha danda:-	36

3.1.13.	LED Village:-	36

3.1.14.	SAUBHAGYA	36

4.	Revenue and Current year GAP	37

4.1.	Non Tariff Income	37

4.2.	Provision for Contingency Reserve	37

4.3.	Reasonable Return	38

4.4.	Current year FY 2018-19’s GAP	38

4.5.	Revenue at Existing Tariffs	39

4.6.	Summary of Annual Revenue Requirement and Revenue Gap	40

5.	Initiatives by Utility & Other performance improvement measures	41

5.1.	Compliance to OERC Directions	41

5.2.	Various Payment Options	47

5.3.	Development of Franchisee in Utility Area	48

5.4.	Action plan for Revenue Improvement:	52

6.	Allocation of Wheeling and Retail supply cost	54

7.	Tariff Proposals and Rationalization Measures	55

7.1	Withdrawal of Power Factor incentive.	56

7.2	Demand charges to HT Medium category of consumers	57

7.3	MMFC for LT category of consumers	57

7.4	L.F. Billing to Irrigation Category of Consumers	59

7.5	Additional Rebate of 1% to LT Domestic category of Consumers	59

7.6	Introduction of KVAH Billing	60

7.7	Applicability of Power Factor Penalty.	62

7.8	Demand Charges and Monthly Minimum Fixed Charges	63

7.9	Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.	64

8.	Other Issues	64

8.1	Rebate on Prompt Payment	64

8.2	Overdrawal beyond contract demand and charges thereof.	65

9.	Formats	68

9.1	Commercial/Technical  Formats T1-T9	69

9.2	Financial Formats F1-F27	69

9.3	Details Performance Formats (P1-P17) in Vol- II	69

10.	Prayer	69

# Executive Summary

Nesco Utility, Balasore,(NESCO), is the holder of the Odisha Distribution and Retail Supply License, 1999 ( No 3/99) and has been carrying out the business of distribution and retail supply of electricity in the five districts of Odisha, namely, Balasore, Bhadrak, Jajpur ,Keonjhar and Mayurbhanj. This submission is made by the Utility before the Honorable Commission for the determination of Aggregate Annual Revenue Requirement and Retail Supply Tariffs for the Financial Year 2018-19.

That, Hon’ble Commission in their Order dated 04.03.2015 in Case No. 55/2013 have revoked the Licences of NESCO, WESCO and SOUTHCO (Distribution Companies) under Section 19 of the Electricity Act, 2003.

Consequent upon such revocation and considering the situation at hand due to such revocation of Licences of NESCO, WESCO & SOUTHCO and also keeping in view, the salient objectives and purpose of the Electricity Act, 2003 Hon’ble Commission in exercising powers conferred on it under Section 20 (d) of the Electricity Act, 2003 vests the management and control of NESCO, WESCO and SOUTHCO utilities along with their assets, interests and rights with Chairman-Cum-Managing Director, GRIDCO (CMD, GRIDCO) in order to ensure the maintenance of continued supply of electricity in the Northern, Western and Southern Zone (area of supply of NESCO, WESCO and SOUTHCO) in the interest of consumers and the public interest at large. This is an interim arrangement under Section 20 (d) of the Electricity Act, 2003.

Hon’ble Commission further directs that the management and control of the utilities of NESCO, WESCO and SOUTHCO with all the assets, interests and rights shall vest with Chairman-Cum-Managing Director, GRIDCO with immediate effect and he shall manage the electricity supply activities in the revoked licensed area of NESCO, WESCO and SOUTHCO respectively till further orders of the Hon’ble Commission.

Subsequent to above direction of Hon’ble Commission the Administrator of the Utility has appointed an authorised officer to look after the day to day operation of the utility without affecting the consumer service of the north east part of the state.

Filing of Business Plan

On segregation of Wheeling Business from Retail supply as per Gazette Notification dtd.14th Nov 2014, where in the regulation regarding Terms and Conditions for Determination of Wheeling Tariff and Retail Supply Tariff has been notified. As per the said regulation the licensee is required to file its Business Plan for 1st control period i.e from FY 2014-15 to FY 2018-19. In compliance to the direction of Hon’ble Commission the utility has already filed its Business Plan before Hon’ble Commission on 23rd  Aug-2017 and the application has been registered as case no.56 of 2017. The last hearing was conducted on 17th Oct 2017 with certain direction to the DISCOMS and hearing has been concluded & the matter has been posted for order on 28th Nov 2017.

The utility has adopted all the parameters taken in Business plan filing while preparing the present ARR for FY 2018-19, however certain modifications has been adopted considering latest development and performance parameters on actual basis which may kindly be taken into record.  The reasons for change/modifications are enumerated in the appropriate head in the ARR application.

Accordingly, the utility in accordance with the license conditions, have calculated the total expected revenue from sale of electricity charges in accordance with the provisions of the OERC (Terms and Conditions for determination of wheeling tariff and Retail Supply Tariff) Regulations 2014 and hereby submitting in the foregoing paragraphs as per the following structure.

- A statement with full details of its expected annual revenue and costs for the ensuing year FY 19-20 for its Licensed Business along with technical, commercial, performance and financial parameters in the formats prescribed by the Hon’ble Commission.

- Compliance to the directives issued by the Hon’ble Commission

- Statement of allocation of wheeling and retail supply cost as per provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014

- Proposal for tariff rationalisation measures.

  - That, the utility has made certain assumptions while projecting its operations for the FY 2019-20. These projections are based upon the best estimates of the operations and prospective plans of the utility at the time of the ARR filing. The actual ARR and the revenue figures would be different from the above estimates due to several external factors such as power purchase cost and change in consumer mix/ consumption etc.

  - Based on estimated Revenue Requirement and Revenue at existing tariff, the revenue gap for FY 2019-20 works out to Rs.207.54 Crore.

Table 1A : Revenue Gap

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 2787.58 |
| Reasonable return | 10.55 |
| Sub Total | 2798.13 |
| Revenue from sale of power at existing tariffs | 2513.30 |
| Non Tariff Income | 77.28 |
| TOTAL REVENUE GAP | 207.54 |

The revenue gap for the year 2019-20, considering the BSP rate at FY 2018-19 is arrived at Rs. 207.54 crores.

Revenue GAP if Railway would avail power supply from other source

Presently the Utilty is having 8 Nos of traction load with Contract Demand of 142000 KVA. Considering 1st Six months consumption of 187.242 MU the current year’s consumption has been estimated as 373.104 MU. Similarly the Utility has projected 375.740 MU towards traction consumption for the ensuing year.

If railway would be completely availing power supply from other source other than the Distribution Company then the revenue gap would be Rs 315.95 crore. Hence the GAP would increase by another Rs. 108.41 crs.

Table 1B : Revenue Gap without Railway

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 2665.09 |
| Reasonable return | 10.55 |
| Sub Total | 2675.64 |
| Revenue from sale of power at existing tariffs | 2282.41 |
| Non Tariff Income | 77.28 |
| TOTAL REVENUE GAP | 315.95 |

Therefore the revenue gap for the year 2019-20, with BSP rate at FY 2018-19 without railway would be Rs.315.95 crores.

That, in the above background it is worth mentioning that as of now, at existing tariffs, the Utility is unable to meet its current costs,   and unless there is decrease in input costs in FY 19-20 or any grant/ subsidy is provided, it is very difficult in the part of the Utility to accomplish its obligations as a distribution Utility. Accordingly, the utility prays that such exigencies be considered while processing this Petition.

  - Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Annual Revenue Requirement for FY 2019-20.

- Bridge the Revenue Gap for the FY 2019-20 through increase in Retail Supply Tariff or reduction in Bulk Supply Tariff (BST) wherever possible.

Allow the following Tariff rationalisation measures as proposed

- Withdrawal of Power Factor Incentive.

- Rationalization of MMFC charges for LT category of consumers where disparity in monthly fixed charges for 1st kw or part thereof with the additional kw or part thereof.

- Continuance of additional rebate of 1% to LT  single phase Domestic category of consumers only if payment made through digital mode/online over and above normal rebate.

- Introduction of KVAH Billing

- Extending of levy of penalty on energy charges when a consumer draws power

- 2% Rebate be allowed on payment of current monthly BST bills (excluding all arrears) within 3 days time instead of 2 working days and also to allow rebate on part payment of BST bills.

- Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer considering receivable audit report.

- Addressing of negative cash flow of the utility by giving special relief towards reduction of BST.

- Other Tariff rationalization measures as proposed in this application

- Allow the Utility to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit

# Revenue Requirement for FY 2019-20

This section outlines the assumptions for estimation of revenue requirement for FY 2018-19.

While filing Business Plan for the 1st control period the Distribution loss and AT&C loss trajectory was considered in the following manner

|  | FY 14-15 | FY 15-16 | FY 16-17 | FY 17-18 | FY 18-19 | FY 19-20 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actual | Actual | Actual | Actual | Proposed | Proposed |
| Distribution Loss | 31.10% | 26.73% | 23.50% | 22.28% | 20.00% | 19.00% |
| Collection Efficiency | 96.96% | 95.72% | 96.25% | 93.38% | 96.00% | 97.00% |
| AT&C Loss | 33.19% | 29.87% | 26.37% | 27.43% | 23.20% | 21.43% |
| % Reduction |  | 3.32% | 3.50% | (1.06%) | 4.23% | 1.77% |

Now, in line with the Business Plan projections the expected performance in the ensuing year (FY 2019-20) has been depicted  below with actual of previous year (FY 2017-18), revised estimate for current year (2018-19) as per below table

Distribution and AT & C Loss FY 2017-18 to FY 2019-20

|  | FY 2017-18 | FY 2018-19 | FY 2019-20 (Est) |
| --- | --- | --- | --- |
| Energy Sales in MU | 4234.961 | 4664.972 | 5127.027 |
| Energy Purchased in MU | 5448.992 | 5831.217 | 6329.662 |
| Overall Distribution loss% | 22.28 | 20.00 | 19.00 |
| Collection Efficiency% | 93.38 | 96.00 | 97.00 |
| AT& C loss % | 27.43 | 23.20 | 21.43 |

Due to industrial slow down on account of global recession for mineral based industries along with most of the industries are moving towards their own CPP which is reducing the cross subsidy of NESCO. Presently there are 38 EHT consumers including railway who is having 8 nos of connections. Out of the other 29 nos, 8 nos of industries are having their own CPP. The drawal made in EHT category mainly towards consumption of Railway, Balasore Alloyes Ltd, Rohit Ferro Tech Ltd., and Tata Steel Ltd., Kalinga Nagar. Others are drawing very less as compared to their CD. Now Four industries are availing power supply under emergency category where demand charges is not applicable. Considering the actual drawl till September 2018, and in spite of the fact that large numbers of consumers under the DDUGJY & SAUBHAGYA scheme which is estimated to around 5.20 lacs by March 2019, the Utility has estimated distribution loss of 19 % for FY 2018-19, which reflects a reduction of 1% over the current year. It is worthwhile to mention that by the end of March 19, additional consumers in the subsidized category are to be added to the billing fold on account of various village electrification schemes of the Govt. Though NESCO has proposed to reduce the distribution losses by 1 % and AT & C loss by 1.77% during FY 2019-20, the distribution loss target of 18.35% as approved by the Commission cannot be achieved due to several uncontrollable factors.

# Data Sources

The Utility is complying with the information requirements of the Hon’ble Commission for the purpose of making this application for annual revenue requirement and tariff for the year 2019-20. The schedule of formats submitted along with this proposal is shown in the Table of Contents. The Audited Accounts up to March 2018 have been prepared as per Companies Act as well as financial formats prescribed by the Hon’ble Commission and the same has already been submitted with the Hon’ble Commission. The Utility has relied upon the Audited Accounts up to March 2018 and actual data up to Sep-18 for compilation of data and preparation of this ARR. Data as submitted during Business Plan filing vide case no 56 of 2017 has also been referred.

The Utility would like to submit that the input cost is the most important cost element for distribution business. For authentication of input cost, the BSP bills on the basis of scheduled energy received from the bulk supplier, GRIDCO, Transmission Charges on the basis of actual energy received from OPTCL, SLDC charges received from SLDC. The utility expect no deviation from the schedule hence no provision for UI or deviation has been considered in the ensuing year. However while estimating current year power purchase cost actual deviation bill raised by SLDC till Sep-18 has been taken into consideration.

Thus, the Utility submits that the data given is authentic and reliable for formulation of Revenue Requirement and Tariff Application for the year 2019-20.

# Sales Forecast

For projecting the consumption of different categories, the Utility has analyses and relied on the past trends of consumption pattern for last twelve years i.e. FY 2006-2007 to FY 2017-18 and actual sales data for the first six months of FY 2018-19, the impact of electrification of new villages under the DDUGJY, RGGVY, Biju Saharanchal Vidyut Yojana  and Biju Grama Jyoti Yojana,  SAUBHAGYA, actual addition/reduction of loads and other factors such as global recession, drawl of power through open access along with temporary closure of consumers in HT/EHT Category (steel & mining industries). Expected consumer growth under irrigation category has been envisaged during ensuing year as per Deep bore well scheme of Govt. of Odisha. The category-wise consumption projected for FY 2019-20 has been depicted in following sections.

LT Category

The growth in the domestic category has been estimated at 21% during FY 2019-20 as against the estimated growth of around 21% during FY 2018-19. The Utility would like to submit that under various schemes like DDUGJY, RGGVY, BSVY, BGJY etc. many households are likely to be electrified and around 5.50 lakh nos of APL and BPL (Below Poverty Line) consumers will be in the billing fold by Mar 2019. The impact of same has been considered while estimating the sales for kutir jyoti and domestic category respectively for FY 2019-20.

The growth in the sales of other categories in the LT sector has been estimated in the range of 17% during 2019-20 considering the past trends.

The domestic sales during last three years have increased in higher proportion as compared to previous years due to massive village electrification schemes. The summary of sales projections for LT category is given in following:

| Sales(MU) | FY 2016-17 | FY 2017-18 | FY 2018-19 | FY 2019-20 |
| --- | --- | --- | --- | --- |
| Domestic | 1225.748 | 1289.353 | 1557.099 | 1891.745 |
| General Purpose<100 kw | 260.784 | 279.16 | 313.014 | 362.175 |
| Specified public purpose | 22.755 | 26.761 | 26.709 | 28.663 |
| Irrigation | 69.381 | 80.17 | 98.953 | 119.705 |
| Allied Agro Activities | 12.594 | 15.699 | 24.634 | 34.247 |
| Allied Agro Industrial | 0.859 | 1.202 | 1.495 | 2.313 |
| LT Industrial | 63.647 | 64.013 | 71.133 | 78.574 |
| Public water works | 25.439 | 28.186 | 30.44 | 34.953 |
| Public Lighting | 9.818 | 10.928 | 13.254 | 15.936 |
| Total | 1691.025 | 1795.472 | 2136.731 | 2568.311 |

HT Category

While projecting the sales in HT Category, the Utility analyses the consumption pattern of each HT consumer with contract demand of more than 1 MVA. The average sale under HT category consumers has been estimated for the ensuing year and is based on the trend of the FY 2017-18 and actual drawal for the 1st six month of current year ending Sept’18. The sales in this category are not yet revived on account of recession in steel & mining sector, industrial slowdown and temporary closure/disconnection of steel and mining industries. The consumption of only power intensive industry in this category M/s IDCOL Ferrochrome has been reduced significantly. Further supply system of M/s Joda East Iron Mines has been changed from 33 KV (HT) to 220 Kv (EHT) and M/s B.C.Mohanty & Sons Pvt. Ltd. from 33 KV (HT) to 132 Kv (EHT), which contribute nearly 3.7 MU per month to the total HT sales. Due to which total HT sales for the current year is reduced by 33 MU and ensuring year is reduced by 45 MU. As a result total HT projection shows a reduced figure of 424.360 MU. If the supply system of the above two consumers has not been changed then there will be a growth of 3% due to some upcoming industries and increasing trend of other category of consumer.

| Sales (MU) | FY 2016-17 | FY 2017-18 | FY 2018-19 | FY 2019-20 |
| --- | --- | --- | --- | --- |
| Large Industry | 263.618 | 288.911 | 278.785 | 274.379 |
| Power intensive | 59.676 | 57.048 | 46.277 | 44.574 |
| Others | 87.103 | 95.758 | 101.513 | 105.407 |
| Total | 410.397 | 441.717 | 426.575 | 424.36 |

EHT Category

The Utility has projected sales in EHT category in the ensuing year analyzing the consumption pattern of each EHT consumer. From FY 2010-11 onwards most of the industries are moving towards their own CPP which is reducing the drawal from NESCO. Presently, there are 38 EHT consumers including 8 nos railway traction connections. Out of the other 30 nos, 8 no of industries are having their own CPP and 4 nos of consumers are availing power supply under emergency supply tariff category where there is no applicability of demand charges also. The drawal made in EHT category mainly towards consumption of Railway, Balasore alloys Ltd., Rohit Ferrotech Ltd., two nos connection of M/s Brahmani river pellets, Tata Steel Ltd., Kalinga Nagar and M/s Stork Ferro Ltd only. Others are drawing very less quantum as compared to their CD. Most of the higly consuming industrial unit viz. M/s Tata Steel Ltd., M/s TISCO Bamnipal, M/s FAP Joda, M/s JSL, Duburi, M/s JSPL, Joda, M/s M/s FACOR, M/s Essar Steel, M/s Maithan Ispat Ltd, M/s Jabamayee Ferro Alloys Ltd., M/s M.S.P Sponge Iron Ltd, M/s MESCO Steel Ltd and M/s Birla Tyre Ltd. are allowed to draw power through Open Access. The drawl of power by above consumers through Open Access is approximately 120 MU per month. Due to which the utility has taken conservative approach while projecting sale under EHT category. Inspite of above the utility has projected a higher EHT sales as 2134.355 MU considering revival of some of industry like M/s Stork Ferro Ltd and M/s Mishrilal Mines Ltd, upcoming industry like Emami Cement Ltd., and JSW Cement Ltd., and change of supply system of M/s Joda East Iron & Mines Ltd from 33 KV (HT) to 220 KV (EHT) and M/s B.C.Mohanty & Sons Pvt. Ltd. from 33 KV (HT) to 132 Kv (EHT).

The summary of the category-wise sales in MUs has been shown in table below.

| Sales (MU) | FY 2016-17 | FY 2017-18 | FY 2018-19 | FY 2019-20 |
| --- | --- | --- | --- | --- |
| LT | 1691.025 | 1795.472 | 2136.731 | 2568.311 |
| HT | 410.397 | 441.717 | 426.575 | 424.360 |
| EHT | 1975.783 | 1997.772 | 2101.666 | 2134.356 |
| Total | 4077.205 | 4234.961 | 4664.972 | 5127.027 |

In addition to above it is to submit that sale under Railway traction has been estimated as 375.740 MU for the ensuing year. OPTCL has also filed an application with OERC vide case no.55 of 2016 regarding  grant of deemed distribution license in favour of M/S East Coast Railway which is yet to be disposed off. However, the utility has projected estimated sales considering Railway as normal consumer of the licensee.

# Power Purchase Expenses

The power purchase expenses have been derived from the sales estimates and the distribution loss level. For the year FY 2019-20, energy input of 6329.662 MU has been estimated based on the estimated sale of 5127.027 MU and Distribution Loss of 19%.

Power purchase cost for the current year is Rs.1901.94 Crs  and for the FY 2019-20 power purchase cost has been estimated at Rs. 2064.43 Crores with BSP @ 301 paise p.u. and transmission charges @ 25 paise p.u. SLDC charges @ Rs 8.02 lakhs per month. However, the Utility has not considered the effect of UI/ deviation charges towards estimating power purchase cost for FY 2019-20.

SMD Projection

Considering the past record and additional load towards inclusion of BPL and APL consumer under SAUBHAGYA, RGGVY, BGJY and additional load towards upcoming EHT consumers, the Utility proposes 1020 MVA as SMD for FY 2019-20 as against the average SMD of 924 MVA during 1st half year of FY-2018-19, the SMD of the utility as billed by GRIDCO is without deducting demand component of open access drawal by industries.

The Utility submits that SMD (MVA) projections for a year are estimated based on load mix, consumption patterns and other economic policies, and restricting the SMD of the utility up-to a particular level without considering the proposal as above and imposing penalty thereof for drawl beyond the approved level, shall put the Utility with higher financial burden.

# Employees Expenses

The utility was formed after unbundling of GRIDCO as per 2nd Transfer Scheme, 1998 and thereby all the personnel deployed in Distribution business were transferred from erstwhile GRIDCO.  Initially, the nos. of personnel on roll was around 4600 nos which were inadequate and unevenly distributed to meet the functional requirement. Subsequently, by way of separation due to retirement, resignation death etc, there has been drastically reduction of manpower. In view of the large scale energisation of new areas either though rural electrification or due to addition of new consumers, the Utility restructured and reorganized by creation of new Divisions, sub-division and Sections with reinforcement of allied activities such as MRT , Energy Audit , maintenance of distribution transformers and vigilance  activities.  Main objective was to improve the 100 % of consumer coverage, reduction in Distribution losses and to meet the Revenue collection target. At present the Utility has 2632 number of employees on the roll, 3643 no. of pensioners including family pensioners have been paid out of revenue due to the take away of the Transfer Scheme.

The Utility draws the attention of the Hon’ble Commission that earlier before revocation of license on account of non relaxation of escrow, NESCO had made short term loan with high cost borrowings to pay salaries, by way of pledging the security deposits that are available with it. NESCO has pledged Rs. 205 crs to availed short term loans and the financial implications arising out of the same along with interest costs has been projected in its application. The outstanding of loan on availed for salary as on 30th Sep-18 is Rs. 190 crs.

Hon’ble Commission approved Rs. 256.14 crores for the year 2018-19. Taking into consideration the actual payment made during 1st six months of FY 2018-19, the Utility estimated the approved amount would be of Rs.268.53 Cr net of expenses capitalised for the current year.

The details of number of employees to be recruited and retired during the current year and the ensuing year are submitted in the following table.

| NESCO Ltd. | Executive |  | Non-Executive |  | Total |
| --- | --- | --- | --- | --- | --- |
|  | Technical | Non-Technical | Technical | Non-Technical |  |
| As on 01-04-18 | 342 | 88 | 1852 | 350 | 2632 |
| Recruitment during 18-19 | 0 | 0 | 0 | 0 | 0 |
| Retirement during 18-19 | 9 | 2 | 106 | 16 | 133 |
| As on 01-04-19 | 333 | 86 | 1746 | 334 | 2499 |
| Recruitment during 19-20 | 19 | 7 | 450 | 120 | 596 |
| Retirement during 19-20 | 6 | 0 | 100 | 17 | 123 |
| As on 01-04-20 | 346 | 93 | 2096 | 437 | 2972 |

No of employees retiring during FY 2018-19 and FY 2019-20 and saving on account of same are as follows:

| FY | Category | Nos. of employees retiring | Saving on account of retirement (Rs lakh) |
| --- | --- | --- | --- |
| 2017-18 | Executive Non Executive | 133 | 52.17 |
| 2018 -19 | Executive Non Executive | 123 | 104.90 |

Expenses Terminal Benefit Liability

As regards to terminal benefits i.e. the contribution to the Pension Fund and Gratuity Fund and Leave Encashment has been proposed for the year 2019-20 based on the actuarial valuation done by M/s Bhudev Chaterjee as on 31.03.2018 and the projections provided for 2018-19 and 2019-20. The details are given in OERC Form: F-12. While computing the contribution required by the Utility to fund the employees trust, the Actual investments as on 01.04.2018, estimated Investments as on 01.04.2019, income from the investments during the year 2019-20 and the payments to retired/retiring employees during the 2019-20 has been considered. The computation of the employee Terminal Benefit Trusts requirement for the year 2018-19 & 2019-20 amounting to Rs. 95.17 Crore and Rs. 112.20 Crores respectively is worked out based on actuarial report, in the following table.

| A | Terminal Liability for FY 2019-20 | Rs. Crore |
| --- | --- | --- |
| 1 | Employee Trust Valuation as on 31.03.20 | 1073.41 |
| 2 | Employee Trust Valuation as on 31.03.19 | 1045.33 |
| 3 | Interest on investment during 2019-20 @ 7.70 % | 13.72 |
| 4 | Estimated payment during 2019-20 | 91.08 |
| 5 | Terminal benefit trust funding required for 2019-20 (1-2-3+4) | 105.45 |
| 6 | Employer’s Contribution to PF Trust | 6.75 |
| 7 | Total Terminal Benefits Provision | 112.20 |
| B | Expected Corpus Availability FY 18-19 |  |
| 1 | Employee Trust Valuation as on 31.03.19 | 1045.33 |
| 2 | Employee Trust Valuation as on 31.03.18 | 1016.11 |
| 3 | Interest on investment during 2018-19 @ 7.70 % | 15.32 |
| 4 | Estimated payment during 2018-19 | 74.90 |
| 5 | Terminal benefit trust funding required for 2018-19 (1-2-3+4) | 88.80 |
| 6 | Employer’s Contribution to PF Trust | 6.37 |
|  | Total Terminal Benefits Provided- 18-19 | 95.17 |

The actual employee cost for FY 2017-18 is Rs.354.69 Crs including provision of Rs.164.97 crs towards terminal liability for the year as per actuarial report . The Utility proposed the Employee cost aggregating to Rs .373.12 Crs for the FY 2019-20. The above cost has been projected considering effect of 7th Pay commission already implemented to the regular pay and the 50% of the arrear impact to the tune of Rs. 30.00 crores .

Further, as no recruitment has been permitted till date by Hon’ble commission the contractual obligation for maintenance of existing Grid Substations and S/S under ODSSP, watch and ward, outsourced/ contractual obligation for vigilance activity amounting to Rs.30.68 crs has been estimated for the ensuing year.

In view of the above it is humbly submitted before Hon’ble Commission to approve the proposed employee cost of Rs.373.12 crs for the ensuing year.

# Administrative and General Expenses

The A&G expenses for FY 2018-19 are estimated at Rs. 46.29 Crore based on actual expenses till September 2018 as against the approved A&G expenses of Rs 41.33 Crore. Hon’ble Commission has approved A&G expenses including contractual obligation and outsourced employee cost. But, the licensee is not able to avail the same as because GRIDCO is only relaxing escrow to the extent of employee cost. However, the licensee is managing A&G expenses out of the other non escrow miscellaneous income like CSS, meter rent, DPS collected, overdrawal penalty etc. Estimation of higher A&G expenses during ensuing year has been made is account of mass engagement of franchisee, Customer Care, vigilance activity, Disconnection squad expenses and compensation towards electrical accidents etc.

In addition to normal A&G expenses, following additional expenses for aforesaid initiatives has been considered while projecting the total A&G expenses for FY 2019-20. The collection of arrears and current bills is assumed to be used to meet cash deficits during the year 2018-19, to the extent of collected amounts. The Utility proposes to recover the operational expenses as stated in following heads of  ARR for the FY 2019-20 and the required capital expenditure to be made initially shall be capitalised.

The Administration and General expenses for the ensuing year have been forecasted based on estimated expenses during FY 2018-19 in line with Hon’ble Commission’s earlier Orders, the increase in A&G expenses for the ensuing year has been projected by considering 7% increase over the estimated A&G expenses for FY 2018-19 along with additional expenses Rs.18.51 cr as detailed in the following paras.  The 7% increase is taken on account of inflation on the normal A&G expenses.

The A&G expenses for FY 2019-20 are projected at Rs 58.86 Crore.

# Energy Audit

In spite of severe financial constraints to the extent that the Utility is unable to make timely payment of bulk power purchase bills and employee salaries, to improve customer services, initiatives continuing and proposed by the Utility under the above head during the last year of the control period is as under:-

The present status of Energy Audit in NESCO utility is as follows:-

| Voltage Level | Nos | Metered | Audit Activity |
| --- | --- | --- | --- |
| 33KV | 80 | 80 | 50 |
| 11KV | 619 | 619 | 471 |
| DTRs | 60748 | 1662 | 415 |

33kv loss is calculated by taking the consumption of 33kv feeder meters installed in 132/33 KV  Grid and equating them with either 33kv meter installed at the boundary points of respective 33/11kv s/s or summing up off the corresponding 11kv feeders emanating from the respective connected 33/11kv ss. In first case, the loss figure arrived consists of 33kv line loss . In second case the loss figure arrived is consists of 33kv Line loss only. On account of metering defects busting of PT & CT failure and improper phase association, in corresponding 11kv, most of the 33kv feeders are yet to be audited. The utility is in the process of rectification of the same.

As regards to 11kv feeders auditing of 471 nos. is being taken up out of 603 nos are being conducted by the utility. The list is given below:

| 11KV FEEDER METERING & ENERGY AUDIT STATUS |  |  |  |
| --- | --- | --- | --- |
| Division | No of 11KV Feeders | 11KV Feeders with working meter | No. of feeders under Audit |
| BED BALASORE | 17 | 16 | 16 |
| BTED BASTA | 20 | 19 | 17 |
| JED JALESWAR | 27 | 26 | 26 |
| CED BALASORE | 43 | 13 | 38 |
| SED SORO | 51 | 41 | 35 |
| BALASORE CIRCLE | 158 | 115 | 132 |
| BNED BHADRAK | 46 | 44 | 45 |
| BSED BHADRAK | 37 | 34 | 35 |
| BHADRAK CIRCLE | 83 | 78 | 80 |
| BPED BARIPADA | 87 | 80 | 58 |
| UED UDALA | 25 | 16 | 15 |
| RED RAIRANGPUR | 50 | 47 | 43 |
| BARIPADA CIRCLE | 162 | 143 | 116 |
| JRED JAJPUR ROAD | 33 | 30 | 29 |
| JTED JAJPUR TOWN | 26 | 26 | 24 |
| KUED KUAKHIA | 35 | 34 | 28 |
| JAJPUR CIRCLE | 94 | 90 | 81 |
| KED KEONJHAR | 38 | 38 | 24 |
| JOED JODA | 29 | 29 | 22 |
| AED ANANDAPUR | 39 | 39 | 18 |
| KEONJHAR CIRCLE | 106 | 106 | 64 |
| NESCO AS WHOLE | 603 | 532 | 473 |

In this case 11kv Energy input is compared with billed units of tagged consumers comprising of 1phase, 3phase and 11kv large category consumers. Each 11kv feeder has been assigned with a unique 4 digit code and consumers under the concerned 11kv feeders have been tagged. Abnormal losses found in rest of the feeders are being scrutinized at Divisional level for proper consumer tagging, bifurcation of feeders (taking advantage of ongoing scheme. Further, the 11kv high loss making feeders are checked on priority, for detection of possible theft of Energy for reduction in commercial loss. Similarly, 11kv input meters are also being checked by MRT team, (reading being taken both in CMRI and AMR) for proper PT and CT connections to the meter and deriving exact multiplying factor. The loss so arrived is inclusive of 11kv lines loss, Transformation loss of DTRs, LT lines loss and commercial loss due to theft, suppress reading and other billing anomalies.

| Energy Audit Status of Pilot project |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Phase – I |  |  |  |  |  |  |  |  |
| SL NO | Name Of The Feeder | No. Of DTR | No. of DTR metered | No. of Consumer | No. of Consumer metered | T & D LOSS |  |  |
|  |  |  |  |  |  | As on FEB 2017 | As on FEB 2018 | As on Sept. 2018 |
| 1 | 11KV NATHUABARA | 101 | 101 | 2435 | 2435 | 62% | 21% | 17% |
| 2 | 11KV AGARPADA | 68 | 68 | 2995 | 2976 | 60% | 24% | 19% |
| 3 | 11KV SERAGARH INDUSTRIAL | 121 | 121 | 1713 | 1696 | 64% | 30% | 21% |
| 4 | 11KV NAIKUDI-II | 79 | 77 | 1146 | 1061 | 54% | 35% | 25% |
| Phase – II |  |  |  |  |  |  |  |  |
| SL NO | Name Of The Feeder | No. Of DTR | No. of DTR metered | No. of Consumer | No. of Consumer metered | T & D LOSS |  |  |
|  |  |  |  |  |  | As on JUNE 2017 | As on JUNE 2018 | As on Sept. 2018 |
| 1 | NO-I, Balasore | 186 | 82 | 5149 | 5127 | 24% | 18% | 15% |
| 2 | Sahadevkhunta | 77 | 28 | 5326 | 5313 | 19% | 14% | 12% |
| 3 | Baniamandir | 91 | 31 | 3951 | 3935 | 54% | 18% | 15% |
| 4 | Sunhat | 103 | 19 | 2982 | 2970 | 72% | 23% | 19% |

  - After successful completion of energy audit activities on 8nos of 11KV feeders on pilot basis, we have extended to all Division on the principle of one no of 33/11KV Sub Station per Division.

| ACTION PLAN FOR 11KV FEEDER ENERGY AUDIT |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SL NO | NAME OF DIVISION | NAME OF 33/11KV S/S | NAME OF 11KV FEEDERS | PRESENT LOSS LEVEL | TARGET LOSS REDUCTION LEVEL | % LOSS REDUCTION |
| 1 | JTED, JAJPUR TOWN | BASANTIPADIA | AHIYAS | 59% | 30% | 29% |
|  |  |  | BAISPAN | 59% | 30% | 29% |
| 2 | JRED, JAJPUR ROAD | HARIPUR | AMPOLBA | 67% | 30% | 37% |
|  |  |  | JAMPOSI | 57% | 30% | 27% |
|  |  |  | KHARADI | 67% | 30% | 37% |
|  |  |  | PINGALA | 67% | 30% | 37% |
| 3 | KUED, KUAKHIA | BARABATI | BARABATI BAZAR | 44% | 25% | 19% |
|  |  |  | SINGAPUR | 52% | 30% | 22% |
|  |  |  | GOPALPUR | 52% | 30% | 22% |
| 4 | BNED, BHADRAK | KUNDIBAG | HARISHAKARPUR | 46% | 25% | 21% |
|  |  |  | NACHIPUR | 46% | 25% | 21% |
|  |  |  | BANARANGA | 46% | 25% | 21% |
| 5 | BSED, BHADRAK | MANJURI ROAD | MANJURI ROAD | 37% | 20% | 17% |
|  |  |  | KOTSIRA | 37% | 20% | 17% |
|  |  |  | KULANA | 37% | 20% | 17% |
| 6 | JOED, JODA | UKHUNDA | UKHUNDA | 38% | 20% | 18% |
|  |  |  | BALA | 38% | 20% | 18% |
|  |  |  | ASANAPT | 38% | 20% | 18% |
|  |  |  | BAUNSULI | 38% | 20% | 18% |
| 7 | KED, KEONJHAR | NARANPUR | NARANPUR | 35% | 20% | 15% |
|  |  |  | SANKARPUR | 35% | 20% | 15% |
|  |  |  | GOPALPUR | 38% | 20% | 18% |
|  |  |  | JANGHIRA NEW | 38% | 20% | 18% |
| 8 | AED, ANANDAPUR | CHENAPADI | CHENAPADAI | 60% | 30% | 30% |
|  |  |  | HATADIHI | 60% | 30% | 30% |
|  |  |  | MUGUPUR | 60% | 30% | 30% |
|  |  |  | BANCHO | 60% | 30% | 30% |
| 9 | BED, BALASORE | DIGARANIA | RANASAHI | 59% | 30% | 29% |
| 10 | CED, BALASORE | RASALPUR | RASALPUR MARKET | 45% | 30% | 15% |
|  |  |  | BHIMPUR | 45% | 30% | 15% |
|  |  |  | BARDHANPUR | 45% | 30% | 15% |
| 11 | BTED, BASTA | SIMILIA | KHAPARAPADA | 53% | 30% | 23% |
|  |  |  | MACHHARANKA | 53% | 30% | 23% |
|  |  |  | SITADIHA | 53% | 30% | 23% |
| 12 | JED, JALESWAR | SHYAMNAGAR | KHUADA | 58% | 30% | 28% |
|  |  |  | CHUDAMANIPUR | 64% | 30% | 34% |
| 13 | SED, SORO | BISHNUPUR | NEW BISHNUPUR | 55% | 30% | 25% |
|  |  |  | BAJANA | 54% | 30% | 24% |
|  |  |  | ALADA | 54% | 30% | 24% |
|  |  |  | ANJI | 54% | 30% | 24% |
| 14 | BPED, BARIPADA | AMBADALI | DANTUNI | 42% | 25% | 17% |
|  |  |  | AMBADALI | 42% | 25% | 17% |
|  |  |  | KHANUA | 42% | 25% | 17% |
|  |  |  | PRATAPUR | 42% | 25% | 17% |
| 15 | RED, RAIRANGPUR | ANGARPADA | ANGARPADA | 50% | 30% | 20% |
|  |  |  | RARUAN | 50% | 30% | 20% |
| 16 | UED, UDALA | NUDHUDIHA | SALAMUNDULI | 52% | 30% | 22% |
|  |  |  | TALIA | 52% | 30% | 22% |
|  |  |  | PADADIHA | 52% | 30% | 22% |
|  |  |  | BAHUBANDHA | 52% | 30% | 22% |
| TOTAL |  |  | 50 | 50% | 27% | 23% |

  - 16 nos of 33/11KV Sub Stations covering 50 nos of 11KV feeders out of which 15 nos under ODSSP scheme and one non ODSSP S/s (left out  11KV Ranasahi feeders of 33/11KV Digarania S/S under BED, Balasore) for energy auditing.

  - Consumer tagging of 8nos of newly charged 33/11KV Sub Stations under ODSSP Scheme has been completed covering 23 nos of 11KV feeders has been completed. Balance consumer tagging of 11KV feeders will be completed by Dec-18.

  - Defective/ electromechanical meter replacement and installation of meter in no meter cases has been started from Oct-2018  under DDUGJY scheme.

  - Three phase DTR metering under IPDS scheme has been started on 19 towns under NESCO utility.

Modem installation on 472 nos 11KV Rural feeders under NESCO utility has already been started by M/s RECTPCL for remote data pulling as well as display on national portal under 11KV rural feeder monitoring system with an access to DISCOMs for dash board view.

The Utility estimates an amount Rs. 6.61 crs. towards Energy audit purposes during the ensuing year of FY 2019-20 respectively.

# Smart Metering Implementation

As per the directions of Hon’ble Commission the utility has come out with the plan for implementation of smart metering in the 05 district towns under the jurisdictional area covering approx 01 lac consumers. The implementation of smart metering shall benefit the utility by way of reduction in AT&C Losses, demand side management, 24x7 Power for all, Outage reduction, Renewal Energy integration, Improved Energy Efficiency, Reliable Grid stability, faster restoration of power, Grid flexibility (backup power), reduction in Peak Demand resulting reduction in power purchase cost and real time billing.

The implementation of smart metering covering 01 lac consumers shall involve Rs. 60.47 crores out of which aroung Rs. 100 lacs shall be the management expenses which has been claimed as Additional A & G.

# AMR Installation and management expenses

The utility proposes in the ensuing year of installation of AMR System in 8000 installations which shall involve CAPEX as well OPEX. The operative expenses viz. data calling and handling shall involve Rs. 8.00 lacs which has been claimed as additional A & G Expenditure

# Man Power Assessment

Power Sector reforms in Odisha have gained momentum with the initiative of the State Government by restructuring the Orissa State Electricity Board. Pursuant to the Orissa Electricity Reform (Transfer of assets, liabilities, proceedings and personnel of GRIDCO to distribution companies) Rules, 1998, the Govt of Orissa transferred the distribution assets and properties along with personnel of GRIDCO to distribution Companies namely CESCO, NESCO, WESCO and SOUTHCO continued to function as affiliates of GRIDCO up to 31.03.1999 and thereafter functioned under the distribution and retail supply licensee obtained from OERC.

After privatisation of Distribution Sector no scientific manpower study was conducted to address the complex and intricate issues of Distribution business. The DISCOMs (NESCO WESCO & SOUTHCO) are still following the yardstick designed by GRIDCO in the year 1998. Due to reform and up gradation of technical knowhow, the people involved need to be equipped with specific inputs in terms of knowledge, skills and attitude to enable them to play their changed roles effectively. Considering the above, an initiative has been taken by the Management and have awarded the assignment on Organisation Structure Restructuring and Manpower Planning of the three Utilities (NESCO WESCO & SOUTHCO) to Xavier University Bhubaneswar vide letter no GRIDCO/DMU/HR/82/ 620 dated 25.11.2017. We have also supplied all the desired inputs through documents, data, suggestion to them to complete the process as early as possible. The Xavier University has also presented their draft report on which some more suggestion and input has been provided by the Management for insertion. The final report is yet to be received from their end.

On this account an amount of Rs. 10.00 lacs has claimed as Additional A & G.

# Media Campaigning

A Media Campaign is being implemented with an objective to provide information and education on various aspect of power distribution such as metering, billing, quality of power supply, service and grievance redressal etc. to Power Consumers. This is a  communication strategy to sensitize consumer to cooperate in loss reduction and energy conservation. The objective of this media campaign to sensitize consumers on the following key messages;

- Rights and Duties of Consumers

- Complaint Redressal

- Stop theft of electricity

- Stop illegal usage (Hook-ups / Meter Bypass,Tampering)

- Timely Payment of Dues

- Stop misuse and wastage of electricity

The Orissa Electricity Regulatory Commission had constituted a media committee that has formulated the comprehensive multimedia low cost communication strategy to build awareness on the topic. The media plan includes Website for campaign, Audio-Visual spots for broadcasting Cinema Halls, Wall Paintings for 680 Substations, FAQs uploading in Website, Street Theatre, Painting/ poster and debate Competition in High Schools in 72 divisions of DISCOMs, 12 events in fairs and festivals of Odisha etc. For FY 2018-19, the funds of Rs.66 lakh available from the earlier media campaign fund, ‘BijuliDidi’ will be utilized first and after utilization of the same, each distribution company has been advised to contribute Rs 50 lakh for the implementation of said Campaign during FY 2019-20, which may kindly be approved.

# Community Participation in Rural Power Distribution System of Odisha

Community participation means involvement of people in a community to solve their own problem. Hon’ble OERC has directed from time to time to engage agencies like user associations,Panchayati.Raj Institutions , Non-Govt. Organisation(NGO) , Co-operative societies and Women Self Help Groups  to do Meter Reading, Billing and Collection in electricity distribution.

Accordingly, NESCO Utility  has engaged micro-franchisees at Brahmabarada, Kabatbandha, Jarka, Kundapatna, Mathasahi, Neulpur and Kuakhia sections,Women Self Help Groups (WSHGs) in Srijung, Manatri and 14 nos of WSHG in Harichandanpur Section as well as local retired employees association and entrepreneurs in Korai, Duburi, Sukinda, Danagadi and Jajpur Town sections etc.

In the block of Telkoi, Biosi, Kusumi and Morda, we have identified 69 nos of GPs where  GramPanchayat Level Federations or WSHGs and we are in process to involve them to do  Mter Reading, Billing and Collection activities in electricity distribution  in first phase during the FY 2018-19.

Identified GPs under NESCO Utility for community participation :

| Sl. No | Division | Sub-division | Blocks | No. of GP | No of consumers |
| --- | --- | --- | --- | --- | --- |
| 1 | KED, Keonjhar | Keonjhar No-II | Telkoi | 22 | 10,579 |
| 2 | RED, Rairangpur | Rairangpur No-II | Bisoi | 13 | 17,822 |
| 3 | RED, Rairangpur | Rairangpur No-II | Kusumi | 14 | 14,103 |
| 4 | BPED, Baripada | Morda Sub-division | Morda | 20 | 16,597 |

Under the 69GPs of the aforesaid four blocks ,thetotal no. of consumers is 59,101nos  as on 30.09.18.

In this regard, three days training Programme at each Block Level (around 40 nos of participants per training)  will be arranged and after which field training for a minimum period of 15 days ( which can be extended up to 30 days) are to be imparted. It is proposed,Hon’ble Commission to allow an expenditure of Rs.6 lakh towards training expenses and Rs. 10 lakh towards procurement of mobile-phones and printer for use of Meter Reading,Billing and collection activities.

# IT Automation

NESCO, being a spearheadelectricity distribution utility of the state of Odisha, is providing uninterrupted power supply to more than 15 lakh consumers of North- Eastern part of Odisha. Over the years, NESCO has implemented several IT applications to improve its performance in billing,collection and day-to- day works.

Now, in NESCOUtility, we are using approximately 365 nos. of desktops and 140 nos. of laptops.Of these, 210 nos. of desktops and 30 nos. of laptops were purchased in the years between 2005 and 2012. Due to increase in data and the fact that maximum works are being done through system and in an online mode, these systems are not working properly because of their outdated specifications. This is causing delays in completion of day- to- day works and assignments.We have already processed to purchase some new Desktop & laptop in buy back mode and other IT items

We are in the process of implementing some online application for Stores, billing and collection systems. These require systems with the latest specificationssystem. Due to the older version of the operating system, some applications and advanced softwarewill not be supported.

The existing plans of IT to implement are as below.

- Gateway Level Security through UTM

- Video conferencing

- Structured LAN in the Corp. Office

- Up-gradation of AMR

- Leased line Internet connection for each circle office

- Centralised data backup in the Corp. Office

- Up-gradation of systems and printers.

The approx. cost to do the above plan is Rs 3,58,09,250.00 only. The details are attached as Annexure-I.

To more strengthen the IT and extend the facility to section level, we are planning to purchase some Desktop/Laptop and other IT items. The details are as below.

- Desktop/Laptop

- Printer

- Operating system and Ms- Office

- Cloud based Enterprise End point Security

- LAN ( Local Area Network) in circle and Divisions office

- Automated/ online  Call Centre ( from 8 AM to 8 PM)

- Internet to all Section office.

- computerised cash collection counter in each section office

- Man power for each circle and Division office ( IT person)

In addition to the networking cost and to implement various Web based application and for the software development in the Utility the Licensee has proposed its yearly revenue expenditure of Rs 10.23  Crore under A&G category for the ensuing year.

Additional A&G Cost for FY 2019-20.

| S.No | Description | Amount(Rs Lacs) |
| --- | --- | --- |
| 1 | Energy Audit-Recurring cost | 660.86 |
| 2 | Smart Metering Implementation | 100.00 |
| 3 | AMR related running expenditure | 8.00 |
| 4 | Manpower Assessment expenditure | 10.00 |
| 5 | Media Campaigning Expenditure | 50.00 |
| 6 | IT automation for various activity | 1022.58 |
|  | Total | 1851.44 |

Additional expenses for FY 2018-19 are projected at Rs 18.51 Crore taking into consideration of the above initiatives.

# Repair & Maintenance Expenses

The Repair & Maintenance (R&M) expenses for the ensuing year FY 2019-20 has been estimated on the basis of 5.4% of Gross Fixed Assets (GFA) including the RGGVY , BGJY assets and future assets to be created under SAUBHAGYA Scheme at the beginning of the year. The opening GFA works out to be Rs. 1835.33 crores, based on which the proposed R&M expenses is to the tune of Rs 99.11 crores along with R&M on RGGVY assets.

# Provision for Bad and Doubtful Debts

The Utility respectfully submits that considering the past accumulated losses and huge liabilities; it would not be feasible for the Petitioner to raise finance to bridge the revenue gap, which would arise due to non-recognition of collection efficiency in determination of tariff.

The Utility while estimating the ARR for FY 2019-20 has considered the revenue from sale of power on accrual basis in line with the Commission’s Order on ARR and Tariff Petitions for FY 2005-06 to FY 2017-18. However, as it is not feasible for Petitioner to raise finance against huge accumulated loss to bridge the gap of collection inefficiency, the Petitioner has considered the non-collectable amount based on the collection efficiency as bad and doubtful debts while estimating the ARR for FY 2019-20. Considering the proposed collection inefficiency of 3% for FY 2019-20 provisions for bad and doubtful debts at 50 % of the uncollected portion amounting to Rs 37.70 crs has been considered as part of ARR for FY 2019-20. The Petitioner humbly requests the Hon’ble Commission to consider the same to enable the Petitioner to recover its entire costs after duly considering the performance levels.

# Depreciation

Depreciation has been provided only on assets available at the beginning of the year and no depreciation has been provided on assets created during the year. The method adopted for calculating depreciation is Straight Line Method (SLM) at pre-92 rates.

The numerical details are given in OERC Form: F-19.

The depreciation for FY 2019-20 is projected at Rs.66.24 Crore.

# Interest Expenses

The Utility would like to submit that the assumptions with respect to outstanding loans and dues have been considered in line with the Commission’s previous Orders.

2.9.1.	GRIDCO Loan and BST Outstanding

The Hon’ble Commission passed an order on 20.07.2006 and 01.12.2008 in Case No.115 of 2014 which interalia provides the following;

- The Discoms shall repay the outstanding loans including interest along with the securitised BST dues as on 31.03.2005 in ten years 120 monthly equal installments starting from FY 2006-07.

- In case of default of monthly dues by the DISTCOs they shall liable to pay the Delayed Payment Surcharge (DPS) @1.25% per month.

The BST outstanding and the loan liability will carry 0% rate of Interest. At the same time the interest on the Bonds issued by GRIDCO against the power outstanding due to Gencos would be passed through in the BST.

The Hon’ble Commission included the opening BST outstanding as on 1.4.1999 and the Delayed Payment Surcharged upto the date of full payment of BST to be securitized. Therefore the Utility was additionally burden by an amount of Rs. 19.60 Crore in opening balance.

It was submitted that the Hon’ble Commission has already established a procedure for securitization in matters pertaining to the sale of CESCO as decided in the order approving the transaction documents for the sale of the Central Zone Electricity Distribution and retail supply Utility. The said order specifies the opening balance sheet and terms and conditions for repayment of the liabilities of GRIDCO. The terms and conditions of repayment of GRIDCO Loan & BST outstanding is as under;

    - GRIDCO loan liability would be repaid in 10 equal annual installments after a moratorium of 5 years from 01.04.2006. This carries interest rate of 0%.

    - BST outstanding would be converted into Zero coupon preference shares of 20 years maturity, with a moratorium period of 7years and to be redeemed into 52 equated quarterly installments from 8th year onwards.

The Utility submits before the Hon’ble commission to allow the Utility to pay the amount of the securitized amount based on ability to pay basis considering the above proposal.

Further the Commission in its Order dated 29.03.2012 and 30.03.2012 resolved the dispute on the Power Bond and there is an outstanding of Rs. 48.91 crs. payable to GRIDCO towards New Loan with regards to NTPC Power Bond.

# World Bank Loan

In line with the Commission’s previous Orders, the Utility has calculated the interest on World Bank Loan @ 13% as per the subsidiary loan & project implementation agreement with Government of Odisha, considering 30% of loan as grant and balance 70% as loan. The moratorium period and repayment period for the World Bank Loan has been considered based on the terms of the World Bank (communicated by World Bank to GoO vide its letter dated June 13, 2000). In line with these terms, the repayment period has been considered as 10 years with 20 equal semi-annual installments commencing from FY 2019-20.

For the ensuing year 2019-20, the interest liability is estimated at Rs.11.87 Crore.

# Capex Loan from Govt. of Odisha

During the ensuing year an amount of Rs.1.73 crs towards interest has been estimated towards Govt. of Odisha Capex plan loan. As per the scheme an amount of Rs.141.48 crs has been disbursed till Mar-18 and another Rs.42.79 crs during the current year has been estimated to be disbursed through GRIDCO, totaling to Rs.184.20 crs under above scheme. The rate of interest is considered @ 4% p.a for the ensuing year on the above loan as per claim of GRIDCO.

# Interest on Security Deposit

Section 47(4) of the Electricity Act 2003 states that “The distribution Utility shall pay interest equivalent to the bank rate or more, as may be specified by the concerned State Commission, on the security referred to in sub-section (1) and refund such security on the request of the person who gave such security.”

The OERC Distribution (Conditions of Supply) Code 2004, Regulation (21) also mandates the payment of interest on consumer security deposit, the manner in which it is to be administered and penal provisions for delay in making such payments.

The Utility have calculated the interest on security deposit @ 6.75% on the closing balance of security deposit amount for FY 2018-19 based on the existing approval of Hon’ble Commission for FY 2018-19. The interest on security deposit considered in ARR for FY 2019-20 work out to Rs.38.01 Crore.

# Total Interest for Financial Year FY 2019-20

The total interest expenses estimated for FY 2019-20 is given in following Table:

Summary of Interest Expenses

|  |  | Rs. In crs. |
| --- | --- | --- |
| 1 | World Bank Loan | 11.87 |
| 2 | GoO-APDRP Loan | 0.76 |
| 4 | Interest on Security Deposit | 38.01 |
| 5 | Govt. of Odisha Capex Loan | 1.73 |
| 6 | Other Short term loan, SOD interest &Finance charge | 28.87 |
| 7 | Total Interest for ARR | 81.24 |

The total interest chargeable to revenue proposed by the Utility for the year FY 2019-20 is Rs 81.24 crores.

# Capital Expenditure Programme

# Deen Dayal Upadhyaya Gramya Jyoti Yojana (RAJIV GANDHI GRAMINA VIDYUTKARANA YOJANA (RGGVY- 12th Plan))

All the un-electrified & partially electrified villages having population 100 & above are decided to cover under this scheme. REC is the nodal agency & PGCIL/NTPC are the executing Agency for the aforesaid scheme. The scope of work& the progress of the scheme as on 31st Oct’2018  is as follows:-

| District | Sanctioned cost(Rs. In Cr) | Doable Scope |  | Completed & Charged |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | UE | PE | UE | PE | BPL |
| Balasore | 46.13 | 1 | 502 | 1 | 503 | 8548 |
| Bhadrak | 92.46 | 0 | 687 | 0 | 524 | 13499 |
| Jajpur | 26.47 | 2 | 585 | 2 | 412 | 2824 |
| Mayurbhanj | 392 | 27 | 2784 | 27 | 1652 | 29959 |
| Keonjhar | 172.73 | 36 | 2064 | 36 | 507 | 2681 |
| Total | 729.79 | 66 | 6622 | 66 | 3598 | 57511 |

# The balance villages are proposed to be electrified by March’2019.

# Deen Dayal Upadhyaya Gramya Jyoti Yojana (DDUGJY)

All the un-electrified & partially electrified villages having population 100 & above are decided to cover under this scheme. REC is the nodal agency & PGCIL/NTPC are the executing Agency for the aforesaid scheme. The scope of work& the progress of the scheme as on 31st Oct’2018  is as follows:-

| District | Sanctioned cost(Rs. In Cr) | Doable Scope |  | Completed & Charged |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | UE | PE | UE | PE | BPL |
| Balasore | 46.13 | 1 | 502 | 1 | 503 | 8548 |
| Bhadrak | 92.46 | 0 | 687 | 0 | 524 | 13499 |
| Jajpur | 26.47 | 2 | 585 | 2 | 412 | 2824 |
| Mayurbhanj | 392 | 27 | 2784 | 27 | 1652 | 29959 |
| Keonjhar | 172.73 | 36 | 2064 | 36 | 507 | 2681 |
| Total | 729.79 | 66 | 6622 | 66 | 3598 | 57511 |

# The balance villages are proposed to be electrified by March’2019.

# Capital Expenditure Programme (CAPEX)

The State Govt. launched the CAPEX programme in the year 2010 for system improvement, reduction of AT&C loss and quality power supply to consumers. The scope includes renovation/modernization of existing and new 33/11KV S/S, re-conductoring of 33KV & 11KV lines, implementation of HVDS system and AB conductoring, installation of theft proof energy meters etc. Hon’ble Commission has approved DPR for the utility amounting to Rs. 201.77 crs. Again during 19th June 2017 the monitoring committee while reviewing the project has reduced the scope to Rs.184.20 crs for the licensee due to fund constraints. The scheme is being implemented through Turnkey Contractors till March-2018, the utility has disbursed Rs.141.48 crs and balance Rs.42.79 crs is estimated to be disbursed by end of March-2019.

# Integrated Power Development Scheme (IPDS)

Govt. of India has launched Integrated Power Development Scheme (IPDS) for providing quality & 24x7                   un-interrupted power supply to  the Urban areas by strengthening the electrical network i.e. 1)construction of  new 33/11KV sub-stations, 2) Renovation & modernisation of 33/11KV s/s, 3) new 33KV & 11KV line, 4) u/g of conductor of 33KV & 11KV line, 5)Installation of new DTR, 6) New LT Line, 7)  Replacement of bare LT line with AB cable.

- Executing agency –OPTCL

- Project Monitoring Agency (PMA)- NPTI (Feedback Infra)

- EPC Contractor- M/S OSIC Ltd.

Details of the scheme is as follows:-

| District | Sanctioned Cost (Rs . In Cr) | LOA Cost (Rs . In Cr) | Revised Allotment Cost (Rs . In Cr) | Work Progress |
| --- | --- | --- | --- | --- |
| Balasore | 326.351(Including metering cost ) | 299.01 | 94.79 | 1)All the works are under progress. . |
| Bhadrak |  |  | 56.63 |  |
| Jajpur |  |  | 60.66 |  |
| Mayurbhanj |  |  | 34.99 |  |
| Keonjhar |  |  | 51.92 |  |
| Total |  | 299.01 | 299.01 |  |

# All the balance work are  to be completed by March’2019.

# Biju Grama Jyoti Yojana (BGJY)

Biju Grama Jyoti Yojana (BGJY) is being funded by Govt. Of Odisha .Under this scheme habitations having population less than 100 are taken up  for electrification. All the BPL House holds of the  aforesaid habitations and energisation of Private LI Points  are taken up for  electrification.

| Dist | Target |  |  | Achievement |  |  | Amount Received (Rs. in Cr) | Expenditure Incurred in Cr. | UC Submitted (in Crs.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Habitations | Pvt. LI Points | BPL House holds | Habitations | Pvt. LI Points | BPL House holds |  |  |  |
| Balasore | 561 | 880 | 6443 | 547 | 491 | 6013 | 20.8 | 14.93 | 14.15 |
| Bhadrak | 592 | 168 | 5600 | 582 | 104 | 4997 | 22.26 | 17 | 16.95 |
| Jajpur | 1404 | 35 | 17391 | 1291 | 35 | 13113 | 39.85 | 39.85 | 39.85 |
| Keonjhar | 933 | 65 | 14713 | 832 | 65 | 13275 | 25.63 | 27.36 | 20.99 |
| Mayurbhanj | 1278 | 202 | 24186 | 1214 | 195 | 24218 | 46.75 | 41.27 | 40.52 |
| Total | 4768 | 1350 | 68333 | 4466 | 890 | 61616 | 155.29 | 140.41 | 132.46 |

The balance work is likely to be completed by March’2019.

# Biju Sahanchal Vidyut karan Yojana (BSVY)

Biju Sahanchal Vidyut karan Yojana is being funded by Govt. Of Odisha .Under this scheme electrification of habitations having population less than 100 in urban areas i.e (municipality & NSC) and BPL House holds of those habitations are taken up.

| Dist | Target |  | Achieved |  | Amount Received (Rs. In Cr) | Expenditure Incurred (Rs. In Cr) | UC Submitted (in Cr.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Habitations | BPL House Holds | Habitations | BPL House Holds |  |  |  |
| Balasore | 128 | 1377 | 97 | 1099 | 1.623 | 1.604 | 1.3740 |
| Bhadrak | 123 | 1350 | 123 | 1140 | 3.640 | 2.63 | 2.6300 |
| Jajpur | 190 | 2112 | 182 | 2108 | 6.740 | 6.74 | 6.7400 |
| Keonjhar | 134 | 3578 | 127 | 3578 | 5.470 | 5.114 | 3.4158 |
| Mayurbhanj | 140 | 3419 | 125 | 2271 | 4.879 | 4.07 | 3.8100 |
| Total | 715 | 11836 | 654 | 10196 | 22.352 | 20.158 | 17.9698 |

The balance work is likely to be completed by March’2019.

# Odisha Distribution System Strengthening Programme ( ODSSP  )

For quality supply of power to the consumers and to address the low voltage problem in rural area, Government of Odisha in Energy Department have decided to construct 99 nos. of New 33/11 KV Substations in three phases in NESCO area with an aim to reduce the high technical loss arising due to the length of 11 KV & 33KV lines and to supply uninterrupted power at appropriate voltage to the consumers by increasing the number of 33/11 KV Substations. OPTCL is the nodal agency for this scheme.

Construction work is under progress & test charge have already been completed in 43nos. of 33/11KV s/s &  27nos. of s/s  have already been handed over to NESCO. Balance sub-stations will be charged by march’2019.

Further, construction of  34nos. of new 33/11Kv sub-stations are proposed  under  4th Phase of ODSSP.

# Shifting of Lines and Transformers - School and Anganwadi Centres

Govt. is concerned about the safety and security of children going to schools and Anganwadi premises as they are the citizen in making and future of the nation. So State Govt. has decided to shift lines and transformers from the premises of 1694nos. Of Govt. school and Anganwadi centres in NESCO area .                       Rs. 11.57cr has already been received for this purpose.

However, lines & s/s of 1370nos. Of schools & Anganwadi centres has already been completed out of proposed 1694nos. . Expenditure of Rs. 8.44cr have already been incurred & UC for Rs. 5.95Cr have already been submitted to Govt. against 801nos. of School/ Anganwadi.  Balance work are to be completed  by March’2019.

# Separate Dedicated Pisciculture feeder:-

Government has decided to provide Dedicated Electrical feeders for the  Fishery sectors . For which, 8nos. Of Pisciculture  feeder are decided to taken up In first phase.   The commissioning of dedicated feeders will provide growth support to the sector with development of ancillary activities like Cold storage, Food Processing Unit. Similarly, for supply of reliable and quality electricity as required for maximizing fish and prawn production, their cleaning, grading, refrigeration and preservation, the need of separate Electrical Feeder is felt.

OPTCL is the executing agency and WAPCOS  is engaged as Project Monitoring Agency (PMA) & M/s GPIL is the contractor.  Now, the work is  under progress & will be completed by March’2019.

# NEW DESI Scheme(Transformers procured by OPTCL under BGJY scheme

Govt. Of Odisha has decided  to infuse 15000nos. Of Transformers to the   existing system for upgradation Govt. Of Odisha has decided  to infuse 15000nos. Of Transformers to the   existing system for upgradation of overloaded Power Transformers & Distribution Transformers (to avoid burning of transformers) &  replacement of burnt/ theft  transformers,. Out of which NESCO share is 2900nos. of DTR. After implementation, the rate of burning of transformer will reduced & DISCOMs are able to achieve 24x7 power supply to the consumers.

Procurement action for 2900nos. of DTR  by OPTCL  have already been completed  .  Till date NESCO have received all the transformers procured under 1st & 2nd phase & installation of the same is under progress. Delivery of DTRs procured under 3rd phase have already been started.

Installation of all the DTRs are   targeted to complete by March’2019.

# Strengthening of Electrical network inside Elephant Corridor

Considering the frequent electrocution of Elephants in recent time it is felt necessary that some Infrastructure Strengthening work in Elephant Corridor area is to be done. The scheme was launched during the F.Y 2012-13. The works under the Scheme is being implemented by NESCO.

Under this scheme, Rs. 2.66CR, 12.61cr & 17.51Cr was sanctioned in three phases & all the works have been completed . UC for Rs. 21.74Cr have already been submitted against the expenditure of 26.80Cr. Further, additional funds amounting to Rs. 4,62,32,118/-was sanctioned in favour of NESCO  for Mayurbhanj district vide letter no. 9001 dtd. 30.10.2018 of Energy Depart.

Besides this, NESCO have also requested for placement of funds amounting to  Rs. 22.38cr against the proposals for strengthening of electrical network inside elephant corridor  under Balasore & Mayurbhanj district.

# Underground Cabling System at Baripada Ratha danda:-

In order to improve the power supply condition Ratha Danda, Baripada, Govt. have provided financial assistance to NESCO during 2015-16. For implementation of the project, Govt. of Odisha have provided financial support of Rs. 4.299 Crore .  All the works completed except fixing of distribution panel & it will be completed by March’2019. Till date expenditure of Rs. 1.761Cr have been made.

# LED Village:-

4nos. of villages  i.e. Sarei & Baruan in Keonjhar district & Sasada & Khandahata in Jajpur district are selected  for this scheme. The Project Cost of Rs. 11.69lakhs was sanctioned & received during April’2016 &  the  installation work has already been completed  & payment  of Rs. Rs. 6,55,688/- have been made to the contractor & UC for this amount have  been submitted to  EIC(E)-cum-PCEI & SDA (O),BBSR  vide T.O. letter No. 13261 dtd. 17.10.2017.

# SAUBHAGYA

The aim of the scheme is to provide last mile connectivity and electricity connection to all un-electrified households in rural areas & all remaining economically poor un-electrified households in urban areas. Non-poor urban households are excluded of this scheme.

Till date total of 442853 nos. of households have been electrified against the total target of 522734 nos. of households in the five districts under NESCO Utility. Out of the five districts under NESCO Utility three nos. of districts (i.e  Balasore & Bhadrak & Jajpur districts) have been declared fully saturated (i.e 100% electrified) and Household electrification status as on date in other districts are Keonjhar District- 92.07% and Mayurbhanj District- 92.55%.

Further, work for 100% Household electrification in other two districts is targeted to be completed by end of March’2018.

# Revenue and Current year GAP

# 4.1.	Non Tariff Income

The Utility has proposed Rs. 77.28  Crore as Non Tariff Income for the ensuing 	year FY 2019-20. The Utility submits the Hon’ble Commission to exclude the income from meter rent as the same is intended to be used towards replacement of the meters.

# 4.2.	Provision for Contingency Reserve

The Utility submits that the Distribution system is more prone to natural 	calamities like cyclone, flood etc, which have become an annual feature given the 	Titli, Phailin and Hud Hud in quick succession,  for which contingency provisions should be made.

The Utility seeks reference to , the National Tariff Policy, vide Clause 8.2.1 Para 	‘6’ which states that, the contingency reserve should be drawn upon the prior 	approval of the State Commission only in the event of contingency conditions 	specified through the Regulations by the State Commission. Accordingly, taking into consideration that, the State of Odisha is prone to natural calamities at regular intervals having witnessed in the last 100 years, 49 floods, 39 droughts and 11 cyclones, and taking into consideration the massive damage to the electrical infrastructure, it is prayed that Contingency Reserve be allowed for the Utility along with the guidelines/practice directions for use of such Contingency Reserve Fund.

The Power Distribution network has suffered the most damage in the recent cyclone Phailin, Hud Hud and subsequent flood further justifies the requirement of contingency reserve for the Distribution Utilities.

The Utility has considered the Contingency @ 0.375% of Gross Fixed Assets at beginning of the year while estimating the ARR for the ensuing year FY 2019-20. The Utility respectfully submits to allow Rs. 6.88 Crore towards provision for contingency for FY 2019-20.

# Reasonable Return

The Utility submits that due to the negative returns (Gaps) in the ARR and carry forward of huge Regulatory Assets in previous years, the Utility could not avail the ROE over the years, which otherwise would have been invested in the Company for improvement of the infrastructure. As it is followed by various Commissions, the Utility submits that the ROE to be allowed on the amount of the equity and the accrued ROE for the previous year. This would increase the availability of more funds for the consumer services.

Therefore, the Utility has assumed reasonable return amounting to Rs. 10.55 Crore as calculated @ 16% on equity capital including the accrued ROE as per the earlier Orders of the Hon’ble Commission.

# Current year FY 2018-19’s GAP

Further based on the actual sales, revenue and expenses for the first half of the current year 2018-19 and based on estimates for next half of current year, the uncovered gap for FY 2018-19 is Rs.85.78 Crore as against the surplus of Rs.16.34 Crore approved by Hon’ble Commission.

Statement of Current’s Year GAP

|  | Unit | OERC Approval | Estmd. | Diff |
| --- | --- | --- | --- | --- |
|  | MU |  |  |  |
| No of Units – sale | MU | 5013.32 | 4664.97 | (348.35) |
| RST per unit | Rs/Kwh | 4.81 | 4.99 |  |
| Sales | Rs Crore | 2413.25 | 2327.98 | (85.27) |
| Less-Bad Debts | Rs Crore | 12.43 | 46.56 | 34.13 |
| Net Sales | Rs Crore | 2400.82 | 2281.42 | (119.40) |
| Other Income | Rs Crore | 117.36 | 74.43 | (42.93) |
| Total Income | Rs Crore | 2518.18 | 2355.85 | (162.33) |
| Distribution Loss | % | 18.35% | 20.00% |  |
| No. of Units – Purchase | MU | 6140.00 | 5831.22 | (308.78) |
| BST per Unit | Rs/Kwh | 3.26 | 3.26 |  |
| Cost of Power | Rs Crore | 2002.6 | 1901.94 | (100.66) |
| Distribution Expenses | Rs Crore | 382.39 | 392.58 | 10.19 |
| Interest & Finance charges | Rs Crore | 49.92 | 79.17 | 29.25 |
| Depreciation | Rs Crore | 56.38 | 51.99 | (4.39) |
| Total Expenditure | Rs Crore | 2491.29 | 2425.69 | (65.60) |
| Contingency Reserve | Rs Crore | 0 | 5.40 | 5.40 |
| Reasonable Return | Rs Crore | 10.55 | 10.55 | (0.00) |
| Excess/(deficit) | Rs Crore | 16.34 | (85.78) | (102.12) |

The utility has submitted that Hon’ble Commission may kindly to acknowledge the above factor accordingly.

# Revenue at Existing Tariffs

The Utility has estimated the revenue from sale of power considering the sales projected for FY 2019-20 and by applying the various components of existing tariffs. As detailed out in previous sections, the Utility has adopted the approach considered by the Commission and estimated the revenue from sale of power on accrual basis. The total revenue based on the existing tariffs applicable for the projected sales is estimated at Rs 2513.30 Crore.

The details of estimated revenue from different categories of consumers at existing tariffs are provided in FormT-7 & T- 8. The License humbly requests the Hon’ble Commission to estimate the revenue for estimated sales at existing tariff by duly considering the category-wise and slab wise in the format prescribed by the Hon’ble Commission with the applicable tariffs in each category.  With the implementation of the RGGVY, BGJY & SAUBHAGYA Schemes the sales mix shall be further skewed to the LT subsidized category.

# Summary of Annual Revenue Requirement and Revenue Gap

The summary of Annual Revenue Requirement, Revenue at Existing Tariffs and Revenue Gap for the ensuing year 2018-19 is provided below.

Table 1A : Revenue Gap

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 2787.58 |
| Reasonable return | 10.55 |
| Sub Total | 2798.13 |
| Revenue from sale of power at existing tariffs | 2513.30 |
| Non Tariff Income | 77.28 |
| TOTAL REVENUE GAP | 207.54 |

The revenue gap for the year 2019-20, considering the BSP rate at FY 2018-19 is arrived at Rs.207.54 crores.

Revenue GAP if Railway would avail power supply from other source

Presently the Utilty is having 8 Nos of traction load with Contract Demand of 142000 KVA. Considering 1st Six months consumption of 187.242 MU the current year’s consumption has been estimated as 373.104 MU. Similarly the Utility has projected 375.740 MU towards traction consumption for the ensuing year.

If railway would be completely availing power supply from other source other than the Distribution Company then the revenue gap would be Rs 315.95 crore. Hence the GAP would increase by another Rs. 108.41 crs.

Table 1B : Revenue Gap without Railway

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 2665.09 |
| Reasonable return | 10.55 |
| Sub Total | 2675.64 |
| Revenue from sale of power at existing tariffs | 2282.41 |
| Non Tariff Income | 77.28 |
| TOTAL REVENUE GAP | 315.95 |

Therefore the revenue gap for the year 2019-20, with BSP rate at FY 2018-19 without railway would be Rs.315.95 crores.

That, in the above background it is worth mentioning that as of now, at existing tariffs, the Utility is unable to meet its current costs,   and unless there is decrease in input costs in FY 19-20 or any grant/ subsidy is provided, it is very difficult in the part of the Utility to accomplish its obligations as a distribution Utility. Accordingly, the utility prays that such exigencies be considered while processing this Petition.

# Initiatives by Utility & Other performance improvement measures

# Compliance to OERC Directions

Hon’ble Commission has given certain direction in the RST order dt.23.03.2017 and compliance to same are as under:-

316.  To improve collection efficiency under LT category (Single Phase) the NESCO, WESCO & SOUTHCO Utilities have requested to approve a special rebate to those LT categories (single Phase) consumers who are availing monthly rebate on prompt payment of monthly energy bills. Such consumers may also be permitted to avail an additional special rebate equivalent to the highest rebate availed during the last financial year. The special rebate shall be credited at the end of the financial year if the consumer has availed consistently rebate during last one financial year without fail and the outstanding is nil against such consumers. The Commission considered the above proposal of the Utilities and a Special rebate to the LT single phase consumers in addition to any other rebate he is otherwise eligible. It shall be allowed at the end of the financial year (the bill for month of March) if he has paid the bill for all the 12 months of the financial year consistently without fail within due date during the relevant financial year. The amount of special rebate shall be equal to the rebate of the month of March for timely payment of bill.

Compliance :

In compliance to the direction of the Hon’ble Commission the payment made by the consumers will be reviewed at the end of the financial year and  if the consumer  has paid the bill for all the 12 months of the financial year consistently without fail within due date, special rebate will be extended to the consumer The amount of special rebate shall be equal to the rebate of the month of March for timely payment of bill.

329. Almost all the objectors have expressed their concern for deteriorating standard of performance from the Utilities. In this context we feel that as per the OERC (licensees Standards of Performance) Regulations, 2004 DISCOMs Utilities are furnishing the Guaranteed standards of Performance for every month, Overall standards of Performance for every quarter and the annual report of such performance at the end of the financial year. These performance standards are to be verified by a third party. In obedience to it CESU had engaged Sri Bibhu Charan Swain, Sr. Consultant, M/s. Power Tech Consultant and Smt. Parvati Sundari Mishra, Ex. Sr. G.M.(Elect.) CESU for third party audit work of SoP for FY 2016-17 for CDD-I, Cuttack, CED, Cuttack, JED, Jagatsinghpur and BCDD-I, Bhubaneswar, PED, Puri, DED, Dhenkanal respectively. NESCO Utility had engaged M/s Power Research Development Consultants (P) ltd. (PRDC) for 3rd party verification of their SoP data for the FY 2016-17. M/s PRDC has conducted audit of four electrical divisions namely, KuED, Kuakhia, BED, Balasore, JED, Joda and UED, Udala. No third party audit of the SoP has been conducted by SOUTHCO & WESCO utility. In this connection the Commission has asked the licensees to explain the reasons of deviations in SoP pointed out by auditors and to cross check/verify the information/data on Standards of  Performance for the subsequent years through independent third Party verifiers and submit the same to OERC through affidavit.

Compliance :

M/s PRDC has conducted SoP audit of four electrical divisions namely, KuED, Kuakhia, BED, Balasore, JED, Joda and UED, Udala for the financial year 2016-17. The audit report was submitted before the Hon’ble Commission vide PRDC letter no. PRDC/2017-2018/OERC/380 dated 20.9.17. Explanations to the reported deviations were alos submitted by the utility before the Hon’ble Commission. Further for SoP audit for the FY2017-18,  the Utility has engaged M/s. PRDC for Standard of Performance Audit of four division BNED, Bhadrak, BPED, Baripada, KED, Keonjhar and CED, Balasore for the FY 2017-18.  M/s. PRDC has completed the audit and they have submitted the report before the Hon’ble Commission vide letter no. PRDC/OERC/2018-19/556 dated 28.11.18 .

331. Clauses (i) and (k) of Section 14 of the Energy Conservation Act, 2001 stipulates that every designated consumer (DCs) shall get energy audit conducted by an accredited energy auditor and furnish the same to the concerned designated agency, details of information on energy consumed and details of the action taken on the  recommendation of accredited energy auditor. CESU proposed that being a Designated Consumer (DC) under PAT Cycle -II vide S. O. No. 1264(E) dated 31/03/2016 it would engage an accredited energy auditor following a transparent procedure to conduct energy audit, wherein, the fund of approx. Rs 50 lakh is to be arranged by CESU for taking up such works.

The Commission has felt the necessity of energy audit/PAT-II and accordingly has allowed Rs.4 Cr, Rs. 10 Cr, Rs. 5 Cr and Rs. 4 crore respectively to CESU, NESCO, WESCO and SOUTHCO Utilities respectively in this Tariff order to carry out energy audit and consumer indexing which includes energy audit by a third party accredited agency. (Action- Commerce Branch)

Compliance :

In exercise of powers conferred by clause (g) and (n) of section 14 of the Energy Conservation Act,2001, the Central Government  has specified the energy consumption norms and standards of NESCO as a designated consumer under PAT-II cycle, vide Statutory Order No-1264(E) dated 31.3.2016. Clauses (i) and (k) of Section 14 of the Energy Conservation Act, 2001 stipulates that every designated consumer (DCs) shall get energy audit conducted by an accredited energy auditor and furnish the same to the concerned designated agency. For selection of Accredited Energy Auditor for conducting Mandatory Energy Audit under the mandates of the Energy Conservation Act,2001, limited tender was done and M/s. Power Tech Consultants was engaged for conducting the Mandatory Energy Audit of NESCO Utility vide Work order no-PUR/916(12) dated 20.1.2018. M/s. Power Tech  Consultants    completed the audit of NESCO Utility and the Mandatory Energy Audit Report by M/s. Power Tech Consultants has been submitted before Bureau of Energy Efficiency and SDA (O) vide letter no-RA/184/10306(2) dated 30.8.18.

380.  The Commission in the performance review have directed DISCOMs to carry out the Energy Audit in complete shape of at least 5 feeders. This exercise should be further escalated and replicated to other feeders. The Commission further directs that the DISCOMs should complete pole scheduling, consumer indexing, distribution network mapping linking with indexed consumer and also ensure that reliable & correct meters are installed at all points of consumption for the purpose of Energy Audit to identify revenue leakage. Commission shall also review progress aggressively and pass suitable directions from time to time if orders are not complied.

382. The above table reveals that no progress has been made. The Commission hereby directs again to DISCOMs to submit plan of action for the following energy audit activities during the year 2018-19: 1. Metering of all the 33 KV feeders, 11 KV feeders and Distribution transformers. 2. Energy Audit of balance 33 KV and 11 KV feeders, for which energy audit has not been carried out. 121 3. Energy audit of all the DTRs and consumers. 4. Consumer and pole indexing. 5. Energy audit of all consumers starting from 33 KV feeders to the end user consumer.

383. The licensee must provide specific timelines division and feeder wise plan for each of the above activity. It must be noted that while devising the plan, the thrust must be given to complete the audit of Industrial feeders and loss making urban feeders first, gradually focusing on other feeders and DTRs. In view of the importance of energy audit activity Commission allows Rs.5 crore each to WESCO & CESU, Rs. 4 crore to SOUTHCO and Rs.10 crore to NESCO towards AT&C loss reduction activities including Energy Audit under the head additional A&G expenses for FY 2018-19. Besides the commission has also allowed allocation under the Additional A&G towards Inspection Fee towards SI works and Compensation for Electrical Accidents.

Compliance :

The Compliance to the above has been explained at para 2.5.1 which may please be referred into.

384. Training of Personnel out of normal A&G expenditure

The Commission has laid emphasis on the Capacity building of employees and officers for development of the organization. This is more important in view of the fact that knowledge on evolving technologies and best practices being used by the other organizations are efficiency accelerators. Commission, therefore, gives importance to the training of personnel of the utilities in order to upgrade their skills to cope up with the changing needs. Utilities should have a calendar of training schedule for their employees to take their task efficiently. In spite of past orders, no visible action has been taken. Organising training and efficiency improvement of employees’ measurement should be an indicator of HR performance. Commission, therefore, provided Rs.50 lakh towards training programme for each DISCOM out of normal A&G expenses previous years. Commission in line with previous RST order directs Licensees to earmark Rs.50 lakh towards training programme for FY 2018-19. The copy of training calendar for the year 2018-19 shall be submitted to the Commission by 31st May, 2018. Failures need to be recorded in the performance of HR Head.

Compliance :

In compliance to the direction of the Hon’ble Commission, training calendar for 2018-19 has been submitted before the Hon'ble Commission vide letter no. RA/119/5946 dated 31.5.18

393. RGGVY & Biju Gram Jyoti Scheme –

The asset addition under these Schemes are entirely funded by Govt. of India and Govt. of Odisha and the projects are being implemented by the Central PSUs as per the terms of agreement. On R&M of the assets, Commission in its tariff order for FY 2009-10 observed that the State Govt. should provide revenue subsidy to the DISCOMs to compensate for undertaking such non remunerative work under RGGVY & Biju Gram Jyoti Scheme. DISCOMs are advised to approach State Government in this regard for obtaining revenue subsidy for maintenance of these assets. DISCOMs have submitted that the provisional additional amount of Rs.5.00 cr. to each DISCOM is not enough given the area over which the RGGVY assets have been spread out.

Compliance :

At present the  repair and maintenance of existing lines and substations are being maintained by utilizing available Misc. funds and by availing escrow relaxation from GRIDCO.

414. Commission therefore directs the DISCOMs to maintain the security deposit intact so as to meet this liability. Commission further directs the DISCOMs to recoup the deficit of the security deposit through enhanced collection and submit a plan of action by 30.06.2018 for such a programme.

Compliance :

It is to submit that, as per audited accounts Security deposits as on 31.3.18 are Rs.536.16cr. At present there is no gap between Book Balance and actual balance as the earlier shortfall has already been recouped through interest accruals on fixed deposits made out of security deposits.

426. The Commission in line with the above Order on MYT principles allows on Bad and Doubtful debt of 1% of the total annual revenue billing in HT and LT sales only on normative basis. Hence the amount of Bad and doubtful debt as proposed by the DISCOMs and approved by the Commission for FY 2018-19 is summarized below. Commission directs that the procedure for classification of an amount under bad and doubtful debt have to be in place prior to implementation.

The Commission directs that the procedure to write off losses be submitted by 30.6.18.

Compliance :

During the financial year the utility provides for bad and doubtful debts including bad debts after adjustment of security deposit as follows:

1.In respect of HT/EHT category of consumers , analysis are carried out on case to case basis and the amount doubtful of recovery are fully provided for in the accounts

2. The amount receivable from the permanently disconnected consumers prior to 6 months before the closing date are fully provided for.

3. In respect of non-government LT category of consumers , the arrears appearing prior to 6months before the closing date adjusting the collection made thereafter till the balance sheet date are fully provided for.

427. The OERC (Terms & Conditions for Determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 at Regulation 8 provides for the procedure for Truing up. Reg.8.1 provides that “The Distribution Licensee shall file an application each year for Truing up separately by 1st week of October every year along with the 136 audited accounts of the relevant year. The Commission shall pass the Truing up order by 1st week of November. The Licensee shall duly consider the Truing up order up to the previous financial year while filing ARR for the ensuing year.”

Compliance

We have already submitted Audited Annual Accounts of NESCO Utility up to the Financial Year 2017-18.The truing up application will be submitted within March 2019.

440. The Commission directs both GRIDCO and DISCOMs to file a reply before the Commission regarding action plan taken for liquidation of the arrears as stated above by 31.05.2018. Pro-active and effective action may be taken for recovery of the arrears.

Compliance :

In compliance to the direction issued by the Commission to liquidate the outstanding dues of GRIDCO, it is to submit before the Hon'ble Commission that, the collection efficiency has been improved and so also the AT&C loss.Some cash inflow has been generated after meeting monthly BSP dues, employees cost and operation and maintainance expenses. In the above circumstances, it is prayed before the Hon'ble Commission to give some time till improvement of financials to liquidate the arrears of GRIDCO .

450. The Commission in the last RST order directed to segregate their accounts for wheeling business and retail supply business in terms of Regulation 4.4 of OERC 144 (Terms and Conditions for Determination of Wheeling Tariff & Retail Supply Tariff) Regulations, 2014. The Commission asked for compliance in this regard by the Licensee shall be submitted by 31st July 2017 however no compliance was submitted by any of the DISCOMs. The Commission therefore again directs DISCOMs to take necessary steps in order to segregate their accounts for wheeling business and retail supply business in terms of the said OERC Regulation. The compliance on this account must be furnished by 31st July 2018.

Compliance :

In compliance to the above , it is to submit that for segregation of account of utility, it is required to segregate the resources-the manpower and machineries with proper  identification to segregate the business. The Accounts could not be segregated  as there is no segregation made for manpower and Assets till date.

# Various Payment Options

In addition to providing rebate for digital payment to LT domestic category of consumers, to improve the reach to the consumers, the utility has engaged various service providers for easy payment option to the consumers for payment of Energy Bills through offline/online mode which would enhance the overall collection efficiency.  The purpose of such engagement of the service providers is to accelerate the revenue collection by providing the services at the door step of the consumers for any time payment of their Bills and to reduce the door to door collection by the Company.

Following service providers assigned with the responsibilities for collection of Electricity bills.

- Post Offices- Collection of cash through Post Offices.

- CSC e-Governance Services India Limited- Collection of Electricity Bills through CSCs / VLEs.

- ITZ Cash Card- Prepaid cash card issued by ITZ Cash card and through their various outlets.

- ICICI Bank- Through Debit / Credit card and Net Banking Services.

- Atom Technology- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (28 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- Billdesk

- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (50 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- EBPP Services- Through Airtel  Money & Voda-phone m-paisa

The monthly collection through the above online mechanism is around Rs.330 lakh.

| Collection through | Monthly average (Rs.lakh) |
| --- | --- |
| Post Offices | 1 |
| Billdesk, EBPP & PG | 132 |
| M-Pos | 32 |
| ITZ | 08 |
| ATOM | 15 |
| ICICI Bank | 8 |
| CSC | 14 |
| Paytm | 116 |
| Oxigen | 04 |

# Development of Franchisee in Utility Area

Efforts have been made by the Utility for introduction of Franchisees in its License area as required under the RGGVY Scheme and as per direction of Hon’ble Commission in their tariff Orders. The following models both in operation and proposed as given below:

Earlier the utility had engaged franchisees both on revenue and input based model. The engagements were on sub-division wise as a unit and for some input based franchisee unit means feeder or 33/11 KV sub- station. There are also some women SHG working at gram panchayat level. However, due to variation factors and more emphasis on wide spread franchisee engagement it was decided that all franchisee shall be converted to new model which is revenue based franchisee model. The performance of franchisees are judged or calculated on its performance on collection amount, collection efficiency and consumer coverage. A base level is being fixed for all the parameters mentioned above. At different level of performance, points are assigned and based on weighted average of all the parameters incentive is being fixed. The model is Point based Revenue collection Model

Consumer growth has increased to manifold on account of village electrification through RGGVY, BGJY, BSVY scheme etc. Billing and collection of these consumers are low due to their BPL status but at the same time input has gone up considerably. As a result the input base model of earlier years became redundant and effectiveness of franchisees has gone down. Further, increase in consumer coverage was also became prime importance for such large consumer base. So a revenue based model has been taken up to give proper emphasis on consumer coverage as well collection efficiency. NESCO has started engagement in this model from May-2015 onwards with separate incentive structure for urban & rural areas. The aim is for greater involvement at grass root levels there by making franchisee operation more effective.

As on 31st March, 2018 the utility was having seventeen nos of  macro/input based franchisees with consumer base of 241804.

The franchisee plan are as under :

| Particulars | During Previous Year (FY 2017-18) | During 1st 6 months of the current year (Apr-18 to Sep-18) | Projected for the current year (Apr-18 to Mar-19) | Projected for the subsequent year (FY 2019-20) |
| --- | --- | --- | --- | --- |
| Franchisee Activity |  |  |  |  |
| No of Micro-Franchisees | 11 | 24 | 40 | 80 |
| No of Consumers Covered | 141023 | 189768 | 320000 | 550000 |
| No of Macro-Franchisees | 3 | 3 | 3 | 3 |
| No of Consumers Covered | 65,079 | 68,935 | 72,000 | 82,000 |
| No of Input Based-Franchisees | 1 | 1 | 1 | 1 |
| No of Consumers Covered | 35,702 | 38,442 | 42,000 | 48,000 |
| Total no of consumers covered under Franchisee | 2,41,804 | 2,97,145 | 4,34,000 | 6,80,000 |

Present Development, Issues and Strategies:	Over the years, there has been enormous growth in the number of electricity consumers in various categories due to industrial growth and massive village electrification programs launched by Government under various village electrification schemes like RGGVY, DDUJY, IPDS, UJJWAL Yojana and presently the SAUBHAGYA etc. Due to this there is a massive pressure on the ‘Supply of Electricity’ over the periods and there is an abrupt increase in ‘Input cost of electricity’ of State electricity distribution utilities. Further all most all the new consumers added to baseline are under BPL status by which the billing to and collection from those are duly regulated under policies of Government. On the other hand despite of consumer awareness programs the consumer behavior and motive is unpredictably erratic and unchanged.

On to engagement of franchisee by the Utility in its billing and collection activities though there was some contribution towards growth of revenue but the same was meager and not eye-lashing. As already explained, gradually it became difficult for the Utility to make the agents responsible and accountable for the losses contributed, misdeeds and corrupt practices adopted by their members, due to absence of a systematic, result-oriented, strategic action plan and procedure in such franchisee operation.

Packed-up in high T&D losses associated with lower billing efficiency, high AT&C losses associated with lower collection efficiency, high cost of maintenance, increasing employees and other administrative and finance costs; it became imperative for the Utility to adopt strategic action plans to manage the input and control input other costs.

Under the present system of engaging franchisees, the Utility has already adopted following action plans on pilot basis w.e.f. July’2017 and gradually with due initiative from the Regulators and Government, the same is to be implemented in a massive way w.e.f  FY 2019-20:-

1.	Manual Money Receipts to be done-away with RCS mode: Those manual money receipts used for revenue collection activities are now substituted with digital money receipts through machines. The Utility has already communicated the same to all concerned including the collection agents to enable them prepared for the machine mode of collection. A model ‘Revenue Collection System (RCS)’ has been devised; software has been developed and already started operation in various collection-counters of the Utility as well as by the collection agents effectively.

Under RCS, the agent has to arrange necessary machines and stationeries however the Utility shall provide necessary front-end software. As such, before starting operation under RCS, the agent has to deposit a lump-sum amount with the Utility for a top-up credit which will be tagged to their machine besides performance security deposit. The agent shall go on collecting the revenue and issue digital money receipts to the consumers, soon after which the information of such collection reaches the Utility and the collection amount reduces the top-up credit automatically. Before it vanishes, the agent has to take a fresh top-up after depositing the collected revenue in designated bank account of the Utility within a time frame in order to avoid penalty and interruption in collection activity. In this way the lump-sum deposited by the collection agent gets rotated and the Utility will be in a position to-

(a) have the collection amount in advance;

(b) know the collection information in real time which is faster than before;

(c) avoid misutilisation and tampering of money receipts by manual intervention; and

(d) exercise better control on collection activities than earlier.

2.	Massive disconnection drive: 	The Utility has already started operating disconnection drives through outsourced agencies preferably those are on the job of revenue collection activities. This is going to be massive in days to come and purposefully w.e.f. FY 2019-20 for which one Vigilance & Enforcement Cell has been created at Head-quarter to monitor and control such activities.

3.	Massive Vigilance and Metering drives: 		The Utility has also started operating vigilance activities in a massive way. The vigilance teams are being provided by the outsourced agencies preferably those are in the job of revenue collection activities. A vigilance software module has been devised, the Enforcement Cell at Head-quarter in co-ordination with the MRT Circles has already started close monitoring and identifying the metering and load status of the consumers. The erring consumers are being penalized, where ever detected meters have been replaced.

The input and investment based distribution franchisee model has evolved as a means to break the vicious circle of low realization, low investment, low consumer satisfaction and in turn low growth.

# Action plan for Revenue Improvement:

The consumer strength of NESCO Utility is approx. 16.34 lacs as on date & the nos. are gradually increasing due to different Govt. Schemes like BGJY, BSVY, RGGVY. The Government of India has launched a new electrification scheme namely SAUBHAGYA to give power supply connection to every household free of cost. In this scheme around 6.0 lakh new consumers are expected. The utility has adopted various measures in the fields like Input, Metering, Billing, Collection, Vigilance & Consumer Indexing to reduce the loss level. The proper guidelines in these areas are being sent to all the divisions from the head office on quarterly basis & the monthly action plan is being prepared at the division level for actual field implementation.

INPUT CONTROL

Following steps are formulated to regulate the input in LT level.

- De hooking at field level & regularization thereafter.

- Trimming of tree branches especially in LT network.

- Special emphasis on new service connection without delay in bringing to billing fold.

- Total energy audit of all DTR connected to 11 KV as a pilot project.

- Organizing mass de hooking  (All JEs and SDOs in specific areas)

- Double jumpering of HT lines (Especially  high load carrying feeders)

- Maintenance of AB switches.

- Load balancing targeted in section level.

- DTR auditing at random selection of potential areas.

- AB Cabling

METERING

- Defective meter replacement – Priority to high value consumers.

- Cent percent meter replacement of commercial consumers.

- Conversion of Single phase consumers to three phase consumers ( High CD premises)

- Meter shifting to outside the premises as non con sealed service connection.

- Sealing of meters.

- Checking of new service connection by next higher authorities for correctness in observing regulation.

- Facilitating AMR for all the consumers having the load more than 10 KW.

BILLING

(A) Checking of photo billing & corrective action.

(B)   Field checking of LD consumers for possible hooking.

(C)   Check meter reading by individuals (Targeted)

(D)  Mass check meter reading.

(E)  Verification of low billed consumers.

(F)  Verification of exceptional report cases like suspected by pass, not in billing fold, meter  OK but billed in defective, availing power but shown in database as LD, etc.

- Load verification of BPL consumers having defective meters/ No meters for conversion to APL..

- Delegation of Power at the SE level to revise the bills under LT Category irrespective of quantum to be revised.

- Scrupulously implementing the orders of GRF.

COLLECTION

- Effective operation of disconnection squads and checking of disconnected consumers.

- Operation of GRF camp in field.

- Operation of consumer camp/ consumer complain redressal camp at field.

- Organising Mega camp collection – The day when every section officer has to disconnect the defaulting consumers, disconnection of penalty cases, etc. having a targeted amount realization.

- Monitoring of disconnection/ recovery of single phase consumers having outstanding > Rs. 25000/-, >  Rs.50000/- ,  > Rs.100000/-

- Advocate notice to PLD / huge arrear cases consumers.

- The ongoing online cash collection in pilot project shall be extended to all the divisions under the Utility.

VIGILANCE ACTIVITIES

- All section officers given target for no. of self checking.

- Penalty realization in Rupees (Lakhs) target given at section level.

- Rectification of vigilance findings (100 Percent) targeted subject to cross checking.

- Detected un authorize consumers bringing to billing fold.

- Lodging of FIR.

CONSUMER INDEXING

- Consumer indexing of total consumers in a pilot feeder targeted.

- Consumer indexing of some potential  DTR.

# Allocation of Wheeling and Retail supply cost

Hon’ble Commission has formulated regulation for bifurcation of Wheeling and Retail supply business vide notification dated 14th Nov-2014. According to the said regulation the Utility is required to file its ARR application as per the amended regulation. In line with the same as per clause 4.3 and 4.4 of the regulation for such period until the accounts are segregated, the Utility shall prepare an allocation statement to apportion cost and revenues to wheeling and Retail supply business and submit it along with ARR for approval of Hon’ble Commission.  In view of the same the utility is proposing the following allocation statement for kind approval of Hon’ble Commission.

Statement of allocation of Wheeling and Retail supply Cost.		Rs. Lakh

| Sl No. | Cost/Income Component | ARR for FY 2019-20 | Assumption Ratio for consideration in Wheeling Business | Assumption Ratio for consideration in Retail Supply Business | Wheeling cost for FY 19-20 | Retail supply Cost for FY 19-20 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Cost of Power | 190522.83 | 0% | 100% | 10135.86 | 180386.97 |
| 2 | Transmission Charges | 15824.16 | 0% | 100% | 839.06 | 14985.09 |
| 3 | SLDC Charges | 96.24 | 0% | 100% |  | 96.24 |
|  | Total power purchase cost * | 206443.22 |  |  | 10974.92 | 195468.30 |
|  | O&M |  |  |  |  |  |
| 4 | Employee Cost | 37311.92 | 60% | 40% | 22387.15 | 14924.77 |
| 5 | Repair & Maintenance Cost | 9910.76 | 90% | 10% | 8919.68 | 991.08 |
| 6 | Administrative & General Expenses | 5885.54 | 40% | 60% | 2354.22 | 3531.33 |
| 7 | Bad & Doubtful Debt including Rebate | 3769.96 | 0% | 100% | 0.00 | 3769.96 |
| 8 | Depreciation | 6624.02 | 90% | 10% | 5961.62 | 662.40 |
|  | Interest on Loans |  |  |  |  |  |
| 9 | for Capital loan | 1436.34 | 90% | 10% | 1292.71 | 143.63 |
| 10 | for Working capital | 2886.79 | 10% | 90% | 288.68 | 2598.11 |
| 11 | Interest on Security Deposits | 3801.33 | 0% | 100% | 0.00 | 3801.33 |
| 12 | Return on Equity | 1054.58 | 90% | 10% | 949.12 | 105.46 |
|  | Special Appropriation |  |  |  |  |  |
| 13 | Amortization of Regulator Assets | 0.00 | 25% | 75% | 0.00 | 0.00 |
| 14 | True Up of Current year GAP 1/3rd | 0.00 | 25% | 75% | 0.00 | 0.00 |
| 15 | Other, if any-Contigency Reserve | 688.25 | 90% | 10% | 619.42 | 68.82 |
|  | Grand Total | 279812.70 |  |  | 53747.52 | 226065.18 |
|  | Miscellaneous Receipt |  |  |  |  |  |
| 16 | Non-Tariff Income - Wheeling | 1267.86 | as per actual assumption | as per actual assumption | 1267.86 | 0.00 |
| 17 | Non-Tariff Income - Retail Business | 6460.21 | as per actual assumption | as per actual assumption | 0.00 | 6460.21 |
| 18 | Total Misc. Receipts | 7728.07 |  |  | 1267.86 | 6460.21 |
| 19 | Total Revenue Requirement | 272084.63 |  |  | 52479.66 | 219604.97 |
| * Allocation of power purchase cost towards wheeling has been made considering 8 % loss on input after effecting EHT Sales |  |  |  |  |  |  |

# Tariff Proposals and Rationalization Measures

Hon’ble commission in the RST order FY 2018-19 vide para 318 has made findings that distribution companies are making repeated submission for which Commission has already given its direction in different tariff order for their repeated submission. The observations are as under:-

| Issues | Commission’s Observation |
| --- | --- |
| Levy of Demand Charges on the basis of 80% of CD or MD whichever is higher to be changed to 85% of CD or MD whichever is higher | Para 276 for RST Order for FY 2017-18 |
| Withdrawal of power factor incentives | Para 287 of RST Order 2017-18 |
| Introduction of KVAH Billing | Para 244 of RST order for FY 2019-17 and in Para 304 & 332 RST order for FY 2015-16 |
| Power Factor Penalty for Three-phase Consumers having Contract Demand less than 110 KVA | Para 280 of RST order for FY 2017-18 and para 326 of the RST Order for FY 2015-16 |
| MMFC/Demand charges to be in KVA only instead of KVA/KW | Para 308 of RST order for FY 2017-18 |
| Continuation of bi-monthly billing | Para 297 of RST order for FY 2017-18 |
| Introduction of Amnesty Arrear Clearance Scheme for LT Non Industrial category of consumers | Para 285 of RST order for FY 2017-18 |
| Load factor Billing to Irrigation and Agriculture Category of Consumers | Para 244 of RST order for FY 2016-17 and para 332 of RST order for FY 2015-16 |
| Acceptance of Bank Guarantee in lieu of security deposit in cash | Para 282 of RST order for FY 2017-18 and para 326 of RST Order for FY 2010-11 |
| Overdrawl by Existing HT/EHT Category Consumers (Penalty both on demand and energy) | Para 238 of RST order for FY 2016-17 |

In view of the above it is humbly submitted that the submissions are being made by the utilities as it has lot of implication towards revenue as well as it is creating lot of disparities among consumer category. Therefore, submission for the ensuing year has also been made for specific cases where it is required to be addressed.

For example the utilities are submitting before Hon’ble commission for introduction of KVAh billing since long as it has been already adopted by most of the states. The licensees are in view that till such time urging for applicability of power factor penalty and power factor incentive for certain category of consumers where disparity still continues which needs to be addressed. Previously Hon’ble Commission has also observed and asked for data regarding preparedness of the utilities for implementation of kvah billing for which DISCOMs have already supplemented with data. As of now all consumers having static meters where kvah reading is available. So taking meter reading will not be an issue. For all purposes utilities are collecting kvah meter reading also. So, it is once again submitted for implementation of KVAh billing for which appropriate logic has been given in subsequent section.

Similarly for levy of Demand charges and MMFC charges in KVa or in Kw for the consumers as the case may be has certain disparity for which re-submission has been made which may kindly be re-considered.

# Withdrawal of Power Factor incentive.

Presently power factor incentive is being extended to HT and EHT category of consumers those who are maintaining PF of 97% and above. It is observed and admitted fact that the consumers are double benefited with such incentive. Primarily when requisite PF of 92% is being maintained they are avoiding PF penalty, so avoidance of PF penalty is a direct saving to the consumers. When incentives are extended it is a bonus in addition to savings due to avoidance of PF penalty. It is submitted that now days all the machineries used by the industries are certified by BIS or ISO, similarly pumps are designed as energy efficient and motors are copper banded. So use of such star rated energy efficient equipments along with capacitor banks are the contributor for achievement of higher power factor. Gone are the days when such equipments were not available Hon’ble Commission was encouraging for installation of capacitor bank for which to facilitate them PF incentive was introduced.   Now with the present scenario continuance of PF incentive is no more required which may kindly be abolished.

# Demand charges to HT Medium category of consumers

Medium categories of consumers who are availing power supply under HT category are being facilitated with comfort of demand charges @ Rs.150 per Kva p.m. However, General purpose category with load of >70 Kva & <110 Kva and Specified Public Purpose category are paying demand charges @ Rs.250 per Kva p.m. This is discrimination among consumers availing power supply under HT category and also providing scope to become Medium industry to avail such benefit. With such wide GAP between Demand charges, consumers under HT medium category just below 110Kva are always trying to avail demand benefit even though their actual connected load is more than 110Kva and above. To curb such type of disparity in demand charges the licensee submit before Hon’ble Commission to fix demand charges for HT Medium category of consumers @ Rs.250 per Kva p.m. Previously Hon’ble Commission has also fixed demand charges @ Rs.250 per Kva p.m. for HT category of consumers equivalent with large industry during FY 2012-13. In addition to above, to avail HT supply with connected load or contract demand <110 Kva installation of transformer capacity may be limited to 100Kva only. Consumers, having transformer of more than 100Kva and billed under <110Kva should be brought into large category of consumers immediately. Necessary suitable direction may kindly be given in this regard.

# MMFC for LT category of consumers

Presently LT category of consumers except Large, PWWS>110Kva & Specified Public Purposes>110Kva and above are paying Monthly minimum fixed charges on the basis of their connected load. The mechanism of MMFC is one rate for 1st Kw or part thereof and a separate rate for additional Kw or part thereof.  In case of Domestic, General purpose, Specified Public Purpose & PWWS the rate is same as for 1st kw as well as additional Kw. However, in case of other category the rate for additional Kw and part thereof is very much lower for which the revenue of the utility is highly affected as well as creating discrimination among LT category of consumers. For example a Small industry with 10 Kw load is paying Rs.80 for 1st Kw and for balance 9Kw is paying @ Rs. 35 per Kw (Rs.35X9 Kw=Rs.315). So total MMFC is Rs.395/- instead of Rs.800/- (i.e Rs.80 X 10Kw), similarly in case of LT medium industry it is Rs.100/- for 1st KW or part thereof and for additional Kw it is only Rs.80/- per Kw. The minimum load for LT medium category is >= 22 Kva and in case of Small it is <22 Kva. The present MMFC charge is appended below for better appreciation of Ho’ble Commission.

Sl.

No.

Category of Consumers

Volt

age

of

Supp

ly

Energy

Charge

(P/kWh)

Monthly

Minimum

Fixed

Charge for

first KW

or part

(Rs.)

Monthly

Fixed

Charge for

any

additional

KW or

part (Rs.)

Rebate

(P/kWh)/

DPS

1

Domestic

1.a

Kutir Jyoti  < 30U/month

LT

80

1.b

Others

10

(Consumption <= 50 units/month)

LT

250

20

20

(Consumption >50, <=200 units/month)

LT

430

20

20

(Consumption >200, <=400 units/month)

LT

530

20

20

(Consumption >400 units/month)

LT

570

20

20

2

General Purpose < 110 KVA

10

(Consumption <=100 units/month)

LT

540

30

30

(Consumption >100, <=300 units/month)

LT

650

30

30

(Consumption >300 units/month)

LT

710

30

30

3

Irrigation Pumping and Agriculture

LT

150

20

10

10

4

Allied Agricultural Activites

LT

160

20

10

10

5

Allied Agro Industrial Activities

LT

420

80

50

DPS/Rebate

6

Public Lighting

LT

570

20

15

DPS/Rebate

7

L.T. Industrial (S) Supply

LT

570

80

35

10

8

L.T. Industrial (M) Supply

LT

570

100

80

DPS/Rebate

9

Specified Public Purpose

LT

570

50

50

DPS/Rebate

10

Public Water Works and Swerage Pumping<110 KVA

LT

570

50

50

10

RETAIL SUPPLY TARIFF EFFECTIVE FROM 1st APRIL, 2018

LT Category

EXISTING

In view of the above it is humbly submitted that the MMFC for all the LT category of consumers may kindly be rationalized with single rate for 1st kw or part thereof as well as additional kw or part thereof. The proposed table is given below:-

# L.F. Billing to Irrigation Category of Consumers

Presently due to difficulty in putting meters in case of irrigation category of consumers billing is not possible in most of the cases. Replacement of defective meters is also not possible due to inaccessibility. In view of the same the licensee may be permitted to bill such category of consumers on L.F. basis with L.F. of 30% considering their pump capacity.

# Additional Rebate of 1% to LT Domestic category of Consumers

Hon’ble Commission has allowed rebate of 1% additional rebate towards digital payment for LT category of consumers. The intention was to promote cash less transaction to avoid pressure on currency notes which is also saving the time of the consumers for depositing cash in various cash collection centers.. So, the licensee is intended to continue with the same for the ensuing year. Therefore the additional rebate of 1% in addition to normal rebate as applicable may be considered for LT Domestic & Kutirjyoti category of consumers who shall make payment through digital mode only.

# Introduction of KVAH Billing

“Billing to Consumers based on kVAh recording instead of kWh recording

OR 	Power Factor Penalty to HT & LT Consumers above 20 KW :

The Hon’ble Commission in its RST Order dtd 22.03.2014 for FY-2014-2015 had given the following directions to the DISCOMs vide Para-246. The said Para-246 is quoted herein below.

“Billing to Consumers based on kVAh recording instead of kWh recording.

The Commission after detailed analysis observed that the Utilities are not prepared with the necessary metering and billing arrangement for all the consumers to be covered under kVAh billing. Hence, the Commission declined to accept the proposal of the Utilities to introduce kVAh billing in a phased manner. However, the Utilities are required to justify their readiness to implement such system of billing as directed below:

The Commission directs the Distribution Licensees to prepare a detailed sales  containing category wise and consumer wise contracted load / connected load and their month wise consumption for the latest three years ending 31st March, 2014 showing the consumer wise and month wise amount billed under Demand Charge/ MMFC, energy charge and power factor penalty of such consumers (for whom the Licensees intend to introduce kVAh billing)  including information on types of meters fitted against each consumer showing the capability of each meter for kVAh billing and the software developed by the Licensees for such billing. They are required to submit the complete information in this regard latest by 30th September, 2014.”

Incompliance to the above direction of Hon’ble commission the Utility has submitted the above required data of 20 KW and above Consumers before the Hon’ble commission During month of Nov’2014.

This has been verified that all the 3-phase meters, especially those installed for consumers having Contract Demand 20KW and above in the DISCOMs are enabled with all the energy parameters and storing dump record of 35 days.  All such meters show instantaneous Power Factor and  monthly average Power Factor can be computed as ratio of  active power and apparent power drawn by consumers like in case of existing large and Medium Industries Consumers presently being billed. Hence DISCOMs are fully equipped to implement KVAH billing in respect of all those consumers in place of existing  KWH Billing.

Benefits of KVAH Billing

It is further submitted that, by adopting KVAH billing in place of KWh Billing the recent pattern of Power Factor penalty imposed on the consumers will be abolished. The objective of introduction of KVAh billing is to ensure reduction in losses which occurs due to low power factor. The DISCOMs, therefore expect the consumers to have unity power factor. The objective of KVAh based billing is for encouraging the consumers to maintain their power factor near to unity Power factor.

In the present tariff structure, the power factor penalty is limited to only large consumers having contract demand of more than 110 KVA while medium and other three phase consumers are exempted. DISCOMs request for introduction of KVAh based tariff for energy drawal for all the three phase industrial consumers availing power supply in LT and HT and for which presently no Power Factor Penalty is imposed in the tariff and all the three-phase meters are capable of reading KVAh component of energy.

Since all three phase meters provided by the DISCOMs at the consumer premises are capable of reading KVAh Component directly and the billing system of DISCOMs also ready to accept such changes in the energy billing component, there will be no operational issues after implementation of KVAH Billing.

OERC Regulation 1 ( bb) specifies the definition of Meter as

“ Meter : means an equipment used for measuring electrical quantities  like  energy in KWH or KVAH Maximum demand in KW or KVA , reactive energy in KVAR hours etc including accessories like CT & PT where used in conjunction with such meter and any enclosure used for housing or fixing such meter or its accessories and any device testing purpose”

This supports for billing a consumer on the energy consumed on KVAH basis.

Therefore, the KVAh billing system is a win-win situation for DISCOMs as well as  Consumers .

With the above submissions, the Hon’ble Commission is requested to allow KVAh billing from ensuing FY 2019-20.

OR

Applicability of Power Factor Penalty to LT & HT Category of Consumers above 20 KW :

Hon’ble Commission in its RST order for FY 2018-19 orders for continuance of the power factor penalty as a % of Monthly demand Charge of monthly Demand Charge and Energy Charges on the following HT &  EHT consumers :

Large Industries

Public Water Works ( 110 KVA and Above)

Railway Traction

Power Intensive Industries

Heavy Industries

General Purpose Supply

Specific Public Purpose ( 110 KVA and above)

Mini Steel Plant.

Emergency Power Supply to CGP.

If the above proposals of DISCOMs are not considered by the Hon’ble Commission for implementation due to any reason DISCOMs pray for applicability of Power Factor Penalty for the following category of Consumers in order to bring more efficiency in Power System Operation till the KVAH billing is made applicable.

HT Category

Specified Public Purpose

General Purpose < 110 KVA

HT Industries ( M) Supply

LT Category

LT industries Medium Supply

Public Water Works and Swerage Pumping > 22 KVA

# Applicability of Power Factor Penalty.

Hon’ble Commission in its RST order for FY 2018-19 orders for continuance of the power factor penalty as a percentage (%) of Monthly demand Charge of monthly Demand Charge and Energy Charges on the following HT &  EHT consumers :

- Large Industries

- Public Water Works ( 110 KVA and Above)

- Railway Traction

- Power Intensive Industries

- Heavy Industries

- General Purpose Supply

- Specific Public Purpose ( 110 KVA and above)

- Mini Steel Plant.

- Emergency Power Supply to CGP.

Till such time KVAH billing approach is adopted the Utility proposes for applicability of Power Factor Penalty for the following category of Consumers in order to bring more efficiency in Power System Operation.

LT Category

- LT industries Medium Supply

- Public Water Works and Swerage Pumping > 22 KVA

HT Category

- Specified Public Purpose

- General Purpose < 110 KVA

- HT Industries ( M) Supply.

# Demand Charges and Monthly Minimum Fixed Charges

The Utility submits that 90% of the Distribution costs are fixed cost in nature. The distribution cost of the License which is a fixed cost has increased many folds during the recent years, the said cost normally required to be recovered from the Demand Charges. The fixed cost of the power procurement by way of payment towards capacity charges has also increased during last few years. The revenue recovery on account of the demand charges and monthly minimum fixed charges is approximately Rs.296.67 crore for the ensuing year at the existing tariff whereas the fixed distribution cost is around Rs.612.33 crore (Employee cost, R&M, A&G and Interest cost) which is almost 2 times of the amount of recovery.

In view of the above, the Utility proposes to recover the full fixed distribution costs by suitably revising the Demand charges and monthly minimum fixed charges as proposed in earlier section , as applicable to the respectively category during the ensuing year.

# Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.

Presently, the utility is having outstanding of more than Rs.1815 crores under LT non industrial category as on 30th Sep-2018. Out of the same around Rs.319 crs are under disconnected category. Most of the consumers, after accumulation of huge outstanding are trying to get another connection and putting the other one under Permanently Disconnected Consumers (PDC). The utility is also suffering from huge financial loss on account of low collection efficiency and coverage in Domestic and Commercial category of consumers. Hon’ble Commission has also directed to conduct receivable audit of the outstanding amount as on 31.03.2015 of the utilities through Charted Accountant and Cost accountants. Now they are submitting their reports. Considering the same, it is submitted before Hon’ble commission to approve an arrear collection scheme for LT non industrial category of consumers in line with OTS scheme earlier approved for FY 2011-12. Depending upon the outstanding and paying ability of the consumer’s 6 to 12 monthly installments may be fixed to clear the outstanding and avail benefit of withdrawal of DPS and certain percentage of waival on outstanding amount. As a result cash flow of the Utility will improve and able to clear it’s outstanding dues to GRIDCO as well as Employees terminal liabilities. The utility has submitted in last year ARR regarding the same. However, Hon’ble Commission has denied the same citing effectiveness of the scheme. However, considering present accumulated outstanding and reports of the receivable auditors Hon’ble Commission may relook into the matter.

# Other Issues

# Rebate on Prompt Payment

In the BSP Order for the  financial year 2018-19  the Hon`ble Commission directed that the Utility is entitled to avail a rebate of 2% for prompt payment of BST bill on payment of current BST in full within two working days of presentation of BST Bills and 1% is paid within 30 days.  Further, the Hon’ble Commission had directed to pay the rebate to all consumers except domestic, general purpose, irrigation and small industry category, if payment is made within three days of presentation of bill and fifteen days in case of others.

Considering the above, it is prayed before the Hon’ble Commission to approve the rebate of 2% to the Utility for prompt payment towards BST bills including part payments within 3 (three) working days from the date of presentation of the BST bill and in case the BST bill is paid after 3 (three) days the rebate should be proportionately allowed to the extent of payment made within 30th day @1% akin to Rebate Policy on Rebate is provided to GRIDCO by NTPC.

It is further submitted that when utilities  are extending rebate on prompt payment to consumers on the current bill ( excluding all arrears), they are not being allowed rebate on prompt payment of current BSP bill on the pretext of arrears which are disputed. The Utilities pray for parity in treatment regarding rebate on prompt payment on current bill (excluding arrears)

In addition to above rebate may kindly be also permitted in case of part payment so that cash flow of the Bulk Supplier will improve and at the same time the utility would be tempted to remit the amount collected to GRIDCO to avail such benefit.

DISCOMS are paying interest towards LC and SOD charges for payment of BST and transmission charges, but Hon’ble commission is not approving the same. One way DISCOMs are not getting rebate and in other way interest on working capital requirement is being disallowed which is not justified.

# Overdrawal beyond contract demand and charges thereof.

Post-Sitaram Rice Mill Judgment (Civil Appeal No.8859 of 2011) the definition of ‘Unauthorized Use’ of electricity as explained under the Sec.126 of the Electricity Act, 2003, has been widened by the Hon’ble Apex Court, thus covering those cases in which consumer of electricity indulges in overdrawal of energy. Since the Hon’ble Supreme Court in the said Judgment has clarified that the proceeding of assessment u/Sec.126 of the Act, 2003 is in addition to other proceedings which the Licensee is empowered to initiate against the consumer under the provisions of Regulations of the State Electricity Regulatory Commission. Thus notwithstanding the provision of ‘Overdrawal Penalty’ as stipulated by the Hon’ble Commission in its RST Orders, the Utility was empowered to initiate assessment proceeding u/Sec.126 of the Act, 2003 against such consumers by virtue of the above ruling of the Hon’ble Supreme Court.

That under the above backdrop the Utility started initiating assessment proceeding as stated above against those consumers who were indulged in overdrawing load in excess of contracted load.

That the Utility in its ARR for the FY-2016-2017, placed proposal for approval of its action initiated against those consumers indulging in overdrawal of energy in excess of their contracted load and also sought clarification with regards to such assessment in addition to payment of overdrawal charges by such consumers in terms of the RST Orders of the Hon’ble Commission for FY 2015-16 vide para 335. Hon’ble Commission while deliberating said issue has observed as follows;

……..Many objectors submitted that DISCOMs are penalizing consumers under section 126 of EA 2003 for defective meter even though they fail to replace meter in timely manner. They also submitted that undue enrichment by DISCOMs should be stopped under application of Section 126 of Indian Electricity Act 2003. It has become a common practice by the DISCOMs to disconnect power supply under Section 135 simultaneously levying penalty under section 126 due to over drawl by a consumer instead of levying overdrawal penalty under the plea of Supreme Court decision vide Civil Appeal No 5589 of 2011 wherein overdrawal has been equated to unauthorized use of electricity. In this context it is mentioned here that use of Section 126 or Section 135 for occasional overdrawal by a consumer is an action to be carefully examined by officers since there is a provision to deal with overdrawal in the tariff order. Such actions should only be justified in cases where the licensees are satisfied that the overdrawal by the consumers is unauthorised to evade the enhancement of contract demand. Accordingly the DISCOMs are advised to exercise due diligence while using penal provision like use of Section 126 or Section 135 of the Act.

Subsequent to aforesaid observation of Hon’ble Commission, the Utility is initiating such assessment proceeding in strict adherence to the parameter set by the Hon’ble Commission.

That during such assessment proceeding primarily against industrial and GP consumers, some core issues have been immerged which requires detail deliberation urging suitable intervention of this Hon’ble Commission. Those issues are highlighted below;

- Whether during the pendency of assessment procedure, the Consumer can be allowed for enhancement of Contract Demand without payment of the assessment dues?

- Whether the Consumer can be entitled for continuous overdrawl of energy thus leading to successive assessment procedure?

- Whether the method of computation of assessment adopted by the Utility is just and proper?

The views of the Utility to the above enraging issues are placed below.

- Whether during the pendency of assessment procedure, the Consumer can be allowed for enhancement of Contract Demand without payment of the assessment dues?

Views of Utility: As per Reg.73 of the OERC Distribution (Conditions of Supply) Code, 2004 permission for load enhancement cannot be allowed if the consumer is in arrear of electricity dues. The assessment dues of the consumer, if remains un-paid, gets into the account of the consumer, thus showing arrear dues and prohibiting the Utility for permission of load enhancement. Further if the consumer files appeal u/Sec.127 of the Electricity Act, 2003 by paying 50% of the assessment dues, Utility is constraint to allow for load enhancement due to pending litigation by. Therefore in order to ease of the process the Utility suggests that, if Hon’ble Commission approves, on payment of 50% of the assessment dues by the Consumer, permission for load enhancement shall be given by the Utility without prejudice to the right of the consumer to take appropriate legal recourse against such assessment.

- Whether the Consumer can be entitled for continuous over drawl of energy thus leading to successive assessment procedure?

Views of The Utility: In some cases it is observed that, inspite of issuance of warning letter the Consumer is indulging in continuous over drawal of energy, thus attracting successive assessment proceedings which has eventually led to series of legal disputes pending before different Court(s)/Forum(s). Therefore the Utility suggests that, if after first assessment proceeding, the Consumer indulges into continuous overdrawal of energy, the licensee may be entitled to disconnect the power supply of the consumer u/Sec.56 of the Act, 2003, after giving sufficient notice to the Consumer.

- Whether the method of computation of assessment adopted by the Utility is just and proper?

Views of the Utility: The utility is of the opinion that when the consumer is drawing power beyond its contract demand the quantum of excess energy drawn over and above the standard energy as calculated with 100% LF may be treated as overdrawal and needs to be paid at double the rate like demand charges.

As the consumer is paying ODP for excess drawal of demand at the same time he has to pay for the excess energy also.

That it is further submitted that, many consumers have applied for enhancement of contract demand which is pending before the Utility. Due to pending assessment dues against such consumers, the Utility is constraint to permit enhancement of load due to outstanding of assessment amount. Hence the Utility submits that, if the aforesaid proposal is approved by the Hon’ble Commission, same may be adopted for the existing consumers.

In due course of time Distribution Supply code is under process where certain provision has been suggested.

In view of the above it is once again submitted before Hon’ble Commission for suitable direction in the tariff order for levy of additional energy charges for overdrawal beyond permitted CD.

# Formats

The following filled in formats will form a part of the ARR and Tariff Application for FY 2018-19  as annexures.

# Commercial/Technical  Formats T1-T9

# Financial Formats F1-F27

# Details Performance Formats (P1-P17) in Vol- II

# Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Annual Revenue Requirement for FY 2019-20.

- Bridge the Revenue Gap for the FY 2019-20 through increase in Retail Supply Tariff or reduction in Bulk Supply Tariff (BST) wherever possible.

Allow the following Tariff rationalisation measures as proposed

- Withdrawal of Power Factor Incentive.

- Rationalization of MMFC charges for LT category of consumers where disparity in monthly fixed charges for 1st kw or part thereof with the additional kw or part thereof.

- Continuance of additional rebate of 1% to LT  single phase Domestic category of consumers only if payment made through digital mode/online over and above normal rebate.

- Introduction of KVAH Billing

- Extending of levy of penalty on energy charges when a consumer draws power

- 2% Rebate be allowed on payment of current monthly BST bills (excluding all arrears) within 3 days time instead of 2 working days and also to allow rebate on part payment of BST bills.

- Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer considering receivable audit report.

- Addressing of negative cash flow of the utility by giving special relief towards reduction of BST.

- Other Tariff rationalization measures as proposed in this application

- Allow the Utility to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit.

By the Applicant

Through its Authorised Officer.

Dated:30.11.2018

Place: Bhubaneswar