# BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO. 4, CHUNAKOLI, SAILESHREE VIHAR,

CHANDRASEKHARPUR, BHUBANESWAR-751021

CASE NO. 71/2018

FILING NO. 3

IN THE MATTER OF:        An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2019-20 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Tariff) Regulations, 2014 and other tariff related matters.

AND

IN THE MATTER OF: 	Odisha Power Transmission Corporation Limited, Janpath, Bhubaneswar.	                                                                                                                                                         	          					      .…..  Applicant

vrs.

North Odisha Chamber of Commerce and Industry (NOCCI)

Ganeswarpur Industrial Estate, Januganj, Balasore-756019

and 7 Others.

------	 Objectors

Rejoinder to the objections raised by the Objector                       North Odisha Chamber of Commerce and Industry

The humble applicant above named

MOST RESPECTFULLY SHEWETH:

1. 	That the Objector North Odisha Chamber of Commerce and Industry vide affidavit dated 14.01.2019 has raised certain objections on ARR & Transmission Tariff Application of OPTCL for FY 2019-20.

In reply to objections raised by the Objector, OPTCL submits its rejoinder in the following paragraphs.

Rejoinder to Para 1 & 2:

The statements made in these Paragraphs are matters of record only.

Rejoinder to Para 3:

Human Resources Expenses:

OPTCL has projected Rs.421.99 Cr. as Employee Cost for FY 2019-20. The item-wise details of employee cost is furnished in Finance format F-10 (page-166) of the ARR application and the justification thereof is mentioned in detail at page 4 to 10 of the application. For FY 2019-20, OPTCL has claimed Rs. 35.28 Cr. towards 40% of 7th Pay Commission arrear for existing employees. Apart from that, OPTCL has proposed the Dearness Allowance (DA) of 13% against approved 7% for FY 2018-19. With annual increment of the existing employees and induction of new employees, the corresponding expenditures related to the Basic Pay, DA, HRA etc. will increase proportionately. Therefore, the proposal of OPTCL is quite realistic and justified.

The recruitment plan of OPTCL up to 2018 has been approved by the Govt. of Odisha. However, keeping in view the actual physical progress and revised commissioning schedule of the ongoing projects, the recruitment plan arising out of new creation, retirement and attrition year wise, OPTCL has accordingly phased the recruitment and planned to fill the vacancies in a staggered manner. The recruitment status of OPTCL in FY 2018-19 is submitted below:

| Designation | No of Posts advertised | Posts filled up |
| --- | --- | --- |
| MT-Electrical | 100 | 99 |

The tentative recruitment plan of OPTCL for 2018-19 is submitted below:

| Sl. No. | Designations | No of Posts to be filled up |
| --- | --- | --- |
| 1 | Jr. MT (Jr. Manager) | 28 |
| 2 | MT (Asst. Manager) | 124 |
| 3 | JMOT( EL) | 151 |
| 4 | JTTT (Telecom) | 18 |
| 5 | Office Asst. (Gr III) (Trainee) | 13 |

### However, the recruitment is being done as per the actual requirement and in a phased manner both in Executive and Non-Executive categories.

OPTCL has already submitted the Audited Annual Accounts for FY 2017-18 along with the Statutory Auditors Report to the Hon’ble commission in its compliance to OERC queries as Annexure-2 (page 35-71) against Query no.11  (copy enclosed).

Rejoinder to Para 4:

A&G Expenses:

The Table below indicates the A&G expenses for the last 8 years.

| Year | OERC Approval (Rs. Cr.) | Actual (Audited) (Rs. Cr.) |
| --- | --- | --- |
| 2010-11 | 18.00 | 33.81 |
| 2011-12 | 18.00 | 20.81 |
| 2012-13 | 21.25 | 22.48 |
| 2013-14 | 22.39 | 146.17 |
| 2014-15 | 24.01 | 45.48 |
| 2015-16 | 24.37 | 39.82 |
| 2016-17 | 24.66 | 61.68 |
| 2017-18 | 25.60 | 57.35 |

Thus, the actual expenditure as per audited accounts is always higher than the OERC approved figures. This is due to the fact that year over year, new sub-stations and lines are added to the OPTCL network for which the field office establishment expenses increase. Further, in the books of accounts, A&G means any item which is not covered under Employee Cost and R&M expenses. Expenditures such as Insurance, Rates & Taxes, Hire Charges of vehicles, Telephones & Internet Charges, Printing & Stationery, Security and Other Personnel (Watch & Ward Expenses), Postage & Telegram, Rent, Advertisement, Electricity & Water Charges, Legal/Consultancy, Profession Fees and Office Maintenance etc. are generally considered as A&G Expenses. Besides, expenditures like Rebate to Consumers, Loss on theft of materials, Advances / Receivables written off, Provision for bad & doubtful debts, Provision for expenditure on projects, Provision for doubtful receivables, Provision for scrap/obsolete materials are also accounted for under A&G Expenses.

Further, expenses for Watch and Ward, Outsourcing, Hiring of vehicle are incurred in lieu of the Employee Cost. If OPTCL goes for appointing the regular employees to carry out such activities, the salary etc. for them will be charged under Employee Cost. Similarly, all the provisions for expenses made against the capital items as well as revenue items are accounted for under A&G Expenses.

The Hon’ble Commission allows A&G expenses considering an escalation (rate of inflation as measured by WPI) over the approved amount of previous year. This is not adequate.

The projection towards A&G expenses includes communication, professional charges, conveyance, travelling, Licence Fees, Watch and Ward expenses etc. As per audited accounts for FY 2017-18, the details of A&G expenses are as under:

| Sl. No. | A&G & Other Expenses | Rs. Cr. |
| --- | --- | --- |
| 1 | Power and fuel consumed | 1.75 |
| 2 | Hire charges on vehicle | 7.96 |
| 3 | Legal and professional fees | 1.89 |
| 4 | Rent | 2.00 |
| 5 | Watch and ward expenses | 2.62 |
| 6 | License and other fees | 1.94 |
| 7 | Rates and taxes | 0.10 |
| 8 | Insurance charges | 0.03 |
| 9 | Fees and subscription | 0.11 |
| 10 | Advertisement for tenders | 0.53 |
| 11 | # Corporate social responsibility expenses | # 0.55 |
| 12 | # Impairment loss recognised on non-financial assets | # 6.49 |
| 13 | # Impairment loss recognised on financial assets | # 2.62 |
| 14 | # Impairment loss recognised on PPE | # 2.97 |
| 15 | # Net loss on theft of material and others | # 2.20 |
| 16 | # Travelling expenses | # 2.55 |
| 17 | # Communication expenses | # 0.75 |
| 18 | # Office maintenance charges | # 1.07 |
| 19 | # Rebate to consumers | # 11.84 |
| 20 | # Writing off of Receivable /Advances | # 0.98 |
| 21 | Auditors remuneration and out-of-pocket ex. | 0.12 |
| 22 | Other General expenses | 6.28 |
| Total |  | 57.35 |

It is submitted that OPTCL has proposed the A&G Cost for FY 2019-20 as Rs.30.72 Cr. excluding rebate and other provisions [(F-12), page 168 of ARR application]. However, OPTCL has claimed Rs.28.07 Cr. based on Regulation 8.14 of OERC Transmission Tariff Regulations, 2014 and principle adopted by the Hon’ble Commission in earlier years ARR orders.

Rejoinder to Para  5:

Interest on Loan Capital

The projection towards interest on loan capital is very much realistic as it is based on facts and evidential documents that need full consideration.

The loans proposed to be availed from Bank of India, Union Bank of India & JICA are in respect of various projects which have been approved by the Hon’ble Commission.  Accordingly, an amount of Rs. 855.73 Cr. has been proposed as CAPEX for FY 2019-20. For financing the above CAPEX and loan already availed, OPTCL proposes Rs.41.01 Cr. towards interest on loan capital for FY 2019-20 based on Regulation 8.24 of OERC Transmission Tariff Regulations, 2014.

It is humbly submitted that the interest rate of the bank is computed based on Marginal Cost of fund based Lending Rate (MCLR) as per the RBI guidelines. The interest rate on REC and PFC loan has already been furnished in page 169 to 171 of the ARR application. As the difference between loan with higher interest and loan with lower interest is not substantial, the switching over option is not viable at present due to pre-exit clause as per the loan agreement with REC and PFC; where OPTCL has to pay Prepayment Premium @2.50%, Loss of Tax benefit u/s 36(1)(viii) of the I T Act, GST @18% etc.

In view of the above, OPTCL does not agree with the views of the objector and request Hon’ble commission to allow Rs.41.01 Cr. as interest on loan capital .

Rejoinder to Para 6:

Depreciation Cost

Hon’ble Commission has approved depreciation of Rs. 145.43 Cr. for FY 2018-19 as per the rate prescribed in the OERC Transmission Tariff Regulations, 2014. For FY 2019-20, OPTCL has projected depreciation of Rs.186.03 Cr. based on the audited accounts for FY 2017-18 considering the depreciation rate as prescribed under Tariff Regulations, 2014 and projected additions thereto during FY 2018-19. OPTCL does not agree with the contention of the objector that the projected depreciation is high due to artificial increase of capital base. Further, no depreciation has been claimed on any capital assets unless it is completed and put in use.

In F-2 (page 180-182 of the ARR application), the details of transmission assets transferred to fixed assets during FY 2017-18 (previous year) and planned to be transferred to fixed assets during FY 2018-19 (current year) and FY 2019-20 (ensuing year) have been clearly indicated.

In view of the above, Hon’ble Commission is requested to allow Rs.186.03 Cr. towards Depreciation as proposed by OPTCL.

Rejoinder to Para  7:

Repair & Maintenance (R&M) Expenses

OPTCL intends to keep its transmission system available to the highest possible % of time in a year by undertaking preventive and proper maintenance of its lines and grid sub-stations for which Rs. 115.22 Cr. is proposed towards R&M expenses during FY 2019-20.

OPTCL in its ARR application (page 11-16) has submitted in detail regarding R&M expenses to be undertaken in different streams of activities. The details of procurement of materials / expenditure incurred towards R&M works in respect of different streams already carried out during April to Nov-2018 have been submitted to Hon’ble Commission in compliance with Commission’s Query No.3 (page 5-10) (copy enclosed).

As per Regulation 8.15 of the OERC Transmission Tariff Regulations, 2014, R&M Expenses would be 2.50% of Gross Fixed Assets. The said Regulation 8.15 doesn’t specify anything about the interpretation of the Objector that assets added from “2011-12 onwards” are to be considered  for calculation of 2.50%. However, this Regulation does not apply to OPTCL.

For OPTCL Regulation 8.16 is applicable. This Regulation is reproduced below:

“In case of STU (OPTCL), the Commission shall allow R&M expenses basing on past trend and requirement of the licensee in this regard after prudence check”.

It is reiterated that no depreciation or R&M Cost have been claimed on any capital assets unless it is completed and put in to use.

Hence, the projection towards R&M expenses is very much realistic as it is based on facts and evidential documents that need full consideration.

Rejoinder to Para 8:

Return on Equity (RoE)

As on date, OPTCL has received Rs. 730.00 Cr. from Govt. of Odisha towards Equity Share Capital. The details regarding the dates of receipt and sanction orders of the State Govt. up to the date 24.05.2018 are mentioned in the ARR application. The copies of the sanction orders towards subsequent infusion amounting to Rs.45 Cr. have been furnished at Annexure-7 in compliance with the Hon’ble Commission’s Query No.16 (page 76-86). The projection of Rs.113.15 Cr. (@15.50% post-tax) towards RoE is based on Regulation 8.29 of OERC Transmission Tariff Regulations, 2014.

Hence, the projection towards RoE is very much realistic which needs full consideration.

It is further submitted that the Hon’ble Commission had allowed Rs. 62.00 Cr. towards RoE @ 15.5% on the equity base of Rs. 400 Cr. in the ARR for FY 2017-18.

OPTCL doesn’t agree with the contention of the Objector to calculate the RoE on Rs.400 Cr.

Rejoinder to Para 9:

Incentive for System Availability

It is submitted that OPTCL has proposed an amount of Rs. 9.60 Cr. towards incentive for system availability following Regulation 6.5 of OERC Transmission Tariff Regulations, 2014.  Hon’ble Commission may consider OPTCL’s proposal in this regard. The details of expenditure made by OPTCL towards R&M works in respect of O&M Wing during FY 2018-19 (04/18 to 12/18) have already been furnished in the compliance to OERC queries against Query No. 3 (page 8-9) which includes the incentive amount approved by the Commission. OPTCL does not agree with the suggestion of the Objector as this is contrary to the provisions of OERC Regulations.

Rejoinder to Para 10:

Misc. Receipts

The income from sale of tender paper is not considered as income but utilised against the cost of advertisement for the respective tender. Hence, it is not directly attributable to income. Further, tender-wizard is vender based portal where all the fees related to the tender wizard is the income of the service provider (in our case M/s KEONICS) not OPTCL. The item wise details of proposed Misc. Income are mentioned in Table-21 (page-32) of the ARR application which includes revenue from both short-term inter-state & Intra-state wheeling. Further, OPTCL has submitted the details of quantum and revenue earned towards inter-state and intra-state wheeling, STOA and STU charge received in compliance to OERC Query No. 9 (page 18-21).

OPTCL is implementing no. of projects for both Transmission and Distribution sectors like ODSSP, ODAFF, SCRIPS, DRPS, RRCP, SMART GRID, DRC, DDUGJY, IPDS, GPS Survey etc. with the financial assistance from the State Govt. as well as Central Govt. It is submitted that ODRPS and DHQ projects are not being executed by OPTCL. Odisha Power Sector Improvement Project is not a project but a loan availed from JICA. GoO is agreed to provide 6% Project Management Cost (PMC) in case of ODSSP scheme and 2.5% in case of ODAFF. OPTCL has to incur cost on setting up the project office, manpower, contingencies and project related administrative expenses as well as fees payable to Project Management Consultants from this PMC. Hence, PMC is not the same as Supervision Charges. There are no PMC on the other State Govt. sponsored schemes.  Similarly, Central Govt. will provide 0.5% as PMC for implementation of IPDS and DDUGJY schemes only. It is estimated that this amount will be insufficient. However, State Govt. has agreed to provide the extra amount beyond 0.5%.

Therefore, the assumption of huge amount receivable from State Govt. @ 6% of the Project Cost under Misc. Income is not tenable. In view of reducing revenue trend from Supervision Charges and uncertainty involved in revenue generation from other sources as well, OPTCL expects the Misc. Receipts of Rs.80.00 Cr. during FY 2019-20.

Rejoinder to Para 11

Aggregate Revenue Requirement

The projections made by OPTCL as per the OERC Transmission Tariff Regulations, 2014 are very much realistic which need full consideration.

Rejoinder to Para 12

Determination of Transmission Charges

The proposed Transmission Charge of 30.37p/u is derived considering the recent realistic energy demand projection of all four DISCOMs plus Railway and the ARR figures arrived by OPTCL justifying component wise projections as per the provisions contained in OERC Transmission Tariff Regulations, 2014, OPTCL’s Audited Accounts for FY 2017-18, all relevant data/information and materials. Moreover, OPTCL had furnished all requisite information and details as per the prescribed formats of the Hon’ble Commission with full justifications. OPTCL has also submitted additional information / clarifications to queries raised by the Hon’ble Commission in which the audited accounts along with statutory audit report of OPTCL for FY 2017-18 is submitted as Annexure-2 (page 35-71) against Query no.11  (copy enclosed).

With regard to considering total energy to be handled in OPTCL network during FY 2019-20 as 32654MU as per approved LTDF (OERC order dated 03.05.2016 in Case No. 32/2015) and Business Plan order dated 30.07.2016 in Case No. 05/2016, it is humbly submitted that subsequent to said orders, OPTCL filed the LTDF application for the period FY 2017-18 to FY 2026-27 on 30.06.2018 (Case No. 41/2017) and meanwhile the Hon’ble Commission has disposed of the above case vide order dated 15.01.2019 in which the Commission has approved 27020MU as the demand of all DISCOMs during FY 2019-20. OPTCL filed the ARR application for FY 2019-20 on 30.11.2018 considering DISCOMs demand of 27952MU as per realistic energy demand projections by the DISCOMs at that time.

Hence, OPTCL does not agree with the views of the Objector.

Rejoinder to Para 13:

Transmission Loss

The Table below indicates the transmission loss approved by the Hon’ble Commission for the last 11 years vis-à-vis actual transmission loss occurred in OPTCL’s EHT network.

| Year | OERC Approval | Actual |
| --- | --- | --- |
| 2007-08 | 5.00% | 4.82% |
| 2008-09 | 4.50% | 4.52% |
| 2009-10 | 4.00% | 4.11% |
| 2010-11 | 4.00% | 3.93% |
| 2011-12 | 3.90% | 3.88% |
| 2012-13 | 3.80% | 3.84% |
| 2013-14 | 3.80% | 3.79% |
| 2014-15 | 3.75% | 3.73% |
| 2015-16 | 3.75% | 3.67% |
| 2016-17 | 3.70% | 3.58% |
| 2017-18 | 3.50% | 3.34% |

The detailed calculation of Transmission Loss of 3.34% for 2017-18 and 3.29% for the period April to September’18 (1st 6 months of FY 2018-19) in OERC approved format             T-6 have been enclosed with the ARR application at pages 121-122 respectively. The transmission loss has been estimated on the basis of energy flow data.

Based on the present trend, OPTCL has proposed the Transmission Loss of 3.25% for the ensuing year 2019-20.

It is humbly submitted that the transmission loss is purely a technical loss and is a function of real time injection of power by a number of generators, system configuration and power flow requirements at different load centres. Thus, OPTCL has no control over the same at any point of time. The transmission system of OPTCL operates as an integral part of the Eastern Regional Grid to serve the internal demand of the State as well as to carry out import and export of power depending upon the system demand. In view of the increasing demand for power at an accelerated pace due to ongoing industrialization and implementation of central & state sponsored schemes like RGGVY, DDUGJY, BGJY, BSVY, ODSSP, 24x7 Power For All, SCRIPS, IPDS, SAUBHAGYA etc. in Odisha, there will be increased flow of power in the OPTCL transmission network contributing to increased transmission loss.

Over the years OPTCL has been continuously undertaking construction of new lines & sub-stations, up-gradation of capacity of the existing system, installation of capacitor banks for strengthening of the transmission infrastructure with an objective of meeting the future demand, reliability as well as quality of power supply and reduction of transmission loss. As a result, the transmission loss is gradually reducing year over year as evident from the data on transmission loss shown in the above Table.

However, further improvement in the system operation and loss reduction measures have been undertaken by implementing the emerging technologies like Sub-station Automation, Digitalization of grids by using Bay Control units, Protection system improvement using Busbar protection and Event Logger, Conversion of Radial to Ring system, uprating of conductors from ACSR to HTLS,  Advanced Metering Infrastructure etc.

OPTCL would like to further submit that the transmission loss in OPTCL system is one of the lowest in the country compared to other transmission utilities.

Steps taken for Energy Audit

OPTCL has already installed 0.2s accuracy class, ABT Compliant Energy Meters at identified points to meet the requirement for Energy Auditing as well as Billing. Monthly data enables OPTCL for assessing the individual transmission element wise losses (i.e. across Power Tfr., Auto Tfr. & EHT lines etc.). Sub-station wise energy flow calculations are carried out and accordingly remedial action is taken. By measuring the quantum of flow of energy in lines and substations, improvement in the system is monitored on monthly basis with respect to previous baseline data acquisitioned.

In view of the reducing trend of transmission loss level, OPTCL expects the loss level to remain around 3.30% in the current year. Accordingly, OPTCL proposes 3.25% transmission loss during FY 2019-20.

Hence, OPTCL does not agree with the suggestion of the Objector for approving transmission loss of OPTCL at 2.5%.

Rejoinder to Para 14:

Open Access Charges

In the Table-25 (page 37 of ARR application), the derivation for LT and ST Open Access charges have been done assuming the proposed numbers. Hon’ble Commission shall determine those charges based on approved figures.

It is submitted in the present ARR application (page 37) regarding filing of an application by OPTCL before the Hon’ble Commission on 27.11.2017 for amendment of existing OERC Open Access Regulations, 2005 and 2006 by introducing MTOA, fixing higher transmission charges for STOA and MTOA customers than LTOA customers and making these Regulations compatible with CERC Connectivity & Open Access Regulations.

Hon’ble Commission would take up the said application in due course and the present Objector may put forth its views. In the present ARR application, the Open Access charges have been proposed by OPTCL as per the existing Open Access Regulations only.

Rejoinder to Para 15:

Introduction of Reactive Energy Charges:

As per Regulation 4 (5) (i) under Chapter-II (CHARGES FOR OPEN ACCESS) of the Regulations 2006, the Hon’ble Commission shall separately determine charges for KVArh consumption from the grid in terms of paisa /unit and the Open Access Customers shall pay the same.

In compliance with the direction of the Hon’ble Commission’s order dated 23.03.2017 passed in Case No. 64/2016 (ARR order for FY 2017-18), OPTCL has filed its application before the Commission registered as Case No. 50/2017 for determination of Reactive Energy Charges for FY 2016-17 and FY 2017-18. For FY 2018-19 & FY 2019-20, OPTCL proposed the same Reactive Energy Charges as proposed earlier to be approved provisionally in its respective ARR applications. The details are submitted in page-38 of the present ARR application for FY 2019-20.

Hence rejection of the proposal of OPTCL with regard to Reactive Energy Charges as suggested by the Objector is not just and proper.

Rejoinder to Para 16:

In view of the facts and submissions made herein above, the Hon’ble Commission may kindly consider the rejoinder of OPTCL to the objections of the Objector while disposing of the present ARR application of OPTCL.

Rejoinder to additional objections made at Prayer 1, 2 & 5:

The objections raised in Prayer 1 & 2 are complied with above in Rejoinder to Para 12. With regard to objection raised in Prayer 5, it is submitted that each year truing-up application of OPTCL is disposed of by the Hon’ble Commission through a process of public hearing.

Similarly, the Business Plan of OPTCL for a particular control period is also approved by the Hon’ble Commission through a process of public hearing.

[

2. In view of the above submissions, the prayers made by the Objector M/s Swain & Sons Power Tech Pvt. Ltd. at sl. 3 and 4 to reduce the Transmission Tariff to 17 paise per unit and allow Transmission Loss of 2.5% are liable to be rejected.

3. The objections not specifically admitted may be deemed to have been denied.

4. A copy of OPTCL’s compliance to Hon’ble Commission’s queries filed on 14.01.2019 is enclosed herewith for kind information of the Objector North Odisha Chamber of Commerce and Industry.

PRAYER

In view of the facts and submissions made herein above, the Hon’ble Commission may kindly consider the rejoinder of OPTCL to the objections of North Odisha Chamber of Commerce and Industry while approving ARR and Transmission Tariff of OPTCL for FY 2019-20.

By the Applicant

Through

Bhubaneswar

January 28, 2019

Sr.GM (RT&C)