## BERHAMPUR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| BERHAMPUR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 KV Bhanjanagar - Mendhashala | 1900-01-01 12:04 | 0.50903 | 1900-01-02 00:17 | 98.35% | 1900-01-01 12:54 | 1900-01-02 07:44 | 1900-01-04 20:38 | 96.79% | 0.45556 | 1900-01-03 21:40 | 1900-01-04 08:36 | 97.06%
2 | 220 KV Bhanjanagar - Nayagarh | 1899-12-31 19:04 | 0.0048611 | 1899-12-31 19:11 | 99.01% | 1900-01-01 02:39 | 0.028472 | 1900-01-01 03:20 | 98.83% | 0.81944 | 1899-12-31 06:36 | 1900-01-01 02:16 | 98.85%
3 | 220 KV Bhanjanagar - Meramundali - I | 1900-01-11 14:31 | 0.18403 | 1900-01-11 18:56 | 92.99% | 1899-12-31 13:02 | 0.018056 | 1899-12-31 13:28 | 99.14% | 1900-02-14 09:32 | 1900-01-01 05:21 | 1900-02-16 14:53 | 73.36%
4 | 220 KV Bhanjanagar - Meramundali - II | 1900-01-13 16:03 | 0.15833 | 1900-01-13 19:51 | 91.88% | 1900-03-16 18:11 | 0.0375 | 1900-03-16 19:05 | 57.92% | 1900-01-04 03:58 | 0.45764 | 1900-01-04 14:57 | 96.92%
5 | 220 KV Bhanjanagar - Theruvali - I | 1899-12-31 04:15 | 0.37222 | 1899-12-31 13:11 | 99.15% | 1900-01-01 10:33 | 1899-12-31 05:56 | 1900-01-02 16:29 | 97.98% | 0.21597 | 0.036806 | 0.25278 | 99.86%
6 | 220 KV Bhanjanagar - Theruvali - II | 1900-01-17 00:24 | 0.15764 | 1900-01-17 04:11 | 90.04% | 1900-01-02 06:42 | 0.045833 | 1900-01-02 07:48 | 98.18% | 0.66042 | 0.077083 | 0.7375 | 99.6%
7 | 220 kV Mendhasala - Narendrapur - II |  |  |  | 100% |  |  | 0 | 100% |  |  | 0 | 100%
8 | 132 KV Bhanjanagar - Aska Ckt - I | 1899-12-31 02:56 | 0.0083333 | 1899-12-31 03:08 | 99.38% | 1900-01-02 05:30 | 0.080556 | 1900-01-02 07:26 | 98.19% | 0.6875 | 0.96319 | 1899-12-31 15:37 | 99.1%
9 | 132 KV Bhanjanagar - Aska Ckt - II | 1899-12-31 22:30 | 0.050694 | 1899-12-31 23:43 | 98.91% | 1900-01-01 06:31 | 0.0069444 | 1900-01-01 06:41 | 98.75% | 0.9 | 0.56597 | 1899-12-31 11:11 | 99.2%
10 | 132 KV Bhanjanagar-Phulbani | 1899-12-31 16:43 | 0.17639 | 1899-12-31 20:57 | 98.97% | 0.9875 | 0 | 0.9875 | 99.46% | 1899-12-31 09:59 | 1899-12-31 08:56 | 1900-01-01 18:55 | 98.47%
11 | 132 KV Aska - Chhatrapur Ckt - I | 0.31042 | 0.036111 | 0.34653 | 99.81% | 1900-01-02 21:37 | 0.0097222 | 1900-01-02 21:51 | 97.86% | 0.088194 | 0.26597 | 0.35417 | 99.81%
12 | 132 KV Aska - Purusottampur | 0.015278 | 0.039583 | 0.054861 | 99.97% | 1900-01-02 02:41 | 0 | 1900-01-02 02:41 | 98.29% | 0 | 0.0076389 | 0.0076389 | 100%
13 | 132 KV Purusottampur - Chhatrapur | 0 | 0.066667 | 0.066667 | 99.96% | 0.80833 | 0.20347 | 1899-12-31 00:17 | 99.45% | 0 | 0.010417 | 0.010417 | 99.99%
14 | 132 KV Aska - Berhampur | 1899-12-31 08:59 | 0.87847 | 1900-01-01 06:04 | 98.77% | 1900-01-06 08:16 | 0.91875 | 1900-01-07 06:19 | 95.47% | 1900-01-05 03:38 | 0.011806 | 1900-01-05 03:55 | 96.62%
15 | 132 kV Narendarapur - Berhampur Ckt - I | 0.53889 | 0.025 | 0.56389 | 99.69% | 0.64861 | 0.16042 | 0.80903 | 99.56% | 0.53889 | 0.025 | 0.56389 | 99.69%
16 | 132 kV Narendarapur - Berhampur Ckt - II | 0.25625 | 0.18889 | 0.44514 | 99.76% | 0.82361 | 0.16042 | 0.98403 | 99.46% | 0.25625 | 0.18889 | 0.44514 | 99.76%
17 | 132 kV Narendrapur - Chhatrapur-I | 1899-12-31 03:14 | 0.076389 | 1899-12-31 05:04 | 99.34% | 0.73958 | 0.77917 | 1899-12-31 12:27 | 99.17% | 1899-12-31 03:14 | 0.076389 | 1899-12-31 05:04 | 99.34%
18 | 132 kV Narendrapur - Chhatrapur-II | 1899-12-31 02:54 | 0.14583 | 1899-12-31 06:24 | 99.31% | 1899-12-31 00:41 | 0.084722 | 1899-12-31 02:43 | 99.39% | 1899-12-31 02:54 | 0.14583 | 1899-12-31 06:24 | 99.31%
19 | 132 kV Narendrapur - Traction | 0.31736 | .... | 0.31736 | 99.83% |  | 0.026389 | 0.026389 | 99.99% | 0.31736 |  | 0.31736 | 99.83%
20 | 132 kV Narendrapur – Khurda |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
21 | 132 kV Chhatrapur - IRE-I | 0 | 0.54236 | 0.54236 | 99.7% | 0.50139 | 0.00625 | 0.50764 | 99.72% | 0.11181 | 0.079861 | 0.19167 | 99.89%
22 | 132 kV Chhatrapur - IRE-II | 1900-01-04 19:20 | 1900-01-01 06:15 | 1900-01-07 01:35 | 95.58% | 0.76875 | 0.0097222 | 0.77847 | 99.57% | 0.094444 | 0.11944 | 0.21389 | 99.88%
23 | 132 kV Chatarpur - Ganjam | 1899-12-31 16:12 | 0.21111 | 1899-12-31 21:16 | 98.97% | 0.51111 | 0.00625 | 0.51736 | 99.72% | 0 | 0.11458 | 0.11458 | 99.94%
24 | 132 kV Chhatrapur - Rambha Traction |  | 0.13056 | 0.13056 | 99.93% | 0.41806 | 0.013889 | 0.43194 | 99.76% | 1899-12-31 04:36 | 0.085417 | 1899-12-31 06:39 | 99.3%
25 | 132 kV Chhatrapur - Balugaon | 0.6125 | 0.30069 | 0.91319 | 99.5% | 1899-12-31 15:31 | 0.0083333 | 1899-12-31 15:43 | 99.09% | 1899-12-31 06:35 | 0.17847 | 1899-12-31 10:52 | 99.2%
26 | 132 kV Balugaon - Solari Traction | 0.68333 | 0 | 0.68333 | 99.63% | 0.71597 | 0.013889 | 0.72986 | 99.6% | 0.33264 | 0.0020833 | 0.33472 | 99.82%
27 | 133 kV GIL Feeder |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
28 | 132 kV Berhampur - Digapahandi | 0.44514 | 0.32361 | 0.76875 | 99.58% | 19:30 | 9:33 | 1899-12-31 05:03 | 99.34% | 10:41 Hr | 7:46 | 0.32361 | 99.82%
29 | 132 kV Digapahandi - Mohana | 1900-01-10 05:09 | 1899-12-31 13:36 | 1900-01-11 18:45 | 93% | 12:38 | 67:48 | 1900-01-02 08:26 | 98.16% | 269:09 Hr | 37:36 | 1899-12-31 13:36 | 99.14%
30 | 132 kV Mohana - Akhusingh |  | 0.42361 | 0.42361 | 99.77% | 8:00 |  | 0.33333 | 99.82% |  | 10:10 | 0.42361 | 99.77%

## BHUBANESWAR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| BHUBANESWAR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 kV Meramunduli - Mendhasal - I |  | 0.16458 | 0.16458 | 99.91% | 30:28 | 14.47 | 1900-01-14 17:45 | 91.38% | 18:01 | 31:10 | 1900-01-01 01:11 | 98.88%
2 | 400 kV Mendhasal - Pandiabil I |  |  | 0 | 100% | 20:15 |  | 0.84375 | 99.54% | 29:24 | 0:20 | 1899-12-31 05:44 | 99.32%
3 | 400 kV Mendhasal - Pandiabil II |  |  | 0 | 100% | 8:28 |  | 0.35278 | 99.81% | 38:08 | 1:20 | 1899-12-31 15:28 | 99.1%
4 | 220 kV Chandaka - Bidanasi Ckt-I | 0.16458 | 0.83958 | 1899-12-31 00:06 | 99.45%
5 | 220 kV Chandaka - Mendhasal Ckt - I | 0.16458 | 0.83958 | 1899-12-31 00:06 | 99.45% | 0.11528 | 0.28056 | 0.39583 | 99.78% | 1899-12-31 13:06 | 0.75972 | 1900-01-01 07:20 | 98.74%
6 | 220 kV Chandaka - Mendhasal Ckt - II | 1899-12-31 07:35 | 0.76181 | 1900-01-01 01:52 | 98.86% | 0.53333 | 0.0069444 | 0.54028 | 99.7% | 0.19097 | 0.60139 | 0.79236 | 99.57%
7 | 220 kV Chandaka - Mendhasal Ckt - III | 0.99583 | 0.14306 | 1899-12-31 03:20 | 99.38% | 1899-12-31 09:32 | 0.12708 | 1899-12-31 12:35 | 99.16% | 0.63889 | 0.071528 | 0.71042 | 99.61%
8 | 220 kV Chandaka - Mendhasal Ckt - IV | 1900-01-03 15:06 | 0.061806 | 1900-01-03 16:35 | 97.43% | 0.28056 | 0.40139 | 0.68194 | 99.63% | 1900-01-01 02:53 | 0.14306 | 1900-01-01 06:19 | 98.76%
9 | 220KV Mendhasal - Atri-I* | 0.0055556 |  | 0.0055556 | 100% | 1899-12-31 06:25 |  | 1899-12-31 06:25 | 99.31% | 1899-12-31 15:35 | 1899-12-31 05:25 | 1900-01-01 21:00 | 98.42%
10 | 220KV Mendhasal -Atri-II( via Infocity-II) | 0.28125 | 0.029861 | 0.31111 | 99.83% | 1899-12-31 14:35 |  | 1899-12-31 14:35 | 99.12% | 0.80556 | 0.33819 | 1899-12-31 03:27 | 99.37%
11 | 220 KV PANDIABILI- SAMANGARA FDR - I | 112:54 | 1:46 | 1900-01-03 18:40 | 97.38% | 18:35 | 2:33 | 0.88056 | 99.52% | 35:59 | 1:33 | 1899-12-31 13:32 | 99.14%
12 | 220 KV ATRI - SAMANGARA FDR | 69:12 | 18:24 | 1900-01-02 15:36 | 98% | 6:05 | 0:11 | 0.26111 | 99.86%
13 | 220 KV PANDIABILI- SAMANGARA FDR - II | Not Charged |  |  |  |  | 2:57 | 0.12292 | 99.93% | 26:39 | 1:11 | 1899-12-31 03:50 | 99.36%
14 | 220KV Narendrapur-I/ 220KV Atri-I* | 0.62917 | 1900-01-02 01:04 | 1900-01-02 15:36 | 98% | 1900-01-03 08:22 | 0.021528 | 1900-01-03 08:53 | 97.61% | 1900-01-01 00:20 | 1900-01-01 03:45 | 1900-01-03 04:05 | 97.71%
15 | 220KV Narendrapur-II/ 220KV Atri-II* |  |  | 0 | 100% | 1900-01-02 14:52 | 0.038889 | 1900-01-02 15:48 | 98% | 1900-01-02 08:39 | 0.054167 | 1900-01-02 09:57 | 98.13%
16 | 220 kV Bhanjanagar - Mendhasal |  | 0.043056 | 0.043056 | 99.98% | 1899-12-31 23:18 | 1900-01-03 16:18 | 1900-01-05 15:36 | 96.36% | 1899-12-31 15:25 | 0.88194 | 1900-01-01 12:35 | 98.62%
17 | 220 kV Nayagarh - Mendhasal | 1900-01-01 04:55 | 0.32083 | 1900-01-01 12:37 | 98.62% | 1900-01-05 07:06 | 0.71875 | 1900-01-06 00:21 | 96.16% | 1900-01-04 08:25 | 0.18056 | 1900-01-04 12:45 | 96.97%
18 | 220KV Mendhasal - Bidanasi-I | 0.020139 | 0.38125 | 0.40139 | 99.78% | 1899-12-31 06:25 |  | 1899-12-31 06:25 | 99.31% | 0.5625 | 0.016667 | 0.57917 | 99.68%
19 | 220KV Mendhasal - Bidanasi-II | 0.92222 |  | 0.92222 | 99.49% |  |  |  |  | 15:02 |  | 0.62639 | 99.66%
20 | 220 KV PandibiIi- Samangara Line | 1900-01-03 16:54 | 0.073611 | 1900-01-03 18:40 | 97.38% | 0.78125 | 0 | 0.78125 | 99.57% | 0.80625 | 0.21181 | 1899-12-31 00:26 | 99.44%
21 | 220 KV Atri- Samangara Line | 1900-01-01 11:12 | 0.76667 | 1900-01-02 05:36 | 98.23% | 0.60903 | 0.029167 | 0.63819 | 99.65% |  |  | 0 | 100%
22 | 220 kV Meramundali - Bidanasi | 0.71458 |  | 0.71458 | 99.61%
23 | 132 kV Atri-Banki | 0.86389 | 0.00625 | 0.87014 | 99.52% | 0.89236 | 0 | 0.89236 | 99.51% | 0.7125 | 0.079861 | 0.79236 | 99.57%
24 | 132 kV Atri-Argul Circuit-I |  |  | 0 | 100% | 0.92014 | 0 | 0.92014 | 99.5% | 1899-12-31 01:18 | 0.049306 | 1899-12-31 02:29 | 99.4%
25 | 132 kV Atri-Argul Circuit-II | 1899-12-31 06:29 | 0.022917 | 1899-12-31 07:02 | 99.29% | 1900-01-04 02:08 | 0.26111 | 1900-01-04 08:24 | 97.07% | 1899-12-31 15:49 | 0.73194 | 1900-01-01 09:23 | 98.69%
26 | 131 kV Mendhasal - Khurda | 0.60833 | 0.070833 | 0.67917 | 99.63% | 0.83403 | 0.059028 | 0.89306 | 99.51% | 1900-01-02 18:06 | 1900-01-01 08:10 | 1900-01-05 02:16 | 96.66%
27 | 132 kV Mendhasal - Chandaka |  |  | 0 | 100% | 1899-12-31 07:00 | 0.10139 | 1899-12-31 09:26 | 99.24% | 1900-01-01 11:15 | 1900-01-06 08:38 | 1900-01-08 19:53 | 94.61%
28 | 132 kV Shamuka - Puri | 1900-01-03 00:03 | 0.37292 | 1900-01-03 09:00 | 97.6% | 1899-12-31 15:30 | 0.30278 | 1899-12-31 22:46 | 98.93% | 1900-01-18 15:10 | 0.78611 | 1900-01-19 10:02 | 88.81%
29 | 132 KV Puri-Samangara line | 0.42292 | 0.024306 | 0.44722 | 99.75% | 0.72222 | 0.0076389 | 0.72986 | 99.6% | 0.99167 | 0.0125 | 1899-12-31 00:06 | 99.45%
30 | 132 kV Khurda - Shamuka | 1900-01-08 16:22 | 1899-12-31 00:57 | 1900-01-09 17:19 | 94.13% | 1899-12-31 05:17 | 0.095833 | 1899-12-31 07:35 | 99.28% | 1900-01-02 04:11 | 0.11944 | 1900-01-02 07:03 | 98.2%
31 | 132 kV Khurda - Chandpur | 1899-12-31 05:02 |  | 1899-12-31 05:02 | 99.34% | 1900-01-03 13:11 | 0.46042 | 1900-01-04 00:14 | 97.26 | 1899-12-31 09:13 | 0.27153 | 1899-12-31 15:44 | 99.09
32 | 132KV Khurda-Kaipadar TSS Line | 0.38403 | 0.38403 | 0.76806 | 99.58% | 1899-12-31 05:07 | 0 | 1899-12-31 05:07 | 99.34 | 0.050694 | 0.045139 | 0.095833 | 99.95
33 | 132 kV Chandpur - Balugaon | 1900-01-01 13:21 | 0.63403 | 1900-01-02 04:34 | 98.25% | 1899-12-31 23:29 | 0 | 1899-12-31 23:29 | 98.92 | 0.39444 | 0 | 0.39444 | 99.78
34 | 132 kV Chandaka - Ranasinghpur |  | 1900-01-02 07:41 | 1900-01-02 07:41 | 98.18% |  |  | 0 | 100% |  | 0.34583 | 0.34583 | 99.81%
35 | 132KV RSPUR-KESURA FDR |  | 1900-01-01 | 1900-01-01 | 98.9% | 1900-01-04 11:55 | 0.65972 | 1900-01-05 03:45 | 96.63% | 1900-01-02 01:18 | 0.57847 | 1900-01-02 15:11 | 98.01%
36 | 132 KV Kesura-NIMAPARA LINE | 1899-12-31 16:48 | 0.0041667 | 1899-12-31 16:54 | 99.07% | 1900-01-09 23:04 | 0.0053356 | 1900-01-09 23:12 | 93.99% | 1900-01-03 08:51 | 0.76528 | 1900-01-04 03:13 | 97.19%
37 | 132 kV Chandaka - Nimapara | 1900-01-01 17:20 | 1899-12-31 15:18 | 1900-01-03 08:38 | 97.61% | 1899-12-31 22:05 | 0.29514 | 1900-01-01 05:10 | 98.79% | 1900-01-04 05:10 | 1900-01-03 11:45 | 1900-01-08 16:55 | 94.68%
38 | 132 kV Chandaka - Khurda | 0.26319 | 0 | 0.26319 | 99.86% | 1899-12-31 10:34 | 0.17847 | 1899-12-31 14:51 | 99.11% | 1899-12-31 21:00 | 1899-12-31 00:38 | 1900-01-01 21:38 | 98.41%
39 | 132 kV Nimapara - Puri | 1900-01-01 00:53 | 0.43125 | 1900-01-01 11:14 | 98.65% | 1900-01-01 10:49 | 0.13056 | 1900-01-01 13:57 | 98.59% | 1900-01-03 10:44 | 1900-01-01 09:38 | 1900-01-05 20:22 | 96.25%
40 | 132 kV Nimapara - Samagara | 1899-12-31 15:41 | 0.059028 | 1899-12-31 17:06 | 99.06% | 1899-12-31 18:33 | 0.021528 | 1899-12-31 19:04 | 99.02% | 1900-01-04 04:01 |  | 1900-01-04 04:01 | 97.17%
41 | 132 KV Nimapada-Konark line | 0.375 |  | 0.375 | 99.79% | 0.52986 | 0.0034722 | 0.53333 | 99.71% | 0.81667 | 0.63542 | 1899-12-31 10:51 | 99.2%
42 | 132 kV Chandaka - Bhubanewar - I |  |  | 0 | 100% | 0.80417 | 0.11736 | 0.92153 | 99.5% | 0.65833 | 0.054167 | 0.7125 | 99.61%
43 | 132 kV Chandaka - Bhubanewar - II | 0.22153 |  | 0.22153 | 99.88% | 0.59792 | 03:12:00 | 0.59792 | 99.67% | 0.60278 | 0.10833 | 0.71111 | 99.61%
44 | 132 kV Chandaka - Bidanasi | 0.33056 | 0 | 0.33056 | 99.82% | 0.64444 | 0.18194 | 0.82639 | 99.55% | 0.41319 | 0.033333 | 0.44653 | 99.76%
45 | 132 kV Chandikhole - Kendrapara |  | 0.39931 | 0.39931 | 99.78% | 8:28 | 9:10 | 0.73472 | 99.6% |  | 4:32 | 0.18889 | 99.9%
46 | 132 kV Mancheswar - Phulnakhara | 0.12917 | 0.21944 | 0.34861 | 99.81% | 1899-12-31 05:39 | 0.24167 | 1899-12-31 11:27 | 99.19% | 1899-12-31 08:38 | 0.88819 | 1900-01-01 05:57 | 98.77%

## BOLANGIR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| BOLANGIR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Katapali - New Bargarh - New Bolangir - I | 1900-01-04 21:36 | 1900-01-06 06:48 | 1900-01-12 04:24 | 92.78% | 86:15 | 0:24 | 1900-01-02 14:39 | 98.02% | 1:20 | 13:25 | 0.61458 | 99.66%
2 | 220 kV Katapali -PGCIL- New Bolangir - II | 1900-01-05 11:36 | 1899-12-31 04:24 | 1900-01-06 16:00 | 95.8% | 0:00 | 0:00 | 0 | 100% | 6:20 | 6:35 | 0.53819 | 99.71%
3 | 132 kV Bolangir - Sonepur | 1900-02-01 18:24 | 1900-01-09 00:24 | 1900-02-11 18:48 | 76.01% | 27:25 | 2:25 | 1899-12-31 05:50 | 99.32% | 0:00 | 10:09 | 0.42292 | 99.77%
4 | 132 kV New Bolangir - Barpali | 1900-01-09 17:12 | 1900-01-02 01:36 | 1900-01-12 18:48 | 92.45% | 18:55 | 11:05 | 1899-12-31 06:00 | 99.32% | 0:00 | 7:42 | 0.32083 | 99.82%
5 | 132 kV Bolangir - ACME | 1900-01-08 01:12 | 0.36667 | 1900-01-08 10:00 | 94.84% | 22:42 | 0:24 | 0.9625 | 99.47% | 10:25 | 5:45 | 0.67361 | 99.63%
6 | 132 kV ACME - Tusra |  |  | 0 | 100% |  |  | 0 | 100% | 10:25 | 5:45 | 0.67361 | 99.63%
7 | 132 kV Tusra - Saintala |  |  | 0 | 100% |  |  | 0 | 100% | 10:25 | 5:45 | 0.67361 | 99.63%
8 | 132 kV New Bolangir - Patnagarh |  | 1900-01-08 19:12 | 1900-01-08 19:12 | 94.63% | 24:58 | 3:05 | 1899-12-31 04:03 | 99.36% | 4:18 | 9:09 | 0.56042 | 99.69%
9 | 132 kV Patnagarh-Padampur SC Line on DC Towers |  | 0.42778 | 0.42778 | 99.77% | 1899-12-31 02:43 | 19:27 | 1899-12-31 22:10 | 98.95% | 11:49 | 18:50 | 1899-12-31 06:39 | 99.3%
10 | 132 kV New Bolangir - Bolangir - I | 1900-01-22 18:48 | 1900-01-02 12:48 | 1900-01-26 07:36 | 85.03% | 31:42 | 0:24 | 1899-12-31 08:06 | 99.27% | 25:05 | 5:25 | 1899-12-31 06:30 | 99.3%
11 | 132 kV New Bolangir - Bolangir - II | 1900-01-05 23:12 | 1900-01-04 13:12 | 1900-01-11 12:24 | 93.14% | 20:55 | 1:07 | 0.91806 | 99.5% | 17:20 | 4:55 | 0.92708 | 99.49%
12 | 132Kv Sonepur-Boudh EHT line |  | 1900-01-12 14:48 | 1900-01-12 14:48 | 92.54% | 36:42 | 11:07 | 1899-12-31 23:49 | 98.91% | 0:00 | 12:50 | 0.53472 | 99.71%
13 | 132 kV Kesinga - Saintala |  | 0.10278 | 0.10278 | 99.94% |  | 0:11 | 0.0076389 | 100% |  | 0:23 | 0.015972 | 99.99%
14 | 132 kV Kesinga - Bhawanipatna |  | 1899-12-31 12:41 | 1899-12-31 12:41 | 99.16% | 21:01 | 13:54 | 1899-12-31 10:55 | 99.2% | 6:16 | 15:38 | 0.9125 | 99.5%
15 | 132 kV Kesinga - Khariar | 0.12639 | 0.27569 | 0.40208 | 99.78% | 1899-12-31 18:24 | 1899-12-31 22:36 | 1900-01-02 17:00 | 97.97% |  | 9:50 | 0.40972 | 99.78%
16 | 132 kV Kesinga - Powmax |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
17 | 132 kV Kesinga - RTSS |  |  | 0 | 100% |  |  | 0 | 100% | 21:50 |  | 0.90972 | 99.5%
18 | 132 kV Bhawanipatna - Junagarh |  | 1899-12-31 13:30 | 1899-12-31 13:30 | 99.14% | 1899-12-31 18:03 | 0.6125 | 1900-01-01 08:45 | 98.7% | 6:34 | 14:44 | 0.8875 | 99.51%
19 | 132 kV Khariar - Nuapada |  | 0.27569 | 0.27569 | 99.85% | 41:33 | 8:12 | 1900-01-01 01:45 | 98.86% |  | 13:19 | 0.55486 | 99.7%
20 | 132 kV Khariar - Kantabanji | [6 empty] | 0 | 100% |  |  | 0 | 100%

## BURLA
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| BURLA CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Budhipadar- Basundhara | 08:52 |  | 0.36944 | 99.8% | 0 | 0 | 0 | 100% | 16:11 | 0 | 0.67431 | 99.63%
2 | 220 kV Budhipadar - Korba – I | 38:44 |  | 1899-12-31 14:44 | 99.12% | 07:17 | 0 | 0.30347 | 99.83% | 0 | 888:18 | 1900-02-05 00:18 | 79.72%
3 | 220 kV Budhipadar - Korba – II | 130:05 | 04:50 | 1900-01-04 14:55 | 96.92% | 0 | 32:02 | 1899-12-31 08:02 | 99.27% | 0 | 763:37 | 1900-01-30 19:37 | 82.57%
4 | 221 kV Budhipadar - Korba – III | 33:04 | 05:02 | 1899-12-31 14:06 | 99.13% | 52:58 | 142:37 | 1900-01-07 03:35 | 95.53% | 0 | 15:32 | 0.64722 | 99.65%
5 | 220 kV IB - Budhipadar - I | 28:14 | 02:52 | 1899-12-31 07:06 | 99.29% | 69:00 | 0 | 1900-01-01 21:00 | 98.42% | 46:39 | 0 | 1899-12-31 22:39 | 98.93%
6 | 220 kV IB - Budhipadar - II | 35:51 |  | 1899-12-31 11:51 | 99.18% | 40:04 | 0 | 1899-12-31 16:04 | 99.09% | 04:44 | 07:28 | 0.50833 | 99.72%
7 | 220 kV IB - Budhipadar - III | 21:14 | 09:50 | 1899-12-31 07:04 | 99.29% | 24:43 | 0 | 1899-12-31 00:43 | 99.44% | 39:29 | 04:34 | 1899-12-31 20:03 | 98.99%
8 | 220 kV IB - Budhipadar - IV | 96:22 | 30:22 | 1900-01-04 06:44 | 97.11% | 24:20 | 0.21736 | 1899-12-31 05:33 | 99.33% | 15:55 | 28:54 | 1899-12-31 20:49 | 98.98%
9 | 220 kV Budhipadar - Tarkera - I | 10:34 | 19:09 | 1899-12-31 05:43 | 99.32% | 63:40 | 0.28611 | 1900-01-01 22:32 | 98.39% | 05:09 | 15:38 | 0.86597 | 99.53%
10 | 220 kV Budhipadar - Tarkera - II | 19:34 |  | 0.81528 | 99.55% | 48:26 | 0.23264 | 1900-01-01 06:01 | 98.77% | 09:01 | 06:48 | 0.65903 | 99.64%
11 | 220 kV Budhipadar - Lapanga - I |  | 06:47 | 0.28264 | 99.85% | 02:44 | 0 | 0.11389 | 99.94% | 15:12 | 10:35 | 1899-12-31 01:47 | 99.41%
12 | 220 kV Budhipadar - Lapanga - II |  | 14:13 | 0.59236 | 99.68% | 05:38 | 0 | 0.23472 | 99.87% | 12:45 | 06:25 | 0.79861 | 99.56%
13 | 220 kV Budhipadar- Bhusan - I |  | 03:37 | 0.15069 | 99.92% | 0 | 0 | 0 | 100% | 02:32 | 19:40 | 0.925 | 99.49%
14 | 220 kV Budhipadar- Bhusan - II |  | 02:24 | 0.1 | 99.95% | 0.31458 | 0.125 | 0.43958 | 99.76% | 01:56 | 12:36 | 0.60556 | 99.67%
15 | 220 kV Budhipadar – SPS - I | P/S Disconnected Since 01/01/17
16 | 220 kV Budhipadar - AAL - I | 109:07 |  | 1900-01-03 13:07 | 97.51% | 0.43194 | 0.15069 | 0.58264 | 99.68% | 21:00 | 04:05 | 1899-12-31 01:05 | 99.43%
17 | 220 kV Budhipadar - AAL - II | 08:58 |  | 0.37361 | 99.8% | 103:04 | 0 | 1900-01-03 07:04 | 97.65% | 21:20 | 0 | 0.88889 | 99.51%
18 | 220 kV Budhipadar- VAL - I | 15:45 |  | 0.65625 | 99.64% | 08:08 | 0 | 0.33889 | 99.81% | 07:47 | 05:19 | 0.54583 | 99.7%
19 | 220 kV Budhipadar- VAL - II | 13:00 | 03:54 | 0.70417 | 99.61% | 0.34792 | 0 | 0.34792 | 99.81% | 06:59 | 0 | 0.29097 | 99.84%
20 | 220 kV Katapali - Lapanga - I |  | 31:16 | 1899-12-31 07:16 | 99.29% | 209:55 | 00:09 | 1900-01-07 18:04 | 95.2% | 80:41 | 18:18 | 1900-01-03 02:59 | 97.74%
21 | 220 kV Katapali - Lapanga- II |  | 30:18 | 1899-12-31 06:18 | 99.31% | 209:54 | 94:30 | 1900-01-11 16:24 | 93.05% | 76:10 | 02:14 | 1900-01-02 06:24 | 98.21%
22 | 220 kV Katapali - New Bargarh - New Bolangir - I | 1900-01-04 21:36 | 1900-01-06 06:48 | 1900-01-12 04:24 | 92.78% | 86:15 | 0:24 | 1900-01-02 14:39 | 98.02% | 1:20 | 13:25 | 0.61458 | 99.66%
23 | 220 kV Katapali -PGCIL- New Bolangir - II | 1900-01-05 11:36 | 1899-12-31 04:24 | 1900-01-06 16:00 | 95.8% | 0:00 | 0:00 | 0 | 100% | 6:20 | 6:35 | 0.53819 | 99.71%
24 | 220 kV Katapali - HINDALCO - I |  | 0.0090278 | 0.0090278 | 100% | 0 | 0 | 0 | 100% | 11:44 | 00:11 | 11:55 | 99.72
25 | 220 kV Katapali - HINDALCO - II |  | 0.19097 | 0.19097 | 99.9% | 0 | 0 | 0 | 100% | 08:20 | 00:00 | 08:20 | 99.82
26 | 220 kV Tarkera - PGCIL - I | 1900-01-01 04:37 | 1900-01-02 07:41 | 1900-01-04 12:18 | 96.98% | 0.66667 |  | 0.66667 | 99.63% | 0.76111 | 0.039583 | 0.80069 | 99.56%
27 | 220 kV Tarkera - PGCIL - II | 1900-01-01 08:02 | 1900-04-02 13:55 | 1900-04-04 21:57 | 47.44% |  |  | 0 | 100% | 1900-01-01 05:34 | 0.26111 | 1900-01-01 11:50 | 98.63%
28 | 220 kV Tarkera - Bonai |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
29 | 220 kV Bonai - Barkote |  | 1900-01-04 07:09 | 1900-01-04 07:09 | 97.1% |  |  | 0 | 100% |  |  | 0 | 100%
30 | 220 kV Tarkera - Rengali - II | 1899-12-31 19:33 | 1900-01-01 03:30 | 1900-01-02 23:03 | 97.83% | 1899-12-31 01:44 | 1899-12-31 03:55 | 1900-01-01 05:39 | 98.78% | 0.25486 | 1900-01-02 19:35 | 1900-01-03 01:42 | 97.77%
31 | 220 kV Tarkera - RSP - I | 0.67778 | 0.029861 | 0.70764 | 99.61% | 1899-12-31 08:50 | 0 | 1899-12-31 08:50 | 99.25% | 0 | 0.56319 | 0.56319 | 99.69%
32 | 220 kV Tarkera - RSP - II | 0.37639 | 0.87639 | 1899-12-31 06:04 | 99.31% | 0 | 0 | 0 | 100% | 1899-12-31 06:48 | 0.028472 | 1899-12-31 07:29 | 99.28%
33 | 220 kV Rengali - Barkote | 0.49236 | 0.50417 | 0.99653 | 99.45% | 1899-12-31 23:04 | 0.092361 | 1900-01-01 01:17 | 98.87% | 0.45764 | 1900-01-01 02:49 | 1900-01-01 13:48 | 98.59%
34 | 132 kV Bargarh - Barpali | 0 | 0.76667 | 0.76667 | 99.58% | 0.29167 | 0.027083 | 0.31875 | 99.83% | 1899-12-31 03:09 | 0.036806 | 1899-12-31 04:02 | 99.36%
35 | 132 kV New Bolangir - Barpali | 1900-01-09 17:12 | 1900-01-02 01:36 | 1900-01-12 18:48 | 92.45% | 18:55 | 11:05 | 1899-12-31 06:00 | 99.32% | 0:00 | 7:42 | 0.32083 | 99.82%
36 | 132 kV Bargarh - ACC -ckt- I | 1900-01-11 13:36 | 1899-12-31 05:12 | 1900-01-12 18:48 | 92.45% |  |  | 0 | 100% |  |  | 0 | 100%
37 | 132 kV Bargarh - ACC -ckt- II | 1900-01-11 13:36 | 1899-12-31 05:12 | 1900-01-12 18:48 | 92.45% |  |  | 0 | 100% |  |  | 0 | 100%
38 | 132 kV Lapanga - Budhipadar - I | 08:18 | 02:10 | 0.43611 | 99.76% | 28:56 | 20:35 | 1900-01-01 01:31 | 98.87% | 19:21 | 30:44 | 1900-01-01 02:05 | 98.86%
39 | 132 kV Lapanga - Budhipadar - II | 13:32 |  | 0.56389 | 99.69% | 15:57 | 10:29 | 1899-12-31 02:26 | 99.4% |  | 56:10 | 1900-01-01 08:10 | 98.72%
40 | 132 kV Burla PH - Lapanga - I | 02:17 | 37:11 | 1899-12-31 15:28 | 99.1% | 21:34 | 1001:40 | 1900-02-10 15:14 | 76.64% | 06:49 | 493:14 | 1900-01-19 20:03 | 88.58%
41 | 132 kV Burla PH - Lapanga - II | 589:49 | 72:44 | 1900-01-26 14:33 | 84.87% | 28:18 | 03:13 | 1899-12-31 07:31 | 99.28% | 02:22 | 33:36 | 1899-12-31 11:58 | 99.18%
42 | 132 kV Budhipadar - Jharsuguda ckt - II | 0.67361 | 0.046528 | 0.72014 | 99.61% | 38:56 | 0 | 1899-12-31 14:56 | 99.11% | 0.29167 | 0.75486 | 1899-12-31 01:07 | 99.43%
43 | 132 KV BURLA-JHARSUGUDA-B.PADAR T OFF FEEDER | 0.54792 |  | 0.54792 | 99.7% | 38:00 | 0 | 1899-12-31 14:00 | 99.13% | 43:32 | 0.27014 | 1900-01-01 02:01 | 98.86%
44 | 132 KV B.PADAR-JHARSUGUDA SC LINE CIRCUIT- I | 0.030556 |  | 0.030556 | 99.98% | 318:13 | 0.11458 | 1900-01-12 08:58 | 92.67% | 299:14 | 27:28 | 1900-01-12 14:42 | 92.54%
45 | 132 kV Budhipadar - Remja | 10:33 | 04:03 | 0.60833 | 99.67% | 0.68681 | 0.0097222 | 0.69653 | 99.62% | 0 | 0.69583 | 0.69583 | 99.62%
46 | 132 kV Budhipadar - MCL - I | 16:01 | 03:47 | 0.825 | 99.55% | 04:39 | 0 | 0.19375 | 99.89% | 10:04 | 19:24 | 1899-12-31 05:28 | 99.33%
47 | 132 kV Budhipadar - MCL - II | 14:26 | 16:02 | 1899-12-31 06:28 | 99.3% | 12:59 | 0 | 0.54097 | 99.7% | 13:25 | 04:32 | 0.74792 | 99.59%
48 | 132 kV Budhipadar - Kalunga | 1900-01-05 17:07 | 0.54583 | 1900-01-06 06:13 | 96.02% | 0.51111 | 0.075 | 0.58611 | 99.68% | 0 | 1900-01-03 20:15 | 1900-01-03 20:15 | 97.35%
49 | 132 kV Kalunga - Tarkera | 1899-12-31 00:56 | 0.41111 | 1899-12-31 10:48 | 99.21% | 0.35556 | 0.022222 | 0.37778 | 99.79% | 0 | 0.62986 | 0.62986 | 99.65%
50 | 132 kV Budhipadar - Rajgangpur - II | 37:22 | 01:24 | 1899-12-31 14:46 | 99.11% | 33:04 | 0 | 1899-12-31 09:04 | 99.25% | 07:11 | 88:45 | 1900-01-02 23:56 | 97.81%
51 | 132 kV Budhipadar - Sundargarh - I | 70:03 | 09:00 | 1900-01-02 07:03 | 98.2% | 51:00 | 23:09 | 1900-01-02 02:09 | 98.31% | 00:12 | 0 | 0.0083333 | 100%
52 | 132 kV Budhipadar - Sundargarh - II | 36:38 | 26:31 | 1900-01-01 15:09 | 98.56% | 114:47 | 15:43 | 1900-01-04 10:30 | 97.02% | 00:12 | 20:49 | 0.87569 | 99.52%
53 | 132 kV Budhipadar - MSP
54 | 132 kV Lapanga - SMC | 11:01 | 03:45 | 0.61528 | 99.66% | 07:35 | 07:09 | 0.61389 | 99.66% | 41:40 | 78:04 | 1900-01-03 23:44 | 97.27%
55 | 132 kV Lapanga - Aryan Ispat | 13:36 | 01:31 | 0.62986 | 99.65% | 0 | 01:23 | 0.057639 | 99.97% | 03:27 | 36:11 | 1899-12-31 15:38 | 99.1%
56 | 132 kV Lapanga - RTSS | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% |  | 09:35 | 0.39931 | 99.78%
57 | 132 kV Jharsuguda - L&T |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
58 | 132 kV Jharsuguda - Traction |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
59 | 132 kV Burla PH - Katapali |  | 02:23 | 0.099306 | 99.95% | 84:40 | 0 | 1900-01-02 12:40 | 98.07% | 44:13 | 02:13 | 1899-12-31 22:26 | 98.94%
60 | 132 kV Burla PH - Sambalpur | 40:56 | 01:39 | 1899-12-31 18:35 | 99.03% | 44:35 | 00:18 | 1899-12-31 20:53 | 98.98% | 121:26 | 84:27 | 1900-01-07 13:53 | 95.3%
61 | 132 kV Sambalpur - Shyam DRI | 19:17 | 08:13 | 1899-12-31 03:30 | 99.37% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
62 | 132 kV Chiplima - Katapali |  | 0.0069444 | 0.0069444 | 100% | 29:10 | 00:38 | 1899-12-31 05:48 | 99.32% | 14:00 | 31:04 | 1899-12-31 21:04 | 98.97%
63 | 132KV CHIPLIMA P.H.- 2 -Katapali |  | 05:22 | 0.22361 | 99.88% | 06:35 | 151:07 | 1900-01-05 13:42 | 96.4% | 09:00 | 33:12 | 1899-12-31 18:12 | 99.04%
64 | 132KV BURLA P.H.- 2 - Katapali |  | 04:30 | 0.1875 | 99.9% | 84:40 | 0 | 1900-01-02 12:40 | 98.07% | 44:13 | 02:13 | 1899-12-31 22:26 | 98.94%
65 | 132 kV Katapali - Bargarh | 1900-01-12 16:48 | 1899-12-31 18:00 | 1900-01-14 10:48 | 91.53% | 15:39 | 12:37 | 1899-12-31 04:16 | 99.35% | 20:39 | 27:00 | 1899-12-31 23:39 | 98.91%
66 | 132 kV Katapali - Rairakhole | 1900-01-01 03:39 | 1899-12-31 15:41 | 1900-01-02 19:20 | 97.91% | 1899-12-31 17:01 | 0 | 1899-12-31 17:01 | 99.06% | 0.50972 | 0 | 0.50972 | 99.72%
67 | 132 kV Rairakhole - Boinda | 0.15347 | 0.065278 | 0.21875 | 99.88% | 1900-01-01 05:55 | 0 | 1900-01-01 05:55 | 98.77% | 1:20 | 3:14 | 0.19028 | 99.9%
68 | 132 kV Tarkera - RSP - I | 0.14653 | 0.21181 | 0.35833 | 99.8% | 0.59375 | 0 | 0.59375 | 99.67% | 0.17778 | 0 | 0.17778 | 99.9%
69 | 132 kV Tarkera - RSP - II | 0.17361 | 0.45694 | 0.63056 | 99.65% | 0.17014 | 0 | 0.17014 | 99.91% | 0.017361 | 0.05 | 0.067361 | 99.96%
70 | 132 kV Tarkera - Rourkela - I |  | 0.16597 | 0.16597 | 99.91% | 1899-12-31 18:39 | 0.014583 | 1899-12-31 19:00 | 99.02% | 0.2125 | 0.77569 | 0.98819 | 99.46%
71 | 132 kV Tarkera - Rourkela - II | 0.67292 | 0.72431 | 1899-12-31 09:32 | 99.23% | 1899-12-31 05:30 | 0.033333 | 1899-12-31 06:18 | 99.31% | 1900-01-02 12:00 | 0.033333 | 1900-01-02 12:48 | 98.06%
72 | 132 kV Tarkera - Rourkela - III | 0.28472 | 0.015972 | 0.30069 | 99.84% | 1899-12-31 01:32 | 0.0048611 | 1899-12-31 01:39 | 99.41% | 1899-12-31 10:36 | 0.034028 | 1899-12-31 11:25 | 99.19%
73 | 132 kV Rourkela - Joda (Nalda) Feeder | 0.65625 | 1900-01-01 04:50 | 1900-01-01 20:35 | 98.43% | 1899-12-31 01:24 | 1899-12-31 19:59 | 1900-01-01 21:23 | 98.42% | 0.0020833 | 1900-01-03 17:38 | 1900-01-03 17:41 | 97.4%
74 | 132 kV Tarkera - Chhend - I | 1899-12-31 17:41 | 0.00625 | 1899-12-31 17:50 | 99.04% | 0.68194 | 0.046528 | 0.72847 | 99.6% | 0.16806 | 0.048611 | 0.21667 | 99.88%
75 | 132 kV Tarkera - Chhend - II | 0.96181 | 0.040278 | 1899-12-31 00:03 | 99.45% | 1899-12-31 07:50 | 0.057639 | 1899-12-31 09:13 | 99.24% | 0.17014 | 0.084722 | 0.25486 | 99.86%
76 | 132 kV Tarkera - Rajgangpur - I | 1899-12-31 20:39 | 0.029861 | 1899-12-31 21:22 | 98.96% | 1900-01-02 06:18 | 0.16181 | 1900-01-02 10:11 | 98.12% | 0.4625 | 1900-01-02 05:01 | 1900-01-02 16:07 | 97.99%
77 | 132 kV Tarkera - Rajgangpur - II | 1899-12-31 03:21 | 1899-12-31 15:26 | 1900-01-01 18:47 | 98.48% | 1899-12-31 16:00 | 0.093056 | 1899-12-31 18:14 | 99.04% | 1899-12-31 23:41 | 0.75069 | 1900-01-01 17:42 | 98.5%
78 | 132 kV Chhend - Nuagaon Traction | 0.55972 | 0.17778 | 0.7375 | 99.6% | 0.48264 | 0.091667 | 0.57431 | 99.69% | 0.17222 | 0.10208 | 0.27431 | 99.85%
79 | 132 kV Chhend - Adhunik Metallics |  | 0.25417 | 0.25417 | 99.86% | 0.91667 | 0.20486 | 1899-12-31 02:55 | 99.39% | 0.50486 | 0.085417 | 0.59028 | 99.68%
80 | 132 kV Rajgangpur - Traction - I | 0.34306 | 0.00625 | 0.34931 | 99.81% | 0.38889 | 0.11458 | 0.50347 | 99.72% | 0.16944 | 0.10278 | 0.27222 | 99.85%
81 | 132 kV Rajgangpur - Traction - II | 0.35486 | 0 | 0.35486 | 99.81% | 0.42153 | 0.125 | 0.54653 | 99.7% | 0 | 0.13403 | 0.13403 | 99.93%
82 | 132 kV Rajgangpur - OCL | 0.64306 | 0.059028 | 0.70208 | 99.62% | 0.78472 | 0.11458 | 0.89931 | 99.51% | 0.091667 | 0.059028 | 0.15069 | 99.92%
83 | 132 kV Rajgangpur - Kuchinda | 07:26 | 0.25069 | 0.56042 | 99.69% | 17:47 | 0.060417 | 0.80139 | 99.56% | 03:56 | 05:51 | 0.40764 | 99.78%
84 | 132 kV Kuchinda - SMC | 0.73889 | 0.4375 | 1899-12-31 04:14 | 99.36% | 20:55 | 0.061806 | 0.93333 | 99.49% | 22:43 | 04:50 | 1899-12-31 03:33 | 99.37%
85 | 1323KV RAJGANGPUR - OISL FEEDER | 0.88889 | 0.061806 | 0.95069 | 99.48% | 0.32083 | 0.19028 | 0.51111 | 99.72% | 0.65486 | 0.22708 | 0.88194 | 99.52%

## CHAINPAL
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| CHAINPAL CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 KV Vedanta - I | 0.85278 | 2646:15H | 0.85278 | 99.53% | 1900-01-01 01:07 | 1900-01-03 08:50 | 1900-01-05 09:57 | 96.49% | 1900-01-03 15:21 | 1900-01-01 08:43 | 1900-01-06 00:04 | 96.16%
2 | 400 KV Vedanta - II | 55:30hR | 2608:07H | 0 | 100% | 1899-12-31 23:11 | 0.93333 | 1900-01-01 21:35 | 98.41% | 1900-01-05 05:01 | 1900-01-01 00:55 | 1900-01-07 05:56 | 95.48%
3 | 400 KV New Duburi - I (DOC-18/10/15, 20:20 HR) | 1899-12-31 13:38 | 0.52083 | 1900-01-01 02:08 | 98.86% | 0.62986 | 1900-01-03 17:13 | 1900-01-04 08:20 | 97.07% | 0.85 | 1900-01-01 01:52 | 1900-01-01 22:16 | 98.4%
4 | 400 KV New Duburi - II (DOC-11/09/15, 13 :14 HR) | 0.30694 | 0.014583 | 0.32153 | 99.82% | 1899-12-31 16:55 | 1899-12-31 00:14 | 1900-01-01 17:09 | 98.51% | 0.40486 | 0.21389 | 0.61875 | 99.66%
5 | 400 KV Angul - I | 32:06hR | 0.77083 | 0.77083 | 99.58% | 0.75208 | 1899-12-31 10:03 | 1900-01-01 04:06 | 98.81% | 0.48333 | 0.047917 | 0.53125 | 99.71%
6 | 400 KV Angul - II | 0.020833 | 0.99097 | 1899-12-31 00:17 | 99.45% | 0.92222 | 0.020833 | 0.94306 | 99.48% | 0 | 0 | 0 | 100%
7 | 400 kV Meramundali - Mendhasala | 0.26667 | 0.15486 | 0.42153 | 99.77% | 1900-01-03 03:44 | 0 | 1900-01-03 03:44 | 97.72% | 0.72917 | 0.047917 | 0.77708 | 99.57%
8 | 400 kV Meramundali - RSTPS-I | 0.047222 | 0.042361 | 0.089583 | 99.95% | 0.78125 | 0 | 0.78125 | 99.57% | 0.50486 | 1900-01-01 07:22 | 1900-01-01 19:29 | 98.46%
9 | 400 KV GMR | 0 | 0.071528 | 0.071528 | 99.96% | 0.71806 | 0 | 0.71806 | 99.61% | 0 | 0.083333 | 0.083333 | 99.95%
11 | 400 kV Meramundali - JSPL-I | 0.91597 | 0.032639 | 0.94861 | 99.48% | 1899-12-31 01:35 | 0.016667 | 1899-12-31 01:59 | 99.41% | 0.82222 | 0 | 0.82222 | 99.55%
12 | 400 kV Meramundali - JSPL-II | 0.37986 | 0.08125 | 0.46111 | 99.75% | 1900-01-01 20:58 | 0.069444 | 1900-01-01 22:38 | 98.39% | 0.37222 | 0.050694 | 0.42292 | 99.77%
13 | 220 kV Meramundali -Kaniha - I | 0 | 0.25556 | 0.25556 | 99.86% | 1900-01-03 03:44 | 0 | 1900-01-03 03:44 | 97.72% | 0.72917 | 0.047917 | 0.77708 | 99.57%
14 | 220 kV Meramundali - Kaniha -II | 0 | 0.63264 | 0.63264 | 99.65% | 0.78125 | 0 | 0.78125 | 99.57% | 0.50486 | 1900-01-01 07:22 | 1900-01-01 19:29 | 98.46%
15 | 220 kV Meramundali - TTPS - I | 0.71389 | 0.22569 | 0.93958 | 99.49% | 0.71806 | 0 | 0.71806 | 99.61% | 0 | 0.083333 | 0.083333 | 99.95%
16 | 220 kV Meramundali - TTPS - II | 0.15139 | 0.62639 | 0.77778 | 99.57% | 1899-12-31 01:35 | 0.016667 | 1899-12-31 01:59 | 99.41% | 0.82222 | 0 | 0.82222 | 99.55%
17 | 220 kV Meramundali – NALCO – I | 1899-12-31 00:19 | 0.079861 | 1899-12-31 02:14 | 99.4% | 1900-01-01 20:58 | 0.069444 | 1900-01-01 22:38 | 98.39% | 0.37222 | 0.050694 | 0.42292 | 99.77%
18 | 220 kV Meramundali – NALCO – II | 0.34514 | 0.079861 | 0.425 | 99.77% | 1899-12-31 10:48 | 0.0125 | 1899-12-31 11:06 | 99.2% | 0.5 | 0 | 0.5 | 99.73%
19 | 220 kV Meramundali - Duburi - I | 1900-01-07 00:22 | 1899-12-31 15:56 | 1900-01-08 16:18 | 94.7% | 1900-01-02 14:25 | 0.0069444 | 1900-01-02 14:35 | 98.02% | 0.35208 | 0.067361 | 0.41944 | 99.77%
20 | 220 kV Meramundali - Duburi - II | 1900-01-02 12:33 | 0.52292 | 1900-01-03 01:06 | 97.78% | 1899-12-31 19:29 | 0 | 1899-12-31 19:29 | 99.01% | 0 | 0.090972 | 0.090972 | 99.95%
21 | 220 kV Meramundali - B.Nagar - I | 1900-01-01 22:48 | 0.37847 | 1900-01-02 07:53 | 98.18% | 1899-12-31 13:00 | 0.036111 | 1899-12-31 13:52 | 99.14% | 1900-02-14 09:16 | 1900-01-01 04:54 | 1900-02-16 14:10 | 73.38%
22 | 220 kV Meramundali - B.Nagar - II | 0.53611 | 0.18472 | 0.72083 | 99.61% | 0.39583 | 0.021528 | 0.41736 | 99.77% | 1899-12-31 14:24 | 1900-01-04 21:09 | 1900-01-06 11:33 | 95.9%
23 | 220 kV Meramundali - Bidanasi | 0.70972 | 0.96319 | 1899-12-31 16:09 | 99.08% | 1900-01-01 03:13 | 0.58542 | 1900-01-01 17:16 | 98.51% | 0.19861 | 0.040972 | 0.23958 | 99.87%
24 | 220 kV Meramundali - BSL-I | 0 | 0.10694 | 0.10694 | 99.94% | 0 | 0 | 0 | 100% | 0.14375 | 0.0125 | 0.15625 | 99.91%
25 | 220 kV Meramundali - BSL-II | 0 | 0.29861 | 0.29861 | 99.84% | 0 | 0.0055556 | 0.0055556 | 100% | 0.24861 | 0.074306 | 0.32292 | 99.82%
26 | 220 kV Rengali - Tarkera - II | 0.6375 | 1900-01-05 03:04 | 1900-01-05 18:22 | 96.29% | 1900-01-01 11:23 | 0.99306 | 1900-01-02 11:13 | 98.1% | 0.15417 | 1900-01-02 21:21 | 1900-01-03 01:03 | 97.78%
27 | 220 kV Rengali - Barkote - I | 0.29514 | 0.47222 | 0.76736 | 99.58% | 1900-01-01 05:16 | 0.13542 | 1900-01-01 08:31 | 98.71% | 0.51042 | 1899-12-31 12:12 | 1900-01-01 00:27 | 98.89%
28 | 220 kV Rengali - PGCIL - I |  | 0.13333 | 0.13333 | 99.93% | 1899-12-31 01:48 |  | 1899-12-31 01:48 | 99.41% | 0.56042 |  | 0.56042 | 99.69%
29 | 220 kV Rengali - PGCIL - II |  | 1899-12-31 02:48 | 1899-12-31 02:48 | 99.39% | 0.94722 |  | 0.94722 | 99.48% | 0.10347 |  | 0.10347 | 99.94%
30 | 220 kV Rengali - Rengali PH - I |  |  | 0 | 100% | 1899-12-31 02:25 |  | 1899-12-31 02:25 | 99.4% | 0.18611 | 0.17292 | 0.35903 | 99.8%
31 | 220 kV Rengali - Rengali PH - II | 0.027083 |  | 0.027083 | 99.99% | 1899-12-31 12:33 |  | 1899-12-31 12:33 | 99.17% | 0.027778 | 1899-12-31 07:50 | 1899-12-31 08:30 | 99.26%
32 | 132 kV Angul - TTPS | 0 | 0 | 0 | 100% | 1899-12-31 20:02 |  | 1899-12-31 20:02 | 98.99% | 1900-01-01 05:35 | 0.045833 | 1900-01-01 06:41 | 98.75%
33 | 132 kV Angul - Boinda | 0.15556 | 0.16528 | 0.32083 | 99.82% | 1899-12-31 12:26 | 0.26528 | 1899-12-31 18:48 | 99.02% | 0.42083 | 0.22083 | 0.64167 | 99.65%
34 | 132 kV Angul - MCL - I | 0 | 0.10833 | 0.10833 | 99.94% | 0.57431 | 0.25694 | 0.83125 | 99.54% | 0.14444 | 0.18125 | 0.32569 | 99.82%
35 | 132 kV Angul - MCL - II | 0 | 0.10972 | 0.10972 | 99.94% | 0.90208 | 0.16389 | 1899-12-31 01:35 | 99.42% | 0.64792 | 0.16389 | 0.81181 | 99.56%
36 | 132 kV Boinda - Rairakhole | 0.21736 | 0.0083333 | 0.22569 | 99.88% | 1899-12-31 14:30 | 0.070139 | 1899-12-31 16:11 | 99.08% | 0.76736 |  | 0.76736 | 99.58%
37 | 132 kV TTPS - Chainpal - I |  | 0.14097 | 0.14097 | 99.92% | 0.75347 | 0 | 0.75347 | 99.59% | 0.10694 | 1899-12-31 02:39 | 1899-12-31 05:13 | 99.33%
38 | 132 kV TTPS - Chainpal - II |  |  | 0 | 100% | 1899-12-31 07:05 | 0 | 1899-12-31 07:05 | 99.29% | 0.22083 | 0.076389 | 0.29722 | 99.84%
39 | 132 kV Chainpal - Angul | 0 | 0.25069 | 0.25069 | 99.86% | 1899-12-31 21:33 | 0.088194 | 1899-12-31 23:40 | 98.91% | 1900-01-01 02:43 | 0.40694 | 1900-01-01 12:29 | 98.62%
40 | 132 kV Chainpal - FCI |  | 0.055556 | 0.055556 | 99.97% | 1900-01-01 05:14 | 0 | 1900-01-01 05:14 | 98.78% | 0.39653 | 0.29306 | 0.68958 | 99.62%
41 | 132 kV Chainpal - Meramundali - I |  |  | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
42 | 132 kV Chainpal – Meramundali - II |  | 0.22778 | 0.22778 | 99.88% | 1899-12-31 05:20 | 1900-01-02 11:28 | 1900-01-03 16:48 | 97.42% | 0 | 0 | 0 | 100%
43 | 132KV Chainpal-RTSS |  | 0.054861 | 0.054861 | 99.97% | 0.45694 | 0 | 0.45694 | 99.75% | 0.12222 | 0.14444 | 0.26667 | 99.85%
44 | 132 kV Dhenkanal - ICCL | 0.093056 | 0.52014 | 0.61319 | 99.66% | 1899-12-31 18:46 | 0.015972 | 1899-12-31 19:09 | 99.01% | 0.6875 | 0.16319 | 0.85069 | 99.53%
45 | 132 kV Dhenkanal - Joranda Trac. | 0.064583 | 0 | 0.064583 | 99.96% | 0.77153 | 0.05 | 0.82153 | 99.55% | 0 | 0.00625 | 0.00625 | 100%
46 | 133 kV Kharagprasad - NBVL - I | 0 | 0.076389 | 0.076389 | 99.96% | 0.83819 | 0.020833 | 0.85903 | 99.53% | 0.14375 | 0.0048611 | 0.14861 | 99.92%
47 | 134 kV Kharagprasad - NBVL - II | 0 | 0.17708 | 0.17708 | 99.9% | 0.8375 | 0.029167 | 0.86667 | 99.53% | 0.14444 | 0.015278 | 0.15972 | 99.91%
48 | 132 kV Kharagprasad - Traction | 0.11042 | 0.086806 | 0.19722 | 99.89% | 0.82083 | 0.084722 | 0.90556 | 99.5% | 0.96667 | 0.013889 | 0.98056 | 99.46%
49 | 132 kV Kharagprasad - MGM | 0.12778 | 0.20208 | 0.32986 | 99.82% | 0.83819 | 0.13681 | 0.975 | 99.47% | 0.18472 | 0.061806 | 0.24653 | 99.86%
50 | 132 kV Kharagprasad - SMPL | 132kv power supply disconnected since 23.09.2011
51 | 132 kV Kharagprasad - SGEL | 0.12431 | 0.091667 | 0.21597 | 99.88% | 0.090972 | 0.034028 | 0.125 | 99.93% | 0.60069 | 0.016667 | 0.61736 | 99.66%
52 | 132 kV Kamakhyanagar - Duburi | 0.25417 | 0.074306 | 0.32847 | 99.82% | 0.64028 | 0.0020833 | 0.64236 | 99.65% | 1900-01-02 13:55 | 0.053472 | 1900-01-02 15:12 | 98.01%
53 | 132 kV TTPS - OPCL - Kamakyanagar | 0.078472 | 0.18056 | 0.25903 | 99.86% | 0.37014 | 0.96111 | 1899-12-31 07:57 | 99.27% | 34:39 | 0.21181 | 0.21181 | 99.88%
54 | 132kv GODA-Kalarangi FDR | 0.11736 | 0.19444 | 0.31181 | 99.83% | 0.64028 | 0.0020833 | 0.64236 | 99.65% | 85:55 | 0.053472 | 0.053472 | 99.97%
58 | 132 kV Khajuriakata - Nuapatna |  |  |  |  | 1900-01-12 08:12 | 0.27986 | 1900-01-12 14:55 | 92.54% | 0.18056 | 0.39931 | 0.57986 | 99.68%
55 | 132 kV Meramundali – BRG | 0 | 0.13125 | 0.13125 | 99.93% | 0.34097 | 0 | 0.34097 | 99.81% | 0 | 0 | 0 | 100%
56 | 132 kV Meramundali - K.Prasad - I | 0.090278 | 0.55139 | 0.64167 | 99.65% | 1899-12-31 07:53 | 0 | 1899-12-31 07:53 | 99.27% | 0.14167 | 0.029167 | 0.17083 | 99.91%
57 | 132 kV Meramundali - K.Prasad - II | 0 | 0.12917 | 0.12917 | 99.93% | 0.82014 | 0 | 0.82014 | 99.55% | 0.14167 | 0.029167 | 0.17083 | 99.91%
58 | 132 kV Meramundali - Khajuriakata | 1899-12-31 | 0.59792 | 1899-12-31 14:21 | 99.12% | 1900-01-04 13:36 | 0.15139 | 1900-01-04 17:14 | 96.87% | 1900-01-02 06:42 | 0.69861 | 1900-01-02 23:28 | 97.82%
59 | 132 kV Meramundali - Dhenkanal | 0.047917 | 0.62847 | 0.67639 | 99.63% | 1899-12-31 20:47 | 0.46042 | 1900-01-01 07:50 | 98.73% | 0.13333 | 0.038889 | 0.17222 | 99.91%
60 | 132 kV Meramundali - ML Rungta | 0 | 0 | 0 | 100% | 0.44306 | 0 | 0.44306 | 99.76% | 0.51111 | 0.059028 | 0.57014 | 99.69%
Note on B55: Disconnected by CESU due to non-payment
Note on B56: Disconnected by CESU due to non-payment

## CUTTACK
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| CUTTACK CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220KV Bidanasi - Cuttack-I | 0.64444 |  | 0.64444 | 99.65% | 0.11042 |  | 0.11042 | 99.94% | 0.54861 |  | 0.54861 | 99.7%
2 | 220KV Bidanasi - Cuttack-II | 0.57569 |  | 0.57569 | 99.68% | 0.85347 |  | 0.85347 | 99.53% | 0.61458 |  | 0.61458 | 99.66%
3 | 220 kV Meramundali - Bidanasi | 0.71458 |  | 0.71458 | 99.61%
4 | 220 kV New Duburi – Paradeep Ckt-I | 0.57847 | 1900-01-04 19:07 | 1900-01-05 09:00 | 96.51% | 1899-12-31 07:00 | 0.25 | 1899-12-31 13:00 | 99.16% | 0.28819 | 0.72222 | 1899-12-31 00:15 | 99.45%
5 | 220 kV New Duburi – Paradeep Ckt-II | 1899-12-31 01:08 | 1899-12-31 20:58 | 1900-01-01 22:06 | 98.4% | 1899-12-31 14:00 | 0.0083333 | 1899-12-31 14:12 | 99.13% | 0.87292 | 0.64167 | 1899-12-31 12:21 | 99.17%
6 | 220 kV Paradeep - Essar Steel Ckt - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
7 | 220 kV Paradeep - Essar Steel Ckt - II | 0.23958 | 1899-12-31 05:21 | 1899-12-31 11:06 | 99.2% | 0 | 0.10417 | 0.10417 | 99.94% | 0 | 0.32847 | 0.32847 | 99.82%
8 | 220 kV Paradeep - IOCL | 0.056944 | 1899-12-31 10:27 | 1899-12-31 11:49 | 99.18% | 0.29931 | 0.032639 | 0.33194 | 99.82% | 0 | 0.071528 | 0.071528 | 99.96%
9 | 132 kV Chandikhole - Kendrapara |  | 0.39931 | 0.39931 | 99.78% | 8:28 | 9:10 | 0.73472 | 99.6% |  | 4:32 | 0.18889 | 99.9%
10 | 132KV Bidanasi - BPPL feeder |  |  | 0 | 100%
11 | 132KV Bidanasi - CDR feeder |  |  | 0 | 100% | 1899-12-31 00:51 | 0.027778 | 1899-12-31 01:31 | 99.42% | 1899-12-31 07:10 | 0.077778 | 1899-12-31 09:02 | 99.25%
12 | 132 kV Choudwar - Kendrapara Rd Trac. |  | 0.35 | 0.35 | 99.81% |  |  | 0 | 100% |  | 0.0069444 | 0.0069444 | 100%
13 | 132 kV Arati - Choudwar Ckt-I | 1900-01-01 15:36 | 0.38333 | 1900-01-02 00:48 | 98.34% | 0.72569 | 0.021528 | 0.74722 | 99.59% | 1899-12-31 13:50 | 0.12639 | 1899-12-31 16:52 | 99.07%
14 | 132 kV ICCL - Choudwar Ckt-II | 0.032639 | 0.11458 | 0.14722 | 99.92% | 0.65417 |  | 0.65417 | 99.64% | 0.56806 | 0.035417 | 0.60347 | 99.67%
15 | 132 kV Maheswari - ICCL Ckt-II | 0.64097 | 0.18125 | 0.82222 | 99.55% | 1899-12-31 18:46 | 0.015972 | 1899-12-31 19:09 | 99.01% | 0.6875 | 0.16319 | 0.85069 | 99.53%
16 | 132kv meramunduli nuapatna eht feeder | 0.54167 | 1899-12-31 07:18 | 1899-12-31 20:18 | 98.99% |  |  | 0 | 100% |  |  | 0 | 100%
17 | 132kv arati nuapatna EHT FEEDER | 0 | 0.5625 | 0.5625 | 99.69% |  |  | 0 | 100% |  |  | 0 | 100%
18 | 132 kV ICCL - OCL - Salipur | 0.14236 | 0.6375 | 0.77986 | 99.57% | 0.51181 | 0.010417 | 0.52222 | 99.71% | 1900-01-02 14:44 | 0.10208 | 1900-01-02 17:11 | 97.96%
19 | 132 kV Mancheswar - Phulnakhara | 0.12917 | 0.21944 | 0.34861 | 99.81% | 1899-12-31 05:39 | 0.24167 | 1899-12-31 11:27 | 99.19% | 1899-12-31 08:38 | 0.88819 | 1900-01-01 05:57 | 98.77%
20 | 132 kV Phulnakhara - Cuttack |  | 0.80833 | 0.80833 | 99.56% | 0.77222 |  | 0.77222 | 99.58% | 1900-01-01 08:17 |  | 1900-01-01 08:17 | 98.71%
21 | 132 kV Cuttack - Jagatsinghpur |  |  | 0 | 100% | 0.34722 | 0.0090278 | 0.35625 | 99.8% |  |  | 0 | 100%
22 | 132 kV Jajpur Road - Chandikhole |  | 0.057639 | 0.057639 | 99.97% | 9:49 |  | 0.40903 | 99.78% |  | 2:16 | 0.094444 | 99.95%
23 | 132 kV Jajpur Road - Kendrapara - II | 1900-01-03 12:04 | 1899-12-31 22:55 | 1900-01-05 10:59 | 96.46% | 60:15 | 1:06 | 1900-01-01 13:21 | 98.6% | 9:37 | 0:59 | 0.44167 | 99.76%
24 | 132 kV Kendrapara - Salipur |  |  |  |  | 9:14 | 0:19 | 0.39792 | 99.78% | 5:50 | 7:44 | 0.56528 | 99.69%
25 | 132 kV Kendrapara - Marshaghai | 1900-01-04 18:26 | 1899-12-31 01:41 | 1900-01-05 20:07 | 96.25% | 62:16 | 3:03 | 1900-01-01 17:19 | 98.51% | 1:48 | 8:03 | 0.41042 | 99.78%
26 | 132 kV Kendarapara - Paradeep Ckt-II | 1900-01-04 18:28 | 1899-12-31 01:41 | 1900-01-05 20:09 | 96.25% | 18:20 | 0 | 0.76389 | 99.58% | 91:24 | 6:24 | 1900-01-03 01:48 | 97.77%
27 | 132 kV Marshaghai - Paradeep Ckt-I |  |  | 0 | 100% | 74:00 | 0:08 | 1900-01-02 02:08 | 98.31% | 57:36 | 21:46 | 1900-01-02 07:22 | 98.19%
28 | 132 kV Kendrapara - Pattamundai | 0.18681 |  | 0.18681 | 99.9% | 9:22 | 5:06 | 0.60278 | 99.67% |  | 1:27 | 0.060417 | 99.97%
29 | 132 kV Pattamundai - Olavar ckt-I |  |  |  |  | 15:53 | 0:11 | 0.66944 | 99.63% | 2:08 | 0:39 | 0.11597 | 99.94%
30 | 132 kV Pattamundai - Olavar Ckt-II |  |  |  |  | 9:32 |  | 0.39722 | 99.78% | 0:47 |  | 0.032639 | 99.98%
31 | 132 kV Paradeep - Jagatsinghpur | 0.92292 | 0.24583 | 1899-12-31 04:03 | 99.36% | 0.86528 | 0.14722 | 1899-12-31 00:18 | 99.45% | 0.28681 | 0.40833 | 0.69514 | 99.62%
32 | 132 kV Paradeep - PPL DC | 1899-12-31 17:07 | 1900-01-03 19:56 | 1900-01-05 13:03 | 96.41% | 1:09 | 0 | 0.047917 | 99.97% | 55:16 | 18:22 | 1900-01-02 01:38 | 98.32%
33 | 132 kV Paradeep - PPL DC | 1900-01-03 00:13 | 1899-12-31 02:40 | 1900-01-04 02:53 | 97.19% |  | 0 | 0 | 100% | 52:45 | 1:27 | 1900-01-01 06:12 | 98.76%
34 | 132 kV Paradeep - IFFCO DC | 0.47569 | 0.22986 | 0.70556 | 99.61% | 140:41 | 0 | 1900-01-04 20:41 | 96.79% | 79:18 | 15:42 | 1900-01-02 23:00 | 97.83%
35 | 132 kV Paradeep - IFFCO DC | 0.079167 | 1900-01-03 15:03 | 1900-01-03 16:57 | 97.42% | 123:30 | 15:30 | 1900-01-04 19:00 | 96.83% | 73:35 | 5:28 | 1900-01-02 07:03 | 98.2%
36 | 132 kV Paradeep - PPT DC | 1900-01-01 03:27 | 1900-01-06 16:13 | 1900-01-08 19:40 | 94.62% | 248:00 | 5:13 | 1900-01-09 13:13 | 94.22% | 0 | 1:53 | 0.078472 | 99.96%
37 | 132 kV Paradeep - PPT DC | 1899-12-31 16:22 | 1900-01-02 07:32 | 1900-01-03 23:54 | 97.26% | 204:13 | 0 | 1900-01-07 12:13 | 95.34% | 0 | 9:13 | 0.38403 | 99.79%
38 | 220 kV Meramundali - Duburi - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
39 | 220 kV Meramundali - Duburi - II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
40 | 220 kV Duburi - New Duburi-I | 0.024306 | 0.0097222 | 0.034028 | 99.98% | 0 | 0.054861 | 0.054861 | 99.97% |  |  | 0 | 100%
41 | 220 kV Duburi - New Duburi-II | 0.024306 | 0 | 0.024306 | 99.99% | 1899-12-31 13:32 | 0 | 1899-12-31 13:32 | 99.14% |  |  | 0 | 100%
42 | 220 kV Duburi - NINL |  | 0.22986 | 0.22986 | 99.87% |  |  | 0 | 100% |  |  | 0 | 100%
43 | 220 KV New Duburi - Tata-I | 00:00 | 0.024306 | 0.024306 | 99.99% |  |  | 0 | 100% | 00:00 | 0.0055556 | 0.0055556 | 100%
44 | 220 KV New Duburi Tata-II | 08:37 | 0.014583 | 0.014583 | 99.99% |  |  | 0 | 100% | 02:53 | 0.020139 | 0.020139 | 99.99%
45 | 220 KV New Duburi - Jindal-I | 0.12361 |  | 0.12361 | 99.93% |  |  | 0 | 100% | 1899-12-31 07:44 | 0.18333 | 1899-12-31 12:08 | 99.18%
46 | 220 KV New Duburi - Jindal-II | 0 | 108:57 | 0 | 100% |  |  | 0 | 100% | 1899-12-31 13:52 | 0 | 1899-12-31 13:52 | 99.14%
47 | 220 kV New Duburi - Paradeep - l | 23:34 | 72:44 | 0 | 100% | 1900-01-02 16:14 | 0.32986 | 1900-01-03 00:09 | 97.8% | 0.092361 | 1899-12-31 00:39 | 1899-12-31 02:52 | 99.39%
48 | 220 kV New Duburi - Paradeep - ll | 24:27 | 37:56 | 0 | 100% | 1900-01-02 12:38 | 0 | 1900-01-02 12:38 | 98.07% | 0.32222 | 0.67847 | 1899-12-31 00:01 | 99.45%
49 | 220 kV New Duburi - Balasore - I | 1900-01-01 14:31 | 0.94375 | 1900-01-02 13:10 | 98.06% | 0.72014 | 1900-01-01 01:09 | 1900-01-01 18:26 | 98.48% | 0 | 1900-01-02 07:25 | 1900-01-02 07:25 | 98.19%
50 | 132 kV Kamkhyanagar – Duburi - I | 0 | 0.10694 | 0.10694 | 99.94% | 0 | 0 | 0 | 100% | 0 | 0.045139 | 0.045139 | 99.98%
51 | 132 kV TTPS - Duburi Ckt - II | 0 | 0.28681 | 0.28681 | 99.84% | 0 | 0.28403 | 0.28403 | 99.84% | 0 | 0.41736 | 0.41736 | 99.77%
52 | 132 kV Duburi - Jajpur Rd. Ckt - I | 0 | 0.034028 | 0.034028 | 99.98% |  |  | 0 | 100% |  |  | 0 | 100%
53 | 132 kV Duburi - Jajpur Rd. Ckt - II | 0 | 0 | 0 | 100% |  | 0.26042 | 0.26042 | 99.86% |  |  | 0 | 100%
54 | 132 kV BCMohanty - Baminipal (TISCO) | 0 | 1899-12-31 05:28 | 1899-12-31 05:28 | 99.33% |  |  | 0 | 100% |  | 16:33 | 0.68958 | 99.62%
55 | 132 kV Duburi - TOMKA | 0 | 0.99861 | 0.99861 | 99.45% |  |  | 0 | 100% |  |  | 0 | 100%
56 | 132 kV Duburi - BCMohanty | 0 | 1899-12-31 21:49 | 1899-12-31 21:49 | 98.95% |  | 4:30 | 0.1875 | 99.9% |  |  | 0 | 100%
57 | 132 kV Duburi - Jakhapura Traction | 0 | 0.27083 | 0.27083 | 99.85% |  | 10:04 | 0.41944 | 99.77% |  | 4:44 | 0.19722 | 99.89%
58 | 132 kV Duburi - Mesco Fdr-II | 0 | 0.033333 | 0.033333 | 99.98% |  | 14:26 | 0.60139 | 99.67% |  | 6:16 | 0.26111 | 99.86%
59 | 132 kV Duburi - Mesco - Bhadrak - Jajpur Town |  |  | 0 | 100% |  | 3:19 | 0.13819 | 99.92% |  | 76:19 | 1900-01-02 04:19 | 98.26%
60 | 132 kV Jajpur Road – Kendrapara-II |  |  | 0 | 100%
61 | 132 kV Jajpur Road – Chandikhol - I |  |  | 0 | 100%
62 | 132 kV Jajpur Road - Jajpur Town . | 02:23 |  | 0 | 100% | 1899-12-31 07:39 | 1899-12-31 02:39 | 1900-01-01 10:18 | 98.67% | 0.93194 | 0.14514 | 1899-12-31 01:51 | 99.41%
63 | 132KV Jajpur Road-Anandpur incomer-I |  | 0 | 0 | 100% |  |  | 0 | 100% |  | 0.031944 | 0.031944 | 99.98%
64 | 132KV Jajpur Road-Anandpur incomer-II | 0.088194 | 0 | 0.088194 | 99.95% |  |  | 0 | 100% |  | 0.22986 | 0.22986 | 99.87%
65 | 132 kV Kalarangi Incomer |  |  | 0 | 100%

## JAJPUR ROAD
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| JAJPUR ROAD CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Balasore - Bhadrak | 0.64583 | 1900-01-01 17:07 | 1900-01-02 08:37 | 98.16% | 0.91389 | 0.080556 | 0.99444 | 99.46% | 0.58264 | 1900-01-02 13:54 | 1900-01-03 03:53 | 97.72%
2 | 220 kV Balasore - PGCIL - 1 | 0.25556 | 0.14792 | 0.40347 | 99.78% | 1899-12-31 12:56 | 0.079167 | 1899-12-31 14:50 | 99.11% | 0.10347 | 0.12917 | 0.23264 | 99.87%
3 | 220 kV Balasore - PGCIL - 2 | 0.49375 | 1899-12-31 17:57 | 1900-01-01 05:48 | 98.77% | 0.77917 | 1899-12-31 16:36 | 1900-01-01 11:18 | 98.65% | 0.18681 | 0.2375 | 0.42431 | 99.77%
4 | 220 kV New Duburi - Bhadrak | 1900-01-01 17:30 | 0.078472 | 1900-01-01 19:23 | 98.46% | 1899-12-31 09:36 | 0.090972 | 1899-12-31 11:47 | 99.18% | 0 | 0 | 0 | 100%
5 | 220 kV TTPS - Joda - I | 1900-01-07 04:35 | 0.29653 | 1900-01-07 11:42 | 95.35% | 1899-12-31 18:12 | 0.12361 | 1899-12-31 21:10 | 98.97% | 0.93889 | 0.48819 | 1899-12-31 10:15 | 99.22%
6 | 220 kV TTPS - Joda - II | 1900-01-10 16:38 | 1900-01-02 23:08 | 1900-01-14 15:46 | 91.42% | 1899-12-31 05:18 | 0.10139 | 1899-12-31 07:44 | 99.28% | 0.97708 | 1900-01-01 06:07 | 1900-01-02 05:34 | 98.23%
7 | 220 kV Joda - Jamshedpur | 1900-01-04 14:58 | 0.019444 | 1900-01-04 15:26 | 96.91% | 0.2375 | 0.19514 | 0.43264 | 99.76% |  | 0.35833 | 0.35833 | 99.8%
8 | 220 kV Joda - Ramchandrapur | 1900-01-10 05:53 | 1900-01-08 12:59 | 1900-01-19 18:52 | 88.61% | 1899-12-31 12:22 | 1900-01-02 23:00 | 1900-01-04 11:22 | 97% |  | 1900-01-03 04:18 | 1900-01-03 04:18 | 97.71%
9 | 220 kV Joda - TSIL | 0.13403 | 0.10694 | 0.24097 | 99.87% |  |  | 0 | 100% | 0.070833 | 0.25694 | 0.32778 | 99.82%
10 | 132 kV Balasore - Baripada | 0.36667 |  | 0.36667 | 99.8% | 0.18264 | 0 | 0.18264 | 99.9% | 1899-12-31 01:37 | 0 | 1899-12-31 01:37 | 99.42%
11 | 132 kV Balasore - Soro | 1899-12-31 02:24 | 0.47639 | 1899-12-31 13:50 | 99.14% | 1899-12-31 19:46 | 0.29028 | 1900-01-01 02:44 | 98.84% | 1899-12-31 10:59 | 1899-12-31 01:10 | 1900-01-01 12:09 | 98.63%
12 | 132 kV Balasore - Balasore Alloys | 0.20208 | 0.72569 | 0.92778 | 99.49% | 0.79514 | 0.020833 | 0.81597 | 99.55% | 0.15069 | 0.038889 | 0.18958 | 99.9%
13 | 132 kV Balasore - Birla Tyres | 0.90972 | 1899-12-31 03:48 | 1900-01-01 01:38 | 98.87% | 0.32431 | 0.0076389 | 0.33194 | 99.82% | 0.13611 | 0.048611 | 0.18472 | 99.9%
14 | 132 kV Balasore - Traction | 0.013194 | 0.12153 | 0.13472 | 99.93% | 0.30694 | 0 | 0.30694 | 99.83% | 0.33403 | 0 | 0.33403 | 99.82%
15 | 132 kV Balasore - Basta | 0 | 0.40278 | 0.40278 | 99.78% | 0.71181 | 0 | 0.71181 | 99.61% | 0.36944 | 0 | 0.36944 | 99.8%
16 | 132 KV Balasore-Somnathpur | 0.48472 | 0.84167 | 1899-12-31 07:50 | 99.27% | 0.043056 | 0.086806 | 0.12986 | 99.93% | 0 | 0.040278 | 0.040278 | 99.98%
17 | 132KV BHOGRAI-KUCHEI LINE | 0 | 0 | 0 | 100% | 0.49028 | 0.080556 | 0.57083 | 99.69% | 1899-12-31 05:48 | 1900-01-02 21:13 | 1900-01-04 03:01 | 97.19%
18 | 132KV BHOGRAI-JALESWAR LINE | 0 | 0 | 0 | 100% | 0.68194 | 0.425 | 1899-12-31 02:34 | 99.39% | 0.44653 | 0.065278 | 0.51181 | 99.72%
19 | 132KV Somnathpur - M/S EMAMI | 0.48889 | 0.47917 | 0.96806 | 99.47% | 0.42153 | 0.14375 | 0.56528 | 99.69% | 0.046528 | 0.041667 | 0.088194 | 99.95%
20 | 132KV Somnathpur - M/S STORK FERRO | 0.47778 | 0.42083 | 0.89861 | 99.51% | 0.31389 | 0.19861 | 0.5125 | 99.72% | 0.038194 | 0.25417 | 0.29236 | 99.84%
21 | 132 kV Basta - Jaleswar | 0 | 27:17 | 0 | 100% | 16:38 | 14:58 | 0 | 100% | 0 | 32:15 | 0 | 100%
22 | 132 KV KUCHEI -JALESWAR line | 0 | 0 | 0 | 100% | 0.37986 | 35:06 | 0.37986 | 99.79% | 0 | 111:28 | 0 | 100%
23 | 132 KV JALESWAR-BHOGRAI line | 0 | 0 | 0 | 100% | 8:35 | 19:58 | 0 | 100% | 0 | 1899-12-31 12:55 | 1899-12-31 12:55 | 99.16%
24 | 132 kV Jaleswar - Rly Traction | 0.095139 | 26:19 | 0.095139 | 99.95% | 8:41 | 11:25 | 0 | 100% | 0 | 1:00 | 0 | 100%
25 | 132 KV Bhadrak-J.Town | 0 | 0.52222 | 0.52222 | 99.71% | 1900-01-01 02:27 | 0.28819 | 1900-01-01 09:22 | 98.69% | 0.79167 | 0.26389 | 1899-12-31 01:20 | 99.42%
26 | 132 kV Bhadrak - DPCL - I | 0.31042 | 0 | 0.31042 | 99.83% | 0.4375 | 0 | 0.4375 | 99.76% | 0.44861 | 0 | 0.44861 | 99.75%
27 | 132 kV Bhadrak - DPCL - II | 0.31806 | 0 | 0.31806 | 99.83% | 0.26528 | 0 | 0.26528 | 99.85% | 0.17014 | 0 | 0.17014 | 99.91%
28 | 132 kV Bhadrak - Soro | 0 | 0.072917 | 0.072917 | 99.96% | 0 | 0.35486 | 0.35486 | 99.81% | 0 | 0.0041667 | 0.0041667 | 100%
29 | 132 kV Bhadrak - FACOR | 0 | 0 | 0 | 100% | 0.84514 | 0 | 0.84514 | 99.54% | 0 | 0 | 0 | 100%
30 | 132 kV Bhdrak - Traction | 0 | 0 | 0 | 100% | 0.36667 | 0 | 0.36667 | 99.8% | 0 | 0 | 0 | 100%
31 | 132 KV BHADRAK FACOR POWER FEEDER | 0 | 0 | 0 | 100% | 0.36319 | 0 | 0.36319 | 99.8% | 0 | 0 | 0 | 100%
32 | 132 KV INCOMER-I FROM OLD S/Y TO NEW S/Y | 0 | 0 | 0 | 100%
33 | 132 KV Bhadrakh INCOMER- II | 0 | 0 | 0 | 100%
34 | 132 kV Kuchei PGCIL - Baripada | 0.35625 | 0.37014 | 0.72639 | 99.6% | 0.67292 | 0.038889 | 0.71181 | 99.61% | 0 | 0.37986 | 0.37986 | 99.79%
35 | 132 kV Kuchei PGCIL - Bangiriposhi | 0 | 0.14514 | 0.14514 | 99.92% | 0.39792 | 0.27917 | 0.67708 | 99.63% | 0 | 0.76319 | 0.76319 | 99.58%
36 | 132 kV Bangiriposhi - Rairangpur | 0 | 1899-12-31 01:31 | 1899-12-31 01:31 | 99.42% | 1899-12-31 13:37 | 0.076389 | 1899-12-31 15:27 | 99.1% | 0.54375 | 0.9625 | 1899-12-31 12:09 | 99.17%
37 | 132 kV Rairangpur - Karanjia | 0 | 0.17708 | 0.17708 | 99.9% | 1899-12-31 15:02 | 0.22778 | 1899-12-31 20:30 | 98.98% | 0 | 0.75069 | 0.75069 | 99.59%
38 | 132KV KARANJIA-DHENKEKOTE | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
39 | 132 kV Palasponga - Karanjia | 0 | 0.41458 | 0.41458 | 99.77% | 1900-01-01 02:56 | 0 | 1900-01-01 02:56 | 98.84% | 0 | 0.25625 | 0.25625 | 99.86%
40 | 132 kV Joda - Rourkela | 0.53819 | 1900-01-16 09:07 | 1900-01-16 22:02 | 90.18% | 0.6625 | 0.41667 | 1899-12-31 01:54 | 99.41% | 0.45486 | 0.61944 | 1899-12-31 01:47 | 99.41%
41 | 132 kV Joda - Polasponga | 0.45278 | 1900-01-11 08:53 | 1900-01-11 19:45 | 92.97% | 1900-01-03 03:11 | 0.15972 | 1900-01-03 07:01 | 97.65% | 0.2125 | 0.55 | 0.7625 | 99.58%
42 | 132 kV Joda - FAP | 0.24236 | 0 | 0.24236 | 99.87% | 0.61944 | 0.11458 | 0.73403 | 99.6% | 0.25347 | 0.22361 | 0.47708 | 99.74%
43 | 132 kV Joda - Kenduposi | 1900-01-01 13:24 | 1900-01-03 07:26 | 1900-01-05 20:50 | 96.24% | 0.70069 | 0.82222 | 1899-12-31 12:33 | 99.17% |  | 0.034722 | 0.034722 | 99.98%
44 | 132 kV Joda - Banspani | 0.26875 | 0 | 0.26875 | 99.85% | 1899-12-31 10:54 | 1900-01-02 16:47 | 1900-01-04 03:41 | 97.18% | 0.26875 | 1900-01-01 01:39 | 1900-01-01 08:06 | 98.72%
45 | JODA-KEONJHAR RTSS |  | 1900-01-02 05:17 | 1900-01-02 05:17 | 98.24% | 0.75556 | 0.13125 | 0.88681 | 99.51% |  | 0.12153 | 0.12153 | 99.93%
46 | POLASPANGA-MSP |  | 0 | 0 | 100% | 0.51736 | 0.03125 | 0.54861 | 99.7% |  | 0.11736 | 0.11736 | 99.94%

## JEYPORE
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2017-18 04/17 to 09/17 |  |  |  | Last six months of the previous year 2017-18 10/17 to 03/18 |  |  |  | First six months of the current year 2018-19 04/18 to 09/18
| JEYPORE CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Jayanagar - Balimela - I | 0.09375 | 1899-12-31 13:31 | 1899-12-31 15:46 | 99.09% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:38 | 0.026389 | 99.99%
2 | 220 kV Jayanagar - Balimela - II | 0.025694 | 0.17569 | 0.20139 | 99.89% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:00 | 0 | 100%
3 | 220 kV Jayanagar - Balimela - III | 0.03125 | 0.61042 | 0.64167 | 99.65% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:40 | 0.027778 | 99.98%
4 | 220 kV Jayanagar - Upper Kolab-I |  | 0.051389 | 0.051389 | 99.97% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:47 | 0.032639 | 99.98%
5 | 220 kV Jayanagar - Upper Kolab-II | 0.23958 |  | 0.23958 | 99.87% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:48 | 0.033333 | 99.98%
6 | 220 kV Jayanagar - PGCIL - I | 0.61806 |  | 0.61806 | 99.66% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:30 | 0.020833 | 99.99%
7 | 220 kV Jayanagar - PGCIL-II | 0.28403 |  | 0.28403 | 99.84% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:34 | 0.023611 | 99.99%
8 | 220 kV Therubali - Laxmipur - I | 0.019444 | 0.052778 | 0.072222 | 99.96% | 0:00 | 0:00 | 0 | 100% | 0:00 | 3:15 | 0.13542 | 99.93%
9 | 220 kV Therubali - Laxmipur - II | 0.10278 | 0.0375 | 0.14028 | 99.92% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:33 | 0.022917 | 99.99%
10 | 220 kV Therubali - Jayanagar - Kolab - III | 1899-12-31 11:35 | 0.084028 | 1899-12-31 13:36 | 99.14% | 0:00 | 0:00 | 0 | 100% | 0:00 | 0:00 | 0 | 100%
11 | 220 kV Therubali - Bhanjanagar - I | 0.34514 | 0.061806 | 0.40694 | 99.78% | 1900-01-01 01:18 | 0.24861 | 1900-01-01 07:16 | 98.74% | 0.65903 | 0.042361 | 0.70139 | 99.62%
12 | 220 kV Therubali - Bhanjanagar - II | 0.38958 | 0.16806 | 0.55764 | 99.69% | 1900-01-05 | 1900-01-01 09:12 | 1900-01-07 09:12 | 95.41% | 0.90347 | 0.11597 | 1899-12-31 00:28 | 99.44%
13 | 220 kV Therubali - Indravati - I | 0.82153 | 0.14167 | 0.96319 | 99.47% | 0.10556 | 0.41944 | 0.525 | 99.71% | 1900-01-02 04:42 | 1899-12-31 19:43 | 1900-01-04 00:25 | 97.25%
14 | 220 kV Therubali - Indravati - II | 0.91736 | 1899-12-31 05:37 | 1900-01-01 03:38 | 98.82% | 1899-12-31 06:36 | 1900-01-01 16:33 | 1900-01-02 23:09 | 97.83% | 1900-01-01 20:08 | 0.038194 | 1900-01-01 21:03 | 98.42%
15 | 220 kV Therubali - Indravati - III | 1899-12-31 16:13 | 0.19583 | 1899-12-31 20:55 | 98.97% | 1900-01-02 07:09 | 1899-12-31 11:52 | 1900-01-03 19:01 | 97.37% | 1900-01-13 10:51 | 0.62778 | 1900-01-14 01:55 | 91.74%
16 | 220 kV Therubali - Indravati - IV | 1899-12-31 15:53 | 1899-12-31 12:59 | 1900-01-02 04:52 | 98.25% | 0 | 1899-12-31 16:22 | 1899-12-31 16:22 | 99.08% | 0.45278 | 0.49792 | 0.95069 | 99.48%
17 | 220 kV Therubali - Narendrapur - I | 0.43681 | 0.026389 | 0.46319 | 99.75% | 1900-02-23 12:14 | 0.011806 | 1900-02-23 12:31 | 69.58% | 1900-01-02 19:39 | 0.23542 | 1900-01-03 01:18 | 97.78%
18 | 220 kV Therubali - Narendrapur - II | 0.22153 | 0.89722 | 1899-12-31 02:51 | 99.39% | 1900-02-24 06:29 | 0.00625 | 1900-02-24 06:38 | 69.16% | 0.58611 | 0.15208 | 0.73819 | 99.6%
19 | 132 kV Jayanagar - Rayagada | 1900-01-06 04:24 | 1899-12-31 18:04 | 1900-01-07 22:28 | 95.1% | 1899-12-31 23:37 | 0.46736 | 1900-01-01 10:50 | 98.66% | 0.66806 | 0.031944 | 0.7 | 99.62%
20 | 132 kV Jayanagar - Sunabeda | 1899-12-31 04:59 | 0.085417 | 1899-12-31 07:02 | 99.29% | 1900-01-11 09:22 | 0.0097222 | 1900-01-11 09:36 | 93.21% | 0.45625 | 0.43472 | 0.89097 | 99.51%
21 | 132 kV Jayanagar - Damonjodi | 1899-12-31 11:32 | 0.093056 | 1899-12-31 13:46 | 99.14% | 0.54931 | 0.016667 | 0.56597 | 99.69% | 0.20069 | 0.10139 | 0.30208 | 99.83%
22 | 132 kV Machkund - Jayanagar |  | 1900-01-03 17:09 | 1900-01-03 17:09 | 97.42% | 1899-12-31 01:34 | 1900-01-07 23:05 | 1900-01-09 00:39 | 94.51% | 0.16736 | 1900-01-07 05:39 | 1900-01-07 09:40 | 95.4%
23 | 132 kV Jayanagar -Tentulikhunti | 0.3375 | 0.095139 | 0.43264 | 99.76% | 1899-12-31 02:04 | 0.046528 | 1899-12-31 03:11 | 99.38% | 0.71597 | 0.29653 | 1899-12-31 00:18 | 99.45%
24 | 132 kV Jayanagar - Traction | 0.14236 | 0.38472 | 0.52708 | 99.71% | 0.76806 | 0.065278 | 0.83333 | 99.54% | 1899-12-31 06:05 | 0.29097 | 1899-12-31 13:04 | 99.15%
25 | 132 kV Sunabeda - Damonjodi | 0.88958 |  | 0.88958 | 99.51% | 1899-12-31 04:46 | 0.09375 | 1899-12-31 07:01 | 99.29% | 0.34375 |  | 0.34375 | 99.81%
26 | 132kV HAL Feeder | 0.34306 |  | 0.34306 | 99.81% |  | 0.080556 | 0.080556 | 99.96% |  | 0.040972 | 0.040972 | 99.98%
27 | 132 kV Therubali - Rayagada | 0.57083 | 0.72292 | 1899-12-31 07:03 | 99.29% | 1899-12-31 12:05 | 0.72431 | 1900-01-01 05:28 | 98.78% | 0.97708 | 0.66806 | 1899-12-31 15:29 | 99.1%
28 | 132 kV Therubali - IMFA | 0.25764 | 0.0048611 | 0.2625 | 99.86% | 0.27153 | 0.065278 | 0.33681 | 99.82% | 0.71597 | 0 | 0.71597 | 99.61%
29 | 132 kV Therubali - J.K.Paper | 0.40764 | 0.0048611 | 0.4125 | 99.77% | 0.95556 | 0.0020833 | 0.95764 | 99.48% | 1899-12-31 05:01 | 0 | 1899-12-31 05:01 | 99.34%
30 | 132 kV Therubali - Kesinga | 0.93403 | 0.078472 | 1899-12-31 00:18 | 99.45% | 1899-12-31 08:48 | 0.60903 | 1899-12-31 23:25 | 98.92% | 0.43681 | 0.82847 | 1899-12-31 06:22 | 99.31%
31 | 132 kV Akhusingi - Parlakhemundi |  |  | 0 | 100% | 1899-12-31 12:45 |  | 1899-12-31 12:45 | 99.16% |  | 3:20 | 0.13889 | 99.92%
32 | 132 kV Rayagada - Akhusingh |  |  | 0 | 100% | 0.37153 |  | 0.37153 | 99.8% |  | 1899-12-31 08:33 | 1899-12-31 08:33 | 99.26%
33 | 132 kV Tentulikhunti-Dabugaon Line | 0.55625 | 1899-12-31 02:41 | 1899-12-31 16:02 | 99.09% | 0.92431 | 0.0034722 | 0.92778 | 99.49% | 0.16319 | 0.032639 | 0.19583 | 99.89%
34 | 132 kV Dabugaon-Umerkote Line | 0.51111 | 1899-12-31 04:13 | 1899-12-31 16:29 | 99.08% | 1899-12-31 07:12 | 0.0020833 | 1899-12-31 07:15 | 99.29% | 0.35069 | 0.04375 | 0.39444 | 99.78%
35 | 220kv incomer from OHPC Balimela | 1900-01-05 15:30 | 0.14375 | 1900-01-05 18:57 | 96.28% | 0.51667 | 0.0020833 | 0.51875 | 99.72% | 0.39722 | 0.063194 | 0.46042 | 99.75%
36 | 220 KV Malkangiri O/G Feeder | 0.026389 |  | 0.026389 | 99.99% | 0.44861 |  | 0.44861 | 99.75% | 0.13611 |  | 0.13611 | 99.93%