## P-1
Licencee WESCO UTILITY | [5 empty] | OERC | FORM P.1
Voltage Fluctuation
Period | First six months of the previous year |  | Last six months of the previous year |  | First six months of the current year |  | Corrective
| Percentage of time |  | Percentage of time |  | Percentage of time |  | measures proposed
Substation wise | when voltage was |  | when voltage was |  | when voltage was
At 33 kv side of transformer | below | above | below | above | below | above
(incoming point of 33 kv bus) | (9%) | (6%) | (9%) | (6%) | (9%) | (6%)
Nuapada, Padampur, Paikmal, Jharbandha, Melchamunda, Kurumpuri,, Badkuturu, Naktiguda, Narla, Biswanathpur, Rampur, Madanpur | 8.9 | 0 | 9 | 0 | 8.7 | 0
pragnya

## P-2
Licencee WESCO UTILITY | [11 empty] | OERC | FORM P-2
Electrical Accidents
Items | Period
| First six months of the previous year |  |  |  | Last six months of the previous year |  |  |  | First six months of the current year |  |  |  | Corrective measures
| No. of Accidents |  |  |  | No. of Accidents |  |  |  | No. of Accidents |  |  |  | proposed to avoid
| FATAL |  | NON FATAL |  | FATAL |  | NON FATAL |  | FATAL |  | NON FATAL |  | accidents
| HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL | HUMAN | ANIMAL
| 5 | 3 | 0 | 0 | 5 | 2 | 0 | 0 | 4 | 8 | 3 | 0
(1) 33KV
(2)11KV
(3) 400/230V
(4)DC SUPPLY
pragnya

## P-3
Licencee WESCO UTILITY | [8 empty] | OERC | FORM P.3
Release of Service Connection
(LT SUPPLY) |  |  |  |  | (LT SUPPLY)
Period --> | First six months of the previous year |  |  | Last six months of the previous year |  |  | First six months of the current year
| No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | No. of valid requisitions for service connection for power supply | No. of service connection provided within 30 days of valid requisition for power supply | No. of service connection provided after 30 days of valid requisition for power supply | Reason for delay
| 50421 | 50421 | 0 | 63021 | 63021 | 0 | 181045 | 181045 | 0

## P-4
Licencee WESCO UTILITY | [8 empty] | OERC | FORM P-4
STATUS OF HT CONNECTIONS
Period | First six months of the previous year(April,17 to Sep'17) |  |  | Last six months of the previous year(Oct'17 to Mar'18) |  |  | First six months of the current year(Apr'18 to Sep'18)
| No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | No. of valid requisitions for HT connection for power supply | No. of connections provided within 180 days of valid requisition for power supply | No. of connections provided after 180 days of valid requisition for power supply | Reason for delay
| 32 | 32 | 0 | 41 | 41 | 0 | 39 | 39 | 0

## P-5
| Licencee WESCO UTILITY | [5 empty] | OERC | FORM P-5
Abstract of outages due to trippings of HT Feeders
EXCLUDING THE INTERUPTIONS DUE TO EHT FAILURE/GRID DISTURBANCES
1 | 132/33kv S/S (S/S Wise) | First six months of the previous year |  | Last six months of the previous year |  | First six months of the current year |  | Steps proposed to
|  | No. of | Duration of | No. of | Duration of | No. of | Duration of | reduce feeder trippings
|  | trippings | trippings | trippings | trippings | trippings | trippings
a | ALL 33 KV Incoming Feeders | 9306 | 1236 | 9298 | 937 | 10124 | 1176
b | ALL 11 KV outgoing Feeders | 29681 | 5237 | 35952 | 5788 | 64065 | 11813
c | Power Transformer - I
i) High voltage side
ii) Low voltage side
d | Power Transformer - II
i) High voltage side
ii) Low voltage side
Repeat for all the transformers
2 | Repeat for all the 33/11KV S/S
| ALL ORISSA PICTURE |  | 8.5622 |  | 8.8955 |  | 15.1812
Average interruption/33kv feeders
= Total duration of trippings
at 33 kv/total no. 33 kv feeder
Average interruption/11 kv feeders
= Total duration of trippings at
11kv/Total no of 11kv feeders.
pragnya

## P-6
| Licencee WESCO UTILITY |  |  |  | OERC | FORM P.6
Failure of Transformer (Nos.)
| Period | First six months of the previous year | Last six months of the previous year | First six months of the current year | Reason of Failure | Steps taken to reduce the failure rate
Items
1 | Power Transformers (HT) | 22 | 16 | 19
2 | Distribution Transformers | 2026 | 1407 | 1517
pragnya

## P-7
Licencee WESCO UTILITY | [11 empty] | OERC | FORM P.7
RELEASE OF CUSTOMER BILLS
Period | previous year | [5 empty] | First six months of the current year | [5 empty] | Action proposed to be taken for
| Total no of Consumer | No. of customer billed through Spot Billing | No. of customer billed through Other means | No. of customer bills served within billing period | No. of customer bills served after billing period | No. of Money receipst Generated | Total no of Consumer | No. of customer billed through Spot Billing | No. of customer billed through Other means | No. of customer bills served within billing period | No. of customer bills served after billing period | No. of Money receipst Generated | prompt release of customer bills
April | 1263208 | 861406 | 48972 | 910378 |  | 260711 | 1339067 | 923014 | 60105 | 983119 |  | 273728
May | 1278593 | 864021 | 49899 | 913920 |  | 342605 | 1348335 | 924398 | 61185 | 985583 |  | 321575
June | 1276998 | 874393 | 50613 | 925006 |  | 352242 | 1355421 | 933735 | 61683 | 995418 |  | 301497
July | 1281394 | 875920 | 52269 | 928189 |  | 369609 | 1363893 | 934852 | 63155 | 998007 |  | 325491
August | 1288063 | 885592 | 53582 | 939174 |  | 357457 | 1373775 | 945738 | 64349 | 1010087 |  | 313262
September | 1297431 | 887913 | 54557 | 942470 |  | 357106 | 1378847 | 941782 | 65038 | 1006820 |  | 319094
October | 1304306 | 896760 | 55306 | 952066 |  | 354055
November | 1306915 | 896280 | 56224 | 952504 |  | 357256
December | 1312137 | 904823 | 56943 | 961766 |  | 382489
January | 1318774 | 904661 | 57850 | 962511 |  | 387672
February | 1327523 | 915811 | 58612 | 974423 |  | 338188
March | 1333168 | 913106 | 59181 | 972287 |  | 592910
Avg | 1299042.5 | 890057.1667 | 54500.6667 | 944557.8333 |  | 371025 | 1359889.6667 | 933919.8333 | 62585.8333 | 996505.6667 |  | 309107.8333
MIS

## P-10
INFORMATION FOR TIME OF DAY TARIFF
| (Period of 7 months) |  |  |  | OERC FORM P-10
Licencee: WESCO UTILITY
Name of Month | Monthly Maximum System Demand in MVA | Date and Time of Occurrence | Monthly Minimum System Demand in MVA | Date and Time of Occurrence | Monthly Average System Demand in MW
2018-04-09 | 1216.878 | 22.04.2018 19:30 | DATA NOT PROVIDED BY OPTCL |  | 969.3653
2018-05-10 | 1183.897 | 24.05.2018 20:15 |  |  | 1101.5184
2018-06-10 | 1095.274 | 1.06.2018 16:30 |  |  | 1085.1238
2018-07-11 | 1053.773 | 28.07.2018 16:45 |  |  | 1045.408
2018-08-11 | 1005.507 | 9.08.2018 18:45 |  |  | 992
2018-09-11 | 1083.826 | 30.09.2018 10:45 |  |  | 1020.7114
2018-10-12 | 1087.011 | 5.10.2018 11:00 |  |  | 1008.1032

## P-12
| Licencee WESCO UTILITY |  | OERC | FORM P.12
Interruption
Major Disturbances Due to EHT Failure
|  | First six months of | Last six months of | First six months of
|  | the previous year | the previous year | the current year
Period
1 | No. of occurances | 4 | 3 | 4
2 | Total duration of interruption | 3.5 | 3 | 3.7
3 | Estimated unserved energy | 0.3 | 0.21 | 0.36
due to such interruptions
Example :-
Load prior to the disturbance x No.
of hours of interruption
4 | No. of occasions when Distco
system was completely isolated
From the Grid due to system
disturbance affecting power
supply

## P-13
WESCO UTILITY
METERING REPORT FOR THE PERIOD APR-18 TO SEP-18
CATEGORY OF CONSUMER | CONSUMERS AT THE START OF THE PERIOD | ADDITION OF NEW CONSUMERS DURING THE PERIOD | WITHDRAWAL OF CONSUMERS DURING THE PERIOD | CONSUMERS AT THE END OF THE PERIOD | METERS AT THE START OF THE PERIOD | METER INSTALLED BY WESCO | METER INSTALLED BY CONSUMERS | METER INSTALLED DURING THE PERIOD | METERS AT THE END OF THE PERIOD | UNMETERED CONSUMERS AT THE START OF THE PERIOD | UNMETERED CONSUMERS AT THE END OF THE PERIOD | DEFECTIVE METERS AT THE START OF THE PERIOD | REPAIRED/REPLACED | REPORTED DEFECTIVE | DEFECTIVE METERS AT THE END OF THE PERIOD | NO.OF METERS INSTALLED DURING THE PERIOD | Defective Meter (At start) | Def Meter Repaired | Meters Reported Defective | Def. Meters (at End) | Total Meters Installed | No. of Working Meters (at End) | % of Working Meter to Total Meter | Working meter % of Total Consumers | Total Meter as % of total Consumers | METER WITHDRAWN DURING THE PERIOD
Domestic | 1111819 | 124092 | 0 | 1235911 | 1077030 | 9952 | 65292 | 75244 | 1146383 | 34789 | 89533 | 118718 | 12358 | 39577 | 145937 | 87602 | 100696.7711 |  |  |  |  | 1000446 | 87.27% | 80.95% | 92.76% | 5891 | 5891
Kutir Jyoti | 191626 | 22393 | 0 | 214019 | 191625 | 1334 | 20485 | 21819 | 213444 | 1 | 575 | 262818 | 75 | 12770 | 275513 | 21894 | 190104.4252 |  |  |  |  | -62069 | -29.08% | -29% | 99.73% | 0
Others | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total Domestic | 1303445 | 146485 | 0 | 1449930 | 1268655 | 11286 | 85777 | 97063 | 1359827 | 34790 | 90108 | 381536 | 12433 | 52347 | 421450 | 109496 | 290801.1963 | 0 | 0 | 0 | 0 | 938377 | 69.01% | 64.72% | 93.79% | 5891
Gen. Purpose<110 kva | 72891 | 2388 | 0 | 75279 | 72889 | 1157 | 1185 | 2342 | 75231 | 0 | 48 | 12 | 1423 | 1420 | 9 | 3765 | 6.21 |  |  |  |  | 75222 | 99.99% | 99.92% | 99.94% | 0
Irrigation, Pumping & Agriculture | 40935 | 4521 | 0 | 45456 | 34290 | 849 | 268 | 1117 | 35407 | 6645 | 10049 | 17392 | 55 |  | 17337 | 1172 | 11962.5586 |  |  |  |  | 18070 | 51.04% | 39.75% | 77.89% | 0
Allied Agricultural Activities | 65 | 0 | 1 | 64 | 65 | 0 | 0 | 0 | 64 | 0 | 0 | 0 | 3 | 3 | 0 | 3 | [5 empty] | 64 | 100% | 100% | 100% | 1
Allied Agro-Industrial Activities | 187 | 13 | 0 | 200 | 174 | 7 | 2 | 9 | 183 | 13 | 17 | 2 | 5 | 3 | 0 | 14 | [5 empty] | 183 | 100% | 91.5% | 91.5% | 0
Public Light | 1070 | 65 | 0 | 1135 | 1070 | 16 | 49 | 65 | 1135 | 0 | 0 | 12 | 6 |  | 6 | 71 | 4.14 |  |  |  |  | 1129 | 99.47% | 99.47% | 100% | 0
LT Ind.(S) Suply | 3907 | 0 | 24 | 3883 | 3907 | 0 | 0 | 0 | 3883 | 0 | 0 | 2 | 76 | 74 | 0 | 76 | 0 |  |  |  |  | 3883 | 100% | 100% | 100% | 24
LT Ind.(M) Suply | 1374 | 5 | 0 | 1379 | 1374 | 1 | 4 | 5 | 1379 | 0 | 0 | 0 | 52 | 52 | 0 | 57 | 0 |  |  |  |  | 1379 | 100% | 100% | 100% | 0
Specified Public Purpose | 5791 | 117 | 0 | 5908 | 5791 | 64 | 53 | 117 | 5908 | 0 | 0 | 0 | 108 | 108 | 0 | 225 | 0 |  |  |  |  | 5908 | 100% | 100% | 100% | 0
Public Water Work & Sewerage Pumping | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
<= 110 kva | 3229 | 100 | 0 | 3329 | 3186 | 125 | 18 | 143 | 3329 | 43 | 0 | 0 | 25 | 25 | 0 | 168 | 0 |  |  |  |  | 3329 | 100% | 100% | 100% | 0
=> 110 kva | 10 | 0 | 0 | 10 | 10 | 0 | 0 | 0 | 10 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 10 | 100% | 100% | 100% | 0
Total Public Water Works | 3239 | 100 | 0 | 3339 | 3196 | 125 | 18 | 143 | 3339 | 43 | 0 | 0 | 25 | 25 | 0 | 168 | 0 | 0 | 0 | 0 | 0 | 3339 | 100% | 100% | 100% | 0
General Purpose >= 110 kva | 3 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 3 | 100% | 100% | 100% | 0
Large Industry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total LT | 1432907 | 153694 | 25 | 1586576 | 1391414 | 13505 | 87356 | 100861 | 1486359 | 41491 | 100222 | 398956 | 14186 | 54032 | 438802 | 115047 | 302774.105 | 0 | 0 | 0 | 0 | 1047557 | 70.48% | 66.03% | 93.68% | 5916
Bulk Supply Domestic | 28 | 0 | 0 | 28 | 28 |  |  | 0 | 28 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 |  |  |  |  | 28 | 100% | 100% | 100% | 0
Irrigation | 8 | 7 | 0 | 15 | 7 | 3 |  | 3 | 10 | 1 | 0 | 0 | 9 | 9 | 0 | 12 | 0 |  |  |  |  | 10 | 100% | 66.67% | 66.67% | 0
Allied Agricultural Activities | 10 | 0 | 0 | 10 | 9 |  |  | 0 | 9 | 1 | 0 | 0 |  |  | 0 | 0 | [5 empty] | 9 | 100% | 90% | 90% | 0
Allied Agro-Industrial Activities | 2 | 1 | 0 | 3 | 4 |  |  | 0 | 4 | 0 | 0 | 0 |  |  | 0 | 0 | [5 empty] | 4 | 100% | 133.3% | 133.3% | 0
Specified Public Purpose | 39 | 1 | 0 | 40 | 39 | 1 |  | 1 | 40 | 0 | 0 | 0 | 4 | 4 | 0 | 5 | 0 |  |  |  |  | 40 | 100% | 100% | 100% | 0
Gen. Purpose<110 kva | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
HT Industrial (M) Supply | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
General Purpose >= 110 Kva | 114 | 0 | 0 | 114 | 114 | 0 |  | 0 | 114 | 0 | 0 | 0 | 13 | 13 | 0 | 13 | 0 |  |  |  |  | 114 | 100% | 100% | 100% | 0
Public Water Work & Sewerage Pumping | 15 | 1 | 0 | 16 | 15 | 1 |  | 1 | 16 | 0 | 0 | 0 |  |  | 0 | 1 | 0 |  |  |  |  | 16 | 100% | 100% | 100% | 0
Large Industry | 582 | 21 | 0 | 603 | 582 | 21 |  | 21 | 603 | 0 | 0 | 0 | 56 | 56 | 0 | 77 | 0 |  |  |  |  | 603 | 100% | 100% | 100% | 0
Power Intensive Industry | 17 | 0 | 0 | 17 | 17 |  |  | 0 | 17 | 0 | 0 | 0 | 2 | 2 | 0 | 2 | 0 |  |  |  |  | 17 | 100% | 100% | 100% | 0
Mini Steel Plant | 3 | 0 | 0 | 3 | 3 |  |  | 0 | 3 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 100% | 100% | 100% | 0
Railway Traction | 1 | 0 | 0 | 1 | 1 |  |  | 0 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 1 | 100% | 100% | 100% | 0
Emergency Supply to CPP | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Colony Consumption | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total HT | 819 | 31 | 0 | 850 | 819 | 26 | 0 | 26 | 845 | 2 | 0 | 0 | 85 | 85 | 0 | 111 | 0 | 0 | 0 | 0 | 0 | 845 | 100% | 99.41% | 99.41% | 0
General Purpose | 1 | 1 | 0 | 2 | 1 | 1 |  | 1 | 2 | 0 | 0 | 0 |  |  | 0 | 1 | 0 |  |  |  |  | 2 | 100% | 100% | 100% | 0
Large Industry | 10 | 0 | 0 | 10 | 10 |  |  | 0 | 10 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 |  |  |  |  | 10 | 100% | 100% | 100% | 0
Railway Traction | 8 | 2 | 0 | 10 | 8 | 2 |  | 2 | 10 | 0 | 0 | 0 |  |  | 0 | 2 | 0 |  |  |  |  | 10 | 100% | 100% | 100% | 0
Heavy Industry | 3 | 0 | 1 | 2 | 3 |  |  | 0 | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 2 | 100% | 100% | 100% | 1
Power Intensive Industry | 5 | 0 | 0 | 5 | 5 |  |  | 0 | 5 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 5 | 100% | 100% | 100% | 0
Mini Steel Plant | 1 | 0 | 0 | 1 | 1 |  |  | 0 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 100% | 100% | 100% | 0
Energy Supply to CPP | 2 | 0 | 0 | 2 | 2 |  |  | 0 | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 2 | 100% | 100% | 100% | 0
Colony Consumption | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0
Total EHT | 30 | 3 | 1 | 32 | 30 | 3 | 0 | 3 | 32 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 32 | 100% | 100% | 100% | 1
Grand Total | 1433756 | 153728 | 26 | 1587458 | 1392263 | 13534 | 87356 | 100890 | 1487236 | 41493 | 100222 | 398956 | 14272 | 54118 | 438802 | 115162 | 302774.105 | 0 | 0 | 0 | 0 | 1048434 | 70.5% | 66.04% | 93.69% | 5917
|  |  |  | 1587458 | 1392263 |  |  | 100890 | 1487236 | 41493 | 100222 | 398956 | 14272 |  | 438802 | 115162 | [5 empty] | 1048434
|  |  |  | 0 |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | -302774.105 | 0 | 0 | 0 | 0 | 0

## P-14
Licencee : WESCO UTILITY |  |  |  |  | OERC FORM P-14
MEASURES FOR REDUCTION OF T&D LOSS
Sl.No. | Subject | Unit | Previous Year (17-18) | Current Year (18-19) | Ensuing Year (19-20)
1 | Renovation & Investment
a | Instalation of LT less transformers | Nos | 150 | 50 | 110
| Rate | Rs lacs | 2.15 | 2.15 | 2.25
| cost | Rs lacs | 322.5 | 107.5 | 247.5
| % Reduction in T&D loss for above | % | 0.08816% | 0.005944% | 0.02683%
b | Re-conductoring
I | 33kv | Kms | 22 | 10 | 12
| Rate | Rs lacs | 12 | 12 | 12.5
| cost | Rs lacs | 264 | 120 | 150
| 33kv New | Kms
| Rate | Rs lacs | 7.5 | 7.5 | 7.5
| cost | Rs lacs | 0 | 0 | 0
| % Reduction in T&D loss for above | % | 0.07217% | 0.006635% | 0.01626%
ii | 11kv | Kms | 750 | 300 | 700
| Rate | Rs lacs | 6.75 | 6.75 | 7.25
| cost | Rs lacs | 5062.5 | 2025 | 5075
| 11kv New | Kms
| Rate | Rs lacs | 4.01 | 4.01 | 4.01
| cost | Rs lacs | 0 | 0 | 0
| % Reduction in T&D loss for above | % | 1.384% | 0.112% | 0.5501%
iii | LT AB Cable | Kms
| Rate | Rs lacs
| cost | Rs lacs
iii | LT New | Kms | 1000 | 450 | 900
| Rate | Rs lacs | 5 | 5 | 5.5
| cost | Rs lacs | 5000 | 2250 | 4950
| % Reduction in T&D loss for above | % | 1.367% | 0.1244% | 0.5366%
c | Upgradation of transformers
I | 33/11kv | No.s | 8 | 5 | 8
| Rate | Rs lacs | 50 | 50 | 50.5
| cost | Rs lacs | 400 | 250 | 404
| % Reduction in T&D loss for above | % | 0.1093% | 0.01382% | 0.04379%
ii | 33/.4kv | No.s | 0 | 0 | 0
| Rate | Rs lacs
| cost | Rs lacs
| % Reduction in T&D loss for above | %
iii | 11/.4kv | No.s | 160 | 100 | 250
| Rate | Rs lacs | 2.45 | 2.45 | 2.75
| cost | Rs lacs | 392 | 245 | 687.5
| % Reduction in T&D loss for above | % | 0.1072% | 0.01355% | 0.07452%
d | Installation of new transformers
i | 33/11kv | No.s | 8 | 5 | 7
| Rate | Rs lacs | 265 | 275 | 275
| cost | Rs lacs | 2120 | 1375 | 1925
| % Reduction in T&D loss for above | % | 0.5795% | 0.07603% | 0.2087%
ii | 33/.4kv | No.s | 0 | 0 | 0
| Rate | Rs lacs | 4.5 | 4.5 | 4.5
| cost | Rs lacs | 0 | 0 | 0
| % Reduction in T&D loss for above | % | 0% | 0% | 0%
iii | 11/.4kv | No.s | 750 | 450 | 800
| Rate | Rs lacs | 4 | 4 | 4.5
| cost | Rs lacs | 3000 | 2500 | 3000
| % Reduction in T&D loss for above | % | 0.8201% | 0.1382% | 0.3252%
TOTAL OF SL.1
| Cost |  | 16561 | 8872.5 | 16439
| % Reduction in T&D loss for above | % | 4.527% | 0.4906% | 1.782%
2 | Detection of un-authorised abstraction of electricity
a | No. of cases filed | Nos | 100 | 130 | 120
b | No of cases prosecuted | Nos
c | Any other - Metering cubicle | Nos | 25 | 15 | 30
| Cost | Rs lacs | 31.25 | 15.75 | 31.5
| - Meter Replacement(1-Ph.) | Nos | 71400 | 30000 | 50000
| Cost | Rs lacs | 892.5 | 375 | 725
| - Meter Replacement(3-Ph.) | Nos | 2500 | 1000 | 2500
| Cost | Rs lacs | 112.5 | 45 | 112.5 | 2936.25 | 1435.75 | 3119
| AB Cable | Kms | 475 | 250 | 500
| Cost | Rs lacs | 1900 | 1000 | 2250
| Total Cost | Rs lacs | 19497.25 | 10308.25 | 19558
| % Reduction in T&D loss for Sl 2 | % | 0.3925% | 0.07939% | 0.3381%
| % Reduction in T&D loss for Sl 1& 2 | % | 5.33% | 0.57% | 2.12%

## P-15
| Licencee WESCO UTILITY |  |  | OERC FORM P.15
CONSUMER COMPLAINT
SL.NO. | TYPE OF COMPLAINT
|  | Ist.Six months of previous year |  | 2nd.Six months of previous year |  | Ist.Six months of current year
|  | CONSUMER COMPLAINT |  | CONSUMER COMPLAINT |  | CONSUMER COMPLAINT
|  | Received | Resolved | Received | Resolved | Received | Resolved
1 | Interruption due to problem in LT supply
| (Fuse off call at aerial cutouts/Sealable cutouts,snapping of wires,falling of trees on overhead lines,fire due to short circuit of LT lines consequent to loose spans and touching of tree branches) | 17764 | 17764 | 16584 | 16584 | 17954 | 17594
2 | Problems in metering and meter reading
| (Delay in replacement of non-recording meters, replacement of burnt out meter, replacement of meters recording excess consumption due to creeping, breakage of seals provided to the meter, mistakes in totaling by the MR while issuing the bills, wrong noting of "door lock" by MR, wrong calculation by the MR while issuing the bills and use of wrong meter constant, wrong recording of reading by MR) | 17189 | 17133 | 15942 | 15879 | 16487 | 16376
3 | Errors in billing
| (Excessive billing, amount already paid by consumer shown as arrears, wrong application of tariff, posting of wrong initial reading, showing the short claims in the monthly bill without furnishing the details to the consumer, wrong postings, i.e. postings of receipts to wrong RR nos., issue of bills leaving many blank columns in the printed bill form, improper billing of non-recording period of meters) | 2273 | 2273 | 2126 | 2126 | 2817 | 2817
4 | Any other

## P-16
PERFORMANCE OF WESCO
ITEMS | 2003-04-03 | 2003-05-03 | 2003-06-03 | 2003-07-03 | 2003-08-03 | 2003-09-03 | 2003-10-03 |  |  |  | 2003-11-03 | 2003-12-03 |  | UPTO DEC-03 |  | UPTO SEP-03 | UPTO OCT |  | Upto Nov-03
BULK SUPPLY
DEMAND (MVA) | [13 empty] | #DIV/0! |  | 582 | 584 |  | 591
ENERGY INPUT (MU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
BST BILL OF GRIDCO (Cr.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
BST BILL PER UNIT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
SALE TO CONSUMERS (MU)
EHT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
HT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0
LT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0
TOTAL SALE (MU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
LOSS (%)
HT (15% LOSS) | 15% | 15% | 15% | 15% | 15% | 15% | 15% |  |  |  | 15% | 15% |  | 15% |  | 15% | 15% |  | 8%
LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 60.24% | 60.53% |  | 60.55%
HT & LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 52.69% | 52.95% |  | 52.95%
OVERALL (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 36.34% | 36.48% |  | 36.36%
BILLING EFFICIENCY (%)
LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 39.76% | 39.47% |  | 39.45%
HT & LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 47.31% | 47.05% |  | 47.05%
OVERALL (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 63.66% | 63.52% |  | 63.64%
BILLING TO CONSUMERS (Rs. Cr.)
EHT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0
HT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0
LT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
BILLING TO GOVT. DEPTT. & PSU | [13 empty] | 0 |  | 0 | 0 |  | 0
COLLECTION RECEIVED (Rs. Cr.)
EHT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
HT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
LT | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0
COLL. FROM GOVT. DEPTT. & PSU | [13 empty] | 0 |  | 0 | 0 |  | 0
COLLECTION PER UNIT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
COLLECTION EFFICIENCY (%)
EHT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
HT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
HT & LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
OVERALL (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
COLLECTION EFFICIENCY EXCL. GOVT. &PSU DUES (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
A. T. & C. LOSS (%)
LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
HT & LT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
OVERALL (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0!
WESCO | [43 empty] | OERC Form P-16
CONSUMER STATUS | AS ON 31st July-04 | AS ON 30th SEP-04 | AS ON 31st Mar-05 | AS ON 30th Jun-05 | AS ON 30th Sep-05 | AS ON 31st Dec-05 | AS ON 31st Mar-06 | AS ON 31st Mar-06 | AS ON 31st July-06 | AS ON 30th Sep-06 | AS ON 31st Mar-07 | AS ON 30th Jun-07 | AS ON 30th Sep-07 | AS ON 30th Mar-08 | AS ON 30th Jun-08 | AS ON 30th Sep-08 | AS ON 31st Mar-09 | AS ON 30th Sep-09 | AS ON 31st Mar-10 | AS ON 30th Sep-10 | AS ON 31st Mar-11 | AS ON 30th Sep-11 | AS ON 31st Mar-12 | AS ON 31st Mar-12 | AS ON 30th Sep-12 | AS ON 31st Mar-13 | AS ON 31st Mar-13 | AS ON 30th Sep-13 | AS ON 31st Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18 | PARTICULARS | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
No. of Circles | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | Consumer (in nos.) | 535477 | 569148 | 632622 | 745618 | 915109 | 1031529 | 1176506 | 1257090 | 1333172 | 1433756
No. of Divisions | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 15 | 15 | 15 | 16 | 16 | 16 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | New Connection (in nos.) | 0 | 0 | 63474 | 123244 | 178701 | 145091 | 166203 | 108245 | 90379 | 113727
No. of Subdivisions | 35 | 35 | 41 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | New connection to Consumer ratio (in %) | 0 | 0 | 0.10033 | 0.16529 | 0.19528 | 0.14066 | 0.14127 | 0.086108 | 0.067792 | 0.079321
No. of Sections | 135 | 135 | 150 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | 202 | Total HT length in circuit KM. | 24844.84 | 25424.702 | 26710.913 | 27203.179 | 28009.6577 | 28143.524 | 32439.095 | 33537.771 | 34687.5483 | 37191.225
No of Energy Police Stations | [20 empty] | 1 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | Total LT length in circuit KM. | 16744.76 | 16858.925 | 17162.076 | 17275.225 | 17745.4271 | 19299.65 | 23280.978 | 27837.334 | 29885.398 | 33649.2967
No of Special Courts | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HT to LT length ratio (in %) | 0.67397 | 0.66309 | 0.64251 | 0.63504 | 0.63355 | 0.68576 | 0.71768 | 0.83003 | 0.86156 | 0.90476
No. of Consumers | [42 empty] | 0 | 0 | Total LT length in circuit KM. | 16744.76 | 16858.925 | 17162.076 | 17275.225 | 17745.4271 | 19299.65 | 23280.978 | 27837.334 | 29885.398 | 33649.2967
EHT | 14 | 14 | 15 | 15 | 16 | 16 | 16 | 16 | 16 | 17 | 18 | 18 | 18 | 21 | 21 | 21 | 21 | 22 | 23 | 23 | 23 | 24 | 24 | 24 | 26 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 30 | 31 | 31 | 30 | 28 | 28 | 28 | 30 | 30 | 32 | 32 | Total length of AB Cable in circuit KM. | 12361.162 | 12389.992 | 12401.642 | 12432.642 | 12689.642 | 12837.626 | 13127.697 | 13949.956 | 14415.206 | 14891.176
HT | 328 | 277 | 387 | 434 | 430 | 450 | 470 | 470 | 488 | 490 | 503 | 517 | 527 | 532 | 539 | 548 | 555 | 565 | 584 | 619 | 624 | 633 | 646 | 646 | 660 | 649 | 649 | 652 | 669 | 669 | 682 | 706 | 706 | 717 | 731 | 731 | 745 | 773 | 773 | 793 | 819 | 819 | 837 | 850 | AB cable to LT length ratio (in %) | 0.73821 | 0.73492 | 0.72262 | 0.71968 | 0.71509 | 0.66517 | 0.56388 | 0.50112 | 0.48235 | 0.44254
LT | 424392 | 443193 | 438570 | 441586 | 443742 | 447170 | 452037 | 452037 | 455123 | 454837 | 465426 | 477826 | 473624 | 498738 | 504070 | 514403 | 534901 | 550969 | 568541 | 587065 | 631975 | 696815 | 744948 | 744948 | 820632 | 914431 | 914431 | 967079 | 1030831 | 1030831 | 1089575 | 1175771 | 1175771 | 1220005 | 1256328 | 1256328 | 1296656 | 1332371 | 1332371 | 1378030 | 1432907 | 1432907 | 1473614 | 1586576 | Total no of 11 kV feeder | 417 | 466 | 491 | 496 | 529 | 545 | 593 | 604 | 608 | 643
Total | 424734 | 443484 | 438972 | 442035 | 444188 | 447636 | 452523 | 452523 | 455627 | 455344 | 465947 | 478361 | 474169 | 499291 | 504630 | 514972 | 535477 | 551556 | 569148 | 587707 | 632622 | 697472 | 745618 | 745618 | 821318 | 915109 | 915109 | 967760 | 1031529 | 1031529 | 1090286 | 1176506 | 1176506 | 1220752 | 1257090 | 1257090 | 1297431 | 1333172 | 1333172 | 1378851 | 1433756 | 1433756 | 1474483 | 1587458 | Total no. Of 11 kV audited feeder | 0 | 0 | 0 | 1 | 18 | 25 | 16 | 447 | 458 | 564
[45 empty] | 11 kV Audited feeder (in %) | 0% | 0% | 0% | 0.2016% | 3.403% | 4.587% | 2.698% | 74.01% | 75.33% | 87.71%
Network System | [19 empty] | AS ON 30th Sep-10 | AS ON 31st Mar-11 | AS ON 30th Sep-11 | AS ON 31st Mar-12 | AS ON 31st Mar-12 | AS ON 30th Sep-12 | AS ON 31st Mar-13 | AS ON 31st Mar-13 | AS ON 30th Sep-13 | AS ON 31st Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18 | Total no of 33 kV feeder | 87 | 85 | 90 | 91 | 99 | 113 | 103 | 106 | 108 | 124
Length of 33 KV lines(km.) | 2438.53 | 2388.995 | 2438.53 | 2422.56 | 2768.44 | 2768.14 | 2795.99 | 2795.99 | 2802.19 | 2802.19 | 2803.82 | 2897.52 | 2897.52 | 2958.81 | 2958.81 | 2954.85 | 2958.37 | 2958.67 | 2686.55 | 2688.55 | 2756.71 | 2957.71 | 2961.21 | 2961.21 | 3178.57 | 3083.77 | 3083.77 | 3003.09 | 3094.47 | 3094.47 | 3404.48 | 3478.635 | 3478.635 | 3536.452 | 3554.07 | 3554.07 | 3611.342 | 3617.872 | 3617.872 | 3651.179 | 3730.702 | 3730.702 | 3730.702 | 3809.181 | Total no. Of 33 kV audited feeder | 0 | 63 | 65 | 65 | 88 | 64 | 20 | 40 | 65 | 91
Length of 11 KV lines(km.) | 18317.976 | 17025.395 | 17570.7 | 17665.88 | 18736.289 | 18738.57 | 18855.172 | 18855.172 | 18892.334 | 18892.334 | 18912.98 | 19412.63 | 19412.63 | 19756.62 | 19853.27 | 20035.45 | 21886.47 | 21961.642 | 22738.152 | 22741.302 | 23954.203 | 24164.868 | 24241.969 | 24241.969 | 24263.649 | 24925.8877 | 24925.8877 | 26071.39 | 25049.054 | 25049.054 | 28956.567 | 28960.46 | 28960.46 | 29180.31 | 29983.701 | 29983.701 | 30570.4323 | 31069.6763 | 31069.6763 | 32526.0143 | 33460.523 | 33460.523 | 33460.523 | 33834.7157 | 33 kV Audited feeder (in %) | 0% | 74.12% | 72.22% | 71.43% | 88.89% | 56.64% | 19.42% | 37.74% | 60.19% | 73.39%
Length of L.T. lines(km.) | 15894.55 | 15894.55 | 15244.47 | 15413.55 | 15610.5 | 15693.41 | 16133.692 | 16133.692 | 16165.864 | 16165.864 | 16202.41 | 16243.82 | 16243.82 | 16647.69 | 16656.15 | 16709.08 | 16744.76 | 16746.62 | 16858.925 | 16885.73 | 17162.076 | 17193.46 | 17275.225 | 17275.225 | 17329.189 | 17745.4271 | 17745.4271 | 17954.18 | 19299.65 | 19299.65 | 19627.31 | 23280.978 | 23280.978 | 24300.13 | 27837.334 | 27837.334 | 28889.033 | 29885.398 | 29885.398 | 31209.5355 | 33379.2967 | 33379.2967 | 33379.2967 | 33823.702 | Total no. Of DTR | 16907 | 18565 | 21461 | 23928 | 25623 | 29456 | 35998 | 38993 | 41437 | 45996
Length of conductor stolen (km.) | 3.56 | 5.34 | 131.58 | 6.8 | 34.745 | 81.1 | 59.95 | 182.595 | 59.22 | 32.56 | 27.06 | 17.5 | 17.5 | 94.84 | 38 | 39 | 19.94 | 1.5 | 1.96 | 0 | 0.8 | 0 | 6.82 | 6.82 | 2.45 | 9.5 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 16.58 | 4.3 | 20.88 | 2 | 24.2 | 26.2 | 0 | 4.5 | 4.5 | 27.5 | 0 | Total no. Of Audited DTR | 0 | 0 | 0 | 64 | 52 | 0 | 25 | 91 | 178 | 345
Cost involved (Cr.) | 0.017 | 0.0255 | 0.08825 | 0.01 | 0.051096 | 0.10543 | 0.089925 | 0.27389 | 0.08883 | 0.04884 | 0.04059 | 0.02625 | 0.02625 | 0.14226 | 0.057 | 0.0585 | 0.02991 | 0.00225 | 0.00294 | 0 | 0.0012 | 0 | 0.01023 | 0.01023 | 0.003675 | 0.01425 | 0.01425 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2061 | 6.2061 | 11.4122 | 1.0931 | 13.2268 | 14.32 | 0 | 13.2268 | 13.2268 | 0.2067 | 0 | % of Audited DTR | 0% | 0% | 0% | 0.2675% | 0.2029% | 0% | 0.06945% | 0.2334% | 0.4296% | 0.7501%
No. of 33 KV Group Breakers Installed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 45 | 45 | 44 | 46 | 46 | 46 | 49 | 49 | 63 | 69 | 69 | 76 | 76 | 76 | 82 | 86 | 86 | 76 | 91 | 91 | 73 | 70 | 70 | 113 | 95 | Overall Distribution Loss (in %) | 33.55% | 35.08% | 38.05% | 38.88% | 38.27% | 36.61% | 35.46% | 33.72% | 31.63% | 25.81%
No. of 33 KV Feeder Breakers Installed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 95 | 95 | 97 | 97 | 97 | 99 | 98 | 98 | 114 | 122 | 122 | 136 | 137 | 137 | 153 | 158 | 158 | 146 | 149 | 149 | 128 | 144 | 144 | 145 | 159 | LT Distribution Loss (in %) | 65.65% | 62.94% | 63.9% | 61.82% | 62.21% | 59.26% | 55.52% | 48.86% | 44.31% | 35.92%
No. of 33 KV Feeder Breakers Required | [27 empty] | 56 | 50 | 50 | 41 | 39 | 252 | 305 | 258 | 258 | 293 | 311 | 311 | 329 | 206 | 206 | 214 | 273 | Overall AT & C Loss (in %) | 36.51% | 36.13% | 42.15% | 40.64% | 41.51% | 41.5% | 39.49% | 37.89% | 36.25% | 33.23%
No. of 11 KV Group Breakers Installed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 185 | 190 | 193 | 195 | 195 | 195 | 195 | 195 | 221 | 235 | 235 | 243 | 239 | 239 | 245 | 253 | 253 | 243 | 249 | 249 | 211 | 192 | 192 | 258 | 228 | LT AT & C Loss (in %) | 74.78% | 71.83% | 73.38% | 65.71% | 69.14% | 70.2% | 67.72% | 63.28% | 58.12% | 54.56%
No. of 11 KV Feeder Breakers Installed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69 | 129 | 142 | 138 | 145 | 145 | 146 | 150 | 150 | 158 | 162 | 162 | 201 | 325 | 325 | 386 | 465 | 465 | 466 | 492 | 492 | 454 | 454 | 454 | 568 | 549 | No. Of consumer interactive programme | 0 | 0 | 0 | 21 | 17 | 23 | 12 | 8 | 12 | 20
No. of 11 KV Feeder Breakers Required | [27 empty] | 262 | 259 | 259 | 213 | 97 | 661 | 716 | 200 | 200 | 263 | 243 | 243 | 247 | 155 | 155 | 192 | 203 | Total no. Of rural consumer | 344183 | 369486 | 425686 | 531611 | 691717 | 797619 | 927181 | 990757 | 1048399 | 1127941
Feeder Metering | [44 empty] | Total no. Of Urban consumer | 191294 | 199662 | 206936 | 214007 | 223392 | 233910 | 249325 | 266333 | 284773 | 305815
No. of 33 KV feeders(excluding GRIDCO interface) | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 85 | 88 | 90 | 91 | 91 | 91 | 96 | 99 | 99 | 99 | 113 | 113 | 114 | 103 | 103 | 103 | 106 | 106 | 108 | 108 | 108 | 124 | 124 | 124 | 124 | 124 | Urban Consumer to Total Consumer ratio (in %) | 35.72% | 35.08% | 32.71% | 28.7% | 24.41% | 22.68% | 21.19% | 21.19% | 21.36% | 21.33%
No. of 33 KV feeder metering | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 85 | 88 | 89 | 85 | 89 | 89 | 94 | 97 | 97 | 97 | 96 | 96 | 96 | 100 | 100 | 102 | 103 | 103 | 106 | 106 | 106 | 112 | 112 | 112 | 112 | 112 | Total Employees (in nos.) | 3785 | 3587 | 3430 | 3299 | 3028 | 2784 | 2625 | 2494 | 2345 | 2655
No. of 11 KV feeders | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 466 | 484 | 491 | 496 | 496 | 496 | 521 | 529 | 529 | 532 | 545 | 545 | 558 | 593 | 593 | 603 | 604 | 604 | 608 | 608 | 608 | 643 | 643 | 643 | 663 | 663 | No. Of employees per 1000 consumer | 7.0685 | 6.3024 | 5.4219 | 4.4245 | 3.3089 | 2.6989 | 2.2312 | 1.9839 | 1.759 | 1.8518
No. of 11 KV feeder metering | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 417 | 451 | 469 | 491 | 472 | 490 | 490 | 485 | 513 | 513 | 443 | 274 | 274 | 307 | 310 | 310 | 496 | 599 | 599 | 600 | 600 | 600 | 611 | 611 | 611 | 614 | 614 | Working meter | 497727 | 539311 | 560753 | 663248 | 746872 | 835314 | 941763 | 927353 | 917889 | 993307
No. of 33/11 kv transformers | 223 | 228 | 230 | 230 | 237 | 240 | 242 | 242 | 242 | 242 | 242 | 244 | 244 | 245 | 248 | 252 | 256 | 257 | 261 | 262 | 262 | 269 | 278 | 278 | 280 | 288 | 288 | 301 | 309 | 309 | 320 | 328 | 328 | 330 | 340 | 340 | 346 | 354 | 354 | 403 | 413 | 413 | 413 | 425 | Defective meter | 16172 | 10534 | 62323 | 82370 | 141093 | 196215 | 208538 | 303828 | 383975 | 398956
No. of 33/11 kv transformer metering position | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 37 | 37 | 37 | 37 | 37 | 29 | 29 | 40 | 40 | 40 | 40 | 40 | Consumer without meter | 21578 | 19303 | 9546 | 0 | 27144 | 0 | 26205 | 25909 | 31308 | 41493
No. of distribution transformers(11/0.4 & 33/0.4 kv) | 10900 | 10900 | 12069 | 12892 | 12975 | 13336 | 13395 | 13395 | 13756 | 13756 | 13815 | 13910 | 13910 | 16101 | 16369 | 16449 | 16907 | 16941 | 18565 | 19475 | 21461 | 22893 | 23928 | 23928 | 25413 | 25623 | 25623 | 26932 | 29456 | 29456 | 33390 | 35998 | 35998 | 37946 | 38993 | 38993 | 39881 | 41437 | 41437 | 44595 | 45996 | 45996 | 45996 | 48229 | Consumer metering in % (OK meter/Total consumer) | 92.95% | 94.76% | 88.64% | 88.95% | 81.62% | 80.98% | 80.05% | 73.77% | 68.85% | 69.28%
No. of distribution transformer metering position | 10900 | 10900 | 11631 | 12132 | 12168 | 12510 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12558 | 12658 | 12658 | 12658 | 12658 | 12658 | 4119 | 3232 | 3232 | 3231 | 2691 | 2691 | 959 | 472 | 472 | 2751 | 3190 | 3190 | 3190 | 3190 | 11 kV feeder with working meter (in nos.) | 372 | 382 | 321 | 320 | 318 | 274 | 284 | 582 | 600 | 611
DTR Capacity in MVA | [24 empty] | 1267.161 | 1289.332 |  | 1358 | 1192.42 | 1192.42 | 1612 | 1687.951 | 1687.951 | 1697.051 | 1760.44 | 1760.44 | 1804.364 | 1904.772 | 1904.772 | 2063.996 | 2112.348 | 2112.348 | 2112.348 | 2300.55 | 11 kV feeder with defective meter (in nos.) | 45 | 69 | 170 | 170 | 195 | 0 | 26 | 17 | 0 | 0
Energy Audit Carried Out-33 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63 | 65 | 65 | 56 | 65 | 65 | 60 | 88 | 88 | 63 | 64 | 64 | 52 | 20 | 20 | 38 | 40 | 40 | 56 | 65 | 65 | 91 | 91 | 91 | 91 | 91 | 11 kV feeder without meter | 0 | 15 | 0 | 6 | 16 | 271 | 283 | 5 | 8 | 32
Energy Audit Carried Out-11 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 18 | 18 | 8 | 25 | 25 | 83 | 16 | 16 | 331 | 447 | 447 | 458 | 458 | 458 | 564 | 564 | 564 | 564 | 564 | 11 kV feeder metering in %(OK meter/Total 11 kV feeder) | 89.21% | 81.97% | 65.38% | 64.52% | 60.11% | 50.28% | 47.89% | 96.36% | 98.68% | 95.02%
Energy Audit Carried out- No of DTRs covered | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 64 | 64 | 64 | 52 | 52 | 0 | 0 | 0 | 30 | 25 | 25 | 25 | 91 | 91 | 130 | 178 | 178 | 345 | 345 | 345 | 671 | 671 | 33 kV feeder with working meter (in nos.) | 87 | 85 | 89 | 89 | 97 | 96 | 100 | 103 | 106 | 112
[45 empty] | 33 kV feeder with defective meter (in nos.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Consumer Metering Position | [19 empty] | AS ON 30th Sep-10 | AS ON 31st Mar-11 | AS ON 30th Sep-11 | AS ON 31st Mar-12 | AS ON 31st Mar-12 | AS ON 30th Sep-12 | AS ON 31st Mar-13 | AS ON 31st Mar-13 | AS ON 30th Sep-13 | AS ON 31st Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18 | 33 kV feeder without meter | 0 | 0 | 1 | 2 | 2 | 17 | 3 | 3 | 2 | 12
Total number of meters | 458050 | 464012 | 426226 | 434951 | 439548 | 441489 | 443838 | 443838 | 446969 | 445485 | 459587 | 471987 | 469128 | 479065 | 482931 | 493324 | 513899 | 529977 | 549845 | 577680 | 623076 | 697472 | 745618 | 745618 | 821318 | 887965 | 887965 | 967760 | 1031529 | 1031529 | 1090286 | 1150301 | 1150301 | 1190644 | 1231181 | 1231181 | 1264412 | 1301864 | 1301864 | 1346913 | 1392263 | 1392263 | 1425855 | 1487236 | 33 kV feeder metering in %(OK meter/Total 33 kV feeder) | 100% | 100% | 98.89% | 97.8% | 97.98% | 84.96% | 97.09% | 97.17% | 98.15% | 90.32%
No. of working meters | 430162 | 433635 | 405586 | 417292 | 425549 | 427831 | 434345 | 434345 | 435559 | 434711 | 449100 | 464489 | 458777 | 456928 | 460383 | 471318 | 497727 | 509327 | 539311 | 532016 | 560753 | 642330 | 663248 | 663248 | 737238 | 746872 | 746872 | 769066 | 835314 | 835314 | 915977 | 941763 | 941763 | 938118 | 927353 | 927353 | 891613 | 917889 | 917889 | 955938 | 993307 | 993307 | 1015245 | 1048434 | DTR with working meter (in nos.) | 12514 | 11303 | 8052 | 7941 | 7646 | 4302 | 2807 | 2358 | 472 | 3190
Percentage of working meters ( % ) | 93.91% | 93.45% | 95.16% | 95.94% | 96.82% | 96.91% | 97.86% | 97.86% | 97.45% | 97.58% | 97.72% | 98.41% | 97.79% | 95.38% | 95.33% | 95.54% | 96.85% | 96.1% | 98.08% | 92.1% | 90% | 92.09% | 88.95% | 88.95% | 89.76% | 84.11% | 84.11% | 79.47% | 80.98% | 80.98% | 84.01% | 81.87% | 81.87% | 78.79% | 75.32% | 75.32% | 70.52% | 70.51% | 70.51% | 70.51% | 71.34% | 71.34% | 71.2% | 70.5% | DTR with defective meter (in nos.) | 44 | 1255 | 4506 | 4617 | 5012 | 8356 | 425 | 333 | 0 | 0
New meters installed ( 3 ph ) (During The Period) | 60 | 62 | 276 | 40 | 127 | 416 | 101 | 684 | 82 | 50 | 322 | 219 | 417 | 751 | 409 | 357 | 775 | 1283 | 1588 | 1234 | 1110 | 854 | 1179 | 2033 | 1243 | 1400 | 2643 | 1203 | 1564 | 1564 | 2940 | 3001 | 5941 | 3065 | 4590 | 7655 | 4042 | 2657 | 6699 | 2774 | 3015 | 5789 | 1243 | 2154 | DTR without meter | 4349 | 9356 | 8903 | 11370 | 12965 | 16798 | 32766 | 36302 | 40965 | 42806
New meters installed ( 1 ph ) (During The Period) | 19979 | 25939 | 11599 | 9871 | 5011 | 3961 | 5208 | 24051 | 3573 | 1413 | 16339 | 6325 | 11689 | 9191 | 4502 | 10207 | 20030 | 14909 | 18311 | 26727 | 44288 | 73714 | 47040 | 120754 | 74637 | 79131 | 153768 | 78796 | 62209 | 62209 | 55877 | 87341 | 143218 | 49996 | 47515 | 97511 | 35550 | 42042 | 77592 | 45446 | 55519 | 100965 | 28200 | 98736 | DTR metering in % (OK meter/Total no of DTR) | 74.02% | 119634 | 37.52% | 33.19% | 29.84% | 14.6% | 7.798% | 6.047% | 1.139% | 6.935%
No of 3 Phase Consumers (LT) | [18 empty] | 0 | 27997 | 28817 | 29509 | 30164 | 30164 | 31011 | 32997 | 32997 | 33752 | 35136 | 35136 | 36993 | 39569 | 39569 | 42833 | 47413 | 47413 | 53768 | 58368 | 58368 | 64204 | 69800 | 69800 | 72439 | 75379 | Total sale (in MU) | 4238.2456 | 4089.903 | 3978.7189 | 3775.0147 | 3945.3429 | 4201.0647 | 4552.1953 | 4597.9481 | 4636.2985 | 5377.7896
No of Conumers with TOD benefit (LT) | [18 empty] | 0 | 11931 | 12499 | 13078 | 13819 | 13819 | 14348 | 15001 | 15001 | 17992 | 15974 | 15974 | 9273 | 17165 | 17165 | 10677 | 11344 | 11344 | 11491 | 11788 | 11788 | 12455 | 12946 | 12946 | 13376 | 13154 | LT sale (in MU) | 933.3141 | 1079.1065 | 1156.1354 | 1245.6913 | 1246.2046 | 1393.5847 | 1661.6073 | 1981.1557 | 2121.0818 | 2476.1578
No of Consumers above 10 KW load (LT) | [18 empty] | 0 | 6587 | 7025 | 7351 | 7569 | 7569 | 6670 | 7875 | 7875 | 7938 | 7075 | 7075 | 8447 | 7337 | 7337 | 8897 | 9387 | 9387 | 9940 | 10358 | 10358 | 10884 | 11484 | 11484 | 11778 | 11931 | LT sale to Total sale (in %) | 22.02% | 26.38% | 29.06% | 33% | 31.59% | 33.17% | 36.5% | 43.09% | 45.75% | 46.04%
No of Consumer AMR metering | [18 empty] | 0 | 607 | 934 | 1196 | 1348 | 1348 | 2177 | 2734 | 2734 | 3084 | 3839 | 3839 | 4526 | 5046 | 5046 | 5420 | 5732 | 5732 | 6080 | 6811 | 6811 | 6747 | 6522 | 6522 | 6113 | 6132 | Total no. of GRF order issued | 0 | 0 | 0 | 1577 | 1767 | 2227 | 1338 | 3300 | 934 | 1298
Total No of consumers as on period | [18 empty] | 0 | 0 | 569148 | 0 | 745618 | 745618 | 821318 | 915109 | 915109 | 967760 | 1031529 | 1031529 | 1090286 | 1176506 | 1176506 | 1220752 | 1257090 | 1257090 | 1297431 | 1333172 | 1333172 | 1378851 | 1433756 | 1433756 | 1474483 | 1587458 | Total no of GRF order implemented | 0 | 0 | 0 | 1267 | 1455 | 2003 | 802 | 2471 | 1040 | 1132
No of consumers added during the period | [18 empty] | 0 | 0 | 63474 | 0 | 123244 | 123244 | 75700 | 103001 | 178701 | 75557 | 69534 | 145091 | 67885 | 98318 | 166203 | 53943 | 54302 | 108245 | 42875 | 47504 | 90379 | 51823 | 61904 | 113727 | 44161 | 179648 | Implementation of GRF order (in %) | #DIV/0! | #DIV/0! | #DIV/0! | 80.34% | 82.34% | 89.94% | 59.94% | 74.88% | 111.3% | 87.21%
No of meters purchased during the period | [18 empty] | 76826 | 0 | 78000 | 0 | 132000 | 132000 | 113250 | 100000 | 213250 | 104143 | 119000 | 223143 | 125681 | 6360 | 132041 | 0 | 43838 | 43838 | 32000 | 32000 | 64000 | 100000 | 28050 | 128050 | 101600 | 150250 | Total no. of Ombudsman order issued | 24 | 27 | 27 | 24 | 19 | 24 | 23 | 13 | 26 | 12
No of meters used for installation for new consumer and replacements for old consumers (During The Period) | [18 empty] | 34611 | 51327 | 75577 | 103784 | 68649 | 172433 | 109863 | 98299 | 208162 | 109173 | 99179 | 208352 | 125681 | 148468 | 274149 | 97124 | 84214 | 181338 | 58568 | 66086 | 124654 | 71789 | 88510 | 160299 | 37874 | 115162 | Total no. of Ombudsman order implemented | 5 | 6 | 2 | 17 | 7 | 14 | 3 | 9 | 25 | 8
Cost involved in purchase of meters during FY (Rs. Lacs) | [18 empty] | 0 | 0 | 910.15 | 0 | 19.305 | 19.305 | 326.59 | 370.8 | 697.39 | 104.415 | 443.415 | 443.415 | 1354.1754 | 68.5271 | 1422.7025 | 0 | 189.51 | 189.51 | 326.4 | 326.4 | 652.8 | 842.65 | 207.42 | 1050.07 | 767.46 | 767.46 | Implementation of Ombudsman order (in %) | 20.83% | 22.22% | 7.407% | 70.83% | 36.84% | 58.33% | 13.04% | 69.23% | 96.15% | 66.67%
Cost of meter rent Collected during FY (Rs. Lacs) | [18 empty] | 0 | 0 | 341.7536 | 0 | 364.5765 | 364.5765 | 167.8039 | 210.4445 | 378.2484 | 179.6435 | 187.7919 | 367.4354 | 189.6412 | 223.7923 | 413.4334 | 209.0272 | 243.9409 | 452.9681 | 244.8218 | 293.7317 | 538.5535 | 255.7865 | 318.9811 | 574.7676 | 123.5406 | 263.9397 | Average No. of Bill generated per month | 409612.9167 | 448977.8333 | 489190.1667 | 562014.8333 | 632556.0833 | 711657.6667 | 792768.0833 | 878763.6667 | 945884.5833 | 1010803.25 | 12
[45 empty] | Bill generated per month to total No. Of consumer (in %) | 76.49% | 78.89% | 77.33% | 75.38% | 69.12% | 68.99% | 67.38% | 69.9% | 70.95% | 70.5%
Anti Theft Measures | [19 empty] | Apr-10 to Sep-10 | Oct-10 to Mar-11 | Apr-11 to Sep-11 | Oct-11 to Mar-12 | AS ON 31st Mar-12 | Apr-12 to Sep-12 | Oct-12 to Mar-13 | AS ON 31st Mar-13 | Apr-13 to Sep-13 | Oct-13 to Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18 | Average no. of money receipt generated per month | 164342.8333 | 179979.9167 | 189503.5 | 212484.3333 | 255006 | 285496.6667 | 307956.9167 | 345646.75 | 382619.6667 | 373334.5833
No of cases Finalised under Section 126 & 135 | [18 empty] | 0 | 1359 | 1716 | 2855 | 4806 | 7661 | 5378 | 10062 | 15440 | 6637 | 10024 | 16661 | 3505 | 4153 | 7658 | 5767 | 8886 | 14653 | 19009 | 21864 | 40873 | 15806 | 13545 | 29351 | 6511 | 13016 | Money receipt generated to bill generated per month (in %) | 40.12% | 40.09% | 38.74% | 37.81% | 40.31% | 40.12% | 38.85% | 39.33% | 40.45% | 36.93%
Ammount Finaliseded (Rs. Lacs) | [18 empty] | 0 | 98.64 | 131.61 | 144.4129 | 246.4659 | 390.8788 | 401.08 | 745.592 | 1146.672 | 687.39 | 898.9723 | 1586.3623 | 702.8371 | 690.2923 | 1393.1295 | 553.6502 | 825.0748 | 1378.725 | 1453.8747 | 1914.6928 | 3368.5675 | 1167.6541 | 1546.7439 | 2714.398 | 637.3203 | 1272.424 | Total DTR burnt (in nos.) | 0 | 1514 | 1061 | 2133 | 2074 | 2268 | 2676 | 2674 | 2955 | 3241
Ammount Assessed during filing of case (Rs. Lacs) | [18 empty] | 0 | 100 | 135 | 142.592 | 246.4659 | 389.0579 | 401.08 | 745.592 | 1146.672 | 687.39 | 898.9723 | 1586.3623 | 702.8371 | 690.2923 | 1393.1295 | 553.6502 | 825.0748 | 1378.725 | 1453.8747 | 1914.6928 | 3368.5675 | 1167.6541 | 1546.7439 | 2714.398 | 637.3203 | 1272.424 | DTR burnt/ Total no. Of DTR | 0% | 8.155% | 4.944% | 8.914% | 8.094% | 7.7% | 7.434% | 6.858% | 7.131% | 7.046%
No of new connections given | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26562 | 22589 | 45376 | 72380 | 50869 | 123249 | 77065 | 90383 | 167448 | 64359 | 62273 | 126632 | 58644 | 86176 | 144820 | 40983 | 44757 | 85740 | 39756 | 27810 | 67566 | 42910 | 55082 | 97992 | 32871 | 150981 | Total Capacity of all DTR (in MVA) | 0 | 0 | 0 | 0 | 0 | 1192.42 | 1687.951 | 1760.44 | 1904.772 | 2112.348
No. of connection Regularised | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1859 | 1385 | 3975 | 2926 | 14562 | 17488 | 15915 | 12618 | 28533 | 11198 | 7261 | 18459 | 9241 | 12142 | 21383 | 12960 | 9545 | 22505 | 3119 | 19694 | 22813 | 8913 | 6822 | 15735 | 11290 | 28667 | Total capacity of burnt DTR (in MVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 176.586 | 194.508
Amount Billed (Rs. Lacs) | 6498 | 15067 | 21738 | 5789 | 11814 | 17719 | 23862 | 23862 | 7187 | 9515 | 9312 | 5921 | 11718 | 13227 | 7931 | 3454 | 4153 | 2388 | 0 | 0 | 86.01 | 326.282 | 190.53 | 516.812 | 823.9767 | 974.5925 | 1798.5692 | 984.3861 | 919.4084 | 1903.7945 | 1176.7016 | 1833.1196 | 3009.8211 | 1135.3178 | 1308.9472 | 2444.2649 | 1963.069 | 2207.7604 | 4170.8294 | 1471.9052 | 1963.1336 | 3435.0388 | 665.6281 | 1373.3805 | Capacity of DTR burnt to Capacity of Total DTR (in %) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0% | 0% | 0% | 9.271% | 9.208%
Amount Collected (Rs. Lacs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.81 | 125.7237 | 151.55 | 277.2737 | 479.6513 | 293.8532 | 773.5045 | 350.5808 | 370.6073 | 721.1881 | 448.7829 | 558.6826 | 1007.4655 | 407.7408 | 462.9936 | 870.7344 | 712.9474 | 1281.9937 | 1994.9411 | 515.0815 | 1063.0585 | 1578.14 | 140.3133 | 305.275 | SAIFI of the Division |  | 28.39 | 29.52 | 30.07 | 27.59 | 27.42 | 27.11 | 24.54 | 25.7 | 26.16
No. of FIR lodged | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 1 | 97 | 76 | 95 | 171 | 104 | 47 | 151 | 112 | 49 | 161 | 25 | 63 | 88 | 80 | 93 | 173 | 4 | 171 | 175 | 25 | 75 | 100 | 68 | 68 | SAIDI of the Division |  | 695.78 | 685.85 | 674.33 | 696.64 | 626.86 | 641.8 | 675.35 | 676.4 | 678.55
No. of illegal consumers prosecuted/Initiated in Court | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10068 | 1081 | 0 | 349 | 150 | 181 | 79 | 100 | 0 | 0 | 66 | 47 | 91 | 138 | 64 | 27 | 91 | 49 | 15 | 64 | 4 | 46 | 50 | 16 | 26 | 42 | 0 | 36 | 36 | 0 | 3 | 3 | 6 | 6 | No. Of fatal accident | NA | NA | 20 (Human)+26 (Animal) | 20 (Human)+25 (Animal) | 11 (Human)+50 (Animal) | 12 (Human)+09 (Animal) | 32 (Human)+18 (Animal) | 22 (Human)+10 (Animal) | 12 (Human)+06 (Animal) | 10 (Human)+05 (Animal)
Number of disconnections made | 73754 | 112155 | 248021 | 59004 | 61159 | 63868 | 69751 | 253782 | 77505 | 115634 | 168579 | 64688 | 137329 | 150172 | 48180 | 35825 | 70622 | 66684 | 68858 | 45430 | 38573 | 43389 | 114213 | 157602 | 98678 | 64558 | 163236 | 68946 | 69807 | 138753 | 49365 | 17848 | 67213 | 25630 | 17830 | 43460 | 25517 | 46478 | 71995 | 26483 | 49418 | 75901 | 9880 | 17963 | Total length of 11 kV feeder before ODSSP & other projects
Revenue realised (Rs. LACS.) | 736.53 | 1048.17 | 2125.67 | 396.69 | 395.28 | 368.59 | 451.83 | 1612.39 | 461.92 | 714.18 | 856.02 | 322.35 | 361.3 | 702.78 | 271.34 | 210.58 | 492.22 | 475.69 | 713.1553 | 581.7036 | 583.9893 | 751.52 | 1587.612 | 2339.132 | 3242.18 | 3149.6965 | 6391.8765 | 818.45 | 3104.822 | 3923.272 | 446.0678 | 205.5885 | 651.6563 | 218.9385 | 580.3581 | 799.2967 | 229.4053 | 974.8451 | 1204.2503 | 392.2478 | 298.7 | 690.9478 | 139.6469 | 192.65 | (as on 01.04.2017)
Total length of 11 kV feeder before ODSSP & other projects
Franchisee Activity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | AS ON 30th Sep-10 | AS ON 31st Mar-11 | AS ON 30th Sep-11 | AS ON 31st Mar-12 | AS ON 31st Mar-12 | AS ON 30th Sep-12 | AS ON 31st Mar-13 | AS ON 31st Mar-13 | AS ON 30th Sep-13 | AS ON 31st Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18 | (as on 01.04.2018)
No of Micro-Franchisees | [18 empty] | 8 | 8 | 8 | 8 | 8 | 8 | 176 | 181 | 48 | 48 | 48 | 48 | 51 | 51 | 51 | 51 | 55 | 55 | 46 | 45 | 45 | 48 | 39 | 39 | 27 | 25 | Total length of 33 kV feeder before ODSSP & other projects
No of Consumers Covered | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 948 | 955 | 960 | 1089 | 1135 | 1135 | 45022 | 46809 | 15217 | 15217 | 12451 | 12451 | 14168 | 14201 | 14201 | 14830 | 17835 | 17835 | 19430 | 20191 | 20191 | 19357 | 29174 | 29174 | 23014 | 36641 | (as on 01.04.2017)
No of Macro-Franchisees | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 20 | 19 | 7 | 11 | 11 | 6 | 8 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 71 | 96 | 96 | 106 | 90 | 90 | 41 | 58 | 58 | 53 | 38 | Total length of 33 kV feeder before ODSSP & other projects
No of Consumers Covered | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102168 | 114682 | 104334 | 78590 | 114206 | 114206 | 81973 | 111487 | 43741 | 43741 | 46505 | 46505 | 46302 | 49229 | 49229 | 469169 | 595901 | 595901 | 778305 | 637731 | 637731 | 428534 | 921795 | 921795 | 939760 | 792071 | (as on 01.04.2018)
No of Input Based-Franchisees | [18 empty] | 0 | 0 | 3 | 3 | 2 | 2 | 6 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No of Consumers Covered | [18 empty] | 0 | 0 | 36487 | 38400 | 41872 | 41872 | 72531 | 72873 | 18344 | 18344 | 15234 | 15234 | 15214 | 16770 | 16770 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total no of consumers covered under Franchisee | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103116 | 115119 | 141781 | 118079 | 157213 | 157213 | 199526 | 231169 | 77302 | 77302 | 74190 | 74190 | 75684 | 80200 | 80200 | 483999 | 613736 | 613736 | 797735 | 657922 | 657922 | 657922 | 950969 | 950969 | 962774 | 0
QUALITY OF SUPPLY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Apr-10 to Sep-10 | Oct-10 to Mar-11 | Apr-11 to Sep-11 | Oct-11 to Mar-12 | AS ON 31st Mar-12 | Apr-12 to Sep-12 | Oct-12 to Mar-13 | AS ON 31st Mar-13 | Apr-13 to Sep-13 | Oct-13 to Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18
Failure of Power Transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 10 | 13 | 17 | 11 | 28 | 19 | 8 | 27 | 24 | 5 | 29 | 18 | 9 | 27 | 24 | 15 | 39 | 12 | 14 | 26 | 22 | 2 | 24 | 10 | 23
No. of Dist. Transformers burnt | [18 empty] | 1514 | 1693 | 1061 | 1300 | 833 | 2133 | 1122 | 952 | 2074 | 1267 | 1001 | 2268 | 1422 | 1254 | 2676 | 1493 | 1181 | 2674 | 1563 | 1392 | 2955 | 2026 | 1215 | 3241 | 969 | 1999 |  | 2009-10: 4347
Cost involved (Lacs.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.028 | 3.386 | 2.122 | 2.6 | 1.666 | 4.266 | 224.4 | 190.4 | 414.8 | 194 | 167.288 | 361.288 | 328.714 | 329.714 | 329.714 | 469.25 | 470.25 | 939.5 | 549.1543 | 489.074 | 1038.2283 | 280.18 | 426.8858 | 707.0658 | 340.4546 | 436.1075
No of Interruptions in 33 KV Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11016 | 4895 | 5293 | 6020 | 5446 | 11466 | 1152 | 6478 | 7630 | 5926 | 5737 | 11663 | 6498 | 4755 | 11253 | 9396 | 10213 | 19609 | 10562 | 10562 | 335 | 9306 | 5695 | 15001 | 4005 | 4071
No of Interruptions in 11 KV Feeders | 0 | 0 | 0 | 861 | 230 | 428 | 365 | 1884 | 721 | 601 | 1208 | 707 | 1202 | 2597 | 628 | 1046 | 1263 | 1463 | 75306 | 38309 | 38140 | 38255 | 37343 | 75598 | 36251 | 37373 | 73624 | 36599 | 40213 | 76812 | 47447 | 48160 | 95607 | 33942 | 2034 | 32045 | 30722 | 30098 | 1836 | 29681 | 35952 | 65633 | 18102 | 31878
No. of Grievances received | 0.79 | 1.185 | 1.94 | 0.6537 | 0.21 | 0.39078 | 0.33326 | 1.7202 | 0.6583 | 0.54874 | 2.416 | 1.414 | 2.404 | 5.194 | 1.256 | 2.092 | 2.526 | 2.926 | 8971 | 4935 | 5325 | 4373 | 7431 | 11804 | 3629 | 1333 | 4962 | 15558 | 12821 | 28379 | 11798 | 13791 | 25589 | 11276 | 12569 | 23845 | 13757 | 17648 | 31405 | 13892 | 9654 | 23546 | 6255 | 9808
Disposed through CHP including Bijuli Adalat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7361 | 3992 | 4248 | 3851 | 6805 | 10656 | 2994 | 1188 | 4182 | 15264 | 11522 | 26786 | 10566 | 12284 | 22850 | 10720 | 11508 | 22228 | 12711 | 15948 | 28659 | 12441 | 7860 | 20301 | 5328 | 8189
Total No. of GRF Orders received for compliance | [18 empty] | 0 | 0 | 0 | 863 | 714 | 1577 | 523 | 1244 | 1767 | 1072 | 1155 | 2227 | 609 | 729 | 1338 | 2193 | 1107 | 3300 | 465 | 469 | 934 | 506 | 792 | 1298 | 189 | 467
No. of GRF Orders Complied | [18 empty] | 0 | 0 | 0 | 641 | 626 | 1267 | 513 | 942 | 1455 | 1182 | 821 | 2003 | 471 | 331 | 802 | 1785 | 686 | 2471 | 698 | 342 | 1040 | 573 | 559 | 1132 | 230 | 748
SYSTEM IMPROVEMENT WORKS DURING REVIEW PERIOD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Apr-10 to Sep-10 | Oct-10 to Mar-11 | Apr-11 to Sep-11 | Oct-11 to Mar-12 | AS ON 31st Mar-12 | Apr-12 to Sep-12 | Oct-12 to Mar-13 | AS ON 31st Mar-13 | Apr-13 to Sep-13 | Oct-13 to Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18
Installation of New Transformers | 0 | 0 | 10811 | 113 | 12235 | 5121 | 5780 | 23249 | 6541 | 9925 | 13928 | 5425 | 12020 | 10690 | 5272 | 4156 | 9165 | 6079 | 146 | 0 | 102 | 3 | 23 | 26 | 123 | 424 | 547 | 723 | 2767 | 3490 | 164 | 899 | 1063 | 455 | 1151 | 1606 | 430 | 2349 | 2779 | 396 | 2349 | 2745 | 690 | 1018
Upgradation of Transformers | 0 | 0 | 9516 | 11 | 10938 | 4371 | 4544 | 19864 | 5161 | 7853 | 10018 | 4227 | 8704 | 7967 | 4266 | 3149 | 7303 | 4624 | 170 | 0 | 93 | 26 | 3 | 29 | 21 | 626 | 647 | 413 | 263 | 676 | 118 | 23 | 141 | 36 | 351 | 387 | 7 | 16 | 23 | 0 | 0 | 0 | 37 | 0
Installation of Pillar Box | [18 empty] | 63 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Length of AB Cable Laid (km) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.83 | 0 | 11.65 | 21 | 10 | 31 | 0 | 257 | 257 | 65.984 | 82 | 147.984 | 290.071 | 0 | 290.071 | 53.95 | 768.309 | 822.259 | 81.42 | 383.83 | 465.25 | 92.14 | 383.83 | 475.97 | 718.11 | 866.94
Conversion of Single Phase to Three Phase Lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 20 | 467 | 2 | 469 | 0 | 3 | 3 | 0 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No. of Hooks Detected | [18 empty] | 2062 | 1427 | 5003 | 23549 | 26230 | 49779 | 15915 | 20501 | 36416 | 23503 | 17770 | 41273 | 58202 | 48178 | 106380 | 27222 | 23103 | 50325 | 24260 | 22326 | 46586 | 14127 | 11498 | 25625 | 15158 | 32070
No. of Hooks repeated out of hooks detected | 10819 | 0 | 39278 | 13747 | 11920 | 18814 | 26061 | 26061 | 9777 | 10597 | 10581 | 7431 | 13135 | 14752 | 9875 | 4454 | 4633 | 2587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ammount Estimated under deposit work (Rs. Lacs) | [22 empty] | 7564.8697 | 7564.8697 | 832.448 | 9614.91 | 10447.358 | 21753.1932 | 3423.4351 | 25176.6283 | 7388.8131 | 6544.8869 | 13933.7 | 2665.7067 | 13200.97 | 15866.6767 | 9148.1078 | 12981.206 | 22129.3138 | 5238.093 | 12981.206 | 18219.299 | 8183.4784 | 11142.008
Ammount Finaliseded for 6 % calculation (Rs. Lacs) | [22 empty] | 215.9121 | 215.9121 | 202.2707 | 179.95 | 382.2207 | 226.0962 | 167.0831 | 393.1793 | 143.0476 | 349.6383 | 492.6859 | 144.6607 | 544.28 | 688.9407 | 360.4329 | 617.9201 | 978.353 | 537.3724 | 617.9201 | 1155.2925 | 331.3161 | 438.8761
OTHERS | [19 empty] | Apr-10 to Sep-10 | Oct-10 to Mar-11 | Apr-11 to Sep-11 | Oct-11 to Mar-12 | AS ON 31st Mar-12 | Apr-12 to Sep-12 | Oct-12 to Mar-13 | AS ON 31st Mar-13 | Apr-13 to Sep-13 | Oct-13 to Mar-14 | AS ON 31st Mar-14 | As On 30th Sep-14 | As On 31st Mar-15 | As On 31st Mar-15 | As On 30th Sep-15 | As On 31st Mar-16 | As On 31st Mar-16 | As On 30th Sep-16 | As On 31st Mar-17 | As On 31st Mar-17 | As On 30th Sep-17 | As On 31st Mar-18 | As On 31st Mar-18 | As on 30th Jun-18 | As on 30th Sep-18
No. of defective meters | 24596 | 26703 | 20640 | 17659 | 13999 | 13658 | 9493 | 9493 | 11410 | 10774 | 10487 | 7498 | 10351 | 22137 | 22548 | 22006 | 16172 | 20650 | 10534 | 45664 | 62323 | 55142 | 82370 | 137512 | 84079 | 141093 | 141093 | 198694 | 196215 | 196215 | 174309 | 208538 | 208538 | 252526 | 303828 | 303828 | 372799 | 383975 | 383975 | 390975 | 398956 | 398956 | 410610 | 438802 |  | 2010-11: 61750
Replacement of defective meters | 15423 | 17530 | 50893 | 3763 | 5296 | 5151 | 2968 | 17178 | 5089 | 4624 | 1762 | 2990 | 1611 | 1992 | 1260 | 976 | 5991 | 7402 | 14712 | 23366 | 30179 | 29216 | 20430 | 49646 | 33983 | 17768 | 51751 | 29174 | 35406 | 64580 | 23813 | 58126 | 81939 | 44063 | 27540 | 71603 | 18976 | 21387 | 40363 | 23569 | 29976 | 53545 | 8431 | 14272
No. of EHT meters tested | 13 | 15 | 21 | 6 | 1 | 2 | 5 | 11 | 12 | 3 | 11 | 5 | 5 | 26 | 16 | 5 | 19 | 10 | 20 | 10 | 16 | 15 | 19 | 34 | 7 | 31 | 38 | 18 | 17 | 35 | 15 | 25 | 40 | 16 | 23 | 39 | 25 | 23 | 48 | 14 | 21 | 35 | 8 | 12
No. of HT meters tested | 211 | 338 | 815 | 271 | 246 | 281 | 255 | 1053 | 276 | 174 | 436 | 183 | 0 | 770 | 201 | 180 | 493 | 312 | 462 | 274 | 651 | 434 | 591 | 1025 | 889 | 820 | 1709 | 504 | 385 | 889 | 528 | 565 | 1093 | 524 | 565 | 1089 | 520 | 844 | 1364 | 415 | 680 | 1095 | 261 | 460
0

## P-17
Licensee-WESCO UTILITY | [7 empty] | OERC Form P-17
Consumers Data (Division wise and month wise)
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division ROURKELA
| APRIL | 2 | 2 | 36 | 36 | 53868 | 53868 | 0 | 53906 | 53906
| MAY | 2 | 2 | 36 | 36 | 54656 | 54656 | 0 | 54694 | 54694
| JUNE | 2 | 2 | 36 | 36 | 54868 | 54868 | 0 | 54906 | 54906
| JULY | 2 | 2 | 36 | 36 | 54984 | 54984 | 0 | 55022 | 55022
| AUGUST | 2 | 2 | 36 | 36 | 55216 | 55216 | 0 | 55254 | 55254
| SEPTEMBER | 2 | 2 | 36 | 36 | 55250 | 55250 | 0 | 55288 | 55288
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division ROURKELA-SADAR
| APRIL | 1 | 1 | 69 | 69 | 75858 | 45587 | 30271 | 75928 | 75928
| MAY | 1 | 1 | 69 | 69 | 76278 | 45925 | 30353 | 76348 | 76348
| JUNE | 1 | 1 | 69 | 69 | 76746 | 46158 | 30588 | 76816 | 76816
| JULY | 1 | 1 | 70 | 70 | 77199 | 46476 | 30723 | 77270 | 77270
| AUGUST | 1 | 1 | 71 | 71 | 77814 | 46718 | 31096 | 77886 | 77886
| SEPTEMBER | 1 | 1 | 71 | 71 | 78269 | 46944 | 31325 | 78341 | 78341
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division RAJGANGPUR
| APRIL | 6 | 6 | 154 | 154 | 78975 | 26499 | 52476 | 79135 | 79135
| MAY | 6 | 6 | 154 | 154 | 79434 | 26706 | 52728 | 79594 | 79594
| JUNE | 6 | 6 | 152 | 152 | 80961 | 27687 | 53274 | 81119 | 81119
| JULY | 6 | 6 | 152 | 152 | 82223 | 28023 | 54200 | 82381 | 82381
| AUGUST | 6 | 6 | 153 | 153 | 82848 | 27994 | 54854 | 83007 | 83007
| SEPTEMBER | 6 | 6 | 154 | 154 | 82917 | 28121 | 54796 | 83077 | 83077
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SUNDERGARH
| APRIL | 1 | 1 | 18 | 18 | 69728 | 12820 | 56908 | 69747 | 69747
| MAY | 1 | 1 | 19 | 19 | 70545 | 12989 | 57556 | 70565 | 70565
| JUNE | 1 | 1 | 19 | 19 | 70856 | 13076 | 57780 | 70876 | 70876
| JULY | 1 | 1 | 18 | 18 | 71995 | 13098 | 58897 | 72014 | 72014
| AUGUST | 1 | 1 | 18 | 18 | 72261 | 13054 | 59207 | 72280 | 72280
| SEPTEMBER | 1 | 1 | 18 | 18 | 71498 | 13127 | 58371 | 71517 | 71517
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SAMBALPUR
| APRIL | 2 | 2 | 63 | 63 | 47193 | 47193 | 0 | 47258 | 47258
| MAY | 2 | 2 | 63 | 63 | 47484 | 47484 | 0 | 47549 | 47549
| JUNE | 2 | 2 | 62 | 62 | 47770 | 47770 | 0 | 47834 | 47834
| JULY | 2 | 2 | 65 | 65 | 47838 | 47838 | 0 | 47905 | 47905
| AUGUST | 2 | 2 | 66 | 66 | 48019 | 48019 | 0 | 48087 | 48087
| SEPTEMBER | 2 | 2 | 66 | 66 | 48217 | 48217 | 0 | 48285 | 48285
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SAMBALPUR-EAST
| APRIL | 4 | 4 | 73 | 73 | 79506 | 28835 | 50671 | 79583 | 79583
| MAY | 4 | 4 | 73 | 73 | 80087 | 28989 | 51098 | 80164 | 80164
| JUNE | 4 | 4 | 74 | 74 | 80468 | 29095 | 51373 | 80546 | 80546
| JULY | 4 | 4 | 75 | 75 | 80939 | 29459 | 51480 | 81018 | 81018
| AUGUST | 4 | 4 | 76 | 76 | 81769 | 29720 | 52049 | 81849 | 81849
| SEPTEMBER | 4 | 4 | 76 | 76 | 81992 | 29752 | 52240 | 82072 | 82072
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division JHARSUGUDA
| APRIL | 7 | 7 | 50 | 50 | 85195 | 36002 | 49193 | 85252 | 85252
| MAY | 7 | 7 | 49 | 49 | 85932 | 36365 | 49567 | 85988 | 85988
| JUNE | 7 | 7 | 50 | 50 | 86446 | 36608 | 49838 | 86503 | 86503
| JULY | 7 | 7 | 50 | 50 | 86831 | 36772 | 50059 | 86888 | 86888
| AUGUST | 7 | 7 | 50 | 50 | 87289 | 37084 | 50205 | 87346 | 87346
| SEPTEMBER | 7 | 7 | 51 | 51 | 89418 | 37279 | 52139 | 89476 | 89476
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BRAJRAJ NAGAR
| APRIL | 1 | 1 | 20 | 20 | 35220 | 20718 | 14502 | 35241 | 35241
| MAY | 1 | 1 | 20 | 20 | 35571 | 21040 | 14531 | 35592 | 35592
| JUNE | 1 | 1 | 20 | 20 | 35735 | 21229 | 14506 | 35756 | 35756
| JULY | 1 | 1 | 20 | 20 | 35931 | 21389 | 14542 | 35952 | 35952
| AUGUST | 1 | 1 | 20 | 20 | 36254 | 21635 | 14619 | 36275 | 36275
| SEPTEMBER | 1 | 1 | 19 | 19 | 36467 | 21771 | 14696 | 36487 | 36487
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division DEOGARH
| APRIL |  |  | 7 | 7 | 47363 | 22714 | 24649 | 47370 | 47370
| MAY |  |  | 7 | 7 | 47601 | 22882 | 24719 | 47608 | 47608
| JUNE |  |  | 7 | 7 | 47735 | 22935 | 24800 | 47742 | 47742
| JULY |  |  | 7 | 7 | 48176 | 23346 | 24830 | 48183 | 48183
| AUGUST |  |  | 9 | 9 | 48484 | 23556 | 24928 | 48493 | 48493
| SEPTEMBER |  |  | 9 | 9 | 48565 | 23605 | 24960 | 48574 | 48574
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BARGARH
| APRIL | 1 | 1 | 91 | 91 | 95965 | 71669 | 24296 | 96057 | 96057
| MAY | 1 | 1 | 91 | 91 | 96454 | 72056 | 24398 | 96546 | 96546
| JUNE | 1 | 1 | 93 | 93 | 96667 | 72237 | 24430 | 96761 | 96761
| JULY | 1 | 1 | 93 | 93 | 97220 | 72714 | 24506 | 97314 | 97314
| AUGUST | 1 | 1 | 93 | 93 | 97607 | 73056 | 24551 | 97701 | 97701
| SEPTEMBER | 1 | 1 | 93 | 93 | 97998 | 73366 | 24632 | 98092 | 98092
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BARGARH-WEST
| APRIL |  |  | 32 | 32 | 112460 | 22535 | 89925 | 112492 | 112492
| MAY |  |  | 32 | 32 | 113031 | 22710 | 90321 | 113063 | 113063
| JUNE |  |  | 32 | 32 | 113267 | 22835 | 90432 | 113299 | 113299
| JULY |  |  | 32 | 32 | 113048 | 23059 | 89989 | 113080 | 113080
| AUGUST |  |  | 33 | 33 | 113889 | 23258 | 90631 | 113922 | 113922
| SEPTEMBER |  |  | 33 | 33 | 114112 | 23328 | 90784 | 114145 | 114145
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division BOLANGIR
| APRIL |  |  | 32 | 32 | 83487 | 41703 | 41784 | 83519 | 83519
| MAY |  |  | 32 | 32 | 84368 | 41913 | 42455 | 84400 | 84400
| JUNE |  |  | 32 | 32 | 85473 | 42257 | 43216 | 85505 | 85505
| JULY |  |  | 32 | 32 | 86170 | 42478 | 43692 | 86202 | 86202
| AUGUST |  |  | 32 | 32 | 87044 | 42825 | 44219 | 87076 | 87076
| SEPTEMBER |  |  | 32 | 32 | 88121 | 43123 | 44998 | 88153 | 88153
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division SONEPUR
| APRIL |  |  | 40 | 40 | 96043 | 19476 | 76567 | 96083 | 96083
| MAY |  |  | 39 | 39 | 96628 | 19993 | 76635 | 96667 | 96667
| JUNE |  |  | 39 | 39 | 96758 | 20076 | 76682 | 96797 | 96797
| JULY |  |  | 39 | 39 | 97615 | 20257 | 77358 | 97654 | 97654
| AUGUST |  |  | 39 | 39 | 98893 | 20545 | 78348 | 98932 | 98932
| SEPTEMBER |  |  | 40 | 40 | 99401 | 20698 | 78703 | 99441 | 99441
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division TITILAGARH
| APRIL | 2 | 2 | 36 | 36 | 119773 | 98897 | 20876 | 119811 | 119811
| MAY | 2 | 2 | 36 | 36 | 120473 | 99574 | 20899 | 120511 | 120511
| JUNE | 2 | 2 | 36 | 36 | 121189 | 99977 | 21212 | 121227 | 121227
| JULY | 2 | 2 | 36 | 36 | 122425 | 101112 | 21313 | 122463 | 122463
| AUGUST | 2 | 2 | 36 | 36 | 123107 | 101601 | 21506 | 123145 | 123145
| SEPTEMBER | 2 | 2 | 36 | 36 | 123689 | 102101 | 21588 | 123727 | 123727
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division KEED
| APRIL | 1 | 1 | 41 | 41 | 91248 | 42579 | 48669 | 91290 | 91290
| MAY | 1 | 1 | 41 | 41 | 91733 | 42859 | 48874 | 91775 | 91775
| JUNE | 1 | 1 | 41 | 41 | 92085 | 43133 | 48952 | 92127 | 92127
| JULY | 1 | 1 | 41 | 41 | 92406 | 43456 | 48950 | 92448 | 92448
| AUGUST | 1 | 1 | 41 | 41 | 92914 | 43751 | 49163 | 92956 | 92956
| SEPTEMBER | 1 | 1 | 41 | 41 | 93461 | 44020 | 49441 | 93503 | 93503
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division KWED
| APRIL |  |  | 20 | 20 | 87492 | 11728 | 75764 | 87512 | 87512
| MAY |  |  | 21 | 21 | 87997 | 11784 | 76213 | 88018 | 88018
| JUNE |  |  | 21 | 21 | 88112 | 11840 | 76272 | 88133 | 88133
| JULY |  |  | 21 | 21 | 88401 | 11984 | 76417 | 88422 | 88422
| AUGUST |  |  | 21 | 21 | 89637 | 12078 | 77559 | 89658 | 89658
| SEPTEMBER |  |  | 21 | 21 | 88188 | 12344 | 75844 | 88209 | 88209
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
Name of the Division NUAPADA
| APRIL |  |  | 12 | 12 | 78871 | 16722 | 62149 | 78883 | 78883
| MAY |  |  | 12 | 12 | 79241 | 16833 | 62408 | 79253 | 79253
| JUNE |  |  | 12 | 12 | 79462 | 16928 | 62534 | 79474 | 79474
| JULY |  |  | 12 | 12 | 79665 | 17047 | 62618 | 79677 | 79677
| AUGUST |  |  | 12 | 12 | 79896 | 17116 | 62780 | 79908 | 79908
| SEPTEMBER |  |  | 14 | 14 | 80446 | 17178 | 63268 | 80460 | 80460
|  | EHT |  | HT |  | LT |  |  | TOTAL
| Month | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued | No. of Consumers | No. of Bill issued (Monthly) | No. of Bill issued (Bi-Monthly) | No. of Consumers | No. of Bill issued
WESCO As a Whole
| APRIL | 28 | 28 | 794 | 794 | 1338245 | 619545 | 718700 | 1339067 | 1339067
| MAY | 28 | 28 | 794 | 794 | 1347513 | 624758 | 722755 | 1348335 | 1348335
| JUNE | 28 | 28 | 795 | 795 | 1354598 | 628709 | 725889 | 1355421 | 1355421
| JULY | 28 | 28 | 799 | 799 | 1363066 | 633492 | 729574 | 1363893 | 1363893
| AUGUST | 28 | 28 | 806 | 806 | 1372941 | 637226 | 735715 | 1373775 | 1373775
| SEPTEMBER | 28 | 28 | 810 | 810 | 1378009 | 640224 | 737785 | 1378847 | 1378847
MIS