BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Filing No.: 02

Case No. 71 of 2019

IN THE MATTER OF :	Compliance / Clarifications / Reply by GRIDCO to the Wanting Information / Queries raised by the Hon’ble Commission with respect to ARR & BSP Application of GRIDCO for FY 2020-21 vide Hon’ble OERC letter No.990 dated 23.12.2019 pursuant to the filing of an Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2020-21 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

IN THE MATTER OF:	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2020-21 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations in Case No. 71 of 2019.

AND

IN THE MATTER OF :  GRIDCO Limited, Janpath, Bhubaneswar

- …….…. Applicant

The Humble Applicant above named

MOST RESPECTFULLY SHOWETH THAT

It is submitted that M/s. GRIDCO Limited (GRIDCO) filed the Aggregate Revenue Requirement (ARR) &Bulk Supply Price (BSP) Application for FY 2020-21 before the Hon’ble Odisha Electricity Regulatory Commission (OERC) on 30.11.2019 in terms of Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004 and other related Rules and Regulations.The said Application of GRIDCO was registered as Case No.71 of 2019 by the Hon’ble Odisha Electricity Regulatory Commission (herein after called as “OERC” or “the Commission”.

After going through the said ARR & BSP Application, Hon’ble OERC in their Letter No.990 dated 23.12.2019 directed GRIDCO to furnish the Wanting Information (W.I.) and to comply to the various Queries and / clarify on Issues as raised by the Hon’ble Commission on the ARR and BSP Application for FY 2020-21 so filed before the Commission on 30.11.2019, by 06.01.2020.

Duly obliging the directives of the Hon’ble Commission, GRIDCO, in the subsequent paragraphs, submits the following Replies / Compliance / Clarifications to the Queries / Issues raised in the above referred letter. GRIDCO has also made all possible attempts to provide the required Technical and Financial information as required for by the Hon’ble Commission.

- Compliance / Reply by GRIDCO to the Queries of the Hon’ble OERC on the ARR & BSP Application for FY 2020-21

Technical

- W.I. No.1:

GRIDCO is required to furnish the Cumulative Plant Availability Factor (PAF) of TTPS (NTPC) and OPGC for the FY 2018-19 along with month-wise PAF for the months of October and November, 2019 of the current financial year.

Reply of GRIDCO:

It is respectfully submitted that, as desired by the Hon’ble OERC, (i) Cumulative Plant Availability Factor (PAF) of TTPS (NTPC) & OPGC for the FY 2018-19 and (ii) month-wise PAF for Current Financial Year 2019-20 (i.e.from April’19 to Nov’19) are furnished as follows:

- Cumulative Plant Availability Factor (PAF) for FY 2018-19:

TTPS(NTPC)	:		89.14%

OPGC		:		82.42%

- Month-wise PAF (PAFM) for Current Financial Year-2019-20for October’19 & Novemeber’19 are as follows:

| Name of the Station | TTPS | OPGC - 1 & 2 | OPGC - 3 & 4 |
| --- | --- | --- | --- |
| Months | PAFM (%) | PAFM (%) |  |
| Oct-19 | 64.87 | 64.04 | 80.36 |
| Nov-19 | 77.72 | 73.15 | 88.39 |

- W.I. No.2:

In respect of Central Generating Stations (both for Thermal and Hydro), GRIDCO is requiredto submit the latest share allocation for Odisha made by the Ministry of Power along with the present installed capacity. The latest monthly REA prepared by ERPC/SRPC is also to be furnished.

Reply of GRIDCO:

As desired by the Hon’ble Commission, a copy of the latest monthly Regional Energy Accounting (REA)i.e.for the month of November, 2019,as downloaded from the Eastern Regional Power Committee (ERPC)and Southern Regional Power Committee (SRPC) Website, is enclosed herewith for kind information (Annexure-1(Series).The REA so prepared by the ERP depicts the Station-wise details of Energy Accounting like ‘Installed Capacity, allocated share as well as the ‘Energy Drawal’ in favour of the Beneficiary States including Odisha (GRIDCO).

However, the latest share allocated from NTPC & NHPC Stations in favour of Odisha is tabulated in the following Table which may be considered as the current share allocation in favour of Odishauntil the same is revised by the Government of India.

Share Allocation from CGSs in favour of Odisha (GRIDCO)

| Name of the CGSs | Installed Capacity | Share Allocation to GRIDCO out of Installed Capacity (Including NVVN Thermal Power) | Total |
| --- | --- | --- | --- |
|  | (MW) | (%) | (MW) |
| Farakka STPS-I&II | 1600 (3X200+2X500) | 14.18 | 226.88 |
| Farakka STPS-III | 500 | 17.15 | 85.75 |
|  | (1x500) |  |  |
| KhSTPS Stg.-I | 840 | 15.77 | 132.47 |
|  | (4x210) |  |  |
| KhSTPS Stg.-II | 1500 | 2.62 | 39.30 |
|  | (3X500) |  |  |
| TSTPS Stg.-I | 1000 | 32.34 | 323.40 |
|  | (2X500) |  |  |
| TSTPS Stg.-II | 2000 | 10 | 200.00 |
|  | (4X500) |  |  |
| Sub-Total | 7440 |  | 1007.80 |
| (Central Thermal)(A) |  |  |  |
| Chukka HEP | 336 (4X84) | 15.19 | 41.01 |
|  | (ER Allocation=270) |  |  |
| Tala HEP | 1020 | 4.25 | 43.35 |
|  | (6X170) |  |  |
| Teesta HEP | 510 | 20.59 | 105.00 |
|  | (3X170) |  |  |
| Mangdechhu | 720 | 10.97 | 79.01 |
|  | (4x18) |  |  |
| Sub-Total | 2586 |  | 268.37 |
| (Central Hydro)(B) |  |  |  |
| Grand Total (A+B) | 10026 |  | 1276.17 |

3. 	W.I. No.3:

The energy bills for the month of October & November, 2019in respect of all the generators (both state & central sector) supplying power to GRIDCO along with all enclosures are to be submitted. Similarly, the bills for the month of Oct and Nov, 2019 in respect of PGCIL transmission charges, SOC, MOC and ULDC charges to be furnished.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the Energy Bills in respect of various Generators (both State & Central Generators), that of PGCIL and ERLDC / ERPC Charges etc.for the months of October’19 & November’19 along with all the relevant enclosures are attached herewith as Annexure-2(a) to Annexure-22(b)as given in the Table below:

Energy Bills of Central & State Generators for October’19 & November’2019

| Stations | Energy Bill for | Annexure Nos. |
| --- | --- | --- |
| State Sector Stations |  |  |
| OHPC (All Stations) | October, 2019 | 2 (a) |
|  | November, 2019 | 2 (b) |
| Meenakshi SHEP | October, 2019 | 3 (a) |
|  | November, 2019 | 3 (b) |
| Samal SHEP | October, 2019 | 4 (a) |
|  | November, 2019 | 4 (b) |
| OPGC | October, 2019 | 5 (a) |
|  | November, 2019 | 5 (b) |
| NTPC-TTPS | October, 2019 | 6 (a) |
|  | November, 2019 | 6 (b) |
| GKEL (GMR Kamalanga Energy Ltd.) | October, 2019 | 7 (a) |
|  | November, 2019 | 7 (b) |
| Central Sector Stations |  |  |
| Chukha | October, 2019 | 8 (a) |
|  | November, 2019 | 8 (b) |
| Tala | October, 2019 | 9 (a) |
|  | November, 2019 | 9 (b) |
| Teesta | October, 2019 | 10 (a) |
|  | November, 2019 | 10 (b) |
| Mangdechhu | October, 2019 | 11 (a) |
|  | November, 2019 | 11 (b) |
| FSTPS-I & II | October, 2019 | 12 (a) |
|  | November, 2019 | 12 (b) |
| FSTPS-III | October, 2019 | 13 (a) |
|  | November, 2019 | 13 (b) |
| TSTPS-I | October, 2019 | 14 (a) |
|  | November, 2019 | 14 (b) |
| TSTPS-II | October, 2019 | 15 (a) |
|  | November, 2019 | 15 (b) |
| KhSTPS-I | October, 2019 | 16 (a) |
|  | November, 2019 | 16 (b) |
| KhSTPS-II | October, 2019 | 17 (a) |
|  | November, 2019 | 17 (b) |
| PGCIL Transmission Bills (PoC) | October, 2019 | 18 (a) |
|  | November, 2019 | 18 (b) |
| ERLDC Fees & Charges (SOC & MOC) | October, 2019 | 19 (a) |
|  | November, 2019 | 19 (b) |
| ER-ULDC | October, 2019 | 20 (a) |
|  | November, 2019 | 20 (b) |
| M/s. Green Infra Wind Energy Ltd. | October, 2019 | 21 (a) |
|  | November, 2019 | 21 (b) |
| M/s. Ostro Kutch Wind Pvt. Ltd | October, 2019 | 22 (a) |
|  | November, 2019 | 22 (b) |

4.	W.I. No.4:

The details of power purchased from the different renewable sources are to be furnished for FY 2017-18, FY 2018-19 as per the format given below along with month-wise drawal for the FY 2019-20 (up-to-date).

| For the FY……….. |  |  |  |
| --- | --- | --- | --- |
| State Consumption during the year | ------------- MU |  |  |
|  | RPO obligation asper Regulations | Achievement during the year (audited) |  |
|  | % | MU | % |
| Renewable Power Procurement |  |  |  |
| - Solar |  |  |  |
| - Non-solar - Small hydro - Bio-mass |  |  |  |
| Total |  |  |  |

Reply by GRIDCO:

As desired by the Hon’ble Commission, the details of power purchased from the different Renewable Sources during FY 2017-18, FY 2018 -19& FY 2019-20 (from April’19 to Nov.,19) are submitted in the OERC Prescribed Format pertaining to RPO &are attached herewith as Annexure-23.

- W.I. No.5:

GRIDCO is also to furnish the actual drawal of solar and wind energy from different sources/plants for the FY 2017-18, 2018-19 & FY 2019-20 (up-to-date) indicating present installed capacity (MW).

Reply of GRIDCO:

As desired by the Hon’ble Commission, the actual drawal of Solar Power by GRIDCO from different Sources/Plants for FY 2017-18,  FY 2018-19& FY 2019-20 (up to November 2019) are attached herewith as Annexure-24 & 25.

6.	W.I. No.6:

During the first half of the FY 2019-20, GRIDCO has met RPO of 3.85% against 11% fixed by the Commission. As per the proposed procurement of Renewable Energy in the ARR application for the FY 2020-21, GRIDCO can be able to meet the RPO of only 7.92% during the FY 2020-21. The strategic planning of GRIDCO to meet the RPO needs to be explained. GRIDCO may also intimate about any pending proposals for purchase of power in near future from other renewable sources such as Municipal Solid Waste (MSW) and Bagasse based co-generation etc., along with the status of PPA to that respect.

Reply of GRIDCO:

It is submitted that, in FY 2019-20, GRIDCO is able to meet 4.07 % of RPO till November 2019. At present, GRIDCO is availing power from 412 MW of Solar Capacities &207.64 MW of Non-Solar Capacities towards fulfilling the specified RPO Target and the details are provided in theAnnexure-25.

75 MW Solar Capacity by M/s. Aditya Birla Renewables Ltd.:

It may be further submitted that another 75 MW of Solar Energy in the State will be commissioned in FY 2019 -20and FY 2020-21 which is being developed by M/s. Aditya Birla Renewables Ltd. in 3 phases (1st 25 MW SPV Project by January 2020, 2nd25 MW SPV Project by March 2020 and 3rd 25 MW SPV Project by June 2020) selected through GRIDCO “e-Bidding Scheme”, as detailed in the Annexure-25.

SECI ISTS Connected 200 MW Solar Capacity Tranche-VI &300 MW Solar Capacity:

Additional 300 MW Solar Capacity is likely to be added in the State from October 2020 through SECI ISTS-Connected Solar Power Project Scheme. GRIDCO has also executed Power Sale Agreement (PSA) for another 200 MW Solar Capacity on 22.08.2019 with SECI under the ISTS-Connected Solar Power Project Scheme, Tranche-VI, which is expected to be available in FY 2020 -21.

275 MW Solar Park Projectby GEDCOL& 40 MW Solar Project by NHPC:

The matter of 275 MW GEDCOL Solar Park Project is in the final Scrutiny Stage and the Tender is expected to be called by M/s. GEDCOL within next two months. It may be submitted that after award of the 275 MW GEDCOL Solar Park Project, it is expected to be completed within 24 months’ time period. Similarly, 40 MW Solar Project by NHPC at Jagannathprasad, Ganjam is at the tendering stage and the PPA is going to be executed with NHPC after the Price Discovery.

Non-Solar RPO(478 MW):

In so far as Non-Solar RPO is concerned, in addition to the existing 207.64 MW, GRIDCO will receive additional 93.36 MWof Non-Solar Capacity in FY 2019-20, 24 MW from the SHEP developed by M/s Baitarani Power Projects Pvt. Ltd. and 69.36 MW from Phase-II & III of ISTS-Connected Wind power Project Schemes, as detailed in the Annexure-25.It is submitted that another 177 MWof Non- Solar Capacity (SHEP – 27 MW, Wind – 150 MW) are under pipeline which is expected to be made available to the State within the next two years’ time.

7.	W.I. No.7

In its ARR application GRIDCO has indicated that M/s. JITPLunilaterally stopped supply of power from 23.05.2019. GRIDCO is to intimate that whether the plant is in operation at present or not ? If yes, action taken by GRIDCO for availing State share of Power from M/s. JITPL is to be intimated. The IPPs of M/s. Nava Bharat Ventures Limited and M/s. Ind-Barath Energy (Utkal) Limited have been commercially operated w.e.f. 30.11.2015 and 20.07.2016 respectively. But they are not supplying the State entitlement of power to GRIDCO. The present status of these two IPPs along with the action taken by GRIDCO to avail State share of power from these IPPs is to be furnished. Whether the matter is taken up with the State Government or GRIDCO has gone to any court of law?

Reply of GRIDCO:

It is kindly submitted that by taking plea of the Hon’ble Odisha High Court’s Interim Order Dated 16.05.2019 in W.P.(C) No. 18150 of 2018 (photocopy enclosed as Annexure -26, M/s. JITPL stopped supplying power to GRIDCO w.e.f. 23.05.2019. GRIDCO filed an Application before Hon’ble High Court of Orissa for vacation of the stay order dated 16.05.2019, which is yet to be heard. However, the Thermal Plant of JITPL is continuing to be in operation and the IPP is selling power outside the State. After unilateral stand taken by M/s. JITPL to stop supply of power to the State/GRIDCO, GRIDCO has intimated the matter to the Department of Energy, Government of Odisha vide letter dated 30.05.2019 (Photocopy enclosed as Annexure-27) requesting the Authorities to take necessary action.

Further, GRIDCO has also written to JITPL on 30.05.2019 (Photocopy enclosed as Annexure-28), intimating that the stoppage of power supply is a coercive action taken by JITPL and is thus liable for contempt of Court.

M/s. Ind-Barath Energy (Utkal) Limited (IBEUL):

It is learnt that IBEUL Project has been referred to NCLT and the same is under process of public auction for liquidation of liabilities. In view of the above, it is submitted that there is no scope of any procurementof power from this Project by GRIDCO.

M/s. NBVL:

It may be stated that although GRIDCO has signed PPA with M/s. NBVL, the COD (Commercial Operation Date) of the IPP already declared and the synchronization of IPP with the OPTCL Grid system completed, the IPP continues to be non-operational due to non-clearance of the new Metering Scheme proposed and approved by CESU, OPTCL&GRIDCO.

8.	W.I. No.8:

M/s. Vedanta Limited has furnished the generation plan to supply 3053 MU during FY 2020-21 subject to resumption of coal supply by MCL. But GRIDCO has proposed to draw only 544 MU from M/s. Vedanta Limited during FY 2020-21. The status of coal supply to M/s. Vedanta Limited is to be furnished.

Reply of GRIDCO:

M/s. Vedanta Ltd. submitted Conditional Generation Plan for FY 2020-21 stating that if such conditions would be fulfilled, then only the IPP would supply 3053 MU of power to the State (GRIDCO Ltd.). The conditions specified by M/s. Vedanta Ltd. were:

- Subject to resumption of coal supply by M/s. MCL and;

- Outcome of Case No. 34 of 2018 filed before the Hon’ble OERC in the matter of conversion of Unit #2 (600 MW) from IPP to CGP.

As submitted in its ARR & BSP Application for FY2020-21, GRIDCO has stated that such Proposal having Conditional Generation Plan is not acceptable to GRIDCO.

However, Coal supply by M/s. MCL has resumed w.e.f. 18.12.2019 as intimated by MCL to GRIDCO vide letter dated 23.12.2019 a photocopy of which is enclosed as Annexure-29. The letter of M/s. MCL to M/s. Vedanta Ltd., in this regard, is also submitted herewith for kind reference (Annexure-30).It may be further submitted that, in view of huge amount of dues receivable from the IPP on account of non-supply of State entitlement of power to GRIDCO as per the Hon’ble Commission’s directions vide Order dated 27.01.2016 in Case No. 21 of 2015 (after adjustment of differential claim of Fixed Charges as per the Tariff Order of the Hon’ble OERC for the period 2010-11 to 2013-14 and 2014-15 to 2018-19), it may not be possible to procure projected quantum of power from the IPP till Final Order in Case No. 68 of 2018 is passed by the Hon’ble Commission (wherein provision for incorporation of Compensation for non-supply of power to the State in the Revised PPA is to be decided).

It may also be added that in spite of the Hon’ble Commission allowing supply of power through alternate routes at the IPP Price vide Minutes of Meeting dated 07.12.2017, M/s. Vedanta Ltd. has failed to supply power from any other alternate sources such as, its VAL-I CGP (9x135MW)/Power Exchanges.

It is for the above stated reasons that the Projection of procurement of power from M/s. Vedanta Ltd. has been made for 544 MU only vis-à-vis the Conditional Generation Plan of 3053 MU submitted by M/s. Vedanta Ltd. for FY 2020-21.

9.		W.I. No.9:

GRIDCO has proposed the tariff for Teesta power station at 232.60 P/U. Copy of CERC order in support of this is to be submitted.

Reply of GRIDCO:

It is submitted that the Hon’ble Central Electricity Regulatory Commission (CERC) has disposed of the Petition No. 234/GT/2014filed by M/s. NHPC for Truing-Up of Capital Expenditure for the Period 2009-14 and Determination of Tariff for the Period, 2014-19 in respect of Teesta-V Hydro Power Station vide CERC Order Dated 16.08.2016.

Hon’ble CERC, in the afore-said Order dated 16.08.2016 has approved the Tariff for NHPC-Teesta for the period 2014-19 which is attached herewith as Annexure-31for kind appreciation of the Hon’ble Commission. Since the CERC Tariff Order Teesta-V for the Control period 2019 -24 is yet to be determined and approved, the Bills of the Teesta-V HPS is being processed as per the CERC Order dtd. 16.08.2016 for the previous Control Period of FY 2014-19, at present.

In line with the afore-said Order of the Hon’ble CERC dated 16.08.2016, GRIDCO has considered both the Energy Charge Rate (ECR) and the Fixed Charge Rate (FCR) (or the Capacity Charge) as equal to each other, both of which constitute the Annual Fixed Cost (AFC). As per the present billing by M/s. NHPC-TEESTA, the ECR & the Fixed Charge Rate is taken as 116.30 P/U, each.

- ECR as per Current Bills of NHPC-(Teesta-V)		= 116.30 P/U

- Capacity Charge for NHPC-(Teesta-V)			= 116.30 P/U

- Total ECR & Capacity Charge					=  232.60 P/U

10.	W.I. No.10:

The present Price of Coal and its GCV (both domestic and e-auction/imported) used in different ER-NTPC stations (including TTPS) for the period for 2018-19 & 2019-20 (up to date) are to be furnished.

Reply of GRIDCO:

It is submitted that the details of Coal Price and its GCV in respect of different NTPC-ER Stations (including TTPS) for the period 2018-19 and 2019-20 (till Nov’19) are attached herewith at Annexure-32.

11.	W.I. No.11:

The amount received by GRIDCO towards STOA charges for the FY 2018-19 	and FY 2019-20 (upto date) under PGCIL Transmission Charges is to be 	furnished.

Reply of GRIDCO:

As desired by the Hon’ble OERC, the amount of STOA (Short-Term Open Access) Charges for FY 2018-19 & FY 2019-20 (upto Nov’19) received by GRIDCO is furnished below for kind information of the Commission:

Amount Received by GRIDCO towards STOA Charges for FY 2018-19

(Amount in Rupees)

| Months | STOA Charges received by GRIDCO |
| --- | --- |
| Apr-18 | 3,80,12,400.00 |
| May-18 | 3,53,22,911.00 |
| Jun-18 | 4,18,41,855.00 |
| Jul-18 | 4,33,34,807.00 |
| Aug-18 | 4,68,49,478.00 |
| Sep-18 | 8,55,56,216.00 |
| Oct-18 | 10,50,45,480.00 |
| Nov-18 | 9,49,89,788.00 |
| Dec-18 | 5,89,49,687.00 |
| Jan-19 | 8,15,38,945.00 |
| Feb-19 | 4,00,23,825.00 |
| Mar-19 | 3,39,52,194.00 |
| Total | 70,54,17,586.00 |

Say; Rs.70.54 Crore

Amount Received by GRIDCO towards STOA Charges for FY 2019-20

(April’19 to Nov’19)

(Amount in Rupees)

| Months | STOA Charges received by GRIDCO |
| --- | --- |
| Apr-19 | 4,17,46,582.00 |
| May-19 | 5,85,70,653.00 |
| Jun-19 | 5,32,45,524.00 |
| Jul-19 | 6,11,09,979.00 |
| Aug-19 | 16,89,67,086.00 |
| Sep-19 | 18,21,65,713.00 |
| Oct-19 | 10,85,51,553.00 |
| Nov-19 | 5,41,00,084.00 |
| Total | 72,84,57,174.00 |

Say; Rs.72.85 Crore

12.	W.I. No.12:

Monthly pooled cost of power purchase by GRIDCO from the month of April 2019 to November 2019 along with cumulative figure up to November 2019 is to be furnished.

Reply of GRIDCO:

A copy of the Monthly Pooled Cost of Power Purchase of GRIDCO for the period from April’19 to Novemberr’19 and the Cumulative up to November’19 for FY 2019-20 is attached herewith as Annexure-33 for kind information of the Hon’ble Commission.

- W.I. No.13:

GRIDCO has claimed an amount of Rs.127.93 Cr. as pass through in the ARR in respect of Guarantee Commission and Arrear payment of OPGC for the FY 2016-17, 2017-18 and 2018-19. The reasons for not proposing the same under Truing-up is to be furnished.

Reply by GRIDCO:

It is respectfully submitted that GRIDCO’s Claim of Rs.127.93 Crore(Rs.9.77 Cr.+ Rs.73.62 Cr.+ Rs.44.34 Cr.)as pass through in its ARR & BSP Application for FY2020-21 pertaining to OPGC Ltd (#1 and #2) consisted of payments made towards (i)Guarantee Commission and,(ii)Arrears of OPGC for the FY 2016-17, 2017-18 and 2018-19. The details are furnished as below:

- Reimbursement of Fees towards Guarantee Commission amounting to Rs.9,77,19,045/-(about Rs.9.77 Crore)was made on 29.09. 2018.However, as per the OERC Order dated 22.03.2018 in Case No. 75 of 2017, such payment was subject to adjustment in GRIDCO’s ARR, if claimed by GRIDCO. Therefore, the said amount is now claimed in the ARR application for FY: 2020-21.

- Payment of Rs.73,61,54,667/-(About Rs.73.62 Crore)towards Differential Fixed Charge, Reimbursement of Differential Electricity Duty, Incentive, ARR Tariff Petition Fees as per the Hon’ble Commission’s Order Dated 28.03.2019 in Case No. 33 of 2018 was made on 14.10.2019.

- Regarding Reimbursement of amount claimed towards Income Tax amounting to Rs.44.34 Crore, which consisted of the following payment / Adjustments:

- Payment of an amount of Rs.40,52,90,924/- i.e. Rs.40.53 Crore by GRIDCO on 20.12.2019 and 31.12.2019,

- Adjustment of Rs.2,37,76,725/- i.e. Rs.2.38 Crore towards Recovery @0.5% Entry Tax on Coal and,

- Recovery of Differential amount of Rs.1,43,00,355/- i.e. Rs.1.43 Crore towards MAT Credit.

It is submitted that the Audited Accounts of GRIDCO for FY 2018-19, shall be filed before the Hon’ble OERC for Truing Up only after the necessary approval by the Board and consequent adoption of the Audited Accounts by the AGM. In the meantime,  approval of pass through of  Guarantee Commission Fees amounting to Rs.9,77,19,045/-, if considered &allowed, by the Hon’ble OERC in the ARR for FY 2020-21 shall be taken care of  in the Truing Up Exercise, accordingly. Further, the Balance Arrear Amount shall be duly considered in the Truing Up Exercise for FY 2019-20.

- W.I. No.14:

The following formats are not submitted along with the application. The same are to be filled in (for previous year/ current year/ ensuing year) and submitted to the Commission.

T – 1:	Power purchased from Generators

T – 2:	Schedule of Maintenance of Generators

T – 6:	Tariff for State Thermal Stations

T – 7:	Power Purchased from CGPs and Renewable Sources

T – 8:	Power Purchase from Central Hydro Stations

T – 9:	Tariff computation for central Sector Thermal stations

T – 10:	Energy Charges Rate (ECR)

T – 11:	Transmission tariff for PGCIL transmission system

T – 12:	Transmission charges for central sector power

T – 13:	Transmission Loss for PGCIL Transmission lines

T – 14:	Year-end charges for GRIDCO

Reply of GRIDCO:

As desired by the Hon’ble Commission, GRIDCO respectfully submits the Technical Formats such as;

T-1 (Power purchased from Generators),

T-2(Schedule of Maintenance of Generators),

T-6 (Tariff for State Thermal Station-TTPS),

T -7(Power Purchased from CGPs and Renewable Sources),

T-8(Power Purchase from Central Hydro Stations),

T-9(Tariff Computation for Central Sector Thermal Stations),

T-10 (Energy Charges Rate (ECR)),

T–11 &12 (Transmission tariff for PGCIL transmission system) (T-11 & T-12 Formats are same for the purpose of Reporting of Data.)

T-13 (Transmission Loss for PGCIL Transmission lines)

T-14 (Year-End Charges for GRIDCO) as Annexure-34 to Annexure-43, respectively.

Finance

- W.I. No.15

GRIDCO is to submit the Annual Report/Audited Accounts (both hard and soft copies) of FY 2017-18 and FY 2018-19.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the copies of Annual Report and Audited Accounts for FY 2017-18 and Audited Accounts for 2018-19 are submitted separately to the OERC.

16.  W.I. No.16

GRIDCO has submitted at Para 16 (ii) of the ARR application that, outstanding with DISCOMs is Rs.3100.68 Crore as on 31.03.2019, whereas the same has been shown as Rs.3178.31 crore in OERC tariff format F-6. Such difference to be clarified.

Reply of GRIDCO:

GRIDCO respectfully submits that, there is no difference between BSP Outstanding payable by the DISCOM Utilities as shown in the Para 16 (ii) of the ARR & BSP Application for FY 2020-21 and in the Finance Form, “F-6”. The Outstanding amount of Rs.3178.31Crore shown in the Form at F-6 consists of receivable from DISCOM Utilities and others (Sundry Debtors), whereas the figure shown at Para 16 (ii) relates to BSP Outstanding (exclusive of Sundry Debtors)  receivable from DISCOM Utilities only.

17.  W.I. No.17

It is seen from the submission that the gap arising from non-realization of dues from DISCOM Utilities is growing from year to year. The reason and steps taken to realize such outstanding from DISCOMs may be furnished in spite of Escrow Mechanism in place.

Reply of GRIDCO:

It is submitted that the revenue collected from the Retail Consumers by the DISCOM Utilities are escrowed with GRIDCO. All the revenues deposited in the Escrow Accounts by the Utilities are utilized for payment of GRIDCO’s BSP dues, OPTCL’s Transmission Charges/ Dues and SLDC’s Fees & Charges (SOC&MOC Dues). Further, the Escrow Revenue so deposited is also being utilized by DISCOM Utilities for their Employees Cost and R&M Costs etc. as authorized by GRIDCO basing on the approval of the Hon’ble OERC in the relevant RST Order. As the revenue generated by the DISCOM Utilities are not sufficient to meet the costs relating to their contractual obligation and the day to day operation, they failed to meet the power purchase cost within the due date. However, during this year, the revenue realization from the DISCOM Utilities (except SOUTHCO Utility) has improved which can be seen from the status of BSP receivables as shown below (As on November’19) compared to last FY 2017-18 (As on November’18). CESU has defaulted in paying BSP dues for last three months (one month more compared to last year) due to severe cyclonic storm “FANI”

(Rs in Crore)

| Name of Distribution Utilities | BSP Receivable as on Dec’19 | BSP Receivable as on Dec’18 | Remark |
| --- | --- | --- | --- |
| WESCO Utility | 161.35 (Nov’19) | 422.86(Nov’18) | Cleared BSPup to Oct’19 |
| NESCO Utility | 113.03(Nov’19) | 180.20(Nov’18) | Cleared BSP up to Oct’19 |
| CESU Utility | 536.89(Nov’19) | 390.58(Nov’18) | Cleared BSP up to Aug’19 |

Moreover, the AT&C loss% of DISCOM Utilities is gradually reducing over the last few years. The trend of AT&C loss for the last five years is as under:

FY		     AT & Loss %

---------	    ----------------

2014-15		38.16%

2015-16		36.69%

2016-17		34.16%

2017-18		32.83%

2018-19		30.57%

In view of the above, GRIDCO anticipates improvement in the overall operational performance of the DISCOM Utilities in the coming future which will enable them to clear their past dues along with the current dues.

18.  W.I. No.18:

GRIDCO to furnish the agreed and signed joint reconciliation statement of total receivable and payable outstanding with each DISCOM under different head as per audited accounts as on 31.03.2019.

Reply of GRIDCO:

As desired by the Hon’ble Commission, a copy of the Signed Joint Reconciliation Statements relating to Total Receivable and Payable including Outstanding (Payable to GRIDCO) with each DISCOM Utility as on 31.03.2019 are enclosed herewith as  Annexure -44.

19.  	W.I. No.19:

GRIDCO may furnish the Utility wise amounts received from the Utilities in the Escrow accounts and Escrow relaxation made thereof for the year 2018-19 and up to November, 2019.

Reply of GRIDCO:

The DISCOM Utility-wise amount received from the Utilities in the Escrow Accounts and the Escrow Relaxation made thereof for the FY 2018-19 and FY 2019-20 (up to Nov’19)are furnished as under:

DISCOM Utility-wise Receipt in the Escrow Account & Escrow Relaxation

(Rs. in Crore)

| DISCOM Utilities | FY 2018-19 (April’18 to Mar.’19) |  |  | FY 2019-20 (April’19 to Nov.’19) |  |
| --- | --- | --- | --- | --- | --- |
|  | Received in the Escrow Account | Escrow Relaxation made |  | Received in the Escrow Account | Escrow Relaxation made |
| WESCO Utility | 2516.27 | 286.00 |  | 1719.28 | 214.70 |
| NESCO Utility | 1707.14 | 262.08 |  | 1171.11 | 195.42 |
| SOUTHCO Utility | 617.08 | 274.88 |  | 398.24 | 190.65 |
| CESU | 2397.08 | 484.78 |  | 1403.71 | 424.70 |
| Total | 7237.57 | 1307.74 |  | 4692.34 | 1025.47 |

20. 	W.I. No.20:

GRIDCO may furnish the Audit Report of Escrow Account of Utilities for 2018-19.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the copy of the Audit Report of Escrow Account of DISCOMs for FY 2018-19 is attached herewith as Annexure-45(Series).

21. W.I. No.21:

Cash flow statement (OERC format F-7) as submitted by GRIDCO, there is a negative closing balance of Rs. 180.08 crore of FY 2018-19 whereas as per Balance sheet (OERC format F-15) there is a positive closing cash and bank balance of Rs.326.20 crore. GRIDCO to furnish the reason of above difference and submit the reconciliation statement of cash and bank balance in balance sheet as on 31.03.2019 and monthly cash flow statement of FY 2018-19.

.

Reply of GRIDCO:

It is submitted that, as per the OERC Finance Format “F-7” for FY 2018-19 & FY 2019-20 (Revised) submitted herewith (Annexure-46(A), there is a Negative Closing Balance of Rs. 162.26 Crore as on 31.03.2019 whereas as per the Note 13 of Balance Sheet (Copy enclosed (Annexure-46(B)) of GRIDCO as on 31.03.2019, there is a “Cash & Cash Equivalents” balance of Rs. 326.20 Crore.

Hence, there is a difference of Rs. 488.46 Crore which represents short term deposit with bank to the extent of Rs. 186.68 Crore being the amount received from Govt. of Odisha under CAPEX Scheme and SOD facility of Rs. 301.78 Crore (Note 16 of Balance Sheet(Copy enclosed (Annexure-46(C)) availed by GRIDCO. The details in this regards is furnished below:

| Sl. No. | Particulars | Amount (in Crore) |
| --- | --- | --- |
| 1. | Balance as per Balance Sheet - Note-13 | (+) Rs. 326.20 Crore |
| 2. | Balance as per Balance Sheet - Note-16 (SOD Availed) | (-) Rs.301.78 Crore |
|  | Difference (1-2) | (+) Rs. 24.42 Crore |
| 3. | Short Term Deposit with Bank towards CAPEX Plan | (-) Rs. 186.68 Crore |
|  | Balance as per OERC Finance Format “F-7”(Revised) | (-) Rs. 162.26 Crore |

As desired by the Hon’ble Commission, a Copy of the Bank Reconciliation Statement as on 31.03.2019 and Monthly Cash Flow Statement for FY 2018-19 are attached herewith as Annexure-46(D) and Annexure-47,respectively.

22. W.I. No.22:

GRIDCO to submit month wise cash flow statement for the financial year 2019-20 (upto November, 2019).

Reply of GRIDCO:

As desired by the Hon’ble Commission, the Month-wise Cash Flow Statement of GRIDCO for FY 2019-20 (Up to Nov’19) is attached herewith as Annexure-48.

23. W.I. No.23

GRIDCO to submit Loan outstanding position with soft copy of loan repayment schedule of all loans as on 30.11.2019. Also furnish the details of loan availed during the financial years FY 2017-18 to 2019-20 (upto November 2019) as per prescribed format below:

| Sources | Amounts | Rate of Interest | Date Availed | Repayment period from ---to--- | Purpose |
| --- | --- | --- | --- | --- | --- |

Reply of GRIDCO:

As desired by the Hon’ble Commission, the  soft-copy showing the Loan Outstanding position of GRIDCO along with the Loan Repayment Schedule of all the loans as on 30.11.2019, is attached herewith for kind perusal and information of the Hon’ble Commission.  In addition, the details of loans availed during FY 2017-18 to FY 2019-20(Up to Nov’2019) as per the prescribed format are also attached herewith as Annexure-49.

24.  W.I. No.24

GRIDCO to submit the following employee cost related information as per prescribed format given below:

(In Rupees)

| Particulars | Actual for FY 2018-19 | Actual for FY 2019-20 (Month wise till Nov.2019 |
| --- | --- | --- |
| Basic & Grade pay actual paid |  |  |
| DA paid |  |  |
| HRA Paid |  |  |
| Medical Allowance paid |  |  |
| Ex-Gratia |  |  |
| Others |  |  |
| Total |  |  |

Reply of GRIDCO:

As desired by the Hon’ble OERC, the Employee Cost related information, as per the prescribed formats, are furnished below:

| Particulars | Actual for FY 2018-19 | Apr'19 |  | May'19 | June'19 | Jul'19 | Aug'19 | Sept'19 | Oct'19 | Nov'19 | Total (Apr'19-Nov'19) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Basic & Grade pay actual paid | 56,851,358 |  | 4,574,478 | 4,611,200 | 4,585,250 | 4,613,570 | 4,868,464 | 4,584,010 | 4,710,681 | 4,299,300 | 36,846,953 |
| DA paid | 9,675,313 |  | 604,258 | 553,344 | 550,230 | 553,179 | 548,604 | 549,466 | 565,282 | 515,916 | 4,440,279 |
| HRA Paid | 3,094,649 |  | 259,733 | 262,597 | 264,999 | 258,959 | 270,583 | 258,959 | 263,159 | 239,579 | 2,078,568 |
| Medical Allowance paid | 1,400,196 |  | 98,028 | 103,620 | 96,885 | 100,379 | 105,986 | 97,895 | 100,334 | 90,373 | 793,500 |
| Ex-Gratia | 1,148,832 |  | - | - | - | - | - | - | 1,080,335 | - | 1,080,335 |
| Others (Other Allowances to Regular & Contractual Employees, Leave Salary, Pension Contribution etc.) | 30,118,463 |  | 194,149 | 680,545 | 669,824 | 3,171,478 | 683,830 | 771,030 | 567,216 | 507,594 | 7,245,666 |
| Total | 102,288,811 |  | 5,730,646 | 6,211,306 | 6,167,188 | 8,697,565 | 6,477,467 | 6,261,360 | 7,287,007 | 5,652,762 | 52,485,301 |

(Amount in Rupees)

25.  	W.I. No.25

During past periods, the interest rate has been reduced consistently. What step has taken to swap high interest bearing loan? How much interest burden has reduced by swapping high interest bearing loan? GRIDCO to clarify.

Reply of GRIDCO:

It is humbly submitted that, the existing loans availed from different commercial banks are at the MCLR with varying Interest from 8.50% to 8.75%, below which, Commercial Banks are not authorized to make any lending as per the RBI Guidelines. During FY 2018-19, GRIDCO has availed term loan of Rs.935.00 crore at MCLR in the range of 8.50% to 8.75%.

It is further submitted that GRIDCO also redeemed Bond to the tune of Rs.50.00 crore carrying interest @10.40% by exercising “Call Option” during May, 2019 (Scheduled Date of Repayment was May, 2022) thereby saving an amount of Rs.3.00 Crore towards Interest, as furnished in the Table below:

Saving of Rs.3 Crore towards Interest on Rs.50 Cr. Bond by exercising “Call Option”

Pre-closure of Bond:					(Rs. Crore)

| Sl. No. | Particulars | Unit | Amount |
| --- | --- | --- | --- |
| 1. | Bond Amount | Rs. Crore | 50.00 |
| 2. | Due Date Repayment | Date | 26.05.2022 |
| 3. | Actual Date of Repayment | Date | 26.05.2019 |
| 4. | Bond Rate of Interest | % Interest Rate | 10.40% |
| 5. | Bank Loan taken to Repay the Bond | Rs. Crore | 50.00 |
| 6. | Bank Rate of Interest | % Interest Rate | 8.40% |
| 7. | Interest saved for 3 years | Rs. Crore | 3.00 |

B.	Corrigendum to the ARR & BSP Application for FY 2020-21 filed on 30.11.2019:

- Para 1.2 (Page-12):  In respect of OPGC, the Normative PLF is furnished as 68.49%. However, in relation to the Projected Sale of 2743.56 MU as given by OPGC (i.e. proposed power procurement by GRIDCO in the ARR & BSP Application for FY 2020-21), the corresponding PLF% may be considered as 82.397%.

- Para No.7.02 (Page-47): It is submitted that at the Table relating to Power Procurement, Tariff & Cost from Machhkund Hydro Station under Para No.7.02 (Page-47) 52.05 MU in the 6th Row may kindly be considered as 105 MU. Of course, this has been reflected as 105 MU and accordingly, taken care of in the calculation of Quantity & Cost of Power from Machhkund HPS in the 10th Row of the same Table.

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Filing No.: 02

Case No. 71 of 2019

IN THE MATTER OF :	Compliance / Clarifications / Reply by GRIDCO to the Wanting Information / Queries raised by the Hon’ble Commission with respect to ARR & BSP Application of GRIDCO for FY 2020-21 vide Hon’ble OERC letter No.990 dated 23.12.2019 pursuant to the filing of an Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2020-21 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

IN THE MATTER OF:	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2020-21 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations in Case No. 71 of 2019.

AND

IN THE MATTER OF :  GRIDCO Limited, Janpath, Bhubaneswar											…….…. Applicant

Affidavit verifying the Application

I, Shri Shiba Shankar Nayak, aged about 59 years, S/o Late Sitikantha Nayak, Chief General Manager (Power Purchase), GRIDCO do hereby solemnly affirm and say as follows:

I am the Chief General Manager (Power Purchase) of GRIDCO Ltd., the Applicant in the above matter and am duly authorized to make this affidavit on its behalf.

The Statements made in the foregoing Paragraphs of this ARR & BSP Application herein are based on information and I believe them to be true.

Bhubaneswar

January___, 2020								DEPONENT