## BERHAMPUR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| BERHAMPUR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 KV Bhanjanagar - Mendhashala | 0.45556 | 1900-01-03 21:40 | 1900-01-04 08:36 | 97.06% | 1900-01-02 08:02 | 0.041667 | 1900-01-02 09:02 | 98.15% | 1900-01-05 11:59 | 0.95764 | 1900-01-06 10:58 | 95.91%
2 | 220 KV Bhanjanagar - Nayagarh | 0.81944 | 1899-12-31 06:36 | 1900-01-01 02:16 | 98.85% | 0.22014 | 0 | 0.22014 | 99.88% | 0.59306 | 0.10972 | 0.70278 | 99.61%
3 | 220 KV Bhanjanagar - Meramundali - I | 1900-02-14 09:32 | 1900-01-01 05:21 | 1900-02-16 14:53 | 73.36% | 0.89306 | 0.063194 | 0.95625 | 99.48% | 1899-12-31 02:59 | 1900-01-02 07:51 | 1900-01-03 10:50 | 97.56%
4 | 220 KV Bhanjanagar - Meramundali - II | 1900-01-04 03:58 | 0.45764 | 1900-01-04 14:57 | 96.92% | 1900-02-11 10:57 | 0.21319 | 1900-02-11 16:04 | 76.07% | 1900-05-29 16:33 | 0.34653 | 1900-05-30 00:52 | 17.24%
5 | 220 KV Bhanjanagar - Theruvali - I | 0.21597 | 0.036806 | 0.25278 | 99.86% | 0.69028 | 0.016667 | 0.70694 | 99.61% | 1899-12-31 04:07 | 1900-01-01 11:01 | 1900-01-02 15:08 | 98.01%
6 | 220 KV Bhanjanagar - Theruvali - II | 0.66042 | 0.077083 | 0.7375 | 99.6% | 1900-01-01 06:35 | 0.54236 | 1900-01-01 19:36 | 98.46% | 1900-01-12 04:22 | 0.32361 | 1900-01-12 12:08 | 92.6%
7 | 220 kV Mendhasala - Narendrapur - II |  |  | 0 | 100%
8 | 220 KV Bhanjanagar - Aska New Ckt - I | [8 empty] | 1900-02-16 23:27 | 0.061806 | 1900-02-17 00:56 | 73.13%
9 | 220 KV Bhanjanagar - Aska New Ckt - II | [8 empty] | 1900-02-15 18:45 | 0.064583 | 1900-02-15 20:18 | 73.78%
10 | 132 KV Bhanjanagar - Aska Ckt - I | 0.6875 | 0.96319 | 1899-12-31 15:37 | 99.1% | 1899-12-31 15:25 | 0.78819 | 1900-01-01 10:20 | 98.67% | 1900-01-02 19:31 | 1900-01-01 12:30 | 1900-01-05 08:01 | 96.53%
11 | 132 KV Bhanjanagar - Aska Ckt - II | 0.9 | 0.56597 | 1899-12-31 11:11 | 99.2% | 1900-01-01 07:51 | 0.87361 | 1900-01-02 04:49 | 98.25% | 1900-01-06 09:41 | 0.093056 | 1900-01-06 11:55 | 95.89%
12 | 132 KV Bhanjanagar-Phulbani | 1899-12-31 09:59 | 1899-12-31 08:56 | 1900-01-01 18:55 | 98.47% | 1899-12-31 07:03 | 0.11806 | 1899-12-31 09:53 | 99.23% | 1900-01-01 05:20 | 1899-12-31 12:39 | 1900-01-02 17:59 | 97.95%
13 | 132 KV Aska - Chhatrapur Ckt - I | 0.088194 | 0.26597 | 0.35417 | 99.81% | 1899-12-31 08:18 | 1900-01-06 00:50 | 1900-01-07 09:08 | 95.41% | 0.24097 | 0.015972 | 0.25694 | 99.86%
14 | 132 KV Aska - Purusottampur | 0 | 0.0076389 | 0.0076389 | 100% | 0.41319 | 0 | 0.41319 | 99.77% | 1900-01-06 01:55 | 0.31458 | 1900-01-06 09:28 | 95.95%
15 | 132 KV Purusottampur - Chhatrapur | 0 | 0.010417 | 0.010417 | 99.99% | 1899-12-31 09:59 | 0.018056 | 1899-12-31 10:25 | 99.21% | 0 | 0.011806 | 0.011806 | 99.99%
16 | 132 KV Aska - Berhampur | 1900-01-05 03:38 | 0.011806 | 1900-01-05 03:55 | 96.62% | 1900-01-02 11:13 | 0.085417 | 1900-01-02 13:16 | 98.05% | 0.19306 | 0 | 0.19306 | 99.89%
17 | 132 KV Aska - Aska New Ckt - I | [6 empty] | 0 | 100% | 1900-01-06 01:22 | 0.060417 | 1900-01-06 02:49 | 96.1%
18 | 132 KV Aska - Aska New Ckt - I | [8 empty] | 1900-01-12 01:37 | 0.051389 | 1900-01-12 02:51 | 92.81%
19 | 132 kV Narendarapur - Berhampur Ckt - I | 0.53889 | 0.025 | 0.56389 | 99.69% | 0.78264 | 0.0090278 | 0.79167 | 99.57% | 0.52847 | 0.13056 | 0.65903 | 99.64%
20 | 132 kV Narendarapur - Berhampur Ckt - II | 0.25625 | 0.18889 | 0.44514 | 99.76% | 0.74236 | 0.0097222 | 0.75208 | 99.59% | 0.48333 | 0.00625 | 0.48958 | 99.73%
21 | 132 kV Narendrapur - Chhatrapur-I | 1899-12-31 03:14 | 0.076389 | 1899-12-31 05:04 | 99.34% | 0.80278 | 0.14722 | 0.95 | 99.48% | 0.47431 | 0.00625 | 0.48056 | 99.74%
22 | 132 kV Narendrapur - Chhatrapur-II | 1899-12-31 02:54 | 0.14583 | 1899-12-31 06:24 | 99.31% | 1899-12-31 13:13 | 0.029861 | 1899-12-31 13:56 | 99.13% | 0.70278 | 0.042361 | 0.74514 | 99.59%
23 | 132 kV Narendrapur - Traction | 0.31736 |  | 0.31736 | 99.83% | 0.33889 |  | 0.33889 | 99.81% | 0.075 | 0.011111 | 0.086111 | 99.95%
24 | 132 kV Narendrapur – Khurda |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
25 | 132 kV Chhatrapur - IRE-I | 0.11181 | 0.079861 | 0.19167 | 99.89% | 12:53:00 | 0.71528 | 0.71528 | 99.61% | 0.20833 | 0.93264 | 1899-12-31 03:23 | 99.37%
26 | 132 kV Chhatrapur - IRE-II | 0.094444 | 0.11944 | 0.21389 | 99.88% | 0.52917 | 1899-12-31 13:38 | 1900-01-01 02:20 | 98.85% | 0.24306 | 0.6875 | 0.93056 | 99.49%
27 | 132 kV Chatarpur - Ganjam | 0 | 0.11458 | 0.11458 | 99.94% | 0.50625 | 0.92431 | 1899-12-31 10:20 | 99.22% | 0.18681 | 0.73889 | 0.92569 | 99.49%
28 | 132 kV Chhatrapur - Rambha Traction | 1899-12-31 04:36 | 0.085417 | 1899-12-31 06:39 | 99.3% | 0.53819 | 1899-12-31 01:02 | 1899-12-31 13:57 | 99.13% | 0 | 0.36806 | 0.36806 | 99.8%
29 | 132 kV Chhatrapur - Balugaon | 1899-12-31 06:35 | 0.17847 | 1899-12-31 10:52 | 99.2% | 0.94653 | 1900-01-01 08:05 | 1900-01-02 06:48 | 98.2% | 0.5 | 0.39861 | 0.89861 | 99.51%
30 | 132 kV Balugaon - Solari Traction | 0.33264 | 0.0020833 | 0.33472 | 99.82% | 0.38958 | 0.00625 | 0.39583 | 99.78% | 0 | 0.080556 | 0.080556 | 99.96%
31 | 133 kV GIL Feeder |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
32 | 132 kV Berhampur - Digapahandi | 0.44514 | 0.32361 | 0.76875 | 99.58% | 1900-01-02 17:31 | 0.23056 | 1900-01-02 23:03 | 97.83% | 0.96319 | 0.14167 | 1899-12-31 02:31 | 99.39%
33 | 132 kV Digapahandi - Mohana | 1900-01-10 05:09 | 1899-12-31 13:36 | 1900-01-11 18:45 | 93% | 0.92292 | 1900-01-02 00:11 | 1900-01-02 22:20 | 97.85% | 1900-01-06 18:03 | 1899-12-31 20:51 | 1900-01-08 14:54 | 94.73%
34 | 132 kV Mohana - Akhusingh |  | 0.42361 | 0.42361 | 99.77% | 0.35069 | 0.053472 | 0.40417 | 99.78% |  | 0.2375 | 0.2375 | 99.87%

## BHUBANESWAR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| BHUBANESWAR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 kV Meramunduli - Mendhasal - I | 18:01 | 1899-12-31 07:10 | 1900-01-01 01:11 | 98.88% | 1899-12-31 09:14 | 0.18472 | 1899-12-31 13:40 | 99.14% | 1900-01-03 22:15 | 1899-12-31 11:03 | 1900-01-05 09:18 | 96.5%
2 | 400 kV Mendhasal - Pandiabil I | 29:24 | 0.013889 | 1899-12-31 05:44 | 99.32% |  |  | 0 | 100% | nil | 1900-01-04 19:39 | 1900-01-04 19:39 | 96.81%
3 | 400 kV Mendhasal - Pandiabil II | 38:08 | 1:20 | 1899-12-31 15:28 | 99.1% |  |  | 0 | 100% | 1900-01-03 18:23 | 1899-12-31 20:42 | 1900-01-05 15:05 | 96.37%
4 | 220 kV Chandaka - Bidanasi Ckt-I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
5 | 220 kV Chandaka - Mendhasal Ckt - I | 1899-12-31 13:06 | 0.75972 | 1900-01-01 07:20 | 98.74% | 1900-01-01 20:03 | 0.072222 | 1900-01-01 21:47 | 98.41% | 1899-12-31 20:24 | 1900-01-26 19:59 | 1900-01-28 16:23 | 83.74%
6 | 220 kV Chandaka - Mendhasal Ckt - II | 0.19097 | 0.60139 | 0.79236 | 99.57% | 1899-12-31 09:13 | 0.086111 | 1899-12-31 11:17 | 99.19% | 1900-01-05 11:40 | 1900-01-03 10:52 | 1900-01-09 22:32 | 94.01%
7 | 220 kV Chandaka - Mendhasal Ckt - III | 0.63889 | 0.071528 | 0.71042 | 99.61% | 1900-01-01 23:02 | 0 | 1900-01-01 23:02 | 98.38% | 0.85208 | 1900-01-14 08:23 | 1900-01-15 04:50 | 91.12%
8 | 220 kV Chandaka - Chandaka-B | 7:46 | 0:51 | 0.35903 | 99.8% | 0.5875 | 0.031944 | 0.61944 | 99.66% | 1899-12-31 04:37 | 1900-01-01 05:12 | 1900-01-02 09:49 | 98.13%
9 | 220 kV Chandaka-B - Mendhasal | 1900-01-01 02:53 | 0.14306 | 1900-01-01 06:19 | 98.76% | 1899-12-31 12:03 |  | 1899-12-31 12:03 | 99.18% | 0.68333 | 1899-12-31 00:54 | 1899-12-31 17:18 | 99.06%
10 | 220KV Mendhasal - Atri-I* | 1899-12-31 15:35 | 1899-12-31 05:25 | 1900-01-01 21:00 | 98.42% | 1899-12-31 10:19 | 0 | 1899-12-31 10:19 | 99.22% | 0.675 | 1900-01-01 13:01 | 1900-01-02 05:13 | 98.24%
11 | 220KV Mendhasal -Infocity-II | 0.80556 | 0.33819 | 1899-12-31 03:27 | 99.37% | 1899-12-31 11:50 | 0.39 | 1899-12-31 21:12 | 98.97% | 1900-01-01 14:33 | 1900-01-02 04:34 | 1900-01-04 19:07 | 96.82%
12 | 220KV Atri-II- Infocity-II | 0.80556 | 0.33819 | 1899-12-31 03:27 | 99.37% | 0.90417 | 0.04 | 0.94417 | 99.48% |  | 1900-01-03 21:01 | 1900-01-03 21:01 | 97.33%
13 | 220 KV PANDIABILI- SAMANGARA FDR - I | 35:59 | 1:33 | 1899-12-31 13:32 | 99.14% | 0.13264 | 0.028472 | 0.16111 | 99.91% |  | 1900-05-29 16:00 | 1900-05-29 16:00 | 17.44%
14 | 220 KV PANDIABILI- SAMANGARA FDR - II | 26:39 | 1:11 | 1899-12-31 03:50 | 99.36% | 0.2125 | 0.013889 | 0.22639 | 99.88% |  | 1900-05-29 16:00 | 1900-05-29 16:00 | 17.44%
15 | 220 KV Atri- Pandiabil - I |  |  |  |  | 0.26597 | 0 | 0.26597 | 99.85% | 0.69097 | 1900-01-02 03:05 | 1900-01-02 19:40 | 97.91%
16 | 220 KV Atri- Pandiabil - II |  |  | 0 | 100% | 0.26597 | 0 | 0.26597 | 99.85% | 0.69097 | 1900-01-05 06:12 | 1900-01-05 22:47 | 96.19%
17 | 220KV Narendrapur-I/ 220KV Atri-I* | 1900-01-01 00:20 | 1900-01-01 03:45 | 1900-01-03 04:05 | 97.71% | 1900-01-02 01:49 | 0.48472 | 1900-01-02 13:27 | 98.05% | 1900-01-06 00:24 | 1900-01-26 14:06 | 1900-02-02 14:30 | 81.04%
18 | 220KV Narendrapur-II/ 220KV Atri-II* | 1900-01-02 08:39 | 0.054167 | 1900-01-02 09:57 | 98.13% | 1900-01-02 11:50 | 1899-12-31 15:58 | 1900-01-04 03:48 | 97.17% | 1900-01-04 11:51 | 1900-01-26 09:16 | 1900-01-31 21:07 | 81.98%
19 | 220 kV Bhanjanagar - Mendhasal | 1899-12-31 15:25 | 0.88194 | 1900-01-01 12:35 | 98.62% | 1899-12-31 17:38 | 0.079167 | 1899-12-31 19:32 | 99.01% | 1900-01-03 08:15 | 0.32014 | 1900-01-03 15:56 | 97.44%
20 | 220 kV Nayagarh - Mendhasal | 1900-01-04 08:25 | 0.18056 | 1900-01-04 12:45 | 96.97% | 0.23125 | 0.027083 | 0.25833 | 99.86% | 1899-12-31 13:16 | 0.15069 | 1899-12-31 16:53 | 99.07%
21 | 220KV Mendhasal - Bidanasi-I | 0.5625 | 0.016667 | 0.57917 | 99.68% | 1900-01-01 21:53 | 0.71042 | 1900-01-02 14:56 | 98.02% | 1900-01-09 13:46 | 1899-12-31 01:24 | 1900-01-10 15:10 | 93.63%
22 | 220KV Mendhasal - Bidanasi-II | 15:02 |  | 0.62639 | 99.66% | 1899-12-31 03:48 |  | 1899-12-31 03:48 | 99.37% | 1900-01-09 02:58 |  | 1900-01-09 02:58 | 94.45%
23 | 220 kV Meramundali - Bidanasi |  |  |  | 100% | 1899-12-31 04:48 |  | 1899-12-31 04:48 | 99.34% |  |  | 0 | 100%
24 | 132 kV Atri-Banki | 0.7125 | 0.079861 | 0.79236 | 99.57% | 0.91528 | 0 | 0.91528 | 99.5% | 0 | 1899-12-31 14:16 | 1899-12-31 14:16 | 99.13%
25 | 132 kV Atri-Argul Circuit-I | 1899-12-31 01:18 | 0.049306 | 1899-12-31 02:29 | 99.4% | 1899-12-31 05:52 | 0.027778 | 1899-12-31 06:32 | 99.3% | 0.54028 | 1899-12-31 14:24 | 1900-01-01 03:22 | 98.83%
26 | 132 kV Atri-Argul Circuit-II | 1899-12-31 15:49 | 0.73194 | 1900-01-01 09:23 | 98.69% | 1900-01-03 11:24 | 0.16806 | 1900-01-03 15:26 | 97.46% | 0.89792 | 1900-01-02 08:04 | 1900-01-03 05:37 | 97.68%
27 | 131 kV Mendhasal - Khurda | 1900-01-02 18:06 | 1900-01-01 08:10 | 1900-01-05 02:16 | 96.66% | 0.75417 |  | 0.75417 | 99.59% | 1900-01-03 16:18 | 0.099306 | 1900-01-03 18:41 | 97.38%
28 | 132 kV Mendhasal - Chandaka | 1900-01-01 11:15 | 1900-01-06 08:38 | 1900-01-08 19:53 | 94.61% | 0.30486 |  | 0.30486 | 99.83% | 1900-01-10 14:30 | 0.099306 | 1900-01-10 16:53 | 93.59%
29 | 132 kV Shamuka - Puri | 1900-01-18 15:10 | 0.78611 | 1900-01-19 10:02 | 88.81% | 0.32778 |  | 0.32778 | 99.82% |  | 1900-01-11 06:15 | 1900-01-11 06:15 | 93.28%
30 | 132 KV Puri-Samangara line | 0.99167 | 0.0125 | 1899-12-31 00:06 | 99.45% | 1899-12-31 01:16 |  | 1899-12-31 01:16 | 99.42% | 0.53889 | 0.15417 | 0.69306 | 99.62%
31 | 132 kV Khurda - Shamuka | 1900-01-02 04:11 | 0.11944 | 1900-01-02 07:03 | 98.2% | 1900-01-01 11:30 | 1900-01-01 19:32 | 1900-01-04 07:02 | 97.1% | 1899-12-31 04:18 | 1900-01-27 15:48 | 1900-01-28 20:06 | 83.65%
32 | 132 kV Khurda - Chandpur | 1899-12-31 09:13 | 0.27153 | 1899-12-31 15:44 | 99.09% | 1900-01-02 21:59 | 0.14792 | 1900-01-03 01:32 | 97.77% | 0.59306 | 1900-01-02 06:30 | 1900-01-02 20:44 | 97.88%
33 | 132 kV Chandpur - Balugaon | 0.39444 | 0 | 0.39444 | 99.78% | 1899-12-31 06:13 | 0 | 1899-12-31 06:13 | 99.31% | 0.46458 | 1899-12-31 10:39 | 1899-12-31 21:48 | 98.95%
34 | 132KV Khurda-Kaipadar TSS Line | 0.050694 | 0.045139 | 0.095833 | 99.95% | 1899-12-31 04:25 | 0.18819 | 1899-12-31 08:56 | 99.25% | 0.13958 | 1900-01-02 04:45 | 1900-01-02 08:06 | 98.17%
35 | 132KV Khurda-Mendhasal Line |  |  | 0 | 100% |  |  | 0 | 100% | 1900-01-02 15:24 | 1899-12-31 16:53 | 1900-01-04 08:17 | 97.07%
36 | 132 kV Chandaka - Ranasinghpur |  | 0.34583 | 0.34583 | 99.81% | 1900-01-08 08:46 | 0.24514 | 1900-01-08 14:39 | 94.73% | 0.068056 | 1900-01-01 12:34 | 1900-01-01 14:12 | 98.58%
37 | 132KV RSPUR-KESURA FDR | 1900-01-02 01:18 | 0.57847 | 1900-01-02 15:11 | 98.01% | 1900-01-01 08:41 | 0.088194 | 1900-01-01 10:48 | 98.66% | 1900-01-10 19:28 | 1900-01-01 16:14 | 1900-01-13 11:42 | 92.06%
38 | 132 KV Kesura-NIMAPARA LINE | 1900-01-03 08:51 | 0.76528 | 1900-01-04 03:13 | 97.19% | 0.80347 | 0.23889 | 1899-12-31 01:01 | 99.43% | 1900-01-14 23:16 | 0.59236 | 1900-01-15 13:29 | 90.93%
39 | 132 kV Chandaka - Nimapara | 1900-01-04 05:10 | 1900-01-03 11:45 | 1900-01-08 16:55 | 94.68% | 1900-01-09 10:22 | 1899-12-31 14:13 | 1900-01-11 00:35 | 93.41% | 1900-01-01 21:00 | 1900-01-13 05:43 | 1900-01-16 02:43 | 90.62%
40 | 132 kV Chandaka - Mendhasal | 1899-12-31 21:00 | 1899-12-31 00:38 | 1900-01-01 21:38 | 98.41% | 1899-12-31 20:12 | 0.021528 | 1899-12-31 20:43 | 98.98% | 1900-01-03 05:05 | 1900-02-02 10:51 | 1900-02-06 15:56 | 78.81%
41 | 132 kV Nimapara - Puri | 1900-01-03 10:44 | 1900-01-01 09:38 | 1900-01-05 20:22 | 96.25% | 0.50903 | 0.013889 | 0.52292 | 99.71% | 1900-01-07 10:09 | 1900-01-11 05:53 | 1900-01-19 16:02 | 88.68%
42 | 132 kV Nimapara - Samagara | 1900-01-04 04:01 |  | 1900-01-04 04:01 | 97.17% | 0.97014 |  | 0.97014 | 99.47% | 1900-01-05 18:10 | 1900-01-27 15:23 | 1900-02-03 09:33 | 80.6%
43 | 132 KV Nimapada-Konark line | 0.81667 | 0.63542 | 1899-12-31 10:51 | 99.2% | 16:31 | 0:34 | 0.71181 | 99.61% | 12:31 | 287:11 | 1900-01-11 11:42 | 93.16%
44 | 132 kV Chandaka - BPPL | 1900-01-01 03:37 | 0.72639 | 1900-01-01 21:03 | 98.42% | 0.32361 | 0.053472 | 0.37708 | 99.79% | 1899-12-31 21:06 | 1900-01-02 00:17 | 1900-01-03 21:23 | 97.32%
45 | 132 kV Chandaka - Bhubanewar - I | 0.65833 | 0.054167 | 0.7125 | 99.61% | 1900-01-01 02:28 | 0.41597 | 1900-01-01 12:27 | 98.62% | 0.071528 | 1900-01-01 10:35 | 1900-01-01 12:18 | 98.62%
46 | 132 kV Chandaka - Bhubanewar - II | 0.60278 | 0.10833 | 0.71111 | 99.61% | 1900-01-01 09:08 | 0.13056 | 1900-01-01 12:16 | 98.62% | 0.048611 | 1900-01-04 07:54 | 1900-01-04 09:04 | 97.05%
47 | 132 kV Chandaka - Bidanasi | 0.41319 | 0.033333 | 0.44653 | 99.76% |  |  | 0 | 100% |  |  | 0 | 100%
48 | 132 kV Chandikhole - Kendrapara |  | 4:32 | 0.18889 | 99.9% | 0.34653 | 0.2125 | 0.55903 | 99.69% |  | 0.088889 | 0.088889 | 99.95%
49 | 132 kV Mancheswar - Phulnakhara | 1899-12-31 08:38 | 0.88819 | 1900-01-01 05:57 | 98.77% | 18:22 |  | 0.76528 | 99.58% | 32:13 | 182:32 | 1900-01-07 22:45 | 95.1%

## BOLANGIR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| BOLANGIR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Katapali - New Bargarh - New Bolangir - I | 1:20 | 13:25 | 0.61458 | 99.66% | 12:27 | 36:45 | 1900-01-01 01:12 | 98.88% | 10:10 | 28:40 | 1899-12-31 14:50 | 99.11%
2 | 220 kV Katapali -PGCIL- New Bolangir - II | 6:20 | 6:35 | 0.53819 | 99.71% | 7:02 | 0 | 0.29306 | 99.84% | 3:40 | 26:50 | 1899-12-31 06:30 | 99.3%
3 | 132 kV Bolangir - Sonepur | 0:00 | 10:09 | 0.42292 | 99.77% | 8:01 | 12:16 | 0.84514 | 99.54% | 6:15 | 22:27 | 1899-12-31 04:42 | 99.34%
4 | 132 kV New Bolangir - Barpali | 0:00 | 7:42 | 0.32083 | 99.82% | 9:03 | 0:06 | 0.38125 | 99.79% | 56:08 | 3:28 | 1900-01-01 11:36 | 98.64%
5 | 132 kV Bolangir - ACME | 10:25 | 5:45 | 0.67361 | 99.63% | 40:41 | 0:10 | 1899-12-31 16:51 | 99.07% | 12:16 | 0:47 | 0.54375 | 99.7%
6 | 132 kV ACME - Tusra | 10:25 | 5:45 | 0.67361 | 99.63% | 5:23 | 0:45 | 0.25556 | 99.86% | 8:28 | 1:56 | 0.43333 | 99.76%
7 | 132 kV Tusra - Saintala | 10:25 | 5:45 | 0.67361 | 99.63% | 5:23 | 8:05 | 0.56111 | 99.69% | 8:16 | 12:12 | 0.85278 | 99.53%
8 | 132 kV New Bolangir - Patnagarh ckt-I | 4:18 | 9:09 | 0.56042 | 99.69% |  |  | 0 | 100% | 0 | 1:27 | 0.060417 | 99.97%
9 | 132 kV New Bolangir - Patnagarh ckt-II | 11:49 | 18:50 | 1899-12-31 06:39 | 99.3% |  | 12:27 | 0.51875 | 99.72% | 0 | 2:42 | 0.1125 | 99.94%
10 | 132 kV Patnagarh-Padampur SC Line on DC Towers | 11:49 | 18:50 | 1899-12-31 06:39 | 99.3% | 0.34653 | 0.42708 | 0.77361 | 99.58% |  | 1899-12-31 02:28 | 1899-12-31 02:28 | 99.4%
11 | 132 kV New Bolangir - Bolangir - I | 25:05 | 5:25 | 1899-12-31 06:30 | 99.3% | 31:17 | 0:59 | 1899-12-31 08:16 | 99.26% | 12:19 | 1:12 | 0.56319 | 99.69%
12 | 132 kV New Bolangir - Bolangir - II | 17:20 | 4:55 | 0.92708 | 99.49% | 12:19 | 1:12 | 0.56319 | 99.69% | 3:58 | 5:21 | 0.38819 | 99.79%
13 | 132Kv Sonepur-Boudh EHT line | 0:00 | 12:50 | 0.53472 | 99.71% | 11:37 | 9:56 | 0.89792 | 99.51% | 26:03 | 20:52 | 1899-12-31 22:55 | 98.93%
14 | 132 kV Kesinga - Saintala |  | 0:23 | 0.015972 | 99.99% |  | 0.0125 | 0.0125 | 99.99% |  | 0.013194 | 0.013194 | 99.99%
15 | 132 kV Kesinga - Bhawanipatna | 6:16 | 15:38 | 0.9125 | 99.5% | 0.51806 | 0.18819 | 0.70625 | 99.61% | 0.24375 | 0.5 | 0.74375 | 99.59%
16 | 132 kV Kesinga - Khariar |  | 9:50 | 0.40972 | 99.78% | 1899-12-31 04:32 | 0.15625 | 1899-12-31 08:17 | 99.26% | 5:12 | 10:08 | 0.63889 | 99.65%
17 | 132 kV Kesinga - Powmax |  |  | 0 | 100% | 0.76736 |  | 0.76736 | 99.58% |  | 0.013194 | 0.013194 | 99.99%
18 | 132 kV Kesinga - RTSS | 21:50 |  | 0.90972 | 99.5% | 0.75 |  | 0.75 | 99.59% | 0.10417 |  | 0.10417 | 99.94%
19 | 132 kV Kesinga - Solar - I |  |  | 0 | 100% | 0.40278 |  | 0.40278 | 99.78% |  |  | 0 | 100%
20 | 132 kV Kesinga - Solar - I |  |  | 0 | 100% | 0.40278 |  | 0.40278 | 99.78% |  | 0.029167 | 0.029167 | 99.98%
21 | 132 kV Bhawanipatna - Junagarh | 6:34 | 14:44 | 0.8875 | 99.51% | 0.57708 | 0.25903 | 0.83611 | 99.54% | 0.26806 | 1899-12-31 06:22 | 1899-12-31 12:48 | 99.16%
22 | 132 kV Khariar - Nuapada |  | 13:19 | 0.55486 | 99.7% | 0.68819 | 0.45903 | 1899-12-31 03:32 | 99.37% | 0.21667 | 1899-12-31 07:34 | 1899-12-31 12:46 | 99.16%
23 | 132 kV Khariar - Kantabanji |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%

## BURLA
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| BURLA CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400KV IB Ckt-I |  |  |  |  | 05:50 | 27:04 | 1899-12-31 08:54 | 99.25% | 41:13 | 23:29 | 1900-01-01 16:42 | 98.52%
2 | 400KV IB Ckt-II |  |  |  |  | 02:59 | 50:29 | 1900-01-01 05:28 | 98.78% | 33:29 | 09:53 | 1899-12-31 19:22 | 99.01%
3 | 400KV Meramundali Ckt-I |  |  |  |  | 04:05 | 03:08 | 0.30069 | 99.84% | 23:06 | 05:50 | 1899-12-31 04:56 | 99.34%
4 | 400KV Meramundali Ckt-II |  |  |  |  | 06:06 | 15:08 | 0.88472 | 99.52% | 33:40 | 76:18 | 1900-01-03 13:58 | 97.49%
5 | 400KV Sterlite Ckt-I |  |  |  |  | 03:03 | 02:54 | 0.24792 | 99.86% | 21:30 | 00:00 | 0.89583 | 99.51%
6 | 400KV Sterlite Ckt-II |  |  |  |  | 15:54 | 05:27 | 0.88958 | 99.51% | 27:35 | 43:04 | 1900-01-01 22:39 | 98.39%
7 | 220 kV Budhipadar- Basundhara | 16:11 | 0 | 0.67431 | 99.63% | 0.3125 |  | 0.3125 | 99.83% |  | 0.64653 | 0.64653 | 99.65%
8 | 220 kV Budhipadar - Korba – I | 0 | 888:18 | 1900-02-05 00:18 | 79.72% | 1900-01-04 08:41 | 0.13819 | 1900-01-04 12:00 | 96.99% |  | 1900-01-03 07:18 | 1900-01-03 07:18 | 97.64%
9 | 220 kV Budhipadar - Korba – II | 0 | 763:37 | 1900-01-30 19:37 | 82.57% | 1900-02-08 08:42 | 0.14306 | 1900-02-08 12:08 | 77.81% |  | 1900-01-03 01:58 | 1900-01-03 01:58 | 97.76%
10 | 221 kV Budhipadar - Korba – III | 0 | 15:32 | 0.64722 | 99.65% | 1900-01-08 12:52 | 0.50347 | 1900-01-09 00:57 | 94.5% | 0.65278 | 0.58819 | 1899-12-31 05:47 | 99.32%
11 | 220 kV IB - Budhipadar - I | 46:39 | 0 | 1899-12-31 22:39 | 98.93% | 0.99792 |  | 0.99792 | 99.45% | 1899-12-31 12:09 | 0.15764 | 1899-12-31 15:56 | 99.09%
12 | 220 kV IB - Budhipadar - II | 04:44 | 07:28 | 0.50833 | 99.72% | 0.98194 | 0.41806 | 1899-12-31 09:36 | 99.23% |  | 0.59167 | 0.59167 | 99.68%
13 | 220 kV IB - Budhipadar - III | 39:29 | 04:34 | 1899-12-31 20:03 | 98.99% | 1899-12-31 09:22 | 0.25208 | 1899-12-31 15:25 | 99.1% | 1899-12-31 14:51 | 1900-01-22 08:59 | 1900-01-23 23:50 | 86.31%
14 | 220 kV IB - Budhipadar - IV | 15:55 | 28:54 | 1899-12-31 20:49 | 98.98% | 1899-12-31 00:39 |  | 1899-12-31 00:39 | 99.44% |  | 1900-01-22 09:46 | 1900-01-22 09:46 | 87.17%
15 | 220 kV Budhipadar - Tarkera - I | 05:09 | 15:38 | 0.86597 | 99.53% | 1900-01-03 15:49 | 0.30972 | 1900-01-03 23:15 | 97.28% |  | 1900-01-02 03:20 | 1900-01-02 03:20 | 98.28%
16 | 220 kV Budhipadar - Tarkera - II | 09:01 | 06:48 | 0.65903 | 99.64% | 1899-12-31 17:21 |  | 1899-12-31 17:21 | 99.06% |  | 1899-12-31 01:07 | 1899-12-31 01:07 | 99.43%
17 | 220 kV Budhipadar - Lapanga - I | 15:12 | 10:35 | 1899-12-31 01:47 | 99.41% | 1899-12-31 03:58 | 0.62431 | 1899-12-31 18:57 | 99.02% |  | 0.63403 | 0.63403 | 99.65%
18 | 220 kV Budhipadar - Lapanga - II | 12:45 | 06:25 | 0.79861 | 99.56% | 1899-12-31 03:05 | 0.53333 | 1899-12-31 15:53 | 99.09% |  | 1900-01-01 05:07 | 1900-01-01 05:07 | 98.79%
19 | 220 kV Budhipadar- Bhusan - I | 02:32 | 19:40 | 0.925 | 99.49% | 0.48125 | 0.22222 | 0.70347 | 99.61% |  |  | 0 | 100%
20 | 220 kV Budhipadar- Bhusan - II | 01:56 | 12:36 | 0.60556 | 99.67% |  | 0.082639 | 0.082639 | 99.95% |  | 1900-01-01 00:51 | 1900-01-01 00:51 | 98.88%
21 | 220 kV Budhipadar – SPS - I |  |  |  |  | P/S Disconnected Since 01/01/17 |  |  |  | P/S Disconnected Since 01/01/17
22 | 220 kV Budhipadar - AAL - I | 21:00 | 04:05 | 1899-12-31 01:05 | 99.43% | 0.58056 | 0.55903 | 1899-12-31 03:21 | 99.38% |  | 1899-12-31 03:21 | 1899-12-31 03:21 | 99.38%
23 | 220 kV Budhipadar - AAL - II | 21:20 | 0 | 0.88889 | 99.51% | 0.95694 | 0.20139 | 1899-12-31 03:48 | 99.37% |  | 0.75764 | 0.75764 | 99.58%
24 | 220 kV Budhipadar- VAL - I | 07:47 | 05:19 | 0.54583 | 99.7% | 0.74583 | 0.071528 | 0.81736 | 99.55% |  | 0.25764 | 0.25764 | 99.86%
25 | 220 kV Budhipadar- VAL - II | 06:59 | 0 | 0.29097 | 99.84% | 0.79306 | 0.090278 | 0.88333 | 99.52% |  | 0.085417 | 0.085417 | 99.95%
26 | 220 kV Katapali - Lapanga - I | 80:41 | 18:18 | 1900-01-03 02:59 | 97.74% | 22:45 | 00:53 | 0.98472 | 99.46% | 06:16 | 02:28 | 0.36389 | 99.8%
27 | 220 kV Katapali - Lapanga- II | 76:10 | 02:14 | 1900-01-02 06:24 | 98.21% | 12:53 | 00:30 | 0.55764 | 99.69% | 05:44 | 25:10 | 1899-12-31 06:54 | 99.29%
28 | 220 kV Katapali - Bargarh New | 1:20 | 13:25 | 0.61458 | 99.66% | 0.48681 | 0.11528 | 0.60208 | 99.67% | 0.10486 | 0.17778 | 0.28264 | 99.85%
29 | 220 kV Bargarh New - New Bolangir - I | 1:20 | 13:25 | 0.61458 | 99.66% | 0.27708 | 1900-01-01 04:21 | 1900-01-01 11:00 | 98.65% | 0.43333 | 1899-12-31 07:36 | 1899-12-31 18:00 | 99.04%
30 | 220 kV Katapali -PGCIL- New Bolangir - II | 6:20 | 6:35 | 0.53819 | 99.71% | 62:40 | 39:18 | 1900-01-03 05:58 | 97.67% | 40:15 | 02:41 | 1899-12-31 18:56 | 99.02%
31 | 220 kV Katapali - HINDALCO - I | 11:44 | 00:11 | 11:55 | 99.72 | 09:03 | 00:43 | 0.40694 | 99.78% | 13:06 | 00:08 | 0.55139 | 99.7%
32 | 220 kV Katapali - HINDALCO - II | 08:20 | 00:00 | 08:20 | 99.82 | 60:58 | 00:33 | 1900-01-01 13:31 | 98.6% | 24:21 |  | 1899-12-31 00:21 | 99.44%
33 | 220 kV Tarkera - PGCIL - I | 0.76111 | 0.039583 | 0.80069 | 99.56% | 1899-12-31 13:47 | 0.038889 | 1899-12-31 14:43 | 99.12% | 0.55833 | 0.057639 | 0.61597 | 99.66%
34 | 220 kV Tarkera - PGCIL - II | 1900-01-01 05:34 | 0.26111 | 1900-01-01 11:50 | 98.63% | 1899-12-31 15:23 |  | 1899-12-31 15:23 | 99.1% | 1899-12-31 01:34 | 0.26944 | 1899-12-31 08:02 | 99.27%
35 | 220 kV Tarkera - Bonai |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
36 | 220 kV Bonai - Barkote |  |  | 0 | 100% | 28:52 | 0.0097222 | 1899-12-31 05:06 | 99.34% | 0.52292 | 1899-12-31 05:09 | 1899-12-31 17:42 | 99.05%
37 | 220 kV Tarkera - Rengali - II | 0.25486 | 1900-01-02 19:35 | 1900-01-03 01:42 | 97.77% | 1900-01-01 10:08 | 0.50139 | 1900-01-01 22:10 | 98.4% | 1900-01-04 20:22 | 1900-01-02 13:43 | 1900-01-08 10:05 | 94.84%
38 | 220 kV Tarkera - RSP - I | 0 | 0.56319 | 0.56319 | 99.69% | 1900-01-01 15:08 |  | 1900-01-01 15:08 | 98.56% | 0.80625 | 0.43542 | 1899-12-31 05:48 | 99.32%
39 | 220 kV Tarkera - RSP - II | 1899-12-31 06:48 | 0.028472 | 1899-12-31 07:29 | 99.28% | 1899-12-31 00:44 |  | 1899-12-31 00:44 | 99.44% | 1899-12-31 00:24 |  | 1899-12-31 00:24 | 99.44%
40 | 220 kV Rengali - Barkote | 0.45764 | 1900-01-01 02:49 | 1900-01-01 13:48 | 98.59% | 70:16 | 0.11806 | 1900-01-02 01:06 | 98.33% |  | 0.84306 | 0.84306 | 99.54%
41 | 132 kV Bargarh - Barpali | 1899-12-31 03:09 | 0.036806 | 1899-12-31 04:02 | 99.36% | 0.3625 | 0.14861 | 0.51111 | 99.72% | 0.2625 | 0.13681 | 0.39931 | 99.78%
42 | 132 kV New Bolangir - Barpali | 0:00 | 7:42 | 0.32083 | 99.82% | 0.73819 | 0.14861 | 0.88681 | 99.51% | 0.93125 | 0.13681 | 1899-12-31 01:38 | 99.41%
43 | 132 kV Barpali - Dunguripalli RTSS | 0 | 0 | 0 | 100% | 0 | 0.14861 | 0.14861 | 99.92% | 0 | 0.12153 | 0.12153 | 99.93%
44 | 132 kV Bargarh - ACC -ckt- I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
45 | 132 kV Bargarh - ACC -ckt- II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
46 | 132 kV Bargarh New - Ghens -ckt- I |  |  | 0 | 100% |  |  | 0 | 100% | 0.10903 | 0.98333 | 1899-12-31 02:13 | 99.4%
47 | 132 kV Bargarh New - Ghens -ckt- II |  |  | 0 | 100% |  |  | 0 | 100% | 0.12153 | 0.20903 | 0.33056 | 99.82%
48 | 132 kV Lapanga - Budhipadar - I | 19:21 | 30:44 | 1900-01-01 02:05 | 98.86% | 34:37 | 24:51 | 1900-01-01 11:28 | 98.64% | 33:47 | 70:53 | 1900-01-03 08:40 | 97.61%
49 | 132 kV Lapanga - Budhipadar - II |  | 56:10 | 1900-01-01 08:10 | 98.72% | 40:25 | 00:09 | 1899-12-31 16:34 | 99.07% | 23:05 | 116:25 | 1900-01-04 19:30 | 96.82%
50 | 132 kV Burla PH - Lapanga - I | 06:49 | 493:14 | 1900-01-19 20:03 | 88.58% | 23:37 | 11:05 | 1899-12-31 10:42 | 99.21% | 21:10 | 124:08 | 1900-01-05 01:18 | 96.68%
51 | 132 kV Burla PH - Lapanga - II | 02:22 | 33:36 | 1899-12-31 11:58 | 99.18% | 18:02 | 11:17 | 1899-12-31 05:19 | 99.33% | 16:39 | 65:25 | 1900-01-02 10:04 | 98.13%
52 | 132 kV Budhipadar - Jharsuguda ckt - II | 0.29167 | 0.75486 | 1899-12-31 01:07 | 99.43% |  | 0.50694 | 0.50694 | 99.72% |  | 0.93472 | 0.93472 | 99.49%
53 | 132 KV BURLA-JHARSUGUDA-B.PADAR T OFF FEEDER | 43:32 | 0.27014 | 1900-01-01 02:01 | 98.86% | 0.50347 | 1899-12-31 01:32 | 1899-12-31 13:37 | 99.14% |  | 1900-01-01 01:01 | 1900-01-01 01:01 | 98.88%
54 | 132 KV B.PADAR-JHARSUGUDA SC LINE CIRCUIT- I | 299:14 | 27:28 | 1900-01-12 14:42 | 92.54% | 0.26181 | 0.24931 | 0.51111 | 99.72% | 0.21528 | 0.725 | 0.94028 | 99.48%
55 | 132 kV Budhipadar - Remja | 0 | 0.69583 | 0.69583 | 99.62% | 0.75278 | 0.11806 | 0.87083 | 99.52% |  | 0.72986 | 0.72986 | 99.6%
56 | 132 kV Budhipadar - MCL - I | 10:04 | 19:24 | 1899-12-31 05:28 | 99.33% | 0.32847 |  | 0.32847 | 99.82% |  | 0.086806 | 0.086806 | 99.95%
57 | 132 kV Budhipadar - MCL - II | 13:25 | 04:32 | 0.74792 | 99.59% |  |  | 0 | 100% |  | 1900-01-02 17:59 | 1900-01-02 17:59 | 97.95%
58 | 132 kV Budhipadar - Kalunga | 0 | 1900-01-03 20:15 | 1900-01-03 20:15 | 97.35% | 1899-12-31 14:59 |  | 1899-12-31 14:59 | 99.11% |  | 1899-12-31 03:32 | 1899-12-31 03:32 | 99.37%
59 | 132 kV Kalunga - Tarkera | 0 | 0.62986 | 0.62986 | 99.65% | 0.95903 | 0.18681 | 1899-12-31 03:30 | 99.37% |  | 0.0041667 | 0.0041667 | 100%
60 | 132 kV Budhipadar - Rajgangpur - II | 07:11 | 88:45 | 1900-01-02 23:56 | 97.81% | 1899-12-31 18:03 |  | 1899-12-31 18:03 | 99.04% |  | 0.19375 | 0.19375 | 99.89%
61 | 132 kV Budhipadar - Sundargarh - I | 00:12 | 0 | 0.0083333 | 100% | 0.63333 | 0.15278 | 0.78611 | 99.57% |  |  | 0 | 100%
62 | 132 kV Budhipadar - Sundargarh - II | 00:12 | 20:49 | 0.87569 | 99.52% | 0.63542 | 0.029167 | 0.66458 | 99.64% |  | 0.053472 | 0.053472 | 99.97%
63 | 132 kV Budhipadar - MSP |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
64 | 132 kV Lapanga - SMC | 41:40 | 78:04 | 1900-01-03 23:44 | 97.27% | 48:20 | 00:06 | 1900-01-01 00:26 | 98.89% | 94:35 | 43:22 | 1900-01-04 17:57 | 96.85%
65 | 132 kV Lapanga - Aryan Ispat | 03:27 | 36:11 | 1899-12-31 15:38 | 99.1% | 11:32 | 10:14 | 0.90694 | 99.5% | 62:26 | 120:29 | 1900-01-06 14:55 | 95.82%
66 | 132 kV Lapanga - RTSS |  | 09:35 | 0.39931 | 99.78% | 08:21 | 00:00 | 0.34792 | 99.81% | 10:52 | 04:24 | 0.63611 | 99.65%
67 | 132 kV Jharsuguda - L&T |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
68 | 132 kV Jharsuguda - Traction |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
69 | 132 kV Burla PH - Katapali | 44:13 | 02:13 | 1899-12-31 22:26 | 98.94% | 04:56 | 00:34 | 0.22917 | 99.87% | 02:31 | 00:24 | 0.12153 | 99.93%
70 | 132 kV Burla PH - Sambalpur | 121:26 | 84:27 | 1900-01-07 13:53 | 95.3% | 250:33 | 11:41 | 1900-01-09 22:14 | 94.01% | 25:40 | 11:48 | 1899-12-31 13:28 | 99.14%
71 | 132 kV Sambalpur - Shyam DRI | 0 | 0 | 0 | 100% | 23:61 |  | 1899-12-31 00:01 | 99.45% | 215:17 | 13:58 | 1900-01-08 13:15 | 94.77%
72 | 132 kV Chiplima - Katapali | 14:00 | 31:04 | 1899-12-31 21:04 | 98.97% | 11:55 | 01:08 | 0.54375 | 99.7% | 25:29 | 02:26 | 1899-12-31 03:55 | 99.36%
73 | 132KV CHIPLIMA P.H.- 2 -Katapali | 09:00 | 33:12 | 1899-12-31 18:12 | 99.04% |  | 01:34 | 0.065278 | 99.96% | 05:59 | 51:41 | 1900-01-01 09:40 | 98.68%
74 | 132KV BURLA P.H.- 2 - Katapali | 44:13 | 02:13 | 1899-12-31 22:26 | 98.94% |  | 01:49 | 0.075694 | 99.96% | 05:02 | 27:04 | 1899-12-31 08:06 | 99.27%
75 | 132 kV Katapali - Bargarh | 20:39 | 27:00 | 1899-12-31 23:39 | 98.91% | 0.77222 | 0.85556 | 1899-12-31 15:04 | 99.11% | 1899-12-31 04:03 | 0.090278 | 1899-12-31 06:13 | 99.31%
76 | 132 kV Katapali - Sambalpur | 0.50972 | 0 | 0.50972 | 99.72% | 04:26 |  | 0.18472 | 99.9% | 30:28 | 21:37 | 1900-01-01 04:05 | 98.81%
77 | 132 kV Sambalpur - Rairakhole | 0.50972 | 0 | 0.50972 | 99.72% | 88:13 | 0:30 | 1900-01-02 16:43 | 97.97% | 22:44 | 0:57 | 0.98681 | 99.46%
78 | 132 kV Rairakhole - Boinda | 1:20 | 3:14 | 0.19028 | 99.9% | 28:21 |  | 1899-12-31 04:21 | 99.35% | 6:34 | 1:12 | 0.32361 | 99.82%
79 | 132 kV Tarkera - RSP - I | 0.17778 | 0 | 0.17778 | 99.9% | 14.32 | 0 | 1900-01-13 07:41 | 92.15% | 0 | 6:16 | 0.26111 | 99.86%
80 | 132 kV Tarkera - RSP - II | 0.017361 | 0.05 | 0.067361 | 99.96% | 14.33 | 20:41 | 1900-01-14 04:36 | 91.68% | 0 | 0 | 0 | 100%
81 | 132 kV Tarkera - Rourkela - I | 0.2125 | 0.77569 | 0.98819 | 99.46% | 8:20 |  | 0.34722 | 99.81% | 8:21 | 0:26 | 0.36597 | 99.8%
82 | 132 kV Tarkera - Rourkela - II | 1900-01-02 12:00 | 0.033333 | 1900-01-02 12:48 | 98.06% | 8:54 |  | 0.37083 | 99.8% | 6:12 |  | 0.25833 | 99.86%
83 | 132 kV Tarkera - Rourkela - III | 1899-12-31 10:36 | 0.034028 | 1899-12-31 11:25 | 99.19% | 7:28 |  | 0.31111 | 99.83% | 4:31 |  | 0.18819 | 99.9%
84 | 132 kV Rourkela - Joda (Nalda) Feeder | 0.0020833 | 1900-01-03 17:38 | 1900-01-03 17:41 | 97.4% | 6:58 | 20:48 | 1899-12-31 03:46 | 99.37% |  | 26:52 | 1899-12-31 02:52 | 99.39%
85 | 132 kV Tarkera - Chhend - I | 0.16806 | 0.048611 | 0.21667 | 99.88% | 0.94444 |  | 0.94444 | 99.48% | 0.20486 |  | 0.20486 | 99.89%
86 | 132 kV Tarkera - Chhend - II | 0.17014 | 0.084722 | 0.25486 | 99.86% | 1899-12-31 00:03 |  | 1899-12-31 00:03 | 99.45% | 0.11111 |  | 0.11111 | 99.94%
87 | 132 kV Tarkera - Rajgangpur - I | 0.4625 | 1900-01-02 05:01 | 1900-01-02 16:07 | 97.99% | 1900-01-06 18:32 | 0.56458 | 1900-01-07 08:05 | 95.43% | 1899-12-31 13:18 | 0.39097 | 1899-12-31 22:41 | 98.93%
88 | 132 kV Tarkera - Rajgangpur - II | 1899-12-31 23:41 | 0.75069 | 1900-01-01 17:42 | 98.5% | 1899-12-31 11:41 | 0.6375 | 1900-01-01 02:59 | 98.84% | 0.26111 | 1900-01-01 19:58 | 1900-01-02 02:14 | 98.31%
89 | 132 kV Chhend - Nuagaon Traction | 0.17222 | 0.10208 | 0.27431 | 99.85% | 0.72222 | 0.020833 | 0.74306 | 99.59% | 0.19861 | 0.065278 | 0.26389 | 99.86%
90 | 132 kV Chhend - Adhunik Metallics | 0.50486 | 0.085417 | 0.59028 | 99.68% | 0.82639 | 0.0041667 | 0.83056 | 99.54% |  |  | 0 | 100%
91 | 132 kV Rajgangpur - Traction - I | 0.16944 | 0.10278 | 0.27222 | 99.85% | 0.425 | 0.22292 | 0.64792 | 99.64% | 0.36319 | 0.054167 | 0.41736 | 99.77%
92 | 132 kV Rajgangpur - Traction - II | 0 | 0.13403 | 0.13403 | 99.93% | 0.44306 | 0.49028 | 0.93333 | 99.49% | 0 | 0.125 | 0.125 | 99.93%
93 | 132 kV Rajgangpur - OCL | 0.091667 | 0.059028 | 0.15069 | 99.92% | 0.79236 | 1900-01-07 22:05 | 1900-01-08 17:06 | 94.68% | 0.43889 | 0.042361 | 0.48125 | 99.74%
94 | 132 kV Rajgangpur - Kuchinda | 03:56 | 05:51 | 0.40764 | 99.78% | 1900-01-02 18:28 | 0.063889 | 1900-01-02 20:00 | 97.9% | 0.11597 | 0.12083 | 0.23681 | 99.87%
95 | 132 kV Kuchinda - SMC | 22:43 | 04:50 | 1899-12-31 03:33 | 99.37% | 1900-01-04 04:14 | 0.081944 | 1900-01-04 06:12 | 97.12% | 0.14375 | 0.14236 | 0.28611 | 99.84%
96 | 1323KV RAJGANGPUR - OISL FEEDER | 0.65486 | 0.22708 | 0.88194 | 99.52% | 0.33819 | 0 | 0.33819 | 99.81% | 0 | 0.061111 | 0.061111 | 99.97%
0

## CHAINPAL
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| CHAINPAL CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 KV Vedanta - I | 1900-01-03 15:21 | 1900-01-01 08:43 | 1900-01-06 00:04 | 96.16% | 1900-01-03 14:16 | 0.15069 | 1900-01-03 17:53 | 97.4% | 0.96944 | 0.25069 | 1899-12-31 05:17 | 99.33%
2 | 400 KV Vedanta - II | 1900-01-05 05:01 | 1900-01-01 00:55 | 1900-01-07 05:56 | 95.48% | 1899-12-31 14:00 | 0.30208 | 1899-12-31 21:15 | 98.97% | 1899-12-31 09:39 | 1900-01-01 15:23 | 1900-01-03 01:02 | 97.78%
3 | 400 KV New Duburi - I (DOC-18/10/15, 20:20 HR) | 0.85 | 1900-01-01 01:52 | 1900-01-01 22:16 | 98.4% | 1900-01-03 14:39 | 0.045833 | 1900-01-03 15:45 | 97.45% | 0.96875 | 0 | 0.96875 | 99.47%
4 | 400 KV New Duburi - II (DOC-11/09/15, 13 :14 HR) | 0.40486 | 0.21389 | 0.61875 | 99.66% | 1899-12-31 20:26 | 0.40278 | 1900-01-01 06:06 | 98.76% | 0.92222 | 0.14375 | 1899-12-31 01:35 | 99.42%
5 | 400 KV Angul - I | 0.48333 | 0.047917 | 0.53125 | 99.71% | 0 | 0.020833 | 0.020833 | 99.99% | 0.68194 | 0.041667 | 0.72361 | 99.6%
6 | 400 KV Angul - II | 0 | 0 | 0 | 100% | 0.80833 | 0 | 0.80833 | 99.56% | 0.38333 | 0.094444 | 0.47778 | 99.74%
7 | 400 kV Meramundali - Mendhasala | 0.72917 | 0.047917 | 0.77708 | 99.57% | 1899-12-31 11:36 | 0.27708 | 1899-12-31 18:15 | 99.04% | 1900-01-05 21:47 | 0.034722 | 1900-01-05 22:37 | 96.2%
8 | 400 kV Meramundali - RSTPS-I | 0.50486 | 1900-01-01 07:22 | 1900-01-01 19:29 | 98.46% | 1900-01-06 10:16 | 0 | 1900-01-06 10:16 | 95.93% | 0.40486 | 0 | 0.40486 | 99.78%
9 | 400 KV GMR | 0 | 0.083333 | 0.083333 | 99.95% | 1899-12-31 11:30 | 0 | 1899-12-31 11:30 | 99.19% | 0.39653 | 0 | 0.39653 | 99.78%
10 | 400 kV Meramundali - JSPL-I | 0.82222 | 0 | 0.82222 | 99.55% | 0 | 0.13333 | 0.13333 | 99.93% | 0.69375 | 0.46528 | 1899-12-31 03:49 | 99.36%
11 | 400 kV Meramundali - JSPL-II | 0.37222 | 0.050694 | 0.42292 | 99.77% | 0 | 0.09375 | 0.09375 | 99.95% | 0.90833 | 0.46875 | 1899-12-31 09:03 | 99.25%
12 | 220 kV Meramundali -Kaniha - I | 0.72917 | 0.047917 | 0.77708 | 99.57% | 1900-01-01 21:40 | 0 | 1900-01-01 21:40 | 98.41% | 0.15694 | 0.40764 | 0.56458 | 99.69%
13 | 220 kV Meramundali - Kaniha -II | 0.50486 | 1900-01-01 07:22 | 1900-01-01 19:29 | 98.46% | 1900-01-03 07:39 | 0 | 1900-01-03 07:39 | 97.63% | 1899-12-31 17:26 | 0.40903 | 1900-01-01 03:15 | 98.83%
14 | 220 kV Meramundali - TTPS - I | 0 | 0.083333 | 0.083333 | 99.95% | 0.60556 | 0 | 0.60556 | 99.67% | 0.34236 | 0.14167 | 0.48403 | 99.73%
15 | 220 kV Meramundali - TTPS - II | 0.82222 | 0 | 0.82222 | 99.55% | 0.36944 | 0.19583 | 0.56528 | 99.69% | 0.64306 | 0.13958 | 0.78264 | 99.57%
16 | 220 kV Meramundali – NALCO – I | 0.37222 | 0.050694 | 0.42292 | 99.77% | 1899-12-31 04:02 | 0 | 1899-12-31 04:02 | 99.36% | 0.80069 | 0.10278 | 0.90347 | 99.5%
17 | 220 kV Meramundali – NALCO – II | 0.5 | 0 | 0.5 | 99.73% | 1899-12-31 04:18 | 0 | 1899-12-31 04:18 | 99.35% | 0.18056 | 0 | 0.18056 | 99.9%
18 | 220 kV Meramundali - Duburi - I | 0.35208 | 0.067361 | 0.41944 | 99.77% | 1900-01-10 05:48 | 0.054861 | 1900-01-10 07:07 | 93.81% | 1900-01-03 01:58 | 1899-12-31 03:05 | 1900-01-04 05:03 | 97.14%
19 | 220 kV Meramundali - Duburi - II | 0 | 0.090972 | 0.090972 | 99.95% | 1900-01-13 20:26 | 0.00625 | 1900-01-13 20:35 | 91.86% | 0.53264 | 1899-12-31 21:39 | 1900-01-01 10:26 | 98.67%
20 | 220 kV Meramundali - B.Nagar - I | 1900-02-14 09:16 | 1900-01-01 04:54 | 1900-02-16 14:10 | 73.38% | 1899-12-31 01:56 | 0.059028 | 1899-12-31 03:21 | 99.38% | 0.64514 | 1900-01-02 15:35 | 1900-01-03 07:04 | 97.65%
21 | 220 kV Meramundali - B.Nagar - II | 1899-12-31 14:24 | 1900-01-04 21:09 | 1900-01-06 11:33 | 95.9% | 1900-02-11 12:24 | 0.18472 | 1900-02-11 16:50 | 76.05% | 1900-05-27 16:34 | 0.37222 | 1900-05-28 01:30 | 18.32%
22 | 220 kV Meramundali - Bidanasi | 0.19861 | 0.040972 | 0.23958 | 99.87% | 1900-01-01 03:12 | 0.05625 | 1900-01-01 04:33 | 98.8% | 0.57917 | 1900-01-01 11:11 | 1900-01-02 01:05 | 98.33%
23 | 220 kV Meramundali - BSL-I | 0.14375 | 0.0125 | 0.15625 | 99.91% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
24 | 220 kV Meramundali - BSL-II | 0.24861 | 0.074306 | 0.32292 | 99.82% | 0 | 0.022917 | 0.022917 | 99.99% | 0.045833 | 0.086111 | 0.13194 | 99.93%
25 | 220 kV Rengali - Tarkera - II | 0.15417 | 1900-01-02 21:21 | 1900-01-03 01:03 | 97.78% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
26 | 220 kV Rengali - Barkote - I | 0.51042 | 1899-12-31 12:12 | 1900-01-01 00:27 | 98.89% | 0 | 0.022917 | 0.022917 | 99.98% | 0.045833 | 0.086111 | 0.13194 | 99.92%
27 | 220 kV Rengali - PGCIL - I | 0.56042 |  | 0.56042 | 99.69% | 1899-12-31 00:50 | 0.080556 | 1899-12-31 02:46 | 99.39% | 0 | 0 | 0 | 100%
28 | 220 kV Rengali - PGCIL - II | 0.10347 |  | 0.10347 | 99.94% | 1899-12-31 01:03 | 0.088889 | 1899-12-31 03:11 | 99.38% | 0 | 0.01875 | 0.01875 | 99.99%
29 | 220 kV Rengali - Rengali PH - I | 0.18611 | 0.17292 | 0.35903 | 99.8% | 1899-12-31 00:56 | 0 | 1899-12-31 00:56 | 99.43% | 0 | 0 | 0 | 100%
30 | 220 kV Rengali - Rengali PH - II | 0.027778 | 1899-12-31 07:50 | 1899-12-31 08:30 | 99.26% | 1899-12-31 00:26 | 0 | 1899-12-31 00:26 | 99.44% | 0.040278 | 0 | 0.040278 | 99.98%
31 | 132 kV Angul - TTPS | 1900-01-01 05:35 | 0.045833 | 1900-01-01 06:41 | 98.75% | 0.35764 | 0 | 0.35764 | 99.8% | 1900-01-02 07:49 | 0.20972 | 1900-01-02 12:51 | 98.06%
32 | 132 kV Angul - Boinda | 0.42083 | 0.22083 | 0.64167 | 99.65% | 1899-12-31 00:47 | 0 | 1899-12-31 00:47 | 99.43% | 1900-01-01 12:24 | 0.42917 | 1900-01-01 22:42 | 98.39%
33 | 132 kV Angul - MCL - I | 0.14444 | 0.18125 | 0.32569 | 99.82% | 1899-12-31 10:55 | 0 | 1899-12-31 10:55 | 99.2% | 0.77292 | 1900-01-01 08:01 | 1900-01-02 02:34 | 98.3%
34 | 132 kV Angul - MCL - II | 0.64792 | 0.16389 | 0.81181 | 99.56% | 1899-12-31 02:56 | 0 | 1899-12-31 02:56 | 99.39% | 1899-12-31 21:11 | 0.75417 | 1900-01-01 15:17 | 98.56%
35 | 132 kV Boinda - Rairakhole | 0.76736 |  | 0.76736 | 99.58% | 1899-12-31 18:48 | 0 | 1899-12-31 18:48 | 99.02% | 0.27361 | 0 | 0.27361 | 99.85%
36 | 132 kV Boinda - RTSS | [6 empty] | 0 | 100% |  |  | 0 | 100%
37 | 132 kV TTPS - Chainpal - I | 0.10694 | 1899-12-31 02:39 | 1899-12-31 05:13 | 99.33% | 0.85069 | 0.047222 | 0.89792 | 99.51% | 0.31875 | 0 | 0.31875 | 99.83%
38 | 132 kV TTPS - Chainpal - II | 0.22083 | 0.076389 | 0.29722 | 99.84% | 1899-12-31 04:00 | 1899-12-31 07:45 | 1900-01-01 11:45 | 98.64% | 0.71042 | 0.21528 | 0.92569 | 99.49%
39 | 132 kV Chainpal - Angul | 1900-01-01 02:43 | 0.40694 | 1900-01-01 12:29 | 98.62% | 1900-01-04 15:46 | 0 | 1900-01-04 15:46 | 96.9% | 0.044444 | 0.41875 | 0.46319 | 99.75%
40 | 132 kV Chainpal - FCI | 0.39653 | 0.29306 | 0.68958 | 99.62% | 1899-12-31 03:53 | 0.19931 | 1899-12-31 08:40 | 99.25% | 0.18333 | 0.64306 | 0.82639 | 99.55%
41 | 132 kV Chainpal - Meramundali - I | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
42 | 132 kV Chainpal – Meramundali - II | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
43 | 132KV Chainpal-RTSS | 0.12222 | 0.14444 | 0.26667 | 99.85% | 0.38056 | 0.05 | 0.43056 | 99.76% | 0.070139 | 0 | 0.070139 | 99.96%
44 | 132 kV Dhenkanal - ICCL | 0.6875 | 0.16319 | 0.85069 | 99.53% | 0.37847 | 0.21319 | 0.59167 | 99.68% | 0.62986 | 1900-01-02 14:51 | 1900-01-03 05:58 | 97.67%
45 | 132KV DKL_K.KATA_NUAPATANA T LINE |  |  |  |  | 1900-01-07 21:58 | 0.063889 | 1900-01-07 23:30 | 95.08% | 0 | 1900-01-01 08:30 | 1900-01-01 08:30 | 98.71%
46 | 132 kV Dhenkanal - Joranda Trac. | 0 | 0.00625 | 0.00625 | 100% | 0.73056 | 0.0083333 | 0.73889 | 99.6% | 0 | 1900-01-01 05:29 | 1900-01-01 05:29 | 98.78%
47 | 133 kV Kharagprasad - NBVL - I | 0.14375 | 0.0048611 | 0.14861 | 99.92% | 0.82708 |  | 0.82708 | 99.55% | 0.12986 | 0.028472 | 0.15833 | 99.91%
48 | 134 kV Kharagprasad - NBVL - II | 0.14444 | 0.015278 | 0.15972 | 99.91% | 0.62292 | 0.0069444 | 0.62986 | 99.65% | 0.12708 | 0.073611 | 0.20069 | 99.89%
49 | 132 kV Kharagprasad - Traction | 0.96667 | 0.013889 | 0.98056 | 99.46% | 0.6875 |  | 0.6875 | 99.62% | 0.13333 | 0.036111 | 0.16944 | 99.91%
50 | 132 kV Kharagprasad - MGM | 0.18472 | 0.061806 | 0.24653 | 99.86% | 0.88472 |  | 0.88472 | 99.52% | 0.12986 | 0.063889 | 0.19375 | 99.89%
51 | 132 kV Kharagprasad - SMPL
52 | 132 kV Kharagprasad - SGEL | 0.60069 | 0.016667 | 0.61736 | 99.66% | 0.90556 |  | 0.90556 | 99.5% | 0.29375 | 0.096528 | 0.39028 | 99.79%
53 | 132 kV Kamakhyanagar - Duburi | 1900-01-02 13:55 | 0.053472 | 1900-01-02 15:12 | 98.01% | 0.79444 | 85:55 | 0.79444 | 99.56% | 0 | 22:03 | 0.91875 | 99.5%
54 | 132 kV TTPS - OPCL - Kamakyanagar | 34:39 | 0.21181 | 0.21181 | 99.88% |  |  | 0 | 100% | 0 | 1900-04-04 07:18 | 1900-04-04 07:18 | 47.78%
55 | 132kv GODA-Kalarangi FDR | 85:55 | 0.053472 | 0.053472 | 99.97% | 1899-12-31 07:37 | 0.69375 | 1900-01-01 00:16 | 98.9% | 0.51319 | 0.19097 | 0.70417 | 99.61%
56 | 132 kV Khajuriakata - Nuapatna | 0.18056 | 0.39931 | 0.57986 | 99.68% |  |  | 0 | 100% |  |  | 0 | 100%
57 | 132 kV Meramundali – BRG | 0 | 0 | 0 | 100% | 0.28819 | 0 | 0.28819 | 99.84% | 0.017361 | 0 | 0.017361 | 99.99%
58 | 132 kV Meramundali - K.Prasad - I | 0.14167 | 0.029167 | 0.17083 | 99.91% | 0.90694 | 0 | 0.90694 | 99.5% | 0.11736 | 0.25903 | 0.37639 | 99.79%
59 | 132 kV Meramundali - K.Prasad - II | 0.14167 | 0.029167 | 0.17083 | 99.91% | 0.88403 | 0.0069444 | 0.89097 | 99.51% | 0.11806 | 0.022222 | 0.14028 | 99.92%
60 | 132 kV Meramundali - Khajuriakata | 1900-01-02 06:42 | 0.69861 | 1900-01-02 23:28 | 97.82% | 1899-12-31 19:11 | 0 | 1899-12-31 19:11 | 99.01% | 0.31389 | 0.83264 | 1899-12-31 03:31 | 99.37%
61 | 132 kV Meramundali - Dhenkanal | 0.13333 | 0.038889 | 0.17222 | 99.91% | 1899-12-31 00:32 | 1900-01-01 01:41 | 1900-01-02 02:13 | 98.31% | 0.0125 | 1900-01-03 12:24 | 1900-01-03 12:42 | 97.52%
62 | 132 kV Meramundali - ML Rungta | 0.51111 | 0.059028 | 0.57014 | 99.69% | 0.31111 | 0 | 0.31111 | 99.83% | 0 | 0 | 0 | 100%
Note on B57: Disconnected by CESU due to non-payment
Note on B58: Disconnected by CESU due to non-payment

## CUTTACK
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| CUTTACK CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220KV Bidanasi - Cuttack-I | 0.54861 |  | 0.54861 | 99.7% | 1899-12-31 06:35 | 0.0048611 | 1899-12-31 06:42 | 99.3% | 0.015278 | 1900-01-01 03:03 | 1900-01-01 03:25 | 98.83%
2 | 220KV Bidanasi - Cuttack-II | 0.61458 |  | 0.61458 | 99.66% | 0.82431 |  | 0.82431 | 99.55% | 0.2875 | 1900-01-01 03:38 | 1900-01-01 10:32 | 98.66%
3 | 220 kV Meramundali - Bidanasi |  |  | 0 | 100% | 0.57292 | 0.059028 | 0.63194 | 99.65% | 0.56181 | 1900-01-01 10:40 | 1900-01-02 00:09 | 98.35%
4 | 220 kV Paradeep - Essar Steel Ckt - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
5 | 220 kV Paradeep - Essar Steel Ckt - II | 0 | 0.32847 | 0.32847 | 99.82% | 2:02 | 0:19 | 0.097917 | 99.95% | 10:58 | 13:05 | 1899-12-31 00:03 | 99.45%
6 | 220 kV Paradeep - IOCL | 0 | 0.071528 | 0.071528 | 99.96% |  |  | 0 | 100% |  | 1:27 | 0.060417 | 99.97%
7 | 132 kV Chandikhole - Kendrapara |  | 4:32 | 0.18889 | 99.9% | 0.73889 | 0.66944 | 1899-12-31 09:48 | 99.23% | 0.13264 | 0.45694 | 0.58958 | 99.68%
8 | 132KV Bidanasi - BPPL feeder |  |  | 0 | 100% | 0.12917 | 0.00625 | 0.13542 | 99.93% | 1900-01-23 | 1899-12-31 03:50 | 1900-01-24 03:50 | 86.21%
9 | 132KV Bidanasi - CDR feeder | 1899-12-31 07:10 | 0.077778 | 1899-12-31 09:02 | 99.25% | 0.086111 | 0.071528 | 0.15764 | 99.91% | 0.52361 | 1900-01-02 10:28 | 1900-01-02 23:02 | 97.83%
10 | 132 kV Choudwar - Kendrapara Rd Trac. |  | 0.0069444 | 0.0069444 | 100% |  | 0.013889 | 0.013889 | 99.99% | 0.030556 | 0.64306 | 0.67361 | 99.63%
11 | 132 kV Arati - Choudwar Ckt-I | 1899-12-31 13:50 | 0.12639 | 1899-12-31 16:52 | 99.07% | 1900-01-02 20:45 | 0.063194 | 1900-01-02 22:16 | 97.85% | 0.68056 | 0.48819 | 1899-12-31 04:03 | 99.36%
12 | 132 kV ICCL - Choudwar Ckt-II | 0.56806 | 0.035417 | 0.60347 | 99.67% | 0.17708 |  | 0.17708 | 99.9% |  |  | 0 | 100%
13 | 132 kV Maheswari - ICCL Ckt-II | 0.6875 | 0.16319 | 0.85069 | 99.53% | 0.60764 | 0.18472 | 0.79236 | 99.57% | 0.74931 | 1899-12-31 11:02 | 1900-01-01 05:01 | 98.79%
14 | 132kv meramunduli Khajuriakata eht feeder |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
15 | 132kv Khajuriakata Nuapatna Feeder |  |  | 0 | 100% | 1900-01-01 22:06 | 1899-12-31 02:31 | 1900-01-03 00:37 | 97.79% | 0.84722 | 1900-01-01 05:20 | 1900-01-02 01:40 | 98.32%
16 | 132kv Nuapatna Banki Feeder | 1899-12-31 00:34 |  | 1899-12-31 00:34 | 99.44% | 0.85139 |  | 0.85139 | 99.53% | 0.72847 | 0.30833 | 1899-12-31 00:53 | 99.43%
17 | 132kv arati nuapatna EHT FEEDER | 1900-01-02 10:02 | 0.1 | 1900-01-02 12:26 | 98.07% | 0.95417 | 0.0097222 | 0.96389 | 99.47% | 1900-01-01 06:54 | 1899-12-31 14:21 | 1900-01-02 21:15 | 97.87%
18 | 132 kV ICCL Mania | 0.47014 | 0.56458 | 1899-12-31 00:50 | 99.43% | 0.15 | 0.27917 | 0.42917 | 99.76% | 1899-12-31 07:43 | 1899-12-31 05:57 | 1900-01-01 13:40 | 98.59%
19 | 132 kV Mania OCL | 0.47014 | 0.27361 | 0.74375 | 99.59% | 0.10069 | 0.37917 | 0.47986 | 99.74% | 0.97917 | 1899-12-31 05:55 | 1900-01-01 05:25 | 98.78%
20 | 132 kV ICCL - OCL | 1900-01-02 14:44 | 0.10208 | 1900-01-02 17:11 | 97.96% | 1900-01-01 02:46 | 0.96667 | 1900-01-02 01:58 | 98.31% | 0.81667 | 0.9 | 1899-12-31 17:12 | 99.06%
21 | 132 kV IOCL - Salipur | 0.71667 | 0.093056 | 0.80972 | 99.56% | 0.38958 | 0.097222 | 0.48681 | 99.73% | 0.51181 | 1899-12-31 05:03 | 1899-12-31 17:20 | 99.06%
22 | 132 kV Mancheswar - Phulnakhara | 1899-12-31 08:38 | 0.88819 | 1900-01-01 05:57 | 98.77% | 0.76528 |  | 0.76528 | 99.58% | 1899-12-31 08:13 | 1900-01-06 14:32 | 1900-01-07 22:45 | 95.1%
23 | 132 kV Phulnakhara - Cuttack | 1900-01-01 08:17 |  | 1900-01-01 08:17 | 98.71% | 0.98333 |  | 0.98333 | 99.46% | 0.35486 | 1900-01-07 07:35 | 1900-01-07 16:06 | 95.25%
24 | 132 kV Cuttack - Jagatsinghpur |  |  | 0 | 100% | 1900-01-01 20:13 |  | 1900-01-01 20:13 | 98.44% | 0.50764 | 1900-01-01 05:12 | 1900-01-01 17:23 | 98.51%
25 | 132 kV Jajpur Road - Chandikhole |  | 2:16 | 0.094444 | 99.95% |  |  | 0 | 100% |  |  | 0 | 100%
26 | 132 kV Jajpur Road - Kendrapara - II | 9:37 | 0:59 | 0.44167 | 99.76% | 1900-01-08 13:21 | 0.011806 | 1900-01-08 13:38 | 94.76% | 0.55278 | 0.19861 | 0.75139 | 99.59%
27 | 132 kV Kendrapara - Salipur | 5:50 | 7:44 | 0.56528 | 99.69% | 0.85 | 0.034028 | 0.88403 | 99.52% |  | 1899-12-31 11:17 | 1899-12-31 11:17 | 99.19%
28 | 132 kV Kendrapara - Marshaghai | 1:48 | 8:03 | 0.41042 | 99.78% | 0.80694 | 0.21875 | 1899-12-31 00:37 | 99.44% | 1900-01-01 11:44 | 0.62986 | 1900-01-02 02:51 | 98.29%
29 | 132 kV Kendarapara - Paradeep Ckt-II | 1900-01-02 19:24 | 0.26667 | 1900-01-03 01:48 | 97.77% | 29:29 |  | 1899-12-31 05:29 | 99.33% | 16:03 | 8:05 | 1899-12-31 00:08 | 99.45%
30 | 132 kV Marshaghai - Paradeep Ckt-I | 1900-01-01 09:36 | 0.90694 | 1900-01-02 07:22 | 98.19% | 45:49 | 0:14 | 1899-12-31 22:03 | 98.95% | 1899-12-31 16:37 | 0:17 | 1899-12-31 16:54 | 99.07%
31 | 132 kV Kendrapara - Pattamundai |  | 0.060417 | 0.060417 | 99.97% | 11:14 | 1:48 | 0.54306 | 99.7% | 0.32292 | 0.055556 | 0.37847 | 99.79%
32 | 132 kV Pattamundai - Olavar ckt-I | 0.088889 | 0.027083 | 0.11597 | 99.94% | 1899-12-31 09:32 | 0.0041667 | 1899-12-31 09:38 | 99.23% | 0.24653 |  | 0.24653 | 99.86%
33 | 132 kV Pattamundai - Olavar Ckt-II | 0.032639 |  | 0.032639 | 99.98% | 1899-12-31 06:51 |  | 1899-12-31 06:51 | 99.3% | 0.059722 |  | 0.059722 | 99.97%
34 | 132 kV Olavar-Chandabali ckt-I |  |  | 0 | 100% |  |  | 0 | 100% | 0.54167 |  | 0.54167 | 99.7%
35 | 132 kV Olavar-Chandabali Ckt-II |  |  | 0 | 100% |  |  | 0 | 100% | 0.34028 |  | 0.34028 | 99.81%
36 | 132 kV Paradeep - Jagatsinghpur | 0.28681 | 0.40833 | 0.69514 | 99.62% | 0.33611 | 0.20556 | 0.54167 | 99.7% | 0.13819 | 0.50486 | 0.64306 | 99.65%
37 | 132 kV Paradeep - PPL DC | 1900-01-01 07:16 | 0.76528 | 1900-01-02 01:38 | 98.32% | 2:32 | 1:12 | 0.15556 | 99.91% | 7:02 |  | 0.29306 | 99.84%
38 | 132 kV Paradeep - PPL DC | 1900-01-01 04:45 | 0.060417 | 1900-01-01 06:12 | 98.76% | 8:19 | 2:15 | 0.44028 | 99.76% | 11:09 | 5:57 | 0.7125 | 99.61%
39 | 132 kV Paradeep - IFFCO DC | 1900-01-02 07:18 | 0.65417 | 1900-01-02 23:00 | 97.83% | 210:31 |  | 1900-01-07 18:31 | 95.19% | 128:59 | 0:35 | 1900-01-04 09:34 | 97.04%
40 | 132 kV Paradeep - IFFCO DC | 1900-01-02 01:35 | 0.22778 | 1900-01-02 07:03 | 98.2% | 167:51 |  | 1900-01-05 23:51 | 96.17% | 78:53 | 15:22 | 1900-01-02 22:15 | 97.85%
41 | 132 kV Paradeep - PPT DC | 0 | 0.078472 | 0.078472 | 99.96% | 7:15 | 0:47 | 0.33472 | 99.82% |  | 0:12 | 0.0083333 | 100%
42 | 132 kV Paradeep - PPT DC | 0 | 0.38403 | 0.38403 | 99.79% | 0 | 0:47 | 0.032639 | 99.98% | 7:49 | 0:45 | 0.35694 | 99.8%
43 | 220 kV Meramundali - Duburi - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
44 | 220 kV Meramundali - Duburi - II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
45 | 220 kV Duburi - New Duburi-I |  |  | 0 | 100% | 0.57847 | 0.20833 | 0.78681 | 99.57% | 42:36 | 0 | 0 | 100%
46 | 220 kV Duburi - New Duburi-II |  |  | 0 | 100% | 0.31111 | 0.20833 | 0.51944 | 99.72% | 168:17 | 158:08 | 0 | 100%
47 | 220 kV Duburi - NINL |  |  | 0 | 100% | 8:28 |  | 0.35278 | 99.81% |  |  | 0 | 100%
48 | 220 KV New Duburi - Tata-I | 00:00 | 0.0055556 | 0.0055556 | 100% | 0.11458 | 0 | 0.11458 | 99.94% | 04:26 | 42:00 | 0 | 100%
49 | 220 KV New Duburi Tata-II | 02:53 | 0.020139 | 0.020139 | 99.99% | 0.70208 | 0 | 0.70208 | 99.62% | 0 | 0 | 0 | 100%
50 | 220 KV New Duburi - Jindal-I | 1899-12-31 07:44 | 0.18333 | 1899-12-31 12:08 | 99.18% | 0.35139 | 0 | 0.35139 | 99.81% | 1900-01-01 04:41 | 0.0013889 | 1900-01-01 04:43 | 98.8%
51 | 220 KV New Duburi - Jindal-II | 1899-12-31 13:52 | 0 | 1899-12-31 13:52 | 99.14% | 0.99583 | 0 | 0.99583 | 99.45% | 1900-01-01 13:59 | 0 | 1900-01-01 13:59 | 98.58%
52 | 220 kV New Duburi - Paradeep - l | 0.092361 | 1899-12-31 00:39 | 1899-12-31 02:52 | 99.39% | 1900-01-07 03:45 | 0.36458 | 1900-01-07 12:30 | 95.33% | 556:05 | 27:05 | 0 | 100%
53 | 220 kV New Duburi - Paradeep - ll | 0.32222 | 0.67847 | 1899-12-31 00:01 | 99.45% | 1900-01-03 06:34 | 0.0048611 | 1900-01-03 06:41 | 97.66% | 304:33 | 16:27 | 0 | 100%
54 | 220 KV New Duburi - Rohit | 0 | 0 | 0 | 100% | 0.25972 | 0 | 0.25972 | 99.86% | 0 | 0 | 0 | 100%
55 | 220 KV New Duburi - VISA-I | 0.14722 | 0.31111 | 0.45833 | 99.75% | 0.18056 | 0 | 0.18056 | 99.9% | 0 | 0 | 0 | 100%
56 | 220 KV New Duburi - Maithan | 0 | 0.053472 | 0.053472 | 99.97% | 0.275 | 0 | 0.275 | 99.85% | 0 | 0 | 0 | 100%
57 | 220 KV New Duburi - Emami | 0 | 0 | 0 | 100% | 0.15347 | 0 | 0.15347 | 99.92% | 0 | 0 | 0 | 100%
58 | 220 kV New Duburi - Balasore - I | 0 | 1900-01-02 07:25 | 1900-01-02 07:25 | 98.19% |  |  | 0 | 100% |  |  | 0 | 100%
59 | 132 kV Kamkhyanagar – Duburi - I | 0 | 0.045139 | 0.045139 | 99.98% | 0.775 |  | 0.775 | 99.58% |  |  | 0 | 100%
60 | 132 kV TTPS - Duburi Ckt - II | 0 | 0.41736 | 0.41736 | 99.77% | 0.60417 |  | 0.60417 | 99.67% | 0.53611 |  | 0.53611 | 99.71%
61 | 132 kV Duburi - Jajpur Rd. Ckt - I |  |  | 0 | 100% | 1900-01-01 12:21 | 0.10833 | 1900-01-01 14:57 | 98.56% | 1900-01-01 07:12 | 0.076389 | 1900-01-01 09:02 | 98.7%
62 | 132 kV Duburi - Jajpur Rd. Ckt - II |  |  | 0 | 100% | 0.68056 | 0.10486 | 0.78542 | 99.57% | 1900-01-01 03:14 | 0.27431 | 1900-01-01 09:49 | 98.68%
63 | 132 kV BCMohanty - Baminipal (TISCO) |  | 16:33 | 0.68958 | 99.62% |  |  | 0 | 100% |  |  | 0 | 100%
64 | 132 kV Duburi - TOMKA |  |  | 0 | 100% |  |  | 0 | 100% | 1900-01-02 09:40 |  | 1900-01-02 09:40 | 98.14%
65 | 132 kV Duburi - BCMohanty |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
66 | 132 kV Duburi - Jakhapura Traction |  | 4:44 | 0.19722 | 99.89% | 0.39722 |  | 0.39722 | 99.78% |  |  | 0 | 100%
67 | 132 kV Duburi - Mesco Fdr-II |  | 6:16 | 0.26111 | 99.86% | 0.32083 |  | 0.32083 | 99.82% |  |  | 0 | 100%
68 | 132 kV Duburi - Mesco - Bhadrak - Jajpur Town |  | 76:19 | 1900-01-02 04:19 | 98.26% |  | 1900-02-21 03:30 | 1900-02-21 03:30 | 70.88% |  | 1900-06-28 | 1900-06-28 | 1.37%
69 | 132 kV Jajpur Road – Kendrapara-II |  |  | 0 | 100% | 0.34514 | 0.0034722 | 0.34861 | 99.81% |  | 0.18472 | 0.18472 | 99.9%
70 | 132 kV Jajpur Road – Chandikhol - I |  |  | 0 | 100% | 0.34653 | 0.2125 | 0.55903 | 99.69% |  | 0.088889 | 0.088889 | 99.95%
71 | 132 kV Jajpur Road - Jajpur Town . | 0.93194 | 0.14514 | 1899-12-31 01:51 | 99.41% | 90:50 | 15:53 | 0 | 100% | 00.00 | 1900-01-01 02:45 | 1900-01-01 02:45 | 98.84%
72 | 132KV Jajpur Road-Anandpur incomer-I |  | 0.031944 | 0.031944 | 99.98% | 0.60764 |  | 0.60764 | 99.67% | 0.098611 |  | 0.098611 | 99.95%
73 | 132KV Jajpur Road-Anandpur incomer-II |  | 0.22986 | 0.22986 | 99.87% | 0.45208 |  | 0.45208 | 99.75% | 0.042361 |  | 0.042361 | 99.98%
74 | 132 kV Kalarangi Incomer

## JAJPUR ROAD
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| JAJPUR ROAD CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Balasore - Bhadrak | 0.58264 | 1900-01-02 13:54 | 1900-01-03 03:53 | 97.72% | 1899-12-31 02:00 | 0 | 1899-12-31 02:00 | 99.41% | 0.71458 | 0.23264 | 0.94722 | 99.48%
2 | 220 kV Balasore - PGCIL - 1 | 0.10347 | 0.12917 | 0.23264 | 99.87% | 1899-12-31 02:14 | 0.30694 | 1899-12-31 09:36 | 99.23% | 0.088889 | 0 | 0.088889 | 99.95%
3 | 220 kV Balasore - PGCIL - 2 | 0.18681 | 0.2375 | 0.42431 | 99.77% | 0.97986 | 0.45069 | 1899-12-31 10:20 | 99.22% | 0.084722 | 0.12569 | 0.21042 | 99.88%
4 | 220 kV New Duburi - Bhadrak | 0 | 0 | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
5 | 220 kV TTPS - Joda - I | 0.93889 | 0.48819 | 1899-12-31 10:15 | 99.22% | 1899-12-31 02:03 | 0.051389 | 1899-12-31 03:17 | 99.38% | 0 | 1900-01-01 01:13 | 1900-01-01 01:13 | 98.88%
6 | 220 kV TTPS - Joda - II | 0.97708 | 1900-01-01 06:07 | 1900-01-02 05:34 | 98.23% | 1900-01-02 10:44 | 0.014583 | 1900-01-02 11:05 | 98.1% | 1899-12-31 10:55 | 0.1375 | 1899-12-31 14:13 | 99.13%
7 | 220 kV Joda - Jamshedpur |  | 0.35833 | 0.35833 | 99.8% | 1899-12-31 01:45 |  | 1899-12-31 01:45 | 99.41% | 0.70417 |  | 0.70417 | 99.61%
8 | 220 kV Joda - Ramchandrapur |  | 1900-01-03 04:18 | 1900-01-03 04:18 | 97.71% | 1899-12-31 08:01 | 1900-01-01 11:52 | 1900-01-02 19:53 | 97.9% |  | 0.47292 | 0.47292 | 99.74%
9 | 220 kV Joda - TSIL | 0.070833 | 0.25694 | 0.32778 | 99.82% | 0.93611 | 0.12153 | 1899-12-31 01:23 | 99.42% | 1900-01-06 06:35 | 0.10556 | 1900-01-06 09:07 | 95.96%
10 | 220 kV Joda - Tata Steel | 0.043056 | 0.16944 | 0.2125 | 99.88% | 0.84514 |  | 0.84514 | 99.54% | 0.19653 | 0.10347 | 0.3 | 99.84%
11 | 132 kV Balasore - Baripada | 1899-12-31 01:37 | 0 | 1899-12-31 01:37 | 99.42% | 0.69653 | 0.0034722 | 0.7 | 99.62% | 1899-12-31 02:08 | 1900-01-02 03:39 | 1900-01-03 05:47 | 97.68%
12 | 132 kV Balasore - Soro | 1899-12-31 10:59 | 1899-12-31 01:10 | 1900-01-01 12:09 | 98.63% | 1899-12-31 22:41 | 0.051389 | 1899-12-31 23:55 | 98.91% | 0.26111 | 0.051389 | 0.3125 | 99.83%
13 | 132 kV Balasore - Balasore Alloys | 0.15069 | 0.038889 | 0.18958 | 99.9% | 0.74722 | 0.10139 | 0.84861 | 99.54% | 0.088194 | 0.20278 | 0.29097 | 99.84%
14 | 132 kV Balasore - Birla Tyres | 0.13611 | 0.048611 | 0.18472 | 99.9% | 0.21944 | 0.032639 | 0.25208 | 99.86% | 0.086111 | 0.76458 | 0.85069 | 99.53%
15 | 132 kV Balasore - Traction | 0.33403 | 0 | 0.33403 | 99.82% | 0.12847 |  | 0.12847 | 99.93% | 0.10278 | 0.038194 | 0.14097 | 99.92%
16 | 132 kV Balasore - Basta | 0.36944 | 0 | 0.36944 | 99.8% | 1900-01-01 00:45 | 0.082639 | 1900-01-01 02:44 | 98.84% | 0.78542 | 0.041667 | 0.82708 | 99.55%
17 | 132 KV Balasore-Somnathpur | 0 | 0.040278 | 0.040278 | 99.98% | 0.22847 |  | 0.22847 | 99.87% |  | 0.024306 | 0.024306 | 99.99%
18 | 132KV BHOGRAI-KUCHEI LINE | 1899-12-31 05:48 | 1900-01-02 21:13 | 1900-01-04 03:01 | 97.19% | 0.61597 | 0.95764 | 1899-12-31 13:46 | 99.14% | 0 | 0.31806 | 0.31806 | 99.83%
19 | 132KV BHOGRAI-JALESWAR LINE | 0.44653 | 0.065278 | 0.51181 | 99.72% | 0 | 0.17431 | 0.17431 | 99.9% | 0 | 0.10486 | 0.10486 | 99.94%
20 | 132KV Somnathpur - M/S EMAMI | 0.046528 | 0.041667 | 0.088194 | 99.95% | 0.28333 | 0.0013889 | 0.28472 | 99.84% |  | 0.065278 | 0.065278 | 99.96%
21 | 132KV Somnathpur - M/S STORK FERRO | 0.038194 | 0.25417 | 0.29236 | 99.84% | 0.27847 | 0.025694 | 0.30417 | 99.83% |  | 0.26875 | 0.26875 | 99.85%
22 | 132 kV Basta - Jaleswar | 0 | 32:15 | 0 | 100% | 0.40972 | 46:57 | 0.40972 | 99.78% |  | 66:38 | 0 | 100%
23 | 132 KV KUCHEI -JALESWAR line | 0 | 111:28 | 0 | 100% | 0.57292 | 31:31 | 0.57292 | 99.69% | 45:56 | 05:00 | 0 | 100%
24 | 132 KV JALESWAR-BHOGRAI line | 0 | 1899-12-31 12:55 | 1899-12-31 12:55 | 99.16% | 0.30694 | 15:59 | 0.30694 | 99.83% | 0.063194 | 03:26 | 0.063194 | 99.97%
25 | 132 kV Jaleswar - Rly Traction | 0 | 1:00 | 0 | 100% | 0.64306 | 02:17 | 0.64306 | 99.65% |  | 0:35 | 0 | 100%
26 | 132 KV Bhadrak-J.Town | 0.79167 | 0.26389 | 1899-12-31 01:20 | 99.42% | 1900-01-02 20:02 | 0.45069 | 1900-01-03 06:51 | 97.65% | 0.7 | 0.7125 | 1899-12-31 09:54 | 99.23%
27 | 132 kV Bhadrak - DPCL - I | 0.44861 | 0 | 0.44861 | 99.75% | 1900-01-03 00:34 |  | 1900-01-03 00:34 | 97.8% |  |  | 0 | 100%
28 | 132 kV Bhadrak - DPCL - II | 0.17014 | 0 | 0.17014 | 99.91% | 1900-01-01 09:50 |  | 1900-01-01 09:50 | 98.68% |  |  | 0 | 100%
29 | 132 kV Bhadrak - Soro | 0 | 0.0041667 | 0.0041667 | 100% | 1900-01-01 12:45 | 0.93125 | 1900-01-02 11:06 | 98.1% | 16:24:000 | 0.013194 | 0.013194 | 99.99%
30 | 132 kV Bhadrak - FACOR | 0 | 0 | 0 | 100% | 0.85278 |  | 0.85278 | 99.53% | 0.24097 |  | 0.24097 | 99.87%
31 | 132 kV Bhdrak - Traction | 0 | 0 | 0 | 100% | 0.36319 | 0.045139 | 0.40833 | 99.78% |  |  | 0 | 100%
32 | 132 KV BHADRAK FACOR POWER FEEDER | 0 | 0 | 0 | 100% | 0.41042 |  | 0.41042 | 99.78% | 0.24861 | 0.53194 | 0.78056 | 99.57%
33 | 132 KV Bhadrak Anandpur Feeder(Charged on 03.07.2019) |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
34 | 132 KV Bhadrakh INCOMER- II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
35 | 132 kV Kuchei PGCIL - Baripada | 0 | 0.37986 | 0.37986 | 99.79% | 1899-12-31 00:46 |  | 1899-12-31 00:46 | 99.43% |  | 0.37986 | 0.37986 | 99.79%
36 | 132 kV Kuchei PGCIL - Bangiriposhi | 0 | 0.76319 | 0.76319 | 99.58% | 0.40069 |  | 0.40069 | 99.78% |  |  | 0 | 100%
37 | 132 kV Bangiriposhi - Rairangpur | 0.54375 | 0.9625 | 1899-12-31 12:09 | 99.17% | 0.46389 |  | 0.46389 | 99.75% |  |  | 0 | 100%
38 | 132 KV BALASORE-UDALA |  |  |  |  | 0.31944 |  | 0.31944 | 99.82% |  | 0.10903 | 0.10903 | 99.94%
39 | 132 KV BARIPADA -BETNOTI |  |  |  |  | 1899-12-31 17:20 |  | 1899-12-31 17:20 | 99.06% |  | 0.26181 | 0.26181 | 99.86%
40 | 132 KV BETNOTI -UDALA |  |  |  |  | 1899-12-31 17:20 |  | 1899-12-31 17:20 | 99.06% |  | 0.043056 | 0.043056 | 99.98%
41 | 132 kV Rairangpur - Karanjia | 0 | 0.75069 | 0.75069 | 99.59% | 0.24097 | 1899-12-31 20:11 | 1900-01-01 01:58 | 98.86% |  | 1900-01-01 02:46 | 1900-01-01 02:46 | 98.84%
42 | 132KV KARANJIA-DHENKEKOTE | 0 | 0 | 0 | 100% | 0.95139 | 0.10417 | 1899-12-31 01:20 | 99.42% |  |  | 0 | 100%
43 | 132 kV Palasponga - Karanjia | 0 | 0.25625 | 0.25625 | 99.86% | 1900-01-01 06:15 |  | 1900-01-01 06:15 | 98.76% |  | 0.45833 | 0.45833 | 99.75%
44 | 132 kV Joda - Rourkela | 0.45486 | 0.61944 | 1899-12-31 01:47 | 99.41% | 1900-01-01 08:15 | 0.0020833 | 1900-01-01 08:18 | 98.71% | 0.71181 | 1899-12-31 11:13 | 1900-01-01 04:18 | 98.81%
45 | 132 kV Joda - Polasponga | 0.2125 | 0.55 | 0.7625 | 99.58% | 1899-12-31 09:00 | 0.030556 | 1899-12-31 09:44 | 99.23% | 0.23472 | 0.62083 | 0.85556 | 99.53%
46 | 132 kV Joda - FAP | 0.25347 | 0.22361 | 0.47708 | 99.74% | 1900-01-16 02:29 | 0.15625 | 1900-01-16 06:14 | 90.54% | 0.55903 | 0.22014 | 0.77917 | 99.57%
47 | 132 kV Joda - Kenduposi |  | 0.034722 | 0.034722 | 99.98% | 1899-12-31 03:44 | 0.035417 | 1899-12-31 04:35 | 99.35% | 0.79028 | 0.23472 | 1899-12-31 00:36 | 99.44%
48 | 132 kV Joda - Banspani | 0.26875 | 1900-01-01 01:39 | 1900-01-01 08:06 | 98.72% | 1899-12-31 01:21 | 0.68681 | 1899-12-31 17:50 | 99.04% | 0.95139 | 1900-01-01 01:27 | 1900-01-02 00:17 | 98.35%
49 | JODA-KEONJHAR RTSS |  | 0.12153 | 0.12153 | 99.93% | 0.39861 | 0.17917 | 0.57778 | 99.68% |  | 0.30486 | 0.30486 | 99.83%
50 | POLASPANGA-MSP |  | 0.11736 | 0.11736 | 99.94% | 0.35764 | 0.10208 | 0.45972 | 99.75% |  | 0.45833 | 0.45833 | 99.75%
51 | 132 KV Karanjia-Dhenkikote |  |  |  |  | 0.92014 | 0.10417 | 1899-12-31 00:35 | 99.44% |  |  | 0 | 100%

## JEYPORE
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2018-19 04/18 to 09/18 |  |  |  | Last six months of the previous year 2018-19 10/18 to 03/19 |  |  |  | First six months of the current year 2019-20 04/19 to 09/19
| JEYPORE CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Jayanagar - Balimela - I | 0:00 | 0:38 | 0.026389 | 99.99% | 1899-12-31 08:32 | 1900-01-19 14:17 | 1900-01-20 22:49 | 87.97% | 0 | 0 | 0 | 100%
2 | 220 kV Jayanagar - Balimela - II | 0:00 | 0:00 | 0 | 100% | 1899-12-31 03:06 | 0.029167 | 1899-12-31 03:48 | 99.37% | 0.60833 | 0 | 0.60833 | 99.67%
3 | 220 kV Jayanagar - Balimela - III | 0:00 | 0:40 | 0.027778 | 99.98% | 1899-12-31 10:55 | 0.23681 | 1899-12-31 16:36 | 99.07% | 0.85486 | 1899-12-31 22:00 | 1900-01-01 18:31 | 98.48%
4 | 220 kV Jayanagar - Upper Kolab-I | 0:00 | 0:47 | 0.032639 | 99.98% | 1900-01-11 04:01 | 0 | 1900-01-11 04:01 | 93.33% | 0 | 0 | 0 | 100%
5 | 220 kV Jayanagar - Upper Kolab-II | 0:00 | 0:48 | 0.033333 | 99.98% | 1900-01-11 20:11 | 0 | 1900-01-11 20:11 | 92.96% | 1899-12-31 00:36 | 0 | 1899-12-31 00:36 | 99.44%
6 | 220 kV Jayanagar - PGCIL - I | 0:00 | 0:30 | 0.020833 | 99.99% | 0.15069 | 0 | 0.15069 | 99.92% | 0.66806 | 0 | 0.66806 | 99.63%
7 | 220 kV Jayanagar - PGCIL-II | 0:00 | 0:34 | 0.023611 | 99.99% | 0.53125 | 0 | 0.53125 | 99.71% | 0.87847 | 0 | 0.87847 | 99.52%
8 | 220 kV Therubali - Laxmipur - I | 0:00 | 3:15 | 0.13542 | 99.93% | 1899-12-31 13:59 | 0.08125 | 1899-12-31 15:56 | 99.09% | 0 | 0 | 0 | 100%
9 | 220 kV Therubali - Laxmipur - II | 0:00 | 0:33 | 0.022917 | 99.99% | 0.87569 | 0 | 0.87569 | 99.52% | 0 | 0 | 0 | 100%
10 | 220 kV Therubali - Jayanagar - Kolab - III | 79.15 | 1.28 |  |  | 1899-12-31 17:15 | 0.042361 | 1899-12-31 18:16 | 99.04% |  | 1900-01-09 04:42 | 1900-01-09 04:42 | 94.41%
11 | 220 kV Therubali - Bhanjanagar - I | 0.65903 | 0.042361 | 0.70139 | 99.62% | 0.69097 |  | 0.69097 | 99.62% | 0.21111 | 1900-01-02 07:48 | 1900-01-02 12:52 | 98.06%
12 | 220 kV Therubali - Bhanjanagar - II | 0.90347 | 0.11597 | 1899-12-31 00:28 | 99.44% | 1900-01-01 06:03 | 0.050694 | 1900-01-01 07:16 | 98.74% | 0.37986 | 1899-12-31 03:12 | 1899-12-31 12:19 | 99.17%
13 | 220 kV Therubali - Indravati - I | 1900-01-02 04:42 | 1899-12-31 19:43 | 1900-01-04 00:25 | 97.25% | 1899-12-31 21:42 | 0.019444 | 1899-12-31 22:10 | 98.95% |  | 0.95069 | 0.95069 | 99.48%
14 | 220 kV Therubali - Indravati - II | 1900-01-01 20:08 | 0.038194 | 1900-01-01 21:03 | 98.42% | 1900-01-02 10:37 | 1900-01-01 13:24 | 1900-01-05 00:01 | 96.71% | 0.17917 | 1899-12-31 00:05 | 1899-12-31 04:23 | 99.35%
15 | 220 kV Therubali - Indravati - III | 1900-01-13 10:51 | 0.62778 | 1900-01-14 01:55 | 91.74% | 1900-01-04 22:01 | 0.94931 | 1900-01-05 20:48 | 96.24% | 0.10972 | 1899-12-31 05:28 | 1899-12-31 08:06 | 99.27%
16 | 220 kV Therubali - Indravati - IV | 0.45278 | 0.49792 | 0.95069 | 99.48% | 1900-01-02 01:26 | 1900-01-03 04:44 | 1900-01-06 06:10 | 96.02% | 1899-12-31 11:14 | 0.54931 | 1900-01-01 00:25 | 98.89%
17 | 220 kV Therubali - Narendrapur - I | 1900-01-02 19:39 | 0.23542 | 1900-01-03 01:18 | 97.78% | 1900-01-04 16:51 | 0.18819 | 1900-01-04 21:22 | 96.77% | 0.27361 | 0.061806 | 0.33542 | 99.82%
18 | 220 kV Therubali - Narendrapur - II | 0.58611 | 0.15208 | 0.73819 | 99.6% | 1900-01-02 06:38 | 0.26667 | 1900-01-02 13:02 | 98.06% | 0.66181 | 0.019444 | 0.68125 | 99.63%
19 | 132 kV Jayanagar - Rayagada | 0.66806 | 0.031944 | 0.7 | 99.62% | 0.6875 | 0.38681 | 1899-12-31 01:47 | 99.41% | 0 | 0 | 0 | 100%
20 | 132 kV Jayanagar - Sunabeda | 0.45625 | 0.43472 | 0.89097 | 99.51% | 0.85764 | 0.015972 | 0.87361 | 99.52% | 0.56319 | 0 | 0.56319 | 99.69%
21 | 132 kV Jayanagar - Damonjodi | 0.20069 | 0.10139 | 0.30208 | 99.83% | 0.38333 | 0.84653 | 1899-12-31 05:31 | 99.33% | 0.15417 | 0.086111 | 0.24028 | 99.87%
22 | 132 kV Machkund - Jayanagar | 0.16736 | 1900-01-07 05:39 | 1900-01-07 09:40 | 95.4% | 0.79931 | 0.25764 | 1899-12-31 01:22 | 99.42% | 0.70486 | 0.21597 | 0.92083 | 99.5%
23 | 132 kV Jayanagar -Tentulikhunti | 0.71597 | 0.29653 | 1899-12-31 00:18 | 99.45% | 1899-12-31 10:39 | 0 | 1899-12-31 10:39 | 99.21% | 0.26875 | 0.54653 | 0.81528 | 99.55%
24 | 132 kV Jayanagar - Traction | 1899-12-31 06:05 | 0.29097 | 1899-12-31 13:04 | 99.15% | 0.30556 | 0.14306 | 0.44861 | 99.75% | 0.15417 | 0.55278 | 0.70694 | 99.61%
25 | 132 kV Sunabeda - Damonjodi | 0.34375 |  | 0.34375 | 99.81% | 0.50694 |  | 0.50694 | 99.72% | 0.70903 |  | 0.70903 | 99.61%
26 | 132kV HAL Feeder |  | 0.040972 | 0.040972 | 99.98% | 0.49097 | 0.052083 | 0.54306 | 99.7% |  | 0.25069 | 0.25069 | 99.86%
27 | 132 kV Therubali - Rayagada | 0.97708 | 0.66806 | 1899-12-31 15:29 | 99.1% | 1899-12-31 05:25 | 0.014583 | 1899-12-31 05:46 | 99.32% | 0.53194 | 1899-12-31 05:32 | 1899-12-31 18:18 | 99.03%
28 | 132 kV Therubali - IMFA | 0.71597 |  | 0.71597 | 99.61% | 0.49444 |  | 0.49444 | 99.73% | 0.62569 | 0.013194 | 0.63889 | 99.65%
29 | 132 kV Therubali - J.K.Paper | 1899-12-31 05:01 |  | 1899-12-31 05:01 | 99.34% | 0.83681 |  | 0.83681 | 99.54% | 0.053472 | 1899-12-31 19:27 | 1899-12-31 20:44 | 98.98%
30 | 132 kV Therubali - Muniguda | 0.43681 | 0.82847 | 1899-12-31 06:22 | 99.31% | 0.020833 | 0.43819 | 0.45903 | 99.75% | 0 | 0.079861 | 0.079861 | 99.96%
31 | 132 kV Muniguda - Vedant(Lanjigarh) | 0 | 0.23819 | 0.23819 | 99.87% | 0.44097 | 0.40556 | 0.84653 | 99.54% | 0.0041667 | 0.11458 | 0.11875 | 99.93%
32 | 132 kV Bissamcuttack RTSS |  |  | 0 | 100% | 0.19861 | 0.39514 | 0.59375 | 99.67% | 0.040972 | 0.19236 | 0.23333 | 99.87%
33 | 132 kV Akhusingi - Parlakhemundi |  | 3:20 | 0.13889 | 99.92% | 0.75486 | 0.37708 | 1899-12-31 03:10 | 99.38% |  |  | 0 | 100%
34 | 132 kV Rayagada - Akhusingh |  | 1899-12-31 08:33 | 1899-12-31 08:33 | 99.26% | 1899-12-31 05:00 | 1899-12-31 06:19 | 1900-01-01 11:19 | 98.65% | 0.375 |  | 0.375 | 99.79%
35 | 132 kV Tentulikhunti-Dabugaon Line | 0.16319 | 0.032639 | 0.19583 | 99.89% | 1899-12-31 10:52 | 0 | 1899-12-31 10:52 | 99.2% | 0.91042 | 1899-12-31 09:01 | 1900-01-01 06:52 | 98.75%
36 | 132 kV Dabugaon-Umerkote Line | 0.35069 | 0.04375 | 0.39444 | 99.78% | 1899-12-31 11:47 | 0.71042 | 1900-01-01 04:50 | 98.79% | 0.60278 | 0.28194 | 0.88472 | 99.52%
37 | 220kv incomer from OHPC Balimela | 0.39722 | 0.063194 | 0.46042 | 99.75% | 0.64583 | 0.26111 | 0.90694 | 99.5% | 0.19861 | 0.71319 | 0.91181 | 99.5%
38 | 220 KV Malkangiri O/G Feeder | 0.13611 |  | 0.13611 | 99.93% |  |  | 0 | 100% | 0.14167 |  | 0.14167 | 99.92%
39 | 132KV Jayanagar Podagada Feeder | [5 empty] | 1900-01-10 03:55 | 0.64583 | 99.65% |  | 1900-01-09 00:56 | 1900-01-09 00:56 | 94.5%
40 | 132KV Podagada Rayagada Feeder | [5 empty] | 1899-12-31 12:36 | 0 | 100% |  | 1899-12-31 05:13 | 1899-12-31 05:13 | 99.33%