BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO – 4, SHAILASHREE VIHAR, CHANDRASEKHARPUR

BHUBANESWAR –751 023.

Filing No.: 02

Case No. 72 of 2020

IN THE MATTER OF :	Compliance / Clarifications / Reply by GRIDCO to the Wanting Information / Queries raised by the Hon’ble Commission with respect to ARR & BSP Application of GRIDCO for FY 2021-22 vide Hon’ble OERC letter No.1519 dated 30.12.2020 pursuant to the filing of the Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2021-22by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

IN THE MATTER OF:	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2021-22 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations referred in Case No. 72 of 2020.

AND

IN THE MATTER OF :  GRIDCO Limited, Janpath, Bhubaneswar

- …….…. Applicant

The Humble Applicant above named

MOST RESPECTFULLY SHOWETH THAT

It is submitted that M/s. GRIDCO Limited (GRIDCO) filed the Aggregate Revenue Requirement (ARR) &Bulk Supply Price (BSP) Application for FY 2021-22 before the Hon’ble Odisha Electricity Regulatory Commission (OERC) on 01.12.2020 in terms of Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004 and other related Rules and Regulations.The said Application of GRIDCO was registered as Case No.72 of 2020by theHon’ble Odisha Electricity Regulatory Commission (herein after called as “OERC” or “the Commission”.

After going through the said ARR & BSP Application, Hon’ble OERC vide  Letter No.1519 dated 30.12.2020directed GRIDCO to furnish the Wanting Information (W.I.) and complyto the various Queries and / clarify on Issues as raised by the Hon’ble Commission on the ARR and BSP Application for FY 2021-22 so filed before the Commission on 01.12.2020, by 08.01.2021.

Duly obliging the directives of the Hon’ble Commission, GRIDCO, in the subsequent paragraphs, submits herewith theReplies /Compliances/ Clarifications to the Queries / Issues raised in the above referred letter. GRIDCO has also made all possible attempts to provide the required Technical and Financial information as required for by the Hon’ble Commission.

- Compliance / Reply by GRIDCO to the Queries of the Hon’ble OERC on the ARR & BSP Application for FY 2021-22

Technical

- W.I. No.1:

GRIDCO is required to furnish the Cumulative Plant Availability Factor (PAF) of TTPS (NTPC) and OPGC for the FY 2019-20 along with month-wise PAF for the months of October and November, 2020 of the current financial year.

Reply of GRIDCO:

It is respectfully submitted that, as desired by the Hon’ble OERC, (i) Cumulative Plant Availability Factor (PAF) of TTPS (NTPC)& OPGC for the FY 2019-20and (ii) month-wise PAF for Current Financial Year 2020-21(i.e., forOct’20and Nov’20) are furnished as follows:

- Cumulative Plant Availability Factor (PAF) for FY 2019-20:

TTPS(NTPC)	:		84.07%

OPGC	(1&2)	:		69.73%

OPGC (3 & 4):    		60.20%

- Month-wise PAF (PAFM) for Current Financial Year-2020-21 for October’20& Novemeber’20 are as follows:

| Name of the Station | TTPS (PAFM %) |  | OPGC - 1 & 2 | OPGC - 3 & 4 |
| --- | --- | --- | --- | --- |
| Months | Peak | Off peak | PAFM (%) | PAFM (%) |
| Oct-20 | 94.93 | 92.04 | 79.44 | 31.88 |
| Nov-20 | 91.23 | 91.76 | 78.20 | 70.51 |

- W.I. No.2:

In respect of Central Generating Stations (both for Thermal and Hydro), GRIDCO is requiredto submit the latest share allocation for Odisha made by the Ministry of Power along with the present installed capacity. The latest monthly REA prepared by ERPC/SRPC is also to be furnished.

Reply of GRIDCO:

As desired by the Hon’ble Commission, a copy of the latest monthly Regional Energy Accounting (REA)i.e., for the month of November, 2020,as downloaded from the Eastern Regional Power Committee (ERPC)and Southern Regional Power Committee (SRPC)Website, is enclosed herewith for kind information (Annexure-1(Series).The REA so prepared by the ERPC depicts the Station-wise details of Energy Accounting like ‘Installed Capacity, allocated share as well as the ‘Energy Drawal’ in favour of the Beneficiary States including Odisha (GRIDCO).

However, the latest share allocated from NTPC & NHPC Stations in favour of Odisha is tabulated in the following Table which may be considered as the current share allocation in favour of Odishauntil the same is revised by the Government of India.

Share Allocation from CGSs in favour of Odisha (GRIDCO)

| Name of the CGSs | Installed Capacity | Share Allocation to GRIDCO out of Installed Capacity (Including NVVN Thermal Power) | Total |
| --- | --- | --- | --- |
|  | (MW) | (%) | (MW) |
| Farakka STPS-I&II | 1600 (3X200+2X500) | 14.18 | 226.88 |
| Farakka STPS-III | 500 | 17.15 | 85.75 |
|  | (1x500) |  |  |
| KhSTPS Stg.-I | 840 | 15.77 | 132.47 |
|  | (4x210) |  |  |
| KhSTPS Stg.-II | 1500 | 2.62 | 39.30 |
|  | (3X500) |  |  |
| TSTPS Stg.-I | 1000 | 32.34 | 323.40 |
|  | (2X500) |  |  |
| TSTPS Stg.-II | 2000 | 10 | 200.00 |
|  | (4X500) |  |  |
| DSTPS-I | 800 | 58.82 | 470.56 |
|  | (1x800) |  |  |
| Sub-Total | 8240 |  | 1478.36 |
| (Central Thermal)(A) |  |  |  |
| Chukka HEP | 336 (4X84) | 15.19 | 41.01 |
|  | (ER Allocation=270) |  |  |
| Tala HEP | 1020 | 4.25 | 43.35 |
|  | (6X170) |  |  |
| Teesta HEP | 510 | 20.59 | 105.00 |
|  | (3X170) |  |  |
| Mangdechhu | 720 | 10.97 | 79.01 |
|  | (4x180) |  |  |
| Sub-Total | 2586 |  | 268.37 |
| (Central Hydro)(B) |  |  |  |
| Grand Total (A+B) | 10826 |  | 1746.73 |

3. 	W.I. No.3:

The energy bills for the month of October & November, 2020 in respect of all the generators (both state & central sector) supplying power to GRIDCO along with all enclosures are to be submitted. Similarly, the bills for the month of Oct and Nov, 2020 in respect of PGCIL transmission charges, SOC, MOC and ULDC charges are also to be furnished.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the Energy Bills in respect of various Generators (both State & Central Generators), PGCIL and ERLDC / ERPC Charges etc.for the months of October’20& November’20 along with all the relevant enclosures are attached herewith as Annexure-2(a) to Annexure-22(b)as given in the Table below:

Energy Bills of Central & State Generators for October’19 & November’2019

| Stations | Energy Bill for | Annexure Nos. |
| --- | --- | --- |
| State Sector Stations |  |  |
| OHPC (All Stations) | October, 2020 | 2 (a) |
|  | November, 2020 | 2 (b) |
| Meenakshi SHEP | October, 2020 | 3 (a) |
|  | November, 2020 | 3 (b) |
| Samal SHEP | October, 2020 | 4 (a) |
|  | November, 2020 | 4 (b) |
| Baitarani SHEP | October, 2020 | 5 (a) |
|  | November, 2020 | 5 (b) |
| OPGC Unit (1 &2) | October, 2020 | 6 (a) |
|  | November, 2020 | 6 (b) |
| OPGC Unit (3 &4) | October, 2020 | 7 (a) |
|  | November, 2020 | 7 (b) |
| NTPC-TTPS | October, 2020 | 8 (a) |
|  | November, 2020 | 8 (b) |
| Vedanta Ltd. | October, 2020 | 9 (a) |
|  | November, 2020 | 9 (b) |
| GKEL (GMR Kamalanga Energy Ltd.) | October, 2020 | 10 (a) |
|  | November, 2020 | 10(b) |
| Central Sector Stations |  |  |
| Chukha | October, 2020 | 11 (a) |
|  | November, 2020 | 11 (b) |
| Tala | October, 2020 | 12 (a) |
|  | November, 2020 | 12 (b) |
| Teesta | October, 2020 | 13 (a) |
|  | November, 2020 | 13 (b) |
| Mangdechhu | October, 2020 | 14 (a) |
|  | November, 2020 | 14 (b) |
| FSTPS-I & II | October, 2020 | 15 (a) |
|  | November, 2020 | 15 (b) |
| FSTPS-III | October, 2020 | 16 (a) |
|  | November, 2020 | 16 (b) |
| TSTPS-I | October, 2020 | 17 (a) |
|  | November, 2020 | 17 (b) |
| TSTPS-II | October, 2020 | 18 (a) |
|  | November, 2020 | 18 (b) |
| KhSTPS-I | October, 2020 | 19 (a) |
|  | November, 2020 | 19 (b) |
| KhSTPS-II | October, 2020 | 20 (a) |
|  | November, 2020 | 20 (b) |
| DSTPS-I | October, 2020 | 21 (a) |
|  | November, 2020 | 21 (b) |
| PGCIL Transmission Bills (PoC) | October, 2020 | 22 (a) |
|  | November, 2020 | 22 (b) |
| ERLDC Fees & Charges (SOC & MOC) | October, 2020 | 23 (a) |
|  | November, 2020 | 23 (b) |
| ER-ULDC | October, 2020 | 24 (a) |
|  | November, 2020 | 24 (b) |
| M/s. Green Infra Wind Energy Ltd. | October, 2020 | 25 (a) |
|  | November, 2020 | 25 (b) |
| M/s. Ostro Kutch Wind Pvt. Ltd | October, 2020 | 26 (a) |
|  | November, 2020 | 26 (b) |
| M/s. Vivid solaire Wind Energy Ltd. | October, 2020 | 27 (a) |
|  | November, 2020 | 27 (b) |

4.	W.I. No.4:

The details of power purchased from the different renewable sources are to be furnished for FY 2017-18, FY 2018-19,2019-20 as per the format given below along with month-wise drawal for the FY 2020-21 (up-to-date).

| For the FY ……….. |  |  |  |
| --- | --- | --- | --- |
| State Consumption during the year | ------------- MU |  |  |
|  | RPO obligation as per Regulations | Achievement during the year (audited) |  |
|  | % | MU | % |
| Renewable Power Procurement |  |  |  |
| - Solar |  |  |  |
| - Non-solar - Small hydro - Bio-mass - Wind |  |  |  |
| Total |  |  |  |

Reply by GRIDCO:

As desired by the Hon’ble Commission, the details of power purchased from the different Renewable Sources during FY 2017-18, FY 2018-19,2019-20 & FY 2020-21 (from April’20to November’20) are submitted in the above Prescribed Format, pertaining to RPO are attached herewith as Annexure-28.

- W.I. No.5:

GRIDCO is also to furnish the actual drawal of solar and wind energy from different sources/plants for the FY2017-18, FY 2018-19, FY 2019-20 & FY 2020-21(up-to-date) indicating present installed capacity (MW) against the approval for the respective years.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the actual drawal of SolarPower by GRIDCO from different Sources/Plants for FY 2017-18,  FY 2018-19, FY 2019-20 & FY 2020-21 (up to November 2020) are attached herewith as Annexure-29&30.

6.	W.I. No.6:

As per the proposed procurement of Renewable Energy in the ARR application for the FY 2021-22, GRIDCO can be able to meet the RPO of only 9.87% during the FY 2021-22. The strategic planning of GRIDCO to meet the RPO needs to be explained. GRIDCO may also intimate about any pending proposals for purchase of power in near future from other renewable sources such as Municipal Solid Waste (MSW) and Bagasse based co-generation etc., along with the status of PPA to that respect.

Reply of GRIDCO:

In the ARR application of GRIDCO for FY 2021 -22 towards the state consumption of 27375 MU, the total Renewable power procurement will be to the tune of 3044.61 MU including the quantum of around 342.26 MU from Mangdechhu HEP.

In Para 127 of the ARR Application, it is explained in detail that as per MoP Notification dated 08.03.2019, State share of powerof 79.01 MW from Mangdechhu HEP will be treated as Renewable Power as it is commissioned after 08.03.2019 (CoD - August 2019). In Para 166 & Para 167 also, the power expected to be availed from Mangdechhu HEP to the tune of 342.26 MU need to be consideredas renewable source instead of the source as non-solar RPO, reflected in Table – 34 of the BSP Application.

With the revised Renewable power procurement of 3044.61 MU (2702.35 MU + 342.26 MU) against the state consumption of 27375 MU, GRIDCO will be able to meet11%(3011.25 MU) of the specified RPO target. In the competitive bidding regime along with the waiver of ISTS charges & losses in the ISTS-connected solar & wind power schemes, GRIDCO is consideringfor procurement of cheap solar & wind power, especially through SECI, being the Implementing Agency of MNRE. As of now, no MSW power project, Bagasse based co-generation project or Biomass power project is under construction to supply power to GRIDCO.

7.	W.I. No.7

In the ARR application, GRIDCO has indicated that M/s. JITPL-IPP has challenged the MOU with GoO and PPA with GRIDCO before the Hon’ble High Court of Odisha in Writ Petition No.18150 of 2018 and obtained a stay order dtd.16.05.2019 and is not supplying power since 22.05.2019. Further, it is indicated that M/s JITPL is having linkage coal supply against Unit-I (600 MW). GRIDCO to intimate the action taken by it to vacate the stay order. GRIDCO should take up the matter with Govt. of Odisha and discuss with M/s JITPL to resume the state share of power supply because this power will be available to the state at variable cost only.

Reply of GRIDCO:

It is humbly submitted that by taking plea of the Hon’ble HighCourt of Odisha’s

Interim Order Dated 16.05.2019 in W.P.(C) No.18150 of 2018 (Photo Copy enclosed asAnnexure-31, M/s. JITPL stopped supplying power to GRIDCO with effect from 22.05.2019. GRIDCO filed an Application on 29.07.2019 before Hon’ble High Court of Orissa for vacation of the stay order dated 16.05.2019, which is yet to be heard and the matter is being pursued for early hearing and vacation of the stay order.

However, The Thermal Plant of JITPL is continuing to be in operation and the IPP is selling power outside the state. After unilateral stand taken by M/s.JITPL to stop supply of power to the State/GRIDCO, GRIDCO has intimated the matter to the Department of Energy ,Government of Odisha vide letter  dated 30.05.2019Photocopy enclosed asAnnexure-32requesting the Authorities to take necessary action. Also, GRIDCO vide letter dated.06.03.2020 had intimated Principal Secretary, Department of Industries, GoO with copy to Forest and Environment Dept., Finance Department , IPICOL, IDCO, DOE and OSD to Chief Secretary about the non-adherence to the provisions of MoU signed by JITPL. A high level meeting was held on dated.24.09.2020 under the chairmanship of the Principal Secretary, Dept. of Industries, GoO and in the presence of various departments of GoO(photocopy enclosed asAnnexure-33)to discuss on the said subject matter and accordingly,MoM was drawn. Based on the MoM, GRIDCO has requested various departments of Government seeking the required necessary information/documents of JITPL. Meanwhile, data/information are being collected from different agencies/departments, which shall be submitted to Principal Secretary, Dept. of Industries, GoO for further necessary action.

8.	W.I. No.8:

In the ARR application, GRIDCO has indicated that M/s Vedanta Ltd. has 	submitted its generation plan for FY 2021-22 to supply 2956 MU from its IPP 	Unit-2 against the normative state entitlement of 5039 MU and M/s Vedanta 	has cited no reason for such low supply. Whether GRIDCO has taken up the 	matter with State Government or approached any court of law on this issue? 	GRIDCO should also intimate the status of evacuation system to draw power 	from the IPP-M/s NBVL as it is a long pending issue.

Reply of GRIDCO:

M/s. Vedanta Limited has submitted its generation plan for the FY 2021-22 to supply 2956 MU from its IPP Unit-2 against the normative State Entitlement of 5039 MU without citing any reason.

It is to bring to the kind notice of Hon’ble Commission that, Vedanta is still continuing with short supply of power to GRIDCO. Due to consistent non-supply of power by Vedanta, GRIDCO has filed application before Hon’ble Commission under Section 142 during November’2019 against non-supply and non-adherence to the directions of Hon’ble Commission. M/s Vedanta Ltd. resumed supply of power to GRIDCO with effect from 30.01.2020 based on day-ahead advance payment made by GRIDCO as per MoP notification and direction of Hon’ble Commission vide interim Order dated. 14.01.2020 and 28.01.2020 in Case no 62 of 2019. However injection of power by Vedanta Ltd. is less than the fullentitlement of State share as per existing PPA and OERC Order dated.27.01.2016 in Case no 21 of 2015. Vedanta cited shortage of Linkage coal supplied under FSA as the reason for which it cannot supply more than 325 MW of power on an average. GRIDCO strongly raised the matter before Hon’ble Commission in Case no 62 of 2019 andGRIDCO was also directed by Hon’ble Commission to modify the petition under Case 62 of 2019. GRIDCO has already filed the modified petition and the matter is now subjudice before Hon’ble Commission.

It may be stated that, although GRIDCO has signed PPA with  M/s. NBVL, the COD (Commercial Operation Date) of the IPP already declared and the synchronization of IPP with the OPTCL Grid system completed, the IPP  continues to be non-operational due to non-clearance of the new Metering Scheme proposed and approved by erstwhile CESU.

9.		W.I. No.9:

GRIDCO has proposed the tariff for Teesta power station at 172.24 P/U. Any supporting document(either CERC order or tariff application of NHPC before CERC) is to be submitted by GRIDCO.

Reply of GRIDCO:

It is submitted that the NHPC has filed Petition for Truing-Up of Tariff for the period of 2014-19 and Tariff petition for the Tariff Period 2019-2024 in respect of Teesta-V Power Station. In the aforesaid Petition, NHPC has claimed the AFC amount of Rs. 421.8092 crore for FY 2021-22. The relevant extract of the Tariff Petition of NHPC is attached herewith Annexure-34for kind appreciation of the Hon’ble Commission.

In line with the afore-saidpetition,the claim of GRIDCO towards purchase of power from Teesta-v is calculated below:

AFC claimed by NHPC in respect of Teesta-V for FY 201-22:  Rs.421.8092 crore

Energy Drawal projected by GRIDCO for FY 2021-22           :       504.22 MU

AFC share for GRIDCO for FY 2021-22 (Rs.421.8092x23.39%):  Rs. 98.66 Crore

Energy Unit Rate (Rs. 98.66/504.22x1000)                          :      195.67P/U

It is submitted that the Hon’ble Commission may consider to approve  thecostof Teesta power @ 195.67 P/U .

10.	W.I. No.10:

The present Price of Coal and its GCV (both domestic and e-auction/imported) used in different ER-NTPC stations (including TTPS) for the period for 2019-20&2020-21 (up to date) are to be submitted.

Reply of GRIDCO:

It is submitted that the details of Coal Price and its GCV in respect of different NTPC-ER Stations (including TTPS) for the period 2019-20 and 2020-21 (till Nov’20) are attached herewith at Annexure-35.

11.	W.I. No.11:

The amount received by GRIDCO towards STOA charges for the FY 2019-20	and FY 2020-21 (upto date) under PGCIL Transmission Charges is to be 	furnished.

Reply of GRIDCO:

As desired by the Hon’ble OERC, the amount of STOA (Short-Term Open Access) Charges for FY 2019-20& FY 2020-21 (upto Nov’20) received by GRIDCO is furnished below for kind information of the Commission:

Amount Received by GRIDCO towards STOA Charges for FY 2019-20

(Amount in Rupees)

| Months | STOA Charges received by GRIDCO |
| --- | --- |
| Apr-19 | 4,17,46,582.00 |
| May-19 | 5,85,70,653.00 |
| Jun-19 | 5,32,45,524.00 |
| Jul-19 | 6,11,09,979.00 |
| Aug-19 | 16,89,67,086.00 |
| Sep-19 | 18,21,65,713.00 |
| Oct-19 | 10,85,51,553.00 |
| Nov-19 | 5,41,00,084.00 |
| Dec-19 | 2,88,95,034.00 |
| Jan-20 | 3,79,84,311.00 |
| Feb-20 | 7,09,99,138.00 |
| Mar-20 | 6,68,96,260.00 |
| Total | 93,32,31,917.00 |

Say; Rs.93.32 Crore

Amount Received by GRIDCO towards STOA Charges for FY 2020-21

(April’20 to Nov’20)

(Amount in Rupees)

| Months | STOA Charges received by GRIDCO |
| --- | --- |
| Apr-20 | 7,53,53,609.00 |
| May-20 | 4,77,59,506.00 |
| Jun-20 | 10,68,58,481.00 |
| Jul-20 | 6,87,12,449.00 |
| Aug-20 | 3,72,49,953.00 |
| Sep-20 | 4,72,96,109.00 |
| Oct-20 | 4,13,19,538.00 |
| Nov-20 | 4,33,11,624.00 |
| 01-12-2020(Billing Month Jan’21) | 2,09,10,049.00 |
| Total | 48,87,71,318.00 |

Say ; Rs.48.88 Crore

12.	W.I. No.12:

Monthly pooled cost of power purchase by GRIDCO from the month of April 2020 to November 2020 along with cumulative figure up to November 2020 is to be furnished.

Reply of GRIDCO:

A copy of the Monthly Pooled Cost of Power Purchase of GRIDCO for the month of November’20 and for the cumulative period from April’20 to November’20during FY 2020-21 is attached herewith as Annexure-36 for kind information of the Hon’ble Commission.

- W.I. No.13:

GRIDCO is to intimate the actual State share of power from M/s. GMR (IPP). Whether it is 25% of the generation at 80% PLF plus excess generation between 80% to 85% PLF or 25% of the generation at 85% PLF?

Reply by GRIDCO:

GRIDCO has projected the availability of power from M/s GKEL on the basis of the generation made by the plant during FY 2019-20. The details of generation against the supply to GRIDCO and outside sale during FY 2019-20 are submitted herewith forming as the basis for the projection for FY 2021-22 .

| PROVISIONAL STATEMENT BASED ON WEEKLY REA DATA UPLOADED AT ERPC WEBSITE AND FINAL SCHEDULE DATA OF SLDC FOR THE FY: 2019-20 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Month &Year | Ex-Bus Schedule Generation of GKEL through CTU | Outside sale of GKEL from STU Units | Actual Sale of Power to GRIDCO | Total Ex-Bus Generation from all the Units | Entitlement of GRIDCO (@25% of Ex-Bus Gen.) | %age Quantum Sale to GRIDCO |
|  | (in MU) | (in MU) | (in MU) | (in MU) | (in MU) | (in %age) |
| Apr-19 | 394.45 | 36.94 | 162.74 | 594.13 | 148.53 | 27.39 |
| May-19 | 378.88 | 33.24 | 177.53 | 589.65 | 147.41 | 30.11 |
| June-19 | 282.35 | 48.94 | 170.02 | 501.31 | 125.33 | 33.92 |
| July-19 | 389.52 | 46.30 | 162.11 | 597.92 | 149.48 | 27.11 |
| Aug-19 | 212.51 | 49.81 | 54.27 | 316.60 | 79.15 | 17.14 |
| Sept-19 | 174.04 | 0.33 | 75.12 | 249.49 | 62.37 | 30.11 |
| Oct-19 | 122.72 | 0.41 | 170.89 | 294.02 | 73.50 | 58.12 |
| Nov-19 | 343.74 | 4.27 | 172.00 | 520.01 | 130.00 | 33.08 |
| Dec-19 | 381.66 | 4.74 | 170.71 | 557.11 | 139.28 | 30.64 |
| Jan-20 | 312.96 | 4.70 | 175.84 | 493.50 | 123.38 | 35.63 |
| Feb-20 | 325.04 | 9.42 | 121.65 | 456.10 | 114.03 | 26.67 |
| Mar-20 | 272.76 | 34.55 | 152.24 | 459.55 | 114.89 | 33.13 |
| Total | 3590.62 | 273.65 | 1765.12 | 5629.39 | 1407.35 | 31.92 |

GRIDCO’s Projection for FY 2021-22

| Normative Energy (MU) Projected by GRIDCO for FY: 2021-22 | 1844.00 |
| --- | --- |
| Actual Ex-Bus Energy (MU) Sold outside State considered for FY:2021-22 (as per the actual data for the FY: 2019-20) | 3864.27 |
| Total Ex-bus energy (MU) considered by GRIDCO for FY: 2021-22(based on Actual generation for FY 2019-20) | 5708.27 |
| Ex-Bus Energy available (MU)(as per normative) from the whole station [1050*24*365*(1-5.75%)/1000] | 8669.12 |
| PLF (%age) for the FY: 2021-22 (Sl. 3 / Sl. 4) | 65.85% |

Therefore, it may be construed that the energy projected by GRIDCO for procurement of power from M/s GKEL for the FY: 2021-22 is below 80% PLF of the whole station.

- W.I. No.14:

GRIDCO is to furnish average central sector loss for last eight months (April, 2020 to Nov., 2020) in similar manner as furnished in Table 27 of the ARR application.

Reply by GRIDCO:

Transmission Losses for April 20 to Nov 20 are submitted below for reference

| Period | Average Transmission Loss ( %) |
| --- | --- |
| Apr’20 | 1.73% |
| May’20 | 1.89% |
| June’20 | 1.99% |
| July’20 | 2.02% |
| Aug’20 | 1.61% |
| Sept’20 | 1.59% |
| Oct’20 | 1.47% |
| 02.11.20 to 08.11.20 | 3.54% |
| 09.11.20 to 15.11.20 | 3.57% |
| 16.11.20 to 22.11.20 | 3.66% |
| 23.11.20 to 29.11 .20 | 3.89% |
| 30.11.20 to 06.12.20 | 3.92% |

Hon’ble Commission may kindly consider that the Transmission Loss prior to implementation of CERC ( Sharing of Interstate Transmission Charges and Losses) Regulations’2020 was in the range of 1.47% to 2.02%during the period from Apr’20 to Oct’20.Consequent to the implementation of the new Regulation 2020, the loss has been determined on PAN India basis with continuous upward increasingtrend i.e., 3.54% during the 1st week period of Nov’2020 which has reached to 3.92 % during the 1st week of Dec’20, with a 0.38% increase in 5 week period. The above increased quantum of loss has been allocated to GRIDCO for the central sector power. Hon’ble Commission may also kindly consider that the loss rate may further increase during FY 2021-22.  Therefore, GRIDCO prays before the Hon’ble Commission to consider for allowing the Central Sector loss being implemented with effect from 1st Nov’2020 on the new methodology as per the new Regulation 2020 and also the latest Transmission loss, which will be determined by NLDC, prior to approval of ARR of GRIDCO on the basis of the updated Transmission Loss percentage to be borne by GRIDCO for increased power procurement costs from Central Generating Stations.

- W.I. No.15:

The detailed calculation of energy drawal from FSTPS –I & II, KhTPS-I & II, Darlipalli STPS and North Karanpura HTPS is to be submitted to substantiate the figures of energy drawal given in the ARR application.

Reply by GRIDCO:

The detailed calculation of energy drawal from FSTPS-I&II, KhSTPS-I & II,Darlipalli STPS and North Karanpura HTPS are furnished below:

It is submitted that the energy availability of FSTPS I & II and KhSTPS-I & II with operational period of 3 and 4 months respectively in FY 2021-22 considering the phasing out of the plant upon expiry of useful life of 25 years ending on dated01.07.2021 & 01.08.2021respectively during the FY 2021-22. Accordingly, GRIDCO has not considered to source any power from the above two stations because of cessation of life of the plant.However, in case energy is supplied to GRIDCO beyond the scheduled date in absence of non-phasing of the plants as per the previous allocation basis, GRIDCO shall incur additional fixed cost and variable cost as a Pass Through costs.

Projected Power Procurement from FSTPS-I & II for FY 2021-22

| Central Thermal Stations | Installed Capacity | Aux. Cons | NAPAF% | Net Availability (ESO)* | GRIDCO Share | Ex-bus Availability | GRIDCO Share after C.S. Trans. Loss of 3.59% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| FSTPS-I & II | 1200* | 6.78 | 55 | 1,347.38 | 14.18 | 191.06 | 184.20 |

*[{((1200x0.55x0.9322) x8.76)x3}/12]=1347.38 MU

(*1200 MW(Installed capacity of 1600 MW Capacity considered for 75% utilisation since most of the time the two units of FSTPS I& II were put under reserve shutdown)

(55% NAPAF is taken considering Technical Minimum of the Generating Station)

Projected Power Procurement from KhSTPS-I for FY 2021-22

| Central Thermal Stations | Installed Capacity | Aux. Cons | NAPAF% | Net Availability (ESO)* | GRIDCO Share | Ex-bus Availability | GRIDCO Share after C.S. Trans. Loss of 3.59% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| KhSTPS-I | 840 | 9.00 | 55 | 1,227.63 | 15.77 | 193.60 | 186.65 |

*[{((840x0.55)x0.91)x8.76)x4months }/12 months]=1,227.63 MU

(55% NAPAF is taken considering Technical Minimum of the Generating Station)

Projected Power Procurement from KhSTPS-II for FY 2021-22

| Central Thermal Stations | Installed Capacity | Aux. Cons | NAPAF% | Net Availability (ESO)* | GRIDCO Share | Ex-bus Availability | GRIDCO Share after C.S. Trans. Loss of 3.59% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| KhSTPS-II | 1500 | 6.25 | 55 | 6,775.31 | 2.62 | 177.51 | 171.14 |

*[{(1500x0.55) x0.9375} x8.76] =6,775.31 MU

(55% NAPAF is taken considering Technical Minimum of the Generating Station)

Projected Power Procurement from DSTPS-I for FY 2021-22

| Central Thermal Stations | Installed Capacity | Aux. Cons | NAPAF% | Net Availability (ESO)* | GRIDCO Share | Ex-bus Availability | GRIDCO Share after C.S. Trans. Loss of 3.59% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| DSTPS-I | 800 | 6.25 | 70 | 4,599.00 | 58.82 | 2,705.13 | 2,608.02 |

*[{(800x0.70) x0.9375} x8.76] = 4,599.00 MU

( 70% NAPAF is taken due to initial stabilizing period of the plant)

It is submitted that in FY 2021-22, Darlipalli STPS-II & North Karanpura unit are expected to become operational with estimated CoDduring Nov’2021 & Dec’2021 respectively. It is estimated that the new plants are able to achieve PAF of 70% due to initial synchronization process requirements. Accordingly, NAPAF of the above plants has been considered at 70% by GRIDCO.

Projected Power Procurement from NTPC ,DSTPS-IIStation for FY 2021-22

| Central Thermal Stations | Installed Capacity | Aux. Cons | NAPAF% | Net Availability (ESO)* | GRIDCO Share | Ex-bus Availability | GRIDCO Share after C.S. Trans. Loss of 3.59% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| DSTPS-II | 800 | 6.25 | 70 | 1,916.25 | 58.82 | 1,127.14 | 1,086.67 |

*[{((800x0.70) x0.9375) x8.76)x5 months}/12 months ] = 1,916.25 MU

( 70% NAPAF is taken due to initial stabilizing period of the plant)

Projected Power Procurement from NTPC ,NorthKaranpura Station for FY 2021-22

| Central Thermal Stations | Installed Capacity | Aux. Cons | PAF% | Net Availability (ESO)* | GRIDCO Share | Ex-bus Availability | GRIDCO Share after C.S. Trans. Loss of 3.59% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| North Karnapura | 660 | 6.25 | 70 | 1,264.73 | 20.00 | 252.95 | 243.86 |

*[{((660x0.70) x0.9375) x8.76}x4/12] = 1,264.73 MU

( 70% NAPAF is taken due to initial stabilizing period of the plant)

- W.I. No.16:

GRIDCO is to explain the reasons for rise of cost of Machhakund power from 62.58 paise per unit in the current year to 244.20 paise per unit proposed for the ensuring year.

Reply by GRIDCO:

Therevised Interstate agreement between the Govt. of Odisha/ OHPC & Govt. of Andhra Pradesh APGENCO has been signed on 23rd october’20 for upgradation of the existing water conductor system with required R&M of the Hydro Stations. The agreement stipulates that the renovation cost along with R&M cost for upgradation of all the generating units along with Auxiliary& switchyard system shall be shared  among the beneficiary states in 50: 50 ratio.

Clause 25 of the agreement stipulates “ Annual over Drawal/ Under Drawal of energy shall be adjusted for carried forwardon banking arrangement to next FY based on Peak &Offpeak hour  over drawals / under drawals after execution of this agreement and after payment of 20% depreciated project cost of Machhkund Project by 2nd Part to the 1st Party”.

Accordingly, the original agreement 14.01.1945has become redundant due to enforcement of the revised agreement dated 23.10.2020with discontinuance of the cost of power billing by APGENCO to OHPC/GRIDCO@ 8 P/U for the energy drawal by Odisha beyond 30% up to 50% from the date of payment of depreciated cost of Rs.27.42 crores towards acquiring additional 20% share in the joint Scheme.

Considering the provision as per the revised agreement for availing for power supply from Machhkund Station GRIDCO submitted the proposal for procuring 259.875 MU during FY 2021-22 with total expected expenditure on receipt of information /documents received from OHPC  as follows:

| Particulars | 2021-22 |
| --- | --- |
| Present Installed Capacity of MHEP (Jt.) Scheme (MW) | 120 |
| (50%) Odisha Share as per New Agreement dated 23.10.2020 (MW) | 60 |
| Design Energy of MHEP for Generation (MU) | 525 |
| Normative Auxiliary Energy Consumption (AUX) (%) | 1% |
| Normative Auxiliary Energy Consumption (AUX) (MU) | 5.25 |
| Saleable Design Energy for sharing between Andhra Pradesh & Odisha (MU) | 519.75 |
| (50%) Saleable Design Energy Share of Odisha (MU) | 259.875 |
| Drawal of Total Share of Odisha Energy by GRIDCO (MU) | 259.875 |
| O&M Escalation factor @ 5.72 % for two years over the O&M Bill of MHEP for FY 2019-20. | 1.1177 |
|  | (Rs. Cr.) |
| Total Audited Cost of O&M Bill of MHEP (Jt.) for the FY 2019-20 | 64.49 |
| 50% O&M Expenditure share (Orissa share of Actual O&M Expenditure for 2019-20 ) | 32.24 |
| 1. Payment of 20% share of Present Depreciated Project Cost of MHEP (Jt.) by OHPC | 27.42 |
| 2. O&M Expenditure for FY 2021-22 applying the escalation factor | 36.04 |
| Total Expected Expenditure during the FY 2021-22 | 63.46 |
| Tariff (Rs/Kwh) | 2.44 |
| N.B. : OHPC shall raise monthly energy bills to GRIDCO at the tariff Rs2.442 /kWh during the FY 2021-22 to make payment of O&M cost to APGENCO and recover the own expenditure of Rs 27.42 Cr. as per the new Agreement. |  |

- W.I. No.17:

The total cost of power from OPGC is shown as Rs.711.36 crores in place of Rs.711.96 crore in the ARR application. The figure to be verified by GRIDCO and intimated.

Reply by GRIDCO:

It is submitted that there is typographical error depicting Rs 711.36 crorein Table -39 of ARR & BSP Application towards total projected cost of OPGC 1& 2 instead of Rs. 711.96 Crore .The total Cost of OPGC Rs. 711.96 Crore with total per unit Kwh rate of 261.14 P/U is projected  for FY 2021-22, which is verified and be considered in place of Rs 711.36 crore.

| Name of the Station | Energy (MU) | Variable Charges (Rs. Crore) | Fixed Cost (Rs. Crore) | Year End Charges | Total projected Cost | Rate (P/U) |
| --- | --- | --- | --- | --- | --- | --- |
| OPGC Unit 1& 2 | 2726.34 | 402.41 | 248.97 | 60.58 | 711.96 | 261.14 |

- W.I. No.18:

From the ARR application of GRIDCO, it is observed that the average rate of power purchase is 305.89 paise per unit and after adjustment of trading revenue the said rate comes to 330.61 paise per unit, resulting in a rise of around 25 paise per unit which is to be borne by the State consumers. This rise in power purchase cost requires a rise of around 32 paise per unit in RST on account of GRIDCO’s power purchase cost only. GRIDCO is to justify for consideration of trading revenue in the power purchase cost of GRIDCO.

Reply by GRIDCO:

The Petitioner submits that it has projected power procurement cost of Rs.10,795.03 crore for FY 2021-22 with energy availability of 35,290 MU  in Table 56 of the BSP Application towards the entitlement of  state share at per unit  rate of 305.89 P/U.

The Petitioner, in real time, try to match demand of power with supply and backdown stations when there is limited demand but stations cannot be backed down beyond a certain minimum level due to technical constraints. Further, sale through exchange is also undertaken whenever the prevailing market rates makes an economically strong case to sell such stranded power.The Petitioner submits that the rates discovered in the power market are of dynamic nature and it sells surplus power in the power market at the rates prevailing in the market at that specific time. The power market works as per demand-supply scenario.

The Petitioner submits that Gross Power purchase cost projected for FY 2021-22 is 305.89 P/U including variable charges of 162.53 P/U. GRIDCO has projected to sell 7068.36 MU at the rate of 213.12 P/U. Petitioner submits that correct yardstick to measure benefit or loss is to do analysis of Marginal cost against Marginal revenue instead of Average cost analysis,i.e. compare variable cost of power with the price of power in the exchange as the Petitioner has to bear fixed cost even if it does not purchase power from stations which is a sunk cost.

Gross Variable charges for FY 2021-22 for state demand is 162.53 P/U and Net variable cost of power after reducing sale of surplus power 151.34 P/U only. GRIDCO has planned to sell such surplus power in exchange as variable cost is lower than price in the exchange which would result in Net Marginal benefit of Rs 41.71 Cr which is passed on to consumers of the state by way of reduction in Special Appropriation claim of GRIDCO as directed by Hon’ble Commission in previous orders. If GRIDCO does not sell power in exchange then GRIDCO would have to bear fixed cost but would not be able to claim benefit of Marginal revenue from exchange.

Hon’ble Commission may kindly consider that GRIDCO is contractually obliged to various generatorsthrough long term Power Purchase Agreements (PPA) to procure power for meeting peak demand of the State in the long run irrespective of the energy consumed on year to year. As per the provisions of the PPAs, GRIDCO is under obligation to pay the fixed charges of the respective station irrespective of the drawal of energy for the state. In the recent years due to lower demand coupled with surplus capacity in the state as well as the country as a whole, the energy demand has sharply declined, resulting in surplus power capacity with consequential sharp fall in the trading price. Thus, the Petitioner request Hon’ble Commission to approve Sale of surplus power as projected by the Petitioner and pass benefit of Rs 41.71 Cr from sale of such power to consumers of the state.

Finance

- W.I. No.19

GRIDCO is to submit the Annual Report/Audited Accounts (both hard and softcopies) of FY 2018-19 and FY 2019-20.

Reply of GRIDCO:

As desired by the Hon’ble Commission, the copies of Annual Report and Audited Accounts for FY 2018-19 and Audited Accounts for 2019-20 are submitted separately to the OERC.

- W.I. No.20

It is seen from the submission that the gap arising from non-realization of dues from DISCOM Utilities is growing from year to year. The reason and steps taken to realize such outstanding from DISCOMs may be furnished in spite of Escrow Mechanism in place.

Reply of GRIDCO:

It is submitted that the revenue collected from the Retail Consumers by the DISCOM Utilities are escrowed with GRIDCO. All the revenues deposited in the Escrow Accounts by the Utilities are utilized for payment of GRIDCO’s BSP dues, OPTCL’s Transmission Charges/ Dues and SLDC’s Fees & Charges (SOC&MOC Dues). Further, the Escrow Revenue so deposited is also being utilized by DISCOM Utilities for their Employees Cost and partly for R&M Costs etc. as authorized by GRIDCO basing on the approval of the Hon’ble OERC in the relevant RST Orders. As the revenue generated by the DISCOM Utilities are not sufficient to meet the costs relating to their contractual obligation and the day to day operation, they failedto pay the arrear power purchase cost within the due date.

Upon vesting of erstwhile CESU Utility & WESCO Utility, SOUTHCO Utility with effect from  1st May 2020 &1st Jan’2021  respectively by Hon’ble Commission, the above three utilities have been privatized with transfer of day to day management control with 51% shareholding in the respective DISCOM Utilities for bringing efficiency in the Distribution sector. The Commission in the vesting order has stipulated for recovery of arrear dues from consumers over stipulated period for settlement of past dues of GRIDCO prior to vesting of the Utility.

In view of the above, GRIDCO is quite optimistic with the recent privatization and anticipatesimprovement in the overall operational performance of the DISCOM Utilities in the coming future with better financials resulted in settlement of Past dues of GRIDCO.

21.  W.I. No.21:

GRIDCO to furnish the agreed and signed joint reconciliation statement of total receivable and payable outstanding with each DISCOM under different head as per audited accounts as on 31.03.2020.

Reply of GRIDCO:

As desired by the Hon’ble Commission, a copy of the Signed Joint Reconciliation Statementsrelating to Total Receivable and Payable including Outstanding (Payable to GRIDCO) with each DISCOM Utility as on 31.03.2020 are enclosed herewith asAnnexure -37.

22.  	W.I. No.22:

GRIDCO may furnish the Utility wise amounts received from the Utilities in the Escrow accounts and Escrow relaxation made thereof for theyear 2019-20 and up to November, 2020.

Reply of GRIDCO:

The DISCOM Utility-wise amount received from the Utilities in the Escrow Accounts and the Escrow Relaxation made thereof for the FY 2019-20 and FY 2020-21 (up to Nov’20)are enclosed as Annexure 38:

23. W.I. No.23:

GRIDCO to submit month wise cash flow statement for the financial year 2020-21 (upto November, 2020).

Reply of GRIDCO:

As desired by the Hon’ble Commission, the Month-wise Cash Flow Statement of GRIDCO for FY 2020-21 (Up to Nov’20) is attached herewith asAnnexure-39.

24. W.I. No.24

GRIDCO to submit Loan outstanding position with soft copy of loan repayment schedule of all loans as on 30.11.2020. Also furnish the details of loan availed during the financial years FY 2019-20&2020-21 (upto November 2020) as per prescribed format below:

| Sources | Amounts | Rate of Interest | Date Availed | Repayment period from ---to--- | Purpose |
| --- | --- | --- | --- | --- | --- |

Reply of GRIDCO:

As desired by the Hon’ble Commission, the  soft-copy showing the Loan Outstanding position of GRIDCO along with the Loan Repayment Schedule of all the loans as on 30.11.2020, is attached herewith for kind perusal and information of the Hon’ble Commission.  In addition, the details of loans availed during FY 2019-20 &FY 2020-21(Up to Nov’2020) as per the prescribed format are also attached herewith asAnnexure-40.

25.W.I. No.25

GRIDCO to submit the following employee cost related information as per prescribed format given below:

(In Rupees)

| Particulars | Actual for FY 2019-20 | Actual for FY 2020-21 (Month wise till Nov.2020 |
| --- | --- | --- |
| Basic & Grade pay actual paid |  |  |
| DA paid |  |  |
| HRA Paid |  |  |
| Medical Allowance paid |  |  |
| Others |  |  |
| Total |  |  |

Reply of GRIDCO:

As desired by the Hon’ble OERC, the Employee Cost related information, as per the prescribed formats, are furnished below:

(Amount in Rupees)

| Particulars | Actual for FY | Apr'20 | May'20 | June'20 | Jul'20 | Aug'20 | Sept'20 | Oct'20 | Nov'20 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2019-20 |  |  |  |  |  |  |  |  |  |
| Basic & Grade pay actual paid | 5,45,21,539 | 42,28,800 | 42,94,890 | 44,60,820 | 44,01,290 | 45,95,158 | 48,10,729 | 49,69,863 | 50,56,588 | 3,68,18,138 |
| DA paid | 84,18,932 | 7,18,896 | 7,36,542 | 8,59,424 | 7,48,219 | 7,81,177 | 8,04,822 | 8,10,732 | 8,57,873 | 63,17,685 |
| HRA Paid | 29,46,044 | 1,98,819 | 1,96,380 | 2,10,975 | 2,25,701 | 2,19,110 | 2,98,348 | 2,33,164 | 2,57,160 | 18,39,657 |
| Medical Allowance paid | 12,41,457 | 83,583 | 84,018 | 84,641 | 83,616 | 86,209 | 1,11,538 | 92,227 | 96,121 | 7,21,953 |
| Others | 25,15,724 | 24,450 | 64,516 | 60,850 | 2,99,050 | 58,650 | 66,950 | 11,22,989 | 3,63,400 | 20,60,855 |
| Total | 6,96,43,696 | 52,54,548 | 53,76,346 | 56,76,710 | 57,57,876 | 57,40,304 | 12,81,658 | 72,28,975 | 66,31,142 | 4,77,58,288 |
| N.B.: Others include Leave Salary, Pension Contribution , other allowances to Regular employees & salary to Contractual Employees, etc. |  |  |  |  |  |  |  |  |  |  |

26.  	W.I. No.26

During past periods, the interest rate has been reduced consistently. What step has been taken to swap high interest bearing loan? How much interest burden has reduced by swapping high interest bearing loan? GRIDCO to clarify.

Reply of GRIDCO:

GRIDCO was availing the loans at MCLR or MCLR plus from Banks. The Weighted Average Interest Rate for FY 2018-19 was 9.17%which was reduced to 8.60 % in FY 2019-20. The Loan amount of Rs. 1,320Crore availed with the help of Govt. guarantee during FY 2020-21 (uptoDec’20) at MCLR varying from 7.10% to 7.35%p.a. Besides, after due follow up and discussions with the following Banks, the Interest rates reduced by resetting the same during Calendar Year 2020(Jan.-Dec) are as under;

| Sl.No. | Bank Name | Loan amount as on 31.03.2020 (Rs. in crore) | Interest rate as on 01.01.2020 | Interest rate as on 31.12.2020 |
| --- | --- | --- | --- | --- |
| 1 | Union Bank STL - V | 99,98,58,583 | 8.65% | 7.20% |
| 2 | Union Bank TL-VIII | 1,25,00,32,945 | 8.55% | 7.40% |
| 3 | Union Bank TL-IX | 3,58,31,37,827 | 8.25% | 7.20% |
| 4 | Allahabad Bank - V | 1,22,44,59,608 | 8.30% | 7.30% |
| 5 | UCO Bank | 2,04,35,49,393 | 8.70% | 7.60% |
| 6 | Andhra Bank - IV | 29,17,50,684 | 8.75% | 8.20% |
| 7 | Andhra Bank - V | 1,58,50,11,425 | 8.05% | 6.90% |
| 8 | Andhra Bank - VI | 79,84,54,927 | 8.75% | 8.20% |
| 9 | Andhra Bank - VII | 1,63,28,52,843 | 8.40% | 7.20% |
| 10 | Andhra Bank - VIII | 3,00,00,00,000 | 8.30% | 7.20% |
| 11 | Andhra Bank - IX | 3,99,98,09,733 | 8.70% | 7.85% |
| 12 | Canara - V | 23,03,03,887 | 8.40% | 7.40% |
| 13 | Canara - VI | 1,38,87,57,241 | 8.35% | 7.30% |
| 14 | Canara - VII | 1,89,74,53,050 | 8.40% | 7.35% |
| 15 | Canara - VIII | 1,63,30,05,456 | 8.40% | 7.35% |
| 16 | Canara - IX | 1,63,28,91,499 | 8.50% | 7.45% |
| 17 | Canara - X | 1,99,95,59,219 | 8.35% | 7.35% |
| 18 | Canara - XI | 1,99,95,53,348 | 8.40% | 7.35% |
| 19 | Odisha GB - II | 29,01,17,465 | 8.65% | 7.95% |
| 20 | Odisha GB - III | 22,31,98,925 | 8.65% | 7.95% |
| 21 | Odisha GB - IV | 37,53,90,814 | 8.20% | 7.95% |
| 22 | Odisha GB - V | 35,00,00,000 | 8.50% | 7.95% |
| 23 | Bank of IndiaTL-III | 20,65,12,241 | 8.70% | 8.20% |
| 24 | Bank of IndiaTL-IV | 1,20,01,20,202 | 8.70% | 8.20% |
| 25 | Bank of IndiaTL-V | 3,52,96,34,261 | 8.70% | 8.20% |
| 26 | Bank of IndiaTL-VI | 2,99,94,93,496 | 8.70% | 7.70% |
| 27 | Bank of IndiaTL-VII | 3,00,00,00,000 | 8.20% | 7.35% |
| 28 | Bank of IndiaTL-VIII | 99,99,99,799 | 8.65% | 8.20% |
| 29 | Indian Overseas Bank _ I | 25,54,18,904 | 8.50% | 8.25% |
| 30 | Indian Overseas Bank - II | 2,25,03,48,936 | 8.65% | 7.65% |

As the loans were taken providing Govt. guarantee in favour of the said banks, any loan from another bank, will require fresh Govt. guarantee. However, as almost all existing banks reduced their interest rates, there was no necessity of swapping of the loans with other banks.

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

PLOT NO – 4, SHAILASHREE VIHAR, CHANDRASEKHARPUR

BHUBANESWAR –751 023.

Filing No.: 02

Case No. 72 of 2020

IN THE MATTER OF :	Compliance / Clarifications / Reply by GRIDCO to the Wanting Information / Queries raised by the Hon’ble Commission with respect to ARR & BSP Application of GRIDCO for FY 2021-22 vide Hon’ble OERC letter No.1519 dated 30.12.2020 pursuant to the filing of the Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2021-22 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

IN THE MATTER OF:	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2021-22 by GRIDCO under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations referred in Case No. 72 of 2020.

AND

IN THE MATTER OF :  GRIDCO Limited, Janpath, Bhubaneswar

- …….…. Applicant

Affidavit verifying the Application

I, Shri Prashant kumar Das, aged about 58 years, S/o Sri DhuliBhusan Das, Chief General Manager (Power Purchase), GRIDCO do hereby solemnly affirm and say as follows:

I am the Chief General Manager (Power Purchase) of GRIDCO Ltd., the Applicant in the above matter and am duly authorized to make this affidavit on its behalf.

The Statements made in the foregoing Paragraphs of this ARR & BSP Application herein are based on information and I believe them to be true.

Bhubaneswar

January___, 2021								DEPONENT