ODISHA POWER GENERATION CORPORATION LIMITED

BHUBANESWAR

PETITION FOR APPROVAL OF GENERATION TARIFF FOR FY 2021-22

SUBMISSION OF INFORMATION IN RESPONSE TO THE COMMISSION’S LETTER DATED 30.12.2020

CASE NO. 71/2020

JANUARY, 2021

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BHUBANESHWAR

File No. 2

Case No. 71/2020

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1 & 2 for FY 2021-22 |
| --- | --- |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar – 751023, Odisha, India (Petitioner) |
| IN THE MATTER OF | Submission of information in response to the Commission’s Letter dated 30.12.2020 |

I, Ritwik Mishra, son of Shri. Muralidhar Mishra, aged about 52 years, do solemnly affirm and say as follows:

  - That I am the General Manager (C&RA) of Odisha Power Generation Corporation Limited, the Petitioner in the above matter and am duly authorised by the said Petitioner to make this affidavit on its behalf.

  - The replies made in the foregoing paragraphs in response to Query No. 1 to Query No. 12 raised by this Hon’ble Commission vide letter dated December 30, 2020 and submissions with respect to OPGC’s Petition for approval of Generation Tariff for FY 2021-22 are based on information provided to me and I believe them to be true to the best of my knowledge.

Deponent

Bhubaneswar

January 13, 2021

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BHUBANESHWAR

Case No. 71 of 2020

| IN THE MATTER OF | Petition for determination of Tariff for IB TPS Units 1 & 2 for FY 2021-22 |
| --- | --- |
| IN THE MATTER OF THE APPLICANT | Odisha Power Generation Corporation Ltd. (OPGC Ltd.), Zone-A, 7th Floor, Fortune Towers, Chandrasekharpur, Bhubaneswar – 751023, Odisha, India(Petitioner) |
| IN THE MATTER OF | Submission of information in response to the Commission’s Letter dated 30.12.2020 |

ODISHA POWER GENERATION CORPORATION LIMITED (“The Petitioner”) RESPECTFULLY SUBMITS AS FOLLOWS:

## Odisha Power Generation Corporation Limited (herein after referred as “OPGC” or “the Petitioner”) filed the Petition for approval of Generation Tariff for its IB Thermal Power Station (2x210 MW) for FY 2021-22 before the Hon’ble Odisha Electricity Regulatory Commission (“OERC” or “Commission”) on November 27, 2020 which has been registered as Case No. 71 of 2020. On scrutiny of the above Petition, the Hon’ble Commission vide its letter no. 1521 dated December 30, 2020 sought additional information for the purpose of determination of Generation Tariff for FY 2021-22.

The additional information sought by the Hon’ble Commission has been set out in the following paragraphs.

- OPGC to submit the audited O & M Expenses incurred under major head(i.e. Employees, Administration, and Repairs & Maintenance etc.) during last financial year 2019-20 and actual data of the same for the current FY 2020-21 till November, 2020.

OPGC’s submissions:

The actual audited O&M expenses incurred during the last financial year 2019-20 and current FY 2020-21 upto November, 2020 are as under:

Table 1: Actual O&M expenses (Rs. Crore)

| Particulars | FY 2019-20 | FY 2020-21 (uptoNovember) |
| --- | --- | --- |
| Employee expenses | 76.80 | 45.36 |
| Administration expenses | 26.67 | 19.59 |
| Repairs & Maintenance expenses | 74.32 | 83.97 |
| Total O&M expenses | 177.79 | 148.92 |

- OPGC to submit the month wise audited information showing grade, quantity, rate, value and GCV of coal actual procured and consumed during FY 2019-20 and actual information of the same for the current FY 2020-21 till November 2020.

OPGC’s submissions:

The month wise audited information showing grade, quantity, rate, value and GCV of coal actually procured and consumed during FY 2019-20 and till November of current FY 2020-21 is as under:

Table 2: Details of quantum, GCV and price of coal

| Month | Grade of Coal as per the FSA | Quantum of coal procured (MT) | Weighted average landed price of coal procured* (Rs./MT) | Quantum of coal consumed (MT) | Weighted average landed price of coal for the month# (Rs./MT) | Actual GCV of coal (kcal/kg) |
| --- | --- | --- | --- | --- | --- | --- |
| Apr-19 | G14 | 192545.80 | 1548 | 217572 | 1624.10 | 3212 |
| May-19 | G14 | 261768.60 | 1548 | 224916 | 1633.82 | 3046 |
| Jun-19 | G14 | 255368.31 | 1548 | 204487 | 1627.63 | 3051 |
| Jul-19 | G14 | 234040.31 | 1548 | 186844 | 1635.54 | 2995 |
| Aug-19 | G14 | 144043.60 | 1552 | 108524 | 1649.30 | 3004 |
| Sep-19 | G14 | 24980.00 | 1552 | 182283 | 1455.41 | 3111 |
| Oct-19 | G14 | 218962.30 | 1552 | 181975 | 1555.56 | 2893 |
| Nov-19 | G14 | 399241.50 | 1552 | 193889 | 1622.03 | 3019 |
| Dec-19 | G14 | 411553.60 | 1552 | 206396 | 1586.27 | 2906 |
| Jan-20 | G14 | 329504.20 | 1552 | 203015 | 1445.76 | 2626 |
| Feb-20 | G14 | 309740.20 | 1559 | 176133 | 1444.44 | 2739 |
| Mar-20 | G14 | 349695.30 | 1559 | 214117 | 1652.83 | 2802 |
| Apr-20 | G14 | 445018.80 | 1559 | 194843 | 1583.62 | 2835 |
| May-20 | G14 | 449418.20 | 1559 | 218787 | 1571.54 | 2639 |
| Jun-20 | G14 | 474462.20 | 1559 | 205146 | 1512.13 | 2862 |
| Jul-20 | G14 | 498994.00 | 1559 | 218093 | 1549.63 | 2770 |
| Aug-20 | G14 | 303207.60 | 1560 | 224115 | 1522.23 | 2623 |
| Sept-20 | G14 | 237961.30 | 1560 | 155828 | 1500.54 | 2651 |
| Oct-20 | G14 | 243207.4 | 1560 | 242672 | 1549.77 | 2703 |
| Nov-20 | G14 | 226356.6 | 1560 | 228910 | 1571.97 | 2728 |

*Without considering Debt/Credit Notes

#Considering Debt/Credit Notes and adjustments

- OPGC to submit the actual audited information of Coal of Last three years as per format given below:

OPGC’s submissions:

The information sought by the Hon’ble Commission is as under:

Table 3: Details of coal for last three years

| Particulars | Unit | FY 2017-18 | FY 2018-19 | FY 2019-20 | FY 2020-21 (Actual upto November, 2020) |
| --- | --- | --- | --- | --- | --- |
| Grade of Coal | No | G14 | G14 | G14 | G 14 |
| Base Price of Coal | Rs./MT | Up to 08.01.2018 – Rs.650; For the balance period –Rs.748 | 748 | 748 | 748 |
| Total Cost of Coal | Rs./MT | 1521.59 | 1631.29 | 1572 | 1543 |
| Standard range of GCV of Coal | kcal/kg | 3101-3400 | 3101-3400 | 3101-3400 | 3101-3400 |
| Actual GCV of Coal | kcal/kg | 2710 | 3048 | 2951 | 2726 |
| Gross Generation | MU | 2842 | 3085 | 2643.55 | 1784.16 |
| Coal Consumption | MT | 25,82,719 | 25,65,270 | 23,00,212 | 16,88,394 |

- OPGC to submit the month wise audited information showing secondary fuel oil (both FO & LDO) mix ratio, quantity, rate and value of each and combined secondary fuel oil mix actual procured and consumed during FY 2019-20 and actual information on the same for the current FY 2020-21 till November, 2020.

OPGC’s submissions:

The month wise audited information showing secondary fuel oil mix ratio, quantity, rate and combined fuel oil mix actual procured and consumed during FY 2019-20 and till November of FY 2020-21 is as under:

Table 4: Details of quantum and price of secondary fuel oil

| Month | Secondary Fuel Oil procured and consumed | Quantum of oil procured (kL) | Weighted average price oil procured (Rs./kL) | Quantum of oil consumed (kL) | Weighted average price oil for the month (Rs./kL) |
| --- | --- | --- | --- | --- | --- |
| Apr-19 | LDO | 0.00 | 0.00 | 33.60 | 53606.01 |
| May-19 | LDO | 0.00 | 0.00 | 30.49 | 53606.01 |
| Jun-19 | LDO | 0.00 | 0.00 | 217.85 | 53606.01 |
| Jul-19 | LDO | 291.00 | 52434.49 | 78.92 | 52989.21 |
| Aug-19 | LDO | 172.00 | 52893.47 | 0.00 | 52963.71 |
| Sep-19 | LDO | 0.00 | 0.00 | 452.65 | 52963.71 |
| Oct-19 | LDO | 337.00 | 52701.68 | 157.72 | 52797.14 |
| Nov-19 | LDO | 149.00 | 50780.56 | 21.16 | 52220.88 |
| Dec-19 | LDO | 0.00 | 0.00 | 85.47 | 52220.88 |
| Jan-20 | LDO | 270.40 | 54891.02 | 194.37 | 53274.86 |
| Feb-20 | LDO | 208.71 | 50361.16 | 183.12 | 52405.30 |
| Mar-20 | LDO | 91.94 | 50362.65 | 100.94 | 52096.25 |
| Apr-20 | LDO | 274.00 | 37474.84 | 55.18 | 46969.29 |
| May-20 | LDO | 0.00 | 0.00 | 80.20 | 46969.29 |
| Jun-20 | LDO | 0.00 | 0.00 | 151.60 | 46969.29 |
| Jul-20 | LDO | 164.00 | 43321.84 | 52.63 | 46060.79 |
| Aug-20 | LDO | 48.00 | 43321.83 | 163.29 | 45859.71 |
| Sep-20 | LDO | 200.00 | 43333.64 | 339.88 | 45128.06 |
| Oct-20 | LDO | 300 | 39863.41 | 5.2 | 42700.59 |
| Nov-20 | LDO | 0 | 0 | 74.53 | 42700.59 |

*There is no arrangement for use of HFO in OPGC 1&2. However, in the Petition, the mix of HFO and LDO has been taken in the ratio of 90:10 as per the mutual agreement between OPGC and GRIDCO.

- OPGC to submit the latest notification on standard Gross Calorific Value (GCV) and their corresponding cost of coal notified by appropriate authority (Coal India/ MCL).

OPGC’s submissions:

The Coal Price Notification of Coal India Limited dated November 27, 2020 is enclosed at Annexure 1

- OPGC to submit breakup of estimated cost of Coal showing base price and other charges amounting to Rs. 1542.30/MT as proposed in its tariff application for FY 2021-22. Further OPGC to explain about the grade of coal to be used during FY 2021-22.

OPGC’s submissions:

The coal price of Rs. 1542.30/MT proposed in the tariff application for FY 2021-22 is the weighted average of the actual coal price for the months of April 2020 to September, 2020 as submitted in the Petition. The copy of the Half Yearly Fuel Price Adjustment Bill for the period April 2020 to September 2020 is enclosed at Annexure 2 which is certified by the Auditor and submitted to GRIDCO on December 7, 2020. The indicative break-up of the landed price of coal considering the applicable base price and other charges is as shown in Table below:

Table 5: Indicative landed price of coal

| Particulars | Units | Legend | Value (As on Nov’2020) | Value (Effective from 1st Dec ’2020) |
| --- | --- | --- | --- | --- |
| Basic (G14 Coal Grade) | Rs./MT | A | 748 | 758 |
| Sizing charges | Rs./MT | B | 87 | 87 |
| Royalty | Rs./MT | C=14%*A | 105 | 106.12 |
| NMET Fund | Rs./MT | D=2% *C | 2 | 2.12 |
| DMF | Rs./MT | E=30%*C | 31 | 31.84 |
| Surface Transportation Charges | Rs./MT | F | 82 | 82 |
| Evacuation facility charges | Rs./MT | G | 50 | 50 |
| Sub-total | Rs./MT | H=A+B+C+D+E+F+G | 1105 | 1117.08 |
| GST compensation cess | Rs./MT | I | 400 | 400 |
| SGST | Rs./MT | K=5%*G | 55 | 55.85 |
| Total | Rs./MT | K=H+I+J | 1560 | 1573 |

The differential amount of the actual coal price of Rs. 1542.30/MT as proposed in the Petition against the notified price as shown in the Table-5 above is on account of declared grade of coal vis-à-vis coal quality reports received, based on the third party sampling/Test reports (CIMFR) and other charges including Third Party Sampling/ Testing Fees etc. which are not included in the table above.

The coal requirement for FY 2021-22 is to be met under the FSA with MCL and is planned to be met from Lakhanpur Area of MCL through MGR. The declared grade of coal of Lakhanpur Area mines is G14.The grade of coal actually supplied will undergo a change based on the analyzed grade of coal at the time of dispatch.

- OPGC to submit the actual Station Heat Rate (kcal/kWh), average Gross calorific value, and Price of Coal and Secondary Fuel Oil of the following period in the format given below:

OPGC’s submissions:

The information sought by the Hon’ble Commission is as under:

Table 6: Actual Station Heat Rate, average Gross Calorific Value, and Price of Coal and Secondary Fuel Oil

| FY | Station Heat Rate | Gross Calorific Value |  | Price |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Coal | Secondary oil | Coal | Secondary oil |
|  | kcal/kWh | kcal/kg | kcal/L | Rs./MT | Rs./kL |
| 2017-18 | 2527 | 2710 | 10000 | 1521.59 | LDO: 42622 |
| 2018-19 | 2537 | 3048 | 10000 | 1631.29 | LDO: 51696 |
| 2019-20 | 2568 | 2951 | 10,000 | 1572 | LDO: 52884 |
| 2020-21 (Till November, 2020) | 2585 | 2726 | 10,000 | 1543.00 | LDO: 40647 |
| 2021-22 (Estimated) | 2556 | 3003 | 10000 | 1620 | LDO: 42679 |

- OPGC to submit the actual and estimated Secondary Fuel Oil consumption of the following period in the format given below:

OPGC’s submissions:

The information sought by the Hon’ble Commission is as under:

Table 7: Actual Secondary Fuel Oil consumption

| FY | Actual Consumption of Oil (kL) | Actual Generation (MU) | Average Secondary fuel oil Consumption (ml/kWh) |
| --- | --- | --- | --- |
| 2017-18 | 1424.69 | 2842.35 | 0.501 |
| 2018-19 | 1186.54 | 3085.45 | 0.385 |
| 2019-20 | 1556.29 | 2643.55 | 0.589 |
| 2020-21 (Till November 2020) | 922.50 | 1784.16 | 0.517 |
| 2021-22 (Estimated) | 2000 | 3012.378 | 0.664 |

- OPGC to submit actual, estimated and proposed generation details during the following period in the per format given below:

OPGC’s submissions:

The information sought by the Hon’ble Commission is as under:

Table 8: Actual Generation details

| FY | Gross Generation (MU) | Auxiliary Consumption* |  | Net Energy sent out | PLF |
| --- | --- | --- | --- | --- | --- |
|  |  | MU | % | MU | % |
| 2017-18 | 2842.35 | 315.33 | 11.09% | 2511.80 | 77.25% |
| 2018-19 | 3085.45 | 331.35 | 10.74% | 2743.11 | 83.86% |
| 2019-20 | 2643.545 | 302.79 | 11.45% | 2325.89 | 71.65% |
| 2020-21 (Till Nov’20) | 1784.163 | 209.729 | 11.76% | 1565.95 | 72.54% |
| 2020-21 (Estimated) | 2809.43 | 315.059 | 11.21% | 2485.89 | 76.40% |
| 2021-22 (Estimated) | 3012.378 | 313.701 | 10.41% | 2698.677 | 81.88 |

* Excludes the Colony Consumption

- OPGC to submit the Taxable Income, Tax paid and actual tax assessed by the department during the following period in the format given below:

OPGC’s submissions:

The information sought by the Hon’ble Commission is as under:

Table 9: Taxable Income, Tax paid and actual tax assessed (Rs. Crore)

| Assessment Year | Taxable Income |  |  | Total Amounts of Tax Paid to Income Tax department | Actual amounts of Tax Assessed by Department |
| --- | --- | --- | --- | --- | --- |
|  | Generation | Non-generation | Total |  |  |
| 2017-18 | 85.52 | 36.31 | 121.83 | 42.92 | 44.20 |
| 2018-19 | -1.34 | 12.91 | 11.57 | 11.11 | Assessment Not completed |
| 2019-20 | 247.19 | 20.90 | 268.09 | 100.33 | Assessment Not Completed |
| 2020-21 Provisional Computation of Income | -2715.21 | 12.64 | -2702.57 | 6.31 | IT return Not yet filed. |

- OPGC to submit the Income Tax assessment orders issued by the Income tax Departments starting from the AY 2017-18 to till date.

OPGC’s submissions:

The copies of Income Tax assessment orders issued by the Income Tax Department from AY 2017-18 till date are enclosed at Annexure 3.

- OPGC may submit the actual other charges (head wise and year wise) incurred and reimbursed from GRIDCO during the period from FY 2017-18 to FY 2020-21 (till Nov. 2020) as against the approvals in the respective tariff order.

OPGC’s submissions:

The information sought by the Hon’ble Commission is given in the table below:

Table 10: Other charges for FY 2017-18 (Rs. Crore)

| S. No. | Particulars | FY 2017-18 |  |  |
| --- | --- | --- | --- | --- |
|  |  | Approved in the Tariff Order | Actual incurred | Reimbursed by GRIDCO |
| 1 | Electricity Duty | 7.97 | 16.50 | 14.99 |
| 2 | Water Cess and Water Charges | 6.35 | 6.86 | 6.85 |
| 3 | Tax and Cess on land | 0.22 | 0.19 | 0.19 |
| 4 | SOC and MOC for SLDC | 0.33 | 0.32 | 0.33 |
| 5 | ERPC Charges | 0.16 | 0.16 | 0.16 |
| 6 | Income Tax | 37.07 | 11.10 | 7.50 |
| 7 | Recovery of ARR & Tariff Petition Fee | 0.21 | 0.21 | 0.21 |
| 8 | Total | 52.31 | 35.34 | 30.23 |

Table 11: Other charges for FY 2018-19 (Rs. Crore)

| S. No. | Particulars | FY 2018-19 |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Approved in the Tariff Order | Actual incurred | Reimbursed by GRIDCO |
| 1 | Electricity Duty | 15.84 | 18.90 | 15.16 |
| 2 | Water Cess and Water Charges | 6.21 | 7.38 | 7.38 |
| 3 | Tax and Cess on land | 0.18 | 0.19 | 0.19 |
| 4 | SOC and MOC for SLDC | 0.37 | 0.37 | 0.37 |
| 5 | ERPC Charges | 0.16 | 0.16 | 0.16 |
| 6 | Income Tax | 38.67 | 100.33 | 66.76* |
| 7 | Recovery of ARR & Tariff Petition Fee | 0.30 | 0.22 | 0.22 |
| 8 | Incentive | 3.35 | 0.00 | 0.00 |
| 9 | Total | 65.08 | 127.55 | 90.24 |

*The amount of Income Tax reimbursement includes arrear income tax reimbursement related to FY 2016-17, 2017-18 and 2018-19 amounting to Rs.40.53 Crore after adjustment of Rs.2.38 Crore towards 0.5% Entry Tax recovery on coal for the period FY 2000-01 to 2003-04 and recovery of Rs.1.43 Crore towards differential MAT credit based on latest assessment position (subject to final outcome of appeals pending for disposal)

Table 12: Other charges for FY 2019-20 (Rs. Crore)

| S. No. | Particulars | FY 2019-20 |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Approved in the Tariff Order | Actual incurred | Reimbursed by GRIDCO |
| 1 | Electricity Duty | 13.17 | 17.49 | 12.98 |
| 2 | Water Cess and Water Charges | 6.86 | 7.99 | 7.99 |
| 3 | Tax and Cess on land | 0.19 | 0.19 | 0.19 |
| 4 | SOC and MOC for SLDC | 0.38 | 0.38 | 0.38 |
| 5 | ERPC Charges | 0.16 | 0.16 | 0.16 |
| 6 | Income Tax | 38.67 | 5.00 | 5.00 |
| 7 | Recovery of ARR & Tariff Petition Fee | 0.30 | 0.21 | 0.21 |
| 8 | Total | 59.73 | 31.42 | 26.91 |

Table 13: Other charges for FY 2020-21 (Rs. Crore)

| S. No. | Particulars | FY 2020-21 |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Approved in the Tariff Order | Actual incurred (Till November-20) | Reimbursed by GRIDCO (Till November-20) |
| 1 | Electricity Duty | 13.17 | 12.01 | 8.48 |
| 2 | Water Cess and Water Charges | 7.80 | 5.73 | 5.73 |
| 3 | Tax and Cess on land | 0.19 | 0 | 0 |
| 4 | SOC and MOC for SLDC | 0.29 | 0.21 | 0.21 |
| 5 | ERPC Charges | 0.16 | 0.20 | 0.20 |
| 6 | Income Tax | 38.67 | 0 | 0 |
| 7 | Recovery of ARR & Tariff Petition Fee | 0.30 | 0.24 | 0.24 |
| 8 | Total | 60.58 | 18.39 | 14.86 |

PRAYER:

It is humbly submitted before the Hon’ble Commission to condone the delay in submission of the additional information in response to the Queries raised, due to late receipt of the direction and subsequent time taken for compilation of the Information and approval for submission of the same.

Date: January 13, 2021								Deponent

Place: Bhubaneswar