BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.------										      Filing No. 1

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2021-22under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.															…Applicant

The Humble Applicant above named;

MOST RESPECTFULLY SHEWETH THAT:

In exercise of powers conferred under Sections 39,131,133 and 134 of the Electricity Act, 2003 read with Sections 23 & 24 of the Orissa Electricity Reform Act, 1995, the State Government published the Orissa Electricity Reform (Transfer of Transmission and Related Activities) Scheme, 2005 (hereinafter called the “Transfer Scheme”) in the Gazette dated 09.06.2005 which was effective retrospectively from 01.04.2005 wherein the Transmission Undertaking (the Undertaking related to the activities of Transmission, State Transmission Utility and State Load Dispatch Centre and acts incidental and ancillary thereto) of the Grid Corporation of Odisha Limited (Transferor), (now renamed GRIDCO Ltd.- hereinafter referred to as “GRIDCO”) has been transferred and vested in Odisha Power Transmission Corporation Limited (hereinafter called “OPTCL”).

As per Clause 10 of the Transfer Scheme, OPTCL is a deemed Transmission Licensee under Section 14 of the Electricity Act, 2003 (hereinafter referred to as ‘the Act’) for undertaking the business to transmit electricity in the State of Odisha. OPTCL has also been notified as the State Transmission Utility (hereinafter called ‘STU’) and accordingly, shall also discharge the State Load Dispatch functions from the date of transfer until further orders of the State Government.

Hon’ble Odisha Electricity Regulatory Commission (hereinafter referred to as‘OERC’) has issued License Conditions of OPTCL effective from 01.11.2006 vide order dated 27.10.2006 passed in Case No 22 of 2006 to undertake the activities relating to transmission of electricity in the State of Odisha.

Consequent upon transfer of Transmission Undertaking and related functions to OPTCL as per the Transfer Scheme, all the obligations under Bulk Supply Agreement executed on 24.05.1999 between GRIDCO & WESCO (now WESCO Utility), GRIDCO & NESCO (now NESCO Utility) and GRIDCO & SOUTHCO (now SOUTHCO Utility) and between GRIDCO & CESCO (now Tata Power Central Odisha Distribution Limited -“TPCODL”)executed on 18.09.1999, including all other contracts of GRIDCO with any party other than those four Distribution Licensees, in so far they relate to transmission of electricity and matter connected therewith including the provisions dealing with operating arrangements, connections & metering, rights of access, non-interfering with the equipment etc. is required to be discharged by OPTCL in the same manner as GRIDCO was doing / performing under the said agreements and also as per the Regulations, orders and directions of OERC made from time to time and all such services shall be rendered by OPTCL to GRIDCO. Since, CESU has been vested with TPCODL (Tata Power Central Odisha Distribution Limited)w.e.f. 01.06.2020 by order dated 26.05.2020 of OERC in Case No. 27/2020,  Bulk Power Transmission and SLDC Agreement between OPTCL and TPCODL  was executed on 30.07.2020.

As provided under Regulation 53 (1) at Chapter VIII of OERC (Conduct of Business) Regulations, 2004 and under Clause 19.3 of License Conditions of OPTCL, OPTCL is required to submit it’s Aggregate Revenue Requirement (ARR) application for the ensuing year before Hon’ble OERC for approval. Further, Regulation 5.2 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 requires OPTCL to file ARR application by 30th November of every year of the Control Period. In Regulation 2.1 (k) of the said Transmission Tariff Regulations, 2014, the Control Period has been defined as a multi-year time period fixed by the Commission, from time to time. As defined, the 1st Control Period under these Regulations is from 1st April 2014 to 31st March 2019 and as clarified by the Hon’ble Commission vide letter No. DIR(T)-332/08/951 dated 19.07.2019, the 2nd Control period is from 1st April 2019 to 31st March 2024.Although the applicability of the Transmission Tariff Regulations, 2014 has ceased to continue beyond 31.03.2019, the Hon’ble Commission vide para 186 (page No. 42) of the order dated 21.04.2020 (Case No. 72/2019) in exercise of power conferred under Regulation 9.1 of the said Regulations, 2014 has extended the same until further order.Hence, OPTCL has adopted the principles enunciated in the Transmission Tariff Regulations, 2014 for proposing the different components of ARR for FY 2021-22in the present application.

In compliance of the above, OPTCL herewith submits it’s ARR& Transmission Tariff application for FY 2021-22for kind approval of the Hon’ble Commission.

CATEGORISATION OF CUSTOMERS

All the customers seeking open access to OPTCL Transmission System are classified under three categories.

a. Long Term Open Access Customers (LTOA Customers)

A Long Term Open Access Customer means the right to use the intra state Transmission system or distribution system for a period exceeding Twelve (12) years but not exceeding Twenty-five (25) years.Based on such premise, presently four DISCOMs,NALCO, IMFA& BEL happen to be the Long Term Customers of OPTCL.

b. Medium Term Open Access Customers (LTOA Customers)

Medium Term Open Access means the open access for a period exceeding three (3) months but not exceeding three (3) years

c. Short Term Open Access Customers (STOA Customers)

Short Term Open Access means open access for a period up to one (1)monthat a time.

Medium-term open access or short-term open access shall be granted if the resultant power flow can be accommodated in the existing transmission system or the transmission system under execution. Provided that no augmentation shall be carried out to the transmission system for the sole purpose of granting medium-term open access or short-term open access.

FORMULATION OF TRANSMISSION COST:

The Hon’bleCommission has framed OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 (hereinafter called “OERC Regulations, 2014”) for determination of Intra-State Transmission Tariff which has been published in Extra Ordinary issue of the OdishaGazette on 04.12.2014. The said Regulations are effective from 04.12.2014 and areto be followed by the Transmission Licenseewhile formulating its ARR and Transmission Tariff application. OPTCL has formulated its present ARR & Transmission Tariff application for FY 2021-22as per the provisions underOERC Regulations, 2014.

Regulation 5 of the OERC Regulations, 2014 specifies the Procedure for Tariff Determination and Regulation 8 specifies the Principles for Determination of ARR.

As per the Regulation 8.1, the ARR for the Transmission Business for each year shall contain the following items:

- Operation and Maintenance expenses;

- Interest and Financial Charges;

- Depreciation;

- Return on Equity;

- Income Tax;

- Deposits  from Transmission System Users;

- Less: Non-Tariff Income

- Less: Income from Other Business as specified in these Regulations

The various costs involved in carrying out transmission business by OPTCL for FY 2021-22while formulating the ARR and Transmission Tariff have been categorized under the following heads:

- FIXED COST:

- Operation & Maintenance (O & M) Expenses

- Interest and Financial Charges

- Depreciation

- Return on Equity

- OTHERS:

- Incentive for System Availability

COMPUTATION OF TRANSMISSION CHARGES:

- FIXED COST:

The Fixed Cost of OPTCL includes expenses incurred towards Operation & Maintenance (Employee Cost including Terminal Benefits, Administration & General Expenses and Repairs & Maintenance Expenses). The details of such expenses for FY 2021-22are projected as under:

A.1)   O&M EXPENSES:

As per the Regulation 8.2 of OERC Regulations, 2014, Operation and Maintenance (O&M) expenses shall include:

- Salaries, wages, pension contribution and other employee costs;

- Administrative and General Expenses;

- Repairs and Maintenance;

- Expenses related  to auxiliary energy consumption in the sub-station for the purpose of air-conditioning, lighting, technical consumption, etc.; and

- Other miscellaneous expenses, statutory levies and taxes (except corporate income tax)

Accordingly, OPTCL proposes detailed O & M Expenses as under:

A.1(a)Salaries, wages, pension contribution and other employee costs(F-10)

The Employee Cost includes Salaries, Dearness Allowance, Conveyance Allowance/Reimbursement, HRA, Medical Allowance, Bonus/Ex-gratia etc. The Employee Expenses for FY 2021-22has been estimated as Rs.532.73Cr.including Terminal Benefit Liability(Table-1&3).

A significant number of posts are lying vacant at the base level due to retirement, death, promotion etc. as a result of which functioning of the organization has been seriously affected. OPTCL plans to fill up the vacancies in a phased manner and accordingly the recruitment process has been initiated. In the meantime some additional manpower has been inducted and more will be recruited in coming years.

Due to  industrialization, urbanization as well as rural electrification and the commitment for 24x7 Power for all, several projects  are underimplementation in the State under Central as well as State sponsored schemes.  In order to cater to the increasing demand of power as well as to provide quality power, several new grid sub-stations and transmission lines have been commissioned and many others are now at different stages of implementation. Some of the schemes are also in pipe line.  The increased transmission infrastructure badly requires adequate competent personnel in Technical, Finance, HRD, IT and other relevant streams. In order to align OPTCL’s organizational structure in line with the emerging needs of the transmission sector and dynamic regulatory framework in India, Govt. of Odisha has already approved the organizational restructuring proposal of OPTCL. Consequently Revised Organization Restructuring & Manpower Assessment has been implemented with effect from 01.01.2014 in OPTCL to meet needs of important activities of the transmission utility like Project Implementation, O&M, Telecom, Finance and IT support etc. With notification of Organization Structure & Manning Norm, recruitment of Degree & Diploma Engineers has been started.

Calculation of Employee Cost

OPTCL is proposing its Employee Cost as under:

- The actual cash outflow from April-20 to Oct-20 has been extrapolated to arrive at Basic Pay for FY 2020-21 as Rs.158.65 Cr. The average number of employees  for computation of Basic Pay for FY 2021-22 is calculated below:-

| No. of Employees as on 01.04.2019 | 3036 |
| --- | --- |
| Add :- Induction of new employees during FY 2019-20 (New employees joined as MT are not considered for calculation) | -- |
| Less:- Retired/VRS/Expired/Resigned during FY 2019-20 | 220 |
| No. of employees as on 01.04.2020 | 2816 |
| Add :- New employees inducted during FY 2019-20 and regularized in FY 2020-21 | 4 |
| Less:- Retired/to be retired/VRS/Expired/Resignedduring FY 2020-21 | 211 |
| No. of employees as on 01.04.2021 | 2609 |
| Average no. of employees for the FY 2020-21 {(2816+2609)/2} | 2713 |
| Add:- New employees to be inducted during FY 2020-2021and regularized in FY 2021-22 | 515 |
| Less:-Employees to be Retired during 2021-22 | 152 |
| No. of employees as on 01.04.2022 | 2972 |
| Average no. of employees for the FY 2021-22 {(2609+2972)/2} | 2791 |

With 3% hike in annual increment, the basic pay for the FY 2021-22 is worked out as Rs.168.11Cr. {i.e. (158.65x103%)/2713x2791}

(ii) Hon’ble Commission had allowed Rs. 35.28 Cr. & Rs.8.82 Cr towards 50% of arrear salary of 7thPay Revision in the ARR for the FY 2019-20 & 2020-21 respectively. OPTCL has already released 50% of arrear amount of pay revision of Executives and Non-Executives. It is expected that State Govt. will issue notification towards release of the balance 50% in the next FY 2021-22. Therefore, OPTCL has proposed Rs.44.12 Cr. towards balance 50% arrear pay.

(iii) Dearness Allowance (DA):Finance Department, Govt. of Odisha vide Circular No-FIN-BUDI-BT-0004-2020/F DTD. 29.10.2020 issued guideline for administrative expenditure for preparation of annual budget for FY2021-22. In the said guideline it is prescribed that the DA rate for the FY 2021-22 will be 28% of Basic pay. (Copy enclosed at annexure-01). Accordingly DA is projected as Rs.47.07 Cr.

(iv)House Rent Allowance (HRA): 9.4.12.	All the employees of OPTCL are entitled to get HRA in the range of 18%-20% of the basic pay, depending on the type of city/town they are residing in. Therefore, it has been assumed that HRA shall be around 19% of the basic. Since all the employees shall not avail HRA,for providing a more realistic approach to the calculation, HRA has been estimated for 85% of the employees @ 19% of the Basic Pay. Accordingly, OPTCL has projected Rs. 27.15 Cr. HRA for FY 2021-22.

(v) Medical Expenses: The employees of OPTCL are entitled to get Medical Allowance @ 5% on revised pay for outdoor medical expenses. Accordingly, OPTCL has projected Rs.8.14 Cr.

(vi)Group Health insurance has become an indispensiblepart of employee benefit. 	Organization are providing this to safeguard employees against unexpected health 	issues, accidents, mishaps etc. It also plays a big role in motivating and incentivizing	employees. A group insurance scheme is essentially a health/medical insurance plan that 	covers all the employees for indoor medical expenses. In a group insurance policy, members get insurance cover at a reduced cost as the provider’s risk is spread across a big number of policy holders. OPTCL is going to adopt this model in lieu of actual reimbursement concepts. Hence, OPTCL has projected Rs.5.00 Cr.as premium on Group Insurance Scheme under Staff welfare expenses.

(vii) Besides, Rs.3.64 Cr. has also projected towards expenses like Uniform, Liveries, GIS, Sports, Recreations & Cultural Activity, etc. under staff welfare expenses for FY 2021-22.

(viii) At present, OPTCL is functioning with 53%of manpower of the sanctioned strength. Hence in order to make up for the deficit and smooth functioning, OPTCL has engaged personnel in different streams through outsourcing. Accordingly, Rs.2.57 Cr. has been proposed towards payment to outsourced personnel.

(ix)  Stipend for new recruitment:

OPTCL is planning to recruit 512 Nos. employees during FY 2020-21 and 418 Nos. in FY 2021-22. Accordingly, OPTCL has proposed Rs.7.26 Cr. towards stipend for the new recruits for the FY 2021-22. The details are as below:

| YEAR | Post | No. of Candidates Recruited/to be Recruited | Stipend per person per month (Rs.) | Total stipend per month (Rs. Lakh) | Remarks |
| --- | --- | --- | --- | --- | --- |
| 2020-21 | Jr. Manager | 16 | 18000 | 2.88 |  |
|  | Asst. Manager | 96 | 24000 | 23.04 |  |
|  | Technical | 365 | 10000 | 36.50 |  |
|  | Administrative | 35 | 12000 | 4.20 |  |
|  | TOTAL | 512 |  | 66.62 |  |
| 2021-22 | Jr. Manager | 2 | 18000 | 0.36 |  |
|  | Asst. Manager | 84 | 24000 | 20.16 |  |
|  | Technical | 296 | 10000 | 29.60 |  |
|  | Administrative | 36 | 12000 | 4.32 |  |
|  | Total | 418 | - | 54.44 |  |
|  | Total stipend for FY 2020-21 & FY 2021-22 = Rs. 14.52 Cr. and average is Rs. 7.26 Cr. |  |  |  |  |
| (ix) OPTCL has proposed Rs.12.71 Cr. towards Bonus, LTC, Honorarium, Ex-gratia, Conveyance (both allowance and reimbursement) and other allowances. Other allowances comprises of Night Shift Allowances, Physical Handicap Allowances, ABT Allowances, Cash Allowances, Computer Allowances Arrears, Estimator Allowance, Medical Allowance, Gas Allowances, Green Card Allowances, Non-recurring Miscellaneous Allowances, Recurring Miscellaneous Allowances, Shift Allowances, Special Allowances, Typing Allowance, Washing Allowances & Education Allowances for the Permanent Employee (Executives and Non-Executives). The component wise details of Employee Cost are given in F-10 and the abstract is shown in Table-1 below: Table-1 (Employee Cost - FY 2020-21) (Rs. Cr.) |  |  |  |  |  |  |  |

| Sl. No. | Particulars | Previous Year 2019-20 | Current Year 2020-21 | Ensuing Year 2021-22 | Assumptions |
| --- | --- | --- | --- | --- | --- |
| A | Salary & Allowance |  |  |  |  |
| 1 | Basic Pay and Grade Pay | 164.03 | 168.87 | 168.11 | Explained above |
| 2 | Dearness Allowance | 29.39 | 29.04 | 47.07 | Explained above |
| 3 | House Rent Allowance | 14.89 | 15.77 | 27.15 | Explained above |
| 4 | Other Allowance | 0.65 | 0.71 | 0.79 | 10% increase over FY 2020-21 |
| 5 | Bonus | 0.04 | - | 0.04 | Nominal |
| 6 | Stipend for New Recruitment | 3.46 | 2.44 | 7.26 | Explained above |
| 7 | Arrear Salary as per 7th Pay Commission and wage revision |  |  | 44.12 | Explained above |
|  | Sub-Total (A) | 212.47 | 216.83 | 294.54 |  |
| B | Additional Employee Cost |  |  |  |  |
| 1 | Outsourced Engagement | 2.28 | 2.23 | 2.57 | Explained above |
|  | Sub-Total (B) | 2.28 | 2.23 | 2.57 |  |
| C | Other Employee Cost |  |  |  |  |
| 1 | Medical Expenses (Allowance | 5.44 | 6.24 | 8.41 | Explained above |
| 2 | Leave Travel Concession | 0.02 | 0.38 | 0.40 | Projected |
| 3 | Honorarium | 0.05 | 0.06 | 0.07 | Projected |
| 4 | Ex-gratia | 5.31 | 5.00 | 7.00 | Projected |
| 5 | Staff Welfare Expenses | 2.41 | 7.55 | 8.64 | Explained above |
| 6 | Conveyance Expenses (allowance +Reimbursement) | 3.14 | 3.42 | 4.41 | Explained above |
| 7 | Other Employees Cost |  |  |  |  |
|  | Sub-Total (C) | 14.76 | 18.13 | 18.92 |  |
| D | Terminal Benefits |  |  |  |  |
| 1 | Pension | 140.58 | 180.08 | 185.48 | Explained below |
| 2 | Gratuity | 9.94 | 10.13 | 10.43 | Explained below |
| 3 | Leave Salary | 12.83 | 5.10 | 5.25 | Explained below |
| 4 | Other (including contribution to NPS) | 8.49 | 10.14 | 13.19 | Explained below |
|  | Sub-Total (D) | 171.84 | 205.45 | 214.35 |  |
| E | Total Employees Cost (A+B+C+D) | 402.97 | 447.14 | 540.39 |  |
| F | Less: Employee Cost Capitalized | 15.13 | 15.08 | 7.67 | 22% on Deposit Work |
| G | Net Employee Cost ( E- F) | 387.84 | 432.06 | 532.73 |  |

TERMINAL BENEFIT LIABILITIES:

- As per Accounting Standard 15 issued by MCA, employee benefit liabilities shall be assessed through actuarial valuation.  The actuarial assumptions are required to measure the obligation and the expense and there is a possibility of actuarial gains and losses. Moreover, the obligations are measured on a discounted basis because they may be settled over many years after the employees render the related service.  Accordingly, OPTCL has been doing actuarial valuation by availing the service of qualified Actuary every year.

- Para 61 of IND AS-19 states that an enterprise should recognise the net total of the following amounts in the statement of Profit& Loss except to the extent that another Accounting Standard requires or permits their inclusion in the cost of an asset.

- (a)  Current service cost

- (b)  Interest cost

- (c)  Expected return on any plan assets and on any reimbursement rights

- (d)  Actuarial gains and losses

- (e)  Past service cost requires an enterprise to recognise it

- (f)   Effect of any curtailments or settlements; and

- (g)  Effect of the limit i.e. the extent to which the amount determined

- Accordingly, the independent actuary M/s Charan Gupta Consultants Pvt. Ltd., Noida, U.P., engaged by OPTCL has submitted the valuation report towards projected liabilities for the FY 2020-21 (Copy enclosed at Annexure- 02). For the FY 2021-22 OPTCL has projected by escalation of 3% over the previous year. The details are as under.

- Table-2 			(Rs. Cr.)

| Year | 2020-21 | 2021-22 |
| --- | --- | --- |
| Pension | 180.08 | 185.48 |
| Gratuity | 10.13 | 10.43 |
| Leave salary | 5.10 | 5.25 |
| Total | 195.31 | 201.16 |

- Accordingly,for the FY 2021-22, OPTCL proposes Rs.201.16 Cr. towards terminal liabilities (Pension, Gratuity & Leave Encashment).

- Besides, Rs. 13.19 Cr. is required towards employer’s matching contribution for employees who have joined under NPS and Non-Pensioner Category.

So the Employee Cost including Terminal Benefit Liability is proposed as Rs. 532.73 Cr. as shown in the Table-3 below:

Table-3		(Rs. Cr.)

| Employee cost including Salary, Dearness Allowance etc. | 281.93 |
| --- | --- |
| Terminal Benefit Liability of Employees and Existing Pensioners | 214.35 |
| Balance Arrear salary payment (50%) to Existing Employees | 44.12 |
| Less: Capitalization | 7.67 |
| Total | 532.73 |

### A.1(b) Administrative and General (A&G) Expenses: (F-12)

As per the Regulation 8.14 of OERCTTRegulations, 2014, for OPTCL the Commission shall allow A&G expenses by giving an escalation factor equal to WPI over the amount approved by the Commission in the previous year. However it is submitted that due to growth and expansion  of  Transmission network, number of offices in headquarters as well as in field have increased over a period  of time since  which requires the base A&G expenses to be revised over and above which WPI factor has to be factored in for arriving at the A&G expenses.

Further, it is humbly submitted that the as per the Regulations the A& G cost should be increased by WPI on the base year, provided the number of establishments have remained the same. But the number of establishments/ offices of OPTCL has increased over a period of time commensurating with the increase in asset by addition of grid sub-stations, ckt kilometers of lines and MVA capacity for better supervision in construction, operation and maintenance and for maintaining quality of supply. Hence, A&G expenses should be increased proportionately.

A comparative chart of asset addition is given under.

| Year | No. of Grid substations | MVA capacity | Ckt. Kms. of Line |
| --- | --- | --- | --- |
| 2012-13 | 101 | 11554 | 11386 |
| 2018-19 | 148 | 19231 | 13995 |

Comparative chart of number of Establishments

| Year | Subdivisions | Divisions | Circles | Zones | CGMs | Directors |
| --- | --- | --- | --- | --- | --- | --- |
| 2012-13 | 190 | 38 | 11 | 0 | 5 | 4 |
| 2018-19 | 278 | 63 | 16 | 5 | 10 | 6 |

CGMs and Directors are corporate level offices where as Zones, Circles, Divisions and Subdivisions are field level offices.

Subdivisions include Grid substations, Line Maintenance subdivisions, Construction Subdivisions, Telecom, Civil and Stores sub divisions.

For Calculation of A&G Cost, the base year cost as on 01.04.2005 determined by the Hon’ble Commission was Rs. 14.96 Cr. After 14 years of escalation it became Rs. 22.09 Cr.  i.e average increase of Rs.51 lakhs per year. If we consider the time value of money by discounting @ 8% the approved amount Rs. 14.96 Cr. as at 1.4.2005 would be about Rs. 40.60 Cr. in FY 2018-19. During these 14 years,  Nos. of Grids Sub-station and lines have been added  to the Asset base of OPTCL (as explained in above paragraph) for which the field  as well as Corporate office establishment expenses  have increased , which required  more A&G expenses.

The A&G Expenses include property related expenses, communication, professional charges, conveyance (officers provided with vehicles) and travelling, SLDC charges, licensee fee and material related expenses and a host of office establishment expenses as detailed below.  The A&G Expenses have shown an increasing trend in recent years due to increase in number of establishments (for smooth operation , maintenance and project execution) price rise and inflation and is on the higher side than the amount approved by the Hon’ble Commission. In view of the above, OPTCL has estimated Rs. 38.13Cr. towards A&G Expenses (excluding GCC expenses Rs.0.35 Cr.) for FY 2021-22 F-12. The details are as shown in the Table-4 below:

Table-4

| PARTICULARS | (Rs. Cr.) |
| --- | --- |
| Property Related Expenses | 4.37 |
| Communication | 0.90 |
| Professional Charges | 6.50 |
| Conveyance & Travelling | 12.71 |
| Electricity & Water Charges | 1.99 |
| Fees & Subscription | 0.09 |
| Books & Periodicals | 0.06 |
| Printing & Stationery | 0.44 |
| Advertisement | 1.53 |
| Entertainment | 0.18 |
| Watch & Ward | 2.31 |
| Miscellaneous | 2.53 |
| Training | 2.14 |
| Office Maintenance | 1.58 |
| SLDC Charges | 0.80 |
| Total | 38.13 |

### The explanation to some of expenditureprojected under A&G expenses are submitted below:-

### (i)  The property Related expenses includes Rs.2.20 Cr. towards Licence Fees, Rs.1.90 Cr.	towards Rates & taxes, Ground Rent & Cess on Land and Rs.0.27 Cr. towards rent and 	insurances.

### (ii) Professional Charges includes Rs.3.68 Cr. towards Inspection Fees, Rs.0.93 Cr. towards Audit Fees, Rs.1.89 Cr. towards legal & consultancy expenses and others.

### (iii) OPTCL has recruited a good numbers of professionals and technical assistance in the field of Engineering, Finance & HR. To enhance/ update their knowledge with the latest technology, amendments in various acts and regulations OPTCL has planned to provide good training support at both in in house and outside. Accordingly, OPTCL has projected Rs.2.14 Cr. under the head training expenses.

### (iv) Under Conveyance & Travelling expenses OPTCL has projected Rs.12.71 Cr. towards Travelling Charges, Transport Charges, Vehicle running expenses ,Hire Charges of  Vehicles, Vehicle Licence ,Registration & Road taxes, , Loading - unloading  of material  etc.

### (v) Under Miscellaneous expenses OPTCL has projected Rs.2.53 Cr. towards Octroi on capital equipment, Capital Expenditure charged to Revenue. (Small and Low value item), Disasters Expenses, Conference Expenses, Misc. Expenses, Foundation day expenses, Transit House Expenses etc.

### (vi) Under the headOffice Maintenance expenses OPTCL has projected Rs.1.58Cr. towards Technical  Documentation  & design charges ,Gardening & Horticulture Expenses .,Office upkeep & Maintenance Exp., Official meeting expenses etc.

### (vii) Similarly, OPTCL has projected Rs.0.80 Cr. as System Operation Charges (SOC) i.e SLDC Charges.

### A.1(c)Repair and Maintenance(R&M) Expenses:  (F-11)

As per Regulation 8.16 of OERC Regulations, 2014, in case of STU (OPTCL), the Commission shall allow R&M expenses basing on past trend and requirement of the licensee in this regard after prudent check.

The R&M works of OPTCL are undertaken in different streams namely O&M, Telecom, Civil Works and Information Technology (IT). The summary of proposed R&M Expenses of Rs. 151.10Cr. under these four heads is furnished in the Table-5below:

Table-5

(Rs.Cr.)

| Particulars | OERC Approval (FY 2019-20) | OERC Approval (FY 2020-21) | Projection (FY 2021-22) |
| --- | --- | --- | --- |
| (i) O&M | 115.22 | 115.22 | 123.09 |
| (ii) Telecom |  |  | 3.39 |
| (iii) Civil Works |  |  | 20.40 |
| (iv) Information Technology |  |  | 4.23 |
| Total R&M Expenses |  |  | Rs. 151.10Cr. |

### (i) R& M Expenses relating to O&M Wing:

### As on 01.04.2020, OPTCL owns 156 nos. grid sub-stations of different voltage classes and EHT transmission lines of 14,359.416ckt. km. as shown in the Table-6 below: Further around 21 new grid substations are proposed to be commissioned during the year 20-21 and 21-22 .

Table-6

| Sub-Station and Line Details |  |  |
| --- | --- | --- |
| 400/220/33kV S/S | 1 |  |
| 400/220/132/33kV S/S | 3 |  |
| 220/132/33kV S/S | 21 |  |
| 220/33kV S/S | 11 |  |
| 220/132kV S/S | 1 |  |
| 132kV Sw. Stn. | 20 |  |
| 132/33kV S/S | 97 |  |
| 132/33/25kV S/S | 1 |  |
| 132/33/11kV S/S | 1 |  |
| Total No. of Sub-Stations | 156 |  |
| Voltage Level | Lines (ckt. km.) | Bays |
| 400kV | 1196.872 | 46 |
| 220kV | 6183.406 | 345 |
| 132kV | 6979.138 | 963 |
| 33kV |  | 1150 |
| 25kV |  | 2 |
| 11kV |  | 8 |
| TOTAL | 14,359.416 | 2514 |

### The transmission system of OPTCL is subject to rising trend of the loading pattern across the state. The power transformers and EHT lines are now operating at such optimum loading levels that it is impracticable to undertake maintenance work or attend breakdown jobs on those without load shedding. In addition to this, some of the EHT lines are pretty old and have outlived their useful life span. Some of the sub-station equipment which were imported during the OSEB period are obsolete now and spares for such equipment are no longer available, making repair impossible.

### Further, expansion of EHT network with the addition of new lines & sub-stations due to industrialization and rapid rural electrification initiatives has resulted in higher fault levels at various EHT grid sub-stations for which some of the existing equipment like CBs, Isolators, CTs are now inadequate to handle the present system.

### To operate the system effectively and to maintain uninterrupted quality power supply in the state in order to meet the performance standards set down by the Hon’ble Commission, it is absolutely necessary to undertake replacement of the old / obsolete equipment those have outlived their useful economic life. Also it is required to renovate and upgrade the equipment in the existing system to handle the risingdemand particularly during summer peak which has touched 5103 MW on 19thOctober, 2020.

### With the above objectives, OPTCL proposes R&M Expenses ofRs.123.09Cr.for FY2021-22under different items of O&M Wing, the details of which are shown in the Table-7 below.It may be notedthat due to the enhancement ofVDA twice in FY 2020-21, the monthly payment to Security Guards hasalso increased. Accordingly, the watch & ward expenses has increased. It is expected that VDA will be enhanced twice in the ensuing year as well. Further commissioning of new substations during the year will also require deployment of additional security guards. The Hon’ble Commission had allowed Rs. 37.81 Cr. towards watch & ward for FY 2020-21. In view of this,OPTCL proposes Rs. 39.86 Cr. for the FY 2021-22.

### Table-7

| R&M EXPENDITURE FOR ARR OF O&M WING - FY 2021-22 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description | FY 2021-22 |  |  |  |
|  |  | Unit | Qty. | Rate (Rs.) | Amount in (Rs. Lakh) |
| 1 | Circuit Breaker |  |  |  |  |
| i | 400kV | No | 3 | 34,64,899 | 103.95 |
| ii | 220kV | No | 23 | 12,15,101 | 279.47 |
| iii | 123kV | No | 10 | 5,75,000 | 57.50 |
| iv | 33kV | No | 60 | 2,20,000 | 132.00 |
| 2 | C.T. |  |  |  |  |
| a) | 400kV(0.2 class) |  |  | 0 |  |
| i | 2000-1000-500/1-1-1-1 | No | 14 | 8,72,048 | 122.09 |
| b) | 220kV(0.2 class) |  |  | 0 |  |
| i | 1200-600-300/1-1-1-1 | No | 30 | 58,724 | 17.62 |
| c) | 132kV(0.2 class) |  |  | 0 |  |
| i | 800-400-200/1-1-1 | No | 40 | 1,71,259 | 68.50 |
| d) | 33kV(0.2 class) |  |  | 0 |  |
| i | 800-400-200 / 1-1-1 | No | 49 | 50,925 | 24.95 |
| 3 | P.T. / CVT |  |  |  |  |
| i | 220kV CVT | No | 65 | 2,02,362 | 131.54 |
| ii | 132kV CVT | No | 80 | 1,25,930 | 100.74 |
| iii | 33kV PT (0.2S class) | No | 24 | 29,330 | 7.04 |
| 4 | Surge Arrestor |  |  |  |  |
| i | 400kV LA | No | 40 | 40,000 | 16.00 |
| ii | 220kV LA | No | 25 | 44,250 | 11.06 |
| iii | 132kV LA | No | 40 | 29,500 | 11.80 |
| iv | 33kV LA | No | 150 | 9,440 | 14.16 |
| 5 | Isolator |  |  |  |  |
| i | 132kV SI W/O/E/S, 2000A | No | 25 | 2,59,562 | 64.89 |
| ii | 132kV Double Isolator with E/S, 2000A | No | 8 | 4,99,339 | 39.95 |
| iii | 33kV SI W/O/E/S, 2000A | No | 31 | 1,06,261 | 32.94 |
| iv | 33kV DI with E/s | No | 20 | 1,66,300 | 33.26 |
| 6 | Relay |  |  |  |  |
| i | Numerical Backup | No | 92 | 87,690 | 80.67 |
| ii | Master Trip Relay (Single element) VAJH-13 | No | 110 | 2,903 | 3.19 |
| iii | REF Relay | No | 20 | 19,758 | 3.95 |
| 7 | Transformer firefighting protection for 53 nos Transformers | LS |  |  | 1344.00 |
| 8 | Automatic fault analysis system | LS |  | 0 | 950.00 |
| 9 | Audit Energy Meter (0.2 class) |  |  | 0 |  |
| i | Apex-100 Cat-B DLMS Compatible | No | 157 | 2,30,853 | 362.44 |
| ii | Apex 100 pannel | No | 60 | 87098.00 | 52.26 |
| 10 | Insulator |  |  |  |  |
| i | 160 kN LR (220kV) | No | 800 | 4,682 | 37.46 |
| 11 | Conductor |  |  |  |  |
| i | ACSR Panther | KM | 35 | 1,79,916 | 62.97 |
| ii | ACSR Moose | KM | 15 | 3,58,282 | 53.74 |
| 12 | Single Suspension H/W Fitting |  |  |  |  |
| i | For ACSR panther | No | 333 | 2,486 | 8.28 |
| ii | For ACSR Moose | No | 58 | 3,500 | 2.03 |
| 13 | Double Suspension H/W Fitting |  |  |  |  |
| i | For ACSR Zebra | No | 472 | 3,677 | 17.36 |
| ii | For AAAC Moose | No | 27 | 5042 | 1.36 |
| 14 | Single Tension H/W Fitting |  |  |  |  |
| i | For ACSR Panther | No | 1153 | 2,525 | 29.11 |
| ii | For ACSR Zebra | No | 558 | 2,335 | 13.03 |
| iii | For ACSR Moose | No | 98 | 2436 | 2.39 |
| 15 | Double Tension H/W Fitting |  |  |  |  |
| i | For ACSR Panther | No | 392 | 3,939 | 15.44 |
| ii | For ACSR Zebra | No | 226 | 4,694 | 10.61 |
| iii | For ACSR Moose | No | 50 | 4070 | 2.04 |
| 16 | Mid-Span Joint |  |  |  |  |
| i | For ACSR Zebra | No | 552 | 861 | 4.75 |
| 17 | Vibration Damper |  |  |  |  |
| i | For ACSR Panther | No | 476 | 527 | 2.51 |
| 18 | Battery & Charger |  |  |  |  |
| i | Batery Set (350A, PlanteBatery) | Set | 15 | 21,44,356 | 321.65 |
| ii | Batery Charger for 220V 350AH PlanteBatery | No | 25 | 3,83,219 | 95.80 |
| 19 | Tower Structures |  |  |  |  |
| a) | PB with Stubs | Set | 7 | 3,22,841 | 22.60 |
| i | + 3 extn. to PB | Set | 3 | 61,983 | 1.86 |
| ii | + 6 extn. to PB | Set | 3 | 1,28,415 | 3.85 |
| b) | PC with Stubs | Set | 8 | 3,76,600 | 30.13 |
| i | + 3 extn. to PC | Set | 3 | 67,958 | 2.04 |
| ii | + 6 extn. to PC | Set | 3 | 1,42,783 | 4.28 |
| 20 | Nuts & Bolts for Tower Structures | MT | 42 | 90936 | 38.19 |
| 21 | Disaster Resilience & Response System |  |  |  |  |
| i | Power Saw | No | 10 | 20,424 | 2.04 |
| ii | Inflatable light | No | 10 | 55,500 | 5.55 |
| 22 | Auxiliary energy consumption in the sub-stations | LS |  | 541 | 541.00 |
| 23 | Miscellaneous | LS |  |  |  |
| i | AMC of Energy Metering Systems |  |  | 0 | 82.50 |
| ii | Engagement of Security personnel | No. | 1936 | 14535 | 3986.00 |
| iii | Jhula& Tower Climber |  |  |  | 540.00 |
| iv | AMC of GPS based Synchronising Equipment |  |  | 0 | 22.00 |
| v | GPS based line patrolling system | LS |  |  | 850.00 |
| vi | Reconditioning of 20MVA, 40MVA & 100MVA power trfs. |  | 6 | 30,00,000 | 180.00 |
| vii | Renovation Works of Grid Substations including Repair / Replacement of Old & Defective Equipments, Bus Augmentation, Switchyard Re-metalling & Illumination, Renovation of Earthing System, Painting of Equipments, Repair of Boundary Walls & Fencing, Repair of Approach Roads, Cable Trenches & Drainage System etc. |  |  |  | 500.00 |
| viii | Renovation Works of EHT Lines including Revetment, Couping, Tower Earthing, Painting and Replacement of Angles, Conductors, Insulators, Clamps & Connectors etc. |  |  |  | 500.00 |
| ix | Misc expenses for portable generator set, puncture insulator detection test kit | LS |  |  | 250.00 |
|  | TOTAL |  |  |  | Rs. 12308.55 Lakh =Rs. 123.09 Cr. |

(ii) R& M Expenses relating to TELECOM Wing:

- Presently, OPTCL has switched over to optic fibre based communication system (OPGW) abandoning the traditional PLCC mode of communication. As a result, there is no further requirement of outdoor equipment, spares, test equipment, etc. pertaining to PLCC. Procurement of various telecom equipment for the purpose of R&M activities including AMC, maintenance of OPGW links, miscellaneousexpenditure, watch & ward &licensefeesetc. have been envisaged in order to keep in place a healthy and efficient telecommunication system. Accordingly,provision of Rs.3.39Cr.is proposed during FY 2021-22towards R&M expenses pertaining to Telecommunication Wing, the details of which are shown in the Table-8 below:

- Table-8

| R&M EXPENDITURE OF TELECOM WING-FY 2021-22 |  |  |
| --- | --- | --- |
| Sl . No. | Desciption of Works | Amount in Lakhs |
| 1 | AMC of RTU under ULDC Project | 12.00 |
| 2 | AMC of SCADA & EMS | 12.00 |
| 3 | AMC of APS (Auxiliary Power Supply) | 22.00 |
| 4 | AMC of Wideband Communication package | 60.00 |
| 5 | Maintenance of OPGW links along with supply of OPGW cable and hardwares for restoration of OPGW links | 94.00 |
| 6 | Misc expenditure(Cleaning and sweeping, Furniture and fixtures, Computer consumables, AC repair, AC/DC distribution board, supply of cards of existing equipment, fire extinguisher , official contingencies etc. | 97.00 |
| 7 | Watch & ward | 35.00 |
| 8 | License fee for walki-Talkie | 6.50 |
|  | TOTAL | Rs. 338.50 Lakh = Rs. 3.39 Cr. |

(iii) R& M Expenses relating to Civil Works:

### OPTCL proposes an expenditure of Rs.20.40Cr.towards Civil Works relating to major Repair & Maintenance of various buildings, approach road, staff quarters & other civil worksetc. of grid sub-stations during FY 2021-22.Accordingly, the amount is proposed towards R&M expenses pertaining to Civil Works, the details of which are shown in the Table-9 below:

- Table-9

| R & M EXPENDITURE OF CIVIL WING-FY 2021-22 |  |  |
| --- | --- | --- |
| Sl. No. | Description of works | Amount (Rs. Cr.) |
| 1 | Repair of approach roads & related work | 1.10 |
| 2 | Repair of Boundary and Compound Wall related work | 1.10 |
| 3 | Repair of Water supply system, sewerage system and drainage related work | 0.80 |
| 4 | Repair of staff quarters inside OPTCL Colony (out sideBhubaneswar) | 5.00 |
| 5 | Repair of staff quarters inside OPTCL Colony ( Bhoinagar, Mancheswar&Chandrasekharpur) 300 qtrs @ 5 lakhs | 7.50 |
| 6 | Repair of control rooms inside various grid sub-stations | 4.90 |
| TOTAL |  | Rs. 20.40 Cr. |

### (iv) R& M Expenses relating to Information Technology(IT)& Other Works:

With the increase in IT assets, regular maintenance and up-gradation is a necessity. Therefore, OPTCL has planned its expenditure to ensure the availability of IT system for its users. Investment includes the software updates, AMCs, spares of hardwares, professional software license fees, outsourcing cost and other IT related items. Accordingly, a provision of Rs.4.23Cr.is proposed during FY 2021-22towards R&M expenses pertaining to IT wing in orderto keep in place a well maintained and upgraded IT system, the details of which are shown in Table-10 below:

Table-10

| R & M EXPENDITURE - IT WING - FY 2021-22 |  |  |
| --- | --- | --- |
| Sl. No. | Project Description | Total (Rs. Cr.) |
| 1 | Network (OGS -WAN) | 1.31 |
| 2 | Smart Grid Initiatives(AMI) | 0.56 |
| 3 | FMS (Facility Management System) | 0.6 |
| 4 | IT Infrastructure(AMC of IT Equipments) | 0.60 |
| 5 | IT Consumables | 0.40 |
| 6 | Geographical Information System (GIS) | 0.20 |
| 7 | CCTV & VC | 0.042 |
| 8 | IT Security | 0.04 |
| 9 | Webmail & Website | 0.08 |
| 10 | PDC Maintenance | 0.40 |
|  | TOTAL | Rs.4.23 Cr. |

A.1(d)Expenses related to auxiliary energy consumption in the sub-stations:

As per the Regulation 8.2 of OERC Regulations, 2014, Operation and Maintenance (O&M) expenses shall include expenses related  to auxiliary energy consumption in the sub-station for the purpose of air-conditioning, lighting, technical consumption, etc. Based on the above

Regulation, every year OPTCL has been proposingcertain amount under this head but the Hon’ble Commission has not allowed any amount separately under this head and directed in earlier Transmission Tariff orders to include such amount in the operation and maintenance expenses as per Regulation 8.5. Therefore, OPTCL has not proposed any amount under this head separately.

A.1(e)Other miscellaneous expenses, statutory levies and taxes (except corporate income tax)

Grid Coordination Committee (GCC) Expenses: As per the Chapter-11 (2)(1) of the  Orissa Grid Code (OGC) Regulations 2006,  OPTCL has formed GCC under OPTCL to deal all the  matters specified in Chapter-11(2)(2). Under (GCC) expenses, OPTCL proposesRs. 0.35 Cr.towards Annual GCC Expenses for FY 2021-22in line with the said provisions.

Taking into account the proposed expendituretowards manpower (Employee Cost including Terminal Benefit), Repair & Spares (R&M Expenses) towards consumables, insurance and overheads (A&G Expenses) & GCC,OPTCL proposes the O&M Expenses as Rs.722.32Cr.

The summary of O&M Expenses for FY 2021-22 is shown in the Table-11 below:

Table-11

| Summary of O&M Expenses for FY 2020-21 |  |
| --- | --- |
| Particulars | Amount |
|  | (Rs. Cr.) |
| (i) Employees Cost including Terminal Benefits | 532.7269 |
| (ii) A&G Cost | 38.1344 |
| (iii) R&M Cost | 151.1041 |
| (iv) Expenses related to auxiliary energy consumption in sub-stations | 0.0000 |
| (v) Other miscellaneous expenses, statutory levies and taxes (GCC expenses) | 0.3500 |
| Total O&M Expenses | Rs. 722.3154Cr. Say 722.32 cr. |

- A. 2)Interest and Financial Charges(F-13):

A.2)(a) Interest on Loan

Interest on loan for FY 2021-20has been projected asRs.150.46Cr. Details of interest on loan capital is shown in F-13 and the abstract is presented in the Table-12below:

Table-12

| Projection for Interest on loan for FY 2021-22(Rs. Cr.) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Rate of Interest | Principal as on 01.04.21 | Loan to be received (FY 21-22) | Loan to be redeemed (FY 21-22) | Interest payment (FY 21-22) | Total Payment (FY 21-22) |
| A | Govt. Loans |  |  |  |  |  |  |
|  | GoO Bonds | 13.00% | 200.00 |  |  | 26.00 | 26.00 |
|  | Sub-Total |  | 200.00 |  |  | 26.00 | 26.00 |
| B | Institutional Loans |  |  |  |  |  |  |
|  | Bank of India | 8.35%(Avg.) | 31.87 | - | 6.75 | 2.38 | 9.13 |
|  | REC Loan | 10.96%(Avg.) | 166.62 | - | 24.35 | 17.94 | 42.29 |
|  | PFC Loan | 11.36%(Avg.) | 31.01 | - | 6.74 | 3.57 | 10.31 |
|  | Union Bank of India | 8.10% (Avg.) | 445.09 | 90.00 | 45.11 | 36.35 | 81.46 |
|  | JICA | 8.23%(Avg.) | 499.99 | 310.00 | 80.61 | 50.05 | 130.66 |
|  | New Loan | 8.10% (Avg.) | - | 350.00 | - | 14.17 | 14.17 |
|  | Sub-Total |  | 1174.58 | 750.00 | 163.56 | 124.46 | 288.02 |
| C | Grand Total |  | 1374.58 | 750.00 | 163.56 | 150.46 | 314.02 |

State Govt. had issued Rs.200 Cr. Non-Convertible Bonds carrying interest rate of 13% p.a. Accordingly, OPTCL has made provisions of Rs.26 Cr. every year towards interest in the books of accounts. OPTCL is not able to serve this to Govt. as the same has not been allowed by the Hon’ble Commission.

A. 2(b) Interest on Working Capital:

### As per the Regulations 8.25 OERC Regulations, 2014, Working Capital shall include

- Receivables equivalent to one month of fixed cost;

- Maintenance spares @15% of operation and maintenance expenses as specified in regulation 8.2 to regulation 8.15;

- Operation and maintenance expenses (as specified in regulation 8.2 to regulation 8.5) for one month.

As per the Regulation 8.26 of OERC Regulations, 2014, the rate of interest for working capital shall be on normative basis and shall be equal to the SBI Base Rateplus 300 basis points as on 1st January of the preceding year for which tariff is determined:

Provided that in case of STU (OPTCL) the Commission shall determine the quantum of working capital if needed depending on the cash flow position of the licensee and shall allow interest on the same.

### Accordingly, the Working Capital is estimated as Rs. 281.86 Cr. The interest on working capital for one month receivable works out to Rs. 31.43 Cr. considering interest rate of 11.15%, the details are given in Table-13 below.

Table-13

| Calculation of Interest on Working Capital |  |
| --- | --- |
| Parameters | Amount (Rs. Cr.) |
| (i) Receivable equivalent to one month of Fixed Cost | 113.32 |
| (ii) Maintenance Spares @ 15% of O&M expenses | 108.35 |
| (iii) Operation & Maintenance expenses for one month | 60.19 |
| Total Working Capital | 281.86 |
| Interest on Working Capital @ 11.15% | Rs. 31.43 Cr. |

### A. 2(c)Rebate

- As per the Regulation 8.49 of OERC Regulations, 2014, a rebate of 2% shall be allowed to the transmission licenses in case the payment is made within 2 working days. Similarly as per the Regulation 8.50,a rebate of 1% shall be allowed to the transmission licenses in case the payment is made after 2 working days and within a period of 30 days.

- Accordingly, OPTCL has projected 2% rebate amounting to Rs.26.14Cr. which is calculated based on the projected ARR for the FY 2021-22.

New Projects:

OPTCL proposes to spend Rs.1361.36Cr. during FY 2021-22towardsCapital Expenditure (CAPEX) on new projects in different streams of activities like Telecom , O&M, , IT, Civil Works and Construction. The summary of proposed CAPEX under various wings is furnished in the Table-14 below:

### Table-14

| Projected CAPEX - FY 2021-22 |  |
| --- | --- |
| Particulars | Amount(Rs. Cr.) |
| (i) Telecom Wing | 28.30 |
| (ii) Existing Assets (O&M Wing) | 55.87 |
| (iii) Information Technology (IT Wing) | 28.95 |
| (iv) Civil Wing | 18.57 |
| (v) New Transmission Projects (Construction Wing) | 1229.67 |
| Total Capital Expenditure [(i)+(ii)+(iii)+(iv)+(v)] | Rs.1361.36 Cr. |

- CAPEX FOR TELECOM RELATED PROJECTS:

In order to have a dependable, safe and effective communication system, OPTCL has implemented its own Telecommunication Network through PLCC and Optic Fibre between each grid sub-stations and generating stations as well as to SLDC, Bhubaneswar and Back up SLDC at Meramundali. The PLCC system adopted in OPTCL is generally considered to be very much economic, reliable and dependable for voice, data and carrier back-up protection facility Due to limitation of frequency band in PLCC equipment and gradual complex grid system, communication for all the sub-stations of OPTCL above 132kV voltage level is now planned through OPGW connectivity only. In the meantime, large numbers of industries are coming up in Odisha either having CGP or planning to draw power from OPTCL’s network. For smooth management of real time operation of power system by SLDC, the industries are required to be integrated with OPTCL grid system as per the provisions of OGC Regulations by providing necessary voice and data communication to SLDC. Keeping in view of all such aspects, constant endeavor has been made to renovate and upgrade the existing communication system by laying OPGW. Looking at the above aspects, the CAPEX proposal for the FY 2020-21 in respect of Telecommunication work is summarized as follows:

1. Provision of Optical fiber based communication through OPGW for providing reliable communication to all Grid s/s with PSDF support:

A total of 2289 KM of OPGW will be laid in different line sectionscovering 56 Grid s/s in OPTCL with PSDF support. LOA amounting to Rs 58.21 Cr. has been issued on 28.02.2019. PSDF has sanctioned a grant of Rs 25.61 Cr. As per the expenditure plan, an amount of Rs 12.21 Cr shall be required for FY 2021-22.

2. Provision of Digital Tele-protection coupler (DTPC) in all 220kV and higher KV lines of OPTCL.

For protection of EHV lines (220kV and above voltage level) estimate was prepared towards supply and commissioning of 634 nos of DTPC to be interfaced with  existing as well as upcoming lines of OPTCL ( As per data available till 2021-2022) through Optical Line terminal Equipment (OLTE). However, due to austerity measures, OPTCL management advised to consider only few important lines for DTPC. Accordingly, a revised scheme was prepared for 225 nos of DTPC at an estimated value of Rs 8.09 Cr. As per the expenditure plan, an amount of Rs. 04.09 Cr shall be required for FY 2021-22.

- 3.  Implementation of OPGW communication scheme for upcoming line sections of OPTCL.

(Considering a tentative 400 Ckt km will be added every year)

Addition of new lines to the existing transmission lines of OPTCL is a continuous phenomena. OPTCL has taken a suo-motu decision to go for Optical ground Wire (OPGW) instead of normal earth wire in all its upcoming lines. Therefore, a provision of Rs. 12.00 Cr. has been kept for OPGW along with its terminal equipment for FY 2021-22.

Accordingly provision of Rs.28.30Cr. is proposed for FY 2021-22 towards CAPEX pertaining to Telecommunication Wing, the details of which are shown in the Table-15 below:

Table -15

| CAPEX-TELECOM PROJECTS-FY 2021-22 |  |  |
| --- | --- | --- |
| Sl. No. | ITEM | Amount (Rs Cr.) |
| 1 | Provision of Optical Fibre based communication through OPGW for providing reliable communication to all Grid s/s in OPTCL with PSDF support” | 12.21 |
| 2 | Provision of Digital Tele-protection coupler (DTPC) in all 220kV and higher kV lines of OPTCL. | 4.09 |
| 3 | Implementation of OPGW communication scheme for upcoming line sections of OPTCL. | 12.00 |
|  | TOTAL | Rs. 28.30 Cr. |

- CAPEX FOR EXISTING ASSETS (O&M WING):

- An amount of Rs.55.87Cr. has been proposed for the FY 2021-22under CAPEX to meet the future load growth basically by way of transformer capacity augmentation / sub-station capacity enhancement by installing additional transformers in the existing grid sub-stations &to mitigate the over voltage problems by replacement of ACSR LYNX Conductor with ACSR Panther Conductor. Special Projection of Rs. 15.00 Cr. for Sub-Station Automation System (SAS) have been made.The details of item wise CAPEX for O&M related projects are shown in theTable-16 below.

- Table-16

| CAPEX - O&M PROJECTS - FY2021-22 |  |  |  |  |
| --- | --- | --- | --- | --- |
| SL NO. | DESCRIPTION | UNIT RATE (CR.) | Quantity | AMOUNT (CR.) |
| 1 | Procurement of Transformers with cost of erection |  |  |  |
| (I) | 160MVA, 220/132 kV (TARKERA,THERUVALI) | 5.01 | 2 | 10.02 |
| (II) | 40MVA, 132/33 kV (ROURKELA) | 2.22 | 1 | 2.22 |
| (III) | 20MVA, 132/33 kV (KHARAGPRASAD, RAYAGADA, MARSHAGHAI) | 1.67 | 3 | 5.01 |
| iv) | 20MVA, 132/33 kV (MARSHAGHAI) | 1.40 | 1 | 1.40 |
| v) | Erection cost of all above 07 no. of transformers | 10% of procurment cost | 7 | 1.86 |
| 2 | Sub-station Automation |  |  |  |
| (I) | At Chainpal, Dhenkanal, Ranasinghpur, Khajuriakata , Bhubaneswar, Sunabeda,Sadeipali, Laxmipur, Narendrapur, Rayagada Grid Sub-Station. |  | 10 | 15.00 |
| 3 | Replacement of conductors |  |  |  |
| (I) | 132kV Chatrapur- Ganjam SC line |  |  | 0.85 |
| (II) | 132kV Burla (PH) - Boinda SC line- Ganjam SC Line |  |  | 8.74 |
| (III) | 220kV Therubali- Bhanjanagar DC Ckt.II |  |  | 10.77 |
| TOTAL |  |  |  | Rs. 55.87 Cr. |

- (iii) CAPEX FOR INFORMATION TECHNOLOGY (IT) RELATED PROJECTS:

Provision of Rs. 28.95 Cr.is made for FY 2021-22 towards CAPEX for infrastructure development of IT, new Implementation of ERP, automation related work and also for new upcoming Projects etc. as given in the Table-17 below:

Table-17

| CAPEX - IT PROJECTS FOR FY 2021-22 |  |  |
| --- | --- | --- |
| Sl. No. | Project Description | Amount (Rs. Cr.) |
| 1 | End-User IT Systems | 2.50 |
| 2 | Networking Equipments | 5.866 |
| 3 | GIS | 0.579 |
| 4 | Smart Grid Initiatives (AMI) | 0.50 |
| 5 | CCTV & VC | 3.50 |
| 6 | i) intelligent-ERP | 10.00 |
|  | ii) Work Automation | 1.00 |
|  | iii) Big Data , Data Analysis, Business Intelligence (BI) & Data Science | 5.00 |
|  | TOTAL | Rs. 28.95 Cr. |

- (iv) CAPEX FOR CIVIL WORKS:

OPTCL proposes CAPEX of Rs. 18.57Cr. relating to Civil Works during FY 2021-22for new upcoming projects which have been detailed in Table-18 below.

Table-18

| CAPEX - CIVIL WORKS PROJECTS - FY 2021-22 |  |  |
| --- | --- | --- |
| Sl. No. | Description of Works | Amount (Rs. Cr.) |
| 1 | Construction of multi-storied office complexes of OPTCL | 13.87 |
| 2 | Construction of approach roads inside various grid sub-stations of OPTCL | 1.9 |
| 3 | Construction of Compound wall inside various grid sub-stations of OPTCL | 0.8 |
| 4 | Construction of Store, Vehicle Sheds and open stockyards inside various grid sub-stations of OPTCL | 1.3 |
| 5 | Construction of retiring rooms, watch tower, control room extensions, minor office buildings inside various grid sub-stations of OPTCL | 0.7 |
|  | TOTAL | Rs. 18.57 Cr. |

- (v) CAPEX FOR NEW TRANSMISSION PROJECTS (CONSTRUCTION WING): (F-2)

It has been planned to spend an amount of Rs.1229.67Cr. on transmission related infrastructure during FY 2021-22 to increase the overall system capacity and to strengthen the transmission system network of the state, the details of which are shown in the Table-19 below.

Table-19

| CAPEX-NEW-TRANSMISSION PROJECTS FY 2021-22 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of the Project/Scheme | Expenditure during FY 2020-21 |  |  | Projected expenditure FY 2021-22 |
| A | ONGOING SCHEME | Actual For First Six Months | Projection For Balance Six Months | Total |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | 132kV Bhadrak-AnandpurS/C line |  | 2.80 | 2.80 | 2.00 |
| 2 | 132/33kV AgarpadaS/S with line | 0.06 | 10.01 | 10.07 |  |
| 3 | 220/132kV Atri (Karadagadia) S/Swith line | 2.40 | 1.60 | 4.00 |  |
| 4 | 220/132/33kV PratapsasanS/S with line | 4.00 | 4.00 | 8.00 | 6.65 |
| 5 | 3rd ICT at 400/220kV New Duburi S/S | 1.02 | 4.80 | 5.82 |  |
| 6 | 2X20MVA, 132/33kV R.UdayagiriS/Swith line | 2.13 | 0.64 | 2.77 |  |
| 7 | 132/33kV Brajabiharipur, Cuttack with LILO. | 3.28 | 7.15 | 10.43 |  |
| 8 | 220/33kV BaligudaS/S with 220kV KesingaBaliguda DC line | 1.60 | 3.40 | 5.00 | 0.68 |
| 9 | 132/33kV Satasankha(Puri) S/S with line | 2.50 | 0.50 | 3.00 |  |
| 10 | 132/33kV Betanati S/S with line |  | 8.46 | 8.46 | 3.00 |
| 11 | 220/132/33kV AskaS/S with line | 1.42 | 0.10 | 1.52 |  |
| 12 | 220/132/33kV GodaChhak S/S with line |  | 2.15 | 2.15 | 2.00 |
| 13 | 132/33kV Unit-8 (BBSR)GIS S/S with line | - | 6.04 | 6.04 |  |
| 14 | 132/33kV Mancheswar GIS S/S with line | 1.20 | 7.39 | 8.59 |  |
| 15 | 132kV Phulbani-Boudh S/C line | 1.42 | 2.32 | 3.74 | 3.00 |
| 16 | 132kV DC line from 132/33kV GIS Chandbali to 220/132/33kV Grid sub-station, Balimunda, Dhamara. | 0.89 | 2.70 | 3.59 | 6.06 |
| 17 | 220kV Pandiabil-Pratapsasan D/C line | 0.31 | 8.58 | 8.89 | 2.00 |
| 18 | 220/132/33kV Balimunda, Dhamra S/S with line (Revival) | 14.82 | 25.18 | 40.00 | 25.25 |
| 19 | 132/33kV G.Udaygiri S/S with line | 7.24 | 21.46 | 28.70 |  |
| 20 | 400/220kV GIS at Meramundali-B | 15.68 | 22.85 | 38.53 | 15.87 |
| 21 | 220/33kV S/S at Dasapalla with line | 4.18 | 8.00 | 12.18 | 23.19 |
| 22 | 220/132/33kV S/S at Kiakatawith line | 8.64 | 21.36 | 30.00 | 39.00 |
| 23 | 132/33kV S/S at Rajnagar with line | 3.39 | 12.76 | 16.15 | 10.50 |
| 24 | 132kV Kuchei-Bangiriposi S/C line | 1.15 | 4.69 | 5.84 | 2.00 |
| 25 | 220/33kV S/S at Telkoi with line | 6.15 | 14.61 | 20.76 | 12.42 |
| 26 | 132kV Aska-Digapahandi D/C line | 2.68 | 1.32 | 4.00 |  |
| 27 | 220kV Theruvali-Narendrapur to Aska line | 6.06 | 10.56 | 16.62 | 10.15 |
| 28 | 132kV Parlakhemundi -R.Udaygiri D/C line | 2.34 | 7.66 | 10.00 | 14.01 |
| 29 | 132/33kV S/S at Gondiawith line | 3.97 | 13.13 | 17.10 | 6.11 |
| 30 | 220/132/33kV S/S at Turumunga with line | 7.33 | 21.67 | 29.00 | 4.00 |
| 31 | 132/33kV S/S at Chandipur with line | 1.82 | 11.04 | 12.86 | 9.65 |
| 32 | 132/33kV S/S at Bahugramwith line | 8.05 | 5.41 | 13.46 | 10.50 |
| 33 | 220/33kV S/S at Palei, Balichandrapur with line | 1.36 | 4.64 | 6.00 | 32.36 |
| 34 | Diversion of one no. 400kV and 4nos 220kV line with 220kV LILO arrangement for connectivity with 400/220kV GIS Meramundali-B. | 1.27 | 10.31 | 11.58 | 22.00 |
| 35 | 132/33kV GIS atHinjuli | 5.67 | 15.14 | 20.81 | 5.00 |
| 36 | 220/33kV GIS atGodisahi | 0.65 | 18.59 | 19.24 | 14.43 |
| 37 | 220/33kV GIS at Gothapatna (Kantabada) | 6.62 | 12.62 | 19.24 | 14.43 |
| 38 | 132/33kV GIS at Nayapalli | 0.14 | 19.86 | 20.00 | 47.88 |
| 39 | 132/33kV GIS at Satyanagar | 2.21 | 10.79 | 13.00 | 40.75 |
| 40 | 132/33kV GIS at Badagada | 0.55 | 10.45 | 11.00 | 40.75 |
| 41 | 220/132/33kV GIS at Balianata | 0.65 | 55.23 | 55.88 | 41.92 |
| 42 | Other works | 1.85 |  | 1.85 |  |
| 43 | Restoration of 400kV IB-Meramundali DC line from Loc No. 124/2 (Bhusan) to 149/0 (OPGC). Est No. 11/2015-16. |  | 0.50 | 0.50 | - |
| 44 | 220/132/33kV S/s at Lapanga. |  | 0.29 | 0.29 |  |
| 45 | 220/132/33kV S/s at Kuanrmunda | 4.52 | 12.84 | 17.36 | 15.00 |
| 46 | 400/220kV S/s at Lapanga. | 0.68 | 0.19 | 0.87 |  |
| 47 | 132/33kV S/s at Maneswar |  | 12.67 | 12.67 |  |
| 48 | 132/33kV S/s at Hirakud | 4.41 | 6.74 | 11.15 | 14.42 |
| 49 | 220/132/33 kV Grid Sub-Station atBamra. (50% Deposit Work) | 10.54 | 9.59 | 20.13 | 15.16 |
| 50 | 132/33kV Pottangi S/S with line | 0.13 | 1.60 | 1.73 |  |
| 51 | 132kV Umerkote S/S with line |  | 1.30 | 1.30 |  |
| 52 | 132/33kV Podagada S/S with line | 0.02 | 1.40 | 1.42 |  |
| 53 | 220kV Jayanagar- PGCIL D/C line with 2 nos. 220kV feeder bays | 0.09 | 0.50 | 0.59 |  |
| 54 | Conversion of existing Jaynagar- SunabedaS/C line to D/C line | 0.21 | 7.38 | 7.59 |  |
| 55 | 220/33kV Malkanagiri S/S with line |  | 3.00 | 3.00 |  |
| 56 | 132/33kV Boriguma S/S with LILO |  | 8.59 | 8.59 | 10.20 |
| 57 | 220/33kV Kalimela S/S with line | 2.82 | 3.00 | 5.82 |  |
| 58 | 132kV Jayanagar -Tentulikhunti S/C line | 1.59 | 1.50 | 3.09 |  |
| 59 | 220/33kV Govindpalli S/S with line | 2.83 | 3.00 | 5.83 |  |
| 60 | 132kVPodagada-PottangiS/C line | 1.44 | 4.50 | 5.94 |  |
| 61 | 220/33kV S/s atKashipur | - | 1.27 | 1.27 | - |
| 62 | 220/132/33kV S/s at Jayapatna | 1.49 | 4.51 | 6.00 | 5.00 |
| 63 | Installation of 20 MVA 220/33kV at 220/33kV Grid S/SLaxmipur. | - | 1.40 | 1.40 |  |
| 64 | 220/132/33kV Grid S/s at Gunupur | 7.49 | 22.51 | 30.00 | 20.00 |
| 65 | 220/132kV KesingaS/S with line | 1.03 | 12.00 | 13.03 | 2.00 |
| 66 | 220/132/33kV Baragarh(New) S/S | - | 0.30 | 0.30 | - |
| 67 | 132/33kV Kantabanji S/S withline | 0.03 | - | 0.03 | - |
| 68 | 132kV Biramaharajapur S/S with line | 2.34 | 12.29 | 14.63 | 6.00 |
| 69 | 132kV Junagarh-KesingaD/C line | 0.15 | 0.20 | 0.35 | - |
| 70 | 132kV Nuapada-Padampur line | 1.03 | 10.00 | 11.03 | 5.00 |
| 71 | 132/33kV Nabarangpur S/S | 3.78 | 17.39 | 21.17 | 1.50 |
| 72 | 132/33kV Lamataput S/S | 4.42 | 6.26 | 10.68 | 15.00 |
| 73 | 132kV DC Line From Baner to Jayapatna | 0.19 | 1.31 | 1.50 |  |
| 74 | 132kV DC Line on DC tower from Jaipatna (Baner) to Junagarh | 1.40 | 8.60 | 10.00 | 18.62 |
| 75 | 220kV LILO of Bolangir-Kesinga line to 400/220kV Madhiapali | - | 0.50 | 0.50 | - |
| 76 | 132kV LILO of Bargarh-Barpali line to 220/132/33kV Bargarh | - | 0.90 | 0.90 |  |
| 77 | 132/33kV BhatliS/S with line | 3.90 | 20.00 | 23.90 | 12.22 |
| 78 | 220/33 kV S/s at Deogarh | 4.20 | 5.54 | 9.74 | 2.28 |
| 79 | 220/33kV Grid S/s at Lephripada | 2.38 | 6.60 | 8.98 | 6.45 |
| 80 | 132/33kV S/s at Lakhanpur | 2.72 | 8.25 | 10.97 | 3.51 |
| 81 | 132/33kV Thuapalli S/S with line | 3.28 | 16.00 | 19.28 | 4.00 |
| 82 | 132 KV D/C line from Lapanga to Brajarajnagar | 0.21 | 2.57 | 2.78 | 3.85 |
|  | TOTAL OF A | 206.01 | 668.96 | 874.97 | 627.77 |
| B | NEW PROJECTS |  |  |  |  |
| 1 | 400/220kV GIS at Ramakrushnapur |  |  |  | 36.80 |
| 2 | 400/220kV S/S at Khuntuni |  |  |  | 80.00 |
| 3 | 220/132kV GIS at Dhenkanal-B |  |  |  | 30.00 |
| 4 | 220/132/33kV GIS at Kuakhia | - |  |  | 23.00 |
| 5 | 220kV LILO of 220kV TTPS-Joda to 220/33kV GIS Kekonjhar | 0.62 | 1.38 | 2.00 | 18.00 |
| 6 | 400/220/33kV GIS at Paradeep with line |  |  |  | 80.00 |
| 7 | 400kV & 220kV LILO line to 400/220kV GIS atRamakrishnapur, 220kV & 132kV LILO line to GIS at Kuakhia& 220kV LILO line to GIS atDhenkanal-B |  |  |  | 36.88 |
| 8 | 400/220kV GIS S/s atNarendrapur |  |  |  | 80.00 |
| 9 | 220/132kV S/S at Nuapada |  |  |  | 35.59 |
| 10 | 132kV line 2nd Circuit from Bhadrak to Anandpur |  |  |  | 3.00 |
| 11 | 400kV DC line from 400/220kVNarendrapur S/s to 400kV S/s of PGCIL at Jeyporewith LILO at Theruvali with Bay Extn. |  |  |  | 60.00 |
| 12 | 132/33kV S/s at Brundabahal |  |  |  | 30.00 |
| 13 | 132/33kV S/S Tarbha |  |  |  | 20.00 |
| 14 | 132kV UG cabling fromArugul- Ransinghpur |  |  |  | 14.63 |
| 15 | 220kV Balimela- Jayanagr LILO at Govindpalli |  |  |  | 1.51 |
| 16 | 132kV SC on DC tower Kantabanji- patnagarh |  |  |  | 5.69 |
| 17 | 132kV LILO Budipadar-Sundargarh at Bamra |  |  |  | 5.69 |
| 18 | 132kV SC on DC tower Ghens-Padamapur |  |  |  | 4.55 |
| 19 | 132kV LILO Chhend -Nuagaonat Kuarnrmunda |  |  |  | 1.72 |
|  | TOTAL OF B | 0.62 | 1.38 | 2.00 | 567.06 |
| C | DEPOSIT WORK |  |  |  |  |
| 1 | RTSS at Kendrapara | 0.69 | 0.31 | 1.00 |  |
| 2 | RTSS at SIJU | 0.85 | 0.63 | 1.48 |  |
| 3 | RTSS at Charbatia | 0.34 | 3.66 | 4.00 |  |
| 4 | RTSS at Sukinda | 0.38 | 1.62 | 2.00 |  |
| 5 | RTSS at Dhanmandal | 0.99 | 3.01 | 4.00 |  |
| 6 | Kharasrota(knpd-Marsh)-9 Loc | 1.26 | 2.74 | 4.00 |  |
| 7 | Kharasrota (NWW)-7 Loc | 0.86 | 3.14 | 4.00 |  |
| 8 | 220kV 2 phase line on DC tower from Bonai to RTSS Bimalagarh | 0.09 | 2.25 | 2.34 | 0.16 |
| 9 | 132kV DC line(4 conductor) from Brajarajnagar to RTSS at Belpahar | 0.32 | 3.96 | 4.28 | 0.29 |
| 10 | 132 kV DC line(2 conductor) from Brajarajnagar to RTSS at Kechhobahal | 0.86 | 1.00 | 1.86 |  |
| 11 | 132kV S/c (2 Conductor) line from Lapanga to RTSS Rengali | 1.10 | 1.00 | 2.10 |  |
| 12 | 132kV S/c (2 Conductor) line from Maneswar to RTSS Maneswar |  | 2.79 | 2.79 |  |
| 13 | Diversion of 132kV D/C Line from NSPCL, Rourkela to MSDS-V, SAIL, RSP | 0.08 | 0.68 | 0.76 |  |
| 14 | 220/132/33kV Grid S/s atBamra. (50% Deposit Work) | 10.54 | 13.59 | 24.13 | 14.16 |
| 15 | 132kV D/c (4 conductor) line from Bamra to RTSS, Dhutra | 3.23 | 9.73 | 12.96 | 6.49 |
| 16 | 132kV D/C (4 Conductor) line from Bamra to RTSS, Garposh | 0.92 | 3.91 | 4.83 | 2.61 |
| 17 | 132kV D/C (4 Conductor) line from Bamra to RTSS, Bamra | 0.08 | 0.23 | 0.31 | 0.93 |
| 18 | 132kV SC Line (Two phase) from Muniguda to RTSS at Bisamcuttack | 0.32 | 0.18 | 0.50 | - |
| 19 | 220kV SC (2phase) line from Therubalito RTSS Bhalumaska | 0.15 | 1.35 | 1.50 | 2.00 |
| 20 | 132kV SC ( 2 phase) Traction line from Bhawanipatna to RTSS Lanjigarh | 0.51 | 1.49 | 2.00 | - |
| 21 | 220kV Traction line from Laxmipur to RTSS Laxmipur. | 1.30 | 4.43 | 5.73 | 2.00 |
| 22 | RTSS at Kesinga | 0.60 | - | 0.60 | - |
| 23 | RTSS at Nuapada | 0.44 | 0.30 | 0.74 | - |
| 24 | RTSS at Dunguripali | - | 0.50 | 0.50 | - |
| 25 | RTSS at Deogaon | 0.60 | 0.80 | 1.40 | 0.50 |
| 26 | RTSS at Godbhaga | - | 2.00 | 2.00 | 1.00 |
| 27 | 132kV 2Phase line from Bhawanipatna to Bhawanipatna RTSS | - | 2.30 | 2.30 | 0.70 |
| 28 | 132kV 2 Phase line from Gunupur to Palasingh RTSS | - | 6.00 | 6.00 | 4.00 |
|  | TOTAL of C | 26.50 | 73.60 | 100.10 | 34.84 |
| D | TOTAL -Construction) D = A+B+C | 233.14 | 743.93 | 977.07 | 1,229.67 |

### A. 3)Depreciation: (F-17)

As per the Regulation 8.38 of OERC Regulations, 2014 for STU (OPTCL), depreciation shall be calculated for each year of the control period, on the original book value of the assets considering applicable depreciation rate as determined by the Commission from time to time.

Further, as per the Regulation 8.34,  thedepreciation shall be calculated annually based on Straight Line Method and at rates as specified in Appendix-A of these regulations.

The Gross Fixed Assets at the beginning of the FY 2021-22 is estimated as Rs. 7,804.29 Cr.(Rs. 6,560.81 Cr. as on 01.04.20+Rs.1,243.48 Cr. projected addition during FY 2020-21).For the FY 2021-22 the addition to fixed asset is projected as Rs. 1,829.47 Cr. For 2021-22, Depreciation is estimated as Rs.279.07Cr.which includes Rs.1.85 Cr. towards Amortisation of lease hold assets and Rs. 2.57 Cr. towards amortisation of intangible assets. The detailed Statement of Fixed Assets and block-wise computation of depreciation is shown in Table-20below:

Table-20

(Rs. Cr.)

| Transmission Assets | OERC Depreciation Rate as per Regulations, 2014 | Gross Fixed Assets as on 01.04.2021 | Addition | Depreciation |
| --- | --- | --- | --- | --- |
| Free Hold Land |  | 58.95 | 10.18 |  |
| Lease Hold Land |  | 57.85 | 9.99 | 1.85 |
| Buildings | 3.34% | 144.59 | 24.96 | 5.04 |
| Electrical Installation |  | 9.30 | 1.61 | 0.41 |
| Plant and Machinery | 3.34% | 82.17 | 14.19 | 2.64 |
| (Other Civil Work) |  |  |  |  |
| Plant and Machinery | 5.28% | 4,207.78 | 726.53 | 164.53 |
| Plant and Machinery (By Beneficiary) | 0.00% | 361.85 | 544.44 |  |
| Plant and Machinery: | 5.28% | 2,808.87 | 484.99 | 96.99 |
| (Lines, Cables & Network) |  |  |  |  |
| Vehicles | 9.50% | 2.85 | 0.49 | 0.16 |
| Furniture, Fixture | 6.33% | 8.70 | 1.50 | 0.49 |
| Office Equipment& Others | 6.33% | 50.58 | 8.73 | 4.39 |
| Capital stores and spares |  | 10.79 | 1.86 | - |
| Grand Total |  | 7,804.29 | 1,829.47 | 276.50 |

It may be noted that OPTCL has acquired lands for its sub-stations from the State Govt. on lease. Accordingly OPTCL has to pay the lease rent to Govt. For the FY 2019-20, OPTCL recognised Rs.1.85 Cr. towards amortisation of leasehold assets. Besides, OPTCL proposesRs.2.57 Cr.for the FY 2020-21 in addition to depreciation towards amortisation of Intangible assets.

In view of the above, Hon’ble Commission may be pleased to allowRs. 279.07 Cr. towards Depreciation and amortisation expense for the FY 2021-22 in order to enable OPTCL to repay the loan availed for CAPEX in time.The detailed computation of depreciation is shown in F-17.

### 4) RETURN ON EQUITY: (F-9)

- As per the Regulations 8.28 & 8.29 of OERC Regulations, 2014, STU (OPTCL) shall be allowed a Return on Equity Capital in rupee terms at the rate of 15.5% per annum (post tax), on the amount of equity capital base as determined by the Commission. This rate of return needs to be grossed up with the normal/applicable tax rate.

- At the time of de-merger of GRIDCO effective from 01.04.2005, the equity share capital of OPTCL was Rs.60.07 Cr. leaving the balance equity share capital with GRIDCO. Through infusion of additional capital by the state government, the paid up equity capital of OPTCL has increased to Rs. 859.77 Cr. as on 31.03.2020 as per the Audited Account.

- Government of Odisha has committed to provide funds of Rs. 250Cr. as equity over the five year period FY 2017-18 to FY 2021-22 i.e. Rs.50Cr.annually. During the current year OPTCL has already received Rs. 50 Cr. from theState Govt. towards the scheme Share Capital Investment to OPTCL. The total Equity Capital as on 31.03.2021 will be Rs. 909.77 Cr.

- Regarding equity of Rs.60.07 Cr. inherited by OPTCL at the time of demerger of GRIDCO into GRIDCO and OPTCL, the Hon’bleCommission vide Para 292 of the OPTCL tariff order for FY 2009-10 disallowed Return on Equity on the above amount. Hence, this amount is not included inthe present application for computation ofRoE.

- The sanction order and date of Govt. fund is given in table below:

- Table No-21

| Sl. No. | Sanction Order No. and Date | Amount (Rs. Cr.) |
| --- | --- | --- |
| 1 | 1.R&R-I-01/2009-3560 dt.25.03.09 | 23.04 |
| 2 | 2.R&R-I-01/2009-2003 dt.24.02.09 | 0.01 |
| 3 | 3.R&R-I-01/2009-9464 dt.11.09.09 | 5.00 |
| 4 | 4.R&R-I-01/2009-4826 dt.01.06.10 | 20.00 |
| 5 | 5.R&R-I/73/2010-2438 dt.23.03.2011 | 51.95 |
| 6 | 6.R&R-6/12-685 dt.31.01.2012 | 1.00 |
| 7 | 7.R&R-6/12-690 dt.31.01.2012 | 39.00 |
| 8 | 8.R&R-6/12-695 dt.31.01.2012 | 3.00 |
| 9 | 9.R&R-6/12-629 dt.22.01.2013 | 25.76 |
| 10 | 10.R&R-6/12-634 dt.22.01.2013 | 16.60 |
| 11 | 11.R&R-6/12-624 dt.22.01.2013 | 7.64 |
| 12 | 12.R&R-6/12-5693 dt.18.07.2013 | 29.19 |
| 13 | R&R-6/12-5698 dt.18.07.2013 | 11.97 |
| 14 | R&R-6/12-5703 dt.18.07.2013 | 8.84 |
| 15 | R&R-69/14-10445 dt.29.12.2014 | 10.50 |
| 16 | R&R-69/14-10450 dt.29.12.2014 | 27.50 |
| 17 | R&R-69/14-10455 dt.29.12.2014 | 12.00 |
| 18 | R&R-69/14-6823 dt.06.08.2015 | 19.68 |
| 19 | R&R-69/14-6818 dt.06.08.2015 | 17.22 |
| 20 | R&R-69/14-6813 dt.06.08.2015 | 20.03 |
| 21 | BT(P)-15/15-10291 dt.21.12.2015 | 0.07 |
| 22 | R&R-69/14-5364 dt.18.7.2016 | 10.00 |
| 23 | R&R-69/14-5369 dt.18.7.2016 | 20.00 |
| 24 | R&R-69/14-5374 dt.18.7.2016 | 20.00 |
| 25 | BT(P)-04/2018/En-1786 dt. 26.02.18 | 15.00 |
| 26 | BT(P)-04/2018/En-1791 dt. 26.02.18 | 20.00 |
| 27 | BT(P)-04/2018/En-1796 dt. 26.02.18 | 15.00 |
| 28 | R&R -54/2015/En-5458 dt. 23.06.15 | 20.00 |
| 29 | R&R -54/2015/En-737 dt. 28.01.16 | 10.00 |
| 30 | R&R -54/2015/En-4348 dt. 07.06.16 | 20.00 |
| 31 | R&R -54/2015/En-466 dt. 17.01.17 | 60.00 |
| 32 | R&R -17/2017/En-2895 dt. 22.04.17 | 20.00 |
| 33 | R&R -17/2017/En-10216 dt. 27.12.17 | 50.00 |
| 34 | R&R -40/2018/En-3902 dt.28.04.2018 | 15.00 |
| 35 | R&R -40/2018/En-4632 dt.24.05.2018 | 40.00 |
| 36 | BT(P)-04/2018(pt)-10432/En dt. 19.12.2018 | 15.00 |
| 37 | BT(P)-04/2018(pt)-10439/En dt. 19.12.2018 | 15.00 |
| 38 | BT(P)-04/2018(pt)-10446/En dt. 19.12.2018 | 15.00 |
| 39 | R&R-40/2019-5100/En dt. 27-06-2019 | 3.76 |
| 40 | R&R-40/2019-6530/En dt. 06-08-2019 | 11.03 |
| 41 | ENG-BUD-BUD-0009-2019/2703/En dt.27.02.20 | 55.00 |
| 41 | ENG-BUD-BUD-0009-2019/9013/En dt.13.10.20 | 50.00 |
|  | Total | 849.79 |

- Accordingly, OPTCL proposes Return on Equity (RoE) of Rs.131.70 Cr.for FY 2021-22@ 15.5% as per clause 8.28 of Regulations, 2014onRs.849.79Cr. (909.77 -60.07)i.e. on opening balance of FY 2021-22

### A.5)INCOME TAX

(i) As per the Regulation 8.43 of OERC Regulations, 2014, Income tax of the Transmission Licensee shall be recovered from the beneficiaries. This will exclude income tax on other income streams (non-transmission business).

(ii) Further, as per Regulation 8.44 of aforesaid Regulations, the actual assessment of income tax should take into account benefits of tax holiday, and the credit for carry forward losses applicable as per the provisions of the Income Tax Act, 1961 shall be passed on to the consumers.

- As per the Audited Accounts for the FY 2018-19, OPTCL has made provision of Rs.8.15 Cr. as Income Tax. The same amount of Rs.8.15 Cr.isproposedforFY 2021-22. However, difference if any, as per the Regulation 8.43 and 8.44, shall be adjusted during the true up exercise based on audited accounts.

- TRANSMISSION COST

- Considering the proposed cost / expenses under different heads, the Transmission Cost of OPTCL for FY 2021-22is worked out as Rs.1349.27Cr. Details are shown in the Table- 22 below:

- Table-22

| TRANSMISSION COST FOR FY 2021-22 |  |
| --- | --- |
| Particulars | Amount (Rs. Cr.) |
| Employee Cost including Terminal Benefits | 532.73 |
| R&M Cost | 151.10 |
| A&G Cost | 38.13 |
| Expenses related to auxiliary energy consumption | 0.00 |
| Other miscellaneous expenses, statutory levies and taxes(GCC) | 0.35 |
| Sub-Total (O&M Cost) | 722.32 |
| Interest on Loan Capital | 150.46 |
| Interest on Working Capital | 31.43 |
| Rebate | 26.14 |
| Sub-Total (Interest & Financial Cost) | 208.03 |
| Depreciation& amortisation expense | 279.07 |
| Return on Equity | 131.70 |
| Income Tax | 8.15 |
| Total | Rs. 1,349.27 Cr. |

B)	OTHERS:

B.1)  INCENTIVE FOR SYSTEM AVAILABILITY:

- The Regulation 6.4 of OERC Regulations, 2014 specifies the “Operational Norm” applicable for transmission system for recovery of full annual transmission charge by the Transmission Licensee. The Normative Annual Transmission System Availability Factor (NATAF)shall be 98.50% for AC system for recovery of full Annual Transmission Charges.

As per the Regulation 6.5 of OERC Regulations, 2014, OPTCL is entitled to get incentive if the transmission system availability factor (TAFY) for the year is greater than the NATAF in per cent specified in Regulation 6.4 (as submitted above).

OPTCL has filed the calculation of TAFY for the year 2019-20 as 99.98% (page 42-81). This is in line with the method of computation of TAFY prescribed in the Appendix B of the OERC Regulations, 2014. The computation and the TAFY figure have been verified and certified by SLDC.

In accordance with the formula prescribed in Regulation 6.5, OPTCL has worked out incentive of Rs.10.62Cr. towards system availability for the year 2019-20 using approved ARR figure of Rs. 706.71 Cr. for the said year.

- Incentive =ARR (approved for 2019-20) x [(TAFY/NATAF)-1]

- = Rs. 706.71 Cr.x [(99.98/98.50)-1]

- = Rs. 706.71 Cr.x0.015025 = Rs. 10.62 Cr.

Hence, OPTCL proposesRs. 10.62 Cr.towards Incentive for System Availability to be allowed in the ARR for FY 2021-22.

- It is further submitted that the incentive approved by the Hon’ble Commission would be utilised for enhancing motivation of employees of OPTCL in the manner as would be decided by OPTCL management.

### OTHER INCOME AND COST / MISCELLANEOUS RECEIPT:

For FY 2021-22, OPTCL proposesRs.52.72 Cr. under the Miscellaneous Receipt from different sourcesas given in the Table-23 below:

| Table-23 |  |
| --- | --- |
| Source | Rs.Cr. |
| Inter-State Wheeling | 9.45 |
| Short-Term Open Access& STU Charges | 20.91 |
| Bank Interest | 16.56 |
| Supervision Charges | 1.00 |
| Other Misc. Receipts | 4.80 |
| Total | Rs. 52.72 Cr. |

Current status on revenue earnings from Supervision Charge:

Compared to earlier years, the earning from Supervision Charge is drastically reduced. The numberof applicant industriesis very less for which revenue from Supervision Charge during the balance period of FY2020-21 would not be appreciable on higher side.

Hence, in line with the trend of revenue earning during FY 2020-21, OPTCL expects the Miscellaneous Receipt of Rs. 52.72Cr. during FY 2021-22.

The summary of Aggregate Revenue Requirement (ARR) of OPTCL for FY 2021-22 is shown in the Table-24below adding all the projected expenditures as explained in foregoing paragraphs:

SUMMARY OF AGGREGATE REVENUE REQUIREMENT OF OPTCL FOR FY 2021-22

Table-24(Rs. Cr.)

| ITEMS | Proposal for OPTCL FY 2021-22 |  |
| --- | --- | --- |
| A) FIXED COST |  |  |
| 1. O&M Expenses |  | 722.32 |
| (i) Employees Cost including Terminal Benefits | 532.73 |  |
| (ii) A&G Cost | 38.13 |  |
| (iii) R&M Cost | 151.10 |  |
| (iv) Expenses related to auxiliary energy consumption | 0.00 |  |
| (v) Other misc. expenses, statutory levies and taxes (GCC) | 0.35 |  |
| 2. Interest & Financial Charges |  | 208.03 |
| (i) Interest on Loan Capital | 150.46 |  |
| (ii) Interest on Working Capital | 31.43 |  |
| (iii) Rebate | 26.14 |  |
| 3. Depreciation & amortisation expense |  | 279.07 |
| 4. Return on Equity |  | 131.70 |
| 5. Income Tax |  | 8.15 |
| Sub-Total (A) |  | 1,349.27 |
| B) Others |  |  |
| Incentive for system availability |  | 10.62 |
| Total Trans. Cost (A+B) |  | 1,359.89 |
| C) Less Misc. Receipts |  | 52.72 |
| D)ARR to be recovered from LTOA Customers i.e. OPTCL's Aggregate Revenue Requirement |  | 1,307.17 |

### TRANSMISSION LOSS:

The transmission loss is purely a technical loss and dependent on the location of generation sources, system configuration and power flow requirements at different load centres. In view of the increasing demand for power at an accelerated pace due to on-going industrialization and implementation of central & state sponsored schemes like RGGVY, DDUGJY, BGJY, 24x7 Power For All, IPDS etc. in Odisha, there will be increased flow of power in the OPTCL transmission network contributing to increased transmission loss.

OPTCL’s Transmission loss is already very low which means further reduction loss is bit difficult. However,OPTCL has been able to reduce the transmission loss year over year by commissioning a number of new transmission projects strategically and adopting innovative schemes under Master Maintenance Plan during last few years. The actual transmission loss in the OPTCL’s transmission system from April’ 20 to September’ 20 is 3.18%against Commission’s approval of 3.00% for FY 2020-21. OPTCL expects the loss level to remain around 3.20% in the current year. Accordingly,OPTCL proposes 3.15% transmission loss during FY 2021-22.

### ESTIMATION OF REVENUE RECEIPT AND DEFICIT OF ARR AT THE EXISTING TRANSMISSION CHARGE @ 25P/U

The Hon’ble Commission has accorded in-principle approval of the Long Term Demand Forecast (LTDF) for the period FY 2017-18 to FY 2026-27 videOrder dated 15.01.2019 in Case No. 47/2018. OPTCL could not file LTDF application for the period FY 2018-19 to FY 2027-28& FY 2019-20 to FY 2028-29  as NESCO and WESCO have not submitted their respective Long Term Demand forecast for the period FY 2018-19 to 2022-23 and FY 2019-20 to 2023-24.Recently the DISCOMS have communicated their respective realistic energy demand projection to GRIDCO for FY2021-22.The following table indicates Commission’s in-principle approval in Case No. 47/2018and DISCOMs’most recent projection.

Demand (MU) of DISCOMS for FY 2021-22

| Name of DISCOM | Commission's approval in LTDF order dated 15.01.2019 (MU) | DISCOMs recent projection (MU) |
| --- | --- | --- |
| TPCODL | 11142 | 8560 (977.17MW) |
| NESCO | 6520 | 5800 (662.10MW) |
| WESCO | 7465 | 8250 (941.78MW) |
| SOUTHCO | 4165 | 4070 (464.61MW) |
| TOTAL | 29292 | 26680 (3045.66MW) |

OPTCL in the present application has taken the recent realistic demand projection of all four DISCOMs26680 MU (3045.66 MW)for FY 2021-22.OPTCL envisages 200MU (22.83 MW) energy to be transacted in DISCOMs 33kV & 11kV network for which OPTCL is not entitled to receive any transmission charge as per Commission’s order. Hence, total MU to be transmitted in OPTCL network gets reduced to 26480 MU (26680-200) from the total demand projection of DISCOMs.

During FY 2021-22, OPTCL will earn revenue from the LTOA Customers in the following manner:

(i)	By charging the rate applicable on DISCOMs for wheeling of 26480 MU (3022.83 MW).

(ii)	By charging the rate applicable on LTOA customers like IMFA, NALCO& BELtowards wheeling and supply of Emergency/Back-up power of 660 MU(75.34 MW)

The revenue to be earned by OPTCL from wheeling of 27140 MU(26480+660)at the existing transmission tariff of 25 P/U will beRs. 678.50 Cr.The details of the same are given in the Table-23 below:

Table-25

| Sl. No. | Customer | Commission's approval (FY 20-21) | Energy demand (MU) as per DISCOMs estimation (FY 21-22) | Amount (Rs. Cr.) |
| --- | --- | --- | --- | --- |
| 1 | TPCODL | 9470 | 8560 | 662.00 |
| 2 | NESCO | 6570 | 5800 |  |
| 3 | WESCO | 8000 | 8250 |  |
| 4 | SOUTHCO | 4050 | 4070 |  |
| 6 | Total DISCOMs | 28090 | 26680 |  |
| 7 | Less: Drawal in 33kV & 11kV network | 200 | 200 |  |
| 8 | Energy transmitted for DISCOM | 27890 | 26480 |  |
| 9 | Wheeling to industries from CGPs& Emergency Sale to CGPs | 660 | 660 | 16.50 |
|  | Total | 28550 | 27140 | 678.50 |

Excess/Deficit of Revenue Requirement:

OPTCL will be having revenue deficit ofRs.628.67Cr. considering the ARR proposed and the revenue to be earned from wheeling of 27140MU at the existing transmission tariff of                  25 P/U, the details of which are shown in Table-24below.

Table-26

| Deficit of Revenue Requirement as per existingtransmission tariff @ 25 p/u (Rs. Cr.) |  |
| --- | --- |
| Total Aggregate Revenue Requirement | 1,307.17 |
| Less: Revenue earned from Long Term Open Access Customer | 678.50 |
| Deficit of Revenue Requirement for FY 2021-22at the existing rate @ 25 p/u | -628.67 |

Proposal for revision of Transmission Tariff/ Wheeling Charges

OPTCL, with its present transmission tariff, cannot meet its proposed revenue requirement at the existing transmission tariff of 25 p/u and will suffer revenue deficit as mentioned above. In order to meet the deficit, OPTCL submits this application before Hon’ble Commission with humble request to approve its proposed ARR, the Transmission Tariff and Transmission Loss for   FY 2021-22to be effected from 01.04.2021.

OPEN ACCESS CHARGES:

The new regulation “OERC (Terms and conditions of Intra state open access) Regulations 2020”has been published by OERC vide Odisha Gazette on dated 02.11.2020in whichPara 20 (2)of Chapter 5 specifies the details of Open Access Chargesas depicted here under:

For use of intra-State transmission system:

Transmission charges payable to STU/ transmission licensee by an open access customer for usage of their system shall be determined as under:

Transmission Charges = ATC/(ALSTX365) (in INR/MW-day)

Where,

ATC= Annual Transmission Charges determined by the Commission for the State transmission system for the concerned year.

ALST= Average load projected to be served by the State transmission system in concerned year.

Provided that transmission charges shall be payable on the basis of contracted capacity in case of long-term and medium-term open access consumers and on the basis of scheduled load in case of short-term open access consumers.For Open Access for a part of a day, the transmission charges shall be payable on pro-rata basis;

Table-27

| ABSTRACT OF OA CHARGES PROPOSED BY OPTCL FOR FY 2021-22 |  |
| --- | --- |
| DETAILS | In Rs. Per Unit approach |
| Net Aggregate Revenue Requirement (Rs. Cr.) | 1307.17 |
| Proposed Energy to be transmitted in OPTCL Network (MU) | 27140 |
| Power Flow (Equivalent of 27140 MU) in MWs | 3098.17 |
| Proposed Transmission Tariff (Rs./MW-Day) | 11559.35 |

REACTIVE ENERGY CHARGES:

- The Hon’ble Commission in Para 16 (page 5) of the order dated 05.02.2019 in Case No. 50/2017 has inter alia viewed that the provisional reactive energy charges of 3 paise/KVArH as allowed in ARR 2018-19 order continue for time being till a final justification is submitted by OPTCL in consultation with the stakeholders. Accordingly, OPTCL is holding consultation with the stakeholders at regular intervals and some more time is required in this regard.

In view of the above, OPTCL proposes that 3paise/KVARh may be approved provisionally as Reactive Energy Charges FY 2021-22.

- Levy of Grid Support Charges (GSC):

- An Application has been filed before Hon’ble Commission OERC on 23.09.2020 for determination and approval for levy of Grid Support Charges for industries having Captive Generating / Cogeneration plants and running in parallel with the Grids of OPTCL. This will generate additional revenue for OPTCL. Hon’ble OERC has issued a notice & listed the above mentioned application as Case No. 52/2020. The first date of hearing was scheduled on 17.11.2020. The Secretary, OERC vide public notice dated18.11.2020 has invited participation from various stakeholders in a Public hearing to be held on 22.12.2020 at 11:00 AM through Video Conferencing for disposal of the same.

TRUE UP APPLICATION FOR FY 2019-20:

As per Regulation 7.1 (Truing up of Capital Expenditure and Tariff) of OERC Regulations, 2014, OPTCL may file an application each year for truing up along with the tariff petition filed for the next tariff period and the Commission shall carry out truing up exercise along with the tariff petition filed for the next tariff period.

It is humbly submitted that in the meantimethe annual accounts for FY 2019-20 has been duly audited. OPTCL will file the true up application before the Hon’ble Commission for FY 2019-20shortly.

# PRAYER

# Based on the facts and submissions made in the foregoing paragraphs, OPTCL humbly prays before Hon’ble Commission to kindly approve the proposed ARR and Transmission Tariff for               FY 2021-22as under:

# (i)	Aggregate Revenue Requirement ofRs.1307.17Cr.

# Recovery of Transmission Charge@ 11559.35Rs./MW-Day

# Transmission Loss for wheeling as 3.15%on energy drawl

# for which the applicant as in duty bound shall ever pray.

BY THE APPLICANT

THROUGH

Bhubaneswar

December 01, 2020

GM (RT&C), OPTCL

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.---------										Filing No. 1

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2021-22under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.								…Applicant

Affidavit verifying the Application

I, Pradipta Kumar Nanda, son of Late Premananda Nanda, aged about 57 years, residing in Bhubaneswar do solemnly affirm and say as follows:

- That I am the General Manager, Regulation, Tariff and Commercial Wing, OPTCL, the Applicant and have been duly authorized by the said Applicant to make this affidavit on its behalf.

- That the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

December 01, 2020

DEPONENT

Proposed Schedule of Transmission Charge of OPTCL for FY 2021-22

Transmission Charge

This Charge is applicable for transmission of power from generating points to the supply point of Distribution & Retail Supply Licensees (GRIDCO power) and wheeling of power for CGPs. The total charges shall be calculated by summation of following charges stated in Para (a) to (d) below as applicable:

(a)	Transmission Charge:

- Transmission Charge @ 11559.35Rs./MW-Dayshall be applicable for transmission of power at 400kV/220kV/132kV over OPTCL’s EHT transmission system for the purpose of transmission of energy from generator end to the sub-station from where energy will be fed to DISCOMs and CGPs.

- Transmission Loss @3.15%for the use of EHT transmission system and for the purpose of transmission of energy from a CGP to its industrial unit located at a separate place as well as for transmission of power from outside the state to an industry located inside the State.

- Long Term Open Access Customers, Medium Term Open Access Customers &Short Term Open Access Customers shall pay the applicable Transmission Charges plus all other charges and losses as applicable thereon, as the case may be.

The Transmission Charge shall be applicable to the DISCOMs and CGPsfor the respective month.

(b) Rebate:

- On payment of monthly bill, the Open Access Customer shall be entitled to a rebate of 2% of the amount of the monthly bill (excluding arrears), if full payment is made within two working days (excluding holidays under N.I Act) of the presentation of the bill and 1% of the amount if paid within 30 days of the presentation of the bill.

(c) Delayed Payment Surcharge:

- The monthly charges as calculated above together with other charges and surcharge on account of delayed payments, if any, shall be payable within 30 days from the date of bill. If payment is not made within the said period of 30 days, delayed payment surcharge at the rate of 1.25% per month shall be levied pro-rata for the period of delay from the due date, i.e. from the 31st day of the bill, on the amount remaining unpaid (excluding arrears on account of delayed payment surcharge).

(d) Duty and Taxes:

- The Electricity Duty levied by the Government of Odisha and any other statutory levy/ duty/ tax/ cess/ toll imposed under any law from time to time shall be charged over and above the tariff.