Summary of ARR & BSP Filings

Submitted by

GRIDCO

For

FY 2012 - 13

Summary of GRIDCO ARR & BSP Filings for FY 2012-13

## BULK SUPPLY PRICE (BSP) PROPOSAL OF GRIDCO FOR THE FY 2012-13

- GRIDCO Ltd. (hereinafter called GRIDCO) is a Deemed Trading Licensee under the 5th Proviso to Section 14 of the Electricity Act, 2003 and a wholly State owned Company, carries out the business of purchase of electricity in bulk from various generators located inside Odisha and the State share of power from the Central Generators for supply in bulk to the four Electricity Supply Companies (hereinafter called DISCOMs).  As GRIDCO plays a crucial role in supply of power to the State, the Govt. of Odisha notified GRIDCO as the “State Designated Entity” to sign the Power Purchase Agreements (PPAs) for procurement of all forms of power from different generators. GRIDCO continues the functions of bulk purchase and sale of power in the interest of the State under the “Single Buyer Model”, as a matter of historical legacy. Under the existing Bulk Supply Agreements between the DISCOMs and GRIDCO, the DISCOMs are to purchase power from GRIDCO at a regulated price to be determined by the Commission. This Price incidentally happens to be the Bulk Supply Price at which GRIDCO supplies power to the DISCOMs. Further, as provided in the OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Tariff) Regulations, 2004 as amended upto May 2011 and other related Regulations and as per Section 86 (1) (a) & (b) and other applicable provisions of the Electricity Act, 2003, GRIDCO is required to submit its Annual Revenue Requirement (ARR) and Bulk Supply Price (BSP) before 30th November of each year for the ensuing year before the Commission for approval.

- As a statutory requirement GRIDCO has filed an application for approval of Annual Revenue Requirement and revision of Bulk Supply Price for the FY 2012-13 to enable it to carry out its functions of bulk supply to DISCOMs and emergency supply to CGPs.

Energy Availability to GRIDCO for FY 2012-13

- GRIDCO has projected energy availability of 24,887.58 MU during FY 2012-13 from different sources. The estimation for drawal of hydro power from state hydro plants is 5874.05 MU including 262.50 MU from Machkund; and thermal power of 2864.82 MU from OPGC, 2957.32 MU from TTPS, 1121.28 MU from State captive generating plants (CGPs) and 6032.61 MU of Orissa share of power from Eastern Regional thermal power stations. GRIDCO has proposed to purchase 916 MU from Central hydro stations like Tala, Chukha and Teesta hydel plants. Further, GRIDCO has proposed to procure 3556.92 MU from existing two IPPs namely M/s Sterlite Energy Ltd. and Arati Steels and three upcoming IPPs during FY 2012-13. GRIDCO has proposed to procure 621.96 MU from Co-generation plants inside the state. Also, GRIDCO has proposed to procure 468.00 MU from Renewable Energy sources (300 MU small hydro, 122 MU biomass, and 46 MU solar power). Considering the availability from all sources and requirement of the DISCOMs, GRIDCO proposes to buy 474.62 MU through Unscheduled Interchange (UI) / Power Exchange / Short Term Open Access. The station-wise details in respect of availability of power is given in the table below:

Table-1

Summary of Energy Availability to GRIDCO for FY 2012-13

| Stations | Availability (After Transformation loss and Auxiliary Consumption deduction) (MU) | Share % | Projection for FY 12-13 (MU) | Approved for FY 11-12 (MU) |
| --- | --- | --- | --- | --- |
| HHEP | 767.48 | 100 | 767.48 |  |
| CHEP | 356.40 | 100 | 356.4 |  |
| Rengali | 576.18 | 100 | 576.18 |  |
| Upper Kolab | 793.98 | 100 | 793.98 |  |
| Balimela | 1173.15 | 100 | 1173.15 |  |
| OHPC (Old) | 3667.19 | 100 | 3667.19 | 3676.86 |
| Indravati | 1944.36 | 100 | 1944.36 | 1942.38 |
| Sub-Total OHPC | 5611.55 | 100 | 5611.55 | 5619.24 |
| Machhkund | 262.50 | 100 | 262.5 | 262.50 |
| Total State hydro availability | 5874.05 | 100 | 5874.05 | 5881.74 |
| OPGC | 2864.82 | 100 | 2864.82 | 2892.49 |
| TTPS | 2957.32 | 100 | 2957.32 | 2957.32 |
| Small Hydro Renewable Energy | 300.00 |  | 300 | 300 |
| Biomass Energy | 122.00 |  | 122 | N.A. |
| Solar Energy | 46.00 |  | 46 | N.A. |
| Co-generation Plants | 621.96 |  | 621.96 | 512.46 |
| CGPs | 1121.28 |  | 1121.28 | 603.79 |
| IPPs | 3556.92 |  | 3556.92 | 3357.12 |
| Total State availability | 17464.35 |  | 17464.35 | 16504.92 |
| TSTPS Stg.-I | 2163.22 | 31.8 | 2163.22 | 2163.00 |
| TSTPS Stg.-II | 1343.46 | 10 | 1343.46 | 1360.38 |
| FSTPS | 1472.38 | 13.63 | 1472.38 | 1476.42 |
| KhSTPS Stg.-I | 844.98 | 15.24 | 844.98 | 847.47 |
| KhSTPS Stg.-II | 208.57 | 2.05 | 208.57 | 209.16 |
| Total Central Thermal Availability | 6032.61 |  | 6032.61 | 6056.42 |
| Chukha | 263.00 | 15.19 | 263 | 273.36 |
| TALA | 143.00 | 4.25 | 143 | 143.16 |
| Teesta | 510.00 | 23.4 | 510 | 511.32 |
| Total Central Hydro Availability | 916.00 |  | 916 | 927.84 |
| Total EREB | 6948.61 |  | 6948.61 | 6984.26 |
| Total Availability | 24412.96 |  | 24412.96 | 23489.18 |
| Shortfall to be procured thru.' UI / Trading / Short Term Open Access | 474.62 |  | 474.62 | N.A. |
| Total Requirement / Procurement | 24887.58 |  | 24887.58 | 23489.18 |

## Projection of Demand and Energy for DISCOMs

- The Simultaneous Maximum Demand (SMD) of DISCOMs for the FY 2012-13 has been projected at 3412.43 MVA per month based on the monthly highest SMD of each DISCOM  during first 6  months of FY 2011-12.  The average of actual SMD for first six months of 2011-12 and projection for 2012-13 as submitted by GRIDCO in the BSP and ARR application are given in table below.

### Table – 2

Simultaneous Maximum Demand Projection for FY 2012-13

(Figures in MVA per Month)

| DISCOMs | OERC approval for FY 2011-12 | Average SMD of first Six months of FY 2011-12 | Projection of GRIDCO for FY 2012 –13 Considering the highest SMD of each DISCOM during first Six months of FY 2011-12 |
| --- | --- | --- | --- |
| CESU | 1237.00 | 1160.74 | 1193.22 |
| NESCO | 846.00 | 801.47 | 833.76 |
| WESCO | 1133.00 | 913.78 | 943.79 |
| SOUTHCO | 432.00 | 428.86 | 441.65 |
| TOTAL | 3648.00 | 3304.86 | 3412.43 |

- GRIDCO has projected 23931.85 MU as the energy consumption of DISCOMs for FY 2012-13 based on the projections submitted by DISCOMs. Emergency Power Supply to Captive Generating Plants (CGPs) for FY 2012-13 has been projected at 10 MU. The actuals for first six months of FY 2011-12, projection for FY 2011-12 on pro-rata basis and projection for FY 2012-13 as submitted by GRIDCO in its BSP application are indicated in table below.

Table - 3

Energy Projection for 2012-13

(Figures in MU)

| AGENCY | Actual from 4/11 to 09/11 (MU) | Projection for FY 11-12 on pro-rata based on first six months consumption (MU) | OERC approval for FY 11-12 (MU) | Approval in the Business Plan of DISCOMs for FY 12-13 (MU) | DISCOMs' Revised Projection to GRIDCO (MU) | GRIDCO Projection for FY 12-13 (MU) | % Rise in Demand (projection for FY 11-12 vs. projection for FY 12-13) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CESU | 3809.36 | 7618.72 | 7791.00 | 7868.10 | 8532.67 | 8532.67 | 12.00 |
| NESCO | 2586.26 | 5172.52 | 5323.00 | 5769.50 | 5469.18 | 5469.18 | 5.74 |
| WESCO | 3159.06 | 6318.12 | 6630.00 | 6800.00 | 6500.00 | 6500.00 | 2.88 |
| SOUTHCO | 1412.84 | 2825.68 | 2733.00 | 3083.00 | 3430.00 | 3430.00 | 21.39 |
| TOTAL DISCOMS | 10967.52 | 21935.04 | 22477.00 | 23520.60 | 23931.85 | 23931.85 | 9.10 |
| IMFA | 9.74 | 19.48 | 100.00 | - | - | 0.50 |  |
| NALCO | 161.14 | 322.28 |  | - | - | 9.50 |  |
| TOTAL CGPs | 170.88 | 341.76 | 100.00 | - | - | 10.00 |  |
| TOTAL SALE | 11138.40 | 22276.80 | 22577.00 | 23520.60 | 23931.85 | 23941.85 | 7.47 |

### Power Procurement Projected by GRIDCO

- GRIDCO projected the total power availability of 24887.58 MU and considered OPTCL transmission loss of 3.80% for 2012-13. In order to meet the demand of DISCOMs and CGPs and make necessary allowance for transmission loss, GRIDCO has proposed as under:

### Table – 4

Demand and Energy Projection for FY 2012-13

| Sl. No. | ITEMS | Projection for FY 2012-13 (MU) |
| --- | --- | --- |
| 1 | Energy Demand of DISCOMs (23931.85 MU) & CGPs (10 MU) | 23941.85 |
| 2 | Transmission Loss @ 3.80% | 945.73 |
| 3 | Energy Required to be purchased by GRIDCO to meet the power demand of DISCOMs & CGPs | 24887.58 |
| 4 | Available Power for supply to the DISCOMs & the CGPs | 24887.58 |
| 5 | Shortfall of power | 0.00 |

## Power Purchase Cost Projected for 2012-13

- In its application for FY 2012-13, GRIDCO has projected to procure hydel power of 5611.55 MU from OHPC and 262.50 MU from Machkund. GRIDCO has assumed the OERC approved rates of different OHPC Power Stations for FY 2011-12 towards procurement of such energy along with Electricity Duty (ED) and Water Cess payment. But the rate of energy from Machkund Joint Project has been calculated at 30.66 P/U considering Orissa share at 50%. Accordingly GRIDCO has proposed to procure the total hydel energy of 5874.05 MU at a cost of Rs.396.48 crore with an average rate of 67.50 P/U against average rate of 65.96 P/U approved for 2011-12.

- The power purchase cost of 2864.824 MU from OPGC @ 229.69 P/U comes to Rs. 658.01 crore for FY 2012-13. The proposed power purchase cost is based on the statement of tariff calculation furnished by OPGC, which is subject to the approval of the Commission. The power purchase cost of 2892.49 MU from OPGC @ 179.22 P/U approved by the Commission for 2011-12 was Rs.518.39 crore.

- Based on the latest NTPC petitions filed before CERC in respect of Talcher Thermal Power Station (TTPS), GRIDCO has projected to procure 2957.32 MU from TTPS with the procurement cost of Rs. 761.76 crore @ 257.58 P/U against 180.50 P/U approved for 2011-12.

- The Commission vide its Order dated 23.11.2010 in Case No. 117 / 118 of 2010 has approved the procurement rate of Rs. 2.75/3.10/3.25 / Unit for CGPs / Co-generation Plants not availing any open access and Rs.2.75/3.00/3.20 / Unit for CGPs/ Co-generation Plants who have opted for supplying 60% and above of their surplus power to GRIDCO after availing Open Access upto 40% of their surplus power. GRIDCO had been procuring power @ Rs.2.75 (Flat)/ Unit from the CGPs/ Co-generation Plants from the month of November 2010 and onwards on the basis of Letter of Intent (LoI) to that effect issued by GRIDCO to the CGPs/ Co-generation Plants. However, to maximize the generation from the CGPs/ Co-generation Plants so as to supply their surplus power to GRIDCO, GRIDCO has offered to pay at the rate of the aforesaid slab price fixed by the Commission to all CGPs/ Co-generation Plants with effect from 16.11.2011. Considering the above rates GRIDCO has estimated to procure 1121.28 MU from CGPs at a cost of Rs. 320.92 crore during FY 2012-13 with an average rate of 286.21 P/U. Similarly, GRIDCO proposes to procure 621.96 MU from Co-generating Plants at a cost of Rs.176.03 crore during FY 2012-13 with an average price of  283.02 P/U.

- GRIDCO proposes to procure 300 MU from small hydro (150 MU each from M/s. Orissa Power Consortium Limited (M/s. OPCL) and M/s. Meenakshi Power Limited (M/s. MPL)), 122 MU from biomass energy (M/s. Shalivahan Green Energy Ltd) and 46 MU from solar energy (13 MU from 8 Nos. of Solar PV projects of 1MW each under RPSSGP and 33 MU from NVVN through 20 MW  of 'New Projects' scheme under JNNSM) at an average rate of 368 P/U, 487 P/U and 517.52 P/U respectively.  GRIDCO proposes to procure 468.00 MU of renewable energy from Non-Solar and Solar sources at a cost of Rs.193.62 crore @413.72 P/U on an average.

- Due to pending approval of the power procurement price, GRIDCO has proposed for procurement of 2612.57 MU from M/s Sterlite Energy Ltd at a cost of Rs.718.46 crore @ 275 P/U. However, a rate of 175 P/U as variable cost is proposed for procurement of 40 MU from M/s Arati Steels Ltd towards State share of 12% energy which will entail a cost of Rs.7.00 crore to GRIDCO. Similarly for three upcoming IPPs, GRIDCO has proposed a provisional rate of 294.81 P/U on an average and will purchase 904.35 MU at the total cost of Rs.266.61 crore from these upcoming IPPs.

- NTPC has submitted its applications for approval of tariff for different central sector thermal stations for 2009-14 period. Pending finalization of tariff, Hon’ble CERC approved 95% of tariff projection made by NTPC. Accordingly, GRIDCO considers the Fixed Cost as approved by Hon’ble CERC. Energy Charge Rate (ECR) for FY 2012-13 has been taken as 30% increase over first six month actual ECR data of FY 2011-12. Accordingly, GRIDCO has estimated to procure 6032.61 MU from Central Sector Thermal Power Stations with a total cost of Rs.2846.77 crore at an average rate of 471.90 P/U. Similarly, GRIDCO has projected to procure 916 MU from Chukha, Tala, Teesta-V hydro power stations with the procurement cost of Rs.179.01 crore at average rate of 195.42 P/U.

- GRIDCO has proposed to buy 474.62 MU through Unscheduled Interchange (UI) / Power Exchange / Short Term Open Access @ 450 P/U at a total cost of Rs.213.58 crore to meet the shortfall as the energy requirement is 24887.58 MU and availability from all sources is 24412.96 MU.

- The detailed cost of power purchase as furnished by GRIDCO for 2012-13 is reproduced hereunder in Table below.

Table – 5

Summary of Proposed Power Procurement Cost during FY 2012-13

| Stations | Availability (After Transformation Loss and Auxiliary Consumption deduction) (MU) | Rate (P/U) | Total Cost (Rs. Crore) | Approved rate for FY 2011-12 (P/U) |
| --- | --- | --- | --- | --- |
| HHEP | 767.48 | 79.74 | 61.20 |  |
| CHEP | 356.40 | 69.26 | 24.68 |  |
| Rengali | 576.18 | 63.64 | 36.67 |  |
| Upper Kolab | 793.98 | 35.72 | 28.36 |  |
| Balimela | 1173.15 | 72.78 | 85.38 |  |
| OHPC(Old) | 3667.19 | 64.44 | 236.30 | 63.15 |
| Indravati | 1944.36 | 78.24 | 152.13 | 77.21 |
| Sub-Total OHPC | 5611.55 | 69.22 | 388.43 |  |
| Machhkund | 262.50 | 30.66 | 8.05 | 22.06 |
| Total State Hydro | 5874.05 | 67.50 | 396.48 | 65.96 |
| OPGC | 2864.82 | 229.69 | 658.02 | 179.22 |
| TTPS | 2957.32 | 257.58 | 761.75 | 180.50 |
| Small Hydro | 300.00 | 368.00 | 110.40 | 320.32 |
| Biomass Energy | 122.00 | 487.00 | 59.41 | N.A. |
| Solar Energy | 46.00 | 517.52 | 23.81 | N.A. |
| CGPs | 1121.28 | 286.21 | 320.92 | 277.76 |
| Co-generation Plants | 621.96 | 283.02 | 176.03 | 275.00 |
| IPPs | 3556.92 | 278.91 | 992.07 | 275.00 |
| Total State | 17464.35 | 200.34 | 3498.88 | 167.71 |
| TSTPS Stg.-I | 2163.22 | 409.55 | 885.95 | 294.27 |
| TSTPS Stg.-II | 1343.46 | 408.50 | 548.80 | 301.56 |
| FSTPS | 1472.38 | 596.33 | 878.02 | 417.14 |
| KhSTPS Stg.-I | 844.98 | 507.84 | 429.11 | 318.82 |
| KhSTPS Stg.-II | 208.57 | 502.92 | 104.89 | 345.03 |
| Total Central Thermal | 6032.61 | 471.90 | 2846.78 | 331.05 |
| Chukha | 263.00 | 196.30 | 51.63 | 181.38 |
| TALA | 143.00 | 221.89 | 31.73 | 206.97 |
| Teesta | 510.00 | 187.55 | 95.65 | 172.17 |
| Total Central Hydro | 916.00 | 195.42 | 179.01 | 180.25 |
| System Operation Charges & Market Operation Charges payable to ERLDC |  |  | 3.15 |  |
| Total EREB | 6948.61 | 435.91 | 3028.94 | 311.02 |
| Total Availability | 24412.96 | 267.39 | 6527.82 | 210.32 |
| Shortfall to be procured thru.' UI / Trading / Short Term Open Access | 474.62 | 450.00 | 213.58 | N.A. |
| Total Requirement / Procurement | 24887.58 | 270.87 | 6741.40 | 210.32 |

### Pass through of arrear dues paid / to be paid during FY 2011-12

- GRIDCO proposes to pass through of expenses, already incurred or to be incurred till FY 2011-12,  amounting to Rs.634.96 crore consisting of Govt. Guarantee Commission (Rs.34.34 crore), Arrear Payment to OHPC towards Water Cess (Rs.2.19 crore), Arrear Payment to OPGC (Rs.109.48 crore) and Arrear Estimation of NTPC-TTPS till FY 2011-12 as per its filing before the Hon’ble CERC (Rs.488.95 crore).

### Special Appropriation of repayment of principal for FY 2012-13

- GRIDCO has proposed a sum of Rs.1580.66 crore on account of repayment of principal of all loans to be recovered through tariff of the FY 2012-13 as detailed in table below. The Govt. of Odisha provided support to the extent of Rs.196.17 Crore towards the amount deducted by the Central Govt. from the Central Plan Assistance (CPA) over the period from 1997-98 to 1999-00. Govt. of Odisha in the Notification Dated 25.06.2011 converted these amounts towards loan carrying interest @ 10% to12%. The total financial implications on this account including interest upto 31-03-2011 amounts to Rs. 433.90 Crore.

Table – 6

Proposed Special Appropriation in the ARR & BSP for FY 2012-13

(Rs.  Crore)

| State Govt. Loans | 154.81 |
| --- | --- |
| NTPC-GoO Special Bonds (Rs.1102.87 Crore) | 441.16 |
| Pension Trust Bond | 32.63 |
| Bank Loans | 518.16 |
| Sub Total | 1146.76 |
| CPA Adjustment | 433.90 |
| Total | 1580.66 |

### Interest, Financing & Other expenses

- GRIDCO has proposed to recover Rs.546.90 crore during the FY 2012-13 towards interest on loans and financial charges related to Power Purchase. Based on the actual expenses of Rs.3.31 crore towards employees cost during FY 2010-11, GRIDCO has considered an amount of Rs.4.88 crore towards Employees Cost for the FY 2012-13. The interest, financing and other charges including administrative and general expenses cost, repair & maintenance expenses etc. as proposed by GRIDCO is presented in table below.

Table – 7

### Interest, Financing & Other expenses for FY 2012-13 (Rs. Crore)

| Particulars | GRIDCO proposal for FY 12-13 |
| --- | --- |
| 1. Interest & Financial Charges | 546.90 |
| 2. Other Costs: |  |
| a. Employee Cost | 4.88 |
| b. A&G Cost | 3.89 |
| c. ERLDC, NLDC fees, ULDC and SLDC scheduling Charges | 1.32 |
| d. Repair & Maintenance Cost | 0.25 |
| Sub-Total - Other Costs | 10.34 |
| 3. Depreciation | 0.22 |
| Total (1+2+3) | 557.46 |

Return on Equity

- GRIDCO has proposed RoE of Rs.67.11 Cr @ 15.50 % on its equity capital of Rs. 432.98 Cr.

Other Income / Miscellaneous Receipts

- GRIDCO expects to earn an amount of Rs. 6.40 crore (at existing approved tariff) from proposed sale of 10 MU emergency power to NALCO and IMFA.

Receivable from DISCOMs and other parties

- DISCOMs have defaulted in payment of Rs.747.63 crore towards securitized dues,  Rs.780.55 crore towards NTPC Bonds and Rs.987.83 crore towards Year-end-Adjustment (YEA) Bills etc. Further, GRIDCO has outstanding dues of Rs.296.53 crore from parties other than DISCOMs (Govt. Departments, PSUs etc).

Annual Revenue Requirement

- The proposal for Annual Revenue Requirement of GRIDCO for FY 2012-13 is summarised in the table below.

Table - 8

Annual Revenue Requirement of GRIDCO for FY 2012-13

(Rs. Crore)

|  | Item | OERC approval for 2011-12 | GRIDCO’s Proposal for 2012-13 |
| --- | --- | --- | --- |
| a) | Power Purchase Cost | 4940.30 | 6741.40 |
| b) | Pass through expenses and Special Appropriation | 741.62 | 2215.62 |
| c) | Interest, Financing and other expenses | 335.00 | 557.46 |
| d) | Return on Equity | - | 67.11 |
| e) | Revenue Requirement (a+b+c+d) | 6016.92 | 9581.59 |
| f) | (-) Misc. Receipts | 64.00 | 6.40 |
| g) | Net Revenue Requirement (e-f) | 5952.92 | 9575.19 |

## Proposed Revenue Earning at Existing BSP Rates

- GRIDCO proposes to earn revenue of Rs 5467.63 crore during 2012-13 from the anticipated sale of 23931.85 MU to DISCOMs at the existing BSP rates for 2011-12, the details of which is given in table below.

Table – 9

Expected Revenue for FY 2012-13 with anticipated sale to DISCOMs

at Existing BSP Rates

|  | Energy (MU) | Existing BSP Rate (P/U) | Amount (Rs. Cr.) |
| --- | --- | --- | --- |
| CESU | 8532.67 | 219.00 | 1868.65 |
| NESCO | 5469.18 | 262.00 | 1432.93 |
| WESCO | 6500.00 | 262.00 | 1703.00 |
| SOUTHCO | 3430.00 | 135.00 | 463.05 |
| TOTAL | 23931.85 |  | 5467.63 |

## Excess / Deficit in the ARR for 2012-13

- GRIDCO has proposed that it would suffer revenue deficit of Rs.4107.56 crore considering the proposed ARR and the revenue to be earned from sale of the proposed energy of 23931.85 MU to DISCOMs during FY 2012-13 at the existing BSP Rate for FY 2011-12, the details of which are shown in the table below:

Table - 10

Excess / Deficit on Revenue Requirement for FY 2012-13

(Rs. Crore)

|  | Item | GRIDCO’s Proposal for 2012-13 |
| --- | --- | --- |
| a) | Total Revenue Requirement | 9,581.59 |
| b) | Less: Misc. Receipts | 6.40 |
| c) | Net Revenue Requirement | 9,575.19 |
| d) | Revenue Receipt from DISCOMs (at existing BSP) | 5,467.63 |
| e) | Excess(+) or Deficit(-) | -4,107.56 |

Recovery of Proposed Cost in the ARR through Energy Charge during FY 2012-13

- In order to meet the estimated deficit of Rs. 4107.56 crore, GRIDCO has submitted the application before the Commission for revision of Bulk Supply Price for the FY 2012-13. The licensee proposes to recover the Net Revenue Requirement of Rs.9575.19 crore from the Distribution Licensees through rise in BSP from the existing average energy charge of 231.65 P/U to 400.10 P/U during 2012-13 indicating a hike of 72.72% over the previous year.

Demand Charge

- GRIDCO proposes that the Demand Charges may be levied @ Rs.200/KVA/Month from DISCOMs, when the actual SMDs of DISCOMs in a month exceed the permitted Monthly SMDs (110% of the approved SMD). The monthly bills raised by GRIDCO in this regard may be paid by DISCOMs on provisional basis to take care of monthly variations, subject to adjustment at the end of the year.

Other Allied Submissions to Facilitate GRIDCO for Recovery of its Expenses

Over Drawl and Year End Charges

- GRIDCO proposes that any excess drawal of energy by DISCOMs during a month over and above the approved energy quantum would be payable on provisional basis at the highest OERC approved Power Purchases Rate fixed for a Station for FY 2012-13 (which includes transmission charges and transmission loss) on a monthly basis instead of the normal differential BSP applicable to the respective DISCOMs subject to final Year End Adjustment (YEA) considering the highest Power Purchases rate/ cost including the rate/s of energy drawn through U.I. Route of the month plus transmission charges and transmission loss.

Fuel Price Adjustment (FPA)

- Any excess payment made by GRIDCO towards FPA for a particular / relevant month will be levied on DISCOMs in the succeeding month in proportion to their actual drawl during the preceding month along with the BSP bills if the Fuel Surcharge Price of the particular month paid by GRIDCO exceeds by more than 5% of the approved Average Bulk Supply Price subject to maximum of 25% of the approved Average Bulk Supply Price which will be passed on to consumers in the same month along with their normal energy bills served to the consumers at a rate which will be arrived at by considering  their approved monthly sale quantum to the consumers.

Rebate

- A rebate of 2% on monthly energy bill may be allowed in case of full payment against monthly energy bill of GRIDCO including over drawal and FPA charges, by remitting funds to the account of GRIDCO in Union Bank, Main Branch, Bhubaneswar, within two working days (except holidays under NI Act) of submission of the bill by GRIDCO. In case DISCOMs make payment for the full bill amount including over drawal and FPA charges through LC or upfront on any day within a period of 30 days of the presentation of the bill, a rebate of 1% shall be allowed. However, The DISCOMs will be entitled to the rebate of 1% as mentioned above provided the L.C. is established in favour of GRIDCO as per the terms and conditions of the Escrow Agreement entered between GRIDCO and the DISCOMs.

## Delayed Payment Surcharge

- For payment after the periods of 30 days from the date of submission of bills, Surcharge for delayed payment @ 1.25% per month may be levied pro-rata for the period of delay from the due date on the amount remain unpaid (excluding arrears on account of delayed payment surcharge).

Escrow Arrangement

- GRIDCO has entered into escrow agreements with the DISCOMs which are operative due to the default in payment by DISCOMs to GRIDCO towards energy dues and loan dues. GRIDCO has been directed to allow escrow relaxation to DISCOMs and priority of release of funds from the escrow account has been fixed by the Commission. In order to ensure the escrow arrangement, GRIDCO has requested the Commission to give a direction along with priority for escrow relaxation to be allowed for FY 2012-13.

Revenue Gap of GRIDCO in the ARR vis-à-vis the Actual

- The actual aggregate Revenue Gap of GRIDCO (FY 2008-09 to FY 2010-11) is Rs. 2,050.55 crore against Rs.2099.05 crore as approved by OERC. After considering the arrear dues from DISCOMs on account of Year-end Adjustment (YEA), the actual aggregate revenue gap becomes Rs.2675.72 crore. Non-availability of surplus power due to increase in demand of the State because of massive rural electrification and rapid  industrialization coupled with hydrology failure during last few years along with increase in the cost of power, have made GRIDCO cash-strapped. In its mandated to ensure un-interrupted power supply to the State and to avoid imminent Power Regulation, GRIDCO borrowed Rs.3,153.71 crore from Banks mainly with the Govt. Guarantee Support in order to pay to the generators. Out of the total borrowings, Rs. 907.47 crore was utilized towards repayment of past loans resulting in net availability of loan of  Rs.2,246.24 Crore. The balance deficit of cash flow were addressed through availing Over- Draft at high rates of interest, deferring payments to Govt. towards loans, and deferring payment of Power Purchase Dues etc.

- The OERC approved revenue gap, the actual revenue gap from FY 2008-09 onwards are given in the table below.

Table 11

Status of Financial of GRIDCO (Rs crore)

| Financial Year | OERC Approved Gap | Actual Gap in P&L Account | Year-end-Adjustment Bills Considered in Accounts but not paid by DISCOMs | Actual Gap considering Year-end- Adjustment Bills | Amount of Loan Availed |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5=3-4 | 6 |
| 2008-09 | (410.05) | 98.14 | 163.94 | (65.80) | 300.00 |
| 2009-10 | (882.85) | (1560.84) | 164.22 | (1725.06) | 1213.00 |
| 2010-11 | (806.15) | (587.85) | 297.01 | (884.86) | 1640.71 |
| Total | (2099.05) | (2050.55) | 625.17 | (2675.72) | 3153.71 |

Carry forward of Revenue gap

- GRIDCO prays that in case of a gap between the approved revenue requirements for FY 2012-13 and the revenue realized, the Commission may kindly approve to carry forward the gap for adjustment during the future years.

Summary of Tariff Filing for FY 2012-13

- GRIDCO has prayed the Commission to approve the following for FY 2012-13 and make the same effective from 1st April, 2012.

- Energy charges @ 400.10 paise/unit on energy supplied to DISCOMs.

- Demand charges @ Rs.200 /KVA/month, when actual SMD exceeds the permitted monthly SMD.

- Charges for over drawl of energy at a cost of highest OERC approved power purchase rate fixed for a station for FY 2012-13 to be recovered on monthly basis subject to final adjustment at the end of the year .

- Any excess payment made by GRIDCO towards FPA for a particular / relevant month will be levied on DISCOMs in the succeeding month in proportion to their actual drawl during the preceding month along with the BSP bills if the Fuel Surcharge Price of the particular month paid by GRIDCO exceeds by more than 5% of the approved Average Bulk Supply Price subject to maximum of 25% of the approved Average Bulk Supply Price.

- Rebate @ 2% / 1% as proposed above.

- Delayed Payment Surcharge @1.25% per month for the period of delay beyond 30 days from date of submission of bills.

- The Electricity Duty levied by the Government of Orissa and any other Statutory levy/ Duty/ Tax/ Cess / Toll etc. imposed under any law from time to time shall be charged over and above the Bulk Supply Price.