BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No………..……

Filing No…………….

IN THE MATTER OF :	 An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2016-17 under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

- IN THE MATTER OF : GRIDCO Ltd., Janpath, Bhubaneswar

….  ………Applicant

The Humble Applicant above named MOST RESPECTFULLY SHOWETH:

GRIDCO Limited (hereinafter called as “GRIDCO”) is a Deemed Trading Licensee under 5th Proviso to Section 14 of the Electricity Act, 2003 (hereinafter called as “the Act”). GRIDCO, a wholly State owned Company, is engaged in the business of purchase of electricity in bulk from various generators located inside Odisha and the State share of power from the Central Generators for supply in bulk to the four Electricity Distribution Utilities (hereinafter called as “DISCOM Utilities”) in the State of Odisha.

In due recognition of the vital position that GRIDCO plays in ensuring power supply to the State, the Govt. of Odisha notified GRIDCO as the “State Designated Entity” to sign the Power Purchase Agreements (PPAs) for procurement of all forms of power from different generators as per the Government Notification No. PPD-II-2/05 (pt) 7947, Bhubaneswar dated 17.08.2006 Evidential Document (ED-I).Besides, being the successor Organization to the erstwhile Orissa State Electricity Board (OSEB), GRIDCO undertakes the functions of bulk purchase and sale of power in the interest of the State under the “Single Buyer Model”, as a matter of historical legacy.

Note:- Evidential Documents (EDs) are attached in Volume-II of this Application.

It is further submitted that GRIDCO like State Designated Agencies do exist in other States in some form or the other like Corporate Entities or Committees or Empowered Committees to carry out the bulk purchase of power to meet the power demand of the respective States. Such Institutions have been mandated by the concerned State Governments to fulfill the State’s power requirement.

As such, GRIDCO’s existence as the “State Designated Entity ” to procure power on behalf of the State of Odisha for bulk supply to the DISCOMUtilities for onward retail sale to the final consumers in the State is consistent with the provisions of the Act.

Besides, it will be relevant to mention here that Hon’ble Commission in the Aggregate Revenue Requirement (ARR) & Bulk Supply Price (BSP) Order date 18.03.2011 for FY 2011-12 & 23.03.2012 for FY 2012-13 has extensively dealt with the issues relating to the “Legal Status” of GRIDCO and concluded that the continuance of GRIDCO is sustainable in Law and essential in the overall interest of the State and Power Sector in particular.

Under the existing Bulk Supply Agreements between the DISCOMs and the GRIDCO, the DISCOMs are required to purchase power from GRIDCO at a regulated price to be determined by the Hon’ble Odisha Electricity Regulatory Commission (hereinafter called as ‘OERC’ or the “Commission”). Hon’ble Commission is empowered under the Electricity Act, 2003 (hereinafter called ‘the Act’) to determine the procurement price of power of the DISCOMs. This Price incidentally happens to be the Bulk Supply Price at which GRIDCO supplies power to the DISCOMs. Thus, as a statutory requirement, GRIDCO is required to submit its AggregateRevenue Requirement (ARR) before Hon’ble OERC for determination of the procurement price of the DISCOMs. Further, as provided in the OERC (Conduct of Business) Regulations, 2004, as amended up to May, 2011 and other related Regulations and as per the 86 (1) (a) & (b) and other applicable provisions of the Electricity Act, 2003, GRIDCO is also required to submit its Aggregate Revenue Requirement (ARR) before 30th November of each year for the ensuing year.

Before proceeding with the Application, it may be relevant here to mention about an important development pertaining to the revocation of License of the three Electricity Distribution Companies in Odisha. In fact, Hon’ble Odisha Electricity Regulatory Commission (OERC) vide its Order Dated 04.03.2015 in Case No. 55 of 2013, revoked the Retail Supply Tariff (RST) Licenses of the erstwhile RIL Managed DISCOMs of NESCO, WESCO and SOUTHCO U/s 19 of the Electricity Act, 2003 w.e.f. 04.03.2015. By virtue of this Order, Hon’ble OERC simultaneously vested the management and control of these Utilities with all the assets, interests and rights with the Office of Chairman-Cum-Managing Director, GRIDCO with immediate effect in his capacity as Administrator of these Utilities. It was further directed by the Hon’ble Commission that the Administrator shall function under the supervision and control of the Principal Secretary, Department of Energy, Government of Odisha as far as the administration of the Distribution Utilities are concerned.This is an Interim Arrangement under Section 20 (d) of the Electricity Act, 2003 till further Order of the Hon’ble OERC. A copy of the said Orders Dated 04.03.2015 in Case No.55 of 2013 regarding Revocation of License and the Appointment of Administrator is attached herewith as Evidential Document (ED-II.I & ED-II.II), respectively.

However, the RIL Managed three DISCOMs (WESCO, NESCO & SOUTHCO) immediately moved an Appeal, being Appeal No.64 of 2015 before the Hon’ble Appellate Tribunal for Electricity (APTEL), New Delhi against the said Ordersdated 04.03.2015 of the OERC. The 3 DISCOMs also moved another Interim Appeal No.91 of 2015 for stay of the OERC Orders Dated 04.03.2015 pending detailed hearing of the main Appeal No.64 of 2015. Besides Hon’ble OERC, GRIDCO and the Government of Odisha were enlisted as Respondents in these Appeals. After hearing all the concerned, Hon’ble Tribunal dismissed the I.A. No. 91 of 2015 of the Appellants vide Order Dated 21.04.2015 and upheld the action of the Hon’ble Commission U/s 19 of the Electricity Act,2003 in respect of revocation of the RST License of the afore-said 3 Utilities including appointment of the Chairman-cum-Managing Director (CMD), GRIDCO as Administrator of these 3 DISCOM Utilities. However, the main Appeal No.64/2015 is presently sub-judice before the Hon’ble Appellate Tribunal for Electricity, New Delhi.

It is submitted that following the revocation of the RST License of the 3 DISCOMs of WESCO, NESCO & SOUTHCO, the Chairman-cum-Managing Director (CMD), GRIDCO-cum-Administrator of the DISCOM Utilities, appointed 3 Authorized Officers from GRIDCO Ltd. (In short, GRIDCO) and Odisha Power Transmission Corporation Ltd. (In short, OPTCL) to facilitate management of operations of the 3 Utilities. Later, three Chief Operating Officers (COOs), one in each DISCOM Utility, were also appointed in order to render necessary assistance in smoothening the operations of the DISCOM Utilities.

It is further submitted that although the management and control of the DISCOM Utilities rests with the Office of the CMD, GRIDCO-cum-Administrator, DISCOM Utilities, the operational working relationship between GRIDCO and DISCOM Utilities remains unaltered and such Utilities continue to function as independent entities in so far as their responsibilities are concerned.

In the above backdrop, GRIDCO submits its Aggregate Revenue Requirement (ARR) & Bulk Supply Price (BSP) Application for FY 2016-17 in the following paragraphs before the Hon’ble Commission for kind consideration and approval.

1. ENERGY AVAILABILITY:

It is submitted that GRIDCO purchases power from the various Generating Stations in the State as well as the Odisha Share from the Central Sector Stations. The estimated availability of energy from different generating stations for FY 2016-17 is grouped as follows:

  - STATE HYDRO STATIONS

(OHPC-Old Stations, Upper Indrāvati& Machhkund)

  - STATE DEDICATED THERMAL STATIONS

(OPGC & TTPS)

  - CENTRAL THERMAL GENERATING STATIONS

(TSTPS-I & II,FSTPS-I,II & III& KhSTPS-I&II, Barh-II).

  - CENTRAL HYDRO GENERATING STATIONS

(Tala, Teesta & Chukha)

  - RENEWABLE ENERGY SOURCES:

- SOLAR ENERGY:

(Rajratan, SN Mohanty, MGM, Molisati, Mahavir, PAN TIME, Joy Iron & Steel, Abacus, NTPC & NVVN Bundled Power, Alex Green Energy Ltd., ACME Odisha Solar Power Pvt. Ltd., and Solar Energy Corporation of India)

- NON-SOLAR:

- SMALL / MINI HYDRO RENEWABLE ENERGY

(Meenakshi & Samal)

- BIO-MASS ENERGY

(M/s. Shalivahan Green Energy Pvt. Ltd.& M/s. Octant Industries Ltd.)

(iii) 	ENERGY FROM CO-GENERATION PLANTS

  - INDEPENDENT POWER PRODUCERS (IPPS)

(VendantaLtd., GMR Kamalanga Ltd. (GKEL), Jindal India Thermal Power Ltd. (JITPL), Ind-Barath Ltd.& Naba Bharat Venture Ltd. (NBVL))

1.7	CAPTIVE GENERATING POWER PLANTS (CGPs).

  - STATE HYDRO STATIONS:

- OHPC Hydro Stations:

OHPC owns & operates six Hydro Power Stations namely, Hirakud, Chiplima, Rengali, Upper Kolab, Balimela and Upper Indravati Hydro Electric Project (UIHEP). These Hydro Power Stations are Multi Purpose Projects intended to fulfil manifold objectives such as, Drinking Water, Irrigation, Flood Control and Power Generation. As per the Government of Odisha letter No.1430 dated 19.02.2010 (ED-III), Power Generation is considered as 4th in order of importance / priority in the list after fulfilling the requirement of water for the purposes of Drinking, Irrigation and Flood Control. Therefore, generation of hydropower is not directly related to the grid demand but depends on other factors like requirement of water for drinking& towards Irrigation and Flood control.

During the current year 2015-16, the generation of hydro energy is going to receive a serious setback because of drastically low monsoon, the negative impact of which is going to be experienced in the ensuing year i.e. FY 2016-17 for which the present ARR & BSP Application is being submitted.It is a matter of concern that the South-West Monsoon has behaved erratically resulting in less rainfall during the Water Year from July’14 to June’15 because of the El-Nino effect. As per the Report of Indian Meteorological Department, 2015, the country as a whole received 14% less rainfall during the Water Year from July’14 to June’15. There is no possibility of any further rain as the South West Monsoon has finally receded from India on October 19, 2015 as per the IMD Report, 2015.The State of Odisha has been badly affected due to very less rainfall during this period. This has not only contributed to a fall in the water level in the Reservoirs across the State but also seriously affected generation of hydro power.

Based on the net generation of about 2,893 MU from OHPC Stations during 1st six months (April’15 to Sept’15) of FY 2015-16 and the projected generation of about 1,753 MU during the 2nd six months from October’15 to March’16 as furnished by OHPC vide their letter dated 06.11.2015, it is estimated that approximately 4,646 MU (2893 MU +1753 MU) of hydro energy may be available during FY 2015-16. This quantum of hydro energy may even come down if the projected availability will reduce from 1753 MU. Thus, the likely availability of hydro power from OHPC Stations is certainly going to be less than the Annual Design Energy of 5676 MU and the normal annual availability of about7,000 MU during a moderate to good monsoon year.

It is submitted that the spill-over effect of El-Nino will be more pronounced in the next year i.e. ARR & BSP Application Year of 2016-17 as almost all of the Hydro Reservoirs will be emptied by the end of the FY 2015-16. Thus, there is every likelihood that the availability of cheaper hydro power from the State would be lessby more than 2,500 MU during this current water yearas compared to any normal year. This will certainly affect the power situation in the State both in terms of availability as well as the resultant power purchase cost during the current as well as the in the ensuing year.

Pursuant to the directives of Hon’ble Commission in their Order dated 20.03.2010 relating to the ARR of OHPC for FY 2010-11, Hydro generating Units of Burla and Chiplima are taken as separate Hydro Stations / Entities with effect from 01.04.2010. The Design Energy of Burla and Chiplima as approved by Hon’ble Commission are 684 MU and 490 MU, respectively. Considering 5 MW power supply from Hirakud Hydro Electric Project (HHEP) to Chhattisgarh State Electricity Board (CSEB), 16.60 MU of energy is deducted from the supply of power from Hirakud Power Station (HPS).

Following the request of GRIDCO, OHPC furnished its Generation Plan for FY 2016-17 vide their letter No.OHPC-HQ-Tech-PM-4/2012(Vol-III)/8238 dated06.11.2015(ED-IV).In the said letter, OHPC estimated the annual generation of 5,621 MU for FY 2016-17 considering the inflow for the last seven years and irrigation requirement. However, OHPC later revised its projection in respect of generation for FY 2016-17 vide letter No. OHPC-OERC-06/2015/8615 Dated 19.11.2015(ED-V)and submitted its projected Tariff for FY 2016-17 for all of its Hydro Power Stations. Accordingly, GRIDCO has considered the revised and latest projection submitted by OHPC in the present ARR & BSP Application as 5588.79 MU as Saleable Design Energy i.e. Net Energy availability of 5516.30 MU from OHPC Stations after deducting 0.50% towards transformation loss and 0.50% towards Auxiliary Consumption and 5 MW (equivalent to 16.60 MU) share allocation to CSEB. This projection does not include Machhkund power which has been taken separately in the subsequent para.

The details of projected drawal of energy (5,516.30 MU) from the OHPC Stations during FY 2016-17 is indicated in the Table below.

Power Procurement from OHPC for FY 2016-17  (Energy in MU)

| Power House | Design Energy (Including loss) | GRIDCO Share % | Actual Drawal during FY 2014-15 (Provn.) | OERC Approval for FY 2015-16 (After Loss) | Actual Drawal during 1st Six Months (April’15 to Sept.,15) | Latest Generation Plan submitted by OHPC for FY 2016-17 Dtd. 19.11.2015 | GRIDCO Projection for FY 16-17 (After 0.5% Trans. Loss, 0.5% Aux. Cons.& 5 MW allocation to CSEB) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| HHEP | 684.00 | 100* | 547.75 | 677.16 | 286.33 | 662.50 | 639.28 |
| CHEP | 490.00 | 100 | 277.07 | 485.10 | 145.53 | 469.31 | 464.62 |
| Rengali | 525.00 | 100 | 710.10 | 519.75 | 348.78 | 519.75 | 514.55 |
| Upper Kolab | 832.00 | 100 | 702.70 | 823.68 | 504.45 | 823.68 | 815.44 |
| Balimela | 1183.00 | 100 | 1239.39 | 1171.17 | 389.67 | 1171.17 | 1159.46 |
| Sub-Total | 3714.00 | 100 | 3477.01 | 3676.86 | 1674.74 | 3646.41 | 3593.35 |
| Upper Indravati | 1962.00 | 100 | 2597.23 | 1942.38 | 1094.04 | 1942.38 | 1922.96 |
| Total | 5676.00 |  | 6074.24 | 5619.24 | 2768.79 | 5588.79 | 5516.30 |

*There is 5 MW allocation from HPS i.e. 16.60 MU in favour of CSEB.

It is submitted that the above projection may be considered very optimistic as the El-Nino effect has already resulted in lower water level in various Hydro Power Stations, most of which have reached almost the Minimum Draw-Down Levels (MDDL). Lower Reservoir Level is likely to cause lesser availability of cheaper hydro power and consequent increase in power purchase cost leading to financial misery for GRIDCO.

GRIDCO therefore submits that the Hon’ble Commission may take cognizance of this fact and accordingly, consider approving availability of hydro power realistically in order to weed out the eventualities and the consequent negative financial impact that may occur due to assumption of optimistic higher hydro availability from OHPC Stations. It is however submitted that any gain / loss due to the magnitude of availability of hydro power will be adjusted in the truing-up exercise.

- Machhkund:

Machhkund Powerhouse, which is a 50:50 Joint Venture Project of the Government of Andhra Pradesh and Odisha, is also under the control of OHPC. The Design Energy of Machhkund HPS is considered as 525 MU by OHPC. With Odisha having a share of 50%, procurement by GRIDCO from this Station is estimated at 262.50 MU for FY 2016-17.

Thus, the total estimated availability from OHPC Old Stations, Upper Indravati and Machhkund is estimated as 5778.80 MU (3593.35MU from OHPC Old Stations + 1,922.96 MU from Upper Indravati + 262.50 MU from Machhkund HPS).

1.2	STATE DEDICATEDTHERMAL STATIONS:

- Odisha Power Generation Corporation Limited (OPGC):

OPGC has submitted its Generation Plan for Financial Year 2016-17(ED-VI).As per the Generation Plan, net drawal from OPGC during FY 2016-17 shall be 2883.766 MU after deducting Auxiliary Consumption @ 10.39%(334.274MU) from the Projected Gross Generation of3218.040 MU at a PLF of 87.47%.

However, based on the Normative Auxiliary Energy Consumption of 9.0%for Unit size below500MW(289.624 MU)as per the OERC (Terms and Condition for Determination of Generation Tariff) Regulation, 2014 on ProjectedGross Generation of3218.040 MUfor FY 2016-17by OPGC, GRIDCO has worked out Net Drawal (ESO) of 2928.42 MUfrom OPGC during FY2016-17and the corresponding PLF is worked out to be 87.47%.

Proposed Power procurement from OPGC for FY 2016-17

| Name of Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | PLF (%) | Gross Generation (MU) | Aux. Cons (MU) | Energy Sent Out (ESO) (MU) |
| --- | --- | --- | --- | --- | --- | --- |
| OPGC | 420 | 9.0 | 87.47% | 3218.04 | 289.624 | 2928.42 |

As per the State Govt. Notification dated 21.06.2008, the Amended PPA (in respect of PPA dated 13.08.1996 signed on 19.12.2012) and Amendment with respect to the TPA dated 18.10.1998 signed on 06.09.2012as well as the ESCROW Agreement dated 30.11.98, have been filed before the Hon’ble Commission in Case No. 13 of 2002 for regulatory approval. The Hon’ble Commission vide its Order dated 27-04-2015 has disposed off the Case No.13 of 2002 where in at Para 13, it has been mentioned as follows:

“Due to the above provision in the Regulation read with Regulation 7.13 of the same Regulations, OPGC shall make an application before the Commission as per the above approved PPA each year for determination of tariff for the rest of the control period starting from FY: 2016-17 onwards since the tariff for FY:2014-15 and 2015-16 has already been approved by the Commission in the ARR of GRIDCO for the said year basing on the submissions of GRIDCO.”

On the basis of the above direction of the Hon’ble OERC, it is inferred that OPGC shall file its ARR & Tariff Application before the Commission from FY2016-17 onwards in respect of Unit #1 & #2.

- Talcher Thermal Power Station (TTPS) of NTPC:

TTPS (NTPC) has submitted theprojected of Gross Energy Availability of 3,520 MU for FY 2016-17 to GRIDCO vide TTPS/O&M/GRIDCO/2015/001 Dated 02.11.2015 (ED-VII)which corresponds to Normative Annual Plant Load Factor (NAPLF) of 87.35%. With Normative Auxiliary Consumption of 10.50% (as per the CERC (Terms and Conditions of Tariff) Regulations, 2014-19, the net Energy available to GRIDCO works out to be 3150.40 MU. The Gross Energy Projection of 3520 MU at NAPLF of 87.35% is acceptable to GRIDCO which is above the CERC approved NAPLF of 85% for FY 2016-17.

Considering Normative Auxiliary Consumption of 10.50%, the Net Energy (Ex-Bus) available to GRIDCO during FY 2016-17 works out to be 3150.40MU as indicated in the Table below:

Proposed Power procurement from TTPS for FY 2016-17

| Name of Thermal Station | Installed Capacity (MW) | Aux. Cons (%) | PLF Assumed (%) | Generation (MU) | Aux. Consumption (MU) | Energy Sent Out (ESO) (MU) |
| --- | --- | --- | --- | --- | --- | --- |
| TTPS | 460 | 10.50 | 87.35 | 3520 | 369.60 | 3150.40 |

### 1.3 CENTRAL THERMAL GENERATING STATIONS (CGSs):

Hon’ble Central Electricity Regulatory Commission (CERC) vide Notification dated 21.02.2014 published the CERC (Determination of Terms & Conditions of Tariff) Regulations, 2014 (In short, CERC Tariff Regulations, 2014) effective from 01.04.2014 to 31.03.2019. Chapter-8 of the aforesaid Regulation stipulates the, “NORMS OF OPERATION” and Clause-36 deals with the norms & operation for Thermal Generating Stations. Further, Clause 36 (A) of the aforesaid Regulation reads as “Normative Annual Plant Availability Factor (NAPAF)” which stipulates as under:

“(a), “All  Thermal Generating Stations, except those covered under clauses (b), (c), (d), & (e)-85%

Provided that in view of shortage of coal and uncertainty of assured coal supply on sustained basis experienced by the generating stations, the NAPAF for recovery of fixed charges shall  be 83% till the same is reviewed.”

The above provision shall be reviewed based on actual feedback after 3 years from 01.04.2014.”

Based on the above provision of CERC Tariff Regulations,2014, NTPC has been raising bills on 83% NAPAF for recovery of Fixed Charges from 01.04.2014 onwards, as the period of review by CERC shall be commenced on 01.04.2017.

It is submitted that the month-wise actual Cumulative Plant Availability % for the months from April’15 to Sept’15 of FY 2015-16ofvarious Central Generating Thermal Stations (CGSs)varies from 74.24% to 97.54% as may be seen from the Table below. However, based on the afore-said new CERC Tariff Regulations, 2014, GRIDCO proposes a Normative Annual Plant Availability Factor (NAPAF) of 83% for the NTPC-ER Stations for FY 2016-17 as per the bills raised by NTPC at present.

| Cumulative Availability %of CGSs for the 1st six-months of FY 2015-16 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Stations | Apr-15 | May-15 | Jun-15 | Jul-15 | Aug-15 | Sep-15 | Cumulative Availability % | Cumulative Availability % (NAPAF%) proposed for CGSs by GRIDCO for FY 2016-17 (As per CERC Tariff Regulations, 2014) |
| TSTPS Stage-I | 97.46 | 98.15 | 97.24 | 96.94 | 96.31 | 88.21 | 95.74 | 83 |
| TSTPS Stage-II | 98.47 | 99.66 | 79.09 | 93.11 | 74.73 | 95.10 | 90.01 | 83 |
| FSTPS-I&II | 97.82 | 93.89 | 90.02 | 89.21 | 86.81 | 83.51 | 90.21 | 83 |
| FSTPS-III | 15.09 | 41.61 | 56.86 | 63.57 | 68.76 | 69.00 | 52.57 | 83 |
| KhSTPS St-I | 75.37 | 86.52 | 83.52 | 86.85 | 88.65 | 89.26 | 85.07 | 83 |
| KhSTPS St-II | 99.73 | 98.44 | 98.90 | 99.09 | 98.83 | 90.11 | 97.54 | 83 |
| Barh STPS –II. | 45.21 | 68.31 | 77.19 | 82.01 | 85.23 | 87.05 | 74.24 | 83 |

### While estimating the energy drawal for FY 2016-17, GRIDCO has considered the commercial operation of Unit-V of Barh-II STPS during the year 2016-17, since the Unit has been already commissioned and Trial Run Operation of the Unit has been started. In this regard, the intimation from NTPC vide their letter dtd. 30.10.15 is enclosed as EDVIII.GRIDCO has considered the projected energy availability from Barh STPS-II of NTPC as share allocation in favour of GRIDCO is yet to be cancelled by the Ministry of Power, Govt. of India despite continuous follow-up by GRIDCO and the Govt. of Odisha with the Central Government in this regard.

### To be specific, Govt. of Odishahas requested the Ministry of Power (MoP), Govt. of India several times for de-allocation of power from upcoming NTPC Station outside the State including the Barh STPS. In this regard,MoP,Govt. of India has already notified vide Notification dated 31.08.2015 for surrender of the allocated power by different States including Odisha and sought willingness from other States to avail such surrendered power.However, till now no alternative buyer has offered willingness to purchase the power from Barh-II, and hence, de-allocation in favour of Odisha is yet to take effect. It is due to this reason that energy drawalhas been considered from Unit-IV and Unit-V of Barh STPS-IIbecause the power is being thrust upon GRIDCO forcefully in spite of NIL / NOREQUISITION from these Units from December’14 onwards, in the name of technical minimum generation. As such,a total of 86MU of energy has been scheduled to GRIDCO during the period April’15 to Sept’15, against NIL requisition from GRIDCO.

### Under the circumstances, the estimation of energy drawal for FY 2016-17 from Central Thermal Generating Stations has been done by GRIDCO by considering the relevant allocated share of GRIDCO, NAPAF of 83% (except for Barh-II units where the estimation has been done prorating quantum of drawal for the entire year), Auxiliary Consumption as per the CERC Tariff Regulations, 2014 and the Central Sector Transmission Loss specific to each of the Stations, as per the Point of Connection (PoC) Methodology. The losses considered Station-wise during estimation of energy drawal have been arrived at, based upon the injection loss and withdrawal loss data for the month of Oct’15 as available from the NLDC Website. TheCentral Sector Transmission Loss pertaining to Station-wise “Injection Losses” and GRIDCO’s “Withdrawal Losses” for the year 2015-16 (up to Oct’15) are enclosed as ED-IX. Further, the present % of share allocation from NTPC Stations in favour of Odisha as derived from the Regional Energy Account (REA) of Easter Regional Power Committee (ERPC)is enclosed as ED-X.

### The details of proposed power procurement from each of the Central Thermal Generating Stations (CGSs) during FY 2016-17 are explained in the following paragraphs and Tables below:

- Talcher Super Thermal Power Station (TSTPS) - Stage-I:

Considering GRIDCO’s share of 31.97%from TSTPS Stage-I (1000 MW), Auxiliary Consumption of 5.75% (as per the CERC Tariff Regulations, 2014 in force for the period 2014-19 and the Petition filed by NTPC), proposed NAPAF of 83% and the Central Transmission Loss of 3.18%, the availability to GRIDCO from TSTPS Stage-I for FY 2016-17 is estimated as 2121.11 MU as indicated below:

Projected Power Procurement from TSTPS-I for FY 2016-17

| Central Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014& / Cum. Present Availability (%) | Net Availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after C.S. Trans. Loss of 3.18% (MU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TSTPS Stg.-I | 1000 | 5.75 | 83 | 6,852.73* | 31.97 | 2,190.78 | 2,121.11 |

*[(1000x0.83)x0.9425]x8.76=6852.73 MU

- Talcher Super Thermal Power Station (TSTPS) – Stage-II :

Considering GRIDCO’s share of 200 MW of power from TSTPS Stage-II (10% of Installed Capacity of 2,000 MW), Auxiliary Consumption of 5.75% (as per the CERC Tariff Regulations, 2014 in force for the period 2014-19 and the Petition filed by NTPC before the CERC), proposed NAPAF of 83% and Central Transmission Loss of 3.43%, the availability to GRIDCO from TSTPS Stage-II for FY 2016-17 is estimated at 1323.54 MU in indicated in the Table below:

Projected Power Procurement from TSTPS-II for FY 2016-17

| Central Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014& / Cum. Present Availability (%) | Net availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after C.S. Trans. Loss of 3.43% (MU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TSTPS Stg.-II | 2000 | 5.75 | 83 | 13,705.46* | 10.00 | 1,370.55 | 1,323.54 |

*[(2000x0.83)x0.9425]x8.76=13,705.46 MU

- Farakka Super Thermal Power Station (FSTPS-I&II):

Considering GRIDCO’s Share allocation of 13.81% (including equivalent Dadri Thermal Power) fromFSTPS-I&II (Installed Capacity: 1600 MW), Normative NAPAF of 83%, Auxiliary Consumption @6.47% (as per the CERC Tariff Regulations, 2014 in force for the period 2014-19 and the Petition filed by NTPC before the CERC) and Central Transmission Loss of 2.40%, the availability to GRIDCO from FSTPS-I & II is estimated as 1466.42 MU for FY 2016-17. The projection is given in the Table below:

Projected Power Procurement from FSTPS-I & II for FY 2016-17

| Central Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014& / Cum. Present Availability (%) | Net availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after C.S. Trans. Loss of 2.40% (MU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FSTPS-I & II | 1600 | 6.47 | 83 | 10,880.61* | 13.81 | 1,502.48 | 1,466.42 |

*[(1600x0.83)x0.9353]x8.76=10,880.61 MU

- Farakka Super Thermal Power Station (FSTPS-III):

GRIDCO was allotted 100.90 MW (83.1 MW + 17.80 MW) from unallocated share by the Ministry of Power, Govt. of India vide the Order Dated 09.12.2010 from Farakka Super Thermal Power Station Stage-III (FSTPS-III). However, the above additional 17.80 MW of power of GRIDCO from unallocated quota of FSTPS–III was withdrawn earlier during July ’13 by the Ministry of Power (MoP) and allocated to other beneficiary.

Further, GRIDCO, in order to meet the additional power demand of State, had another 50 MW allotment from this Power Plant through a Supplementary Power Purchase Agreement dated 20.08.2012 for a period of 24 months from September, 2012 to August, 2014.With increased availability of power from other sources, the Supplementary Power Purchase of 50 MW has been surrendered by GRIDCO w.e.f. 01.09.2014 & the same has been allocated to other beneficiary, namely, Assam Power Distribution Company Ltd. The relevant copy of the letter of the Eastern Region Power Committee (ERPC) bearing letter No. ERPC/COM-I/Share2014/Fax No.243 Dtd. 28.08.2014 is enclosed as ED–XI, to this effect.

In view of the above, current allotment of GRIDCO from FSTPS –III is only 83.10 MWwith ashare of 16.874% including equivalent Dadri Thermal Power. Thus, the projected power procurement from FSTPS-III is considered as 564.29 MU with a NAPAF of 83%, Auxiliary Consumption of 5.75% (as per the CERC Tariff Regulations, 2014 in force for the period2014-19 and the Petition filed by NTPC before the CERC) and C.S. Loss of 2.40% as indicated in the following Table:

Projected Power Procurement from FSTPS-III for FY 2016-17

| Central Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014& / Cum. Present Availability (%) | Net availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after C.S. Trans. Loss of 2. 40% (MU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FSTPS-III | 500 | 5.75 | 83 | 3,426.36* | 16.87 | 578.17 | 564.29 |

*[(500x0.83)x0.9425]x8.76=3426.36 MU

- Kahalgaon Super Thermal Power Station-Stage-I (KhSTPS-I) :

Considering Odisha Share allocation of 15.40%(including equivalent Dadri Thermal Power)from KhSTPS-I (Installed Capacity: 840 MW), NAPAF of 83%, Auxiliary Consumption of 9% (as per the CERC Tariff Regulations, 2014 in force for the period 2014-19 and the Petition filed by NTPC before the CERC)and Central Transmission Loss of 2.43%, the energy availability to GRIDCO from KHSTPS-I is estimated at 835.15 MU for FY 2016-17 as estimated in the Table below:

Projected Power Procurement from KhSTPS-I for FY 2016-17

| Central Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014& / Cum. Present Availability (%) | Net availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after C.S. Trans. Loss of 2.43% (MU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| KhSTPS Stg.-I | 840 | 9.00 | 83 | 5,557.80* | 15.40 | 855.95 | 835.15 |

*[(840x0.83)x0.91]x8.76=5557.80 MU

- Kahalgaon Super Thermal Power Station-Stage-II (KhSTPS-II):

Considering Odishashare allocation of 2.24 % (including equivalent Dadri Thermal Power)  fromKhSTPS-II (Installed Capacity: 1500 MW), proposed NAPAF of 83%, Auxiliary Consumption of 5.75% (as per the CERC Tariff Regulations, 2014 in force for the period 2014-19 and the Petition filed by NTPC before the CERC)and Central Transmission Loss of 2.43%, the availability to GRIDCO from KHSTPS-II is estimated at 224.48 MU for FY 2016-17 as given below:

Projected Power Procurement from KhSTPS-II for FY 2016-17

| Central Thermal Stations | Installed Capacity | Aux. Cons | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014&/ Cum. Present Availability (%) | Net Availability (ESO) | GRIDCO Share | Ex-bus Availability | GRIDCO share after C.S. Trans. Loss of 2.43% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (%) | (%) | (MU) | (%) | (MU) | (MU) |
| KhSTPSStg-II | 1500 | 5.75 | 83 | 10,279.09* | 2.24 | 230.07 | 224.48 |

*[(1500x0.83)x0.9425]x8.76=10,279.09 MU

- Barh Super Thermal Power Station-Stage- II ( Unit-IV& Unit-V):

Ministry of Power (MoP), Govt. of India vide Order Dated03.07.2012 notified allocation of power from Barh STPS-I (1980 MW i.e. 3x660 MW) and Barh STPS-II (1320 MW i.e. 2x660 MW) of NTPC in Bihar. Copy of the relevant letter dtd. 03.07.2012 of the MoP, GoI is enclosed as ED-XII.

As per the aforesaid order, GRIDCO has 12.57% share allocation from Barh-II. ERPC vide their letter dtd. 14.11.2014 intimated CoD of Unit IV of Barh-II from 00 hrs. of 15.11.2014. Copy of the relevant Letter of the Govt. of India is enclosed as ED-XIII.Further, ERPC vide letter dated 24.12.2014 revised the allocation of GRIDCO from 12.57% to 14.79% in accordance with the MoP Allocation Order dated 24.12.2014 (ED-XIV).

Based on the cost consideration, Govt. of Odisha have requested MoP, GoI several times for de-allocation of power from upcoming NTPC Stations outside the State which includes Units of Barh-II also. However, till now, de-allocation has not been made although MoP, GoI have already notified for the same. Since no alternative buyer has come up to purchase the power from Barh-II, there has been no de-allocation in favour of Odisha.

In the meantime, NTPC has already filed a Petition before the CERC for determination of Tariff for the period 2014-19. It is understood from the Petition that the 2nd Unit of BarhStage–II (i.e. Unit-V) was supposed to be commercially operated from 01.08.2015.However, GRIDCO has received a letter from NTPC vide letter dtd. 30.10.15 (ED-XV)wherefrom it is understood that the trial operation of Unit-V has already been started and NTPC intends to declare the Unit is commercially operative subsequent to the completion of trial operation. Hence, it is expected that Unit-V shall be put into commercial operation during the year 2016-17. This is to mention here that, though the requisition from Barh-II, Unit-IV has been made nil by GRIDCO since Dec’14, yet some power is being allocated to GRIDCO in the plea of technical minimum generation.As such,a total 86MU quantum of power has been scheduled to GRIDCO during the period from April’15 to Sept’15 without any requisition from GRIDCO. Trial Run Operation for Unit-V of Barh-II has already been started and COD is expected during 2016-17.Hence, considering the both Units of Barh- II (Unit-IV and Unit-V) in operation and the drawl of power from both the Unitsarecalculated as 1302.24 MU for 2016-17 after taking into account Odisha share of 14.79% from Unit-IV&Unit-Vof Barh-II along withCentral Sector Loss of 2.65%.

Projected Power Procurement from Barh STPS Stations for FY2016-17

| Central Thermal Stations | Weighted Avg. Installed Capacity (MW) | Aux. Cons. (%) | Based on technical minimum generation considering availability (PAFM) | Net Availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after the applicable C.S. Tr. loss of 2.65% (MU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BarhSTPS- II (Unit –IV)& (Unit-V) | 1320 | 5.75 | 83 | 9045.60* | 14.79 | 1337.68 | 1302.24 |

*[(1320x0.83)x0.9425]x8.76=9045.60 MU

Thus, considering the above drawal from each of the individual NTPC-ER Stations, the proposed drawal of 7837.22 MU from Central Thermal Generating Stations of ER, NTPC for FY 2016-17 are tabulated in the Table below:

| Availability of Power from Central Generating NTPC Stations FY-2016-17 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Central Thermal Stations | Installed Capacity (MW) | Aux. Cons (%) | Based on NAPAF% as per Para 36 (A) of CERC Regn.,2014&/ Cum. Present Availability (%) | Net Availability (ESO) (MU) | GRIDCO Share (%) | Ex-bus Availability (MU) | GRIDCO share after the applicable C.S. Trans. Loss (MU) |
| TSTPS Stg.-I | 1000 | 5.75 | 83 | 6,852.73 | 31.97 | 2,190.78 | 2,121.11 |
| TSTPS Stg.-II | 2000 | 5.75 | 83 | 13,705.46 | 10.00 | 1,370.55 | 1,323.54 |
| FSTPS-I&II | 1600 | 6.47 | 83 | 10,880.61 | 13.81 | 1,502.48 | 1,466.42 |
| FSTPS-III | 500 | 5.75 | 83 | 3,426.36 | 16.87 | 578.17 | 564.29 |
| KhSTPSStg-I | 840 | 9.00 | 83 | 5,557.80 | 15.40 | 855.95 | 835.15 |
| KhSTPSStg-II | 1500 | 5.75 | 83 | 10,279.09 | 2.24 | 230.07 | 224.48 |
| Barh STPS- II(UNIT-IV) | 660 | 5.75 | 83 | 4,522.80 | 14.79 | 668.84 | 651.12 |
| Barh STPS- II(UNIT-V)* | 660 | 5.75 | 83 | 4,522.80 | 14.79 | 668.84 | 651.12 |
| TOTAL |  |  |  | 59,747.65 |  | 8,065.68 | 7,837.22 |

*Trial Run Operation for Unit-V of Barh-II has already been started and COD is expected during 2016-17.

1.4CENTRAL HYDRO GENERATING STATIONS:

- Chukha Hydro Electric Project (HEP) (Bhutan):

Chukha Hydro Electric Project(HEP), Bhutan has an installed capacity of 336 MW (4x84 MW). GRIDCO has a share allocation of 15.19% from Eastern Region (ER) allocation of 270 MW in Chukha HEP. Based on the average drawal over the last 6 years from FY 2009-10 to FY 2014-15 and considering Central Transmission Loss of 2.65%,GRIDCO proposes to draw 255.88 MU; say, 256 MU from Chukha during the FY 2016-17. The details are shown in the Table below.

Proposed Drawal from Chukha HEP for FY 2016-17

| Financial Year | Drawal by GRIDCO (MU) |
| --- | --- |
| 2009-10 | 277.80 |
| 2010-11 | 278.49 |
| 2011-12 | 260.39 |
| 2012-13 | 237.58 |
| 2013-14 | 275.413 |
| 2014-15 | 247.41 |
| Total drawal for the last 6 years | 1577.08 |
| Average drawal for the last 6 years | 262.85 |
| Proposal after deducting Central Transmission Loss@ 2.65% | 255.88 |
| Proposed drawl (MU), Say, (Rounded off) | 256.00 |

- Tala HEP (Bhutan):

At present, GRIDCO has a share of 4.25% which is equivalent to allocation of 43.35 MW from Tala HEP (Bhutan) that has Installed Capacity of 1020 MW. GRIDCO proposes to draw 141 MU during FY 2016-17 considering the last 5 years’ average drawal i.e. from FY 2010-11 to FY 2014-15 and Central Transmission Loss of 2.65%. The details are shown in the Table below:

Proposed Drawal from Tala HEP for FY 2016-17

| Financial Year | Drawal by GRIDCO (MU) |
| --- | --- |
| 2010-11 | 151.56 |
| 2011-12 | 144.79 |
| 2012-13 | 131.76 |
| 2013-14 | 153.82 |
| 2014-15 | 139.33 |
| Total drawal for 5 years | 721.25 |
| Average drawal for 5 years | 144.25 |
| Proposal after deducting central Transmission Loss @ 2.65% (MU) | 140.43 |
| Proposed Drawal (MU), Say; (After Rounding off) | 141.00 |

- Teesta –V HEP (Sikkim):

The Annual Design Energy of Teesta-V HEP (Installed Capacity: 510 MW) situated in Sikkim is 2572.70 MU. After factoring for 12% free energy to the Home State, Sikkim &1.20% towards Auxiliary Consumption, the annual saleable energy of the project is estimated as 2236.808288 MU. Considering the share of GRIDCO as 23.40% of the saleable energy, GRIDCO proposes to procure 509.54 MU, say, 510 MU (rounded off) of energy during the year 2016-17 after deducting the Central Sector loss of 2.65%. The details are shown in the Table below:

Proposed Drawal from Teesta HEP for FY 2016-17

| Design Energy (MU) | 2572.67 |
| --- | --- |
| Annual saleable Energy available considering 1.20% Auxiliary energy consumption and 12% free energy for home state (MU) | 2236.81 |
| GRIDCO Share (%) | 23.40 |
| Availability (MU) | 523.41 |
| Proposal After deducting Central Transmission Loss @ 2.65%. (MU) | 509.54 |
| Proposed drawl for FY 2016-17; Say, (After Rounding Off) (MU) | 510.00 |

The details of proposed drawal of energy by GRIDCO from Central Hydro Generating Stations (other than NTPC Thermal Stations) for FY 2016-17is given in the Table below:

Proposed Drawal by GRIDCO from Central Hydro Stations during FY 2016-17

| Central Generating Stations other than NTPC Stations. | Installed Capacity (MW) | GRIDCO Share of installed capacity (%) | GRIDCO Share of installed capacity (MW) | GRIDCO Proposal for FY 2016-17 considering drawal trend during past years & after applicable C.S. loss (MU) |
| --- | --- | --- | --- | --- |
| Chukha HEP | 4*84=336 ER Allocation=270MW | 15.19 | 41.013 | 256.00 |
| Tala HEP | 6*170 = 1020 | 4.25 | 43.35 | 141.00 |
| Teesta-V HEP | 3*170=510 | 20.59 (Equivalent to 23.40% of Saleable Energy) | 105.019 | 510.00 |
| TOTAL |  |  |  | 907.00 |

1.5 RENEWABLE ENERGY SOURCES:  (NON-SOLAR & SOLAR):

It is submitted that the Hon’ble OERC has mandated GRIDCO to meet the Renewable energy (both solar and non-Solar) Purchase Obligation (RPO) for the years from 2011-12 to 2015-16 in terms of the Para 3 (I) of the Commission’s Order dated 30.09.2010 in Case No. 59 of 2010 and thereafter vide Gazette Notification dated 10.09.2015for the years from 2015-16 to2019- 20 as per Clause 4.2   (ED-XVI). As per this, GRIDCO is required to purchase renewable energy @ 4.50 % (consisting of 1.50 % as Solar Energy, 3.00 % towards Non-Solar energy) of the total projected energy requirement for FY 2016 -17. The relevant para along with the Table from Gazette notification dated 10.09.2015is reproduced below:

“Every Obligated Entity shall at least purchase source wise energy from Renewable sources as indicated in the table below:

RPO Target for the period from FY 2015-16 to FY 2019-20

| Year-wise Target | Solar Source (%) | Non Solar Sources (%) | Total (%) |
| --- | --- | --- | --- |
| 2015-16 | 0.50 | 2.50 | 3.00 |
| 2016-17 | 1.50 | 3.00 | 4.50 |
| 2017-18 | 3.00 | 4.50 | 7.50 |
| 2018-19 | 4.50 | 5.00 | 9.50 |
| 2019-20 | 5.50 | 5.50 | 11.00 |

Based on the above, RPO as specified in the Gazette Notification dated 10.09.2015, the proposed procurement of Solar and Non-Solar Energy for  FY 2016 -17 is indicated below:

Proposed Procurement of Renewable Energy during FY 2016-17

| Particulars | RPO Target |  | Renewable Energy proposed by GRIDCO for FY 2016 -17(on Net Energy Requirement of 25,500 MU) |
| --- | --- | --- | --- |
|  | Percentage (%) | Quantum (MU) | Quantum (MU) |
| A. Solar Energy | 1.50 | 382.50 | 230.00 |
| B. Non-Solar Energy |  |  |  |
| B.1. (Bio Mass & SHEP) | 3.00 | 765.00 | 480.00 |
| Total | 4.50 | 1147.50 | 710.00 |

It is expected that Shortfall or Surplus towards RPO would be adjusted through procurement of energy from Biomass and Small Hydel sources.

(a)	Solar Energy:

GRIDCO is hopeful to procure 230 MU from:

- 8 Nos. of Solar PV Projects of 1 MW capacity each commissioned in the State under 'Rooftop PV and Small Solar Power Generation Programme' (RPSSGP) guidelines of MNRE, GoI (13 MU);

- 20 MW Solar capacity as per the Power Sale Agreement (PSA) executed with NTPC Vidyut Vyapar Nigam Limited (NVVNL) on 12th January 2011 under 'New Projects Scheme' under Phase-1 of Jawaharlal Nehru National Solar Mission (JNNSM) where Solar capacity bundled with equal  capacity of thermal capacity from the unallocated quota of the NTPC Coal Based Stations is available to GRIDCO (34 MU), and;

- 10 MW Solar capacity from NTPC as per the PPA executed with them on 26.04.2011 to procure Solar power  each from 5 MW Dadri Solar PV project at U.P. & 5 MW Faridabad Solar PV Project at Haryana (17 MU);

- Besides, 8 MU will be made available to GRIDCO by December 2013 from the 5 MW Solar PV Project developed by M/s Alex Green Energy Ltd. under OREDA State Scheme at Patnagarh, Bolangir District.

- 42 MU from the 25 MW SPV Project to be developed by M/s. ACME Odisha Solar Power Private Ltd. at Bolangir District under OREDA State Scheme, Phase-2.

- 70 MW Solar Capacity is allocated to GRIDCO through SECI under Viable Gap Funding (VGF) Scheme under JNNSM Phase-II. Around 116 MU is expected to available to GRIDCO during FY 2016 -17.

GRIDCO is trying its best to explore the possibilities to procure more Solar Power for the State in order to increase the share of renewable energy in the overall energy basket of the State.

Thus, GRIDCO proposes to procure 230 MU of Solar power during FY 2016-17 as given in the Table below:

Proposed Drawal of Solar Power during FY 2016-17

| Sl. No. | Solar RE Sources | Energy Proposed for FY 2016-17 (MU) |
| --- | --- | --- |
| 1. | 8 Nos. of Solar PV projects of 1 MW each under RPSSGP | 13.00 |
| 2. | 20 MW from NVVN through 'New Projects scheme' under JNNSM, Phase-1 | 34.00 |
| 3. | 10 MW through NTPC from 5 MW Solar PV project at Dadri & Faridabad | 17.00 |
| 4. | 5 MW from M/s Alex Green Energy Ltd. through OREDA State Scheme | 8.00 |
| 5. | 25 MW from M/s. ACME Odisha Solar Power Private Limited | 42.00 |
| 6. | 70MW through Solar Energy Corporation of India (SECI) under JNNSM, Phase –II, Batch-I | 116.00 |
|  | Total | 230.00 |

(b) NON-SOLAR:

(i)	Small / Mini Hydro Electric Projects:

Considering the quantum of 286.58 MU of energy procured during FY 2014-15, drawal  of 179.45 MU during the first six months of FY 2015-16 and the present availability of water, GRIDCO proposes to draw around 320 MU of renewable energy from Small Hydro Sources (Meenakshi & Samal SHEPs) during FY 2016-17 as given below:

Proposed Drawal from Meenakshi & Samal SHEP for FY 2016 -17

| Sl. No. | Name of the SHEPs | Installed Capacity (MW) | Energy drawal during FY 2014-15 (MU) | Energy drawal during the 1st six months of 2015-16 (MU) | Proposed Energy procurement for FY 2016-17 (MU) |
| --- | --- | --- | --- | --- | --- |
| 1. | Meenaskhi Small Hydro | 37 | 211.36 | 128.94 | 220.00 |
| 2. | SAMAL Small Hydro | 20 | 75.22 | 50.51 | 100.00 |
|  | Total |  | 286.58 | 179.45 | 320.00 |

(ii) Energy from Bio-Mass:

It is submitted thatthe 20 MW Biomass Power Plant of M/s. Shalivahan Green Energy Ltd., Hyderabad located at Nimidha, Dhenkanal was out of operation since January, 2013 and was re-synchronized on 29th May 2015. All the generated power is now scheduled to GRIDCO with effect from 1st June 2015.

In the 1st 5 months of generation,M/s. Shalivahan Green Energy Ltd. has generated 11.43 MU (from June 2915 to October 2015). GRIDCO proposes to draw around 100 MU of renewable energy from the Biomass Power plant.

Besides, another 60 MU is proposed to be procured as Biomass Energy from the Up-coming 10 MW Biomass Plant of M/s Octant Industries Ltd. located at Sambalpur which is expected to be commissioned during early part FY 2016 -17.

In view of the above, GRIDCO proposes to draw around160 MU from the Bio-mass Projects for the FY 2016-17.

Proposed Biomass Energy during FY 2016 -17

| Sl. No. | Name of the Bio-Mass Plant | Proposed Energy procurement for FY 2016-17 (MU) |
| --- | --- | --- |
| 1. | M/s Shalivahan Green Energy Ltd. | 100.00 |
| 2 | M/s Octant Industries Ltd. | 60.00 |
|  | Total | 160.00 |

In line with the above estimation, the procurement of energy from Non-Solar sources during FY 2016-17is projected as under:

Projected Procurement of Non-Solar Energy during FY 2016-17

| Sl. No. | Renewable Energy Sources. | Energy Proposed for FY 2016-17 |
| --- | --- | --- |
|  |  | (MU) |
|  | NON-SOLAR |  |
| A | SHEP: |  |
| 1 | Meenaskhi Small Hydro | 220.00 |
| 2 | SAMAL Small Hydro | 100.00 |
|  | Total SHEP (A) | 320.00 |
| B. | BIO-MASS |  |
| 1 | M/s. Shalivahana Green Energy Ltd. – Biomass Energy | 100.00 |
| 2 | M/s. Octant Industries Ltd. – Biomass Energy | 60.00 |
|  | Total BIO-MASS (B) | 160 |
| C. | Total (A+B) | 480 |

Thus, GRIDCO hopes to procure 710MU of Renewable Energy(RE) consisting of Solar (230 MU), Non-Solar Energy (SHEP & Biomass = 480 MU) as given in the Table below:

Projected Procurement of Renewable Energy (Solar & Non-Solar) for FY 2016-17

| Sl. No. | Renewable Energy Sources | Energy Proposed for FY 2016-17 |
| --- | --- | --- |
|  |  | (MU) |
| A | NON-SOLAR |  |
| A.1 | SHEP |  |
| i) | Meenaskhi Small Hydro | 220.00 |
| ii) | SAMAL Small Hydro | 100.00 |
| A.1 | Sub-Total (Small Hydro) | 320.00 |
| A.2 | BIO-MASS |  |
| i) | Shalivahana Green Energy Ltd. | 100.00 |
| ii) | Octant Industries Ltd. | 60.00 |
| A.2 | Sub-Total (Bio-Mass) | 160.00 |
| A | Total (A.1+A.2) | 480.00 |
| B | SOLAR RE Sources | 230.00 |
| C | Total (A+B) (NON-SOLAR & SOLAR) | 710.00 |

It is submitted that although GRIDCO is willing to purchase the required quantum of Renewable Energy consisting of Solar & Non-Solar Energy in order to fulfil its Renewable Purchase Obligation (RPO) of 4.50 % consisting of 1.50 % of Solar Energy &3.00 % of Non-Solar Energy during FY 2016-17 in terms of the Gazette Notification dated 10.09.2015, the availability of such energy has been posing a constraint.In view of the fact that there is sudden increase of RPO requirement as per the new RPO Regulation, 2015, GRIDCO prays the Hon’ble Commission to consider the problems of GRIDCO in achieving the relevant RPO target in a considerate and judicious manner as adequate availability of Renewable Energy in the State also poses a constraint.

However, it is submitted that the generation of renewable energy is slowly picking up in the State and GRIDCO is committed to harness such energy as and when available.

1.6 Independent Power Producers (IPPs):

At present 3 Nos. of the Independent Power Plants which have been established and commercially commissioned in the Odisha, are supplying the State share of power to GRIDCO as per the provisions of Power Purchase Agreements (PPAs) executed with them. The details of such IPPs are as follows:

| Sl. No. | Name of IPP | Location of the Project | Installed capacity (MW) | Odisha share Ex-Bus (MW) | Date of Commercial Operation |
| --- | --- | --- | --- | --- | --- |
| 1. | M/s. Vedanta Ltd (Erstwhile SESA Sterlite Ltd) | Brundamal, Jharsuguda | 4x600 (2,400) | 722(*) | # 1: 30-03-2011 # 2: 10-11-2010 # 3: 19-08-2011 # 4: 26-04-2012 |
| 2. | M/s. GMR Kamalanga Energy Ltd., Bengaluru | Kamalanga, Dhenkanal | 3x350 (1,050) | 239 | # 1: 30-04-2013 # 2: 11-11-2013 # 3: 25-03-2014 |
| 3. | M/s. Jindal Thermal Power Ltd | Derang, Angul | 3X600 | 147(**) | # 1: 06-06-2014(***) # 2: 07-02-2015 |
|  | TOTAL |  | 3,450 | 863 |  |

N.B:

1) (*) 	From M/s. Vedanta Ltd, State entitlement is 25% at Full Tariff and 7% of ESO at Energy Charge Rate.

2) (**)   State Entitlement from M/s. JITPL is 14% from Unit#1 /12% from Unit #2, based on allocation/non-allocation of coal blocks within the State.

3)  (***) 	M/s. JITPL suo-moto declared COD of Unit #1on 06-06-2014. However, the successful MCR Test was conducted from 15-04-2015 to 18-04-2015, in presence of GRIDCO Officials.

- As per the provisions of approved consolidated PPA dated 19-12-2012, Unit-2 (600 MW) of M/s. Vedanta Ltd. (erstwhile SESA Sterlite Ltd) is State-dedicated & connected to OPTCL/STU System through 220 kV VAL – Budhipadar D/C lines.

It may be relevant here to mention that GRIDCO has been contesting before Hon’ble APTEL regarding the transmission capacity of the existing 220 kV VAL-Budhipadar Double Circuit line which is sub-judice at present. However, the IPP has not been supplying to its full ex-bus generation capacity from Unit #2, citing transmission constraint in contrast to the fact that the onus/responsibility of construction of dedicated transmission line for evacuation of State share of power  lies with the IPP as per Section 10  of the Electricity Act,2003.

- Based on the terms and conditions of the PPA dated 04-01-2011 executed with GKEL, GRIDCO is entitled for 25% of the energy sent out at the Tariff to be determined by the Hon’ble OERC. Further, the power generated in excess of 80% PLF shall be made available to the State at variable cost. Apart from the entitlement, GRIDCO had procured additional power from the IPP at the time of requirement to meet the State demand at the provisional tariff in effect. From 18th March, 2015 onwards, the Unit #3 of the IPP is connected with the STU and supplying power to the State through dedicated 400kV DC GMR-Meramundali transmission line. After supplying the State share of power, the IPP is selling the balance power generated from its Unit #3 through Short Term Open Access.

- Out of 3No. of 600MW Units, COD of two units of M/s. JITPL has been commercially declared as mentioned above. The IPP is connected with the PGCIL- Angul Pooling Station through 400kV transmission line. Based on the Terms and Conditions of the PPA dated 04-01-2011 executed with JITPL, GRIDCO is entitled for 14% of the power sent out at Variable Cost/Energy Charge Rate (ECR), to be determined by the Hon’ble Commission, if coal block is allocated within the State. Otherwise, JITPL shall supply 12% of the power sent out at Variable Cost/Energy Charge Rate. As reported by JITPL, it is having linkage coal supply against Unit #1 only. However, at present JITPL is submitting schedule to ERLDC @12% of their total tentative declared day ahead schedule from the two units on short term basis i.e. day ahead basis. The respective POC Charge is borne by JITPL as per Supplementary PPA dated 23-07-2013.Thus, based on the Auxiliary Energy Consumption of 6% (as mentioned in the OERC (Terms and Conditions of Tariff for Determination of Generation Tariff), Regulation, 2014) and 85% PLF, it proposes to procure 1008MU (considering State entitlement @12%) power from JITPL during FY:2016-17.Further, MCLhas been requested to furnish the linkage coal supply status to GRIDCO.

- Regarding the procurement of power from the thermal power plant of M/s. NBVL, it is to be mentioned here that, the Case No.78/2014 for approval of PPA executed with NBVL dated 31-10-2015 and 23-09-2015 with or without modification is sub-judice. As per the direction of Department of Energy, Government of Odisha, the Installed Capacity of the Thermal Plant has been modified to 60MW and the PPA dated 31-10-2014 has been amended to that extent vide amended PPA dated 23-09-2015 and filed before the Hon’ble Commission in the aforesaid Case for approval with or without modification. However, as per the provisions of said PPA, GRIDCO is entitled to 14% of the power sent out at Energy Charge Rate/Variable Cost to be determined by the Hon’ble OERC, if coal block is allocated within the State. Otherwise, NBVL shall supply 12% of the power sent out at Variable Cost / Energy Charge Rate.

- The 1st Unit (350MW) of IPP of M/s. Ind-Barath Energy(Utkal) Limited (IBEUL) being at advanced stage of COD declaration by Jan-2016 , to be connected to CTU through 400kV dedicated Ind-BarathJharsuguda line, GRIDCO intends to procure 12% State entitlement as per the PPA dated 04-01-2011 at Energy Charge Rate to be determined by the Hon’ble Commission. It may be noted here that, as the IPP shall be connected to CTU, a minutes of meeting dated 24-07-2015 was signed with the IPP, as per which it shall bear the respective POC charges towards supply of State entitlement to GRIDCO. Further, based on the said Minutes of Meeting , a supplementary agreement shall be signed with the IPP regarding the same.

The details of generating Units of different upcoming IPPs which are expected to be commissioned during the balance period of 2015-16 and FY 2016-17 are furnished below:

IPP Units expected to be commissioned during FY 2015-’16 & 2016-‘17

| Sl. No. | # Name of IPPs | ## Location | Installed Capacity | Odisha Share |  | Expected date of Commissioning |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (MW) | (%) | (MW) |  |
| 1. | M/s. Ind-Barath Energy (Utkal) Ltd. | Sahajbahal, Dist. Jharsuguda | 700 | 12 | 84.0 | # 1: Jan, 2016 # 2: Mar, 2016 |
| 2. | M/s. Monnet Power Company Ltd. | Mallibrahmani & Nisa, Dist.: Angul | 1050 | 25 | 262.5 | # 1: Mar, 2016 # 2: Jun, 2016 |
| 3. | M/s. MaaDurga Thermal Power Company Ltd. | Tangi, Dist.: Cuttack | 60 | 12 | 7.2 | # 1: Mar, 2016 # 2: Jun, 2016 |
| 4. | M/s. Lanco Babandh Power Ltd. | Khurunti, Dist.: Dhenkanal | 1320 | 25 | 330.0 | # 1: Nov, 2016 # 2: Feb, 2017 |
|  | ###### Total |  | 3130 |  | 683.7 |  |

Note:1) The State entitlement shown above is inclusive of Auxiliary Energy Consumption (AEC).

2) In the event of allocation of Coal Block(s), the Odisha share shall be 14%.

3) The above commissioning schedules are indicative only.

4) GRIDCO reserves the first right to procure all the infirm power from these IPPs at Variable Cost

(i.e. Energy Charge Rates, ECR).

GRIDCO restricts its proposed procurement of power only from the existing IPPs or IPPs which have been already commercially commissioned, viz., Vedanta Ltd, GKEL, and JITPL only and procurement from Ind-Barath Energy (Utkal) Ltd. has also been considered as the IPP is in advanced stage for commercial declaration of its 1st Unit i.e. Unit #1(350MW).Also, procurement  of power from thermal power plant of NBVL is considered as per provisions of the PPA dated 31-10-2014 read with amended PPA dated 23-09-2015 subject to approval of PPA with or without modification filed before the Hon’ble Commission in Case No.78/2014, sub-judice at present. It is further submitted that GRIDCO projected procurement of power from the five Nos. of IPPs viz., Vedanta Ltd, GKEL, JITPL, Naba Bharat Ventures Ltd. (Existing IPPs) and Ind-Barath Ltd. (Up-Coming which is in the advanced stage of commissioning) only. It is submitted that projected power procurement from all the above IPPs has not been made by GRIDCO since any delay in the commissioning of the concerned IPPs (Delay in commissioning is almost an usual phenomenon with the IPPs) will affect the projected power procurement & cost thereof by GRIDCO during FY 2016-17.

- Proposed Procurement of Power from the existing IPPs,of Vedanta Ltd., GKEL, & JITPL along with Ind Barath and NBVL:

- Vedanta Limited (Erstwhile SESA Sterlite Ltd):

As no Generation Plan has been submitted by the IPP, based on the provisions of the PPA, operational norms fixed for 600MW Unit size in the OERC (Terms and Conditions of Tariff for Determination of Generation Tariff), Regulation, 2014 i.e. Auxiliary Energy Consumption) (AEC)@6%) andnormative PLF of 85% and in view of the continuation of linkage coal supply to the IPP, GRIDCO shall procure 4200MU(2400X.94X365X24X.85X.25) attotal rate consisting of Fixed Charge Rate plus Energy Charge Rate (ECR),and 1176 MU (2400X.94X365X24X.85X.07) from the IPP)at Variable Charge Rate, respectively.

- GMR Kamalanga Energy Ltd. (GKEL):

The IPP has not submitted any generation plan for FY 2016-17 and thus in view of the power supplied in last six months of the current financial year and as per 25% of normative ex-bus capacity of the total thermal plant, at 80% PLF and considering 9% AEC (as per OERC Terms and Conditions of Tariff for Determination of Generation Tariff), Regulation, 2014 GRIDCO intends to procure 1674 MU from GKEL during FY 2016-17 at FCR & ECR.Further, as per the PPA, all power generated beyond 80% PLF shall be procured at Energy Charge Rate (ECR).

- Jindal India Thermal Power Ltd. (JITPL):

The IPP has not submitted the generation plan for FY 2016-17 and thus GRIDCO proposes to procure 1008MU (considering 6% AEC as per OERC (Terms and Conditions of Tariff for Determination of Generation Tariff), Regulation, 2014, 85%PLF and State entitlement @12%) power from JITPL subject to clarification on linkage coal supply to the IPP by MCL.

- Nava Bharat Ventures Ltd. (NBVL):

NBVL having a single unit of 60MW thermal power plant has not submitted any generation plant. However, GRIDCO hereby proposes to procure 40MU (considering 9.0% AEC as per OERC (Terms and Conditions of Tariff for Determination of Generation Tariff), Regulation, 2014 and 65% PLF, being a new plant) from NBVL at the provisional Variable / Energy Charge Rate as per its entitlement of 12% of the power sent out from the power plant (no coal block has been allotted but NBVL have informed that coal shall be purchased from MCL through linkage route).

- Ind Barath Energy(Utkal) Limited:

As the 1st Unit (350MW) of the IPP is in advance stage commissioning and expected to be operational by Jan-2016, based on the provisions of PPA dated 04-01-2011, considering9% AEC as per OERC (Terms and Conditions of Tariff for Determination of Generation Tariff),Regulation, 2014,65%PLF(being a new plant) and State entitlement @12%, GRIDCO proposes to procure 218MU from the upcoming IPP during FY2016-17, apart from infirm power at provisional ECR to be fixed by the Hon’ble Commission.

The proposal of GRIDCO on procurement of power from IPPs is furnished below in the following Table:

Proposed Power Procurement from IPPs during FY 2016-17

| IPPs | Proposed Drawal by GRIDCO for FY 2016-17 (MU) |  |  |
| --- | --- | --- | --- |
|  | At Full Tariff (Fixed Charge+ ECR) | At Energy Charge Rate(ECR) | TOTAL |
| Vedanta Ltd | 4200.00 | 1176.00 | 5376.00 |
| GMR Kamalanga Energy Ltd. | 1674.00 | - | 1674.00 |
| Jindal India Thermal Power Ltd. | - | 1008.00 | 1008.00 |
| Ind Barath Energy(Utkal Ltd) | - | 218.00 | 218.00 |
| Nava Bharat Ventures Ltd. | - | 40.00 | 40.00 |
| Total | 5874.00 | 2442.00 | 8316.00 |

Further , it is to be mentioned here that, in spite of GRIDCO’s request made vide letters dated 05-10-2015 and 04-11-2015,(ED-XVII & XVIII),respectively, the IPPs i.e. Vedanta Ltd, JITPL, Monnet, GKEL, Ind-Barath, NBVL(though the Case No. 74/2014 is sub-judice) have not submitted the required data in respect of generation plan for FY 2016-17, coal and oil data(i.e. GCV, Landed Price of Coal etc.) as applicable and other actual operational parameters achieved during the period from April-15 to Sept-15 for necessary assessment for the next financial year i.e.2016-17.Therefore, GRIDCO hereby have considered the basis as adopted by the Hon’ble Commission in the ARR order for FY 2015-16 dated 23-03-2015.It may further be noted here that, none of the IPPs supplying power to GRIDCO are submitting the monthly AEC, Coal & Oil Data (i.e. Price & GCV) and the station operational parameters in compliance to the Clause 4.33 of OERC (Terms and Conditions for Determination of Generation Tariff) Regulations,2014.

1.7 	Power Banking:

Apart from availability of energy from various entitled sources, GRIDCO also sources power through need-based banking arrangement with different Generators / Utilities to the mutual benefit. Under the arrangement, the surplus energy of a Utility is banked with the Utility that has power deficit. The arrangement is a cashless transaction which helps a lot to a cash-deficit Utility like GRIDCO. The process helps the Deficit Utility to meet its power requirement through Power Banking Arrangement without any cash outgo and when the Utility becomes surplus in power, it returns the power along with %5 extra power i.e. 105% of the availed power to the Lending Utility. The concept has become popular now-a-days.

GRIDCO envisages to avail 153.36 MU and return 633.78 MU of energy under Power Banking Arrangement during FY 2016-17. It is thus submitted that there will be net outflow of 480.42 MU (133.36 MU-633.78 MU) of energy during FY 2016-17 under Power Banking. Due to the net outflow effect of 480.42 MU through Power Banking, the total availability of energy gets reduced by the above quantum from 29,627.84 MU to 29,147.42 MU.

1.8. 	Captive Generating Power Plants (CGPs):

In view of adequate availability of power due to State share in the various existing & Up-coming Power Plants in the State, GRIDCO has not proposed any procurement from CGPs. However, procurement from these sources may be resorted to depending upon exigencies / force majure conditions.

2.  Summary of Energy Availability to GRIDCO for FY 2016-17:

Based on the above projections, the energy availability from all sources (including Power Banking) to GRIDCO for FY 2016-17 is estimated as 29,147.42 MU. The details of the same are indicated in the following Table:

SUMMARY OF ENERGY AVAILABILITY TO GRIDCO FOR FY 2016-17. Stations; Availability (After Transformation loss & Auxiliary Consumption)(MU); Share %; Projection for FY2016-17 (MU). HHEP; 639.28; 100.00; 639.28. CHEP; 464.62; 100.00; 464.62. Rengali; 514.55; 100.00; 514.55. Upper Kolab; 815.44; 100.00; 815.44. Balimela; 1159.46; 100.00; 1159.46. OHPC(Old); 3593.35; 100.00; 3593.35. Indravati; 1922.96; 100.00; 1922.96. Sub-Total OHPC; 5516.30; 100.00; 5516.30. Machhkund; 262.50; 100.00; 262.50. Total State Hydro Availability; 5778.80; 100.00; 5778.80. OPGC; 2928.42; 100.00; 2928.42. TTPS; 3150.40; 100.00; 3150.40. Small Hydro Renewable Energy; 320.00; 320.00. Biomass Energy; 160.00; 160.00. Solar Energy; 230.00; 230.00. CGPs; 0.00; 0.00. Co-generation Plants; 0.00; 0.00. IPPs; 8316.00; 8316.00. Total State Availability; 20883.62; 20883.62. TSTPS Stg.-I; 2121.11; 31.97; 2121.11. TSTPS Stg.-II; 1323.54; 10.00; 1323.54. FSTPS-I&II; 1466.42; 13.81; 1466.42. FSTPS-III; 564.29; 16.87; 564.29. KhSTPS Stg.-I; 835.15; 15.40; 835.15. KhSTPS Stg.-II; 224.48; 2.24; 224.48. Barh STPS -II (Unit-IV); 651.12; 14.79; 651.12. Barh STPS -II (Unit-V); 651.12; 14.79; 651.12. Total Central Thermal Availability; 7837.22; 7837.22. Chukha; 256.00; 15.19; 256.00. TALA; 141.00; 4.25; 141.00. Teesta; 510.00; 20.59; 510.00. Total Central Hydro Availability; 907.00; 907.00. Total EREB; 8744.22; 8744.22. Total; 29627.84; 29627.84. Power Banking. Inflow; 153.36; 153.36. Outflow; -633.78; -633.78. Total Availability; 29147.42; 29147.42.

3.   Energy Demand of DISCOMs and CGPs:

GRIDCO requested the four Electricity Distribution Utilities (DISCOM Utilities) to submit their Energy Requirement and Simultaneous Maximum Demand (SMD) for FY 2016-17in order to facilitate preparation of the Aggregate Revenue Requirement & Bulk Supply Price Application for FY 2016-17. In response, the four DISCOM Utilities furnished energy projection for FY 2016-17 in respect of CESU, WESCO, NESCO and SOUTHCO as 8,905 MU, 7,450 MU, 5,583MU and 3,530 MU, respectively. Thus, the total projected energy requirement for the four DISCOM Utilities for FY 2016-17, is calculated as 25,468 MU.

Energy Projection relating to Emergency Sale& Back-up Power to CGPs like NALCO & IMFA (with whom GRIDCO has Long Term Agreements) is proposed as 10 MU based on the actual drawal of such entities which in recent years, shows declining trend. In fact, during the first six months of the current year i.e. from April, 2015 to September, 2015, the energy drawal by NALCOhas been only 0.019 MU whereas by IMFA (Formerly, ICCL), the drawal is 8.025 MU only. Therefore, GRIDCO proposes the estimation of Emergency & Back-up Sales to NALCO & IMFA at 10 MU during FY 2016-17.

The details of the power sale (25,478.00 MU) consisting of sale to the DISCOM Utilities(25,468 MU)and that to the CGPs like NALCO & IMFA (10 MU)during FY 2016-17 are projected Utility-wise as follows:

Projected Energy Demand of DISCOMs and CGPs for FY 2016-17

| DISCOM Utilities | Actual from April' 2015 to Sept'15 | Projection for 2015-16 on pro rata basing on 1st six months consumption | OERC approval of Energy Requirement for DISCOM Utilities during FY 2015-16 | GRIDCO's Projection based on energy projection by DISCOM Utilities for FY 2016-17 |
| --- | --- | --- | --- | --- |
|  | (MU) | (MU) | (MU) | (MU) |
| CESU | 4467.870 | 8935.74 | 8780 | 8905.00 |
| NESCO | 2650.0962 | 5300.19 | 5250 | 5583.00 |
| WESCO | 3509.842 | 7019.68 | 7350 | 7450.00 |
| SOUTHCO | 1646.1005 | 3292.20 | 3420 | 3530.00 |
| TOTAL DISCOMs Utilities | 12273.909 | 24547.82 | 24800 | 25,468.00 |
| NALCO & IMFA | 8.044 | 16.09 | 10 | 10.00 |
| TOTAL SALE | 12,281.95 | 24563.91 | 24,810 | 25,478.00 |

4.	Simultaneous Maximum Demand (SMD) of DISCOMs:

Based on the request of GRIDCO, the DISCOM Utilities furnished their estimation of SMD for FY 2016-17as follows:

CESU 		: 	1,872 MVA

WESCO 	: 	1,350 MVA

NESCO	:	980 MVA

SOUTHCO	:	600 MVA

| However, the actual SMDs of DISCOMs that occurred during the 1st half of current FY 2015-16, are indicated below in order to arrive at a realistic projection of SMD for FY 2016-17: Actual SMD of DISCOMs for FY 2015-16 (April, 2015 to September, 2015) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DISCOM Utilities | Apr-15 | May-15 | Jun-15 | Jul-15 | Aug-15 | Sep-15 | Total of Six Months | Avg. SMD of DISCOM Utilities for Apr’15-Sept.’15 | Highest SMD of DISCOMs for Apr’15-Sept.’15 |
| CESU | 1303.00 | 1405.09 | 1370.22 | 1381.80 | 1427.66 | 1349.64 | 8237.40 | 1372.90 | 1427.66 |
| NESCO | 807.89 | 818.95 | 835.86 | 812.58 | 817.62 | 835.36 | 4928.26 | 821.38 | 835.36 |
| WESCO | 1272.75 | 1163.53 | 1208.18 | 1133.32 | 1075.98 | 1148.06 | 7001.81 | 1166.97 | 1272.75 |
| SOUTHCO | 531.27 | 539.11 | 537.50 | 532.48 | 544.78 | 506.92 | 3192.05 | 532.01 | 544.78 |
| TOTAL | 3914.92 | 3926.67 | 3951.74 | 3860.18 | 3866.03 | 3839.98 | 23359.52 | 3893.25 | 4080.54 |

It is submitted that the actual average SMD and the highest SMD that occurred during the first half of FY 2015-16 and the highest SMDs during FY 2015-16, are recorded as 3893.25 MVA/Month and 4080.54 MVA/Month, respectively.

The approval of the Hon’ble OERC in respect of the approved SMDs of each DISCOM Utility vis-à-vis the actual SMDs including the average and highest that occurred during 1st six months of FY 2015-16) and the projection furnished by the DISCOM Utilities for FY 2016-17 are given below for kind appreciation.

DISCOM-WISE Projection of SMDs for FY 2016-17

| DISCOMs | OERC approval for 2015-16 | Highest SMD (MVA per month) recorded during FY 2015-16 (Apr.'15 to Sept'15) | DISCOMs Projection of SMD for FY 2016-17 | GRIDCO's Projection of SMD of DISCOMs for FY 2016-17 |
| --- | --- | --- | --- | --- |
|  | (MVA/Month) | (MVA/Month) | (MVA/Month) | (MVA/Month) |
| CESU | 1460.00 | 1427.66 | 1872.00 | 1427.66 |
| NESCO | 880.00 | 835.36 | 980.00 | 835.36 |
| WESCO | 1240.00 | 1272.75 | 1350.00 | 1272.75 |
| SOUTHCO | 560.00 | 544.78 | 600.00 | 544.78 |
| TOTAL | 4140.00 | 4080.54 | 4802.00 | 4080.54 |

It is submitted that in order to arrive at a pragmatic projection with respect to the SMDs for FY 2016-17 for each of DISCOM Utilities, GRIDCO has estimated the highest SMD of each DISCOM Utility that occurred during 1st half of FY 2015-16 as  the projection of SMD against the concerned DISCOM Utility for FY 2016-17.

GRIDCO respectfully submits before the Hon’ble Commission to suitably determine and approve the SMDs for each of the DISCOM Utilities for FY 2016-17 keeping in view of their actual SMDs during FY 2015-16 and the likely load growth in the near future.

5.  Transmission Loss:

It is learnt that the Intra State Transmission Loss in the State Transmission Utility (STU) i.e. OPTCL System for the year FY 2016-17 is projected as 3.70%. This is based on the mandate given to OPTCL to reduce the transmission losses over a period of time. In fact, the OERC approved Intra State Transmission Loss for the current year (FY 2015-16) is 3.75%. It is envisaged that OPTCL, the STU would reduce the transmission losses by 0.05% during the ensuing year and hence, the projected Intra State Transmission Loss is proposed at 3.70% in line with the projection made by OPTCL in their ARR & Transmission Tariff Application for FY 2016-17.

GRIDCO,thus, considers the same transmission loss of 3.70% while projecting the energy requirement of the State for FY 2016-17.

6.  Energy Demand & Availability:

It is submitted that the total projected Energy Demand by GRIDCO has been taken as 25,478.00 MUfor FY 2016-17 consisting of the estimated energy requirement for sale to DISCOM utilities as 25,468.00 MUand that of the Emergency & Back-up Power Sale to M/s. NALCO & M/s. IMFA as 10 MU.Considering 978.91MU towards Transmission Loss (@ 3.70%, procurement of energy to the tune of 26,456.91MU (25,478.00 MU + 978.91 MU) will be required. The energy requirement vis-a-vis the availability to GRIDCO for supply to the State is estimated below in the following Table:

Projected Energy Requirement of GRIDCO for FY 2016-17

| Sl. No. | Particulars | Projection for FY 2016-17 (MU) |
| --- | --- | --- |
| 1 | Energy Demand of DISCOM Utilities (25,468.00 MU) & CGPs 10 MU) | 25478.00 |
| 2 | Transmission Loss @ 3.70% | 978.91 |
| 3 | Energy Required to be purchased by GRIDCO to meet the power demand of DISCOMs & CGPs | 26456.91 |
| 4 | Available Energy | 29147.42 |
| 5 | Surplus Energy* | 2690.52 |

*The estimated surplus energy of about 2690.52 MU is proposed to be utilised for Power Trading @ 275 P/U. Surplus Revenue if any from Trading of power is proposed to be utilised towards reducing cumulative losses of GRIDCO.

## 7.  POWER PROCUREMENT COSTS:

## 7.01 OHPC:

### It is submitted that initially OHPC forwarded its Generation Plan for FY 2016-17 vide letterNo.OHPC-HQ-Tech-PM-4/2012 (Vol.-III)/8238 dated 06.11.2015(ED-IV)which was laterfollowedwith the Revised Generation Plan for FY 2016-17 vide letter No. OHPC-OERC-06/2015/8615 Dated 19.11.2015(ED-V). Along with the letter dated 19.11.2015, OHPC also submitted the Projected Tariff of its various Stations for FY 2016-17.

### It is observed that the Tariff Projection for FY 2016-17 given by OHPC is substantially on the higher side than the usual tariff being approved by the Hon’ble OERC during previous years. In support of such submission, OHPC forwarded the Notification No. OHPC-21/2014/5843/En. Dated 03.07.2015 of the Dept. of Energy, Government of Odisha wherein it has been stated the investments of the State Government in OHPC is going to fetch interest w.e.f. FY 2015-16 and the financial impact of the same for FY 2015-16 & FY 2016-17 has been factored by OHPC in the Tariff Projection of its Stations for FY 2016-17.   A copy of the said Government of Odisha Notification dated 03.07.2015 providing details of the return / interest to be charged to OHPC is attached herewith as ED-XIX.

### It may be observed fromthe letter dated 19.11.2015of OHPC that it has projected Saleable Design Energy of 5588.79 MU at a cost of Rs.799.92 Crore. This works out to Net Generation of 5516.30 MU after factoring 1% Loss i.e. 0.50% towards Transformation Loss and 0.50% towards Auxiliary Consumption. The above projection of 5588.79 MU (Gross) i.e. Net ESO of 5516.30 MU however, does not include Machhkund Power.

### Accordingly based on the projections received from OHPC, the estimated quantum of power procurement, Average Rate and Cost for FY 2016-17 by GRIDCO from different OHPC Stations (excepting Machhkund) are projected as 5516.30 MU, 144.97 P/U and Rs.799.72 Crore, respectively as given in the Table below:

Power Projection, Cost & Rate w.r.t. OHPC for FY 2016-17

| Name of the Power Stations | Generation Capacity (MW) | GRIDCO Projection for FY 2016-17 (OHPC Gross Projection) | GRIDCO Projection for FY 2016-17 (After Loss) | Rate as per OHPC | Cost | Derived Rate as per GRIDCO by adding Aux. (@o.5%) & Trans Loss (@0.5%) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (MU) | (MU) | (P/U) | (Rs. Crore) | (P/U) |
| HHEP | 220.50 | 662.50 | 639.28 | 177.20 | 117.40 | 183.64 |
| CHEP | 48.00 | 469.31 | 464.62 | 131.02 | 61.49 | 132.34 |
| Rengali | 250.00 | 519.75 | 514.55 | 227.82 | 118.41 | 230.12 |
| Upper Kolab | 320.00 | 823.68 | 815.44 | 137.50 | 113.26 | 138.89 |
| Balimela | 510.00 | 1171.17 | 1159.46 | 154.77 | 181.26 | 156.33 |
| Sub-Total | 1348.50 | 3646.41 | 3593.35 | 162.30 | 591.81 | 164.70 |
| Upper Indravati | 600.00 | 1942.38 | 1922.96 | 107.04 | 207.91 | 108.12 |
| Total | 1948.50 | 5588.79 | 5516.30 | 143.09 | 799.72 | 144.97 |

N.B.State Hydro Capacity works out to 2008.50 MW (1948.50 MW+60 MW share from Machhkund HPS)

### 7.02 Machhkund:

It is submitted that OHPC vide its letter dated 19.11.2015 (ED-V)submitted its generation as well as tariff projections for FY 2016-17. GRIDCO has taken the same projections in respect of Machhkund as it conforms to the relevant Regulation.

In fact, as per the Clause-29 (3) (b) (ii) of CERC Tariff Regulations, 2014,the average normalized Operation and Maintenance (O&M) Expenses at 2012-13 price level shall be escalated at the rate of 6.04% to arrive at the Operation and Maintenance Expenses for 2013-14 and thereafter escalated at the rate of 6.64% per annum to arrive at the O&M expenses for the period 2014-15 to FY 2018-19.

Based on the above Regulation, the projected O&M Expenses have been derived for the Machhkund Hydro Station jointly owned by the State Governments of Odisha and Andhra Pradesh for FY 2016-17.

It is submitted that the actual O&M cost for Machhkund HEP is Rs.10.324 Crore for FY 2014-15 as available from the bills of APGENCO (ED-XIX A).

Out of 262.50 MU of Odisha share, 157.50 MU is being procured (i.e. 30% of 525.00 MU) by paying O&M Charges & balance energy i.e. 20% amounting to 105 MU is procured @ 8 P/kwh pursuant to the Agreements executed between Odisha and APGENCO. Accordingly, the GRIDCO proposes to procure energy of 262.50 MU at an estimated tariff of 47.93 P/U involving a cost of Rs.12.58 Crore from Machhkund HEP for FY 2016-17 as shown in the Table below.

Power Procurement, Tariff & Cost from Machhkund Hydro Station

| Particulars | Projection for 2016-17 |
| --- | --- |
| Installed Capacity (MW) | 120.00 |
| Design Energy available both for Andhra Pradesh & Odisha (MU) | 525.00 |
| Expected Energy drawal by Odisha (50%) (MU) (A) | 262.50 |
| Energy Drawal against O&M Exp. (30%) (MU) | 157.50 |
| Purchase of Power upto 20% as per Supplementary Agreement (MU) | 105.00 |
| O&M Escalation factor @ 6.64% for each year (1.0664*1.0664) | 1.137 |
| Particulars | (Rs. in Cr.) |
| 1. O&M Exp. (Odisha share of Actual O&M Exp. for 2014-15 for Rs.10.324 Cr.x1.137) | 11.74 |
| 2. Purchase Cost (105 MUx0.08) for balance 20% share | 0.840 |
| Total Annual Expenditure (1 + 2) | 12.58 |
| Tariff (Paise/Kwh) (B) | 47.93 |
| Cost of Machhkund Power (AxB) (Rs. Crore) | 12.58 |

7.03Talcher Thermal Power Station (TTPS):

NTPC-TTPS has filed the Tariff petition for the period 2014-19 as per CERC Tariff Regulation, 2014 before CERC in August, 2014 and as learnt from NTPC, they have also challenged the CERC (Terms and Conditions of Tariff) Regulation, 2014 before Hon’ble Delhi High Court but GRIDCO has not been made a party. Further, GRIDCO has also filed a Writ Petition against the said Regulation before the Hon’ble Odisha High Court which has been admitted as W.P. (C) No.12122 of 2015. It is submitted that Hon’ble High Court has been pleased to admit the Writ Petition and has alsogranted Interim Stay Order on the said CERC Regulation 2014 vide Order dated-03-11-2015.

Capacity Charge:

Similar Writ Petition i.e. W.P. (C) No.18695 of 2014 filed against CERC (Terms and Conditions of Tariff) Regulation, 2009 before the Hon’ble Odisha High Court, is sub-judice at present. Apart from this, the Appeals filed before APTEL by NTPC and GRIDCO against the CERC Order 15-05-2014 (Petition No.304/2009) admitted as Appeal No.175/2014 and 180/2014, respectively are also sub-judice. However, at present NTPC-TTPS is claiming the Monthly Fixed Charges for the subsequent years i.e. FY 2014-15 & FY 2015-16 as per the AnnualFixed Charge as applicable for FY2013-14 i.e.Rs.373.5929 Crore provisionally.

However, in the Petition filed by NTPC-TTPS before the Hon’ble CERC for fixation of tariff for the period from 2014-19, the Fixed Cost of TTPS is projected as Rs.422.527 Crorefor FY 2016-17. Accordingly, the Fixed Cost per Unit of energy from TTPS is projected by GRIDCO as 134.12P/Uat a PLF of 87.35%and Aux. Energy Consumption of 10.50%for the proposed drawal of 3150.40MU for FY2016-17.

Energy Charges:

As per the Final Tariff Order by CERC dated 15-05-2014 in Petition No 304 of 2009 in consonance with the CERC Tariff Regulations, 2009, the Base Energy Charge for TTPS has been fixed as 108.475P/U. Further, in the said Tariff Order it has been mentioned that NTPC-TTPS is entitled to compute and recover the Energy Charges in accordance with Regulation 21(6)(a)of 2009 Tariff Regulations. Accordingly, NTPC-TTPSis claiming the Energy Charges every month based on the Price and GCV of Coal and Oil for that month and considering the operational parameters laid down in 2009 Regulation admitted as W.P.(C) No.18695 of 2014.

#### However, based on the trend of Energy Charge Rate (ECR) as claimed by TTPS-NTPC in last six months, GRIDCO has considered 15% escalation over and above the monthly highest Energy Charge of 141.80P/U and thus, proposes 163.07 P/Utowards Energy Charges for FY 2016-17. The details are tabulated below:

ENERGY CHARGE RATE (ECR) OF TTPS                             (P/U)

| Apr-15 | May-15 | June-15 | July-15 | Aug-15 | Sept-15 | Monthly Average Energy Charge | Monthly Highest Energy Charge | GRIDCO’s proposal for FY2016-17 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 138.70 | 139.90 | 141.80 | 141.80 | 140.80 | 141.40 | 140.73 | 141.80 | 163.07 |

#### Year End Adjustment (YEA) Charges:

The Year-end Adjustment (YEA) Charges for FY 2016-17 is projected as Rs.26.23 Crorebased on pro-rated assessment basing on the actual charges paid by GRIDCO during thefirst six-month period from April-15 to Sept-15 (FY2015-16), the details of which are furnished in the Table below:

YEAR END ADJUSTMENT CHARGES OF TTPS

Amount in Rs .Crore

| ITEM | OERC approval for FY-15-16 | Actual (Apr-15 to Sept-15) | GRIDCO projection for FY: 2016-17 (Pro-rated on actual for half FY 2015-16) |
| --- | --- | --- | --- |
| Electricity Duty @20P/U | 7.46 | 3.93 | 7.86 |
| Water Cess / Charge | 0.25 | 0.123 | 0.25 |
| Incentive | 6.25 | 6.32 | 12.65 |
| UI Charges | 0 | 2.53 | 5.05 |
| SLDC charges | 0.38 | 0.21 | 0.41 |
| Total | 14.33 | 13.11 | 26.23 |
| ESO |  | 1663.43 | 3150.40 |
| Per Unit Cost of TTPS (P/kWh) |  |  | 8.33 |

It is further submitted that since the tariff for the Control Period,2014-19 is yet to be finalised by CERC, NTPC is following the CERC (Terms and Conditions of Tariff) Regulations, 2009 and is not claiming any Income Tax Reimbursement in its current bills. It is submitted that, as per the new CERC Tariff Regulations, 2014, the Income Tax Component is to be included in Pre-Tax Return on Equity (RoE) @ 23.41% instead of RoE @ 15.50% post-tax. GRIDCO has projected the Annual Fixed Charge for FY 2016-17 in line with the submission of NTPC-TTPS in its Tariff Petition for the Control Period 2014 to 2019.

Based on the above, the total Projected Power Procurement Cost from NTPC-TTPS during FY 2016-17 is estimated at Rs.962.49 Croreat an estimated price of 305.51 Paise/ Unit which is shown below:

Proposed Power Procurement & Cost of TTPS for FY 2016-17

| Projected Power Procurement from TTPS in MU (A) | 3150.40 |
| --- | --- |
| Capacity Charge (P/U) | 134.12 |
| Energy Charge (P/U) | 163.07 |
| YEA (P/U) | 8.32 |
| Total Rate (P/U) (B) | 305.51 |
| Projected Power Procurement from TTPS (A x B) (Rs. Cr.) | 962.49 |

### Odisha Power Generation Corporation Limited (OPGC):

Hon’ble Commission has been determining the tariff for procurement of power from Unit #1 & #2 of OPGC by GRIDCO till FY 2015-16, based on the tentative Tariff Projections and Generation Plan submitted by OPGC in response to the request by GRIDCO, in line with the provisions of subsisting PPA dated 13.08.1996(in respect of Unit#1 & #2) as well as the Government of Odisha Notifications dated 21-06-2008 and 12.10.2009. However, the day to day transaction of power sale and purchase by GRIDCO from OPGC is being done based on the agreed tariff (variable cost and fixed cost) determined by the parties based on the actual parameters (i.e. landed price of Coal, GCV of Coal and Oil etc.) as on 1st April of the ensuing year, considering the said parameters as on 31st March of the preceding year which form as base data for arriving at the tariff.

Thus, in view of the jurisdiction of Hon’ble Commission to determine the tariff of a Generating Company (i.e. OPGC) supplying electricity to a Distribution Licensee i.e. DISCOMs of the State (through State Nodal Agency, GRIDCO) by virtue of the power conferred on it under Section 62(1)(a) and 86(1)(b) of the Electricity Act, 2003, and as per the final direction of Hon’ble Commission vide Order dated 27-4-2015 in Case No.13/2002,GRIDCO hereby prefers not to proposeany tentative Tariff of OPGC in its ARR Application for FY 2016-17, as OPGC is now required tofile its ARR & Tariff Application for FY 2016-17 w.r.t. its Units-#1 and #2, respectively before the Hon’ble OERC for approval.

In view of the above, GRIDCO humbly submits before the Hon’ble Commission that for FY 2016-17, it provisionally proposes ECR / Variable Charge of 130.56 P/Uwith 15% hike in the prevailing PROVISIONAL ECR of 113.53 P/Ufor FY 2015-16 between OPGC & GRIDCO (DetailedStatement enclosed as (ED-XX). The Cost of Procurement of power from OPGC is based on the projected quantum of power supply considering normative Auxiliary Energy Consumption of 9.0% over and above the projected Generation Planas submitted by OPGC. The proposed cost of power procurement from OPGC for FY 2016-17 is worked out as Rs.635.18 Crore at a total rate of 216.90 P/U. The details are as mentioned below:

Projected Power Procurement Cost from OPGC during FY 2016-17

| Projected Power Procurement (ConsideringnormativeAux. Energy Consumption (AEC) of 9.0%) | MU | 2928.416 |
| --- | --- | --- |
| Annual Fixed Cost | Rs. Crore | 201.01 |
| Fixed Charge | P/U | 68.64 |
| Variable Charge /ECR | P/U | 130.56 |
| YEA (as approved by OERC for FY:2015-16) | P/U | 17.70 |
| Total Rate | P/U | 216.90 |
| Projected Power Procurement Cost | Rs. Crore | 635.18 |

However, it is submitted that, OPGC is likely to submit its the ARR & Tariff Application for FY 2016-17 before the Hon’ble OERCfor approval in compliance to Hon’ble Commission’s Order dated 27-04-2015 in Case No.13/2002. It is further submitted that pursuant to such ARR & Tariff Application for FY 2016-17 by OPGC (if filed by OPGC), Hon’ble Commission is likely to approvethe Power (Generation as well as ESO) and Tariff of Unit #1 & # 2 of OPGC as per the relevant OERC (Terms and Condition for Determination of Generation Tariff) Regulation, 2014. GRIDCO humbly submits that the approval of the Hon’ble Commission in respect of power procurement and tariff from OPGC, Unt-1 & 2 for FY 2016-17 will be followed by GRIDCO scrupulously.

### Central Hydro Generating Stations (NHPC Stations):

- Chukha HEP(Bhutan):

In the present ARR and BSP Application for FY 2016-17, GRIDCO considers 184 P/U as the rate for Chukka power as claimed by Chukha HEP in its bill served to GRIDCO for September-2015. Copies of the Office Memorandum of Ministry of External Affairs, Govt. of India Dated 20.02.2014 along with the PTC letter No. FC/23851 Dated 21.02.2014 to this effect, are enclosed as ED-XXI&ED-XXII, respectively. ConsideringCentral Transmission Loss @ 2.65% and PGCIL Transmission Charge @ 27.67 P/U, the effective power purchase cost from Chukha Hydro Station for 256 MU works out to Rs.55.47 Crore @ 216.68 P/U for FY 2016-17as shown in the Table below:

Proposed Power Purchase & Cost from Chukha HEP during FY 2016-17

| Proposed Energy Drawal (MU) | 256.00 |
| --- | --- |
| Energy Charge including PTC INDIA charge of 4 P/U (P/U) | 184.00 |
| Energy Charge including CTU Loss of 2.65% (P/U) | 189.01 |
| Cost of Trans. Charge (P/U) | 27.67 |
| Total Rate (P/U) | 216.68 |
| Cost of Chukha power (Rs. Crore) | 55.47 |

- Tala Hydro Electric Project (HEP) (Bhutan):

GRIDCO considers 202 P/U as the rate for Tala power as claimed in the bill served to GRIDCO from 24.11.2011during FY 2015-16.Considering Central Sector Transmission Loss @ 2.65% and the PGCIL Transmission Charge @ 27.67 P/U, the effective power purchase cost from Tala HEP for 141.00 MU comes to Rs. 33.16 Crore @ 235.17 P/Ufor FY 2016-17, The same is shown in the Table below:

Proposed Power Purchase & Cost from Tala HEP during FY 2016-17

| Proposed Energy Drawal (MU) | 141.00 |
| --- | --- |
| Energy Charge including PTC INDIA charge of 4 P/U (P/U) | 202.00 |
| Energy Charge including Tr. Loss of 2.65% (P/U) | 207.50 |
| Cost of Trans. Charge (P/U) | 27.67 |
| Total Rate (P/U) | 235.17 |
| Cost of TALA HPS Power (Rs. Crore) | 33.16 |

- TEESTA-V HEP (Sikkim) :

The Energy Charge Rate (ECR) being claimed by NHPC-Teesta in the present bills is 116.90 P/U. This is evident from the recent bill for the month of September, 2015 which is enclosed as ED-XXIII. It is submitted that the ECR in case of Teesta Station constitutes 50% of the Total Charge i.e. ECR & the Fixed Charge. Thus, the Fixed Charge for Teesta Station works out to be 116.90 P/U and the Total Charge is calculated to be 233.80 P/Uand after factoring2.65% Central Sector Loss, the Rate is derived as 267.83 P/U.

Further with addition of the proposed PGCIL Charges @ 27.67P/Uthe proposed rate for Teesta works out to be 267.83 P/U (240.16 P/U + 27.67 P/U). Thus, the effective power purchase cost from Teesta-V HEP for 510 MU comes to Rs. 136.60Crore@ 267.83 P/U for FY 2016-17, which is shown in the Table below:

| Proposed Power Purchase & Cost from Teesta during FY 2016-17 |  |
| --- | --- |
| Proposed Energy Drawal (MU) | 510.00 |
| Modified Energy charge Rate (P/U) (As per the NHPC bill) | 233.80 |
| Energy Charge including Trans. Loss of 2.65% (P/U) | 240.16 |
| Cost of Trans. Charge(P/U) | 27.67 |
| Total Rate (P/U) | 267.83 |
| Cost of TEESTA Power (Rs. Crore) | 136.60 |

Summary of Availability of Power and Cost of Central Hydro Generating Stations

| Central Generating Stations other than NTPC Stations. | Projected GRIDCO share of availability after C.S. Tr. Loss (MU) | Rate before C.S. Loss (P/U) | Rate including loss (P/U) | PGCIL charge (P/U) | Total Rate (P/U) | Purchase Cost (Rs. Cr.) |
| --- | --- | --- | --- | --- | --- | --- |
| Chukha HEP | 256.00 | 184.00 | 189.01 | 27.67 | 216.68 | 55.47 |
| Tala HEP | 141.00 | 202.00 | 207.50 | 27.67 | 235.17 | 33.16 |
| Teesta-V HEP | 510.00 | 233.80 | 240.16 | 27.67 | 267.83 | 136.60 |
| TOTAL | 907.00 |  |  |  | 248.32 | 225.22 |

Thus, the projected net drawal from Central Hydro Stations of Chukka, Tala & Teesta is estimated as 907 MU @ 248.32 P/U with total projected cost of Rs.225.22 Crore for FY 2016-17.

#### 7.06	Fixed Cost of Central Sector Stations:

It is submitted that the Capacity Charge (Fixed Cost) of respective NTPC Stations are being claimed as per the relevant Tariff Order / Regulations approved by the CERC applicable from time to time.

NTPC has filed Petitions before the CERC as per thenew CERC (Terms and Conditions of Tariff) Regulations, 2014 for determination of Fixed Cost in respect of its various Generating Stations. These Petitions are pending before the CERC. Citing the pendency of its Applications / Petitions before the Hon’ble CERC, NTPC is raising the Capacity Charges of its Generating Stations on GRIDCO byapplying the Fixed Cost already determined by theCentral Commission as per the earlier CERC (Terms and Conditions of Tariff) Regulations,2009 valid for the period from 2009 to 31st March 2014,which are further revised by applying the actual tax rate applicable to NTPC for the respective years. Relevant CERC Orders based on which NTPC is raisingthe current bills (which have been revised as per the applicable tax rate for the appropriate / relevant years) on GRIDCO are enclosed as(ED-XXIV forTSTPS-I, ED-XXVfor TSTPS-II, ED-XXVIfor FSTPS-I&II,ED-XXVIIfor FSTPS-III, ED-XXVIIIfor KhSTPS-I, ED-XXIXforKhSTPS-II,respectively.

As aforesaid, Tariff Petitions have already been filed by NTPC before Hon’ble CERC for determination of Fixed as well as Variable Cost as per the new CERC (Terms and Conditions of Tariff) Regulations, 2014 in which NTPC has claimed higher Fixed Cost (as compared to the Fixed Cost as per the CERC Tariff Regulations, 2009) for its different Generating Stations from which GRIDCO sources the Odisha share of power. It is very likely that such Petitions may getfinalised at any point of time, whereby the revised Tariff including the Fixed Cost as per the new Regulation may be approved by the CERC. This will mean higher financial burden on GRIDCO. In order to take care of such eventualities, GRIDCO has considered the Fixed Cost as filed by NTPC, as per the new CERC Tariff Regulations, 2014. The copies of the different Petitionsof NTPC Stations filed before the CERC in this regard, are enclosed as(ED-XXXforTSTPS-I,ED-XXXIforTSTPS-II,  ED-XXXIIforFSTPS-I&II,ED-XXXIIIforFSTPS-III, ED-XXXIVfor KhSTPS-I,ED-XXXVforKhSTPS-IIandED-XXXVIforBarh STPS,respectively.

The apportionment of Fixed Cost has been made as per the share of GRIDCO in the pool. With inclusion of Central Transmission Loss (CTL), the projected Fixed Cost applicable to GRIDCO for its share of energy drawal from different Stations is worked as Rs.989.40 Crore which is shown in the Table below:

| Projected Fixed cost of CGS NTPC-ER Stations for FY 2016-17 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Central Thermal Stations | Annual Fixed cost for FY 2013-14as per CERC Order 2009-14 | Annual fixed cost billed by NTPC as per actual tax rate for the year 15-16 @ 23.399% | Annual Fixed Cost filed by NTPC for FY 2016-17 before CERC | Annual Fixed Cost projected by GRIDCO for FY 2016-17 (As per filing made by NTPC) | GRIDCO share | GRIDCO F.C share for FY15-16 at normative availability of 83% | GRIDCO's Proposed drawal for FY16-17 after C.S. Loss | Fixed Cost |
|  | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (%) | (Rs. Cr.) | (MU) | (P/U) |
| TSTPS-I | 590.23 | 549.24 | 648.27 | 648.27 | 31.97 | 207.25 | 2121.11 | 97.71 |
| TSTPS-II | 1125.88 | 1075.16 | 1174.26 | 1174.26 | 10.00 | 117.43 | 1323.54 | 88.72 |
| FSTPS-I&II | 908.76 | 866.22 | 1036.84 | 1036.84 | 13.81 | 143.18 | 1466.42 | 97.64 |
| FSTPS-III | 586.62 | 567.54 | 559.29 | 559.29 | 16.87 | 94.37 | 564.29 | 167.24 |
| KhSTPS-I | 552.84 | 524.48 | 602.00 | 602.00 | 15.40 | 92.71 | 835.15 | 111.01 |
| KhSTPS-II | 1270.64 | 1215.71 | 1226.90 | 1226.90 | 2.24 | 27.46 | 224.48 | 122.33 |
| Barh-II (Unit-IV & Unit-V)** | 880.49 | 878.65 | 2076.00 | 2076.00 | 14.79 | 307.00 | 1302.24 | 235.75 |
| TOTAL | 5915.46 | 5677.01 | 7323.57 | 7323.57 |  | 989.40 | 7837.22 | 126.24 |

*Rs. 880.4895 Cr has been derived on 83% of Annual Fixed cost filed by NTPC before CERC for Unit-IV only.

**Rs. 2076.0026 Cr has been considered as per filing made by NTPC considering both Unit-IV and Unit-V on commercial operation.

During the approval of tariff for FY 2015-16, it is submitted that the Hon’ble Commission has not considered the energy and procurement cost towards purchase of power from Barh STPS-II (UNIT-IV) stating that steps ought to be taken for surrender of such costly power. In this regard, GRIDCO submits that the Government of Odisha have requested GoI, MoP for de-allocation of power Odisha share from Barh STPS of NTPC.

In this regard, it may be relevant to mention that pursuant to such request, Ministry of Power, Government of India, in the meantime, have notified for de-allocation of power from the aforesaid Power Stations seeking willingness of other States to avail such surrendered power so that suitable reallocation could be considered in favour of the power requiring States. However, till date, none of the States has expressed their willingness to purchase power from Barh-I and II Stations. In view of above, GRIDCO is constrained to bear the full financial burden in respect of its entitlement of power from Barh-II (Unit-IV) Station. It is submitted that GRIDCO has paid Rs.99 Crore towards such entitlementduring the period from April’15 to Sept’15 which includes Fixed Cost of Rs.65Crore and Variable Cost of Rs.34 Crore. Similarly, GRIDCO has also paid Rs.67 Crore towards such entitlementduring 2014-15 (Nov’14 to Mar’15)which includes Fixed Cost of Rs.46Crore and Variable Cost of Rs. 21 Crore.

It is thus submitted that GRIDCO has paid Rs. 166 Crore (Rs.99 Crore + Rs.67 Crore) towards power purchase cost from Barh-II since the date of commercial operation. At this juncture, it may be relevant to mention that, unless the power is reallocated to other State(s), GRIDCO will be required to bear the Fixed Cost as per its share allocation made from this Station. In this context, it may be worthwhile to mention that even though GRIDCO has not made any requisition of power from Barh-II Stationsince Dec’14, power is being scheduled to GRIDCO under the plea of maintaining technical minimum generation and consequently, GRIDCO has been paying towards the cost of power. In the process, despite of nil requisition, GRIDCO has paid total Variable Charges of Rs. 55 Crore since commercial operation of Barh-II.

Under the circumstances, GRIDCO prays before Hon’ble commission to consider the above Power Purchase Cost of Rs.166 Crore (Fixed Cost of Rs.111 Crore and Variable Cost of Rs.55 Crore) of Barh-II as per the explanation made above until de-allocation of share in favour of Odisha from Barh-II is effected by the Ministry of Power, Government of India.

Energy Charge Rate of Central Thermal Stations:

As per the CERC Tariff Regulation, 2009-14, the cost of Secondary Fuel Oil (SFO) was included in the Fixed Cost of the Thermal Central Generating Stations (CGSs). However, as per the  new CERC Tariff Regulations, 2014-19, the Energy Charges of CGS Stations shall now include Charges towards bothPrimary as well as Secondary Fuel Oil (SFO) & shall be payable by every Beneficiary for the total energy scheduled to be supplied to each of such Beneficiaries during the Calendar month on ex-Power Plant basis.

At present, NTPC is raising bills on GRIDCO as per the previous CERC Regulations, 2009-14. However, since NTPC has already filed Tariff Petitionsin respect of it various Generating Stations before the CERC based on the new Tariff Regulations, 2014-19, GRIDCO has recasted the Energy Charge Rate (ECR) already claimed by NTPC as per new Regulation for the monthsfrom April’15 to September’15. However, GRIDCO has projected the ECRs as filed by NTPC before the CERC after adding the applicable Central Sector Transmission Loss.

To be specific, NTPC have filed tariff petitions before CERC for determination of tariff applying CERC (Terms and conditions of Tariff), Regulation 2014. In the aforesaid petitions, NTPC have computed the levelised tariff applicable for the upcoming five years applying the norms of Tariff Regulation, 2014. Hence, GRIDCO have projected the energy charge rate as per the Variable Charge Rate mentioned in the filing of NTPC before CERC in respect of all the relevant Stations from where GRIDCO sources power as per its entitlement.

Projected Energy Charge Rate (ECR) of NTPC Stations for FY 2016-17

| Central Thermal Stations | Weighted Average ECR of 1st six months of FY 2015-16 (Apr.’15 to Sept.’15) | Energy Charge Rate (ECR) of NTPC Stations recasted by GRIDCO as per the New Regulation 2014-19 | Energy Charge Rate as per the Petition filed by NTPC for the Tariff period 2016-17 | Projection for FY 2016-17 including Central Sector Loss (Considering the figures mentioned in theTariff Petition filed by NTPC |
| --- | --- | --- | --- | --- |
|  | (P/U) | (P/U) | (P/U) | (P/U) |
| TSTPS-I | 141.99 | 140.34 | 160.511 | 165.78 |
| TSTPS-II | 140.46 | 138.88 | 160.511 | 166.21 |
| FSTPS-I&II | 293.65 | 289.36 | 293.083 | 300.29 |
| FSTPS-III | 294.00 | 293.82 | 294.873 | 302.12 |
| KhSTPS-I | 267.92 | 265.80 | 295.141 | 302.49 |
| KhSTPS-II | 246.60 | 247.62 | 282.08 | 289.11 |
| Barh STPS-II (Unit-IV) | 399.13 | 399.13 | 300.182 | 308.35 |
| Barh STPS-II (Unit-V) |  |  | 300.182 | 308.35 |

#### Year-end Adjustment Charges of Central Sector  (C.G.) Stations:

Since NTPC has filed Petitions before the CERC as per the provision of the new CERC Tariff Regulation 2014-19, the Year-end Adjustment Charges(YEA)is required to be projected without considering the FPA(Fuel Price Adjustment) which is now a part of the ECR (Energy Charge Rate). In fact, the cost of Secondary Fuel Oil (SFO) is already included in the ECR. The total Year-end Adjustment Charges(YEA) for FY 2016-17 for C.G. Stations are projected in line with the actual for FY 2014-15 and for FY 2015-16 (Apr’15 to Sept’15) along with the projected C.S. loss without considering FPA of Secondary fuel oil.

The details of YEA Charges are furnished in the Table below:

| YEAR-END CHARGES FOR THE YEAR 2014-15 (Amount in Rs. Crore) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Central Generating Stations | Water/ Pollution Cess | Electricity Duty | SOC &MOC Charges | Incentive | TOTAL |
| TSTPS Stage-I | 0.10 | 3.90 | 0.49 | 0.00 | 4.49 |
| TSTPS Stage-II | 0.06 | 1.86 | 0.27 | 6.56 | 8.75 |
| FSTPS-I&II | 0.96 | 0.00 | 0.31 | 0.00 | 1.26 |
| FSTPS-III | 0.00 | 0.00 | 0.19 | 0.00 | 0.19 |
| KhSTPS-I | 0.06 | 0.00 | 0.21 | 0.00 | 0.27 |
| KhSTPS-II | 0.01 | 0.00 | 0.04 | 0.00 | 0.05 |
| BSTPS-II (Unit-IV) | 0.01 | 0.00 | 0.06 | 0.00 | 0.07 |
| Total | 1.20 | 5.76 | 1.56 | 6.56 | 15.09 |

| YEAR-END CHARGES FOR THE YEAR 2015-16 (April’15 to Sept'15) (Amount in Rs. Crore) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Central Generating Stations | WATER CESS | ELECTRICITY DUTY | SOC & MOC Charges (POSOCO Charges) | Incentive | Total |
| TSTPS-I | 0.02 | 1.29 | 0.06 | 5.21 | 6.57 |
| TSTPS-II | 0.02 | 0.62 | 0.06 | 1.24 | 1.94 |
| FSTPS-I &II | 0.00 | 0.00 | 0.07 | 0.00 | 0.07 |
| FSTPS-III | 0.00 | 0.00 | 0.04 | 0.00 | 0.04 |
| KHTPS-I | 0.01 | 0.00 | 0.05 | 0.00 | 0.05 |
| KHTPS-II | 0.001 | 0.00 | 0.01 | 0.00 | 0.01 |
| BSTPS-II (Unit-IV) | 0.000 | 0.00 | 0.04 | 0.00 | 0.04 |
| TOTAL | 0.05 | 1.91 | 0.32 | 6.45 | 8.73 |

Based on the YEA Charges as given above for FY 2014-15 and that for FY 2015-16 (Apr’15 to Sept.’15),GRIDCO projects the YEA Charges in respect of various NTPC Stations for FY 2016-17 as under:

PROJECTED YEAR-END CHARGES PAYABLE FOR THE YEAR 2016-17

| Central Thermal Stations | Energy | OERC approval for FY 2015-16 including C.S. Loss | Actual for FY2014-15 | Actual for FY 2015-16 (upto Sept'15) | Projection for FY 2016-17 with CS Loss | Projection for FY2016-17 including CS Loss |
| --- | --- | --- | --- | --- | --- | --- |
|  | (MU) | (P/U) | (Rs. Crore) | (Rs. Crore) | (Rs. Crore) | (P/U) |
| TSTPS Stage-I | 2121.11 | 1.54 | 4.49 | 6.57 | 4.64 | 2.19 |
| TSTPS Stage-II | 1323.54 | 1.47 | 8.75 | 1.94 | 9.06 | 6.84 |
| FSTPS-I&II | 1466.42 | 0.84 | 1.26 | 0.07 | 1.30 | 0.88 |
| FSTPS-III | 564.29 | 0.54 | 0.19 | 0.04 | 0.20 | 0.35 |
| KhSTPS Stage-I | 835.15 | 0.33 | 0.27 | 0.05 | 0.27 | 0.33 |
| KhSTPS Stage-II | 224.48 | 0.26 | 0.05 | 0.01 | 0.05 | 0.24 |
| BSTPS-II (Unit-IV) | 651.12 |  | 0.07 | 0.04 | 0.07 | 0.11 |
| Total | 6710.22 |  | 15.09 | 8.73 | 15.52 | 10.94 |

Going by the above presumptions, the Projected Power Procurement Cost from different Central Sector Thermal Generating Stations (NTPC-ER Stations) is calculated as Rs.3123.45Crore for 7837.23 MU as furnished in the following Table:

Projected Power Procurement and Cost from different CGSs for FY 2015-16

| Generators | Energy (After C.S loss) | Fixed Cost | Energy Charge Rate | Year.E.A. | Trans. Charge | Total Rate | Total Cost |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (MU) | (P/U) | (P/U) | (P/U) | (P/U) | (P/U) | (Rs.Crore) |
| TSTPS Stage -I | 2,121.11 | 97.71 | 165.78 | 2.19 | 27.67 | 293.35 | 622.23 |
| TSTPS Stage -II | 1,323.54 | 88.72 | 166.21 | 6.84 | 27.67 | 289.44 | 383.09 |
| FSTPS-I& II | 1,466.42 | 97.64 | 300.29 | 0.88 | 27.67 | 426.48 | 625.40 |
| FSTPS-III | 564.29 | 167.24 | 302.12 | 0.35 | 27.67 | 497.38 | 280.67 |
| KhSTPS-I | 835.15 | 111.01 | 302.49 | 0.33 | 27.67 | 441.5 | 368.72 |
| KhSTPS-II | 224.48 | 122.33 | 289.11 | 0.24 | 27.67 | 439.35 | 98.63 |
| Barh STPS-II (Unit-IV & Unit-V) | 1302.24 | 235.75 | 308.35 | 0.11 | 27.67 | 571.88 | 744.73 |
| Total | 7,837.23 |  |  |  |  | 398.54 | 3123.45 |

(C) RENEWABLE ENERGY:

- Solar Energy:

GRIDCO has signed Power Sale Agreement (PSA) with NTPC Vidyut Vyapar Nigam Limited (NVVNL) during January 2011 to procure solar power bundled with equivalent quantum of thermal power from the unallocated quota of the NTPC Coal Based Stations under 'New Projects Scheme' under Phase-1 of Jawaharlal Nehru National Solar Mission (JNNSM). 20 MW Solar capacities have been allocated to GRIDCO in the said Scheme.

As stated above, GRIDCO is hopeful to procure 230 MU of Solar Power against the Solar Power Obligation (SPO) of 382.50 MU @ 1.50 % of the projected Energy Requirement of about 25,500.00 MU(in place of exact quantum of 25,468 MU of projected for sale to DISCOMs Utilities towards consumption in the State) for FY 2016 -17. While the approved rates of Solar Energy for FY 2015-16 have been proposed for 5 MW Solar power from Faridabad (8.50 MU @ 935 P/U for Rs.7.9475 Crore), the rate for 5 MW Solar Power from Dadri has been taken as 1294 P/U (8.50 MU @1294 P/U for an amount of Rs.10.999 Crore) to be applicable for FY 2016-17. Apart from this, GRIDCO also proposes to procure 13 MU from 8 Nos. of 1 MW SPV Projects @ 628 P/U under RPSSGP Scheme, 34 MU @ 1065 P/U through NVVN under New Project Scheme, 8 MU Solar Power @ 700 P/U from M/s. Alex Green Energy Pvt. Ltd. and 42 MU Solar Power @ 728 P/U from M/s ACME Odisha Solar Power Pvt. Ltd. under OREDA State Scheme. Besides, 116 MU of Solar Power through Solar Energy Corporation of India Ltd. (SECI) under JNNSM, Phase-II, Batch-1 @ 550 P/U at a cost of Rs. 63.80 Crore is also proposed for procurement during FY 2016 -17.

Accordingly, the estimated procurement of 230 MU of solar power during FY 2016-17 will be around Rs.163.30 Crore @ at an average proposed rate of 710 P/U.

The details of projected procurement and cost of Solar Power by GRIDCO for FY 2016-17 is given in the Table below:

Proposed Procurement & Cost of Solar Power during FY 2016-17

| Sl. No. | Solar RE Sources | Energy Proposed for FY 2016-17 (MU) | OERC Approved Rates for FY 2015-16 (P/U) | Proposed Rates for FY 2016-17 (P/U) | Estimated Total Cost for FY 2016-17 (Rs. Cr.) |
| --- | --- | --- | --- | --- | --- |
| 1 | 8 Nos. of Solar PV projects of 1MW each under RPSSGP* | 13 | 628 | 628 | 8.164 |
| 2 | 20 MW through NVVN under 'New Projects scheme' under JNNSM,Ph-1 | 34 | 1272 | 1065 | 36.21 |
| 3 | 10 MW through NTPC from 5 MW Solar PV projects at Dadri & Faridabad | 17 | 1039 | 8.50 MU @1294 P/U= (Rs.10.999Cr.) 8.50 MU @935 P/U= (Rs.7.9475 Cr.) | 18.95 |
| 4 | 5 MW from M/s Alex Green Energy Ltd. through OREDA State scheme | 8 | 700 | 700 | 5.6 |
| 5. | 25 MW from ACME Odisha Solar Power Private Ltd. | 42 |  | 728 | 30.576 |
| 5. | 30MW through Solar Energy Corporation of India (SECI) under JNNSM, Phase –II, Batch-I | 116 |  | 550 | 63.80 |
|  | Total | 230 |  | 710 | 163.30 |

- NON-SOLAR RENEWABLE ENERGY

- SMALL / MINI HYDRO / BIO-MASS ENERGY

    - ENERGY FROM SMALL / MINI HYDRO (SHEP):

GRIDCO proposes to procure 320 MU of energy from Small Hydro Electric Project (SHEP) of M/s. Meenakshi Power Limited (M/s. MPL)and M/s. Odisha Power Consortium Limited (M/s. OPCL). The rate of procurement has been fixed at 364 Paise per unit. Considering the PTC trading margin of 4 Paise per kWh for 100% of power supplied by these Stations to GRIDCO, the tariff rate applicable for power purchase from these Stations shall be 368 Paise per Unit (364+4 P/U).

During FY 2016-17, GRIDCO proposes to procure around 220 MU from Meenakshi Hydro Power and 100 MU of energy from SAMAL Small Hydro (M/s. OPCL) (Total: 320 MU) at a price of 368 P/U involving an outgo of Rs. 80.96 Crore&Rs. 36.80 Crore, respectively, totalling to about Rs.117.76 Crore.

- BIO-MASS ENERGY:

The Biomass Energy generator i.e. M/s. Shalivahan Green Energy Ltd. is injecting its total generation to the State Grid from June 2015. Hence, GRIDCO projects to procure around 100 MU of Bio-mass energy @ 60 % PLF @ 578 P/U for an amount of Rs.57.80 Croreduring FY 2016-17.

The 10 MW Biomass Power Project developed by M/s. Octant Industries Ltd. at Sambalpur is expected to be commissioned by FY 2015-16. GRIDCO is hopeful to procure around 60 MU of Biomass Energy @ 566 P/U for an amount of Rs.33.96 Crore from the above Project.

Thus, the total Projected Biomass Energy of 160 MU is proposed to be procured at a cost of Rs.91.76 Crore @ 573.5 P/U during FY 2016-17.

The new Solar RPO and Non-Solar RPO target was notified by Hon’ble OERC in September 2015 only and also during FY 2016-17, Solar RPO is 3 times that of for FY 2015-16 and Non- Solar RPO target is 0.5 % more than that of for FY 2015 -16. As time was not sufficient to encounter such increased target, GRIDCO hereby submits that shortfall, if any,can’t be made up through additional procurement of renewable energy, may be considered to  carry forward to the next financial year so that when such energy is available, GRIDCO will fulfil the cumulative requirement for both the years FY 2016 -17& 2017 -18.

Thus, the proposed quantum of procurement & Cost of Non-Solar Renewable Energy for FY 2016-17 is estimated as 480 MU at an approximate cost of Rs. 209.52 Crore at the average rate of 436.50 P/U as given below:

| Proposed Procurement & Cost of Non-Solar Renewable Energy for FY 2015-16 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. No. | Renewable Energy Sources. | Energy Proposed for FY 2015-16 | Rate | Total Cost |
|  |  | (MU) | (P/U) | (Rs. Crore) |
| a.1 | Meenaskhi Small Hydro | 220.00 | 368 | 80.96 |
| a.2 | SAMAL Small Hydro | 100.00 | 368 | 36.80 |
| a. | Total | 320.00 | 368 | 117.76 |
| b. | Shalivahana Green Energy Ltd. | 100.00 | 578 | 57.80 |
| c. | Octant Industries Ltd. | 60.00 | 566 | 33.96 |
| d. | Total (a+b+c) | 480.00 | 436.50 | 209.52 |

### Considering the above proposal, GRIDCO estimates to procure 710 MU of renewable energy from Solar and Non-Solar sources at a cost of Rs. 372.82 Crore @ 525.10P/U on an average, as per the details given below:

The details are exhibited in the Table below:

| Proposed Procurement & Cost of Non-Solar Renewable Energy for FY 2016 -17 : |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. No. | Renewable Energy Sources. | Energy Proposed for FY 2016-17 | Proposed Rate | Estimated Total Cost |
|  |  | (MU) | (P/U) | (Rs. Crore) |
| A. | NON-SOLAR |  |  |  |
| a.1 | Meenaskhi Small Hydro | 220 | 368 | 80.96 |
| a.2 | SAMAL Small Hydro | 100 | 368 | 36.80 |
| a. | Total | 320 | 368 | 117.76 |
| b. | Shalivahana Green Energy Ltd. | 100 | 578 | 57.80 |
| c. | Octant Industries Ltd. | 60 | 566 | 33.96 |
| d. | Total (a+b+c) | 480.00 | 436.50 | 209.52 |
| B. | SOLAR RE SOURCES | 230.00 | 710.00 | 163.30 |
| C. | Total (A+B) (NON-SOLAR & SOLAR) | 710.00 | 525.10 | 372.82 |

(D)Projected Power Procurement & Cost from Existing IPPs:

Projected Power Procurement & Cost from Existing IPPs:

- Vedanta Ltd. (Erstwhile Sesa Sterlite Ltd):

The MYT Petition filed by Vedanta Ltd for FY 2014-15, admitted as Case No.95 of 2013, and case No.68 of 2014 for interim tariff are yet to be disposed off by the Hon’ble Commission. In the meantime, the IPP have filed another fresh petition admitted in Case No.21 of 2015 for conversion of its existing IPP having (4X600MW) 2400MW installed capacity to CGP which at present is sub-judice before the Hon’ble Commission. The Appeal No. 25 of 2014 filed by Vedanta Ltd (erstwhile Sesa Sterlite Ltd., SSL) against the final Tariff Order in respect of the IPP for the period 2009-10 to 2013-14 passed by the Hon’ble OERC, vide its Order Dated 12-06-2013 (in Case Nos. 117 of 2009, 31 of 2010 and 56 of 2012) is sub-judice before APTEL along with Appeal No.179 of 2014 filed by GRIDCO.

However, pending disposal of the aforementioned Appeal and the MYTPetition filed for FY 2014-15 by SSL (Presently, Vedanta Ltd.), the Hon’ble Commission in the ARR Order of GRIDCO for FY 2015-16 has fixed a provisional tariff of 237.36P/kWh towards procurement of power by GRIDCO from the said IPP which has Fixed Charge component of 92 P/U and Energy Charge of 147.10 P/kWh. Keeping the Fixed Charge of 92 P/U constant and considering the average energy charge rate of TSTPS from April-15 to Sept-15 in line with the OERC approval for FY 2015-16, the proposed Energy Charge Rate for FY2016-17 is calculated as 141.46P/kWh.

- Accordingly, GRIDCO proposes to procure power from SSL during 2016-17 at the following Rates as mentioned below:

- Fixed Charge (92P/U)+Energy Charges (141.46P/U):233.46P/U (Full Cost)

- Energy Charge Rate (ECR)				    :141.46P/U

The Hon’ble OERC has notified the OERC (Terms and Conditions for Determination of Generation Tariff) Regulations, 2014 for the 5-year Control period 2014-19 applicable for all the Intra State Generating Stations located in the State of Odisha. As per the terms and conditions of the Consolidated PPA dated 19-12-2012 between Vedanta Limited (earlier SSL) and GRIDCO, the IPP shall provide to GRIDCO, 25% of the power sent out at the tariff, approved by the OERC, i.e., at Fixed Charge plus Energy Charge Rate and 7%/5%(based on allocation of coal blocks/non-allocation of coal blocks) of the power sent out at Energy Charge Rate. It may be noted here that, though the allocated coal blocks have been cancelled by the Hon’ble Supreme Court vide orders dated 25-08-2014 and 24-09-2014, the IPP has been availing linkage coal from MCL as per the Fuel Supply Agreements for generation of power for State use and it will continue upto March-2016 as per the Minutes of Meeting dated 30-06-2015 of the Ministry of Coal, Government of India (ED-XXXVII).Therefore, the contention of GRIDCO regarding quantum of supply of State entitlement is 32% (25+7) and not 30% (25+5).

Further, it is to be mentioned here that, the IPP is yet to construct a dedicated transmission line for evacuation of State share of power to STU as per Section 10, of Electricity Act, 2003. Though the IPP is declaring availability of 564MW (i.e. ex-bus generation from Unit #2), but the actual injection is quite less than the day ahead declared capacity.

In order to bring to the kind notice of the Hon’ble Commission, it is mentioned here that, the IPP has till date not supplied the power as per the ex-bus capacity of Unit #2, citing transmission constraint and observations of Hon’ble Commission made at Para 16 and 10 of the order 12-06-2013.Further, the restoration work of Ib-Meramundali 400kV line taken up by the IPP is yet to be completed and made operational.

In view of the above facts, GRIDCO proposes to procure 4200MU and 1176 MU from the IPP at rate of 233.46P/kWh (i.e. Fixed Charges plus Energy Charge Rate) and 141.46P/kWh (ECR) respectively. Therefore, the total quantum to be procured from Vedanta Ltd (IPP) shall be 5376MU (4200+1176) at an estimated cost of Rs.1146.89Crore.

- GMR Kamalanga Energy Ltd. (GKEL):

Regarding determination of tariff in respect of the IPP of GKEL, it is to be mentioned here that, CERC vide its Order dated 12-11-2015 in Petition No.77/GT/2013(ED-XXXVIII ) have pronounced the final tariff order in respect of GKEL till 31st March, 2014 and it shall be operative subject to outcome of the Appeal No.74/2014 filed by GRIDCO before the APTEL against the maintainability of CERC order 03-01-2014 in the matter of jurisdiction of CERC for determination of tariff (of the IPP which comes in the category of Composite Scheme) in respect of 25% State entitlement and the matter is sub-judice.

Further, in the meantime the Hon’ble Commission has pronounced OERC (Terms and Conditions for Determination of Generation Tariff) Regulation, 2014, the Hon’ble Commission shall be determining the tariff in respect of the IPP and thus it is humbly submitted that the Hon’ble Commission may consider to direct the IPP to file the Multi-Year Tariff application from FY 2014-15 onwards as per the aforementioned Regulation to fix the tariff in respect of the 25% State entitlement of power.

As GKEL has not submitted any information /data regarding the tentative tariff, therefore, considering the principle as adopted by the Hon’ble Commission in the ARR order of FY 2015-16, GRIDCO hereby proposes to procure 1674MU of energy from GKEL during FY2016-17 at provisional rate of 275 P/U. However, any power supplied beyond 80% PLF shall be procured at an Energy Charge of 141.46 P/U.Thus; the total proposed procurement cost from GKEL for 1674 MU @ 275 P/U is worked out to be Rs.460.35Crore for FY2016-17.

- Jindal India Thermal Power Ltd. (JITPL)

JITPL have filed an application on 08-03-2014 before the Hon’ble OERC for approval of Energy Charge Rate (ECR) of 180.37 P/kWh for FY2013-14 and 2014-15 respectively in respect of their IPP admitted as Case No.26 of 2014.It is to be mentioned here that, JITPL is supplying power @12% of tentative day ahead declaration citing the fact that allocation of coal block has been cancelled by Hon’ble Supreme Court of India and thus may be directed to clarify its status of linkage coal supply for generation of power for onward supply to GRIDCO for State consumption.

However, pending disposal of the Case No-26 of 2014 by the Hon’ble Commission and clarification regarding linkage coal supply,GRIDCO proposes to procure 1008MU power from JITPL at a provisional ECR of 141.46 P/U as proposed in caseof other IPPs like Vedanta Ltd, GKEL & NBVL subject to approval of final tariff by the Hon’ble OERC. Accordingly, the total proposed procurement cost from JITPL for 1008MU @141.46

P/ kWh is worked out to be Rs.142.59Crore for FY2016-17.

- Ind Barath Energy(Utkal) Limited (IBEUL):

In view of anticipated COD declaration of 1st Unit (350MW) of IBEUL by January-2016, GRIDCO proposes to procure 218MU (@12% of Energy Sent Out)of power from the IPP during FY2016-17 at Energy Charge Rate of 141.46P/kWh and thus the procurement cost is worked out to be Rs.30.84Crore.

- Nava Bharat Ventures Ltd. (NBVL)

GRIDCO hereby proposes to procure 40MU at the provisional Variable / Energy Charge Rate of 141.46 P/kWh as proposed in case of other IPPs like Vedanta Ltd,GKEL & JITPL till fixing of final tariff by the Hon’ble OERC in respect of NBVL . Accordingly, the total proposed procurement cost from NBVL for 40 MU@141.46P/kWh is calculated to be Rs.5.66Crore for FY 2016-17.However, such procurement is subject to final order to be passed in Case No.78 of 2014.

Projected Power Procurement &Cost from IPPs during FY 2016-17:

| IPPs | Quantity | Rate | Cost |
| --- | --- | --- | --- |
|  | (MU) | (P/U) | (Rs. Crore) |
| M/s.Vendanta Ltd. (VL) | 4200 | 233.46 | 980.53 |
|  | 1176 | 141.46 | 166.36 |
| SUB-TOTAL (VL) | 5376 | 213.34 | 1146.89 |
| M/s. GMR Kamalanga Energy Ltd. (GKEL) | 1674 | 275.00 | 460.35 |
| M/s. Nava Bharat Ventures Ltd. (NBVL) | 40 | 141.46 | 5.66 |
| M/s. Jindal India Thermal Power Ltd. (JITPL) | 1008 | 141.46 | 142.59 |
| M/s. Ind Bharat Energy Ltd. (IBEL) | 218 | 141.46 | 30.84 |
| TOTAL (VL+ GKEL + NBVL + JITPL+IBEL) | 8316 | 214.81 | 1786.33 |

It is to be mentioned here that, the rate of 233.46 P/U (F.C. + ECR) in respect of Vedanta Ltd has been derived by considering Fixed Cost per Unit as 92 P/kWh, ECR(Energy Charge Rate) as 141.46P/kWh(i.e. weighted average of energy charge rate of TSTPS I & II respectively.For procurement of energy from the IPPs at ECR as per the provisions of the respective PPAs i.e. in case of JITPL, NBVL, Ind-Barath Energy Ltd. etc., the same ECR of 141.46 P/kWh has been considered, as adopted by the Hon’ble Commission in ARR order for FY 2015-16.

In case of GKEL, the provisional tariff of Rs.275/kWh has been considered, as provisionally approved for FY 2015-16 by the Hon’ble Commission.Further, it is submitted that, based on the OERC (Terms and Conditions for Determination of Generation Tariff) Regulation, 2014, all IPPs may be directed to file their Tariff Petition for approval of the concerned final tariff by the Hon’ble Commission.

- PGCIL Transmission Charges:

- PGCIL Transmission Charges:

Transmission Charges of PGCIL (Power Grid Corporation of India Ltd., also referred to as the CTU, the Central Transmission Utility) are being determined by applying the norms and principles as laid down by the Hon’ble CERC from time to time. Hon’ble CERC vide their Order dated 15.06.2010 have published a Regulation known as CERC (Sharing of Inter State Transmission Charges and Losses) Regulation, 2010.The said Regulation has been amended vide CERC Notification dated 24.11.2011 (named as 1st Amendment Regulation 2011). The 2nd Amendment Regulations, 2012 was notified by CERC on 28.03.2012.Further CERC vide Notification dated 01.04.2015 published 3rd Amendment Regulations, 2015 which came into force with effective from 01.05.2015.

According to the Regulations specified above, PGCIL Charges shall be shared applying a new methodology known as Hybrid Methodology, which shall be sensitive to distance, direction as well as quantum of power flow, using load flow studies. The sharing of ISTS Transmission Charges shall be based on the technical and commercial information provided by various customers to the evaluating agency known as Implementing Agency(IA) which shall calculate the Point of Connection Rates for every customer (such as generator or demand customer) using the aforesaid method. The Point of Connection (PoC) Rates shall be on Rs./MW/Month basis. PoC Rates are being determined by the Implementing Agency in every three months i.e. quarterly for the period from April to June, July to September, October to December, and January to March for which Orders are being published by the CERC for the specified period from time to time. CERC vide their Order dated 14.07.2015 has furnished the Slab PoC Rates for the period May’15 to June’15taking into consideration the 3rd Amendment Regulation. Copy of the aforesaid CERC Order dated 14.07.2015 is enclosed at Annexure-1.

It has been specified in the Clauses of 11(4), (5), (6), (7) of the CERC Regulation dated 15.06.2010 that the CTU Bill for levy of PoC Charges shall be calculated in the following manner;

- The first part of the CTU bill shall recover charges for use of the transmission assets of ISTS Licensees based on the Point of Connection methodology at the approved injection and withdrawal quantum for a beneficiary at the applicable PoC rate; (Bill #1)

- The second part of the bill shall recover charges for Additional Approved Medium Term Open Access; (Bill #2)

- The third part of the bill shall be used to adjust any variations in interest rates, FERV, rescheduling of commissioning of transmission assets as allowed by the Commission for any ISTS Licensees; (Bill #3)

- The fourth part of the bill shall be a Deviation bill which shall charge the Designated Customer for deviation from the sum of the Approved withdrawal/injection, (Bill #4)

Accordingly, GRIDCO received Bill # 1 amounting to Rs.27.63 Crore for the month of April’15 for the approved LTA of 1223.72 MW. The Third Amendment to CERC(Sharing of Inter State Transmission Charges and Losses)Regulations came into force with effect from 01.05.2015.Basing on the Weighted Average of Withdrawal Charges and Reliability Support Charges applicable for Odisha from May’15 to Sept’15, and considering an escalation of 10% on Account of Asset Addition, GRIDCO proposes to pay an amount of Rs.253.48 Crore for the ensuing year 2016-17.

GRIDCO has not been receiving any Bill towards the Second Part of Bill(i.e. for recovery of charges for Additional Approved Medium Term Open Access) due to absence of additional Medium Term Open Access.

PGCIL is also furnishing the Deviation Bills as per the provision mentioned in the Regulation which is based on deviation from our approved withdrawal. However, considering the bills received for the last six months and prorating the same for a year, GRIDCO proposes an amount of Rs. 0.26 Crore payable towards Bill #4for the ensuing year 2016-17.

The Third Part of the Bill which is basically QuarterlyAdjustment in nature, has been received by GRIDCO on Quarterly basis. GRIDCO received a bill of Rs.13.88 Crore towards Bill # 3 for the period from Jan’15 to Mar’15 and Rs. (-)6.94Crore for the period from Apr’15 to Jun’15. The (-) figure is due to adjustment towards revision of Bill #1 for the month of May’15 & Jun’15 as per the 3rd Amendment to PoC Regulations. An amount of Rs 7.54Cr each for May’15 and Jun’15 has been refunded to GRIDCO after the said revision and the same has been adjusted in the said Bill #3.Considering the above, Bill #3 for the period Apr’15 to Jun’15 apparently comes out to be Rs.8.14 Cr. Accordingly, GRIDCO proposes Rs.44.02 Croretowards Bill #3 for the ensuing year2016-17.

- ULDC & Communication Charges:

Further, GRIDCO has paid Rs.3.21 Crore towardsULDC and Communication Charges for the period from Apr’15 to Sep’15. Basing on this and prorating the same, GRIDCO proposes to pay an amount of Rs.6.42 Crore for the ensuing year i.e. FY 2016-17.

- Short-Term Open Access Charges:

It is submitted that GRIDCO has received an amountof Rs. 17.58 Crorefor the period from April’15 & Sept’15 towards reimbursement ofShort-Term Open Access (STOA)Charges. Accordingly, GRIDCO proposes a receivable of Rs.35.16 Crore towards reimbursement of STOA Charges for the ensuing year, 2016-17.

With the above facts, the Transmission Charges payable by GRIDCO for the ensuing year comes to Rs. 253.48 Crore. Considering energy drawal of 10,006.84 MU and after allowing 2.83% of CTU loss, the per unit PGCIL Transmission Charge including loss to works out to 27.67 P/U. The same is tabulated below:

| Projected PGCIL Transmission Charges for FY 2016-17 |  |
| --- | --- |
| Particulars | GRIDCO's Projection for FY 2016-17 (Rs. Crore) |
| Transmission charge payable by GRIDCO for 2016-17towards Bill#1 | 253.48 |
| Deviation Charges proposed towards Bill #4 | 0.26 |
| Year End Charges proposed towards Bill #3 | 44.02 |
| ULD and Communication Charges | 6.42 |
| Bills pertaining to Supplementary Transmission Charges | 0 |
| less: allocable to Short Term Customers | 35.16 |
| Net amount payable by GRIDCO towards Transmission Charges | 269.02 |
| Energy Drawal by GRIDCO before Central Sector Loss (MU) | 10006.84 |
| PGCIL Transmission Charge (Paise/Unit) | 26.88 |
| Weighted Average Central Sector Transmission Loss (%) | 2.83% |
| PGCIL Transmission Charge including loss (Paise/Unit) | 27.67 |

Projection of POSOCO Charges (SOC & MOC):

In exercise of powers conferred under Section 178 of the Electricity Act 2003, Hon’ble CERC vide its Order dtd. 18.05.2015 has framed a Regulation known as CERC (Fees & Charges of Regional Despatch Centres and other related matters) Regulations, 2015.These Regulations shall be applicable during the Control Period from 01.04.2014 to 31.03.2019.

In conformity with the above Regulation, Eastern Regional Load Despatch Centre (ERLDC) shall levy and collect Fees and Charges from the users towards its System Operation Charges (SOC) and Market Operation Charges (MOC) from the various beneficiaries. The Annual Charges shall be segregated into annual system operation and annual market operation charges in the ratio of 70:30.

GRIDCO, being the “State Designated Entity” under the “Single Buyer Model” has the Odisha Share allocation from the Central Sector Generating Stations in its favour and thus, comes under the category of Distribution Licensee / Buyers and hence, liable to pay the System Operation Charges (SOC) & Market Operation Charges (MOC) claimed by the ERLDC.

Further, since the Annual Charges for the F.Y 2014-15 and 2015-16 are under consideration of Hon’ble CERC,theAnnual Charges approved by CERC for the FY 2013-14, vide CERC Order dtd. 08.03.2011,is being considered for determination of the ERLDC Charges (POSOCO portion) for the F.Y 2015-16. Relevant portion of the CERC Order 08.03.2011 is placed at Annexure-2for kind reference.

In conformity with the aforesaid CERC Order, Annual Charges = Rs. 43.7453 Crore.

As per the Regulation, System Operation Charges payable by users is 70% of Annual Charges approved by CERC which comes to Rs. 30.62 Crore.

Similarly, Market Operation Charge payable by Users is 30% of Annual Charges approved by CERCwhich comes to Rs. 13.12 Crore.

As per the Clause 15 of CERC Regulation 2015,System Operation Charges shall be collected from the users as per the percentage apportionment indicated below:

- Distribution Licensees & Buyers	:	45%;

- Generating Stations & Sellers	: 	45%

- Transmission Licensees		:	10%

As per the Clause 26 of CERC Regulation 2015,SOC shall be collected from Distribution Licensees & Buyers in proportion to the sum of their allocation and Contracted Capacities, as the case may be, as on the last day of the month prior to the billing of the month.

Similarly, as per the Clause 16 of above Regulations, Market Operation Charges shall be worked out on the basis of aggregated capacities for scheduling by generating stations and sellers, distribution licensee and buyers.

Considering the bills received during April’15 to Sept’15 and prorating the same for a year, GRIDCO proposes for payment of an amount of Rs.2.93 Crore towards SOC & MOC of ERLDC for the ensuing year 2016-17.

Projected SOC & MOC of POSOCO for FY 2016-17

| Particulars | GRIDCO's Projection for FY 2016-17 (Rs. Crore) |
| --- | --- |
| Net amount payable by GRIDCO towards POSOCO Charges | 2.93 |
| Energy drawal by GRIDCO before Central Sector Loss (MU) | 10006.8 |
| PGCIL Transmission Charge (P/U) | 0.29 |
| Weighted Average Central Sector Transmission Loss % | 2.83% |
| PGCIL Transmission Charge including loss (P/U) | 0.30 |

9.00 Implementation of Intra State ABT, its impact and suggestions by GRIDCO:

Intra-State ABT(Phase-I) has been implemented in the State of Odisha in real time mode with commercial implication w.e.f.01.0402012 in line with the CERC UI Regulations, 2009.  Although GRIDCO obeyed the Order of Hon’ble Commission, none of the DISCOMs paid the UI Charges to SLDC for their overdrawl quantum of power or to GRIDCO at BSP rate, jointly agreed upon in a Meeting chaired, by the Chairman-cum-Managing Director, GRIDCO on 21.09.2012.

In the meantime, CERC Inter State UI Regulations, 2009 has been repealed and a new Regulation i.e., CERC (Deviation Settlement Mechanism & related matters) Regulations, 2014 w.e.f., 17.02.2014 has been implemented. However, Hon’ble Commission has not amended its Intra-State ABT Regulations in line with CERC DSM Regulations 2014. Taking this plea, the DISCOMs are not paying to GRIDCO/SLDC for their over drawl quantum of power, when SLDC bills at CERC (DSM) rate leading to less realization of revenue by GRIDCO for that quantum of energy due to which GRIDCO is unable to pay the Generator dues.

In the meantime, it is noticed that Hon’ble Commission has floated the draft OERC(Deviation Settlement Mechanism) Regulations, 2015 in its Website seeking comments/ suggestions from the stakeholdersin order to enable the Hon’ble Commission to finalize and implement the  Regulations prospectively i.e., from the date of its Gazette Notification.  It is bring to the kind notice of the Hon’ble Commission that GRIDCO is paying the DSM Charges to the Central Grid since 17.02.2014. GRIDCO therefore earnestly prays the Hon’ble Commission to implement the above DSMRegulations retrospectively from 17.02.2014 i.e. from the date of Deviation Settlement Mechanism (DSM) so that GRIDCO will be able to recover its dues from the DISCOMs from their overdrawl quantum of energy since then and be able to pay the generators dues. Further, from date 17.02.2014, as the CERC UI Regulations has been repealed, the CERC UI Rates are no more valid from dated 17.02.2014, as new Deviation Rates have been published by CERC for DSM Regulations, effective from Dated 17.02.2014.

Hence, it is earnestly submitted that the Intra-State DSM Regulations, is required to be implemented by OERC should be applicable from d. 17.02.2014 retrospectively; otherwise this would lead to legal complications.

## 10.00 Summary of Power Procurement Costs:

## Based on the above, the estimated Power Procurement Quantity, Cost and the effective rate for FY 2016-17 are summarized in the Table given below:

| PROPOSED SUMMARY OF POWER PURCHASE & COST FOR FY 2016-17 |  |  |  |
| --- | --- | --- | --- |
| Stations | Availability (Saleable Design Energy) (MU) | Rate (P/U) | Total Cost (Rs.Cr.) |
| HHEP | 639.28 | 183.64 | 117.40 |
| CHEP | 464.62 | 132.34 | 61.49 |
| Rengali | 514.55 | 230.12 | 118.41 |
| Upper Kolab | 815.44 | 138.89 | 113.26 |
| Balimela | 1159.46 | 156.33 | 181.26 |
| OHPC(Old) | 3593.35 | 164.70 | 591.81 |
| Indravati | 1922.96 | 108.12 | 207.91 |
| Sub-Total OHPC | 5516.30 | 144.97 | 799.72 |
| Machhkund | 262.50 | 47.93 | 12.58 |
| Total State Hydro Availability | 5778.80 | 140.57 | 812.30 |
| OPGC | 2928.42 | 216.90 | 635.18 |
| TTPS | 3150.40 | 305.51 | 962.49 |
| Small Hydro Renewable Energy | 320.00 | 368.00 | 117.76 |
| Biomass Energy (Shalivahan Energy Ltd.) | 100.00 | 578.00 | 57.80 |
| BioMass Energy (Octatnt Industries Ltd.) | 60.00 | 566.00 | 33.96 |
| Solar Energy | 230.00 | 710.00 | 163.30 |
| CGPs | 0.00 | 0.00 | 0.00 |
| Co-generation Plants | 0.00 | 0.00 | 0.00 |
| IPPs | 8316.00 | 214.81 | 1786.33 |
| Total State Availability | 20883.62 | 218.79 | 4569.12 |
| TSTPS Stg.-I | 2121.11 | 293.35 | 622.23 |
| TSTPS Stg.-II | 1323.54 | 289.44 | 383.08 |
| FSTPS-II&III | 1466.42 | 426.48 | 625.40 |
| FSTPS-III | 564.29 | 497.38 | 280.67 |
| KhSTPS Stg.-I | 835.15 | 441.50 | 368.72 |
| KhSTPS Stg.-II | 224.48 | 439.35 | 98.63 |
| Barh STPS -II (Unit-IV & V) | 1302.24 | 571.88 | 744.72 |
| Total Central Thermal | 7837.22 | 398.54 | 3123.45 |
| Chukha | 256.00 | 216.68 | 55.47 |
| TALA | 141.00 | 235.17 | 33.16 |
| Teesta | 510.00 | 267.83 | 136.60 |
| Total Central Hydro Availability | 907.00 | 248.32 | 225.22 |
| Total EREB | 8744.22 | 382.96 | 3348.67 |
| SoC & MoC Charges |  |  | 2.93 |
| Total | 29627.84 | 267.34 | 7920.72 |
| Power Banking |  |  |  |
| Inflow | 153.36 |  |  |
| Outflow | -633.78 |  |  |
| Total Availability | 29147.42 | 271.75 | 7920.72 |
| Pass Through Cost |  |  | 414.04 |
| Total Power Purchase Cost | 29147.42 | 285.95 | 8334.76 |

11.00 PASS THROUGH OF ARREAR DUES PAID / TO BE PAID DURING FY 2016-17:

GRIDCO proposes that the following expenses may please be considered for Pass Through in the approval of ARR & BSP for FY 2016-17 of GRIDCO by the Hon’ble Commission.

11.01 ARREAR PAYMENT TO NTPC IN RESPECT OF TTPS:

It is submittedthat NTPC raised an Arrear Bill of Rs.740.7249 Crore (Rs.564.5170 Crore as Principal plus Rs.176.2079 Crore as interest) towards Annual Fixed Charges arrear from FY 2009-10 to FY 2013-14as per the CERC Order dated 15-05-2014 in Petition No 304 of 2009 whereby the Annual Fixed Charge of TTPS was revised upwards. Based on the above claim of NTPC, GRIDCO submitted the same arrear claim of NTPC in its ARR & BSP Application for FY 2015-16 for approval. It is gratifying to note that Hon’ble Commission after perusing the submission of GRIDCO, approved the claimed amount as above in the ARR & BSP Order for FY 2015-16 dated 23.03.2015.

It is further submitted that NTPC claimed the above arrear amountof Rs.740.7249 Crore on GRIDCO and requested to clear the same in 6 equal installments. However, finding it difficult to pay, GRIDCO approached NTPC whereby the latter agreed to extend the installments from 6 to 18, but charged 13.36% interest on the arrear amount till the liquidation of the entire arrear amount. It may kindly be noted that GRIDCO paid a sum of Rs.329 Crore till December, 2014, then paid another sum of Rs.300 Crore on 26.03.2015 and the balance amount of Rs.111.55 Crore was paid in 3 installments by June, 2015.

It is submitted that, the Hon’ble Commission, based on the submission of GRIDCO, allowed the total Arrear dues of Rs.740.7249 Crore as pass through in the ARR & BSP Order for FY2015-16 dated 23-03-2015.However, in respect of the observation made by the Hon’ble Commission at Para 300 of the ARR & BSP Order dated 23.03.2015 regarding waival of Rs.28.85 Crore towards interest, it is submitted that GRIDCO through its various submissions has opposed the Tariff Application of NTPC for the Control Period 2009-14, citing the huge amount of R & M expenditure already incurred by it in respect of TTPS which did not justify claim of NTPC towards higher Annual Fixed Cost Charges. However, the Order was passed too lately i.e. after completion of the control period i.e. in May-2014. And therefore, the claim of Rs.28.85 Crore by NTPC towards interest till liquidation of the entire arrear AFC of Rs.740.7249 Crore was rather an excessive burden on GRIDCO. Accordingly, GRIDCO requested NTPC to waive the interest claim of Rs.28.85 Crore. However, NTPC did not accede to the request of GRIDCO. Copies of the relevant correspondences i.e. NTPC letter No.ER-II HQ/ dated 16.08.2014, GRIDCO letter No. FW-RES-CC-146/01-02/ 713 Dated 06.09.2014 & NTPC letter No. ER-II-Comm/ Date 23.09.2014 (3 letters in 3 Pages, numbered as a single ED) in this regard between GRIDCO and NTPC are attached as ED-XXXIX.

Besides above, it is submitted that at present NTPC-TTPS is claiming the Monthly Fixed Charges @ Rs.373.5929Crore provisionally (i.e. Annual Fixed Charges approved for FY 2013-14 vide CERC Order dated 15-05-2014 in Petition No 304 of 2009). However, pursuant to the CERC (Terms and Conditions of Tariff) Regulations, 2014, NTPC in a Fresh Petition filed before the CERCin the matter of determination of tariff for the Control Period from 2014-19 in respect of TTPS, applied for approval of AFC in excess of Rs.373.593 Crore i.e. for an amount of Rs.377.52 Crore for FY 2014-15, Rs.398.211 Crore for FY 2015-16 and Rs. 422.527 Crore for FY 2016-17. The Application of NTPC is pending before the CERC for disposal.

Due to such application of NTPC before CERC, GRIDCO is burdened additionally to the extent of Differential AFC of Rs.28.55 Crore for the last two years (i.e. For FY 2014-15, FY 2015-16) which is over and above the prevailing AFC of Rs.373.593 Crore.It is submitted that the additional AFC burden for the entire Control Period / Tariff period for 5 years from FY 2014-15 to FY 2018-19, is calculated as Rs.235.258 Crore is given in Table below which also includes Rs.28.55 Crore of additional AFC for two years from FY 2014-15 to FY 2015-16.

| Fixed Cost Arrears of TTPS (NTPC) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | TOTAL |
| F.C. Billed by NTPC provisionally (Rs. Cr.)i.e. @ AFC for FY:14-15 | 373.593 | 373.593 | 373.593 | 373.593 | 373.593 | 1867.96 |
| F.C due by NTPC as per filling before CERC (Rs. In Cr) | 377.52 | 398.211 | 422.527 | 443.316 | 461.646 | 2103.22 |
| Differential amount to be paid by GRIDCO to NTPC (Rs. Cr.) | 3.9298 | 24.6182 | 48.9339 | 69.7233 | 88.0531 | 235.258 |
| Additional AFC Burden calculated for 3 years from FY 2014-15 to FY 2015-16 | 28.55 |  |  |  |  |  |

It is earnestly submitted that the Hon’ble Commission may kindly consider to allow Rs.28.55 Crore (i.e.Rs.3.9298 Crore +Rs.24.6182Crore) as pass through of Differential Arrear against FY 2014-15 and 2015-16in respect of NTPC-TTPS in the ARR & BSP for FY 2016-17 subject to decision of Hon’ble Odisha High Court and APTEL as the matter has been appealed in these Forums by GRIDCO.

11.02: Arrear payment in respect of NTPC-Barh Station:

It is kindly submitted that Hon’ble Commission did not consider the energy and procurement cost towards purchase of power from Barh STPS-II (UNIT-IV)in the approval of tariff for FY 2015-16 vide ARR & BSP Order for FY 2015-16 dated 23.03.2015. Hon’ble Commission did not approve any energy drawal and cost from NTPC-Barh-II for the reason that the State of Odisha requested the Ministry of Power, Government of India for de-allocation of power from Barh STPS of NTPC.

In this regard, it may be relevant to mention that following Odisha’s request (coupled with that of other States) to de-allocate costly power from Central Generating Stations, Ministry of Power, Government of India notified for such de-allocationseeking interest from other States to avail such power so that suitable reallocation could be considered in favour of those States. However, it is learnt that till now none of the States has expressed willingness to purchase such surrendered power from Barh Station. In view of above, GRIDCO is entirely bearing the financial burden towards entitlement of power from Barh-II (Unit-IV) Station. GRIDCO has paid an amount of Rs.167.14Crore from November’14 to September’15 which are detailed item-wise below:

Capacity Charges	:	Rs.111.76Crore

Energy Charges	:	Rs.55.28Crore

RLDC Charges	: 	Rs.0.09 Crore

Water Cess		: Rs.  0.01Crore

--------------------------------------------------------------------

Total			:	Rs. 167.14 Crore

--------------------------------------------------------------------

Since, GRIDCO has actually paid the aforesaid amount of Rs.167.14 Crore and the much sought after de-allocation is yet to be effected by Ministry of Power, Govt. of India, GRIDCO submits that the above amount may be allowed by Hon’ble Commission as pass through during the approval of ARR & BSP for FY 2016-17.

11.3. Arrear payment of Rs.8.881 Crore in respect of Teesta-V HEP NHPC : NHPC-TEESTA, through Supplementary Bills relating to revision of FERV for FY 2014-15raised additional Arrears of Rs.8.231 Crore and Deferred Tax Liability of Rs.0.447 Crore, total amounting to Rs.8.881 Crore on GRIDCO pertaining to revision of FERV, Deferred Tax liability and Charge towards PAFY etc. The details are given in the following Table: SL. No.; Invoice No.; Particulars; Period; Arrear Billed. 1; NH/GRIDCO/227 dtd. 29.06.2015; Suppl. Bills towards revision of FERV; 2014-15; 8.231. 2; NH/GRIDCO/232 dtd.. 16.10.2015; Deferred Tax Revision; 2014-15; 0.447. 3; NH/GRIDCO/233 dtd. 21.10.2015; Charge in PAFY; 2014-15; 0.203. Total; 8.881. Accordingly, GRIDCO prays the Hon’ble Commission to allow pass through of the above amount of Rs. 8.881 Crore in the ARR & BSP for FY 2016-17. 11.4. Arrear Payment of Rs.164.00 Cr. of M/s. Vedanta Ltd. (erstwhile Sesa Sterlite Ltd): It is submitted that GRIDCO has paid Rs.164 Crore towards power purchase dues of M/s. Vedanta Limited, Jharsuguda for the year 2010-11 to FY 2013-14 as per Interim Order Of Hon’ble APTEL dated 28.03.2014 and 29.11.2014 in Appeal No. 25/2014 and 279/2014, under protest. The matter continues to be sub-judice. The relevant Orders of the Hon’ble Tribunal dated 28.03.2014 and 29.11.2014, to this effect are enclosed as ED-XXXX&ED-XXXXI, respectively. Since the arrear has already been paid by GRIDCO by 07.11.2015 in six installments under protest & without prejudice to the rights of GRIDCO, the amount is claimed as PassThrough in the proposed ARR & BSP for FY 2016-17. 11.5. Arrear towardsReactive Energy Charges: GRIDCO has paid Rs.0.87 Crore towards Reactive Energy Charges for the period from April’15 to November 08, 2015 to ER Pool Account and accordingly, factored the same amount as a Pass Through in the proposed ARR & BSP for FY 2016-17. 11.6. Reimbursement of Rs.44.60 Crore claimed by OHPC towards components in Tariff : OHPC, in its letter dated 19.11.2015(ED-V),has claimed reimbursement of Rs.44.60 Crore towards various components of Tariff viz., Water Cess, ED, SLDC Charges, Application Fees, ERPC Charges, Income Tax, PFC Loan Differential etc. along with its revised projection of generation and as well as Tariff. In line with the claim of OHPC, GRIDCO proposes for pass through of the same amount of Rs.44.60 Crorein the proposed ARR & BSP for FY 2016-17. SUMMARY OF PROPOSED PASS THROUGH EXPENSES IN THE ARR & BSP FOR FY 2016-17 The total amount of Rs.414.04 Croreas detailed above, have been proposed for Pass Through in the ARR & BSP Application for FY 2016-17 as per the particulars given below: Summary of Proposed Pass Through Expenses Relating to Power Purchase Cost in ARR & BSP for FY 2016-17 Particulars; Amount in Rs. Crore. (i) Arrear in respect of TTPS (Differential AFC to be paid by GRIDCO to NTPC) for the period from FY 2014-15 to FY 2016-17; 28.55. (ii)Arrear paid to NTPC Stations (Barh-II) for the period from Nov.’14 to Sept’15:; 167.14. (iii)Arrear of Teesta-V towards revision of AFC, FERV, Tax & Charge in PAFY for FY 2014-15; 8.88. (iv) Arrear Energy Charges towards M/s. Vedanta Ltd.from FY 2010-11 to FY 2013-14; 164.00. (v)Arrear towards Reactive Energy Charge paid to ER Pool Account from April, 2015 to Nov.’08, 2015; 0.87. (vi) Reimbursement claimed by OHPC in Tariff towards Water Cess, ED, SLDC Charges, Appln. Fees, ERPC Charges, Income Tax, PFC Loan Differential etc.; 44.60. Total amount proposed for pass Through in the ARR & BSP for FY 2016-17; 414.04.

###### 12.00  SPECIAL APPROPRIATION FOR LOAN & INTEREST TOWARDS PAST

POWER PURCHASE LIABILITIES:

During past years, GRIDCO availed loans to meet the cash deficit arising mainly because of the following reasons:

- Huge revenue deficits being left by the Hon’ble Commission year after year in the ARR in the face of inadequate surplus power available for trading resulting in galloping deficits in the accounts of GRIDCO;

- Prevailing Low Rates for electricity in the Open Market / Power Exchanges in the current Depressed Electricity Market that has dented Trading Margin significantly, consequently affecting the earning of any surplus revenue;

- DISCOM Utilities failing to pay even the current BSP dues and also not clearing the outstanding dues including loans and securitized dues etc.

- All the above reasons seriously affect the Monthly Cash Flow position of GRIDCO which on an average is always negative after meeting the obligations towards the payables. The overall average negative Cash Flow stands at an average of Rs.425 Crore at any given point of time.

(Rs. Crore)

| FY | Actual Power Pur. Cost (P/U) | Appd. Power Pur. Cost (P/U) | Approved BSP (P/U) | Approved Gap | Profit/(loss) in P&L Accounts | Loan Repayment | BSP Dues defaulted by DISCOMs | Total Cash Deficit | Loan availed to meet deficit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2008-09 | 151 | 127 | 122 | 410.05 | 98.14 | 374.26 | 163.94 | 440.06 | 300.00 |
| 2009-10 | 197 | 148 | 122 | 882.85 | (1560.84) | 205.06 | 164.22 | 1,930.12 | 1213.00 |
| 2010-11 | 198 | 175 | 170 | 806.15 | (587.86) | 328.15 | 297.01 | 1,213.02 | 1640.71 |
| 2011-12 | 228 | 210 | 232 | 746.05 | (936.81) | 382.40 | 269.74 | 1,588.95 | 864.16 |
| 2012-13 | 237 | 236 | 271 | 700.58 | 31.79 | 777.69 | 590.01 | 745.90 | 943.83 |
| 2013-14 | 214 | 229 | 265 | 707.60 | (1464.34) | 1006.57 | 167.30 | 2638.21 | 483.50 |
| 2014-15 | 214 | 227 | 263 | 884.18 | (120.35) | 868.31 | 86.91 | 1075.57 | 1609.49 |
| 2015-16 (Upto Sept.’15) | 223 | 230 | 284 | 882.06 | 115.56 | 413.19 | 140.78 | 438.41 | 800.00 |
| Total |  |  |  | 6019.52 | (4424.71) | 4355.63 | 1879.91 | 10070.24 | 7854.69 |

It is for this reason that GRIDCO has been forced to resort to borrowing in the earlier years to meet the payment obligations in order to keep supplying power to the DISCOM Utilities to meet the consumers demand in greater public interest. However, GRIDCO, during the ensuing year FY 2016-17, hopes to improve its financials and has therefore proposed not to go for any borrowing. However, as an obligated Entity, GRIDCO will have to pay the outstanding loan liabilities to the Lenders which comprise of the State Government, Banks and FIs etc. Thus, the Special Appropriation amounting Rs. 2366.99 Crore is proposed for recovery through the ARR & BSP for FY 2016-17.

Special Appropriation claimed by GRIDCO

(Amount in Rs. Crore)

| Particulars | Loan Repayment Dues | Interest Dues | Total |
| --- | --- | --- | --- |
| State Govt. Loan | 162.54 | 335.91 | 498.45 |
| NTPC-GoO Special Bonds (Rs.1102.87 Crore) | 818.81 | 237.14 | 1055.95 |
| Sub-total | 981.35 | 573.05 | 1554.40 |
| Bank Loans | 812.59 | - | 812.59 |
| Total | 1793.94 | 573.05 | 2366.99 |

*Govt. Loan of Rs.981.35Crore has been proposed to be deferred.

It may be observed that in order to meet the cash deficit of Rs. 10,070.24 Crore, GRIDCO has availed loans of about Rs. 7,854.69 Crore and the balance shortfall (about Rs 2,215.55 Crore) was met by way of defaulting in the payment of interest on State Govt. loan, Govt. of Odisha (NTPC) Bond, and also by postponing the payment of power purchase dues to the generators and to some extent, from realization of securitized dues.

As per the Tariff Policy, depreciation on Fixed Assets shall be utilized for repayment  of principal component of Loan. In case of GRIDCO, there is virtually no fixed assets and hence, no depreciation is available in the hands of GRIDCO to meet the cash deficit arising due to the afore-mentioned reasons.It has been almost a customary practice by the Hon’ble Commission during past years to leave huge deficits in the ARR of GRIDCO with a direction to recoup such deficits by way of sale of surplus power through Trading / UI and realization of outstanding securitized dues from the DISOMs. However, except for no / marginal fulfillment of such observations of the Commission, the general trend has been that GRIDCO is ending up with huge deficits at the end of each year as mentioned above. Faced with such critical financial crisis together with the responsibility of ensuring adequate power supply to the State as the Designated Entity, GRIDCO therefore has no other alternatives at its disposal other than to avail loans in order to keep supplying power in the greater interest of public at large in Odisha.

Under the circumstances, GRIDCO submits that the loans as well as the interest of GRIDCO may be considered by the Hon’ble Commission for pass through of the same in the ARR & BSP. GRIDCO therefore, proposes repayment of Principal (all the Loans)amounting to Rs.812.59 Crorein the proposed ARR & BSP Application for FY 2016-17 for approval by the Hon’ble Commission, under the head “Special Appropriation of Expenses”.

12.01 Bank Loan:

As already explained in above, GRIDCO availed Rs.7854.69 Crore as term loans from various Sources to meet the revenue gap. In absence of any other alternatives, GRIDCO prays the Hon’ble Commission to allow repayment of such statutory dues to the banks / FIs amounting to Rs.812.59 Crore in the BSP for 2016-17 towards Special Appropriation as detailed in OERC Form F-2.

12.02 State Govt. loan:

The general trend during all the previous years has been that the Hon’ble Commission is not allowing the repayment of the State Govt. loans as well as the interest thereon as GRIDCO has not been able to service such loans because of its critical financials. Besides, GRIDO is also not able to service the securitized Govt. of India NTPC Bonds (Rs.1102.87 Crore) for the last six years due to similar reasons. The Govt. of Odisha in turn has been servicing the Govt. of India Power Bonds in order to avoid deduction of equal amount from the Central Plan Assistance.

It may be relevant to mention here that based on the request to defer the servicing of loan dues of the Govt. owing to its bad financial position, Hon’ble Commission in the ARR & BSP Order for FY 2014-15 dated 22.03.2014 at Para 289 has directed GRIDCO to defer the payment of the Govt. dues till the financial turnaround of GRIDCO. Keeping in line with such directions of the Hon’ble Commission and the Govt. of Odisha servicing the GoI Power Bonds, GRIDCO proposes the following in order to reduce its financial burden as well as to avoid tariff shock to the consumers of the State although Govt. of Odisha in their letter No.28966 dated 13.10.2014 has asked GRIDCO to pay the outstanding dues of Govt. of India NTPC Power Bonds at the earliest.

- Repayment of NTPC-GOI Bond dues will continue to be paid by the Govt. of Odisha;

- Repayment of dues to Govt. of Odisha by GRIDCO will be kept in abeyance;

GRIDCO therefore proposes deferment of repayment of Govt. dues of Rs.1554.40 Croreas indicated in the table above towards servicing of Govt. loans / Bonds. Further, the details are also furnished in OERC Form F-2.

13.00 Summary of Other Expenses:

The proposed expenditures under other components excluding the cost of power procurement are grouped as under:

## 13.01 Interest & Financial Charges:

The total interest on loans and financial charges are related to Power Purchase is estimated to be Rs.582.04 Crore including Rs.9.18 Croretowards Guarantee Commission and Rs.100 Crore towards proposed interest on bank loan. The details of the same are also furnished in OERC Form F-2.

13.02 Employees Cost:

Taking into account the men in position, GRIDCO proposes Rs.10.72 Croretowards employees cost for FY 2016-17 as furnished in OERC Form F-9 after considering the likely increased impact of around 23.55% as per the 7th Pay Commission Report.

13.03 Repair & Maintenance Expenses:

GRIDCO proposes Rs.0.25 Crore towards the Repair & Maintenance Expenses of vehicle, Furniture & Office Equipment and Annual Maintenance Charges (AMC) of computers for FY 2016-17. The details of such expenses are annexed in OERC Form F-10.

### 13.04 Administrative and General Expenses (A & G Expenses):

For the FY 2016-17, GRIDCO proposes Rs. 11.33 Crore towards A&G Expenses including Annual License Fees of Rs.1.50 Crore, ERPC Membership Fees of 15 Lakhs, Escrow Audit Feesof Rs.3.50 Crore and another Rs.1 lakh towards ERPC Fund. The details are annexed in OERC Form F-11.

13.05 Depreciation: (F-13):

GRIDCO proposes Rs.0.72 Crore towards the Depreciation on Fixed Assets (Vehicle, Furniture and Office Equipment etc.) for FY 2016-17. The detailed calculation of Depreciation is annexed in OERC Form F-13.

Summary of other Costs / Expenditures of GRIDCO:

Based on the above projections, GRIDCO proposes to incur about Rs.605.06Crore towards expenses on account of Interest, Employees cost, A&G Expenses etc.

(Rs. in Crore)

| Particulars | GRIDCO proposal for FY 2016-17 |  |
| --- | --- | --- |
| 1. Interest & Financial Charges (OERC Form F-2) |  | 582.04 |
| 2. Other Costs: |  |  |
| a. Employee Cost (OERC Form F-9) | 10.72 |  |
| b. A&G Cost (OERC Form F-11) | 11.33 |  |
| c. Repair & Maintenance Cost(OERC Form F-10) | 0.25 |  |
| Sub-Total |  | 22.30 |
| 3. Depreciation |  | 0.72 |
| Total (1+2+3) |  | 605.06 |

14.00 Return on Equity:

It is submitted that the total paid-up equity of GRIDCO now stands at Rs.576.71 Crore. GRIDCO,therefore, proposes Rs.92.27 Crore towards Return onEquity (R-o-E) @16.00%on the said Equity Capital of Rs.576.71 Crore in line withTariff Policy and OERC Tariff Regulations which will improve the long-term financial health of GRIDCO.

15.00 Other Income/ Miscellaneous Receipts:

GRIDCO expects to earn an amount of Rs.6.85 Crore (at existing approved tariff@ 685 P/U for FY 2015-16) from the proposed emergency sale of 10 MU to Long Term Customers like NALCO and IMFA as per the MOU signed with these entities.

16.00 Receivable from DISCOMs and Others:

- Securitized dues

The details of the dues are furnished below for kind perusal of the Hon’ble Commission:

Outstanding Securitized Dues payable by DISCOMs to GRIDCO

(Rs. in Crore)

| Particulars | Unpaid as on 31-03-2015 |
| --- | --- |
| WESCO | 294.70 |
| NESCO | 303.37 |
| SOUTHCO | 259.98 |
| CESU | 1227.28 |
| Total | 2085.33 |

B.	Rs. 400.00 Crore Bond Dues:

Apart from Securitized Dues, the DISCOMs have failed to honour the OERC Order dated 29-03-2012 read with corrigendum Order dated 30.03.2012 against the Bond dues of Rs.308.45 Crore. In the said order Hon’ble OERC had directed the erstwhile REL managed  DISCOMs to pay Rs.50 Crore by the end of April 2012 and at least @Rs.10 Crore per month w.e.f. May 2012 so that the entire amount shall be cleared by the end of FY 2012-13 or else the Order will stand non-est.The R-Infra managed DISCOMs have paid Rs.62 Crore by 31-10-2014, besides payment of Rs.50 Crore in March 2012. Now the Outstanding Balance as on 31-03.2015 is Rs.195.36 Crore.

- Non-Payment of BSP Dues and Year-end Adjustment Bills by the DISCOMs:

Since FY 2011-12, onwards, the DISCOMs Utilities have started defaulting in payment of current BSP Bills in addition to the year-end adjustment bills payable to GRIDCO. Because of such failure of DISCOMs, the revenue deficit faced by GRIDCO has widened to unmanageable levels leading to severe cash crunch.

The outstanding BSP &YEA dues payable by DISCOMs are as under:

Outstanding Dues relating to Current BSP and Year end Adjustment bills of DISCOMs payable to GRIDCO

(Amount Rs. Crore)

| Particulars | WESCO | NESCO | SOUTHCO | CESU | TOTAL |
| --- | --- | --- | --- | --- | --- |
| BSP Bills- 2011-12 | 210.48 | 53.74 | 5.52 | - | 269.74 |
| BSP Bills- 2012-13 | 265.06 | 324.95 | - | - | 590.01 |
| BSP Bills- 2013-14 | 22.43 | 57.87 | 40.01 | - | 120.31 |
| BSP Bills- 2014-15 | 17.42 | 13.66 | 94.94 | - | 126.02 |
| BSP Bills- 2015-16(upto Sept-15) | - | - | 82.6 | 58.18 | 140.78 |
| Sub Total | 515.39 | 450.22 | 223.07 | 58.18 | 1246.86 |
| Year end Adj. Bills- 2008-09 | 69.08 | - | 36.72 | 58.14 | 163.94 |
| Year end Adj.Bills-2009-10 | - | 87.47 | 32.81 | 43.94 | 164.22 |
| Year end Adj.Bills-2010-11 | 46.80 | 22.65 | 60.24 | 167.32 | 297.01 |
| Sub Total | 115.88 | 110.12 | 129.77 | 269.40 | 625.17 |
| Grand Total | 631.27 | 560.34 | 352.84 | 327.58 | 1872.03 |

From the above, it is observed that for the FY 2011-12 to FY 2015-16 (upto September-15), DISCOMs are yet to pay Rs.1246.86 Crore. In order to bridge the gap arising from non- realization of dues from DISCOMs, GRIDCO has availed Rs.500 Crore term loan from OMC limited with due permission of Govt. of Odisha in order to meet the deficit. GRIDCO has also borrowed another Rs.300 Crore during FY 2015-16 from Banks / FIs in order to cope up with cash deficit towards un-controllable power purchase expenses.

17.0 Truing-up of GRIDCO’s Expenses:

GRIDCO has finalized the Audited Accounts up to FY 2013-14. Accordingly, GRIDCO prays the Hon’ble Commission to kindly undertake the truing-up of GRIDCO’s Expenses till 31.03.2014 which earlier has been trued up till 31.03.2013.

18.0 Aggregate Revenue Requirement of GRIDCO for FY 2016-17:

The Net Aggregate Revenue Requirement of GRIDCO for the FY 2016-17is estimated as Rs.9097.94 Crore based on the following Costs as given in the Table below:

| Proposed Aggregate Revenue Requirement of GRIDCO for FY 2016-17 |  |  |
| --- | --- | --- |
| Particulars |  | GRIDCO Projection for FY 2016-17 (Rs. Crore) |
| Power Purchase cost |  | 7920.72 |
| The Interest & Financing Charges, |  | 582.04 |
| Employees Cost |  | 10.72 |
| A&G and R&M Expenses |  | 11.33 |
| R & M Expenses |  | 0.25 |
| Depreciation |  | 0.72 |
| Return on Equity |  | 92.27 |
| Sub Total |  | 8618.05 |
| Proposed Pass Through Expenses |  |  |
| (I) Arrears in respect of TTPS | 28.55 |  |
| (ii) Arrear in respect of Barh-II Energy | 167.14 |  |
| (III) Arrear towards Teesta V (Tax & FERV etc.) | 8.88 |  |
| (IV) Arrear relating to Vedanta Ltd. from FY 2010-11 to 2013-14 | 164.00 |  |
| (v) Arrear towards Reactive Energy Charges paid to ER Pool Account | 0.87 |  |
| (VI) Reimbursement claimed by OHPC towards Water Cess, ED, SLDC Charges, IT, PFC Loan Differentials, ERPC Charges etc. | 44.60 |  |
| Total Amount proposed for pass Through in the ARR & BSP for FY 2015-16 |  | 414.04 |
| Special Appropriation |  |  |
| State Govt. Loans (Deferred) |  |  |
| NTPC-GoO Special Bonds (Deferred) |  |  |
| Bank / Commercial Loans | 812.59 |  |
| Sub Total :Special Appropriation |  | 812.59 |
| Gross Revenue Requirement |  | 9844.68 |
| Less: (i) Miscellaneous Receipts from Emergency & Back-up Power Sale to NALCO & IMFA |  | 6.85 |
| Less: (ii) Revenue from proposed Trading of Surplus Power of 2690.52 MU @ 275 P/kWh |  | 739.89 |
| Net Revenue Requirement to be recovered from DISCOMs |  | 9097.94 |

## 19.0	Revenue of Rs.7239.49Crore will be earned by GRIDCO from sale of proposed energy of 25,468.00 MU to DISCOMs during FY 2016-17 at the existing BSP Rate for FY 2015-16.The detailsare shown in table below:

Estimated Revenue during FY 2016-17at the Existing BSP for FY 2015-16

| DISCOMs | Energy (MU) | Existing BSP Rate (P/U) | Amount (Rs. Crore) |
| --- | --- | --- | --- |
| CESU | 8905.00 | 285.00 | 2537.93 |
| NESCO | 5583.00 | 302.00 | 1686.07 |
| WESCO | 7450.00 | 310.00 | 2309.50 |
| SOUTHCO | 3530.00 | 200.00 | 706.00 |
| TOTAL | 25468.00 |  | 7239.50 |

20.0 Revenue Requirement (Excess / Deficit) with the existing BSP:

It is submitted that GRIDCO will suffer Revenue Deficit of Rs.1858.44 Crore considering the proposed net ARR of Rs.9097.94Crore and the revenue of Rs.7239.50Crore to be earned by GRIDCO from sale of the proposed energy of 25,468.00 MUto DISCOM Utilities for FY 2016-17 at the existing BSP Rate for FY 2015-16, the details of which are shown in the Table below:

Revenue Requirement (Excess / Deficit) with the existing BSP. ITEM; GRIDCO projection for. FY 2016-17. (Rs. Crore). Total Revenue Requirement; 9844.68. Less (i) Misc. Receipt from Emergency sale of Power to NALCO & IMFA; 6.85. Less: (ii) Revenue from proposed Trading of Surplus Power of 2690.52 MU @ 275 P/kWh; 739.89. Net Revenue Requirement to be recovered from DISCOMs; 9097.94. Revenue Receipt from DISCOMs at the existing BSP; 7239.50. Gap i.e. Surplus / Deficit (-); -1858.44.

Proposal for Revision of Bulk Supply Price

GRIDCO, with its present Bulk Supply Price Structure, cannot meet its current costs as it results in deficit of Rs.1858.44Crore. In order to meet this deficit, GRIDCO humbly submits the present ARR & BSP Application before Hon’ble Commission praying for revision of Bulk Supply Price to be effected from 1st April, 2016.

Design of Bulk Supply Price to meet the proposed

Aggregate Revenue Requirement for FY 2016-17

1)	Energy Charge:

GRIDCO proposes to recover the Net Revenue Requirement of Rs.9097.94 Crore through Energy Charge only from the DISCOMs.The proposed Uniform BSP for recovery of the above proposed Net ARR (after deducting the Miscellaneous Receipts of Rs.746.74 Crore) is derived as 357.23 P/U.

2)	Demand Charge:

GRIDCO proposes that the Demand Charges may be levied @ Rs.250/KVA/Month from DISCOM Utilities. When the actual SMDs of DISCOMs in a month exceeds the permitted Monthly SMDs (110% of the approved SMD), the DISCOM Utilities will be billed by GRIDCO and paid by DISCOMs on provisional basis towards the excess SMD to take care of monthly variations. However, such Charges will be adjusted at the end of the year if the actual Annual SMD remains within the Permitted Annual SMD i.e. 110% of the approved Annual SMD. If not, the Demand Charges for the excess SMDs may be levied at the above proposed rate.

3)	Rebate for Timely Payment:

Hon’ble Commission in its ARR & BSP Order of FY 2015-16 has directed that any payment made within the specified period by DISCOMs shall be first adjusted against current month’s dues raised in the bill. In line with the above order of Hon’ble Commission, GRIDCO proposes the following rebate for payment of current dues:

- For payment of full current month’s BSP within 2 working days of raising of BSP invoice (excluding holidays under NI Act): 2% rebate.

- For payment of part of current BSP within two working days and balance current BSP dues within 30days of raising of BSP invoice: 2% rebate for payment of bill within two working days and 1% rebate for payment of balance current BSP beyond two working days and within thirty days.

- For payment of full BSP dues within 30 days: 1% rebate

No rebate shall be paid if full BSP is not paid within thirty days.

5) 	Escrow Arrangement:

DISCOMs are approaching GRIDCO to allow escrow relaxation towards employee cost and R&M expenses in each month. Since there is no specific direction in the ARR 2015-16 to allow escrow relaxation, GRIDCO is facing inconvenience.Keeping in view the overall interest of the Sector, Hon’ble Commission may kindly pass suitable direction as may be deemed necessary without affecting interest of GRIDCO.

6)	     Surcharges for Late Payment:

The Surcharge for delayed payment of bulk power supplies bills i.e., payment after the periods of 30 days from the date of submission of bills, may be retained at 1.50% per month.

7)   	Carry forward of Revenue gap:

GRIDCO prays that the proposed Annual Revenue Requirement &Bulk Supply Price be made applicable from 1st April 2016. However, in case of a gap between the approved revenue requirements for FY 2016-17 and the revenue realized, the Commission may kindly approve to carry forward the gap for adjustment during the future years.

Prayer

Under the circumstances, GRIDCO humbly prays the Hon’ble Commission:

(I) 	to consider Pass Through amount of Rs.414.04 Crore as requested (since all the arrears are payable during FY 2016-17) and accordingly, approve the ARR and Bulk Supply Price (BSP) for FY 2016-17 as proposed in this Application and make the same effective from 1st April 2016;

- to allow carry forward of the additional cost, if any, for recovery in the future BSP;

- to allow recovery of the additional cost/s due to overdrawal of energy, Fuel Price Adjustment / Fuel Surcharge Adjustment etc. or on account of any other statutory increase/s, significant rise in the fuel cost etc. if any, be passed on to GRIDCO on account of the OERC / CERC / Tribunal / Court Orders, as surcharge during the year;

- to allow recovery of any cost/s due to the Electricity Duty/ Water Cess levied by the Government of Odisha and any other Statutory levy/ Duty/ Tax/ Cess / Toll etc. which shall be charged over and above the Bulk Supply Price, if any, be passed on to GRIDCO imposed under any relevant law from time to time, as surcharge during the year;

- to suitably frame and approve the Intra State UI / Deviation Settlement Mechanism & Rates in a manner by which GRIDCO will be in a position to recover its dues payable to the generators from the BSP Bills charged to the DISCOMUtilities;

for which, GRIDCO, as is duty bound, shall ever pray.

BY THE APPLICANT

THROUGH

Bhubaneswar

Director (F&CA)

November 30, 2015							 GRIDCO Limited

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No…………

Filing No……………

IN THE MATTER OF :	An Application for approval of Aggregate Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2016-17 under Section 86 (1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations.

AND

- IN THE MATTER OF : GRIDCO Ltd., Janpath, Bhubaneswar

….  ………Applicant

Affidavit verifying the Application

I, Shri Hara Prasad Nayak, aged about 44 years, S/o Late Dhuli Nayak, Director (Finance & Corporate Affairs), GRIDCO do hereby solemnly affirm and say as follows:

I am the Director (Finance & Corporate Affairs) of GRIDCO Ltd., the Applicant in the above matter and am duly authorised to make this affidavit on its behalf.

The statements made in the foregoing Paragraphs of this ARR & BSP Application herein are based on information and I believe them to be true.

Bhubaneswar

November 30, 2015							DEPONENT

Proposed Bulk Supply Price Schedule of GRIDCO for carrying out

Bulk Supply Activity for 2016-17

Bulk Supply Price:

This Bulk Supply Price (BSP) is applicable for supply of power to Distribution and Retail Supply Licensees. The total charges shall be calculated by summation of following charges stated in Para (a) to (g) below as applicable:

- Energy Charge:

The entire Aggregate Revenue Requirement for FY 2016-17 is proposed to be recovered through proposed Energy Charge @ 357.23 P/Uonly.

- Demand Charge:

The Demand Charges @ Rs.250/KVA/Month would be levied from DISCOMs only when the actual SMDs of DISCOMs in a month exceeds the permitted monthly SMDs (110% of the approved SMD), to take care of monthly variations subject to year-end adjustment (YEA) within the Permitted Annual SMD i.e. 110% of the approved Annual SMD.

- Over Drawal and Year End Charges:

Although the Over Drawal and Year End Charges payable by DISCOM Utilities are presently billed on month-to-month basis as per the Orders of the Hon’ble Commission, but the same remain unpaid by the DISCOMs Utilities. GRIDCO proposes that any excess drawal of energy by a Distribution and Retail Supply License (DISCOM Utilities) during a month over and above the approved energy quantum (Approved MU for FY 2016-17 X No. of days of the relevant month / 365 days) would be payable on provisional basis at the highest OERC approved Power Purchases Rate fixed for a Station for FY 2016-17 (which includes transmission charges and transmission loss) on a monthly basis instead of the normal differential BSP applicable to the respective DISCOMs subject to final Year End Adjustment (YEA) considering the highest Power Purchases rate/ cost including the rate/s of energy drawn through U.I. / Deviation Settlement of the month plus transmission charges and transmission loss.

- Fuel Price Adjustment :

Any excess payment made by GRIDCO towards FPA for a particular / relevant month will be levied on DISCOMs in the succeeding month in proportion to their actual drawl during the preceding month along with the BSP bills if the Fuel Surcharge Price of the particular month paid by GRIDCO exceeds by more than 5% of the approved AverageBulk Supply Price subject to maximum of 25% of the approved AverageBulk Supply Price which will be passed on to consumers in the same month along with their normal energy bills served to the consumers at a rate which will be arrived at by considering  their approved monthly sale quantum to the consumers (approved quantum for the financial year/12 months).

- Rebate:

Hon’ble Commission in its ARR & BSP Order of FY 2015-16 has directed that any payment made within the specified period by DISCOMs shall be first adjusted against current month’s dues raised in the bill. In line with the above order of Hon’ble Commission, GRIDCO proposes the following rebate for payment of current dues:

- For payment of full current month’s BSP within 2 working days of raising of BSP invoice (excluding holidays under NI Act): 2% rebate.

- For payment of part of current BSP within two working days and balance current BSP dues within 30days of raising of BSP invoice: 2% rebate for payment of bill within two working days and 1% rebate for payment of balance current BSP beyond two working days and within thirty days.

- For payment of full BSP dues within 30 days: 1% rebate

No rebate shall be paid if full BSP is not paid within thirty days.

f)	Delayed Payment Surcharge:

The monthly charges as calculated above together with other charges and surcharge on account of delayed payments, if any, shall be payable within 30 days from the date of bill. If payment is not made within the said period of 30 days, delayed payment surcharge at the rate of 1.50% (One point five percent) per month shall be levied pro-rata for the period of delay from the due date, i.e. from the 31st day of the bill, on the amount remaining unpaid (excluding arrears on account of delayed payment surcharge).

g) 	Duty and Taxes:

The Electricity Duty levied by the Government of Odisha and any other Statutory levy/ Duty/ Tax/ Cess / Toll etc. imposed under any law from time to time shall be charged over and above the Bulk Supply Price.

(NB: In this Application, the words “DISCOMs”and“DISCOM Utilities” are used interchangeably).