BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAWAN, UNIT-VIII

BHUBANESWAR-751012

FILING No…03

CASE No. 68/2014

IN THE MATTER OF :	An Application for approval of Annual Revenue Requirement (ARR) and determination of Bulk Supply Price (BSP) for the Financial Year 2015-16 under Section 86(1) (a) & (b) and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Terms and Conditions for Determination of Tariff) Regulations, 2004, and OERC (Conduct of Business) Regulations, 2004, and other related Rules and Regulations

AND

IN THE MATTER OF :	Rejoinder of GRIDCO to the objections raised by the objector.

## AND

IN THE MATTER OF :	GRIDCO Limited, Janpath, Bhubaneswar -751022

-------- Applicant

AND

IN THE MATTER OF:      2-M/s. Sesa Sterlite Ltd.,

Sesa Ghor, 20, GDC Complex Patto, Panjim-403001

Correspondence Address:

1st Floor, Fortune Towers, Chandrasekharpur,

Bhubaneswar-751023

------- Objector

The humble applicant above named:

MOST RESPECTFULLY SHOWETH THAT :

GRIDCO submits the response / reply to the objections made by the objector on the ARR & Bulk Supply Price Application of GRIDCO for the FY 2015-16 herein as under:

- Para 1 & 2 are matter of record and thus, needs no reply.

- In reply to Para 3 & 4, regarding procurement from CGPs in comparison to Central Generating Stations (CGSs), it is submitted that GRIDCO purchase power on long term basis from Central Generating Stations on cost plus basis allowed by the Ministry of Power, Govt. of India. In case, there is shortfall GRIDCO arranges purchase of power from different sources in which CGP is also one of the sources. GRIDCO does not have any problem to procure power from CGPs at the time of need.

- The issues raised at Para 5 are matter of record only.

- In reply to Para 6& 7 , it is submitted that GRIDCO has proposed to procure 4199 MU of power from SSL during FY:2015-16 based on the generation plan submitted by it vide its letter dated 29-10-2014 without any detail clarification on the fact that whether it is inclusive of 7% power at variable cost or not. As per the PPA dated 19-12-2012, GRIDCO is entitled to 7% of ESO from the IPP and till date they are not supplying the same in spite of a number of communications from GRIDCO and thus in absence of physical delivery of such entitlement of GRIDCO, only the adjustment in cost of 7% power at variable rate is being made by GRIDCO against payment of monthly energy bills.

Regarding cancellation of coal blocks, SSL had never intimated the same in writing to GRIDCO.

- Further, in reply to Para 8 regarding the Interlocutory Application filed by M/s. SSL, it is humbly prayed before the Hon’ble Commission to clarify its views on Para 16 of the Tariff Order dated 12-06-2013 regarding consideration of transmission capacity of the 220kV DC VAL- Budhipadar line to be 400MW for the purpose of fixing % of Auxilliary Consumption only and not beyond it.

It is pertinent to mention here that, M/s. SSL has appealed to the Hon’ble APTEL for considering 400MW (instead of 600MW) as the installed capacity for calculation of monthly /annul fixed cost in respect of its Unit #2 from FY: 2010-11 till 2013-14 as per formula mentioned at Para 47 (of order dated 12-06-2013 in Case No.117/2009.31/2010& 56/2012) based on the observation of Hon’ble Commission at Para 16 of said order. Such misinterpreted consideration for working out Fixed charges is having huge/substantial financial impact on GRIDCO as well as the consumers of the State. In spite of GRIDCO’s contentions and submissions in interim applications against APTEL’s 28-03-204 order, it has been kept as such in its judgment 29-11-2014 which has been challenged by GRIDCO before the Hon’ble Apex Court.

In view of the above facts, it is very very critical at this juncture and essential too to seek clarification from the Hon’ble Commission regarding the installed capacity of Unit #2 to be considered for calculation of Annual Fixed Cost for the past period as well as for FY:2015-16 onwards.

However, it is submitted that, the Interlocutory Application as well as the main tariff petition 95/2013 of SSL may be considered for hearing after disposal of Appeal No 25/2013 filed by SSL & that filed by GRIDCO before the Hon’ble Apex Court and till such time the Hon’ble Commission may fix a provisional tariff in respect of power to be procured from SSL.

- That in reply to Para 9, it is submitted that, the Hon’ble Commission has rightly adopted the provisional tariff of Rs.2.0732/kWh  in respect of  SSL for FY:2014-15 in view of the provision at Para 8(i) of CERC (Terms & Conditions of Tariff) Regulation ,2014 which reiterated below:

“the generating company or the transmission licensee, as the case may be, shall continue to bill the beneficiaries or the transmission customers /DICs at the tariff approved by the Commission and applicable as on 31-03-2014 for the period starting from 01-04-2014 till approval of tariff by the Commission in accordance with these regulations.”

- That in reply to Para 10, it is humbly submitted that as per the Order of Hon’ble Commission dated 12-06-2013 , GRIDCO had paid the proportionate water charges in respect of Unit#2 out of the total water charges paid in a month. However, the claim of water transfer charges i.e. the proportionate power charges paid to the distribution licensee for bringing water to the site of IPP (electricity consumption by common pump house facility for both CGP & IPP of M/s. SSL) has not been paid by GRIDCO as the same expenditure is considered to be covered under normative O & M expenditure allowed to the IPP.

- That in reply to Para 11 & 12, it is submitted that, it is not appropriate on the part of M/s. SSL to analyze its energy tariff vis-à-vis tariff of various Central Sector Generating Stations most of which are non-pit head thermal stations. Further, it has been justified in detail in Hon’ble Commission’s order 12-06-2013 that M/s. SSL has been allotted sufficient coal linkage to operate its Unit-#2 , connected to STU to supply State share of power. However, the rate of Rs.2.0732/kWh is provisional and subject to change based on assessment of tariff petition filed by M/s. SSL in Case No.95/2013 in accordance with OERC (Terms & Conditions of Tariff) Regulations, 2014.

- That in reply to Para 13 , it is submitted that the reconciliation statement of accounts of energy bills of M/s SSL-CGP is under process along with other CGPs and shall be resolved soon by GRIDCO.

In view of the facts stated above, it is humbly prayed,

- That the Hon’ble Commission may consider to disseminate its views on installed capacity of Unit #2 to be considered for working out the PAFM (%) for the month & thereby to derive the monthly fixed cost in respect of M/s. SSL.

- That the Hon’ble Commission may consider to fix a provisional rate towards procurement of power from M/s. SSL during 2015-16 based on OERC (Terms & Conditions of Tariff) Regulation, 2014.

- That the Hon’ble Commission may consider not to allow proportionate Water Transfer Charges (if any) separately, in respect of M/s. SSL for supplying State share of power, as the same is covered under normative O & M expenditure allowed from time to time.

Any other objections / allegations / suggestions raised by the objector, not specifically replied / dealt with herein above, may be treated as denied.

P R A Y E R

In view of the facts and clarifications stated above, the objections made by the objector are not tenable and may not be considered.

By the Applicant

Through

Bhubaneswar

Dt. 05/02/2015.

Chief General Manager (PP)