Annexure

Wanting Information in the ARR & BSP Application of GRIDCO for FY 2016-17

Technical

- GRIDCO has considered the NAPAF of all the Central Thermal Generating Stations at 83% (in place of 85%) based on the bills raised by them. Whether GRIDCO enquired about the fact that all the Central Thermal Stations are facing the problem of shortage of coal and uncertainty of assured coal supply on a sustained basis for the current and ensuring year.

- It is observed from the submission of GRIDCO that the cumulative availability of the Central Generating Stations i.e. TSTPS stage-I and II and FSTPS stage-I is more than 90%. But, GRIDCO has projected NAPAF of 83% for these stations for FY 2016-17. The reason for consideration of such low NAPAF for FY 2016-17 may be clarified.

- In respect of Central Generating Stations (both for Thermal and Hydro), GRIDCO may submit the latest share allocation for Odisha made by the Ministry of Power along with present installed capacity.

- The latest monthly REA prepared by ERPC may be furnished.

- The energy bills for the month of October & November, 2015 of all the generators (both state & central sector) supplying power to GRIDCO along with all enclosures may be submitted. Similarly, the bills for the month of Oct and Nov, 2015 in respect of PGCIL transmission charges, SOC, MOC and ULDC charges may be furnished.

- From the application of GRIDCO, it is observed that GRIDCO has considered to purchase 1302.24 MU from Barh STPS-II @ 571.88 P/U, out of which the fixed charge is 235.75 P/U. Whereas, GRIDCO has estimated the surplus energy of about 2690.52 MU to be traded @ 275 P/U, which needs to be clarified.

- From the application of GRIDCO, it is noted that Govt. of India, MoP vide their notification dated 31.08.2015 have sought willingness of other states to buy power from Barh-STPS which is to be surrendered by Odisha. Thereafter, action taken by GRIDCO and the State Govt. regarding de-allocation of state share of power from Barh-STPS may be intimated.

- GRIDCO has proposed a drawl of 60 MU from the Biomass plant of M/s Octant Industries. The present status and proposed date of commercial operation of this Biomass plant may be furnished.

- GRIDCO in its ARR application has stated that due to sudden increase in RPO obligation as per OERC new RPO Regulations, 2015, GRIDCO is not able to procure the desire quantum of renewable energy for the FY 2016-17. The details of power purchased from the different renewable sources may be furnished for FY 2010-11 to 2015-16 up-to-date as per the format given below:-

| For the FY……….. |  |  |  |
| --- | --- | --- | --- |
| State Consumption during the year | ------------- MU |  |  |
|  | RPO obligation as per Regulation | Achievement during the year (audited) |  |
|  | % | MU | % |
| Renewable Power Procurement |  |  |  |
| - Solar |  |  |  |
| - Non-solar - Small hydro - Bio-mass |  |  |  |
| - Co-generation |  |  |  |
| Total |  |  |  |

- GRIDCO may intimate about any pending proposal for purchase of power in near future from other renewable sources such as Wind, Municipal Solid Waste (MSW) and Bagasee based co-generation etc., along with the status of PPA to that respect.

- In the BSP application, GRIDCO has proposed not to procure any power from the CGPs and Co-generation plants during the FY 2016-17 for State consumption except exigencies/force majure conditions due to adequate availability from other sources. GRIDCO is directed to estimate quantum of power availability from such sources during the ensuing year and intimate the same.

- At para 1.6 of the BSP application, GRIDCO has proposed to procure 8316 MU of power from 5 Nos. of IPPs.  GRIDCO may intimate the State’s share of all these IPPs as per the PPA with regard to the State Thermal Policy along with the status of coal linkage of these IPPs and status of transmission facility to avail the entire state’s share of energy from these IPPs.

Further, GRIDCO should furnish the details of IPPs to be installed in Odisha in the format given below:

| Name of IPP and Place of Installation | Status of PPA | Installed capacity with configuration (as per PPA/ MoU) | No. of units already commissioned and date of commissioning | Proposed date of commissioning of balance units | State’s share | Status of coal linkage | Status of connectivity (STU/CTU) |
| --- | --- | --- | --- | --- | --- | --- | --- |

- It is observed from Para 1.7 of the ARR application of GRIDCO that there is an net outflow of 480.42 MU of energy during 2016-17 under power banking i.e. GRIDCO has to purchase extra energy of 480.42 MU towards return of power under power banking for FY 2016-17. The details of energy availed / returned by GRIDCO through power banking for FY 2012-13 to 2015-16 up-to-date may be furnished year-wise.

- GRIDCO has proposed the tariff for Teesta power station at 267.83 p/u. Copy of CERC order in support of this may be submitted.

- The present status of the issue of blending of high cost e-auction/imported coal for generation by NTPC stations (specifically pit-head stations) may be intimated along with the present price of the coal  and CGV (both domestic and e-auction/imported) used in different ER- NTPC stations (including TTPS) for the period for 2014-15 & 2015-16 (up to date).

- The actual loss in the Central Transmission System power station wise for the year 2014-15 and 2015-16 (upto date) may be furnished.

- Item-wise statement for FY 2014-15 and FY 2015-16 (uptodate) in respect of 3rd part of the bills towards levy of year-end charges of PGCIL (under POC charges) may be furnished.

- The order issued by the appropriate authority for payment of ULDC and Communication charges may be furnished. Further, the total claim on this account and payment made by GRIDCO for the FY 2014-15 may be furnished.

- The amount received by GRIDCO towards STOA charges for the FY 2014-15 and FY 2015-16 (upto Nov’2015) under PGCIL Transmission Charges may be furnished.

- Monthly pooled cost of power purchase by GRIDCO from the month of April 2015 to November 2015 & cumulative figure up to November 2015 may be furnished.

- The following formats are not submitted along with the application. The same may be filled in and submitted to the Commission.

T – 1:	Power purchased from Generators

T – 2: 	Schedule of Maintenance of Generators

T – 6:  Tariff for State Thermal Station

T – 8:  Power Purchase from Central Hydro Stations.

T – 9:  Tariff computation for central Sector Thermal stations.

T – 12:	Transmission Charges for Central Sector Power

T – 14:Year-end Charges of GRIDCO

Finance

- The audited annual accounts of GRIDCO for the year 2013-14 and 2014-15 may be submitted.

- The month wise cash flow statement for the financial year 2015-16 in Format F-7 may be resubmitted, as the figures put in the total column donot match with the month wise figures after addition..

- Detailed of terms and conditions of loan availed during the financial years 2013-14, 2014-15 and 2015-16 (actual upto November 2015) along with calculation of interest on the above loan may be submitted in electronic copy.

- GRIDCO booked Rs.3.55 crore towards Audit Fees for the FY 2016-17 under the head Administrative and General Expenses. Clarification may be given as to why the audit fees booked for FY 2016-17 is huge compared to the amount of 3 lakhs and 4 lakhs booked for FY 2014-15 and 2015-16 respectively. Reasons for not conducting Escrow Audit in earlier years may be given.

- Month wise actual cash flow on account of Pay, DA, HRA etc. of employees of GRIDCO for the year 2015-16 (from April 2015 to November 2015) may be submitted.

- In form F-6, the sundry debtors as at the end of 2014-15 are shown at Rs.2256.13 crore. List of defaulters along with amount due may be given. Action taken by GRIDCO to recover the huge outstanding may be mentioned.

- During FY 2016-17 the revenue from trading of 2690.53 MU of surplus power is shown at Rs.739.90 crore (F-18). The cost of purchase of the above quantum of power may be mentioned.

- GRIDCO estimates an amount of Rs.812.59 crore towards repayment of principal as a pass through in ARR for FY 2016-17. As directed by the Commission in the tariff orders of previous years, GRIDCO should discharge the repayment liability of loan by earning more revenue from surplus power. In view of above GRIDCO may furnish a statement showing of revenue earned from the sale of surplus power and UI for the last 3 years (2013-14, 2014-15 & 2015-16 (upto December, 2015). Further, GRIDCO is required to submit the repayment liability of the periods mentioned above.

**********

ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

*** *** ***

Case No. 54/2015/1648

Date: 26.12.2015

To

The Chairman-cum-Managing Director,

GRIDCO Ltd.

Janpath, Bhubaneswar.

Sub:	Queries on ARR  & BSP Application of GRIDCO for 2016-17

Sir,

On scrutiny of the ARR & BSP Application of GRIDCO for 2016-17, it has been noted that certain information/data which are extremely relevant for the purpose of scrutiny and analysis of Revenue Requirement and BSP of GRIDCO for the FY 2016-17 have not been furnished. An Annexure indicating items on which information/clarification are needed is enclosed.

You are hereby directed to furnish the information as per the queries raised in the said Annexure by 06.01.2016 positively. The queries raised in this letter along with the replies shall be supplied to all the persons who might purchase the documents.

Yours faithfully,

Encl: As above.

SECRETARY