BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BIDYUT NIYAMAK BHAWAN, Unit-VIII, BHUBANESWAR

Case No. 71/2014

IN THE MATTER OF:  North Eastern Electricity Supply Company of Odisha Limited (NESCO)                                                                                                    ……..Applicant

AND

IN THE MATTER OF: The Utkal Chamber of Commerce & Industry Ltd., Bhubaneswar                          …….Objector

Rejoinder to the objection filed by The Utkal Chamber of Commerce & Industry Ltd, Bhubaneswar-751015 against the Annual Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2015-16

- T&D Loss:

Hon’ble Commission is approving the Distribution loss of the licensee on normative basis without considering the ground reality. While complying the ARR, the licensee has adopted the loss reduction trajectory of Ministry of Power, Govt. of India communicated through Govt. of Odisha for the FY 2014-2022. For the FY 2015-16, Distribution loss of 30.90% has been considered. The T&D loss target is need to be re- determined considering the detail submission made by the licensee in para 6.3(Page 66-67) of its ARR application. Regarding steps taken by Licensee to improve performance has been submitted in ARR Application under para 5.2.

- The objector needs to go through the section 62(3) of IE Act in its true spirit. The section 62(3) provides

Quote : “ The Appropriate Commission shall not , while determining the tariff under this Act, show undue preference to any consumer of electricity but may differentiate according to the consumer’s load factor , power factor, voltage, total consumption of electricity during any specified period or the time at which the supply is required or the geographical position of any area, the nature of supply and the purpose for which the supply is required. “

It is only the Hon’ble Commission to decide the applicability or withdrawal of any special tariff or incentive scheme during the Financial Year 2015-16 in the context of the present power scenario and tariff requirements.

- Regarding Energy Audit, it is being carried out for 9 nos of 33KV feeders, 72 nos of 11KV feeders by Tagging 5700 nos of DTR upto consumer level. The report for the same has already been submitted to Hon’ble OERC.

- The, reply to the queries  of the Hon’ble OERC regarding the  Annual Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2015-16 have been placed in NESCO website www.nescoodisha.com,  which may please  be referred. The submission of NESCO on OERC (Terms and Conditions of Determination of Wheeling Tariff & Retail Supply Tariff) Regulations, 2014 dated 12.01.2015 is enclosed here with.

For and on behalf of

NESCO LTD

30.01.15

Sr. General Manager

C.C. to Utkal Chamber of Commerce & Industry Ltd. (UCCI), N-6, IRC Village, Nayapalli, Bhubaneswar-751015