BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BIDYUT NIYAMAK BHAWAN, Unit-VIII, BHUBANESWAR

Case No. 57/2015

IN THE MATTER OF: NESCO Utility (NESCO)                                                             …....Applicant

AND

IN THE MATTER OF: M/s. Balasore Alloys Limited, Regd. Off: Balgopalpur, Balasore                                   .......Objector

Rejoinder to the objection filed by M/s. Balasore Alloys Limited, Regd. Off: Balgopalpur against the Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17

- Distribution Loss :

The distribution loss as set by Hon’ble OERC in different years has not been achieved due to various reasons beyond the control of the Utility. The adverse geographical scenario, poor socio-economic conditions of the consumers in Utility area, erratic climatic conditions (cyclone and flood prone area), negative mind set of the consumers including inadequate administrative support are the main reasons of not achieving the bench mark of loss level fixed by OERC.

- Energy Audit :

By September 2015 NESCO has completed Energy Auditing for 20 nos of 33KV and 248 nos of 11KV feeders. 409 nos. of 11KV feeders have been metered and by the end of March-2016 100% Energy Audit of all feeders will be completed.

- Incentive for higher Power Factor:

NESCO has proposed for KVAH billing and reason for same has been explained in the ARR application FY 2016-17 under para 7.2. Till such time KVAH billing approach is adopted the Utility proposes for applicability of Power Factor Penalty and Incentive for the following category of Consumers in order to bring more efficiency in Power System Operation.

LT Category : LT industries Medium Supply & Public Water Works and Swerage Pumping > 22 KVA  and HT Category:  Specified Public Purpose, General Purpose < 110 KVA & HT Industries (M) Supply.

- NESCO has already filed the Aggregate Revenue Requirement and Tariff Application for the FY 2016-17 on dated 30.11.15 and has sought additional time from Hon’ble Commission for filing the Business plan for FY 2017-18.

- That, the reply to the queries of the Hon’ble OERC regarding the Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17 have been placed in NESCO website www.nescoodisha.com, which may please be referred by the objector for further clarification.

For and on behalf of

NESCO Utility

Authorised Officer

C.C. to M/s. Balasore Alloys Limited, Balgopalpur, Balasore-756020.