BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BIDYUT NIYAMAK BHAWAN, Unit-VIII, BHUBANESWAR

Case No.57/2015

IN THE MATTER OF: NESCO Utility (NESCO)                                                             …....Applicant

AND

IN THE MATTER OF: Prashanta Ku. Das                                                            .......Objector

Rejoinder to the objection filed by Prashanta Ku. Das against the Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17

Power Cut & Low Voltage

The scheduled power cut is imposed due to GRID constraints / Maintenance or as per the instruction of SLDC. Regarding weekly one day shutdown in Basudevpur area, it was due to change of Conductors in CAPEX scheme and necessary MIC announcements is done before imposing any power cuts.

Quality of power supply has improved as compare to past period. Voltage condition has improved due to SI work, upgradation of Sub-station and replacement of old conductors. Augmentation in Net work assets has also been made due to capacity addition on account of RGGVY, BGJY, CAPEX, ODSSP and other schemes

Billing System

NESCO is implementing new mode for billing like GPRS based, Android mobile based etc. These new billing methods are implemented on pilot basis in few sections and there may be some cases of wrong bill but they are subsequently rectified in successive months. Most of cases it is found that readings were suppressed by previous meter reader and when bill is prepared as per actual reading consumers complain that meter are defective. NESCO is also going to introduce photo based mobile billing shortly.

Replacement and Testing of Meters

NESCO is replacing the old electro-mechanical meters with new technology Static meters. No meter is replaced arbitrarily as submitted by the objector. Consumers meter are replaced if found to be slow or defective. In most of the cases consumers questioning the accuracy of newly installed meters are not willing to pay the meter testing fees. The old meters were slow and hence they find new meters to be fast.

Revision of bills is done as per the OERC regulation.

The reply to the queries  of the Hon’ble OERC regarding the  Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17 have been placed in NESCO website www.nescoodisha.com,  which may please  be referred

For and on behalf of

NESCO Utility

Authorised Officer

C.C.to: Prashanta Ku. Das, President State Public Interest Protection Council, 204, Sunamani Apartment, Tala Telenga Bazar, Cuttack - 753009.