BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BIDYUT NIYAMAK BHAWAN, UNIT-VIII, BHUBANESWAR

Case No. 57/2015

IN THE MATTER OF:  NESCO Utility, H-O-Januganj, Balasore

…… Applicant

AND

IN THE MATTER OF: M/s Emami Paper Mills Ltd, Balgopalpur, Rasulpur, Balasore

…….Objector

Rejoinder to the objection filed by the M/s Emami Paper Mills Ltd, Balgopalpur, Balasore against the Aggregate  Revenue Requirement & Retail Supply Tariff Application filed by NESCO Utility for the year 2016-17.

- The petitioner has filed the Aggregate Revenue Requirement and Retail Supply Tariff Application for the FY 2016-17 under Section 62 and other applicable provisions of Electricity Act 2003 and in conformity with the provisions of OERC (Terms and Conditions for determination of Tariff) Regulations, 2004 and OERC (Conduct of Business) Regulations 2004.

- Under regulation 80(15) of OERC Distribution (Condition of Supply) Code 2004- the category  of Industries owning generating stations and Captive Power Plants availing Emergency Supply is defined as :

Quote:

“This category relates to supply of power with generating stations including Captive Power plants only for start –up of the unit or to meet their essential auxiliary and survival requirements in the event of failure of their generation capacity. Such emergency assistance shall be limited to 100% of the rated capacity of the largest unit in the Captive Power plant of Generating Stations.  “

The regulation provides that, this category of consumers can draw power for start –up or to meet their essential auxiliary and survival requirements, in the event of failure of their generation capacity. However, no where under the regulation the consumer has been permitted to run the industry for maintaining its normal production with the Emergency Power, the consumer has been allowed to avail only the essential survival loads.

- The contention of the objector is not true, the power supply under Emergency Supply is meant to start up the Generator(s) and to provide the essential survival loads So, the submission of the utility in as per the provisions of Regulation and not in Contravention.

- The objector has cited that as the emergency power supply is not only to meet the requirement of start up power but is also to meet the essential auxiliaries and the survival  power requirement of the industry and therefore there should not be any restrictions regarding load factor.

The purpose of this restriction is to differentiate between the  consumption for industrial production and for emergency supply , as both the purposes are applicable to industries owning CGPs and also to restrict the drawl only upto start up and essential auxiliary or survival loads .

- The Hon’ble Commission in para 334of the RST order dated 23.3.2015 have directed that , “ the concerned Chief Electrical Inspector is directed to supply the information to the Commission for declaration of any Generator owned by any industry as Captive Generating Plant annually.” However a time bound procedure for submission of data by the CEI to the Hon’ble Commission , evaluation of the information and notification /declaration of the status has not been devised yet. For the above reason , in spite of the direction of the Hon’ble Commission on dated 23.3.2015, the CGP status of generators for the FY 2015-15 could not be declared till date . Therefore, the utility requests before the Hon’ble Commission to approve a time bound procedure , for evaluation of CGP status, to avoid accumulation of dues.

- The, reply to the queries  of the Hon’ble OERC regarding the  Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2015-16 have been placed in NESCO website www.nescoodisha.com, which may please  be referred.

For and on behalf of

NESCO Utility

Authorised Officer

C.C.to M/s Emami Paper Mills Ltd, AT: Balgopalpur, Balasore-756020. Ph: 06782-275778