BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BIDYUT NIYAMAK BHAWAN, Unit-VIII, BHUBANESWAR

Case No.57/2015

IN THE MATTER OF: NESCO Utility (NESCO)                                                             …....Applicant

AND

IN THE MATTER OF: Hrushikesh Panda                                                           .......Objector

Rejoinder to the objection filed by Hrushikesh Panda against the Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17

1.            The scheduled power cut is imposed due to GRID constraints / Maintenance or as per the instruction of SLDC. Sometimes for upgradation work like change of Conductors in CAPEX scheme etc power cut is done and necessary MIC announcements is done before imposing any power cuts.

Quality of power supply has improved as compare to past period. Voltage condition has improved due to SI work, upgradation of Sub-station and replacement of old conductors. Augmentation in Net work assets has also been made due to capacity addition on account of RGGVY, BGJY, CAPEX, ODSSP and other schemes.

2. 	Standard of performance of the Utility is being reviewed by the Hon’ble Commission periodically. Reports on Standard of performance are submitted to the Hon’ble Commission monthly, quarterly, half-yearly as well as Annually in the formats prescribed by the Hon’ble Commission.

The objector should bring the specific cases before the Utility, for their redressal.

3. The reply to the queries  of the Hon’ble OERC regarding the  Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17 have been placed in NESCO website www.nescoodisha.com,  which may please  be referred

For and on behalf of

NESCO Utility

Authorised Officer

C.C.to: Hrushikesh Panda, COPHEE, At- Ankula, Po/Dist - Jajpur.