BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION, BIDYUT NIYAMAK BHAWAN, UNIT-VIII, BHUBANESWAR

Case No. 57/2015

IN  THE   MATTER OF: NESCO UTILITY (NESCO)                                    ……….Applicant

AND

IN THE MATTER OF: R.P.Mohapatra                                                           ……..Objector

Rejoinder to the objection filed by R.P.Mohapatra, Retired Chief Engineer & Member (Gen.), OSEB, Bhubaneswar -751013  against the Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17

- The petitioner has filed the Aggregate Revenue Requirement and Retail Supply Tariff Application for the FY 2016-17 under Section 62 and other applicable provisions of Electricity Act 2003 .

- That, the annexure submitted by the learned  objector itself shows that, the utility has been able to reduce the T&D loss from 46.98% in 2001-02 to  31.10% in 2014-15 i.e. by 15.88% and aims to reduce it upto 27% in the FY 2016-17. However, a target of 18.35% in the background of actual loss of 34.28% could not be achieved by the utility in view of the ground realities.

- At para 5.5.3 of its order dated 18.6.2003 on LTTS, the Hon’ble Commission have stated that all 33/11KV feeder metering will be in place by October, 2003 and meter on LT side of distribution transformers by 31.3.2004. Almost all the feeders were metered  But, gradually the metering units went out of order and due to paucity of fund, those could not be replaced immediately. However, now 409 Nos of 11kv feeders have been metered to determine the input to each 11kv feeders . Energy Audit of 20Nos of 33KV & 248 Nos of 11KV Feeders have been submitted to Hon’ble Commission covering approximately 21000 Nos of DTRs and 7 Lakhs consumer.

Tariff is fixed by the Hon’ble Commission on the basis of the approved loss and not on the basis of loss level submitted by the utility. So the allegations made against the utility are not true. Further documents supporting the  statements of the utility are being submitted to the Hon’ble Commission from time to time and also verified and audited .

- The geographical condition of the area, the paying capacity of the consumers, level of  awareness of the  people varies greatly from region to region. So, before envisaging about sophisticated methods or new technologies we must check their compatibility and effectiveness in view of the ground realities. Ground realities cannot be overlooked just by naming them as  the ‘inefficiency of the utility’, overlooking the efforts made by the utility to bring in overall improvement.

- Reliability Surcharge

The objector has already submitted that penal provision is already there in OERC (Licensee’s Standard of Performance Regulation, 2004. It is to submit here that, without power supply on EHT distribution utility will not be able to maintain the power supply. So the transmission utility must also be under the purview of OERC (Licensee’s Standards of Performance) Regulations.

Further, it will not be out of place to bring out that, during requirement for load management by SLDC, all the public wrath in view of load management of feeders comes in the share of the distribution utility only.

- Incentive for higher power factor

The Hon’ble Commission in para 193 of the RST order for the FY 2013-14 had deleted the provision of incentive for higher power factor on the ground that many industries have been able to run with a PF of 95% or more and this has helped them to reduce their electricity bills . The investments made by the industries to install capacitor banks for improvement of PF have already been recovered in view of the savings in their energy bills. By power factor incentive the consumers are doubly benefited in terms of saving in their energy bills and also in shape of PF incentive , however  it is putting a negative impact on the revenue of the utility for no further extra effort by the consumers.

- KVAH BILLING:

The Hon’ble Commission in its RST Order dtd 22.03.2014 for FY-2014-2015 had given the following directions to the DISCOMs vide Para-246. The said Para-246 is quoted herein 	below.

“Billing to Consumers based on kVAh recording instead of kWh recording.

The Commission after detailed analysis observed that the Utilities are not prepared with the necessary metering and billing arrangement for all the consumers to be covered under kVAh billing. Hence, the Commission declined to accept the proposal of the Utilities to introduce kVAh billing in a phased manner. However, the Utilities are required to justify their readiness to implement such system of billing as directed below:

The Commission directs the Distribution Licensees to prepare a detailed sales  containing 	category wise and consumer wise contracted load / connected load and their month wise 	consumption for the latest three years ending 31st March, 2014 showing the consumer wise 	and month wise amount billed under Demand Charge/ MMFC, energy charge and power 	factor penalty of such consumers (for whom the Licensees intend to introduce kVAh billing)  	including information on types of meters fitted against each consumer showing the capability 	of each meter for kVAh billing and the software developed by the Licensees for such billing. 	They are required to submit the complete information in this regard latest by 30th September, 	2014.”

Incompliance to the above direction of Hon’ble commission the Utility has submitted the above required data of 20 KW and above Consumers before the Hon’ble commission During 	month of Nov’2014.

So, the allegation made by the learned objector that report has not been submitted is not correct.

This has been verified that all the 3-phase meters, especially those installed for consumers 	having Contract Demand 20KW and above in the DISCOMs are enabled with all the energy 	parameters and storing dump record of 35 days.  All such meters show instantaneous Power 	Factor and  monthly average Power Factor can be computed as ratio of  active power and 	apparent power drawn by consumers like in case of existing large and Medium Industries 	Consumers presently being billed. Hence DISCOMs are fully equipped to implement KVAH 	billing in respect of all those consumers in place of existing  KWH Billing.

- LEVY OF PENALTY ON ACTUAL ENERGY CONSUMPTION IN ADDITION TO PENALTY FOR OVERDRAWL

The detail submission alongwith justification has been given under para 8.2 of the ARR &RST application which may kindly be referred

- INTEREST ON SECURITY DEPOSIT:

Keeping track of Bank Guarantee of consumers with Security deposit more than 1lac will require  additional legal and paper works and  man hours . Further encashment of Bank guarantee in case of non-payment will take considerable time also .

- EMERGENCY SUPPLY TO INDUSTRIES OWNING CGP

The proposal alongwith justification has already been submitted before the Hon’ble 	Commission in the ARR &RST application .

- VERIFICATION OF CGP STATUS:

The Hon’ble Commission in para 334 of RST order dated 23.3.2015 has directed that” the concerned Chief Electrical Inspector is directed to supply the information to the Commission for declaration of any Generator owned by any industry as Captive Generating Plant annually.” However a time bound procedure for submission of data by the CEI to the Hon’ble Commission, evaluation of the information and notification /declaration of the status has not been devised yet. For the above reason , in spite of the direction of the Hon’ble Commission on dated 23.3.2015, the CGP status of generators for the FY 2015-15 could not be declared till date . Therefore, the utility requests before the Hon’ble Commission to approve a time bound procedure, for evaluation of CGP status, to avoid accumulation of dues.

- INTRODUCTION OF MMFC FOR CONSUMERS WITH CONTRACT DEMAND < 110KVA

The utility has not submitted against the determination of CD as Maximum Demand recorded. The contention of the utility is that in case of recorded demand is lower than the contract demand it is adversely affecting in view of billing. As the utility is reserving the contracted capacity for the consumer, they are also liable to pay the MMFC on the basis of CD/MD whichever is higher like consumers with CD>110KVA

Therefore, the utility has proposed that, the MMFC for such consumers to be levied at Contract Demand or Maximum Demand whichever is higher.

- INTRODUCTION OF MINIMUM BILLING MECHANISM

Requirement of minimum billing with justification has been submitted in the ARR 	application.

- BUSINESS PLAN

The utility had filed business plan for the 3rd MYT Control period starting from 2013-14 to 2017-18. The Hon’ble Commission in their Business Plan order dated 21.3.14 for 3rd MYT approved the different parameters of Business Plan filed by  the utility only for 2013-14 &2014-15. The Commission further directed that Business Plan for the next three years of the Control period shall be decided and dealt with under the revised regulation i.e. OERC (Terms &Conditions of Determination of Wheeling and Retail Supply Tariff ) Regulation, 2014. In the meantime, Hon’ble Commission in the Gazette notification dated 14.10.14 notified the OERC (Terms &Conditions of Determination of Wheeling and Retail Supply Tariff) Regulation,2014. Out of  the remaining period of the 3rd MYT , only two months are left from the FY 2015-16. The utility has already filed the Aggregate  Revenue Requirement and Tariff Application for the FY 2016-17 on dated 30.11.15. and requested Hon’ble Commission to allow some time for submission of Business Plan  for 2017-18.

- That, the reply to the queries of the Hon’ble OERC regarding the Aggregate Revenue Requirement & Retail Supply Tariff Application filed by NESCO for the year 2016-17 have been placed in NESCO utility website www.nescoodisha.com, which may please be referred by the objector for further clarification.

For and on behalf of

NESCO Utility

Authorised Officer

C.C. to R.P.Mohapatra, Retired Chief Engineer & Member (Gen.),OSEB, Plot No. 775(P), Lane-3, Jayadev Vihar, Bhubaneswar -751013