BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Annual Revenue Requirement and Retail Supply Tariff for the financial year 2016-17, under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

NESCO Utility (NESCO)

HQ Office Januganj, Balasore, Odisha-756019

---------Utility

The Humble applicant above named respectfully sheweth:

Authorised  Officer, NESCO

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION BHUBANESWAR

IN THE MATTER OF

An Application for approval of Annual Revenue Requirement and Retail Supply Tariff for the financial year 2016-17 , under Section 62 and other applicable provisions of the Electricity Act 2003 and in conformity with the provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014 and OERC (Conduct of Business) Regulation 2004.

AND

IN THE MATTER OF

NESCO Utility (NESCO)

HQ Office Januganj, Balasore, Odisha-756019

---------Utility

Affidavit verifying the application for the Annual Revenue Requirement and Tariff Application

I, Bijaya Kumar Sahoo, Son of Sri Duryodhan Sahoo, aged about  56 years, residing at, Balasore, do hereby solemnly affirm and state as follows:-

I am the Authorised Officer of NESCO Utility (NESCO), HQ. Office-Januganj, Balasore, Odisha-756019.

The statements made above along with the annexures annexed to this application are true to the best of my knowledge and the statements made are based on information and records and I believe them to be true.

Place: Bhubaneswar

Date: 30.11.2015						          DEPONENT

Authorised Officer, NESCO

Table of Contents

1.	Executive Summary	5

2.	Revenue Requirement for FY 2016-17	8

2.1.	Data Sources	9

2.2.	Sales Forecast	10

2.3.	Power Purchase Expenses	12

2.4.	Employees Expenses	12

2.5.	Administrative and General Expenses	15

2.5.1.	Intra State ABT & Energy Audit	15

2.5.2.	Implementation of Right to Information Act	17

2.5.3.	Engagement of Collection through retired employees and third party agencies	18

2.5.4.	IT Automation	18

2.5.5.	Cess as per the Building and other construction Workers (RE&CS)Act, 1996	22

2.5.6.	Receivable Audit	22

2.6.	Repair & Maintenance Expenses	23

2.7.	Provision for Bad and Doubtful Debts	23

2.8.	Depreciation	23

2.9.	Interest Expenses	24

2.9.2.	World Bank Loan	25

2.9.3.	Capex Loan from Govt. of Odisha	25

2.9.4.	Interest on Security Deposit	25

2.9.5.	Total Interest for Financial Year FY 2016-17	26

3.	Capital Expenditure Programs	26

3.1.	Development Programme of Energy System Improvement (DESI)	26

3.2.	Capital Expenditure Programme (CAPEX)	27

3.3.	Strengthening of Infrastructures in Elephant Corridor	27

3.4.	Strengthening Project (ODSSP)	27

3.5.	Odisha Dedicated Agriculture and Fishery Feeder (ODAFF)	28

3.6.	New Schemes	28

3.6.1.	RGGVY Phase – II Dindayal Upadhyaya.	28

3.6.2.	Integrated Power Development scheme (IPDS) –	29

4.	Revenue and truing up	30

4.1.	Non Tariff Income	30

4.2.	Provision for Contingency Reserve	30

4.3.	Reasonable Return	30

4.4.	TRUING UP FOR FY 2015-16	31

4.5.	Revenue at Existing Tariffs	32

4.6.	Summary of Annual Revenue Requirement and Revenue Gap	32

5.	Initiatives by DISCOM	32

5.1.	Compliance to OERC Directions	32

5.2.	Various Payment Options	36

5.3.	Development of Franchisee in Utility Area	37

5.4.	Automated Meter Reading System:	39

5.5.	Prepaid and Smart Metering Initiatives	39

6.	Allocation of Wheeling and Retail supply cost	39

7.	Tariff Rationalization Measures	41

7.1	Levy of Meter Rent on Smart, Prepaid Meters	41

7.2	Introduction of KVAH Billing	41

7.3	Applicability of Power Factor Penalty.	44

7.4	Verification of CGP Status of Power Plants:	45

7.5	Emergency power supply to Captive Power Plants (CPP)	46

7.6	MMFC for Consumers with Contract Demand <110 KVA	48

7.7	Demand Charges for GP>70 Kva<110 KVa and HT Industrial (M) Supply	48

7.8	Demand charges to be in KVa only instead of Kva/Kw	49

7.9	Demand Charges and Monthly Minimum Fixed Charges	49

7.10	Introduction of Monthly Minimum billing commensurate with connected load.	50

7.11	Continuation of bi-monthly billing	50

7.12	Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.	51

7.13	Special rebate for consumers availing monthly rebate under LT category of Consumers	51

8.	Other Issues	51

8.1	Rebate on Prompt Payment	51

8.2	Overdrawal beyond contract demand and charges thereof.	52

8.3	Revision of Interest Rate on Security Deposit	56

9.	Formats	56

9.1	Commercial/Technical  Formats T1-T9	56

9.2	Financial Formats F1-F27	56

9.3	Details Performance Formats (P1-P17) in Vol- II	56

10.	Prayer	56

# Executive Summary

NESCO Utility, Balasore,( NESCO), is the holder of the Odisha Distribution and Retail Supply License, 1999 ( No 3/99) and has been carrying out the business of distribution and retail supply of electricity in the nine districts of Odisha, namely, Balasore, Bhadrak, Jajpur ,Keonjhar and Mayurbhanj. This submission is made by the Utility before the Honorable Commission for the determination of Aggregate Annual Revenue Requirement and Retail Supply Tariffs for the Financial Year 2016-17.

That, Hon’ble Commission in their Order dated 04.03.2015 in Case No. 55/2013 have revoked the Licences of NESCO, WESCO and SOUTHCO (Distribution Companies) under Section 19 of the Electricity Act, 2003.

Consequent upon such revocation and considering the situation at hand due to such revocation of Licences of NESCO, WESCO & SOUTHCO and also keeping in view, the salient objectives and purpose of the Electricity Act, 2003 Hon’ble Commission in exercising powers conferred on it under Section 20 (d) of the Electricity Act, 2003 vests the management and control of NESCO, WESCO and SOUTHCO utilities along with their assets, interests and rights with Chairman-Cum-Managing Director, GRIDCO (CMD, GRIDCO) in order to ensure the maintenance of continued supply of electricity in the Northern, Western and Southern Zone (area of supply of NESCO, WESCO and SOUTHCO) in the interest of consumers and the public interest at large. This is an interim arrangement under Section 20 (d) of the Electricity Act, 2003.

Hon’ble Commission further directs that the management and control of the utilities of NESCO, WESCO and SOUTHCO with all the assets, interests and rights shall vest with Chairman-Cum-Managing Director, GRIDCO with immediate effect and he shall manage the electricity supply activities in the revoked licensed area of NESCO, WESCO and SOUTHCO respectively till further orders of the Hon’ble Commission.

Subsequent to above direction of Hon’ble Commission the Administrator of the Utility has appointed an authorised officer to look after the day to day operation of the utility without affecting the consumer service of the western part of the state.

Accordingly, the utility in accordance with the license conditions, have calculated the total expected revenue from sale of electricity charges in accordance with the provisions of the OERC (Terms and Conditions for determination of wheeling tariff and Retail Supply Tariff) Regulations 2014 and hereby submitting in the foregoing paragraphs as per the following structure.

- A statement with full details of its expected annual revenue and costs for the ensuing year FY 16-17 for its Licensed Business along with technical, commercial and financial parameters in the formats prescribed by the Hon’ble Commission.

- Compliance to the directives issued by the Hon’ble Commission

- Statement of allocation of wheeling and retail supply cost as per provisions of  OERC (Terms and Conditions for determination of Wheeling Tariff and Retail Supply Tariff) Regulations, 2014

- Proposal for tariff rationalisation measures.

  - That, the utility has made certain assumptions while projecting its operations for the FY 2016-17. These projections are based upon the best estimates of the operations and prospective plans of the utility at the time of the ARR filing. The actual ARR and the revenue figures would be different from the above estimates due to several external factors such as power purchase cost and change in consumer mix/ consumption etc.

  - Based on estimated Revenue Requirement and Revenue at existing tariff, the revenue gap for FY 2016-17 works out to Rs. 409.92 Crore. The Utility submits that the revenue gap of FY 2016-17 includes 1/3 rd of truing up of revenue gap for FY 2015-16 to the tune of Rs. 89.50 Crore.

Table 1 : Revenue Gap

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 2450.10 |
| Reasonable return | 10.55 |
| Truing up of Revenue Gap for FY 2015-16(1/3rd) | 89.50 |
| Sub Total | 2550.15 |
| Revenue from sale of power at existing tariffs | 2072.22 |
| Non Tariff Income | 68.01 |
| TOTAL REVENUE GAP | 409.92 |

The revenue gap for the year 2016-17, considering the BSP rate at FY 2015-16 is arrived at Rs. 409.92 crores.

That, it is worth mentioning that as of now, at existing tariffs, the Utility is unable to meet its current costs,   and unless there is decrease in input costs in FY 16-17 or any grant/ subsidy is provided, the Utility requires to meet its obligations as a distribution Utility. Accordingly the utility prays that such exigencies be considered while processing this Petition.

  - Prayer

In the aforesaid facts and circumstances, the utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Annual Revenue Requirement for FY 2016-17 truing up of 1/3rd of the revenue gap  for FY 2015-16.

- Bridge the Revenue Gap for the FY 2016-17 through increase in Retail Supply Tariff, reduction in Bulk Supply Tariff (BST) wherever possible, grant of subsidy from the Government of Odisha as per Section 65 of the Electricity Act 2003.

Allow the following Tariff rationalisation measures as proposed

- Introduction of KVAH Billing

- Two part tariff be made applicable in respect of Emergency power supply category to Captive Power Plants (CPP).

- Extending of levy of penalty on energy charges when a consumer draws power more than its contract demands.

- Introduction of MMFC for Consumers with Contract Demand <110 KVA on the basis of MD recorded or connected load whichever is higher.

- Applicability of Demand Charges for GP> 70KVA and < 110KVA and HT Industrial(M) supply

- Demand charges to be in KVa only instead of Kva/Kw.

- 2% Rebate be allowed on payment of current monthly BST bills (excluding all arrears) within 3 days time instead of 2 working days and also to allow rebate on part payment of BST bills.

- Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.

- Introduction of Minimum Billing mechanism, commensurate with connected load of the consumer.

- Continuation of bi-monthly billing in case of rural consumers where the billing and collection coverage is very low.

- Special rebate for consumers availing monthly rebate under LT category of Consumers

- Addressing of negative cash flow of the utility by giving special relief towards reduction of BST.

- Other Tariff rationalization measures as proposed in this application

- Allow the Utility to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit

# Revenue Requirement for FY 2016-17

This section outlines the assumptions for estimation of revenue requirement for FY 2016-17.

The AT & C loss of the utility for the ensuing year has been considered adhering to the guiding loss trajectory finalised in the meeting taken by Additional Secretary, Ministry of power with State Energy Secretaries on dated 09.07.2014. States which were not present in the meeting sent the AT& C loss trajectory to the Ministry by post.  Though the target of AT & C loss has been set by MoP at 30.44 %, but the utility proposed to achieve the target of 27.25 % in the ensuing year FY 2016-17.

The sales performance for the previous year (FY 2014-15), current year (2015-16) and expected performance in the ensuing year (FY 2016-17) are as shown below

Distribution and AT & C Loss FY 2014-15 to FY 2016-17

|  | FY 2014-15 | FY 2015-16 | FY 2016-17 (Est) |
| --- | --- | --- | --- |
| Energy Sales in MU | 3455.546 | 3844.048 | 4187.330 |
| Energy Purchased in MU | 5015.300 | 5265.819 | 5583.106 |
| Overall Distribution loss% | 31.10 | 27.00 | 25.00 |
| Collection Efficiency% | 96.96 | 95.00 | 97.00 |
| AT& C loss % | 33.19 | 30.65 | 27.25 |

The utility has projected marginal increase in sales in the case of HT and EHT category of consumers and in LT category there will be increase of 18 % in sales that will lead to 9 % increase in the total sales in the ensuing year. The way and means of projection under three different voltage wise category are envisaged separately as under.

# Data Sources

The Utility is complying with the information requirements of the Hon’ble Commission for the purpose of making this application for annual revenue requirement and tariff for the year 2016-17. The schedule of formats submitted along with this proposal is shown in the Table of Contents. The Accounts up to March 2015 have been prepared as per Companies Act as well as financial formats prescribed by the Hon’ble Commission. The same are yet to be certified by the statutory auditors. Copies of the audited accounts would be submitted with the Hon’ble Commission soon after signing of the same. The Utility has relied upon the Provisional Accounts up to March 2015 and actual data up to Sep-15 for compilation of data and preparation of this ARR.

The Utility would like to submit that the input cost is the most important cost element for distribution business. For authentication of input cost, the BSP bills on the basis of scheduled energy received from the bulk supplier, GRIDCO, Transmission Charges on the basis of actual energy received from OPTCL, SLDC charges received from SLDC and deviation/UI computed on the basis of BSP rate has been taken into account.

Thus, the Utility submits that the data given is authentic and reliable for formulation of Revenue Requirement and Tariff Application for the year 2016-17.

# Sales Forecast

For projecting the consumption of different categories, the Utility has analyzed and relied on the past trends of consumption pattern for last fifteen years i.e. FY 2001-2002 to FY 2014-15 and actual sales data for the first six months of FY 2015-16, the impact of electrification of new villages under the RGGVY, DDUGYJ, Biju saharanchal vidyut yojana  and Biju Grama Jyoti Yojana,  actual addition/reduction of loads and other factors such as global recession along with temporary closure of consumers in HT/EHT Category (steel & mining industries). Expected consumer growth under irrigation category has been envisaged during ensuing year as per Deep bore well scheme of Govt. of Odisha. The category-wise consumption projected for FY 2016-17 is discussed in following sections.

LT Category

The growth in the domestic category has been estimated at 20% during FY 2016-17 as against the estimated growth of around 18% during FY 2015-16. The Utility would like to submit that under various schemes like RGGVY, BSVY, BGJY etc. many households are likely to be electrified and around 683000 nos of BPL (Below Poverty Line) consumers will be in the billing fold as on March 2016. The balance number of consumers under RGGVY Scheme and some consumers under DDUGYJ scheme will be brought into the billing fold of the ensuing year FY 2016-17 and the impact of same has been considered while estimating the sales for Kutir Jyoti and domestic category respectively for FY 2016-17.

The growth in the sales of other categories in the LT sector has been estimated in the range of 2% to 8 % during 2016-17 considering the past trend.

The domestic sales during last three years have increased in higher proportion as compared to previous years due to massive village electrification schemes. The summary of sales projections for LT category is given in following:

| Sales(MU) | FY 2013-14 | FY 2014-15 | FY 2015-16 | FY 2016-17 |
| --- | --- | --- | --- | --- |
| Domestic | 1004.453 | 1150.480 | 1361.404 | 1632.707 |
| General Purpose<100 kw | 206.922 | 230.934 | 254.274 | 272.987 |
| Specified public purpose | 14.834 | 17.089 | 18.386 | 19.399 |
| Irrigation | 48.564 | 52.101 | 64.841 | 84.052 |
| Allied Agro Activities | 2.325 | 5.104 | 9.030 | 16.129 |
| Allied Agro Industrial | 0.873 | 0.699 | 1.099 | 1.124 |
| LT Industrial | 54.901 | 57.299 | 60.706 | 63.986 |
| Public water works | 23.315 | 24.116 | 25.522 | 27.565 |
| Public Lighting | 8.639 | 8.940 | 9.800 | 10.153 |
| Total | 1364.826 | 1546.762 | 1805.062 | 2128.102 |

HT Category

The average sales for HT Category consumers has been estimated for the ensuing year based on the past trend of the FY 2014-15 and the actual consumption for the half year ending Sept’15. The utility has experienced a break in the declining trend of HT consumption due to revival of some units and energisation of new industries under HT category. Hence considering the above points and anticipating initiation of some new entrepreneur projection for the ensuing year under HT Category are as under :

| Sales (MU) | FY 2013-14 | FY 2014-15 | FY 2015-16 | FY 2016-17 |
| --- | --- | --- | --- | --- |
| Large Industry | 317.134 | 256.517 | 275.818 | 287.818 |
| Power intensive | 52.794 | 64.200 | 49.374 | 45.054 |
| Others | 70.612 | 74.447 | 81.304 | 88.163 |
| Total | 440.540 | 395.164 | 406.496 | 421.035 |

EHT Category

For the ensuing year FY 2016-17, EHT sales has been projected for 1638.192 MU. From FY 2010-11 onwards most of the industries are moving towards their own CPP. Lately, most of the industrial units viz. M/s JSL, M/s TISCO-Bamnipal, M/s FMP, Joda, M/s FACOR, M/s Essar Steels, M/s Balasore Alloys Limited are allowed to draw power through Open Access. The drawl of power through Open access has been increased considerably during the current year i.e. from April 2015 at 18.275 MU to 41.881 MU in October’ 2015.

The summary of the category-wise sales in MUs has been shown in table below.

| Sales (MU) | FY 2013-14 | FY 2014-15 | FY 2015-16 | FY 2016-17 |
| --- | --- | --- | --- | --- |
| LT | 1364.826 | 1546.762 | 1805.062 | 2128.102 |
| HT | 440.540 | 395.164 | 406.496 | 421.035 |
| EHT | 1532.464 | 1513.620 | 1632.490 | 1638.193 |
| Total | 3337.830 | 3455.546 | 3844.048 | 4187.330 |

# Power Purchase Expenses

The power purchase expenses have been derived from the sales estimates and the distribution loss level. For the year FY 2016-17, energy input of 5583.106 MU has been estimated based on the estimated sale of 4187.330 MU and Distribution Loss of 25%.

Power purchase cost for the current year is Rs.1723 Crs and for the FY 2016-17 power purchase cost has been estimated at Rs. 1827 Crores with BSP @ 302 paise p.u. and transmission charges @ 25 paise p.u. SLDC charges @ Rs 7.11 lakhs per month.

SMD Projection

Considering the past record and additional load towards inclusion of BPL and APL consumer under RGGVY and BGJY, the Utility proposes 980 MVA as SMD for FY 2016-17 as against the average SMD of 822 MVA during 1st half year of FY-2015-16.

The Utility submits that SMD (MVA) projections for a year are estimated based on load mix, consumption patterns and other economic policies, and restricting the SMD of the utility up-to a particular level without considering the proposal as above and imposing penalty thereof for drawl beyond the approved level, shall put the Utility with higher financial burden.

# Employees Expenses

The utility was formed after unbundling of GRIDCO as per 2nd Transfer Scheme, 1998 and thereby all the personnel deployed in Distribution business were transferred from erstwhile GRIDCO.  Initially, the nos. of personnel on roll was around 4600 nos which were inadequate and unevenly distributed to meet the functional requirement. Subsequently, by way of separation due to retirement, resignation death etc, there has been drastically reduction of manpower. In view of the large scale energisation of new areas either though rural electrification or due to addition of new consumers, the Utility restructured and reorganized by creation of new Divisions, sub -division and Sections with reinforcement of allied activities such as MRT , Energy Audit , maintenance of distribution transformers and vigilance  activities.  Main objective was to improve the 100 % of consumer coverage, reduction in Distribution losses and to meet the Revenue collection target. At present the Utility has 3050 number of employees on the roll, 3050 no. of pensioners including family pensioners have been paid out of revenue due to the take away of the Transfer Scheme.

The Utility draws the attention of the Hon’ble Commission that earlier before revocation of license due non relaxation of escrow Nesco had made short term loan of high cost borrowings to pay salaries, by way of pledging the security deposits that are available with it. Nesco has pledged Rs. 189 crs to availed short term loans and the financial implications arising out of the same along with interest costs has been projected in its application.

Hon’ble Commission approved Rs. 210.86 crores for the year 2015-16. Taking into consideration the actual payment made during 1st six months of FY 2015-16, the Utility estimated the approved amount of Rs.233.69 Cr net of expenses capitalised for the current year.

The details of number of employees to be recruited and retired during the current year and the ensuing year are submitted in the following table.

| NESCO | Executive |  | Non-Executive |  | Total |
| --- | --- | --- | --- | --- | --- |
|  | Technical | Non-Technical | Technical | Non-Technical |  |
| As on 01-04-15 | 347 | 78 | 2205 | 420 | 3050 |
| Recruitment during 15-16 | 0 | 0 | 0 | 0 | 0 |
| Retirement during 15-16 | 0 | 0 | 92 | 2 | 94 |
| As on 01-04-16 | 347 | 78 | 2113 | 418 | 2956 |
| Recruitment during 16-17 | 76 | 7 | 500 | 416 | 999 |
| Retirement during 16-17 | 4 | 0 | 67 | 3 | 74 |
| As on 01-04-17 | 419 | 85 | 2546 | 831 | 3881 |

No of employees retiring during FY 2015-16 and FY 2016-17 and saving on account of same are as follows:

| FY | Category | Nos. of employees retiring | Saving on account of retirement (Rs lacs) |
| --- | --- | --- | --- |
| 2015-16 | Executive Non Executive | 94 | 33.84 |
| 2016 -17 | Executive Non Executive | 74 | 28.20 |

Expenses Terminal Benefit Liability

As regards to terminal benefits i.e. the contribution to the Pension Fund and Gratuity Fund and Leave Encashment has been proposed for the year 2016-17 based on the actuarial valuation done by M/s Bhudev Chaterjee as on 31.03.2015 and the projections provided for 2015-16 and 2016-17. The details are given in OERC Form: F-12. While computing the contribution required by the Utility to fund the employees trust, the Actual investments as on 01.04.2015, estimated Investments as on 01.04.2016, income from the investments during the year 2016-17 and the payments to retired/retiring employees during the 2016-17 has been considered. The computation of the employee Terminal Benefit Trusts requirement for the year 2015-16 & 2016-17 amounting to Rs. 91.36 Crore and Rs. 85.76 Crores respectively is worked out based on actuarial report, in the following table.

| A | Terminal Liability for FY 2016-17 | Rs. Crore |
| --- | --- | --- |
| 1 | Employee Trust Valuation as on 31.03.17 | 817.71 |
| 2 | Employee Trust Valuation as on 31.03.16 | 784.81 |
| 3 | Interest on invstmnt during 2016-17 @ 8 % | 9.61 |
| 4 | Estimated payment during 2016-17 | 62.47 |
| 5 | Terminal benefit trust funding required for 2016-17 (1-2-3+4) | 85.76 |
| B | Expected Corpus Availability FY 15-16 |  |
| 1 | Employee Trust Valuation as on 31.03.16 | 784.81 |
| 2 | Employee Trust Valuation as on 31.03.15 | 741.55 |
| 3 | Interest on invstmnt during 2015-16 @ 8 % | 8.84 |
| 4 | Estimated payment during 2015-16 | 56.94 |
| 5 | Terminal benefit trust funding required for 2015-16 (1-2-3+4) | 91.36 |

The un-audited employee cost for FY 2014-15 is Rs.201.93 Crs including provision of Rs.73.78 crs towards terminal liability for the year as per actuarial report and estimates for FY 2015-16 is Rs. 233.69 Crs. The Utility proposed the Employee cost aggregating to Rs . 288.48 Crs for the FY 2016-17.

Further, the impact of 7th pay commission for the ensuing year which would be around Rs. 59.00 crs has not been considered while making the projection, the same may kindly be taken into record by Hon’ble Commission.

# Administrative and General Expenses

The A&G expenses for FY 2015-16 is estimated at Rs.40.35 Crore based on actual expenses till September 2015 as against the approved A&G expenses of Rs 27.20 Crore. Estimation of higher A&G expenses is account of incentive plan, Customer Care, coverage of Spot Billing, increase in IT Automation, compensation towards electrical accidents and enforcement activities for FY 2015-16.

In addition to normal A&G expenses, following additional expenses for aforesaid initiatives has been considered while projecting the total A&G expenses for FY 2016-17. The collection of arrears and current bills is assumed to be used to meet cash deficits during the year 2015-16, to the extent of collected amounts. The Utility proposes to recover the operational expenses as stated below in the following heads in the ARR for the FY 2016-17 and the required capital expenditure to be made initially shall be capitalised.

The Administration and General expenses for the ensuing year have been forecasted based on estimated expenses during FY 2015-16 in line with Hon’ble Commission’s earlier Orders, the increase in A&G expenses for the ensuing year has been projected by considering 7% increase over the estimated A&G expenses for FY 2015-16 along with additional expenses Rs.11.77 cr as detailed in the following paras.  The 7% increase is taken on account of inflation on the normal A&G expenses.

The A&G expenses for FY 2015-16 are projected at Rs 52.99 Crore.

# Intra State ABT & Energy Audit

In spite of severe financial constraints to the extent that the Utility is unable to make timely payment of bulk power purchase bills and employee salaries, to improve customer services, initiatives proposed by the Utility under the above head during the ensuing year are summarised as under:-

- Installation of (Remote Visual Display Unit) RVDU

- Creation of infrastructure to carryout Enterprise wide Energy Audit exercise has been factored in the Capex programme.

Installation of (Remote Visual Display Unit) RVDU

As per the guideline provided by Hon’ble Commission and continuous perusal by the utility with SLDC ,the RVDU (Remote Visual Display Unit) has been linked between SLDC, Bhubaneswar and DSOCC of WESCO Utility on dated 4.10.2015 .The  basic feature are as follows:

- Display of load of major EHT and Grid sub-station.

- Open access drawl of EHT and HT consumers.

- Download of historical drawl data.

- Information regarding shutdown/breakdown of Grid S/s and EHT feeders.

For efficacious decision making the analysis software is also required which will  generate following reports  such as under

- DISCOM wise Schedule and  Drawal  Reports (  SLDC  vrs AMR)

- DISCOM wise Schedule and Drawal Graph .

- DISCOM wise Schedule and Drawal graph monthly .

- Report on frequency and UI  rate daily trend

- Frequency and UI rate history.

- Reports on Transmission losses and wheeling charges.

The backup software with logic which is to manage load flows in SCADA Control center is also not available, and has to be installed.

Energy Audit

The utility has already rolled out plan for undertaking energy audit and envisaged a plan for extending the energy audit in the ensuing year and the operating expenditure has been included as additional expenditure under this head as under :

| ITEM | PURCHASE COST | INSTALLATION COST | REPLACE MENT COST | NO OF INSTALLATION | NO OF REPLACEMENT | COST OF INSTALLATION | COST OF REPLACEMENT | TOTAL EXPENDITURE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11KV MU | 32401.94 | 5400 | 1800 |  | 50 |  | 90000 | 90000 |
| 11KV PT | 12240 | 500 | 500 |  | 50 |  | 25000 | 25000 |
| 33KV MU | 87000 | 7560 | 5040 | 30 | 15 | 226800 | 75600 | 302400 |
| 33KV PT | 20650.13 | 500 | 500 | 32 | 32 | 16000 | 16000 | 32000 |
| AMR | 5400 | 500KM MILIGE PER DIVISION |  | 660 |  |  | 125000 | 125000 |
| AMR RUNNING COST |  | RENTAL COST @75 PER AMR |  |  |  |  |  | 600000 |
| DTR METERING |  |  |  | 8000 | 14400000 |  |  | 14400000 |
|  |  |  |  |  |  | TOTAL |  | 15574400 |

# Implementation of Right to Information Act

In view of vacation of stay order by Supreme Court of India , the Right to Information Act,2005 came into operation in NESCO.

For effective and proper implementation of RTI, a comprehensive proportion of finance is highly required towards organising and establishing various Capacity Building initiatives and programmes. Besides allocation of fund is also required for establishment of separate RTI Cell in Corporate, Circle and Division levels. The different heads of expenses can be broadly segmented into the following heads;

- Training of Public Authorities

- Record Management

- Establishment of RTI Cells

- Creation of Assets

- Restructuring of IT and development of Central Data Base.

As such, till now since implementation of RTI Act by this utility,  there is no such in-house training imparted on RTI, it is planned to conduct several training programs at Corporate levels and Circles levels in forthcoming fiscal years to educate our Officers ,Public Information Officers and First Appellate Authorities . Therefore to handle such online application and to provide training in-house as well as outside sufficient fund is required. So, for these purposes around Rs.4.17 lacs p.m. totaling Rs.50 lacs for FY 2016-17 has been projected.

# Engagement of Collection through retired employees and third party agencies

The utility envisages to improve its collection by engaging the retired employees and through third party agencies with incentive plan in form of revenue assured collection model. The running expenses has been included in the normal A & G expenses under the head Micro/Rural and Input Based Franchisee to the tune of Rs. 4.92 crores.

# IT Automation

After the revocation of license on 4th Mar-2015 the Discoms business was taken over by GRIDCO and the Metering Billing activity which were run by Reliance with their own software the then owner of Discom. After revocation Reliance IT Company i.e Crest Logistic decides to withdraw the support of billing from discoms and it served notice. However after discussion in Gridco with CMD they agreed to provide the service and it is still continuing.

In order to avoid the situation like above it is decided to create own it structure of the Discoms with Hardware, Software and maintenance support and the development was as under:

Three Caged spaces shall be provided by GRIDCO Ltd at designated Data Centre to the Selected Bidder for Supplying, installing and commissioning central computing facilities for each of the three DISCOMs in the same DC separately.

The relevant offices of each DISCOM for the Project include Common D.C, DISCOMs’s Head Office, Circle Offices, Divisional Offices, Sub-Divisional Offices and Sections. These offices shall access the central computing facilities directly for the MBC Project through VPN network, over different internet service provider options, for conducting their business on daily basis. Optionally the existing Billing Agents, Collection Agents, Customer Care Offices and Franchisees shall be provided by the DISCOM with central computing access facility for accomplishing the works on DISCOMs’s behalf.

The entire above mentioned field offices are already equipped with requisite client PCs. This Project envisages supply and installation of complete hardware only at DC and only skeletal networking hardware at field offices of relevance by the selected Bidder. Establishing secured connectivity across the DISCOM is the responsibility of the Bidder.

PROJECT COMPONENTS -

    - The scope of work under this contract covers setting up of IT infrastructure for collection of baseline energy and revenue data of the identified three DISCOMs. The scope covers setting up of IT infrastructure at data center and other offices of three DISCOM utilities, which would form the platform for subsequent automation. This activity shall comprise fulfillment of the following tasks –

- Establishment of data center at identified location :

- Establishment of Caged Arrangement for each of the DISCOM Utilities separately in the same Datacenter.

- Establishment of Server, Storage, Networking & Security Setups  shall be independent for each of the DISCOM Utilities separately in the same Datacenter.

- Establishment of AMR System:

- Establishment of Head End System(HES)  for the AMR shall be separate for the each of the three DISCOM Utilities.

- HES shall be predominantly focuses on the EHT/HT/Selective LT customers from the Billing point of view. However as far as energy audit is concerned, 11KV & 33KV feeder meters are to be brought in to the fold of AMR

- Set up the Local Area Network at all IT Installations and Wide Area Network to interconnect them.

- Procurement & Installation of  Servers, and associated hardware

- Creation of necessary IT infrastructure including LAN for identified Sections, Subdivisions, Divisions, Circles, Headquarter offices & data centre

- Integration of the entire IT infrastructure under the scope of this document as well as legacy systems

    - Hardware: Supply, installation, commissioning and maintenance of all necessary hardware and networking equipments and its connectivity as specified in the detailed specification. As a part of the project, the vendor should procure the required hardware and build the infrastructure as detailed in the Specifications. The vendor shall take the responsibility to install the servers, storage , switches, routers, backup and tape devices, Workstation PCs, and other necessary hardware/software at the sites defined in the bid proposal sheet. The Vendor shall give the time frame for procuring and delivering all the necessary hardware. Though the scope covers establishment of a common data center with Caged Arrangement for each of the DISCOM Utilities separately in the same Datacenter along with independent arrangements for Server, Storage, Networking & Security Setups  for each of the DISCOM Utilities separately in the same Datacenter, the bidder shall design and provide the hardware at data center with suitable expandability for covering the future requirements of the utilities along with a 7.5% per annum growth in consumer and asset base for next five years.

    - Networking : The scope of work covers supply, installation, commissioning and maintenance of Network Connectivity at datacenter, Section office ,Subdivision,division,Circle,Head Quarter and any other office of the utility as per their requirement along with creation of VPN/ MPLS based WAN solution. The vendor shall also provide the necessary drawings and plan for installation, sizing, cabling and connectivity and the bill of material for the networking of all the locations specified here in.

    - Meter data acquisition system - Supply of necessary hardware, software and communication equipment at select consumers in the towns for the purpose of establishment of AMR System. The system should scale up to cover substations, DTs in future for MDAS.  The scope covers DISCOM Utility wise separate establishment of Head End System(HES)  for the AMR. HES predominantly focuses on the EHT/HT/Selective LT customers form the Billing point of view. However as far as energy audit is concerned, 11KV &b  33KV feeder meters are to be brought in to the fold of AMR

    - Software - Supply, installation and commissioning of Operating Systems at Servers, Database software and MBC(metering, billing, collection) application software along with source code (only for customized software solutions) and along with  functionalities covering application modules like Energy Audit, Data Acquisition, New Connection, Disconnection, Vigilance and Dismantling, MIS, further as detailed in the bid proposal sheet. The vendor has to integrate/migrate the legacy MBC and other stand alone software solutions of utilities, with the offered solution including design and supply of necessary middle ware. Full-fledged software licenses and arrangements shall be separately established for the three DISCOM Utilities. The bidder shall quote the unit price for additional licenses for database, standard application software, antivirus solution etc. (whether per process or license basis or per user license basis) for meeting the future requirement of utility.

    - Webportal–The scope includes the Development of Web portal of utility for real time customer services.

    - Customer Care Center- Full Featured Customer Call Center is not a part of  the scope for this Tender. However Customer care Center can be rendered through any of the field units(Circle,  Division, Sub-Division & Sections)  with additional client hardware which is to be arranged by the respective DISCOM Utility and is not under the scope of this Tender.

Development so far:

Tender has been floated by CGM IT Gridco Ltd on 18-08-2015, the pre bid meeting held on 9th Feb-2015. The bid was opened on 9th Aug-2015. there were five no. of Bidders:

- Infinite Computer solution

- WIPRO Ltd

- Accenture

- HCL	and

- TCS

The technical bid has been opened, analysed through a number of tender committee meeting and the final draft has been put up to CMD Gridco which has been approved by CMD on 23rd Nov-2015.

A final tender committee meeting has been called for on 2nd Dec-2015 after that the next course of development shall be decided.

The required capital expenditure shall be met through GRIDCO, hence the utility has not estimated any expenditure in this head.

# Cess as per the Building and other construction Workers (RE&CS)Act, 1996

The Building and other construction Workers (RE&CS)Act, 1996 and Building and other construction Workers Welfare Cess Act, 1996 and Rules made there under to regulate the employment and conditions of service of building and other construction workers and to provide for their safety, health and welfare measure and for other matter connected therewith or incidental thereto. In compliance with the same, the Discoms have deposited amounts on a provisional basis. Accordingly, as per the provisions of the Act, the Utility is required to deposit 1% cess on the construction carried out during the year. Accordingly the Utility proposes Rs 3.81Crore of cess during ensuing year 2016-17.

# Receivable Audit

As per the direction of Hon’ble Commission the utility has employed the independent external audit firms to do the exercise of receivable audit and accordingly estimated an amount of Rs. 0.40 crores during the ensuing year.

Additional A&G Cost for FY 2016-17.

| S.No | Description | Amount(Rs Lacs) |
| --- | --- | --- |
| 1 | Automated meter reading activites | 99.00 |
| 2 | Receivable Audit Expenditure | 40.00 |
| 3 | Customer Care Expenses | 30.77 |
| 4 | Energy Audit-Recurring cost | 155.74 |
| 5 | RTI expenditure | 50.00 |
| 6 | Cess on building construction and electrical installation | 380.77 |
| 7 | DSM Operation and Intra State ABT | 177.60 |
| 8 | Prepaid metering running expenses | 76.79 |
| 9 | Expenditure on IT Automation | 165.81 |
|  | Total | 1176.49 |

Additional expenses for FY 2016-17 are projected at Rs 11.76 Crore taking into consideration of the above initiatives.

# Repair & Maintenance Expenses

The Repair & Maintenance (R&M) expenses for the ensuing year FY 2016-17 has been estimated on the basis of 5.4% of Gross Fixed Assets (GFA) including the BGJY assets at the beginning of the year. The opening GFA works out to be Rs .1357.42 crores, based on which the proposed R&M expenses is to the tune of Rs 73.30 crores along with R&M on BGJY assets.

# Provision for Bad and Doubtful Debts

The Utility respectfully submits that considering the past accumulated losses and huge liabilities; it would not be feasible for the Petitioner to raise finance to bridge the revenue gap, which would arise due to non-recognition of collection efficiency in determination of tariff.

The Utility while estimating the ARR for FY 2016-17 has considered the revenue from sale of power on accrual basis in line with the Commission’s Order on ARR and Tariff Petitions for FY 2005-06 to FY 2015-16. However, as it is not feasible for Petitioner to raise finance against huge accumulated loss to bridge the gap of collection inefficiency, the Petitioner has considered the non-collectable amount based on the collection efficiency as bad and doubtful debts while estimating the ARR for FY 2016-17. Considering the proposed collection inefficiency of 3% for FY 2016-17, Rs 62.17 crs has been considered as part of ARR for FY 2016-17. The Petitioner humbly requests the Commission to consider the same to enable the Petitioner to recover its entire costs after duly considering the performance levels.

# Depreciation

Depreciation has been provided only on assets available at the beginning of the year and no depreciation has been provided on assets created during the year. The method adopted for calculating depreciation is Straight Line Method (SLM) at pre-92 rates.

The numerical details are given in OERC Form: F-19.

The depreciation for FY 2016-17 is projected at Rs. 48.98 Crore.

# Interest Expenses

The Utility would like to submit that the assumptions with respect to outstanding loans and dues have been considered in line with the Commission’s previous Orders.

2.9.1.	GRIDCO Loan and BST Outstanding

The Hon’ble Commission passed an order on 20.07.2006 and 01.12.2008 in Case No.115 of 2014 which interalia provides the following;

- The Discoms shall repay the outstanding loans including interest along with the securitised BST dues as on 31.03.2005 in ten years 120 monthly equal installments starting from FY 2006-07.

- In case of default of monthly dues by the DISTCOs they shall liable to pay the Delayed Payment Surcharge (DPS) @1.25% per month.

The BST outstanding and the loan liability will carry 0% rate of Interest. At the same time the interest on the Bonds issued by GRIDCO against the power outstanding due to Gencos would be passed through in the BST.

The Hon’ble Commission included the opening  BST outstanding as on 1.4.1999  and the Delayed Payment Surcharged upto the date of full payment of BST to be securitized. Therefore the Licensee is additionally burden by an amount of Rs. 19.60 Crore in opening balance.

It was submitted that the Hon’ble Commission has already established a procedure for securitization in matters pertaining to the sale of CESCO as decided in the order approving the transaction documents for the sale of the Central Zone Electricity Distribution and retail supply Utility. The said order specifies the opening balance sheet and terms and conditions for repayment of the liabilities of GRIDCO. The terms and conditions of repayment of GRIDCO Loan & BST outstanding is as under;

    - GRIDCO loan liability would be repaid in 10 equal annual installments after a moratorium of 5 years from 01.04.2006. This carries interest rate of 0%.

    - BST outstanding would be converted into Zero coupon preference shares of 20 years maturity, with a moratorium period of 7years and to be redeemed into 52 equated quarterly installments from 8th year onwards.

The Utility submits before the Hon’ble commission to allow the Utility to pay the amount of the securitized amount based on ability to pay basis considering the above proposal.

Further the Commission in its Order dated 29.03.2012 and 30.03.2012 resolved the dispute on the Power Bond and there is no outstanding payable to GRIDCO towards New Loan with regards to NTPC Power Bond.

# World Bank Loan

In line with the Commission’s previous Orders, the Utility has calculated the interest on World Bank Loan @ 13% as per the subsidiary loan & project implementation agreement with Government of Odisha, considering 30% of loan as grant and balance 70% as loan. The moratorium period and repayment period for the World Bank Loan has been considered based on the terms of the World Bank (communicated by World Bank to GoO vide its letter dated June 13, 2000). In line with these terms, the repayment period has been considered as 10 years with 20 equal semi-annual installments commencing from FY 2016-17.

For the ensuing year 2016-17, the interest liability is estimated at Rs.10.38 Crore and the repayment liability is estimated at Rs.9.13 Crore.

# Capex Loan from Govt. of Odisha

During the ensuing year an amount of Rs.7.37crs towards interest has been estimated towards Govt. of Odisha Capex plan loan. As per the scheme an amount of Rs.123.00 crs has been disbursed till sep-15 and another Rs. 61.27 crs during the current year has been estimated to be disbursed through GRIDCO, totaling to Rs. 184.27 crs under above scheme. The rate of interest is considered @ 4% p.a for the ensuing year on the above loan as per claim of GRIDCO.

# Interest on Security Deposit

Section 47(4) of the Electricity Act 2003 states that “The distribution Utility shall pay interest equivalent to the bank rate or more, as may be specified by the concerned State Commission, on the security referred to in sub-section (1) and refund such security on the request of the person who gave such security.”

The OERC Distribution (Conditions of Supply) Code 2004, Regulation (21) also mandates the payment of interest on consumer security deposit, the manner in which it is to be administered and penal provisions for delay in making such payments.

The Utility have calculated the interest on security deposit @ 8.75% on the closing balance of security deposit amount for FY 2015-16 based on the existing approval of Hon’ble Commission for FY 2015-16. The interest on security deposit considered in ARR for FY 2016-17 work out to Rs.44.51 Crore.

# Total Interest for Financial Year FY 2016-17

The total interest expenses estimated for FY 2016-17 is given in following Table:

Summary of Interest Expenses

|  |  | Rs. In crs. |
| --- | --- | --- |
| 1 | World Bank | 10.38 |
| 2 | GoO-APDRP | 0.76 |
| 4 | Interest on Security Deposit | 44.51 |
| 5 | Govt. of Odisha Capex Loan | 7.37 |
| 6 | Other Short term loan & Finance charge | 29.52 |
| 7 | Total Interest for ARR | 92.54 |

The total interest chargeable to revenue proposed by the Utility for the year FY 2016-17 is Rs. 92.54 crores.

# Capital Expenditure Programs

The Utility will undertake the following Capital Expenditure Schemes during the ensuing year 2016-17;

- Development Programme of Energy System Improvement (DESI)

- CAPEX Programme

- School & Anganwadi

- Strengthening of Infrastructure in Elephant Corridor

- Odisha Distribution Sector Strengthening Project (ODSSP)

- Other deposit work and SI work

# Development Programme of Energy System Improvement (DESI)

The State Govt. has lunched DESI programme during the year 2012 for replacement of burnt Transformers and to supplement the critical gaps of rural household electrification programs such as RGGVY & BGJY etc. to ensure quality power to all. The funds are dovetailed from different programs including Integrated Action Plan (IAP), Gopabandhu Grameen Yojana (GGY), Biju KBK, Western Odisha Development Council (WODC), Backward Region Grant Fund (BRGF) etc. The scheme is being implemented by the utility and estimated an amount of Rs.16.11 crs in the current year.

# Capital Expenditure Programme (CAPEX)

The State Govt. launched the CAPEX programme in the year 2010 for system improvement, reduction of AT&C loss and quality power supply to consumers. The scope includes renovation/modernization of existing and new 33/11KV S/S, re-conductoring of 33KV & 11KV lines, implementation of HVDS system and AB conductoring, installation of theft proof energy meters etc. Hon’ble Commission has approved DPR for the utility amounting to Rs. 201.77 crs including the counterpart funding of Rs. 17.50 crores. The scheme is being implemented by through Turnkey Contractors. Till sep-2015, the utility has disbursed Rs.123.00 crs and balance Rs.61.27 crs is estimated to be disbursed by end of March-2016.

# Strengthening of Infrastructures in Elephant Corridor

The State Govt. has formulated a scheme named as Strengthening of Electrical Infrastructure inside Elephant Corridor in order to avoid elephant electrocution and to provide safe movement of elephants without any hazards from the existing electrical infrastructures in and around the defined Elephant movement corridors. State Govt. is releasing the funds in shape of grants to the DISCOMs for execution of works. The scope of works includes erecting of interposing poles, use of Spikes in Poles, Cooping, Fencing AB cabling of LT lines etc. The technical specification of materials is as per CAPEX. The qualities of execution are supervised by the Dist. Administration. There is a budget provision of Rs.2.60 Crs.  and the expenditure has been incurred in the previous year as well in the current year.

# Strengthening Project (ODSSP)

A three years project for construction of 550Nos. of 33/11KV Substations in different areas of the State with the project value of Rs.2600Cr has been designed.

Under ODSSP scheme, NESCO Utility has been allotted 114 Nos, of 33/11 KV substations. In order to reduce the lengthy 11 KV lines and associated loss therein, the new 33/11 KV substations would be helpful. The existing 11 KV lines are therefore planned to be linked from the proposed 33/11 KV substations to the nearby 11 KV lines. In total 1119 Km. of 11 KV lines are proposed to be constructed to evacuate the power at 11 KV level.

# Odisha Dedicated Agriculture and Fishery Feeder (ODAFF)

The State Govt. has decided to provide dedicated electrical feeders for agriculture as well as pisciculture. The scope of work includes the 11KV trunk line feeding to the clusters shall be limited to 30Km and arrangements will be put in place in 33/11KV SS for 11KV Bay, VCB, metering etc. The total project outlay will be of Rs.1000Cr. spread in four years. The scheme is being implemented by OPTCL who has entrusted M/s WAPCOS for carrying out survey and M/s PRDC for preparation of DPRs.

# New Schemes

# RGGVY Phase – II Dindayal Upadhyaya.

With an objective of saturating rural electrification programme and to provide access electricity to all households, Ministry of Power, Govt. of India extended the RGGVY scheme in the 12th five year plan period as Phase-II RGGVY. However, Govt of India has merged the RGGVY-II Scheme under the Dindayal Upadhyaya. The detail Scheme provisions are yet to be finalised by the Ministry of Power, Govt of India.

All the left out un-electrified & partially electrified villages, habitations of population 100 & above and the villages of RGGVY 11th Plan which cannot be completed by 31st Dec. 2014 shall be covered under Phase-II programme. The scheme provides free connection to BPL Households in the above categorized left out villages and in the Phase-I villages where BPL electrification is incomplete, however no additional infrastructure would be provided for household electrification in such cases.

Infrastructure scope remains as in the Phase-I programme i.e. creation of Rural Electricity Distribution Backbone (REDB) covering new/augmentation of 33/11 KV S/s & new/augmentation of associated 33 KV line etc. and Village Electrification Infrastructure (VEI) covering 11 KV feeder lines, spur lines, distribution S/s, LT extension & BPL connection etc.

Saturation survey & DPRs have been prepared by the respective Utilities this time. Projects have already been sanctioned by REC & MOP and any further revision of scope/quantity/cost would be borne by the State Govt. The Central PSUs viz. NTPC & PGCIL have been entrusted with the implementation of schemes.

The total approved cost of this scheme is Rs. 437.17 crs. which is scheduled for year wise expenditure as follows.

(Rs. in crore)

| Total Scheme Estimation- 437.17 | 2015-16 | 2016-17 | 2017-18 |
| --- | --- | --- | --- |
|  | 89.60 | 176.10 | 171.47 |

The scheme shall operate under the supervision of OPTCL, having Rural Electrification Corporation as Nodal agency. From Distribution Utility point of view, the significant advantage of this scheme is ‘Creation of Asset’ by sharing very nominal funding.

# Integrated Power Development scheme (IPDS) –

With an objective to ensure quality power supply in the urban areas, Govt. of India has introduced a scheme in the year 2014-15 namely Integrated Power Development scheme (IPDS) which is yet to be implemented in the operational area of the Distribution Utility very soon. The scope of this scheme includes strengthening sub-transmission & distribution system, provisioning of solar panels, metering of distribution transformers/ feeders/ consumers in the urban areas and IT enablement of distribution sector. The total approved estimated cost of this scheme is Rs. 259.48 crs. which is scheduled for year wise expenditure as follows.

(Rs. in crore)

| Total Scheme Estimation- 259.48 | 2015-16 | 2016-17 | 2017-18 |
| --- | --- | --- | --- |
|  | Nil | 146.51 | 112.97 |

* There is no expenditure shown in FY’ 2015-16 as Tendering & other formalities have not finalized so far for commencement of work.

The scheme shall operate under the supervision of OPTCL, having Power Finance Corporation as Nodal agency. From Distribution Utility point of view, the significant advantage of this scheme is ‘Creation of Asset’ by sharing very nominal funding.

# Revenue and truing up

# 4.1.	Non Tariff Income

The Utility has proposed Rs. 68.00  Crore as Non Tariff Income for the ensuing 	year FY 2016-17. The Utility submits the Hon’ble Commission to exclude the income from meter rent as the same is intended to be used towards replacement of the meters.

# 4.2.	Provision for Contingency Reserve

The Utility submits that the Distribution system is more prone to natural 	calamities like cyclone, flood etc, which have become an annual feature given the 	Phailin and Hud Hud in quick succession,  for which contingency provisions should 	be made.

The Utility seeks reference to , the National Tariff Policy, vide Clause 8.2.1 Para 	‘6’ which states that, the contingency reserve should be drawn upon the prior 	approval of the State Commission only in the event of contingency conditions 	specified through the Regulations by the State Commission. Accordingly, taking into consideration that, the State of Odisha is prone to natural calamities at regular intervals having witnessed in the last 100 years, 49 floods, 39 droughts and 11 cyclones, and taking into consideration the massive damage to the electrical infrastructure, it is prayed that Contingency Reserve be allowed for the Utility along with the guidelines/practice directions for use of such Contingency Reserve Fund.

The Power Distribution network has suffered the most damage in the recent cyclone Phailin, Hud Hud and subsequent flood further justifies the requirement of contingency reserve for the Distribution Utilities.

The Utility has considered the Contingency @ 0.375% of Gross Fixed Assets at beginning of the year while estimating the ARR for the ensuing year FY 2016-17. The Utility respectfully submits to allow Rs. 5.09 Crore towards provision for contingency for FY 2016-17.

# Reasonable Return

The Utility submits that due to the negative returns (Gaps) in the ARR and carry forward of huge Regulatory Assets in previous years, the Utility could not avail the ROE over the years, which otherwise would have been invested in the Company for improvement of the infrastructure. As it is followed by various Commissions, the Utility submits that the ROE to be allowed on the amount of the equity and the accrued ROE for the previous year. This would increase the availability of more funds for the consumer services.

Therefore, the Utility has assumed reasonable return amounting to Rs. 10.55 Crore as calculated @ 16% on equity capital including the accrued ROE as per the earlier Orders of the Hon’ble Commission.

# TRUING UP FOR FY 2015-16

Further based on the actual sales, revenue and expenses for the first half of the current year 2015-16 and based on estimates for next half of current year, the uncovered gap for FY 2015-16 is Rs. 268.49 Crore as against the surplus of Rs. 9.11 Crore as indicated below.				Statement of Truing up for FY 2015-16

|  | Unit | OERC Approval | Estmd. | Diff |
| --- | --- | --- | --- | --- |
| No of Units - sale | MU | 4286.63 | 3844.048 | -442.582 |
| RST per unit | Rs/Kwh | 4.76 | 5.05 |  |
| Sales | Rs Crore | 2038.32 | 1939.52 | -98.80 |
| Less-Bad Debts | Rs Crore | 11.37 | 96.98 | 85.61 |
| Net Sales | Rs Crore | 2026.95 | 1842.55 | -184.40 |
| Other Income | Rs Crore | 101.07 | 78.81 | -22.26 |
| Total Income | Rs Crore | 2128.02 | 1921.36 | -206.66 |
| Distribution Loss | % | 18.35% | 27.00% |  |
| No. of Units - Purchase | MU | 5250 | 5265.819 | 15.819 |
| BST per Unit | Rs/Kwh | 3.27 | 3.27 |  |
| Cost of Power | Rs Crore | 1717.60 | 1722.78 | 5.18 |
| Distribution Expenses | Rs Crore | 299.12 | 332.15 | 33.03 |
| Interest & Fin. charges | Rs Crore | 52.16 | 81.50 | 29.34 |
| Depreciation | Rs Crore | 39.48 | 38.84 | -0.64 |
| Total Expenditure | Rs Crore | 2108.36 | 2175.27 | 66.91 |
| Contingency Reserve | Rs Crore | 0 | 4.04 | 4.04 |
| Reasonable Return | Rs Crore | 10.55 | 10.55 | - |
| Excess/(deficit) | Rs Crore | 9.11 | -268.49 | -277.60 |

To avoid tariff shock the utility has submitted 1/3rd of the above amounting to Rs. 89.50 crs for the ensuing year may kindly be considered in the ARR.

# Revenue at Existing Tariffs

The Utility has estimated the revenue from sale of power considering the sales projected for FY 2016-17 and by applying the various components of existing tariffs. As detailed out in previous sections, the Utility has adopted the approach considered by the Commission and estimated the revenue from sale of power on accrual basis. The total revenue based on the existing tariffs applicable for the projected sales is estimated at Rs 2072.22 Crore.

The details of estimated revenue from different categories of consumers at existing tariffs are provided in FormT-7 & T- 8. The License humbly requests the Hon’ble Commission to estimate the revenue for estimated sales at existing tariff by duly considering the category-wise and slab wise in the format prescribed by the Hon’ble Commission with the applicable tariffs in each category.  With the implementation of the RGGVY and BGJY Schemes the sales mix shall be further skewed to the LT subsidized category.

# Summary of Annual Revenue Requirement and Revenue Gap

The summary of Annual Revenue Requirement, Revenue at Existing Tariffs and Revenue Gap for the ensuing year 2016-17 is provided below.

Revenue Gap

|  | Rs Crore |
| --- | --- |
| Expenditure including Special Appropriation | 2450.10 |
| Reasonable return | 10.55 |
| Truing up of Revenue Gap for FY 2015-16(1/3rd) | 89.50 |
| Sub Total | 2550.15 |
| Revenue from sale of power at existing tariffs | 2072.22 |
| Non Tariff Income | 68.01 |
| TOTAL REVENUE GAP | 409.92 |

# Initiatives by DISCOM

# Compliance to OERC Directions

Hon’ble Commission has given directions in the RST order for FY 2015-16 and further directed vide letter no. DIR(T)-405/2016-17/1402 dated 12.11.2015 regarding compliance of OERC Directions & Other issues. The para wise compliance made by the utility are given below

- The Commission had made a provision of Rs 131 crore for implementation of smart metering, energy audit and SCADA schemes during FY 2014-15. Discoms to complete the above schemes in their area of supply.(para 302)

Compliance-

As regards to Energy Audit, it is being implemented presently at 11 kv. Feeder level as follows.

- NESCO has completed consumer tagging of all the11kv feeders i.e. 516 nos.

- 249 Nos of 11kv feeder has been metered to determine the input to each 11kv feeders. Monthly loss level is being prepared on those 11kv feeders.

- Energy Audit of 20Nos of 33KV & 248 nos of 11KV Feeders have been submitted to Hon’ble Commission covering approximately 21000 nos of DTRs and 7 Lakhs consumer.

- By 31st March ‘2015 Energy Audit of all the 33KV Feeders (62 nos) and 11KV Feeders (516 nos) will be completed.

- 33KV Incoming feeders for 144 nos of 33/11KV S/s and all the outgoing 11KV feeders (516 nos) will be facilitated with AMR by 31.03.2015.

- Since the Commission has decided to provide expenses towards purchase of meters for the smart metering schemes, Discoms were directed not to charge cost of meter or meter rent for such consumers.(para-303)

Compliance-There is no such meter cost or meter rent charged from the consumers for smart metering point of view.

- Discoms to attach Reliability Index calculation and voltage variation report with the bill in case of levy of reliability surcharge.(para-315)

Compliance-Due to space constraint Reliability Index calculation & voltage variation report could not be shown in the monthly energy bill of the concerned consumers. However, the same is being provided to the consumers separately.

- Discoms to adjust interest on security deposit as per Reg.21 of OERC (Distribution Condition of Supply) Code, 2004.(para-320)

Compliance-As per Regulation-21, interest on Security Deposit are being credited to the consumers annually as on 1st May of every year on the outstanding amount of Security Deposit available @ 8.75% P.A. The amount of interest on security deposit is being shown in the energy bill raised to the consumers.

- Load factor billing has been abolished with effect from 01.04.2004. Discoms to follow the Codal provision strictly. (para-332)

Compliance-The Utility is not doing load factor billing to any consumers in lieu of defect meter or no meter.

- Discoms to carry out energy audit in full scale. (para-346)

Compliance-Optimum care is being taken to achieve maximum nos. of energy audit at 11 kv feeder level along with efforts to start at 33 kv. feeder level

- Discoms to frame service rules consistent with Electricity Act, 2003 keeping in mind the ways to elicit accountability and productivity from the employees. (para-381)

Compliance-Till now NESCO is pursuing GRIDCO’s service Rules.  Several attempts have been made by NESCO to get approved its own service rules, the same is being pending before Board. As such, as per clause-4 (7) of Odisha Electricity Reform (Transfer of Assets, Liabilities, proceedings & Personnel of GRIDCO to distribution companies) Rules-1998. NESCO is pursuing GRIDCO’s service Rule till formation of its own.

- Discoms to submit action plan by 30.6.2015 to recoup the deficit in the Corpus Fund for the employees’ terminal liability. (para-386)

Compliance-Due to acute shortage of funds after payment of monthly BST bill, there is no sufficient fund even to meet employee cost. However, employee cost is being met from arranging of funds through temporary loans. Hence, difficulties are there to recoup the deficit in the corpus fund for the employee’s Terminal Liability.

- Commission has allowed Rs 1.00 crore to each Discom for undertaking various automation and IT initiatives for FY 2015-16 and had directed that the amount must be utilized at base level offices to the advantage of consumers. (para-404)

Compliance-After revocation of license on 4th Mar’15, the billing activities is continuing with the Reliance IT support by virtue of mutual understanding. Even though, it has served the notice of withdrawal of its software. Presently, GRIDCO (parent company of NESCO) has floated tender for IT implementation at NESCO which is under progress and expected to finalize very soon. After finalization of tender process more IT initiatives shall be taken. However, the existing IT implementation like mobile spot billing, online bill payment, toll free helpline, customer care center helpdesk etc. are operating.

- Discoms to earmark Rs 50.00 lacs towards training programme for FY 2015-16. The copy of training calendar for the year 2015-16 shall be submitted to the Commission by 31st May, 2015.(para-408)

Compliance-In the present financial year of 2015-16, there is 6 nos. of Training programme have been conducted wherein 15 nos. of participants have participated.

- Discoms to use Security deposit for the purpose for which it is meant. Any deficit in the security deposit may be recouped through enhanced collection by Discoms. A plan of action by 30.6.2015. (para-436)

Compliance-As regards to deficit in security deficit, in case of HT & EHT consumers  the same is being collected on priority basis. And in case of LT consumers efforts are made to collect the additional security deposit to recoup the deficit.

- It has been observed as on 31.03.2014 that the Discoms have defaulted in payment of securitized dues to Gridco to the tune of Rs 1771.96 crore. Discoms to submit the detailed action plan for liquidation of arrear of Gridco by 30.4.2015. (para-469)

Compliance-Securitisation dues of Gridco could not paid on account of financial constraint of the Utility. When it is difficult to pay the monthly salary & BST bills, allocation of fund could not be made towards clearance of outstanding dues.

- On NTPC bond dues, Discoms to comply the order dated 29.3.2012 in case No. 107/2011 against the Bond dues of Rs 308.45 crore. (para-470)

Compliance-There is no outstanding against NTPC Bond dues as far as Nesco is concerned. An amount of Rs. 48.91 crores has been transferred to GRIDCO New Loan.

- Gridco to conduct Escrow Audit of Discoms on a continuous basis. Report of the Escrow Audit to be submitted every year with the ARR and tariff filing. (para-475)

Compliance-Escrow Audit was last conducted by Gridco in the year 2014 for FY 2012-13.

# Various Payment Options

To improve the reach to the consumers, Discoms have engaged various service providers for easy payment option to the consumers for payment of Energy Bills through offline/online mode which would enhance the overall collection efficiency.  The purpose of such engagement of the service providers is to accelerate the revenue collection by providing the services at the door step of the consumers for any time payment of their Bills and to reduce the door to door collection by the Company.

Following service providers assigned with the responsibilities for collection of Electricity bills.

- Post Offices- Collection of cash through Post Offices.

- CSC e-Governance Services India Limited- Collection of Electricity Bills through CSCs / VLEs.

- ITZ Cash Card- Prepaid cash card issued by ITZ Cash card and through their various outlets.

- ICICI Bank- Through Debit / Credit card and Net Banking Services.

- Atom Technology- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (28 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- Billdesk

- Payment Gateway (PG) Services , through Debit / Credit card and Net Banking Services (50 Banks including SBI, UBI, Indian Bank, HDFC Bank)

- EBPP Services- Through Airtel  Money & Voda-phone m-paisa

- Easy bill- In various Easy Bill Outlets in the Jurisdiction of Discoms Areas. Consumer can produce the Electricity bills and operator of the respective centre shall receive the payment amount indicated in the bill in cash.

- Suvidha Outlets-In various Suvidha Outlets in the Jurisdiction areas of the Utility. Consumer can produce the Electricity bill to any Suvidha centre for payment of the amount indicated in the bill in cash.

# Development of Franchisee in Utility Area

Efforts have been made by the Utility for introduction of Franchisees in its License area as required under the RGGVY Scheme and as per direction of Hon’ble Commission in their tariff Orders. The following models both in operation and proposed as given below:

Earlier the utility had engaged franchisees both on revenue and input based model. The engagements were on sub-division wise as a unit and for some input based franchisee unit means feeder or 33/11 KV sub- station. There are also some women SHG working at gram panchayat level. However, due to variation factors and more emphasis on wide spread franchisee engagement it was decided that all franchisee shall be converted to new model which is revenue based franchisee model. The performance of franchisees are judged or calculated on its performance on collection amount, collection efficiency and consumer coverage. A base level is being fixed for all the parameters mentioned above. At different level of performance, points are assigned and based on weighted average of all the parameters incentive is being fixed. The model is Point based Revenue collection Model

Consumer growth has increased to manifold on account of village electrification through RGGVY, BGJY, BSVY scheme etc. Billing and collection of these consumers are low due to their BPL status but at the same time input has gone up considerably. As a result the input base model of earlier years became redundant and effectiveness of franchisees has gone down. Further, increase in consumer coverage was also became prime importance for such large consumer base. So a revenue based model has been taken up to give proper emphasis on consumer coverage as well collection efficiency. NESCO has started engagement in this model from May-2015 onwards with separate incentive structure for urban & rural areas. The aim is for greater involvement at grass root levels there by making franchisee operation more effective.

As on 31st March, 2015 the utility was having seventeen nos of  macro/input based franchisees with consumer base of 112668.

The franchisee plan are as under :

|  | During Previous Year (FY 2014-15) | During 1st 6 months of the current year (Apr-15 to Sep-15) | Projected for the current year (Apr-15 to Mar-16) | Projected for the subsequent year (FY 2016-17) |
| --- | --- | --- | --- | --- |
| Franchisee Activity |  |  |  |  |
| No of Micro-Franchisees | 11 | 11 | 11 | 11 |
| No of Consumers Covered | 41446 | 50964 | 61000 | 75000 |
| No of Macro-Franchisees | 5 | 3 | 3 | 3 |
| No of Consumers Covered | 39,312 | 26,710 | 28,250 | 30,500 |
| No of Input Based-Franchisees | 1 | 1 | 3 | 3 |
| No of Consumers Covered | 31,910 | 33,229 | 1,20,000 | 1,35,000 |
| Total no of consumers covered under Franchisee | 1,12,668 | 1,10,903 | 2,09,250 | 2,40,500 |

# Automated Meter Reading System:

In the FY 2014-15 installation of Automatic Meter Reading ( AMR) system was taken  up for the   consumers having CD above 10KW.  NESCO has succeeded in minimizing the theft of energy by steel industries in its area by using information timely through AMR system.  As on Oct.2015,  1926 number of Automatic Meter Reading System has been installed with consumer meters.

# Prepaid and Smart Metering Initiatives

Department of Energy, GoO vide Notification  No -918 dated 04.02.2013 communicated DISCOMs to install Pre-paid meters on all State Government and PSU connections   in FY 2013-14. The Utility was required to install the Pre-paid Meter in government establishments including public sector undertakings, autonomous bodies, urban local bodies, govt. societies etc. at State, District and Block levels within 57 days(by 31.03.2013) even though there were no meters readily available in the market & the specification for Prepaid meters both single Phase & three Phase (IS 15884) was yet to be  approved  by Govt of India .

Yet, WESCO, NESCO & SOUTHCO in compliance with the Hon`ble Commission`s order  have taken initiatives to implement the Prepaid Metering Systems for all the Govt. Consumers by selecting M/s JnJ Powercom Systems Ltd & M/s Secure meter Ltd for 4 yrs  lease model through a open tendering Process. Both the vendors are providing the various infrastructures for implementation of prepaid metering system such as Prepaid Meters, Vending Stations along with software, hardware & Communication along with manpower for operation of the system.

# Allocation of Wheeling and Retail supply cost

Hon,ble Commission has formulated regulation for bifurcation of Wheeling and Retail supply business vide notification dated 14th Nov-2014. According to the said regulation the Utility is required to file its ARR application as per the amended regulation. In line with the same as per clause 4.3 and 4.4 of the regulation for such period until the accounts are segregated, the Utility shall prepare an allocation statement to apportion cost and revenues to wheeling and Retail supply business and submit it along with ARR for approval of Hon’ble Commission.  In view  of the same the utility is proposing the following allocation statement for kind approval of Hon’ble Commission.

Statement of allocation of Wheeling and Retail supply Cost.		Rs. lacs

| Sl No. | Cost/Income Component | ARR for FY 2016-17 | Assumption Ratio for consideration in Wheeling Business | Assumption Ratio for consideration in Retail Supply Business | Wheeling cost for FY 16-17 | Retail supply Cost for FY 16-17 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Cost of Power | 168609.80 | 0% | 100% | 9530.91 | 159078.89 |
| 2 | Transmission Charges | 13957.77 | 0% | 100% | 788.98 | 13168.78 |
| 3 | SLDC Charges | 85.32 | 0% | 100% |  | 85.32 |
|  | Total power purchase cost * | 182652.89 |  |  | 10319.89 | 172332.99 |
|  | O&M |  |  |  |  |  |
| 4 | Employee Cost | 28848.66 | 60% | 40% | 17309.19 | 11539.46 |
| 5 | Repair & Maintenance Cost | 7330.04 | 90% | 10% | 6597.04 | 733.00 |
| 6 | Administrative & General Expenses | 5299.77 | 40% | 60% | 2119.91 | 3179.86 |
| 7 | Bad & Doubtful Debt including Rebate | 6216.65 | 0% | 100% | 0.00 | 6216.65 |
| 8 | Depreciation | 4897.67 | 90% | 10% | 4407.90 | 489.77 |
|  | Interest on Loans |  |  |  |  |  |
| 9 | for Capital loan | 1851.73 | 90% | 10% | 1666.56 | 185.17 |
| 10 | for Working capital | 2952.14 | 10% | 90% | 295.21 | 2656.92 |
| 11 | Interest on Security Deposits | 4451.04 | 0% | 100% | 0.00 | 4451.04 |
| 12 | Return on Equity | 1054.56 | 90% | 10% | 949.10 | 105.46 |
|  | Special Appropriation |  |  |  |  |  |
| 13 | Amortization of Regulator Assets | 0.00 | 25% | 75% | 0.00 | 0.00 |
| 14 | True Up of Current year GAP 1/3rd | 8949.70 | 25% | 75% | 2237.42 | 6712.27 |
| 15 | Other, if any-Contigency Reserve | 509.03 | 90% | 10% | 458.13 | 50.90 |
|  | Grand Total | 255013.87 |  |  | 46360.36 | 208653.51 |
|  | Miscellaneous Receipt |  |  |  |  |  |
| 16 | Non-Tariff Income - Wheeling | 483.88 | as per actual assumption | as per actual assumption | 483.88 | 0.00 |
| 17 | Non-Tariff Income - Retail Business | 6316.84 | as per actual assumption | as per actual assumption | 0.00 | 6316.84 |
| 18 | Total Misc. Receipts | 6800.72 |  |  | 483.88 | 6316.84 |
| 19 | Total Revenue Requirement | 248213.16 |  |  | 45876.48 | 202336.67 |
| * Allocation of power purchase cost towards wheeling has been made considering 8 % loss on input after effecting EHT Sales |  |  |  |  |  |  |

# Tariff Rationalization Measures

# Levy of Meter Rent on Smart, Prepaid Meters

In view of the above revenue deficit in the Utility & for smooth operation of Prepaid metering system following suggestions are submitted for kind consideration of Hon, ble Commission.

- the Meter Rent fixed for the LT Single Phase and Three Phase AMR / AMI Compliant meters  need to be reviewed by Hon’ble Commission and the Meter rent for the AMR / AMI Based Meters and Pre-paid type single Phase Meters should be Rs 300/- Per Month and three Phase Meters  Rs 500/- Month.  Or

- The existing meter rent recovered by the Utility from the consumers are negligible and the leasing as well as vending service charges are high enough as a result, there is a huge difference. Accordingly,  Hon’ble Commission may kindly allow difference in such recoveries and recurring costs

- It is suggested that the present slab wise rate tariff, is simplified for ease of consumers opting out for the same. The additional rebate of  Rs 0.25 per unit allowed in smart metering scheme may be withdrawn

- A principle may be approved by Commission for adjustment of outstanding arrears along with its part payment before implementation of Prepaid metering system.

# Introduction of KVAH Billing

“Billing to Consumers based on kVAh recording instead of kWh recording

OR 	Power Factor Penalty to HT & LT Consumers above 20 KW :

The Hon’ble Commission in its RST Order dtd 22.03.2014 for FY-2014-2015 had given the following directions to the DISCOMs vide Para-246. The said Para-246 is quoted herein below.

“Billing to Consumers based on kVAh recording instead of kWh recording.

The Commission after detailed analysis observed that the Utilities are not prepared with the necessary metering and billing arrangement for all the consumers to be covered under kVAh billing. Hence, the Commission declined to accept the proposal of the Utilities to introduce kVAh billing in a phased manner. However, the Utilities are required to justify their readiness to implement such system of billing as directed below:

The Commission directs the Distribution Licensees to prepare a detailed sales  containing category wise and consumer wise contracted load / connected load and their month wise consumption for the latest three years ending 31st March, 2014 showing the consumer wise and month wise amount billed under Demand Charge/ MMFC, energy charge and power factor penalty of such consumers (for whom the Licensees intend to introduce kVAh billing)  including information on types of meters fitted against each consumer showing the capability of each meter for kVAh billing and the software developed by the Licensees for such billing. They are required to submit the complete information in this regard latest by 30th September, 2014.”

Incompliance to the above direction of Hon’ble commission the Utility has submitted the above required data of 20 KW and above Consumers before the Hon’ble commission During month of Nov’2014.

This has been verified that all the 3-phase meters, especially those  installed for consumers having Contract Demand 20KW and above in the DISCOMs are enabled with all the energy parameters and storing dump record  of 35 days.  All such meters show instantaneous Power Factor and  monthly average Power Factor can be computed as ratio of  active power and apparent power drawn by consumers like in case of existing large and Medium Industries Consumers presently being billed. Hence  DISCOMs are fully equipped to implement KVAH billing in respect of all those consumers in place of  existing  KWH Billing.

Benefits of KVAH Billing

It is further submitted that, by adopting KVAH billing in place of KWh Billing the recent pattern of Power Factor penalty imposed on the consumers will be abolished. The objective of introduction of KVAh billing is to ensure reduction in losses which occurs due to low power factor. The DISCOMs, therefore expect the consumers to have unity power factor. The objective of KVAh based billing is for encouraging the consumers to maintain their power factor near to unity Power factor.

In the present tariff structure, the power factor penalty is limited to only large consumers having contract demand of more than 110 KVA while medium and other three phase consumers are exempted. DISCOMs request for introduction of KVAh based tariff for energy drawal for all the three phase industrial consumers availing power supply in LT and HT and for which presently no Power Factor Penalty is imposed in the tariff and all the three-phase meters are capable of reading KVAh component of energy.

Since all three phase meters provided by the DISCOMs at the consumer premises are capable of reading KVAh Component directly and the billing system of DISCOMs also ready to accept such changes in the energy billing component, there will be no operational issues after implementation of KVAH Billing.

OERC Regulation 1 ( bb) specifies the definition of Meter as

“ Meter : means an equipment used for measuring electrical quantities  like  energy in KWH or KVAH Maximum demand in KW or KVA , reactive energy in KVAR hours etc including accessories like CT & PT where used in conjunction with such meter and any enclosure used for housing or fixing such meter or its accessories and any device testing purpose”

This supports for billing a consumer on the energy consumed on KVAH basis.

Therefore, the KVAh billing system is a win-win situation for DISCOMs as well as  Consumers .

With the above submissions, the Hon’ble Commission is requested to allow KVAh billing from ensuing FY 2016-17.

OR

Applicability of Power Factor Penalty to LT & HT Category of Consumers above 20 KW :

Hon’ble Commission in its RST order for FY 2015-16 orders for continuance of the power factor penalty as a % of Monthly demand Charge of monthly Demand Charge and Energy Charges on the following HT &  EHT consumers :

Large Industries

Public Water Works ( 110 KVA and Above)

Railway Traction

Power Intensive Industries

Heavy Industries

General Purpose Supply

Specific Public Purpose ( 110 KVA and above)

Mini Steel Plant.

Emergency Power Supply to CGP.

If the above proposals of DISCOMs are not considered by the Hon’ble Commission for implementation due to any reason DISCOMs pray for applicability of Power Factor Penalty for the following category of Consumers in order to bring more efficiency in Power System Operation till the KVAH billing is made applicable.

HT Category

Specified Public Purpose

General Purpose < 110 KVA

HT Industries ( M) Supply

LT Category

LT industries Medium Supply

Public Water Works and Swerage Pumping > 22 KVA

# Applicability of Power Factor Penalty.

Hon’ble Commission in its RST order for FY 2015-16 orders for continuance of the power factor penalty as a percentage (%) of Monthly demand Charge of monthly Demand Charge and Energy Charges on the following HT &  EHT consumers :

- Large Industries

- Public Water Works ( 110 KVA and Above)

- Railway Traction

- Power Intensive Industries

- Heavy Industries

- General Purpose Supply

- Specific Public Purpose ( 110 KVA and above)

- Mini Steel Plant.

- Emergency Power Supply to CGP.

Till such time KVAH billing approach is adopted the Utility proposes for applicability of Power Factor Penalty and Incentive for the following category of Consumers in order to bring more efficiency in Power System Operation .

LT Category

- LT industries Medium Supply

- Public Water Works and Swerage Pumping > 22 KVA

HT Category

- Specified Public Purpose

- General Purpose < 110 KVA

- HT Industries ( M) Supply.

# Verification of CGP Status of Power Plants:

The Utility humbly submits that, as per the relevant provisions of the Electricity Act, 2003 read with Indian Electricity Rules,1956, the CGPs are mandated to maintain utilize at least 51% of power for self consumption per annum. Thus there should be annual verification of the status of the industries operating as CGPs. Because if in any year an industry having the CGP status fails to utilize minimum 51% of the power generated from the CGP, then that industry would lose the status of CGP for that particular year, thereby attracting levy of cross subsidy surcharge by the Utility. This being the well settled principle of law, the Utility draws the attention of the Hon’ble Commission to the fact that till date the status of the industries owning CGP is not being verified annually, for which a reasonable apprehension would occur about the real status of the CGPs. In this context it would be relevant to mention herein that the Hon’ble Commission vide its Order dtd.03.01.2014 passed in Case No.129 of 2010, while adjudicating upon the said issue of determination of CGP status of the industries vis-à-vis the invocation of provisions of Sec.11 by the Govt. of Odisha, directed all the stake holders, to verify the exact status of the industries on yearly basis and subsequently a Committee was formed by the Hon’ble Commission, to implement the above direction which is however deferred due to an interim stay granted by the Hon’ble High Court of Orissa vide Order dtd.05.09.2013, in W.P.(C) No.18481 of 2013. Meanwhile the CCPO also filed a petition before the Hon’ble Commission for review of the said Order dtd.03.01.2014. Recently the Hon’ble High Court vide its Order dtd.06.08.2014 passed in the said case has made it clear that the notwithstanding the pendency of the writ petition the present review proceeding would continue. Thus the Hon’ble Commission is at liberty to re-constitute the Committee for verification of the CGP status of the industries by which the scenario would be clear and the Licnesee would be in a position to determine and fix the liability of cross subsidy surcharge upon those industries losing the status of CGP for any particular period.

# Emergency power supply to Captive Power Plants (CPP)

Normally the Emergency /Startup power requirement of Captive generators are very less  but as per OERC Distribution ( Condition of Supply ) Code regulations-2004 Chapter – VIII ,Para-15 the emergency assistance shall be  limited to 100% of the rated capacity of the largest unit in the Captive power plant of Generating Stations. But as per retail supply tariff for FY-2015-16, no demand charges are payable by industrial consumers availing Emergency power supply having contract demand of 100% of the rated capacity of largest Unit.

In case of failure of the captive units, those industries draw power from the grid for their industrial consumption in the name of start-up/ Emergency power requirement of their CGP. There is hardly any spinning reserve available with the Utility to manage such huge industrial requirement of the Industries. As a result Utilities are drawing more than their schedule during certain periods in a day resulting Over drawal from State / Central grid with financial burden to the Utility in Intra-state ABT mode of Operation . Utility also proposes for amendment of  Para-15 of OERC Distribution ( condition of supply) code.

Start up Load Requirements - The quantum of energy to be used for emergency supply for start up loads should be scientifically determined based on the age of the industrial plant, size of the industrial plant, technology of the unit. It has been estimated that the start-up power required for CPPs is around 10 to 12 % of the rated capacity of highest unit  and Hon’ble Commission is requested to frame norms/ guidelines for estimation of such requirement..

Essential or Survival Load Requirements - It is suggested that  for consumption in excess of   10 % load factor, the demand charge should be charged at double the normal rate and that the Industries should execute agreement with Distribution Utilities. In light with the ‘emergency’ nature of the supply it is suggested that there should be provisions for disconnection of supply in case the consumption is in excess of 10% of the load factor for two consecutive months. The Utility suggests the introduction of Demand Charges of Rs 250 / KVA  in addition to Energy Charges for Start-up power .

A large number of industries have already  opted for their own captive generating plants and  few others are under pipe line, while cross -subsidised consumers have increased substantially due to addition of large number of consumers under RGGVY and BGJY Scheme .

arge

The Utility humbly submit the Hon’ble Commission to consider Tariff for start-up power for IPP/ CGPs proposed for state of Odisha The proposal of the Utility is as under;

- Proposed Tariff

| Category of Consumers | Demand Charges Rs / KVA/ Month | Energy Charges ( Rs per Kwh ) |
| --- | --- | --- |
| EHT Consumers | 250 | 7.10 |
| HT Consumers | 250 | 7.20 |

- Proposed Condition for Start-up Power supply to CGP :

- Industries having  CGPs to avail Start-Up power their Contract Demand should not exceed 12 % of the capacity of the highest capacity Generating units of the CGP. Consumer have to enter into an agreement with the concerned DISCOMs subject to technical feasibility and availability of required quantum of power/energy.

- A Drawal of Power shall be restricted to within 10 % of load factor based on the contract demand and actual power factor in each month. If the load factor in a month is recorded beyond 10 % the demand charge shall be charged at double the normal rate. Supply can also be disconnected if the monthly load factor exceeds 10% in any two consecutive month.

- This tariff shall also be applicable to such generator(s) for start up purpose prior to their COD.

- Start-up power shall also be made available to the generator connected to CTU grid with proper accounting done in monthly Regional Energy Accounting prepared by ERPC. ( New IPPS are coming in future, which may also be connected to CTU grid directly. )

# MMFC for Consumers with Contract Demand <110 KVA

As per the current tariff structure, the Monthly Minimum Fixed Charges are to be levied to consumers with contract demand less than 110 KVA on the recorded demand rounded to nearest 0.5 kw requiring no verification irrespective of the agreement. For billing purposes this adversely affects the Utility in case of the recorded demand is lower than the contract demand/connected load. As the Utility is reserving the contracted capacity for the consumers at the same time they are also liable to pay the MMFC/Demand charges on the basis of CD or MD whichever is higher as like of consumers with CD of >110 Kva. The Utility proposes that the Monthly Minimum Fixed Charges for such consumers shall be levied at Contract Demand or Maximum Demand whichever is higher.

# Demand Charges for GP>70 Kva<110 KVa and HT Industrial (M) Supply

As per current tariff structures the consumers in the above category who are availing power supply in HT are required to pay demand charges of Rs.250 and Rs.150 per Kva. In para 494 of RST order (FY 15-16) Demand charges are meant for consumers with contract demand of 110 Kva and above.

In absence of clear cut guidelines for billing of demand charges to the above two category availing power supply in HT supply are raising disputes in various forums and demanding that they are required to be billed as per para 498 of RST order FY 15-16.

Para 498 says

However, the billing demand in respect of consumers with Contract Demand of less than 110 KVA having static meters should be the highest demand recorded in the meter during the Financial Year irrespective of the Connected Load, which shall require no verification. The highest demand recorded should continue from the month it occurs till the end of the financial year for the billing purpose.

It is pertinent to mentioned here that consumers with CD of more than 110 Kva are paying Demand charges on the basis para 494 of RST order FY 15-16, as the Utility is reserving capacity for them to the extent of their CD. In similar line consumers with CD of <110KVa are also liable to pay the Demand charges on the basis of CD or MD whichever is higher.

Therefore the Utility submits that these two categories of consumers availing power supply in HT category and liable to pay Demand charges in KVa should also be billed on the basis of CD or MD whichever is higher irrespective of their connected load which may kindly be considered.

# Demand charges to be in KVa only instead of Kva/Kw

In the prevailing tariff some of the HT consumers are paying their demand charges in Kw and some are on the basis of Kva. Therefore it is creating disparity among the consumers as well as affecting revenue of the utilities. The BST of the Utilities is the composites of Energy and Demand charges. The component of demand charges is on the basis of Kva only. The proposed SMD for the utility is also considering the demands in Kva of consumers in its license area. Hon’ble Commissions regulation as well as Retail supply tariff order also prescribes demand charges to be paid on demand recorded in Kva only. In view of the same it is humbly submitted by the utility to bill and collect demand charges on the basis of Kva for all the three phase consumers with static meters to avoid disparity among the consumers.

# Demand Charges and Monthly Minimum Fixed Charges

The Utility submits that 90% of the Distribution costs are fixed cost in nature. The distribution cost of the License which is a fixed cost has increased many folds during the recent years, the said cost normally required to be recovered from the Demand Charges. The fixed cost of the power procurement by way of payment towards capacity charges has also increased during last few years. The revenue recovery on account of the demand charges and monthly minimum fixed charges is approximately Rs.312 crore for the ensuing year at the existing tariff whereas the fixed distribution cost is around Rs.532 crore (Employee cost, R&M, A&G and Interest cost) which is more than ½ half  of the amount of recovery.

In view of the above, the Utility proposes to recover the full fixed distribution costs by suitably revising the Demand charges and monthly minimum fixed charges as proposed in earlier section , as applicable to the respectively category during the ensuing year.

# Introduction of Monthly Minimum billing commensurate with connected load.

It is observed that most of the consumers are being billed less than 30 units per month even though their connected load is more than 2 Kw, which is equivalent to consumption specified for kutir jyoti category of consumers. Presently, tariff for Kutir jyoti category is Rs.80 per month. When a consumer whose connected load is more than 1 kw and consuming less than 30 kwh p.m. and some times less than 20 kwh p.m. citing actual consumption as per meter reading are being billed less than that of kutir jyoti category. As a result revenue of the Utility is badly affected. Further, in absence of any fixed monthly units to be billed, consumers are trying to consume with less units for few months and subsequently enjoying the status of average billing by making the meter forced defective. On many occasions meter readers are taking suppress readings months together and on scrutiny when it is found that proper reading has not been taken, with dishonest activity meter is being made defective as a result the Utility is sustaining huge financial loss. Due to shortage of man power as well as meters it is becoming difficult to replace the meter immediately. To arrest such activity it is humbly submitted that Hon’ble Commission may kindly be fixed monthly minimum kwh consumption commensurate with connected load even if when meter is working. Introduction of minimum billing will also discourage many consumers to pilferage electricity as they have to go for minimum guaranteed consumption.

# Continuation of bi-monthly billing

Presently monthly billing in rural areas is not cost effective considering the rate being charged by billing agency per bill vis-à-vis the amount billed to such subsidized category of consumers. Sometimes meter readers are trying to generate bills without moving to the consumer premises which is also not solving the basic purpose of monthly billing. Therefore to avoid such practices the utility may be permitted to adopt bi-monthly billing system to save extra A&G cost as well as to ensure effectiveness of billing and serving the same to consumer at least where the billing amount as well as consumer coverage is low. OERC (conditions of supply code), 2004 also permits the Utility to make bimonthly billing.

# Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.

Presently, the utility is having outstanding of more than Rs.1300 crores under LT non industrial category as on 30th Sep-2015. Out of the same more than Rs.500 crs are under disconnected category. Most of the consumers, after accumulation of huge outstanding are trying to get another connection and putting the other one under Permanently Disconnected Consumers (PDC). The utility is also suffering from huge financial loss on account of low collection efficiency and coverage in Domestic and Commercial category of consumers. Hon’ble Commission has also directed to conduct receivable audit of the outstanding amount as on 31.03.2015 of the utilities through Charted Accountant and Cost accountants. Accordingly, appointment letter has already been issued and audit work is under progress. Considering the same, it is submitted before Hon’ble commission to approve an arrear collection scheme for LT non industrial category of consumers in line with OTS scheme earlier approved for FY 2011-12. Depending upon the outstanding and paying ability of the consumer’s 6 to 12 monthly installments may be fixed to clear the outstanding and avail benefit of withdrawal of DPS and certain percentage of waival on outstanding amount. As a result cash flow of the Utility will improve and able to clear its outstanding dues to GRIDCO as well as Employees terminal liabilities.

# Special rebate for consumers availing monthly rebate under LT category of Consumers

To improve collection efficiency under LT category the utility is submitting before Hon’ble Commission to approve a special rebate to those LT categories of consumers who are availing monthly rebate on prompt payment of monthly energy bills may also be permitted to avail a special rebate equivalent to the highest rebate availed during the financial year. The special rebate shall be credited after the end of the financial year if the consumer has availed rebate during last one year without fail.

# Other Issues

# Rebate on Prompt Payment

In the BSP Order for the  financial year 2014-15, the Hon`ble Commission directed that the Utility is entitled to avail a rebate of 2% for prompt payment of BST bill on payment of current BST in full within two working days of presentation of BST Bills and 1% is paid within 30 days.  Further, the Hon’ble Commission had directed to pay the rebate to all consumers except domestic, general purpose, irrigation and small industry category, if payment is made within three days of presentation of bill and fifteen days in case of others.

Considering the above, it is prayed before the Hon’ble Commission to approve the rebate of 2% to the Utility for prompt payment towards BST bills including part payments within 3 (three) working days from the date of presentation of the BST bill and in case the BST bill is paid after 3 (three) days the rebate should be proportionately allowed to the extent of payment made within 30th day @1% akin to Rebate Policy on Rebate is provided to GRIDCO by NTPC. The graded rebate may be allowed accordingly on the payments made

Upto 60 days from the presentation of the bills.

It is further submitted that when utilities  are extending rebate on prompt payment to consumers on the current bill ( excluding all arrears), they are not being allowed rebate on prompt payment of current BSP bill on the pretext of arrears which are disputed. The Utilities pray for parity in treatment regarding rebate on prompt payment on current bill (excluding arrears)

In addition to above rebate may kindly be also permitted in case of part payment so that cash flow of the Bulk Supplier will improve and at the same time the utility would be tempted to remit the amount collected to GRIDCO to avail such benefit.

# Overdrawal beyond contract demand and charges thereof.

Over drawl penalty has been defined and fixed by the Hon’ble Commission from time to time in its Retail Supply Tariff order published for the respective Financial Year. As per the Retail Supply Tariff Order, the consumers more particularly the HT/EHT were being demanded over drawl penalty as fixed by the Hon’ble Commission, whenever they exceeds their agreed Contract Demand as mentioned in the power supply agreement.

While the matter stood thus, the Hon’ble Apex Court in Sitaram Rice Mill Supra case stipulated that “whenever a consumer commits the breach of the terms of agreement, regulation and the provisions of Act by consuming electricity in excess of the sanctioned and connected load, such consumer would be ‘in blame and under liability’ within the ambit and scope of Section 126 of the 2003 Act. The said stipulation of the Hon’ble Apex Court also been reiterated by the Hon’ble High Court of Odisha in SNM Bussiness case by quoting the observation made by the Hon’ble Apex Court in Sitaram Rice Mill case.

It is relevant to mention here in that, the Hon’ble Apex Court In Re Executive Engineer, SOUTHCO Vrs. Sri Seetaram Rice Mil, Civil Appeal No.8859 of 2011, para 58(2) of its judgment stipulated  that-

“Wherever the consumer commits the breach of the terms of the Agreement, Regulations and the provisions of the Act by consuming electricity in excess of the sanctioned and connected load, such consumer would be ‘in blame and under liability’ within the ambit and scope of Section 126 of the 2003 Act.”.

Further the Hon’ble Apex Court in Para 58(2) of the said judgment observed that

“The expression ‘unauthorized use of electricity means’ as appearing in Section 126 of the 2003 Act is an expression of wider connotation and has to be construed purposively in contrast to contextual interpretation while keeping in mind the object and purpose of the Act. The cases of excess load consumption than the connected load inter alia would fall under Explanation (b) (iv) to Section 126 of the 2003 Act, besides it being in violation of Regulations 82 and 106 of the Regulations and terms of the Agreement”.

Further the Hon’ble Court in Para (46) of the same judgment observed that

“xxx xxx consumption of electricity in excess of the sanctioned/connected load shall be an ‘unauthorized use’ of electricity in terms of Section 126 of the 2003 Act. This, we also say for the reason that overdrawal of electricity amounts to breach of the terms and conditions of the contract and the statutory conditions, besides such overdrawal being prejudicial to the public at large, as it is likely to throw out of gear the entire supply system, undermining its efficiency, efficacy and even increasing voltage fluctuations. xxx xxx”.

The above observation of the Hon’ble Supreme Court of India has also been reiterated in its judgment dated 17.05.2013 of the Hon’ble High Court of Orissa in Re Executive Engineer (Electrical), Central Electrical Division, NESCO, Balasore Vrs. Appellate Authority-cum-Dy. Electrical Inspector (T & D), Balasore and another, WP(C) No. 972 of 2012 with further clarification that paragraphs 523 and 539 of the tariff order dated 20.03.2010 of the OERC for the FY 2010-11 has nothing to do with making of assessment under Section 126 of the Act, where consumer used excess load than the contract demand.

In view of the aforesaid stipulation/observation of two judgment, although the consumer paid over drawl penalty for the excess load as per the RST Order, he is also liable to be assessed under Section 126 of the Act, 2003.

It is further relevant to mention herein that, the Hon’ble Commission has restricted NESCO for drawing more unit of energy as well as drawl of demand beyond the approved limit. If NESCO cross the limit it will be penalized heavily by the Commission since for such offences normal tariff will not be applicable.

Besides that, there were two prohibitions for consumption of excess power beyond the CD, in violation of Agreement. The Hon’ble Commission has prohibited for consumption of more power in peak hour and more than 120% of CD in off peak hour and secondly under Regulation-106 the consumer was prohibited to consume excess power than its approved CD.

So on a combined reading of the aforesaid prohibition clause under Supply Code-2004 and RST, it is unerringly go to show that even if the consumer was prohibited to consume power beyond CD at the same time vide RST order he was only allowed to draw power up to 120% of CD in off peak hour on the next day with a view to help the maintenance of better frequency profile and flattening of load curve.  So the word mentioned in the tariff order “next day” means for a limited purpose and not allowed to over draw power on continuous process. In other words the meaning “up to 120%” means beyond that limit is unauthorized.

Accordingly, when ever any consumers particularly the HT/EHT consumers have exceeded their approved CD continuously, NESCO very often gives a warning letter requesting the consumers to restrict its MD within its approved CD or enhance its CD as per its requirement, failing which action as deem fit would be taken up against it as per the Section 126 of the Electricity Act, 2003 as well as the stipulation made by the Supreme Court in Sitaram Rice Mill case. When the consumer in-spite of the notice/warning letter fails to restrict its MD within its CD, assessment proceeding has been drawn up and consumers are being requested to pay the assessment amount.

It may be noted that, assessment proceedings have been drawn up against large number of consumers as they fails to restrict their demand within approved CD and continuously over draw power in violation the provisions of the section 126 of the Electricity Act,2003 read with regulation 106 of the Supply Code and many such type of cases are also coming up. In those cases, assessment proceedings have been drawn up, out of which in some cases the consumers have paid the assessment amount but in other cases, being aggrieved upon such assessment proceeding, consumers have challenged said assessment proceeding in different forums, now at least more than fifty numbers of cases are being pending for adjudication in different forum. The primary contention of the consumer is that, when they have already paid the over drawl penalty @ 250 per KVA on account of over drawl as per the provision of RST order, again making assessment u/s 126 of the Act for such over drawl is not acceptable.

In this regard it is submitted that, the above two judicial pronouncement have clarified the entire ambiguity with regard to the fact that, assessment can be made as per the 126 of the Electricity Act if there is excess consumption than the Contract Demand and even if over drawl penalty paid for such excess drawal as per the RST order.

Hence, basing upon the said clarification and provisions enumerated in the RST order as well as supply code, though there is a provisions for over drawl penalty in the RST order for demand charges but there is no provision for energy charges. For the sake of argument and not admitted, whenever the consumer over draw its approved CD, the consumer used to pay only over drawl penalty basing upon the demand charge but he never paid the energy charges as he consumed due to such over draw. In that, event the licensee sustained huge revenue as there is no such provision neither in supply code nor in RST order with regard to the over drawl penalty on actual energy consumption for which an ambiguity always come up between the licensee and consumer when issue of over drawl penalty arises, thereby unnecessary dispute raised whether the consumer will pay the penalty on consumption of actual energy on account of over drawal.

In view of the above, the NESCO humbly submitted that, the Hon’ble Commission considering all the aspect, may please be incorporated a provision in the RST order which would stipulate that, when ever any consumer over draw its approved CD, he may give penalty not only on the basis of demand charge but also on actual energy consumption, so that, there would not be any ambiguity between the consumer and licensee in future and also unnecessary dispute may be avoided.

# Revision of Interest Rate on Security Deposit

The utility has experienced that the Bank Rate has undergone changes in declining trend and the present rate passed on to the consumers on Security Deposit are much higher than the average bank rate throughout the financial year. The average bank rate announced may be taken while determining the interest rate.

# Formats

The following filled in formats will form a part of the ARR and Tariff Application for FY 2016-17  as annexures.

# Commercial/Technical  Formats T1-T9

# Financial Formats F1-F27

# Details Performance Formats (P1-P17) in Vol- II

# Prayer

In the aforesaid facts and circumstances, the Utility prays that the Hon’ble Commission may be pleased to:

- Take the ARR application and Tariff Petition on record.

- Approve the Annual Revenue Requirement for FY 2016-17 truing up of 1/3rd of the revenue gap  for FY 2015-16.

- Bridge the Revenue Gap for the FY 2016-17 through increase in Retail Supply Tariff, reduction in Bulk Supply Tariff (BST) wherever possible, grant of subsidy from the Government of Odisha as per Section 65 of the Electricity Act 2003.

Allow the following Tariff rationalisation measures as proposed

- Introduction of KVAH Billing

- Two part tariff be made applicable in respect of Emergency power supply category to Captive Power Plants (CPP).

- Extending of levy of penalty on energy charges when a consumer draws power more than its contract demands.

- Introduction of MMFC for Consumers with Contract Demand <110 KVA on the basis of MD recorded or connected load whichever is higher.

- Demand charges to be in KVa only instead of Kva/Kw.

- Applicability of Demand Charges for GP> 70KVA and < 110KVA and HT Industrial(M) supply

- 2% Rebate be allowed on payment of current monthly BST bills (excluding all arrears) within 3 days time instead of 2 working days and also to allow rebate on part payment of BST bills.

- Introduction of Amnesty arrear clearance scheme for LT non industrial category of consumer.

- Introduction of Minimum Billing mechanism, commensurate with connected load of the consumer.

- Continuation of bi-monthly billing in case of rural consumers where the billing and collection coverage is very low.

- Special rebate for consumers availing monthly rebate under LT category of Consumers

- Addressing of negative cash flow of Utility by giving special relief towards reduction of BST.

- Other Tariff rationalization measures as proposed in this application.

- Revision of interest on Security Deposit.

- Allow the Utility to submit additional documents, modify the present petition, if so required, during the proceeding of this application.

Any other relief, order or direction which the Hon’ble Commission deems fit.

By the Applicant

Through its Authorised Officer.

Dated: 30.11.2015

Place:  Bhubaneswar