Compliance to the Objections/Suggestions raised by M/s. GRIDCO, Ltd

on the ARR application of OHPC for the FY 2013-14

Para 1		Credit towards Colony Consumption:-

Consequent to the reform in the energy sector and unbundling of OSEB the old hydro power generating stations under erstwhile OSEB and Govt. of Odisha have transferred to OHPC w.e.f 01.04.1996.

Further, BHEP & RHEP are respectively over 39 years & 27 years old. As such, due to old power consuming equipments, the transformation loss is more than normative level.

Therefore, OHPC prays before the Hon’ble Commission to allow the actual consumption on account of auxiliary consumption and transformation loss without limiting to 1% of the Gross Generation as the efficiency of Generator Transformer of OHPC power stations are around 97%. CERC Norms for 0.5% of transformation loss is applicable w.e.f 01.04.04 but the G.T were installed long back with 97% efficiency which has no relevance to the present norms prescribed by CERC. Therefore it is justified to allow actual auxiliary and transformation loss instead of limiting to normative value of 1%.

Para 2		Reimbursement of SLDC Charges:-

OHPC agrees to the proposal of GRIDCO for inclusion of actual amount, as may be decided during finalization of ARR of SLDC.

Para 3		Reimbursement of ED on Auxiliary consumption:-

Auxiliary consumption of OHPC power stations remains firm at a particular level regardless of quantum of generation in order to make the unit available, as a result of which, OHPC is put to loss because of reimbursement of ED on monthly basis computed on 0.5% of actual generation or actual ED paid to Govt. whichever is lower.

It may be mentioned that the auxiliary consumption is at higher side when the machine capability is not optimized. The optimization of the machine capabilities depends upon the availability of water and grid demand. OHPC on its own cannot maximize the generation. Therefore, applicability of 0.5% auxiliary consumption on monthly basis and reimbursement of ED thereon is not applicable to OHPC Ltd.

So, Hon’ble Commission may allow monthly reimbursement of ED as per actual payment made by OHPC & subsequent Annual adjustment in the year end limiting to 0.5% of cumulative actual generation during the financial year instead of limiting to monthly Generation.

Para 4	Renovation & Modernisation:-

- HHEP, Burla:

Hon’ble commission vide his order Dt. 26.12.2012 disallowed the R, M & U works of unit#5 & unit#6 of HHEP and considered the retirement of  these Units in due course of time. OHPC has filed a review petition on Dtd 11.01.2013 against the above order, with a prayer to allow OHPC for taking up the R, M & U of Unit #5 & #6 of HHEP, Burla.

- CHEP, Chiplima:

The actual cost for R & M of unit#3 CHEP with new Turbine & Generator including IDC can only be properly evaluated after the tendering process. The outcome of the tendering process shall be submitted before the Hon’ble Commission for necessary approval.

- BHEP, Balimela:

The actual cost for R & M of unit#1 to 6 BHEP with new Turbines & Generators including IDC can only be properly evaluated after the tendering process. The outcome of the tendering process shall be submitted before the Hon’ble Commission for necessary approval.

Para 5		Proposed Capital works for FY 2013-14:

- The capital cost of Rs. 25.20 Crs. (approx.) shall be incurred for replacement of the damaged runner alongwith replacement of excitation & Governing system of Unit #2 of RHEP, Rengali with the retrofitting works of the same. After commissioning of Unit #2 of RHEP, Rengali; the actual expenditure shall be capitalised.

- The present office buildings at Burla & Mukhiguda are in dilapidated condition and are beyond repair. As such construction of new office buildings has been taken up. There are no staff quarters for the employees of OHPC at Bhubaneswar. So, there is a proposal for One Hundred Twenty One (121) Nos. of different types of staff quarters at Bhubaneswar. Similarly, there are requirement of Six (06) Nos. of ‘C’ Type & Eighteen (18) Nos. of ‘D’ Type quarters at HHEP, Burla. The interior furnishing works of Rengali Power House & Upper Kolab Power House have been proposed to recover the damaged civil portions inside the powerhouses.

Para 6		Repayment of Loan:-

In principle when the repayment of principal is more than depreciation @ 2.57% then, advance against depreciation is considered. Hon’ble commission has adopted this principle and allowed depreciation to OHPC in the previous years. OHPC prays before the Hon’ble Commission to allow the depreciation @ 2.57% of the up-valued asset or loan repayment whichever is higher. Accordingly, OHPC claimed depreciation for the FY 2013-14 in respect of RHEP, UKHEP, HHEP and CHEP are Rs. 7.48 Crs., Rs. 8.28 Crs., Rs. 8.37 Crs. & Rs. 5.33 Crs. respectively.

Para 7		Tariff for the FY 2013-14:-

OHPC pray before the Hon’ble commission for fixation of tariff of OHPC Power stations for the FY 2013-14 considering proposed revised Design Energy & up-valued cost of the assets. Hon’ble CERC vide its notification dated 31.12.2012 have changed the base rate for computation of ROE from 15.5% to 16.5%. As a result the revised rate of ROE is calculated as 20.627%. Accordingly, the revised average tariffs (p/u) for proposed four alternatives are shown below:

(in p/u)

| Alternatives Adopted | RHEP | UKHEP | BHEP | HHEP | CHEP | Sub Total | UIHEP | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alt – (i) | 78.49 | 35.37 | 71.15 | 92.55 | 52.22 | 65.62 | 80.53 | 70.77 |
| Alt – (ii) | 118.59 | 65.47 | 89.27 | 104.46 | 77.66 | 89.35 | 98.45 | 92.49 |
| Alt – (iii) | 61.51 | 45.06 | 90.65 | 100.89 | 71.25 | 75.26 | 92.73 | 81.32 |
| Alt – (iv) | 92.93 | 83.37 | 113.73 | 113.88 | 106.70 | 102.55 | 113.37 | 106.28 |

OHPC prays before the Hon’ble Commission to approve the tariff for the FY 2013-14 for OHPC power stations as per Alt. (iv) above with an average cost of energy as 106.28 p/u. However, if the up-valuation of assets is kept in abeyance for the FY 2013-14, tariff may be determined based on the Historical cost of assets and proposed revised Design Energy (Alt-iii).

Para 8	Machhkund Power House:-

As per the Clause No IX (a) of 1946 agreement, Govt. of Madras provided 70% & Govt. of Odisha provided 30% of the capital cost of Machhkund Joint scheme and there after Odisha was entitled  the share of 34.50MW which is 30% of the total installed capacity of 114.75MW. Further as per Clause No. 1(VI) of the above agreement, Odisha shall have the share of 57.375MW (i.e. 50% of the installed capacity) on payment of proportionate share of the capital cost less depreciation, which has not yet been decided. Since, GRIDCO is reimbursing the SLDC charges on account of power drawl from MHEP; OHPC has no objection if the Odisha share of MHEP is considered as 57.375MW in the ARR.

The tariff of MHEP is calculated on cost reimbursement basis. GRIDCO is drawing 30% of total available power towards Odisha share from MHEP, and sharing the O & M expenses based on the maximum demand utilized by Odisha. For the power drawl above 30% & upto 50%, GRIDCO is paying APGENCO the Energy Charges @ 8 p/u as per 1978 supplementary agreement between the two States.

The ARR & Tariff proposed for the FY 2013-14 based on the billed O & M Expenses of Rs. 6.48 Crs. excluding the royalty for the FY 2011-12 is correct.

Para 9	Bundling of Generation from renewable sources with that from existing hydropower stations for calculation of unit cost:-

As large projects are difficult to implement due to R&R problem, OHPC is putting its best efforts to generate power from Renewable sources namely-small hydro & solar. This will help our State to meet its RPO. But the unit cost of Generation from these sources is high compared to that from conventional hydro units from OHPC. The tariff per unit of OHPC power stations varies from 36 p/u to 92 p/u whereas the benchmark unit cost for SHEP is Approx. Rs. 4/unit and for SPP, it is Rs. 10/unit. Therefore, bundling may be allowed in principle to the extent of 5% of the Design Energy of OHPC with other renewable energy sources to have competitive cost per unit.

GRIDCO in its objection stated that Hon’ble CERC allowed M/s NTPC to bundle the Solar Power as they are meeting the PLF of 85% and this bundling is allowed by MoP, out of 15% un-allocated quota. The above statement is untrue as meeting 85% PLF and allocation of 15% unallocated quota are both different aspect. As per the present system, MoP allocated power from 15% unallocated quota to bundle the solar power, similarly in case of OHPC Hon’ble Commission to allocate only 85% of generation to GRIDCO through PPA route and balance 15% may be allowed as bundled power with Solar or Renewable power like MoP and CERC.

Para 10	Less recovery of ARR:-

Considering the present scheduling of generation for the period from January, 2013 to March, 2013 (upto 31.03.2013) there will be a shortfall in generation of 1189 MU approximately in respect of UIHEP, BHEP & UKHEP taken together as prepared jointly with DOWR. Thus, the non-recovery of energy charges shall be around Rs. 37.95 Crs. instead of Rs. 34.72 Crs. submitted in the original ARR application. This shortfall in the FY 2012-13 may please be compensated.

Regarding shortfall of energy charges on account of Hydrology failure, OHPC may be compensated as per the provision made by Hon’ble CERC in its Regulations, (Terms & Conditions of Tariff) 2009 at Clause No. 22 (6)(i) & (ii).

Director (Operation)