BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

#### B H U B A N E S W A R

Filing No.

Case No.

IN THE MATTER OF:	An application for wheeling charges, surcharges and additional surcharges for the Financial Year 2015-16 under the Electricity Act – 2003 and in conformity with Section 4-(1)(XIV), (2)(VII) & (3)(VI) of OERC (Determination of Open Access charges) Regulations – 2006 & OERC (Terms and conditions of Open Access) Regulations - 2005.

##### AND

##### IN THE MATTER OF:	Chief Executive Officer, Central Electricity Supply Utility of Odisha (CESU), 2nd Floor, IDCO Towers, Janpath, Bhubaneswar –   751 022.

…….Applicant

THE HUMBLE APPLICANT ABOVE NAMED MOST REPSPECTFULLY SHEWETH:

1.	That the Central Electricity Supply Utility of ODISHA is required to file the application for approval of Open Access Charges for the FY 2015-16 as per Clause–4 of OERC (Determination of Open Access Charges) Regulation 2006.

2.	That CESU has submitted the Annual Revenue Requirement (ARR) and the Retail Supply Tariff (RST) application for the FY 2015-16 before the Hon’ble Commission for consideration.

3.     	That for calculation of Open Access charges for the FY 2015-16, the projected figures for sales of energy, power purchase and distribution cost for FY 2015-16 are taken into consideration.

4.	That the surcharge for Open Access by HT/EHT consumers are  computed considering the approved Retail Supply Tariff for the FY 2014-15.

Cont’d…..P/2.

- 2 -

5.	That for determination of Open Access charges for the FY.2015-16, Retail Supply Tariff that would be approved  by the Hon’ble Commission for FY.2015-16 may be considered.

P R A Y E R

In view of the above, it is respectfully prayed that the Hon’ble Commission may kindly be pleased to:

I.	Accept Open Access charges application of the applicant.

II.	Approve Open Access charges of the Utility for the FY 2015-16.

III.	Grant any other relief as deemed fit and proper in the eyes of law.

And for this act of kindness the applicant as in duty bound shall ever pray.

Bhubaneswar                                       BY THE APPLICANT THROUGH

Date:   .12.2014

(SUSHIL KUMAR POPLI)

CHIEF EXECUTIVE OFFICER

APPLICATION FOR OPEN ACCESS CHARGES FOR FY 2015-16

CESU being a distribution licensee for Central Zone Electricity Distribution network of Orissa is required to submit proposal for approval of Open Access charges before the Hon’ble Commission for the FY 2015-16 as per the provisions of sub Section (2), (3) & (4) of Section 42 of I.E. Act 2003 , OERC (Terms & Conditions for Determination of Tariff) Regulations – 2004, OERC (Terms and conditions for Open Access) Regulation, 2005 and OERC (Determination of Open Access Charges) Regulation, 2006. Any customer under the license area of CESU intending to avail one MW or more power from any other Utility or generator availing open access  facility of distribution network of the Licensee may do so, by paying Open Access Charges applicable from time to time. This application is for approval of open access charges for FY 2015-16. For determination of open access charges the Financial Year 2015-16, the Licensee considered following figures of its ARR application for FY 2015-16.

- Projected distribution cost.

- Estimated bulk energy purchase and sales to different category of consumers

availing supply in LT/HT/EHT network.

- Proposed retail tariff for all categories of consumers.

- Retail & bulk supply tariff approved for FY 2014-15.

Further the computations of Open Access Charges are based on following assumptions which are justified and incumbent to the Electricity distribution system.

1.	The Open Access charges are applicable to both long-term and short-term customers.

2.	Open Access applicants requiring load more than 1MW are only envisaged in this application. Load below 1 MW is not considered as this does not appear in Section 11 “Phasing of Open Access” in OERC (Terms & Condition of Open Access) regulations 2005.

3.	Wheeling charge is payable to avail Open Access to HT network only. (33KV or 11KV)

4.	Distribution cost for CESU for FY 15-16 is taken as per the estimated figure proposed in ARR for the FY 2014-15.

5.	For surcharge calculation Avoided Cost method is adopted as per recommendations of Forum of Indian Regulators.

6.	Bulk tariff, transmission & SLDC charges are as approved for FY 2014-2015.

7.	Approved loss level in EHT and HT for FY 2014-15.

8.	Power factor at normative level of 90%.

9.	Open Access for LT customers not envisaged as load above 1 MW need to be availed in HT as per section 76 (3) of OERC (Distribution Conditions of Supply) Code 2004.

1.	Wheeling charge:

The Licensee estimated following bulk power purchase and Sales to customers at different voltage level for FY 2015-16.

- Bulk Power Purchase – 9451.10 Million Units.

- Sale to EHT customers—1652.41 Million Units.

- Sale to HT customers—1120.16 Million Units.

- Sale to LT customers—3670.53 Million Units

Total unit to be wheeled in the distribution network of CESU is equal to 7798.69 MU i.e. total power purchase minus the EHT sales.

Distribution cost for the Financial Year 2015-16 is tabulated below;

| Sl.No. | Particulars | (Rs.in crores) |
| --- | --- | --- |
| 1 | Employee cost | 358.14 |
| 2 | Repair & Maintenance cost | 135.47 |
| 3 | Administrative & General Expenses | 95.77 |
| 4 | Interest & Finance cost | 192.21 |
| 5 | Bad debt provision | 21.44 |
| 6 | Return on equity | 11.64 |
| 7 | Depreciation | 128.35 |
| 8 | Discount to Consumer | 66.64 |
|  | Total: | 1009.66 |

For calculation of distribution cost in LT & HT network 80% of total expenditure is considered. Hence wheeling charge per unit = [Rs.1009.66Crs X 80%] / [7798.69 MU] = 103.57 paise or say 104 paise per unit.

So, CESU proposes wheeling charge of 104 paise per unit for Open Access HT customers for the FY 2015-16.

2.	Cross subsidy surcharge:

For HT Open Access consumers:

The basic principle of surcharge to be levied on open access customers is to compensate the incumbent utility for the revenue loss due to migration of the existing customer to another utility/CGP/IPP or any other party.

From HT consumer revenue earning per unit to CESU is equivalent to differential of rate of sale per unit and sum of BST price, transmission & SLDC charge appropriated with distribution loss in HT.

Distribution loss in HT network is proposed to be 8% for the FY 2015-16 and transmission loss at 3.75% as approved in the transmission tariff order for the FY.2014-15.

Revenue earning is computed at 100% load factor only as open access consumers are allowed to avail open access power round the clock and which is shown in the following table.

|  | Demand Charge (Rs./ KVA) | Normal Energy charges. <=60% (P/KWH) | Normal Energy charges. >60% (P/KWH) | Power factor |  |
| --- | --- | --- | --- | --- | --- |
| Existing Tariff Rate | 250 | 505 | 400 | 0.9 |  |
| CD (KVA) | Incremental L.F (%) | Max units per month | Avg. energy charge rate | Demand charge component | Total rate |
|  |  | Units (KWH) | (P/KWH) | (P/KWH) | (P/KWH) |
| 1 | 100 | 657 | 463.00 | 38.05 | 501.05 |

Surcharge (S) applicable for HT category of consumers is calculated as per following formula in compliance to Section (2) ‘Surcharge” of OERC (Determination of Open Access Charges) Regulations 2006:

S = T -  C (1+L/100) +D+E

Where T – Sale rate/unit to the consumer (501p)

C – Bulk Supply Purchase rate/unit (265p)

L – Approved HT Distribution loss in percentage (8%)

D – Transmission charge/unit (25p)

E- SLDC Charges/ unit (0.16 p)

Applying the above formula rate of cross subsidy surcharge is calculated as 190Paisa/ unit.

The above rate is applicable to following category of consumers.

- General Purpose >70KVA

- Specified Public Purpose

- Public Water Works sewerage pumping

- Large Industry

- Power Intensive Industry

- Mini Steel Plant

- Railway Traction

Further, for Emergency Supply to CGP/ IPP category of consumers the surcharge is calculated to 389p/unit for HT consumers based on the similar principle.

For irrigation, Allied agriculture activities and Allied Agro Industrial activities categories, open access surcharges are not envisaged since, the RST rates are highly subsidized and Open Access is not a viable proposal.

For EHT Open Access Consumers:

Surcharge is applicable to the following category of consumers;

- General Purpose.

- Large Industry.

- Railway traction.

- Heavy Industry.

- Power Intensive Industry.

- Mini Steel Plant.

Sales rate per unit is computed at 100% load factor and which is tabulated below:

|  | Demand Charge (Rs./ KVA) | Normal Energy charges. <=60% (P/KWH) | Normal Energy charges. >60% (P/KWH) | Power factor |  |
| --- | --- | --- | --- | --- | --- |
| Tariff rate | 250 | 500 | 395 | 0.9 |  |
| CD (KVA) | Incremental L.F (%) | Max units per month | Avg. energy charge rate | Demand charge component | Total rate |
|  |  | Units (KWH) | (P/KWH) | (P/KWH) | (P/KWH) |
| 1 | 100 | 657 | 458.00 | 38.05 | 496.05 |

Surcharge(S) =T-(C+D+E)

Where T- sales rate per unit (496p)

C-BST rate for CESU / per unit  (265p)

D-Transmission Charge / unit (25p)

E- SLDC Charges / unit (0.16p)

Hence surcharge applicable to the above EHT category of open access consumers is calculated as per above formula amounting to 206paisa per unit.

Further, for Emergency Supply to CGP/ IPP category of consumers the surcharge is calculated to 405p/unit for EHT consumers based on the similar practice.

- Additional Surcharge:

At present two numbers of EHT consumers are availing open access power under CESU’s area of supply. In a particular case open access surcharge is not applicable since it is availing open access power from his own CGP situated outside the jurisdiction of the Licensee. As per Clause -3 of OERC (Determination of open access charges) Regulation-2006, additional surcharge is payable by the open access consumers to meet the fixed cost of the distribution licensee. The following methodology is adopted to arrive at the cost of additional surcharge.

- The fixed asset cost for the FY.2013-14 as approved by the commission in RST order for the FY.2014-15 i.e Rs.1219.39 Crores.

- The life cycle of the asset is taken as 20years.

- Total unit to be wheeled in the distribution network of CESU excluding the EHT sales is equal to 7798.69 MU i.e. total power purchase minus the EHT sales.

Additional Surcharge = (Approved asset cost as on 01.04.2014/ life cycle of asset considered)/ Total unit to be wheeled in the distribution network of CESU excluding the EHT sales

= (1219.39Cr/20year)/7798.69MU = 7.82Paisa.

The additional surcharge is payable by all the open access consumers in addition to other charges on the open access consumption.

From current financial year two EHT consumers are migrated to Eastern Regional Power Grid from the Licensee’s area. The Licensee is yet to be compensated on loss of EHT sales.

The Licensee need to recover minimum fixed cost from all Open Access Customers whether they avail power from own CGP or any other Utility.

Hence additional surcharge of 7.82 paise per unit may be allowed to be levied on all open access customers.

4.	Scheduling & System operation charges:

Intra state ABT regulations are applicable to all HT & EHT consumers availing supply with load of 5 MVA and above. Such consumers when apply for long or short term open access are liable to pay scheduling and operation charges for effecting each change in scheduling.

CESU proposes that a sum of Rs.2000/ day or part thereof may be paid by all open access customers.

5. 	Reactive Energy charges:

Reactive energy charges when applicable will be levied on all Open Access consumers.

6. 	Miscellaneous charges:

Meter rent & customer charges applicable to EHT & HT consumers shall be borne by all Open Access consumers.