## Index
Checklist of Forms and other information/ documents for tariff filing for
Name of Utility / Company
Form No. | Title of Tariff Filing Form | Tick
Form 1.1 | Summary of Tariff Proposal(Thermal) | √
Form 1.2 | Summary of Tariff Proposal(Hydro) | NA
Form 2.1 | Plant Characteristics | √
Form 2.2 | Details of COD, Type of hydro station, Capacity Index, Primary energy rate | NA
Form 2.3 | Salient Features of Hydroelectric Project | NA
Form 3.1 | Planned & Forced Outages | √
Form 4.1 | Revenue from Sale of Power (Previous year actual) | √
Form 5.1 | Non Tariff Income | √
Form 6.1 | O&M Expenses | √
Form 6.2 | Fixed Assets and Depreciation | √
Form 6.3 | Calculation of Interest on Loans | √
Form 6.4 | Calculation of Interest on Working Capital Loan | √
Form 7.1 ( C ) | Details/Information to be Submitted in respect of Fuel for Computation of Energy Charges for FPA(Coal) | √
Form 7.1 ( O ) | Details/Information to be Submitted in respect of Fuel for Computation of Energy Charges for FPA(Oil) | √
Form 7.2 | Energy Charges for Thermal Generation | √
Form 8.1 | Break-up of Capital Cost for Coal based projects | NA
Form 8.2 | Break up of Capital cost for hydro power generating station | NA
Form 8.3 | Break up of Capital Cost for Plant & Equipment(Hydro) | NA
Form 8.4 | Statement of Additional Capitalisation after COD | √
Form 8.5 | IDC Planned and actual | NA
Form 8.6 | Details of Foreign loans / Equity | NA
Form 8.7 | Deign energy and peaking capabilty (monthwise)- ROR with Pondage/Storgae type new stations | NA
Form 8.8 | Deign energy and MW Continuous (monthwise)- ROR type new stations | NA
Form 9 | Year End Charges | √
NA- Not Applicable
Other Information/ Documents
Sl. No. | Information/Document | Tick
1 | Certificate of incorporation, Certificate for Commencment of Business, Memorandum of Association, & Articles of Association ( For New Station setup by a company making tariff application for the first time to OERC) | NA
2 | Stationwise and Corporate audited Balance Sheet and Profit & Loss Accounts with all the Schedules & annexures on COD of the Station or the new station for the relevant years. | √
3 | Copies of relevant loan Agreements | NA
4 | Copies of the approval of Competent Authority for the Capital Cost and Financial package. | NA
5 | Copies of the Equity participation agreements and necessary approval for the foreign equity. | NA
7 | Copies of the BPSA/PPA with the beneficiaries, if any | √
8 | Detailed note giving reasons for time and cost over run, if applicable. | NA
9 | Details of SBI Base rate taken for calculation | √
10 | Any other relevant information, in any to be specified | √
Note: Electronic copy in the form of CD/Floppy disc shall also be furnished.

## Form 1.1
Form 1.1
Summary of Tariff Proposal (Generation Thermal)
Name of the Utility / Company : Odisha Power Generation Corporation Limited
Name of the Thermal Power Station: IB Thermal Power Station
(Rs. In Crore)
S.No. | Particulars | Reference
2016-17
1 | 2 | 3 | 4
A | Fixed Charge
1 | O & M Expenses | Form 6.1 | 120.0196
2 | Depreciation | Form 6.2 | 0
3 | Interest on Term Loans & Fin. Charges | Form 6.3 | 0
4 | Interest on Working Capital Loans | Form 6.4 | 16.5566
5 | Recovery of ARR & Tariff Petition Fees*(included in Year End Charges) |  | 0
6 | Return on Equity |  | 72
7 | Total Fixed Charge |  | 208.5763
8 | Less: Non-Tariff Income | Form 5.1 | 0
9 | Net Fixed Charge |  | 208.5763
B | Variable Cost | Form 7.2 | 360.7893
C | Year End Charges excluding additional capitalisation | Form 9 | 101.7982
D | Reimbursement of Additional Capitalisation | Form 9 | 95.65
D | Total Cost |  | 766.8137
D | Unit Sold to Discoms in MU | Form 7.2 | 2712.2534
E | Rate of Fixed Charge(Paisa/kwh) |  | 76.9015
F | Rate of Variable Charge(Paisa/kwh) | Form 7.2 | 133.022
G | Rate of Sale of Energy (Paisa./kwh) |  | 209.9234
H | Rate of Year End Charges (paisa/kWh) |  | 37.5327
I | Reimbursement of Additional Capitalisation (paisa/kWh) |  | 35.2659
J | Total Rate of Sale of Energy (Paisa./kwh) |  | 282.722

## Form 2.1
Plant Characteristics (Generation)
Name of the Utility / Company : Odisha Power Generation Corporation Limited
FORM 2.1
Name of the Thermal Power Station: IB Thermal Power Station
Basic characteristics of the plant1 | 420 MW subcritical once through steam genertaor
Special Features of the Plant
Site Specific Features2 | MGR of 7 Km, Intake channel from Mahanadi Coalfields Limited
Special Technological Features3
Environmental Regulation related features4 | ESP upgradation work completed in one unit and under constuction for other Unit
Any other special features
Fuel Details5 | Primary Fuel | Secondary Fuel | Alternate Fuels
| COAL | LDO& HFO
Details | Module number or Unit number
1 | 2 | 5 | 8
| Unit # 1 | Unit # 2 | Unit # 3
Installed Capacity (IC) MW | 210 | 210 | NA
Date of Commercial Operation (COD) | 1996 | 1997 | NA
Type of cooling system6 | Closed Circuit Cooling
Type of Boiler Feed Pump7 | Motor Driven
Pressure (kg/cm2)
Temperature 0C
-At Superheater Outlet
-At Reheater Outlet
Guaranteed Design Heat rate (kCal/kWh)8
Conditions on which guaranteed
% MCR
% Makeup
Design Fuel
Design cooling water Temperature
Back Pressure
1 Describe the basic characteristics of the plant e.g. in the case of a coal based plant whehter it is a conventional steam generator or circulating fludized bed combustion generator or sub-critical once through steam generator etc.
2 Any site specific feature such as Merry-Go-Round, Vicinity to sea, Intake /makeup water systems etc. scrubbers etc. Specify all such features.
3 Any Special Technological feature like Advanced class FA technology in Gas Turbines, etc.
4 Environmental regulation related features like FGD, ESP etc.
5 Coal , oil etc.
6 Closed circuit cooling, once through cooling, sea cooling etc.
7 Motor driven, Steam turbine driven etc.
8 In case guaranteed unit heat rate is not available then furnish the guaranteed turbine cycle heat rate and guaranteed boiler efficiency separately along with condition of guarantee.

## Form 2.2 (hidden)
Details of COD, Type of hydro station, Capacity Index, Primary energy rate
Name of the Utility / Company : ________________________ |  |  |  | FORM-2.2
Name of the Thermal Power Station:_____________________
Sl. No. | Description |  | As per OERC (Terms and Conditions for Determination of Generation Tariff) Regulations, 2014
1 | Installed Capacity | MW
2 | Free power to home state | %
3 | Date of commercial operation
Unit-1
Unit-2
Unit-3
4 | Type of Station
a) Surface/underground
b) Purely ROR/ Pondage/Storage
c) Peaking/non-peaking
d) No. of hours of peaking
e) Overload capacity(MW) & period
5 | Type of excitation
a) Rotaing exciters on generator
b) Static excitation
6 | Design Energy (Annual)1 | Gwh
7 | Auxiliary Consumption | %
8 | Transformation losses | %
9 | Primary Energy Rate | paise/Kwh
10 | Primary Energy Charge | Rs. in crore
11 | Capacity Index
Normative value
1 Monthwise Design energy figures to be given separately with the petition.
PETITIONER

## Form 2.3 (hidden)
Salient Features of Hydroelectric Project
Name of the Utility / Company : ________________________ |  | FORM-2.3
Name of the Thermal Power Station:_____________________
1. Location
State/Distt.
River
2. Diversion Tunnel
Size, shape
Length
3. Dam
Type
Maximum dam height
4. Spillway
Type
Crest level of spillway
5. Reservoir
Full Reservior Level (FRL)
Minimum Draw Down Level (MDDL)
Live storage (MCM)
6. Desilting Arrangement
Type
Number and Size
Particle size to be removed(mm)
7. Head Race Tunnel
Size and type
Length
Design discharge(Cumecs)
8. Surge Shaft
Type
Diameter
Height
9. Penstock/Pressure shafts
Type
Diameter & Length
10. Power House
Type
Installed capacity (No of units x MW)
Peaking capacity during lean period (MW)
Type of turbine
Rated Head(M)
Rated Discharge(Cumecs)
11. Tail Race Tunnel
Diameter, shape
Length
Minimum tail water level
12. Switchyard
Type of Switch gear
No. of generator bays
No. of Bus coupler bays
No. of line bays
Note: Specify limitation on generation during specific time period on account of restriction(s) on
water use due to irrigation, drinking water, industrial, environmental considerations etc.
PETITIONER

## Form 3.1
Planned & Forced Outages
Name of the Utility / Company : Odisha Power Generation Corporation Limited | [7 empty] | FORM-3.1
Name of the Thermal Power Station: IB Thermal Power Station
Year Ending March 2017
(Rs. In Crore)
S.No. | Particulars | Reference | Previous year as actual | Current Year |  |  | Control Period as per OERC (Terms and Conditions for Determination of Generation Tariff) Regulations, 2014
|  |  |  | (Actual) Till Sept | ( Anticipated) Oct to Mar | ( Anticipated) Current year | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
| 1 | 2 | 3 | 4 | 5 | 6 = 4+5 | 7 | 8 | 9 | 10 | 11
| 1 | Unit 1
| A. | Planned Outages
|  | No of days of outage | [6 empty] | 0
|  | Number of Outage | [6 empty] | -
|  | Reasons for Outage | [6 empty] | -
| B. | Forced Outages
|  | No of days of outage | [6 empty] | 0
|  | Number of Outage | [6 empty] | -
|  | Reasons for Outage | [6 empty] | -
| 2 | Unit 2
| A | Planned Outages
|  | No of days of outage | [6 empty] | 21
|  | Number of Outage | [6 empty] | 1
|  | Reasons for Outage | [6 empty] | Minor Annual Overhauling
| B | Forced Outages
|  | No of days of outage | [6 empty] | 0
|  | Number of Outage | [6 empty] | -
|  | Reasons for Outage | [6 empty] | -

## Form 4.1
Revenue from Sale of Power (2016-17 Estimated)
Name of the Utility / Company : Odisha Power Generation Corporation Limited | [7 empty] | FORM-4.1
Name of the Thermal Power Station: IB Thermal Power Station
Year Ending March 2017
Sl. No. | Particulars | Reference | Allocation | Unit Sold | % of total | Demand/ Fixed Charges | Energy Charges | Fuel & cost adjustment charges | Year End Charge | Total | Average Rate (paisa/ kWh)
(in % )/
contract
demand
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11=7+8+9+10 | 12
1 | Revenue from sale of Electricity |  | 100% | 2712.2534 | 100% | 208.5763 | 360.7893 | 43.2947 | 58.5035 | 671.1637 | 247.4561
(as per proposed tariff)
1.1 | GRIDCO |  | 100% | 2712.2534 | 1 | 208.5763 | 360.7893 | 43.2947 | 58.5035 | 671.1637 | 247.4561
5 | Net revenue |  |  |  |  | 208.5763 | 360.7893 | 43.2947 | 58.5035 | 671.1637 | 247.4561

## Form 5.1
Non-Tariff Income
Name of the Utility / Company : Odisha Power Generation Corporation Limited |  |  | FORM-5.1
Name of the Thermal Power Station: IB Thermal Power Station
Year Ending March 2017
S.No. | Particulars | Reference
2016-17
| 1 | 2 | 3
A) | Other Non tariff income
1 | Int. on loans and advances to employees |  | 0
2 | Int. and other income from investments and deposits |  | 0
3 | Income from sale of scrap |  | 0
4 | Int. on subvention received from govt. |  | 0
5 | Income from sale of power to its staff |  | 0
6 | Income from sale of ash |  | 0
7 | Miscellaneous receipts |  | 0
| Total |  | 0
* Non-Tariff Income is not applicable as per Bulk Supply Agreement signed between OPGC and GRIDCO

## Form 6.1
O&M Expenses
Name of the Utility / Company : Odisha Power Generation Corporation Limited |  |  | FORM 6.1
Name of the Thermal Power Station: IB Thermal Power Station
S.No. | Particulars | Units | 2016-17
1 | O&M Expnese norms for Unit (per MW) | Rs. Cr. | -
2 | No of Units | No. | 2
3 | O&M expense in Rs. Cr | Rs. Cr. | 120.0196
4 | Allocation of corporate O&M Expense % | % | 0
5 | Allocation of corporate O&M Expense in Rs. Cr | Rs. Cr. | 0
6 | Total O&M expense | Rs. Cr. | 120.0196
O&M Expenses Computation for OPGC
S.No. | Particulars | Units | 2016-17
1 | Capital Cost of Project considered for O&M Expenses as per Amended PPA | Rs. Cr. | 1030
2 | O&M Expenses for first year @ 2.5% of Capital Cost | Rs. Cr. | 25.75
3 | Escalation rate | % | 8%
4 | O&M Expenses | Rs. Cr. | 120.0196

## Form 6.2
Fixed Assets and Depreciation
Name of the Utility / Company : Odisha Power Generation Corporation Limited | [12 empty] | FORM-6.2
Name of the Thermal Power Station: IB Thermal Power Station | [9 empty] | Year Ending March 2017
(Rs. In Crore)
2016-17 Estimated
S.No. | Assets Group | A/c Code | Rate of Depriciation | Gross fixed Assets |  |  |  | Provisions for depreciation |  |  |  | Net fixed Assets
|  |  |  | At the beginning of the year | Additions during the year | Adjust. & deductions | At the end of the year | Cumulative upto the beginning of the year | Additions during the year | Adjust. during the year | Cumulative at the end of the year | At the beginning of the year | At the end of the year
1 | Land & Land Rights
2 | Building & Civil Works of Power Plants |  | Details not available
3 | Hydraulic Works
4 | Other Civil Works
5 | Plant & Machinery
6 | Lines & Cable Net work
7 | Vehicles
8 | Furniture & Fixtures
9 | Office Equipments
10 | Capital Spares
11 | Others
TOTAL

## Form 6.3
FORM- 6.3
Calculation of Interest on Loans
Name of the Utility / Company : Odisha Power Generation Corporation Limited
Name of the Thermal Power Station: IB Thermal Power Station
(Rs. in Crore)
Sl. No | Particulars | 2016-17
1 | 2 | 3
A | Total Loan
1 | Gross loan - Opening | 610
2 | Cumulative repayments of Loans upto previous year | 610
3 | Net loan - Opening | 0
4 | Receipts during the year | 0
5 | Repayment during the year | 0
6 | Net loan - Closing | 0
7 | Average Net Loan | 0
8 | Rate of Interest on Loan | 0
9 | Interest on loan | 0
10 | Add : Finance Charges | 0
11 | Less: Interest During Construction | 0
12 | Total Interest on Loan | 0
1 In case of Foreign Loans, the calculations in Indian Rupees is to be furnished. However, the calculations in Orginal currency is also to be furnished seperately in the same form.

## Form 6.4
FORM-6.4
Calculation of Interest on Working Capital Loan
Name of the Utility / Company: Odisha Power Generation Corporation Limited
Name of the Thermal Power Station: IB Thermal Power Station
(Rs. In Crore)
Sl. No. | Particulars | Norms considered | 2016-17
1 | Coal Cost ( Non pit head) | - | 0
2 | Coal Cost ( Pit head) | 1.5 months | 33.8293
3 | Sec.Fuel Oil | 2 months | 5.4536
4 | Liquid Fuel Stock | - | 0
5 | O & M expenses | 1 month | 10.0016
6 | Maintenance Spares | - | 0
7 | Recievables | 2 months | 85.322
8 | Working capital Loan Requirement |  | 134.6066
9 | Rate of Interest |  | 12.3%
10 | Interest on Working Capital |  | 16.5566

## Form 7.1 (C)
FORM 7.1 (C )
Details/Information to be Submitted in respect of Fuel for Computation of Energy Charges for FPA
Name of the Utility / Company : Odisha Power Generation Corporation Limited
Name of the Thermal Power Station: IB Thermal Power Station
S.No | Month | Unit | 2015-07-01 | 2015-08-01 | 2015-09-01 | Quarterly Average
|  |  | Domestic coal | Domestic coal | Domestic coal | Domestic coal | Imported coal | Gross
1 | 2 | 3 | 4 | 6 | 8 | 10 | 11 | 12
1 | Quantity of coal in stock at the beginning of the month | (MMT) | 176952.71 | 144032.51 | 112157.61
2 | Quantity of Coal supplied by Coal Company | (MMT) | 179384.8 | 222086.1 | 274741.6
3 | Adjustment (+/-) in quantity supplied made by Coal Company for diversion of wagons etc. | (MMT) | 0 | 0 | 0
4 | Coal supplied by Coal Company (2+3) | (MMT) | 179384.8 | 222086.1 | 274741.6
5 | Normative Transit & Handling Losses (For coal based Projects) | (MMT) | 0 | 0 | 0
6 | Net coal Supplied (4-5) | (MMT) | 179384.8 | 222086.1 | 274741.6
7 | Total coal (Receipts & Opening Stock) (1)+(6) | (MMT) | 356337.51 | 366118.61 | 386899.21
8 | coal burnt/consumed | (MMT) | 212305 | 253961 | 239700
9 | Coal in stock at the end of the month | (MMT) | 144032.51 | 112157.61 | 147199.21
10 | Value of coal in stock (Landed cost of 1) | (Rs.) | 202350959.9876 | 165335015.5933 | 129039076.8488
11 | Amount charged by the Coal Company | (Rs.) | 206689108.6214 | 255890146.494 | 316560266.3382
12 | Adjustment (+/-) in amount charged made by Coal Company | (Rs.) | 0 | 0 | 0
13 | Total amount Charged (11+12) | (Rs.) | 206689108.6214 | 255890146.494 | 316560266.3382
14 | Transportation charges by rail/ship/road transport | ( Rs.) | 0 | 0 | 0
15 | Adjustment (+/-) in amount charged made by Railways/Transport Company | ( Rs.) | 0 | 0 | 0
16 | Demurrage Charges, if any | ( Rs.) | 0 | 0 | 0
17 | Cost of diesel in transporting coal through MGR system, if applicable | ( Rs.) | 0 | 0 | 0
18 | Total Transportation Charges (14+/-15+16+17) | ( Rs.) | 0 | 0 | 0
19 | Total amount Charged for coal supplied including Transportation (13+18) | ( Rs.) | 206689108.6214 | 255890146.494 | 316560266.3382
20 | Average cost of coal (Opening stock + receipts) (19+10)/7 | (Rs/MMT) | 1147.9007 | 1150.5156 | 1151.7194
21 | Cost of coal in stock at the end of the month (20)x(9) | (Rs.) | 165335015.5933 | 129039076.8488 | 169532192.36
22 | Weighted average GCV of coal as fired | (kCal/Kg) | 2827 | 2552 | 2702
Price of Coal
| Particulars | Spetember 2015
| Average cost of coal (Opening stock + receipts) (19+10)/7 | 1151.7194
| Cost of diesel in transporting coal through MGR system | 4.1749
| Loss in Quantity of Coal | 0.3791%
| Weighted Average Price (Rs./MT) | 1160.293
| Escalation factor | 6.228%
| Estimated Price of Coal as on April 1, 2016 | 1232.5565

## Form 7.1 (O)
Details/Information to be Submitted in respect of Fuel for Computation of Energy Charges for FPA
Name of the Utility / Company : ________________________ | [5 empty] | FORM-7.1 ( O )
Name of the Thermal Power Station:_____________________
S.NO | PARTICULARS |  | 2015-07-01 |  | 2015-08-01 |  | 2015-09-01 |  | Quarterly Average
|  | Unit | LDO | FO | LDO | FO | LDO | FO | LDO | FO | LDO | Gross
1 | Quantity of Sec. Fuel oil(FO, HSD,LDO) in stock at the begning of the month | KL | 510.606 | 510.606 | 400.098 | 400.098 | 545.778 | 545.778
2 | Quantity of Sec. Fuel oil(FO, HSD,LDO) supplied by company | KL | 26 | 26 | 154.5 | 154.5 | 0 | 0
3 | Adjustment (+/-) in quantity of Sec. Fuel oil(FO, HSD,LDO) supplied by company | KL | 0 | 0 | 0 | 0 | 0 | 0
4 | Gross Oil(FO, HSD,LDO) supplied by company(2+3) | KL | 26 | 26 | 154.5 | 154.5 | 0 | 0
5 | Normative/Transit Loss | KL | 0 | 0 | 0 | 0 | 0 | 0
6 | Net Oil(FO, HSD,LDO) supplied by company(4-5) | KL | 26 | 26 | 154.5 | 154.5 | 0 | 0
7 | Total oil receipt & in stock (1+6) | KL | 536.606 | 536.606 | 554.598 | 554.598 | 545.778 | 545.778
8 | Total Oil Consumed | KL | 136.508 | 136.508 | 8.82 | 8.82 | 87.939 | 87.939
9 | Oil in stock at the end of month | KL | 400.098 | 400.098 | 545.778 | 545.778 | 457.839 | 457.839
10 | Value of oil in stock (Landed cost of 1) | RS | 24947626.2906 | 17899583.2452 | 19510008.5332 | 14004865.3584 | 25459987.5212 | 18350788.1623
11 | Amount charged by company | RS | 1218932 | 883551.838 | 6361423 | 4642479.1905 | 0 | 0
12 | Adjustment (+/-) in Amount charged by company | RS | 0 | 0 | 0 | 0 | 0 | 0
13 | Total amount charged(11+12) | RS | 1218932 | 883551.838 | 6361423 | 4642479.1905 | 0 | 0
14 | Transportation charges | RS | 0 | 0 | 0 | 0 | 0 | 0
15 | Adjustment (+/-) in Transportation charges | RS | 0 | 0 | 0 | 0 | 0 | 0
16 | Demmurage charges if any | RS | 0 | 0 | 0 | 0 | 0 | 0
17 | Cost of diesel in transporting oil through MGR System if applicable | RS | 0 | 0 | 0 | 0 | 0 | 0
18 | Total Transportation charges(14+15+16+17) | RS | 0 | 0 | 0 | 0 | 0 | 0
19 | Total amount charged for oil including Transportation(13+18) | RS | 1218932 | 883551.838 | 6361423 | 4642479.1905 | 0 | 0
20 | Avarage cost of oil(in stock+receipt) | RS | 48763.0744 | 35003.5875 | 46648.9809 | 33623.1731 | 46648.9809 | 33623.1331
21 | Cost of Oil in stock at the end of month | RS | 19510008.5332 | 14004865.3584 | 25459987.5212 | 18350788.1623 | 21357722.7861 | 15393981.6304
22 | WTG AVG GCV of oil fired | (Kcal/ltr) | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Price of Oil
| Particulars |  | 2015-09-01
| Wt. Average Cost of LDO | Rs./kL | 46648.9809
| Wt. Average Cost of FO | Rs./kL | 33623.1331
| Wt. Average Cost of Oil (90:10::FO:LDO) | Rs./kL | 34925.7179
| Escalation factor |  | 6.228%
| Estimated Price of Oil as on April 1, 2016 | Rs./kL | 37100.9041

## Form 7.2
Energy Charges for Thermal Generation
Name of the Utility / Company : Odisha Power Generation Corporation Limited |  |  | FORM-7.2
Name of the Thermal Power Station: IB Thermal Power Station
Year Ending March 2017
Particulars | Units | Reference | 2016-17
Operational Parameter
Number of Units |  |  | 2
Upto 250 MW |  |  | 2
More than 250 MW |  |  | 0
Total Capacity | MW |  | 420
Availability | % |  | 97.12%
PLF | % |  | 81.46%
Gross Generation | MU |  | 2996.9651
Auxiliary Energy Consumption | % |  | 9.5%
Auxiliary Energy Consumption | MU |  | 284.7117
Net Generation | MU |  | 2712.2534
Heat Rate | kcal/kwh |  | 2500
Fly Ash Utilization | %
Other By product utilization (with List) | %
Fuel Parameters
Calorlflc Value for Different Fuels
Domestic Coal -MCL | kcal/Kg |  | 2828.9238
Secondary Fuel Oil | kcal/Ltr. | From 7.1 ( C ) | 10000
Landed Fuel Price for different fuels
Domestic Coal -MCL | Rs/MT | From 7.1 ( C ) | 1232.5565
Secondary Fuel Oil | Rs/KL | From 7.1 ( O ) | 37100.8998
Specific Fuel Consumption
Domestic Coal -MCL | Kg/kWh |  | 0.87136
Secondary Fuel Oil | ml/kWh |  | 3.5
Total Fuel Consumption
Domestic Coal -MCL | MT |  | 2611423.823
Secondary Fuel Oil | KL |  | 10489.3779
Heat Content (each fuel separately)
Domestic Coal -MCL | Million kcal |  | 7387518.9856
Secondary Fuel Oil | Million kcal |  | 104893.7787
Total Fuel Cost
Domestic Coal -MCL | Rs Crore |  | 321.8727
Secondary Fuel Oil | Rs Crore |  | 38.9165
Total fuel Cost |  |  | 360.7893
Other Charges and Adjustments
Other Charges FOR WATER CESS & WATER CONSUMPTION* | Rs Crore | As per actual | 0
Other Adjustments | Rs Crore |  | 0
Total Cost | Rs Crore |  | 360.7893
Cost of Generation per unit ( Coal +oil+water) |  |  | 1.2038
Energy Charges per unit |  |  | 1.3302
* Separately considered under Year End Charges

## Form 8.4
Statement of Additional Capitalisation after COD
Name of the Utility / Company : Odisha Power Generation Corporation Limited |  |  |  | FORM-8.4
Name of the Thermal Power Station: IB Thermal Power Station
Cost in Rs. Crores
Sl.No. | Year | Work/Equipment added after COD up to Cut off Date / Beyond Cut off Date¹ | Amount Capitalised / Proposed to be capitalised | Justification* | Admitted Cost²
(1) | (2) | (3) | (4) | (5) | (6)
1 | FY 2014-15
1.1 |  | Raising of height to increase the capacity of ASH pond-A from RL 202 mtr to 205 Mtr. | 4.95
1.2 |  | Total | 4.95
2 | FY 2015-16
2.1 |  | Ambient monitoring system | 1.13
2.2 |  | Effluent Monitoring system and real time data transfer | 0.16
2.3 |  | Modification of PRDS SYSTEM | 3.4
2.4 |  | Up gradation of Electrical protection relay | 0.5
2.5 |  | Ad line Installation | 2
2.6 |  | Zero Effluent Discharge | 0.6
2.7 |  | Total | 7.79
3 | FY 2016-17
3.1 |  | Electro Static Precipitator (ESP) up gradation | 47
3.2 |  | Raising of height to increase the capacity of Ash pond-A from RL 205 mtr to 208 Mtr.Ash pond height raising | 4.58
3.3 |  | New Ash Pond "C" construction | 16.38
3.4 |  | HDPE Lining for Ash Pond-C | 12.7
3.5 |  | Dry Fog Dust Suppression System | 2.25
3.6 |  | Total | 82.91
4 | Grand Total |  | 95.65
*Justification of the Capitalisation has been submitted in the Petition

## Form 9
FORM- 9
Year End Charges
Name of the Utility / Company : Odisha Power Generation Corporation Limited
Name of the Thermal Power Station: IB Thermal Power Station
(Rs. in Crore)
Sl. No | Particulars | 2016-17
1 | 2 | 3
1 | Incentive | 1.6216
2 | Electricity Duty | 8.0918
3 | Water Cess and Water Charges | 7.0855
4 | Tax and Cess on land | 0.22252
5 | Electricity Inspection Fees | 0.1678
6 | SOC and MOC for SLDC | 0.37672
7 | ERPC Charges | 0.1575
8 | Income Tax | 37.07
9 | Ash Utilisation expenses | 3.5
10 | Fuel Adjustment Charges | 43.2947
11 | Recovery of ARR and Tariff Petition Fees | 0.21
12 | Sub-total | 101.7982
13 | Additional Capitalisation as reimbursement | 95.65
14 | Grand Total | 197.4482

## Form 10
FORM- 10
Price and GCV of Fuel
Name of the Utility / Company : Odisha Power Generation Corporation Limited
Name of the Thermal Power Station: IB Thermal Power Station
FY 2014-15
S.No. | Month | Coal |  |  | LDO |  |  | FO
|  | Consumption (MT) | Price (Rs./MT) | GCV (kCal/Kg) | Consumption (kL) | Price (Rs. /kL) | GCV(kCal/litre) | Consumption (kL) | Price (Rs. /kL) | GCV(kCal/litre)
1 | 2014-04-01 | 255293 | 995.9931 | 2629 | 36.55 | 66968.4836 | 10000 | 36.55 | 51539.5735 | 10000
2 | 2014-05-01 | 241837 | 990.6313 | 2880 | 92.988 | 66968.4836 | 10000 | 92.988 | 51539.5735 | 10000
3 | 2014-06-01 | 216112 | 989.6945 | 2952 | 129.958 | 67642.7378 | 10000 | 129.958 | 50297.3467 | 10000
4 | 2014-07-01 | 218996 | 1009.4496 | 3173 | 169.07 | 67422.2957 | 10000 | 169.07 | 50057.3081 | 10000
5 | 2014-08-01 | 228128 | 1027.4826 | 2934 | 5.58 | 66917.3134 | 10000 | 5.58 | 49535.4337 | 10000
6 | 2014-09-01 | 99037 | 1031.553 | 2759 | 124.23 | 65790.8369 | 10000 | 124.23 | 48624.6043 | 10000
7 | 2014-10-01 | 208702 | 1037.1218 | 2972 | 344.974 | 65325.1177 | 10000 | 344.974 | 48350.383 | 10000
8 | 2014-11-01 | 209501 | 1039.7982 | 3020 | 8.544 | 63373.2603 | 10000 | 8.544 | 46355.4704 | 10000
9 | 2014-12-01 | 92695 | 1040.6148 | 3154 | 0 | 63373.2603 | 10000 | 0 | 46355.4704 | 10000
10 | 2015-01-01 | 157518 | 1041.2071 | 2956 | 270.309 | 60431.1666 | 10000 | 270.309 | 43822.3646 | 10000
11 | 2015-02-01 | 133778 | 1041.6759 | 2910 | 285.942 | 54572.4401 | 10000 | 285.942 | 38537.89 | 10000
12 | 2015-03-01 | 271640.62 | 1095.7985 | 2792 | 150.204 | 50609.3599 | 10000 | 150.204 | 34650.4391 | 10000
FY 2015-16 (First Half)
S.No. | Month | Coal |  |  | LDO |  |  | FO
|  | Consumption (MT) | Price (Rs./MT) | GCV (kCal/Kg) | Consumption (kL) | Price (Rs. /kL) | GCV(kCal/litre) | Consumption (kL) | Price (Rs. /kL) | GCV(kCal/litre)
13 | 2015-04-01 | 237789 | 1124.529 | 2825 | 133.03 | 50609.07 | 10000 | 133.03 | 34650.44 | 10000
14 | 2015-05-01 | 223277 | 1136.5748 | 2787 | 285.672 | 49452.3234 | 10000 | 285.672 | 34600.7548 | 10000
15 | 2015-06-01 | 241583 | 1143.5313 | 2790 | 86.646 | 48858.8585 | 10000 | 86.646 | 35055.4991 | 10000
16 | 2015-07-01 | 212305 | 1147.9007 | 2827 | 136.508 | 48763.0744 | 10000 | 136.508 | 35003.5223 | 10000
17 | 2015-08-01 | 253961 | 1150.5156 | 2552 | 8.82 | 46648.9809 | 10000 | 8.82 | 33623.1285 | 10000
18 | 2015-09-01 | 239700 | 1151.7194 | 2702 | 87.939 | 46648.9809 | 10000 | 87.939 | 33623.1285 | 10000

## Depreciation Rates
Appendix-B
Depreciation Schedule
Sl. No. | Asset Particulars | Depreciation Rate (Salvage Value=10%)
A | Land under full ownership | 0%
B | Land under lease
a | for investment in the land | 3.34%
b | For cost of clearing the site | 3.34%
c | Land for reservoir in case of hydro generating station | 3.34%
C | Assets purchased new
a | Pl & Machinery in generating stations
(i) | Hydro electric | 5.28%
(ii) | Steam electric NHRB & waste heat recovery boilers | 5.28%
(iii) | Diesel electric and gas plant | 5.28%
b | Cooling towers & circulating water systems | 5.28%
c | Hydraulic works forming part of the Hydro-
(i) | Dams, Spillways, Weirs, Canals, Reinforced concrete flumes and syphons | 5.28%
(ii) | Reinforced concrete pipelines and surge tanks, steel pipielines, sluice gates, steel surge tanks, hydraulic control valves and hydraulic works | 5.28%
d | Building & Civil Engineering works of a
(i) | Offices and showrooms | 3.34%
(ii) | Containing thermo-electric generating plant | 3.34%
(iii) | Containing hydro-electric generating plant | 3.34%
(iv) | Temporary erections such as wooden structures | 100%
(v) | Roads other than Kutcha roads | 3.34%
(vi) | Others | 3.34%
e | Transformers, Kiosk, sub-station equipment & other fixed apparatus (including plant
(i) | Transformers including foundations having rating of 100 KVA and over | 5.28%
(ii) | Others | 5.28%
f | Switchgear including cable connections | 5.28%
g | Lightning arrestor
(i) | Station type | 5.28%
(ii) | Pole type | 5.28%
(iii) | Synchronous condensor | 5.28%
h | Batteries
(i) | Underground cable including joint boxes and disconnected boxes | 5.28%
(ii) | Cable duct system | 5.28%
i | Overhead lines including cable support
(i) | Lines on fabricated steel operating at terminal voltages higher than 66 KV | 5.28%
(ii) | Lines on steel supports operating at terminal voltages higher than 13.2 KV but not exceeding 66 KV | 5.28%
(iii) | Lines on steel on reinforced concrete support | 5.28%
(iv) | Lines on treated wood support | 5.28%
j | Meters | 5.28%
k | Self propelled vehicles | 9.5%
l | Air Conditioning Plants
(i) | Static | 5.28%
(ii) | Portable | 9.5%
m(i) | Office furniture and furnishing | 6.33%
(ii) | Office equipment | 6.33%
(iii) | Internal wiring including fittings and apparatus | 6.33%
(iv) | Strret Light fiitings | 5.28%
n | Apparatus let on hire
(i) | Other than motors | 9.5%
(ii) | Motors | 6.33%
o | Communication equipment
(i) | Radio and high frequency carrier system | 6.33%
(ii) | Telephone lines and telephones | 6.33%
p | I. T equipments | 15%
q | Any other assets not covered above | 5.28%