ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

PBX : (0674) 2393097, 2396117

FAX : (0674) 2395781, 2393306

E-mail : orierc@rediffmail.com

Website : www.orierc.org

Case No.53/ 2015/1634

Dated.22.12.2015

To

The Managing Director,

Odisha Power Generation Corporation Ltd.,

Zone – A, 7th Floor, Fortune Towers,

Chandrasekharpur,

,Bhubaneswar – 751 023.

Sub:	Application for Approval of Generation Tariff for FY 2016-17.

Sir,

On scrutiny of the above application, it has been noted that additional information and analysis with regard to a number of items which are relevant for the purpose of calculation of Generation Tariff for FY 2016-17 is required. You are hereby directed to furnish the information relating to the enclosed queries latest by 06.01.2016. The queries raised in this letter along with the replies shall be supplied to all the persons who might purchase the documents.

Yours faithfully,

Encl: As above

Director (Tariff) I/c

Additional information required for Approval of Generation Tariff  of OPGC

for FY 2016-17 (Case No 53/2015)

- In the ARR application, GRIDCO has proposed a gross generation of 3218.04 MU based on the letter No:ITPS(E)-519 dated 08-10-2015 received from OPGC. However, OPGC in its tariff filing has proposed of 2996.97 MU. Reason of such difference may be submitted.

- OPGC may submit the month wise generation plan for FY 2016-17.

- As per OERC Tariff Regulation-2014, the Normative Annual Plant Availability Factor (NAPAF) is 85%, whereas OPGC proposed PLF at 81.46% for FY 2016-17. OPGC may explain the reason of such low generation.

- A per the OERC Tariff Regulation- 2014, the Normative Auxiliary Energy Consumption of 9.0% for Unit size below500MW. However OPGC proposed @9.5% in its tariff filing for FY 2016-17. OPGC may explain the reason of consideration of higher Auxiliary Energy Consumption rate.

- OPGC may submit the actual audited O & M Expenses under major heads during Last five years starting from 2010-11 to 2014-15.

- OPGC has claimed that total capitalization of Rs4.95 Cr in FY 2014-15 and Rs.7.79cr in FY 2015-16 and Rs 82.91cr proposed for FY 2016-17. OPGC may submit the amounts spend till November 15 of Current FY2015-16. Compare to the FY 2014-15 & FY 2015-16, proposed capitalization of Rs.82.91cr for FY 2016-17 is much more, OPGC may explain.  Evidential support in respect of capitalization for FY 2014-15 to FY 2016-17 may be submitted. Further, submit the action plan schedule and sources of funding of these capitalizations.

- OPGC has claimed Rs.43.29 crore towards fuel price adjustment for FY 2016-17. In this connection OPGC may further furnish the following information:

- Fuel Supply Agreement & Contracted Price.

- Month wise GCV & price of Coal & oil and Energy Charges  p/kWh for FY 2013-14, FY 2014-15 & FY 2015-16(till date).

- OPGC may submit Station Heat Rate (kCal/kWh), average Gross calorific value, and Price of Coal and Secondary Fuel Oil during Last five years and till date of current year as per format given below:

| FY | Station Heat Rate (kCal/kWh) | Gross Calorific Value (kCal/kg) |  | Price (Rs./MT) |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Coal | Secondary Oil | Coal | Secondary Oil |
| 2010-11 |  |  |  |  |  |
| 2011-12 |  |  |  |  |  |
| 2012-13 |  |  |  |  |  |
| 2013-14 |  |  |  |  |  |
| 2014-15 (till date) |  |  |  |  |  |

- OPGC may submit audited generation details during Last five years and till date of current year as per format given below:

| FY | Gross Generation | Auxiliary Consumption |  | Net Energy Sent out | PLF |
| --- | --- | --- | --- | --- | --- |
|  | MU | MU | % | MU | % |
| 2010-11 |  |  |  |  |  |
| 2011-12 |  |  |  |  |  |
| 2012-13 |  |  |  |  |  |
| 2013-14 |  |  |  |  |  |
| 2014-15 |  |  |  |  |  |
| 2015-16 (till date) |  |  |  |  |  |

- OPGC may submit the agreed tariff between GRIDCO and OPGC with detail parameters for FY 2013-14 and agreed tariff acceptance letter of GRIDCO for FY 2013-14 and FY 2015-16.

- OPGC May submit last five years audited annual accounts/report starting from              FY 2010-11 to FY2014-15.

- OPGC may submit month wise Cash Flow Statement showing sources of inflow and Outflow of Cash for FY 2013-14, FY 2014-15 & FY 2015-16(till date).

**************