BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.------										      Filing No. 1

IN THE MATTER OF:	An application for approval of Aggregate Revenue Requirement and Transmission Tariff for the Financial Year 2016-17 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Conduct of Business) Regulations, 2004, OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 and other tariff related matters.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.								…Applicant

The Humble Applicant above named;

MOST RESPECTFULLY SHEWETH THAT:

In exercise of powers conferred under Sections 39,131,133 and 134 of the Electricity Act, 2003 read with Sections 23 & 24 of the Orissa Electricity Reform Act, 1995, the State Government published the Orissa Electricity Reform (Transfer of Transmission and Related Activities) Scheme, 2005 (hereinafter called the “Transfer Scheme”) in the Gazette dated 09.06.2005 which was effective retrospectively from 01.04.2005 wherein the Transmission Undertaking (the Undertaking related to the activities of Transmission, State Transmission Utility and State Load Dispatch Centre and acts incidental and ancillary thereto) of the Grid Corporation of Odisha Limited (Transferor), (now renamed GRIDCO Ltd.- hereinafter referred to as “GRIDCO”) has been transferred and vested in Odisha Power Transmission Corporation Limited (hereinafter called “OPTCL”).

As per Clause 10 of the Transfer Scheme, OPTCL is a deemed Transmission Licensee under Section 14 of the Electricity Act, 2003 (hereinafter referred to as ‘the Act’) for undertaking the business to transmit electricity in the State of Odisha. OPTCL has also been notified as the State Transmission Utility (hereinafter called ‘STU’) and accordingly, shall discharge the State Load Dispatch functions from the date of transfer till further orders of the State Government.

Hon’bleOdisha Electricity Regulatory Commission (hereinafter referred to as‘OERC’) has issued Licence Conditions of OPTCL effective from 01.11.2006 vide order dated 27.10.2006 passed in Case No 22 of 2006 to undertake the activities relating to transmission of electricity in the State of Odisha.

Consequent upon transfer of Transmission Undertaking and functions to OPTCL as per the Transfer Scheme, all the obligations under Bulk Supply Agreement dated 18.09.1999 between GRIDCO  & CESCO (now the Central Electricity Supply Utility of Odisha - “CESU”) and between GRIDCO & WESCO, GRIDCO & NESCO, GRIDCO and SOUTHCO on dated 24.05.1999 including all other contracts of GRIDCO with any party other than those four Distribution Licensees, in so far they relate to transmission of electricity and matter connected therewith including the provisions dealing with operating arrangements, connections & metering, rights of access, non-interfering with the equipment etc. is required to be discharged by OPTCL in the same manner as GRIDCO was doing / performing under the said agreements and also as per the Regulations, orders and directions of OERC made from time to time and all such services shall be rendered by OPTCL to GRIDCO.

As provided under Regulation 53 (1) at Chapter VIII of OERC (Conduct of Business) Regulations, 2004 and under Clause 19.3 of Licence Conditions of OPTCL, OPTCL is required to submit its Aggregate Revenue Requirement (ARR) application for the ensuing year before Hon’ble OERC for approval. Further, Regulation 5.2 of the OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 requires OPTCL to file ARR application by 30th November of every year of the Control Period.

In compliance of the above, OPTCL herewith submits its Aggregate Revenue Requirement & Transmission Tariff application for FY 2016-17 for kind approval of the Hon’ble Commission.

CATEGORISATION OF CUSTOMERS

All the customers seeking open access to OPTCL Transmission System are classified under two categories.

a. Long Term Open Access Customers (LTOA Customers)

A Long Term Open Access Customer means a person availing or intending to avail access to the Intra-State Transmission System for a period of 25 years or more. Based on such premise, four DISCOMs,NALCO & IMFA happen to be the Long Term Customers of OPTCL.

b. Short Term Open Access Customers (STOA Customers)

Open Access Customers other than Long Term Customer(s) are classified as Short Term Customer(s). The maximum duration that a Short Term Customer can avail open access to the Intra-State Transmission is one year with a condition to reapply after expiry of the term.

FORMULATION OF TRANSMISSION COST:

The Hon’bleCommission has framed OERC (Terms and Conditions for Determination of Transmission Tariff) Regulations, 2014 (hereinafter called “OERC Regulations, 2014) for determination of Intra-State Transmission Tariff which has been published in Extra Ordinary issue of the OdishaGazettee on 04.12.2014. The said Regulations are effective from 04.12.2014 and areto be followed by the Transmission Licenseewhile formulating its ARR and Transmission Tariff application. OPTCL has formulated its present ARR & Transmission Tariff application for FY 2016-17 as per the provisions underOERC Regulations, 2014.

Regulation 5 of the OERC Regulations, 2014 specifies the Procedure for Tariff Determination and Regulation 8 specifies the Principles for Determination of ARR.

As per the Regulation 8.1, the ARR for the Transmission Business for each year shall contain the following items:

- Operation and Maintenance expenses;

- Interest and Financial Charges;

- Depreciation;

- Return on Equity;

- Income Tax;

- Deposits  from Transmission System Users;

- Less: Non-Tariff Income

- Less: Income from Other Business as specified in these Regulations

The various costs involved for carrying out transmission business by OPTCL for FY 2016-17while formulating the ARR and Transmission Tariff have been categorized under the following heads:

- FIXED COST:

- Operation & Maintenance (O & M) Expenses

- Interest and Financial Charges

- Depreciation

- Return on Equity

- OTHERS:

- Incentive for System Availability

COMPUTATION OF TRANSMISSION CHARGES:

- FIXED COST:

The Fixed Cost of OPTCL includes expenses incurred towards Operation & Maintenance (Employee Cost including Terminal Benefits, Administration & General Expenses and Repairs & Maintenance Expenses). The details of such expenses for FY 2016-17 are projected as under:

A.1)   O&M EXPENSES:

As per the Regulation 8.2 of OERC Regulations, 2014, Operation and Maintenance (O&M) expenses shall include:

- Salaries, wages, pension contribution and other employee costs;

- Administrative and General Expenses;

- Repairs and Maintenance;

- Expenses related  to auxiliary energy consumption in the sub-station for the purpose of air-conditioning, lighting, technical consumption, etc.; and

- Other miscellaneous expenses, statutory levies and taxes (except corporate income tax)

Accordingly, OPTCL proposes detailed O & M Expenses as under:

A.1(a)Salaries, wages, pension contribution and other employee costs(F-10)

The Employee Cost includes Salaries, Dearness Allowance, Conveyance Allowance, Medical Allowance, Bonus/Ex-gratia etc. The Employee Expenses for FY 2016-17 estimated as  Rs.399.56Cr.including Terminal Benefit Liability (Table-1 & 3) and possible impact of  7th Pay Commission Report.

Presently (as on 01.11.2015) the Men in Position (MIP) of OPTCL is 3003 (Executive-1139 + Non-Executive 1864) against sanctioned strength of 4668 (Executive-1740 + Non-Executive 2998).

A significant number of posts are lying vacant in different ranks due to retirement, death, promotion etc. as a result of which functioning of the organization has been seriously affected. OPTCL plans to fill up the vacancies in a phased manner and accordingly the recruitment process has been initiated. In the meantime some additional manpower has been inducted and more will be recruited in coming years.

Due to rapid industrialization, urbanization as well as rural electrification and 24x7 Power for All schemesbeing proposed/underimplementation in the State under Central as well as State sponsored schemes, there has been manifold increase in the demand of power. In order to cater to the increasing demand of power, several new grid sub-stations and transmission lines have been commissioned and many others are at different stages of implementation. The increased transmission infrastructure badly requires adequate competent personnel in Technical, Finance, HRD, IT and other relevant streams. In order to align OPTCL’s organizational structure in line with the emerging needs of the transmission sector and dynamic regulatory framework in India, Govt. of Odisha has already approved the organizational restructuring proposal of OPTCL. Consequently Revised Organization Restructuring & Manpower Assessment has been implemented on 01.01.2014 in OPTCL to meet the emerging demands of the sector and to meet the emerging needs of important aspects of the transmission utility like Project Implementation, O&M, Telecom, Finance and IT support etc. With notification of Organization Structure & Manning Norm, recruitment of Degree & Diploma Engineers has been started.

Information on number of employees:

  - No of employees as on 01.04.2014:					3067

  - Induction of new employees during 2014-15:			199

  - Retired /resigned during 2014-15 (01.04.2014 to 31.03.2015):	143

  - No of employees as on 31.03.2015:					3123

  - Induction of new employees during 2015-16:

Recruited 06(Executives)

To be recruited [57(Executives) + 200 (ITI) + 09(other)]272

  - Retired/ resigned / to be retired during 2015-16:			142

  - No of employees as on 31.03.2016:					3253 (approx.)

  - Induction of new employees during 2016-17:			714

  - To be retired during 2016-17:				177

  - No. of employees as on 31.03.2017:					3790 (approx.)

Calculation of Employee Cost

The average number of employee for the FY 2015-16and FY 2016-17works out as 3188and 3522 respectively.

The Basic Pay plus Grade Pay (GP) for the first seven months of the current financial year 2015-16 works out to Rs.35.05Cr. Extrapolating the same for the twelve month period with additional increment of 3% of (Basic Pay + GP) on the existing employee base works out to Rs.61.89Cr.

The basic pay plus GP for the FY 2016-17 is determined factoring in average no. of employees as mentioned above which works out to Rs.68.37 Cr.

Dearness Allowance (DA):The prevailing rate approved by Govt. of Odisha is 119% w.e.f. 01.07.2015(allowing 6% increment in DA from 01.07.2015). Considering the present inflation, it is likely that the DArates would be125%,131% and 137% wef01.01.2016, 01.07.2016 and 01.01.2017respectively. With the above projection, OPTCL has proposed the annual average rate of DA at 131% in2016-17 and worked outRs. 89.57Cr.towards DA.

House Rent Allowance (HRA): As per the present rate, all employees of OPTCL are entitled to get HRA @ 20% on the Basic + GP. Accordingly, OPTCL has projected Rs.13.67 Cr. for 2016-17.

Medical Expenses: All employees of OPTCL are entitled to get Medical Allowance @ 5% on the Basic + GP. Accordingly, OPTCL has projected Rs.4.37Cr. for 2016-17 towards Medical Expenses including projection of Rs.0.95 Cr. towards reimbursement of medical expenses.

Under staff welfare expenses, OPTCL has projected Rs. 4.01 Cr. towards Uniform, Liveries, GIS, Sports, Recreations&Cultural Activity, HospitalExpenses etc. for 2016-17.

Stipend for new recruitment:

| YEAR | Post | Proposed No. of candidates to be Recruited | Stipend per person per month(Rs.) | Total stipend per month (Rs. Lakh) |
| --- | --- | --- | --- | --- |
| 2015-16 | ITI Technician | 200 | 7000 | 14.00 |
|  | Jr. Manager | 55 | 12000 | 06.60 |
|  | Asst. Manager | 02 | 18000 | 00.36 |
|  | Other | 09 | 8000 | 00.72 |
| 2016-17 | ITI Technician | 177 | 7000 | 12.39 |
|  | Administrative | 200 | 8000 | 16.00 |
|  | Jr. Manager | 26 | 12000 | 03.12 |
|  | Asst. Manager | 311 | 18000 | 55.98 |
|  | Total | 980 |  | 109.17 |
|  | Total stipend for FY 2016-17= Rs.13.10 Cr. |  |  |  |

The component wise details of Employee Cost are given in F-10 and the abstract is shown in Table-1 below:

| Table-1 (Employee Cost - FY 2016-17)(Rs. Cr.) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Particulars | Previous Year (FY 2014-15) | Current Year 2015-16 | Ensuing Year 2016-17 | Assumptions |
| A | Salary & Allowance |  |  |  |  |
| 1 | Basic Pay+ Grade Pay | 51.29 | 67.55 | 68.37 | Explained above |
| 2 | Dearness Allowance | 55.31 | 84.20 | 89.57 | 131% for 2016-17 (assuming same % increase as of last year i.e. 6% wef Jan-16, July-16 & Jan-17) |
| 3 | House Rent Allowance | 7.94 | 9.98 | 13.67 | 20% HRA(Basic+GP) |
| 4 | Other Allowance | 4.60 | 5.69 | 6.55 | 15% Increase |
| 5 | Bonus | 0.00 | 0.00 | 0.01 | Nominal |
| 6 | Stipend for New Recruitment | 3.70 | 4.72 | 13.10 | Explained above |
| 7 | 7th Pay Commission |  |  | 26.09 | 2.57 % hike on FY 15-16 |
|  | Sub-Total (A) | 122.85 | 172.14 | 217.36 |  |
| B | Additional Employee Cost |  |  |  |  |
| 1 | Contractual/Out Sources Engagement | 1.37 | 1.66 | 1.99 | 20% increase |
|  | Sub-Total (B) | 1.37 | 1.66 | 1.99 |  |
| C | Other Employee Cost |  |  |  |  |
| 1 | Medical Expenses (allowance +Reimbursement) | 0.90 | 0.79 | 4.37 | Allowance 5% of (Basic + GP) + Reimbursement of Rs.0.95 Cr. i.e. 20% more over last year |
| 2 | Leave Travel Concession | 0.05 | 0.75 | 0.75 | As per Budget 2015-16 |
| 3 | Honorarium | 0.05 | 0.15 | 0.15 | As per Budget 2015-16 |
| 4 | Ex-gratia | 1.83 | 1.00 | 1.00 | As per Budget 2015-16 |
| 5 | Staff Welfare Expenses | 1.27 | 8.19 | 4.01 | Explained above |
| 6 | Miscellaneous | 0.79 | 0.92 | 0.92 | As per Budget 2015-16 |
|  | Sub-Total (C) | 4.88 | 11.81 | 11.20 |  |
| D | Terminal Benefits |  |  |  | Explained in the following paragraph |
| 1 | Pension | 159.38 | 135.37 | 140.00 | Explained above |
| 2 | Gratuity | 8.01 |  |  |  |
| 3 | Leave Salary | 19.09 |  |  |  |
| 4 | Other (including contribution to NPS) | 11.56 | 3.28 | 3.98 |  |
| 5 | 7th Pay Commission |  |  | 37.24 | 2.57 % hike over FY 15-16 |
|  | Sub-Total (D) | 198.03 | 138.65 | 181.22 |  |
| E | Total Employee Cost (A+B+C+D) | 327.14 | 324.26 | 411.77 |  |
| F | Less: Employee Cost Capitalised | 17.54 | - | 12.21 |  |
| G | Net Employee Cost ( E- F) | 309.59 | 324.26 | 399.56 |  |

TERMINAL BENEFIT LIABILITIES:

- As per Accounting Standard 15 issued by MCA,employee benefit liabilities shall be assessed throughactuarial valuation.  The actuarial assumptions are required to measure the obligation and the expense and there is a possibility of actuarial gains and losses. Moreover, the obligations are measured on a discounted basis because they may be settled over many years after the employees render the related service.  Accordingly, OPTCL has been doing actuarial valuation by availing the service of qualified Actuary every year.

- Para 61 of AS-15(R) states that an enterprise should recognise the net total of the following amounts in the statement of Profit& Loss except to the extent that another Accounting Standard requires or permits their inclusion in the cost of an asset.

- (a)  Current service cost

- (b)  Interest cost

- (c)  Expected return on any plan assets and on any reimbursement rights

- (d)  Actuarial gains and losses

- (e) Past service cost requires an enterprise to recognise it

- (f)Effect of any curtailments or settlements; and

- (g)Effect of the limit i.e. the extent to which the amount determined

- Accordingly, based on the report  of independent actuary M/S BhudevChatterjee, KolkotaOPTCL has made provision towards terminal liabilities and recognised the surplus in the statement of Profit& Loss in each of the accounting period. Duringthe period from FY 2005-06 to FY2015-16, OPTCL has made provision of Rs.1615.32Cr. towards Terminal Liabilities(Pension, Gratuity and Leave Encashment)based on the Actuarial Valuation submitted by the Actuary. It is submitted that from FY 2005-06 to FY 2015-16,Hon’bleCommission has allowed total Rs. 1085.25 Cr. and the present gap isRs. 530.07 Cr. In this regard, it is further submitted that OPTCL has transferred all the amounts to the different terminal benefit Trusts uptoFY 2014-15and by the end of current year the approvedamount of Rs.135.37 Cr.for FY 2015-16 shall also be transferred. The detail statement of liabilities recognised by OPTCL and amount allowed by the Hon’ble Commission are as under:

- Table-2(Rs. Cr.)

| Year | Provision as per the Audited Accounts | Allowed by OERC |
| --- | --- | --- |
| 2005-06 | 89.18 | 40.62 |
| 2006-07 | 41.67 | 44.68 |
| 2007-08 | 102.81 | 55.38 |
| 2008-09 | 402.58 | 51.34 |
| 2009-10 | 182.95 | 76.94 |
| 2010-11 | 119.23 | 140.20 |
| 2011-12 | 171.03 | 171.03 |
| 2012-13 | 146.19 | 151.89 |
| 2013-14 | 83.69 | 83.69 |
| 2014-15 | 195.63 | 134.11 |
| 2015-16 | 80.37 | 135.37 |
| Total | Rs. 1615.32 Cr. | Rs. 1085.25 Cr. |

- It is submitted that Hon’bleCommission may treat the differential amount of Rs.530.07 Cr.as Regulatory Assets and pass Rs. 140 Cr.  in the ARR for FY 2016-17.Further liabilities for FY 2016-17, if any, as per the audited report may be considered in subsequent tariff orders.

- Besides, Rs.3.98 Cr.are required towards employer’s matching contribution foremployees who have joined under NPS andemployees under Non-Pensioner Category.

- The Government of India, vide notification No.1/1/2013-E.III(A) of 28.02.2014, appointed the 7thCentral Pay Commission with specified Terms of Reference. The Pay Commission, after due deliberations, submitted its report to the Government of India on 19.11.2015, which will be effective from 1st January,2016. As per the report, the hike will be about 2.57%. Accordingly, OPTCL has estimated the impact for the FY 2016-17 as Rs.63.33 Cr. on both existing employees and pensioners.

Employee Cost including Terminal Benefit Liability is proposed as Rs.399.56Cr. as shown in the Table-3 below:

Table-3		(Rs. Cr.)

| Employee cost including Salaries, Dearness Allowance etc. | 204.46 |
| --- | --- |
| Terminal Benefit Liability of Employees and Existing Pensioners | 143.98 |
| 7th Pay Commission Impact (Existing & Pensioners) | 63.33 |
| Less: Capitalization | 12.21 |
| Total | 399.56 |

### A.1(b)Administrative and General (A&G) Expenses: (F-12)

As per the Regulation 8.14 of OERC Regulations, 2014, for OPTCL the Commission shall allow A&G expenses by giving an escalation factor equal to WPI over the amount approved by the Commission in the previous year.

The A&G Expenses include property related expenses, communication, professional charges, conveyance and travelling, SLDC charges,licensee fee and material related expenses. TheA&G Expenseshave shownan increasing trend in recent years due to price rise and inflation and is on the higher side than the amount approved by the Hon’bleCommission. In view of the above, OPTCL has estimated Rs.35.96Cr.towardsA&G Expensesfor FY 2016-17 in F-12. However, taking into account of the annual escalation based on the Regulation 8.14, OPTCL has proposed Rs. 25.58 Cr.towardsA&G Expenses, as shown in the Table-4 below:

Table-4

| PARTICULARS | (Rs. Cr.) |
| --- | --- |
| Commission approved - 2015-16 | 20.59 |
| Escalation as per WPI Oct-15(0.1%) | 0.02 |
| A&G for 2016-17 | 20.61 |
| Add: Licence Fees | 1.50 |
| Add: Inspection Fees | 2.76 |
| Add: SLDC Charges | 0.70 |
| Total A&G Expenses for 2016-17 | Rs. 25.58 Cr. |

Further, it is submitted that the Hon’blecommission has been approving the A&G Expenses based on escalation on average of WPI & CPI since FY 2005-06. The approved A&G for FY 2005-06 was Rs.13.41 Cr. against the WPI -103.37 for the calendar year 2005. The WIP for the calendar year 2014 is 182.01. Hence, there is an increase of 176% over 2005. Based  on this, A&G expenses should be Rs. 23.61 Cr. for the FY 2015-16 instead of Rs.20.59 Cr. approved by the Commission. Therefore, it is humbly submitted to reconsider theapprovedA&G for the FY 2015-16 as Rs. 23.61 Cr. and allow the A&G expenses for FY 2016-17 accordingly.

### A.1(c)Repair and Maintenance(R & M) Expenses:  (F-11)

As per Regulation 8.16 of OERC Regulations, 2014, in case of STU (OPTCL), the Commission shall allow R&M expenses basing on past trend and requirement of the licensee in this regard after prudent check.

The R&M works of OPTCL are undertaken in different streams namely O&M, Telecom, Civil Works and Information Technology (IT). The summary of proposed R&M Expenses of  Rs.170.66Cr. under these four heads are furnished in the Table-5below:

Table-5(Rs.Cr.)

| Particulars | OERC Approval (FY 2014-15) | OERC Approval (FY 2015-16) | Projection (FY 2016-17) |
| --- | --- | --- | --- |
| (i) O&M | 93.00 | 108.00 | 143.62 |
| (ii) Telecom |  |  | 10.39 |
| (iii) Civil Works |  |  | 8.85 |
| (iv) Information Technology |  |  | 7.80 |
| Total R&M Expenses |  |  | Rs. 170.66Cr. |

### (i) R& M Expenses relating to O&M Wing:

### Presently (as on 01.11.2015), OPTCL owns 120 nos. grid sub-stations of different voltage classes and EHT transmission lines of 12,549.209 ckt. km. as shown in the Table-6 below:

Table-6

| Sub-Station and Line Details |  |  |
| --- | --- | --- |
| 400/220kV S/S | 2 |  |
| 400/220/132/33kV S/S | 1 |  |
| 220/132/33kV S/S | 16 |  |
| 220/33kV S/S | 5 |  |
| 220/132kV S/S | 1 |  |
| 132kV Sw.Stn. | 18 |  |
| 132/33kV S/S | 73 |  |
| 132/33/25kV S/S | 1 |  |
| 132/33/11kV S/S | 2 |  |
| 132/11kV S/S | 1 |  |
| Total No. of Sub-Stations | 120 |  |
| Voltage Level | Lines (ckt. km.) | Bays |
| 400kV | 921.434 | 35 |
| 220kV | 5870.534 | 266 |
| 132kV | 5757.241 | 770 |
| 33kV |  | 900 |
| 25kV |  | 2 |
| 11kV |  | 18 |
| Total | 12549.209 | 1991 |

### There has been consistent rising trend of the loading pattern on the transmission system. The power transformers and EHT lines are now operating at such optimum loading levels that it is impracticable to undertake maintenance work or attend breakdown job on those without load shedding. In addition to this, some of the EHT lines are pretty old and have outlived their useful life span. Some of the sub-station equipment which were imported during the OSEB period are obsolete now and spares for such equipment are no longer available, making repair impossible.

### Further, expansion of EHT network with the addition of new lines & sub-stations due to rapid industrialization and rural electrification initiatives has resulted in higher fault levels at various EHT grid sub-stations for which some of the existing equipment like CBs, Isolators, CTs are now inadequate to handle the present system.

### To operate the system effectively and to maintain uninterrupted, quality power supply in the state and to meet the performance standards set down by the Hon’ble Commission as well, it is absolutely necessary to undertake replacement of the old / obsolete equipment those have outlived their useful economic life. Also it is required to renovate and upgrade the equipment in the existing system to handle the increased load in the system.

### With the above objectives, OPTCL proposes R&M Expenses of Rs.143.62Cr.for FY2016-17 under different items of O&M Wing, the details of which are shown in the Table-7 below. Special Projection of Rs.23.14 Cr. have been made at sl.24& 27 to procure T&P for Disaster Resilience & Response System &ERS Towersfor early restoration of power supply affected due to natural calamity &Rs.15.00 Cr.	at sl.8 for Sub-Station Automation System (SAS).

### Table-7

| R&M EXPENDITURE- O&M WING- FY2016-17 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description | Unit | FY 2016-17 |  |  |
|  |  |  | Rate (Rs.) | Qty | Cost (Rs. Lakh) |
| 1 | Circuit Breaker | Nos. |  |  |  |
| i | 400kV |  | 3,929,008 | 10 | 392.90 |
| ii | 220kV |  | 1,622,089 | 36 | 583.95 |
| 2 | C.T. | Nos. |  |  |  |
| a) | 400kV(0.2 class) |  |  |  |  |
| i | 2000-1000-500/1-1-1-1 |  | 1,106,706 | 9 | 99.60 |
| b) | 33kV(0.2 class) |  |  |  |  |
| i | 1200-600-300/1-1-1 |  | 45,048 | 20 | 9.01 |
| ii | 800-400-200/1-1-1 |  | 45,048 | 20 | 9.01 |
| iii | 600-300-150/1-1-1 |  | 45,048 | 20 | 9.01 |
| iv | 400-200-100/1-1-1 |  | 45,048 | 50 | 22.52 |
| 3 | P.T. / CVT | Nos. |  |  |  |
| i | 400kV CVT |  | 382,320 | 9 | 34.41 |
| ii | 220kV PT |  | 529,040 | 10 | 52.90 |
| iii | 220kV CVT |  | 260,993 | 10 | 26.10 |
| iv | 132kV PT |  | 237,010 | 30 | 71.10 |
| v | 33kV PT (0.2S class) |  | 27,933 | 15 | 4.19 |
| 4 | Wave Trap | Nos. |  |  |  |
| i | Wave Trap (400kV, 2000A/1mh) |  | 1,025,037 | 2 | 20.50 |
| ii | Wave Trap (220kV, 1200A/1mh) |  | 373,437 | 10 | 37.34 |
| iii | Wave Trap (132kV, 1200A/1mh) |  | 327,914 | 30 | 98.37 |
| 5 | Surge Arrestor | Nos. |  |  |  |
| i | 400kV |  | 126,970 | 34 | 43.17 |
| ii | 33kV |  | 11,286 | 20 | 2.26 |
| 6 | Isolator | Nos. |  |  |  |
| i | 400 KV SI Double-Break with E/S, 2000A |  | 787,500 | 4 | 31.50 |
| ii | 220 KV SI Double-Break with E/S, 1200A |  | 555,813 | 45 | 250.12 |
| iii | 132 kV Double Isolator with E/S, 1250A |  | 425,772 | 12 | 51.09 |
| iv | 132 KV Double Isolator with E/S, 2000A |  | 459,207 | 6 | 27.55 |
| v | 132 KV Double Isolator W/O E/S, 1250A |  | 390,079 | 15 | 58.51 |
| 7 | Relay | Nos. |  |  |  |
| i | Numerical Differential |  | 371,997 | 13 | 48.36 |
| ii | Auxiliary Relay (Three element)VAA 33 |  | 7,541 | 30 | 2.26 |
| iii | Master Trip Relay (Three element) VAJHM-33 |  | 13,889 | 60 | 8.33 |
| iv | REF Relay |  | 9,206 | 30 | 2.76 |
| v | Pole discrepancy |  | 9,206 | 30 | 2.76 |
| vi | Over fluxing |  | 9,206 | 30 | 2.76 |
| 8 | Sub-Station Automation System(SAS) | Nos. |  |  |  |
| i | Substation Automation System at Jajpur Road, Kendrapara, Rourkela, Choudwar,Rayagada, Aska, Sambalpur, Brajarajnagar) | LS |  |  | 1500.00 |
| 9 | Transformer Oil | kL | 67,958 | 150 | 101.94 |
| 10 | Audit Energy Meter (0.2 class) | Nos. |  |  |  |
| i | Apex-100 Cat-B DLMS Compatible |  | 125,347 | 150 | 188.02 |
| 11 | Control Cable | km |  |  |  |
| i | 4 core 2.5 mm2 |  | 134,855 | 30 | 40.46 |
| ii | 7 core 2.5mm2 |  | 204,126 | 10 | 20.41 |
| iii | 12 core 2.5 mm2 |  | 333,845 | 5 | 16.69 |
| iv | 19 core 2.5 mm2 |  | 489,410 | 3 | 14.68 |
| 12 | Power Cable | km |  |  |  |
| i | Power Cable (3 ½ core, 300 mm2) |  | 1,021,614 | 5 | 51.08 |
| ii | Power Cable (3 ½ core, 120 mm2) |  | 452,357 | 4 | 18.09 |
| iii | Power Cable (3 ½ core, 95 mm2) |  | 423,159 | 4 | 16.93 |
| iv | Power Cable (3 ½ core, 25 mm2) |  | 123,281 | 4 | 4.93 |
| 13 | SF-6 Gas Cylinders (50 kg) | Nos. | 64,472 | 50 | 32.24 |
| 14 | Insulator | Nos. |  |  |  |
| i | 90 kN Disc |  | 722 | 500 | 3.61 |
| ii | 120 kN Disc |  | 932 | 1000 | 9.32 |
| iii | 90 kN LR (132KV) |  | 7,704 | 1000 | 77.04 |
| iv | 120 kN LR (132KV) |  | 9,687 | 500 | 48.44 |
| v | 90 kN LR (220KV) |  | 9,593 | 1000 | 95.93 |
| vi | 160 KN LR (220KV) |  | 11,992 | 500 | 59.96 |
| vii | 90 kN LR Silicon Rubber(132kV) |  | 9,170 | 500 | 45.85 |
| 15 | Single Suspension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 2,191 | 300 | 6.57 |
| ii | For ACSR Zebra |  | 3,530 | 250 | 8.83 |
| iii | For AAAC Moose |  | 3,592 | 40 | 1.44 |
| 16 | Double Suspension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 4,254 | 50 | 2.13 |
| ii | For ACSR Zebra |  | 5,083 | 50 | 2.54 |
| 17 | Single Tension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 1,917 | 150 | 2.88 |
| ii | For ACSR Zebra |  | 2,800 | 100 | 2.80 |
| 18 | Double Tension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 3,946 | 70 | 2.76 |
| ii | For ACSR Zebra |  | 4,940 | 50 | 2.47 |
| 19 | Vibration Damper | Nos. |  |  |  |
| i | ACSR Zebra |  | 686 | 150 | 1.03 |
| 20 | Tower Structures | Nos. |  |  |  |
| a) | OA with Stubs |  | 395,638 | 4 | 15.83 |
| i | + 3 extn. to OA |  | 65,940 | 2 | 1.32 |
| ii | + 6 extn. to OA |  | 131,697 | 2 | 2.63 |
| b) | OB with Stubs |  | 598,003 | 6 | 35.88 |
| i | + 3 extn. to OB |  | 124,247 | 2 | 2.48 |
| ii | + 6 extn. to OB |  | 193,907 | 2 | 3.88 |
| c) | OC with Stubs |  | 794,822 | 6 | 47.69 |
| i | + 3 extn. to OC |  | 134,062 | 2 | 2.68 |
| ii | + 6 extn. to OC |  | 236,199 | 2 | 4.72 |
| d) | PA with Stubs |  | 311,961 | 6 | 18.72 |
| i | + 3 extn. to PA |  | 49,114 | 2 | 0.98 |
| ii | + 6 extn. to PA |  | 122,784 | 2 | 2.46 |
| e) | PB with Stubs |  | 412,826 | 4 | 16.51 |
| i | + 3 extn. to PB |  | 92,770 | 2 | 1.86 |
| ii | + 6 extn. to PB |  | 190,998 | 2 | 3.82 |
| f) | PC with Stubs |  | 564,807 | 6 | 33.89 |
| i | + 3 extn. to PC |  | 101,865 | 2 | 2.04 |
| ii | + 6 extn. to PC |  | 212,826 | 2 | 4.26 |
| g) | UR with Stubs |  | 1,235,572 | 0 | 0.00 |
| i | +6 extn. to UR |  | 386,450 | 4 | 15.46 |
| 21 | Station Transformer | Nos. |  |  |  |
| i | 500 KVA |  | 1,029,865 | 1 | 10.30 |
| ii | 1 MVA |  | 1,410,775 | 1 | 14.11 |
| 22 | Panel | Nos. |  |  |  |
| i | 132kV C/R TRF Panel (Duplex) |  | 1,128,620 | 2 | 22.57 |
| 23 | Transformer Bushing (Condenser Type) | Nos. |  |  |  |
| i | 33 kV (Insulator Type) |  | 11,286 | 10 | 1.13 |
| 24 | T & P for Disaster Response & Resilience | Nos. |  |  |  |
| i | Man Lifter |  | 987,543 | 50 | 493.77 |
| ii | DG Set-80 KVA (Medium to Large 132 kV Grid S/S) |  | 902,896 | 5 | 45.14 |
| 25 | Diagnostic Testing Kits | Nos. |  |  |  |
| i | Universal Relay Testing Kit |  | 1,144,500 | 8 | 91.56 |
| ii | Primary Injection Kit (1Ph, 600A) |  | 415,120 | 8 | 33.21 |
| iii | Secondary Injection Kit |  | 619,500 | 4 | 24.78 |
| iv | DC Resistance Micro Ohm Meter (12V, 2/5/10A) |  | 294,000 | 6 | 17.64 |
| v | 5kV Automatic Insulation tester (Battery Operated) |  | 252,000 | 12 | 30.24 |
| vi | Automatic 3Ph Transformer Turn Ratio Meter |  | 480,665 | 5 | 24.03 |
| vii | Circuit Breaker Analyser |  | 2,709,000 | 1 | 27.09 |
| viii | Circuit Breaker Timer |  | 126,000 | 7 | 8.82 |
| ix | 3Ph 4W Accucheck (HT+ 0.05 accuracy class) |  | 735,000 | 8 | 58.80 |
| x | Portable Meter Testing Kit with Phase Shifter (Phantom Kit) |  | 577,500 | 7 | 40.43 |
| xi | Contact Resistance Meter (100A / 200A) |  | 492,681 | 9 | 44.34 |
| xii | Digital Capacitance & Tan Delta Kit |  | 2,835,000 | 9 | 255.15 |
| xiii | Digital LCR Meter |  | 189,000 | 8 | 15.12 |
| xiv | Power Analyzer |  | 1,008,000 | 2 | 20.16 |
| xv | Third Harmonic Leakage Current Detecter |  | 525,000 | 8 | 42.00 |
| xvi | Offline Fault Detector Kit |  | 2,100,000 | 2 | 42.00 |
| xvii | DC Earth Fault Locator |  | 1,013,250 | 9 | 91.19 |
| xviii | Automatic BDV Tester |  | 189,000 | 12 | 22.68 |
| xix | Phase Sequence Indicator |  | 52,500 | 10 | 5.25 |
| xx | High Resolution Thermovision Camera |  | 945,000 | 6 | 56.70 |
| xxi | Transformer Multifunction Kit |  | 7,350,000 | 4 | 294.00 |
| xxii | Underground EHV Cable fault Locator |  | 1,575,000 | 2 | 31.50 |
| xxiii | Battery Health Analyser |  | 525,000 | 4 | 21.00 |
| 26 | Safety Materials and T&P | Nos. |  |  |  |
| i | Hydraulic Conducter Cutter |  | 26,250 | 10 | 2.63 |
| ii | Insulator Modular Scaffold |  | 2,100,000 | 20 | 420.00 |
| iii | Battery Operated Vehicle |  | 525,000 | 2 | 10.50 |
| iv | SF6 Gas Leakage Detector |  | 1,260,000 | 10 | 126.00 |
| v | Vaccum Pump for Breaker |  | 52,500 | 20 | 10.50 |
| vi | Vaccum Pump for Transformer |  | 157,500 | 6 | 9.45 |
| 27 | Disaster Resilience & Response System |  |  |  |  |
| i | Spares for ERS system | LS |  |  | 200.00 |
| ii | New 400kV ERS Towers | Nos. | 15,750,000 | 10 | 1,575.00 |
| 28 | Miscellaneous | LS |  |  |  |
| i | AMC of Energy Metering Systems |  |  |  | 75.00 |
| ii | Engagement of Security personnel |  |  |  | 950.00 |
| iii | Repair of Defective Power Transformers |  |  |  | 300.00 |
| iv | Renovation Works of Grid Substations including Repair / Replacement of Old & Defective Equipments, Bus Augmentation, Switchyard Re-metalling & Illumination, Renovation of Earthing System, Painting of Equipments, Repair of Boundary Walls & Fencing, Repair of Approach Roads, Cable Trenches & Drainage System etc. |  |  |  | 2,000.00 |
| vi | Miscellaneous Civil Works |  |  |  | 500.00 |
| vii | Installation of Capacitor Banks |  |  |  | 200.00 |
| viii | Renovation Works of EHT Lines including Revetment, Couping, Tower Earthing, Painting and Replacement of Angles, Conductors, Insulators, Clamps & Connectors etc. |  |  |  | 1,500.00 |
|  | Total |  |  |  | Rs. 14,362.32 lakh = Rs. 143.62 Cr. |

(ii)	R& M Expenses relating to TELECOM Wing:

- The AMC of RTU under ULDC project, APS package,Wide Band Communication package, procurement of different equipment for the purpose of R&M activities, licencefees& renovation of PLCC/ SCADA  etc. have been envisaged  as R&M expenses in order to keep in place a healthy and efficient telecommunication system. Accordingly provision of Rs.10.38Cr.is proposed during FY 2016-17 towards R&M expenses pertaining to Telecommunication Wing, the details of which are shown in the Table-8 below:

- Table-8

| R&M EXPENDITURE- TELECOM WING- FY2016-17 |  |
| --- | --- |
| Description | Amount (Rs. Lakh) |
| RTU |  |
| a) Cost of AMC | 12.00 |
| b) Cost of new feeder/element integration | 20.00 |
| Sub-Total | 32.00 |
| AMC APS package |  |
| a) Cost of AMC | 12.00 |
| b) Cost of replacement/repair of materials | 44.00 |
| Sub-Total | 56.00 |
| AMC of Wideband Communication package |  |
| a) Cost of AMC | 65.00 |
| b) Cost of Spares (LS) | 13.00 |
| Sub-Total | 78.00 |
| AMC of DPLC | 16.00 |
| Sub-Total | 16.00 |
| Procurement of Outdoor coupling equipment |  |
| a) CVT,Wave Traps & Outdoor coupling equipment | 220.00 |
| b) Procurement of Test Instruments | 55.00 |
| c) Procurement of battery & battery charger | 65.00 |
| d) Procurement of AC machine with Stabilizer | 65.00 |
| e) Procurement of OPGW cable with hardware fittings(50 km.) | 110.00 |
| f) Provision of Logic Earth and Surge arrestor at different grid Sub-stations (10 nos.) | 10.00 |
| g) R&M of Telecom works at Divisional levels | 325.00 |
| h) License fee for Walki-Talkie | 6.50 |
| Sub-Total | 856.50 |
| TOTAL | Rs. 1038.50 lakh= Rs. 10.39 Cr. |

(iii) R& M Expenses relating to Civil Works:

### OPTCL proposes an expenditure of Rs.8.85Cr.towards civil works relating to major Repair & Maintenance of office buildings, associated colonies etc. of grid sub-stations during FY 2016-17.Accordingly the amount is proposed during FY 2016-17 towards R&M expenses pertaining to Civil Works, the details of which are shown in the Table-9 below:

- Table-9

| R & M EXPENDITURE- CIVIL WING –FY 2016-17 |  |  |
| --- | --- | --- |
| Sl. No. | Description of works | Amount (Rs. Cr.) |
| 1 | Repair of approach roads & related work | 0.94 |
| 2 | Repair of Boundary and Compound Wall related work | 1.45 |
| 3 | Repair of Water supply system, sewerage system and drainage related work | 0.23 |
| 4 | Repair of offices, staff quarters &stores | 6.23 |
| TOTAL |  | Rs. 8.85 Cr. |

### (iv) R& M Expenses relating to Information Technology(IT):

### Provision ofRs.8.40Cr. is made towards R&M expenses pertaining to IT wing during FY 2016-17, the details of which are shown in the Table-10 below.

### Table-10

| R & M EXPENDITURE - IT WING- FY 2016-17 |  |  |
| --- | --- | --- |
| Sl. No. | Item Description | Total (Rs. Cr.) |
| 1 | e-Shakti | 0.700 |
| 2 | e-Governance | 0.020 |
| 3 | Analytics (Business Intelligence) | 0.700 |
| 4 | Primary Data Center | 2.100 |
| 5 | End-User IT Systems | 0.500 |
| 6 | Network(OGS-WAN Bandwidth & AMC) | 3.062 |
| 7 | Smart Grid Initiatives(AMI) | 0.150 |
| 8 | Other IT Initiatives: |  |
| a) | FMS | 0.500 |
| b) | Digitization | 0.037 |
| c) | Oracle ATS | 0.032 |
| TOTAL |  | Rs. 7.80 Cr. |

A.1(d)Expenses related  to auxiliary energy consumption in the sub-stations:

Upto FY 2015-16, OPTCL has not been allowed any amount towards auxiliary energy consumption in the sub-stations for the purpose of air-conditioning, lighting, technical consumption. The same is borne by GRIDCO as OPTCL has been billing to DISCOMs at grid sub-station ends(LT side of Power Transformers). As per Regulation 8.2 (d) of OERC Regulations, 2014, OPTCL is entitled to claim the expenses related to auxiliary energy consumption and reimburse the same to GRIDCO.

The auxiliary energy consumption in the sub-stations for the FY 2014-15, FY 2015-16 (upto Sept-15) are 10.75MU & 6.71MU respectively. It is estimatedthat the auxiliary energy consumption for the FY 2016-17 will be about 14 MU. Based on the approved average BSP rate for the FY 2015-16 i.e. Rs. 284.29, the amount under this head is worked out as Rs. 3.82 Cr.

OPTCL proposesRs. 3.82 Cr. towards auxiliary energy consumption in the sub-stations. The amount may be approved by the Hon’ble Commission.

A.1(e)Other miscellaneous expenses, statutory levies and taxes (except corporate income tax)

(i)Grid Coordination Committee (GCC) Expenses: As per the Chapter-11 (2)(1) of the  Orissa Grid Code (OGC) Regulations 2006,  OPTCL has formed GCC under OPTCL  to deal all the  matters specified in Chapter-11(2)(2). Under (GCC) expenses, OPTCL proposesRs. 0.84 Cr.towards Annual GCC Expenses for FY 2016-17 in line with the said provisions.

(ii) Corporate Social Responsibility(CSR)-Under the Companies Act, 2013, it is obligatory for incurring expenditure towards CSR & OPTCL is required to spend on this account being a profitable company. The amount estimated to be spent is about Rs.1.57 Cr. for FY 2016-17 considering 2% of the average profit of about Rs.78.62Cr. during last 3 years which is included in miscellaneous expenditure under A&G expenses in FY 2016-17.

Taking into account the proposed expendituretowards manpower (Employee Cost including Terminal Benefit), Repair & Spares (R&M Expenses) towards consumables, insurance and overheads (A&G Expenses), GCC & CSR expenses, OPTCL proposes the O&M Expenses as Rs.602.03Cr.

The summary of O&M Expenses for FY 2016-17 is shown in the Table-11 below:

Table-11

| Summary of O&M Expenses for FY 2016-17 |  |
| --- | --- |
| Particulars | Amount |
|  | (Rs. Cr.) |
| (i) Employees Cost including Terminal Benefits | 399.56 |
| (ii) A&G Cost | 25.58 |
| (iii) R&M Cost | 170.66 |
| (iv) Expenses related to auxiliary energy consumption in sub-stations | 3.82 |
| (v)Other miscellaneous expenses, statutory levies and taxes(GCC& CSR) | 2.41 |
| Total O&M Expenses | Rs. 602.03Cr. |

- A. 2)Interest and Financial Charges(F-13):

A.2)(a) Interest on Loan

Interest on loan for FY 2016-17has been projected asRs.124.55Cr. Details of interest on loan capital is shown in F-13 and the abstract is presented in the Table-12below:

Table-12

| Projection for Interest on loan for FY 2016-17(Rs. Cr.) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Rate of Interest | Principal CB as on 31.03.16 | Loan to be received (2016-17) | Loan to be redeemed (2016-17) | Interest payment (2016-17) | Total Payment (2016-17) |
| A | Govt. Loans |  |  |  |  |  |  |
|  | State Govt. (Cash Loan) | 13.00% | 2 |  |  | 0.26 | 0.26 |
|  | State Govt.(CRF) | 0.00% | 15 |  |  |  | 0 |
|  | GoO Bonds | 13.00% | 400 |  |  | 26 | 26 |
|  | Sub-Total |  | 417.00 |  |  | 26.26 | 26.26 |
| B | Institutional Loans |  |  |  |  |  |  |
|  | Bank of India | 9.75 | 95.39 | 194.61 |  | 18.88 | 18.88 |
|  | REC Loan |  | 314.62 |  | 32.83 | 43.78 | 76.61 |
|  | PFC Loan |  | 84.40 |  | 7.08 | 7.67 | 14.75 |
|  | JICA | .80% | 0 | 213.26 |  | 0.85 | 0.85 |
|  | Sub-Total |  | 521.41 | 407.87 | 39.91 | 71.18 | 111.09 |
| C | Secured Loan |  |  |  |  |  |  |
|  | New Loan (14-15) | 11.90% | 147.28 |  |  | 14.65 | 14.65 |
|  | New Loan (15-16) | 11.90% |  | 505.10 |  | 12.46 | 12.46 |
|  | Sub-Total |  | 147.28 | 505.10 | 0 | 27.11 | 27.11 |
| D | Grand Total |  | 1085.69 | 912.97 | 39.91 | 124.55 | 164.46 |

A. 2(b) Interest on Working Capital:

### As per the Regulations 8.25 OERC Regulations, 2014, Working Capital shall include

- Receivables equivalent to one month of fixed cost;

- Maintenance spares @15% of operation and maintenance expenses as specified in regulation 8.2 to regulation 8.15;

- Operation and maintenance expenses (as specified in regulation 8.2 to regulation 8.5) for one month.

As per the Regulation 8.26 of OERC Regulations, 2014, the rate of interest for working capital shall be  on normative basis and shall be equal to the SBI Base Rateplus 300 basis points as on 1st January of the preceding year for which tariff is determined:

provided that in case of case of STU (OPTCL)  the Commission shall determine the quantum of working capital if needed depending on the cash flow position of the licensee and shall allow interest on the same.

### Accordingly, the Working Capital is estimated as Rs.273.98Cr. The interest on working capital for one month receivable works outto Rs.35.62 Cr. considering interest rate of 13.00%, the details are given in Table-13 below. OPTCL proposesRs.17.81 Cr. towards  interest on working capital for 15 days on receivable i.e. half of Rs.35.62 Crore.

Table-13

| Calculation of Interest on Working Capital |  |
| --- | --- |
| Parameters | Amount (Rs. Cr.) |
| (i) Receivables equivalent to two months of fixed cost. | 133.50 |
| (ii) Maintenance Spares @ 15% of O&M expenses | 90.30 |
| (iii) Operation & Maintenance expenses for one month | 50.18 |
| Total Working Capital | 273.98 |
| Interest on Working Capital | Rs. 35.62 Cr. |

### A. 2(c)Rebate

- As per the Regulation 8.49 of OERC Regulations, 2014, a rebate of 2% shall be allowed to the transmission licenses in case the payment is made within 2 working days. Similarly as per the Regulation 8.50,a rebate of 1% shall be allowed to the transmission licenses in case the payment is made after  2 working days and within a period of 30 days .

- Accordingly, OPTCL has projected 2% rebate amounting to Rs.19.50Cr. which is calculated based on the projected ARR for the FY 2016-17.

New Projects:

OPTCL proposes to spend Rs.1014.97Cr. during FY 2016-17towards Capital Expenditure (CAPEX) on new projects in different streams of activities like O&M, Telecom, IT, Construction and Civil Works. The summary of proposed CAPEX under various wings is furnished in the Table-14 below:

### Table-14

| Projected CAPEX - FY 2016-17 |  |
| --- | --- |
| Particulars | Amount(Rs. Cr.) |
| (i) Telecom | 101.25 |
| (ii) O&M | 119.39 |
| (iii) Information Technology (IT) | 30.64 |
| (iv) Civil Works | 17.67 |
| (v) Construction | 746.02 |
| Total Capital Expenditure [(i)+(ii)+(iii)+(iv)+(v)] | Rs.1014.97 Cr. |

- CAPEX FOR TELECOM RELATED PROJECTS:

- In order to have a dependable, safe and effective communication system, OPTCL has implemented its own Telecommunication Network through PLCC and Optic Fibre between each grid sub-stations and generating stations as well as between Sub-LDC to SLDC at Bhubaneswar. The PLCC system adopted in OPTCL is generally considered to be very much economic, reliable and dependable for voice, data and carrier back-up protection facility. Due to limitation of frequency band for PLCC equipment and gradual complex grid system, action is also under progress to provide SCADA interface points at all the 220kV sub-stations of OPTCL through OPGW connectivity as per the provisions made under amended OGC Regulations, 2006 dated 29th August 2008. In the meantime, large number of industries are coming up in Odisha either having CGP or planning to draw power from OPTCL’s network. For smooth management of real time operation of power system by SLDC, the industries are required to be integrated with OPTCL grid system as per the provisions of said OGC Regulations by providing necessary voice and data communication to SLDC. Further, the existing operating system is also required to be upgraded to suit to the present requirement because of large number of upcoming grid sub-stations.  Keeping in view of all such aspects, constant endeavor has been made to renovate and upgrade the existing telecommunication system under ULDC expansion scheme by way of integration of 30 nos.  existing grid sub-stations with the present ULDC system as well as software and hardware upgradation of main control centre at SLDC and establishment of back-up control centre at Meramundali. The work is being executed through consultancy support of POWERGRID. Looking to the above aspects, the CAPEX proposal for the FY 2016-17 in respect of Telecommunication work is summarized as follows:

1. Integration of 30 Grid S/S, Control Center hardware/software upgradation and establishment of back-up Control Centre at Meramundali for SLDC:

30 sub-stations were identified in OPTCL during the financial year 2010-11(October 2010) for integration. This project was envisaged to be completed within a time span of three years. The sub-stations covered under different Sub-LDC are mentioned as hereunder:

A.Bhubaneswar Sub-LDC: Balugaon,Jagatsinghpur, Nimapara, Salepur,Phulnakhara

B.MeramandaliSub-LDC: Bolani, Chandikhole, JajpurTown, Jaleswar, Kalarangi, Nuapatna, Pattamundai,Polasponga, Soro

C.Budhipadar Sub-LDC:     Brajarajnagar, Chhend, Jharsuguda, Patnagarh, Rairakhol

Sonepur, Sundargarh

D.Jaynagar Sub-LDC:	Digapahandi, Junagarh, Khariar, Mohana, Parlakhemundi, Phulbani, Saintala, Tentulikhunti, Balimela  220kV S/S

- Subsequently integration of 5 nos. of more sub-stations (Badagada, Karanjia, Basta, Anandapur and Barpali) is also decided  in the project scope enhancing the number of sub-stations to 35. The estimated cost of the project is Rs. 36.00 Cr. Hon’ble OERC has  approved the investment plan of this project. Initial advance of Rs.7.172 Cr. has already been released by OPTCL. M/s Chemtrols&Areva, the vendors deployed by POWERGRID under their contract agreement are presently on job of commissioning of RTU and DPLC respectively at the identified sub-stations.

- In addition to release of initial advance Rs.7.172 Cr., Rs. 8.368 Cr.and Rs.7.42 Cr. was paid during the FY- 2013-14 & 2014-15 respectively. Thus the total up-to-date expenditure in this project is Rs. 22.96 Cr.(7.172+8.368+7.42). Hence, there was requirement of fund to the tune of Rs. 13.04Cr. (Estimated cost Rs.36 Cr.- Rs.22.96 Cr.) for completion of the project. Provision has been made in annual budget for FY 2015-16 accordingly for release of payment to PGCIL to meet the final executed cost of the project.

- Provision of SCADA interface point at 220 kV Grid S/S through OPGW:

Hon’ble OERC has advised to provide the SCADA interface point at all 220kV Grid S/S under OPTCL through Optic Fibre link in all 220kV line sections. The following line sections are to be provided with OPGW connectivity to have broadband communication network and SCADA connectivity. This project was likely to be completed within a time span of 3 years with effect from March, 2011. The circuit length of the 220kV line sections was computed to be 1324km. Further, due to addition of some selected 132kV lines, the circuit length increased to 1478.4km. This was as per the MoM between PGCIL & OPTCL with the object to reduce the number of PLCC hubs. Details of line sections are given hereunder:

| 1 | Balasore - Bhadrak | 78 km |
| --- | --- | --- |
| 2 | Duburi (New) - Bhadrak | 68 km |
| 3 | Paradeep – Duburi(New) | 114 km |
| 4 | TTPS – Meramundali | 11 km |
| 5 | Joda – Polaspanga | 51 km |
| 6 | Polaspanga - Keonjhar | 54 km |
| 7 | Keonjhar – TTPS | 95 km |
| 8 | Rengali PH – Kaniha | 30 km |
| 9 | Bolangir (New) – Burla(New) | 120 km |
| 10 | Burla PH – Burla (New) | 15 km |
| 11 | Burla(New) – Chiplima | 17 km |
| 12 | Burla (New)– BudhipadarviaLapanga | 62 km |
| 13 | Budhipadar – IB TPS | 26 km |
| 14 | Bolangir(New)-Kesinga | 72 km |
| 15 | Kesinga-Therubali | 123 km |
| 16 | Jayanagar – Machhakund | 43 km |
| 17 | Jayanagar – Upper Kolab | 6 km |
| 18 | Jayanagar – Balimela PH | 93 km |
| 19 | Theruvali – Indravati | 91 km |
| 20 | Bhanjanagar – Nayagarh | 69 km |
| 21 | Nayagarh – Mendhasal | 81 km |
| 22 | Bidanasi – Chandaka | 14 km |
| 23 | Choudwar- ICCL | 5 km |
| 24 | Bidanasi – Choudwar | 8.614 km |
| 25 | Theruvali - Rayagada | 20 km |
| 26 | Narendrapur- Berhampur | 10.91 km |
| 27 | Bolangir(New)-Patnagarh | 39.8 km |
| 28 | Khurda- Chandaka | 36.5 km |
| 29 | Jajpur road - Duburi(Old) | 13.2 km |
| 30 | Bolangir(Old)-Bolangir(New) | 5 km |
| 31 | Duburi(Old)-Duburi(New) | 6.38 km |
| TOTAL |  | 1478.4km |

- In addition to release of initial advance Rs.13.50 Cr., Rs. 9.56 Cr.and Rs. 11.27 Cr. was paid during the FY 2013-14 &FY 2014-15 respectively. Thus the total up-to-date expenditure in this project is Rs. 34.33 Cr.(13.50+9.56+11.27). Hence, there was requirement of fund to the tune of Rs. 33.21Cr. (Estimated cost Rs 67.54 Cr.-Rs 34.33 Cr.) for completion of the project. Provision has been made in annual budget for FY 2015-16 accordingly for release of payment to PGCIL to meet the final executed cost of the project.

The progress of the above work is as under:

- Contract awarded to M/s LS Cable & System Ltd.

- Laying of 1321km OPGW cable completed at respective line sections. Balance work shall be completed by December 2015.

- OPGW terminal equipment are Commissioned at all sites

- The project is getting delayed in completion due to supply of off-shore materials like OPGW, approach cable and associated hardware accessories since such items are scarcely manufactured in India.

- PGCIL has committed to complete all project activities within the current financial year.

- Reframing of  Microwave by Optic Fibre under ULDC Project:

Replacement of Microwave by optic fibre under ULDC Project is being centrally executed by PGCIL in the Eastern Region as per the decision of WPC, Ministry of Communication, Govt. of India. The expenditure for OPTCL portion of work is Rs. 7.60 Cr.approximately for the above work as per LoA. The work is completed and SAT procedure shall be conducted shortly. As per discussion with PGCIL, the amount shall be loaded in the tariff with effect from FY 2013-14. Since the ULDC charges are paid by GRIDCO, hence the same has not been proposed in the OPTCL ARR application.

- SCADA Interface Points at vital 132kV Sub-Stations of OPTCL by laying OPGW Cable

As per the administrative approval of BoD of OPTCL, it has been proposed to provide OPGW connectivity in vital 132kV sub-stations of OPTCL by laying approximately 1745kmOPGW in order to make the SCADA system more reliable and to have its utilization in various IT applications of OPTCL like ERP, operational requirement for asset maintenance system, contracts management, finance management, internet &intranet services to various grid sub-stations. Further, OPTCL will earn revenue by leasing dark fibres to private telecom service providers. The estimated cost of this project is Rs. 48.00 Cr. This would be funded from OPTCL’s own resources and executed on turn-key basis. The project completion time is 3 years. Detailed Project Report, implementation plan, expenditure plan, technical specifications for initiating e-tendering etc. have been prepared and shall be completed shortly. Provision of Rs. 5.00 Cr. has been kept in the annual budget of FY 2015-16.As per the expenditure plan an amount of Rs.30.00 Cr. shall be required for FY 2016-17.

- Provision of Digital Protection in all 220kV lines through SDH Equipment

As OPTCL is having OPGW connectivity with availability of SDH terminal equipment in all 220 kV lines, provision of tele-protection facility through SDH equipment has been proposed to be implemented by OPTCL at an estimated cost of Rs. 2.09 Cr. from  own resources. Work order has been awarded to M/s Alstom T&D India Ltd. As per the contract, the work shall be completed in the current financial year.

- Laying of OPGW to balance 132/220/400Kv S/S of OPTCL ( App. 6589km)

OPGW will also be extended to all existing 132/220kV line sections as well as upcoming lines of OPTCL(app.6589km), which have been arrived by the consultant , M/s PRDC engaged by OPTCL. The project has been proposed to be implemented at an estimated cost of Rs 181.24 Cr.from the FY 2016-17. Rs 45.31 Cr. is proposed to be spent during FY 2016-17.

- Infrastructure provision of SCADA for up-coming Industries

As per recent policy of Government, a number of  industries including IPPs  & CPPs are being added to the OPTCL network with facility for provision of  data and voice communication as per Orissa Grid Code Regulation, 2006. For the purpose, OPTCL has to provide required infrastructure for the industries for their data display at SLDCat an estimated cost of Rs9.60 Cr.Accordingly, Rs.2.4 Cr.is proposed to be spent during FY 2016-17.

- 8.Provision of Digital Tele-proetction coupler in all 220kV lines:

46 nos of digital Tele-protection couplers at an estimated cost of Rs. 2.09 Cr.has been made in selected 220kV line sections for the FY 2015-16. As per the guide lines of CEA, the remaining 220kV lines shall be included at an estimated cost of Rs. 5.91 Cr. during FY 2016-17 for smooth functioning of protection system in EHV lines.

- 9. Provision of phase wise replacement of RTU

As per the administrative approval of Board,  52 nos. old  Areva make S900 RTUs have been proposed to be replaced in phased manner at an estimated cost of Rs. 7.95 Cr. from the FY 2015-16. Accordingly, Rs.2.75 Cr. is proposed to be spent during FY 2016-17.

- 10.Phase wise replacement of 8 core OPGW by 24 core OPGW:

As per the administrative approval of Board, 511km of 8 core OPGW  have been proposed to be replaced by 24 core OPGW in phased manner from FY 2015-16 at an estimated cost of Rs. 16.68Cr.Accordingly, Rs.10.83 Cr. is proposed to be spent during FY 2016-17.

- 11. Installation of PMUs in all 220kV and above kV lines of OPTCL

In line with URTDSM project of CEA, OPTCL has proposed to implement Phasor Measurement Unit(PMU) in all 220kV & above voltage lines of OPTCL at an estimated cost of Rs 10.60Cr. from the FY 2015-16. Accordingly, Rs.4.05 Cr. is proposed to be spent during FY 2016-17.

Accordingly provision of Rs. 101.25 Cr. is proposed for FY 2016-17 towards CAPEX pertaining to Telecommunication Wing, the details of which are shown in the Table-15 below:

Table -15

| CAPEX - TELECOM PROJECTS - FY 2016-17 |  |
| --- | --- |
| ITEM | Amount (Rs. Cr.) |
| SCADA interface points at vital 132kV s/s by laying OPGW cable (1745 km.) | 30.00 |
| Laying OPGW to balance 132/220/400kV s/s (Approx. 6589km.) | 45.31 |
| Infrastructure provision of SCADA for upcoming industries | 2.40 |
| Provision of Digital Tele-protection coupler in all 220kV lines | 5.91 |
| Provision of phase-wise replacement of old RTU | 2.75 |
| Phase-wise replacement of 8 core OPGW by 24 core OPGW | 10.83 |
| Installation of PMUs in all 220kV & above voltage level s/s | 4.05 |
| Total | Rs. 101.25 Cr. |

- CAPEX FOR O&M RELATED PROJECTS:

- An amount of Rs. 119.40 Cr. has been proposed for the FY 2016-17under CAPEX to meet the future load growth basically by way of transformer capacity augmentation / sub-station capacity enhancement by installing additional / 3rdtransformers in the existing grid sub-stations, conductor up-gradation with HTLS, conversion of S/C lines in D/C towers to D/C lines. The details of item wise CAPEX for O&M related projects are shown in the Table-16 below.

- Table-16

| CAPEX - O&M PROJECTS - FY 2016-17 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. No. | Description | Unit Rate (Lakh) | Quantity | Amount (Rs. Lakh) |
| 1 | PROCUREMENT OF TRANSFORMERS WITH COST OF ERECTION |  |  |  |
| (i) | Procurement of 160 MVA, 220/132kV | 715.00 | 2 | 1,430.00 |
| (ii) | Procurement of 63 MVA, 132/33kV | 363.00 | 2 | 726.00 |
| (iii) | Procurement of 40 MVA, 132/33kV | 300.30 | 11 | 3,303.30 |
| (iv) | Procurement of 40 MVA, 220/33kV | 335.50 | 1 | 335.50 |
| (v) | Procurement of 20 MVA, 132/33kV | 165.00 | 5 | 825.00 |
| (vi) | Cost of construction of Bays | LS |  | 700.00 |
| 2 | PROCUREMENT OF TRANSFORMERS TO MEET EMERGRNCY SITUATION |  |  |  |
| (i) | Procurement of 160 MVA- 2 nos., 40 MVA - 5 nos, 20MVA-2 nos Transformers | LS |  | 3,743.00 |
| 3 | CONVERSION OF S/C (DC TOWERS) TO D/C WITH BOTH END BAYS |  |  |  |
| (i) | 132kV Kendrapara - Pattamundai (19.5 RKM) | LS |  | 289.00 |
| 4 | UPRATING OF CONDUCTOR WITH HTLS |  |  |  |
| (i) | 132kV Ranasinghpur - Kesura SC (26.36 RKM) | LS |  | 481.00 |
| 5 | CONSTRUCTION OF BAYS AT GRID SUBSTATIONS |  |  |  |
| (i) | LILO of 132kV Burla - Chipilima Tie Line (Ckt - I) to Katapali Grid with connecting Bays | LS |  | 108.00 |
|  | TOTAL |  |  | 11,940.80 = Rs. 119.40 Cr. |

- (iii) CAPEX FOR INFORMATION TECHNOLOGY (IT) RELATED PROJECTS:

Provision of Rs. 30.64 Cr. is made for FY 2016-17 towards CAPEX for infrastructure development of IT and automation related fields etc. as given in the Table-17 below:

Table-17

| CAPEX - IT PROJECTS - FY 2016-17 |  |  |
| --- | --- | --- |
| Sl. No. | Item Description | Amount (Rs Cr.) |
| 1 | Geographical Information System (GIS) | 5.700 |
| 2 | Analytics (Business Intelligence) | 3.500 |
| 3 | Primary Data Center | 4.500 |
| 4 | Disaster Recovery Data Center | 7.000 |
| 5 | End-User IT Systems | 3.000 |
| 6 | Network (OGS-WAN) | 0.820 |
| 7 | IT Security | 0.500 |
| 8 | Smart Grid Initiatives (AMI) | 1.000 |
| 9 | Other IT Initiatives: |  |
| a) | CCTV & VC | 4.566 |
| b) | DMS | 0.050 |
| TOTAL |  | Rs. 30.64 Cr. |

- (iv) CAPEX FOR CIVIL WORKS:

OPTCL proposes CAPEX of Rs. 17.67 Cr. relating to Civil Works during FY 2016-17 for new upcoming projects which have been detailed in Table-18 below.

Table-18

| CAPEX - CIVIL WORKS PROJECTS - FY 2016-17 |  |  |
| --- | --- | --- |
| Sl. No. | Description of works | Amount (Rs. Cr.) |
| 1 | Construction of re-alignment of approach roads & related work | 0.45 |
| 2 | Construction of Boundary and Compound Wall related work | 0.98 |
| 3 | Water supply system, sewerage system and drainage related work | 0.31 |
| 4 | Renovation & Construction of offices, staff qrs., stores | 2.56 |
| 5 | Construction of PEB,GRIDCO,BBSR | 3.37 |
| 6 | Construction of Tech Tower, BBSR | 10.00 |
| TOTAL |  | Rs. 17.67 Cr. |

- (v) CAPEX FOR CONSTRUCTION WING: (F-2)

It has been planned to spend an amount of Rs. 744.62 Cr. on transmission related infrastructure during FY 2016-17 to increase the overall system capacity and to strengthen the transmission system network of the state, the details of which are shown in the Table-19 below.

Table-19

| CAPEX FOR CONSTRUCTION WING PROJECTS- FY 2016-17 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of the Project/Scheme | Expenditure during FY 2015-16 |  |  | projected Expenditure (FY 2016-17) |
| A | ONGOING SCHEME | Actual for First Six Months | Projection for Balance Six Months | Total |  |
| 1 | 2 | 3 | 4 | 5=3+4 | 6 |
| 1 | 400kV Meramundali- DuburiD/C line | - | 4.00 | 4.00 |  |
| 2 | 132/33kV Khajuriakata(Hindol Road) S/S with line | 3.20 | 7.50 | 10.70 |  |
| 3 | 400kV IB- Meramundali D/C line | - | 1.20 | 1.20 |  |
| 4 | Diversion of 132kV Dhenkanal- Nuapatna line with 132KV Bay Extension at Nuapatna | 0.06 | 3.50 | 3.56 |  |
| 5 | Conversion of 132/33kVSomanathpurSw-Stn to S/S | 1.14 | 2.00 | 3.14 |  |
| 6 | 2x12.5MVA ,132/33kV UdalaS/S with LILO | - | 1.00 | 1.00 | 8.00 |
| 7 | 132kV Bhadrak - AnandpurS/C line | 1.98 | 6.00 | 7.98 | 15.27 |
| 8 | 132/33kV OlaverS/S & 132kV Pattamundai-Olavar line with Bay Extension at Pattamundai | 1.89 | 3.00 | 4.89 | 2.00 |
| 9 | 132/33kV AgarpadaS/S with LILO | 1.48 | 7.00 | 8.48 | 15.00 |
| 10 | 2x20MVA, 132/33kV Bhograi S/S with LILO | 3.88 | 5.00 | 8.88 | 14.00 |
| 11 | 132kV Kuchei PG-JaleswarD/C line & 2 nos. 132kV Bay Extension | 6.04 | 3.50 | 9.54 | 5.50 |
| 12 | 220/132/33kV Puri(Samangara) S/S with line | 35.51 | 5.00 | 40.51 | 1.00 |
| 13 | 220/132/33kV Atri (Karadagadia)S/Swith LILO | 10.88 | 5.00 | 15.88 | 5.00 |
| 14 | 2x160MVA, 220/132kV MendhasalS/S with line | 1.24 | 1.00 | 2.24 |  |
| 15 | 220/132/33kV PratapsasanS/S with line | 1.30 | 8.00 | 9.30 | 15.00 |
| 16 | 3rd ICT at 400/220kV MendhasalS/S | 3.93 | 5.00 | 8.93 | 10.15 |
| 17 | 220kV Bidanasi-Cuttack D/C line | 2.04 | 3.00 | 5.04 |  |
| 18 | 220/132kV Cuttack (Nuapada) S/S & 220KV Bay Extensions at Bidanasi | 0.24 | 5.50 | 5.74 | 2.00 |
| 19 | 132/33kV MarshaghaiS/S with LILO | 4.52 | 2.50 | 7.02 |  |
| 20 | 132kV Bay Extensions at Salipur&Kendrapara with lines | 0.07 | 4.50 | 4.57 |  |
| 21 | 132kVNuapatna-Banki S/C line | 1.32 | 4.00 | 5.32 | 10.63 |
| 22 | 2X20MVA, 132/33kV R.UdayagiriS/Swith line | 8.81 | 7.00 | 15.81 | 23.67 |
| 23 | Conversion of existing 132kVBalasore- Somathpur S/C line to D/C line & 132kV Bay Extensions | - | 2.00 | 2.00 | - |
| 24 | 220/33kV Narasinghpur S/S with LILO | 0.13 | 6.00 | 6.13 | 16.87 |
| 25 | 132/33 kV Bangiriposhi S/S with line | 1.27 | 3.00 | 4.27 | 9.00 |
| 26 | 132/33kV Dhenkikote S/S with line | - | 6.00 | 6.00 | 27.93 |
| 27 | 2x20MVA,132/33kV Brajabiharipur, Cuttack (old site CDA) S/S | - | 3.50 | 3.50 | 20.00 |
| 28 | 220/33kV BaligudaS/S with line | 8.75 | 5.00 | 13.75 | 35.00 |
| 29 | 2x20MVA, 132/33kV Satasankha(puri) S/S with line | - | 2.00 | 2.00 | 25.00 |
| 30 | 132/33kV Tirtol S/S with LILO | - | 2.00 | 2.00 | 15.00 |
| 31 | 132/33kV ChikitiS/S withline | - | 5.00 | 5.00 | 22.00 |
| 32 | 132/33kV Betonati S/S with line | 0.29 | 4.00 | 4.29 | 5.00 |
| 33 | 220/132/33kV AskaS/S with line | 6.86 | 10.00 | 16.86 | 30.00 |
| 34 | 220/132/33kVChandaka-B (Bhubaneswar) GIS S/S | 5.63 | 35.00 | 40.63 | 35.00 |
| 35 | 220kV Atri-Pandiabil D/C line | 6.82 | - | 6.82 |  |
| 36 | 220/132/33kV GodaChhak S/S with line | - | 4.00 | 4.00 | 15.00 |
| 37 | 400/220KV Duburi(New) S/S & Bay Extension Work at Meramundali | - | 1.00 | 1.00 |  |
| 38 | 132/33kV Boudh S/S with Line | - | 0.05 | 0.05 |  |
| 39 | 132/33kV PadampurS/S with line | 0.09 | 7.00 | 7.09 | 3.00 |
| 40 | 220/132kV KesingaS/S with line | 0.79 | 10.00 | 10.79 | 10.00 |
| 41 | 132/33kV Kantabanji S/S with line | 1.16 | 10.00 | 11.16 | 4.00 |
| 42 | 220/132/33kV Baragarh(New) S/S | 0.75 | 10.00 | 10.75 | 15.00 |
| 43 | 132kV PottangiS/S with line | 2.91 | 11.00 | 13.91 | 0.10 |
| 44 | 132kV UmerkoteS/S with line | 4.87 | 0.10 | 4.97 |  |
| 45 | 2nd 220kVIndravati-TherubaliD/Cline |  | 1.50 | 1.50 | 1.00 |
| 46 | 132/33kV Podagada S/S with line | 2.99 | 14.00 | 16.99 | 1.00 |
| 47 | 220kV Jayanagar(OPTCL)-Jaynagar (PGCIL) line & 2 nos. 220kV feeder bays | 0.37 | 5.00 | 5.37 | 5.00 |
| 48 | Conversion of existing Jaynagar- Sunabeda S/C line to D/C line | 3.50 | 5.00 | 8.50 | 1.00 |
| 49 | 220/33kV MalkanagiriS/S with line | 0.84 | 15.00 | 15.84 | 10.00 |
| 50 | 2x20MVA ,132/33kV Muniguda S/S with LILO | 0.42 | 5.00 | 5.42 | 10.00 |
| 51 | 2x20MVA,132/33kV KalungaS/S with LILO | 0.04 | 4.00 | 4.04 |  |
| 52 | 2x40MVA,220/33kV BonaiS/S with LILO | 0.10 | 2.00 | 2.10 | 8.00 |
| 53 | 220/132kV LapangaS/S with lines | 0.93 | 7.00 | 7.93 |  |
| 54 | Conversion of 132/11kV S/S to 2x40MVA, 132/33kV S/S at Sarasmal(Jharsuguda) | 1.24 | 2.00 | 3.24 | 4.00 |
| 55 | Transformer bay at 220/33kV LaxmipurS/S | 0.22 | 2.00 | 2.22 | 3.00 |
| 56 | 2x12.5MVA, 220/33kV KasipurS/S with LILO | 0.06 | 5.00 | 5.06 | 10.00 |
| 57 | 132kV Junagarh-KesingaS/C line | 2.47 | 2.00 | 4.47 | 10.00 |
| 58 | 2X20MVA, 132/33kV BorigumaS/S with LILO | - | 5.00 | 5.00 | 8.00 |
| 59 | 2x20MVA, 220/33kV JaypatnaS/S with line | 6.95 | 5.00 | 11.95 | 7.00 |
| 60 | 220/33kV Kalimela S/S with line | - | 5.00 | 5.00 | 7.00 |
| 61 | 132kV Jayanagar -Tentulikhunti S/C line | - | 6.00 | 6.00 | 8.00 |
| 62 | 132/33kV BirmaharajpurS/S with line | 0.01 | 4.00 | 4.01 | 7.00 |
| 63 | 132/33kV TusuraS/S with line | 2.76 | 4.00 | 6.76 | 10.00 |
| 64 | 132kV Nuapada-PadampurS/C line | - | 3.00 | 3.00 | 5.00 |
| 65 | 400/220kV Lapanga S/S with line | 7.48 | 2.00 | 9.48 | 15.00 |
| 66 | 132/33kV GhensS/S with line | 3.08 | 4.00 | 7.08 | 15.00 |
| 67 | 132 kV Podagada-Pottangi S/C line | - | 0.05 | 0.05 | 5.00 |
| 68 | 220 kV Pandiabil-Pratapsasan Line | 2.74 | 2.00 | 4.74 | 12.00 |
| 69 | 132/33kV BankiS/S with line | 0.84 | 0.50 | 1.34 |  |
| 70 | Other Works | 4.46 | 2.50 | 6.96 |  |
|  | TOTAL - A | 171.35 | 343.40 | 514.75 | 577.12 |
| B | NEW PROJECTS |  |  |  |  |
| 1 | 400/220 kV Meramundali- B GIS S/S with line |  |  |  | 10.00 |
| 2 | 132/33kV Unit-8 (Bhubaneswar)GIS S/S with line |  | - | - | 10.00 |
| 3 | 132/33kV Rasulgarh(Bhubaneswar) GIS S/S with line |  | - | - | 5.00 |
| 4 | 132kV Phulbani-Boudh S/C line |  |  |  | 7.00 |
| 5 | 132/33kV AthagarhGIS S/S& associated LILO |  | 5.00 | 5.00 | 15.00 |
| 6 | 220/33kV KeonjharGIS S/S &associated line |  | 5.00 | 5.00 | 15.00 |
| 7 | 132/33kV ChandbaliGIS S/S & associated line |  | 0.10 | 0.10 | 2.00 |
| 8 | 220/132kV Dhenkanal(New) S/S & associatedline |  |  | - | 2.00 |
| 9 | 132/33kV RajnagarS/S & associated line |  | 0.03 | 0.03 | 5.00 |
| 10 | 132/33kV BahugramS/S& associated Line |  | 0.03 | 0.03 | 5.00 |
| 11 | 132/33kV Chandipur S/S& associated line |  | 0.03 | 0.03 | 2.00 |
| 12 | 132/33kV G.Udayagiri S/S & associated line | 0.01 | 0.03 | 0.04 | 5.00 |
| 13 | 132/33kV GondiaS/S & associated line |  | 0.03 | 0.03 | 5.00 |
| 14 | 220/33kV DasapallaS/S with line |  | 0.50 | 0.50 | 1.00 |
| 15 | 220/132/33kV KuakhiaGIS S/S with line |  | 0.50 | 0.50 | 2.00 |
| 16 | 220/132/33kV Kiakata S/S with line |  | 0.70 | 0.70 | 2.00 |
| 17 | 440/220kV Bhadrak (Ramakrushnapur) GIS S/Swith line |  | 0.75 | 0.75 | 2.00 |
| 18 | 400/220kV Berhampur(Narendrapur) S/S with line |  | 0.20 | 0.20 | 2.00 |
| 19 | 132kV Kuchei(PGCIL)-Baripada DC line |  | 0.03 | 0.03 | 3.00 |
| 20 | 2x20 MVA, 132/33kV ManeswarS/S with LILO |  |  | - | 1.00 |
| 21 | 220/33kV Deogarh S/S with line |  |  | - | 1.00 |
| 22 | 220/33kV LephripadaS/Swith line |  |  | - | 1.00 |
| 23 | 132/33kV Thuapalli S/S with line | - | 0.20 | 0.20 | 1.00 |
| 24 | 132/33kV ThuamularampurS/S with associated line |  | 0.10 | 0.10 | 0.50 |
| 25 | 220/132 kV Gunupur S/S with associated line | 0.02 | 0.50 | 0.52 | 5.00 |
| 26 | 220/33kV Govindpalli S/S with associated line | - | 0.10 | 0.10 | 0.50 |
| 27 | 132/33kVLakhanpur S/S with line |  |  | - | 1.00 |
| 28 | 220/33KV S/S at Turumunga with associated line |  |  |  | 1.00 |
|  | TOTAL - B | 0.03 | 13.83 | 13.86 | 112.00 |
|  | TOTAL - A+B | 171.38 | 357.23 | 528.61 | 689.12 |
| C | DEPOSIT WORK |  |  |  |  |
| 1 | EHT line diversion for Haridaspur- Paradeep Rly. line | - | 1.00 | 1.00 |  |
| 2 | 132/33kV S/S at SamukaBeach(Puri)with LILO | 0.73 | 4.60 | 5.33 |  |
| 3 | 132/33kV Konark S/S with line | 2.65 | 5.00 | 7.65 |  |
| 4 | 3x40 MVA, 132/33kV ArugulS/S with line | 0.25 | 2.00 | 2.25 |  |
| 5 | 220/33kV Infocity-II GIS(IDCO) S/S with line | 7.21 | 12.00 | 19.21 | 2.00 |
| 6 | 132/33kV Mania (Tangi) S/S | 1.93 | 9.50 | 11.43 |  |
| 7 | RTSS at Boinda | - | 1.00 | 1.00 | 2.00 |
| 8 | RTSS at Talcher Road | - | 0.50 | 0.50 | 1.50 |
| 9 | RTSS at Malatipatapur | - | 0.50 | 0.50 | 1.50 |
| 10 | RTSS at Kendrapara | - | 0.50 | 0.50 | 1.50 |
| 11 | RTSS at Kamakhyanagar | - | 0.50 | 0.50 | 1.50 |
| 12 | RTSS at Rairakhol | - | 0.50 | 0.50 | 1.50 |
| 13 | RTSS at Belpahar | 0.81 | 1.00 | 1.81 | 2.00 |
| 14 | 220/33kV Basundhara S/S with line | 0.05 | 2.25 | 2.30 |  |
| 15 | RTSS atRengali |  | 0.10 | 0.10 | 4.00 |
| 16 | RTSS at Bimalagarh | 2.32 | 2.00 | 4.32 | 4.00 |
| 17 | RTSS at Bissam Cuttack | - | 5.00 | 5.00 | 10.00 |
| 18 | RTSS at Rayagada | - | 2.00 | 2.00 | 10.00 |
| 19 | RTSS at Lanjigada | - | 10.00 | 10.00 | 10.00 |
| 20 | RTSS at Kechobahal |  | 0.10 | 0.10 | 4.00 |
|  | TOTAL - C | 15.95 | 60.05 | 76.00 | 55.50 |
|  | TOTAL - D = A+B+C | 187.33 | 417.28 | 604.61 | 744.62 |

### A. 3)Depreciation: (F-17)

As per the Regulation 8.38 of OERC Regulations, 2014 for STU (OPTCL), depreciation shall be calculated for each year of the control period, on the original book value of the assets considering applicable depreciation rate as determined by the Commission from time to time.

Further, as per the Regulation 8.34,  thedepreciation shall be calculated annually based on Straight Line Method and at rates as specified in Appendix-A of these regulations.

The book value of the assets at the beginning of the FY 2016-17 is estimated as Rs.4434.89Cr.(Rs.3471.26Cr. as on 01.04.15+Rs. 963.63 Cr. projected addition during FY 2015-16). For 2015-16, the Depreciation is estimated as Rs.150.50Cr which includes Rs.0.66 Cr. towards cost of premium/ rent on leasehold land. The detailed Statement of Fixed Assets and block-wise computation of depreciation is shown in Table-20below:

Table-20

(Rs. Cr.)

| Transmission Assets | OERC Depreciation Rate as per Regulations, 2014 | Gross Block as on 01.04.2016 | Addition | Depreciation |
| --- | --- | --- | --- | --- |
| Free Hold Land |  | 41.30 | 6.06 | - |
| Lease Hold Land |  | 24.50 | 3.59 | 0.66 |
| Buildings | 3.34% | 102.22 | 14.99 | 3.41 |
| Plant and Machinery | 3.34% | 10.28 | 1.51 | 0.34 |
| (Other Civil Work) |  |  |  |  |
| Plant and Machinery | 5.28% | 2,009.58 | 294.75 | 76.38 |
| Plant and Machinery (By Beneficiary) | 0.00% | 434.24 | 187.95 | - |
| Plant and Machinery: | 5.28% | 1,778.66 | 260.88 | 67.51 |
| (Lines, Cables & Network) |  |  |  |  |
| Vehicles | 9.50% | 1.95 | 0.29 | 0.19 |
| Furniture, Fixture | 6.33% | 3.92 | 0.57 | 0.25 |
| Office Equipment& Others | 6.33% | 28.24 | 4.14 | 1.76 |
| Grand Total |  | 4434.89 | 774.73 | 150.50 |

In view of the above, OPTCL prays the Hon’ble Commission to allowRs.150.50Cr. towards depreciation in the ARR for FY 2016-17 in order to enable OPTCL to repay the loan availed for CAPEX in time.The detailed computation of depreciation is shown in F-17.

### 4) RETURN ON EQUITY: (F-9)

- As per the Regulations 8.28 & 8.29 of OERC Regulations, 2014, STU (OPTCL) shall be allowed a Return on Equity Capital in rupee terms at the rate of 15.5% per annum (post tax), on the amount of equity capital base as determined by the Commission. This rate of return needs to be grossed up with the normal/applicable tax rate. For the preceding few years, OPTCL generated losses and was not liable to pay taxes. Hence rate of Return on Equity has been grossed up with the applicable Minimum Alternative Tax (MAT) @ 20.96% including surcharge and cess (for book profits greater than 1 Cr). Thus, the effective rate for calculation of return on equity is 19.61% which has been used for projecting the RoE.

- At the time of de-merger of GRIDCO effective from 01.04.2005, the equity share capital of OPTCL was Rs.60.07 Cr leaving the balance equity share capital with GRIDCO. Through infusion of additional capital by the state government, the paid up equity capital of OPTCL has increased to Rs. 353.07 Cr as on 31.03.2015 as per the Provisional Account.

- Government of Odisha has committed to provide funds of Rs. 300 Cr. as equity over the five year period FY 2011-16 i.e. Rs. 60 Cr. annually. By the end of 2016, OPTCL has received Rs.249.93Cr. and balance of Rs.50.07Cr. will be received in FY 2016-17.

- Regarding equity of Rs.60.07 Cr. inherited by OPTCL at the time of demerger of GRIDCO into GRIDCO and OPTCL, the Hon’bleCommission vide Para 292 of the OPTCL tariff order for FY 2009-10 disallowed Return on Equity on the above amount. Hence, this amount is not included inthe present application for computation ofRoE.

- OPTCL has received Rs.303.07Cr. (Rs.23.05 Cr. in FY 2008-09 +Rs.5 Cr. in FY 2009-10 +Rs.71.95 Cr. in FY2010-11 +Rs.43Cr.inFY2011-12 + Rs.50 Cr. in FY 2012-13+Rs.50 Cr.in FY 2013-14+Rs. 50 Cr in FY 2014-15+Rs.56.93 Cr. in FY 2015-16) from the State Govt. as equity contribution for setting up transmission projects in remote areas.

- Accordingly, OPTCL proposes Return on Equity (RoE) of Rs.68.62 Cr. during FY 2016-17@ 19.61% as per clause 8.28 of Regulations, 2014onRs.349.93 Cr. (Rs. 410.00Cr..- Rs.60.07 Cr..)i.e. on opening balance of FY 2016-17

### A.5)INCOME TAX

(i) As per the Regulation 8.43 of OERC Regulations, 2014, Income tax of the Transmission Licensee shall be recovered from the beneficiaries. This will exclude income tax on other income streams (non-transmission business).

(ii) Further, as per Regulation 8.44 of aforesaid Regulations, the actual assessment of income tax should take into account benefits of tax holiday, and the credit for carry forward losses applicable as per the provisions of the Income Tax Act, 1961 shall be passed on to the consumers.

- (iii) It is submitted that OPTCL has projected Rs.7.79 Cr. for the FY 2014-15 towards Income Tax  under section 115JB of Income Tax Act,1961. For the FY 2016-07 same amount of Rs.7.79 Cr.are projected to be considered in the ARR. However, difference if any, as per the Regulation 8.43 and 8.44, shall be adjusted during the true up exercise based on audited accounts.

- TRANSMISSION COST

- Considering the proposed cost / expenses under different heads, the Transmission Cost of OPTCL for FY 2016-17is worked out as Rs.990.81Cr. Details are shown in the Table- 21 below:

- Table-21

| TRANSMISSION COST FOR FY 2016-17 |  |
| --- | --- |
| Particulars | Amount (Rs. Cr.) |
| Employee Cost including Terminal Benefits | 399.56 |
| R&M Cost | 170.66 |
| A&G Cost | 25.58 |
| Expenses related to auxiliary energy consumption | 3.82 |
| Other miscellaneous expenses, statutory levies and taxes(GCC& CSR) | 2.41 |
| Sub-Total (O&M Cost) | 602.03 |
| Interest on Loan Capital | 124.55 |
| Interest on Working Capital | 17.81 |
| Rebate | 19.50 |
| Sub- Total (Interest & Financial Cost) | 161.86 |
| Depreciation | 150.50 |
| Return on Equity | 68.62 |
| Income Tax | 7.79 |
| Total | Rs. 990.81 Cr. |

B)	OTHERS:

B.1)  INCENTIVE FOR SYSTEM AVAILABILITY:

- The Regulation 6.4 of OERC Regulations, 2014 specifies the “Operational Norm” applicable for transmission system for recovery of full annual transmission charge by the Transmission Licensee. The Normative Annual Transmission System Availability Factor (NATAF)shall be 98.50% for AC system for recovery of full Annual Transmission Charges.

As per the Regulation 6.5 of OERC Regulations, 2014, OPTCL is entitled to get incentive if the transmission system availability factor (TAFY) for the year is greater than the NATAF in per cent specified in Regulation 6.4 (as submitted above).

OPTCL has filed the calculation of TAFY for the year 2014-15 as 99.95% [Annexure-II (page 58-78)]. This is in line with the method of computation of TAFY prescribed in the Appendix B of the OERC Regulations, 2014. The computation and the TAFY figure have been verified and certified by SLDC.

In accordance with the formula prescribed in Regulation 6.5, OPTCL has worked out incentive of Rs.9.19 Cr. towards system availability for the year 2014-15 using approved ARR figure of Rs. 624.50 Cr. for the said year.

- Incentive = ARR (approved for 2014-15) x [(TAFY/NATAF)-1]

- = Rs. 624.50 Cr.x [(99.95/98.50)-1]

- = Rs. 624.50 Cr.x1.4721% = Rs. 9.19 Crore

Hence, OPTCL proposesRs. 9.19 Cr.towards Incentive for System Availability to be allowed in the ARR for FY 2016-17.

- It is further submitted that the incentive approved by the Hon’ble Commission would be utilised for enhancing motivation of employees of OPTCL in the manner as would be decided by OPTCL management.

B.2) CONTINGENCY RESERVE: (F-16)

The requirement of Contingency Reserve in a natural calamity prone State like Odisha need not be over emphasized. Investment towards Contingency Reserve relates to maintaining an emergency fund to meet expenses towards unforeseen calamities. Contingency Reserve is being kept in a separate Reserve Fund and invested in the specified securities.

As per the observation of the Hon’ble Commission in para 237 of ARR order for FY 2015-16, OPTCL is not claiming any amount under Contingency Reserve as Commission will allow the actual expenditure in the truing up as and when spent by OPTCL.

### OTHER INCOME AND COST / MISCELLANEOUS RECEIPT:

During 1st six months of FY 2015-16, Miscellaneous Receipt of OPTCL from different sources is about Rs.16.01Cr., the details are given in the Table-22 below:

Table-22

| Miscellaneous Receipt during 1st six months of FY 2015-16 |  |
| --- | --- |
| Source | Rs.Cr. |
| Inter-State Wheeling | 0.20 |
| Short-Term Open Access | 12.33 |
| STU charges received from Energy Exchange | 2.24 |
| Supervision Charge | 1.24 |
| Total | Rs. 16.01 Cr. |

Current status on revenue earnings from Inter-State Wheeling:

As per the Central Electricity Regulatory Commission (Sharing of Inter State Transmission  Charges and Losses) Regulations, 2010 CTU will collect the transmission charges from the interstate customers paid to OPTCL. As per direction of Hon’ble CERC in Suo-MotuPetition No. 15 of 2012, OPTCL has filed its application for determination of Point of Connection (PoC) transmission charges for a number of natural and deemed ISTS line(Petition No. 203/TT/2013). Hearing of the petition has been completed and order is reserved. In view of the position explained, revenue from inter-state wheelingduring FY2016-17 cannot be correctly assessed. For FY 2015-16, only Rs.20 lakh towards inter-state wheeling charges is received from  CSPDCL (wheeling of 5 MW power share of Chhatishgarhfrom Hirakud Power System).

Current status on revenue earnings from Supervision Charge:

Compared to earlier years, the earning from Supervision Charge during 1st six months of FY 2015-16is drastically reduced. The numberof applicant industriesis very less for which revenue from Supervision Charge during the balance period of FY2015-16 would not be appreciable. For the above reasons, revenue generation from other sources is not certain.

Hence, in line with the trend of revenue earning during FY 2015-16, OPTCL expects the Miscellaneous Receipt of Rs. 25.00Cr. during FY 2016-17.

The summary of Aggregate Revenue Requirement of OPTCL for FY 2015-16 is shown in the Table-23below adding all the projected expenditures as explained in foregoing paragraphs:

SUMMARY OF AGGREGATE REVENUE REQUIREMENT OF OPTCL FOR FY 2016-17

Table-23(Rs. Cr.)

| ITEMS | Proposal for OPTCL 2016-17 |  |
| --- | --- | --- |
| A) FIXED COST |  |  |
| 1. O&M Expenses |  | 602.03 |
| (i) Employees Cost including Terminal Benefits | 399.56 |  |
| (ii) A&G Cost | 25.58 |  |
| (iii) R&M Cost | 170.66 |  |
| (iv) Expenses related to auxiliary energy consumption | 3.82 |  |
| (v)Other miscellaneous expenses, statutory levies and taxes(GCC& CSR) | 2.41 |  |
| 2. Interest & Financial Charges |  | 161.86 |
| (i)Interest on Loan Capital | 124.55 |  |
| (ii) Interest on Working Capital | 17.81 |  |
| (iii) Rebate | 19.50 |  |
| 3. Depreciation |  | 150.50 |
| 4. Return on Equity |  | 68.62 |
| 5. Income Tax |  | 7.79 |
| Sub-Total (A) |  | 990.81 |
| B) Others |  |  |
| Incentive for system availability |  | 9.19 |
| Total Trans. Cost (A+B) |  | 1000.00 |
| C) Less Misc. Receipts |  | 25.00 |
| D) ARR to be recovered from LTOA Customers i.e. OPTCL's Aggregate Revenue Requirement |  | 975.00 |

### TRANSMISSION LOSS:

The transmission loss is purely a technical loss and dependent on the location of generation sources, system configuration and power flow requirements at different load centres. In view of the increasing demand for power at an accelerated pace due to ongoing industrialization and implementation of central & state sponsored schemes like RGGVY, DDUGJY, BGJY, 24x7 Power For All etc. in Odisha, there will be increased flow of power in the OPTCL transmission network contributing to increased transmission loss.

OPTCL has been able to reduce the transmission loss year over year by commissioning a number of new transmission projects and adopting innovative schemes under Master Maintenance Plan during last few years. The actual transmission loss in the OPTCL’s transmission system from April’15 to September’15 is 3.71%against Commission’s approval of 3.75% for FY 2015-16. OPTCL expects the loss level to remain around 3.75% in the current year. Accordingly,OPTCL proposes 3.70% transmission loss during FY 2016-17.

### ESTIMATION OF REVENUE RECEIPT AND DEFICIT OF ARR AT THE EXISTING TRANSMISSION CHARGE @ 25P/U

The Hon’ble Commission has accorded in-principle approval of the Long Term Demand Forecast (LTDF) for the period FY 2014-15 to FY 2022-23 vide Common Order dated 01.11.14 in Case No. 77/2013 & Case No. 56/2014 . Recently the DISCOMS have communicated their respective realistic energy demand projection to GRIDCO for FY2016-17.The following table indicates Commission’s in-principle approval and DISCOMs projection.

Demand (MU) of DISCOMS for FY 2016-17

| Name of DISCOM | Commission's approval in LTDF order (MU) | DISCOMs recent projection (MU) |
| --- | --- | --- |
| CESU | 11171 | 8905 |
| NESCO | 6360 | 5583 |
| WESCO | 7749 | 7450 |
| SOUTHCO | 4012 | 3530 |
| TOTAL | 29293 | 25468 |

OPTCL in the present application has taken the recent realistic demand projection of all four DISCOMs totalling 25468 MU for FY 2016-17. OPTCL envisages 150MU of energy to be transacted in DISCOMs 33kV & 11 kV network for which OPTCL is not entitled to receive any transmission charge as per Commission’s order. Hence, total MU to be transmitted in OPTCL network gets reduced to 25318 MU (25468-150) from the total demand projection of DISCOMs.

During FY 2016-17, OPTCL will earn revenue from the LTOA Customers in the following manner:

(i)	By charging the rate applicable on DISCOMs for wheeling of 25318 MU from Generating Stations to DISCOMs.

(ii)	By charging the rate applicable on CGPs like IMFA & NALCO for supply of 10 MU Emergency Power & Back-up Power to their CGPs and load centres located at different places.

(iii)	By charging the rate applicable on other LTOA customer like IMFA & NALCO for wheeling of their surplus power of 450 MU from their CGPs to load centres located at different places.

The revenue to be earned by OPTCL from wheeling of 25778 MU(25318+450+10) at the existing transmission tariff of 25 P/U will beRs.644.45 Cr. The details of the same are given in the Table-24 below:

Table-24

| Calculation of Revenue at the existing Transmission Charge @ 25 P/U |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Customer | Commission's approval for FY 2015-16 | Energy demand (MU) as per DISCOMs estimation (FY 16-17) | Part of energy to be handled in DISCOMs network for which no Trans. Charge to be claimed | MU to be handled by OPTCL | Amount (Rs. Cr.) |
| 1 | CESU | 8780 | 8905 | 150 | 25318 | 632.95 |
| 2 | NESCO | 5250 | 5583 |  | (25468-150) |  |
| 3 | WESCO | 7350 | 7450 |  |  |  |
| 4 | SOUTHCO | 3420 | 3530 |  |  |  |
|  | Total DISCOMs | 24800 | 25468 |  |  |  |
| 5 | Emergency Sale to CGPs | 10 | 10 |  | 10 | 0.25 |
| 6 | Wheeling to industries from CGPs | 450 | 450 |  | 450 | 11.25 |
|  | Total | 25260 | 25928 | 150 | 25778 | 644.45 |

Excess/Deficit of Revenue Requirement:

OPTCL will be having revenue deficit ofRs.330.55Cr. considering the ARR proposed and the revenue to be earned from wheeling of 25778 MU at the existing transmission tariff of                  25 P/U, the details of which are shown in Table-25below.

Table-25

| Deficit of Revenue requirement @ 25 P/U present tariff rate(Rs. Cr.) |  |
| --- | --- |
| Total Annual Revenue Requirement | 975.00 |
| Less: Revenue earned from Long Term Open Access Customer | 644.45 |
| Deficit of Revenue requirement for FY 2016-17 at the existing Rate @ 25 P/U | -330.55 |

Proposal for revision of Transmission Tariff/ Wheeling Charges

OPTCL, with its present transmission tariff, cannot meet its proposed revenue requirement at the existing transmission tariff of 25 P/U and will suffer revenue deficit as mentioned above. In order to meet the deficit, OPTCL submits this application before Hon’ble Commission with humble request to approve its proposed ARR, the Transmission Tariff and Transmission Loss for                 FY 2016-17to be effected from 01.04.2016.

OPEN ACCESS CHARGES:

Long Term Open Access Charges in terms ofRs./ MW/ Day

The Hon’ble Commission has notified the Open Access Regulation under section 42 (2) of the Electricity Act, 2003. Consumers availing open access shall be required to pay the transmission charges for use of the transmission lines and substations of OPTCL. The Long Term Transmission Charge on the basis of MW flow by adopting the formula as provided in the OERC (Determination of Open Access Charges) Regulations 2006 dated 06.06.2006 is:

Short Term Open Access Charges in terms of Rs./MW/Day

The revenue earning on account of Short Term Open Access Charges from Short Term Open Access Customers is uncertain. It is submitted that the proposed Short Term Open Access Charges will be adjusted in the revenue as year-end-adjustments at the end of the year on actual basis.

As per Chapter II, Para4 (1) (viii), OERC (Determination of Open Access Charges) Regulations 2006 dated 06.06.2006 (in short “Regulations 2006”), the Short Term Open Access Charges is calculated as:

Surcharge and/ or any other charge on Short Term Open Access, if any, as decided by the Hon’ble Commission will be leviable.

The transmission charges payable by a very short-term customer using the system for fraction of a day in case of uncongested transmission corridor shall be levied as under, namely: -

- Up to 6 hours in a day in one block: ¼th of the ST_rate

- More than 6 hours and up to 12 hours in a day in one block: ½ of ST_rate

- More than 12 hours and up to 24 hours in a day in one block: equal to ST_rate

The transmission charge payable by a short-term customer shall be for one day and in multiples of whole number of days.

The transmission licensee shall retain 25% of the charges collected from the short-term customers and the long-term customers shall adjust the balance 75% towards reduction in the transmission charges payable.

Wheeling charges shall be determined on the basis of same principles as laid down for intra-state transmission charges and in addition would include average loss compensation of the relevant voltage level as approved by OERC for the previous year subject to year-end adjustment.

Considering the methods shown above, the Long term Open Access Charges and Short term Open Access Charges in terms of Rs./MW/Day are proposed in the Table-26 below.

Table-26

| ABSTRACT OF OA CHARGES PROPOSED BY OPTCL FOR FY 2016-17 |  |
| --- | --- |
| DETAILS | In Rs. Per Unit approach |
| Net Annual Revenue Requirement (Rs. Cr.) | 975.00 |
| Proposed Energy to be transmitted in OPTCL Network (MU) | 25778 |
| Proposed Transmission Tariff (P/U) | 37.82 |
| Power Flow (Equivalent of 25778 MU) in MWs | 2943 |
| Long term Open Access Charges in terms of Rs./MW/Day | 9078 |
| Short term Open Access Charges in terms of Rs./MW/Day | 2269 |

Besides above Charges, the Open Access customers are also required to pay any other charges as determined by Hon’ble Commission as per provisions under Chapter-II (CHARGES FOR OPEN ACCESS) of the Regulations 2006.

- It is submitted that Hon’bleCERC in its Order dated 29.04.2011 in the matter of Approval of Transmission Service Agreement, Revenue Sharing Agreement, Billing, Collection and Disbursement Procedure under CERC (Sharing of Transmission Charges and Losses), Regulations, 2010 ruled as under:

“8.3 Point of Connection (PoC) Charges for Long Term Access, Medium Term Open Access and Short Term Open Access

8.2.1 There shall be no differentiation in PoC charges, as determined by the Implementing Agency for the Application Period, among the long-term access, medium-term open access and short-term open access to the ISTS.”

Accordingly, all types of Open Access Customers using CTU network have been paying equal rates since implementation of PoC Charges with effect from 01.07.2011.

Further, some State Electricity Regulatory Commissions like Maharashtra, Rajasthan, Punjab, Tamil Nadu, Andhra Pradesh etc. have already pronounced equal open access rates for long term and short term customers.

- Appreciable short-term transactions are now taking place from Odisha system to outside states under inter-state STOA mode. Similarly, intra-state STOA transactions have started to gather momentum. As per existing OERC Regulations, STOA customers are liable to pay 25% of the long term transmission charge. Hon’ble Commission may kindly consider to equate long term and short term rates to enable OPTCL to earn more revenue which would be accounted for under Miscellaneous Receipt so as to relieve the long term open access customers resulting downward effect on Retail Supply Tariff.

REACTIVE ENERGY CHARGES

The Hon’ble Commission, vide Para 253 of its order dated 23.03.2015 in Case No. 67/2014 (ARR & Transmission Tariff order of OPTCL for FY 2015-16) had provisionally fixed the Reactive Energy Charges @ 6.50 Paise / KVArh for FY 2015-16. The Commission had directed the licensee to discuss the matter in the GCC meeting afresh and file the detailed procedure and billing of Reactive Energy Charges with full justification thereof within 30thJune, 2015.

In the above context, it is submitted that monthly mock Reactive Energy bills are being served on the LTOA customers (four DISCOMs, NALCO & IMFA) by SLDC since long. In each of the forwarding letters, the stake holders are requested to furnish their feedback on the mock bills for further deliberation / action by OPTCL. In addition, the Member Secretary ,GCC vide letterNo. 5497 dated 01.08.2015 had requested the four DISCOMs as well as NALCO & IMFA to furnish their observations / comments positively within 15 (fifteen) days for further necessary action. Inspite of the above, no feedback regarding the mock Reactive Energy bills have been received from any of the stakeholders as on date. As such, the matter shall again be discussed in the next GCC meeting shortly.

However, Regulation 1.7 of OGC Regulations, 2006 (Charge / Payment for Reactive Energy Exchanges) stipulates that the rate for charge / payment of reactive energy exchanges (according to the scheme specified in section 5.3) shall be 5.0 Paise / kVArh with effect from the date to be notified by the Commission separately and shall be escalated at 0.25 Paise / kVArh per year thereafter, unless otherwise revised by the OERC.Since a provisional rate (i.e. 6.50 Paise/kVArh) has already been fixed by the Commission for FY 2015-16, OPTCL proposes that in accordance with Regulation 1.7 of said OGC Regulations, the Reactive Energy Charges may please be considered to be fixed at 6.75 Paise / kVArh for the FY 2016-17, i.e. an escalation of 0.25 Paise / kVArh over the approved provisional rate for FY 2015-16.

Compliance to the directions of the Hon’ble OERC in Case No. 67/2014 - ARR & Transmission Tariff Order of OPTCL for the FY 2015-16

The Hon’ble Commission vide letter No.1401 dated 12.11.2015 has directed OPTCL to furnish a detailed compliance report on the directions (enclosed to the said letter) issued in the ARR & Tariff order of OPTCL for the FY 2015-16 while submitting the ARR and Tariff filing for FY 2016-17. The copy of the OERC letter dated 12.11.2015 along with detailed compliance report is filed herewith as Annexure-I for kind appreciation of the Commission.

# PRAYER

# Based on the facts and submissions made in the foregoing paragraphs, OPTCL humbly prays before Hon’ble Commission to kindly approve the proposed ARR and Transmission Tariff for               FY 2016-17as under:

# (i)	Aggregate Revenue Requirement ofRs.975.00Cr.

# (ii)	Recovery of Transmission Charge@ 37.82 P/U.

# Transmission Loss for wheeling as 3.70% on energy drawl

# for which the applicant as in duty bound shall ever pray.

BY THE APPLICANT

THROUGH

Bhubaneswar

November 29, 2015						CGM (RT&C), OPTCL

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.---------										Filing No. 1

IN THE MATTER OF:	An application for approval of Annual Revenue Requirement and Transmission Tariff for the Financial Year 2015-16 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Terms and Conditions for Determination of Tariff) Regulations, 2004 and OERC (Conduct of Business) Regulations, 2004 and other tariff related matters.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.								…Applicant

Affidavit verifying the Application

I, Bimal Prasad Mishra,son of Late Umesh Chandra Mishra, aged about 57 years, residing in OPTCL Colony, Bhubaneswar, do solemnly affirm and say as follows:

- That I am the ChiefGeneral Manager, Regulation, Tariff and Commercial Wing, OPTCL, the Applicant and have been duly authorized by the said Applicant to make this affidavit on its behalf.

- That the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

November 29, 2015

DEPONENT

Annexure – A

Proposed Schedule of Transmission Charge of OPTCL for FY 2016-17

Transmission Charge

This Charge is applicable for wheeling of GRIDCO power from generating points to the supply point of Distribution & Retail Supply Licensee and wheeling of power for CGPs. The total charges shall be calculated by summation of following charges stated in Para (a) to (d) below as applicable:

(a)	Transmission Charge:

- Transmission Charge @ 37.82 P/U shall be applicable for transmission of power at           400kV/ 220kV/ 132kV over OPTCL’s EHT transmission system for the purpose of transmission of energy from generator end to the substation from where energy will be fed to DISCOMs and CGPs.

- Transmission Loss @3.70%for the use of EHT transmission system and for the purpose of transmission of energy from a CGP to its industrial unit located at a separate place as well as for transmission of power from outside the state to an industry located inside the State.

- Long Term Open Access Customers & Short Term Open Access Customers shall pay the applicable Transmission Charges plus all other charges and losses as applicable thereon, as the case may be.

The Transmission Charge shall be applicable to the DISCOMs and CGPs, the Long Term Open Access Customers of GRIDCO for the respective month.

(b) Rebate:

- On payment of monthly bill, the Open Access Customer shall be entitled to a rebate of 2% of the amount of the monthly bill (excluding arrears), if full payment is made within two working days (excluding holidays under N.I Act) of the presentation of the bill and 1% of the amount if paid within 30 days of the presentation of the bill.

(c) Delayed Payment Surcharge:

- The monthly charges as calculated above together with other charges and surcharge on account of delayed payments, if any, shall be payable within 30 days from the date of bill. If payment is not made within the said period of 30 days, delayed payment surcharge at the rate of 1.25% per month shall be levied pro-rata for the period of delay from the due date, i.e. from the 31st day of the bill, on the amount remaining unpaid (excluding arrears on account of delayed payment surcharge).

(d) Duty and Taxes:

- The Electricity Duty levied by the Government of Odisha and any other statutory levy/ duty/ tax/ cess/ toll imposed under any law from time to time shall be charged over and above the tariff.