## BERHAMPUR
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year (04/14 to 09/14) |  |  |  | Last six months of the previous year (10/14 to 03/15) |  |  |  | First six months of the current year (04/15 to 09/15)
| BERHAMPUR CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 KV Bhanjanagar - Theruvali - I | 1900-01-03 01:53 | 0.15 | 1900-01-03 05:29 | 97.68% | 1900-01-03 18:12 | 0.53056 | 1900-01-04 06:56 | 97.1% | 0 | 0.078472 | 0.078472 | 99.96%
2 | 220 KV Bhanjanagar - Theruvali - II | 1900-01-03 05:33 | 0.13889 | 1900-01-03 08:53 | 97.61% | 1900-01-04 06:29 | 0.74792 | 1900-01-05 00:26 | 96.7% | 0.80833 | 1900-01-01 03:47 | 1900-01-01 23:11 | 98.37%
3 | 220 KV Bhanjanagar - Meramundali - I | 1900-01-03 23:57 | 0.21319 | 1900-01-04 05:04 | 97.14% | 1899-12-31 14:56 | 0.028472 | 1899-12-31 15:37 | 99.1% | 1900-01-03 05:54 | 1900-01-03 01:02 | 1900-01-07 06:56 | 95.46%
4 | 220 KV Bhanjanagar - Meramundali - II | 0.81389 | 0.12778 | 0.94167 | 99.48% | 1899-12-31 17:19 | 1899-12-31 23:57 | 1900-01-02 17:16 | 97.96% | 1900-01-20 12:12 | 1900-01-12 15:24 | 1900-02-03 03:36 | 80.74%
5 | 220 KV Bhanjanagar - Nayagarh | 0 | 0 | 0 | 100% | 0.83542 | 0.0097222 | 0.84514 | 99.54% | 0.27986 | 0.14931 | 0.42917 | 99.76%
6 | 220 KV Bhanjanagar - Mendhashala | 1900-01-01 07:03 | 0.040278 | 1900-01-01 08:01 | 98.72% | 1900-01-02 02:29 | 1899-12-31 12:20 | 1900-01-03 14:49 | 97.47% | 1899-12-31 15:35 | 0.17569 | 1899-12-31 19:48 | 99%
7 | 220 kV Mendhasala - Narendrapur - II |  |  | 0 | 100% | 1900-01-06 04:08 | 1900-01-02 04:19 | 1900-01-09 08:27 | 94.33% | 1900-01-21 02:45 | 1900-01-02 20:01 | 1900-01-24 22:46 | 85.78%
8 | 132 KV Bhanjanagar - Aska Ckt - I | 0.59722 | 0.011111 | 0.60833 | 99.67% | 1899-12-31 15:29 | 0.011806 | 1899-12-31 15:46 | 99.09% | 0.18125 | 0.021528 | 0.20278 | 99.89%
9 | 132 KV Bhanjanagar - Aska Ckt - II | 0.59722 | 0.03125 | 0.62847 | 99.66% | 1899-12-31 09:18 | 0.041667 | 1899-12-31 10:18 | 99.22% | 0.84236 | 0.30764 | 1899-12-31 03:36 | 99.37%
10 | 132 KV Bhanjanagar-Phulbani | 1899-12-31 20:44 | 0.024306 | 1899-12-31 21:19 | 98.97% | 1900-01-01 17:27 | 0.10972 | 1900-01-01 20:05 | 98.45% | 0.63611 | 0.022222 | 0.65833 | 99.64%
11 | 132 KV Aska - Chhatrapur Ckt - I |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
12 | 132 KV Aska - Purusottampur | 0 | 1899-12-31 10:27 | 1899-12-31 10:27 | 99.21% | 1899-12-31 23:29 | 0.63403 | 1900-01-01 14:42 | 98.57% | 0 | 1899-12-31 06:20 | 1899-12-31 06:20 | 99.31%
| 132 KV Purusottampur - Chhatrapur | 0 | 1899-12-31 00:23 | 1899-12-31 00:23 | 99.44% | 1899-12-31 04:58 | 0.17986 | 1899-12-31 09:17 | 99.24% | 0.17014 | 0.068056 | 0.23819 | 99.87%
13 | 132 KV Aska - Berhampur | 0.016667 | 0.16806 | 0.18472 | 99.9% | 1900-01-02 14:15 | 1900-01-01 00:36 | 1900-01-04 14:51 | 96.92% | 0 | 0.43056 | 0.43056 | 99.76%
14 | 132 kV Narendarapur - Berhampur Ckt - I | 0.45347 | 1900-01-02 04:45 | 1900-01-02 15:38 | 98% | 1899-12-31 13:53 | 0.53542 | 1900-01-01 02:44 | 98.84% | 1900-01-02 10:07 | 0.014583 | 1900-01-02 10:28 | 98.12%
| 132 kV Narendarapur - Berhampur Ckt - II | 0.29375 | 1900-01-02 01:45 | 1900-01-02 08:48 | 98.16% | 0.73056 | 0.12083 | 0.85139 | 99.53% | 1900-01-03 04:36 | 1900-01-11 21:24 | 1900-01-16 02:00 | 90.64%
15 | 132 kV Narendrapur - Chhatrapur-I | 1900-01-01 16:15 | 1899-12-31 02:02 | 1900-01-02 18:17 | 97.94% | 1899-12-31 12:39 | 0.82083 | 1900-01-01 08:21 | 98.71% | 1899-12-31 20:13 | 0.99028 | 1900-01-01 19:59 | 98.45%
16 | 132 kV Narendrapur - Chhatrapur-II | 1900-01-01 07:58 | 1899-12-31 03:17 | 1900-01-02 11:15 | 98.1% | 1899-12-31 16:26 | 0.075 | 1899-12-31 18:14 | 99.04% | 1899-12-31 02:15 | 0.11875 | 1899-12-31 05:06 | 99.34%
17 | 132 kV Narendrapur - Traction | 0.0055556 | 0.20486 | 0.21042 | 99.88% | 0.575 | 00 | 0.575 | 99.68% | 00 | 00 | 0 | 100%
18 | 132 kV Narendrapur – Khurda |  |  | 0 | 100% | 1900-01-01 09:30 | 0.35347 | 1900-01-01 17:59 | 98.49% | 1900-01-04 11:34 | 0.053472 | 1900-01-04 12:51 | 96.97%
19 | 132 kV Chhatrapur - IRE-I | 0.059028 | 0.71042 | 0.76944 | 99.58% | 0.37361 | 0.62986 | 1899-12-31 00:05 | 99.45% | 0 | 0 | 0 | 100%
20 | 132 kV Chhatrapur - IRE-II | 0.03125 | 0.054861 | 0.086111 | 99.95% | 0.38889 | 0 | 0.38889 | 99.79% | 0 | 0.029861 | 0.029861 | 99.98%
21 | 132 kV Chatarpur - Ganjam | 0.47639 | 0.32292 | 0.79931 | 99.56% | 0.91111 | 0.098611 | 1899-12-31 00:14 | 99.45% | 0.10556 | 0.45694 | 0.5625 | 99.69%
22 | 132 kV Chhatrapur - Rambha Traction | 0.12153 | 0.086111 | 0.20764 | 99.89% | 0.18125 | 0.00625 | 0.1875 | 99.9% | 0.11458 | 0.44583 | 0.56042 | 99.69%
23 | 132 kV Chhatrapur - Balugaon | 0 | 1899-12-31 10:55 | 1899-12-31 10:55 | 99.2% | 0.90486 | 0.11458 | 1899-12-31 00:28 | 99.44% | 0.26181 | 1899-12-31 23:42 | 1900-01-01 05:59 | 98.77%
24 | 132 kV Balugaon - Solari Traction | 1900-01-01 03:27 | 0 | 1900-01-01 03:27 | 98.83% | 1900-01-07 01:17 | 0 | 1900-01-07 01:17 | 95.59% | 0.50208 | 0 | 0.50208 | 99.72%
25 | 133 kV JCL Feeder |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
26 | 132 kV Berhampur - Digapahandi |  | 0.54167 | 0.54167 | 99.7% | 0.32708 | 1900-01-01 08:05 | 1900-01-01 15:56 | 98.54% | 0.35486 | 0.32014 | 0.675 | 99.63%
27 | 132 kV Digapahandi - Mohana | 46:43 | 08:51 | 1900-01-01 07:34 | 98.73% | 17:11 | 9:20 | 1899-12-31 02:31 | 99.39% |  | 01:18 | 0.054167 | 99.97%
28 | 132 kV Mohana - Akhusingh |  |  |  | 100% | 0.66667 |  | 0.66667 | 99.63% |  |  |  | 100%

## BURLA
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2014-15 04/14 to 09/14 |  |  |  | Last six months of the previous year 2014-15 10/14 to 03/15 |  |  |  | First six months of the current year 2015-16 04/15 to 09/15
| BURLA CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Budhipadar - Tarkera - I | 0.42847 | 1899-12-31 11:25 | 1899-12-31 21:42 | 98.96% | 1900-01-02 18:57 |  | 1900-01-02 18:57 | 97.92% | 1900-01-08 22:49 | 0.27361 | 1900-01-09 05:23 | 94.4%
2 | 220 kV Budhipadar - Tarkera - II | 1899-12-31 21:26 | 1900-01-01 13:39 | 1900-01-03 11:05 | 97.56% | 1900-01-01 02:13 |  | 1900-01-01 02:13 | 98.85% | 1900-02-01 07:04 | 0.21111 | 1900-02-01 12:08 | 81.64%
3 | 220 kV Budhipadar - Korba – I |  | 1900-01-05 20:03 | 1900-01-05 20:03 | 96.25% | 1900-01-18 21:05 |  | 1900-01-18 21:05 | 89.11% |  | 1900-01-11 04:49 | 1900-01-11 04:49 | 93.31%
4 | 220 kV Budhipadar - Korba – II | 1900-01-01 16:00 |  | 1900-01-01 16:00 | 98.54% | 1900-01-23 10:16 | 0.19306 | 1900-01-23 14:54 | 86.51% |  | 0.55833 | 0.55833 | 99.69%
5 | 221 kV Budhipadar - Korba – III | 1900-01-01 14:29 | 0.31181 | 1900-01-01 21:58 | 98.4% | 1900-01-10 07:17 |  | 1900-01-10 07:17 | 93.81% |  | 0.61528 | 0.61528 | 99.66%
6 | 220 kV IB - Budhipadar - I |  |  | 0 | 100% | 1900-01-01 01:10 | 1900-01-01 12:42 | 1900-01-03 13:52 | 97.49% |  | 1899-12-31 09:51 | 1899-12-31 09:51 | 99.23%
7 | 220 kV IB - Budhipadar - II | 1900-01-08 02:36 |  | 1900-01-08 02:36 | 95.01% | 1900-01-17 20:03 |  | 1900-01-17 20:03 | 89.68% |  | 0.35417 | 0.35417 | 99.81%
8 | 220 kV IB - Budhipadar - III | 1899-12-31 12:53 | 0.0083333 | 1899-12-31 13:05 | 99.15% | 1899-12-31 17:55 |  | 1899-12-31 17:55 | 99.04% |  | 1899-12-31 01:58 | 1899-12-31 01:58 | 99.41%
9 | 220 kV IB - Budhipadar - IV | 1899-12-31 04:18 | 0.079167 | 1899-12-31 06:12 | 99.31% | 1899-12-31 17:00 | 0.83611 | 1900-01-01 13:04 | 98.61% |  | 1900-01-07 03:53 | 1900-01-07 03:53 | 95.53%
10 | 220 kV Budhipadar - Katapali - I | 0.14653 |  | 0.14653 | 99.92% | 1900-01-01 03:19 | 0.27847 | 1900-01-01 10:00 | 98.68% |  | 0.69583 | 0.69583 | 99.62%
11 | 220 kV Budhipadar - Katapali - II | 0.31111 | 0.24722 | 0.55833 | 99.69% | 1900-01-01 09:03 | 0.12083 | 1900-01-01 11:57 | 98.63% |  | 0.7 | 0.7 | 99.62%
12 | 220 kV Budhipadar- Bhusan - I | 0.38056 | 0.13194 | 0.5125 | 99.72% | 0.42986 |  | 0.42986 | 99.76% |  | 1899-12-31 15:47 | 1899-12-31 15:47 | 99.09%
13 | 220 kV Budhipadar- Bhusan - II |  | 0.45694 | 0.45694 | 99.75% | 0.44028 |  | 0.44028 | 99.76% |  | 1899-12-31 02:44 | 1899-12-31 02:44 | 99.39%
14 | 220 kV Budhipadar – SPS - I |  | 0.19653 | 0.19653 | 99.89% |  | 0.19931 | 0.19931 | 99.89% |  | 0.24097 | 0.24097 | 99.87%
15 | 220 kV Budhipadar- Basundhara |  | 1900-01-02 08:33 | 1900-01-02 08:33 | 98.16% |  |  | 0 | 100% | 1899-12-31 22:40 | 0.24583 | 1900-01-01 04:34 | 98.8%
16 | 220 kV Katapali - New Bolangir - I | 0.6 |  | 0.6 | 99.67% | 0.34792 |  | 0.34792 | 99.81% | 0.14861 |  | 0.14861 | 99.92%
17 | 220 kV Katapali - New Bolangir - II | 0.86667 |  | 0.86667 | 99.53% | 0.40069 |  | 0.40069 | 99.78% | 0.40833 |  | 0.40833 | 99.78%
18 | 220 kV Tarkera - PGCIL - I | 51:38 |  | 51:38 | 98.82% | 10:41 | 4:33 | 15:14 | 99.65% | 21:48 |  | 21:48 | 99.5%
19 | 220 kV Tarkera - PGCIL - II | 39:54 | 0:24 | 40:18 | 99.08% | 10:02 | 2:05 | 12:07 | 99.72% | 21:31 | 0:06 | 21:37 | 99.51%
20 | 220 kV Tarkera - Barkote - I | 6:52 | 0:25 | 7:17 | 99.83% | 26:43 | 39:01 | 65:53 | 98.5% | 21:26 | 0:06 | 21:32 | 99.51%
21 | 220 kV Tarkera - Rengali - II |  | 1:53 | 1:53 | 99.96% | 19:22 |  | 19:22 | 99.56% | 27:23 | 73:37 | 101:00 | 97.69%
22 | 220 kV Rengali - Barkote |  |  |  | 100% | 29:01 | 23:13 | 52:14 | 98.81% |  | 76:42 | 76:42 | 98.25%
23 | 132 kV Bolangir - Sonepur | 0.084028 | 0.083333 | 0.16736 | 99.91% | 0.33333 | 1899-12-31 11:30 | 1899-12-31 19:30 | 99.01% | 0.5 | 0.84028 | 1899-12-31 08:10 | 99.27%
24 | 132 kV Bargarh - Bolangir | 0.33333 | 0.048611 | 0.38194 | 99.79% | 0.083333 | 0.23611 | 0.31944 | 99.82% | 0.25 | 0.6875 | 0.9375 | 99.49%
25 | 132 kV Bolangir - ACME - Saintala | 0.041667 | 0.045139 | 0.086806 | 99.95% | 0.16667 | 0.76736 | 0.93403 | 99.49% | 0.16667 | 0.41667 | 0.58333 | 99.68%
26 | 132 kV New Bolangir - Patnagarh | 0.097222 | 0.25 | 0.34722 | 99.81% | 0.29167 | 1899-12-31 09:30 | 1899-12-31 16:30 | 99.08% | 0.41667 | 0.56597 | 0.98264 | 99.46%
27 | 132 kV Bargarh - ACC - DC | 0.0083333 | 0.05 | 0.058333 | 99.97% | 0 | 0.03125 | 0.03125 | 99.98% | 0.55556 | 0 | 0.55556 | 99.7%
28 | 132 kV New Bolangir - Bolangir - I | 0.0625 | 0.0625 | 0.125 | 99.93% | 0.33333 | 0.89722 | 1899-12-31 05:32 | 99.33% | 0.91667 | 0.69097 | 1899-12-31 14:35 | 99.12%
29 | 132 kV New Bolangir - Bolangir - II | 0.0625 | 0.055556 | 0.11806 | 99.94% | 0.16667 | 0.76736 | 0.93403 | 99.49% | 0.75 | 0.37847 | 1899-12-31 03:05 | 99.38%
30 | 132 kV Burla PH - Budhipadar - I |  | 0.59861 | 0.59861 | 99.67% | 0.60417 | 0.17361 | 0.77778 | 99.57% | 1900-01-04 04:11 | 1900-01-01 17:45 | 1900-01-06 21:56 | 95.66%
31 | 132 kV Burla PH - Budhipadar - II | 0.2 |  | 0.2 | 99.89% | 1900-01-16 04:16 | 0.32847 | 1900-01-16 12:09 | 90.41% | 1900-01-04 03:11 | 0.11806 | 1900-01-04 06:01 | 97.12%
32 | 132 kV Budhipadar - Jharsuguda |  |  | 0 | 100% | 0.19306 | 0.15625 | 0.34931 | 99.81% |  | 1900-01-02 02:23 | 1900-01-02 02:23 | 98.3%
33 | 132 kV Budhipadar - Remja |  | 0.23125 | 0.23125 | 99.87% | 0.10417 | 0.17014 | 0.27431 | 99.85% |  | 1899-12-31 04:23 | 1899-12-31 04:23 | 99.35%
34 | 132 kV Budhipadar - MCL - I | 1899-12-31 01:16 | 0.18333 | 1899-12-31 05:40 | 99.32% | 0.33333 | 1899-12-31 10:38 | 1899-12-31 18:38 | 99.03% |  | 0.29236 | 0.29236 | 99.84%
35 | 132 kV Budhipadar - MCL - II | 0.98333 | 0.24792 | 1899-12-31 05:33 | 99.33% | 0.34792 | 0.16597 | 0.51389 | 99.72% |  | 0.24375 | 0.24375 | 99.87%
36 | 132 kV Budhipadar - Tarkera - I | 0.2375 |  | 0.2375 | 99.87% | 1900-01-02 06:13 | 0.17361 | 1900-01-02 10:23 | 98.12% | 1900-01-04 02:56 | 1900-01-01 22:51 | 1900-01-07 01:47 | 95.58%
37 | 132 kV Budhipadar - Rajgangpur - II |  | 0.16597 | 0.16597 | 99.91% | 1900-01-01 10:48 | 0.175 | 1900-01-01 15:00 | 98.56% | 0.3 | 1899-12-31 00:23 | 1899-12-31 07:35 | 99.28%
38 | 132 kV Budhipadar - Sundargarh - I |  |  | 0 | 100% | 1900-01-06 00:55 | 0.16875 | 1900-01-06 04:58 | 96.05% | 0.077778 | 1899-12-31 02:49 | 1899-12-31 04:41 | 99.35%
39 | 132 kV Budhipadar - Sundargarh - II |  |  | 0 | 100% | 1900-01-04 19:12 | 0.16944 | 1900-01-04 23:16 | 96.73% | 0.077778 | 0.21181 | 0.28958 | 99.84%
40 | 132 kV Budhipadar - MSP |  |  | 0 | 100% |  | 0.19236 | 0.19236 | 99.89% |  | 0.27153 | 0.27153 | 99.85%
41 | 132 kV Jharsuguda - L&T | 0.21181 | 0.11111 | 0.32292 | 99.82% | 0.017361 |  | 0.017361 | 99.99% | 0.12847 | 0.10556 | 0.23403 | 99.87%
42 | 132 kV Jharsuguda - Traction | 0.097222 | 0.13889 | 0.23611 | 99.87% | 0.027778 |  | 0.027778 | 99.98% | 0.069444 | 0.097222 | 0.16667 | 99.91%
43 | 132 kV Burla PH - Sambalpur | 0.26736 | 0.38889 | 0.65625 | 99.64% | 1899-12-31 14:56 | 0.15 | 1899-12-31 18:32 | 99.03% | 0 | 1900-01-02 12:03 | 1900-01-02 12:03 | 98.08%
44 | 132 kV Chiplima - Katapali |  | 0.14444 | 0.14444 | 99.92% | 0.06875 |  | 0.06875 | 99.96% | 0.061806 |  | 0.061806 | 99.97%
45 | 132 kV Katapali - Bargarh | 1899-12-31 01:05 |  | 1899-12-31 01:05 | 99.43% | 0.088194 |  | 0.088194 | 99.95% | 0.11875 |  | 0.11875 | 99.93%
46 | 132 kV Burla PH - Rairakhole | 1899-12-31 08:55 | 1899-12-31 13:43 | 1900-01-01 22:38 | 98.39% | 1900-01-09 09:48 | 0.025 | 1900-01-09 10:24 | 94.28% | 0.12222 |  | 0.12222 | 99.93%
47 | 132 kV Rairakhole - Boinda | 0.70833 | 0.2625 | 0.97083 | 99.47% | 1899-12-31 00:33 | 0.038194 | 1899-12-31 01:28 | 99.42% | 0.50347 | 0.10556 | 0.60903 | 99.67%
48 | 132 kV Tarkera - RSP - I |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
49 | 132 kV Tarkera - RSP - II |  |  |  | 100% | 8:17 | 0:09 | 8:26 | 99.81% |  | 49:04 | 49:04 | 98.88%
50 | 132 kV Tarkera - RSP – III |  |  | 0 | 100% |  |  | 0 | 100% |  |  |  | 100%
51 | 132 kV Tarkera - Rourkela - I |  |  |  | 100% | 14:31 |  | 14:31 | 99.67% |  | 0:04 | 0:04 | 100%
52 | 132 kV Tarkera - Rourkela - II | 8:12 | 0:42 | 8:54 | 99.8% | 21:29 | 0:41 | 22:01 | 99.5% | 2:04 | 1:54 | 4:34 | 99.9%
53 | 132 kV Tarkera - Rourkela - III | 0:14 | 1:53 | 2:07 | 99.95% | 0:09 | 1:22 | 1:31 | 99.97% | 26:37 | 1:00 | 27:37 | 99.37%
54 | 132 kV Rourkela - Joda (Nalda) Feeder | 0.04375 |  | 0.04375 | 99.98% | 0.63264 | 0.34861 | 0.98125 | 99.46% | 0.98611 | 1899-12-31 15:21 | 1900-01-01 15:01 | 98.56%
55 | 132 kV Tarkera - Chhend - I | 1:31 | 0:46 | 2:17 | 99.95% |  |  |  | 100% |  |  |  | 100%
56 | 132 kV Tarkera - Chhend - II | 2:33 | 0:54 | 3:27 | 99.92% | 19:21 | 6:18 | 25:39 | 99.41% |  | 0:43 | 0:43 | 99.98%
57 | 132 kV Tarkera - Rajgangpur - I | 0:41 | 2:59 | 3:04 | 99.93% | 18:17 | 1:46 | 20:03 | 99.54% | 84:14 | 12:08 | 96:22 | 97.8%
58 | 132 kV Tarkera - Rajgangpur - II | 26:43 | 6:08 | 32:51 | 99.25% | 27:18 | 1:52 | 29:01 | 99.34% | 51:00 | 16:55 | 67:55 | 98.45%
59 | 132 kV Chhend - Adhunik Metallics | 4:55 | 3:46 | 8:41 | 99.8% | 10:10 |  | 10:10 | 99.77% | 2:05 | 0:08 | 2:13 | 99.95%
60 | 132 kV Chhend - Nuagaon Traction | 2:22 | 2:30 | 4:52 | 99.89% | 8:40 | 0:02 | 8:02 | 99.82% | 2:45 | 1:02 | 3:47 | 99.91%
61 | 132 kV Rajgangpur - OCL |  | 14:21 | 14:21 | 99.67% | 15:06 | 2:03 | 17:09 | 99.61% | 0:58 | 3:22 | 4:20 | 99.9%
62 | 132 kV Rajgangpur - Traction - I |  | 3:16 | 3:16 | 99.93% | 20:03 | 0:44 | 20:47 | 99.53% |  | 8:08 | 8:08 | 99.81%
63 | 132 kV Rajgangpur - Traction - II |  | 3:16 | 3:16 | 99.93% | 20:03 | 0:44 | 20:47 | 99.53% |  | 8:08 | 8:08 | 99.81%
64 | 132 kV Rajgangpur - Aryan Viraj Ckt - III | 1899-12-31 05:17 | 0.69375 | 1899-12-31 21:56 | 98.95% |  |  |  | 100% |  |  |  | 100%

## CHAINPAL
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2014-15 04/14 to 09/14 |  |  |  | Last six months of the previous year 2014-15 10/14 to 03/15 |  |  |  | First six months of the current year 2015-16 04/15 to 09/15
| CHAINPAL CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 KV Duburi - II (DOC-11/09/15)
2 | 400 kV Meramundali - Mendhasala |  | 1899-12-31 17:15 | 1899-12-31 17:15 | 99.06% | 0.99457 | 1899-12-31 16:41 | 1900-01-01 16:33 | 98.53% | 0.21667 | 0.13056 | 0.34722 | 99.81%
3 | 400 kV Meramundali - RSTPS-I | 0.85972 | 0.37014 | 1899-12-31 05:31 | 99.33% | 0.29861 | 0.65486 | 0.95347 | 99.48% | 1900-01-01 03:46 | 0.125 | 1900-01-01 06:46 | 98.75%
4 | 400 kV Meramundali - RSTPS-II | 1899-12-31 04:39 | 0.17847 | 1899-12-31 08:56 | 99.25% | 0.26736 | 1899-12-31 15:18 | 1899-12-31 21:43 | 98.96% | 1900-01-02 15:40 | 0.079861 | 1900-01-02 17:35 | 97.95%
5 | 400 kV Meramundali - JSPL-I |  |  | 0 | 100% | 0.025694 | 0.18542 | 0.21111 | 99.88% | 0.21736 | 0 | 0.21736 | 99.88%
6 | 400 kV Meramundali - JSPL-II |  | 0.044444 | 0.044444 | 99.98% | 0.23056 | 0.18611 | 0.41667 | 99.77% | 0.10208 | 0.0020833 | 0.10417 | 99.94%
7 | 220 kV Meramundali -Kaniha - I | 1900-01-02 00:32 |  | 1900-01-02 00:32 | 98.34% | 0.87014 | 1900-01-04 12:39 | 1900-01-05 09:32 | 96.49% | 0.018056 | 1899-12-31 06:14 | 1899-12-31 06:40 | 99.3%
8 | 220 kV Meramundali - Kaniha -II | 1900-01-02 00:32 | 0.58333 | 1900-01-02 14:32 | 98.02% | 1899-12-31 18:15 | 0.83194 | 1900-01-01 14:13 | 98.58% | 0 | 0.14514 | 0.14514 | 99.92%
9 | 220 kV Meramundali - TTPS - I |  | 0.10972 | 0.10972 | 99.94% | 0.87292 | 0.14375 | 1899-12-31 00:24 | 99.44% | 0.11944 | 0.053472 | 0.17292 | 99.91%
10 | 220 kV Meramundali - TTPS - II |  | 0.10972 | 0.10972 | 99.94% | 1899-12-31 03:36 | 0.37917 | 1899-12-31 12:42 | 99.16% | 0.18958 | 0.84236 | 1899-12-31 00:46 | 99.43%
11 | 220 kV Meramundali – NALCO – I |  |  | 0 | 100% | 0.33056 | 0.43333 | 0.76389 | 99.58% | 0.10486 | 0.040278 | 0.14514 | 99.92%
12 | 220 kV Meramundali – NALCO – II |  |  | 0 | 100% | 0.62986 | 0.33264 | 0.9625 | 99.47% | 0.17222 | 0.097917 | 0.27014 | 99.85%
13 | 220 kV Meramundali - Duburi - I |  | 0.0625 | 0.0625 | 99.97% | 1899-12-31 11:55 | 0.32986 | 1899-12-31 19:50 | 99% | 1899-12-31 06:15 | 0.36042 | 1899-12-31 14:54 | 99.11%
14 | 220 kV Meramundali - Duburi - II |  | 0.067361 | 0.067361 | 99.96% | 1899-12-31 07:08 | 0.33819 | 1899-12-31 15:15 | 99.1% | 0.61111 | 0.46319 | 1899-12-31 01:47 | 99.41%
15 | 220 kV Meramundali - B.Nagar - I | 0.56597 | 0.00625 | 0.57222 | 99.69% | 1900-01-01 00:20 | 0.19375 | 1900-01-01 04:59 | 98.79% | 1900-01-05 07:14 | 1899-12-31 17:52 | 1900-01-07 01:06 | 95.59%
16 | 220 kV Meramundali - B.Nagar - II | 0.56597 | 0.00625 | 0.57222 | 99.69% | 1899-12-31 19:55 | 1900-01-01 13:53 | 1900-01-03 09:48 | 97.58% | 1900-01-25 23:37 | 1900-01-05 18:33 | 1900-02-01 18:10 | 81.5%
17 | 220 kV Meramundali - Bidanasi | 0.24583 | 0.051389 | 0.29722 | 99.84% | 0.88681 | 0.33611 | 1899-12-31 05:21 | 99.33% | 0 | 0.060417 | 0.060417 | 99.97%
18 | 220 kV Meramundali - BSL-I |  | 0.0076389 | 0.0076389 | 100% | 0 | 0.12708 | 0.12708 | 99.93% | 0 | 0.14931 | 0.14931 | 99.92%
19 | 220 kV Meramundali - BSL-II |  | 0.0076389 | 0.0076389 | 100% | 0 | 0.050694 | 0.050694 | 99.97% | 0 | 0.17222 | 0.17222 | 99.91%
20 | 220 kV Rengali - Tarkera - II |  | 0.041667 | 0.041667 | 99.98% | 0.375 |  | 0.375 | 99.79% | 0.3 | 1899-12-31 09:21 | 1899-12-31 16:33 | 99.07%
21 | 220 kV Rengali - Barkote - I | 0.010417 | 0.20903 | 0.21944 | 99.88% | 1899-12-31 05:07 | 0.93889 | 1900-01-01 03:39 | 98.82% | 0.10278 | 1899-12-31 12:32 | 1899-12-31 15:00 | 99.11%
22 | 220 kV Rengali - PGCIL - I | 0.29653 | 0.21389 | 0.51042 | 99.72% | 1899-12-31 03:15 | 1900-01-08 10:06 | 1900-01-09 13:21 | 94.22% | 0.34653 | 0.12153 | 0.46806 | 99.74%
23 | 220 kV Rengali - PGCIL - II | 0.13958 | 0.98264 | 1899-12-31 02:56 | 99.39% | 0.45417 | 1900-01-01 20:57 | 1900-01-02 07:51 | 98.18% | 0.375 | 0.15347 | 0.52847 | 99.71%
24 | 220 kV Rengali - Rengali PH - I |  | 1900-01-01 11:17 | 1900-01-01 11:17 | 98.65% | 1900-01-01 08:55 | 0.065972 | 1900-01-01 10:30 | 98.66% |  | 0.20139 | 0.20139 | 99.89%
25 | 220 kV Rengali - Rengali PH - II | 0.46458 | 1900-01-01 07:40 | 1900-01-01 18:49 | 98.47% | 1899-12-31 13:08 | 0.054167 | 1899-12-31 14:26 | 99.12% |  | 0.43264 | 0.43264 | 99.76%
26 | 132 kV Angul - TTPS | 0.14375 | 0.072222 | 0.21597 | 99.88% | 0.89444 | 0.010417 | 0.90486 | 99.5% | 0.12014 | 0 | 0.12014 | 99.93%
27 | 132 kV Angul - Boinda | 0.1125 | 0.0090278 | 0.12153 | 99.93% | 1899-12-31 13:19 | 0 | 1899-12-31 13:19 | 99.15% | 1899-12-31 17:06 | 0.076389 | 1899-12-31 18:56 | 99.02%
28 | 132 kV Angul - MCL - I | 0.51181 | 0.015972 | 0.52778 | 99.71% | 0.89583 | 0.020139 | 0.91597 | 99.5% | 0.085417 | 0.057639 | 0.14306 | 99.92%
29 | 132 kV Angul - MCL - II | 1899-12-31 01:16 | 0.18542 | 1899-12-31 05:43 | 99.32% | 1900-01-03 00:46 | 0.0013889 | 1900-01-03 00:48 | 97.79% | 0.086111 | 0 | 0.086111 | 99.95%
30 | 132 kV Boinda - Rairakhole | 0.17569 | 1899-12-31 05:50 | 1899-12-31 10:03 | 99.22% | 1899-12-31 09:03 | 0:00 | 1899-12-31 09:03 | 99.25% | 0 | 0.51042 | 0.51042 | 99.72%
31 | 132 kV TTPS - Chainpal - I |  |  | 0 | 100% | 0.30139 |  | 0.30139 | 99.83% |  |  | 0 | 100%
32 | 132 kV TTPS - Chainpal - II |  | 0.096528 | 0.096528 | 99.95% | 0.31042 |  | 0.31042 | 99.83% |  |  | 0 | 100%
33 | 132 kV Chainpal - Angul |  |  | 0 | 100% |  |  | 0 | 100% | 0.086111 |  | 0.086111 | 99.95%
34 | 132 kV Chainpal - FCI |  |  | 0 | 100% | 0.41875 |  | 0.41875 | 99.77% |  |  | 0 | 100%
35 | 132 kV Chainpal - Meramundali - I |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
36 | 132 kV Chainpal – Meramundali - II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
37 | 132 kV Dhenkanal - ICCL | 0.8875 | 0 | 0.8875 | 99.51% | 1899-12-31 11:58 | 0 | 1899-12-31 11:58 | 99.18% | 0.38472 | 0 | 0.38472 | 99.79%
38 | 132 kV Dhenkanal - Nuapatna | 1900-01-01 13:31 | 0.22986 | 1900-01-01 19:02 | 98.47% |  |  | 0 | 100% |  |  | 0 | 100%
39 | 132 kV Dhenkanal - Joranda Trac. | 0 | 0 | 0 | 100% | 0.73958 | 0 | 0.73958 | 99.59% | 0.25278 | 0 | 0.25278 | 99.86%
40 | 133 kV Kharagprasad - NBVL - I | 0 | 0.024306 | 0.024306 | 99.99% | 0.73056 | 0.088194 | 0.81875 | 99.55% | 0.18472 | 0.080556 | 0.26528 | 99.85%
41 | 134 kV Kharagprasad - NBVL - II | 0 | 0.025 | 0.025 | 99.99% | 0.73056 | 0.085417 | 0.81597 | 99.55% | 0.16667 | 0.13819 | 0.30486 | 99.83%
42 | 132 kV Kharagprasad - Traction | 0.11319 | 0.039583 | 0.15278 | 99.92% | 0.70903 | 0.075 | 0.78403 | 99.57% | 0.23056 | 0.052778 | 0.28333 | 99.84%
43 | 132 kV Kharagprasad - SMPL |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
44 | 132 kV Kharagprasad - SGEL |  |  | 0 | 100% | 0.35972 | 0.028472 | 0.38819 | 99.79% | 1899-12-31 01:23 | 0.13542 | 1899-12-31 04:38 | 99.35%
45 | 132 kV Kamakhyanagar - Duburi | 0.88611 | 0.1375 | 1899-12-31 00:34 | 99.44% | 1899-12-31 09:42 | 0.063194 | 1899-12-31 11:13 | 99.2% | 0.16875 | 0.25347 | 0.42222 | 99.77%
46 | 132 kV TTPS - Kamakyanagar | 1899-12-31 23:41 | 0.086806 | 1900-01-01 01:46 | 98.86% | 1900-01-02 06:48 | 0.020833 | 1900-01-02 07:18 | 98.19% | 1899-12-31 09:13 | 0.10694 | 1899-12-31 11:47 | 99.18%
47 | 132 kV Meramundali – BRG |  | 0.23056 | 0.23056 | 99.87% | 0.36389 | 0.51181 | 0.87569 | 99.52% | 0.15139 | 0.080556 | 0.23194 | 99.87%
48 | 132 kV Meramundali - K.Prasad - I | 0.063194 | 0.0125 | 0.075694 | 99.96% | 0.98333 | 0.10556 | 1899-12-31 02:08 | 99.4% | 0.055556 | 0.090278 | 0.14583 | 99.92%
49 | 132 kV Meramundali - K.Prasad - II | 0 | 0.019444 | 0.019444 | 99.99% | 0.70556 | 0.079861 | 0.78542 | 99.57% | 0.18056 | 0.12708 | 0.30764 | 99.83%
50 | 132 kV Meramundali - Arati Steels | 1900-01-01 10:43 | 0.63542 | 1900-01-02 01:58 | 98.31% | 1899-12-31 04:08 | 0.35347 | 1899-12-31 12:37 | 99.16% | 0.14167 | 0.30764 | 0.44931 | 99.75%
51 | 132 kV Meramundali - Dhenkanal | 0.19097 | 0.3 | 0.49097 | 99.73% | 0.40972 | 0.12639 | 0.53611 | 99.71% | 0.12083 | 1899-12-31 14:33 | 1899-12-31 17:27 | 99.05%
52 | 132 kV Meramundali - ML Rungta |  | 0.15 | 0.15 | 99.92% | 0.36736 | 0.40903 | 0.77639 | 99.57% | 0.16528 | 0.029167 | 0.19444 | 99.89%
Note on B49: Disconnected by CESU due to non-payment
Note on B50: Disconnected by CESU due to non-payment

## CUTTACK
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2014-15 04/14 to 09/14 |  |  |  | Last six months of the previous year 2014-15 10/14 to 03/15 |  |  |  | First six months of the current year 2015-16 04/15 to 09/15
| CUTTACK CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 400 kV Meramunduli - Mendhasal - I |  | 1899-12-31 17:15 | 1899-12-31 17:15 | 99.06% | 0.99457 | 1899-12-31 16:41 | 1900-01-01 16:33 | 98.53% | 0.21667 | 0.13056 | 0.34722 | 99.81%
2 | 220 kV Chandaka - Bidanasi Ckt-I | 0.99236 | 0.074306 | 1899-12-31 01:36 | 99.42% | 1900-01-05 14:44 | 0.26806 | 1900-01-05 21:10 | 96.23% | 1900-01-03 18:17 | 0.22431 | 1900-01-03 23:40 | 97.27%
3 | 220 kV Chandaka - Mendhasal Ckt - II | 0.32222 | 0.0020833 | 0.32431 | 99.82% | 1900-01-07 02:46 | 0.011111 | 1900-01-07 03:02 | 95.55% | 0.78125 | 0.025 | 0.80625 | 99.56%
4 | 220 kV Chandaka - Mendhasal Ckt - III |  | 1900-01-04 06:46 | 1900-01-04 06:46 | 97.11% | 1899-12-31 00:44 | 0.0125 | 1899-12-31 01:02 | 99.43% | 1899-12-31 06:33 | 0.72222 | 1899-12-31 23:53 | 98.91%
5 | 220 kV Chandaka - Mendhasal Ckt - IV | 0.34653 |  | 0.34653 | 99.81% | 1900-01-02 02:10 | 1899-12-31 04:41 | 1900-01-03 06:51 | 97.65% | 1899-12-31 07:29 | 0.085417 | 1899-12-31 09:32 | 99.23%
6 | 220 kV Narendrapur - Mendhasal | 1900-01-02 12:29 | 1900-01-01 07:14 | 1900-01-04 19:43 | 96.81% | 1900-01-01 16:51 | 1900-01-04 03:32 | 1900-01-06 20:23 | 95.7% | 1900-01-01 21:08 | 0.050694 | 1900-01-01 22:21 | 98.39%
7 | 220 kV Bhanjanagar - Mendhasal | 1899-12-31 22:40 |  | 1899-12-31 22:40 | 98.93% | 1900-01-01 17:32 | 1899-12-31 20:30 | 1900-01-03 14:02 | 97.49% | 1900-01-01 04:09 | 0.42639 | 1900-01-01 14:23 | 98.58%
8 | 220 kV Nayagarh - Mendhasal | 1899-12-31 09:20 | 0.041667 | 1899-12-31 10:20 | 99.22% | 1899-12-31 22:15 | 0.76944 | 1900-01-01 16:43 | 98.52% | 1899-12-31 01:04 | 1900-01-07 09:16 | 1900-01-08 10:20 | 94.83%
9 | 220 kV Meramundali - Bidanasi | 0.025694 |  | 0.025694 | 99.99% | 0.16042 |  | 0.16042 | 99.91% | 0.027083 |  | 0.027083 | 99.99%
10 | 220 kV New Duburi – Paradeep Ckt-I | 1900-01-02 06:54 | 1899-12-31 07:53 | 1900-01-03 14:47 | 97.47% | 1900-01-03 12:26 | 0 | 1900-01-03 12:26 | 97.52% | 1900-01-02 19:29 | 0 | 1900-01-02 19:29 | 97.91%
10 | 220 kV New Duburi – Paradeep Ckt-II | 1899-12-31 09:50 | 1900-01-02 05:39 | 1900-01-03 15:29 | 97.45% | 1900-01-01 12:41 | 0 | 1900-01-01 12:41 | 98.61% | 1900-01-04 00:44 | 0.20347 | 1900-01-04 05:37 | 97.13%
11 | 220 kV Paradeep - Essar Steel Ckt - I | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
11 | 220 kV Paradeep - Essar Steel Ckt - II | 0.68125 | 0.098611 | 0.77986 | 99.57% | 0.57292 | 0 | 0.57292 | 99.69% | 0.34931 | 0 | 0.34931 | 99.81%
12 | 220 kV Paradeep - IOCL | 0 | 1899-12-31 02:26 | 1899-12-31 02:26 | 99.4% | 0.125 | 0 | 0.125 | 99.93% | 0 | 0 | 0 | 100%
13 | 132 kV Khurda - Puri | 0.83125 |  | 0.83125 | 99.54% | 1900-01-07 12:30 |  | 1900-01-07 12:30 | 95.33% | 1900-01-12 11:08 | 0.25764 | 1900-01-12 17:19 | 92.48%
14 | 132 kV Khurda - Chandpur | 1899-12-31 00:10 | 0.022222 | 1899-12-31 00:42 | 99.44% | 0.36528 | 0.025 | 0.39028 | 99.79% | 0.36319 | 1899-12-31 02:22 | 1899-12-31 11:05 | 99.2%
14 | 132 kV Chandpur - Balugaon | 1899-12-31 14:40 |  | 1899-12-31 14:40 | 99.12% | 1899-12-31 13:31 |  | 1899-12-31 13:31 | 99.14% | 0.38333 | 0.0020833 | 0.38542 | 99.79%
15 | 132 kV Chandaka - Ranasinghpur | 1900-01-12 12:43 | 1900-01-12 21:36 | 1900-01-26 10:19 | 84.97% | 1900-01-23 18:00 | 1900-01-05 10:48 | 1900-01-30 04:48 | 82.9% | 1900-01-11 19:26 | 1900-01-10 21:07 | 1900-01-23 16:34 | 86.47%
16 | 132 kV Chandaka - Nimapara | 1899-12-31 03:21 | 0.021528 | 1899-12-31 03:52 | 99.36% | 1900-01-02 06:15 | 1899-12-31 06:19 | 1900-01-03 12:34 | 97.52% |  | 0.096528 | 0.096528 | 99.95%
17 | 132 kV Chandaka - Khurda | 0.16806 | 0.0048611 | 0.17292 | 99.91% | 1900-01-09 21:22 | 0.0048611 | 1900-01-09 21:29 | 94.03% | 0.14931 | 0.047917 | 0.19722 | 99.89%
18 | 132 kV Nimapara - Puri | 0.76944 |  | 0.76944 | 99.58% | 1899-12-31 20:20 | 0.98472 | 1900-01-01 19:58 | 98.45% | 1900-01-01 02:45 |  | 1900-01-01 02:45 | 98.84%
19 | 132 kV Chandaka - Bhubanewar - I | 1900-01-02 06:33 | 0.0375 | 1900-01-02 07:27 | 98.19% | 1899-12-31 22:55 | 0.17431 | 1900-01-01 03:06 | 98.83% | 1899-12-31 00:14 | 0.078472 | 1899-12-31 02:07 | 99.4%
20 | 132 kV Chandaka - Bhubanewar - II | 0.26528 | 0.0048611 | 0.27014 | 99.85% | 1900-01-11 03:49 | 0.0048611 | 1900-01-11 03:56 | 93.33% | 0.30625 | 0.025694 | 0.33194 | 99.82%
21 | 132 kV Chandaka - Bidanasi | 1900-01-07 04:18 | 0 | 1900-01-07 04:18 | 95.52% | 1900-01-09 13:30 | 0 | 1900-01-09 13:30 | 94.21% | 0.76319 | 0 | 0.76319 | 99.58%
22 | 132 kV Chandikhole - Kendrapara |  | 0.13681 | 0.13681 | 99.93% |  | 0.19583 | 0.19583 | 99.89% |  | 0.35625 | 0.35625 | 99.8%
23 | 132 kV Choudwar - Bidanasi | 0.38333 |  | 0.38333 | 99.79% | 0.70347 |  | 0.70347 | 99.61% | 0.37014 |  | 0.37014 | 99.8%
24 | 132 kV Choudwar - Kendrapara Rd Trac. |  | 0.23681 | 0.23681 | 99.87% |  | 0.10139 | 0.10139 | 99.94% |  | 0.058333 | 0.058333 | 99.97%
25 | 132 kV Arati - Choudwar Ckt-I | 0.94097 |  | 0.94097 | 99.48% | 0.98333 |  | 0.98333 | 99.46% | 0.69028 | 0.72917 | 1899-12-31 10:04 | 99.22%
26 | 132 kV ICCL - Choudwar Ckt-II | 1900-01-05 20:40 | 0.80903 | 1900-01-06 16:05 | 95.8% | 0.31528 | 0.87083 | 1899-12-31 04:28 | 99.35% | 0.10417 | 0.31806 | 0.42222 | 99.77%
27 | 132 kV Maheswari - ICCL Ckt-II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
28 | 132/33kV Meramundali- Arati-Nuapatna 'T' Line. | 0 | 1900-01-02 07:12 | 1900-01-02 07:12 | 98.19% | 0.85625 | 0.21042 | 1899-12-31 01:36 | 99.42% | 0.075 | 0.48472 | 0.55972 | 99.69%
29 | 132 kV ICCL - OCL - Salipur | 0.86806 | 1899-12-31 06:51 | 1900-01-01 03:41 | 98.82% | 1899-12-31 19:59 | 0.34653 | 1900-01-01 04:18 | 98.81% | 0.64653 | 0.75417 | 1899-12-31 09:37 | 99.23%
30 | 132 kV Mancheswar - Phulnakhara | 1:45 |  | 1:45 | 99.96% | 17:10 |  | 17:10 | 99.61% | 8:16 |  | 8:16 | 99.81%
31 | 132 kV Phulnakhara - Cuttack | 3:43 |  | 3:43 | 99.92% | 8:16 | 3:46 | 12:02 | 99.73% | 10:16 |  | 10:16 | 99.77%
32 | 132 kV Cuttack - Jagatsinghpur | 0.49375 | 0.51528 | 1899-12-31 00:13 | 99.45% | 0.79653 | 0.30069 | 1899-12-31 02:20 | 99.4% | 0.21597 | 0.38542 | 0.60139 | 99.67%
33 | 132 kV Jajpur Road - Chandikhole |  | 0.39097 | 0.39097 | 99.79% | 0.31597 | 0.22292 | 0.53889 | 99.7% |  | 0.0875 | 0.0875 | 99.95%
34 | 132 kV Jajpur Road - Kendrapara - II |  |  |  | 100% | 0.30556 | 1900-01-01 14:50 | 1900-01-01 22:10 | 98.4% | 1900-01-03 10:12 | 0.68403 | 1900-01-04 02:37 | 97.2%
35 | 132 kV Kendarapara - Paradeep Ckt-I | 0.57847 | 0.17361 | 0.75208 | 99.59% | 1900-01-01 11:48 | 0 | 1900-01-01 11:48 | 98.63% | 0.57847 | 0 | 0.57847 | 99.68%
35 | 132 kV Kendarapara - Paradeep Ckt-II | 0.33194 | 0.625 | 0.95694 | 99.48% | 1900-01-05 | 0 | 1900-01-05 | 96.71% | 0.85972 | 0 | 0.85972 | 99.53%
36 | 132 kV Kendrapara - Pattamundai |  | 0.1375 | 0.1375 | 99.92% | 0.36389 | 0.225 | 0.58889 | 99.68% |  | 0.10764 | 0.10764 | 99.94%
37 | 132 kV Paradeep - Jagatsinghpur | 0.17361 | 0.64167 | 0.81528 | 99.55% | 1899-12-31 13:47 | 1899-12-31 15:21 | 1900-01-02 05:08 | 98.24% | 0.51736 | 0 | 0.51736 | 99.72%
38 | 132 kV Paradeep - PPT DC | 0.38472 | 0.81806 | 1899-12-31 04:52 | 99.34% | 0.75556 | 0 | 0.75556 | 99.59% | 0.56389 | 0 | 0.56389 | 99.69%
38 | 132 kV Paradeep - PPT DC | 0 | 1899-12-31 03:40 | 1899-12-31 03:40 | 99.37% | 0.14931 | 0 | 0.14931 | 99.92% | 0.62847 | 0 | 0.62847 | 99.66%
39 | 132 kV Paradeep - PPL DC | 1900-01-01 17:10 | 1900-01-05 00:35 | 1900-01-07 17:45 | 95.21% | 1900-01-07 17:50 | 0 | 1900-01-07 17:50 | 95.21% | 1900-01-01 09:03 | 0 | 1900-01-01 09:03 | 98.7%
39 | 132 kV Paradeep - PPL DC | 1900-01-01 04:41 | 1900-01-08 09:44 | 1900-01-10 14:25 | 93.64% | 1900-01-12 07:57 | 0 | 1900-01-12 07:57 | 92.7% | 1900-01-04 | 0 | 1900-01-04 | 97.26%
40 | 132 kV Paradeep - IFFCO DC | 0 | 0 | 0 | 100% | 1899-12-31 03:11 | 0.071528 | 1899-12-31 04:54 | 99.34% | 0.24306 | 0 | 0.24306 | 99.87%
40 | 132 kV Paradeep - IFFCO DC | 0 | 0.0090278 | 0.0090278 | 100% | 0.81181 | 1899-12-31 18:22 | 1900-01-01 13:51 | 98.59% | 0.57708 | 0 | 0.57708 | 99.68%
41 | 132 kV Ranasinghpur Kesura | 0.083333 | 0.27986 | 0.36319 | 99.8% | 0.42778 | 0.54514 | 0.97292 | 99.47% | 1899-12-31 09:10 | 0.19583 | 1899-12-31 13:52 | 99.14%

## JAJPUR ROAD
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2014-15 04/14 to 09/14 |  |  |  | Last six months of the previous year 2014-15 10/14 to 03/15 |  |  |  | First six months of the current year 2015-16 04/15 to 09/15
| JAJPUR ROAD CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Meramundali - Duburi - I |  | 0.0625 | 0.0625 | 99.97% | 1899-12-31 11:55 | 0.32986 | 1899-12-31 19:50 | 99% | 1899-12-31 06:15 | 0.36042 | 1899-12-31 14:54 | 99.11%
2 | 220 kV Meramundali - Duburi - II |  | 0.067361 | 0.067361 | 99.96% | 1899-12-31 07:08 | 0.33819 | 1899-12-31 15:15 | 99.1% | 0.61111 | 0.46319 | 1899-12-31 01:47 | 99.41%
3 | 220 kV Duburi - New Duburi-I | 28:16 | 00:00 | 28:16 | 99.35% | 08:53 | 00:00 | 08:53 | 99.8% | 25:28 | 00:00 | 25:28 | 99.42%
4 | 220 kV Duburi - New Duburi-II | 15:20 | 01:43 | 17:03 | 99.61% | 10:28 | 00:18 | 10:46 | 99.75% | 18:32 | 00:00 | 18:32 | 99.58%
5 | 220 kV Duburi - NINL |  |  |  | 100% | 0.42222 |  | 0.42222 | 99.77% |  | 0.0097222 | 1900-01-03 | 97.81%
6 | 220 kV New Duburi - Paradeep - l | 74:29 | 63:02 | 137:31 | 96.86% | 85:16 | 00:04 | 85:20 | 98.05% | 99:28 | 15:35 | 115:03 | 97.37%
7 | 220 kV New Duburi - Paradeep - ll | 76:02 | 19:41 | 95:43 | 97.81% | 69:56 | 00:41 | 70:37 | 98.39% | 90:33 | 12:59 | 103:32 | 97.64%
8 | 220 kV New Duburi - Balasore - I | 0.84028 | 1900-01-06 15:17 | 1900-01-07 11:27 | 95.36% | 1900-01-06 03:07 | 0.099306 | 1900-01-06 05:30 | 96.04% | 1900-01-07 19:43 | 1900-01-05 04:40 | 1900-01-14 00:23 | 91.77%
9 | 220 kV Balasore - Bhadrak | 0.92708 | 1900-01-04 14:03 | 1900-01-05 12:18 | 96.43% | 0.85903 | 0.036806 | 0.89583 | 99.51% | 0.56042 | 0.175 | 0.73542 | 99.6%
10 | 220 kV Balasore - PGCIL - 1 | 0.42708 | 1900-01-02 13:22 | 1900-01-02 23:37 | 97.82% | 0.67292 |  | 0.67292 | 99.63% | 0.32917 | 0.10347 | 0.43264 | 99.76%
11 | 220 kV Balasore - PGCIL - 2 | 0.18056 | 0.31111 | 0.49167 | 99.73% | 0.72639 |  | 0.72639 | 99.6% | 0.12014 | 0.061111 | 0.18125 | 99.9%
12 | 220 kV TTPS - Joda - I | 1900-01-04 15:30 | 1899-12-31 14:02 | 1900-01-06 05:32 | 96.04% | 1899-12-31 04:10 | 0.36806 | 1899-12-31 13:00 | 99.16% | 0.14583 | 0.77778 | 0.92361 | 99.49%
13 | 220 kV TTPS - Joda - II | 1900-01-04 11:41 | 1900-01-01 20:00 | 1900-01-07 07:41 | 95.44% | 1899-12-31 13:09 | 1899-12-31 09:00 | 1900-01-01 22:09 | 98.4% | 0.9375 | 1900-01-03 00:30 | 1900-01-03 23:00 | 97.28%
14 | 220 kV Joda - Jamshedpur | 0.48056 | 0.39792 | 0.87847 | 99.52% | 0.44792 | 0.11806 | 0.56597 | 99.69% | 0.21667 | 0.57917 | 0.79583 | 99.56%
15 | 220 kV Joda - Ramchandrapur |  | 1899-12-31 18:06 | 1899-12-31 18:06 | 99.04% | 1900-01-19 18:00 | 1899-12-31 18:54 | 1900-01-21 12:54 | 87.65% | 1900-01-06 01:50 | 1899-12-31 12:10 | 1900-01-07 14:00 | 95.3%
16 | 220 kV Joda - TSIL |  | 0.35069 | 0.35069 | 99.81% | 0.020833 | 0.34028 | 0.36111 | 99.8% |  | 0.14167 | 0.14167 | 99.92%
17 | 132 kV Balasore - Baripada | 0.43056 | 1899-12-31 02:31 | 1899-12-31 12:51 | 99.16% | 1899-12-31 15:49 | 0.11458 | 1899-12-31 18:34 | 99.03% |  |  | 0 | 100%
18 | 132 kV Balasore - Soro | 0.41875 | 0.62708 | 1899-12-31 01:06 | 99.43% | 1899-12-31 13:09 | 0.71319 | 1900-01-01 06:16 | 98.76% | 1899-12-31 19:56 | 0.0048611 | 1899-12-31 20:03 | 98.99%
19 | 132 kV Balasore - Balasore Alloys | 0.26736 | 0.175 | 0.44236 | 99.76% | 0.90417 | 0.40417 | 1899-12-31 07:24 | 99.28% | 0.17986 | 0.027083 | 0.20694 | 99.89%
20 | 132 kV Balasore - Birla Tyres | 0.15417 | 0.30208 | 0.45625 | 99.75% | 0.79792 | 0.0041667 | 0.80208 | 99.56% | 0.39375 | 0.033333 | 0.42708 | 99.77%
21 | 132 kV Balasore - Traction | 0.13889 | 0.10347 | 0.24236 | 99.87% | 0.60208 | 0.0034722 | 0.60556 | 99.67% | 0.26736 | 0.0055556 | 0.27292 | 99.85%
22 | 33 kV Balasore - Emami | 1899-12-31 06:10 | 1900-01-04 11:31 | 1900-01-05 17:41 | 96.31% | 1899-12-31 09:19 | 1900-01-02 00:37 | 1900-01-03 09:56 | 97.58% | 0.32292 | 1900-01-03 13:52 | 1900-01-03 21:37 | 97.31%
23 | 132 kV Balasore - Basta | 0.37639 | 0.21319 | 0.58958 | 99.68% | 1900-01-01 16:46 | 0.12222 | 1900-01-01 19:42 | 98.45% | 0.095139 | 0.05 | 0.14514 | 99.92%
24 | 132 kV Basta - Jaleswar |  | 0.79514 | 0.79514 | 99.56% | 0.55278 | 1900-01-01 19:59 | 1900-01-02 09:15 | 98.14% |  | 1899-12-31 03:52 | 1899-12-31 03:52 | 99.36%
25 | 132 kV Jaleswar - Rly Traction |  | 0.55486 | 0.55486 | 99.7% | 64:13 | 21:35 | 1900-01-02 13:48 | 98.04% | 07:21 | 39:03 | 1899-12-31 22:24 | 98.94%
26 | 132 kV Bhadrak - DPCL - I | 0.59931 |  | 0.59931 | 99.67% | 0.56042 |  | 0.56042 | 99.69% | 0.16319 |  | 0.16319 | 99.91%
27 | 132 kV Bhadrak - DPCL - II | 0.57639 |  | 0.57639 | 99.68% | 0.56319 |  | 0.56319 | 99.69% | 0.16319 |  | 0.16319 | 99.91%
28 | 132 kV Bhadrak - Soro |  | 0.083333 | 0.083333 | 99.95% | 0.98403 | 0 | 0.98403 | 99.46% | 0 | 0 | 0 | 100%
29 | 132 kV Bhadrak - FACOR |  |  | 0 | 100% | 0.40556 |  | 0.40556 | 99.78% |  |  | 0 | 100%
30 | 132 kV Bhdrak - Traction |  | 0.038194 | 0.038194 | 99.98% | 0.83056 |  | 0.83056 | 99.54% | 0.44861 |  | 0.44861 | 99.75%
31 | 132 kV Kuchei PGCIL - Baripada |  | 0.15903 | 0.15903 | 99.91% |  | 1899-12-31 00:53 | 0.075 | 99.96% | 99.39% |  | 0 | 100% | 1899-12-31 | 100%
32 | 132 kV Kuchei PGCIL - Rairangpur |  | 1899-12-31 10:10 | 1899-12-31 10:10 | 99.22% |  | 0.36736 | 0 | 100% | 99.8% |  | 0 | 100% | 1899-12-31 | 99.93%
33 | 132 kV Rairangpur - Karanjia | 0.57083 | 0.84097 | 1899-12-31 09:53 | 99.23% | 1899-12-31 16:36 |  | 1899-12-31 16:36 | 99.07% | 0.041667 | 0.038194 | 0.079861 | 99.96%
34 | 132 kV Palasponga - Karanjia |  | 0.88333 | 0.88333 | 99.52% | 1900-01-01 06:12 |  | 1900-01-01 06:12 | 98.76% |  | 0.28333 | 0.28333 | 99.84%
35 | 132 kV Kamkhyanagar – Duburi - I | 0.88611 | 0.1375 | 1899-12-31 00:34 | 99.44% | 1899-12-31 09:42 | 0.063194 | 1899-12-31 11:13 | 99.2% | 0.16875 | 0.25347 | 0.42222 | 99.77%
36 | 132 kV TTPS - Duburi Ckt - II |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%
37 | 132 kV Duburi - Jajpur Rd. Ckt - I |  |  |  | 100% | 0.83889 |  | 0.83889 | 99.54% |  |  |  | 100%
38 | 132 kV Duburi - Jajpur Rd. Ckt - II |  |  |  | 100% | 0.79722 |  | 0.79722 | 99.56% |  |  |  | 100%
39 | 132 kV Duburi - Mesco - Bhadrak - Jajpur Town | [7 empty] | 100% |  | 0.39097 | 0.39097 | 99.79%
40 | 132 kV Duburi - Baminipal (TISCO) |  | 0.0027778 | 0.0027778 | 99.99% |  | 0.0034722 | 0.0034722 | 100% |  | 1899-12-31 07:38 | 1899-12-31 07:38 | 99.28%
41 | 132 kV Duburi - Mesco Fdr-II |  |  |  | 100% |  | 0.90417 | 0.90417 | 99.5% |  | 0.023611 | 0.023611 | 99.99%
42 | 132 kV Duburi - Jakhapura Traction |  | 0.0083333 | 0.0083333 | 99.99% | 0.65139 | 0.0069444 | 0.65833 | 99.64% |  | 0.58333 | 0.58333 | 99.68%
43 | 132 kV Jajpur Road – Kendrapara-II |  |  |  |  | 0.30556 | 1900-01-01 14:50 | 1900-01-01 22:10 | 98.4% | 1900-01-03 10:12 | 0.68403 | 1900-01-04 02:37 | 97.2%
44 | 132 kV Jajpur Road – Chandikhol - I |  | 0.39097 | 0.39097 | 99.78% | 0.31597 | 0.22292 | 0.53889 | 99.7% |  | 0.0875 | 0.0875 | 99.95%
45 | 132 kV Jajpur Road - Jajpur Town . |  | 0.83889 | 0.83889 | 99.54 | 0.66667 | 0.93889 | 38:32 | 99.12% |  | 0.45833 | 0.45833 | 99.75%
46 | 132 kV J.Road - Anandapur fdr | 0 | 0 | 0 | 100% | 0.33333 | 0 | 0.33333 | 99.82% | 0 | 0 | 0 | 100%
47 | 132 kV Kalarangi Incomer | 0.40625 | 0.57292 | 0.97917 | 99.46 | 1899-12-31 15:13 | 1899-12-31 02:15 | 1900-01-01 17:28 | 98.51% | 0.028472 | 0.24931 | 0.27778 | 99.85%
48 | 132 kV Joda - Rourkela |  | 0.46667 | 0.46667 | 99.7% | 0.15278 | 0.7 | 0.85278 | 99.53% | 0.17292 | 0.3125 | 0.48542 | 99.73%
49 | 132 kV Joda - Polasponga | 0.25972 | 1899-12-31 10:45 | 1899-12-31 16:59 | 99% | 0.45833 | 1899-12-31 02:15 | 1899-12-31 13:15 | 99.15% | 0.25833 | 0.50486 | 0.76319 | 99.58%
50 | 132 kV Joda - FAP | 0.13611 | 0.43403 | 0.57014 | 99.6% | 0.15278 | 0.33681 | 0.48958 | 99.73% | 0.26736 | 0.43889 | 0.70625 | 99.61%
51 | 132 kV Joda - Kenduposi |  |  | 0 | 100% |  |  | 0 | 100% |  |  | 0 | 100%

## JEYPORE
| Licencee : OPTCL | [10 empty] | OERC | FORM P-8 | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
SL.NO. | NAME OF THE TRANSMISSION LINE | First six months of the previous year 2014-15 04/14 to 09/14 |  |  |  | Last six months of the previous year 2014-15 10/14 to 03/15 |  |  |  | First six months of the current year 2015-16 04/15 to 09/15
| JEYPORE CIRCLE | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply | Duration of Interruption (Scheduled Maint.) | Duration of Interruption (Un-scheduled Maint.) | Total Duration of Interruption | Percentage of time when the Feeder was available for power supply
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | 220 kV Jayanagar - Balimela - I | 0.50486 |  | 0.50486 | 99.72% | 1899-12-31 19:57 | 0.090972 | 1899-12-31 22:08 | 98.95% | 1899-12-31 13:55 | 1899-12-31 02:57 | 1900-01-01 16:52 | 98.52%
2 | 220 kV Jayanagar - Balimela - II | 1899-12-31 03:06 | 1900-01-04 03:34 | 1900-01-05 06:40 | 96.56% | 1899-12-31 01:03 | 0.10417 | 1899-12-31 03:33 | 99.37% | 1900-01-05 10:46 | 0.059028 | 1900-01-05 12:11 | 96.43%
3 | 220 kV Jayanagar - Balimela - III | 0.86389 |  | 0.86389 | 99.53% | 1899-12-31 08:40 | 0.22222 | 1899-12-31 14:00 | 99.13% | 1900-01-01 21:09 | 0.072222 | 1900-01-01 22:53 | 98.38%
4 | 220 kV Jayanagar - Upper Kolab-I | 0.30972 |  | 0.30972 | 99.83% | 0.86806 | 0.088889 | 0.95694 | 99.48% | 0.15625 | 0.042361 | 0.19861 | 99.89%
5 | 220 kV Jayanagar - Upper Kolab-II | 0.73056 |  | 0.73056 | 99.6% | 0.69028 | 0.40694 | 1899-12-31 02:20 | 99.4% | 0.051389 | 0.043056 | 0.094444 | 99.95%
6 | 220 kV Jayanagar - PGCIL - I | 1899-12-31 00:20 | 1899-12-31 12:08 | 1900-01-01 12:28 | 98.62% | 0.69722 | 0.080556 | 0.77778 | 99.57% | 0.12083 | 0.14236 | 0.26319 | 99.86%
7 | 220 kV Jayanagar - PGCIL-II | 1899-12-31 00:20 | 0.33681 | 1899-12-31 08:25 | 99.26% | 1899-12-31 00:45 | 0.10417 | 1899-12-31 03:15 | 99.38% | 0.36389 | 0.10069 | 0.46458 | 99.75%
8 | 220 kV Therubali - Jayanagar - I | 0.3875 |  | 0.3875 | 99.79% | 1899-12-31 19:58 | 0.15347 | 1899-12-31 23:39 | 98.91% | 0.18056 | 0.084722 | 0.26528 | 99.85%
9 | 220 kV Therubali - Jayanagar - II |  | 0.30556 | 0.30556 | 99.83% | 0.0625 | 1900-01-01 12:29 | 1900-01-01 13:59 | 98.58% | 0.12292 | 0.2 | 0.32292 | 99.82%
10 | 220 kV Therubali - Jayanagar - III |  |  |  | 100% |  |  | 0 | 100% |  |  |  | 100%
11 | 220 kV Therubali - Bhanjanagar - I | 0 | 0.16667 | 0.16667 | 99.91% | 1900-01-06 17:42 | 0.046528 | 1900-01-06 18:49 | 95.73% | 1900-01-02 00:55 | 0.125 | 1900-01-02 03:55 | 98.27%
12 | 220 kV Therubali - Bhanjanagar - II | 0 | 1899-12-31 22:34 | 1899-12-31 22:34 | 98.94% | 1900-01-07 21:37 | 0.79931 | 1900-01-08 16:48 | 94.68% | 1900-01-01 10:15 | 0.06875 | 1900-01-01 11:54 | 98.63%
13 | 220 kV Therubali - Indravati - I | 0 | 0.15486 | 0.15486 | 99.92% | 0.27431 | 0.014583 | 0.28889 | 99.84% | 0.52222 | 0.014583 | 0.53681 | 99.71%
14 | 220 kV Therubali - Indravati - II | 0 | 0 | 0 | 100% | 0.61111 | 1899-12-31 02:16 | 1899-12-31 16:56 | 99.07% | 1900-01-01 05:53 | 0.015972 | 1900-01-01 06:16 | 98.76%
15 | 220 kV Therubali - Indravati - III | 0 | 1900-01-03 10:47 | 1900-01-03 10:47 | 97.56% | 0.32639 | 0.92292 | 1899-12-31 05:59 | 99.32% | 0.7625 | 1900-01-11 18:40 | 1900-01-12 12:58 | 92.58%
16 | 220 kV Therubali - Indravati - IV | 0 | 0.073611 | 0.073611 | 99.96% | 0 | 0 | 0 | 100% | 1899-12-31 16:45 | 1900-01-17 14:53 | 1900-01-19 07:38 | 88.87%
17 | 220 kV Therubali - Narendrapur - I | 0.66597 | 1900-01-02 10:30 | 1900-01-03 02:29 | 97.75% | 1899-12-31 06:20 | 0.16389 | 1899-12-31 10:16 | 99.22% | 1900-01-01 19:59 | 0.12639 | 1900-01-01 23:01 | 98.38%
18 | 220 kV Therubali - Narendrapur - II | 0.11944 | 1899-12-31 07:02 | 1899-12-31 09:54 | 99.23% | 0.97569 | 0.45903 | 1899-12-31 10:26 | 99.21% | 1899-12-31 13:34 | 0.16736 | 1899-12-31 17:35 | 99.05%
19 | 132 kV Jayanagar - Rayagada |  | 0.35694 | 0.35694 | 99.8% |  | 0.020833 | 0.020833 | 99.99% |  | 0.048611 | 0.048611 | 99.97%
20 | 132 kV Jayanagar - Sunabeda | 0.30347 | 0.64097 | 0.94444 | 99.48% | 0.77847 | 0.19583 | 0.97431 | 99.47% | 0.17014 | 0.019444 | 0.18958 | 99.9%
21 | 132 kV Jayanagar - Damonjodi | 1899-12-31 19:44 | 0.063889 | 1899-12-31 21:16 | 98.97% | 0.175 | 0.076389 | 0.25139 | 99.86% |  | 0.12361 | 0.12361 | 99.93%
22 | 132 kV Sunabeda - Damonjodi |  |  |  | 100% | 0.44583 | 0.30278 | 0.74861 | 99.59% |  | 0.89236 | 0.89236 | 99.51%
23 | 132 kV Machkund - Jayanagar |  | 1899-12-31 09:05 | 1899-12-31 09:05 | 99.24% | 1899-12-31 06:08 | 1900-01-02 11:15 | 1900-01-03 17:23 | 97.41% | 1899-12-31 04:50 | 1900-01-01 05:03 | 1900-01-02 09:53 | 98.13%
24 | 132 kV Jayanagar -Tentulikhunti | 0.12153 | 0.14653 | 0.26806 | 99.85% | 0.32639 | 0.058333 | 0.38472 | 99.79% |  | 0.12431 | 0.12431 | 99.93%
25 | 132 kV Jayanagar - Traction |  | 0.063889 | 0.063889 | 99.96% | 0.89861 | 0.15972 | 1899-12-31 01:24 | 99.42% | 0.64236 | 0.69097 | 1899-12-31 08:00 | 99.27%
26 | 132 kV Therubali - Kesinga |  | 0.30208 | 0.30208 | 99.83% |  | 0.43264 | 0.43264 | 99.76% |  | 1899-12-31 01:54 | 1899-12-31 01:54 | 99.41%
27 | 132 kV Kesinga - Bolangir |  | 0.25833 | 0.25833 | 99.86% |  | 0.16736 | 0.16736 | 99.91% |  | 0.1 | 0.1 | 99.95%
28 | 132 kV Kesinga - Junagarh | 0.37153 | 1899-12-31 18:25 | 1900-01-01 03:20 | 98.83% | 0.68403 | 0.65556 | 1899-12-31 08:09 | 99.27% | 0.10417 | 0.79514 | 0.89931 | 99.51%
29 | 132 kV Kesinga - Khariar |  |  | 0 | 100% | 0.44167 |  | 0.44167 | 99.76% | 0.35486 |  | 0.35486 | 99.81%
30 | 132 kV Kesinga - Powmax |  | 0.30208 | 0.30208 | 99.83% |  | 0.43264 | 0.43264 | 99.76% |  | 1899-12-31 01:54 | 1899-12-31 01:54 | 99.41%
31 | 132 kV Therubali - Rayagada | 0.099306 | 0 | 0.099306 | 99.95% | 1900-01-23 11:07 | 0.32986 | 1900-01-23 19:02 | 86.41% | 1900-01-08 02:38 | 0.33 | 1900-01-08 10:34 | 94.83%
32 | 132 kV Therubali - J.K.Paper | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
33 | 132 kV Therubali - IMFA | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 100%
34 | 132 kV Akhusingi - Parlakhemundi | 0.56944 | 0 | 0.56944 | 99.69% | 0.38403 | 0.125 | 0.50903 | 99.72% | 0 | 0 | 0 | 100%
35 | 132 kV Rayagada - Akhusingh | 1899-12-31 14:56 | 1899-12-31 22:31 | 1900-01-02 13:27 | 98.05% | 1899-12-31 11:57 | 0.048611 | 1899-12-31 13:07 | 99.15% | 1900-01-01 20:00 | 0 | 1900-01-01 20:00 | 98.45%