BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.------										      Filing No. 1

IN THE MATTER OF:	An application for approval of Annual Revenue Requirement and Transmission Tariff for the Financial Year 2015-16 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Terms and Conditions for Determination of Tariff) Regulations, 2004 and OERC (Conduct of Business) Regulations, 2004 and other tariff related matters.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.								                                                                                      …Applicant

The Humble Applicant above named;

MOST RESPECTFULLY SHEWETH THAT:

In exercise of powers conferred under Sections 39,131,133 and 134 of the Electricity Act, 2003 read with Sections 23 & 24 of the Orissa Electricity Reform Act, 1995, the State Government published the Orissa Electricity Reform (Transfer of Transmission and Related Activities) Scheme, 2005 (hereinafter called the “Transfer Scheme”) in the Gazette dated 09.06.2005 which was effective retrospectively from 01.04.2005 wherein the Transmission Undertaking (the Undertaking related to the activities of Transmission, State Transmission Utility and State Load Dispatch Centre and acts incidental and ancillary thereto) of the Grid Corporation of Odisha Limited (Transferor), (now renamed GRIDCO Ltd.- hereinafter referred to as “GRIDCO”) has been transferred and vested in Odisha Power Transmission Corporation Limited (hereinafter called “OPTCL”).

As per Clause 10 of the Transfer Scheme, OPTCL is a deemed Transmission Licensee under Section 14 of the Electricity Act, 2003 (hereinafter referred to as ‘the Act’) for undertaking the business to transmit electricity in the State of Odisha. OPTCL has also been notified as the State Transmission Utility (hereinafter called ‘STU’) and accordingly, shall discharge the State Load Dispatch functions from the date of transfer till further orders of the State Government.

Hon’ble Odisha Electricity Regulatory Commission (hereinafter referred to as ‘OERC’) has issued Licence Conditions of OPTCL effective from 01.11.2006 vide order dated 27.10.2006 passed in Case No 22 of 2006 to undertake the activities relating to transmission of electricity in the State of Odisha.

Consequent upon transfer of Transmission Undertaking and functions to OPTCL as per the Transfer Scheme, all the obligations under Bulk Supply Agreement dated 18.09.1999 between GRIDCO  & CESCO (now the Central Electricity Supply Utility of Odisha - “CESU”) and between GRIDCO & WESCO, GRIDCO & NESCO, GRIDCO and SOUTHCO on dated 24.05.1999 including all other contracts of GRIDCO with any party other than those four Distribution Licensees, in so far they relate to transmission of electricity and matter connected therewith including the provisions dealing with operating arrangements, connections & metering, rights of access, non-interfering with the equipments etc. is required to be discharged by OPTCL in the same manner as GRIDCO was doing / performing under the said agreements and also as per the Regulations, orders and directions of OERC made from time to time and all such services shall be rendered by OPTCL to GRIDCO.

As provided under Regulation 53 (1) at Chapter VIII of OERC (Conduct of Business) Regulations, 2004 and under Clause 19.3 of License Conditions of OPTCL, OPTCL is required to submit its Annual Revenue Requirement (ARR) application for the ensuing year before Hon’ble OERC for approval.

In compliance of the above, OPTCL herewith submits its Annual Revenue Requirement & Transmission Tariff application for FY 2015-16 for kind approval of the Hon’ble Commission.

CATEGORISATION OF CUSTOMERS

All the customers seeking open access to OPTCL Transmission System are classified under two categories.

a. Long Term Open Access Customers (LTOA Customers)

A Long Term Open Access Customer means a person availing or intending to avail access to the Intra-State Transmission System for a period of 25 years or more. Based on such premise, four DISCOMs, NALCO & IMFA happen to be the Long Term Customers of OPTCL.

b. Short Term Open Access Customers (STOA Customers)

Open Access Customers other than Long Term Customer(s) are classified as Short Term Customer(s). The maximum duration that a Short Term Customer can avail open access to the Intra-State Transmission is one year with a condition to reapply after expiry of the term.

TRANSMISSION CHARGE:

- In a significant departure from the past, the Tariff Policy, 2006 framed under the Act has embodied the National Tariff Framework which provides that the transmission tariff is to be sensitive to distance, direction and related to quantum of power flow in a transmission service network. Para 7(1) (3) of the Tariff Policy provides for Transmission Charges to be determined on MW per circuit kilometre basis, zonal Postage Stamp basis, or on the basis of some other pragmatic variant, the ultimate objective being to get the transmission system users to share the total transmission cost in proportion to their respective utilization of the transmission system. The overall tariff framework should be such as not to inhibit planned development/augmentation of the transmission system, but should discourage non-optimal transmission investment.

Every year, OPTCL has been following the Postage Stamp Method to work out Transmission Charges while seeking Hon’ble Commission’s approval of its ARR & Transmission Charges.

The Hon’ble Commission has not yet framed any separate Regulations for determination of Intra-State Transmission Tariff   to be followed by the Transmission Licensee while formulating its ARR and Transmission Tariff application. In such a situation, OPTCL is guided by the norms of extant Central Electricity Regulatory Commission (Terms & Conditions of Tariff) Regulations, 2014 (hereinafter referred to as “CERC Regulations, 2014”) applicable for determination of Transmission Tariff. Following the norms for FY 2015-16, OPTCL has formulated its ARR & Transmission Tariff application for FY 2015-16 as per the related provisions pertaining to the conduct of Business and Tariff determination as provided under OERC Regulations, 2004 norms adopted in previous tariff order and as per the CERC Regulations, 2014.

The various costs involved for carrying out transmission business by OPTCL for FY 2015-16 while formulating the ARR and Transmission Tariff have been categorized under the following heads:

- FIXED COST:

- Operation & Maintenance (O & M) Expenses

- Interest on Loan Capital

- Depreciation

- Return on Equity

- Interest on Working Capital

- OTHERS:

- Contingency Reserve

- Grid Co-ordination Committee (GCC) Expense

- Incentive for System Availability

- Rebate

COMPUTATION OF TRANSMISSION CHARGES:

- FIXED COST:

The Fixed Cost of OPTCL includes expenses incurred towards Operation & Maintenance (Employee Cost including Terminal Benefits, Administration & General Expenses and Repairs & Maintenance Expenses). The details of such expenses for FY 2015-16 are projected as under:

A.1)   O&M EXPENSES:

As per CERC Regulations, 2014, Operation and Maintenance (O&M) Expenses means the expenditure incurred for operation and maintenance of the project, or part thereof, and includes the expenditure on manpower, repairs, maintenance spares, consumables, insurance and overheads.

Accordingly, OPTCL proposes O & M Expenses under the following heads:

  - EMPLOYEE COST INCLUDING TERMINAL BENEFITS

  - ADMINISTRATION & GENERAL EXPENSES

  - REPAIR & MAINTENANCE EXPENSES

I.  EMPLOYEE COST INCLUDING TERMINAL BENEFITS: (F-10)

The Employee Cost includes Salaries, Dearness Allowance, Conveyance Allowance, Medical Allowance, Bonus / Ex-gratia etc. The Employee Expenses for FY 2015-16 estimated as  Rs.310.02 Cr. including Terminal Benefit Liability (Table-1 & 3).

Presently the Men in Position (MIP) of OPTCL is 3150 as on 01.11.2014 out of which 1132 nos. are Executives and  2018 nos. are Non-Executives  against sanctioned strength of 5519 nos. (Executives- 1529 nos. + 3990 nos.- Non-Executives).

A significant number of posts are lying vacant in different ranks due to retirement, death, promotion etc. as a result of which functioning of the organization has been seriously affected. OPTCL plans to fill up the vacancies in a phased manner and accordingly the recruitment process has been initiated. In the meantime some additional manpower has been inducted and more will be recruited in coming years.

Due to rapid industrialization, urbanization and rural electrification initiatives in the State under Central as well as State sponsored schemes, there has been manifold increase in the demand of power. In order to cater to the increasing demand of power, several new grid sub-stations and transmission lines have been commissioned and many others are at different stages of implementation. The increased transmission infrastructure badly requires adequate competent personnel in Technical, Finance, HRD, IT and other relevant streams. In order to align OPTCL’s organizational structure in line with the emerging needs of the transmission sector and dynamic regulatory framework in India, Govt. of Odisha has already approved the organizational restructuring proposal of OPTCL. Consequently Revised Organization Restructuring & Manpower Assessment has been implemented on 01.01.2014 in OPTCL to meet the emerging demands of the sector and to meet the emerging needs of important aspects of the transmission utility like Project Implementation, O&M, Telecom, Finance and IT support etc. With notification of Organization Structure & Manning Norm, recruitment of Degree & Diploma Engineers has been started.

Information on number of employees:

  - No of employees as on 01.04.2013:					3138

  - Induction of new employees during 2013-14:			  235

  - Retired /resigned during 2013-14 (01.04.2013 to 31.03.2014):	  283

  - No of employees as on 31.03.2014:					3090

  - Induction of new employees during 2014-15:

Recruited [12 (Executives) +184 (ITI)] +

To be recruited [107 (Executives) + 150 (ITI)]                                                  453

  - Retired/ to be retired during 2014-15:				   138

  - No of employees as on 31.03.2015:					  3405

  - Induction of new employees during 2015-16:			    450

  - To be retired during 2015-16:				                  97

  - No. of employees as on 31.03.2016:					  3758

Calculation of Employee Cost

The average number of employee for the FY 2014-15 and FY 2015-16 works out as 3248 and 3582 respectively.

The Basic Pay plus Grade Pay (GP) for the first seven months of the current financial year 2014-15 works out to Rs. 32.82 Cr. Extrapolating the same to a twelve month period with additional increment of 3% of (Basic Pay + GP) on the existing employee base works out to Rs. 57.95 Cr.

The basic pay plus GP for the FY 2015-16 is determined factoring in average no. of employees as mentioned above which works out to Rs.63.91 Cr.

Dearness Allowance:  As regards Dearness Allowance, the prevailing rate approved by Govt. of Odisha is 107% w.e.f. 01.07.2014. Last time the incremental rate of DA was 7%. Considering the present inflation, it is projected that the DA rate for coming years i.e. with effect from 01.01.2015, 01.07.2015 and 01.01.2016 will be 114%, 121% and 128% respectively. Considering the above, OPTCL has proposed the annual average rate of DA at 121% in 2015-16 and proposed Rs. 77.33 Cr. towards DA.

House Rent Allowance:  As per the present rate, all employees of OPTCL are entitled to get House Rent Allowance (HRA) @ 20% on the Basic + GP. Accordingly, OPTCL has projected Rs.12.78 Cr. for 2015-16.

Medical Expenses:  All employees of OPTCL are entitled to get Medical Allowance @ 5% on the Basic + GP. Accordingly, OPTCL has projected Rs.4.68 Cr. for 2015-16 towards Medical Expenses including projection of Rs.1.49 Cr. towards reimbursement of medical expenses.

Under staff welfare expenses, OPTCL has projected Rs. 2.85 Cr. towards Uniform, Liveries, GIS, Sports, Recreations & cultural activity, hospital expenses etc. for 2015-16.

Stipend for new recruitment:

| YEAR | Post | Proposed No. of candidates to be Recruited | Stipend per person per month (Rs.) | Total stipend per month (Rs. Lakh) |
| --- | --- | --- | --- | --- |
| 2014-15 | ITI Technician | 150 | 6000 | 9.00 |
|  | Jr. Manager | 87 | 12000 | 10.44 |
|  | Asst. Manager | 20 | 18000 | 3.60 |
| 2015-16 | ITI Technician | 150 | 6000 | 9.00 |
|  | Administrative | 100 | 8000 | 8.00 |
|  | Jr. Manager | 50 | 12000 | 6.00 |
|  | Asst. Manager | 150 | 18000 | 27.00 |
|  | Total | 707 |  | 73.04 |
|  | Total stipend for FY 2015-16 = Rs.8.77 Cr. |  |  |  |

The component wise details of Employee Cost are given in F-10 and the abstract is shown in Table-1 below:

| Table-1 (Employee Cost for FY 2015-16) (Rs. Cr.) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No | Particulars | Previous Year (FY 2013-14) | Current Year (FY 2014-15) | Ensuring Year (FY 2015-16) | Assumptions |
| A | Salary & Allowance |  |  |  |  |
| 1 | Basic + Grade Pay | 56.38 | 67.85 | 63.91 | Explained above |
| 2 | Dearness Allowance | 49.72 | 70.13 | 77.33 | 121% for 2015-16 (assumed same % increase as of last year i.e. 7% wef Jan’ 15, July’ 15 & Jan’ 16) |
| 3 | House Rent Allowance | 7.81 | 8.30 | 12.78 | 20% HRA (Basic + GP) |
| 4 | Other Allowance | 2.89 | 0.73 | 0.84 |  |
| 5 | Bonus | 0.00 | 0.00 | 0.01 |  |
| 6 | Stipend for New Recruitment | 0.47 | 1.20 | 8.77 | Explained above |
|  | Sub- Total (A) | 117.27 | 148.21 | 163.63 |  |
| B | Additional Employee Cost |  |  |  |  |
| 1 | Wage/Salary revision if any |  | 3.84 |  |  |
| 2 | Out Sources Engagement | 0.57 | 1.20 | 1.44 | 20% increase |
|  | Sub- Total (B) | 0.57 | 5.04 | 1.44 |  |
| C | Other Employee Cost |  |  |  |  |
| 1 | Medical Expenses (Allowance +Reimbursement) | 1.41 | 3.65 | 4.68 | Allowance 5% of (Basic + GP) + Reimbursement Rs.1.49 Cr. i.e. 20% more over last year |
| 2 | Leave Travel Concession | 0.08 | 0.67 | 0.67 | As per Budget 2013-14 |
| 3 | Honorarium | 0.03 | 0.05 | 0.05 |  |
| 4 | Ex-gratia | 0.09 | 1.00 | 1.00 | As per Budget 2013-14 |
| 5 | Staff Welfare Expenses | 2.27 | 4.19 | 2.85 |  |
| 6 | Miscellaneous | 0.76 | 2.32 | 2.32 |  |
|  | Sub-Total (C) | 4.64 | 11.88 | 11.57 |  |
| D | Terminal Benefits |  |  |  |  |
| 1 | Pension | 78.58 | 64.11 | 135.37 | Explained below |
| 2 | Gratuity | 3.67 |  |  |  |
| 3 | Leave Salary | 1.44 |  |  |  |
| 4 | Other (including contribution to NPS) | 1.61 | 2.18 | 3.28 |  |
|  | Sub-Total (D) | 85.31 | 66.29 | 138.65 |  |
| E | Total Employee Cost (A+B+C+D) | 207.79 | 231.42 | 315.30 |  |
| F | Less: Employees Cost Capitalised | 16.09 | - | 5.28 | 22% of Deposit Work |
| G | Net Employee Cost ( E- F) | 191.70 | 231.42 | 310.02 |  |

(B) TERMINAL BENEFIT LIABILITIES:

- As per Accounting Standard 15 issued under the Companies Act 2013, employee benefit liabilities shall be assessed through actuarial valuation.  The actuarial assumptions are required to measure the obligation and the expense and there is a possibility of actuarial gains and losses. Moreover, the obligations are measured on a discounted basis because they may be settled over many years after the employees render the related service.  Accordingly, OPTCL has been doing actuarial valuation by availing the service of qualified Actuary every year.

- Para 61 of AS-15(R) states that an enterprise should recognise the net total of the following amounts in the statement of Profit & Loss except to the extent that another Accounting Standard requires or permits their inclusion in the cost of an asset.

- (a)  Current service cost

- (b)  Interest cost

- (c)  Expected return on any plan assets and on any reimbursement rights

- (d)  Actuarial gains and losses

- (e) Past service cost requires an enterprise to recognise it

- (f)  Effect of any curtailments or settlements; and

- (g) Effect of the limit i.e. the extent to which the amount determined

- Accordingly, based on the report  of independent actuary M/S Bhudev Chatterjee, Kolkota OPTCL has made provision towards terminal liabilities and recognised the surplus in the statement of Profit & Loss in each of the accounting period. During the period from FY 2005-06 to FY2013-14, OPTCL has made provision of Rs.1403.43 Cr. towards Terminal Liabilities (Pension, Gratuity and Leave Encashment) based on the Actuarial Valuation submitted by the Actuary. It is submitted that from FY 2005-06 to FY 2014-15, the Hon’ble Commission has allowed total Rs. 997.31Cr. and the present gap is Rs. 406.12 Cr. In this regard, it is further submitted that OPTCL has transferred all the amounts to the different terminal benefit Trusts up to FY 2013-14 and by the end of current year the approval of Rs.134.11Cr. shall also be transferred. The detail statement of liabilities recognised by OPTCL and amount allowed by the Hon’ble Commission are as under:

- Table-2                           (Rs. Cr.)

| Year | Provision as per Audited Accounts | Allowed by OERC |
| --- | --- | --- |
| 2005-06 | 89.18 | 40.62 |
| 2006-07 | 41.67 | 44.68 |
| 2007-08 | 102.81 | 55.38 |
| 2008-09 | 402.58 | 51.34 |
| 2009-10 | 182.95 | 76.94 |
| 2010-11 | 119.23 | 140.20 |
| 2011-12 | 171.03 | 176.36 |
| 2012-13 | 146.19 | 138.80 |
| 2013-14 | 83.69 | 138.88 |
| 2014-15 (Provisional) | 64.11 | 134.11 |
| Total | 1,403.43 | 997.31 |

- It is submitted that Hon’ble Commission may treat the differential amount of Rs.406.12 Cr (i.e. Rs. 1403.43Cr – Rs.997.31Cr)  as Regulatory Assets and pass 1/3rd of Rs. 406.12 Cr. amounting to Rs.135.37 Cr. in the ARR for FY 2015-16. The further liabilities for FY 2015-16, if any, as per the audited report may be considered in subsequent tariff orders.

- Besides, Rs.3.28 Cr. is required towards employer’s matching contribution for employees who have joined under NPS and employees under Non-Pensioner Category.

Employee Cost including Terminal Benefit Liability is proposed as Rs. 310.02 Cr. as shown in the Table-3 below:

Table-3		                    (Rs. Cr.)

| Employee cost including Salaries, Dearness Allowance etc. | 176.65 |
| --- | --- |
| Terminal Benefit Liability of Employees and Existing Pensioners | 138.65 |
| Less: Capitalization | 5.28 |
| Total | 310.02 |

### II.  ADMINISTRATION AND GENERAL (A&G) EXPENSES: (F-12)

The A&G Expenses include property related expenses, communication, professional charges, conveyance and travelling, SLDC charges, licensee fee and material related expenses. The A&G Expenses have shown an increasing trend in recent years due to price rise and inflation and is on the higher side than the amount approved by the Hon’ble Commission. In view of the above, OPTCL proposes Rs.32.36 Cr. towards A&G Expenses for FY 2015-16 taking into account the annual escalation under different items. The details of proposed A&G Expenses are depicted in F-12. The component wise proposed A&G Expenses are shown in the Table-4 below:

Table- 4                                                  (Rs. Cr.)

|  | Actual for previous FY 2013-14 | Current FY 2014-15 |  |  | Estimate for ensuing year 2015-16 |
| --- | --- | --- | --- | --- | --- |
|  |  | Actual for 1st first 6 months | Proj. for balance 6 months | Total |  |
| PROPERTY RELATED EXPENSES |  |  |  |  |  |
| Licence Fees | 1.25 | 13.52 | 16.07 | 1.25 | 1.25 |
| Rent | 1.02 |  |  | 0.12 | 0.13 |
| Rates & Taxes | 4.27 |  |  | 0.67 | 0.73 |
| Insurance | 0.03 |  |  | 0.08 | 0.09 |
| Contribution to accident reserve fund | - |  |  |  |  |
| Sub-Total : | 6.58 |  |  | 2.12 | 2.20 |
| COMMUNICATION |  |  |  |  |  |
| Telephone & Trunk Call | 0.56 |  |  | 0.94 | 1.03 |
| Postage & Telegram | 0.06 |  |  | 0.08 | 0.09 |
| Telex, Teleprinter Charges, Telefax | 0.00 |  |  | 0.01 | 0.01 |
| Courier Charges | 0.00 |  |  | 0.01 | 0.01 |
| Other | 0.00 |  |  | 0.01 | 0.01 |
| Sub-Total : | 0.62 |  |  | 1.05 | 1.16 |
| PROFESSIONAL CHARGES |  |  |  |  |  |
| Legal expenses | 0.39 |  |  | 1.45 | 1.60 |
| Consultancy charges | 2.27 |  |  | 1.48 | 1.62 |
| Technical fees | 0.13 |  |  | 0.02 | 0.02 |
| Audit fees | 0.56 |  |  | 0.54 | 0.59 |
| Inspection Fees | 1.98 |  |  | 2.07 | 2.28 |
| Other charges | 2.58 |  |  | 3.90 | 4.29 |
| Sub-Total : | 7.92 |  |  | 9.46 | 10.41 |
| CONVEYANCE & TRAVELLING |  |  |  |  |  |
| Conveyance expenses | 0.03 |  |  | 0.04 | 0.04 |
| Travelling expenses | 2.78 |  |  | 3.08 | 3.39 |
| Hire charges of vehicle | 3.31 |  |  | 4.18 | 4.60 |
| Others | 0.52 |  |  | 0.09 | 0.10 |
| Sub-Total : | 6.65 |  |  | 7.39 | 8.13 |
| OTHER EXPENSES |  |  |  |  |  |
| Electricity & Water Charges | 1.42 |  |  | 1.90 | 2.10 |
| Fees & Subscription | 0.26 |  |  | 0.40 | 0.44 |
| Books & Periodicals | 0.02 |  |  | 0.03 | 0.04 |
| Printing & Stationery | 0.27 |  |  | 0.54 | 0.59 |
| Advertisement | 0.39 |  |  | 1.38 | 1.52 |
| Entertainment | 0.11 |  |  | 0.09 | 0.10 |
| Watch & Ward | 2.56 |  |  | 1.62 | 1.78 |
| Miscellaneous | 1.27 |  |  | 1.14 | 1.26 |
| Donation | 0.01 |  |  | 0.05 | 0.06 |
| Training | 0.53 |  |  | 0.70 | 0.77 |
| Office Maintenance | 0.94 |  |  | 1.06 | 1.17 |
| SLDC Charges | 0.64 |  |  | 0.64 | 0.64 |
| Sub-Total : | 8.42 |  |  | 9.56 | 10.45 |
| MATERIAL RELATED EXPENSES |  |  |  |  |  |
| Demmurage and Wharfage on materials | 31.07 |  |  |  |  |
| Others | 0.14 |  |  | 0.00 | 0.00 |
| Sub-Total : | 31.20 |  |  | 0.00 | 0.00 |
| TOTAL | 61.39 | 13.52 | 16.07 | 29.59 | 32.36 |

Under the Companies Act 2013, it is obligatory for incurring expenditure towards corporate social responsibility(CSR) & OPTCL is required to spend on this account being a profitable company. The amount estimated to be spend about Rs. 50Lakks for FY 2015-16 considering 2% on the average profit about Rs.25Cr during last 3 years which is included in Miscellaneous expenditure under A&G expenses in FY 2015-16

### III.	REPAIR AND MAINTENANCE (R & M) EXPENSES:  (F-11)

The R&M works of OPTCL are undertaken in different streams namely O&M, Telecom, Information Technology (IT) and Civil Works. The summary of proposed R&M Expenses of  Rs.154.11 Cr. under these four heads are furnished in the Table-5 below:

Table-5                                                   (Rs. Cr.)

| Particulars | OERC Approval (FY 2013-14) | OERC Approval (FY 2014-15) | Projection (FY 2015-16) |
| --- | --- | --- | --- |
| a) O&M | 60.00 | 93.00 | 119.23 |
| b) Telecom |  |  | 15.66 |
| c) Civil Works |  |  | 11.00 |
| d) Information Technology |  |  | 08.22 |
| Total R&M Expenses |  |  | Rs. 154.11Cr. |

### (a) R& M Expenses relating to O&M Wing:

### Currently, OPTCL owns 109 nos. grid sub-stations of different voltage classes and EHT transmission lines of 11704.479 ckt. km. as shown in the Table-6 below:

Table-6

| Sub-Station and Line Details |  |  |
| --- | --- | --- |
| 400/220 kV S/S | 2 |  |
| 400/220/132/33 kV S/S | 1 |  |
| 220/132/33 kV S/S | 14 |  |
| 220/33 kV S/S | 5 |  |
| 220/132 kV S/S | 2 |  |
| 132 kV Sw.Stn. | 17 |  |
| 132/33 kV S/S | 64 |  |
| 132/33/25 kV S/S | 1 |  |
| 132/33/11 kV S/S | 1 |  |
| 132/11 kV S/S | 2 |  |
| Total No. of Sub-Stations | 109 |  |
| Voltage Level | Lines (ckt. km.) | Bays |
| 400 kV | 518.234 | 32 |
| 220 kV | 5730.334 | 253 |
| 132 kV | 5455.911 | 714 |
| 33 kV |  | 818 |
| 25 kV |  | 2 |
| 11 kV |  | 18 |
| Total | 11,704.479 | 1837 |

### There has been consistent rising trend of the loading pattern on the transmission system. The power transformers and EHT lines are now operating at such optimum loading levels

### that it is impracticable to undertake maintenance work or attend breakdown job on those without load shedding. In addition to this, some of the EHT lines are pretty old and have outlived their useful life span. Some of the sub-station equipments which were imported during the OSEB period are obsolete now and spares for such equipments are no longer available, making repair impossible.

### Further, consistent expansion of EHT network with the addition of new lines & sub-stations due to rapid industrialization and rural electrification initiatives has resulted in higher fault levels at various EHT grid sub-stations for which some of the existing equipments like CBs, Isolators, CTs are now inadequate to handle the present system.

### To operate the system effectively and to maintain uninterrupted, quality power supply in the state and to meet the performance standards set down by the Hon’ble Commission as well, it is absolutely necessary to undertake replacement of the old / obsolete equipments that have outlived their useful economic life. Also it is required to renovate and upgrade the equipments in the existing system to handle the increased load in the system.

### With the above objectives, OPTCL proposes R&M Expenses of Rs. 119.23 Cr. for FY 2015-16 under different items of O&M Wing, the details of which are shown in the Table-7 below. Special Projection of Rs. 7.45 Cr. has been made at sl.26 to procure Disaster Resilience & Response System for early restoration of EHT towers, lines and sub-station equipments affected due to natural calamity.

### Table-7

| Sl. No. | Description | Unit | FY 2015-16 |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Rate (Rs.) | Qty | Cost (Rs. Lakh) |
| 1 | Circuit Breaker | Nos. |  |  |  |
| i | 400kV |  | 30,63,500 | 4 | 122.54 |
| ii | 220kV |  | 12,64,765 | 10 | 126.48 |
| iii | 132kV |  | 5,77,500 | 40 | 231.00 |
| iv | 33kV |  | 1,91,400 | 50 | 95.70 |
| 2 | C.T. | Nos. |  |  |  |
| a) | 400kV |  | 8,62,914 | 7 | 60.40 |
| b) | 220kV |  |  |  |  |
| i | 1200-600-300/1-1-1-1 |  | 3,47,490 | 74 | 257.14 |
| ii | 600-300-150/1-1-1-1 |  | 4,93,924 | 21 | 103.72 |
| c) | 132kV |  |  |  |  |
| i | 800-400-200/1-1-1 |  | 1,33,533 | 10 | 13.35 |
| ii | 600-300-150/1-1-1 |  | 1,33,533 | 20 | 26.71 |
| iii | 400-200-100/1-1-1 |  | 1,33,533 | 40 | 53.41 |
| d) | 33kV |  |  |  |  |
| i | 1200-600-300/1-1-1 |  | 38,817 | 31 | 12.03 |
| ii | 800-400-200/1-1-1 |  | 38,817 | 105 | 40.76 |
| iii | 600-300-150/1-1-1 |  | 38,817 | 9 | 3.49 |
| iv | 400-200-100/1-1-1 |  | 38,817 | 60 | 23.29 |
| 3 | P.T. / CVT | Nos. |  |  |  |
| i | 400kV |  | 2,98,100 | 5 | 14.91 |
| ii | 220kV PT |  | 4,12,500 | 10 | 41.25 |
| iii | 220kV CVT |  | 2,03,500 | 10 | 20.35 |
| iv | 132kV PT |  | 1,84,800 | 20 | 36.96 |
| v | 132kV CVT |  | 1,47,400 | 20 | 29.48 |
| vi | 33kV PT |  | 21,780 | 50 | 10.89 |
| 4 | Wave Trap |  |  |  |  |
| i | Wave Trap (132kv,1200A/1mh) |  | 2,55,679 | 12 | 30.68 |
| 5 | Surge Arrester | Nos. |  |  |  |
| i | 400kV |  | 99,000 | 6 | 5.94 |
| ii | 220kV |  | 4,12,500 | 10 | 41.25 |
| iii | 132kV |  | 27,500 | 40 | 11.00 |
| iv | 33kV |  | 8,800 | 80 | 7.04 |
| 6 | Post Insulator |  |  |  |  |
| i | Single Stack PI for 132 KV |  | 13,200 | 185 | 24.42 |
| ii | Single Stack PI for 33KV |  | 4,400 | 275 | 12.10 |
| iii | Single Stack PI for 220KV |  | 19,800 | 57 | 11.29 |
| iv | PI for 33KV |  | 1,650 | 143 | 2.36 |
| 7 | Isolator | Set |  |  |  |
| i | 220 KV Single Isolator with E/S |  | 4,33,375 | 7 | 30.34 |
| ii | 220 KV Single Isolator W/O E/S |  | 3,98,858 | 19 | 75.78 |
| iii | 220 KV Double Isolator with E/S |  | 6,05,000 | 9 | 54.45 |
| iv | 220 KV Double Isolator W/O E/S |  | 6,05,000 | 4 | 24.20 |
| vi | 132 KV Single Isolator W/O E/S |  | 1,63,900 | 94 | 154.07 |
| vi | 33 KV Single Isolator W/O E/S |  | 3,56,400 | 68 | 242.35 |
| vii | 132 KV Double Isolator with E/S |  | 3,31,980 | 33 | 109.55 |
| viii | 132 KV Double Isolator W/O E/S |  | 3,04,150 | 22 | 66.91 |
| ix | 132 kV Beam Mounted Isolator,1250A |  | 1,63,900 | 18 | 29.50 |
| x | 33 KV Double Isolator with E/S |  | 90,090 | 67 | 60.36 |
| xi | 33 KV Double Isolator W/O E/S |  | 68,310 | 33 | 22.54 |
| 8 | Relay | Nos. |  |  |  |
| i | Numerical Differential |  | 2,90,051 | 28 | 81.21 |
| ii | Numerical DP |  | 2,90,051 | 32 | 92.82 |
| iii | Numerical Backup |  | 1,01,518 | 86 | 87.31 |
| iv | Auxiliary Relay (Three element) |  | 5,880 | 59 | 3.47 |
| v | Master Trip Relay VAJH-13 |  | 5,880 | 55 | 3.23 |
| vi | Master Trip Relay VAJHM-33 |  | 10,830 | 37 | 4.01 |
| vii | Master Trip Relay VAJH-33 |  | 5,880 | 15 | 0.88 |
| viii | Pole discrepancy |  | 7,179 | 36 | 2.58 |
| ix | Over fluxing |  | 7,179 | 17 | 1.22 |
| x | REF Relay |  | 7,179 | 12 | 0.86 |
| 9 | Control Cable | km |  |  |  |
| i | 2 Core 2.5 mm2 |  | 66,668 | 6 | 4.27 |
| ii | 4 Core 2.5 mm2 |  | 1,05,148 | 11 | 11.57 |
| iii | 4 Core 4 mm2 |  | 1,59,160 | 2 | 3.18 |
| iv | 7 Core 2.5 mm2 |  | 1,59,160 | 9 | 14.64 |
| v | 9 Core 2.5 mm2 |  | 2,16,304 | 6 | 12.98 |
| vi | 12 Core 2.5 mm2 |  | 2,60,304 | 5 | 13.54 |
| vii | 19 Core 2.5 mm2 |  | 3,81,600 | 3 | 12.97 |
| 10 | Power Cable | km |  |  |  |
| i | Power Cable (31/2,core,300mm2) |  | 7,96,566 | 5 | 39.83 |
| ii | Power Cable (31/2,core,120mm2) |  | 3,52,708 | 4 | 14.11 |
| iii | Power Cable (3 ½ core ,95 mm2) |  | 3,29,943 | 4 | 13.20 |
| iv | Power Cable (3 ½ core , 25 mm2) |  | 96,124 | 4 | 3.84 |
| 11 | SF-6 Gas Cylinders (50 kg) | Nos. | 50,270 | 38 | 19.10 |
| 12 | Insulator | Nos. |  |  |  |
| i | 90 kN Disc |  | 563 | 2788 | 15.70 |
| ii | 120 kN Disc |  | 727 | 1930 | 14.03 |
| iii | 160 kN Disc |  | 727 | 1510 | 10.98 |
| iv | 90 kN LR (132 KV) |  | 6,007 | 4360 | 261.91 |
| v | 120 kN LR (132 KV) |  | 7,554 | 1993 | 150.55 |
| vi | 90 kN LR (220 kV) |  | 7,480 | 1570 | 117.44 |
| vii | 120 kN LR (220 KV) |  | 8,570 | 55 | 4.71 |
| viii | 160 kN LR (220 KV) |  | 9,350 | 510 | 47.69 |
| ix | 90 kN L/R silicon Rubber (132 kV) |  | 7,150 | 325 | 23.24 |
| x | 120 kN L/R Silicon Rubber (132 kV) |  | 8,250 | 160 | 13.20 |
| 13 | Conductor | km |  |  |  |
| i | ACSR Panther |  | 1,46,241 | 250 | 365.60 |
| ii | ACSR Zebra |  | 2,61,637 | 250 | 654.09 |
| 14 | Single Suspension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 1,708 | 3547 | 60.59 |
| ii | For ACSR Zebra |  | 2,752 | 1569 | 43.18 |
| iii | For ACSR Moose |  | 3,666 | 42 | 1.54 |
| iv | For AAAC Panther |  | 1,583 | 52 | 0.82 |
| v | For AAAC Zebra |  | 1,914 | 38 | 0.73 |
| vi | For AAAC Moose |  | 2,801 | 48 | 1.34 |
| 15 | Double Suspension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 3,317 | 351 | 11.64 |
| ii | For ACSR Zebra |  | 3,963 | 306 | 12.13 |
| iii | For ACSR Moose |  | 4,682 | 30 | 1.40 |
| iv | For AAAC Panther |  | 3,317 | 20 | 0.66 |
| v | For AAAC Zebra |  | 3,963 | 19 | 0.75 |
| vi | For AAAC Moose |  | 3,834 | 9 | 0.35 |
| 16 | Single Tension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 1,495 | 1643 | 24.56 |
| ii | For ACSR Zebra |  | 2,184 | 580 | 12.66 |
| iii | For ACSR Moose |  | 2,749 | 30 | 0.82 |
| iv | For AAAC Panther |  | 1,583 | 34 | 0.54 |
| v | For AAAC Zebra |  | 1,914 | 31 | 0.59 |
| vi | For AAAC Moose |  | 2,520 | 26 | 0.66 |
| viii | For 7/3.15sq mm earth wire |  | 1,165 | 25 | 0.29 |
| 17 | Double Tension H/W Fitting | Nos. |  |  |  |
| i | For ACSR Panther |  | 3,077 | 262 | 8.06 |
| ii | For ACSR Zebra |  | 3,852 | 207 | 7.97 |
| iii | For ACSR Moose |  | 4,264 | 20 | 0.85 |
| iv | For AAAC Panther |  | 3,077 | 17 | 0.52 |
| v | For AAAC Zebra |  | 3,131 | 35 | 1.10 |
| vi | For AAAC Moose |  | 4,624 | 12 | 0.55 |
| 18 | Repair Sleeve | Nos. | 171 | 680 | 1.16 |
| i | For ACSR Panther |  | 298 | 462 | 1.38 |
| ii | For ACSR Zebra |  | 444 | 99 | 0.44 |
| iii | For ACSR Moose |  | 171 | 30 | 0.05 |
| iv | For AAAC Panther |  | 298 | 64 | 0.19 |
| v | For AAAC Zebra |  | 444 | 30 | 0.13 |
| vi | For AAAC Moose |  |  |  |  |
| 19 | Mid-span Joint | Nos. |  |  |  |
| i | For ACSR Panther |  | 475 | 1207 | 5.74 |
| ii | For ACSR Zebra |  | 812 | 554 | 4.50 |
| iii | For ACSR Moose |  | 1,210 | 47 | 0.57 |
| iv | For AAAC Panther |  | 409 | 54 | 0.22 |
| v | For AAAC Zebra |  | 746 | 78 | 0.58 |
| vi | For AAAC Moose |  | 1,210 | 17 | 0.21 |
| 20 | Vibration Damper | Nos. |  |  |  |
| i | ACSR Panther |  | 342 | 9426 | 32.25 |
| ii | ACSR Zebra |  | 535 | 3450 | 18.44 |
| iii | ACSR Moose |  | 535 | 35 | 0.19 |
| iv | AAAC Panther |  | 612 | 30 | 0.18 |
| v | AAAC Zebra |  | 535 | 30 | 0.16 |
| vi | AAAC Moose |  | 535 | 45 | 0.24 |
| vii | Others if any(E/W - 7/3.15) |  | 436 | 30 | 0.13 |
| 21 | GI Angle | MT |  |  |  |
| i | 45x45x5mm |  | 60,150 | 48 | 28.87 |
| ii | 50x50x5mm |  | 60,150 | 25 | 15.04 |
| iii | 50x50x6mm |  | 60,150 | 24 | 14.44 |
| 22 | Battery & Charger |  |  |  |  |
| i | Battery Set | Set | 16,17,000 | 11 | 177.87 |
| ii | Battery Charger | Nos. | 2,90,543 | 8 | 23.24 |
| 23 | Tower-Structure | Set |  |  |  |
| i) | OA with Stubs |  |  |  |  |
| a | +3 extn. to OA |  | 51,414 | 4 | 2.06 |
| b | +6 extn. to OA |  | 1,02,686 | 4 | 4.11 |
| iv) | PA with Stubs |  | 2,43,241 | 6 | 14.59 |
| v) | PB with Stubs |  | 3,21,886 | 4 | 12.88 |
| vi) | PC with Stubs |  | 4,40,387 | 4 | 17.62 |
| xii) | DD Type for 220KV with Stubs |  |  |  |  |
| a | + 6 extn. to DD |  | 1,73,373 | 4 | 6.93 |
| 24 | Station Transformer | Nos. |  |  |  |
| i | 315 kVA |  | 6,27,000 | 16 | 100.32 |
| 25 | Transformer Bushing (Condenser Type) | Nos. |  |  |  |
| i | 220 kV |  | 2,75,000 | 2 | 5.50 |
| ii | 132 kV |  | 1,65,000 | 3 | 4.95 |
| iii | 33 kV |  | 44,000 | 6 | 2.64 |
| 26 | Disaster Resilience & Response System |  |  |  |  |
| i | DG Set ( 125 KVA) | Nos. | 10,00,000 | 40 | 400.00 |
| ii | Power Saw | Nos. | 20,000 |  |  |
| iii | Conductor cutter, hardware & quick fitting tools | Set | 5,00,000 | 5 | 25.00 |
| iv | Diesel Dewatering Pump | No. | 1,00,000 | 20 | 20.00 |
| v | Aerial surveillance of EHT lines | LS |  |  | 100.00 |
| vi | Self powered Wireless Camera | Nos. | 5,00,000 | 40 | 200.00 |
| 27 | Miscellaneous | LS |  |  |  |
| i | AMC of Energy Metering Systems |  |  |  | 75.00 |
| ii | Engagement of Security personnel |  |  |  | 950.00 |
| iii | Repair of Defective Power Transformers |  |  |  | 500.00 |
| iv | Renovation Works of Grid Substations including Repair / Replacement of Old & Defective Equipments, Bus Augmentation, Switchyard Re-metalling & Illumination, Renovation of Earthing System, Painting of Equipments, Repair of Boundary Walls & Fencing, Repair of Approach Roads, Cable Trenches & Drainage System etc. |  |  |  | 2,000.00 |
| v | Repair &renovation of Ganjam Grid S/S |  |  |  | 200.00 |
| vi | Miscellaneous Civil Works |  |  |  | 200.00 |
| vii | Installation of Capacitor Banks |  |  |  | 100.00 |
| ix | Repair & Renovation Works of EHT Lines including Revetment, Couping, Tower Earthing, Painting and Replacement of Angles, Conductors, Insulators, Clamps & Connectors etc. |  |  |  | 2,000.00 |
|  | TOTAL |  |  |  | Rs.11,922.11 lakh = Rs.119.23 Cr. |

(b)	R& M Expenses relating to TELECOM Wing:

- The AMC of RTU under ULDC project, APS package, Wide Band Communication package, procurement of different equipments for the purpose of R&M activities, licence fees & renovation of PLCC/ SCADA  etc. have been envisaged  as R&M expenses in order to keep in place a healthy and efficient telecommunication system. Accordingly provision of                Rs.15.66Cr. is proposed during FY 2015-16 towards R&M expenses pertaining to Telecommunication Wing, the details of which are shown in the Table-8 below:

- Table-8

R&M OF ULDC AND OTHER TELECOM EQUIPMENT

| Sl. No. | Description | Amount (Rs. Lakh) |
| --- | --- | --- |
| 1 | AMC of RTU under ULDC project | 86.40 |
|  | a) Cost of AMC Rs. 11.40 lakhs |  |
|  | b) Purchase of new RTU for replacement Rs.75.00 lakhs |  |
| 2 | AMC APS package | 22.00 |
|  | a) Cost of AMC Rs. 12.00 lakhs |  |
|  | b) Cost of replacement/ repair of materials Rs. 20.00 lakhs |  |
| 3 | AMC of Wideband Communication package | 78.00 |
|  | a) Cost of AMC Rs. 65.00 lakhs |  |
|  | b) Cost of Spares (LS) Rs. 13.00 lakhs |  |
| 4 | Procurement of Outdoor coupling equipment (CVT, Wave traps) | 200.00 |
| 5 | Procurement of Test Instruments | 75.00 |
| 6 | Procurement of battery & battery charger | 130.00 |
| 7 | Procurement of AC machine with Stabilizer | 75.00 |
| 8 | Procurement of OPGW cable with hardware fittings(10 kms) | 80.00 |
| 9 | Procurement of spares of PLCC, PABX, Chargers, MCD-80, NSD- 50, NSK - 5 etc. | 150.00 |
| 10 | Payment of AMC charges of DPLC & RTU under 19 Sub-station package | 20.00 |
| 11 | R & M of Telecom works at Divisional levels | 300.00 |
| 12 | License fee for walki-talkie | 6.50 |
| 13 | Renovation of PLCC/SCADA due to advancement of technology |  |
|  | Replacement of old analog PLCC sets by new digital PLCC sets in all relevant s/s (20 nos. @ 8.00 lakhs) | 160.00 |
|  | Replacement of old RTU 10 sets @ Rs 7.05 lakhs | 70.50 |
|  | Replacement of SDH equipment 9 sets @ 10 lakhs | 90.00 |
|  | Replacement of coaxial and other Cables 15 km @ 1.50 lakhs | 22.50 |
|  | TOTAL | Rs.1565.90lakh = Rs.15.66Cr. |

(c) R& M Expenses relating to Civil Works:

### OPTCL proposes an expenditure of Rs.11 Cr. towards civil works relating to major Repair & Maintenance of office buildings, associated colonies and grid sub-stations during FY 2015-16. Accordingly the amount is proposed during FY 2015-16 towards R&M expenses pertaining to Civil Works, the details of which are shown in the Table-9 below:

- Table-9

R&M EXPENSES PLAN OF CIVIL WING FOR FY 2015-16

| Sl. No. | Name of the Works | Amount (Rs. Cr.) |
| --- | --- | --- |
| 1 | Special repair of Residential buildings of OPTCL throughout Odisha | 3.00 |
| 2 | Special repair of Non- Residential buildings of OPTCL throughout Odisha | 2.00 |
| 3 | Special repair to control rooms, compound walls, approach roads of different grid S/S throughout Odisha | 6.00 |
|  | TOTAL | Rs.11.00 Cr. |

### (d) R& M Expenses relating to Information Technology (IT):

### Provision of Rs. 8.22 Cr. is made towards R&M expenses pertaining to IT wing during FY 2015-16, the details of which are shown in the Table-10 below.

### Table-10

| R & M EXPENDITURE - IT WING |  |  |
| --- | --- | --- |
| Sl. No. | Item Description | Total (Rs. Cr.) |
| 1 | IT Consumables | 0.30 |
| 2 | VSAT | 0.40 |
| 3 | FMS BSNL(OGS-WAN AMC) | 0.70 |
| 4 | NOC-LLM |  |
| 5 | ITWO | 1.50 |
| 6 | ERP AMC | 0.70 |
| 7 | ERP ATS + Extra License | 0.89 |
| 8 | FMS | 0.33 |
| 9 | IT System AMC | 0.20 |
| 10 | GIS | 0.20 |
| 11 | Analytics | 0.90 |
| 12 | DC | 0.06 |
| 13 | Portal & N/W | 2.00 |
| 14 | Digitisation | 0.04 |
|  | TOTAL | Rs.8.22 Cr. |

Taking into account the proposed expenditure to be incurred towards manpower (Employee Cost including Terminal Benefit), Repair & Spares (R&M Expenses) towards consumables, insurance and overheads (A&G Expenses), OPTCL proposes the O&M Expenses as Rs.496.49 Cr.

The summary of O&M Expenses for FY 2015-16 is shown in the Table-11 below:

Table-11

| Summary of O&M Expenses for FY 2015-16 |  |
| --- | --- |
| Particulars | Amount |
|  | (Rs. Cr.) |
| (I) Employees Cost including Terminal Benefits | 310.02 |
| (II) A&G Cost | 32.36 |
| (III) R&M Cost | 154.11 |
| Total O&M Expenses | Rs. 496.49 Cr. |

O & M Expenses as per CERC Norms:

CERC Regulations, 2014 relating to Inter-State Transmission O&M expenses [Regulation 29] deals with the normative O&M expenses admissible for the transmission for the period 2014-15 to 2018-19. The CERC norms for O&M Expenditure are reproduced in the Table-12 below:

Table-12

| CERC Norms for O&M expenditure for Transmission System |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Norms for Sub-Stations (in Rs. Lakh per bay) | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 |
| 765 kV | 84.42 | 87.22 | 90.12 | 93.11 | 96.20 |
| 400 kV | 60.30 | 62.30 | 64.37 | 66.51 | 68.71 |
| 220 kV | 42.21 | 43.61 | 45.06 | 46.55 | 48.10 |
| 132 kV and below | 30.15 | 31.15 | 32.18 | 33.25 | 34.36 |
| 400 kV Gas Insulated S/S | 51.54 | 53.25 | 55.02 | 56.84 | 58.73 |
| Norms for AC and HVDC lines ( in Rs. Lakh per km) |  |  |  |  |  |
| Single Circuit (Bundled conductor with six or more sub-conductors) | 0.707 | 0.731 | 0.755 | 0.78 | 0.806 |
| Single Circuit (Bundled conductor with four sub-conductors) | 0.606 | 0.627 | 0.647 | 0.669 | 0.691 |
| Single Circuit (Twin & Triple Conductor) | 0.404 | 0.418 | 0.432 | 0.446 | 0.461 |
| Single Circuit (Single Conductor) | 0.202 | 0.209 | 0.216 | 0.223 | 0.23 |
| Double Circuit (Bundled conductor with four or more sub-conductors) | 1.062 | 1.097 | 1.133 | 1.171 | 1.21 |
| Double Circuit (Twin & Triple Conductor) | 0.707 | 0.731 | 0.755 | 0.78 | 0.806 |
| Double Circuit (Single Conductor) | 0.303 | 0.313 | 0.324 | 0.334 | 0.346 |
| Multi Circuit (Bundled conductor with four or more sub-conductors) | 1.863 | 1.925 | 1.989 | 2.055 | 2.123 |
| Multi Circuit (Twin & Triple Conductor) | 1.24 | 1.282 | 1.324 | 1.368 | 1.413 |
| Norms for HVDC Stations |  |  |  |  |  |
| HVDC Back-to-back stations (Rs .Lakh per 500 MW) | 578 | 627 | 679 | 736 | 797 |
| Rihand-Dadri HVDC bipole scheme (Rs. Lakh) | 1511 | 1637 | 1774 | 1922 | 2082 |
| Talcher-Kolar HVDC bipole scheme (Rs. Lakh) | 1173 | 1271 | 1378 | 1493 | 1617 |
| Balia-Bhiwadi HVDC bipole scheme (Rs. Lakh) | 1537 | 1666 | 1805 | 1955 | 2119 |

On the basis of the above mentioned CERC norms, the O&M Expenses of OPTCL for FY 2015-16 have been computed as shown in Table-13 below:

Table-13

| O&M Expenses as per CERC Norms for FY 2015-16 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | No of Bays | O&M expenses Rs. Lakh / bay |  | Total O&M Expenses (Rs. Cr.) |
| 765 kV |  | 0 | 87.22 |  | 0 |
| 400 kV |  | 32 | 62.30 |  | 19.936 |
| 220 kV |  | 253 | 43.61 |  | 110.334 |
| 132 kV and below |  | 1552 | 31.15 |  | 483.448 |
| 400 kV Gas Insulated Substation |  | 0 | 53.25 |  | 0 |
| TOTAL O&M EXPENSES FOR BAYS = |  |  |  |  | 613.717 |
| Segregation of EHT lines |  | Ckt km of line | O&M expenses Rs. Lakh/km |  | Total O&M Expenses (Rs. Cr.) |
| Single Circuit (Bundled conductor with six or more sub-conductors) |  | 0.000 | 0.731 |  | 0 |
| Single Circuit(Bundled conductor with four sub-conductors) |  | 0.000 | 0.627 |  | 0 |
| Single Circuit (Twin & Triple Conductor) |  | 241.500 | 0.418 |  | 1.00947 |
| Single Circuit (Single Conductor) |  | 3920.219 | 0.209 |  | 8.193258 |
| Double Circuit (Bundled conductor with four or more sub-conductors) |  | 0.000 | 1.097 |  | 0 |
| Double Circuit (Twin & Triple Conductor) |  | 276.734 | 0.731 |  | 2.022926 |
| Double Circuit (Single Conductor) |  | 7266.026 | 0.313 |  | 22.74266 |
| Multi Circuit (Bundled conductor with four or more sub-conductors) |  | 0.000 | 1.925 |  | 0 |
| Multi Circuit(Twin & Triple Conductor) |  | 0.000 | 1.282 |  | 0 |
| Norms for HVDC Stations |  |  |  |  |  |
| HVDC Back-to-back stations (Rs .Lakh per 500 MW) | 0 |  |  | 627 | 0.0000 |
| Rihand-Dadri HVDC bipole scheme (Rs. Lakh) | 0 |  |  | 1637 | 0.0000 |
| Talcher-Kolar HVDC bipole scheme (Rs. Lakh) | 0 |  |  | 1271 | 0.0000 |
| Balia-Bhiwadi HVDC bipole scheme (Rs. Lakh) | 0 |  |  | 1666 | 0.0000 |
| TOTAL O&M EXPENSES FOR LINES = |  |  |  |  | 33.968 |
| AGGREGATE O&M EXPENSES FOR BOTH LINES & BAYS = |  |  |  |  | 647.685 |

- Although the O&M Expenses as per CERC norms work out to Rs.647.69 Cr., OPTCL has proposed the O&M Expenses on the lower side as Rs.496.49 Cr. in this application as explained and summarised in Table –11 above.

- A. 2) INTEREST ON LOAN CAPITAL (F-13):

Interest on loan for FY 2015-16 has been projected as Rs.131.83 Cr. Details of interest on loan capital is shown in F-13 and the abstract is presented in the Table-14 below:

Table-14

| Projection for Interest on loan for FY 2015-16 (Rs. Cr.) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Rate of Interest | Principal CB as on 31.03.14 | Loan to be received (2015-16) | Loan to be redeemed (2015-16) | Interest payment (2015-16) | Total Payment (2015-16) |
| A | Govt. Loans |  |  |  |  |  |  |
|  | State Govt. (Cash Loan) | 13.00% | 2 |  |  | 0.26 | 0.26 |
|  | State Govt.(CRF) | 0.00% | 15 |  |  |  | 0 |
|  | Central Govt. Loan | 9.00% | 11.25 |  |  | 0 | 0 |
|  | GoO Bonds | 13.00% | 400 |  |  | 26 | 26 |
|  | Sub-Total |  | 428.25 |  |  | 26.26 | 26.26 |
| B | Institutional Loans |  |  |  |  |  |  |
|  | REC Loan |  | 205.74 | 20.00 | 24.78 | 31.49 | 56.27 |
|  | PFC Loan |  | 61.11 | 4.25 | 7.13 | 9.44 | 16.57 |
|  | Sub Total |  | 266.85 | 24.25 | 31.91 | 40.93 | 72.84 |
| C | Secured Loan |  |  |  |  |  |  |
|  | New Loan (14-15) | 10.25% | 349.23 |  |  | 35.80 | 35.80 |
|  | New Loan (15-16) | 10.25% |  | 562.64 |  | 28.84 | 28.84 |
|  | Sub Total |  | 349.23 | 562.64 | 0 | 64.64 | 64.64 |
| D | Grand Total |  | 1044.33 | 586.89 | 31.91 | 131.83 | 163.74 |

New Projects:

OPTCL proposes to spend Rs.862.42 Cr. during FY 2015-16 towards Capital Expenditure (CAPEX) on new projects in different streams of activities like O&M, Telecom, Information Technology (IT), Construction and Civil Works. The summary of proposed CAPEX under various wings is furnished in the Table-15 below:

### Table-15

| Projected CAPEX for FY 2015-16 |  |
| --- | --- |
| Particulars | Amount (Rs. Cr.) |
| a) Telecom | 36.53 |
| b) O&M | 81.70 |
| c) Information Technology (IT) | 19.49 |
| d) Civil Works | 41.00 |
| e) Construction | 683.70 |
| Total Capital Expenditure (a+b+c+d+e) | Rs. 862.42 Cr. |

  - CAPEX FOR TELECOM RELATED PROJECTS:

- In order to have a dependable, safe and effective communication system, OPTCL has implemented its own Telecommunication Network through PLCC and Optic Fibre between each grid sub-stations and generating stations as well as between Sub-LDC to SLDC, Bhubaneswar. The PLCC system adopted in OPTCL is generally considered to be very much economic, reliable and dependable for voice, data and carrier back-up protection facility. Due to limitation of frequency band for PLCC equipment and gradual complex grid system, action is also under progress to provide SCADA interface points at all the 220kV Grid S/S of OPTCL through OPGW connectivity as per the provisions made under amended OGC Regulations, 2006 dated 29th August 2008. In the meantime, large number of industries are coming up in our state either having CGP or planning to draw power from OPTCL’s network. For smooth management of real time operation of power system, the industries are required to be integrated with OPTCL grid system as per the provisions of OGC Regulations by providing necessary voice and data communication to SLDC, Bhubaneswar. Further, the existing operating system is also required to be upgraded to suit to the present requirements because of large number of upcoming grid sub-stations.  Keeping in view of all such aspects, constant endeavor has been made to renovate and upgrade the existing telecommunication system under ULDC expansion scheme by way of integration of 30 nos.  existing grid sub-stations with the present ULDC system as well as software and hardware upgradation of main control centre at SLDC and establishment of back-up control centre at Meramundali. The work is being executed through consultancy support of POWERGRID. Looking to the above aspects, the CAPEX proposal for the FY 2015-16 in respect of Telecommunication work is summarized as follows:

1. Integration of 30 Grid S/S, Control Center hardware/software upgradation and establishment of back-up Control Centre at Meramundali for SLDC:

30 sub-stations were identified in OPTCL during the financial year 2010-11(October 2010) for integration. This project was envisaged to be completed within a time span of three years. The sub-stations covered under different Sub-LDC are mentioned as hereunder:

A.Bhubaneswar Sub-LDC: Balugaon,Jagatsinghpur, Nimapara, Salepur,Phulnakhara

B.MeramandaliSub-LDC: Bolani, Chandikhole, JajpurTown, Jaleswar, Kalarangi, Nuapatna, Pattamundai,Polasponga, Soro

C.Budhipadar Sub-LDC:     Brajarajnagar, Chhend, Jharsuguda, Patnagarh, Rairakhol

Sonepur, Sundargarh

D.Jaynagar Sub-LDC:	Digapahandi, Junagarh, Khariar, Mohana, Parlakhemundi, Phulbani, Saintala, Tentulikhunti, Balimela  220kV S/S

- Subsequently integration of 5 nos. of more sub-stations ( Badagada, Karanjia, Basta, Anandapur and Barpali) are also decided  in the project scope enhancing the number of sub-stations to 35.The estimated cost of the project is Rs. 36.00 Cr. Hon’ble OERC has  approved the investment plan of this project. Initial advance of Rs.7.172 Cr. has already been released by OPTCL. M/s Chemtrols & Areva, the vendors as deployed by POWERGRID under their contract agreement are presently on job for commissioning of RTU and DPLC respectively at the identified sub-stations.

- In addition to release of initial advanceRs.7.172 Cr., an amount of Rs. 8.368 Cr. was paid during the financial year 2013-14. Thus the total up- to- date expenditure in this project is Rs. 15.54 Cr. (Rs.7.172 Cr+ Rs. 8.368 Cr.). Hence, there was requirement of funds to the tune of Rs. 20.46Cr. (estimated cost Rs.36 Cr.- Rs.15.54 Cr.) during the FY 2014-15 for completion of the project. Provision of Rs. 19.31 Cr. has been made in annual budget for FY 2014-15.Balance amount of Rs.1.15 Cr.(Rs. 20.46 Cr.-Rs. 19.31 Cr.) shall be required during FY 2015-16 for payment to POWERGRID based on the final executed cost of the project. Hence, there is requirement of fund to the tune of Rs. 1.15 Cr.(approx.)during FY 2015-16.

- Provision of SCADA interface point at 220 kV Grid S/S through OPGW:

Hon’ble OERC has advised to provide the SCADA interface point at all 220 kV Grid S/S under OPTCL through Optic Fibre link in all 220 kV line sections. The following line sections are to be provided with OPGW connectivity to have broadband communication network and SCADA connectivity. This project was likely to be completed within a time span of three years with effect from March, 2011. The circuit length of the 220kV line sections was computed to be 1324 kms. Further, due to addition of some selected 132 kV lines, the circuit length increased to 1478.4km. This was as per the MoM between PGCIL & OPTCL with the object to reduce the number of PLCC hubs. Details of line sections are given hereunder:

| 1 | Balasore - Bhadrak | 78 km |
| --- | --- | --- |
| 2 | Duburi (New) - Bhadrak | 68 km |
| 3 | Paradeep – Duburi(New) | 114 km |
| 4 | TTPS – Meramundali | 11 km |
| 5 | Joda – Polaspanga | 51 km |
| 6 | Polaspanga - Keonjhar | 54 km |
| 7 | Keonjhar – TTPS | 95 km |
| 8 | Rengali PH – Kaniha | 30 km |
| 9 | Bolangir (New) – Burla(New) | 120 km |
| 10 | Burla PH – Burla (New) | 15 km |
| 11 | Burla(New) – Chiplima | 17 km |
| 12 | Burla (New)– BudhipadarviaLapanga | 62 km |
| 13 | Budhipadar – IB TPS | 26 km |
| 14 | Bolangir(New)-Kesinga | 72 km |
| 15 | Kesinga-Therubali | 123 km |
| 16 | Jayanagar – Machhakund | 43 km |
| 17 | Jayanagar – Upper Kolab | 6 km |
| 18 | Jayanagar – Balimela PH | 93 km |
| 19 | Theruvali – Indravati | 91 km |
| 20 | Bhanjanagar – Nayagarh | 69 km |
| 21 | Nayagarh – Mendhasal | 81 km |
| 22 | Bidanasi – Chandaka | 14 km |
| 23 | Choudwar- ICCL | 5 km |
| 24 | Bidanasi – Choudwar | 8.614 km |
| 25 | Theruvali - Rayagada | 20 km |
| 26 | Narendrapur- Berhampur | 10.91 km |
| 27 | Bolangir(New)-Patnagarh | 39.8 km |
| 28 | Khurda- Chandaka | 36.5 km |
| 29 | Jajpur road - Duburi(Old) | 13.2 km |
| 30 | Bolangir(Old)-Bolangir(New) | 5 km |
| 31 | Duburi(Old)-Duburi(New) | 6.38 km |
| TOTAL |  | 1478.4 km |

As per the decision of OPTCL management, the above work is now under execution through consultancy services of POWERGRID at an estimated cost of Rs. 67.54 Cr.

The total cost of the project was envisaged to be spent in 3 years starting 2010-11.There was a provision of Rs. 13.50 Cr. during FY 2010-11. This amount has been released as initial advance to POWERGRID to start the work. Further, no Invoices were received from POWERGRID during FY 2011-12 &FY 2012-13 for release of payment. An amount of Rs. 9.56 Cr. was released during the FY 2013-14. Thus, the up-to-date expenditure in this project is Rs 23.06 Cr. (initial advance Rs. 13.50 Cr. + Rs. 9.56 Cr.). Since the project is scheduled to be completed during the FY 2014-15, there shall be requirement of funds to the tune of Rs. 44.48 Cr. (estimated cost Rs.67.54 Cr.-Rs. 23.06 Cr.). There has been budget provision of Rs. 41.20 Cr. in the current FY 2014-15. Balance amount of Rs. 3.28 Cr. is required for payment in FY 2015-16.

The progress of the above work is as under:

- Contract awarded to M/s LS Cable & System Ltd.

- 1123.5 km OPGW cable along with associated hardware are already installed at respective sites except Jayanagar-Balimela &Jayanagar-Machhkund feeder which is delayed due to anticipation of Maoist problem by the vendor. However, the work shall be started shortly.

- OPGW terminal equipment are recently received at site. Commissioning activities shall be started shortly.

- Reframing of  Microwave by Optic Fibre under ULDC Project:

Replacement of Microwave by optic fibre under ULDC Project is being centrally executed by POWERGRID in the Eastern Region as per the decision of WPC, Ministry of Communication, Govt. of India. The expenditure for OPTCL portion of work is Rs. 7.60 Cr. approximately for the above work as per LoA. The work is completed and SAT procedure shall be conducted shortly. As per discussion with POWERGRID, the amount shall be loaded in the tariff with effect from FY 2013-14. Since the ULDC charges are paid by GRIDCO, hence the same has not been proposed in the OPTCL ARR application.

- SCADA Interface Points at vital 132 kV Sub-Stations of OPTCL by laying OPGW Cable

In accordance with OPTCL’s 5-year Business plan (FY 2013-14 to 2017-18) and subsequent administrative approval of BoD of OPTCL, it has been proposed to provide OPGW connectivity in vital 132 kV sub-stations of OPTCL by laying approximately 1745kmOPGW in order to make the SCADA system more reliable and to have its utilization in various IT applications of OPTCL like ERP, operational requirement for Asset maintenance system, contracts management, Finance management, Internet & Intranet services to various grid sub-stations. Further, OPTCL will earn revenue by leasing dark fibres to private telecom service providers. The estimated cost of this project is Rs. 48.00 Cr. This would be funded from OPTCL’s own resources and executed on turn-key basis. The project completion time is three years. Detailed Project Report, implementation plan, expenditure plan, technical specifications for initiating e-tendering etc. have been prepared  and shall be completed shortly. Provision of Rs. 5.00 Cr. has been kept in the annual budget of FY 2014-15.As per the expenditure plan an amount of Rs.30.00 Cr. shall be required for FY 2015-16.

- Provision of Digital Protection in all 220kV lines through SDH Equipment

As OPTCL is having OPGW connectivity with availability of SDH terminal equipment in all 220 kV lines, provision of tele-protection facility through SDH equipment has been proposed to be implemented by OPTCL at an estimated cost of Rs. 2.09 Cr. from  own resources. Preparation of bidding documents is under progress. Hence, for this project, OPTCL proposes Rs. 2.10 Cr. during the FY 2015-16.

Accordingly provision of Rs.36.53 Cr. is proposed during FY 2015-16 towards CAPEX pertaining to Telecommunication Wing, the details of which are shown in the Table-16 below:

Table -16

| CAPEX FOR TELECOM PROJECTS IN FY 2015-16 |  |
| --- | --- |
| ITEM | AMOUNT (Rs. Cr.) |
| Integration of 35 nos. RTU | 1.15 |
| Provision of SCADA interface point at 220 kV Grid S/S through OPGW | 3.28 |
| SCADA Interface Points at vital 132 kV Sub-Stations of OPTCL by laying OPGW Cable | 30.00 |
| Provision of Digital Protection in all 220kV lines through SDH Equipment | 2.10 |
| Total | Rs. 36.53 Cr. |

  - CAPEX FOR O&M RELATED PROJECTS:

- An amount of Rs.81.70 Cr. has been proposed for the FY 2015-16 under CAPEX to meet the future load growth basically by way of transformer capacity augmentation / sub-station capacity enhancement by installing additional / 3rdtransformers in the existing grid sub-stations, conductor up-gradation with HTLS, conversion of S/C lines in D/C towers to D/C lines. The details of item wise CAPEX for O&M related project are shown in the Table-17 below.

- Table-17

| Sl. No. | Description | Unit Rate (Rs. Lakh) | Quantity | Amount (Rs. Lakh) |
| --- | --- | --- | --- | --- |
| 1 | PROCUREMENT OF TRANSFORMERS WITH COST OF ERECTION |  |  |  |
| (i) | Procurement of 160 MVA, 220/132kV | 650.00 | 2 | 1,300.00 |
| (ii) | Procurement of 63 MVA, 132/33kV | 330.00 | 3 | 990.00 |
| (iii) | Procurement of 40 MVA, 132/33kV | 273.00 | 4 | 1,092.00 |
| (iv) | Procurement of 40 MVA, 220/33kV | 305.00 | 1 | 305.00 |
| (v) | Procurement of 20 MVA, 132/33kV | 150.00 | 10 | 1,500.00 |
| (vi) | Cost of construction of Bays | LS |  | 547.62 |
| 2 | PROCUREMENT OF NEW 400kV ERS TOWERS | 150.00 | 8 | 1,200.00 |
| 3 | CONVERSION OF S/C LINES IN D/C TOWERS TO D/C LINES |  |  |  |
| (i) | 132kV Cuttack - Jagatsinghpur (35.112 RKM) | LS |  | 230.00 |
| 4 | ON GOING PROJECTS |  |  |  |
| (i) | Conversion of 132kV Jajpur Road - Anandpur S/C line to D/C line with const. of 132kV bays at both Grid S/Ss. | LS |  | 130.00 |
| (ii) | Conversion of 132kV Sonepur - Bolangir S/C line to 132kV Sonepur - New Bolangir D/C line with const. of 132kV bays at both Grid S/Ss. | LS |  | 255.00 |
| (iii) | Conversion of 132kV Patnagarh - New Bolangir S/C line to D/C line with const. of 132kV bays at both Grid S/Ss. | LS |  | 170.00 |
| (iv) | Up-gradation of panther conductor by HTLS higher current carrying conductor in 132 kV Joda - Badbil Line | LS |  | 200.00 |
| (v) | Up-gradation of panther conductor by HTLS higher current carrying conductor in 132 kV Mendhasal - Khurda Line | LS |  | 250.00 |
|  | TOTAL O&M CAPEX |  |  | Rs. 8169.62 lakh = Rs.81.70 Cr. |

  - CAPEX FOR INFORMATION TECHNOLOGY (IT) RELATED PROJECTS:

Provision for an amount of Rs. 19.49 Cr. is made for FY 2015-16 towards CAPEX for infrastructure development of IT and automation related fields etc. as given in the           Table-18 below:

Table-18

| CAPEX for IT Project for FY 2015-16 |  |  |
| --- | --- | --- |
| Sl. No. | Item Description | Rs. Cr. |
| 1 | AC | 0.15 |
| 2 | Power System | 0.20 |
| 3 | PC | 0.42 |
| 4 | Laptop | 0.07 |
| 5 | Tablets | 0.16 |
| 6 | Printers | 0.40 |
| 7 | Scanners | 0.61 |
| 8 | LCD Projectors | 0.02 |
| 9 | Software | 0.05 |
| 10 | Security | 0.20 |
| 11 | DW & BI | 2.50 |
| 12 | ERP including New Requirement | 2.00 |
| 13 | ERP New Requirement | 0.71 |
| 14 | CCTV- Video | 2.80 |
| 15 | Data Center | 6.70 |
| 16 | LAN-New Office | 2.50 |
| TOTAL |  | Rs.19.49 Cr. |

  - CAPEX FOR CIVIL WORKS:

OPTCL proposes CAPEX of Rs. 41.00 Cr. relating to Civil Works during FY 2015-16 for new upcoming projects which have been detailed in Table-19 below.

Table-19

| CAPEX PLAN of CIVIL WING FOR FY 2015-16 |  |  |
| --- | --- | --- |
| Sl. No. | Name of the Works | Amount (Rs. Cr.) |
| 1 | Construction of Tech Tower , OPTCL, Bhubaneswar. | 10.00 |
| 2 | Construction of Pre Engineered Building , OPTCL, Bhubaneswar. | 6.00 |
| 3 | Construction of Office Premises for newly created different circles, divisions & other field offices of EHT (O&M) and EHT (Construction) of OPTCL. | 10.00 |
| 4 | Construction of store-sheds inside different grid S/S of OPTCL. | 5.00 |
| 5 | Construction of compound walls around different grid S/S and open spaces of OPTCL. | 10.00 |
|  | TOTAL | Rs.41.00 Cr. |

  - CAPEX FOR CONSTRUCTION WING: (F-2)

It has been planned to spend an amount of Rs.683.70Cr. on transmission related infrastructure during FY 2015-16 to increase the overall system capacity and to strengthen the transmission system network of the state, the details of which are shown in the Table-20 below.

Table-20

| CAPEX for Construction Wing |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Expenditure during FY 2014-15 |  |  | Projected Expenditure (FY 2015-16) |
| A | ONGOING SCHEME | Actual For First Six Months | Projection For Balance Six Months | Total |  |
| 1 | 2 | 3 | 4 | 5=3+4 | 6 |
| 1 | 2x20MVA,132/33kV Barbil S/S & associated LILO |  | 5.00 | 5.00 |  |
| 2 | 220/33kV S/S Gopinathpur (Keonjhar) & associated lines |  | 2.00 | 2.00 |  |
| 3 | 400kV Meramundali - Duburi D/C line |  | 7.00 | 7.00 | 5.00 |
| 4 | 132/33kV Khajuriakata (Hindol Road) S/S & associated line | 2.33 | 4.50 | 6.83 | 10.00 |
| 5 | 132kV Sonepur- Boudh S/C Line |  | 3.00 | 3.00 | 3.00 |
| 6 | 400kV IB- Meramundali D/C line | 1.10 | 1.20 | 2.30 |  |
| 7 | 220/132kV Dhamara (Balimunda) S/S & associated LILO |  |  | - | 10.00 |
| 8 | 132/33 kV Somanathpur Sw-Stn to S/S | 0.40 | 1.60 | 2.00 | 1.80 |
| 9 | 2x12.5MVA ,132/33kV Udala S/S & associated LILO | 0.30 | 2.00 | 2.30 | 10.00 |
| 10 | 132kV Bhadrak-Anandpur S/C line on DC tower | 2.24 | 3.00 | 5.24 | 10.00 |
| 11 | 132/33kV Olaver S/S & 132kV Pattamundai-Olavar line with Bay Extention at Pattamundai | 9.25 | 1.53 | 10.78 | 15.00 |
| 12 | 132kV Dhamara (proposed)-Olavar (proposed) D/C line |  | - | - | 5.00 |
| 13 | 132/33kV Agarpada S/S with LILO |  | 3.00 | 3.00 | 10.00 |
| 14 | 2x20MVA Bhograi S/S & associated LILO of 132kV Kuchei-Jaleswar D/C line | 0.91 | 4.48 | 5.39 | 15.00 |
| 15 | 132kV Kuchei-Jaleswar D/C line | 2.96 | 3.98 | 6.94 | 15.00 |
| 16 | 220/132kV Puri (Samangara) S/S | 6.22 | 28.00 | 34.22 | 20.00 |
| 17 | 132/33kV S/S at Chandpur with line |  | 2.00 | 2.00 |  |
| 18 | 220/132kV Karadagadia (Atri) S/S with line | 10.01 | 6.93 | 16.94 | 20.00 |
| 19 | 132/33kV Banki S/S with line | 3.65 | 3.38 | 7.03 |  |
| 20 | 2x160MVA Transformers at 220/132kV Mendhasal S/S with 132kV line | 1.62 | 4.78 | 6.40 | 10.00 |
| 21 | 220/132/33kV Pratapsasan S/S & 132kV Pratapsasan-Phulnakhara D/C line | 4.33 | 3.00 | 7.33 | 10.00 |
| 22 | 3rd ICT at 400/220kV Mendhasal S/S | 1.20 | 6.00 | 7.20 | 15.00 |
| 23 | 132/33kV Padampur S/S with line |  | 2.00 | 2.00 |  |
| 24 | 220/132kV Kesinga S/S | 0.69 | 5.00 | 5.69 | 10.00 |
| 25 | 132/33kV Kantabanji S/S & 132kV Khariar-Kantabanji line | 0.66 | 2.34 | 3.00 | 10.00 |
| 26 | 3x315MVA ICT at Bolangir |  | 2.50 | 2.50 |  |
| 27 | 220/132/33kV Baragarh (New) S/S |  | 5.00 | 5.00 | 10.00 |
| 28 | 400kV Meramundali-New Duburi line |  | 5.00 | 5.00 |  |
| 29 | 220kV Bidanasi-Cuttack D/C line | 1.53 | 3.00 | 4.53 |  |
| 30 | Const. Of 220/132 kV Grid S/s at Cuttack(Nuapada) | 2.02 | 5.50 | 7.52 | 4.40 |
| 31 | 132/33kV Marshaghai S/S | 1.00 | 4.00 | 5.00 | 8.00 |
| 32 | 132kV Bay Extension at Salipur , Kendrapara & Nuaptana S/S with lines | 2.29 | 3.69 | 5.98 | 1.00 |
| 33 | 220kV Duburi-Paradeep D/C line | 2.45 | - | 2.45 |  |
| 34 | 132kV Pottangi S/S | 3.42 | 7.37 | 10.79 | 14.00 |
| 35 | 132kV Umerkote S/S | 9.79 | 7.91 | 17.70 | 10.00 |
| 36 | 2x12.5MVA ,132/33kV Dabugaon S/S & 132kV Tentulikhunti-Dabugaon S/C line on D/C tower |  | 5.00 | 5.00 |  |
| 37 | 2nd 220kV Indravati-Therubali D/C line |  | 2.00 | 2.00 | 10.00 |
| 38 | 132kV Junagarh-Dabugaon S/C line |  |  | - | 5.00 |
| 39 | 132kV Rayagada-RTSS S/C line |  | 1.00 | 1.00 | 5.00 |
| 40 | 132/33kV Podagada S/S with line | 5.84 | 2.61 | 8.45 | 10.00 |
| 41 | 220kV Jayanagar-PGCIL D/C line & 2 nos. 220kV feeder bays at both ends | 1.31 | 4.38 | 5.69 | 9.00 |
| 42 | Conversion of existing Jaynagar- Sunabeda S/C line to D/C line | 1.08 | 3.78 | 4.86 | 3.00 |
| 43 | 132kV Parlakhamundi-R.Udaygiri S/C line on D/C Tower |  | - | - | 15.00 |
| 44 | 220/33kV Malkanagiri S/S with line | 0.01 | 2.99 | 3.00 | 10.00 |
| 45 | 132kV Umarkote-Junagarh S/C line on D/C tower with one no. feeder Bay Extension at each end |  |  | - | 10.00 |
| 46 | 2x20MVA ,132/33kV Muniguda S/S with LILO | 0.13 | 2.00 | 2.13 | 10.00 |
| 47 | 132/33kV Kuchinda S/S |  | 1.00 | 1.00 |  |
| 48 | 2x20MVA,220/33kV Kalunga S/S with LILO | 0.15 | 5.00 | 5.15 |  |
| 49 | 2x40MVA,220/33kV Bonai S/S with LILO | 0.10 | 2.00 | 2.10 | 5.00 |
| 50 | 220/132kV Lapanga S/S | 0.13 | 10.00 | 10.13 |  |
| 51 | 2x100MVA, 220/132kV Kuanarmunda S/S with LILO | 0.55 | 1.84 | 2.39 | 10.00 |
| 52 | 2x40MVA Trf. at Jharsuguda and diversion of extn. of 132kV line inside the S/S at Sarasmal | 0.31 | 4.78 | 5.09 |  |
| 53 | 132kV Nuapatna-Banki S/C line | 1.83 | 4.00 | 5.83 | 12.00 |
| 54 | Trf. bay at Laxmipur S/S | 0.42 | 2.00 | 2.42 | 3.00 |
| 55 | 2x12.5MVA, 220/33kV Kasipur S/S with LILO of one circuit of 220kV Indravati-Therubali D/C line | 0.03 | 5.00 | 5.03 | 10.00 |
| 56 | 2X20MVA, 132/33kV R.Udayagiri S/S with 132kV line from Mohana with 132kV Bay Extension at Mohana | 0.09 | 4.91 | 5.00 | 10.00 |
| 57 | Conversion of existing 132kV Balasore- Somathpur S/C line to D/C line & 132kV Bay Extension at both ends | 1.52 | 2.00 | 3.52 | - |
| 58 | 220/33kV Narasinghpur S/S with LILO |  | 4.00 | 4.00 | 10.00 |
| 59 | 132/33 kV Bangiriposhi S/S with line | 0.00 | 3.00 | 3.00 | 9.50 |
|  | TOTAL - A | 83.94 | 222.91 | 306.85 | 408.70 |
| B | NEW PROJECTS |  |  |  |  |
| 1 | 220/132/33kV Goda Chhak S/S & associated line |  | - | - | 8.00 |
| 2 | 132kV Junagarh-Kesinga D/C line |  |  |  | 8.00 |
| 3 | 132/33kV Dhenikote S/S with line |  | 5.00 | 5.00 | 12.00 |
| 4 | 2x20MVA,132/33kV Brajabiharipur, Cuttack (old site CDA) S/S |  | - | - | 5.00 |
| 5 | 132/33kV Boriguma S/S with LILO of existing 132kV Jayanagar- Tentulikhunti S/C line (in-principle approval by the BoD) |  | 3.00 | 3.00 | 8.00 |
| 6 | 220/33kV Baliguda S/S | 0.01 | 8.00 | 8.01 | 10.00 |
| 7 | 2x20MVA, 220/33kV Jaypatna S/S with line | 0.03 | 4.97 | 5.00 | 7.00 |
| 8 | 2x20MVA, 132/33kV Satasankha (puri) S/S with line |  | 5.00 | 5.00 | 8.00 |
| 9 | 2x20 MVA, 132/33kV Maneswar S/S with LILO |  | - | - | 5.00 |
| 10 | 132/33kV Kalimela S/S with line |  | 3.00 | 3.00 | 7.00 |
| 11 | 132/33kV Tirtol S/S with LILO |  | 4.00 | 4.00 | 6.00 |
| 12 | 132/33kV Chikiti S/S with line |  | 3.00 | 3.00 | 6.00 |
| 13 | 132kV Jayanagar -Tentulikhunti line |  | 3.00 | 3.00 | 8.00 |
| 14 | 132/33kV Birmaharajpur S/S with line |  | 4.00 | 4.00 | 7.00 |
| 15 | 132/33kV Betonati S/S with line |  | 4.00 | 4.00 | 5.00 |
| 16 | 132/33kV Tusura S/S with line |  |  |  | 7.00 |
| 17 | 132kV Nuapada-Padampur line |  | 3.00 | 3.00 | 5.00 |
| 18 | 220/132/33kV Aska S/S with line |  | 5.00 | 5.00 | 12.00 |
| 19 | 220/132/33kV Chandaka-B (Bhubaneswar) GIS S/S |  | - | - | 25.00 |
| 20 | 400/220kV Lapanga S/S with line |  | - | - | 15.00 |
| 21 | 220kV Atri-Pandiabil D/C line |  | 12.00 | 12.00 | 5.00 |
| 22 | 132/33kV Unit-8 (Bhubaneswar) GIS S/S with line |  | - | - | 25.00 |
| 23 | 132/33kV Rasulgarh (Bhubaneswar) GIS S/S with line |  | - | - | 25.00 |
| 24 | 132kV Phulbani-Boudh S/C line |  | - | - | 7.00 |
| 25 | 132/33kV Ghens S/S with line |  |  | - | 15.00 |
|  | TOTAL - B | 0.04 | 66.97 | 67.01 | 251.00 |
|  | TOTAL-(A+B) | 83.98 | 289.88 | 373.86 | 659.70 |
| C | DEPOSIT WORK |  |  |  |  |
| 1 | RTSS at Bimalagarh & Belpahar | 4.71 | 4.83 | 9.54 |  |
| 2 | 132kV LILO of Khurda-Puri line for power supply to Samuka (Puri) S/S | 1.41 | 4.60 | 6.01 |  |
| 3 | 132/33kV Konark S/S with line | 3.66 | 5.00 | 8.66 |  |
| 4 | 3x40 MVA, 132/33kV Arugul S/S for power supply to IIT & associated at Karadagadia | 3.38 | 0.46 | 3.84 |  |
| 5 | Infocity-II (IDCO) | 3.56 | 10.00 | 13.56 | 20.00 |
| 6 | Underground cabling at Chandaka | 3.14 | 2.55 | 5.69 |  |
| 7 | 132/33kV Mania (Tangi) S/S | 1.35 | 12.00 | 13.35 |  |
| 8 | RTSS at Boinda |  | 1.00 | 1.00 | 2.00 |
| 9 | RTSS at Rairakhol |  | 1.00 | 1.00 | 2.00 |
|  | TOTAL - C | 21.21 | 41.44 | 62.65 | 24.00 |
|  | TOTAL - D = A+B+C | 105.19 | 331.32 | 436.51 | 683.70 |

### A. 3) DEPRECIATION: (F-17)

As per Regulation 27 (Chapter-6) of CERC Regulations, 2014, depreciation shall be computed in the following manner, namely:

- The value base for the purpose of depreciation shall be the capital cost of the asset admitted by the Commission. (Para-2)

- The salvage value of the asset shall be considered as 10% and depreciation shall be allowed up to maximum of 90% of the capital cost of the asset.(Para-3)

- Land other than the land held under lease and the land for reservoir in case of hydro generating station shall not be a depreciable asset and its cost shall be excluded from the capital cost while computing depreciable value of the asset.(Para-4)

(4) Depreciation shall be calculated annually based on Straight Line Method and at rates specified in Appendix-II to these regulations for the assets of the generating station and

transmission system:

Provided that, the remaining depreciable value as on 31st March of the year closing after a period of 12 years from date of commercial operation shall be spread over the balance useful life of the assets. (Para-5)

- In case of the existing projects, the balance depreciable value as on 1.4.2014 shall be worked out by deducting the cumulative depreciation as admitted by the Commission upto 31.3.2014 from the gross depreciable value of the assets(Para-6)

The book value of the assets for FY 2015-16 is estimated as Rs.3823.42 Cr. (Rs.3328.24Cr. as on 01.04.14 + Rs.495.18 Cr. projected addition during FY 2014-15). For 2015-16, the Depreciation is estimated as Rs.197.72 Cr. as per CERC Regulations, 2014 & Rs.122.71 Cr. as per pre-92 rate (GoI notification). The detailed Statement of Fixed Assets and block-wise computation of depreciation is shown in Table-21 below:

Table-21

| Block-wise computation of Depreciation (Rs. Cr.) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Particulars | Depreciation rate as per CERC Regln., 2014 | Depreciation as per Pre-92 Rate (GoI Notification) | Gross Block (01.04.14) (Prov.) | Gross Block (01.04.15) (Projected) | Depreciation (FY 15-16) |  |
|  |  |  |  |  | As per CERC Regln., 2014 | As per Pre-92 Rate (GoI Notification) |
| Land and Rights | 0.00% | 0.00% | 43.34 | 49.79 | 0.00 | 0.00 |
| Buildings | 3.34% | 1.80% | 82.38 | 94.64 | 3.16 | 1.70 |
| Plant & Machinery | 3.34% | 1.80% | 5.86 | 6.73 | 0.22 | 0.12 |
| (Other Civil works) |  |  |  |  |  |  |
| Plant & Machinery | 5.28% | 3.80% | 1,716.95 | 1972.40 | 104.14 | 74.95 |
| Plant & Machinery (Lines, Cables & Network Assets) | 5.28% | 2.57% | 1,448.59 | 1664.11 | 87.87 | 42.77 |
| Vehicles | 9.50% | 12.86% | 1.63 | 1.87 | 0.18 | 0.24 |
| Furniture, Fixture | 6.33% | 4.55% | 2.49 | 2.86 | 0.18 | 0.13 |
| Office Equipment | 6.33% | 9.00% | 27.00 | 31.02 | 1.96 | 2.79 |
| TOTAL |  |  | 3328.24 | 3823.42 | 197.72 | 122.71 |

In view of the above, OPTCL prays the Hon’ble Commission to allow Rs.197.72 Cr. towards depreciation in the ARR for FY 2015-16 in order to enable OPTCL to repay the loan availed for CAPEX in time. The detailed computation of depreciation is shown in F-17.

### 4) RETURN ON EQUITY: (F-9)

- As per Regulation 25 of CERC (Terms & Conditions of Tariff) Regulations, 2014, Return on Equity shall be computed on pre-tax basis at the base rate of 15.5% to be grossed up as per clause (2) of this regulation. This rate of return needs to be grossed up with the normal/applicable tax rate. For the preceding few years, OPTCL generated losses and was not liable to pay taxes. Hence rate of Return on Equity has been grossed up with the applicable Minimum Alternative Tax (MAT) @ 20.96% including surcharge and cess (for book profits greater than 1 Cr). Thus, the effective rate for calculation of return on equity is 19.61% which has been used for projecting the RoE.

- At the time of de-merger of GRIDCO effective from 01.04.2005, the equity share capital of OPTCL was Rs.60.07 Cr leaving the balance equity share capital with GRIDCO. Through infusion of additional capital by the state government, the paid up equity capital of OPTCL has increased to Rs. 303.07 Cr as on 31.03.2014 as per the Provisional Account.

- Government of Odisha has committed to provide funds of Rs. 300 Cr. as equity over the five year period FY 2011-16 i.e. Rs. 60 Cr. annually. By the end of 2014, OPTCL has received Rs.143 Cr. and balance of Rs.157 Cr. will be received in three years (Rs.50 Cr. in FY 14-15, Rs.50 Cr. in FY 15-16 & Rs.57 Cr. in FY 15-16).

- Further, in the meeting of Expenditure Finance Committee (EFC) held on 01.09.2014, it was decided that Rs.2870 Cr. will be invested during FY 2014-15 to 2018-19 in the transmission sector on the following schemes for which the total funding will be met by the Govt. of Odisha and be treated as Equity Support by Government of Odisha to OPTCL and the assets will remain under the ownership of OPTCL (copy of the minutes enclosed at Annexure-I)

- Odisha Power Sector Improvement Programme (OPSIP): Rs.1203 Cr.

- Smart GRID: Rs. 167 Cr.

- State Capital Region Improvement of Power Supply (SCRIPS): Rs.1500 Cr.

- It is projected that the above amount will be received in five years starting FY 2014-15 in the following manner: (1st Year-10%, 2nd Year-15% and balance equally in 3rd, 4th & 5th year).

- Regarding equity of Rs.60.07 Cr. inherited by OPTCL at the time of demerger of GRIDCO into GRIDCO and OPTCL, the Hon’ble Commission vide Para 292 of the OPTCL tariff order for FY 2009-10 disallowed Return on Equity on the above amount. Hence, this amount is not included in the present application for computation of RoE.

- OPTCL has received Rs.303.07 Cr. (Rs.23.05 Cr. in FY 2008-09 + Rs.5 Cr. in FY 2009-10 + Rs.71.95 Cr. in FY 2010-11 + Rs.43 Cr. in FY 2011-12 + Rs.50 Cr. in FY 2012-13 + Rs.50 Cr. in FY 2013-14) from the State Govt. as equity contribution for setting up transmission projects in remote areas. Further another Rs.337 Cr. is likely to be received by the end of FY 2014-15 and Rs.480 Cr. in FY 2015-16.

- Accordingly, OPTCL proposes Return on Equity (RoE) of Rs.113.74 Cr. during FY 2015-16 @ 19.61% as per clause (2) of Regulation 25 of CERC regulations, 2014 on Rs. 580 Cr. (Rs. 640.07 Cr.- Rs.60.07 Cr.) i.e. on opening balance of FY 2015-16  .

A. 5) INTEREST ON WORKING CAPITAL:

### As per norms of the CERC Regulations, 2014 for calculation of Interest on Working Capital, the Working Capital is estimated as Rs.277.21Cr. The interest on working capital is proposed as Rs.28.41 Cr. considering base rate of 10.25%, the details are given in Table-22 below.

Table-22

| Calculation of Interest on Working Capital |  |
| --- | --- |
| Parameters | Amount (Rs. Cr.) |
| (I) Receivables equivalent to two months of fixed cost. | 151.37 |
| (ii) Maintenance Spares @ 15% of O&M expenses | 74.47 |
| (iii) Operation & Maintenance expenses for one month | 41.37 |
| Total Working Capital | 277.21 |
| Interest on Working Capital | Rs. 28.41 Cr. |

Regulation 28(4) of CERC Regulations, 2014 states that “Interest on working capital shall be payable on normative basis notwithstanding that the generating company or the transmission licensee has not taken loan for working capital from any outside agency.”

- In view of the above, requirement of Working Capital to meet the day-to-day expenses is justified and the Hon’ble Commission would consider the proposal of OPTCL for allowing Interest on Working Capital in line with CERC Regulations, 2014.

- TRANSMISSION COST

- By considering the proposed cost / expenses under different heads, the Transmission Cost of OPTCL for FY 2015-16 is worked out as Rs.968.19 Cr. Details are shown in the Table- 23 below: 					Table-23

| TRANSMISSION COST FOR FY 2015-16 |  |
| --- | --- |
| Particulars | Amount (Rs. Cr.) |
| Employee Cost including Terminal Benefits | 310.02 |
| R&M Cost | 154.11 |
| A&G Cost | 32.36 |
| Sub-Total O&M Cost | 496.49 |
| Interest on Loan Capital | 131.83 |
| Depreciation | 197.72 |
| Return on Equity | 113.74 |
| Interest on Working Capital | 28.41 |
| Total | 968.19 |

B)	OTHERS:

B.1) CONTINGENCY RESERVE: (F-16)

The requirement of Contingency Reserve in a natural calamity prone State like Odisha need not be over emphasized. Investment towards Contingency Reserve relates to maintaining an emergency fund to meet expenses towards unforeseen calamities. Contingency Reserve is being kept in a separate Reserve Fund and invested in the specified securities.

The Hon’ble Commission has not allowed any Contingency Reserve to OPTCL for the last 4 years starting 2011-12 on the ground that OPTCL has not quantified the amount invested in different Govt. securities. In this regard it is submitted that the present investment of OPTCL is Rs. 86.86 Cr in SDL Bond of different states.

In OPTCL’s tariff order for FY 14-15 at Para 199, Hon’ble Commission has directed as follows with respect to Disaster Management

“ xxx there is a substantial loss to the OPTCL transmission system due to severe cyclone ‘PHAILIN’ during October, 2013.  As ascertained, 25 nos. of Grid S/S, 49 nos. of lines (4073 Ckt Kms) were affected and 92 nos. of towers were damaged due to the catastrophic cyclone. It is understood that OPTCL requires around Rs.42 Cr for the restoration/repair work. The Commission is of the opinion that since it is a Force Majeure condition, the amount spent by OPTCL for restoration of damaged transmission system may be availed from the State Govt. as a grant from Disaster Mitigation Fund or any other similar fund xxxx”.

In this regard it is to bring to the kind notice of the Hon’ble Commission that as per the  Revised list of Items & Norms of assistance from the State Disaster Response fund (SDRF) & the National Disaster Response Fund (NDRF) for 2010-15, only repair / restoration of power limited to immediate restoration of electricity supply in the affected areas  is eligible to get assistance from SDRF & NDRF. Sectors such as Telecommunication & Power (except immediate restoration of power supply) which generate their own revenue and also undertake immediate repair & restoration works from their own funds / resources are excluded.

In FY 2013-14, during the severe cyclonic storm “PHAILINE”, OPTCL system was badly affected. For restoration of the damages, OPTCL has spent Rs. 18.94 Cr. during the FY 2013-14 which has been adjusted  from the Contingency Reserve Fund. The very purpose of Contingency Reserve Fund is not only to meet expenses towards unforeseen calamities but also to save cost arising out of payment of annual premium in insuring the OPTCL assets. Presently all the loans availed by OPTCL are against hypothecation of future assets. Moreover, the State Govt. is not providing any guarantee. Therefore, the FIs/ Banks are insisting for insurance of these assets to safeguard their interest as a part of risk management. If OPTCL goes for the insurance of transmission assets, the high cost of the annual premium for entire assets of OPTCL will have substantial impact on the tariff of OPTCL and consequently on retail supply tariff i.e. burden on state consumers.  Hence, the investment made towards contingency fund will suffice the requirement of the FIs/ Banks.

In view of the above, Contingency Reserve Fund not only helps in meeting the immediate expenditure towards damages due to natural calamities but also is an alternative tool to reduce the retail supply tariff. Accordingly, OPTCL has projected Rs.19.12 Cr. (0.5% of book value of the assets up to 01.04.2014) in FY 2015-16 towards Contingency Reserve fund (details are shown in F-16).

### B. 2) GRID CO-ORDINATION COMMITTEE EXPENSES:

As per provisions under Chapter 11 of Orissa Grid Code, OPTCL formed Grid Coordination Committee (GCC) under OPTCL. Rs. 0.71 Cr. has been projected as Annual GCC Expenses for FY 2015-16 in line with the said provisions.

### B. 3) INCENTIVE FOR SYSTEM AVAILABILITY:

- The Regulation 38 of CERC Regulations, 2014 specify the “Norms of Operation” applicable for transmission system for recovery of transmission charge and incentive by the Transmission Licensee.

“Normative Annual Transmission System Availability Factor (NATAF) shall be as under:

For recovery of Annual Fixed Charges:

(1) AC system: 98%

(2) HVDC bi-pole links and HVDC back-to-back stations: 95%

For incentive consideration:

(1) AC system: 98.50%

(2) HVDC bi-pole links and HVDC back-to-back Stations: 96%

Provided that for new HVDC stations, NATAF shall be considered as 95% for first three years of operations for the purpose of incentive.

Provided further that no incentive shall be payable for availability beyond 99.75%.

Provided also that for AC system, two trippings per year shall be allowed.  After two trippings in a year, additional 12 hours outage shall be considered in addition to the actual outage.

Provided also that in case of outage of a transmission element affecting evacuation of power from a generating station, outage hour shall be multiplied by a factor of 2.’’

- The system availability of its transmission network of OPTCL for FY 2013-14 has been worked out as 99.96% and it has been duly certified by SLDC. The availability has been computed following CERC Regulations and filed as Annexure-II.

- As submitted above, OPTCL is entitled to receive incentive for making available the Transmission System more than 98.50% for the year 2013-14.In view of the  above, OPTCL humbly submits that the incentive due to OPTCL for the year 2013-14 may be allowed in the ARR and Transmission Tariff order for FY 2015-16. The incentive is to be paid by the six long-term customers of OPTCL (Four DISCOMs, NALCO and IMFA) as per the calculation worked out in the Table-24 below.

- Table-24

| CALCULATION OF INCENTIVE CLAIMED BY OPTCL |  |
| --- | --- |
| Energy transmitted by OPTCL in FY 2013-14 for intra-state LTOA customers (MU) | 22865.31 |
| Transmission Charge @ 25 P/U during FY 2013-14 (Rs. Cr.) | 571.63 |
| Transmission System availability during FY 2013-14 for calculation of incentive (%) | 99.96 |
| Transmission System availability above 98.50 % ( No incentive beyond 99.75% ) | 1.25 |
| Incentive claimed by OPTCL for FY 2013-14 (Rs. Cr.) | Rs. 7.15 Cr. |

- It is further submitted that the incentive approved by the Hon’ble Commission would be utilised for enhancing motivation of employees of OPTCL in the manner as would be decided by OPTCL management.

### B. 4) REBATE

- OPTCL has proposed that for payment of monthly bill, the Open Access Customer shall be entitled to a rebate of Two percent (2%) of the amount of the monthly bill (excluding arrears), if full payment is made within two working days (excluding holidays under N.I. Act) of the presentation of the bill and 1% of the amount if paid within 30 days of the presentation of the bill. Accordingly, OPTCL  has projected 2% rebate amounting to Rs.13.19 Cr. which is calculated based on the projected unit at current transmission charge i.e. 25 p/u.

### OTHER INCOME AND COST / MISCELLANEOUS RECEIPT:

During 1st six months of FY 2014-15, Miscellaneous Receipt of OPTCL from different sources is about Rs.11.62 Cr., the details are given in the Table-25 below:

Table-25

| Miscellaneous Receipt during 1st six months of FY 2014-15 |  |
| --- | --- |
| Source | Rs. Cr. |
| Inter-State Wheeling | 0.21 |
| Short-Term Open Access | 2.40 |
| STU charges received from Energy Exchange | 5.49 |
| Supervision Charge | 3.52 |
| Total | Rs. 11.62 Cr. |

Current status on revenue earnings from Inter-State Wheeling:

OPTCL has filed an application before Hon’ble CERC for determination of wheeling charges for the period 2009-10 to 2013-14 in respect of its inter-state corridor for wheeling of power to WR constituents. The hearing of the application is completed and order is awaited. Further, as per direction of Hon’ble CERC in Suo-Motu Petition No. 15 of 2012, OPTCL has filed its application for determination of Point of Connection (PoC) transmission charges for a number of natural and deemed ISTS line. This application has also not been disposed of. In view of the position explained, revenue from inter-state wheeling during FY 2015-16 cannot be correctly assessed. For FY 2014-15, only Rs.21 lakh towards inter-state wheeling charges is received from   CSPDCL (wheeling of 5 MW power share of Chhatishgarh  from Burla Power Station).

Current status on revenue earnings from Supervision Charge:

Compared to earlier years, the earning from Supervision Charge during 1st six months of FY 2014-15 has drastically reduced. The number of applicant industries is very less for which revenue from Supervision Charge during the balance period of FY 2014-15 would not be appreciable. For the above reasons, revenue generation from other sources is not certain.

Hence, in line with the trend of revenue earning during FY 2014-15, OPTCL expects the Miscellaneous Receipt of Rs. 26.00 Cr. during FY 2015-16.

The summary of Annual Revenue Requirement of OPTCL for FY 2015-16 is shown in the Table-26 below adding all the projected expenditures as explained in foregoing paragraphs:

SUMMARY OF ANNUAL REVENUE REQUIREMENT OF OPTCL FOR FY 2015-16

Table-26                                       (Rs. Cr.)

| ITEMS | Proposal for OPTCL 2015-16 |  |
| --- | --- | --- |
| (A) FIXED COST |  |  |
| 1. O&M Expenses |  | 496.49 |
| (i) Employees Cost including Terminal Benefits | 310.02 |  |
| (ii) R&M Cost | 154.11 |  |
| (iii) A&G Cost | 32.36 |  |
| 2. Interest on Loan Capital |  | 131.83 |
| 3. Depreciation |  | 197.72 |
| 4. Return on Equity |  | 113.74 |
| 5. Interest on Working Capital |  | 28.41 |
| Sub-Total (A) |  | 968.19 |
| B) Others |  | 40.17 |
| 1. Contingency Reserve | 19.12 |  |
| 2. REBATE | 13.19 |  |
| 3. GCC Expense | 0.71 |  |
| 4. Incentive for system availability | 7.15 |  |
| Total Trans. Cost (A+B) |  | 1008.36 |
| C) Less Misc. Receipts |  | 26.00 |
| D) ARR to be recovered from LTOA Customers i.e. OPTCL's Annual Revenue Requirement |  | 982.36 |

### TRANSMISSION LOSS:

The transmission loss is purely a technical loss and dependent on the location of generation sources, system configuration and power flow requirements at different load centres. In view of the increasing demand for power at an accelerated pace due to on-going industrialization and implementation of central & state sponsored schemes like RGGVY, BGJY etc. in Odisha, there will be increased flow of power in the OPTCL transmission network contributing to increased transmission loss.

OPTCL has been able to reduce the transmission loss year over year by commissioning a number of new transmission projects and adopting innovative schemes under Master Maintenance Plan during last few years. The actual transmission loss in the OPTCL’s transmission system from April’14 to September’14 is 3.76 % against Commission’s approval of 3.75% for FY 2014-15. OPTCL expects the loss level to remain around 3.75 % in the current year. Accordingly, OPTCL proposes 3.75% transmission loss during FY 2015-16 in line with the projection made in the 5-year Business Plan.

### ESTIMATION OF REVENUE RECEIPT AND DEFICIT OF ARR AT THE EXISTING TRANSMISSION CHARGE @ 25P/U

The Hon’ble Commission has accorded in-principle approval of the Long Term Demand Forecast (LTDF) for the period FY 2014-15 to FY 2022-23 vide Common Order dated 01.11.14 in Case no. 77/2013 & Case no. 56/2014 . Recently the DISCOMS have Communicated their respective realistic energy demand projection to GRIDCO for FY 2015-16.The following table indicates Commission’s in-principle approval and DISCOMs projection.

Demand (MU) of DISCOMS for FY 2015-16

| Name of DISCOM | Commission's approval in LTDF order (MU) | DISCOMs recent projection (MU) |
| --- | --- | --- |
| CESU | 10321 | 9401 |
| NESCO | 5956 | 5625 |
| WESCO | 7334 | 7500 |
| SOUTHCO | 3862 | 3630 |
| TOTAL | 27473 | 26156 |

OPTCL in the present application has taken the recent realistic demand projection of all four DISCOMs totalling 26156 MU for FY 2015-16. OPTCL envisages 150MU of energy to be transacted in DISCOMs 33kV & 11 kV network for which OPTCL is not entitled to receive any transmission charge as per Commission’s order. Hence, total MU to be transmitted in OPTCL network gets reduced to 26006 MU (26156MU-150MU) from the total demand projection of DISCOMs.

During FY 2015-16, OPTCL will earn revenue from the LTOA Customers in the following manner:

(i)	By charging the rate applicable on DISCOMs for wheeling of 26006 MU from Generating Stations to DISCOMs.

(ii)	By charging the rate applicable on CGPs like IMFA & NALCO for supply of 10 MU Emergency Power & Back-up Power to their CGPs and load centres located at different places.

(iii)	By charging the rate applicable on other LTOA customer like IMFA & NALCO for wheeling of their surplus power of 450 MU (excluding Transmission Loss) from their CGPs to load centres located at different places.

The revenue to be earned by OPTCL from wheeling of 26466 MU (26006+450+10) at the existing transmission tariff of 25 P/U will be Rs.662 Cr. The details of the same are given in the Table-27 below:

Table-27

| Calculation of Revenue at the existing Transmission Charge @ 25 P/U |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Customer | Commission's approval for FY 2014-15 | Energy demand (MU) as per DISCOMs estimation (FY 15-16) | Tr. Loss (%) | Energy handled including Loss | Expected part of energy to be handled in DISCOMs network for which no Trans. Charge to be claimed | MU to be handled by OPTCL including Loss | Amount (Rs. Cr.) |
| 1 | CESU | 9040 | 9401 | 0 | 9401 | 150 | 26006 (26156- 150) | 650.15 |
| 2 | NESCO | 5330 | 5625 | 0 | 5625 |  |  |  |
| 3 | WESCO | 6820 | 7500 | 0 | 7500 |  |  |  |
| 4 | SOUTHCO | 3340 | 3630 | 0 | 3630 |  |  |  |
|  | Total DISCOMs | 24530 | 26156 |  | 26156 |  |  |  |
| 5 | Emergency Sale to CGPs | 10 | 10 | 0 | 10 |  |  | 0.25 |
| 6 | Wheeling to industries from CGPs | 450 | 450 | 3.75 | 468 |  |  | 11.69 |
|  | Total | 24990 | 26616 |  | 26634 |  |  | 662.00 |

Excess / Deficit of Revenue Requirement:

OPTCL will be having revenue deficit of Rs.320.36 Cr. considering the ARR proposed and the revenue to be earned from wheeling of 26466 MU at the existing transmission tariff of                  25 P/U, the details of which are shown in Table-28 below.

Table-28

| Deficit of Revenue requirement @ 25 P/U present tariff rate (Rs. Cr.) |  |
| --- | --- |
| Total Annual Revenue Requirement | 982.36 |
| Less: Revenue earned from Long Term Open Access Customer | 662.00 |
| Deficit of Revenue requirement for FY 2015-16 at the existing Rate @ 25 P/U | -320.36 |

Proposal for revision of Transmission Tariff / Wheeling Charges

OPTCL, with its present transmission tariff, cannot meet its proposed revenue requirement at the existing transmission tariff of 25 P/U and will suffer revenue deficit as mentioned above. In order to meet the deficit, OPTCL submits this application before Hon’ble Commission with humble request to approve its proposed ARR, the Transmission Tariff and Transmission Loss for                 FY 2015-16 to be effected from 01.04.2015.

OPEN ACCESS CHARGES:

Long Term Open Access Charges in terms of Rs./ MW/ Day

The Hon’ble Commission has notified the Open Access Regulation under section 42 (2) of the Electricity Act, 2003. Consumers availing open access shall be required to pay the transmission charges for use of the transmission lines and substations of OPTCL. The Long Term Transmission Charge on the basis of MW flow by adopting the formula as provided in the OERC (Determination of Open Access Charges) Regulations 2006 dated 06.06.2006 is:

Short Term Open Access Charges in terms of Rs./MW/Day

The revenue earning on account of Short Term Open Access Charges from Short Term Open Access Customers is uncertain. It is submitted that the proposed Short Term Open Access Charges will be adjusted in the revenue as year-end-adjustments at the end of the year on actual basis.

As per Chapter II, Para 4 (1) (viii), OERC (Determination of Open Access Charges) Regulations 2006 dated 06.06.2006 (in short “Regulations 2006”), the Short Term Open Access Charges is calculated as :

Surcharge and/ or any other charge on Short Term Open Access, if any, as decided by the Hon’ble Commission will be leviable.

The transmission charges payable by a very short-term customer using the system for fraction of a day in case of uncongested transmission corridor shall be levied as under, namely: -

- Up to 6 hours in a day in one block: ¼th of the ST_rate

- More than 6 hours and up to 12 hours in a day in one block: ½ of ST_rate

- More than 12 hours and up to 24 hours in a day in one block: equal to ST_rate

The transmission charge payable by a short-term customer shall be for one day and in multiples of whole number of days.

The transmission licensee shall retain 25% of the charges collected from the short-term customers and the long-term customers shall adjust the balance 75% towards reduction in the transmission charges payable.

Wheeling charges shall be determined on the basis of same principles as laid down for intra-state transmission charges and in addition would include average loss compensation of the relevant voltage level as approved by OERC for the previous year subject to year-end adjustment.

Considering the methods shown above, the Long term Open Access Charges and Short term Open Access Charges in terms of Rs./MW/Day are proposed in the Table-29 below.

Table-29

| ABSTRACT OF OA CHARGES PROPOSED BY OPTCL FOR FY 2015-16 |  |
| --- | --- |
| DETAILS | In Rs. Per Unit approach |
| Net Annual Revenue Requirement (Rs. Crore) | 982.36 |
| Proposed Energy to be transmitted in OPTCL Network (MU) | 26466 |
| Proposed Transmission Tariff (P/U) | 37.12 |
| Power Flow (Equivalent of 26466 MU) in MWs | 3021 |
| Long term Open Access Charges in terms of Rs./MW/Day | 8908 |
| Short term Open Access Charges in terms of Rs./MW/Day | 2227 |

Besides above Charges, the Open Access customers are also required to pay any other charges as determined by Hon’ble Commission as per provisions under Chapter-II (CHARGES FOR OPEN ACCESS) of the Regulations 2006.

- It is submitted that Hon’ble CERC in its Order dated 29.04.2011 in the matter of Approval of Transmission Service Agreement, Revenue Sharing Agreement, Billing, Collection and Disbursement Procedure under CERC (Sharing of Transmission Charges and Losses), Regulations, 2010 ruled as under:

“8.3 Point of Connection (PoC) Charges for Long Term Access, Medium Term Open Access and Short Term Open Access

8.2.1 There shall be no differentiation in PoC charges, as determined by the Implementing Agency for the Application Period, among the long-term access, medium-term open access and short-term open access to the ISTS.”

Accordingly, all types of Open Access Customers using CTU network have been paying equal rates since implementation of PoC Charges with effect from 01.07.2011.

Further, some State Electricity Regulatory Commissions like Maharashtra, Rajasthan, Punjab, Tamil Nadu, Andhra Pradesh etc. have already pronounced equal open access rates for long term and short term customers.

- Appreciable short-term transactions are now taking place from Odisha system to outside states under inter-state STOA mode. Similarly, intra-state STOA transactions have started to gather momentum. As per existing OERC Regulations, STOA customers are liable to pay 25% of the long term transmission charge. Hon’ble Commission may kindly consider to equate long term and short term rates to enable OPTCL to earn more revenue which would be accounted for under Miscellaneous Receipt so as to relieve the long term open access customers resulting downward effect on Retail Supply Tariff.

REACTIVE ENERGY CHARGES

The Hon’ble Commission, vide Para 276 of its order dated 22.03.2014 in Case No. 83/2013 (ARR & Transmission Tariff order of OPTCL for FY 2014-15) had provisionally fixed the Reactive Energy Charges @ 6.50 Paise / KVArh for FY 2014-15. The Commission had directed the licensee to discuss the matter in the GCC meeting & file the calculation of Reactive Energy Charges afresh with full justification thereof within 30th June, 2014. OPTCL in Ltr. no. 214 dated 10.07.2014 had requested the Hon’ble Commission for two months more time i.e. time up to 30th August, 2014 to comply to the above stated directions.

As per the directives issued by the Commission, the matter has been discussed in the 12th GCC meeting held in Bhubaneswar on 27th June, 2014. Further, as per the decision taken in the said GCC meeting, a meeting was conducted on 16.07.2014 with the DISCOMs / stakeholders. In  meeting dated 16.07.2014, the details regarding procedure for preparation of Mock Reactive Energy bills were explained. After clarifying the doubts, the DISCOMs / stakeholders were requested to furnish their feedbacks / views positively within fifteen days (i.e. within 31.07.2014) for enabling OPTCL to comply to the orders of the Commission. As on date, no feedback regarding the mock Reactive Energy bills have been received from the DISCOMs / stakeholders.

In the above context, it is to bring to the kind notice of the Commission that monthly mock Reactive Energy bills are being served to the LTOA customers by SLDC.

However, Regulation 1.7 of OGC Regulations, 2006 (Charge / Payment for Reactive Energy Exchanges) stipulates that the rate for charge / payment of reactive energy exchanges (according to the scheme specified in section 5.3) shall be 5.0 Paise / kVArh with effect from the date to be notified by the Commission separately and shall be escalated at 0.25 Paise / kVArh per year thereafter, unless otherwise revised by the OERC. Since a provisional rate (i.e. 6.50 Paise/kVArh) has already been fixed by the Commission for FY 2014-15, OPTCL proposes that in accordance with Regulation 1.7 of said OGC Regulations, the Reactive Energy Charges may please be considered to be fixed at 6.75 Paise / kVArh for the FY 2015-16, i.e. an escalation of 0.25 Paise / kVArh over the approved rate for FY 2014-15.

# PRAYER

# Based on the facts and submissions made in the foregoing paragraphs, OPTCL humbly prays before Hon’ble Commission to kindly approve the proposed ARR and Transmission Tariff for               FY 2015-16 as under:

# (i)	Annual Revenue Requirement of Rs.982.36 Cr.

# (ii)	Recovery of Transmission Charge @ 37.12 P/U.

# Transmission Loss for wheeling as 3.75% on energy drawl

# for which the applicant as in duty bound shall ever pray.

BY THE APPLICANT

THROUGH

Bhubaneswar

November 29, 2014						            CGM (RT&C), OPTCL

BEFORE THE ODISHA ELECTRICITY REGULATORY COMMISSION

BHUBANESWAR

Case No.---------										Filing No. 1

IN THE MATTER OF:	An application for approval of Annual Revenue Requirement and Transmission Tariff for the Financial Year 2015-16 under Section 62, 64 and all other applicable provisions of the Electricity Act, 2003 read with relevant provisions of OERC (Terms and Conditions for Determination of Tariff) Regulations, 2004 and OERC (Conduct of Business) Regulations, 2004 and other tariff related matters.

AND

IN THE MATTER OF:	Odisha Power Transmission Corporation Limited, Janpath, and Bhubaneswar-751022.								                                                                                      …Applicant

Affidavit verifying the Application

I, Bimal Prasad Mishra,son of Late Umesh Chandra Mishra, aged about 56 years, residing in OPTCL Colony, Bhubaneswar, do solemnly affirm and say as follows:

- That I am the Chief General Manager, Regulation, Tariff and Commercial Wing, OPTCL, the Applicant and have been duly authorized by the said Applicant to make this affidavit on its behalf.

- That the Statements made in paragraphs herein above are based on official information and I believe them to be true.

Bhubaneswar

November 29, 2014

DEPONENT

Annexure – A

Proposed Schedule of Transmission Charge of OPTCL for FY 2015-16

Transmission Charge

This Charge is applicable for wheeling of GRIDCO power from generating points to the supply point of Distribution & Retail Supply Licensee and wheeling of power for CGPs. The total charges shall be calculated by summation of following charges stated in Para (a) to (d) below as applicable:

(a)	Transmission Charge:

- Transmission Charge @ 37.12 P/U shall be applicable for transmission of power at           400kV/ 220kV/ 132kV over OPTCL’s EHT transmission system for the purpose of transmission of energy from generator end to the substation from where energy will be fed to DISCOMs and CGPs.

- Transmission Loss @3.75%for the use of EHT transmission system and for the purpose of transmission of energy from a CGP to its industrial unit located at a separate place as well as for transmission of power from outside the state to an industry located inside the State.

- Long Term Open Access Customers & Short Term Open Access Customers shall pay the applicable Transmission Charges plus all other charges and losses as applicable thereon, as the case may be.

The Transmission Charge shall be applicable to the DISCOMs and CGPs, the Long Term Open Access Customers of GRIDCO for the respective month.

(b) Rebate:

- On payment of monthly bill, the Open Access Customer shall be entitled to a rebate of Two percent (2%) of the amount of the monthly bill (excluding arrears), if full payment is made within two working days (excluding holidays under N.I Act) of the presentation of the bill and 1% of the amount if paid within 30 days of the presentation of the bill.

(c) Delayed Payment Surcharge:

- The monthly charges as calculated above together with other charges and surcharge on account of delayed payments, if any, shall be payable within 30 days from the date of bill. If payment is not made within the said period of 30 days, delayed payment surcharge at the rate of 2% (two percent) per month shall be levied pro-rata for the period of delay from the due date, i.e. from the 31st day of the bill, on the amount remaining unpaid (excluding arrears on account of delayed payment surcharge).

(d) Duty and Taxes:

- The Electricity Duty levied by the Government of Orissa and any other statutory levy/ duty/ tax/ cess/ toll imposed under any law from time to time shall be charged over and above the tariff.