## Sheet1
Annexure-6
Sl No. | Name of the Item | Unit | Qty. | Rate in Rs. | Amount Rs. in Crore | Date of delivery of material | Present Status
1 | 33kV Breaker | Nos. | 7 | 191000 | 0.1337 |  | Installed at different Grid S/s, a few nos. are kept to meet emergency requirment.
2 | 132kV Breaker | Nos. | 66 | 413000 | 2.7258 | 13.10.14
3 | 400kV SF6 Breaker |  | 4 | 3286000 | 1.3144 | 30.04.14
4. a) | Tower Material | MT | 637.28 | 67600 | 4.308 | 10.11.14 & 15.11.14
b) | Tower Material | MT | 78.448 | 67600 | 0.53031 | 05.06.14
5 | 33kV CT 800-400-200/1-1-1 | Nos. | 146 | 38817 | 0.56673 | 20.12.14
| 400-200-100/1-1-1 | Nos. | 190 | 38817 | 0.73752 | 20.12.14
| 1200-600-300/1-1-1 | Nos. | 69 | 38817 | 0.26784 | 16.09.14
| 600-300-150/1-1-1 | Nos. | 48 | 38817 | 0.18632 | 16.09.14
6 | 220kV CT | Nos. | 12 | 300000 | 0.36 | 23.04.14
7 | ACSR Zebra Conductor | Km | 311 | 242021.74 | 7.5269 | 14.11.14 | Re-stringing shall be started in different EHT lines from January'2015
8 | ACSR Panter Conductor | Km | 1109 | 133419.97 | 14.7963 | 14.11.14
9 | 132kV IVT | Nos. | 28 | 184000 | 0.5152 | 17.07.14 & 31.07.14
10 | 220kV IVT | Nos. | 2 | 380000 | 0.076
11 | Insulators
| 90 kN Disc | Nos. | 10983 | 563 | 0.61834 | 02.07.14 | Replaced in different lines & a few nos. are kept to meet emergency requirment.
| 120 kN Disc | Nos. | 3794 | 727 | 0.27582
| 90 kN Disc Antifog | Nos. | 5466 | 800 | 0.43728
12 | H/W Fitting | LS | 1 | 20172000 | 2.0172 | Expected to receive in Jan'15
13 | Relay
| Master Trip Relay VAA-33 | Nos. | 30 | 7500 | 0.0225 | 20.05.14 | Installed at different Grid S/s.
| Master Trip Relay VAJHM-33 | Nos. | 11 | 9845 | 0.01083
| REF Relay | Nos. | 43 | 6526 | 0.028062
| Over fluxing | Nos. | 66 | 7000 | 0.0462
| Numerical D.P Alstom | Nos. | 36 | 129000 | 0.4644
| Numerical O/C Earth fault Relay | Nos. | 94 | 129000 | 1.2126
14 | Discharge Rod | Nos. | 452 | 7500 | 0.339 | 25.03.14 | Being used as safty measures during maint. Work
15 | HV Detector | Nos. | 115 | 8500 | 0.09775
16 | EHV Detector | Nos. | 115 | 9500 | 0.10925
17 | Engagement of Security Personnel |  |  |  | 9
18 | Misc R&M expences in EHT Lines, Grid S/s, transportation of transformers, Cleaning & sanitation, painting of towers & Trfs, AMC of Secure Meter etc. |  |  |  | 9.03
| Total = |  |  |  | 57.7542

## Sheet2
Sl No. | Name of the Item | Unit | Qty. | Rate in Rs. | Amount in Crore | Date of delivery of material | Present Status
1 | 33kV Breaker | Nos. | 7 | 191000 | 0.1337
| 132kV Breaker | Nos. | 66 | 413000 | 2.7258 | 13.10.14
| 400kV SF6 Breaker |  | 4 | 3286000 | 1.3144 | 30.04.14
2. a) | Tower Material | MT | 637.28 | 67600 | 4.308 | 10.11.14 & 15.11.14
b) | Tower Material | MT | 78.448 | 67600 | 0.53031 | 05.06.14
3 | 33kV CT 800-400-200/1-1-1 | Nos. | 146 | 38817 | 0.56673 | 20.12.14
| 400-200-100/1-1-1 | Nos. | 190 | 38817 | 0.73752 | 20.12.14
| 1200-600-300/1-1-1 | Nos. | 69 | 38817 | 0.26784 | 16.09.14
| 600-300-150/1-1-1 | Nos. | 48 | 38817 | 0.18632 | 16.09.14
| 220kV CT | Nos. | 12 | 300000 | 0.36 | 23.04.14
4 | ACSR Zebra Conductor | Km | 311 | 242021.74 | 7.5269 | 14.11.14
5 | ACSR Panter Conductor | Km | 1109 | 133419.97 | 14.7963 | 14.11.14
6 | 132kV IVT | Nos. | 28 | 184000 | 0.5152 | 17.07.14 & 31.07.14
| 220kV IVT | Nos. | 2 | 380000 | 0.076
7 | 90 kN Disc | Nos. | 10983 | 563 | 0.61834 | 02.07.14
| 120 kN Disc | Nos. | 3794 | 727 | 0.27582
| 90 kN Disc Antifos | Nos. | 5466 | 800 | 0.43728
| 220kV 90kN L/R Insulator | Nos. | 511 | 7500 | 0.38325
| 132kV 90kN L/R Insulator | Nos. | 72 | 6196 | 0.044611
| 132kV 120kN C/R Insulator | Nos. | 395 | 7791 | 0.30774
8 | H/W Fitting | Nos. | 1 | 20172000 | 2.0172
9 | HV Detector | Nos. | 115 | 8500 | 0.09775 | 25.03.14
10 | EHV Detector | Nos. | 5 | 7500 | 0.00375 | 25.03.14
11 | Master Trip Relay VAA-33 | Nos. | 30 | 7500 | 0.0225 | 20.05.14
| Master Trip Relay VAJHM-33 | Nos. | 11 | 9845 | 0.01083
| REF Relay | Nos. | 43 | 6526 | 0.028062
| Over fluxing | Nos. | 66 | 7000 | 0.0462
| Discharge Rod | Nos. | 452 | 7500 | 0.339
| HVT Tester | Nos. | 115 | 8000 | 0.092
| EHV Tester | Nos. | 115 | 9000 | 0.1035
| Numerical D.P Alstom | Nos. | 36 | 129000 | 0.4644
| Numerical O/C Earth fault Relay | Nos. | 94 | 129000 | 1.2126
| Total = |  |  |  | 40.5498