## Sheet1
Licencee __________________________
SCHEDULE / FORCED MAINTENANCE OF GENERATION UNITS | [12 empty] | OERC FORM TRT-2
PERIOD | 1. ACTUALS FOR PREVIOUS YEAR. | [5 empty] | 2011-2012
2. ACTUALS FOR 1ST SIX MONTHS OF THE CURRENT YEAR.
3. EXPECTED FOR LAST SIX MONTHS OF THE CURRENT YEAR.
4. EXPECTED FOR ENSUING YEAR.
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
STATE SECTOR STATION
OHPC
1 | MACHHKUND | 1 | 17
|  | 2 | 17 | [12 empty] | Data
|  | 3 | 17 | [12 empty] | not
|  | 4 | 21.25 | [12 empty] | available
|  | 5 | 21.25
|  | 6 | 21.25
2 | HIRAKUD & | 1 | 37.5 | 1.6 | 135 | 0 | 56.05 | 208.9 | 83.7 | 248.6 | 720 | 744 | 744 | 378.66 | 0
| CHIPLIMA | 2 | 37.5 | 720 | 744 | 720 | 744 | 1.63 | 22.42 | 30.55 | 149.3 | 744 | 744 | 696 | 744
|  | 3 | 37.5 | 13.3 | 0 | 398.8 | 8.5 | 194.6 | 0 | 6.17 | 9.66 | 11.27 | 0 | 7.55 | 0
|  | 4 | 49.5 | 2.6 | 0 | 60.3 | 0 | 143.2 | 1.22 | 0.97 | 32.25 | 9 | 3.82 | 0 | 0
|  | 5 | 49.5 | 0 | 0 | 3.2 | 0 | 3.02 | 0 | 0 | 0 | 0 | 5 | 208.58 | 493
|  | 6 | 32 | 720 | 197.3 | 3.72 | 0 | 10.05 | 97.53 | 119 | 0 | 190 | 7.17 | 59.2 | 10.37
|  | 7 | 32 | 16.4 | 26.3 | 4.28 | 17 | 4.65 | 720 | 744 | 720 | 744 | 744 | 539.66 | 0
| CHIPLIMA | 1 | 24 | 1.1 | 1.66 | 36.17 | 3.5 | 6.18 | 5.13 | 3.17 | 0 | 8.17 | 0 | 3.92 | 0
|  | 2 | 24 | 9.3 | 1.25 | 11.65 | 1.92 | 6.75 | 2.6 | 3.5 | 3.25 | 4 | 0 | 0 | 0
|  | 3 | 24 | 33.9 | 261.3 | 157.2 | 3.45 | 1.66 | 2.42 | 2.97 | 0 | 208.8 | 744 | 0 | 744
3 | BALIMELA | 1 | 60 | 8 | 95.7 | 10.1 | 51.23 | 133 | 720 | 744 | 563.3 | 8.9 | 0.5 | 10.72 | 0
|  | 2 | 60 | 8 | 178.1 | 15.97 | 25.57 | 8 | 27.22 | 0 | 0 | 8 | 0 | 4.66 | 0
|  | 3 | 60 | 8.2 | 58.4 | 0 | 130.2 | 744 | 720 | 744 | 720 | 744 | 744 | 696 | 498.1
|  | 4 | 60 | 0 | 94.8 | 0 | 116.5 | 744 | 720 | 744 | 720 | 744 | 744 | 696 | 744
|  | 5 | 60 | 8.2 | 42.4 | 0 | 140.1 | 744 | 720 | 744 | 720 | 744 | 744 | 34.13 | 0.8
|  | 6 | 60 | 8 | 50.7 | 8 | 25.37 | 10.17 | 16.07 | 0 | 0 | 8 | 5 | 8 | 8
|  | 7 | 75 | 11.3 | 169.3 | 42.2 | 15.7 | 25.6 | 76.9 | 0 | 0.1 | 0 | 8 | 0 | 0
|  | 8 | 75 | 9.1 | 93.9 | 0 | 15.3 | 79.9 | 19.3 | 10.1 | 0 | 0.83 | 8 | 7.83 | 16.97
4 | U. KOLAB | 1 | 80 | 4.9 | 1.7 | 17.63 | 7 | 10.03 | 7.12 | 33.45 | 63 | 32.27 | 0 | 9 | 0
|  | 2 | 80 | 9.9 | 12 | 255 | 137.3 | 151.5 | 19.98 | 13.33 | 0 | 8.92 | 7.92 | 8 | 0
|  | 3 | 80 | 170.8 | 9.7 | 16.02 | 0 | 6.33 | 40.08 | 42.95 | 20.25 | 7.92 | 0 | 8 | 0
|  | 4 | 80 | 33.8 | 8.1 | 133.5 | 19.57 | 108.3 | 71.97 | 31.82 | 0.45 | 7.42 | 7.917 | 0 | 0
5 | RENGALI | 1 | 50 | 720 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744 | 744 | 696 | 744
|  | 2 | 50 | 3.5 | 188.2 | 545.3 | 0 | 3.58 | 0 | 199.6 | 0 | 6.33 | 10.37 | 3.42 | 4.17
|  | 3 | 50 | 14.2 | 4.3 | 0 | 0 | 50.23 | 16.92 | 0 | 0 | 3.1 | 3.66 | 2.85 | 53.5
|  | 4 | 50 | 10.1 | 3.4 | 4.08 | 0 | 18.32 | 16.3 | 43.77 | 0 | 3.38 | 3.58 | 4.02 | 547
|  | 5 | 50 | 2.7 | 3.9 | 3.63 | 0 | 6.6 | 0 | 0 | 0 | 11.5 | 3.47 | 3 | 0
6 | INDRAVATI | 1 | 150 | 2.9 | 434.5 | 4.05 | 21.78 | 9.08 | 13.75 | 7.82 | 0 | 3.5 | 2.66 | 3.17 | 0
|  | 2 | 150 | 8.1 | 0.9 | 7.73 | 27.75 | 3.33 | 41.6 | 0 | 3.75 | 3.33 | 26.55 | 237.33 | 0
|  | 3 | 150 | 3.3 | 0 | 3.95 | 4.7 | 3.25 | 11.13 | 2.05 | 0 | 3.33 | 5 | 5.17 | 3.5
|  | 4 | 150 | 3.5 | 0 | 68.5 | 0 | 3.08 | 0 | 0 | 0 | 4.33 | 3.5 | 0 | 3
TOTAL OUTAGES ( MWH ) --> |  |  |  | 114016.45 | 192684.74 | 162375.93 | 118859.805 | 284510.125 | 264606.85 | 277727.875 | 264331.875 | 272384.805 | 277557.49 | 231450.785 | 213953.84
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
7 | IBTPS | 1 | 210 | 623.4 | 1.4 | 34.97 | 44.18 | 5.3 | 2.82 | 0 | 183.8 | 14.77 | 0 | 6.53 | 62.33
|  | 2 | 210 | 2.4 | 1.5 | 171.8 | 51.53 | 33.5 | 3.15 | 0 | 0 | 1.916 | 0 | 240 | 44
8 | TTPS | 1 | 60 | 9.9 | 0 | 4.38 | 0 | 2.83 | 23.7 | 0 | 180.3 | 0 | 0 | 0 | 0
|  | 2 | 60 | 22.1 | 0 | 5.72 | 39.22 | 0 | 0 | 0 | 0 | 6.58 | 323.7 | 0 | 0
|  | 3 | 60 | 0 | 50.5 | 0 | 0 | 0 | 3 | 0 | 368.2 | 35.48 | 0 | 0 | 0
|  | 4 | 60 | 0 | 0 | 0 | 0 | 31.28 | 0 | 322.5 | 0 | 17.42 | 0 | 0 | 0
|  | 5 | 110 | 0 | 24.1 | 54.05 | 0 | 75.27 | 720 | 720.2 | 45.42 | 0.93 | 0 | 19.93 | 0
|  | 6 | 110 | 0 | 0 | 14.9 | 619 | 3.55 | 25.75 | 0 | 0 | 2.75 | 13.93 | 0 | 37.6
TOTAL OUTAGES ( MWH ) --> |  |  |  | 133338 | 6290 | 51612.2 | 90542.3 | 18864.8 | 84888.2 | 98572 | 71508 | 7477.66 | 20954.3 | 51771.3 | 26465.3
EREB
9 | FSTPS | 1 | 200
|  | 2 | 200
|  | 3 | 200
|  | 4 | 500
|  | 5 | 500
10 | KTPS | 1 | 210
|  | 2 | 210
|  | 3 | 210
|  | 4 | 210
11 | TSTPS - I | 1 | 500
|  | 2 | 500
| TSTPS - I | 3 | 500
|  | 4 | 500
|  | 5 | 500
|  | 6 | 500
12 | CHUKHA | 1 | 84
|  | 2 | 84
|  | 3 | 84
|  | 4 | 84
TOTAL OUTAGES ( MWH ) -->
13 | NALCO | 1 | 120
|  | 2 | 120
|  | 3 | 120
|  | 4 | 120
|  | 5 | 120
|  | 6 | 120
|  | 7 | 120
|  | 8 | 120
|  | 9 | 120
|  | 10 | 120
14 | ICCL | 1 | 54
|  | 2 | 54
15 | OTHERS
TOTAL MONTHLY OUTAGES ( MWH) --> |  |  |  | APRIL: 247354.45; MAY: 198974.74; JUNE: 213988.13; JULY: 209402.105; AUGUST: 303374.925; SEPT.: 349495.05
Licencee __________________________
SCHEDULE / FORCED MAINTENANCE OF GENERATION UNITS |  |  |  | JAN.: OERC FORM TRT-2
PERIOD | 1. ACTUALS FOR PREVIOUS YEAR
| 2. ACTUALS FOR 1ST SIX MONTHS OF THE CURRENT YEAR. |  |  | JULY: 2012-13
3. EXPECTED FOR LAST SIX MONTHS OF THE CURRENT YEAR.
4. EXPECTED FOR ENSUING YEAR.
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
STATE SECTOR STATION
OHPC
1 | MACHHKUND | 1 | 17
|  | 2 | 17
|  | 3 | 17
|  | 4 | 21.25
|  | 5 | 21.25
|  | 6 | 21.25
2 | HIRAKUD & | 1 | 37.5 | APRIL: 0; MAY: 2.5; JUNE: 87.88; JULY: 35.43
| CHIPLIMA | 2 | 37.5 | APRIL: 720; MAY: 744; JUNE: 720; JULY: 744
|  | 3 | 37.5 | APRIL: 8.4; MAY: 58.9; JUNE: 399.4; JULY: 320.4
|  | 4 | 49.5 | APRIL: 304; MAY: 379.2; JUNE: 36.58; JULY: 20.32
|  | 5 | 49.5 | APRIL: 11.7; MAY: 0; JUNE: 25.08; JULY: 2.5
|  | 6 | 32 | APRIL: 0.8; MAY: 0; JUNE: 22.17; JULY: 122.8
|  | 7 | 32 | APRIL: 0; MAY: 242.8; JUNE: 0; JULY: 17
| CHIPLIMA | 1 | 24 | APRIL: 0; MAY: 384; JUNE: 0; JULY: 1
|  | 2 | 24 | APRIL: 0; MAY: 386.8; JUNE: 12; JULY: 0
|  | 3 | 24 | APRIL: 720; MAY: 662.6; JUNE: 301; JULY: 744
3 | BALIMELA | 1 | 60 | APRIL: 0; MAY: 8; JUNE: 0; JULY: 8.02
|  | 2 | 60 | APRIL: 0; MAY: 8; JUNE: 0; JULY: 8
|  | 3 | 60 | APRIL: 3.4; MAY: 0; JUNE: 0; JULY: 8.15
|  | 4 | 60 | APRIL: 696; MAY: 744; JUNE: 720; JULY: 744
|  | 5 | 60 | APRIL: 39.4; MAY: 8; JUNE: 0; JULY: 12.07
|  | 6 | 60 | APRIL: 0; MAY: 0; JUNE: 0; JULY: 8
|  | 7 | 75 | APRIL: 292.4; MAY: 744; JUNE: 720; JULY: 491.7
|  | 8 | 75 | APRIL: 292.1; MAY: 744; JUNE: 720; JULY: 672.1
4 | U. KOLAB | 1 | 80 | APRIL: 0; MAY: 343.5; JUNE: 8; JULY: 7.92
|  | 2 | 80 | APRIL: 0; MAY: 10.8; JUNE: 351; JULY: 7.75
|  | 3 | 80 | APRIL: 0; MAY: 7.8; JUNE: 7; JULY: 0
|  | 4 | 80 | APRIL: 0; MAY: 0; JUNE: 3.33; JULY: 10.58
5 | RENGALI | 1 | 50 | APRIL: 720; MAY: 743.8; JUNE: 9; JULY: 58.82
|  | 2 | 50 | APRIL: 0; MAY: 0; JUNE: 691.9; JULY: 7.53
|  | 3 | 50 | APRIL: 66.8; MAY: 0; JUNE: 720; JULY: 133.6
|  | 4 | 50 | APRIL: 468.4; MAY: 0; JUNE: 3.4; JULY: 1.63
|  | 5 | 50 | APRIL: 6.2; MAY: 0; JUNE: 3.25; JULY: 3.43
6 | INDRAVATI | 1 | 150 | APRIL: 0; MAY: 0; JUNE: 144.6; JULY: 11.48
|  | 2 | 150 | APRIL: 0; MAY: 537.5; JUNE: 134.8; JULY: 0
|  | 3 | 150 | APRIL: 454.6; MAY: 132.8; JUNE: 141.1; JULY: 28.58
|  | 4 | 150 | APRIL: 1.5; MAY: 0; JUNE: 156.7; JULY: 0
TOTAL MONTHLY OUTAGES ( MW) --> |  |  |  | APRIL: 279898.25; MAY: 303927.1; JUNE: 287250.51; JULY: 130380.715; AUGUST: 0; SEPT.: 0
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
7 | IBTPS | 1 | 210 | APRIL: 0; MAY: 17.5; JUNE: 28.27; JULY: 474.1
|  | 2 | 210 | APRIL: 33.2; MAY: 8.6; JUNE: 49.85; JULY: 0
8 | TTPS | 1 | 60 | APRIL: 0; MAY: 3.1; JUNE: 21.42; JULY: 10.98
|  | 2 | 60 | APRIL: 0; MAY: 0; JUNE: 0; JULY: 9.17
|  | 3 | 60 | APRIL: 0; MAY: 3.1; JUNE: 7.78; JULY: 601.7
|  | 4 | 60 | APRIL: 0; MAY: 24.4; JUNE: 10.2; JULY: 9.15
|  | 5 | 110 | APRIL: 461.6; MAY: 0; JUNE: 0; JULY: 10.98
|  | 6 | 110 | APRIL: 38.3; MAY: 33; JUNE: 0; JULY: 39.43
| TOTAL OUTAGES ( MWH ) --> |  |  | APRIL: 61961; MAY: 10947; JUNE: 18769.2; JULY: 142966.1; AUGUST: 0; SEPT.: 0
EREB
9 | FSTPS | 1 | 200
|  | 2 | 200
|  | 3 | 200
|  | 4 | 500
|  | 5 | 500
10 | KTPS | 1 | 210
|  | 2 | 210
|  | 3 | 210
|  | 4 | 210
11 | TSTPS - I | 1 | 500
|  | 2 | 500
| TSTPS - I | 3 | 500
|  | 4 | 500
|  | 5 | 500
|  | 6 | 500
12 | CHUKHA | 1 | 84
|  | 2 | 84
|  | 3 | 84
|  | 4 | 84
TOTAL OUTAGES ( MWH ) -->
13 | NALCO | 1 | 120
|  | 2 | 120
|  | 3 | 120
|  | 4 | 120
|  | 5 | 120
|  | 6 | 120
|  | 7 | 120
|  | 8 | 120
|  | 9 | 120
|  | 10 | 120
14 | ICCL | 1 | 54
|  | 2 | 54
15 | OTHERS
TOTAL MONTHLY OUTAGES ( MWH) --> |  |  |  | APRIL: 341859.25; MAY: 314874.1; JUNE: 306019.71; JULY: 273346.815; AUGUST: 0; SEPT.: 0
Licencee __________________________
SCHEDULE / FORCED MAINTENANCE OF GENERATION UNITS |  |  |  | JAN.: OERC FORM TRT-2
PERIOD :- | 1. ACTUALS FOR PREVIOUS YEAR
2. ACTUALS FOR 1ST SIX MONTHS OF THE CURRENT YEAR.
| 3. EXPECTED FOR LAST SIX MONTHS OF THE CURRENT YEAR. |  |  | JULY: 2012-13
4. EXPECTED FOR ENSUING YEAR.
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
STATE SECTOR STATION
OHPC
1 | MACHHKUND | 1
2
3
4
5
2 | HIRAKUD & | 1 | 37.5 | [12 empty] | 06.11.2012 | 28.11.2012 | 23 | Annual Maintenance.
| CHIPLIMA | 2 | 37.5
|  | 3 | 37.5
|  | 4 | 49.5
|  | 5 | 49.5 | [12 empty] | 01.02.2013 | 28.02.2012 | 28 | Annual Maintenance.
|  | 6 | 32 | [12 empty] | 04.01.2013 | 26.01.2013 | 23 | Annual Maintenance.
|  | 7 | 32 | [12 empty] | 03.12.2012 | 27.12.2012 | 25 | Annual Maintenance.
| CHIPLIMA | 1 | 24
|  | 2 | 24
|  | 3 | 24 | [12 empty] | 01.12.2012 | 25.12.2012 | 25 | Annual Maintenance & replacement of 11 kV PILC cable..
3 | BALIMELA | 1 | 60 | [12 empty] | 01.01.2013 | 31.01.2013 | 31 | Annual Maintenance.
|  | 2 | 60 | [12 empty] | 01.12.2012 | 31.12.2012 | 31 | Annual Maintenance.
|  | 3 | 60 | [12 empty] | 01.02.2013 | 28.02.2013 | 28 | Annual Maintenance.
|  | 4 | 60 | [12 empty] | 01.02.2013 | 28.02.2013 | 28 | Annual Maintenance.
|  | 5 | 60 | [12 empty] | 01.03.2013 | 31.03.2013 | 31 | Annual Maintenance.
|  | 6 | 60 | [12 empty] | 01.11.2012 | 30.11.2012 | 30 | Annual Maintenance.
|  | 7 | 75
|  | 8 | 75
4 | U. KOLAB | 1 | 80
|  | 2 | 80
|  | 3 | 80 | [12 empty] | 02.01.2013 | 31.03.2013 | 89 | Capital maintenance work.
|  | 4 | 80 | [12 empty] | 01.11.2012 | 15.11.2012 | 15 | Annual maintenance .
5 | RENGALI | 1 | 50
|  | 2 | 50 | [12 empty] | 01.12.2012 | 31.03.2013 | 121 | Renovation and maintenance work.
|  | 3 | 50 | [12 empty] | 27.10.2012 | 22.11.2012 | 27 | Annual Maintenance .
|  | 4 | 50
|  | 5 | 50
6 | INDRAVATI | 1 | 150 | [12 empty] | 15.11.2012 | 10.12.2012 | 25 | Annual Maintenance.
|  | 2 | 150
|  | 3 | 150
|  | 4 | 150
TOTAL MONTHLY OUTAGES ( MW) -->
7 | IBTPS | 1 | 210 | [15 empty] | Completed
|  | 2 | 210 | [15 empty] | Completed
8 | TTPS | 1 | 60 | [15 empty] | Completed
|  | 2 | 60 | [15 empty] | Completed
|  | 3 | 60 | [15 empty] | Completed
|  | 4 | 60 | [15 empty] | Completed
|  | 5 | 110 | [15 empty] | Completed
|  | 6 | 110
EREB
9 | FSTPS | 1 | 200
|  | 2 | 200
|  | 3 | 200
|  | 4 | 500
|  | 5 | 500
10 | KTPS | 1 | 210
|  | 2 | 210
|  | 3 | 210
|  | 4 | 210
11 | TSTPS - I | 1 | 500
|  | 2 | 500
| TSTPS - I | 3 | 500
|  | 4 | 500
|  | 5 | 500
|  | 6 | 500
12 | CHUKHA | 1 | 84
|  | 2 | 84
|  | 3 | 84
|  | 4 | 84
TOTAL OUTAGES ( MWH ) -->
13 | NALCO | 1 | 120
|  | 2 | 120
|  | 3 | 120
|  | 4 | 120
|  | 5 | 120
|  | 6 | 120
|  | 7 | 120
|  | 8 | 120
|  | 9 | 120
|  | 10 | 120
14 | ICCL | 1 | 54
|  | 2 | 54
15 | OTHERS
TOTAL MONTHLY OUTAGES ( MWH) --> |  |  |  | APRIL: 0; MAY: 0; JUNE: 0; JULY: 0; AUGUST: 0; SEPT.: 0
Licencee __________________________
SCHEDULE / FORCED MAINTENANCE OF GENERATION UNITS |  |  |  | JAN.: OERC FORM TRT-2
PERIOD :- | 1. ACTUALS FOR PREVIOUS YEAR
2. ACTUALS FOR 1ST SIX MONTHS OF THE CURRENT YEAR.
3. EXPECTED FOR LAST SIX MONTHS OF THE CURRENT YEAR.
| 4. EXPECTED FOR ENSUING YEAR. |  |  | JULY: 2013-14
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
STATE SECTOR STATION
OHPC
1 | MACHHKUND | 1
2
3
4
5
2 | HIRAKUD & | 1 | 37.5 | [12 empty] | 02.01.2014 | 24.01.2014 | 23 | Annual maintenance.
| CHIPLIMA | 2 | 37.5 | [12 empty] | 04.11.2013 | 30.11.2013 | 27 | Annual maintenance.
|  | 3 | 37.5 | [12 empty] | 03.02.2014 | 28.02.2014 | 26 | Annual maintenance.
|  | 4 | 49.5 | [12 empty] | 08.04.2013 | 30.04.2013 | 23 | Annual maintenance.
|  | 5 | 49.5
|  | 6 | 32 | [12 empty] | 02.12.2013 | 24.12.2013 | 22 | Annual maintenance.
|  | 7 | 32
| CHIPLIMA | 1 | 24 | [12 empty] | (a)01.11.2013 (b)22.04.2013 | (a)22.04.2013 (b)30.11.2013 | 21 30 | (a)Annual maintenance & replacememt of 11 kV PILC cable (b)Annual maintenance & repair of power channel
|  | 2 | 24 | [12 empty] | (a)02.04.2013 (a)01.11.2013 | (a)22.04.2013 (b)30.11.2013 | 21 30 | (a)Annual maintenance & replacememt of 11 kV PILC cable (b)Annual maintenance & repair of power channel
|  | 3 | 24 | [12 empty] | 01.11.2013 | 11.11.2013 | 30 | (b)Annual maintenance & repair of power channel
3 | BALIMELA | 1 | 50 | [12 empty] | 01.01.2014 | 31.01.2014 | 30 | Annual maintenance.
|  | 2 | 50 | [12 empty] | 01.12.2013 | 31.12.2013 | 30 | Annual maintenance.
|  | 3 | 50 | [12 empty] | 01.02.2014 | 28.02.2014 | 31 | Annual maintenance.
|  | 4 | 50 | [12 empty] | 01.10.2013 | 31.10.2013 | 31 | Annual maintenance.
|  | 5 | 50 | [12 empty] | 01.03.2014 | 31.03.2014 | 31 | Annual maintenance.
|  | 6 | 50 | [12 empty] | 01.11.2013 | 30.01.2012 | 30 | Annual maintenance.
|  | 7 | 75 | [12 empty] | 01.09.2013 | 30.09.2013 | 30 | Annual maintenance.
|  | 8 | 75 | [12 empty] | 01.04.2013 | 30.04.2013 | 31 | Annual maintenance.
4 | U. KOLAB | 1 | 80 | [12 empty] | 02.05.2013 | 24.05.2013 | 23 | Annual maintenance.
|  | 2 | 80 | [12 empty] | 01.12.2013 | 15.12.2013 | 15 | Annual maintenance.
|  | 3 | 80 | [12 empty] | 01.04.2013 | 30.04.2013 | 14 | Capital maintenance work.
|  | 4 | 80 | [12 empty] | 16.11.2013 | 30.11.2013 | 15 | Annual maintenance.
5 | RENGALI | 1 | 50 | [12 empty] | 01.03.2014 | 31.03.2014 | 31 | Annual maintenance.
|  | 2 | 50
|  | 3 | 50 | [12 empty] | 16.11.2013 | 15.12.2013 | 30 | Annual maintenance.
|  | 4 | 50 | [12 empty] | 17.12.2013 | 15.01.2014 | 30 | Annual maintenance.
|  | 5 | 50 | [12 empty] | 01.02.2014 | 28.02.2014 | 30 | Annual maintenance.
6 | INDRAVATI | 1 | 150 | [12 empty] | 01.12.2013 | 24.12.2013 | 24 | Annual maintenance.
|  | 2 | 150 | [12 empty] | 02.05.2013 | 26.05.2013 | 25 | Annual maintenance.
|  | 3 | 150 | [12 empty] | 01.04.2013 | 25.04.2013 | 25 | Annual maintenance.
|  | 4 | 150 | [12 empty] | 01.11.2013 | 25.11.2013 | 25 | Annual maintenance.
TOTAL MONTHLY OUTAGES ( MW) -->
SL. NO. | GENERATING STATION | UNIT NO. | INSTALLED CAPACITY | APRIL | MAY | JUNE | JULY | AUGUST | SEPT. | OCT. | NOV. | DEC. | JAN. | FEB. | MARCH | OUTAGE PLAN
|  |  | (MW) | [12 empty] | FROM | TO | NO OF DAYS | REMARKS
7 | IBTPS | 1 | 210 | [12 empty] | 01.11.2013 | 30.12.2013 | 60 | ESP upgradation.
|  | 2 | 210 | [12 empty] | 01.07.2013 | 20.07.2013 | 20 | Minor maintenance work.
8 | TTPS | 1 | 60 | [12 empty] | 19.10.2013 | 02.11.2013 | 15 | Boiler Overhaulling.
|  | 2 | 60 | [12 empty] | 17.08.2013 | 15.09.2013 | 30 | Boiler & Turbine
|  | 3 | 60 | [12 empty] | 11.07.2013 | 25.07.2013 | 15 | Boiler Overhaulling.
|  | 4 | 60 | [12 empty] | 22.09.2013 | 06.10.2013 | 15 | Boiler Overhaulling.
|  | 5 | 110 | [12 empty] | 07.04.2013 | 26.04.2013 | 20 | Boiler Overhaulling.
|  | 6 | 110 | [12 empty] | 27.07.2013 | 15.08.2013 | 20 | Boiler Overhaulling.
EREB
9 | FSTPS | 1 | 200
|  | 2 | 200
|  | 3 | 200
|  | 4 | 500
|  | 5 | 500
10 | KTPS | 1 | 210
|  | 2 | 210
|  | 3 | 210
|  | 4 | 210
11 | TSTPS - I | 1 | 500
|  | 2 | 500
| TSTPS - I | 3 | 500
|  | 4 | 500
|  | 5 | 500
|  | 6 | 500
12 | CHUKHA | 1 | 84
|  | 2 | 84
|  | 3 | 84
|  | 4 | 84
TOTAL OUTAGES ( MWH ) -->
13 | NALCO | 1 | 120
|  | 2 | 120
|  | 3 | 120
|  | 4 | 120
|  | 5 | 120
|  | 6 | 120
|  | 7 | 120
|  | 8 | 120
|  | 9 | 120
|  | 10 | 120
14 | ICCL | 1 | 54
|  | 2 | 54
15 | OTHERS
TOTAL MONTHLY OUTAGES ( MWH) --> |  |  |  | APRIL: 0; MAY: 0; JUNE: 0; JULY: 0; AUGUST: 0; SEPT.: 0