List of Objectors against OPTCL’s ARR and Transmission Tariff Application for FY 2013-14

# Case No :-102/2012

|  | Shri Ramesh Ch. Satpathy, Secretary, National Institute of Indian Labour, Plot No.302(B), Beherasahi, Nayapalli, Bhubaneswar-751012 |
| --- | --- |
|  | Shri Pradeep Kumar Nath, AGM (E), O/O ED (Marketing), NALCO, At-NALCO Bhawan, P/1, Nayapalli, Bhubaneswar, Dist-Khurda. |
|  | Sri G.N. Agrawal, Convenor-cum-Gen. Secy, Sambalpur District Consumers Federation, Balaji Mandir Bhawan, Khetrajpur, Sambalpur-768003 |
|  | M/s Power Tech Consultants, 1-A /6, Swati Villa, Surya Vihar, Link Road, Cuttack-753012. Ph. No. 9437155337 |
|  | Er. A.K.Sahani, Plot No. B/L-108, VSS Nagar, Bhubaneswar. |
|  | Shri R.P. Mahapatra, Retd. Chief Engineer & Member (Gen., OSEB, Plot No.775(Pt.), Lane-3, Jayadev Vihar, Bhubaneswar-751013 |
|  | Sri M.V. Rao, Resident Manager, M/s Ferro Alloys Corporation Ltd., GD.2/10, Chandrasekharpur, Bhubaneswar-751023, Tel No. 0674-2302881/2302882. |
|  | M/s Confideration of Indian Industry Odisha, Plot No. 8, 1st Floor, Forest Park, Bhubaneswar-9 |
|  | Shri A K Bohra, Chief Executive Officer (Comm), NESCO, WESCO & SOUTHCO, Regd. Office- Plot No. N-1/22, IRC Village, Nayapalli, Bhubaneswar-15. |

Objections against ARR and Transmission Tariff Application of OPTCL for FY 2013-14

- Shri Ramesh Ch. Satpathy, Bhubaneswar:

- Hon OERC may direct OPTCL to give an undertaking through Affidavit that it will supply the quality power at proper voltage to all the consumers of the State, which has not been supplied during the last year i.e. 2011-12.

- The Objector wants that OPTCL has to furnish all relevant documents regarding cost proposed by OPTCL, OERC approved expenses and actual annual R&M and A&G expenses from FY 2000-01 to FY 2011-12.

- The sub-stations and lines of OPTCL are not properly maintained by the authority in-charge due to want of required number of skilled manpower.

- OPTCL has to appoint skilled labourers in the sub-station maintenance work. A clear-cut guideline should be issued to the official in charge of sub-station and lines maintenance work.

- The Objector has stated that the Govt. of India and the State Govt. have announced to give electricity to all through Rajib Gandhi Gramin Bidyut Yojana & Biju Jyoti Yojana programme and wants OPTCL to produce a status report on what steps have been taken for providing quality power supply to the consumer.

- Objector has expressed their concern to produce a status report regarding the directions given by Hon OERC in the ARR orders for FY 2009-10, 2010-11 and 2011-12 particularly  action plan for evacuation of power from 21 nos. of Mega Thermal Power Plants coming up in Odisha for which 13 nos. of IPPs and 8 nos. MPPs have signed MoUs with Govt. of Odisha for installation of about 28000 MW.

- Another issue raised by the objector on the matter of ensuring adequate transmission corridors for both drawal of power for State use and evacuation of power for the consumers outside the State from the proposed IPPs, need to be addressed by OPTCL in  its submission of prospective action plan.

- OPTCL should produce the status report of over loaded lines and sub-station of the state and the licensee should file an affidavit that all lines and sub-stations are well equipped to give quality power supply.

- Sambalpur District Consumers Federation

- Erection of 132/33 kV substations is the responsibility of OPTCL but are to be properly approached by DISCOMs and GRIDCO which is not being done with sincerity.

- There are great resentments expressed on voltage problem in the State, which needs to be curbed.

- Biju Jyoti funds can only be utilized if suitable transformer is in existence in nearby area so also Rajib Jyoti. For this purpose OPTCL is to provide proper power without which it can not work.

- M/s Power Tech Consultants

- The R&M cost projected for various projects of lines and substations is too high. The actual R&M expenditure for each financial year is always less than the approved figure, indicating that OPTCL has not taken any action to spend the required amount on R&M as approved by the Commission.

- OPTCL should explain the significant increase in interest component. Is there any abnormal delay in the completion of any ongoing projects, which has added to the interest? The delaying agencies like PGCIL should bear the interest burden.

- The OPTCL application for award of contract to PGCIL should not be approved and Hon Commission is requested not to consider such approval as this will result in additional financial burden on the consumers.

- OPTCL has indicated the charges for open access, both for long term and short term, and charges towards the meters but revenue receipts against these items has not been estimated.

- Hon Commission should direct the OPTCL to calculate the interstate open access charges and transmission losses.

- OPTCL should plan for submitting the ARR and transmission tariff in MYT principle.

- The transmission charge proposed by OPTCL is 400% higher than other STU in neighbouring States. The transmission charges and losses should be at par with neighbouring states.

- OPTCL needs to reduce the transmission loss significantly.

- OPTCL have not yet identified the areas where loss is maximum, so as to formulate action plans for loss reduction. OPTCL should inform the methodology adopted to estimate the transmission loss for every year.

- OPTCL should have under taken energy audit of lines and sub-stations to know the quantum of transmission loss in the system and the said works may be assigned to energy auditing firms/certified energy auditor.

- The Standard of performance of OPTCL transmission system should be monitored by third party auditor.

- Pradeep Kumar Nath, AGM(E), NALCO

- The proposed transmission tariff of 54.68 paise/unit for the FY 2012-13 against approved rate of 25.0 P/U is totally illegal and arbitrary. This is not acceptable and needs to be further examined.

- The reduction of transmission loss from existing 3.9% to 3.8% is not sufficient and proposed rate is also quite high as there is no significant reduction. This needs to be reduced further.

- There is no proper justification as regards the imposition of transmission charges for the emergency / back up power delivered at CPP. All cost in purchasing and transmitting such energy to the consumer’s premises should be borne by the supplier (GRIDCO) and no additional transmission cost be imposed to the objector.

- Shri R.P. Mohapatra, Bhubaneswar

- The equipments of capital nature like circuit breakers, station batteries, CTs, PTs/ CVTs, Las, energy meters, station transformers, CR panels, DG sets, restoration of 132 KV feeders are capital works in nature and should not be included in the R&M expenditure.

- The Objector suggests that OPTCL should prepare a Comprehensive Renovation Scheme (CRS) for sub-stations of more than 20 years old and arrange funding from Financial Institutions (FIs).

- OPTCL should confirm that equipments for online data transmission to SLDC from the EHT feeders of all EHT substations have been provided. If not the present status.

- OPTCL has not only failed to meet the target for commissioning of new transmission system but has caused abnormal delay. The Cost over run & time over run due to delay in completion of projects should be not allowed in the ARR. The original capital cost along with IDC for the schedule period of completion may be trated as capital cost of the works.

- The Objector is of the view that there is no justification to (i) borne the cost of EHT bay extension and line  by EHT consumers, (ii) supervision charges @ 16% by OPTCL and (iii) infrastructure loan @ Rs 10 lakh per MW. This is a clear violation of the orders of the Hon Commission.

- The Objector is of the view that the separation of OPTCL from GRIDCO is only cosmetic. Hence the Commission may direct to OPTCL to function as an independent Engineering Organization with independent Board of Directors.

- OPTCL is depending on PGCIL to execute not only the 400 KV system but also 132 KV lines and substations, and even telecom works. The charges payable to PGCIL should not form part of the ARR.

- OPTCL has recently been off loading the work of preparation of specifications, tender documents, and submission of recommendations for Vendor selection, on outside agencies. Similarly a lot of other works are also being entrusted to the outside agencies. Such action is seriously reducing the core competency of the licensee and should be avoided.

- The Objector has pointed out that many industries in the State availing power at 132 kV since long, will terminate their speech and data communication links at the 220 kV Sub-station. OPTCL should indicate the date of commissioning of SCADA interface equipments in each of the 220 kV Sub-stations (Total time allowed was 3 years for all sub-stations) so that the industries can plan their work accordingly. No useful purpose will be served by installation of equipment by the industries / generators unless the OPTCL SCADA interface is in place.

- CEO (CSO), NESCO, WESCO & SOUTHCO

- DISCOMs submitted that there will be revenue surplus of Rs.126.07 crore during FY 12-13 instead of the Revenue Gap of Rs.721.85 crore proposed by OPTCL base on existing transmission tariff of 25.00 paise per unit.

- The employee cost, including terminal benefits, of OPTCL may be allowed at Rs.320.11 crore subject to due scrutiny by the Hon commission. Regarding terminal benefits, Hon Commission may determine the amount of deficit funding, if any, and may be amortized over several years, starting from FY 2012-13 @ Rs 105.16 crore per year.

- The actual R&M expenses for FY 2010-11 were Rs.28.31 crore against the approved figure of Rs 60 crore. Hon Commission ought to consider a reasonable increment of 6% per annum over the actual cost, and that the same can be trued up as and when actual expenditures are submitted after necessary prudence checks.

- OPTCL may be allowed an amount of Rs.19.69 crore towards the A&G expenses for FY 2012-13 i.e. escalation of 9.4% allowed over the approved figure of current year.

- The finance charge projected by OPTCL is Rs.11.73 crore which is unreasonably high and without any details. Hence, the same may not be allowed.

- The interest on new project loan of Rs.795.96 crore may not be allowed since the details of which are not available for scrutiny. Hence, the principal CB as on 31.03.2012 is considered and interest on that (Rs 34.40 crore) has been considered.

- As the sector has not yet turned around, the Commission may adopt the same principle for calculation of depreciation as followed for previous year. DISCOMs submitted that the depreciation may be considered at Rs.93.82 crore.

- DISCOMs proposed to exclude the special appropriation in computation of the OPTCL ARR for 2012-13 as per Hon ATE order. Regarding shortfall of repayment of loan over and above the allowed depreciation, OPTCL may negotiate with the Banks/FIs for a longer tenure or moratorium in repayment of Principal.

- NESCO submitted that the Capital Expenditure Schemes ought to be filed separately and should be detailed in nature and should include the Cost Benefit Analysis so that the same can be scrutinized.

- The State Govt. had agreed to finance transmission projects in remote areas to the extent of Rs.100 Crores by way of equity contribution. Since OPTCL has not given the proof or submitted the audited balance sheet for the receipt of balance amount of Rs.71.94 crore, the return on the same should be allowed after prudent checks. Therefore DISCOMs submit that the return @ 15.5% on the equity value of Rs.28.50 crore may be allowed i.e. Rs.4.35 crore.

- DISCOMs submit that transmission charge of OPTCL is recovered as first charge from monthly BSP bill. So, interest on working capital may not be allowed.

- OPTCL is having contingency reserve of Rs 95.75 crore, therefore contingency reserve further claimed by OPTCL should not be allowed.

- Provision for bad and doubtful debt has no merit and the claim of OPTCL for Rs.0.10 crore should not be allowed as 100% transmission charge as the first charge recovered from monthly BSP bill through escrow mechanism.

- The claim of OPTCL for Rs.205.81 crore as past through in the ARR has no merit and should not be allowed as there is surplus in OPTCL’s audited account.

- The Commission should consider an amount of Rs.17.50 crore towards income from Inter State Wheeling for FY 2012-13 in line with the order of ATE.

- In absence of any audit figure, DISCOMs project the misc. receipt of 43.77 crore as approved by the Commission in FY 11-12.

- DISCOMs submit that the proposed transmission loss of 3.8% may be considered after checking the findings of the latest load flow study.

- Month wise actual data for the total energy wheeled and financial figures on different heads pertaining to FY 2011-12 are to be provided by OPTCL.

- DISCOMs of the view that the truing of exercise may be done by the Commission keeping in view of the above data  vis-à-vis the approved figure for FY 2011-12 and the resultant benefit if any may be passed on to the consumers.

- M/s. Ferro Alloys Corporation Ltd., Bhubaneswar

- OPTCL proposed an increment in transmission tariff without any improvement in the quality of transmission and reduction in the transmission loss.

- OPTCL was repeating their proposal based on their application for the FY 2011-12 to misguide the Commission as well as the Objectors. Therefore, the objector requests the Commission to scrutinize the Transmission cost proposed by OPTCL critically and reduce the transmission tariff compared to the last year.

- Hon OERC has allowed only the 1.5 p/u increase in the last year transmission tariff. So, the Commission should scrutinize the Transmission cost proposed by OPTCL critically and reduce the transmission tariff to 20 Paisa/Unit.

- The Commission not to allow transmission loss more than 3% at least from this year onwards.