Record Note of Annual  Performance Review of CESU held on 01.06.2019 at 03.00PM in the Training Hall of the OERC in the presence of the Commission

Date of Review 	: 01st June, 2019

Period of Review 	: April 2018-March 2019

Representatives of CESU: list enclosed as Annexure-I.

The performance of CESU for FY 2018-19 was reviewed by the Commission on 01st June, 2019 at 03.00 PM in the presence of senior officials of CESU. The Commission reviewed the billing and collection position of the CESU for the period from April 2018 to March 2019.

The details of performance of CESU as indicated in their presentation with regard to the key performance indicators are as follows:-

| ANNUAL PERFORMANCE OF CESU-As on March-2019 |  |  |  |  |
| --- | --- | --- | --- | --- |
| BULK SUPPLY | 2016-17 | 2017-18 | 2018-2019 | OERC Approval for 2018-19 |
| AVG. DEMAND (MVA) | 1511.19 | 1521.11 | 1454.98 | 1580.00 |
| Energy input (MU) | 8139.36 | 8466.81 | 8784.00 | 9070.00 |
| BST & Tr.Charge bill (Cr.) | 2401.11 | 2531.58 | 2626.42 | 1852.52 |
| BST bill P/U | 295.00 | 299.00 | 299.00 | 204.25 |
| SALE TO CONSUMERS (MU) |  |  |  |  |
| EHT | 975.27 | 1003.12 | 1245.69 | 932.7 |
| HT | 1105.26 | 1198.58 | 1254.65 | 1442.56 |
| LT | 3408.06 | 3579.76 | 3810.52 | 4608.64 |
| TOTAL | 5,488.59 | 5,781.46 | 6,310.86 | 6983.90 |
| % of LT to Consumption | 41.87% | 42.28% | 43.38% | 50.81% |
| DISTRIBUTION LOSS (%) |  |  |  |  |
| HT (Assume) | 8.00% | 8.00% | 8.00% | 8.00% |
| LT | 37.87% | 36.84% | 32.92% | 23.75% |
| HT & LT | 37.00% | 35.98% | 32.81% | 25.64% |
| OVERALL | 32.57% | 31.72% | 28.16% | 23.00% |
| BILLING EFFECIENCY (%) |  |  |  |  |
| HT | 92.0% | 92.0% | 92.00% | 92.0% |
| LT | 62.1% | 63.2% | 67.08% | 76.3% |
| HT & LT | 63.0% | 64.0% | 67.19% | 74.4% |
| OVERALL | 67.4% | 68.28% | 71.84% | 77.0% |
| COLLECTION EFFICIENCY (%) |  |  |  |  |
| EHT | 102.68% | 100.90% | 100.37% | 99% |
| HT | 99.60% | 99.38% | 98.64% | 99% |
| LT | 92.89% | 93.69% | 94.37% | 99% |
| HT & LT | 94.91% | 95.42% | 95.67% | 99% |
| OVERALL | 96.56% | 96.56% | 96.75% | 99% |
| AT & C LOSS (%) |  |  |  |  |
| LT | 42.29% | 40.83% | 36.70% | 24.51% |
| HT & LT | 40.21% | 38.91% | 35.72% | 26.38% |
| OVERALL | 34.89% | 34.07% | 30.49% | 23.77% |

Commission’s Observations:

Commission took note of  CESU for their effort in restoration of power supply after the Cyclone FANI on 03.05.2019 which has affected most part of the CESU distribution system and Puri division is the worst affected area.

The Commission compared the figures relating to business operation of CESU for FY 2018-19 with the corresponding period of FY 2017-18. The key observations are as follows:-

|  | As on 31.03.2018 | As on 31.03.2019 | Increase / Decrease | (↑↓) |
| --- | --- | --- | --- | --- |
| No of consumer | 22,34,038 | 25,32,404 | 2,98,366 | ↑ |
| No.of Working Meter | 20,32,384 | 21,67,166 | 1,34,782 | ↑ |
| EHT Sale (MU) | 1003.12 | 1245.69 | 242.57 | ↑ |
| HT Sale (MU) | 1198.58 | 1254.65 | 56.07 | ↑ |
| LT Sale (MU) | 3579.76 | 3810.52 | 230.76 | ↑ |
| Distribution Loss | 31.72 % | 28.16% | -3.12 | ↓ |
| Billing Efficiency | 68.28 % | 71.84 % | 3.56 | ↑ |
| Collection Efficiency | 96.56 % | 96.75 % | 0.19 | ↑ |
| AT & C Loss | 34.07 % | 30.49 % | -3.58 | ↓ |

- There is 242.57 MU increase in EHT sale whereas only 56.07 MU increase in HT sale. Though there is 2,98,366 consumers addition in Saubhagya, there is only 242.57 MU increase in LT sale.

- On Energy Audit, CESU submitted that all 176 nos of 33 kV feeders are metered and out of 176 Nos. of 33 KV feeders 114 Nos. have been audited. Out of 856 nos of 11 kV feeders, 750 nos.of 11 kV feeders are metered and out of which 652 nos are audited. Out of 67009 nos of DTRs only 8743 nos. are metered and 175 nos. are audited.

- CESU Utility has completed consumer tagging of only 60% of total consumer.

- Though 12 months BSP payment was made in FY 2018-19, CESU is lagging behind by 2 months in BSP payment.

| DIVISION WISE COMPARISION OF LT PERFORMANCE OF CESU |  |  |  |
| --- | --- | --- | --- |
| Name of the Division | FY.2017-18 | FY.2018-19 | Increase / Decrease |
| BCDD-I | 2.85% | -4.06% | 6.91% |
| BCDD-II | 2.68% | -1.39% | 4.08% |
| BED | 14.99% | 9.25% | 5.74% |
| NEDN | 69.02% | 66.51% | 2.51% |
| PED | 41.45% | 39.90% | 1.55% |
| KED | 38.20% | 33.66% | 4.53% |
| BEDB | 35.43% | 33.15% | 2.28% |
| NYED | 26.20% | 19.94% | 6.27% |
| CED | 66.20% | 64.05% | 2.15% |
| CDD-I | 9.13% | 4.16% | 4.97% |
| CDD-II | 21.49% | 12.44% | 9.05% |
| SED | 66.66% | 69.68% | -3.02% |
| AED | 72.26% | 70.84% | 1.42% |
| KED-I | 38.18% | 35.80% | 2.39% |
| KED-II | 45.48% | 42.61% | 2.87% |
| PDP | 53.54% | 50.15% | 3.39% |
| JED | 48.58% | 39.08% | 9.50% |
| DED | 59.30% | 54.93% | 4.37% |
| TED | 65.08% | 59.24% | 5.83% |
| AnED | 56.17% | 51.01% | 5.16% |
| CESU AS WHOLE | 40.83% | 36.70% | 4.13% |

- It is observed from the LT AT& C loss table above that Jagatsinghpur Division has performed best among all divisions with 9.5% LT AT & C loss reduction and Salipur has performed worst with 3.02% increase in LT AT & C loss.

- Commission enquired about high AT & C loss at Puri division though it is an urban division. Commission asked CESU officials for strict monitoring of Puri division. CESU officers stated that Brahmagiri, Delanga, Kanasa and Sunamuhin are the places which are major contributors to high AT&C loss in the division.

| STATUS OF ARREAR FOR THE FY-2018-19 (In Rs Cr.) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Particular | Arrear as on 31.03.2018 (Rs. Cr.) | Billing for the 2018-19 (Apr-Mar) | Colelction against arrear for the fy -2018-19 (Apr-Mar) | Arrear as on 31.03.2019 |
| 1 | 2 | 3 | 4 | 5=(2+3-4) |
| EHT | 109.37 | 773.57 | 776.44 | 106.50 |
| HT | 33.14 | 786.36 | 775.66 | 43.84 |
| LT | 1494.17 | 1807.21 | 1705.49 | 1595.89 |
| Total of above | 1686.24 | 3367.14 | 3257.59 | 1746.22 |

It is observed that there is 60Cr. increase in arrear in FY 2018-19.

Metering Status:-

| Report on Metering |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Particulars | CESU |  |
|  |  | As on 31.03.2018 | As on 31.03.2019 |
|  | SINGLE PHASE |  |  |
| 1 | Total Number of Consumer | 21,50,358 | 24,66,305 |
| 2 | Number of consumers without meters | 29,481 | 1,59,109 |
| 3 | Number of defective meters | 1,59,995 | 1,93,254 |
| 4 | Number of Meters in Working condition | 19,60,882 | 21,13,942 |
| 5 | Number of Static Meters | 12,33,674 | 21,13,942 |
| 6 | Number of electro-mechanical Meters | 7,27,208 |  |
|  | THREE PHASE |  |  |
| 1 | Total Number of Consumer | 84,494 | 66,099 |
| 2 | Number of consumers without meters | 7,907 | 8,450 |
| 3 | Number of defective meters | 3,980 | 4,425 |
| 4 | Number of Meters in Working condition | 72,607 | 53,224 |
| 5 | Number of Static Meters | 70,210 | 53,224 |
| 6 | Number of electro- mechanical Meters | 2397 |  |
|  | Total number of consumers | 22,34,852 | 25,32,404 |

Out of 2,15,000 meters of CESU to be installed by GRIDCO, only 8,000 meters have been installed and rest will be installed by October 2019. There are  8,20,000 meters to be installed by CESU . Commission observed that CESU may request Government in Energy Department to fund the installation of the new meters. If the funding is available as indicated by the Secretary, Energy CESU will have to make all arrangements for installation 1,50,000 meters each month to complete the work within a period of six months..

- 24x7 Grievance Redressal Call Centre is running in full phase in CESU.

Directives of the Commission:

- Commission asked C.E.O., CESU to increase the efficiency at Puri, Nimapada, Athagarh, SalipurDhenkanal and Angul which are making high losses.

- Commission directed CESU to submit monthly report on meter installation to OERC.

- Commission directed CESU to improve their Billing mechanism.

- OERC officers will monitor new connection during their  DISCOM visit.

- Commission directed CESU to submit Business plan by 31st July.

****

nnexure-1

Representative of CESU

- Md. Sadique Alam, CEO, CESU

- Sri S. K. Mishra, Sr. G. M., HR

- Sri Manoj Kumar Singh, Sr.G.M.(AT & C)

- Sri. T. K. Mohanty, Sr. G.M. (Elect.)

- Sri M Mishra, Sr. G.M. (Elect.)

- Sri P. Swain, Sr.G.M.(IT)

- Sri P. K. Padhy, G.M. (Elect.)

- Sri G. K. Chakraborty, G.M. (Elect.)

- Sri S. K. Swain, AM (MIS)