Record Note of Annual  Performance Review of SOUTHCO Utility held on 29.05.2019 at 11.00AM in the Training Hall of the OERC in the presence of the Commission

Date of Review 	: 29th May, 2019

Period of Review 	: April 2018-March 2019

Representatives of SOUTHCO Utility: list enclosed as Annexure-I.

The performance of  SOUTHCO Utility for FY 2018-19 was reviewed by the Commission on 29th May, 2019 at 11.00 AM in the presence of senior officials of SOUTHCO Utility. The Commission reviewed the billing and collection position of the SOUTHCO Utility for the period from April 2018 to March 2019.

The details of performance of SOUTHCO Utility as indicated in their presentation with regard to the key performance indicators are as follows:-

| ANNUAL PERFORMANCE OF SOUTHCO(2018-19) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BULK SUPPLY | 2015-16 | 2016-17 | 2017-18 | 2018-19 | OERC Approval for 2018-19 |
| AVG. DEMAND (MVA) | 556.18 | 570.00 | 588.00 | 634.18 | 610.00 |
| Energy input (MU) | 3282.78 | 3267.00 | 3468.00 | 3638.95 | 3660.00 |
| BST & Tr.Charge bill (Cr.) | 739.18 | 726.00 | 777.00 | 808.28 | 770.88 |
| SALE TO CONSUMERS (MU) |  |  |  |  |  |
| EHT | 349.49 | 335.84 | 399.00 | 456.02 | 364.27 |
| HT | 174.73 | 174.70 | 209.00 | 285.30 | 238.65 |
| LT | 1553.64 | 1630.60 | 1726.00 | 1814.56 | 2123.78 |
| TOTAL | 2,077.87 | 2,141.14 | 2,334.00 | 2,555.88 | 2,726.70 |
| % of LT Sales to Total Sales | 74.77% | 76.16% | 73.95% | 71.00% | 77.89% |
| LOSS (%) |  |  |  |  |  |
| LT | 38.44% | 35.34% | 33.98% | 31.34% | 23.97% |
| HT & LT | 41.08% | 38.41% | 36.95% | 34.03% | 28.32% |
| OVERALL | 36.70% | 34.46% | 32.70% | 29.76% | 25.50% |
| BILLING EFFECIENCY (%) |  |  |  |  |  |
| HT | 92.0% | 92.0% | 92.0% | 92.0% | 92.0% |
| LT | 61.6% | 64.7% | 66.0% | 68.7% | 76.0% |
| HT & LT | 58.9% | 61.6% | 63.0% | 66.0% | 71.7% |
| OVERALL | 63.3% | 65.5% | 67.3% | 70.2% | 74.5% |
| COLLECTION EFFICIENCY (%) |  |  |  |  |  |
| EHT | 101% | 104% | 100% | 100% | 99% |
| HT | 94% | 90% | 98% | 94% | 99% |
| LT | 84% | 80% | 87% | 81% | 99% |
| HT & LT | 85% | 82% | 89% | 83% | 99% |
| OVERALL | 88.60% | 86.10% | 91.42% | 86.95% | 99.00% |
| AT & C LOSS (%) |  |  |  |  |  |
| LT | 48.46% | 48.26% | 42.34% | 44.70% | 24.73% |
| HT & LT | 49.76% | 49.79% | 43.88% | 45.18% | 29.04% |
| OVERALL AT & C Loss | 43.92% | 43.57% | 38.48% | 38.93% | 26.25% |

Commission’s Observations:

The Commission compared the figures relating to business operation of SOUTHCO Utility for FY 2018-19 with the corresponding period of FY 2017-18. The key observations are as follows:-

|  | As on 31.03.2018 | As on 31.03.2019 | Increase / Decrease | (↑↓) |
| --- | --- | --- | --- | --- |
| No of consumer | 16,65,509 | 20,68,579 | 4,03,070 | ↑ |
| No.of Working Meter | 13,52,933 | 15,47,621 | 1,94,688 | ↑ |
| EHT Sale (MU) | 399.45 | 456.02 | 56.57 | ↑ |
| HT Sale (MU) | 208.90 | 285.30 | 76.40 | ↑ |
| LT Sale (MU) | 1725.76 | 1814.56 | 88.80 | ↑ |
| Distribution Loss | 32.70 % | 29.76 % | 2.94 | ↓ |
| Billing Efficiency | 67.30 % | 70.24 % | 2.94 | ↑ |
| Collection Efficiency | 91.42 % | 86.95 % | 4.47 | ↓ |
| AT & C Loss | 38.48 % | 38.93 % | 0.45 | ↑ |

- The total number of consumers of SOUTHCO Utility is 20,68,579 and all the consumers are under billing fold.

- There is 56.57 MU increase in EHT sale and 76.40 MU increase in HT sale. Though there is 4,03,070 consumers addition in FY 18-19, there is only 88.80MU increase in LT sale. Commission asked SOUTHCO Utility how there is reduction in the LT sale to Total sale ratio though there is addition of large number of LT consumer. In reply to which SOUTHCO Utility stated that this is due to addition of two large industries Tata Ferro alloys and Saraf Titanium Industries in FY 18-19.

- On Energy Audit, SOUTHCO Utility submitted that out of 102 Nos. of 33 kV feeders 71 Nos.  are metered and out of 71 Nos. of 33 KV metered feeders 64 Nos. have been audited. Out of 655 Nos. of 11 kV feeders, 156 Nos. of 11 kV meters are having ok meter and out of which 140 Nos. are audited. Out of 47659 nos of DTRs none of the DTR is metered nor audited.

- SOUTHCO Utility has cleared BSP bill upto October 2018.

- There is very less reduction in T & D loss of  Pilot feeders taken up by SOUTHCO Utility which is 3% for Aska Bus stand feeder, 5% for Gangapur feeder, 4% for Nuagaon College Square and 6% for Nabarangpur Town No-1 feeder.

| DIVISION WISE COMPARATIVE LT PERFORMANCE OF SOUTHCO |  |  |  |
| --- | --- | --- | --- |
| DIVISION | 2017-18 | 2018-19 | Increase/ Decrease |
|  | AT & C LOSS (%) | AT & C LOSS (%) |  |
| BED-I | 4% | 8% | 4% |
| BED-II | 6% | 13% | 7% |
| BED-III | 18% | 16% | 8% |
| CITY | 6% | 12% | 6% |
| GNED | 54% | 48% | -6% |
| PSED | 55% | 59% | 4% |
| HED | 52% | 56% | 4% |
| BAM | 54% | 54% | 0% |
| AED-I | 65% | 67% | 2% |
| AED-II | 60% | 61% | 1% |
| GSED | 36% | 35% | -1% |
| ASKA | 54% | 55% | 1% |
| BNED | 45% | 46% | 1% |
| PED | 53% | 53% | 0% |
| BOED | 61% | 57% | -4% |
| BNJ | 52% | 50% | -2% |
| JED | 39% | 44% | 5% |
| NED | 60% | 70% | 10% |
| MED | 59% | 61% | 2% |
| KED | 60% | 66% | 6% |
| JPR | 54% | 61% | 7% |
| RED | 25% | 27% | 2% |
| GED | 16% | 22% | 6% |
| PKED | 25% | 25% | 0% |
| RGD | 24% | 25% | 1% |
| SOUTHCO | 42.3% | 44.7% | 2.4% |

- It is observed from the LT AT& C loss table above that Gunpur Division has performed best among all divisions and NED, Nabarangpur has performed worst with 10 % increase in LT AT & C loss. Commission expressed his displeasure over the reduction in performance of Berhempur  City circle, where LT  AT & C loss has increased by  6%. In reply to this A.O., SOUTHCO utility stated that due to frequent strike by workers collection has been affected  resulting increase in loss.

It is observed that there is 255Cr. increase in arrear in FY 2018-19. Commission advised SOUTHCO Utility to collect the same and utilise it in R&M.

- Metering Status:-

| Report on Metering |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Particulars | SOUTHCO Utility |  |
|  |  | As on 31.03.2018 | As on 30.03.2019 |
|  | SINGLE PHASE |  |  |
| 1 | Total Number of Consumer | 16,26,840 | 20,26,037 |
| 2 | Number of consumers without meters | 3,235 | 1,57,594 |
| 3 | Number of defective meters | 3,10,847 | 3,62,353 |
| 4 | Number of Meters in Working condition | 13,12,758 | 15,06,090 |
| 5 | Number of Static Meters | 12,72,154 | 14,77,544 |
| 6 | Number of electro-mechanical Meters | 40,604 | 28,546 |
|  | THREE PHASE |  |  |
| 1 | Total Number of Consumer | 37,111 | 42,408 |
| 2 | Number of consumers without meters | 0 | 0 |
| 3 | Number of defective meters | 1077 | 1011 |
| 4 | Number of Meters in Working condition | 36034 | 41397 |
| 5 | Number of Static Meters | 36034 | 41247 |
| 6 | Number of electro-mechanical Meters | 0 | 150 |
|  | Total number of consumers | 16,63,951 | 20,68,445 |

A.O., SOUTHCO Utility stated that OPTCL has awarded tender for installation of  9,31,674 meters at SOUTHCO Utility under IPDS scheme. Out of this, only 50,964 meters have so far been installed and rest will be installed by October 2019.  Monthly progress report om this shall be submitted by OPTCL.

- Only 3.65 lacs consumers are covered under Urja Mitra for intimating  outage information which is only 20% of total consumer and least among four DISCOMs.

- The revenue collection through RCS mode involving agencies is made fully operational in 12 divisions out of 19 divisions of SOUTHCO Utility. About Rs. 8.00 Crores per month has been collected by RCS mode .

- Presently 75 post offices of SOUTHCO area are collecting energy bills.

- Six numbers of Customer Care Centre are operating in Berhempur City and there is target to open another 20 numbers in urban areas. Further, more than 320 numbers of WSHGs under SEFA are collecting the energy bills in the Rural areas.

Directives of the Commission:

- Commission directed A.O., SOUTHCO Utility to remove Billing agencies in the SHG operated areas immediately and assign SHGs in both Billing and collection so that Billing and Collection cost will reduce and involvement of SHGs will increase. RCS for both billing and Collection can be made and with realistic billing actual collection can be linked. Commission asked SOUTHCO Utility to engage more and more SHGs for both metering, billing and collection.

- While involving SHGs in Billing and Collection, it should be in clusters for better monitoring and supervision.

- Commission directed A.O., SOUTHCO Utility to go for field visit and observe what is actually happening there regarding metering and Billing.

- 100% consumers must be covered under proper billing.

- Commission directed SOUTHCO Utility to register mobile phone numbers of all consumers and send massage in Odia within 7 days that no capacity enhancement fee for transformer shall be collected from existing  LT 1- Ø consumers who intend to enhance their load up to 5 KW .

- Commission directed SOUTHCO utility to complete the entire consumer metering by October 2019. Monthly progress report of the same should be sent to Commission. OPTCL  is required to install nearly 2 lakh meters every month to complete the metering work in time. Some officers from OERC shall go and check the same including the type of meters supplied under RGGVY and other such schemes. They will also check if complete metering, billing and collection work has been entrusted to the SHGs in the areas where they have been engaged.

- Commission directed SOUTHCO Utility to submit Business plan by 30th June with audited figure up to FY 17-18..

****

Annexure-1

Representative of SOUTHCO UTILITY

- Sri R.R Panda, A.O.

- Sri P. Arun Kumar, COO

- Sri J.C. Panda, Sr. G.M.

- Sri P.K. Choudhury, G.M.

- Sri Biranchi Narayan Mallick, G.M. (Fin)

- Sri Laxmidhar Upadhya, AGM (Com)

- Sri S.K. Jena, S.E.

- Sri P.K. Sahoo, S.E.

- Sri M.S. Sadique, S.E.

- Sri B.B. Nayak, Manager (Com)

- Sri D.K. Mishra, Manager(F)