Record Note of Annual  Performance Review of WESCO Utility held on 04.06.2019 at 11.00AM in the Training Hall of the OERC in the presence of the Commission

Date of Review 	: 4th June, 2019

Period of Review 	: April 2018-March 2019

Representatives of WESCO Utility: list enclosed as Annexure-I.

The performance of WESCO Utility for April 2018 – March 2019 of FY 2018-19 was reviewed by the Commission on 4th June, 2019 at 11.00 AM in the presence of senior officials of WESCO Utility. The Commission reviewed the billing and collection position of the WESCO Utility for the period from April 2018 to March 2019.

The details of performance of WESCO Utility as indicated in their presentation with regard to the key performance indicators are as follows:-

| ANNUAL PERFORMANCE OF WESCO-As on March-2019 |  |  |  |  |
| --- | --- | --- | --- | --- |
| BULK SUPPLY | 2016-17 | 2017-18 | 2018-19 | OERC Approval for 2018-19 |
| AVG. DEMAND (MVA) | 1600.00 | 1869.00 | 1123.00 | 1350.000 |
| Energy input (MU) | 6781.02 | 7248.22 | 7573.27 | 7120.00 |
| BST & Tr.Charge bill (Cr.) | 2255.40 | 2378.98 | 2421.45 |  |
| SALE TO CONSUMERS (MU) |  |  |  |  |
| EHT | 1071.71 | 1219.19 | 1556.92 | 1000.00 |
| HT | 1443.51 | 1682.44 | 1808.75 | 1550.00 |
| LT | 2121.08 | 2476.46 | 2606.64 | 3174.48 |
| TOTAL | 4,636.30 | 5,378.09 | 5,972.31 | 5,724.48 |
| % of LT to Input | 45.75% | 46.05% | 43.65% | 55.45% |
| DISTRIBUTION LOSS (%) |  |  |  |  |
| HT (Assume) | 8.00% | 8.00% | 8.00% | 8.00% |
| LT | 44.31% | 35.91% | 30.05% | 22.20% |
| HT & LT | 37.57% | 31.02% | 26.61% | 22.80% |
| OVERALL | 31.63% | 25.80% | 21.14% | 19.60% |
| BILLING EFFECIENCY (%) |  |  |  |  |
| HT | 92.0% | 92.0% | 92.0% | 92.00% |
| LT | 55.7% | 64.1% | 70.0% | 77.80% |
| HT & LT | 62.4% | 69.0% | 73.4% | 77.2% |
| OVERALL | 68.4% | 74.2% | 78.9% | 80.40% |
| COLLECTION EFFICIENCY (%) |  |  |  |  |
| EHT | 104.90% | 101.13% | 91.88% | 99.00% |
| HT | 102.02% | 100.34% | 100.39% | 99.00% |
| LT | 75.21% | 70.91% | 66.33% | 99.00% |
| HT & LT | 88.22% | 85.24% | 83.36% | 99.00% |
| OVERALL | 93.24% | 89.99% | 86.30% | 99.00% |
| AT & C LOSS (%) |  |  |  |  |
| LT | 58.12% | 54.56% | 53.60% | 22.98% |
| HT & LT | 44.92% | 41.20% | 38.82% | 23.57% |
| OVERALL | 36.25% | 33.23% | 31.94% | 20.40% |

Commission’s Observations:

The Commission compared the figures relating to business operation of WESCO Utility for FY 2018-19 and for the corresponding period of FY 2017-18. The key observations are as follows:-

|  | 2017-18 | 2018-19 | Increase / Decrease | (↑↓) |
| --- | --- | --- | --- | --- |
| No of consumer | 1433756 | 1753440 | 3,19,684 | ↑ |
| No.of Working Meter (at the end of the year) | 993307 | 1159917 | 1,66,610 | ↑ |
| EHT Sale (MU) | 1219.19 | 1556.92 | 337.73 | ↑ |
| HT Sale (MU) | 1682.44 | 1808.75 | 126.31 | ↑ |
| LT Sale (MU) | 2476.46 | 2606.64 | 150.18 | ↑ |
| Distribution Loss | 25.80% | 21.14% | 4.66 | ↓ |
| Billing Efficiency | 79.55% | 78.86% | 0.69 | ↓ |
| Collection Efficiency | 89.99% | 86.30% | 3.69 | ↓ |
| AT & C Loss | 33.23% | 31.94% | 1.29 | ↓ |

- WESCO Utility has reported that total number of consumers of  WESCO Utility is 17,53,440 and all the consumers are under billing fold. This needs to be verified and confirmed by WESCO utility by 10.07.2019.

- There is 337.73 MU increase in EHT sale and 126.31 MU increase in HT sale. Though there has been addition of  3,19,684 consumers in FY 18-19, there is only 150.18MU increase in LT sale.

- On Energy Audit, WESCO Utility submitted that out of 151 Nos. of 33 kV feeders 136 Nos.  are metered and out of 136 Nos. of 33 KV metered feeders 109 Nos. have been audited. Out of 838 Nos. of 11 kV feeders, 813 Nos. of 11 kV meters are having ok meter and out of that 462 Nos. are audited. Out of 52370 nos of DTRs 3957 No.s are metered and 175 Nos. are audited.

- Commission expressed their displeasure over the reduction in Collection efficiency. A.O., WESCO Utility stated that due to strike by lawyers for Highcourt bench in WESTERN Odisha, WESCO offices remained closed for 3months from mid November 2018 to mid February 2019 and this hampered their revenue collection a lot.

- WESCO Utility has cleared all BST bills of FY 2018-19.

| DIVISION WISE COMPARATIVE LT PERFORMANCE OF WESCO UTILITY |  |  |  |
| --- | --- | --- | --- |
| DIVISION | 2017-18 | 2018-19 | Increase/ Decrease |
|  | AT & C LOSS (%) | AT & C LOSS (%) |  |
| RED, Rourkela | 17.28 | 20.22 | 2.94% |
| REDS, Rourkela Sadar | 30.72 | 22.58 | -8.14% |
| RED, Rajgangpur | 8.63 | 14.43 | 5.8% |
| SED, Sundergarh | 43.89 | 38.75 | -5.14 |
| Rourkela Circle | 26.41 | 23.98 | 2.43 |
| SED, Sambalpur | 49.45 | 46.46 | -2.99% |
| SEED, Sambalpur | 58.88 | 59.22 | -0.34 |
| JED, Jharsuguda | 44.39 | 38.22 | -6.17 |
| BRED, Brajrajnagar | 39.72 | 30.55 | -9.17 |
| DED, Deogarh | 40.90 | 41.98 | 1.08 |
| Burla Circle | 49.17 | 46.22 | -2.95 |
| BED, Bargarh | 69.70 | 70.21 | 0.51 |
| BWED, Bargarh | 80.12 | 79.24 | 0.88 |
| Bargarh Circle | 74.39 | 74.15 | -0.24 |
| BED, Bolangir | 63.99 | 63.23 | -0.76 |
| SNED, Sonepur | 65.36 | 64.59 | -0.77 |
| TED, Titlagarh | 65.69 | 63.17 | -2.52 |
| Bolangir Circle | 64.69 | 63.22 | -2.47 |
| KEED, Bhawanipatna | 46.07 | 43.34 | -2.73 |
| KWED, Bhawanipatna | 53.36 | 56.31 | 2.95 |
| NED, Nuapada | 64.82 | 63.85 | -0.97 |
| Bhawanipatna Circle | 54.80 | 54.55 | -0.25 |
| WESCO Utility | 54.56 | 53.60 | -0.96 |

- It is observed from the LT AT& C loss table above that Brajrajnagar Division has performed best among all divisions. There is 2.94% increase in LT AT & C loss at Rourkela division and in reply to this S.E., Rourkela stated that as Franchises are withdrawn from their division, the collection has reduced and as a result AT & C loss has increased. A.O., WESCO was advised to put appropriate collection mechanism in place.

It is observed that arrear dues have increased by nearly Rs. 440 crores during the year 2018-19.

- Metering Status:-

| Report on Metering |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Particulars | WESCO Utility |  |
|  |  | As on 31.03.2018 | As on 31.03.2019 |
|  | SINGLE PHASE |  |  |
| 1 | Total Number of Consumer | 13,56,727 | 16,71,632 |
| 2 | Number of consumers without meters | 15,842 | 1,32,887 |
| 3 | Number of defective meters | 3,95,925 | 4,30,771 |
| 4 | Number of Meters in Working condition | 9,22,322 | 11,07,974 |
| 5 | Number of Static Meters | 6,45,971 | 11,07,974 |
| 6 | Number of electro-mechanical Meters | 2,98,989 | 0 |
|  | THREE PHASE |  |  |
| 1 | Total Number of Consumer | 69,086 | 81,908 |
| 2 | Number of consumers without meters | 17598 | 25823 |
| 3 | Number of defective meters | 3006 | 3126 |
| 4 | Number of Meters in Working condition | 47211 | 52959 |
| 5 | Number of Static Meters | 34935 | 52959 |
| 6 | Number of electro-mechnical Meters | 13547 | 0 |
|  | Total number of consumers | 14,25,813 | 17,53,540 |

A.O.,WESCO Utility stated that out of 6,60,000 meters to be installed by GRIDCO, 3,90,000 meters have beem supplied and 2,34,000 meters have been already installed. WESCO Utility shall procure and install 1,55,000 meters on its own by December 2019.

- Only 50% of the total consumers are covered under Urja Mitra for intimating outage information.

- It is observed that there is no increase in loss reduction of Pilot feeders.

Directives of the Commission:

- LT AT & C loss of WESCO utility is highest among four DISCOMs. Commission directed WESCO Utility to improve the same by improving LT collection.

- A.O., WESCO should directly interact with consumers.

- Commission directed WESCO Utility to streamline the Billing & Collection agency to make the system efficient.

- Commission asked A.O., WESCO Utility why there is no further reduction in AT & C loss of pilot feeders. In reply to this he stated that though meters are there at most of the 11KV & 33kV feeders, CT & PT are out of order there should be rectified. However, this is not a satisfactory reply.

- WESCO Utility is required to install 5,81,000 meters totally out of which 4,26,000 will be installed by GRIDCO and 1,55,000 will be installed by WESCO Utility. WESCO Utility must install 25,000-30,000 meters every month against their own programe. Month wise performance may be reported to OERC.

- Commission directed WESCO Utility to submit Business plan by 30th June.

****

Annexure-1

Representative of WESCO UTILITY

- Sri U. K Samal, A. O.

- Sri D.K.Agarwalla, G.M.(F)

- Sri S.K.Malhik, C.S.

- Sri P.K. Sahoo, G.M.( Works & PL)

- Sri K.C.Nanda, DGM(F)

- Sri B. K. Sahoo,D.G.M.

- Sri R.P. Patra, D.G.M.(HR)

- Sri S.K. Thakur, D.G.M.(O&M)

- Sri D.S. Mishra, , AGM, MRT

- Sri Alok Ku.Satpathy, SEEC, Kalahandi

- Sri S.K. Lal

- Sri S.K.Darjee, S.E.E.C. & Sambalpur

- Sri A. N. Meher, S.E. ,RKL

- Sri M.P.Rout,EA Cell, Burla

- Sri. R.K. Naik, AGM, MRT

- Sri A. K. Bishi, Manager(Fin)

- Sri A.K.Patra, Manager