ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

PBX : (0674) 2393097, 2396117

FAX : (0674) 2395781, 2393306

E-mail : orierc@rediffmail.com

Website : www.orierc.org

Case No. 93/2011/

Dt.      .12.2011

To,

The Chief Executive Officer,

Central Electricity Supply Utility,

2nd Floor, IDCO Towers,

Bhubaneswar – 751 022.

Sub:	Revenue Requirement and Tariff Application for the year 2012-13.

Sir,

On scrutiny of the above application, it has been noted that information and analysis with regard to a number of items which are extremely relevant for the purpose of scrutiny of Revenue Requirement and Tariff for the FY 2012-13 have not been furnished. A list indicating items on which information/clarification to be furnished is enclosed.

You are hereby directed to furnish the information as per the queries raised in Annexure by 05.01.2012.

The queries raised in this letter along with the replies shall be supplied to all the persons who might purchase the documents.

Yours faithfully,

Encl : As above.

Sd/-

DIRECTOR (TARIFF)

Query on the CESU’s ARR Filing, 2012-13

Technical

- P-14 Format for measures for reduction of T&D loss should be properly filled in and submitted.

- A statement of system power factor month-wise from April, 2011 to September, 2011 stating KVAR, KWh and PF may be submitted.

- There is discrepancy of data between T-1 Format and data submitted for Performance Review in the Month of December, 2011 as mentioned below. CESU may state which data are correct and should be taken for tariff computation.

| Category of Consumers | No. of Consumers as on 01.04.2011 as per T-1 Format | No. of Consumers as on 01.04.2011 as per Performance Review Data |
| --- | --- | --- |
| EHT | 22 | 21 |
| HT | 2260 | 1094 |
| LT | 1455615 | 1293111 |
| Total | 1457897 | 1294226 |

- No of consumers under colony consumption category (HT) in T1 format should be furnished.

- CESU has projected no increase in quantum of consumption for irrigation (HT) for 2012-13 as compared to 2011-12 in spite of increase in number of consumers. Reasons may be explained.

- In T6 format for Kutir Jyoti consumers average revenue billed/Unit should be Rs 1 instead of 28.05 paise for FY 2010-11. Reasons for understating the average revenue may be explained.

- The following metering format should be filled up and submitted.

Metering position as on September, 2011

| Items |  |
| --- | --- |
| Feeder metering position |  |
| No of 33 KV feeders |  |
| No of 33 KV feeder metering |  |
| No of 33 KV feeder metering left |  |
| No of 11 KV feeders |  |
| No of 11 KV feeder metering |  |
| No of 11 KV feeder metering left |  |
| No of 33/11 KV transformers |  |
| No of 33/11 KV transformers metering |  |
| No of 33/11 KV transformer metering left |  |
| No of distribution transformers |  |
| No of distribution transformers metering |  |
| Consumer metering position |  |
| Total number of consumers |  |
| Total number of meters |  |
| Total number of working metering |  |
| Percentage of working meters |  |

Finance:

- Transmission Charges and  SLDC Charges payable by CESU for the financial year 2012-13 has not been shown separately in ARR. This may be submitted.

- The Audited Accounts along with the statutory audit report for FY 2010-11 have not been submitted, which may be furnished.

- (a)	In Form F-2 the licensee has projected Rs.72.61 Crore of Capital Expenditure during FY 2011-12. Licensee may furnish the actual expenditure as on date (till end of November 2011) and assets transfer to fixed asset (till end of November 2011)

- For GoO Capex System Improvement work the licensee has projected Rs. 117.00 Cr. of Capital expenditure during 2011-12. The present status of such capital expenditure (till end of the November 2011) such as material procurement, funds arranged so far, execution etc. may be furnished.

- The sources and amount of funding for CESU System improvement work as shown in Form-F-2 may be furnished.

- The forecast of distribution loss for 2011-12 submitted by licensee from time to time is not consistent as evident from the following:

As per 		     As per			As per

2011-12 filling 	2012-13 filling 	Allowed business plan

35%		38.55%			24%

The reason for such change in forecast may be furnished.

- It is revealed from the ARR 2012-13 that CESU has estimated arrear amount of Rs. 17.03 Crore towards interest payable on security deposit.

The licensee is required to furnish the details of physical form of investment of security deposit money (Rs.283.66 Crore as on 31.3.2011) as shown in the Balance sheet in Form F-37.

- In Form-F-7, the licensee has quantified the percentage of H.T., LT loss as 8% and 51.77% respectively. The licensee may submit the same for the year 2009-10 and 2010-11 as per the audited data, along with units received into the system and Units sold at System Voltage.

- In Form F-7, the licensee has given break-up of total distribution cost voltage-wise for 2011-12. The voltage-wise break-up of total distribution cost for the FY 2009-10 and 2010-11 as per audited data may be submitted.

- The licensee is required to furnish data on actual cash outflow (July 2011 to November 2011) on account of Basic pay, G.P, DA, HRA, other allowance such as medical etc. segregating the current as well as arrear.

- CESU has proposed additional expenditure of Rs.7.96 Crore towards engaging Ex- serviceman. The details of such claim with justification of such engagement may be furnished in the prescribed format.

| No. of Ex-Service man | Category | Rate per month | Total Expenditure |
| --- | --- | --- | --- |

Also the details of actual expenditure towards outsourced and contractual employees for FY 2010-11 and FY 2011-12 (upto November 2011) may be furnished.

At the end of FY 2010-11 the employee’s strength of CESU was 6005 nos.  It was increased to 8265 as on 31.3.2012 & 8981 as on 31.3.2013. Details of such recruitment along with approval of the Board may be furnished in the following format.

No. of Regular Employees as on 31.3.2011

Retired during 2011-12

Appointed during 2011-12

No of Regular employees as on 31.3.2012

Retired/ to be retired during 2012-13

To be appointed during 2012-13

Number of Regular Employees as on 31.3.2013.

- The licensee is required to furnish the availability of money in employees trust fund (Actuals as on 31.3.2011) and its pattern of investment.

Also actual cash outflow towards terminal liability during 2010-11, 2011-12 (actuals up to November 2011) may be submitted.

- Month-wise cash flow considering the revenue items only for the FY 2010-11 and 2011-12 (actuals upto November 2011) may be submitted.

- The R&M expenditure during 2010-11 (Actual) as revealed from Form-F-22 amounts to Rs.49.57 Crore as against the approved figure of Rs.51.19 Crore during 2010-11. CESU is required to submit details of escrow relaxation during 2010-11 towards R & M. Also details of Escrow relaxation availed during 2011-12 (Month-wise actuals up to November 2011) towards R & M may be submitted.

- The licensee is required to furnish month-wise details of revenue deposited in escrow account, amount paid towards BSP, Transmission and SLDC Charges, drawal towards employees cost, escrow relaxation availed under R & M expenses etc. pertaining to the FY 2010-11 and 2011-12 (actuals upto November 2011).

- In Form-F-17 of ARR, the collection of revenue as shown by licensee has not been bifurcated under the head (1) Out of current collection, (2) out of arrear collection as prescribed by the Commission. Such bifurcated data may be furnished for the FY 2010-11 & 2011-12 (actuals up to November 2011). Further Commission in their RST order 2011-12 had directed CESU to collect at least Rs.250.00 Crore from the outstanding arrear. The licensee may indicate the actual amounts collected during 2011-12 (actuals upto November, 2011) and steps taken to collect the balance amount as per the target.

- The Licensee is required to furnish the Fixed Asset Register up to 31.03.2011. Also the Licensee is required to furnish the amount of Gross Fixed Asset which is already exhausted ninety percent of its book value.